## Settings
Sample Info | so302, dot g2, run 03
Sample Description | U0=+2V, Up=+5V, Um=-2V
Major Measurement Parameters
Starting Temperature | 316.3
Initial Temperature | 81
Final Temperature | 375
Prelimenary Voltage | 2
Pulse Voltage | 5
Pulse Time | 5
Measurement Voltage | -2
Subsidiary Measurement Parameters
Step | 0.4
Accuracy Step | 0.1
Accuracy Stable | 1
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 10
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 5
Measurecount | 1

## Stabilization
Temperature | Current
315.068 | 7.9716e-12
314.085 | -1.5691e-10
313.156 | -2.0344e-10
312.221 | -2.255e-10
311.097 | -2.3838e-10
310.211 | -2.6022e-10
309.316 | -2.5954e-10
308.395 | -2.7326e-10
307.337 | -2.7288e-10
306.516 | -2.7284e-10
305.482 | -2.7312e-10
304.451 | -2.7195e-10
303.696 | -2.7225e-10
302.901 | -2.7306e-10
301.777 | -2.7375e-10
300.959 | -2.7257e-10
299.966 | -2.7126e-10
298.985 | -2.7242e-10
298.178 | -2.7126e-10
297.221 | -2.7052e-10
296.234 | -2.7132e-10
295.417 | -2.7242e-10
294.526 | -2.7157e-10
293.762 | -2.7146e-10
292.795 | -2.7203e-10
291.985 | -2.7176e-10
291.025 | -2.7204e-10
290.211 | -2.7369e-10
289.423 | -2.7361e-10
288.432 | -2.7298e-10
287.639 | -2.7308e-10
286.765 | -2.7219e-10
285.886 | -2.7243e-10
285.18 | -2.7355e-10
284.342 | -2.7484e-10
283.487 | -2.7381e-10
282.785 | -2.7258e-10
281.866 | -2.7301e-10
281.201 | -2.7179e-10
280.5 | -2.7121e-10
279.746 | -2.7181e-10
279.117 | -2.6074e-10
278.405 | -2.6995e-10
277.703 | -2.7277e-10
277.094 | -2.7333e-10
276.33 | -2.762e-10
275.796 | -2.7363e-10
275.091 | -2.746e-10
274.423 | -2.7315e-10
273.817 | -2.7306e-10
273.062 | -2.7345e-10
272.579 | -2.7279e-10
271.777 | -2.7304e-10
271.239 | -2.7455e-10
270.498 | -2.7534e-10
270.078 | -2.7543e-10
269.569 | -2.7554e-10
269.261 | -2.7425e-10
268.946 | -2.741e-10
268.671 | -2.7489e-10
268.375 | -2.7365e-10
267.803 | -2.7539e-10
267.495 | -2.7296e-10
266.957 | -2.7386e-10
266.475 | -2.7462e-10
266.147 | -2.7474e-10
265.715 | -2.7622e-10
265.455 | -2.7482e-10
265.151 | -2.7594e-10
264.956 | -2.7525e-10
264.715 | -2.7477e-10
264.43 | -2.7513e-10
264.144 | -2.7421e-10
263.971 | -2.7615e-10
263.776 | -2.7649e-10
263.538 | -2.7732e-10
263.184 | -2.7677e-10
262.611 | -2.7511e-10
262.315 | -2.7744e-10
261.858 | -2.767e-10
261.643 | -2.7721e-10
261.403 | -2.7684e-10
261.019 | -2.7638e-10
260.759 | -2.7683e-10
260.273 | -2.7652e-10
260.04 | -2.7557e-10
259.556 | -2.7592e-10
259.386 | -2.7577e-10
259.194 | -2.7588e-10
258.998 | -2.7669e-10
258.837 | -2.7697e-10
258.631 | -2.7773e-10
258.46 | -2.7705e-10
258.165 | -2.7738e-10
257.593 | -2.7564e-10
257.353 | -2.7724e-10
256.879 | -2.7653e-10
256.68 | -2.7574e-10
256.151 | -2.758e-10
255.551 | -2.7651e-10
255.296 | -2.7764e-10
254.742 | -2.76e-10
254.496 | -2.7686e-10
254.18 | -2.7609e-10
253.866 | -2.7678e-10
253.403 | -2.7618e-10
253.185 | -2.7669e-10
252.84 | -2.7773e-10
252.645 | -2.7816e-10
252.43 | -2.7683e-10
252.208 | -2.7591e-10
252.012 | -2.7588e-10
251.809 | -2.7516e-10
251.616 | -2.7639e-10
251.309 | -2.7527e-10
250.698 | -2.7564e-10
250.447 | -2.7618e-10
250.13 | -2.7656e-10
249.875 | -2.7384e-10
249.666 | -2.7561e-10
249.425 | -2.7571e-10
248.935 | -2.7652e-10
248.637 | -2.7424e-10
248.441 | -2.7554e-10
248.172 | -2.7545e-10
247.982 | -2.7633e-10
247.728 | -2.7542e-10
247.174 | -2.7577e-10
246.899 | -2.7504e-10
246.691 | -2.7516e-10
246.479 | -2.7487e-10
246.277 | -2.7436e-10
246.06 | -2.7569e-10
245.856 | -2.7447e-10
245.639 | -2.7545e-10
245.426 | -2.7562e-10
245.229 | -2.7473e-10
245.005 | -2.7474e-10
244.753 | -2.7484e-10
244.454 | -2.7541e-10
244.239 | -2.7499e-10
244.029 | -2.755e-10
243.776 | -2.77e-10
243.555 | -2.7672e-10
243.355 | -2.7564e-10
243.125 | -2.7709e-10
242.809 | -2.7549e-10
242.385 | -2.7546e-10
242.1 | -2.7721e-10
241.867 | -2.7751e-10
241.626 | -2.7641e-10
241.379 | -2.7634e-10
241.154 | -2.7499e-10
240.918 | -2.7471e-10
240.68 | -2.7744e-10
240.443 | -2.7556e-10
240.151 | -2.7472e-10
239.901 | -2.7643e-10
239.673 | -2.7596e-10
239.387 | -2.7488e-10
239.136 | -2.7574e-10
238.907 | -2.7657e-10
238.648 | -2.7376e-10
238.375 | -2.7399e-10
238.144 | -2.7361e-10
237.896 | -2.7528e-10
237.657 | -2.7512e-10
237.395 | -2.7382e-10
237.144 | -2.7402e-10
236.885 | -2.7355e-10
236.635 | -2.7389e-10
236.4 | -2.7404e-10
236.148 | -2.7362e-10
235.888 | -2.7327e-10
235.634 | -2.7427e-10
235.393 | -2.7348e-10
235.125 | -2.7263e-10
234.886 | -2.7286e-10
234.643 | -2.7339e-10
234.394 | -2.7412e-10
234.144 | -2.7307e-10
233.832 | -2.7385e-10
233.567 | -2.7395e-10
233.327 | -2.7366e-10
233.058 | -2.7377e-10
232.751 | -2.7382e-10
232.467 | -2.7317e-10
232.194 | -2.74e-10
231.915 | -2.7328e-10
231.592 | -2.745e-10
231.336 | -2.7466e-10
231.066 | -2.728e-10
230.754 | -2.7408e-10
230.47 | -2.7375e-10
230.19 | -2.745e-10
229.9 | -2.744e-10
229.63 | -2.7512e-10
229.356 | -2.7467e-10
229.069 | -2.7441e-10
228.801 | -2.7359e-10
228.516 | -2.7439e-10
228.264 | -2.7482e-10
227.984 | -2.735e-10
227.671 | -2.741e-10
227.404 | -2.7487e-10
227.127 | -2.7443e-10
226.822 | -2.7375e-10
226.562 | -2.7458e-10
226.277 | -2.739e-10
226.004 | -2.7462e-10
225.722 | -2.7511e-10
225.416 | -2.7429e-10
225.155 | -2.7498e-10
224.872 | -2.7431e-10
224.579 | -2.7308e-10
224.32 | -2.7459e-10
224.047 | -2.7457e-10
223.799 | -2.7476e-10
223.522 | -2.7422e-10
223.18 | -2.7357e-10
222.89 | -2.7496e-10
222.608 | -2.748e-10
222.327 | -2.7436e-10
222.063 | -2.7492e-10
221.746 | -2.7579e-10
221.444 | -2.7543e-10
221.163 | -2.7576e-10
220.868 | -2.7476e-10
220.586 | -2.7606e-10
220.303 | -2.7695e-10
220.041 | -2.7439e-10
219.762 | -2.7506e-10
219.477 | -2.7555e-10
219.21 | -2.7562e-10
218.932 | -2.7712e-10
218.651 | -2.7654e-10
218.366 | -2.7574e-10
218.045 | -2.7512e-10
217.76 | -2.7641e-10
217.493 | -2.7536e-10
217.203 | -2.7523e-10
216.938 | -2.7641e-10
216.653 | -2.748e-10
216.369 | -2.7456e-10
216.107 | -2.7396e-10
215.828 | -2.7355e-10
215.57 | -2.7603e-10
215.295 | -2.7447e-10
215.024 | -2.7376e-10
214.762 | -2.739e-10
214.493 | -2.7391e-10
214.223 | -2.7521e-10
213.92 | -2.7527e-10
213.655 | -2.7408e-10
213.381 | -2.7462e-10
213.102 | -2.7526e-10
212.843 | -2.7575e-10
212.57 | -2.7596e-10
212.315 | -2.7512e-10
212.026 | -2.7617e-10
211.75 | -2.7634e-10
211.496 | -2.755e-10
211.213 | -2.7538e-10
210.936 | -2.7525e-10
210.677 | -2.7498e-10
210.398 | -2.7472e-10
210.127 | -2.7505e-10
209.872 | -2.7508e-10
209.601 | -2.7247e-10
209.335 | -2.7579e-10
209.086 | -2.7421e-10
208.82 | -2.7414e-10
208.573 | -2.7208e-10
208.3 | -2.7387e-10
208.051 | -2.7362e-10
207.79 | -2.7428e-10
207.523 | -2.7351e-10
207.28 | -2.7347e-10
207.019 | -2.7287e-10
206.775 | -2.7386e-10
206.516 | -2.7295e-10
206.253 | -2.7337e-10
206.014 | -2.7328e-10
205.743 | -2.7239e-10
205.477 | -2.7222e-10
205.237 | -2.7241e-10
204.98 | -2.735e-10
204.706 | -2.7286e-10
204.464 | -2.735e-10
204.207 | -2.7408e-10
203.96 | -2.7324e-10
203.704 | -2.7259e-10
203.426 | -2.7342e-10
203.186 | -2.7516e-10
202.935 | -2.7484e-10
202.681 | -2.7367e-10
202.435 | -2.7231e-10
202.149 | -2.7313e-10
201.895 | -2.7246e-10
201.66 | -2.7224e-10
201.415 | -2.726e-10
201.165 | -2.7207e-10
200.93 | -2.7161e-10
200.678 | -2.7191e-10
200.453 | -2.7323e-10
200.209 | -2.7354e-10
199.962 | -2.7185e-10
199.736 | -2.7226e-10
199.493 | -2.7437e-10
199.263 | -2.7255e-10
199.025 | -2.7384e-10
198.781 | -2.7344e-10
198.537 | -2.7294e-10
198.303 | -2.7248e-10
198.062 | -2.7287e-10
197.824 | -2.7208e-10
197.608 | -2.7227e-10
197.381 | -2.7203e-10
197.131 | -2.7279e-10
196.87 | -2.7273e-10
196.634 | -2.7185e-10
196.403 | -2.7351e-10
196.164 | -2.7173e-10
195.916 | -2.7573e-10
195.691 | -2.7558e-10
195.453 | -2.7519e-10
195.232 | -2.7433e-10
194.994 | -2.736e-10
194.777 | -2.7403e-10
194.539 | -2.7317e-10
194.304 | -2.7356e-10
194.053 | -2.7327e-10
193.802 | -2.7279e-10
193.566 | -2.7359e-10
193.339 | -2.7442e-10
193.089 | -2.7502e-10
192.832 | -2.7336e-10
192.615 | -2.7409e-10
192.384 | -2.7403e-10
192.175 | -2.7326e-10
191.953 | -2.7347e-10
191.733 | -2.7523e-10
191.531 | -2.7381e-10
191.303 | -2.7303e-10
191.091 | -2.7253e-10
190.871 | -2.7338e-10
190.65 | -2.7275e-10
190.447 | -2.7341e-10
190.202 | -2.7309e-10
189.993 | -2.7135e-10
189.77 | -2.7259e-10
189.519 | -2.7296e-10
189.3 | -2.7384e-10
189.077 | -2.7348e-10
188.85 | -2.7382e-10
188.637 | -2.7501e-10
188.416 | -2.7376e-10
188.19 | -2.7422e-10
187.982 | -2.7349e-10
187.764 | -2.7381e-10
187.558 | -2.7367e-10
187.337 | -2.739e-10
187.121 | -2.7462e-10
186.914 | -2.7451e-10
186.681 | -2.7367e-10
186.481 | -2.7566e-10
186.262 | -2.7547e-10
186.033 | -2.7527e-10
185.818 | -2.7483e-10
185.615 | -2.7431e-10
185.393 | -2.7431e-10
185.197 | -2.7486e-10
184.989 | -2.7484e-10
184.791 | -2.7521e-10
184.566 | -2.7592e-10
184.354 | -2.7557e-10
184.166 | -2.7596e-10
183.962 | -2.7764e-10
183.753 | -2.7593e-10
183.55 | -2.7501e-10
183.347 | -2.7527e-10
183.146 | -2.7582e-10
182.966 | -2.7697e-10
182.777 | -2.7664e-10
182.608 | -2.7689e-10
182.43 | -2.7561e-10
182.253 | -2.7525e-10
182.09 | -2.7451e-10
181.918 | -2.7487e-10
181.762 | -2.7565e-10
181.583 | -2.7428e-10
181.409 | -2.7473e-10
181.242 | -2.7408e-10
181.068 | -2.7305e-10
180.89 | -2.7527e-10
180.725 | -2.7423e-10
180.558 | -2.753e-10
180.406 | -2.7462e-10
180.247 | -2.7424e-10
180.102 | -2.7444e-10
179.946 | -2.7453e-10
179.787 | -2.7554e-10
179.592 | -2.7383e-10
179.41 | -2.7507e-10
179.241 | -2.7567e-10
179.073 | -2.7511e-10
178.919 | -2.7512e-10
178.756 | -2.743e-10
178.604 | -2.7396e-10
178.437 | -2.7409e-10
178.271 | -2.7501e-10
178.115 | -2.7372e-10
177.954 | -2.7496e-10
177.805 | -2.7442e-10
177.65 | -2.7424e-10
177.498 | -2.7313e-10
177.359 | -2.737e-10
177.214 | -2.7379e-10
177.076 | -2.7441e-10
176.908 | -2.7205e-10
176.745 | -2.7407e-10
176.592 | -2.7489e-10
176.439 | -2.734e-10
176.302 | -2.7412e-10
176.154 | -2.7338e-10
175.99 | -2.7281e-10
175.839 | -2.7279e-10
175.693 | -2.7196e-10
175.536 | -2.7304e-10
175.385 | -2.724e-10
175.244 | -2.712e-10
175.092 | -2.7245e-10
174.944 | -2.7299e-10
174.794 | -2.7318e-10
174.644 | -2.726e-10
174.507 | -2.7111e-10
174.365 | -2.7162e-10
174.228 | -2.7352e-10
174.099 | -2.7153e-10
173.943 | -2.7381e-10
173.79 | -2.7285e-10
173.646 | -2.7357e-10
173.497 | -2.7309e-10
173.363 | -2.7224e-10
173.213 | -2.7319e-10
173.051 | -2.7249e-10
172.913 | -2.7256e-10
172.755 | -2.7376e-10
172.521 | -2.7261e-10
172.28 | -2.7323e-10
171.956 | -2.7268e-10
171.639 | -2.7337e-10
171.32 | -2.7384e-10
171.033 | -2.7323e-10
170.796 | -2.7331e-10
170.542 | -2.7272e-10
170.285 | -2.7187e-10
170.051 | -2.7147e-10
169.764 | -2.7331e-10
169.493 | -2.7248e-10
169.168 | -2.725e-10
168.802 | -2.7382e-10
168.429 | -2.7424e-10
168.063 | -2.718e-10
167.713 | -2.7126e-10
167.358 | -2.7191e-10
166.974 | -2.7184e-10
166.567 | -2.7195e-10
166.204 | -2.7276e-10
165.769 | -2.7283e-10
165.302 | -2.7277e-10
164.831 | -2.7224e-10
164.273 | -2.7277e-10
163.805 | -2.7216e-10
163.387 | -2.7274e-10
163.039 | -2.7335e-10
162.737 | -2.7331e-10
162.431 | -2.7301e-10
162.135 | -2.7271e-10
161.859 | -2.7296e-10
161.549 | -2.7315e-10
161.166 | -2.7356e-10
160.726 | -2.7396e-10
160.301 | -2.7431e-10
159.828 | -2.7371e-10
159.404 | -2.732e-10
159.061 | -2.7349e-10
158.729 | -2.7449e-10
158.204 | -2.7371e-10
157.538 | -2.7425e-10
156.816 | -2.7387e-10
155.858 | -2.725e-10
154.816 | -2.7473e-10
153.807 | -2.7397e-10
152.72 | -2.7462e-10
151.67 | -2.7501e-10
150.717 | -2.7718e-10
149.756 | -2.7553e-10
148.804 | -2.7412e-10
147.758 | -2.7506e-10
146.703 | -2.7566e-10
145.78 | -2.7544e-10
144.945 | -2.7506e-10
144.278 | -2.7699e-10
143.761 | -2.7464e-10
143.296 | -2.7548e-10
142.914 | -2.7588e-10
142.414 | -2.7352e-10
141.759 | -2.7589e-10
140.986 | -1.7801e-10
139.979 | -2.7678e-10
138.892 | -2.7522e-10
137.893 | -2.7564e-10
136.983 | -2.7563e-10
136.077 | -2.7661e-10
135.232 | -2.7648e-10
134.325 | -2.7631e-10
133.415 | -2.7598e-10
132.37 | -2.7778e-10
131.539 | -2.7705e-10
130.812 | -2.7623e-10
130.262 | -2.7689e-10
129.765 | -2.769e-10
129.325 | -2.7768e-10
128.94 | -2.7697e-10
128.616 | -2.7795e-10
128.286 | -2.7629e-10
127.96 | -2.7723e-10
127.448 | -2.7713e-10
126.609 | -2.7783e-10
125.66 | -2.775e-10
124.413 | -2.7769e-10
123.259 | -2.7678e-10
122.306 | -2.7715e-10
121.175 | -2.7863e-10
120.074 | -2.7687e-10
118.831 | -2.7566e-10
117.269 | -2.7737e-10
115.569 | -2.7757e-10
113.653 | -2.7936e-10
111.97 | -2.7799e-10
110.594 | -2.7851e-10
109.655 | -2.7733e-10
108.914 | -2.7679e-10
108.188 | -2.7673e-10
107.657 | -2.788e-10
107.216 | -2.7654e-10
106.88 | -2.7669e-10
106.624 | -2.7743e-10
106.271 | -2.7821e-10
105.95 | -2.7692e-10
105.562 | -2.779e-10
104.935 | -2.7677e-10
104.434 | -2.7685e-10
103.491 | -2.773e-10
102.384 | -2.7637e-10
101.179 | -2.7755e-10
100.092 | -2.7749e-10
99.4845 | -2.7661e-10
99.0887 | -2.757e-10
98.2522 | -2.7539e-10
97.0011 | -2.7575e-10
96.0889 | -2.779e-10
94.5835 | -2.7583e-10
92.7919 | -2.7583e-10
90.1082 | -2.7741e-10
85.47 | -2.7651e-10
83.6522 | -2.7728e-10
82.6694 | -2.7748e-10
82.1019 | -2.7676e-10
81.7324 | -2.7634e-10
81.5533 | -2.7545e-10
81.4514 | -2.7658e-10
81.3726 | -2.7534e-10
81.3396 | -2.7594e-10
81.3195 | -2.768e-10
81.2888 | -2.7711e-10
81.2508 | -2.7785e-10
81.2456 | -2.7734e-10
81.2315 | -2.7627e-10

## Measurements
Temperature | Current
81.1691 | -2.7683e-10
81.3771 | -2.7565e-10
81.7866 | -2.7762e-10
82.1723 | -2.7529e-10
82.5726 | -2.7564e-10
83.0259 | -2.7581e-10
83.4481 | -2.7548e-10
83.8369 | -2.7669e-10
84.2486 | -2.7672e-10
84.6513 | -2.7725e-10
85.033 | -2.7695e-10
85.4399 | -2.7673e-10
85.8139 | -2.7698e-10
86.1856 | -2.7633e-10
86.6264 | -2.7648e-10
87.0162 | -2.7549e-10
87.4047 | -2.7485e-10
87.7933 | -2.7526e-10
88.2163 | -2.7563e-10
88.5823 | -2.7488e-10
88.9731 | -2.7608e-10
89.3903 | -2.7661e-10
89.7898 | -2.7478e-10
90.1783 | -2.7493e-10
90.6009 | -2.7346e-10
90.9909 | -2.7305e-10
91.3972 | -2.7461e-10
91.7838 | -2.7508e-10
92.1722 | -2.7436e-10
92.5924 | -2.7524e-10
92.9842 | -2.7435e-10
93.3791 | -2.7359e-10
93.7864 | -2.7606e-10
94.1807 | -2.7403e-10
94.586 | -2.754e-10
94.9938 | -2.7567e-10
95.3812 | -2.7524e-10
95.7923 | -2.7592e-10
96.1813 | -2.7524e-10
96.5932 | -2.7402e-10
97.0526 | -2.7391e-10
97.3704 | -2.7313e-10
97.7968 | -2.7355e-10
98.1806 | -2.7223e-10
98.5781 | -2.7376e-10
98.9734 | -2.7426e-10
99.3908 | -2.7594e-10
99.7955 | -2.7623e-10
100.195 | -2.7429e-10
100.615 | -2.7434e-10
100.97 | -2.7415e-10
101.405 | -2.7548e-10
101.799 | -2.7528e-10
102.189 | -2.7504e-10
102.57 | -2.7475e-10
102.983 | -2.7296e-10
103.449 | -2.7328e-10
103.782 | -2.7396e-10
104.173 | -2.755e-10
104.622 | -2.7597e-10
105.034 | -2.7535e-10
105.404 | -2.7453e-10
105.772 | -2.7386e-10
106.251 | -2.7351e-10
106.672 | -2.7341e-10
107.033 | -2.7503e-10
107.381 | -2.7454e-10
107.804 | -2.7433e-10
108.2 | -2.7453e-10
108.634 | -2.7326e-10
108.971 | -2.7341e-10
109.409 | -2.7482e-10
109.797 | -2.7498e-10
110.25 | -2.7517e-10
110.612 | -2.7533e-10
110.976 | -2.746e-10
111.41 | -2.731e-10
111.78 | -2.7438e-10
112.201 | -2.7443e-10
112.599 | -2.7545e-10
112.998 | -2.7579e-10
113.393 | -2.7598e-10
113.783 | -2.7587e-10
114.231 | -2.7566e-10
114.621 | -2.7727e-10
115.021 | -2.7657e-10
115.395 | -2.7698e-10
115.788 | -2.7683e-10
116.174 | -2.7547e-10
116.625 | -2.7713e-10
117.052 | -2.7564e-10
117.402 | -2.7497e-10
117.853 | -2.7635e-10
118.218 | -2.7625e-10
118.583 | -2.7581e-10
119.037 | -2.7652e-10
119.401 | -2.7486e-10
119.833 | -2.7574e-10
120.192 | -2.7492e-10
120.625 | -2.7348e-10
120.98 | -2.7276e-10
121.402 | -2.741e-10
121.821 | -2.7367e-10
122.222 | -2.7283e-10
122.603 | -2.7216e-10
122.987 | -2.729e-10
123.37 | -2.7291e-10
123.775 | -2.744e-10
124.174 | -2.7563e-10
124.594 | -2.756e-10
124.972 | -2.7439e-10
125.381 | -2.7466e-10
125.776 | -2.7518e-10
126.174 | -2.7632e-10
126.588 | -2.7459e-10
126.976 | -2.7428e-10
127.374 | -2.7421e-10
127.782 | -2.7362e-10
128.188 | -2.727e-10
128.591 | -2.742e-10
128.979 | -2.7593e-10
129.371 | -2.756e-10
129.795 | -2.7364e-10
130.172 | -2.7588e-10
130.599 | -2.7416e-10
130.977 | -2.7507e-10
131.377 | -2.7577e-10
131.772 | -2.7485e-10
132.182 | -2.7242e-10
132.59 | -2.723e-10
132.981 | -2.7246e-10
133.375 | -2.7244e-10
133.795 | -2.7308e-10
134.182 | -2.7151e-10
134.593 | -2.7331e-10
134.997 | -2.7255e-10
135.382 | -2.7202e-10
135.789 | -2.7093e-10
136.197 | -2.7248e-10
136.592 | -2.7306e-10
137.003 | -2.7147e-10
137.37 | -2.7219e-10
137.778 | -2.7294e-10
138.187 | -2.72e-10
138.594 | -2.7261e-10
138.993 | -2.7279e-10
139.402 | -2.7154e-10
139.799 | -2.7128e-10
140.172 | -2.7042e-10
140.592 | -2.7127e-10
140.98 | -2.7196e-10
141.38 | -2.7089e-10
141.801 | -2.7084e-10
142.187 | -2.7192e-10
142.571 | -2.7115e-10
142.977 | -2.7086e-10
143.387 | -2.7047e-10
143.771 | -2.6913e-10
144.197 | -2.7e-10
144.575 | -2.7032e-10
144.998 | -2.6878e-10
145.38 | -2.6981e-10
145.772 | -2.6953e-10
146.198 | -2.718e-10
146.601 | -2.7069e-10
146.982 | -2.7109e-10
147.386 | -2.7076e-10
147.771 | -2.7061e-10
148.17 | -2.7103e-10
148.574 | -2.7128e-10
148.971 | -2.7123e-10
149.397 | -2.6976e-10
149.791 | -2.7027e-10
150.173 | -2.7236e-10
150.587 | -2.7197e-10
150.996 | -2.7321e-10
151.395 | -2.6993e-10
151.782 | -2.6959e-10
152.186 | -2.7078e-10
152.584 | -2.6963e-10
152.989 | -2.7239e-10
153.4 | -2.7205e-10
153.796 | -2.7149e-10
154.17 | -2.7204e-10
154.599 | -2.717e-10
154.977 | -2.7117e-10
155.383 | -2.7235e-10
155.785 | -2.7167e-10
156.196 | -2.7018e-10
156.582 | -2.7069e-10
156.97 | -2.7019e-10
157.381 | -2.7075e-10
157.773 | -2.7016e-10
158.173 | -2.7102e-10
158.587 | -2.7161e-10
159.006 | -2.7154e-10
159.388 | -2.7061e-10
159.796 | -2.7085e-10
160.187 | -2.7042e-10
160.592 | -2.7052e-10
160.974 | -2.7033e-10
161.378 | -2.6987e-10
161.799 | -2.7049e-10
162.189 | -2.7026e-10
162.588 | -2.6895e-10
162.978 | -2.6973e-10
163.389 | -2.7051e-10
163.785 | -2.6997e-10
164.197 | -2.6999e-10
164.596 | -2.702e-10
164.997 | -2.698e-10
165.379 | -2.712e-10
165.773 | -2.7098e-10
166.171 | -2.6895e-10
166.585 | -2.6952e-10
166.974 | -2.7023e-10
167.372 | -2.7044e-10
167.771 | -2.7e-10
168.2 | -2.6885e-10
168.573 | -2.7006e-10
168.979 | -2.7159e-10
169.397 | -2.6964e-10
169.788 | -2.7106e-10
170.203 | -2.6967e-10
170.597 | -2.6983e-10
170.98 | -2.7098e-10
171.372 | -2.6953e-10
171.777 | -2.6839e-10
172.175 | -2.6963e-10
172.579 | -2.6947e-10
172.99 | -2.7106e-10
173.404 | -2.6999e-10
173.785 | -2.7139e-10
174.202 | -2.701e-10
174.575 | -2.6905e-10
174.984 | -2.6931e-10
175.375 | -2.7009e-10
175.796 | -2.7085e-10
176.196 | -2.7189e-10
176.579 | -2.7163e-10
176.993 | -2.7283e-10
177.389 | -2.7146e-10
177.778 | -2.7257e-10
178.187 | -2.7104e-10
178.582 | -2.7261e-10
178.974 | -2.7172e-10
179.386 | -2.7121e-10
179.787 | -2.7007e-10
180.18 | -2.7238e-10
180.6 | -2.6915e-10
180.981 | -2.7031e-10
181.377 | -2.7067e-10
181.78 | -2.6995e-10
182.178 | -2.7038e-10
182.573 | -2.7048e-10
183.001 | -2.7011e-10
183.378 | -2.7003e-10
183.775 | -2.7084e-10
184.19 | -2.7118e-10
184.6 | -2.7196e-10
184.986 | -2.7241e-10
185.399 | -2.7399e-10
185.794 | -2.7356e-10
186.185 | -2.7346e-10
186.581 | -2.7376e-10
186.999 | -2.7426e-10
187.394 | -2.7438e-10
187.773 | -2.7346e-10
188.19 | -2.7382e-10
188.586 | -2.7402e-10
188.982 | -2.737e-10
189.37 | -2.7371e-10
189.802 | -2.734e-10
190.172 | -2.7596e-10
190.58 | -2.7627e-10
190.977 | -2.7465e-10
191.386 | -2.7456e-10
191.773 | -2.7439e-10
192.177 | -2.7332e-10
192.601 | -2.7381e-10
192.989 | -2.748e-10
193.401 | -2.7486e-10
193.802 | -2.7539e-10
194.198 | -2.7589e-10
194.594 | -2.7467e-10
194.987 | -2.7552e-10
195.371 | -2.7581e-10
195.787 | -2.7562e-10
196.187 | -2.7566e-10
196.584 | -2.7625e-10
196.983 | -2.7432e-10
197.384 | -2.7507e-10
197.79 | -2.7353e-10
198.171 | -2.7363e-10
198.573 | -2.7502e-10
198.997 | -2.7311e-10
199.379 | -2.7197e-10
199.779 | -2.7343e-10
200.174 | -2.7329e-10
200.591 | -2.7436e-10
200.976 | -2.7358e-10
201.384 | -2.7428e-10
201.792 | -2.7506e-10
202.179 | -2.7245e-10
202.581 | -2.7321e-10
202.979 | -2.7378e-10
203.38 | -2.7312e-10
203.773 | -2.7452e-10
204.197 | -2.7521e-10
204.599 | -2.7358e-10
204.999 | -2.7451e-10
205.378 | -2.7395e-10
205.773 | -2.7493e-10
206.196 | -2.7334e-10
206.623 | -2.7384e-10
206.981 | -2.7397e-10
207.392 | -2.7465e-10
207.783 | -2.7354e-10
208.181 | -2.7366e-10
208.592 | -2.7274e-10
208.972 | -2.7386e-10
209.386 | -2.7363e-10
209.774 | -2.7387e-10
210.196 | -2.7281e-10
210.576 | -2.7253e-10
210.99 | -2.7396e-10
211.375 | -2.7351e-10
211.792 | -2.7381e-10
212.181 | -2.7346e-10
212.57 | -2.7248e-10
212.995 | -2.7319e-10
213.401 | -2.7104e-10
213.797 | -2.7337e-10
214.195 | -2.7444e-10
214.591 | -2.7257e-10
214.993 | -2.7214e-10
215.384 | -2.7153e-10
215.792 | -2.7208e-10
216.178 | -2.7266e-10
216.587 | -2.7305e-10
217.001 | -2.7215e-10
217.393 | -2.7275e-10
217.782 | -2.7181e-10
218.185 | -2.7357e-10
218.576 | -2.7333e-10
218.987 | -2.7302e-10
219.384 | -2.742e-10
219.837 | -2.7265e-10
220.181 | -2.7334e-10
220.607 | -2.7521e-10
221.003 | -2.7707e-10
221.377 | -2.756e-10
221.779 | -2.7584e-10
222.185 | -2.7465e-10
222.592 | -2.7493e-10
222.987 | -2.7495e-10
223.388 | -2.7536e-10
223.779 | -2.7524e-10
224.175 | -2.7523e-10
224.571 | -2.747e-10
224.999 | -2.755e-10
225.396 | -2.7526e-10
225.778 | -2.7551e-10
226.203 | -2.7525e-10
226.577 | -2.7527e-10
226.981 | -2.7435e-10
227.373 | -2.7572e-10
227.8 | -2.7543e-10
228.175 | -2.7613e-10
228.591 | -2.7608e-10
228.973 | -2.7655e-10
229.393 | -2.7588e-10
229.785 | -2.7573e-10
230.178 | -2.7425e-10
230.575 | -2.7424e-10
230.976 | -2.76e-10
231.385 | -2.7453e-10
231.783 | -2.7446e-10
232.188 | -2.7449e-10
232.595 | -2.7444e-10
232.98 | -2.7437e-10
233.383 | -2.7331e-10
233.776 | -2.7556e-10
234.171 | -2.7667e-10
234.589 | -2.7538e-10
234.993 | -2.7701e-10
235.384 | -2.7766e-10
235.777 | -2.7562e-10
236.19 | -2.7518e-10
236.57 | -2.7541e-10
236.984 | -2.7598e-10
237.383 | -2.7507e-10
237.784 | -2.7451e-10
238.183 | -2.753e-10
238.586 | -2.764e-10
238.97 | -2.7737e-10
239.372 | -2.7654e-10
239.773 | -2.7828e-10
240.191 | -2.7683e-10
240.595 | -2.7741e-10
240.996 | -2.7673e-10
241.398 | -2.7829e-10
241.799 | -2.7822e-10
242.184 | -2.7762e-10
242.619 | -2.7564e-10
242.97 | -2.7702e-10
243.405 | -2.7736e-10
243.788 | -2.7638e-10
244.172 | -2.762e-10
244.6 | -2.7725e-10
244.998 | -2.7814e-10
245.397 | -2.7692e-10
245.795 | -2.7666e-10
246.178 | -2.7457e-10
246.595 | -2.7582e-10
246.98 | -2.7642e-10
247.381 | -2.7543e-10
247.781 | -2.7654e-10
248.198 | -2.7553e-10
248.599 | -2.7347e-10
249 | -2.7478e-10
249.398 | -2.7608e-10
249.801 | -2.7411e-10
250.185 | -2.7441e-10
250.586 | -2.7544e-10
250.97 | -2.7558e-10
251.402 | -2.7332e-10
251.787 | -2.7364e-10
252.186 | -2.7381e-10
252.571 | -2.7519e-10
252.988 | -2.7521e-10
253.372 | -2.7466e-10
253.772 | -2.7401e-10
254.173 | -2.7228e-10
254.573 | -2.7483e-10
254.99 | -2.7406e-10
255.373 | -2.7499e-10
255.791 | -2.751e-10
256.19 | -2.7443e-10
256.574 | -2.7548e-10
256.991 | -2.736e-10
257.391 | -2.7522e-10
257.79 | -2.7597e-10
258.173 | -2.7566e-10
258.573 | -2.747e-10
258.989 | -2.7394e-10
259.372 | -2.7424e-10
259.773 | -2.755e-10
260.174 | -2.7492e-10
260.575 | -2.7375e-10
260.99 | -2.7477e-10
261.388 | -2.7368e-10
261.782 | -2.7569e-10
262.18 | -2.7486e-10
262.595 | -2.7454e-10
262.995 | -2.7483e-10
263.379 | -2.7409e-10
263.796 | -2.7493e-10
264.196 | -2.7414e-10
264.596 | -2.7439e-10
264.997 | -2.7417e-10
265.382 | -2.7252e-10
265.781 | -2.7678e-10
266.2 | -2.7615e-10
266.601 | -2.7263e-10
267.001 | -2.7593e-10
267.386 | -2.7661e-10
267.787 | -2.7452e-10
268.186 | -2.7586e-10
268.602 | -2.7808e-10
269.002 | -2.7741e-10
269.371 | -2.7704e-10
269.77 | -2.767e-10
270.188 | -2.7807e-10
270.588 | -2.7837e-10
270.987 | -2.7699e-10
271.403 | -2.768e-10
271.771 | -2.7803e-10
272.171 | -2.7693e-10
272.588 | -2.7714e-10
272.972 | -2.7827e-10
273.371 | -2.7838e-10
273.821 | -2.7649e-10
274.187 | -2.7721e-10
274.588 | -2.7702e-10
274.971 | -2.767e-10
275.371 | -2.7743e-10
275.788 | -2.7753e-10
276.188 | -2.7664e-10
276.571 | -2.7622e-10
276.989 | -2.7723e-10
277.371 | -2.7632e-10
277.79 | -2.7606e-10
278.189 | -2.76e-10
278.591 | -2.7709e-10
278.973 | -2.7573e-10
279.402 | -2.7559e-10
279.8 | -2.7582e-10
280.196 | -2.7648e-10
280.595 | -2.7738e-10
280.995 | -2.7694e-10
281.395 | -2.774e-10
281.779 | -3.5676e-10
282.195 | -2.7566e-10
282.579 | -6.1958e-10
282.994 | -3.8398e-10
283.38 | -3.0402e-10
283.782 | -2.8264e-10
284.2 | -2.7786e-10
284.583 | -2.7828e-10
284.998 | -2.7929e-10
285.383 | -2.8081e-10
285.8 | -2.8853e-10
286.202 | -2.8207e-10
286.586 | -2.8057e-10
286.986 | -2.7759e-10
287.387 | -2.7969e-10
287.77 | -2.7732e-10
288.187 | -2.7753e-10
288.571 | -2.7764e-10
288.988 | -2.7645e-10
289.371 | -2.7496e-10
289.79 | -2.7809e-10
290.172 | -2.7526e-10
290.589 | -2.7268e-10
290.972 | -2.7579e-10
291.373 | -2.7781e-10
291.789 | -2.7704e-10
292.19 | -2.7749e-10
292.573 | -2.7587e-10
292.972 | -2.7692e-10
293.372 | -2.7579e-10
293.772 | -2.7649e-10
294.173 | -2.7703e-10
294.573 | -2.7573e-10
294.991 | -2.7588e-10
295.373 | -2.7803e-10
295.79 | -2.7822e-10
296.172 | -2.7941e-10
296.573 | -2.7545e-10
296.97 | -2.7571e-10
297.389 | -2.7464e-10
297.771 | -2.7517e-10
298.171 | -2.8581e-10
298.57 | -2.7583e-10
299.001 | -2.8058e-10
299.398 | -2.7687e-10
299.797 | -2.761e-10
300.178 | -2.751e-10
300.596 | -2.7471e-10
300.98 | -2.7541e-10
301.397 | -2.7572e-10
301.797 | -2.7639e-10
302.179 | -2.7637e-10
302.597 | -2.7598e-10
302.998 | -2.7579e-10
303.382 | -2.7552e-10
303.781 | -2.756e-10
304.201 | -2.7482e-10
304.601 | -2.7644e-10
305.019 | -2.7569e-10
305.386 | -2.7896e-10
305.77 | -2.7546e-10
306.202 | -2.7615e-10
306.586 | -2.7709e-10
306.986 | -2.7708e-10
307.404 | -2.78e-10
307.787 | -2.7555e-10
308.186 | -2.7573e-10
308.588 | -2.7632e-10
308.971 | -2.7458e-10
309.388 | -2.7457e-10
309.787 | -2.7505e-10
310.187 | -2.7402e-10
310.571 | -2.7565e-10
310.97 | -2.7512e-10
311.37 | -2.7703e-10
311.77 | -2.748e-10
312.187 | -2.752e-10
312.587 | -2.7478e-10
312.97 | -2.7468e-10
313.37 | -2.7365e-10
313.772 | -2.7457e-10
314.172 | -2.7439e-10
314.587 | -2.7684e-10
314.972 | -2.7638e-10
315.389 | -2.756e-10
315.771 | -2.7426e-10
316.171 | -2.7576e-10
316.571 | -2.7725e-10
316.988 | -2.74e-10
317.387 | -2.7458e-10
317.789 | -2.7365e-10
318.172 | -2.7445e-10
318.572 | -2.7349e-10
318.989 | -2.7509e-10
319.371 | -2.7358e-10
319.789 | -2.7381e-10
320.188 | -2.7229e-10
320.57 | -2.7384e-10
320.999 | -2.7422e-10
321.381 | -2.7388e-10
321.781 | -2.7417e-10
322.181 | -2.7303e-10
322.594 | -2.7504e-10
322.981 | -2.747e-10
323.381 | -2.7405e-10
323.783 | -2.7543e-10
324.181 | -2.7453e-10
324.582 | -2.7282e-10
324.984 | -2.7313e-10
325.4 | -2.7378e-10
325.784 | -2.7298e-10
326.184 | -2.735e-10
326.586 | -2.7312e-10
326.986 | -2.7377e-10
327.37 | -2.7492e-10
327.783 | -2.7461e-10
328.202 | -2.7576e-10
328.603 | -2.767e-10
329.004 | -2.7681e-10
329.388 | -2.7657e-10
329.771 | -2.7706e-10
330.171 | -2.7606e-10
330.571 | -2.7561e-10
330.971 | -2.7787e-10
331.37 | -2.7836e-10
331.787 | -2.7664e-10
332.204 | -2.7672e-10
332.588 | -2.7713e-10
332.988 | -2.7701e-10
333.389 | -2.7698e-10
333.788 | -2.7534e-10
334.187 | -2.7538e-10
334.589 | -2.763e-10
334.972 | -2.7649e-10
335.389 | -2.7505e-10
335.789 | -2.7683e-10
336.189 | -2.7725e-10
336.589 | -2.7822e-10
336.973 | -2.7666e-10
337.387 | -2.7753e-10
337.788 | -2.7808e-10
338.189 | -2.7792e-10
338.572 | -2.7811e-10
338.971 | -2.7734e-10
339.371 | -2.7617e-10
339.772 | -2.7624e-10
340.19 | -2.7483e-10
340.587 | -2.7545e-10
340.971 | -2.7552e-10
341.373 | -2.7423e-10
341.772 | -2.7616e-10
342.171 | -2.7516e-10
342.571 | -2.7452e-10
342.988 | -2.7409e-10
343.387 | -2.7483e-10
343.789 | -2.75e-10
344.171 | -2.7453e-10
344.588 | -2.7608e-10
344.973 | -2.7648e-10
345.371 | -2.7557e-10
345.772 | -2.7574e-10
346.17 | -2.7533e-10
346.6 | -2.7473e-10
346.979 | -2.7528e-10
347.395 | -2.7535e-10
347.778 | -2.7457e-10
348.179 | -2.749e-10
348.579 | -2.7502e-10
348.997 | -2.7579e-10
349.381 | -2.7578e-10
349.781 | -2.7492e-10
350.196 | -2.7393e-10
350.58 | -2.7553e-10
350.982 | -2.7586e-10
351.399 | -2.77e-10
351.8 | -2.7482e-10
352.199 | -2.7557e-10
352.6 | -2.7491e-10
352.985 | -2.7592e-10
353.385 | -2.7546e-10
353.786 | -2.7648e-10
354.17 | -2.7467e-10
354.601 | -2.7563e-10
354.97 | -2.7517e-10
355.385 | -2.7605e-10
355.802 | -2.7704e-10
356.185 | -2.7649e-10
356.602 | -2.7646e-10
356.986 | -2.7719e-10
357.386 | -2.7676e-10
357.786 | -2.7655e-10
358.186 | -2.77e-10
358.603 | -2.7625e-10
358.97 | -2.7638e-10
359.387 | -2.7772e-10
359.786 | -2.7634e-10
360.203 | -2.7539e-10
360.57 | -2.7473e-10
361.003 | -2.7564e-10
361.371 | -2.7568e-10
361.803 | -2.7644e-10
362.17 | -2.7535e-10
362.603 | -2.7506e-10
363.001 | -2.7552e-10
363.37 | -2.7581e-10
363.802 | -2.7565e-10
364.17 | -2.7759e-10
364.586 | -2.7652e-10
364.97 | -2.7792e-10
365.385 | -2.7659e-10
365.785 | -2.7665e-10
366.186 | -2.7627e-10
366.586 | -2.7695e-10
366.986 | -2.7545e-10
367.402 | -2.7632e-10
367.785 | -2.7606e-10
368.185 | -2.7471e-10
368.602 | -2.759e-10
369.002 | -2.7593e-10
369.402 | -2.7664e-10
369.803 | -2.7627e-10
370.182 | -2.764e-10
370.585 | -2.7639e-10
370.985 | -2.7603e-10
371.385 | -2.7717e-10
371.784 | -2.7603e-10
372.185 | -2.7702e-10
372.603 | -2.7577e-10
372.987 | -2.7676e-10
373.4 | -2.7531e-10
373.802 | -2.7704e-10
374.185 | -2.765e-10
374.584 | -2.7516e-10
374.986 | -2.7432e-10