## Settings
Sample Info | so302, dot g2, run 04
Sample Description | U0=+2V, Up=+5V, Um=-1V
Major Measurement Parameters
Starting Temperature | 340.64
Initial Temperature | 81
Final Temperature | 375
Prelimenary Voltage | 2
Pulse Voltage | 5
Pulse Time | 5
Measurement Voltage | -1
Subsidiary Measurement Parameters
Step | 0.4
Accuracy Step | 0.1
Accuracy Stable | 1
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 10
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 5
Measurecount | 1

## Stabilization
Temperature | Current
339.286 | -1.9837e-10
338.169 | -2.6311e-10
336.954 | -2.6587e-10
335.887 | -2.6606e-10
334.853 | -2.6753e-10
333.664 | -2.6697e-10
332.523 | -2.6598e-10
331.586 | -2.6746e-10
330.423 | -2.6953e-10
329.364 | -2.6847e-10
328.348 | -2.6916e-10
327.226 | -2.6802e-10
326.046 | -2.694e-10
325.097 | -2.6954e-10
324.025 | -2.7101e-10
322.936 | -2.695e-10
321.925 | -2.6878e-10
320.929 | -2.6958e-10
319.764 | -2.6912e-10
318.764 | -2.6833e-10
317.782 | -2.7023e-10
316.675 | -2.6977e-10
315.691 | -2.6905e-10
314.775 | -2.6924e-10
313.541 | -2.6915e-10
312.585 | -2.6827e-10
311.699 | -2.6867e-10
310.583 | -2.7057e-10
309.595 | -2.6997e-10
308.653 | -2.6966e-10
307.675 | -2.7106e-10
306.639 | -2.7064e-10
305.684 | -2.6909e-10
304.84 | -2.7033e-10
303.725 | -2.7059e-10
302.735 | -2.7007e-10
301.903 | -2.6926e-10
300.822 | -2.7072e-10
299.776 | -2.6913e-10
298.836 | -2.6905e-10
297.861 | -2.6911e-10
296.781 | -2.7072e-10
295.956 | -2.719e-10
295 | -2.6974e-10
293.92 | -2.7182e-10
293.143 | -2.7022e-10
292.192 | -2.7048e-10
291.185 | -2.7063e-10
290.404 | -2.7119e-10
289.429 | -2.7228e-10
288.451 | -2.7232e-10
287.663 | -2.707e-10
286.612 | -2.7122e-10
285.675 | -2.7206e-10
284.864 | -2.7229e-10
283.89 | -2.7171e-10
283.183 | -2.7114e-10
282.334 | -2.7213e-10
281.468 | -2.7282e-10
280.753 | -2.7324e-10
279.883 | -2.7334e-10
279.201 | -2.7372e-10
278.481 | -2.7378e-10
277.629 | -2.742e-10
277.072 | -2.7442e-10
276.265 | -2.7284e-10
275.59 | -2.6473e-10
274.995 | -2.7292e-10
274.297 | -2.7268e-10
273.714 | -2.7315e-10
272.904 | -2.7032e-10
272.464 | -2.7228e-10
271.745 | -2.7393e-10
271.174 | -2.7361e-10
270.606 | -2.7409e-10
269.901 | -2.7315e-10
269.42 | -2.7459e-10
268.656 | -2.7414e-10
268.239 | -2.7466e-10
267.529 | -2.7513e-10
267.141 | -2.752e-10
266.448 | -2.7316e-10
266.039 | -2.7412e-10
265.305 | -2.7349e-10
264.958 | -2.7323e-10
264.283 | -2.7297e-10
263.894 | -2.7391e-10
263.231 | -2.7225e-10
262.911 | -2.7469e-10
262.342 | -2.7316e-10
261.872 | -2.7393e-10
261.339 | -2.7376e-10
261.003 | -2.7405e-10
260.448 | -2.7276e-10
260.14 | -2.7218e-10
259.607 | -2.7247e-10
259.356 | -2.7239e-10
258.878 | -2.7223e-10
258.59 | -2.732e-10
258.25 | -2.7222e-10
258.054 | -2.7272e-10
257.634 | -2.7331e-10
257.104 | -2.7329e-10
256.822 | -2.7335e-10
256.379 | -2.7278e-10
256.164 | -2.7222e-10
255.799 | -2.7145e-10
255.538 | -2.7195e-10
255.311 | -2.7348e-10
254.715 | -2.7251e-10
254.492 | -2.7192e-10
254.189 | -2.7224e-10
253.974 | -2.7369e-10
253.792 | -2.7236e-10
253.55 | -2.7183e-10
253.299 | -2.73e-10
253.116 | -2.7383e-10
252.882 | -2.738e-10
252.691 | -2.7363e-10
252.483 | -2.7486e-10
252.24 | -2.7469e-10
252.034 | -2.7305e-10
251.65 | -2.7223e-10
251.469 | -2.7467e-10
251.273 | -2.7409e-10
251.077 | -2.7383e-10
250.884 | -2.7259e-10
250.661 | -2.7303e-10
250.422 | -2.7422e-10
250.105 | -2.7364e-10
249.861 | -2.7406e-10
249.56 | -2.7248e-10
249.201 | -2.733e-10
248.461 | -2.7353e-10
248.129 | -2.7385e-10
247.65 | -2.7053e-10
247.164 | -2.7336e-10
246.878 | -2.7333e-10
246.577 | -2.7332e-10
246.298 | -2.7252e-10
246.012 | -2.7136e-10
245.73 | -2.719e-10
245.467 | -2.724e-10
245.181 | -2.7243e-10
244.903 | -2.7286e-10
244.627 | -2.7348e-10
244.348 | -2.7451e-10
244.075 | -2.7457e-10
243.783 | -2.7369e-10
243.49 | -2.7384e-10
243.202 | -2.7336e-10
242.918 | -2.729e-10
242.654 | -2.7369e-10
242.365 | -2.7284e-10
242.089 | -2.745e-10
241.784 | -2.7417e-10
241.464 | -2.7398e-10
241.178 | -2.735e-10
240.891 | -2.7306e-10
240.619 | -2.7268e-10
240.32 | -2.7366e-10
240.037 | -2.7418e-10
239.744 | -2.7266e-10
239.453 | -2.7196e-10
239.178 | -2.7346e-10
238.877 | -2.7306e-10
238.58 | -2.7573e-10
238.311 | -2.742e-10
238.022 | -2.7389e-10
237.744 | -2.7253e-10
237.411 | -2.7226e-10
237.093 | -2.7594e-10
236.804 | -2.7454e-10
236.488 | -2.7383e-10
236.183 | -2.74e-10
235.899 | -2.7441e-10
235.585 | -2.7424e-10
235.298 | -2.7445e-10
234.997 | -2.725e-10
234.691 | -2.7333e-10
234.362 | -2.7359e-10
234.034 | -2.7439e-10
233.731 | -2.7483e-10
233.404 | -2.7258e-10
233.098 | -2.7287e-10
232.775 | -2.6989e-10
232.458 | -2.6879e-10
232.161 | -2.6918e-10
231.846 | -2.7067e-10
231.553 | -2.7143e-10
231.24 | -2.7102e-10
230.932 | -2.6963e-10
230.615 | -2.7083e-10
230.295 | -2.6997e-10
229.997 | -2.7151e-10
229.656 | -2.7069e-10
229.335 | -2.7017e-10
229.015 | -2.7053e-10
228.673 | -2.6832e-10
228.347 | -2.7018e-10
228.024 | -2.7119e-10
227.712 | -2.7149e-10
227.353 | -2.718e-10
226.87 | -2.7211e-10
226.242 | -2.7026e-10
225.619 | -2.6993e-10
225.04 | -2.7137e-10
224.47 | -2.698e-10
223.912 | -2.6881e-10
223.405 | -2.6959e-10
222.915 | -2.6875e-10
222.488 | -2.6946e-10
222.052 | -2.6991e-10
221.63 | -2.6955e-10
221.241 | -2.7107e-10
220.833 | -2.7016e-10
220.431 | -2.7016e-10
220.055 | -2.718e-10
219.653 | -2.7034e-10
219.287 | -2.7025e-10
218.887 | -2.6986e-10
218.499 | -2.7152e-10
218.108 | -2.72e-10
217.724 | -2.6883e-10
217.371 | -2.6875e-10
216.998 | -2.6966e-10
216.647 | -2.6841e-10
216.268 | -2.7056e-10
215.894 | -2.7074e-10
215.549 | -2.6958e-10
215.178 | -2.6912e-10
214.836 | -2.6773e-10
214.466 | -2.6653e-10
214.097 | -2.6836e-10
213.758 | -2.7065e-10
213.394 | -2.733e-10
213.053 | -2.721e-10
212.692 | -2.7111e-10
212.331 | -2.7008e-10
211.998 | -2.7086e-10
211.642 | -2.7004e-10
211.317 | -2.7058e-10
210.97 | -2.7176e-10
210.629 | -2.7198e-10
210.308 | -2.7121e-10
209.968 | -2.7041e-10
209.631 | -2.7076e-10
209.316 | -2.7252e-10
208.984 | -2.7159e-10
208.665 | -2.7101e-10
208.334 | -2.7182e-10
207.991 | -2.7352e-10
207.681 | -2.7247e-10
207.342 | -2.7074e-10
207.026 | -2.7037e-10
206.678 | -2.7201e-10
206.353 | -2.7152e-10
206.015 | -2.7179e-10
205.675 | -2.7208e-10
205.355 | -2.7415e-10
205.013 | -2.736e-10
204.678 | -2.7215e-10
204.34 | -2.7297e-10
204.029 | -2.7161e-10
203.697 | -2.7273e-10
203.363 | -2.7149e-10
203.05 | -2.7126e-10
202.729 | -2.718e-10
202.403 | -2.7203e-10
202.097 | -2.7213e-10
201.769 | -2.7172e-10
201.453 | -2.7298e-10
201.162 | -2.7119e-10
200.844 | -2.7266e-10
200.553 | -2.7066e-10
200.236 | -2.7226e-10
199.916 | -2.7252e-10
199.619 | -2.7288e-10
199.295 | -2.741e-10
198.994 | -2.7271e-10
198.679 | -2.7314e-10
198.389 | -2.7324e-10
198.083 | -2.7342e-10
197.782 | -2.7157e-10
197.505 | -2.7183e-10
197.199 | -2.7253e-10
196.921 | -2.7273e-10
196.626 | -2.7182e-10
196.354 | -2.7261e-10
196.057 | -2.7393e-10
195.758 | -2.7372e-10
195.475 | -2.7328e-10
195.175 | -2.7319e-10
194.894 | -2.7357e-10
194.593 | -2.7299e-10
194.288 | -2.7401e-10
194.01 | -2.7244e-10
193.711 | -1.7387e-10
193.427 | -2.6776e-10
193.128 | -1.4407e-10
192.827 | -2.4974e-10
192.534 | 1.5913e-09
191.669 | -2.7149e-10
191.04 | -2.5834e-10
190.598 | -2.6762e-10
190.074 | -2.5816e-10
189.53 | 1.6535e-09
189.016 | 1.0407e-08
188.06 | 1.1695e-08
187.222 | -2.7162e-10
186.634 | -2.7132e-10
185.973 | -2.7095e-10
185.285 | -2.715e-10
184.572 | -2.722e-10
183.897 | -2.7287e-10
183.172 | -2.7282e-10
182.449 | -2.7208e-10
181.833 | -2.7302e-10
181.157 | -2.7477e-10
180.601 | -2.7386e-10
179.974 | -2.7353e-10
179.285 | -2.7146e-10
178.517 | -2.7382e-10
177.875 | -2.7319e-10
177.31 | -2.7439e-10
176.786 | -2.7329e-10
176.265 | -2.7461e-10
175.69 | -2.7421e-10
175.017 | -2.74e-10
174.348 | -2.7559e-10
173.715 | -2.7636e-10
173.207 | -2.7602e-10
172.724 | -2.7542e-10
172.034 | -2.7585e-10
171.258 | -2.7545e-10
170.352 | -2.7606e-10
169.47 | -2.7494e-10
168.405 | -2.7472e-10
167.324 | -2.7455e-10
166.181 | -2.7037e-10
164.912 | -2.7431e-10
163.645 | -2.7347e-10
162.563 | -2.7283e-10
161.41 | -2.7326e-10
160.214 | -2.7047e-10
159.16 | -2.7279e-10
158.019 | -2.7529e-10
156.947 | -2.7228e-10
155.854 | -2.7311e-10
154.768 | -2.7408e-10
153.688 | -2.7329e-10
152.567 | -2.7288e-10
151.624 | -2.7299e-10
150.756 | -2.7274e-10
149.907 | -2.7091e-10
149.015 | -2.7256e-10
148.167 | -2.7356e-10
147.495 | -2.7437e-10
146.863 | -2.735e-10
146.269 | -2.7472e-10
145.559 | -2.7444e-10
144.78 | -2.75e-10
143.98 | -2.7571e-10
143.142 | -2.747e-10
142.439 | -2.749e-10
141.607 | -2.7442e-10
140.766 | -2.7396e-10
139.748 | -2.7419e-10
138.752 | -2.7468e-10
137.794 | -2.7543e-10
136.79 | -2.7514e-10
135.694 | -2.7548e-10
134.609 | -2.7506e-10
133.496 | -2.7448e-10
132.63 | -2.7462e-10
131.909 | -2.751e-10
131.387 | -2.7521e-10
130.941 | -2.7467e-10
130.572 | -2.7492e-10
130.274 | -2.7444e-10
129.988 | -2.7515e-10
129.731 | -2.7357e-10
129.451 | -2.7396e-10
129.135 | -2.7643e-10
128.774 | -2.7546e-10
128.116 | -2.7588e-10
127.289 | -2.7478e-10
126.218 | -2.75e-10
125.109 | -2.7514e-10
123.973 | -2.7436e-10
122.965 | -2.7625e-10
121.91 | -2.7554e-10
120.8 | -2.7512e-10
119.759 | -2.7551e-10
118.697 | -2.745e-10
117.607 | -2.7409e-10
116.458 | -2.7403e-10
115.326 | -2.7338e-10
114.061 | -2.7402e-10
112.771 | -2.7262e-10
111.564 | -2.7387e-10
110.532 | -2.7357e-10
109.701 | -2.7543e-10
108.59 | -2.7302e-10
107.382 | -2.742e-10
106.251 | -2.7406e-10
104.995 | -2.7468e-10
103.784 | -2.7431e-10
102.439 | -2.7357e-10
101.093 | -2.7482e-10
99.469 | -2.7269e-10
97.8824 | -2.7341e-10
96.5537 | -2.7473e-10
94.7851 | -2.7307e-10
92.827 | -2.7483e-10
90.2879 | -2.7313e-10
87.084 | -2.7546e-10
85.2433 | -2.7509e-10
83.7231 | -2.7454e-10
82.5724 | -2.7406e-10
81.8744 | -2.7461e-10
81.5446 | -2.7419e-10
81.3771 | -2.7479e-10
81.2333 | -2.7585e-10
81.0942 | -2.7494e-10
81.0003 | -2.747e-10
80.9448 | -2.7433e-10
80.9106 | -2.741e-10
80.9038 | -2.751e-10
80.9147 | -2.7358e-10

## Measurements
Temperature | Current
81.3768 | -2.7421e-10
81.605 | -2.7339e-10
81.9909 | -2.739e-10
82.4073 | -2.7395e-10
82.7997 | -2.7382e-10
83.1837 | -2.7378e-10
83.5903 | -2.7313e-10
83.9773 | -2.7379e-10
84.5301 | -2.7641e-10
84.8833 | -2.7609e-10
85.307 | -2.768e-10
85.7546 | -2.7504e-10
86.1514 | -2.7552e-10
86.5316 | -2.7541e-10
86.8054 | -2.7459e-10
87.2061 | -2.7568e-10
87.5873 | -2.7562e-10
87.9864 | -2.761e-10
88.5127 | -2.76e-10
88.8372 | -2.7552e-10
89.1859 | -2.7608e-10
89.5985 | -2.7565e-10
90.0387 | -2.7559e-10
90.4378 | -2.7594e-10
90.8245 | -2.7735e-10
91.1748 | -2.7636e-10
91.6032 | -2.7635e-10
92.0237 | -2.7564e-10
92.4003 | -2.7548e-10
92.7808 | -2.7573e-10
93.2174 | -2.7685e-10
93.6071 | -2.7558e-10
94.0014 | -2.7532e-10
94.3931 | -2.7537e-10
94.7927 | -2.759e-10
95.1907 | -2.7485e-10
95.628 | -2.7548e-10
95.982 | -2.7509e-10
96.4183 | -2.7456e-10
96.8198 | -2.7515e-10
97.2064 | -2.7526e-10
97.5892 | -2.7617e-10
98.0079 | -2.7549e-10
98.3971 | -2.7639e-10
98.7851 | -2.7758e-10
99.1806 | -2.7573e-10
99.5896 | -2.7455e-10
100.029 | -2.7626e-10
100.425 | -2.7552e-10
100.832 | -2.7622e-10
101.231 | -2.7443e-10
101.591 | -2.7358e-10
102.023 | -2.7392e-10
102.439 | -2.7312e-10
102.84 | -2.7391e-10
103.23 | -2.7376e-10
103.597 | -2.7336e-10
103.975 | -2.7356e-10
104.397 | -2.7468e-10
104.789 | -2.7337e-10
105.198 | -2.7536e-10
105.598 | -2.7395e-10
105.977 | -2.7333e-10
106.391 | -2.7509e-10
106.791 | -2.7326e-10
107.191 | -2.7407e-10
107.59 | -2.7448e-10
107.977 | -2.7226e-10
108.377 | -2.7312e-10
108.804 | -2.7532e-10
109.18 | -2.753e-10
109.589 | -2.7519e-10
110.042 | -2.7537e-10
110.391 | -2.7385e-10
110.774 | -2.7643e-10
111.209 | -2.7433e-10
111.582 | -2.7464e-10
112.013 | -2.7587e-10
112.402 | -2.7654e-10
112.806 | -2.7527e-10
113.2 | -2.7436e-10
113.594 | -2.7507e-10
113.979 | -2.7549e-10
114.387 | -2.7483e-10
114.798 | -2.7346e-10
115.187 | -2.7318e-10
115.601 | -2.7362e-10
116.012 | -2.7269e-10
116.379 | -2.7291e-10
116.811 | -2.7385e-10
117.201 | -2.726e-10
117.617 | -2.7296e-10
117.989 | -2.7382e-10
118.393 | -2.7332e-10
118.784 | -2.739e-10
119.175 | -2.7449e-10
119.598 | -2.744e-10
120.018 | -2.7444e-10
120.409 | -2.7307e-10
120.828 | -2.7437e-10
121.196 | -2.7414e-10
121.601 | -2.7248e-10
122.001 | -2.7251e-10
122.421 | -2.7282e-10
122.846 | -2.7287e-10
123.221 | -2.7444e-10
123.619 | -2.7322e-10
124.002 | -2.7458e-10
124.383 | -2.7405e-10
124.776 | -2.7454e-10
125.176 | -2.7528e-10
125.576 | -2.7492e-10
125.977 | -2.7471e-10
126.383 | -2.7362e-10
126.796 | -2.7488e-10
127.182 | -2.7355e-10
127.59 | -2.7418e-10
127.994 | -2.7381e-10
128.4 | -2.7363e-10
128.787 | -2.7567e-10
129.177 | -2.7575e-10
129.583 | -2.7483e-10
129.973 | -2.7427e-10
130.381 | -2.7431e-10
130.8 | -2.74e-10
131.186 | -2.7559e-10
131.573 | -2.7645e-10
131.996 | -2.7514e-10
132.373 | -2.7671e-10
132.785 | -2.7497e-10
133.202 | -2.7533e-10
133.575 | -2.7587e-10
133.999 | -2.7551e-10
134.393 | -2.7597e-10
134.797 | -2.7591e-10
135.192 | -2.762e-10
135.609 | -2.7522e-10
135.999 | -2.7592e-10
136.374 | -2.7543e-10
136.801 | -2.7371e-10
137.179 | -2.7533e-10
137.605 | -2.7452e-10
137.976 | -2.7515e-10
138.4 | -2.7316e-10
138.808 | -2.7297e-10
139.173 | -2.7387e-10
139.61 | -2.7278e-10
139.986 | -2.7291e-10
140.394 | -2.7383e-10
140.783 | -2.7291e-10
141.189 | -2.7281e-10
141.573 | -2.7497e-10
141.989 | -2.7341e-10
142.386 | -2.7351e-10
142.778 | -2.7421e-10
143.202 | -2.729e-10
143.573 | -2.7406e-10
144.006 | -2.7266e-10
144.376 | -2.7427e-10
144.79 | -2.733e-10
145.201 | -2.7281e-10
145.598 | -2.7344e-10
145.982 | -2.7466e-10
146.375 | -2.7438e-10
146.788 | -2.7386e-10
147.188 | -2.7503e-10
147.585 | -2.7603e-10
148.004 | -2.7542e-10
148.393 | -2.7567e-10
148.803 | -2.7574e-10
149.195 | -2.765e-10
149.581 | -2.7591e-10
149.975 | -2.7553e-10
150.392 | -2.7533e-10
150.798 | -2.7516e-10
151.173 | -2.7533e-10
151.58 | -2.741e-10
151.986 | -2.7443e-10
152.399 | -2.7558e-10
152.782 | -2.7433e-10
153.194 | -2.7459e-10
153.578 | -2.7476e-10
153.978 | -2.7418e-10
154.373 | -2.7657e-10
154.782 | -2.7429e-10
155.181 | -2.7577e-10
155.58 | -2.7562e-10
155.988 | -2.7423e-10
156.386 | -2.7502e-10
156.779 | -2.733e-10
157.185 | -2.7423e-10
157.593 | -2.7526e-10
157.979 | -2.7393e-10
158.383 | -2.745e-10
158.774 | -2.7444e-10
159.185 | -2.7315e-10
159.573 | -2.7293e-10
159.991 | -2.7287e-10
160.402 | -2.733e-10
160.798 | -2.744e-10
161.177 | -2.7342e-10
161.579 | -2.7439e-10
162.028 | -2.7287e-10
162.381 | -2.7249e-10
162.784 | -2.743e-10
163.198 | -2.7265e-10
163.602 | -2.7324e-10
163.985 | -2.75e-10
164.38 | -2.7363e-10
164.802 | -2.7313e-10
165.193 | -2.7326e-10
165.584 | -2.743e-10
166.007 | -2.7464e-10
166.392 | -2.7557e-10
166.79 | -2.754e-10
167.203 | -2.7492e-10
167.577 | -2.7597e-10
167.988 | -2.736e-10
168.398 | -2.7535e-10
168.789 | -2.7507e-10
169.179 | -2.7341e-10
169.589 | -2.7437e-10
170.001 | -2.7617e-10
170.39 | -2.7391e-10
170.782 | -2.7443e-10
171.19 | -2.7381e-10
171.576 | -2.7236e-10
171.983 | -2.728e-10
172.39 | -2.7267e-10
172.806 | -2.7327e-10
173.2 | -2.7256e-10
173.576 | -2.7302e-10
174.002 | -2.7251e-10
174.392 | -2.7266e-10
174.795 | -2.7265e-10
175.187 | -2.7366e-10
175.573 | -2.7307e-10
176 | -2.727e-10
176.373 | -2.7078e-10
176.792 | -2.7222e-10
177.181 | -2.7207e-10
177.575 | -2.7157e-10
177.997 | -2.724e-10
178.385 | -2.7281e-10
178.802 | -2.7243e-10
179.195 | -2.7185e-10
179.583 | -2.7142e-10
179.988 | -2.73e-10
180.383 | -2.7385e-10
180.773 | -2.7381e-10
181.197 | -2.7306e-10
181.596 | -2.7301e-10
181.982 | -2.7219e-10
182.377 | -2.7312e-10
182.805 | -2.7133e-10
183.201 | -2.7213e-10
183.591 | -2.7324e-10
183.985 | -2.7283e-10
184.374 | -2.73e-10
184.805 | -2.7287e-10
185.18 | -2.7303e-10
185.582 | -2.7218e-10
186.006 | -2.7295e-10
186.379 | -2.717e-10
186.793 | -2.7253e-10
187.194 | -2.7241e-10
187.577 | -2.7409e-10
187.978 | -2.7427e-10
188.382 | -2.7314e-10
188.794 | -2.7474e-10
189.186 | -2.7391e-10
189.597 | -2.7405e-10
189.998 | -2.7439e-10
190.386 | -2.7434e-10
190.788 | -2.7363e-10
191.187 | -2.7497e-10
191.589 | -2.7575e-10
191.988 | -2.7604e-10
192.386 | -2.7366e-10
192.783 | -2.7438e-10
193.2 | -2.7352e-10
193.596 | -2.7272e-10
193.977 | -2.7344e-10
194.377 | -2.735e-10
194.791 | -2.72e-10
195.186 | -2.7388e-10
195.586 | -2.7309e-10
195.985 | -2.7325e-10
196.383 | -2.7413e-10
196.798 | -2.7416e-10
197.178 | -2.7374e-10
197.575 | -2.7517e-10
197.976 | -2.7533e-10
198.391 | -2.7492e-10
198.797 | -2.7372e-10
199.19 | -2.7591e-10
199.587 | -2.7479e-10
199.983 | -2.7403e-10
200.402 | -2.745e-10
200.802 | -2.7484e-10
201.202 | -2.7366e-10
201.605 | -2.7385e-10
202.002 | -2.7491e-10
202.403 | -2.7559e-10
202.789 | -2.7512e-10
203.174 | -2.7444e-10
203.587 | -2.746e-10
204.005 | -2.7252e-10
204.373 | -2.7449e-10
204.792 | -2.7346e-10
205.192 | -2.7405e-10
205.59 | -2.7475e-10
205.988 | -2.7216e-10
206.376 | -2.7291e-10
206.8 | -2.728e-10
207.189 | -2.7134e-10
207.596 | -2.7303e-10
207.982 | -2.7186e-10
208.397 | -2.748e-10
208.775 | -2.7283e-10
209.181 | -2.7206e-10
209.583 | -2.7332e-10
209.995 | -2.7221e-10
210.383 | -2.7197e-10
210.8 | -2.7363e-10
211.202 | -2.7334e-10
211.577 | -2.7344e-10
211.993 | -2.7527e-10
212.411 | -2.7595e-10
212.783 | -2.7461e-10
213.208 | -2.738e-10
213.578 | -2.74e-10
213.997 | -2.7348e-10
214.405 | -2.7114e-10
214.802 | -2.7151e-10
215.193 | -2.7132e-10
215.603 | -2.7033e-10
215.982 | -2.7335e-10
216.394 | -2.7189e-10
216.783 | -2.713e-10
217.176 | -2.7208e-10
217.576 | -2.7055e-10
217.974 | -2.7057e-10
218.388 | -2.7211e-10
218.795 | -2.727e-10
219.175 | -2.7121e-10
219.594 | -2.7073e-10
219.989 | -2.7105e-10
220.381 | -2.7126e-10
220.791 | -2.7014e-10
221.192 | -2.7056e-10
221.596 | -2.7114e-10
221.976 | -2.7167e-10
222.393 | -2.7193e-10
222.799 | -2.7271e-10
223.194 | -2.7273e-10
223.594 | -2.7282e-10
223.981 | -2.7211e-10
224.388 | -2.7446e-10
224.794 | -2.7331e-10
225.188 | -2.7252e-10
225.586 | -2.7332e-10
225.983 | -2.7426e-10
226.382 | -2.7099e-10
226.799 | -2.7229e-10
227.199 | -2.7398e-10
227.601 | -2.7305e-10
228.001 | -2.7261e-10
228.399 | -2.7097e-10
228.781 | -2.7115e-10
229.197 | -2.723e-10
229.581 | -2.734e-10
229.981 | -2.6625e-10
230.401 | -4.2957e-10
230.787 | -2.7659e-10
231.189 | -2.7258e-10
231.593 | -2.9907e-10
231.981 | -2.7852e-10
232.384 | -2.8793e-10
232.803 | -2.7778e-10
233.187 | -2.7764e-10
233.587 | -2.7666e-10
234.005 | -2.7843e-10
234.403 | -2.7969e-10
234.803 | -2.7851e-10
235.187 | -2.7934e-10
235.589 | -2.7855e-10
236.006 | -2.772e-10
236.405 | -2.7557e-10
236.788 | -2.7846e-10
237.189 | -2.7756e-10
237.588 | -2.7942e-10
237.989 | -2.8436e-10
238.39 | -2.8625e-10
238.79 | -2.8469e-10
239.173 | -2.7831e-10
239.573 | -2.7425e-10
239.99 | -2.7755e-10
240.373 | -2.7797e-10
240.773 | -2.7652e-10
241.173 | -2.7802e-10
241.573 | -2.7853e-10
242.006 | -2.7551e-10
242.39 | -2.7768e-10
242.773 | -2.7684e-10
243.189 | -2.7406e-10
243.588 | -2.7595e-10
244.005 | -2.7683e-10
244.384 | -2.7613e-10
244.797 | -2.7629e-10
245.196 | -2.7589e-10
245.577 | -2.7557e-10
245.977 | -2.768e-10
246.393 | -2.7639e-10
246.793 | -2.7598e-10
247.177 | -2.7594e-10
247.595 | -2.7738e-10
247.996 | -2.7534e-10
248.381 | -2.7692e-10
248.797 | -2.7591e-10
249.178 | -2.7828e-10
249.582 | -2.7796e-10
250 | -2.7748e-10
250.382 | -2.7668e-10
250.783 | -2.7588e-10
251.185 | -2.7524e-10
251.618 | -2.7684e-10
251.987 | -2.7619e-10
252.387 | -2.777e-10
252.787 | -2.7735e-10
253.188 | -2.7634e-10
253.588 | -2.7745e-10
253.988 | -2.7713e-10
254.388 | -2.7481e-10
254.788 | -2.7601e-10
255.204 | -2.7612e-10
255.605 | -2.7548e-10
256.006 | -2.7539e-10
256.405 | -2.7619e-10
256.773 | -2.7503e-10
257.174 | -2.7534e-10
257.574 | -2.7588e-10
257.973 | -2.7652e-10
258.388 | -2.7614e-10
258.789 | -2.7344e-10
259.189 | -2.7337e-10
259.589 | -2.7395e-10
260.006 | -2.7436e-10
260.388 | -2.739e-10
260.773 | -2.7412e-10
261.2 | -2.7524e-10
261.6 | -2.7441e-10
261.997 | -2.7537e-10
262.377 | -2.7528e-10
262.794 | -2.756e-10
263.193 | -2.7555e-10
263.592 | -2.7527e-10
263.976 | -2.7388e-10
264.377 | -2.7393e-10
264.794 | -2.7335e-10
265.195 | -2.7445e-10
265.595 | -2.7597e-10
265.995 | -2.7321e-10
266.413 | -2.731e-10
266.778 | -2.7488e-10
267.18 | -2.7556e-10
267.599 | -2.746e-10
267.982 | -2.7462e-10
268.401 | -2.7411e-10
268.8 | -2.7512e-10
269.201 | -2.7262e-10
269.585 | -2.7437e-10
270.035 | -2.7266e-10
270.403 | -2.7291e-10
270.788 | -2.7261e-10
271.186 | -2.7416e-10
271.588 | -2.7443e-10
271.973 | -2.7237e-10
272.405 | -2.7391e-10
272.789 | -2.7415e-10
273.206 | -2.723e-10
273.59 | -2.7428e-10
273.989 | -2.732e-10
274.388 | -2.7494e-10
274.788 | -2.7283e-10
275.204 | -2.7343e-10
275.604 | -2.7504e-10
275.988 | -2.7479e-10
276.387 | -2.7355e-10
276.789 | -2.7561e-10
277.189 | -2.7511e-10
277.574 | -2.7358e-10
277.989 | -2.7384e-10
278.388 | -2.7455e-10
278.79 | -2.7386e-10
279.188 | -2.7429e-10
279.584 | -2.7484e-10
279.998 | -2.7466e-10
280.396 | -2.7537e-10
280.795 | -2.7632e-10
281.195 | -2.735e-10
281.595 | -2.7428e-10
281.98 | -2.7445e-10
282.379 | -2.7407e-10
282.797 | -2.7476e-10
283.198 | -2.7398e-10
283.597 | -2.7539e-10
283.999 | -2.7556e-10
284.382 | -2.7526e-10
284.783 | -2.7503e-10
285.185 | -2.725e-10
285.584 | -2.7347e-10
286.003 | -2.7281e-10
286.402 | -2.7217e-10
286.786 | -2.7166e-10
287.187 | -2.7202e-10
287.588 | -2.7261e-10
287.987 | -2.7319e-10
288.404 | -2.7125e-10
288.804 | -2.7373e-10
289.206 | -2.7378e-10
289.605 | -2.7317e-10
290.005 | -2.7272e-10
290.386 | -2.721e-10
290.789 | -2.734e-10
291.188 | -2.7434e-10
291.588 | -2.7286e-10
291.989 | -2.728e-10
292.406 | -2.7175e-10
292.774 | -2.7259e-10
293.173 | -2.7317e-10
293.589 | -2.7237e-10
293.973 | -2.7193e-10
294.373 | -2.7203e-10
294.773 | -2.7095e-10
295.173 | -2.7111e-10
295.573 | -2.7138e-10
295.988 | -2.7155e-10
296.373 | -2.72e-10
296.788 | -2.7263e-10
297.205 | -2.7338e-10
297.604 | -2.7322e-10
298.005 | -2.7184e-10
298.405 | -2.7166e-10
298.802 | -2.7024e-10
299.183 | -2.7264e-10
299.58 | -2.7257e-10
299.98 | -2.7139e-10
300.378 | -2.7217e-10
300.778 | -2.706e-10
301.18 | -2.7211e-10
301.597 | -2.7115e-10
301.997 | -2.7166e-10
302.397 | -2.7268e-10
302.781 | -2.7245e-10
303.201 | -2.7234e-10
303.583 | -2.7163e-10
304 | -2.7095e-10
304.401 | -2.7127e-10
304.802 | -2.7201e-10
305.185 | -2.7227e-10
305.602 | -2.7242e-10
305.986 | -2.7172e-10
306.403 | -2.7149e-10
306.787 | -2.7082e-10
307.203 | -2.7171e-10
307.603 | -2.7202e-10
307.986 | -2.7214e-10
308.403 | -2.7143e-10
308.787 | -2.7079e-10
309.187 | -2.714e-10
309.587 | -2.7136e-10
310.004 | -2.7042e-10
310.403 | -2.7068e-10
310.805 | -2.6971e-10
311.205 | -2.6934e-10
311.588 | -2.712e-10
312.004 | -2.7103e-10
312.388 | -2.7075e-10
312.788 | -2.7111e-10
313.19 | -2.7145e-10
313.573 | -2.7208e-10
313.989 | -2.7389e-10
314.389 | -2.725e-10
314.788 | -2.7252e-10
315.188 | -2.7276e-10
315.588 | -2.7304e-10
315.988 | -2.719e-10
316.387 | -2.7208e-10
316.788 | -2.7107e-10
317.189 | -2.7197e-10
317.604 | -2.7204e-10
318.004 | -2.693e-10
318.405 | -2.7284e-10
318.803 | -2.7334e-10
319.178 | -2.7241e-10
319.594 | -2.7443e-10
319.987 | -2.75e-10
320.386 | -2.7308e-10
320.781 | -2.7391e-10
321.177 | -2.7366e-10
321.573 | -2.7371e-10
322.001 | -2.7286e-10
322.391 | -2.728e-10
322.797 | -2.7318e-10
323.184 | -2.734e-10
323.586 | -2.7475e-10
324.006 | -2.7252e-10
324.39 | -2.7368e-10
324.792 | -2.7235e-10
325.194 | -2.7341e-10
325.577 | -2.7284e-10
325.978 | -2.7367e-10
326.379 | -2.7342e-10
326.796 | -2.7443e-10
327.179 | -2.7283e-10
327.595 | -2.734e-10
327.994 | -2.7369e-10
328.376 | -2.7278e-10
328.776 | -2.7327e-10
329.193 | -2.7311e-10
329.574 | -2.7366e-10
329.975 | -2.7571e-10
330.375 | -2.7453e-10
330.79 | -2.7434e-10
331.191 | -2.7687e-10
331.589 | -2.7409e-10
331.988 | -2.7623e-10
332.388 | -2.7656e-10
332.773 | -2.7611e-10
333.204 | -2.7861e-10
333.606 | -2.7546e-10
333.989 | -2.7619e-10
334.388 | -2.7636e-10
334.806 | -2.7581e-10
335.19 | -2.7783e-10
335.588 | -2.7703e-10
335.989 | -2.7636e-10
336.388 | -2.7631e-10
336.787 | -2.7617e-10
337.188 | -2.7515e-10
337.638 | -2.758e-10
337.973 | -2.7647e-10
338.405 | -2.7533e-10
338.788 | -2.7491e-10
339.187 | -2.7581e-10
339.589 | -2.7628e-10
340.005 | -2.7591e-10
340.403 | -2.7601e-10
340.806 | -2.7611e-10
341.205 | -2.7714e-10
341.606 | -2.7672e-10
341.988 | -2.7711e-10
342.388 | -2.7716e-10
342.789 | -2.7803e-10
343.173 | -2.7937e-10
343.606 | -2.7894e-10
343.988 | -2.7773e-10
344.389 | -2.763e-10
344.773 | -2.7574e-10
345.189 | -2.7792e-10
345.606 | -2.7666e-10
346.004 | -2.7647e-10
346.403 | -2.7751e-10
346.783 | -2.7653e-10
347.197 | -2.7608e-10
347.581 | -2.7428e-10
347.979 | -2.7576e-10
348.38 | -2.7689e-10
348.78 | -2.751e-10
349.197 | -2.7674e-10
349.598 | -2.7635e-10
349.998 | -2.7627e-10
350.4 | -2.7698e-10
350.8 | -2.7761e-10
351.184 | -2.7683e-10
351.601 | -2.7507e-10
351.986 | -2.7564e-10
352.4 | -2.7641e-10
352.783 | -2.7586e-10
353.183 | -2.7545e-10
353.601 | -2.772e-10
354 | -2.764e-10
354.383 | -2.753e-10
354.785 | -2.7487e-10
355.201 | -2.7551e-10
355.585 | -2.7575e-10
355.985 | -2.7481e-10
356.386 | -2.7528e-10
356.801 | -2.7701e-10
357.186 | -2.7605e-10
357.585 | -2.764e-10
357.985 | -2.748e-10
358.384 | -2.7626e-10
358.786 | -2.7668e-10
359.204 | -2.7785e-10
359.604 | -2.7738e-10
359.987 | -2.7576e-10
360.385 | -2.7555e-10
360.803 | -2.771e-10
361.202 | -2.7524e-10
361.603 | -2.7526e-10
362.003 | -2.7513e-10
362.387 | -2.7616e-10
362.787 | -2.7633e-10
363.186 | -2.7725e-10
363.601 | -2.771e-10
364.002 | -2.7645e-10
364.386 | -2.7728e-10
364.801 | -2.7717e-10
365.201 | -2.7643e-10
365.602 | -2.757e-10
365.986 | -2.7567e-10
366.386 | -2.7711e-10
366.801 | -2.7665e-10
367.202 | -2.7621e-10
367.602 | -2.7719e-10
368.001 | -2.7692e-10
368.4 | -2.7707e-10
368.785 | -2.7578e-10
369.186 | -2.781e-10
369.584 | -2.7815e-10
370.002 | -2.7703e-10
370.403 | -2.7567e-10
370.785 | -2.7572e-10
371.186 | -2.7751e-10
371.586 | -2.7915e-10
371.985 | -2.7895e-10
372.385 | -2.7872e-10
372.8 | -2.7669e-10
373.184 | -2.7602e-10
373.585 | -2.7735e-10
374.003 | -2.7847e-10
374.402 | -2.7715e-10
374.785 | -2.7583e-10
375.186 | -2.775e-10