## Settings
Sample Info | SiO2 ; 1.6mm ; Non-Irradiated
Sample Description | Voronezh Sample
Major Measurement Parameters
Starting Temperature | 233.798
Initial Temperature | 81
Final Temperature | 380
Preliminary Voltage | 2
Pulse Voltage | 2
Pulse Time | 5
Measurement Voltage | -0.5
Subsidiary Measurement Parameters
Step | 0.5
Accuracy Step | 0.1
Accuracy Stable | 1
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 10
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 5
Measurecount | 1

## Stabilization
Temperature | Current
233.127 | 2.626e-09
232.434 | -2.6545e-10
231.733 | -2.661e-10
231.089 | -2.6674e-10
230.416 | -2.6697e-10
229.744 | -2.6734e-10
229.087 | -2.6769e-10
228.332 | -2.6822e-10
227.487 | -2.6862e-10
226.815 | -2.6993e-10
226.147 | -2.6841e-10
225.461 | -2.6887e-10
224.779 | -2.6752e-10
223.922 | -2.6908e-10
223.192 | -2.6713e-10
222.551 | -2.686e-10
221.93 | -2.6827e-10
221.219 | -2.7011e-10
220.393 | -2.7018e-10
219.517 | -2.7012e-10
218.882 | -2.7005e-10
218.238 | -2.7022e-10
217.601 | -2.7091e-10
216.978 | -2.7168e-10
216.245 | -2.7021e-10
215.528 | -2.7196e-10
214.913 | -2.7174e-10
214.363 | -2.7285e-10
213.785 | -2.7127e-10
213.088 | -2.7172e-10
212.269 | -2.7257e-10
211.592 | -2.7237e-10
211.01 | -2.7267e-10
210.461 | -2.7201e-10
209.848 | -2.7128e-10
209.135 | -2.731e-10
208.409 | -2.7072e-10
207.767 | -2.7181e-10
207.207 | -2.7266e-10
206.679 | -2.707e-10
206.09 | -2.7137e-10
205.331 | -2.7111e-10
204.368 | -2.7169e-10
203.626 | -2.7122e-10
203.024 | -2.7147e-10
202.49 | -2.7143e-10
201.919 | -2.7191e-10
201.298 | -2.7196e-10
200.456 | -2.7252e-10
199.591 | -2.7353e-10
198.882 | -2.7315e-10
198.346 | -2.7349e-10
197.813 | -2.7331e-10
197.217 | -2.7342e-10
196.429 | -2.7298e-10
195.459 | -2.7366e-10
194.643 | -2.7434e-10
194.022 | -2.7355e-10
193.447 | -2.7465e-10
192.823 | -2.7401e-10
192.048 | -2.7308e-10
191.243 | -2.7415e-10
190.504 | -2.7509e-10
189.938 | -2.742e-10
189.431 | -2.7354e-10
188.903 | -2.7286e-10
188.358 | -2.7246e-10
187.7 | -2.7339e-10
187.011 | -2.7328e-10
186.459 | -2.7286e-10
186.022 | -2.7388e-10
185.589 | -2.7459e-10
185.124 | -2.7335e-10
184.635 | -2.7317e-10
183.974 | -2.7262e-10
183.324 | -2.7275e-10
182.794 | -2.7285e-10
182.356 | -2.7247e-10
181.935 | -2.729e-10
181.497 | -2.7473e-10
180.941 | -2.733e-10
180.282 | -2.7384e-10
179.67 | -2.7372e-10
179.172 | -2.7161e-10
178.747 | -2.7293e-10
178.324 | -2.7328e-10
177.872 | -2.7297e-10
177.33 | -2.745e-10
176.649 | -2.7344e-10
175.845 | -2.7282e-10
175.175 | -2.7249e-10
174.655 | -2.7381e-10
174.208 | -2.7361e-10
173.786 | -2.7438e-10
173.305 | -2.7481e-10
172.571 | -2.7407e-10
171.764 | -2.7388e-10
170.718 | -2.7376e-10
170.196 | -2.7377e-10
169.71 | -2.7409e-10
169.241 | -2.7368e-10
168.741 | -2.7377e-10
168.077 | -2.7353e-10
167.122 | -2.7327e-10
166.304 | -2.7356e-10
165.831 | -2.7383e-10
165.427 | -2.7313e-10
164.988 | -2.7327e-10
164.479 | -2.7184e-10
163.603 | -2.7336e-10
162.769 | -2.7225e-10
162.126 | -2.7308e-10
161.58 | -2.7314e-10
161.115 | -2.7356e-10
160.711 | -2.7361e-10
160.077 | -2.7345e-10
159.431 | -2.7472e-10
158.578 | -2.743e-10
157.722 | -2.7347e-10
157.079 | -2.7476e-10
156.488 | -2.7585e-10
156.018 | -2.7448e-10
155.462 | -2.6481e-10
154.928 | -2.7418e-10
154.258 | -2.7291e-10
153.548 | -2.7401e-10
152.835 | -2.7412e-10
152.22 | -2.7386e-10
151.745 | -2.7261e-10
151.338 | -2.7366e-10
150.896 | -2.785e-10
150.336 | -2.7539e-10
149.547 | -2.709e-10
148.666 | -2.756e-10
147.837 | -2.7379e-10
147.13 | -2.7749e-10
146.572 | -2.7929e-10
146.105 | -2.7741e-10
145.663 | -2.7293e-10
145.187 | -2.7457e-10
144.51 | -2.7384e-10
143.622 | -2.7676e-10
142.773 | -2.7113e-10
142.078 | -2.6772e-10
141.418 | -2.7271e-10
140.994 | -2.723e-10
140.629 | -2.7253e-10
140.236 | -2.7204e-10
139.426 | -2.7222e-10
138.454 | -2.7198e-10
137.564 | -2.7512e-10
136.797 | -2.7589e-10
136.131 | -2.7483e-10
135.662 | -2.7292e-10
135.278 | -2.7298e-10
134.87 | -2.7331e-10
134.254 | -2.7257e-10
133.338 | -2.7268e-10
132.268 | -2.7273e-10
131.346 | -2.7424e-10
130.593 | -2.7555e-10
129.979 | -2.7389e-10
129.565 | -2.7386e-10
129.196 | -2.7369e-10
128.711 | -2.7196e-10
127.89 | -2.7533e-10
127.056 | -2.7386e-10
126.268 | -2.7545e-10
125.748 | -2.7435e-10
125.36 | -2.7434e-10
125.063 | -2.7385e-10
124.76 | -2.7334e-10
123.986 | -2.7254e-10
122.949 | -2.7152e-10
121.967 | -2.7542e-10
121.104 | -2.7483e-10
120.448 | -2.7534e-10
120.032 | -2.7581e-10
119.73 | -2.7463e-10
119.469 | -2.754e-10
118.949 | -2.7722e-10
118.172 | -2.7554e-10
117.266 | -2.7303e-10
116.381 | -2.7174e-10
115.789 | -2.7399e-10
115.383 | -2.7533e-10
115.118 | -2.7223e-10
114.906 | -2.7583e-10
114.269 | -2.7491e-10
113.294 | -2.7382e-10
112.228 | -2.7405e-10
111.359 | -2.7468e-10
110.754 | -2.7427e-10
110.367 | -2.7647e-10
110.141 | -2.7279e-10
109.988 | -2.7472e-10
109.501 | -2.7513e-10
108.655 | -2.7439e-10
107.578 | -2.7314e-10
106.638 | -2.7873e-10
106.081 | -2.7419e-10
105.743 | -2.7486e-10
105.566 | -2.7482e-10
105.454 | -2.7567e-10
105.03 | -2.7447e-10
103.724 | -2.7469e-10
102.247 | -2.7525e-10
100.948 | -2.7488e-10
100.009 | -2.7002e-10
99.5474 | -2.7096e-10
99.3045 | -2.7799e-10
99.221 | -2.7542e-10
98.9463 | -2.7409e-10
97.6818 | -2.733e-10
96.0575 | -2.756e-10
94.2617 | -2.7534e-10
93.3257 | -2.8017e-10
92.9708 | -2.7466e-10
92.8615 | -2.61e-10
92.8812 | -2.6821e-10
92.7413 | -2.7314e-10
89.8492 | -2.7382e-10
86.3505 | -2.7603e-10
86.1494 | -2.743e-10
86.539 | -2.7069e-10
86.7698 | -2.7272e-10
87.0033 | -2.7185e-10
87.2282 | -2.7344e-10
86.8049 | -2.7346e-10
83.7527 | -2.7339e-10
82.5224 | -2.7367e-10
81.764 | -2.7336e-10
81.4514 | -2.7232e-10
81.3099 | -2.7259e-10
81.3269 | -2.7325e-10
81.448 | -2.7444e-10
81.5017 | -2.7418e-10
81.2475 | -2.7316e-10
81.0791 | -2.7412e-10
80.9428 | -2.7384e-10
80.793 | -2.7307e-10

## Measurements
Temperature | Current
80.6587 | -2.7417e-10
80.9653 | -2.7339e-10
81.4806 | -2.7413e-10
81.9773 | -2.7217e-10
82.4661 | -2.7234e-10
82.9816 | -2.714e-10
83.4689 | -2.7271e-10
83.9887 | -2.7257e-10
84.4915 | -2.7439e-10
84.9638 | -2.7392e-10
85.4609 | -2.7145e-10
85.969 | -2.7054e-10
86.4747 | -2.6996e-10
86.9587 | -2.7165e-10
87.4604 | -2.7065e-10
87.9678 | -2.7202e-10
88.4985 | -2.7196e-10
88.9638 | -2.7357e-10
89.4698 | -2.7296e-10
89.9695 | -2.7247e-10
90.465 | -2.71e-10
90.9829 | -2.7079e-10
91.4576 | -2.711e-10
91.9775 | -2.7146e-10
92.4652 | -2.706e-10
92.9768 | -2.71e-10
93.4745 | -2.6921e-10
93.9676 | -2.7038e-10
94.4641 | -2.689e-10
94.9725 | -2.6992e-10
95.4569 | -2.7066e-10
95.9648 | -2.6917e-10
96.4686 | -2.6992e-10
96.9572 | -2.6918e-10
97.4627 | -2.6925e-10
97.9603 | -2.6894e-10
98.4758 | -2.697e-10
98.9649 | -2.6959e-10
99.475 | -2.6974e-10
99.9685 | -2.7154e-10
100.471 | -2.686e-10
100.963 | -2.6965e-10
101.461 | -2.6959e-10
101.967 | -2.6642e-10
102.46 | -2.6858e-10
102.956 | -2.6984e-10
103.458 | -2.6805e-10
103.977 | -2.6987e-10
104.477 | -2.6989e-10
104.957 | -2.6927e-10
105.457 | -2.675e-10
105.973 | -2.6794e-10
106.463 | -2.6973e-10
106.971 | -2.687e-10
107.458 | -2.6878e-10
107.968 | -2.6915e-10
108.474 | -2.6965e-10
108.972 | -2.7052e-10
109.465 | -2.6496e-10
109.957 | -2.7158e-10
110.46 | -2.7159e-10
110.976 | -2.7007e-10
111.461 | -2.6845e-10
111.962 | -2.6793e-10
112.465 | -2.6909e-10
112.971 | -2.6889e-10
113.47 | -2.6878e-10
113.957 | -2.6798e-10
114.467 | -2.6715e-10
114.967 | -2.675e-10
115.456 | -2.6804e-10
115.977 | -2.6652e-10
116.473 | -2.6918e-10
116.96 | -2.6769e-10
117.464 | -2.6943e-10
117.963 | -2.68e-10
118.464 | -2.6873e-10
118.965 | -2.6885e-10
119.468 | -2.7011e-10
119.963 | -2.7181e-10
120.466 | -2.7148e-10
120.958 | -2.7103e-10
121.459 | -2.6936e-10
121.957 | -2.7019e-10
122.465 | -2.7216e-10
122.956 | -2.6915e-10
123.473 | -2.7089e-10
123.961 | -2.6826e-10
124.457 | -2.6932e-10
124.958 | -2.7008e-10
125.467 | -2.7122e-10
125.964 | -2.7003e-10
126.46 | -2.7196e-10
126.967 | -2.6997e-10
127.468 | -2.7105e-10
127.962 | -2.6877e-10
128.459 | -2.7057e-10
128.97 | -2.6884e-10
129.471 | -2.6871e-10
129.971 | -2.6713e-10
130.459 | -2.6838e-10
130.958 | -2.686e-10
131.461 | -2.6875e-10
131.968 | -2.6879e-10
132.468 | -2.6758e-10
132.967 | -2.6792e-10
133.461 | -2.6805e-10
133.967 | -2.7009e-10
134.472 | -2.6954e-10
134.961 | -2.6829e-10
135.463 | -2.6772e-10
135.97 | -2.6861e-10
136.467 | -2.6803e-10
136.965 | -2.696e-10
137.463 | -2.6997e-10
137.967 | -2.6837e-10
138.472 | -2.6877e-10
138.964 | -2.669e-10
139.456 | -2.6756e-10
139.969 | -2.6747e-10
140.459 | -2.6789e-10
140.964 | -2.664e-10
141.472 | -2.717e-10
141.969 | -2.6661e-10
142.458 | -2.6911e-10
142.964 | -2.6805e-10
143.456 | -2.669e-10
143.969 | -2.6938e-10
144.467 | -2.6899e-10
144.966 | -2.688e-10
145.463 | -2.6971e-10
145.965 | -2.7033e-10
146.463 | -2.6739e-10
146.96 | -2.6269e-10
147.472 | -2.6913e-10
147.972 | -2.6716e-10
148.473 | -2.6853e-10
148.966 | -2.7103e-10
149.456 | -2.6886e-10
149.966 | -2.6846e-10
150.46 | -2.6727e-10
150.967 | -2.6736e-10
151.467 | -2.6594e-10
151.964 | -2.6536e-10
152.464 | -2.6591e-10
152.958 | -2.6647e-10
153.464 | -2.6676e-10
153.96 | -2.6788e-10
154.466 | -2.676e-10
154.967 | -2.685e-10
155.464 | -2.6818e-10
155.962 | -2.6797e-10
156.464 | -2.6807e-10
156.964 | -2.6511e-10
157.461 | -2.6786e-10
157.97 | -2.6678e-10
158.474 | -2.6564e-10
158.957 | -2.6518e-10
159.461 | -2.6703e-10
159.968 | -2.6739e-10
160.469 | -2.6723e-10
160.968 | -2.6705e-10
161.461 | -2.6813e-10
161.964 | -2.6879e-10
162.47 | -2.6816e-10
162.968 | -2.6753e-10
163.473 | -2.6588e-10
163.971 | -2.6637e-10
164.459 | -2.6765e-10
164.961 | -2.6797e-10
165.465 | -2.6633e-10
165.967 | -2.6812e-10
166.469 | -2.6606e-10
166.962 | -2.6617e-10
167.465 | -2.6547e-10
167.961 | -2.6671e-10
168.467 | -2.6518e-10
168.976 | -2.6525e-10
169.467 | -2.6419e-10
169.956 | -2.6327e-10
170.473 | -2.6387e-10
170.965 | -2.6419e-10
171.459 | -2.6398e-10
172.001 | -2.6421e-10
172.462 | -2.6345e-10
172.97 | -2.6458e-10
173.468 | -2.6525e-10
173.956 | -2.6526e-10
174.456 | -2.6357e-10
174.956 | -2.6547e-10
175.471 | -2.6242e-10
175.958 | -2.6355e-10
176.469 | -2.6436e-10
176.964 | -2.6373e-10
177.463 | -2.6417e-10
177.972 | -2.6494e-10
178.463 | -2.6533e-10
178.971 | -2.6415e-10
179.458 | -2.664e-10
179.956 | -2.6428e-10
180.463 | -2.6463e-10
180.959 | -2.6533e-10
181.461 | -2.6367e-10
181.962 | -2.6559e-10
182.456 | -2.6598e-10
182.972 | -2.6536e-10
183.461 | -2.6592e-10
183.957 | -2.6506e-10
184.46 | -2.6399e-10
184.962 | -2.6521e-10
185.504 | -2.6373e-10
185.971 | -2.625e-10
186.47 | -2.6152e-10
186.963 | -2.6375e-10
187.47 | -2.6377e-10
187.961 | -2.6359e-10
188.459 | -2.6409e-10
188.964 | -2.6356e-10
189.475 | -2.6404e-10
189.97 | -2.6488e-10
190.466 | -2.6392e-10
190.965 | -2.6363e-10
191.458 | -2.6587e-10
191.96 | -2.6365e-10
192.46 | -2.6579e-10
192.962 | -2.6589e-10
193.461 | -2.6401e-10
193.957 | -2.6494e-10
194.475 | -2.6475e-10
194.96 | -2.6389e-10
195.47 | -2.6462e-10
195.967 | -2.6387e-10
196.468 | -2.6499e-10
196.957 | -2.6537e-10
197.466 | -2.6333e-10
197.956 | -2.6368e-10
198.461 | -2.6297e-10
198.963 | -2.6362e-10
199.467 | -2.6488e-10
199.956 | -2.6528e-10
200.461 | -2.6416e-10
200.96 | -2.6422e-10
201.47 | -2.649e-10
201.962 | -2.6451e-10
202.462 | -2.6492e-10
202.971 | -2.6479e-10
203.456 | -2.6353e-10
203.959 | -2.6517e-10
204.462 | -2.6654e-10
204.957 | -2.6605e-10
205.467 | -2.6337e-10
205.959 | -2.645e-10
206.47 | -2.6517e-10
206.966 | -2.6519e-10
207.459 | -2.6525e-10
207.97 | -2.6517e-10
208.465 | -2.6614e-10
208.967 | -2.6658e-10
209.459 | -2.6778e-10
209.961 | -2.6666e-10
210.46 | -2.6525e-10
210.967 | -2.6609e-10
211.472 | -2.6596e-10
211.963 | -2.6697e-10
212.487 | -2.6489e-10
212.961 | -2.6449e-10
213.462 | -2.6631e-10
213.97 | -2.6571e-10
214.458 | -2.6585e-10
214.965 | -2.6643e-10
215.462 | -2.6457e-10
215.964 | -2.6635e-10
216.471 | -2.6798e-10
216.973 | -2.6677e-10
217.472 | -2.6603e-10
217.963 | -2.6554e-10
218.464 | -2.67e-10
218.961 | -2.67e-10
219.458 | -2.6608e-10
219.963 | -2.674e-10
220.47 | -2.6607e-10
220.956 | -2.6644e-10
221.456 | -2.6724e-10
221.962 | -2.6656e-10
222.471 | -2.6657e-10
222.965 | -2.665e-10
223.461 | -2.6701e-10
223.968 | -2.6827e-10
224.46 | -2.6571e-10
224.959 | -2.6747e-10
225.466 | -2.6667e-10
225.971 | -2.6557e-10
226.457 | -2.6545e-10
226.97 | -2.6539e-10
227.465 | -2.6456e-10
227.959 | -2.6849e-10
228.459 | -2.6648e-10
228.969 | -2.684e-10
229.467 | -2.6566e-10
229.963 | -2.68e-10
230.462 | -2.6777e-10
230.967 | -2.6679e-10
231.461 | -2.6635e-10
231.967 | -2.6735e-10
232.458 | -2.6799e-10
232.967 | -2.682e-10
233.461 | -2.6721e-10
233.956 | -2.6773e-10
234.459 | -2.6768e-10
234.965 | -2.6647e-10
235.457 | -2.672e-10
235.957 | -2.6694e-10
236.459 | -2.6732e-10
236.971 | -2.6707e-10
237.462 | -2.6691e-10
237.965 | -2.6705e-10
238.466 | -2.6582e-10
238.967 | -2.6614e-10
239.464 | -2.663e-10
239.962 | -2.6732e-10
240.473 | -2.6747e-10
240.966 | -2.6704e-10
241.47 | -2.6661e-10
241.958 | -2.6608e-10
242.457 | -2.6514e-10
242.967 | -2.6491e-10
243.472 | -2.6633e-10
243.964 | -2.6713e-10
244.467 | -2.6778e-10
244.958 | -2.6746e-10
245.459 | -2.6905e-10
245.958 | -2.6903e-10
246.46 | -2.6868e-10
246.959 | -2.6865e-10
247.457 | -2.6911e-10
247.965 | -2.7038e-10
248.471 | -2.6884e-10
248.966 | -2.6991e-10
249.464 | -2.6976e-10
249.96 | -2.6886e-10
250.466 | -2.7038e-10
250.96 | -2.7022e-10
251.47 | -2.6969e-10
251.956 | -2.6971e-10
252.465 | -2.7019e-10
252.958 | -2.6904e-10
253.461 | -2.6825e-10
253.961 | -2.6812e-10
254.457 | -2.683e-10
254.962 | -2.6779e-10
255.466 | -2.7023e-10
255.958 | -2.6984e-10
256.469 | -2.6899e-10
256.956 | -2.687e-10
257.468 | -2.6946e-10
257.956 | -2.697e-10
258.465 | -2.6818e-10
258.967 | -2.6815e-10
259.458 | -2.6858e-10
259.971 | -2.6985e-10
260.459 | -2.6868e-10
260.963 | -2.6977e-10
261.467 | -2.6971e-10
261.956 | -2.7065e-10
262.466 | -2.701e-10
262.964 | -2.7036e-10
263.462 | -2.6951e-10
263.964 | -2.697e-10
264.465 | -2.6909e-10
264.967 | -2.6819e-10
265.47 | -2.6944e-10
265.956 | -2.6815e-10
266.458 | -2.6899e-10
266.962 | -2.6832e-10
267.464 | -2.7014e-10
267.964 | -2.702e-10
268.467 | -2.6972e-10
268.968 | -2.6906e-10
269.471 | -2.6888e-10
269.97 | -2.6949e-10
270.472 | -2.6793e-10
270.956 | -2.6812e-10
271.473 | -2.6872e-10
271.956 | -2.693e-10
272.457 | -2.6897e-10
272.957 | -2.6815e-10
273.456 | -2.6947e-10
273.956 | -2.7082e-10
274.456 | -2.7113e-10
274.971 | -2.6905e-10
275.47 | -2.6927e-10
275.971 | -2.6974e-10
276.472 | -2.7019e-10
276.972 | -2.6905e-10
277.456 | -2.6807e-10
277.957 | -2.678e-10
278.459 | -2.6958e-10
278.958 | -2.7035e-10
279.471 | -2.6802e-10
279.968 | -2.6978e-10
280.465 | -2.7292e-10
280.966 | -2.7224e-10
281.463 | -2.7039e-10
281.963 | -2.7112e-10
282.465 | -2.697e-10
282.965 | -2.6859e-10
283.465 | -2.6898e-10
283.967 | -2.6941e-10
284.467 | -2.6972e-10
284.969 | -2.6839e-10
285.469 | -2.6904e-10
285.97 | -2.6871e-10
286.469 | -2.6979e-10
286.971 | -2.6795e-10
287.47 | -2.6753e-10
287.969 | -2.6934e-10
288.471 | -2.6843e-10
288.97 | -2.6658e-10
289.471 | -2.6598e-10
289.971 | -2.6685e-10
290.472 | -2.6651e-10
290.972 | -2.6699e-10
291.471 | -2.6819e-10
291.972 | -2.6612e-10
292.47 | -2.6626e-10
292.971 | -2.6778e-10
293.47 | -2.6834e-10
293.972 | -2.6509e-10
294.47 | -2.6569e-10
294.971 | -2.6597e-10
295.456 | -2.6789e-10
295.972 | -2.6805e-10
296.472 | -2.6481e-10
296.971 | -2.6521e-10
297.471 | -2.6868e-10
297.971 | -2.6662e-10
298.468 | -2.6455e-10
298.966 | -2.6466e-10
299.464 | -2.6743e-10
299.961 | -2.6643e-10
300.462 | -2.6541e-10
300.961 | -2.6647e-10
301.462 | -2.6524e-10
301.962 | -2.6912e-10
302.462 | -2.6817e-10
302.963 | -2.6826e-10
303.464 | -2.6788e-10
303.966 | -2.6882e-10
304.466 | -2.6586e-10
304.965 | -2.6636e-10
305.468 | -2.6862e-10
305.968 | -2.6873e-10
306.469 | -2.6888e-10
306.969 | -2.7295e-10
307.469 | -2.666e-10
307.969 | -2.6669e-10
308.469 | -2.6638e-10
308.97 | -2.6764e-10
309.47 | -2.6764e-10
309.97 | -2.6649e-10
310.472 | -2.6641e-10
310.956 | -2.6707e-10
311.456 | -2.6761e-10
311.956 | -2.6592e-10
312.472 | -2.6445e-10
312.957 | -2.6571e-10
313.457 | -2.6623e-10
313.957 | -2.6701e-10
314.458 | -2.6674e-10
314.956 | -2.6736e-10
315.456 | -2.657e-10
315.956 | -2.673e-10
316.456 | -2.6571e-10
316.956 | -2.6655e-10
317.472 | -2.6753e-10
317.956 | -2.6597e-10
318.472 | -2.6609e-10
318.973 | -2.6541e-10
319.472 | -2.6744e-10
319.957 | -2.6841e-10
320.469 | -2.6703e-10
320.966 | -2.6457e-10
321.465 | -2.6466e-10
321.964 | -2.6645e-10
322.464 | -2.6707e-10
322.965 | -2.721e-10
323.466 | -2.6873e-10
323.966 | -2.6678e-10
324.466 | -2.6635e-10
324.966 | -2.664e-10
325.466 | -2.6701e-10
325.968 | -2.6294e-10
326.468 | -2.6578e-10
326.968 | -2.6772e-10
327.468 | -2.6603e-10
327.969 | -2.6758e-10
328.469 | -2.6733e-10
328.97 | -2.6678e-10
329.47 | -2.696e-10
329.97 | -2.666e-10
330.471 | -2.675e-10
330.969 | -2.6847e-10
331.471 | -2.6795e-10
331.97 | -2.6636e-10
332.471 | -2.6915e-10
332.969 | -2.6601e-10
333.469 | -2.6651e-10
333.97 | -2.6697e-10
334.47 | -2.6525e-10
334.968 | -2.6614e-10
335.468 | -2.6658e-10
335.969 | -2.664e-10
336.469 | -2.6784e-10
336.969 | -2.6635e-10
337.47 | -2.6732e-10
337.969 | -2.6618e-10
338.469 | -2.6452e-10
338.969 | -2.656e-10
339.469 | -2.6495e-10
339.969 | -2.6632e-10
340.47 | -2.6713e-10
340.969 | -2.6838e-10
341.47 | -2.6617e-10
341.971 | -2.6441e-10
342.469 | -2.6672e-10
342.97 | -2.6915e-10
343.47 | -2.6694e-10
343.97 | -2.6677e-10
344.469 | -2.6689e-10
344.97 | -2.6939e-10
345.47 | -2.6755e-10
345.97 | -2.6646e-10
346.467 | -2.6805e-10
346.964 | -2.6879e-10
347.464 | -2.6873e-10
347.963 | -2.6823e-10
348.463 | -2.6776e-10
348.964 | -2.6786e-10
349.463 | -2.6742e-10
349.963 | -2.6852e-10
350.464 | -2.6821e-10
350.966 | -2.6737e-10
351.466 | -2.6833e-10
351.966 | -2.6824e-10
352.466 | -2.6677e-10
352.966 | -2.6786e-10
353.566 | -2.6773e-10
353.967 | -2.6778e-10
354.468 | -2.6902e-10
354.985 | -2.684e-10
355.469 | -2.6819e-10
355.967 | -2.6902e-10
356.468 | -2.6796e-10
357.101 | -2.6608e-10
357.467 | -2.6781e-10
357.968 | -2.6718e-10
358.485 | -2.6574e-10
358.968 | -2.6664e-10
359.468 | -2.6792e-10
359.968 | -2.6732e-10
360.469 | -2.6803e-10
360.969 | -2.6718e-10
361.466 | -2.6541e-10
361.968 | -2.6814e-10
362.469 | -2.6572e-10
362.969 | -2.6721e-10
363.468 | -2.6692e-10
363.968 | -2.7879e-10
364.468 | -2.6873e-10
364.984 | -2.6757e-10
365.467 | -2.6865e-10
365.968 | -2.6848e-10
366.468 | -2.6726e-10
366.969 | -2.6775e-10
367.467 | -2.6757e-10
367.968 | -2.6858e-10
368.468 | -2.6584e-10
368.968 | -2.6709e-10
369.468 | -2.6698e-10
369.966 | -2.6613e-10
370.468 | -2.6742e-10
370.967 | -2.6667e-10
371.468 | -2.6558e-10
371.966 | -2.668e-10
372.468 | -2.6749e-10
372.967 | -2.6758e-10
373.484 | -2.6796e-10
373.968 | -2.6657e-10
374.484 | -2.6603e-10
374.968 | -2.6752e-10
375.468 | -2.6645e-10
375.968 | -2.6574e-10
376.468 | -2.6636e-10
376.967 | -2.668e-10
377.469 | -2.6854e-10
377.969 | -2.6769e-10
378.469 | -2.6681e-10
378.968 | -2.6765e-10
379.467 | -2.6723e-10
379.968 | -2.6875e-10