## Settings
Sample Info | SiO2 ; 1.6mm ; Non-Irradiated
Sample Description | Voronezh Sample ; Run 2
Major Measurement Parameters
Starting Temperature | 364.415
Initial Temperature | 81
Final Temperature | 380
Preliminary Voltage | 2
Pulse Voltage | 2
Pulse Time | 5
Measurement Voltage | -1.5
Subsidiary Measurement Parameters
Step | 0.5
Accuracy Step | 0.1
Accuracy Stable | 1
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 10
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 5
Measurecount | 1

## Stabilization
Temperature | Current
363.9 | -2.7005e-10
363.386 | -2.7042e-10
362.925 | -2.6981e-10
362.49 | -2.695e-10
362.034 | -2.6812e-10
361.58 | -2.6936e-10
361.178 | -2.7131e-10
360.73 | -2.7046e-10
360.307 | -2.6816e-10
359.886 | -2.7051e-10
359.471 | -2.6954e-10
359.053 | -2.6926e-10
358.64 | -2.6835e-10
358.227 | -2.682e-10
357.819 | -2.6946e-10
357.411 | -2.7059e-10
357.005 | -2.7058e-10
356.602 | -2.6915e-10
356.202 | -2.7053e-10
355.804 | -2.6967e-10
355.404 | -2.6983e-10
355.013 | -2.7144e-10
354.618 | -2.7233e-10
354.207 | -2.7029e-10
353.839 | -2.7019e-10
353.45 | -2.711e-10
353.064 | -2.7035e-10
352.684 | -2.717e-10
352.282 | -2.7098e-10
351.906 | -2.7058e-10
351.526 | -2.696e-10
351.154 | -2.6927e-10
350.777 | -2.6933e-10
350.411 | -2.6933e-10
350.019 | -2.6927e-10
349.652 | -2.6776e-10
349.286 | -2.6722e-10
348.922 | -2.697e-10
348.56 | -2.6915e-10
348.18 | -2.6909e-10
347.819 | -2.7132e-10
347.443 | -2.6942e-10
347.092 | -2.709e-10
346.738 | -2.7118e-10
346.37 | -2.7204e-10
346.015 | -2.7174e-10
345.64 | -2.7105e-10
345.291 | -2.7005e-10
344.965 | -2.7079e-10
344.629 | -2.7005e-10
344.271 | -2.7001e-10
343.929 | -2.6975e-10
343.574 | -2.6919e-10
343.235 | -2.6984e-10
342.898 | -2.6826e-10
342.567 | -2.6847e-10
342.233 | -2.7029e-10
341.9 | -2.7163e-10
341.556 | -2.7036e-10
341.228 | -2.6999e-10
340.902 | -2.7063e-10
340.578 | -2.704e-10
340.256 | -2.7011e-10
339.917 | -2.701e-10
339.596 | -2.7066e-10
339.278 | -2.7177e-10
338.958 | -2.7099e-10
338.646 | -2.7032e-10
338.313 | -2.6821e-10
338 | -2.6865e-10
337.673 | -2.6919e-10
337.331 | -2.7046e-10
337.023 | -2.6877e-10
336.703 | -2.6972e-10
336.398 | -2.6859e-10
336.094 | -2.6854e-10
335.789 | -2.6969e-10
335.474 | -2.6972e-10
335.175 | -2.7007e-10
334.877 | -2.7311e-10
334.582 | -2.7194e-10
334.268 | -2.7177e-10
333.96 | -2.7296e-10
333.664 | -2.7046e-10
333.374 | -2.7125e-10
333.082 | -2.7134e-10
332.779 | -2.7206e-10
332.492 | -2.7244e-10
332.19 | -2.7194e-10
331.866 | -2.7129e-10
331.461 | -2.7208e-10
331.048 | -2.731e-10
330.669 | -2.7199e-10
330.288 | -2.7162e-10
329.964 | -2.7179e-10
329.563 | -2.7263e-10
329.171 | -2.7182e-10
328.754 | -2.7272e-10
328.386 | -2.7242e-10
328.024 | -2.7314e-10
327.651 | -2.7157e-10
327.294 | -2.7271e-10
326.925 | -2.7254e-10
326.576 | -2.709e-10
326.23 | -2.7164e-10
325.887 | -2.7128e-10
325.528 | -2.7124e-10
325.189 | -2.7064e-10
324.855 | -2.7064e-10
324.505 | -2.6984e-10
324.172 | -2.7059e-10
323.826 | -2.6985e-10
323.497 | -2.7068e-10
323.154 | -2.7075e-10
322.834 | -2.6984e-10
322.512 | -2.7018e-10
322.194 | -2.6918e-10
321.858 | -2.6993e-10
321.544 | -2.7019e-10
321.216 | -2.7058e-10
320.903 | -2.7096e-10
320.593 | -2.714e-10
320.27 | -2.7205e-10
319.947 | -2.7202e-10
319.64 | -2.7298e-10
319.285 | -2.7129e-10
318.854 | -2.6878e-10
318.504 | -2.7219e-10
318.188 | -2.7119e-10
317.869 | -2.7137e-10
317.557 | -2.7062e-10
317.259 | -2.6909e-10
316.943 | -2.7009e-10
316.651 | -2.6948e-10
316.345 | -2.6958e-10
316.041 | -2.7053e-10
315.753 | -2.6971e-10
315.448 | -2.7214e-10
315.162 | -2.6958e-10
314.863 | -2.7068e-10
314.561 | -2.7057e-10
314.25 | -2.696e-10
313.953 | -2.6888e-10
313.672 | -2.7093e-10
313.348 | -2.7191e-10
313.044 | -2.7086e-10
312.753 | -2.7186e-10
312.477 | -2.7102e-10
312.202 | -2.7096e-10
311.917 | -2.7146e-10
311.642 | -2.706e-10
311.356 | -2.7014e-10
311.074 | -2.7115e-10
310.799 | -2.7021e-10
310.519 | -2.7155e-10
310.253 | -2.6961e-10
309.974 | -2.6957e-10
309.707 | -2.7181e-10
309.431 | -2.7077e-10
309.156 | -2.7006e-10
308.889 | -2.7131e-10
308.617 | -2.7184e-10
308.358 | -2.7133e-10
308.084 | -2.6977e-10
307.829 | -2.7007e-10
307.558 | -2.7032e-10
307.288 | -2.7024e-10
307.019 | -2.7031e-10
306.766 | -2.6941e-10
306.5 | -2.7025e-10
306.236 | -2.6925e-10
305.987 | -2.7083e-10
305.735 | -2.6841e-10
305.473 | -2.7024e-10
305.213 | -2.7005e-10
304.967 | -2.6879e-10
304.704 | -2.7014e-10
304.417 | -2.7143e-10
304.164 | -2.6989e-10
303.919 | -2.7119e-10
303.664 | -2.735e-10
303.411 | -2.7298e-10
303.165 | -2.7092e-10
302.915 | -2.7299e-10
302.675 | -2.7191e-10
302.425 | -2.714e-10
302.176 | -2.7191e-10
301.928 | -2.7102e-10
301.694 | -2.6989e-10
301.447 | -2.7056e-10
301.202 | -2.7095e-10
300.955 | -2.7198e-10
300.713 | -2.7099e-10
300.482 | -2.683e-10
300.237 | -2.6983e-10
299.996 | -2.7062e-10
299.768 | -2.72e-10
299.528 | -2.7231e-10
299.301 | -2.7137e-10
299.063 | -2.7043e-10
298.827 | -2.7133e-10
298.601 | -2.7249e-10
298.365 | -2.7096e-10
298.128 | -2.7014e-10
297.889 | -2.6989e-10
297.666 | -2.6968e-10
297.422 | -2.7051e-10
297.189 | -2.71e-10
296.969 | -2.7214e-10
296.736 | -2.723e-10
296.517 | -2.7085e-10
296.286 | -2.7159e-10
296.056 | -2.7006e-10
295.827 | -2.7068e-10
295.601 | -2.6979e-10
295.381 | -2.7096e-10
295.127 | -2.7242e-10
294.908 | -2.7159e-10
294.682 | -2.7115e-10
294.458 | -2.7173e-10
294.229 | -2.7062e-10
294.008 | -2.7011e-10
293.794 | -2.7165e-10
293.5 | -2.7096e-10
293.304 | -2.709e-10
293.083 | -2.7272e-10
292.866 | -2.7215e-10
292.649 | -2.7037e-10
292.427 | -2.7195e-10
292.215 | -2.7109e-10
291.997 | -2.7131e-10
291.778 | -2.7131e-10
291.555 | -2.704e-10
291.341 | -2.7131e-10
291.13 | -2.7361e-10
290.918 | -2.7155e-10
290.704 | -2.7198e-10
290.493 | -2.7195e-10
290.283 | -2.7161e-10
290.053 | -2.722e-10
289.848 | -2.7371e-10
289.611 | -2.7274e-10
289.387 | -2.7141e-10
289.185 | -2.7126e-10
288.936 | -2.714e-10
288.67 | -2.7248e-10
288.393 | -2.7173e-10
288.11 | -2.7326e-10
287.867 | -2.7202e-10
287.638 | -2.7173e-10
287.389 | -2.7059e-10
287.129 | -2.7173e-10
286.816 | -2.7071e-10
286.49 | -2.6969e-10
286.102 | -2.6892e-10
285.844 | -2.7076e-10
285.588 | -2.6942e-10
285.283 | -2.6953e-10
284.878 | -2.7049e-10
284.591 | -2.7071e-10
284.308 | -2.7023e-10
284.021 | -2.7015e-10
283.739 | -2.7049e-10
283.459 | -2.6958e-10
283.193 | -2.7227e-10
282.915 | -2.7235e-10
282.626 | -2.7376e-10
282.362 | -2.7191e-10
282.064 | -2.7024e-10
281.671 | -2.6969e-10
281.357 | -2.6984e-10
281.074 | -2.6951e-10
280.65 | -2.7044e-10
279.813 | -2.6846e-10
279.448 | -2.682e-10
279.117 | -2.6992e-10
278.522 | -2.7089e-10
277.712 | -2.711e-10
277.421 | -2.7004e-10
277.002 | -2.6943e-10
276.295 | -2.6831e-10
275.604 | -2.6867e-10
275.332 | -2.7064e-10
274.958 | -2.6977e-10
274.521 | -2.7078e-10
274.171 | -2.6855e-10
273.835 | -2.6897e-10
273.496 | -2.7154e-10
273.179 | -2.6832e-10
272.87 | -2.6942e-10
272.568 | -2.7182e-10
272.282 | -2.7134e-10
271.986 | -2.6963e-10
271.677 | -2.7154e-10
271.398 | -2.6901e-10
271.107 | -2.7018e-10
270.818 | -2.6992e-10
270.53 | -2.6975e-10
270.241 | -2.685e-10
269.956 | -2.692e-10
269.67 | -2.6966e-10
269.387 | -2.6989e-10
269.102 | -2.706e-10
268.823 | -2.7229e-10
268.549 | -2.6985e-10
268.27 | -2.7022e-10
267.998 | -2.7035e-10
267.72 | -2.6935e-10
267.448 | -2.7013e-10
267.176 | -2.6918e-10
266.901 | -2.6976e-10
266.63 | -2.6978e-10
266.374 | -2.6985e-10
266.086 | -2.7029e-10
265.817 | -2.7227e-10
265.549 | -2.7055e-10
265.279 | -2.6907e-10
265.012 | -2.7054e-10
264.745 | -2.7153e-10
264.477 | -2.7172e-10
264.213 | -2.7002e-10
263.947 | -2.695e-10
263.668 | -2.6954e-10
263.411 | -2.71e-10
263.156 | -2.6947e-10
262.897 | -2.6931e-10
262.635 | -2.6956e-10
262.365 | -2.6973e-10
262.109 | -2.7105e-10
261.858 | -2.7041e-10
261.593 | -2.6922e-10
261.332 | -2.6962e-10
261.048 | -2.7001e-10
260.788 | -2.7022e-10
260.528 | -2.687e-10
260.269 | -2.6919e-10
260.004 | -2.7025e-10
259.744 | -2.7073e-10
259.495 | -2.6952e-10
259.238 | -2.708e-10
258.979 | -2.7027e-10
258.724 | -2.6982e-10
258.463 | -2.6956e-10
258.213 | -2.6953e-10
257.955 | -2.6948e-10
257.685 | -2.7004e-10
257.429 | -2.6914e-10
257.173 | -2.6861e-10
256.903 | -2.6922e-10
256.647 | -2.7015e-10
256.393 | -2.6972e-10
256.138 | -2.6992e-10
255.891 | -2.6958e-10
255.639 | -2.7098e-10
255.378 | -2.6915e-10
255.132 | -2.701e-10
254.881 | -2.6994e-10
254.62 | -2.7093e-10
254.351 | -2.689e-10
254.105 | -2.6972e-10
253.859 | -2.7301e-10
253.62 | -2.7228e-10
253.347 | -2.7082e-10
253.098 | -2.7201e-10
252.851 | -2.705e-10
252.599 | -2.7198e-10
252.343 | -2.7221e-10
252.102 | -2.7194e-10
251.849 | -2.7106e-10
251.585 | -2.6902e-10
251.341 | -2.71e-10
251.097 | -2.7076e-10
250.857 | -2.6963e-10
250.603 | -2.69e-10
250.331 | -2.6982e-10
250.084 | -2.7087e-10
249.844 | -2.6974e-10
249.604 | -2.6964e-10
249.364 | -2.7036e-10
249.088 | -2.6965e-10
248.828 | -2.6968e-10
248.445 | -2.7015e-10
248.081 | -2.7046e-10
247.73 | -2.7001e-10
247.409 | -2.6938e-10
247.121 | -2.7032e-10
246.824 | -2.7116e-10
246.489 | -2.711e-10
246.169 | -2.7026e-10
245.869 | -2.6983e-10
245.598 | -2.6989e-10
245.284 | -2.6921e-10
244.979 | -2.6979e-10
244.651 | -2.7057e-10
244.335 | -2.7198e-10
244.042 | -2.7023e-10
243.765 | -2.6949e-10
243.471 | -2.6992e-10
243.13 | -2.7095e-10
242.798 | -2.6944e-10
242.472 | -2.7257e-10
242.181 | -2.6987e-10
241.903 | -2.705e-10
241.645 | -2.6885e-10
241.317 | -2.6913e-10
240.957 | -2.6937e-10
240.618 | -2.701e-10
240.261 | -2.6981e-10
239.965 | -2.7104e-10
239.699 | -2.7118e-10
239.441 | -2.7229e-10
239.061 | -2.6974e-10
238.562 | -2.7137e-10
238.152 | -2.7021e-10
237.686 | -2.7079e-10
237.321 | -2.6811e-10
237.011 | -2.7054e-10
236.67 | -2.6943e-10
236.295 | -2.7076e-10
235.911 | -2.7215e-10
235.466 | -2.7043e-10
235.073 | -2.7308e-10
234.736 | -2.7199e-10
234.421 | -2.7074e-10
234.049 | -2.7233e-10
233.633 | -2.7201e-10
233.175 | -2.7082e-10
232.585 | -2.7103e-10
232.09 | -2.7052e-10
231.645 | -2.7109e-10
231.24 | -2.7051e-10
230.766 | -2.6926e-10
230.23 | -2.7038e-10
229.639 | -2.7062e-10
229.154 | -2.6939e-10
228.7 | -2.7016e-10
228.206 | -2.6996e-10
227.595 | -2.6998e-10
226.976 | -2.6986e-10
226.386 | -2.6998e-10
225.925 | -2.691e-10
225.487 | -2.6871e-10
225.013 | -2.7e-10
224.392 | -2.7076e-10
223.603 | -2.7276e-10
222.819 | -2.6979e-10
222.243 | -2.6859e-10
221.757 | -2.6849e-10
221.333 | -2.6964e-10
220.872 | -2.7057e-10
220.258 | -2.6868e-10
219.528 | -2.6946e-10
218.783 | -2.7194e-10
218.223 | -2.6908e-10
217.727 | -2.687e-10
217.294 | -2.7028e-10
216.754 | -2.7007e-10
216.164 | -2.6999e-10
215.57 | -2.7116e-10
214.849 | -2.7062e-10
214.206 | -2.7106e-10
213.581 | -2.7143e-10
212.785 | -2.7127e-10
211.422 | -2.711e-10
210.137 | -2.7072e-10
208.882 | -2.7179e-10
207.991 | -2.7162e-10
207.05 | -2.7056e-10
206.256 | -2.7074e-10
205.276 | -2.7373e-10
203.94 | -2.7035e-10
202.619 | -2.6919e-10
201.374 | -2.693e-10
200.329 | -2.7204e-10
199.499 | -2.7021e-10
198.807 | -2.712e-10
198.013 | -2.7132e-10
196.846 | -2.7076e-10
195.627 | -2.7048e-10
194.491 | -2.7171e-10
193.554 | -2.7143e-10
192.729 | -2.6939e-10
192.071 | -2.7075e-10
191.387 | -2.7218e-10
190.336 | -2.7226e-10
189.137 | -2.7049e-10
188.062 | -2.7089e-10
187.147 | -2.7199e-10
186.383 | -2.718e-10
185.703 | -2.7203e-10
184.796 | -2.716e-10
183.579 | -2.7168e-10
182.385 | -2.7219e-10
181.386 | -2.6926e-10
180.589 | -2.7265e-10
179.879 | -2.7261e-10
179.119 | -2.7171e-10
177.867 | -2.7107e-10
176.458 | -2.7287e-10
175.217 | -2.7263e-10
174.22 | -2.7101e-10
173.398 | -2.7079e-10
172.734 | -2.6969e-10
171.963 | -2.699e-10
170.91 | -2.7063e-10
169.992 | -2.7062e-10
169.197 | -2.6912e-10
168.557 | -2.7122e-10
167.969 | -2.7114e-10
167.224 | -2.7063e-10
166.207 | -2.7118e-10
165.268 | -2.7199e-10
164.514 | -2.7158e-10
163.885 | -2.7161e-10
163.28 | -2.7183e-10
162.404 | -2.7124e-10
161.182 | -2.7074e-10
160.009 | -2.6955e-10
159.04 | -2.7077e-10
158.349 | -2.7024e-10
157.767 | -2.6982e-10
157.147 | -2.7081e-10
156.196 | -2.6963e-10
155.077 | -2.705e-10
154.109 | -2.7159e-10
153.372 | -2.7111e-10
152.826 | -2.7186e-10
152.321 | -2.7216e-10
151.492 | -2.7026e-10
150.377 | -2.7029e-10
149.387 | -2.7102e-10
148.608 | -2.7044e-10
148.024 | -2.7215e-10
147.541 | -2.7223e-10
146.934 | -2.7131e-10
145.822 | -2.7127e-10
144.538 | -2.7181e-10
143.388 | -2.7215e-10
142.53 | -2.7141e-10
141.921 | -2.6991e-10
141.383 | -2.7231e-10
140.767 | -2.7017e-10
139.706 | -2.717e-10
138.457 | -2.7213e-10
137.35 | -2.7039e-10
136.554 | -2.6929e-10
136.005 | -2.7035e-10
135.541 | -2.7301e-10
134.871 | -2.7089e-10
133.715 | -2.7142e-10
132.619 | -2.7255e-10
131.722 | -2.7076e-10
131.109 | -2.7098e-10
130.649 | -2.7103e-10
130.12 | -2.7245e-10
129.074 | -2.7097e-10
127.669 | -2.7105e-10
126.538 | -2.7164e-10
125.727 | -2.7062e-10
125.215 | -2.6945e-10
124.835 | -2.7062e-10
124.237 | -2.6991e-10
123.029 | -2.7163e-10
121.708 | -2.7196e-10
120.641 | -2.7069e-10
119.991 | -2.6964e-10
119.603 | -2.7183e-10
119.285 | -2.6982e-10
118.513 | -2.7004e-10
117.149 | -2.7037e-10
115.852 | -2.6982e-10
114.924 | -2.6936e-10
114.416 | -2.6883e-10
114.117 | -2.7062e-10
113.807 | -2.7057e-10
112.831 | -2.7159e-10
111.578 | -2.7198e-10
110.555 | -2.7036e-10
109.949 | -2.7117e-10
109.629 | -2.7041e-10
109.394 | -2.7062e-10
108.318 | -2.7133e-10
106.726 | -2.6971e-10
105.266 | -2.6953e-10
104.353 | -2.6995e-10
103.937 | -2.7063e-10
103.751 | -2.706e-10
103.372 | -2.7071e-10
102.153 | -2.6886e-10
100.695 | -2.7101e-10
99.7244 | -2.72e-10
99.2789 | -2.7165e-10
99.1355 | 8.5794e-10
99.0381 | 1.2078e-10
97.8087 | -2.3984e-10
95.8208 | -2.7073e-10
93.9938 | -2.7244e-10
93.2814 | -2.7083e-10
93.0898 | -2.6868e-10
93.0791 | -2.6826e-10
92.679 | -2.6833e-10
88.9324 | -2.6869e-10
85.8211 | -2.6923e-10
86.228 | -2.6957e-10
86.4658 | -2.716e-10
86.7096 | -2.6975e-10
86.9659 | -2.7002e-10
85.7294 | -2.7055e-10
83.0776 | -2.7116e-10
82.4975 | -2.7107e-10
82.5656 | -2.6984e-10
82.7691 | -2.7069e-10
83.0431 | -2.6963e-10
82.4792 | -2.6995e-10
81.3277 | -2.7171e-10
80.7882 | -2.6897e-10
80.5356 | -2.7168e-10
80.4168 | -2.6947e-10
80.4008 | -2.6905e-10
80.216 | -2.6961e-10
80.281 | -2.7172e-10
80.297 | -2.7135e-10
80.2999 | -2.6977e-10
80.3096 | -2.7147e-10

## Measurements
Temperature | Current
80.4016 | -7.0745e-09
80.6984 | -2.7262e-10
81.2032 | -2.7272e-10
81.7029 | -2.7098e-10
82.206 | -2.7172e-10
82.7071 | -2.7209e-10
83.3091 | -2.724e-10
83.8872 | -2.699e-10
84.4342 | -2.7111e-10
84.8957 | -2.692e-10
85.4078 | -2.698e-10
85.8763 | -2.7155e-10
86.2138 | -2.7276e-10
86.728 | -2.7162e-10
87.2 | -2.6892e-10
87.7135 | -2.7012e-10
88.2063 | -2.7003e-10
88.7004 | -2.6867e-10
89.2232 | -2.707e-10
89.8252 | -2.7099e-10
90.2571 | -2.6844e-10
90.7189 | -2.7016e-10
91.2014 | -2.7297e-10
91.742 | -2.7031e-10
92.3146 | -2.7204e-10
92.7808 | -2.7103e-10
93.2169 | -2.7041e-10
93.7208 | -2.7171e-10
94.2024 | -2.7066e-10
94.8112 | -2.7126e-10
95.4153 | -2.7145e-10
95.8674 | -2.7052e-10
96.2912 | -2.7167e-10
96.7131 | -2.6979e-10
97.2143 | -2.6858e-10
97.7159 | -2.694e-10
98.2214 | -2.6945e-10
98.7082 | -2.7025e-10
99.2378 | -2.7039e-10
99.747 | -2.6932e-10
100.216 | -2.6992e-10
100.725 | -2.7142e-10
101.208 | -2.7057e-10
101.716 | -2.7126e-10
102.208 | -2.7023e-10
102.872 | -2.7032e-10
103.213 | -2.7164e-10
103.703 | -2.7023e-10
104.224 | -2.6989e-10
104.711 | -2.6898e-10
105.219 | -2.707e-10
105.701 | -2.7028e-10
106.212 | -2.7326e-10
106.715 | -2.6958e-10
107.217 | -2.6934e-10
107.713 | -2.7033e-10
108.219 | -2.6971e-10
108.728 | -2.718e-10
109.261 | -2.7082e-10
109.735 | -2.7173e-10
110.209 | -2.7068e-10
110.724 | -2.7203e-10
111.204 | -2.7016e-10
111.729 | -2.6987e-10
112.204 | -2.7054e-10
112.725 | -2.698e-10
113.2 | -2.6923e-10
113.706 | -2.7092e-10
114.202 | -2.7223e-10
114.702 | -2.719e-10
115.216 | -2.7082e-10
115.714 | -2.7053e-10
116.201 | -2.7051e-10
116.699 | -2.6854e-10
117.224 | -2.6867e-10
117.717 | -2.7065e-10
118.202 | -2.6929e-10
118.7 | -2.703e-10
119.221 | -2.6929e-10
119.714 | -2.7052e-10
120.2 | -2.7075e-10
120.701 | -2.7296e-10
121.215 | -2.7117e-10
121.707 | -2.7345e-10
122.208 | -2.7058e-10
122.706 | -2.6981e-10
123.209 | -2.7065e-10
123.701 | -2.7045e-10
124.21 | -2.6884e-10
124.701 | -2.6874e-10
125.204 | -2.6824e-10
125.713 | -2.6748e-10
126.214 | -2.6902e-10
126.705 | -2.6875e-10
127.199 | -2.6994e-10
127.707 | -2.7163e-10
128.21 | -2.7219e-10
128.709 | -2.7331e-10
129.209 | -2.6995e-10
129.704 | -2.7064e-10
130.205 | -2.7036e-10
130.711 | -2.7058e-10
131.214 | -2.7026e-10
131.715 | -2.7128e-10
132.201 | -2.7018e-10
132.708 | -2.7367e-10
133.202 | -2.7316e-10
133.71 | -2.7392e-10
134.207 | -2.7097e-10
134.699 | -2.7138e-10
135.201 | -2.6968e-10
135.71 | -2.7163e-10
136.205 | -2.7169e-10
136.714 | -2.7056e-10
137.203 | -2.7088e-10
137.706 | -2.7085e-10
138.203 | -2.6991e-10
138.71 | -2.7038e-10
139.206 | -2.698e-10
139.706 | -2.7173e-10
140.208 | -2.6982e-10
140.701 | -2.701e-10
141.201 | -2.6971e-10
141.716 | -2.7061e-10
142.214 | -2.7052e-10
142.707 | -2.6975e-10
143.216 | -2.7104e-10
143.713 | -2.6968e-10
144.2 | -2.7173e-10
144.703 | -2.7157e-10
145.212 | -2.7173e-10
145.7 | -2.7077e-10
146.2 | -2.7183e-10
146.699 | -2.7143e-10
147.213 | -2.7263e-10
147.707 | -2.7235e-10
148.207 | -2.7381e-10
148.713 | -2.7232e-10
149.202 | -2.719e-10
149.709 | -2.7095e-10
150.201 | -2.6905e-10
150.703 | -2.7036e-10
151.209 | -2.705e-10
151.699 | -2.7219e-10
152.206 | -2.7212e-10
152.711 | -2.7271e-10
153.212 | -2.7359e-10
153.703 | -2.7376e-10
154.205 | -2.7182e-10
154.71 | -2.7217e-10
155.204 | -2.7126e-10
155.7 | -2.7231e-10
156.207 | -2.7197e-10
156.708 | -2.7163e-10
157.212 | -2.7249e-10
157.707 | -2.723e-10
158.207 | -2.7144e-10
158.711 | -2.7424e-10
159.21 | -2.7439e-10
159.7 | -2.7279e-10
160.201 | -2.7331e-10
160.714 | -2.7357e-10
161.201 | -2.7448e-10
161.71 | -2.7219e-10
162.202 | -2.7365e-10
162.728 | -2.7246e-10
163.205 | -2.7345e-10
163.703 | -2.7281e-10
164.203 | -2.715e-10
164.71 | -2.7599e-10
165.203 | -2.733e-10
165.716 | -2.7246e-10
166.209 | -2.7209e-10
166.709 | -2.7155e-10
167.203 | -2.7037e-10
167.707 | -2.7102e-10
168.201 | -2.7075e-10
168.699 | -2.7364e-10
169.211 | -2.7063e-10
169.717 | -2.7256e-10
170.199 | -2.7014e-10
170.701 | -2.7062e-10
171.2 | -2.7019e-10
171.71 | -2.7141e-10
172.207 | -2.6972e-10
172.71 | -2.7084e-10
173.217 | -2.6955e-10
173.703 | -2.7054e-10
174.204 | -2.6948e-10
174.7 | -2.6784e-10
175.204 | -2.6931e-10
175.713 | -2.6958e-10
176.203 | -2.7027e-10
176.703 | -2.7036e-10
177.212 | -2.7072e-10
177.713 | -2.6956e-10
178.203 | -2.6921e-10
178.703 | -2.7035e-10
179.21 | -2.7024e-10
179.711 | -2.7076e-10
180.203 | -2.7036e-10
180.708 | -2.69e-10
181.201 | -2.7275e-10
181.7 | -2.7101e-10
182.203 | -2.6948e-10
182.705 | -2.6993e-10
183.203 | -2.7093e-10
183.707 | -2.7157e-10
184.206 | -2.677e-10
184.715 | -2.7029e-10
185.201 | -2.6895e-10
185.712 | -2.6969e-10
186.214 | -2.7107e-10
186.713 | -2.7132e-10
187.212 | -2.6984e-10
187.713 | -2.6862e-10
188.204 | -2.6818e-10
188.711 | -2.6866e-10
189.199 | -2.6915e-10
189.706 | -2.703e-10
190.212 | -2.6976e-10
190.701 | -2.705e-10
191.203 | -2.7092e-10
191.705 | -2.7003e-10
192.209 | -2.7095e-10
192.704 | -2.7122e-10
193.206 | -2.7161e-10
193.699 | -2.7135e-10
194.202 | -2.6951e-10
194.7 | -2.6939e-10
195.205 | -2.6903e-10
195.716 | -2.6972e-10
196.205 | -2.6895e-10
196.709 | -2.7233e-10
197.202 | -2.7221e-10
197.707 | -2.7279e-10
198.212 | -2.7139e-10
198.718 | -2.7118e-10
199.209 | -2.7416e-10
199.703 | -2.7034e-10
200.199 | -2.7264e-10
200.701 | -2.7363e-10
201.209 | -2.7369e-10
201.704 | -2.7144e-10
202.209 | -2.7134e-10
202.712 | -2.7316e-10
203.199 | -2.7167e-10
203.706 | -2.7338e-10
204.206 | -2.7303e-10
204.7 | -2.7354e-10
205.2 | -2.7406e-10
205.707 | -2.7469e-10
206.2 | -2.7343e-10
206.699 | -2.7179e-10
207.205 | -2.7302e-10
207.707 | -2.7357e-10
208.214 | -2.7345e-10
208.707 | -2.7415e-10
209.206 | -2.7519e-10
209.709 | -2.7353e-10
210.237 | -2.7336e-10
210.713 | -2.7261e-10
211.209 | -2.7252e-10
211.703 | -2.718e-10
212.204 | -2.7191e-10
212.709 | -2.7208e-10
213.204 | -2.7133e-10
213.703 | -2.7304e-10
214.2 | -2.7159e-10
214.704 | -2.7111e-10
215.2 | -2.7217e-10
215.699 | -2.7306e-10
216.204 | -2.7174e-10
216.701 | -2.7235e-10
217.213 | -2.7056e-10
217.7 | -2.7184e-10
218.204 | -2.7246e-10
218.703 | -2.7274e-10
219.208 | -2.726e-10
219.709 | -2.7187e-10
220.201 | -2.7226e-10
220.705 | -2.727e-10
221.211 | -2.7287e-10
221.704 | -2.7291e-10
222.216 | -2.7218e-10
222.706 | -2.7165e-10
223.201 | -2.7489e-10
223.7 | -2.7452e-10
224.199 | -2.7382e-10
224.704 | -2.7346e-10
225.201 | -2.7524e-10
225.7 | -2.74e-10
226.22 | -2.7462e-10
226.718 | -2.7463e-10
227.201 | -2.742e-10
227.721 | -2.7505e-10
228.217 | -2.7327e-10
228.7 | -2.7469e-10
229.209 | -2.7301e-10
229.708 | -2.7367e-10
230.206 | -2.7378e-10
230.702 | -2.7441e-10
231.209 | -2.7186e-10
231.707 | -2.7495e-10
232.205 | -2.7374e-10
232.713 | -2.7248e-10
233.211 | -2.7125e-10
233.709 | -2.718e-10
234.21 | -2.7302e-10
234.701 | -2.7426e-10
235.215 | -2.7346e-10
235.715 | -2.741e-10
236.202 | -2.7306e-10
236.714 | -2.7378e-10
237.207 | -2.7292e-10
237.713 | -2.7483e-10
238.208 | -2.7181e-10
238.713 | -2.7311e-10
239.201 | -2.7537e-10
239.707 | -2.7526e-10
240.202 | -2.7338e-10
240.7 | -2.7477e-10
241.206 | -2.7506e-10
241.699 | -2.7438e-10
242.202 | -2.745e-10
242.708 | -2.7585e-10
243.204 | -2.7548e-10
243.704 | -2.7306e-10
244.202 | -2.728e-10
244.705 | -2.7313e-10
245.211 | -2.725e-10
245.705 | -2.7334e-10
246.201 | -2.7315e-10
246.7 | -2.7472e-10
247.2 | -2.7314e-10
247.701 | -2.7437e-10
248.202 | -2.7331e-10
248.705 | -2.7279e-10
249.207 | -2.7162e-10
249.708 | -2.7171e-10
250.213 | -2.7275e-10
250.714 | -2.7166e-10
251.2 | -2.7255e-10
251.7 | -2.734e-10
252.202 | -2.7294e-10
252.704 | -2.7219e-10
253.206 | -2.7391e-10
253.707 | -2.7301e-10
254.208 | -2.7322e-10
254.707 | -2.7213e-10
255.207 | -2.7343e-10
255.709 | -2.7259e-10
256.209 | -2.7168e-10
256.709 | -2.7163e-10
257.208 | -2.7132e-10
257.709 | -2.7181e-10
258.208 | -2.733e-10
258.709 | -2.7333e-10
259.208 | -2.7518e-10
259.708 | -2.7276e-10
260.209 | -2.7232e-10
260.705 | -2.7212e-10
261.205 | -2.6913e-10
261.7 | -2.7259e-10
262.214 | -2.7181e-10
262.712 | -2.7124e-10
263.211 | -2.7261e-10
263.712 | -2.7145e-10
264.213 | -2.7153e-10
264.713 | -2.7073e-10
265.215 | -2.7033e-10
265.713 | -2.6992e-10
266.2 | -2.7115e-10
266.701 | -2.7271e-10
267.201 | -2.7228e-10
267.701 | -2.7208e-10
268.202 | -2.7053e-10
268.704 | -2.7083e-10
269.204 | -2.7133e-10
269.704 | -2.7165e-10
270.205 | -2.7122e-10
270.706 | -2.7196e-10
271.205 | -2.7096e-10
271.704 | -2.7173e-10
272.203 | -2.7001e-10
272.706 | -2.7139e-10
273.205 | -2.6935e-10
273.705 | -2.6944e-10
274.205 | -2.6958e-10
274.706 | -2.7029e-10
275.206 | -2.7269e-10
275.706 | -2.723e-10
276.207 | -2.7116e-10
276.707 | -2.7236e-10
277.206 | -2.6958e-10
277.706 | -2.708e-10
278.205 | -2.7115e-10
278.705 | -2.7067e-10
279.203 | -2.7189e-10
279.699 | -2.7164e-10
280.212 | -2.7133e-10
280.711 | -2.6974e-10
281.211 | -2.6955e-10
281.713 | -2.7204e-10
282.213 | -2.7139e-10
282.712 | -2.7084e-10
283.213 | -2.7323e-10
283.699 | -2.7139e-10
284.215 | -2.7141e-10
284.7 | -2.7082e-10
285.2 | -2.7115e-10
285.701 | -2.7176e-10
286.202 | -2.7019e-10
286.702 | -2.7084e-10
287.204 | -2.7037e-10
287.705 | -2.7152e-10
288.204 | -2.7117e-10
288.704 | -2.7239e-10
289.204 | -2.7192e-10
289.705 | -2.7204e-10
290.205 | -2.7299e-10
290.704 | -2.7172e-10
291.205 | -2.7457e-10
291.704 | -2.7179e-10
292.205 | -2.7174e-10
292.703 | -2.7171e-10
293.206 | -2.7191e-10
293.705 | -2.7262e-10
294.204 | -2.7332e-10
294.704 | -2.725e-10
295.205 | -2.7234e-10
295.704 | -2.7217e-10
296.205 | -2.7359e-10
296.704 | -2.7249e-10
297.204 | -2.7342e-10
297.704 | -2.7441e-10
298.205 | -2.7127e-10
298.704 | -2.7184e-10
299.214 | -2.7128e-10
299.712 | -2.7446e-10
300.211 | -2.7453e-10
300.712 | -2.7449e-10
301.211 | -2.7584e-10
301.712 | -2.7387e-10
302.212 | -2.7361e-10
302.714 | -2.7097e-10
303.213 | -2.706e-10
303.699 | -2.6986e-10
304.199 | -2.6959e-10
304.702 | -2.709e-10
305.202 | -2.6805e-10
305.7 | -2.6963e-10
306.203 | -2.7052e-10
306.703 | -2.7258e-10
307.204 | -2.7129e-10
307.704 | -2.7122e-10
308.206 | -2.7155e-10
308.707 | -2.7084e-10
309.205 | -2.7014e-10
309.705 | -2.7193e-10
310.207 | -2.7047e-10
310.706 | -2.7003e-10
311.205 | -2.7164e-10
311.705 | -2.7243e-10
312.205 | -2.7021e-10
312.705 | -2.7071e-10
313.204 | -2.6944e-10
313.705 | -2.7034e-10
314.205 | -2.6957e-10
314.705 | -2.7238e-10
315.204 | -2.7236e-10
315.704 | -2.7002e-10
316.206 | -2.708e-10
316.703 | -2.7242e-10
317.204 | -2.717e-10
317.706 | -2.7167e-10
318.205 | -2.6999e-10
318.704 | -2.729e-10
319.205 | -2.6917e-10
319.705 | -2.7134e-10
320.203 | -2.7133e-10
320.701 | -2.707e-10
321.215 | -2.7294e-10
321.714 | -2.724e-10
322.213 | -2.7272e-10
322.714 | -2.7043e-10
323.214 | -2.7162e-10
323.715 | -2.6928e-10
324.199 | -2.6931e-10
324.699 | -2.7091e-10
325.201 | -2.703e-10
325.702 | -2.6776e-10
326.201 | -2.6894e-10
326.702 | -2.695e-10
327.202 | -2.6827e-10
327.702 | -2.6971e-10
328.204 | -2.7193e-10
328.703 | -2.6945e-10
329.204 | -2.7133e-10
329.705 | -2.7155e-10
330.205 | -2.709e-10
330.705 | -2.7129e-10
331.205 | -2.7076e-10
331.704 | -2.7015e-10
332.205 | -2.7029e-10
332.706 | -2.7154e-10
333.204 | -2.7066e-10
333.705 | -2.7178e-10
334.205 | -2.7168e-10
334.705 | -2.7185e-10
335.205 | -2.6983e-10
335.705 | -2.7045e-10
336.205 | -2.7121e-10
336.704 | -2.7113e-10
337.204 | -2.7017e-10
337.704 | -2.6929e-10
338.204 | -2.7205e-10
338.705 | -2.718e-10
339.205 | -2.6955e-10
339.705 | -2.7082e-10
340.204 | -2.6973e-10
340.702 | -2.7011e-10
341.205 | -2.7002e-10
341.703 | -2.7009e-10
342.202 | -2.6932e-10
342.703 | -2.6989e-10
343.203 | -2.7054e-10
343.703 | -2.7118e-10
344.203 | -2.7071e-10
344.703 | -2.6944e-10
345.203 | -2.6983e-10
345.703 | -2.6775e-10
346.201 | -2.6894e-10
346.715 | -2.698e-10
347.214 | -2.6966e-10
347.712 | -2.7073e-10
348.214 | -2.6747e-10
348.711 | -2.6766e-10
349.214 | -2.6988e-10
349.714 | -2.6848e-10
350.214 | -2.6819e-10
350.716 | -2.6992e-10
351.199 | -2.694e-10
351.699 | -2.6865e-10
352.2 | -2.697e-10
352.7 | -2.7009e-10
353.201 | -2.7019e-10
353.701 | -2.7042e-10
354.202 | -2.7005e-10
354.7 | -2.6964e-10
355.202 | -2.6962e-10
355.702 | -2.7004e-10
356.202 | -2.706e-10
356.7 | -2.7105e-10
357.202 | -2.6924e-10
357.702 | -2.7072e-10
358.202 | -2.7011e-10
358.702 | -2.6948e-10
359.203 | -2.6995e-10
359.703 | -2.6937e-10
360.203 | -2.6877e-10
360.704 | -2.688e-10
361.202 | -2.6978e-10
361.702 | -2.7069e-10
362.202 | -2.6807e-10
362.702 | -2.6976e-10
363.202 | -2.6961e-10
363.702 | -2.7131e-10
364.201 | -2.7075e-10
364.702 | -2.7126e-10
365.201 | -2.7164e-10
365.703 | -2.7167e-10
366.202 | -2.7038e-10
366.701 | -2.712e-10
367.201 | -2.707e-10
367.702 | -2.7042e-10
368.202 | -2.7153e-10
368.701 | -2.723e-10
369.203 | -2.6999e-10
369.701 | -2.7105e-10
370.202 | -2.7315e-10
370.702 | -2.7247e-10
371.201 | -2.7153e-10
371.701 | -2.7313e-10
372.201 | -2.7238e-10
372.701 | -2.7262e-10
373.201 | -2.7275e-10
373.701 | -2.7205e-10
374.2 | -2.7181e-10
374.702 | -2.7319e-10
375.202 | -2.7191e-10
375.701 | -2.7195e-10
376.201 | -2.7205e-10
376.701 | -2.7183e-10
377.201 | -2.7291e-10
377.703 | -2.738e-10
378.202 | -2.7186e-10
378.701 | -2.7035e-10
379.202 | -2.7151e-10
379.702 | -2.7255e-10
380.2 | -2.7204e-10