## Settings
Sample Info | SiO2 ; 1.6mm ; Irradiated
Sample Description | Voronezh
Major Measurement Parameters
Starting Temperature | 318.417
Initial Temperature | 81
Final Temperature | 380
Preliminary Voltage | 2
Pulse Voltage | 2
Pulse Time | 5
Measurement Voltage | -1
Subsidiary Measurement Parameters
Step | 0.5
Accuracy Step | 0.1
Accuracy Stable | 1
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 10
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 5
Measurecount | 1

## Stabilization
Temperature | Current
318.231 | 2.602e-06
318.049 | 2.9925e-06
317.874 | 3.1983e-06
317.694 | 3.2275e-06
317.524 | 3.3121e-06
317.34 | 3.8319e-06
317.162 | 3.8965e-06
316.994 | 4.1291e-06
316.82 | 4.2419e-06
316.644 | 3.7769e-06
316.471 | 4.0919e-06
316.304 | 3.9568e-06
316.122 | 4.1653e-06
315.958 | 4.1733e-06
315.788 | 4.3535e-06
315.616 | 4.2051e-06
315.454 | 4.1845e-06
315.284 | 4.3677e-06
315.11 | 4.0711e-06
314.943 | 4.249e-06
314.775 | 4.2298e-06
314.606 | 4.1995e-06
314.437 | 4.1314e-06
314.276 | 3.9503e-06
314.113 | 4.2751e-06
313.948 | 4.3089e-06
313.783 | 4.0933e-06
313.617 | 3.9807e-06
313.459 | 4.0715e-06
313.289 | 4.236e-06
313.127 | 4.2913e-06
312.972 | 4.5096e-06
312.81 | 4.4512e-06
312.65 | 4.6286e-06
312.489 | 4.6254e-06
312.33 | 4.2637e-06
312.172 | 4.4053e-06
312.013 | 4.1561e-06
311.853 | 4.2016e-06
311.697 | 4.2101e-06
311.547 | 4.2869e-06
311.383 | 4.3173e-06
311.228 | 4.4711e-06
311.08 | 4.3975e-06
310.925 | 4.3413e-06
310.77 | 4.5105e-06
310.616 | 4.3895e-06
310.464 | 4.3008e-06
310.311 | 4.4234e-06
310.167 | 4.5084e-06
310.015 | 4.7349e-06
309.864 | 4.1328e-06
309.713 | 3.9752e-06
309.564 | 4.0949e-06
309.414 | 4.2907e-06
309.265 | 4.2376e-06
309.124 | 4.4885e-06
308.976 | 4.5416e-06
308.83 | 4.3544e-06
308.681 | 4.3022e-06
308.533 | 4.2183e-06
308.389 | 4.0274e-06
308.245 | 4.1532e-06
308.099 | 4.007e-06
307.952 | 4.1321e-06
307.809 | 4.1127e-06
307.667 | 4.0388e-06
307.53 | 4.0811e-06
307.383 | 3.9505e-06
307.238 | 3.9986e-06
307.098 | 3.9188e-06
306.962 | 3.84e-06
306.815 | 4.0831e-06
306.674 | 4.1622e-06
306.533 | 4.0051e-06
306.393 | 4.5182e-06
306.255 | 4.6138e-06
306.111 | 4.515e-06
305.972 | 4.4686e-06
305.833 | 4.5238e-06
305.696 | 4.4782e-06
305.56 | 4.3336e-06
305.421 | 4.6071e-06
305.285 | 4.4205e-06
305.15 | 4.4304e-06
305.009 | 4.5769e-06
304.873 | 4.5967e-06
304.737 | 4.7083e-06
304.603 | 4.6955e-06
304.469 | 4.5393e-06
304.335 | 4.5343e-06
304.195 | 4.6644e-06
304.063 | 4.6693e-06
303.929 | 4.5499e-06
303.797 | 4.649e-06
303.663 | 4.7369e-06
303.531 | 4.7101e-06
303.401 | 4.7117e-06
303.267 | 4.729e-06
303.137 | 4.8062e-06
303.006 | 4.902e-06
302.87 | 4.9509e-06
302.634 | 4.849e-06
302.442 | 4.8691e-06
302.221 | 4.9202e-06
302.06 | 4.8334e-06
301.893 | 4.7985e-06
301.711 | 5.0257e-06
301.527 | 4.8334e-06
301.311 | 5.2927e-06
301.116 | 5.0578e-06
300.936 | 5.0565e-06
300.741 | 5.0075e-06
300.541 | 5.0585e-06
300.349 | 5.0294e-06
300.151 | 5.0276e-06
299.949 | 4.9707e-06
299.751 | 4.9479e-06
299.535 | 4.853e-06
299.331 | 4.7709e-06
299.117 | 4.9659e-06
298.907 | 4.8539e-06
298.666 | 4.8625e-06
298.401 | 4.8976e-06
298.173 | 4.668e-06
297.946 | 4.8258e-06
297.591 | 4.8526e-06
297.319 | 5.1306e-06
296.883 | 4.8659e-06
296.636 | 5.1344e-06
296.371 | 4.709e-06
295.703 | 4.7558e-06
295.349 | 5.0836e-06
295.094 | 4.6654e-06
294.676 | 5.1413e-06
294.259 | 5.0761e-06
293.662 | 4.8441e-06
293.011 | 4.8922e-06
292.761 | 4.8721e-06
292.417 | 5.136e-06
292.073 | 5.0988e-06
291.789 | 5.0286e-06
291.45 | 4.6761e-06
291.154 | 4.7086e-06
290.842 | 4.757e-06
290.514 | 4.8969e-06
290.253 | 4.9946e-06
289.857 | 4.9319e-06
289.622 | 4.8136e-06
289.123 | 4.8661e-06
288.884 | 4.8289e-06
288.596 | 4.8903e-06
288.328 | 5.0842e-06
288.054 | 4.7758e-06
287.757 | 5.1933e-06
287.478 | 4.6668e-06
287.202 | 4.9255e-06
286.824 | 4.8508e-06
286.574 | 4.9929e-06
286.242 | 4.6394e-06
285.854 | 4.6104e-06
285.633 | 4.7622e-06
285.23 | 4.9419e-06
284.993 | 4.8605e-06
284.671 | 4.4886e-06
284.36 | 4.6831e-06
284.104 | 4.9188e-06
283.835 | 4.7793e-06
283.502 | 4.9654e-06
283.241 | 4.7189e-06
282.916 | 4.833e-06
282.678 | 4.7738e-06
282.394 | 4.969e-06
282.144 | 4.994e-06
281.897 | 4.8752e-06
281.642 | 4.5846e-06
281.41 | 4.4846e-06
281.172 | 4.5387e-06
280.926 | 4.5685e-06
280.701 | 4.7563e-06
280.468 | 4.5425e-06
280.238 | 4.5386e-06
279.987 | 4.3782e-06
279.745 | 4.487e-06
279.514 | 4.5757e-06
279.289 | 4.5147e-06
278.927 | 4.6186e-06
278.712 | 4.51e-06
278.484 | 4.5476e-06
278.237 | 5.0647e-06
278.018 | 4.6803e-06
277.787 | 4.6289e-06
277.555 | 4.7026e-06
277.332 | 4.8211e-06
277.087 | 4.5207e-06
276.866 | 4.6516e-06
276.629 | 4.8057e-06
276.391 | 4.8168e-06
276.171 | 4.769e-06
275.935 | 5.1044e-06
275.716 | 4.8272e-06
275.485 | 5.1369e-06
275.256 | 5.0138e-06
275.036 | 5.122e-06
274.795 | 5.1328e-06
274.57 | 4.8033e-06
274.349 | 4.845e-06
274.128 | 4.8341e-06
273.891 | 4.9935e-06
273.635 | 4.6853e-06
273.41 | 4.8383e-06
273.186 | 4.6226e-06
272.924 | 4.4654e-06
272.67 | 4.5878e-06
272.456 | 4.7179e-06
272.228 | 4.4484e-06
272.008 | 4.6134e-06
271.779 | 4.8873e-06
271.557 | 4.8094e-06
271.33 | 4.4307e-06
271.102 | 4.5344e-06
270.861 | 4.6014e-06
270.637 | 4.466e-06
270.411 | 4.5199e-06
270.192 | 4.6643e-06
269.928 | 4.1275e-06
269.714 | 4.0425e-06
269.49 | 4.0475e-06
269.252 | 4.4281e-06
269.027 | 3.9437e-06
268.809 | 4.4737e-06
268.587 | 4.3766e-06
268.359 | 4.7428e-06
268.132 | 4.4011e-06
267.893 | 4.1938e-06
267.679 | 4.6783e-06
267.451 | 4.3488e-06
267.192 | 4.3861e-06
266.962 | 4.6526e-06
266.74 | 4.7256e-06
266.522 | 4.5551e-06
266.305 | 4.2175e-06
266.072 | 4.0516e-06
265.839 | 4.2563e-06
265.604 | 4.2958e-06
265.371 | 4.1573e-06
265.162 | 4.0615e-06
264.945 | 3.9098e-06
264.72 | 4.1175e-06
264.496 | 4.4319e-06
264.28 | 4.1943e-06
264.056 | 4.3533e-06
263.841 | 4.1561e-06
263.617 | 3.986e-06
263.405 | 4.1914e-06
263.175 | 4.0736e-06
262.965 | 4.3754e-06
262.739 | 4.3644e-06
262.529 | 4.1216e-06
262.316 | 3.922e-06
262.097 | 4.0653e-06
261.876 | 4.1238e-06
261.664 | 4.0954e-06
261.443 | 4.0203e-06
261.236 | 4.0963e-06
261.015 | 4.4786e-06
260.795 | 4.219e-06
260.578 | 3.9967e-06
260.362 | 4.1174e-06
260.145 | 4.4244e-06
259.929 | 4.2919e-06
259.709 | 4.3561e-06
259.497 | 4.3322e-06
259.277 | 4.2769e-06
259.064 | 4.1096e-06
258.847 | 4.3944e-06
258.636 | 4.3612e-06
258.415 | 4.3022e-06
258.195 | 4.6846e-06
257.986 | 4.6365e-06
257.778 | 4.7419e-06
257.557 | 4.6188e-06
257.339 | 4.6206e-06
257.132 | 4.6725e-06
256.924 | 4.7165e-06
256.708 | 4.5888e-06
256.502 | 4.4846e-06
256.287 | 4.468e-06
256.07 | 4.2492e-06
255.853 | 4.1929e-06
255.651 | 4.1619e-06
255.429 | 4.0481e-06
255.218 | 4.5101e-06
255.015 | 4.1935e-06
254.801 | 4.4829e-06
254.594 | 4.5717e-06
254.347 | 4.2169e-06
253.935 | 4.3338e-06
253.68 | 4.1987e-06
253.405 | 4.2385e-06
253.121 | 4.1759e-06
252.774 | 4.2606e-06
252.493 | 4.2726e-06
252.22 | 4.2458e-06
251.853 | 4.462e-06
251.571 | 4.2597e-06
251.277 | 4.2441e-06
250.913 | 4.2715e-06
250.532 | 4.3964e-06
250.227 | 4.2159e-06
249.93 | 4.3535e-06
249.586 | 4.2603e-06
249.197 | 4.2608e-06
248.898 | 4.4431e-06
248.533 | 4.4125e-06
248.13 | 4.2249e-06
247.721 | 4.5003e-06
247.377 | 4.4473e-06
247.001 | 4.5889e-06
246.566 | 4.3406e-06
246.16 | 4.4079e-06
245.788 | 4.4355e-06
245.379 | 4.3884e-06
244.906 | 4.2307e-06
244.482 | 4.239e-06
244.077 | 4.0493e-06
243.595 | 4.0988e-06
243.104 | 4.0686e-06
242.517 | 4.0743e-06
242.062 | 4.1402e-06
241.637 | 4.1203e-06
241.069 | 4.1812e-06
240.529 | 4.0626e-06
239.87 | 4.1823e-06
239.349 | 4.344e-06
238.9 | 4.2944e-06
238.288 | 4.1992e-06
237.587 | 4.2039e-06
237.019 | 4.0523e-06
236.483 | 4.277e-06
235.85 | 4.1405e-06
235.16 | 4.2601e-06
234.508 | 4.0987e-06
233.93 | 3.9984e-06
233.247 | 4.2497e-06
232.392 | 4.0378e-06
231.602 | 3.9189e-06
230.991 | 3.6542e-06
230.371 | 3.7799e-06
229.564 | 3.5294e-06
228.436 | 3.5289e-06
227.606 | 3.6546e-06
226.951 | 3.817e-06
226.26 | 3.6039e-06
225.434 | 3.6997e-06
224.305 | 3.6822e-06
223.023 | 3.6828e-06
222.174 | 3.6894e-06
221.493 | 3.7454e-06
220.72 | 3.7505e-06
219.365 | 3.6484e-06
217.655 | 3.7344e-06
216.279 | 3.6601e-06
215.292 | 3.569e-06
214.418 | 3.6433e-06
213.311 | 3.5759e-06
211.444 | 3.6092e-06
209.595 | 3.4818e-06
208.054 | 3.588e-06
206.92 | 3.5472e-06
205.857 | 3.8756e-06
204.27 | 3.912e-06
202.462 | 3.8083e-06
200.681 | 3.664e-06
199.227 | 3.3674e-06
198.18 | 3.4423e-06
197.178 | 3.4024e-06
195.67 | 3.3415e-06
194.018 | 3.1659e-06
192.488 | 3.3176e-06
191.375 | 3.2766e-06
190.509 | 3.5424e-06
189.374 | 3.5529e-06
187.738 | 3.6954e-06
186.151 | 3.4275e-06
184.933 | 3.3483e-06
183.919 | 3.4381e-06
182.861 | 3.5067e-06
181.296 | 3.3387e-06
179.65 | 3.2885e-06
178.301 | 3.2385e-06
177.273 | 3.29e-06
176.075 | 3.2264e-06
174.33 | 3.1379e-06
172.54 | 3.166e-06
171.131 | 3.1226e-06
170.084 | 3.1226e-06
169.252 | 2.9293e-06
168.225 | 2.8931e-06
166.581 | 2.9956e-06
165.014 | 3.0393e-06
163.842 | 2.7526e-06
162.965 | 2.947e-06
162.212 | 2.883e-06
160.776 | 2.8384e-06
159.141 | 2.7474e-06
157.898 | 2.9896e-06
156.936 | 2.7031e-06
156.214 | 2.8367e-06
155.206 | 2.7058e-06
153.726 | 2.8455e-06
152.27 | 2.7413e-06
151.198 | 2.8682e-06
150.357 | 2.708e-06
149.163 | 2.6931e-06
147.474 | 2.6752e-06
145.849 | 2.8536e-06
144.669 | 2.6601e-06
143.759 | 2.7793e-06
142.583 | 2.6358e-06
140.833 | 2.6799e-06
139.162 | 2.6868e-06
137.989 | 2.6608e-06
137.183 | 2.6938e-06
136.186 | 2.5993e-06
134.407 | 2.6261e-06
132.506 | 2.5419e-06
131.148 | 2.4668e-06
130.288 | 2.3246e-06
129.434 | 2.435e-06
127.661 | 2.5649e-06
125.741 | 2.3132e-06
124.344 | 2.3183e-06
123.517 | 2.2593e-06
122.746 | 2.2523e-06
120.868 | 2.2831e-06
118.427 | 2.3875e-06
116.451 | 2.4039e-06
115.344 | 2.2583e-06
114.785 | 2.2932e-06
113.573 | 2.2781e-06
110.903 | 2.1966e-06
108.48 | 2.2034e-06
107.034 | 2.2062e-06
106.416 | 2.2106e-06
105.818 | 2.2607e-06
103.783 | 2.0354e-06
101.519 | 2.2215e-06
100.021 | 2.2438e-06
99.4296 | 2.1556e-06
99.0065 | 2.0724e-06
96.5238 | 2.0665e-06
92.4324 | 2.077e-06
91.2244 | 2.1221e-06
90.9936 | 2.0849e-06
91.0139 | 2.1114e-06
85.3405 | 2.1383e-06
82.8791 | 2.0512e-06
82.6305 | 2.0775e-06
82.8482 | 2.0218e-06
83.125 | 2.0387e-06
81.6132 | 2.045e-06
81.1193 | 1.9613e-06
80.8439 | 1.8829e-06
80.6825 | 1.8255e-06
80.607 | 1.8342e-06
80.6232 | 1.7696e-06
80.7002 | 1.8406e-06
80.7841 | 1.7715e-06
80.8011 | 1.7971e-06
80.6963 | 1.7124e-06
202.619 | -2.6919e-10
201.374 | -2.693e-10
200.329 | -2.7204e-10
199.499 | -2.7021e-10
198.807 | -2.712e-10
198.013 | -2.7132e-10
196.846 | -2.7076e-10
195.627 | -2.7048e-10
194.491 | -2.7171e-10
193.554 | -2.7143e-10
192.729 | -2.6939e-10
192.071 | -2.7075e-10
191.387 | -2.7218e-10
190.336 | -2.7226e-10
189.137 | -2.7049e-10
188.062 | -2.7089e-10
187.147 | -2.7199e-10
186.383 | -2.718e-10
185.703 | -2.7203e-10
184.796 | -2.716e-10
183.579 | -2.7168e-10
182.385 | -2.7219e-10
181.386 | -2.6926e-10
180.589 | -2.7265e-10
179.879 | -2.7261e-10
179.119 | -2.7171e-10
177.867 | -2.7107e-10
176.458 | -2.7287e-10
175.217 | -2.7263e-10
174.22 | -2.7101e-10
173.398 | -2.7079e-10
172.734 | -2.6969e-10
171.963 | -2.699e-10
170.91 | -2.7063e-10
169.992 | -2.7062e-10
169.197 | -2.6912e-10
168.557 | -2.7122e-10
167.969 | -2.7114e-10
167.224 | -2.7063e-10
166.207 | -2.7118e-10
165.268 | -2.7199e-10
164.514 | -2.7158e-10
163.885 | -2.7161e-10
163.28 | -2.7183e-10
162.404 | -2.7124e-10
161.182 | -2.7074e-10
160.009 | -2.6955e-10
159.04 | -2.7077e-10
158.349 | -2.7024e-10
157.767 | -2.6982e-10
157.147 | -2.7081e-10
156.196 | -2.6963e-10
155.077 | -2.705e-10
154.109 | -2.7159e-10
153.372 | -2.7111e-10
152.826 | -2.7186e-10
152.321 | -2.7216e-10
151.492 | -2.7026e-10
150.377 | -2.7029e-10
149.387 | -2.7102e-10
148.608 | -2.7044e-10
148.024 | -2.7215e-10
147.541 | -2.7223e-10
146.934 | -2.7131e-10
145.822 | -2.7127e-10
144.538 | -2.7181e-10
143.388 | -2.7215e-10
142.53 | -2.7141e-10
141.921 | -2.6991e-10
141.383 | -2.7231e-10
140.767 | -2.7017e-10
139.706 | -2.717e-10
138.457 | -2.7213e-10
137.35 | -2.7039e-10
136.554 | -2.6929e-10
136.005 | -2.7035e-10
135.541 | -2.7301e-10
134.871 | -2.7089e-10
133.715 | -2.7142e-10
132.619 | -2.7255e-10
131.722 | -2.7076e-10
131.109 | -2.7098e-10
130.649 | -2.7103e-10
130.12 | -2.7245e-10
129.074 | -2.7097e-10
127.669 | -2.7105e-10
126.538 | -2.7164e-10
125.727 | -2.7062e-10
125.215 | -2.6945e-10
124.835 | -2.7062e-10
124.237 | -2.6991e-10
123.029 | -2.7163e-10
121.708 | -2.7196e-10
120.641 | -2.7069e-10
119.991 | -2.6964e-10
119.603 | -2.7183e-10
119.285 | -2.6982e-10
118.513 | -2.7004e-10
117.149 | -2.7037e-10
115.852 | -2.6982e-10
114.924 | -2.6936e-10
114.416 | -2.6883e-10
114.117 | -2.7062e-10
113.807 | -2.7057e-10
112.831 | -2.7159e-10
111.578 | -2.7198e-10
110.555 | -2.7036e-10
109.949 | -2.7117e-10
109.629 | -2.7041e-10
109.394 | -2.7062e-10
108.318 | -2.7133e-10
106.726 | -2.6971e-10
105.266 | -2.6953e-10
104.353 | -2.6995e-10
103.937 | -2.7063e-10
103.751 | -2.706e-10
103.372 | -2.7071e-10
102.153 | -2.6886e-10
100.695 | -2.7101e-10
99.7244 | -2.72e-10
99.2789 | -2.7165e-10
99.1355 | 8.5794e-10
99.0381 | 1.2078e-10
97.8087 | -2.3984e-10
95.8208 | -2.7073e-10
93.9938 | -2.7244e-10
93.2814 | -2.7083e-10
93.0898 | -2.6868e-10
93.0791 | -2.6826e-10
92.679 | -2.6833e-10
88.9324 | -2.6869e-10
85.8211 | -2.6923e-10
86.228 | -2.6957e-10
86.4658 | -2.716e-10
86.7096 | -2.6975e-10
86.9659 | -2.7002e-10
85.7294 | -2.7055e-10
83.0776 | -2.7116e-10
82.4975 | -2.7107e-10
82.5656 | -2.6984e-10
82.7691 | -2.7069e-10
83.0431 | -2.6963e-10
82.4792 | -2.6995e-10
81.3277 | -2.7171e-10
80.7882 | -2.6897e-10
80.5356 | -2.7168e-10
80.4168 | -2.6947e-10
80.4008 | -2.6905e-10
80.216 | -2.6961e-10
80.281 | -2.7172e-10
80.297 | -2.7135e-10
80.2999 | -2.6977e-10
80.3096 | -2.7147e-10

## Measurements
Temperature | Current
80.4275 | -3.8772e-10
80.7333 | -3.6121e-10
81.2296 | -3.561e-10
81.7587 | -3.5874e-10
82.4435 | -3.5995e-10
83.1268 | -3.5962e-10
83.5803 | -3.585e-10
83.7545 | -3.5667e-10
84.4342 | -2.7111e-10
84.8957 | -2.692e-10
85.4078 | -2.698e-10
85.8763 | -2.7155e-10
86.2138 | -2.7276e-10
86.728 | -2.7162e-10
87.2 | -2.6892e-10
87.7135 | -2.7012e-10
88.2063 | -2.7003e-10
88.7004 | -2.6867e-10
89.2232 | -2.707e-10
89.8252 | -2.7099e-10
90.2571 | -2.6844e-10
90.7189 | -2.7016e-10
91.2014 | -2.7297e-10
91.742 | -2.7031e-10
92.3146 | -2.7204e-10
92.7808 | -2.7103e-10
93.2169 | -2.7041e-10
93.7208 | -2.7171e-10
94.2024 | -2.7066e-10
94.8112 | -2.7126e-10
95.4153 | -2.7145e-10
95.8674 | -2.7052e-10
96.2912 | -2.7167e-10
96.7131 | -2.6979e-10
97.2143 | -2.6858e-10
97.7159 | -2.694e-10
98.2214 | -2.6945e-10
98.7082 | -2.7025e-10
99.2378 | -2.7039e-10
99.747 | -2.6932e-10
100.216 | -2.6992e-10
100.725 | -2.7142e-10
101.208 | -2.7057e-10
101.716 | -2.7126e-10
102.208 | -2.7023e-10
102.872 | -2.7032e-10
103.213 | -2.7164e-10
103.703 | -2.7023e-10
104.224 | -2.6989e-10
104.711 | -2.6898e-10
105.219 | -2.707e-10
105.701 | -2.7028e-10
106.212 | -2.7326e-10
106.715 | -2.6958e-10
107.217 | -2.6934e-10
107.713 | -2.7033e-10
108.219 | -2.6971e-10
108.728 | -2.718e-10
109.261 | -2.7082e-10
109.735 | -2.7173e-10
110.209 | -2.7068e-10
110.724 | -2.7203e-10
111.204 | -2.7016e-10
111.729 | -2.6987e-10
112.204 | -2.7054e-10
112.725 | -2.698e-10
113.2 | -2.6923e-10
113.706 | -2.7092e-10
114.202 | -2.7223e-10
114.702 | -2.719e-10
115.216 | -2.7082e-10
115.714 | -2.7053e-10
116.201 | -2.7051e-10
116.699 | -2.6854e-10
117.224 | -2.6867e-10
117.717 | -2.7065e-10
118.202 | -2.6929e-10
118.7 | -2.703e-10
119.221 | -2.6929e-10
119.714 | -2.7052e-10
120.2 | -2.7075e-10
120.701 | -2.7296e-10
121.215 | -2.7117e-10
121.707 | -2.7345e-10
122.208 | -2.7058e-10
122.706 | -2.6981e-10
123.209 | -2.7065e-10
123.701 | -2.7045e-10
124.21 | -2.6884e-10
124.701 | -2.6874e-10
125.204 | -2.6824e-10
125.713 | -2.6748e-10
126.214 | -2.6902e-10
126.705 | -2.6875e-10
127.199 | -2.6994e-10
127.707 | -2.7163e-10
128.21 | -2.7219e-10
128.709 | -2.7331e-10
129.209 | -2.6995e-10
129.704 | -2.7064e-10
130.205 | -2.7036e-10
130.711 | -2.7058e-10
131.214 | -2.7026e-10
131.715 | -2.7128e-10
132.201 | -2.7018e-10
132.708 | -2.7367e-10
133.202 | -2.7316e-10
133.71 | -2.7392e-10
134.207 | -2.7097e-10
134.699 | -2.7138e-10
135.201 | -2.6968e-10
135.71 | -2.7163e-10
136.205 | -2.7169e-10
136.714 | -2.7056e-10
137.203 | -2.7088e-10
137.706 | -2.7085e-10
138.203 | -2.6991e-10
138.71 | -2.7038e-10
139.206 | -2.698e-10
139.706 | -2.7173e-10
140.208 | -2.6982e-10
140.701 | -2.701e-10
141.201 | -2.6971e-10
141.716 | -2.7061e-10
142.214 | -2.7052e-10
142.707 | -2.6975e-10
143.216 | -2.7104e-10
143.713 | -2.6968e-10
144.2 | -2.7173e-10
144.703 | -2.7157e-10
145.212 | -2.7173e-10
145.7 | -2.7077e-10
146.2 | -2.7183e-10
146.699 | -2.7143e-10
147.213 | -2.7263e-10
147.707 | -2.7235e-10
148.207 | -2.7381e-10
148.713 | -2.7232e-10
149.202 | -2.719e-10
149.709 | -2.7095e-10
150.201 | -2.6905e-10
150.703 | -2.7036e-10
151.209 | -2.705e-10
151.699 | -2.7219e-10
152.206 | -2.7212e-10
152.711 | -2.7271e-10
153.212 | -2.7359e-10
153.703 | -2.7376e-10
154.205 | -2.7182e-10
154.71 | -2.7217e-10
155.204 | -2.7126e-10
155.7 | -2.7231e-10
156.207 | -2.7197e-10
156.708 | -2.7163e-10
157.212 | -2.7249e-10
157.707 | -2.723e-10
158.207 | -2.7144e-10
158.711 | -2.7424e-10
159.21 | -2.7439e-10
159.7 | -2.7279e-10
160.201 | -2.7331e-10
160.714 | -2.7357e-10
161.201 | -2.7448e-10
161.71 | -2.7219e-10
162.202 | -2.7365e-10
162.728 | -2.7246e-10
163.205 | -2.7345e-10
163.703 | -2.7281e-10
164.203 | -2.715e-10
164.71 | -2.7599e-10
165.203 | -2.733e-10
165.716 | -2.7246e-10
166.209 | -2.7209e-10
166.709 | -2.7155e-10
167.203 | -2.7037e-10
167.707 | -2.7102e-10
168.201 | -2.7075e-10
168.699 | -2.7364e-10
169.211 | -2.7063e-10
169.717 | -2.7256e-10
170.199 | -2.7014e-10
170.701 | -2.7062e-10
171.2 | -2.7019e-10
171.71 | -2.7141e-10
172.207 | -2.6972e-10
172.71 | -2.7084e-10
173.217 | -2.6955e-10
173.703 | -2.7054e-10
174.204 | -2.6948e-10
174.7 | -2.6784e-10
175.204 | -2.6931e-10
175.713 | -2.6958e-10
176.203 | -2.7027e-10
176.703 | -2.7036e-10
177.212 | -2.7072e-10
177.713 | -2.6956e-10
178.203 | -2.6921e-10
178.703 | -2.7035e-10
179.21 | -2.7024e-10
179.711 | -2.7076e-10
180.203 | -2.7036e-10
180.708 | -2.69e-10
181.201 | -2.7275e-10
181.7 | -2.7101e-10
182.203 | -2.6948e-10
182.705 | -2.6993e-10
183.203 | -2.7093e-10
183.707 | -2.7157e-10
184.206 | -2.677e-10
184.715 | -2.7029e-10
185.201 | -2.6895e-10
185.712 | -2.6969e-10
186.214 | -2.7107e-10
186.713 | -2.7132e-10
187.212 | -2.6984e-10
187.713 | -2.6862e-10
188.204 | -2.6818e-10
188.711 | -2.6866e-10
189.199 | -2.6915e-10
189.706 | -2.703e-10
190.212 | -2.6976e-10
190.701 | -2.705e-10
191.203 | -2.7092e-10
191.705 | -2.7003e-10
192.209 | -2.7095e-10
192.704 | -2.7122e-10
193.206 | -2.7161e-10
193.699 | -2.7135e-10
194.202 | -2.6951e-10
194.7 | -2.6939e-10
195.205 | -2.6903e-10
195.716 | -2.6972e-10
196.205 | -2.6895e-10
196.709 | -2.7233e-10
197.202 | -2.7221e-10
197.707 | -2.7279e-10
198.212 | -2.7139e-10
198.718 | -2.7118e-10
199.209 | -2.7416e-10
199.703 | -2.7034e-10
200.199 | -2.7264e-10
200.701 | -2.7363e-10
201.209 | -2.7369e-10
201.704 | -2.7144e-10
202.209 | -2.7134e-10
202.712 | -2.7316e-10
203.199 | -2.7167e-10
203.706 | -2.7338e-10
204.206 | -2.7303e-10
204.7 | -2.7354e-10
205.2 | -2.7406e-10
205.707 | -2.7469e-10
206.2 | -2.7343e-10
206.699 | -2.7179e-10
207.205 | -2.7302e-10
207.707 | -2.7357e-10
208.214 | -2.7345e-10
208.707 | -2.7415e-10
209.206 | -2.7519e-10
209.709 | -2.7353e-10
210.237 | -2.7336e-10
210.713 | -2.7261e-10
211.209 | -2.7252e-10
211.703 | -2.718e-10
212.204 | -2.7191e-10
212.709 | -2.7208e-10
213.204 | -2.7133e-10
213.703 | -2.7304e-10
214.2 | -2.7159e-10
214.704 | -2.7111e-10
215.2 | -2.7217e-10
215.699 | -2.7306e-10
216.204 | -2.7174e-10
216.701 | -2.7235e-10
217.213 | -2.7056e-10
217.7 | -2.7184e-10
218.204 | -2.7246e-10
218.703 | -2.7274e-10
219.208 | -2.726e-10
219.709 | -2.7187e-10
220.201 | -2.7226e-10
220.705 | -2.727e-10
221.211 | -2.7287e-10
221.704 | -2.7291e-10
222.216 | -2.7218e-10
222.706 | -2.7165e-10
223.201 | -2.7489e-10
223.7 | -2.7452e-10
224.199 | -2.7382e-10
224.704 | -2.7346e-10
225.201 | -2.7524e-10
225.7 | -2.74e-10
226.22 | -2.7462e-10
226.718 | -2.7463e-10
227.201 | -2.742e-10
227.721 | -2.7505e-10
228.217 | -2.7327e-10
228.7 | -2.7469e-10
229.209 | -2.7301e-10
229.708 | -2.7367e-10
230.206 | -2.7378e-10
230.702 | -2.7441e-10
231.209 | -2.7186e-10
231.707 | -2.7495e-10
232.205 | -2.7374e-10
232.713 | -2.7248e-10
233.211 | -2.7125e-10
233.709 | -2.718e-10
234.21 | -2.7302e-10
234.701 | -2.7426e-10
235.215 | -2.7346e-10
235.715 | -2.741e-10
236.202 | -2.7306e-10
236.714 | -2.7378e-10
237.207 | -2.7292e-10
237.713 | -2.7483e-10
238.208 | -2.7181e-10
238.713 | -2.7311e-10
239.201 | -2.7537e-10
239.707 | -2.7526e-10
240.202 | -2.7338e-10
240.7 | -2.7477e-10
241.206 | -2.7506e-10
241.699 | -2.7438e-10
242.202 | -2.745e-10
242.708 | -2.7585e-10
243.204 | -2.7548e-10
243.704 | -2.7306e-10
244.202 | -2.728e-10
244.705 | -2.7313e-10
245.211 | -2.725e-10
245.705 | -2.7334e-10
246.201 | -2.7315e-10
246.7 | -2.7472e-10
247.2 | -2.7314e-10
247.701 | -2.7437e-10
248.202 | -2.7331e-10
248.705 | -2.7279e-10
249.207 | -2.7162e-10
249.708 | -2.7171e-10
250.213 | -2.7275e-10
250.714 | -2.7166e-10
251.2 | -2.7255e-10
251.7 | -2.734e-10
252.202 | -2.7294e-10
252.704 | -2.7219e-10
253.206 | -2.7391e-10
253.707 | -2.7301e-10
254.208 | -2.7322e-10
254.707 | -2.7213e-10
255.207 | -2.7343e-10
255.709 | -2.7259e-10
256.209 | -2.7168e-10
256.709 | -2.7163e-10
257.208 | -2.7132e-10
257.709 | -2.7181e-10
258.208 | -2.733e-10
258.709 | -2.7333e-10
259.208 | -2.7518e-10
259.708 | -2.7276e-10
260.209 | -2.7232e-10
260.705 | -2.7212e-10
261.205 | -2.6913e-10
261.7 | -2.7259e-10
262.214 | -2.7181e-10
262.712 | -2.7124e-10
263.211 | -2.7261e-10
263.712 | -2.7145e-10
264.213 | -2.7153e-10
264.713 | -2.7073e-10
265.215 | -2.7033e-10
265.713 | -2.6992e-10
266.2 | -2.7115e-10
266.701 | -2.7271e-10
267.201 | -2.7228e-10
267.701 | -2.7208e-10
268.202 | -2.7053e-10
268.704 | -2.7083e-10
269.204 | -2.7133e-10
269.704 | -2.7165e-10
270.205 | -2.7122e-10
270.706 | -2.7196e-10
271.205 | -2.7096e-10
271.704 | -2.7173e-10
272.203 | -2.7001e-10
272.706 | -2.7139e-10
273.205 | -2.6935e-10
273.705 | -2.6944e-10
274.205 | -2.6958e-10
274.706 | -2.7029e-10
275.206 | -2.7269e-10
275.706 | -2.723e-10
276.207 | -2.7116e-10
276.707 | -2.7236e-10
277.206 | -2.6958e-10
277.706 | -2.708e-10
278.205 | -2.7115e-10
278.705 | -2.7067e-10
279.203 | -2.7189e-10
279.699 | -2.7164e-10
280.212 | -2.7133e-10
280.711 | -2.6974e-10
281.211 | -2.6955e-10
281.713 | -2.7204e-10
282.213 | -2.7139e-10
282.712 | -2.7084e-10
283.213 | -2.7323e-10
283.699 | -2.7139e-10
284.215 | -2.7141e-10
284.7 | -2.7082e-10
285.2 | -2.7115e-10
285.701 | -2.7176e-10
286.202 | -2.7019e-10
286.702 | -2.7084e-10
287.204 | -2.7037e-10
287.705 | -2.7152e-10
288.204 | -2.7117e-10
288.704 | -2.7239e-10
289.204 | -2.7192e-10
289.705 | -2.7204e-10
290.205 | -2.7299e-10
290.704 | -2.7172e-10
291.205 | -2.7457e-10
291.704 | -2.7179e-10
292.205 | -2.7174e-10
292.703 | -2.7171e-10
293.206 | -2.7191e-10
293.705 | -2.7262e-10
294.204 | -2.7332e-10
294.704 | -2.725e-10
295.205 | -2.7234e-10
295.704 | -2.7217e-10
296.205 | -2.7359e-10
296.704 | -2.7249e-10
297.204 | -2.7342e-10
297.704 | -2.7441e-10
298.205 | -2.7127e-10
298.704 | -2.7184e-10
299.214 | -2.7128e-10
299.712 | -2.7446e-10
300.211 | -2.7453e-10
300.712 | -2.7449e-10
301.211 | -2.7584e-10
301.712 | -2.7387e-10
302.212 | -2.7361e-10
302.714 | -2.7097e-10
303.213 | -2.706e-10
303.699 | -2.6986e-10
304.199 | -2.6959e-10
304.702 | -2.709e-10
305.202 | -2.6805e-10
305.7 | -2.6963e-10
306.203 | -2.7052e-10
306.703 | -2.7258e-10
307.204 | -2.7129e-10
307.704 | -2.7122e-10
308.206 | -2.7155e-10
308.707 | -2.7084e-10
309.205 | -2.7014e-10
309.705 | -2.7193e-10
310.207 | -2.7047e-10
310.706 | -2.7003e-10
311.205 | -2.7164e-10
311.705 | -2.7243e-10
312.205 | -2.7021e-10
312.705 | -2.7071e-10
313.204 | -2.6944e-10
313.705 | -2.7034e-10
314.205 | -2.6957e-10
314.705 | -2.7238e-10
315.204 | -2.7236e-10
315.704 | -2.7002e-10
316.206 | -2.708e-10
316.703 | -2.7242e-10
317.204 | -2.717e-10
317.706 | -2.7167e-10
318.205 | -2.6999e-10
318.704 | -2.729e-10
319.205 | -2.6917e-10
319.705 | -2.7134e-10
320.203 | -2.7133e-10
320.701 | -2.707e-10
321.215 | -2.7294e-10
321.714 | -2.724e-10
322.213 | -2.7272e-10
322.714 | -2.7043e-10
323.214 | -2.7162e-10
323.715 | -2.6928e-10
324.199 | -2.6931e-10
324.699 | -2.7091e-10
325.201 | -2.703e-10
325.702 | -2.6776e-10
326.201 | -2.6894e-10
326.702 | -2.695e-10
327.202 | -2.6827e-10
327.702 | -2.6971e-10
328.204 | -2.7193e-10
328.703 | -2.6945e-10
329.204 | -2.7133e-10
329.705 | -2.7155e-10
330.205 | -2.709e-10
330.705 | -2.7129e-10
331.205 | -2.7076e-10
331.704 | -2.7015e-10
332.205 | -2.7029e-10
332.706 | -2.7154e-10
333.204 | -2.7066e-10
333.705 | -2.7178e-10
334.205 | -2.7168e-10
334.705 | -2.7185e-10
335.205 | -2.6983e-10
335.705 | -2.7045e-10
336.205 | -2.7121e-10
336.704 | -2.7113e-10
337.204 | -2.7017e-10
337.704 | -2.6929e-10
338.204 | -2.7205e-10
338.705 | -2.718e-10
339.205 | -2.6955e-10
339.705 | -2.7082e-10
340.204 | -2.6973e-10
340.702 | -2.7011e-10
341.205 | -2.7002e-10
341.703 | -2.7009e-10
342.202 | -2.6932e-10
342.703 | -2.6989e-10
343.203 | -2.7054e-10
343.703 | -2.7118e-10
344.203 | -2.7071e-10
344.703 | -2.6944e-10
345.203 | -2.6983e-10
345.703 | -2.6775e-10
346.201 | -2.6894e-10
346.715 | -2.698e-10
347.214 | -2.6966e-10
347.712 | -2.7073e-10
348.214 | -2.6747e-10
348.711 | -2.6766e-10
349.214 | -2.6988e-10
349.714 | -2.6848e-10
350.214 | -2.6819e-10
350.716 | -2.6992e-10
351.199 | -2.694e-10
351.699 | -2.6865e-10
352.2 | -2.697e-10
352.7 | -2.7009e-10
353.201 | -2.7019e-10
353.701 | -2.7042e-10
354.202 | -2.7005e-10
354.7 | -2.6964e-10
355.202 | -2.6962e-10
355.702 | -2.7004e-10
356.202 | -2.706e-10
356.7 | -2.7105e-10
357.202 | -2.6924e-10
357.702 | -2.7072e-10
358.202 | -2.7011e-10
358.702 | -2.6948e-10
359.203 | -2.6995e-10
359.703 | -2.6937e-10
360.203 | -2.6877e-10
360.704 | -2.688e-10
361.202 | -2.6978e-10
361.702 | -2.7069e-10
362.202 | -2.6807e-10
362.702 | -2.6976e-10
363.202 | -2.6961e-10
363.702 | -2.7131e-10
364.201 | -2.7075e-10
364.702 | -2.7126e-10
365.201 | -2.7164e-10
365.703 | -2.7167e-10
366.202 | -2.7038e-10
366.701 | -2.712e-10
367.201 | -2.707e-10
367.702 | -2.7042e-10
368.202 | -2.7153e-10
368.701 | -2.723e-10
369.203 | -2.6999e-10
369.701 | -2.7105e-10
370.202 | -2.7315e-10
370.702 | -2.7247e-10
371.201 | -2.7153e-10
371.701 | -2.7313e-10
372.201 | -2.7238e-10
372.701 | -2.7262e-10
373.201 | -2.7275e-10
373.701 | -2.7205e-10
374.2 | -2.7181e-10
374.702 | -2.7319e-10
375.202 | -2.7191e-10
375.701 | -2.7195e-10
376.201 | -2.7205e-10
376.701 | -2.7183e-10
377.201 | -2.7291e-10
377.703 | -2.738e-10
378.202 | -2.7186e-10
378.701 | -2.7035e-10
379.202 | -2.7151e-10
379.702 | -2.7255e-10
380.2 | -2.7204e-10