## Settings
Sample Info | SiO2 ; 1.6mm ; Irradiated
Sample Description | Voronezh
Major Measurement Parameters
Starting Temperature | 90.6465
Initial Temperature | 90
Final Temperature | 380
Preliminary Voltage | 2
Pulse Voltage | 2
Pulse Time | 5
Measurement Voltage | -1
Subsidiary Measurement Parameters
Step | 0.5
Accuracy Step | 0.1
Accuracy Stable | 2
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 10
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 5
Measurecount | 1

## Stabilization
Temperature | Current
89.3487 | 1.8409e-06
89.4119 | 1.843e-06
89.8636 | 1.7093e-06
90.2655 | 1.663e-06
90.5718 | 1.7416e-06
89.636 | 1.7623e-06
89.5405 | 1.7484e-06
89.8949 | 1.7205e-06
90.2746 | 1.7498e-06
90.6087 | 1.812e-06

## Measurements
Temperature | Current
88.5514 | -3.9704e-10
89.0893 | -3.7688e-10
89.5764 | -3.7081e-10
90.0534 | -3.7159e-10
90.5331 | -3.725e-10
90.946 | -3.7136e-10
91.3521 | -3.6956e-10
91.865 | -3.6842e-10
92.4932 | -3.7121e-10
93.0418 | -3.7079e-10
93.5242 | -3.6905e-10
93.9439 | -3.6835e-10
94.3591 | -3.6976e-10
94.8512 | -3.7215e-10
95.35 | -3.7083e-10
95.8516 | -3.6911e-10
96.3628 | -3.6827e-10
96.8552 | -3.7082e-10
97.5609 | -3.6889e-10
98.0024 | -3.7177e-10
98.4042 | -3.6961e-10
98.8648 | -3.7164e-10
99.3528 | -3.7232e-10
99.8664 | -3.7647e-10
100.361 | -3.7501e-10
100.869 | -3.7244e-10
101.357 | -3.7303e-10
101.862 | -3.7732e-10
102.352 | -3.7741e-10
102.855 | -3.776e-10
103.371 | -3.7797e-10
103.855 | -3.7738e-10
104.367 | -3.745e-10
104.861 | -3.7969e-10
105.369 | -3.758e-10
105.853 | -3.743e-10
106.37 | -3.8129e-10
106.871 | -3.7567e-10
107.351 | -3.8022e-10
107.862 | -3.7835e-10
108.35 | -3.7868e-10
108.851 | -3.8325e-10
109.353 | -3.8255e-10
109.86 | -3.7943e-10
110.362 | -3.8358e-10
110.851 | -3.8477e-10
111.375 | -3.8266e-10
111.861 | -3.8463e-10
112.368 | -3.844e-10
112.855 | -3.8148e-10
113.363 | -3.874e-10
113.853 | -3.8845e-10
114.356 | -3.8504e-10
114.865 | -3.847e-10
115.353 | -3.8177e-10
115.875 | -3.8743e-10
116.362 | -3.8438e-10
116.851 | -3.8395e-10
117.356 | -3.8779e-10
117.864 | -3.8865e-10
118.366 | -3.8931e-10
118.861 | -3.8844e-10
119.367 | -3.8646e-10
119.855 | -3.9071e-10
120.364 | -3.8769e-10
120.86 | -3.865e-10
121.363 | -3.93e-10
121.859 | -3.9093e-10
122.358 | -3.9065e-10
122.852 | -3.9341e-10
123.359 | -3.9447e-10
123.855 | -3.9827e-10
124.368 | -3.9302e-10
124.854 | -3.9251e-10
125.365 | -3.9626e-10
125.855 | -3.9584e-10
126.352 | -3.9525e-10
126.861 | -3.9541e-10
127.356 | -3.9846e-10
127.853 | -3.974e-10
128.352 | -3.9486e-10
128.86 | -3.9688e-10
129.357 | -3.9865e-10
129.855 | -3.9925e-10
130.353 | -3.9921e-10
130.861 | -4.0008e-10
131.361 | -3.9901e-10
131.852 | -3.9912e-10
132.35 | -4.0041e-10
132.858 | -3.9681e-10
133.356 | -4.0087e-10
133.853 | -3.9795e-10
134.355 | -4.0236e-10
134.85 | -4.0002e-10
135.367 | -4.0211e-10
135.862 | -4.0197e-10
136.361 | -4.0053e-10
136.86 | -4.0306e-10
137.361 | -4.0261e-10
137.855 | -4.0174e-10
138.358 | -4.0388e-10
138.855 | -4.0476e-10
139.37 | -4.0344e-10
139.86 | -4.0578e-10
140.354 | -4.0397e-10
140.861 | -4.0659e-10
141.353 | -4.0659e-10
141.851 | -4.0629e-10
142.355 | -4.0599e-10
142.87 | -4.0723e-10
143.355 | -4.0792e-10
143.856 | -4.1079e-10
144.351 | -4.11e-10
144.861 | -4.0985e-10
145.365 | -4.0893e-10
145.855 | -4.0983e-10
146.364 | -4.0994e-10
146.856 | -4.1314e-10
147.362 | -4.1276e-10
147.854 | -4.161e-10
148.357 | -4.1042e-10
148.861 | -4.1313e-10
149.368 | -4.1354e-10
149.859 | -4.1485e-10
150.362 | -4.1579e-10
150.866 | -4.168e-10
151.362 | -4.184e-10
151.864 | -4.1964e-10
152.365 | -4.1787e-10
152.865 | -4.1867e-10
153.355 | -4.2194e-10
153.851 | -4.2187e-10
154.365 | -4.1772e-10
154.851 | -4.2096e-10
155.365 | -4.2004e-10
155.855 | -4.1977e-10
156.362 | -4.2361e-10
156.863 | -4.2389e-10
157.359 | -4.2496e-10
157.862 | -4.2444e-10
158.368 | -4.2763e-10
158.851 | -4.2364e-10
159.364 | -4.2357e-10
159.858 | -4.2575e-10
160.356 | -4.2475e-10
160.857 | -4.2871e-10
161.356 | -4.2414e-10
161.859 | -4.2399e-10
162.351 | -4.265e-10
162.856 | -4.2958e-10
163.36 | -4.2593e-10
163.855 | -4.2552e-10
164.353 | -4.2818e-10
164.86 | -4.2613e-10
165.35 | -4.2909e-10
165.864 | -4.2764e-10
166.365 | -4.3177e-10
166.858 | -4.3162e-10
167.35 | -4.3421e-10
167.861 | -4.3234e-10
168.352 | -4.3127e-10
168.865 | -4.3191e-10
169.356 | -4.3067e-10
169.85 | -4.3275e-10
170.365 | -4.3474e-10
170.864 | -4.3337e-10
171.35 | -4.3259e-10
171.856 | -4.328e-10
172.354 | -4.3477e-10
172.858 | -4.3381e-10
173.353 | -4.3137e-10
173.854 | -4.3266e-10
174.354 | -4.3246e-10
174.857 | -4.2991e-10
175.355 | -4.3282e-10
175.866 | -4.3182e-10
176.358 | -4.346e-10
176.85 | -4.3585e-10
177.352 | -4.3689e-10
177.858 | -4.3849e-10
178.362 | -4.3603e-10
178.863 | -4.3373e-10
179.36 | -4.3422e-10
179.86 | -4.3708e-10
180.351 | -4.3861e-10
180.864 | -4.3922e-10
181.357 | -4.3738e-10
181.853 | -4.3802e-10
182.362 | -4.352e-10
182.865 | -4.3468e-10
183.362 | -4.342e-10
183.853 | -4.3281e-10
184.357 | -4.3486e-10
184.867 | -4.3314e-10
185.356 | -4.3256e-10
185.86 | -4.3178e-10
186.364 | -4.3504e-10
186.853 | -4.3307e-10
187.353 | -4.3487e-10
187.85 | -4.3522e-10
188.364 | -4.3627e-10
188.855 | -4.362e-10
189.361 | -4.3534e-10
189.86 | -4.3864e-10
190.364 | -4.3686e-10
190.85 | -4.3858e-10
191.367 | -4.3661e-10
191.865 | -4.3984e-10
192.356 | -4.3653e-10
192.864 | -4.3753e-10
193.363 | -4.3889e-10
193.858 | -4.3783e-10
194.362 | -4.3582e-10
194.861 | -4.2987e-10
195.354 | -4.3208e-10
195.861 | -4.3291e-10
196.366 | -4.3282e-10
196.857 | -4.3203e-10
197.359 | -4.3258e-10
197.857 | -4.325e-10
198.368 | -4.3591e-10
198.856 | -4.3126e-10
199.361 | -4.3457e-10
199.857 | -4.3443e-10
200.355 | -4.3019e-10
200.85 | -4.2964e-10
201.369 | -4.3008e-10
201.859 | -4.3004e-10
202.352 | -4.3022e-10
202.856 | -4.3364e-10
203.357 | -4.312e-10
203.863 | -4.3049e-10
204.364 | -4.3187e-10
204.857 | -4.3022e-10
205.362 | -4.3298e-10
205.865 | -4.3051e-10
206.358 | -4.303e-10
206.855 | -4.3123e-10
207.352 | -4.2741e-10
207.855 | -4.3082e-10
208.354 | -4.2884e-10
208.851 | -4.2946e-10
209.359 | -4.3285e-10
209.86 | -4.3304e-10
210.365 | -4.2799e-10
210.864 | -4.2885e-10
211.36 | -4.3113e-10
211.858 | -4.3129e-10
212.35 | -4.2925e-10
212.861 | -4.3146e-10
213.366 | -4.3026e-10
213.86 | -4.3078e-10
214.369 | -4.326e-10
214.855 | -4.3003e-10
215.36 | -4.3447e-10
215.864 | -4.3408e-10
216.354 | -4.3078e-10
216.859 | -4.3261e-10
217.354 | -4.3221e-10
217.858 | -4.3289e-10
218.35 | -4.363e-10
218.853 | -4.3126e-10
219.369 | -4.3081e-10
219.864 | -4.3229e-10
220.351 | -4.3129e-10
220.859 | -4.3423e-10
221.351 | -4.3685e-10
221.867 | -4.3395e-10
222.35 | -4.4145e-10
222.866 | -4.4453e-10
223.365 | -4.464e-10
223.856 | -4.4363e-10
224.364 | -4.457e-10
224.852 | -4.444e-10
225.35 | -4.4472e-10
225.854 | -4.4679e-10
226.356 | -4.4581e-10
226.852 | -4.4104e-10
227.361 | -4.457e-10
227.858 | -4.4629e-10
228.364 | -4.4657e-10
228.858 | -4.5013e-10
229.496 | -4.5263e-10
229.86 | -4.5183e-10
230.35 | -4.4853e-10
230.865 | -4.5099e-10
231.365 | -4.5079e-10
231.854 | -4.52e-10
232.373 | -4.5164e-10
232.864 | -4.5219e-10
233.355 | -4.5163e-10
233.864 | -4.5111e-10
234.35 | -4.5095e-10
234.865 | -4.5394e-10
235.351 | -4.5544e-10
235.861 | -4.534e-10
236.354 | -4.5727e-10
236.862 | -4.5566e-10
237.359 | -4.5856e-10
237.861 | -4.5587e-10
238.364 | -4.5653e-10
238.862 | -4.4875e-10
239.367 | -4.5079e-10
239.87 | -4.5449e-10
240.351 | -4.5303e-10
240.865 | -4.53e-10
241.35 | -4.5263e-10
241.863 | -4.5521e-10
242.355 | -4.4258e-10
242.85 | -4.4758e-10
243.352 | -4.4617e-10
243.854 | -4.4767e-10
244.353 | -4.476e-10
244.854 | -4.4985e-10
245.362 | -4.4957e-10
245.862 | -4.4928e-10
246.353 | -4.5113e-10
246.853 | -4.5014e-10
247.359 | -4.4939e-10
247.851 | -4.6595e-10
248.351 | -4.6924e-10
248.854 | -4.6814e-10
249.361 | -4.6898e-10
249.854 | -4.6758e-10
250.363 | -4.69e-10
250.864 | -4.6791e-10
251.362 | -4.6944e-10
251.862 | -4.7459e-10
252.36 | -4.7682e-10
252.862 | -4.7509e-10
253.362 | -4.8024e-10
253.864 | -4.7887e-10
254.366 | -4.7816e-10
254.851 | -4.78e-10
255.352 | -4.8157e-10
255.853 | -4.8299e-10
256.354 | -4.9686e-10
256.856 | -4.9924e-10
257.357 | -4.87e-10
257.858 | -4.8854e-10
258.358 | -4.8944e-10
258.858 | -4.9227e-10
259.358 | -4.976e-10
259.857 | -4.961e-10
260.358 | -4.9677e-10
260.858 | -4.9824e-10
261.355 | -4.9898e-10
261.852 | -4.9373e-10
262.365 | -5.0107e-10
262.864 | -4.9881e-10
263.364 | -4.9912e-10
263.864 | -5.0307e-10
264.365 | -5.0033e-10
264.85 | -5.0159e-10
265.35 | -5.0326e-10
265.852 | -5.062e-10
266.352 | -5.1397e-10
266.852 | -5.1443e-10
267.354 | -5.1401e-10
267.855 | -5.1285e-10
268.357 | -5.2002e-10
268.856 | -5.2149e-10
269.356 | -5.1897e-10
269.857 | -5.3963e-10
270.356 | -5.4225e-10
270.856 | -5.462e-10
271.356 | -5.3404e-10
271.856 | -5.3472e-10
272.356 | -5.3152e-10
272.856 | -5.3759e-10
273.358 | -5.4168e-10
273.856 | -5.4268e-10
274.358 | -5.3856e-10
274.857 | -5.4152e-10
275.356 | -5.4542e-10
275.857 | -5.4475e-10
276.358 | -5.4458e-10
276.858 | -5.4801e-10
277.355 | -5.4981e-10
277.856 | -5.5396e-10
278.357 | -5.5035e-10
278.857 | -5.5836e-10
279.353 | -5.611e-10
279.851 | -5.6332e-10
280.363 | -5.688e-10
280.862 | -5.6325e-10
281.362 | -5.6152e-10
281.863 | -5.7384e-10
282.364 | -5.459e-10
282.865 | -5.7148e-10
283.364 | -5.8855e-10
283.866 | -5.9726e-10
284.35 | -5.929e-10
284.851 | -5.868e-10
285.351 | -5.9646e-10
285.853 | -6.0363e-10
286.354 | -6.0531e-10
286.853 | -6.0575e-10
287.353 | -5.9802e-10
287.854 | -6.0612e-10
288.355 | -6.0463e-10
288.854 | -6.1059e-10
289.355 | -6.0984e-10
289.855 | -6.098e-10
290.354 | -6.1369e-10
290.854 | -6.1525e-10
291.356 | -6.1219e-10
291.855 | -6.1036e-10
292.355 | -6.183e-10
292.855 | -6.2238e-10
293.356 | -6.2776e-10
293.854 | -6.3047e-10
294.355 | -6.3028e-10
294.856 | -6.3815e-10
295.356 | -6.3745e-10
295.855 | -6.4699e-10
296.355 | -6.5348e-10
296.855 | -6.4523e-10
297.355 | -6.4774e-10
297.856 | -6.553e-10
298.353 | -6.4881e-10
298.852 | -6.4781e-10
299.365 | -6.5288e-10
299.864 | -6.6155e-10
300.363 | -6.6515e-10
300.862 | -6.3259e-10
301.362 | -6.4013e-10
301.864 | -6.6905e-10
302.364 | -6.6664e-10
302.865 | -6.732e-10
303.365 | -6.7898e-10
303.85 | -6.8719e-10
304.35 | -6.8407e-10
304.85 | -7.0286e-10
305.352 | -6.8531e-10
305.851 | -6.7654e-10
306.354 | -6.8659e-10
306.853 | -6.9041e-10
307.354 | -6.8765e-10
307.855 | -6.7471e-10
308.353 | -7.1193e-10
308.855 | -7.0087e-10
309.353 | -7.0621e-10
309.854 | -7.0659e-10
310.354 | -7.017e-10
310.855 | -7.1505e-10
311.353 | -6.834e-10
311.853 | -6.9614e-10
312.354 | -7.5055e-10
312.853 | -7.3444e-10
313.356 | -7.2591e-10
313.854 | -7.1264e-10
314.356 | -7.2529e-10
314.855 | -7.3538e-10
315.354 | -6.8661e-10
315.855 | -7.3375e-10
316.354 | -7.3619e-10
316.855 | -7.3854e-10
317.354 | -7.3921e-10
317.855 | -7.4499e-10
318.355 | -7.4812e-10
318.854 | -7.077e-10
319.354 | -7.5616e-10
319.854 | -7.5895e-10
320.351 | -7.4903e-10
320.85 | -7.7187e-10
321.364 | -7.7399e-10
321.865 | -7.9051e-10
322.364 | -7.7661e-10
322.866 | -7.7502e-10
323.365 | -7.8717e-10
323.867 | -7.5585e-10
324.35 | -7.6205e-10
324.851 | -7.526e-10
325.353 | -8.0277e-10
325.852 | -7.8518e-10
326.354 | -8.0162e-10
326.851 | -7.6288e-10
327.354 | -8.0804e-10
327.855 | -8.4164e-10
328.356 | -7.657e-10
328.856 | -8.1116e-10
329.356 | -7.7859e-10
329.856 | -8.2003e-10
330.357 | -8.0643e-10
330.856 | -8.4947e-10
331.357 | -8.3364e-10
331.856 | -8.2242e-10
332.356 | -8.2568e-10
332.856 | -8.2308e-10
333.357 | -8.3726e-10
333.857 | -8.5476e-10
334.355 | -8.7185e-10
334.854 | -8.5896e-10
335.354 | -8.7132e-10
335.856 | -8.7622e-10
336.354 | -8.542e-10
336.854 | -8.2137e-10
337.355 | -8.7559e-10
337.854 | -8.755e-10
338.355 | -8.7946e-10
338.854 | -8.7929e-10
339.353 | -8.2691e-10
339.854 | -9.1466e-10
340.353 | -8.8939e-10
340.852 | -8.6895e-10
341.353 | -8.852e-10
341.855 | -9.0558e-10
342.354 | -8.5744e-10
342.854 | -9.0162e-10
343.353 | -9.0215e-10
343.853 | -8.9884e-10
344.353 | -9.0444e-10
344.853 | -9.3239e-10
345.353 | -9.272e-10
345.853 | -9.197e-10
346.351 | -9.2693e-10
346.865 | -9.4042e-10
347.363 | -9.4478e-10
347.864 | -9.4256e-10
348.363 | -9.428e-10
348.862 | -9.5058e-10
349.363 | -9.3679e-10
349.864 | -9.466e-10
350.365 | -9.0628e-10
350.865 | -9.5672e-10
351.363 | -9.5318e-10
351.85 | -9.4912e-10
352.351 | -9.5733e-10
352.851 | -9.84e-10
353.351 | -9.9868e-10
353.851 | -9.8494e-10
354.351 | -9.8673e-10
354.852 | -9.735e-10
355.351 | -9.8783e-10
355.851 | -9.183e-10
356.351 | -9.6787e-10
356.853 | -9.7918e-10
357.352 | -9.993e-10
357.853 | -9.8158e-10
358.355 | -9.9886e-10
358.854 | -9.9538e-10
359.354 | -1.0029e-09
359.853 | -1.0009e-09
360.353 | -9.982e-10
360.852 | -1.0051e-09
361.352 | -1.0272e-09
361.852 | -9.9906e-10
362.353 | -1.0219e-09
362.852 | -9.8937e-10
363.353 | -9.534e-10
363.852 | -1.014e-09
364.353 | -9.8909e-10
364.852 | -1.0282e-09
365.353 | -1.0163e-09
365.852 | -1.0665e-09
366.352 | -1.0228e-09
366.851 | -1.0543e-09
367.352 | -1.0537e-09
367.851 | -1.0631e-09
368.352 | -1.0655e-09
368.852 | -1.0634e-09
369.352 | -1.0863e-09
369.851 | -1.0665e-09
370.352 | -1.0733e-09
370.853 | -1.0829e-09
371.353 | -1.0721e-09
371.852 | -1.1138e-09
372.353 | -1.0943e-09
372.852 | -1.097e-09
373.352 | -1.1026e-09
373.852 | -1.0765e-09
374.352 | -1.1119e-09
374.851 | -1.0695e-09
375.351 | -1.1086e-09
375.852 | -1.0995e-09
376.352 | -1.1196e-09
376.852 | -1.1346e-09
377.351 | -1.1196e-09
377.851 | -1.1344e-09
378.352 | -1.1306e-09
378.852 | -1.1361e-09
379.352 | -1.1334e-09
379.851 | -1.0893e-09