## Settings
Sample Info | SiO2 ; 1.6mm ; Irradiated
Sample Description | Voronezh ; Run 2
Major Measurement Parameters
Starting Temperature | 340.943
Initial Temperature | 81
Final Temperature | 450
Preliminary Voltage | 2
Pulse Voltage | 2
Pulse Time | 5
Measurement Voltage | -1.25
Subsidiary Measurement Parameters
Step | 0.5
Accuracy Step | 0.1
Accuracy Stable | 2
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 10
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 5
Measurecount | 1

## Stabilization
Temperature | Current
339.856 | 6.4942e-06
338.734 | 6.3777e-06
337.418 | 6.0456e-06
336.485 | 6.3881e-06
335.453 | 6.6422e-06
334.497 | 6.612e-06
333.523 | 6.5662e-06
332.6 | 6.9478e-06
331.65 | 6.8796e-06
330.695 | 7.2631e-06
329.851 | 7.0871e-06
328.921 | 7.1655e-06
328.059 | 7.2448e-06
327.184 | 7.2676e-06
326.323 | 7.1057e-06
325.315 | 7.3051e-06
324.373 | 7.2588e-06
323.567 | 6.9267e-06
322.699 | 7.1815e-06
321.939 | 7.492e-06
321.136 | 7.2544e-06
320.319 | 7.4163e-06
319.538 | 7.6883e-06
318.752 | 7.4186e-06
317.995 | 7.3756e-06
317.02 | 7.4585e-06
316.162 | 7.4494e-06
315.352 | 7.4598e-06
314.528 | 7.7308e-06
313.741 | 7.5102e-06
312.95 | 7.5256e-06
312.18 | 7.5708e-06
311.38 | 7.7425e-06
310.616 | 7.8482e-06
309.83 | 7.827e-06
309.065 | 7.8579e-06
308.294 | 7.8407e-06
307.541 | 7.7658e-06
306.765 | 7.6376e-06
306.008 | 7.6213e-06
305.241 | 7.6346e-06
304.501 | 7.8773e-06
303.715 | 7.0269e-06
302.982 | 6.9031e-06
302.248 | 7.2405e-06
301.472 | 7.3792e-06
300.754 | 7.3624e-06
300.005 | 7.2124e-06
299.23 | 7.3836e-06
298.471 | 7.4164e-06
297.715 | 7.2008e-06
296.926 | 7.275e-06
296.226 | 7.4945e-06
295.46 | 7.2316e-06
294.691 | 6.9691e-06
293.97 | 7.4474e-06
293.198 | 7.291e-06
292.463 | 7.4234e-06
291.7 | 7.3487e-06
290.935 | 7.6053e-06
290.225 | 7.616e-06
289.42 | 7.5939e-06
288.682 | 7.4705e-06
287.95 | 7.3788e-06
287.244 | 7.4674e-06
286.499 | 7.29e-06
285.748 | 7.2541e-06
285.021 | 7.0265e-06
284.273 | 7.074e-06
283.562 | 7.1883e-06
282.809 | 6.9144e-06
282.098 | 7.1681e-06
281.357 | 7.2931e-06
280.647 | 7.1227e-06
279.9 | 6.9368e-06
279.2 | 6.9496e-06
278.457 | 6.9956e-06
277.73 | 7.0417e-06
277.016 | 7.1425e-06
276.316 | 7.0028e-06
275.577 | 6.9601e-06
274.877 | 6.9236e-06
274.084 | 6.8391e-06
273.374 | 6.9577e-06
272.697 | 6.8339e-06
271.966 | 6.9143e-06
271.292 | 7.1007e-06
270.563 | 7.1465e-06
269.875 | 6.9206e-06
269.173 | 6.988e-06
268.418 | 6.755e-06
267.742 | 6.8764e-06
266.953 | 6.6389e-06
266.313 | 6.7562e-06
265.565 | 7.0327e-06
264.914 | 6.767e-06
264.168 | 6.764e-06
263.484 | 6.8392e-06
262.759 | 6.5388e-06
262.04 | 6.7425e-06
261.35 | 6.8263e-06
260.6 | 6.6652e-06
259.884 | 6.7299e-06
259.168 | 6.6942e-06
258.466 | 6.1571e-06
257.742 | 6.4844e-06
257.048 | 6.5442e-06
256.335 | 6.448e-06
255.639 | 6.3503e-06
254.931 | 6.1888e-06
254.25 | 6.4197e-06
253.546 | 6.1854e-06
252.868 | 6.3115e-06
252.178 | 6.1825e-06
251.526 | 6.3987e-06
250.84 | 6.2289e-06
250.191 | 6.429e-06
249.519 | 6.2402e-06
248.846 | 6.1184e-06
248.241 | 6.0812e-06
247.58 | 6.1264e-06
246.922 | 6.1343e-06
246.318 | 6.094e-06
245.66 | 5.8666e-06
245.025 | 6.0603e-06
244.369 | 5.8621e-06
243.724 | 5.854e-06
243.059 | 5.9705e-06
242.425 | 6.0202e-06
241.759 | 5.8712e-06
241.089 | 5.8489e-06
240.458 | 6.0839e-06
239.788 | 6.0565e-06
239.17 | 5.9059e-06
238.482 | 6.0174e-06
237.82 | 5.85e-06
237.232 | 6.0223e-06
236.538 | 5.8098e-06
235.916 | 5.9945e-06
235.271 | 5.4435e-06
234.593 | 5.4537e-06
233.959 | 5.8419e-06
233.301 | 5.7337e-06
232.628 | 5.3657e-06
231.987 | 5.2595e-06
231.316 | 5.9264e-06
230.635 | 5.6042e-06
230.005 | 5.6006e-06
229.34 | 5.7035e-06
228.64 | 5.6701e-06
228.068 | 5.6402e-06
227.369 | 5.3089e-06
226.65 | 5.5196e-06
226.014 | 5.379e-06
225.36 | 5.4113e-06
224.626 | 5.5009e-06
223.883 | 5.3092e-06
223.203 | 5.4048e-06
222.598 | 5.4525e-06
221.895 | 5.2299e-06
221.142 | 5.1193e-06
220.494 | 5.3539e-06
219.876 | 5.3115e-06
219.127 | 5.2496e-06
218.43 | 5.2883e-06
217.794 | 5.2787e-06
217.096 | 5.4392e-06
216.391 | 5.1684e-06
215.709 | 5.4539e-06
215.072 | 5.248e-06
214.366 | 5.315e-06
213.707 | 5.2743e-06
213.053 | 5.0667e-06
212.346 | 4.9967e-06
211.637 | 4.9403e-06
210.986 | 5.1471e-06
210.309 | 5.1934e-06
209.617 | 5.1586e-06
208.94 | 5.1731e-06
208.31 | 5.1937e-06
207.609 | 5.3572e-06
206.867 | 5.3663e-06
206.171 | 5.1512e-06
205.582 | 4.9822e-06
204.878 | 4.8656e-06
204.126 | 5.5755e-06
203.396 | 5.424e-06
202.802 | 5.2198e-06
202.103 | 4.8733e-06
201.222 | 5.2073e-06
200.358 | 5.0853e-06
199.74 | 5.1616e-06
199.185 | 5.0764e-06
198.474 | 5.0849e-06
197.468 | 5.091e-06
196.445 | 4.8913e-06
195.749 | 5.0963e-06
195.202 | 5.1367e-06
194.555 | 5.0192e-06
193.643 | 4.7242e-06
192.657 | 4.968e-06
191.854 | 4.7869e-06
191.252 | 4.9402e-06
190.668 | 5.0125e-06
189.891 | 4.7913e-06
189.002 | 4.873e-06
188.147 | 4.8092e-06
187.516 | 4.8339e-06
186.923 | 5.0623e-06
186.209 | 4.7909e-06
185.295 | 4.8694e-06
184.494 | 4.7498e-06
183.899 | 4.6476e-06
183.295 | 4.6825e-06
182.349 | 4.6987e-06
181.21 | 4.6494e-06
180.405 | 4.7208e-06
179.645 | 4.6445e-06
179.036 | 4.6776e-06
178.328 | 4.7264e-06
177.568 | 4.666e-06
176.855 | 4.6863e-06
176.303 | 4.5433e-06
175.752 | 4.5736e-06
175.041 | 4.6978e-06
174.151 | 4.6399e-06
173.534 | 4.6029e-06
173.042 | 4.9577e-06
172.521 | 4.5437e-06
171.81 | 4.7173e-06
171.114 | 4.8272e-06
170.561 | 4.6541e-06
170.062 | 4.7186e-06
169.364 | 4.338e-06
168.393 | 4.5226e-06
167.59 | 4.3854e-06
166.996 | 4.4299e-06
166.444 | 4.3047e-06
165.703 | 4.3942e-06
164.678 | 4.4205e-06
163.89 | 4.7182e-06
163.263 | 4.6368e-06
162.725 | 4.2311e-06
162.113 | 4.5448e-06
161.403 | 4.3266e-06
160.779 | 4.437e-06
160.309 | 4.2162e-06
159.768 | 4.4404e-06
159.049 | 4.381e-06
158.293 | 4.3912e-06
157.762 | 4.4913e-06
157.284 | 4.1669e-06
156.706 | 4.3492e-06
155.735 | 4.1901e-06
154.885 | 4.1802e-06
154.144 | 4.1659e-06
153.54 | 4.2036e-06
152.869 | 4.2033e-06
151.843 | 4.2501e-06
150.927 | 4.2437e-06
150.322 | 4.1564e-06
149.849 | 4.294e-06
149.333 | 4.4739e-06
148.499 | 4.2781e-06
147.743 | 4.4064e-06
147.227 | 4.257e-06
146.753 | 4.1967e-06
145.914 | 4.1871e-06
144.889 | 4.2868e-06
144.215 | 4.1568e-06
143.703 | 4.2652e-06
143.214 | 4.2527e-06
142.475 | 4.1864e-06
141.862 | 4.0866e-06
141.427 | 4.315e-06
141.011 | 4.2616e-06
140.494 | 4.1307e-06
139.616 | 3.8779e-06
138.847 | 4.0438e-06
138.267 | 4.106e-06
137.792 | 4.0157e-06
137.248 | 3.9805e-06
136.279 | 3.9474e-06
135.418 | 3.8715e-06
134.765 | 3.8271e-06
134.28 | 3.884e-06
133.729 | 3.746e-06
133.108 | 3.7346e-06
132.591 | 3.8506e-06
132.214 | 3.7442e-06
131.799 | 3.7386e-06
130.751 | 3.8304e-06
129.589 | 3.9401e-06
128.743 | 3.9579e-06
128.19 | 3.8119e-06
127.743 | 3.9607e-06
127.101 | 3.7308e-06
126.123 | 3.6678e-06
125.392 | 3.7114e-06
124.946 | 3.7653e-06
124.55 | 3.7704e-06
123.962 | 3.6204e-06
123.088 | 3.8092e-06
122.454 | 3.4902e-06
122.074 | 3.6551e-06
121.729 | 3.7006e-06
120.85 | 3.638e-06
119.681 | 3.5246e-06
118.858 | 3.6109e-06
118.38 | 3.9723e-06
118.036 | 3.8131e-06
117.44 | 3.8031e-06
116.495 | 3.6231e-06
115.847 | 3.5378e-06
115.483 | 3.4282e-06
115.192 | 3.5084e-06
114.506 | 3.5305e-06
113.4 | 3.6148e-06
112.741 | 3.6628e-06
112.401 | 3.6453e-06
112.128 | 3.6867e-06
111.451 | 3.6703e-06
110.355 | 3.5915e-06
109.674 | 3.72e-06
109.361 | 3.5872e-06
109.108 | 3.6263e-06
108.332 | 3.5481e-06
107.302 | 3.6524e-06
106.714 | 3.4974e-06
106.453 | 3.4583e-06
106.19 | 3.4662e-06
105.186 | 3.3968e-06
104.203 | 3.6281e-06
103.67 | 3.3861e-06
103.472 | 3.4441e-06
103.244 | 3.4009e-06
102.26 | 3.4538e-06
101.029 | 3.4711e-06
100.464 | 3.4823e-06
100.279 | 3.3268e-06
100.095 | 3.4451e-06
99.4342 | 3.4165e-06
98.7103 | 3.3916e-06
98.4736 | 3.4279e-06
98.4062 | 3.5194e-06
97.4284 | 3.5338e-06
95.8793 | 3.5007e-06
95.1277 | 3.6507e-06
94.9589 | 3.592e-06
94.9571 | 3.5655e-06
93.0151 | 3.5454e-06
91.0825 | 3.5064e-06
90.6434 | 3.482e-06
90.6517 | 3.4759e-06
90.6907 | 3.3538e-06
87.0433 | 3.3578e-06
85.7698 | 3.3321e-06
86.197 | 3.1986e-06
86.4982 | 3.2733e-06
86.6787 | 3.2877e-06
84.3908 | 3.3069e-06
83.2259 | 3.2098e-06
83.5165 | 3.1248e-06
83.8341 | 3.1982e-06
84.0889 | 3.2276e-06
81.8312 | 3.2091e-06
80.8763 | 3.2555e-06
80.4341 | 3.3049e-06
80.3305 | 3.1987e-06
80.4472 | 3.0595e-06
80.2484 | 3.2489e-06
80.1825 | 3.14e-06
80.2021 | 3.253e-06
80.24 | 3.238e-06
80.1663 | 3.1649e-06

## Measurements
Temperature | Current
80.1921 | -4.5348e-10
80.5006 | -4.1949e-10
81.005 | -4.1492e-10
81.5134 | -4.0177e-10
82.0502 | -4.1203e-10
82.5333 | -4.1307e-10
83.0032 | -4.1972e-10
83.5342 | -4.2443e-10
84.1052 | -4.2013e-10
84.6277 | -4.2174e-10
85.0281 | -4.3221e-10
85.5208 | -4.3027e-10
86.0625 | -4.295e-10
86.5851 | -4.2403e-10
87.0586 | -4.2951e-10
87.5097 | -4.3083e-10
87.9979 | -4.3483e-10
88.4938 | -4.3391e-10
89.0131 | -4.3821e-10
89.5238 | -4.43e-10
90.14 | -4.4438e-10
90.6821 | -4.4352e-10
91.165 | -4.4416e-10
91.5728 | -4.5086e-10
92.0098 | -4.5106e-10
92.5325 | -4.5296e-10
93.0502 | -4.5378e-10
93.5253 | -4.5391e-10
94.0032 | -4.5813e-10
94.4957 | -4.6267e-10
94.9938 | -4.6037e-10
95.4963 | -4.6308e-10
96.0028 | -4.6269e-10
96.499 | -4.6567e-10
97.0028 | -4.6047e-10
97.4931 | -4.6675e-10
97.9975 | -4.6725e-10
98.5035 | -4.6961e-10
99.0069 | -4.636e-10
99.4922 | -4.6573e-10
100.008 | -4.776e-10
100.511 | -4.7714e-10
101.001 | -4.7664e-10
101.508 | -4.7876e-10
101.993 | -4.7884e-10
102.497 | -4.8416e-10
103.005 | -4.7829e-10
103.501 | -4.805e-10
103.996 | -4.8517e-10
104.501 | -4.8178e-10
104.997 | -4.8741e-10
105.503 | -4.9531e-10
105.999 | -4.9191e-10
106.502 | -4.9217e-10
106.996 | -4.946e-10
107.509 | -5.0328e-10
107.997 | -5.0247e-10
108.499 | -5.0771e-10
108.995 | -5.0544e-10
109.499 | -5.0086e-10
109.993 | -5.0363e-10
110.497 | -5.1153e-10
111.011 | -5.0675e-10
111.498 | -5.1241e-10
112.001 | -5.1133e-10
112.503 | -5.1112e-10
113 | -5.1221e-10
113.503 | -5.1388e-10
113.998 | -5.2943e-10
114.505 | -5.2616e-10
115.004 | -5.2524e-10
115.499 | -5.2727e-10
116.006 | -5.2976e-10
116.5 | -5.3017e-10
116.996 | -5.2791e-10
117.503 | -5.393e-10
117.995 | -5.3861e-10
118.503 | -5.4563e-10
119 | -5.3658e-10
119.494 | -5.408e-10
120.005 | -5.4269e-10
120.499 | -5.4449e-10
120.993 | -5.5716e-10
121.5 | -5.5175e-10
121.997 | -5.5316e-10
122.494 | -5.5736e-10
123 | -5.5662e-10
123.505 | -5.5368e-10
123.997 | -5.601e-10
124.497 | -5.6716e-10
125.002 | -5.7724e-10
125.496 | -5.6227e-10
126.003 | -5.7093e-10
126.501 | -5.7774e-10
126.996 | -5.6747e-10
127.495 | -5.7672e-10
127.999 | -5.802e-10
128.494 | -5.8657e-10
129.009 | -5.9215e-10
129.509 | -5.8119e-10
129.996 | -5.7824e-10
130.505 | -5.8627e-10
130.996 | -5.87e-10
131.498 | -5.8215e-10
132.002 | -5.9811e-10
132.498 | -5.9998e-10
133.005 | -6.0751e-10
133.498 | -5.9603e-10
134.005 | -6.1005e-10
134.505 | -5.9969e-10
135.002 | -6.0395e-10
135.496 | -6.1146e-10
136.005 | -6.1189e-10
136.506 | -6.2689e-10
136.996 | -6.2611e-10
137.503 | -6.1475e-10
138.003 | -6.1622e-10
138.497 | -6.2617e-10
139.004 | -6.3503e-10
139.505 | -6.3761e-10
140.01 | -6.2532e-10
140.508 | -6.37e-10
140.995 | -6.3781e-10
141.495 | -6.3348e-10
142.006 | -6.4699e-10
142.498 | -6.4894e-10
143.003 | -6.5505e-10
143.5 | -6.5757e-10
144.003 | -6.4945e-10
144.497 | -6.4669e-10
145 | -6.4673e-10
145.507 | -6.6013e-10
146.002 | -6.6322e-10
146.495 | -6.692e-10
146.998 | -6.6554e-10
147.507 | -6.7119e-10
147.998 | -6.6514e-10
148.5 | -6.769e-10
149.004 | -6.7962e-10
149.499 | -6.8106e-10
150.004 | -6.898e-10
150.509 | -6.7483e-10
150.993 | -6.8191e-10
151.501 | -6.7695e-10
151.998 | -6.9356e-10
152.496 | -6.9732e-10
153.002 | -6.9636e-10
153.499 | -6.8976e-10
154.004 | -6.9045e-10
154.493 | -7.0125e-10
154.999 | -7.0785e-10
155.498 | -7.007e-10
156.008 | -7.0923e-10
156.507 | -7.1699e-10
157.005 | -7.1351e-10
157.497 | -7.1275e-10
157.994 | -7.2194e-10
158.502 | -7.18e-10
159.003 | -7.0305e-10
159.504 | -7.1922e-10
159.998 | -7.2624e-10
160.502 | -7.3143e-10
160.997 | -7.2263e-10
161.505 | -7.3091e-10
161.997 | -7.4015e-10
162.507 | -7.4772e-10
163.007 | -7.4519e-10
163.507 | -7.5037e-10
163.998 | -7.4428e-10
164.496 | -7.5793e-10
164.993 | -7.4936e-10
165.506 | -7.573e-10
166.003 | -7.5698e-10
166.499 | -7.6305e-10
167.001 | -7.6734e-10
167.498 | -7.7068e-10
168.01 | -7.7544e-10
168.495 | -7.7558e-10
168.993 | -7.81e-10
169.512 | -7.8736e-10
170.004 | -7.8936e-10
170.498 | -7.896e-10
171.01 | -7.878e-10
171.509 | -7.979e-10
171.999 | -7.809e-10
172.496 | -8.0668e-10
173.01 | -8.0188e-10
173.508 | -8.1374e-10
173.998 | -8.1543e-10
174.496 | -8.1421e-10
175.003 | -8.1688e-10
175.511 | -8.1989e-10
175.993 | -8.2641e-10
176.5 | -8.2667e-10
176.993 | -8.2889e-10
177.507 | -8.197e-10
178 | -8.3601e-10
178.496 | -8.3793e-10
179.007 | -8.3613e-10
179.508 | -8.4914e-10
180.006 | -8.5049e-10
180.496 | -8.6294e-10
181.009 | -8.5916e-10
181.51 | -8.5256e-10
182.001 | -8.6459e-10
182.502 | -8.5657e-10
183.007 | -8.6688e-10
183.505 | -8.7502e-10
183.999 | -8.7087e-10
184.501 | -8.7361e-10
184.996 | -8.8945e-10
185.508 | -8.8939e-10
185.996 | -9.0043e-10
186.498 | -8.8938e-10
186.997 | -8.9343e-10
187.501 | -8.9671e-10
187.994 | -9.0936e-10
188.498 | -8.6833e-10
189.008 | -8.5139e-10
189.493 | -8.6225e-10
189.996 | -8.6221e-10
190.5 | -8.6928e-10
190.999 | -8.6256e-10
191.5 | -8.6114e-10
192 | -8.7963e-10
192.499 | -8.746e-10
193.007 | -8.8009e-10
193.502 | -8.8473e-10
194.005 | -8.8867e-10
194.505 | -8.8767e-10
194.996 | -8.8614e-10
195.497 | -8.9842e-10
196.011 | -8.9766e-10
196.5 | -9.0132e-10
196.994 | -8.9388e-10
197.507 | -9.0025e-10
198.001 | -9.0368e-10
198.496 | -9.1289e-10
199 | -9.0599e-10
199.5 | -9.0647e-10
199.998 | -9.205e-10
200.499 | -9.1916e-10
201.007 | -9.1586e-10
201.508 | -9.2343e-10
202 | -9.2399e-10
202.497 | -9.2776e-10
203.008 | -9.3926e-10
203.498 | -9.2898e-10
203.994 | -9.4061e-10
204.499 | -9.511e-10
205.002 | -9.4616e-10
205.506 | -9.4648e-10
206.008 | -9.4851e-10
206.496 | -9.5645e-10
206.999 | -9.5675e-10
207.501 | -9.5879e-10
208.003 | -9.6737e-10
208.504 | -9.8098e-10
208.998 | -9.7018e-10
209.498 | -9.7424e-10
210.001 | -9.715e-10
210.495 | -9.7879e-10
211.001 | -9.7644e-10
211.502 | -9.8787e-10
212.004 | -9.8996e-10
212.496 | -9.966e-10
213.011 | -9.8614e-10
213.505 | -9.9957e-10
213.996 | -9.9636e-10
214.496 | -1.0014e-09
214.994 | -1.0059e-09
215.496 | -1.0167e-09
216.001 | -1.0164e-09
216.495 | -1.0333e-09
217.011 | -1.0151e-09
217.496 | -1.0115e-09
218.003 | -1.0147e-09
218.505 | -1.0164e-09
218.997 | -1.021e-09
219.494 | -1.09e-09
219.994 | -1.0854e-09
220.512 | -1.0858e-09
220.993 | -1.0995e-09
221.511 | -1.0998e-09
222.006 | -1.0982e-09
222.513 | -1.0959e-09
223 | -1.1088e-09
223.504 | -1.1061e-09
224.007 | -1.0722e-09
224.5 | -1.0412e-09
225.005 | -1.0585e-09
225.497 | -1.0696e-09
226.003 | -1.057e-09
226.5 | -1.0632e-09
227.013 | -1.0656e-09
227.508 | -1.0748e-09
227.995 | -1.0762e-09
228.501 | -1.0768e-09
229 | -1.0688e-09
229.503 | -1.0841e-09
230.001 | -1.0778e-09
230.497 | -1.0839e-09
231.003 | -1.0906e-09
231.497 | -1.092e-09
231.995 | -1.0906e-09
232.499 | -1.0987e-09
232.995 | -1.1152e-09
233.498 | -1.1273e-09
233.995 | -1.1895e-09
234.506 | -1.1829e-09
235.007 | -1.1798e-09
235.497 | -1.1997e-09
235.993 | -1.1903e-09
236.496 | -1.2024e-09
237.002 | -1.2168e-09
237.495 | -1.2108e-09
238.008 | -1.2112e-09
238.504 | -1.2263e-09
239.005 | -1.2256e-09
239.504 | -1.2367e-09
240.006 | -1.2329e-09
240.507 | -1.2386e-09
241.008 | -1.2364e-09
241.494 | -1.2406e-09
241.997 | -1.2571e-09
242.499 | -1.1739e-09
242.999 | -1.1558e-09
243.503 | -1.2218e-09
244.004 | -1.2421e-09
244.5 | -1.2357e-09
244.997 | -1.2567e-09
245.496 | -1.1661e-09
245.995 | -1.185e-09
246.494 | -1.2593e-09
246.996 | -1.2479e-09
247.498 | -1.2557e-09
248 | -1.2514e-09
248.5 | -1.2572e-09
249.002 | -1.2526e-09
249.503 | -1.2691e-09
250.002 | -1.2822e-09
250.505 | -1.2714e-09
251.005 | -1.2757e-09
251.507 | -1.2931e-09
252.007 | -1.2988e-09
252.506 | -1.2084e-09
253.007 | -1.2254e-09
253.508 | -1.2205e-09
254.007 | -1.2158e-09
254.507 | -1.225e-09
255.005 | -1.2259e-09
255.506 | -1.2259e-09
256.008 | -1.2358e-09
256.506 | -1.3231e-09
257.008 | -1.31e-09
257.508 | -1.294e-09
258.008 | -1.2807e-09
258.506 | -1.2637e-09
259.007 | -1.3054e-09
259.507 | -1.3212e-09
260.007 | -1.3067e-09
260.507 | -1.3343e-09
261.009 | -1.2665e-09
261.501 | -1.2643e-09
261.997 | -1.2751e-09
262.497 | -1.3507e-09
262.996 | -1.3715e-09
263.495 | -1.3586e-09
263.996 | -1.3026e-09
264.496 | -1.3708e-09
264.997 | -1.3646e-09
265.498 | -1.284e-09
266.001 | -1.3703e-09
266.5 | -1.3766e-09
267.001 | -1.3947e-09
267.502 | -1.373e-09
268.002 | -1.3177e-09
268.503 | -1.3237e-09
269.004 | -1.312e-09
269.504 | -1.4842e-09
270.004 | -1.468e-09
270.504 | -1.3731e-09
271.005 | -1.373e-09
271.505 | -1.4643e-09
272.005 | -1.4703e-09
272.505 | -1.4013e-09
273.006 | -1.368e-09
273.506 | -1.4783e-09
274.006 | -1.4624e-09
274.506 | -1.3478e-09
275.007 | -1.4438e-09
275.506 | -1.4727e-09
276.006 | -1.3823e-09
276.506 | -1.3957e-09
277.005 | -1.5024e-09
277.506 | -1.4437e-09
278.005 | -1.4848e-09
278.506 | -1.4854e-09
279.005 | -1.4448e-09
279.5 | -1.384e-09
279.997 | -1.5042e-09
280.495 | -1.4999e-09
280.995 | -1.4722e-09
281.495 | -1.5254e-09
281.995 | -1.5198e-09
282.495 | -1.5244e-09
282.997 | -1.507e-09
283.497 | -1.5116e-09
283.998 | -1.526e-09
284.5 | -1.442e-09
285.002 | -1.503e-09
285.501 | -1.5281e-09
286.002 | -1.5461e-09
286.503 | -1.5467e-09
287.003 | -1.5568e-09
287.503 | -1.5588e-09
288.005 | -1.5664e-09
288.504 | -1.6144e-09
289.004 | -1.6398e-09
289.504 | -1.6437e-09
290.004 | -1.6497e-09
290.506 | -1.6413e-09
291.005 | -1.6353e-09
291.505 | -1.5523e-09
292.005 | -1.4764e-09
292.504 | -1.5984e-09
293.005 | -1.6043e-09
293.505 | -1.6259e-09
294.005 | -1.6109e-09
294.505 | -1.5768e-09
295.005 | -1.5014e-09
295.505 | -1.5139e-09
296.007 | -1.6285e-09
296.506 | -1.4635e-09
297.004 | -1.6285e-09
297.505 | -1.6115e-09
298.005 | -1.6022e-09
298.504 | -1.6052e-09
298.999 | -1.5967e-09
299.497 | -1.6885e-09
299.996 | -1.6483e-09
300.495 | -1.6274e-09
300.994 | -1.6893e-09
301.495 | -1.5427e-09
301.998 | -1.7105e-09
302.498 | -1.5968e-09
302.999 | -1.6592e-09
303.499 | -1.6412e-09
303.999 | -1.665e-09
304.501 | -1.6277e-09
305.001 | -1.644e-09
305.5 | -1.6687e-09
306.002 | -1.6625e-09
306.503 | -1.712e-09
307.005 | -1.6857e-09
307.504 | -1.6663e-09
308.004 | -1.6673e-09
308.504 | -1.6989e-09
309.005 | -1.6386e-09
309.506 | -1.6632e-09
310.006 | -1.7257e-09
310.506 | -1.6745e-09
311.006 | -1.7017e-09
311.505 | -1.6943e-09
312.005 | -1.6101e-09
312.506 | -1.7132e-09
313.005 | -1.7025e-09
313.505 | -1.7654e-09
314.005 | -1.7081e-09
314.505 | -1.7378e-09
315.005 | -1.6437e-09
315.504 | -1.7682e-09
316.006 | -1.6975e-09
316.505 | -1.7305e-09
317.004 | -1.7325e-09
317.505 | -1.6927e-09
318.005 | -1.5666e-09
318.506 | -1.6852e-09
319.005 | -1.7435e-09
319.504 | -1.6938e-09
320.004 | -1.7657e-09
320.502 | -1.6093e-09
320.997 | -1.768e-09
321.498 | -1.7366e-09
321.997 | -1.7431e-09
322.498 | -1.7578e-09
322.999 | -1.6468e-09
323.498 | -1.6475e-09
323.999 | -1.7715e-09
324.499 | -1.7385e-09
325.001 | -1.7271e-09
325.501 | -1.7e-09
326 | -1.7094e-09
326.501 | -1.662e-09
327.002 | -1.7068e-09
327.502 | -1.626e-09
328.003 | -1.7076e-09
328.504 | -1.7818e-09
329.005 | -1.7275e-09
329.502 | -1.7608e-09
330.004 | -1.7285e-09
330.503 | -1.6215e-09
331.004 | -1.727e-09
331.504 | -1.6794e-09
332.005 | -1.7394e-09
332.505 | -1.6381e-09
333.005 | -1.8306e-09
333.504 | -1.7525e-09
334.006 | -1.7581e-09
334.506 | -1.8151e-09
335.006 | -1.8027e-09
335.505 | -1.7944e-09
336.004 | -1.8065e-09
336.505 | -1.8079e-09
337.005 | -1.7736e-09
337.506 | -1.6836e-09
338.004 | -1.8032e-09
338.505 | -1.7757e-09
339.004 | -1.7435e-09
339.505 | -1.8354e-09
340.005 | -1.8584e-09
340.504 | -1.8827e-09
341.005 | -1.7462e-09
341.506 | -1.7405e-09
342.006 | -1.762e-09
342.505 | -1.8857e-09
343.004 | -1.8729e-09
343.505 | -1.6988e-09
344.004 | -1.7008e-09
344.505 | -1.8214e-09
345.004 | -1.8391e-09
345.504 | -1.8042e-09
346.004 | -1.8925e-09
346.5 | -1.8677e-09
346.998 | -1.833e-09
347.496 | -1.9228e-09
347.997 | -1.8328e-09
348.496 | -1.8228e-09
348.997 | -1.8282e-09
349.496 | -1.7815e-09
349.997 | -1.8465e-09
350.499 | -1.904e-09
350.999 | -1.8065e-09
351.499 | -1.8015e-09
351.998 | -1.8923e-09
352.5 | -1.7974e-09
352.999 | -1.9015e-09
353.499 | -1.7734e-09
354.001 | -1.7648e-09
354.501 | -1.772e-09
355.001 | -1.7554e-09
355.503 | -1.8726e-09
356.003 | -1.9309e-09
356.503 | -1.8764e-09
357.002 | -1.8361e-09
357.502 | -1.8677e-09
358.002 | -1.8864e-09
358.502 | -1.8751e-09
359.001 | -1.9313e-09
359.503 | -1.8007e-09
360.003 | -1.7639e-09
360.503 | -1.9042e-09
361.003 | -1.91e-09
361.503 | -1.8216e-09
362.001 | -1.9024e-09
362.502 | -1.8332e-09
363.004 | -1.7992e-09
363.503 | -1.8867e-09
364.002 | -1.9264e-09
364.503 | -1.9173e-09
365.003 | -1.9646e-09
365.501 | -1.932e-09
366.002 | -1.978e-09
366.503 | -1.8858e-09
367.002 | -1.8256e-09
367.502 | -1.9401e-09
368.002 | -1.9599e-09
368.502 | -1.8401e-09
369.002 | -1.9573e-09
369.501 | -1.9394e-09
370.002 | -1.9291e-09
370.501 | -1.9547e-09
371.002 | -1.9548e-09
371.501 | -1.9003e-09
372.001 | -1.9565e-09
372.502 | -1.9471e-09
373.002 | -1.8921e-09
373.501 | -1.9418e-09
374.002 | -1.8864e-09
374.502 | -1.8913e-09
375.002 | -1.9557e-09
375.502 | -1.8856e-09
376.001 | -1.9914e-09
376.5 | -1.9157e-09
377.001 | -1.9883e-09
377.5 | -1.9882e-09
378.001 | -1.9982e-09
378.502 | -1.9989e-09
379.001 | -2.021e-09
379.503 | -2.0038e-09
380.002 | -2.0088e-09
380.501 | -2.0367e-09
381.001 | -2.0597e-09
381.502 | -2.0376e-09
382.002 | -2.0255e-09
382.502 | -1.9707e-09
383.002 | -2.0107e-09
383.5 | -2.0962e-09
384.001 | -2.0759e-09
384.501 | -2.0024e-09
385.001 | -2.0507e-09
385.499 | -2.0248e-09
386.001 | -2.0383e-09
386.501 | -1.9799e-09
387.001 | -2.0886e-09
387.501 | -2.0653e-09
388.001 | -2.0819e-09
388.501 | -2.1055e-09
389.001 | -2.1562e-09
389.501 | -1.9097e-09
390.002 | -1.9517e-09
390.497 | -1.8776e-09
390.994 | -1.8393e-09
391.493 | -1.755e-09
392.008 | -1.808e-09
392.493 | -1.8403e-09
393.009 | -1.8179e-09
393.493 | -1.8827e-09
393.994 | -1.9209e-09
394.495 | -1.8371e-09
394.995 | -1.8913e-09
395.497 | -1.9282e-09
395.997 | -1.9011e-09
396.498 | -1.8668e-09
396.998 | -1.8714e-09
397.498 | -1.9154e-09
397.998 | -1.8349e-09
398.499 | -1.9479e-09
398.998 | -1.9359e-09
399.5 | -1.8219e-09
399.999 | -1.9264e-09
400.501 | -1.9371e-09
401 | -1.8884e-09
401.5 | -1.9114e-09
402 | -1.8969e-09
402.502 | -1.9584e-09
403 | -1.9737e-09
403.501 | -1.9358e-09
404 | -1.9361e-09
404.5 | -1.944e-09
405.002 | -1.9943e-09
405.502 | -1.9249e-09
406.001 | -1.9993e-09
406.502 | -2.0014e-09
407 | -2.3583e-09
407.501 | -2.3238e-09
408 | -2.2875e-09
408.5 | -2.2693e-09
409.001 | -2.3245e-09
409.501 | -2.3321e-09
409.999 | -2.3352e-09
410.5 | -2.3344e-09
411.002 | -2.3284e-09
411.501 | -2.3613e-09
412.002 | -2.3986e-09
412.501 | -2.4582e-09
413 | -2.3392e-09
413.501 | -2.413e-09
414 | -2.3864e-09
414.5 | -2.3369e-09
415.002 | -2.4167e-09
415.502 | -2.3938e-09
416.002 | -2.3662e-09
416.502 | -2.3742e-09
417.002 | -2.4177e-09
417.5 | -2.4922e-09
418 | -2.4254e-09
418.501 | -2.4408e-09
419.001 | -2.4355e-09
419.501 | -2.3982e-09
420.001 | -2.4271e-09
420.5 | -2.4275e-09
421.001 | -2.3086e-09
421.502 | -2.3334e-09
422 | -2.3148e-09
422.501 | -2.2887e-09
422.999 | -2.4956e-09
423.499 | -2.4923e-09
424 | -2.5266e-09
424.499 | -2.5828e-09
425 | -2.4906e-09
425.5 | -2.2581e-09
425.996 | -2.246e-09
426.509 | -2.2515e-09
427.007 | -2.2336e-09
427.507 | -2.1875e-09
428.006 | -2.1835e-09
428.508 | -2.2586e-09
429.008 | -2.2866e-09
429.509 | -2.2338e-09
429.993 | -2.2562e-09
430.494 | -2.5179e-09
430.994 | -2.5608e-09
431.496 | -2.5672e-09
431.995 | -2.5899e-09
432.496 | -2.5637e-09
432.997 | -2.2115e-09
433.496 | -2.5631e-09
433.998 | -2.5275e-09
434.497 | -2.5732e-09
434.999 | -2.5711e-09
435.498 | -2.5851e-09
435.998 | -2.2353e-09
436.499 | -2.1793e-09
436.999 | -2.5593e-09
437.498 | -2.5476e-09
437.999 | -2.516e-09
438.498 | -2.4956e-09
438.998 | -2.4964e-09
439.497 | -2.5094e-09
439.997 | -2.1979e-09
440.499 | -2.2511e-09
440.999 | -2.5712e-09
441.498 | -2.487e-09
441.996 | -2.5537e-09
442.497 | -2.5717e-09
442.996 | -2.5685e-09
443.496 | -2.5349e-09
443.998 | -2.6134e-09
444.497 | -2.5798e-09
444.997 | -2.6565e-09
445.497 | -2.6403e-09
445.996 | -2.6249e-09
446.498 | -2.6548e-09
446.997 | -2.7072e-09
447.496 | -2.8427e-09
447.996 | -2.715e-09
448.497 | -2.7063e-09
448.995 | -2.7736e-09
449.497 | -2.5793e-09
449.996 | -2.5584e-09