## Settings
Sample Info | SiO2 ; 1.6mm ; Irradiated
Sample Description | Voronezh ; Run 3
Major Measurement Parameters
Starting Temperature | 402.516
Initial Temperature | 81
Final Temperature | 450
Preliminary Voltage | 2
Pulse Voltage | 2
Pulse Time | 5
Measurement Voltage | -0.8
Subsidiary Measurement Parameters
Step | 0.5
Accuracy Step | 0.1
Accuracy Stable | 2
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 10
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 5
Measurecount | 1

## Stabilization
Temperature | Current
401.065 | 1.0568e-05
399.981 | 1.1064e-05
398.905 | 1.0925e-05
397.904 | 1.0697e-05
396.907 | 1.0789e-05
395.896 | 1.0735e-05
394.959 | 1.0324e-05
393.985 | 1.0775e-05
393.058 | 1.0461e-05
392.103 | 1.0562e-05
391.185 | 1.0461e-05
390.238 | 1.0222e-05
389.3 | 1.0657e-05
388.402 | 1.0852e-05
387.456 | 1.0909e-05
386.504 | 1.0621e-05
385.599 | 1.0694e-05
384.727 | 1.0904e-05
383.834 | 1.1234e-05
382.944 | 1.1597e-05
382.098 | 1.1423e-05
381.225 | 1.1027e-05
380.391 | 1.1248e-05
379.537 | 1.0864e-05
378.679 | 1.0978e-05
377.867 | 1.1318e-05
376.851 | 1.0648e-05
375.85 | 1.0652e-05
374.888 | 1.0673e-05
373.911 | 1.1321e-05
372.955 | 1.1095e-05
371.989 | 1.1162e-05
371.045 | 1.1165e-05
370.081 | 1.0894e-05
369.11 | 1.0941e-05
368.131 | 1.0801e-05
367.187 | 1.0438e-05
366.22 | 1.0855e-05
365.276 | 1.0625e-05
364.292 | 1.0787e-05
363.34 | 1.0574e-05
362.361 | 1.0414e-05
361.362 | 1.1204e-05
360.393 | 1.0802e-05
359.413 | 1.0922e-05
358.501 | 1.0851e-05
357.332 | 1.1198e-05
356.39 | 1.1604e-05
355.363 | 1.1217e-05
354.358 | 1.104e-05
353.302 | 1.107e-05
351.818 | 1.1271e-05
350.911 | 1.1067e-05
349.553 | 1.1186e-05
348.588 | 1.1406e-05
347.511 | 1.1249e-05
346.49 | 1.1139e-05
345.418 | 1.1069e-05
344.391 | 1.114e-05
343.341 | 1.1193e-05
342.319 | 1.1129e-05
341.329 | 1.1009e-05
340.295 | 1.0566e-05
338.931 | 1.1077e-05
337.875 | 1.0867e-05
336.877 | 1.0935e-05
335.781 | 1.0989e-05
334.746 | 1.0882e-05
333.705 | 1.0718e-05
332.646 | 1.0606e-05
331.677 | 1.0509e-05
330.532 | 1.0438e-05
329.598 | 1.0578e-05
328.514 | 1.0342e-05
327.633 | 1.0049e-05
326.653 | 1.0145e-05
325.685 | 1.0177e-05
324.719 | 1.0434e-05
323.764 | 1.0334e-05
322.817 | 1.0306e-05
321.872 | 1.0198e-05
320.939 | 1.005e-05
320.014 | 1.0113e-05
319.107 | 1.005e-05
317.976 | 1.0018e-05
317.09 | 9.8754e-06
316.177 | 9.8175e-06
315.28 | 1.016e-05
314.385 | 1.0119e-05
313.494 | 9.9973e-06
312.608 | 9.8339e-06
311.738 | 9.9621e-06
310.837 | 1.0058e-05
309.963 | 9.8447e-06
309.095 | 9.714e-06
308.245 | 9.7357e-06
307.407 | 9.891e-06
306.574 | 1.015e-05
305.714 | 9.9513e-06
304.873 | 1.0048e-05
304.049 | 9.7379e-06
303.195 | 9.863e-06
302.415 | 1.0021e-05
301.572 | 9.9174e-06
300.753 | 9.9509e-06
299.931 | 9.8487e-06
299.116 | 9.7278e-06
298.287 | 9.8517e-06
297.476 | 9.6044e-06
296.647 | 9.8234e-06
295.841 | 9.9291e-06
295.02 | 9.8476e-06
294.201 | 9.7697e-06
293.409 | 9.5054e-06
292.589 | 9.5658e-06
291.791 | 9.5602e-06
290.987 | 9.258e-06
290.184 | 9.3061e-06
289.381 | 9.2944e-06
288.592 | 9.3672e-06
287.802 | 9.4218e-06
287.04 | 9.277e-06
286.262 | 9.7097e-06
285.475 | 9.2652e-06
284.708 | 9.3496e-06
283.917 | 9.3941e-06
283.144 | 9.2682e-06
282.376 | 9.3104e-06
281.613 | 9.3485e-06
280.857 | 9.29e-06
280.137 | 9.2252e-06
279.37 | 9.3952e-06
278.625 | 9.2184e-06
277.905 | 9.1911e-06
277.147 | 9.1517e-06
276.414 | 9.1979e-06
275.689 | 9.1415e-06
274.979 | 9.3207e-06
274.263 | 9.0311e-06
273.542 | 8.8481e-06
272.813 | 9.0338e-06
272.135 | 8.9427e-06
271.351 | 8.9668e-06
270.703 | 8.9481e-06
269.985 | 8.8885e-06
269.273 | 8.9695e-06
268.576 | 9.0734e-06
267.859 | 8.8947e-06
267.177 | 9.0893e-06
266.461 | 9.1298e-06
265.772 | 9.1807e-06
265.075 | 8.9813e-06
264.361 | 8.8778e-06
263.711 | 8.8373e-06
262.97 | 8.7986e-06
262.358 | 8.7539e-06
261.496 | 8.7626e-06
260.788 | 8.6723e-06
260.03 | 8.8201e-06
259.33 | 8.7654e-06
258.576 | 8.6841e-06
257.832 | 8.7111e-06
257.171 | 8.8344e-06
256.39 | 8.678e-06
255.742 | 8.743e-06
255.039 | 8.4488e-06
254.335 | 8.637e-06
253.715 | 8.6845e-06
252.962 | 8.8935e-06
252.243 | 8.7111e-06
251.637 | 8.5761e-06
250.948 | 8.6085e-06
250.237 | 8.6092e-06
249.563 | 8.6521e-06
248.84 | 8.529e-06
248.163 | 8.5379e-06
247.539 | 8.399e-06
246.78 | 8.4011e-06
246.102 | 8.4158e-06
245.478 | 8.4373e-06
244.804 | 8.2802e-06
244.064 | 8.4323e-06
243.346 | 8.5776e-06
242.76 | 8.6231e-06
242.045 | 8.6374e-06
241.345 | 8.3746e-06
240.676 | 8.3619e-06
239.849 | 8.4446e-06
239.065 | 8.4693e-06
238.311 | 8.4208e-06
237.564 | 8.4074e-06
236.812 | 8.4852e-06
235.983 | 8.4125e-06
234.961 | 8.3757e-06
234.211 | 8.3016e-06
233.427 | 8.2654e-06
232.537 | 8.2923e-06
231.541 | 8.625e-06
230.635 | 8.3653e-06
229.941 | 8.2724e-06
229.109 | 8.2662e-06
228.132 | 8.3443e-06
227.213 | 8.0653e-06
226.453 | 8.2535e-06
225.65 | 8.4188e-06
224.558 | 8.1823e-06
223.514 | 8.3394e-06
222.728 | 8.3274e-06
221.978 | 8.3075e-06
220.919 | 8.1706e-06
219.765 | 7.9468e-06
218.863 | 8.1371e-06
218.056 | 8.2169e-06
217.263 | 8.1127e-06
216.289 | 8.199e-06
215.039 | 8.1558e-06
214.158 | 8.2448e-06
213.453 | 8.1976e-06
212.577 | 8.1419e-06
211.582 | 8.0855e-06
210.727 | 8.1485e-06
209.922 | 8.1705e-06
208.765 | 7.8592e-06
207.517 | 8.1305e-06
206.662 | 7.8891e-06
205.915 | 7.9131e-06
205.052 | 8.0001e-06
203.823 | 7.9047e-06
202.714 | 7.911e-06
201.937 | 8.0099e-06
201.141 | 7.8404e-06
200.31 | 7.8595e-06
199.522 | 7.9302e-06
198.704 | 7.7601e-06
197.652 | 7.9235e-06
196.624 | 7.7301e-06
195.928 | 7.771e-06
195.156 | 7.8256e-06
193.881 | 7.8305e-06
192.32 | 7.7011e-06
191.216 | 7.7256e-06
190.291 | 7.5876e-06
189.448 | 7.3999e-06
188.083 | 7.6135e-06
186.94 | 7.6224e-06
186.121 | 7.4769e-06
185.389 | 7.7327e-06
184.416 | 7.4378e-06
183.143 | 7.4888e-06
182.208 | 7.503e-06
181.438 | 7.4176e-06
180.618 | 7.2704e-06
179.446 | 7.3293e-06
178.521 | 7.1113e-06
177.831 | 7.2325e-06
177.023 | 7.2537e-06
175.691 | 7.2645e-06
174.378 | 7.2927e-06
173.465 | 7.1794e-06
172.688 | 7.255e-06
171.779 | 7.1505e-06
170.404 | 7.1362e-06
169.228 | 7.168e-06
168.205 | 7.0742e-06
167.397 | 7.0564e-06
166.483 | 7.1311e-06
165.537 | 7.064e-06
164.876 | 6.8233e-06
164.296 | 7.1662e-06
163.193 | 7.0733e-06
162.072 | 6.7969e-06
161.126 | 6.7899e-06
160.389 | 6.8203e-06
159.487 | 6.7672e-06
158.552 | 6.682e-06
157.922 | 6.7147e-06
157.185 | 6.7688e-06
155.919 | 6.7898e-06
154.866 | 6.7043e-06
154.131 | 6.7756e-06
153.458 | 6.7082e-06
152.187 | 6.6756e-06
151.118 | 6.5191e-06
150.267 | 6.5222e-06
149.608 | 6.5001e-06
148.687 | 6.4271e-06
147.159 | 6.4941e-06
145.833 | 6.3962e-06
144.983 | 6.4005e-06
144.229 | 6.4027e-06
143.015 | 6.3271e-06
141.7 | 6.3794e-06
140.862 | 6.2538e-06
140.187 | 6.4959e-06
139.254 | 6.3933e-06
137.852 | 6.2894e-06
136.911 | 6.2448e-06
136.245 | 6.2491e-06
135.273 | 6.2891e-06
133.728 | 6.1476e-06
132.575 | 6.2214e-06
131.866 | 6.319e-06
131.14 | 6.1699e-06
129.73 | 6.0859e-06
128.535 | 6.1202e-06
127.826 | 6.0371e-06
127.235 | 6.0692e-06
125.954 | 5.9903e-06
124.6 | 5.9214e-06
123.828 | 6.0102e-06
123.302 | 5.8088e-06
122.297 | 5.809e-06
120.749 | 5.5658e-06
119.756 | 5.6933e-06
119.198 | 5.7122e-06
118.269 | 5.6141e-06
116.687 | 5.67e-06
115.572 | 5.5732e-06
115.051 | 5.5279e-06
114.324 | 5.5105e-06
112.653 | 5.6226e-06
111.306 | 5.6508e-06
110.7 | 5.4827e-06
110.257 | 5.3984e-06
108.523 | 5.5663e-06
106.957 | 5.4033e-06
106.234 | 5.553e-06
105.84 | 5.4929e-06
104.659 | 5.3051e-06
103.823 | 5.4101e-06
103.507 | 5.329e-06
102.732 | 5.2522e-06
100.859 | 5.3698e-06
99.7172 | 5.3403e-06
99.3876 | 5.3829e-06
98.6831 | 5.4515e-06
96.4506 | 5.4656e-06
95.1784 | 5.3857e-06
94.8932 | 5.2826e-06
94.1757 | 5.3054e-06
90.4617 | 5.0971e-06
89.6488 | 5.2127e-06
89.728 | 4.9973e-06
89.2942 | 5.118e-06
84.6927 | 4.9941e-06
85.125 | 5.1428e-06
85.5466 | 5.1007e-06
85.3115 | 5.0188e-06
82.2475 | 4.9082e-06
81.6447 | 5.0138e-06
81.8316 | 4.9387e-06
82.0695 | 4.8249e-06
80.9888 | 4.9507e-06
80.4653 | 4.8939e-06
80.2915 | 4.8855e-06
80.3051 | 4.8331e-06
80.3495 | 4.8254e-06
80.3045 | 4.8342e-06
86.4982 | 3.2733e-06
86.6787 | 3.2877e-06
84.3908 | 3.3069e-06
83.2259 | 3.2098e-06
83.5165 | 3.1248e-06
83.8341 | 3.1982e-06
84.0889 | 3.2276e-06
81.8312 | 3.2091e-06
80.8763 | 3.2555e-06
80.4341 | 3.3049e-06
80.3305 | 3.1987e-06
80.4472 | 3.0595e-06
80.2484 | 3.2489e-06
80.1825 | 3.14e-06
80.2021 | 3.253e-06
80.24 | 3.238e-06
80.1663 | 3.1649e-06
198.18 | 3.4423e-06
197.178 | 3.4024e-06
195.67 | 3.3415e-06
194.018 | 3.1659e-06
192.488 | 3.3176e-06
191.375 | 3.2766e-06
190.509 | 3.5424e-06
189.374 | 3.5529e-06
187.738 | 3.6954e-06
186.151 | 3.4275e-06
184.933 | 3.3483e-06
183.919 | 3.4381e-06
182.861 | 3.5067e-06
181.296 | 3.3387e-06
179.65 | 3.2885e-06
178.301 | 3.2385e-06
177.273 | 3.29e-06
176.075 | 3.2264e-06
174.33 | 3.1379e-06
172.54 | 3.166e-06
171.131 | 3.1226e-06
170.084 | 3.1226e-06
169.252 | 2.9293e-06
168.225 | 2.8931e-06
166.581 | 2.9956e-06
165.014 | 3.0393e-06
163.842 | 2.7526e-06
162.965 | 2.947e-06
162.212 | 2.883e-06
160.776 | 2.8384e-06
159.141 | 2.7474e-06
157.898 | 2.9896e-06
156.936 | 2.7031e-06
156.214 | 2.8367e-06
155.206 | 2.7058e-06
153.726 | 2.8455e-06
152.27 | 2.7413e-06
151.198 | 2.8682e-06
150.357 | 2.708e-06
149.163 | 2.6931e-06
147.474 | 2.6752e-06
145.849 | 2.8536e-06
144.669 | 2.6601e-06
143.759 | 2.7793e-06
142.583 | 2.6358e-06
140.833 | 2.6799e-06
139.162 | 2.6868e-06
137.989 | 2.6608e-06
137.183 | 2.6938e-06
136.186 | 2.5993e-06
134.407 | 2.6261e-06
132.506 | 2.5419e-06
131.148 | 2.4668e-06
130.288 | 2.3246e-06
129.434 | 2.435e-06
127.661 | 2.5649e-06
125.741 | 2.3132e-06
124.344 | 2.3183e-06
123.517 | 2.2593e-06
122.746 | 2.2523e-06
120.868 | 2.2831e-06
118.427 | 2.3875e-06
116.451 | 2.4039e-06
115.344 | 2.2583e-06
114.785 | 2.2932e-06
113.573 | 2.2781e-06
110.903 | 2.1966e-06
108.48 | 2.2034e-06
107.034 | 2.2062e-06
106.416 | 2.2106e-06
105.818 | 2.2607e-06
103.783 | 2.0354e-06
101.519 | 2.2215e-06
100.021 | 2.2438e-06
99.4296 | 2.1556e-06
99.0065 | 2.0724e-06
96.5238 | 2.0665e-06
92.4324 | 2.077e-06
91.2244 | 2.1221e-06
90.9936 | 2.0849e-06
91.0139 | 2.1114e-06
85.3405 | 2.1383e-06
82.8791 | 2.0512e-06
82.6305 | 2.0775e-06
82.8482 | 2.0218e-06
83.125 | 2.0387e-06
81.6132 | 2.045e-06
81.1193 | 1.9613e-06
80.8439 | 1.8829e-06
80.6825 | 1.8255e-06
80.607 | 1.8342e-06
80.6232 | 1.7696e-06
80.7002 | 1.8406e-06
80.7841 | 1.7715e-06
80.8011 | 1.7971e-06
80.6963 | 1.7124e-06
202.619 | -2.6919e-10
201.374 | -2.693e-10
200.329 | -2.7204e-10
199.499 | -2.7021e-10
198.807 | -2.712e-10
198.013 | -2.7132e-10
196.846 | -2.7076e-10
195.627 | -2.7048e-10
194.491 | -2.7171e-10
193.554 | -2.7143e-10
192.729 | -2.6939e-10
192.071 | -2.7075e-10
191.387 | -2.7218e-10
190.336 | -2.7226e-10
189.137 | -2.7049e-10
188.062 | -2.7089e-10
187.147 | -2.7199e-10
186.383 | -2.718e-10
185.703 | -2.7203e-10
184.796 | -2.716e-10
183.579 | -2.7168e-10
182.385 | -2.7219e-10
181.386 | -2.6926e-10
180.589 | -2.7265e-10
179.879 | -2.7261e-10
179.119 | -2.7171e-10
177.867 | -2.7107e-10
176.458 | -2.7287e-10
175.217 | -2.7263e-10
174.22 | -2.7101e-10
173.398 | -2.7079e-10
172.734 | -2.6969e-10
171.963 | -2.699e-10
170.91 | -2.7063e-10
169.992 | -2.7062e-10
169.197 | -2.6912e-10
168.557 | -2.7122e-10
167.969 | -2.7114e-10
167.224 | -2.7063e-10
166.207 | -2.7118e-10
165.268 | -2.7199e-10
164.514 | -2.7158e-10
163.885 | -2.7161e-10
163.28 | -2.7183e-10
162.404 | -2.7124e-10
161.182 | -2.7074e-10
160.009 | -2.6955e-10
159.04 | -2.7077e-10
158.349 | -2.7024e-10
157.767 | -2.6982e-10
157.147 | -2.7081e-10
156.196 | -2.6963e-10
155.077 | -2.705e-10
154.109 | -2.7159e-10
153.372 | -2.7111e-10
152.826 | -2.7186e-10
152.321 | -2.7216e-10
151.492 | -2.7026e-10
150.377 | -2.7029e-10
149.387 | -2.7102e-10
148.608 | -2.7044e-10
148.024 | -2.7215e-10
147.541 | -2.7223e-10
146.934 | -2.7131e-10
145.822 | -2.7127e-10
144.538 | -2.7181e-10
143.388 | -2.7215e-10
142.53 | -2.7141e-10
141.921 | -2.6991e-10
141.383 | -2.7231e-10
140.767 | -2.7017e-10
139.706 | -2.717e-10
138.457 | -2.7213e-10
137.35 | -2.7039e-10
136.554 | -2.6929e-10
136.005 | -2.7035e-10
135.541 | -2.7301e-10
134.871 | -2.7089e-10
133.715 | -2.7142e-10
132.619 | -2.7255e-10
131.722 | -2.7076e-10
131.109 | -2.7098e-10
130.649 | -2.7103e-10
130.12 | -2.7245e-10
129.074 | -2.7097e-10
127.669 | -2.7105e-10
126.538 | -2.7164e-10
125.727 | -2.7062e-10
125.215 | -2.6945e-10
124.835 | -2.7062e-10
124.237 | -2.6991e-10
123.029 | -2.7163e-10
121.708 | -2.7196e-10
120.641 | -2.7069e-10
119.991 | -2.6964e-10
119.603 | -2.7183e-10
119.285 | -2.6982e-10
118.513 | -2.7004e-10
117.149 | -2.7037e-10
115.852 | -2.6982e-10
114.924 | -2.6936e-10
114.416 | -2.6883e-10
114.117 | -2.7062e-10
113.807 | -2.7057e-10
112.831 | -2.7159e-10
111.578 | -2.7198e-10
110.555 | -2.7036e-10
109.949 | -2.7117e-10
109.629 | -2.7041e-10
109.394 | -2.7062e-10
108.318 | -2.7133e-10
106.726 | -2.6971e-10
105.266 | -2.6953e-10
104.353 | -2.6995e-10
103.937 | -2.7063e-10
103.751 | -2.706e-10
103.372 | -2.7071e-10
102.153 | -2.6886e-10
100.695 | -2.7101e-10
99.7244 | -2.72e-10
99.2789 | -2.7165e-10
99.1355 | 8.5794e-10
99.0381 | 1.2078e-10
97.8087 | -2.3984e-10
95.8208 | -2.7073e-10
93.9938 | -2.7244e-10
93.2814 | -2.7083e-10
93.0898 | -2.6868e-10
93.0791 | -2.6826e-10
92.679 | -2.6833e-10
88.9324 | -2.6869e-10
85.8211 | -2.6923e-10
86.228 | -2.6957e-10
86.4658 | -2.716e-10
86.7096 | -2.6975e-10
86.9659 | -2.7002e-10
85.7294 | -2.7055e-10
83.0776 | -2.7116e-10
82.4975 | -2.7107e-10
82.5656 | -2.6984e-10
82.7691 | -2.7069e-10
83.0431 | -2.6963e-10
82.4792 | -2.6995e-10
81.3277 | -2.7171e-10
80.7882 | -2.6897e-10
80.5356 | -2.7168e-10
80.4168 | -2.6947e-10
80.4008 | -2.6905e-10
80.216 | -2.6961e-10
80.281 | -2.7172e-10
80.297 | -2.7135e-10
80.2999 | -2.6977e-10
80.3096 | -2.7147e-10

## Measurements
Temperature | Current
80.3987 | -3.5584e-10
80.7017 | -3.3542e-10
81.202 | -3.3567e-10
81.7293 | -3.3539e-10
82.4438 | -3.3479e-10
82.5333 | -4.1307e-10
83.0032 | -4.1972e-10
83.5342 | -4.2443e-10
84.1052 | -4.2013e-10
84.6277 | -4.2174e-10
85.0281 | -4.3221e-10
85.5208 | -4.3027e-10
86.0625 | -4.295e-10
86.5851 | -4.2403e-10
87.0586 | -4.2951e-10
87.5097 | -4.3083e-10
87.9979 | -4.3483e-10
88.4938 | -4.3391e-10
89.0131 | -4.3821e-10
89.5238 | -4.43e-10
90.14 | -4.4438e-10
90.6821 | -4.4352e-10
91.165 | -4.4416e-10
91.5728 | -4.5086e-10
92.0098 | -4.5106e-10
92.5325 | -4.5296e-10
93.0502 | -4.5378e-10
93.5253 | -4.5391e-10
94.0032 | -4.5813e-10
94.4957 | -4.6267e-10
94.9938 | -4.6037e-10
95.4963 | -4.6308e-10
96.0028 | -4.6269e-10
96.499 | -4.6567e-10
97.0028 | -4.6047e-10
97.4931 | -4.6675e-10
97.9975 | -4.6725e-10
98.5035 | -4.6961e-10
99.0069 | -4.636e-10
99.4922 | -4.6573e-10
100.008 | -4.776e-10
100.511 | -4.7714e-10
101.001 | -4.7664e-10
101.508 | -4.7876e-10
101.993 | -4.7884e-10
102.497 | -4.8416e-10
103.005 | -4.7829e-10
103.501 | -4.805e-10
103.996 | -4.8517e-10
104.501 | -4.8178e-10
104.997 | -4.8741e-10
105.503 | -4.9531e-10
105.999 | -4.9191e-10
106.502 | -4.9217e-10
106.996 | -4.946e-10
107.509 | -5.0328e-10
107.997 | -5.0247e-10
108.499 | -5.0771e-10
108.995 | -5.0544e-10
109.499 | -5.0086e-10
109.993 | -5.0363e-10
110.497 | -5.1153e-10
111.011 | -5.0675e-10
111.498 | -5.1241e-10
112.001 | -5.1133e-10
112.503 | -5.1112e-10
113 | -5.1221e-10
113.503 | -5.1388e-10
113.998 | -5.2943e-10
114.505 | -5.2616e-10
115.004 | -5.2524e-10
115.499 | -5.2727e-10
116.006 | -5.2976e-10
116.5 | -5.3017e-10
116.996 | -5.2791e-10
117.503 | -5.393e-10
117.995 | -5.3861e-10
118.503 | -5.4563e-10
119 | -5.3658e-10
119.494 | -5.408e-10
120.005 | -5.4269e-10
120.499 | -5.4449e-10
120.993 | -5.5716e-10
121.5 | -5.5175e-10
121.997 | -5.5316e-10
122.494 | -5.5736e-10
123 | -5.5662e-10
123.505 | -5.5368e-10
123.997 | -5.601e-10
124.497 | -5.6716e-10
125.002 | -5.7724e-10
125.496 | -5.6227e-10
126.003 | -5.7093e-10
126.501 | -5.7774e-10
126.996 | -5.6747e-10
127.495 | -5.7672e-10
127.999 | -5.802e-10
128.494 | -5.8657e-10
129.009 | -5.9215e-10
129.509 | -5.8119e-10
129.996 | -5.7824e-10
130.505 | -5.8627e-10
130.996 | -5.87e-10
131.498 | -5.8215e-10
132.002 | -5.9811e-10
132.498 | -5.9998e-10
133.005 | -6.0751e-10
133.498 | -5.9603e-10
134.005 | -6.1005e-10
134.505 | -5.9969e-10
135.002 | -6.0395e-10
135.496 | -6.1146e-10
136.005 | -6.1189e-10
136.506 | -6.2689e-10
136.996 | -6.2611e-10
137.503 | -6.1475e-10
138.003 | -6.1622e-10
138.497 | -6.2617e-10
139.004 | -6.3503e-10
139.505 | -6.3761e-10
140.01 | -6.2532e-10
140.508 | -6.37e-10
140.995 | -6.3781e-10
141.495 | -6.3348e-10
142.006 | -6.4699e-10
142.498 | -6.4894e-10
143.003 | -6.5505e-10
143.5 | -6.5757e-10
144.003 | -6.4945e-10
144.497 | -6.4669e-10
145 | -6.4673e-10
145.507 | -6.6013e-10
146.002 | -6.6322e-10
146.495 | -6.692e-10
146.998 | -6.6554e-10
147.507 | -6.7119e-10
147.998 | -6.6514e-10
148.5 | -6.769e-10
149.004 | -6.7962e-10
149.499 | -6.8106e-10
150.004 | -6.898e-10
150.509 | -6.7483e-10
150.993 | -6.8191e-10
151.501 | -6.7695e-10
151.998 | -6.9356e-10
152.496 | -6.9732e-10
153.002 | -6.9636e-10
153.499 | -6.8976e-10
154.004 | -6.9045e-10
154.493 | -7.0125e-10
154.999 | -7.0785e-10
155.498 | -7.007e-10
156.008 | -7.0923e-10
156.507 | -7.1699e-10
157.005 | -7.1351e-10
157.497 | -7.1275e-10
157.994 | -7.2194e-10
158.502 | -7.18e-10
159.003 | -7.0305e-10
159.504 | -7.1922e-10
159.998 | -7.2624e-10
160.502 | -7.3143e-10
160.997 | -7.2263e-10
161.505 | -7.3091e-10
161.997 | -7.4015e-10
162.507 | -7.4772e-10
163.007 | -7.4519e-10
163.507 | -7.5037e-10
163.998 | -7.4428e-10
164.496 | -7.5793e-10
164.993 | -7.4936e-10
165.506 | -7.573e-10
166.003 | -7.5698e-10
166.499 | -7.6305e-10
167.001 | -7.6734e-10
167.498 | -7.7068e-10
168.01 | -7.7544e-10
168.495 | -7.7558e-10
168.993 | -7.81e-10
169.512 | -7.8736e-10
170.004 | -7.8936e-10
170.498 | -7.896e-10
171.01 | -7.878e-10
171.509 | -7.979e-10
171.999 | -7.809e-10
172.496 | -8.0668e-10
173.01 | -8.0188e-10
173.508 | -8.1374e-10
173.998 | -8.1543e-10
174.496 | -8.1421e-10
175.003 | -8.1688e-10
175.511 | -8.1989e-10
175.993 | -8.2641e-10
176.5 | -8.2667e-10
176.993 | -8.2889e-10
177.507 | -8.197e-10
178 | -8.3601e-10
178.496 | -8.3793e-10
179.007 | -8.3613e-10
179.508 | -8.4914e-10
180.006 | -8.5049e-10
180.496 | -8.6294e-10
181.009 | -8.5916e-10
181.51 | -8.5256e-10
182.001 | -8.6459e-10
182.502 | -8.5657e-10
183.007 | -8.6688e-10
183.505 | -8.7502e-10
183.999 | -8.7087e-10
184.501 | -8.7361e-10
184.996 | -8.8945e-10
185.508 | -8.8939e-10
185.996 | -9.0043e-10
186.498 | -8.8938e-10
186.997 | -8.9343e-10
187.501 | -8.9671e-10
187.994 | -9.0936e-10
188.498 | -8.6833e-10
189.008 | -8.5139e-10
189.493 | -8.6225e-10
189.996 | -8.6221e-10
190.5 | -8.6928e-10
190.999 | -8.6256e-10
191.5 | -8.6114e-10
192 | -8.7963e-10
192.499 | -8.746e-10
193.007 | -8.8009e-10
193.502 | -8.8473e-10
194.005 | -8.8867e-10
194.505 | -8.8767e-10
194.996 | -8.8614e-10
195.497 | -8.9842e-10
196.011 | -8.9766e-10
196.5 | -9.0132e-10
196.994 | -8.9388e-10
197.507 | -9.0025e-10
198.001 | -9.0368e-10
198.496 | -9.1289e-10
199 | -9.0599e-10
199.5 | -9.0647e-10
199.998 | -9.205e-10
200.499 | -9.1916e-10
201.007 | -9.1586e-10
201.508 | -9.2343e-10
202 | -9.2399e-10
202.497 | -9.2776e-10
203.008 | -9.3926e-10
203.498 | -9.2898e-10
203.994 | -9.4061e-10
204.499 | -9.511e-10
205.002 | -9.4616e-10
205.506 | -9.4648e-10
206.008 | -9.4851e-10
206.496 | -9.5645e-10
206.999 | -9.5675e-10
207.501 | -9.5879e-10
208.003 | -9.6737e-10
208.504 | -9.8098e-10
208.998 | -9.7018e-10
209.498 | -9.7424e-10
210.001 | -9.715e-10
210.495 | -9.7879e-10
211.001 | -9.7644e-10
211.502 | -9.8787e-10
212.004 | -9.8996e-10
212.496 | -9.966e-10
213.011 | -9.8614e-10
213.505 | -9.9957e-10
213.996 | -9.9636e-10
214.496 | -1.0014e-09
214.994 | -1.0059e-09
215.496 | -1.0167e-09
216.001 | -1.0164e-09
216.495 | -1.0333e-09
217.011 | -1.0151e-09
217.496 | -1.0115e-09
218.003 | -1.0147e-09
218.505 | -1.0164e-09
218.997 | -1.021e-09
219.494 | -1.09e-09
219.994 | -1.0854e-09
220.512 | -1.0858e-09
220.993 | -1.0995e-09
221.511 | -1.0998e-09
222.006 | -1.0982e-09
222.513 | -1.0959e-09
223 | -1.1088e-09
223.504 | -1.1061e-09
224.007 | -1.0722e-09
224.5 | -1.0412e-09
225.005 | -1.0585e-09
225.497 | -1.0696e-09
226.003 | -1.057e-09
226.5 | -1.0632e-09
227.013 | -1.0656e-09
227.508 | -1.0748e-09
227.995 | -1.0762e-09
228.501 | -1.0768e-09
229 | -1.0688e-09
229.503 | -1.0841e-09
230.001 | -1.0778e-09
230.497 | -1.0839e-09
231.003 | -1.0906e-09
231.497 | -1.092e-09
231.995 | -1.0906e-09
232.499 | -1.0987e-09
232.995 | -1.1152e-09
233.498 | -1.1273e-09
233.995 | -1.1895e-09
234.506 | -1.1829e-09
235.007 | -1.1798e-09
235.497 | -1.1997e-09
235.993 | -1.1903e-09
236.496 | -1.2024e-09
237.002 | -1.2168e-09
237.495 | -1.2108e-09
238.008 | -1.2112e-09
238.504 | -1.2263e-09
239.005 | -1.2256e-09
239.504 | -1.2367e-09
240.006 | -1.2329e-09
240.507 | -1.2386e-09
241.008 | -1.2364e-09
241.494 | -1.2406e-09
241.997 | -1.2571e-09
242.499 | -1.1739e-09
242.999 | -1.1558e-09
243.503 | -1.2218e-09
244.004 | -1.2421e-09
244.5 | -1.2357e-09
244.997 | -1.2567e-09
245.496 | -1.1661e-09
245.995 | -1.185e-09
246.494 | -1.2593e-09
246.996 | -1.2479e-09
247.498 | -1.2557e-09
248 | -1.2514e-09
248.5 | -1.2572e-09
249.002 | -1.2526e-09
249.503 | -1.2691e-09
250.002 | -1.2822e-09
250.505 | -1.2714e-09
251.005 | -1.2757e-09
251.507 | -1.2931e-09
252.007 | -1.2988e-09
252.506 | -1.2084e-09
253.007 | -1.2254e-09
253.508 | -1.2205e-09
254.007 | -1.2158e-09
254.507 | -1.225e-09
255.005 | -1.2259e-09
255.506 | -1.2259e-09
256.008 | -1.2358e-09
256.506 | -1.3231e-09
257.008 | -1.31e-09
257.508 | -1.294e-09
258.008 | -1.2807e-09
258.506 | -1.2637e-09
259.007 | -1.3054e-09
259.507 | -1.3212e-09
260.007 | -1.3067e-09
260.507 | -1.3343e-09
261.009 | -1.2665e-09
261.501 | -1.2643e-09
261.997 | -1.2751e-09
262.497 | -1.3507e-09
262.996 | -1.3715e-09
263.495 | -1.3586e-09
263.996 | -1.3026e-09
264.496 | -1.3708e-09
264.997 | -1.3646e-09
265.498 | -1.284e-09
266.001 | -1.3703e-09
266.5 | -1.3766e-09
267.001 | -1.3947e-09
267.502 | -1.373e-09
268.002 | -1.3177e-09
268.503 | -1.3237e-09
269.004 | -1.312e-09
269.504 | -1.4842e-09
270.004 | -1.468e-09
270.504 | -1.3731e-09
271.005 | -1.373e-09
271.505 | -1.4643e-09
272.005 | -1.4703e-09
272.505 | -1.4013e-09
273.006 | -1.368e-09
273.506 | -1.4783e-09
274.006 | -1.4624e-09
274.506 | -1.3478e-09
275.007 | -1.4438e-09
275.506 | -1.4727e-09
276.006 | -1.3823e-09
276.506 | -1.3957e-09
277.005 | -1.5024e-09
277.506 | -1.4437e-09
278.005 | -1.4848e-09
278.506 | -1.4854e-09
279.005 | -1.4448e-09
279.5 | -1.384e-09
279.997 | -1.5042e-09
280.495 | -1.4999e-09
280.995 | -1.4722e-09
281.495 | -1.5254e-09
281.995 | -1.5198e-09
282.495 | -1.5244e-09
282.997 | -1.507e-09
283.497 | -1.5116e-09
283.998 | -1.526e-09
284.5 | -1.442e-09
285.002 | -1.503e-09
285.501 | -1.5281e-09
286.002 | -1.5461e-09
286.503 | -1.5467e-09
287.003 | -1.5568e-09
287.503 | -1.5588e-09
288.005 | -1.5664e-09
288.504 | -1.6144e-09
289.004 | -1.6398e-09
289.504 | -1.6437e-09
290.004 | -1.6497e-09
290.506 | -1.6413e-09
291.005 | -1.6353e-09
291.505 | -1.5523e-09
292.005 | -1.4764e-09
292.504 | -1.5984e-09
293.005 | -1.6043e-09
293.505 | -1.6259e-09
294.005 | -1.6109e-09
294.505 | -1.5768e-09
295.005 | -1.5014e-09
295.505 | -1.5139e-09
296.007 | -1.6285e-09
296.506 | -1.4635e-09
297.004 | -1.6285e-09
297.505 | -1.6115e-09
298.005 | -1.6022e-09
298.504 | -1.6052e-09
298.999 | -1.5967e-09
299.497 | -1.6885e-09
299.996 | -1.6483e-09
300.495 | -1.6274e-09
300.994 | -1.6893e-09
301.495 | -1.5427e-09
301.998 | -1.7105e-09
302.498 | -1.5968e-09
302.999 | -1.6592e-09
303.499 | -1.6412e-09
303.999 | -1.665e-09
304.501 | -1.6277e-09
305.001 | -1.644e-09
305.5 | -1.6687e-09
306.002 | -1.6625e-09
306.503 | -1.712e-09
307.005 | -1.6857e-09
307.504 | -1.6663e-09
308.004 | -1.6673e-09
308.504 | -1.6989e-09
309.005 | -1.6386e-09
309.506 | -1.6632e-09
310.006 | -1.7257e-09
310.506 | -1.6745e-09
311.006 | -1.7017e-09
311.505 | -1.6943e-09
312.005 | -1.6101e-09
312.506 | -1.7132e-09
313.005 | -1.7025e-09
313.505 | -1.7654e-09
314.005 | -1.7081e-09
314.505 | -1.7378e-09
315.005 | -1.6437e-09
315.504 | -1.7682e-09
316.006 | -1.6975e-09
316.505 | -1.7305e-09
317.004 | -1.7325e-09
317.505 | -1.6927e-09
318.005 | -1.5666e-09
318.506 | -1.6852e-09
319.005 | -1.7435e-09
319.504 | -1.6938e-09
320.004 | -1.7657e-09
320.502 | -1.6093e-09
320.997 | -1.768e-09
321.498 | -1.7366e-09
321.997 | -1.7431e-09
322.498 | -1.7578e-09
322.999 | -1.6468e-09
323.498 | -1.6475e-09
323.999 | -1.7715e-09
324.499 | -1.7385e-09
325.001 | -1.7271e-09
325.501 | -1.7e-09
326 | -1.7094e-09
326.501 | -1.662e-09
327.002 | -1.7068e-09
327.502 | -1.626e-09
328.003 | -1.7076e-09
328.504 | -1.7818e-09
329.005 | -1.7275e-09
329.502 | -1.7608e-09
330.004 | -1.7285e-09
330.503 | -1.6215e-09
331.004 | -1.727e-09
331.504 | -1.6794e-09
332.005 | -1.7394e-09
332.505 | -1.6381e-09
333.005 | -1.8306e-09
333.504 | -1.7525e-09
334.006 | -1.7581e-09
334.506 | -1.8151e-09
335.006 | -1.8027e-09
335.505 | -1.7944e-09
336.004 | -1.8065e-09
336.505 | -1.8079e-09
337.005 | -1.7736e-09
337.506 | -1.6836e-09
338.004 | -1.8032e-09
338.505 | -1.7757e-09
339.004 | -1.7435e-09
339.505 | -1.8354e-09
340.005 | -1.8584e-09
340.504 | -1.8827e-09
341.005 | -1.7462e-09
341.506 | -1.7405e-09
342.006 | -1.762e-09
342.505 | -1.8857e-09
343.004 | -1.8729e-09
343.505 | -1.6988e-09
344.004 | -1.7008e-09
344.505 | -1.8214e-09
345.004 | -1.8391e-09
345.504 | -1.8042e-09
346.004 | -1.8925e-09
346.5 | -1.8677e-09
346.998 | -1.833e-09
347.496 | -1.9228e-09
347.997 | -1.8328e-09
348.496 | -1.8228e-09
348.997 | -1.8282e-09
349.496 | -1.7815e-09
349.997 | -1.8465e-09
350.499 | -1.904e-09
350.999 | -1.8065e-09
351.499 | -1.8015e-09
351.998 | -1.8923e-09
352.5 | -1.7974e-09
352.999 | -1.9015e-09
353.499 | -1.7734e-09
354.001 | -1.7648e-09
354.501 | -1.772e-09
355.001 | -1.7554e-09
355.503 | -1.8726e-09
356.003 | -1.9309e-09
356.503 | -1.8764e-09
357.002 | -1.8361e-09
357.502 | -1.8677e-09
358.002 | -1.8864e-09
358.502 | -1.8751e-09
359.001 | -1.9313e-09
359.503 | -1.8007e-09
360.003 | -1.7639e-09
360.503 | -1.9042e-09
361.003 | -1.91e-09
361.503 | -1.8216e-09
362.001 | -1.9024e-09
362.502 | -1.8332e-09
363.004 | -1.7992e-09
363.503 | -1.8867e-09
364.002 | -1.9264e-09
364.503 | -1.9173e-09
365.003 | -1.9646e-09
365.501 | -1.932e-09
366.002 | -1.978e-09
366.503 | -1.8858e-09
367.002 | -1.8256e-09
367.502 | -1.9401e-09
368.002 | -1.9599e-09
368.502 | -1.8401e-09
369.002 | -1.9573e-09
369.501 | -1.9394e-09
370.002 | -1.9291e-09
370.501 | -1.9547e-09
371.002 | -1.9548e-09
371.501 | -1.9003e-09
372.001 | -1.9565e-09
372.502 | -1.9471e-09
373.002 | -1.8921e-09
373.501 | -1.9418e-09
374.002 | -1.8864e-09
374.502 | -1.8913e-09
375.002 | -1.9557e-09
375.502 | -1.8856e-09
376.001 | -1.9914e-09
376.5 | -1.9157e-09
377.001 | -1.9883e-09
377.5 | -1.9882e-09
378.001 | -1.9982e-09
378.502 | -1.9989e-09
379.001 | -2.021e-09
379.503 | -2.0038e-09
380.002 | -2.0088e-09
380.501 | -2.0367e-09
381.001 | -2.0597e-09
381.502 | -2.0376e-09
382.002 | -2.0255e-09
382.502 | -1.9707e-09
383.002 | -2.0107e-09
383.5 | -2.0962e-09
384.001 | -2.0759e-09
384.501 | -2.0024e-09
385.001 | -2.0507e-09
385.499 | -2.0248e-09
386.001 | -2.0383e-09
386.501 | -1.9799e-09
387.001 | -2.0886e-09
387.501 | -2.0653e-09
388.001 | -2.0819e-09
388.501 | -2.1055e-09
389.001 | -2.1562e-09
389.501 | -1.9097e-09
390.002 | -1.9517e-09
390.497 | -1.8776e-09
390.994 | -1.8393e-09
391.493 | -1.755e-09
392.008 | -1.808e-09
392.493 | -1.8403e-09
393.009 | -1.8179e-09
393.493 | -1.8827e-09
393.994 | -1.9209e-09
394.495 | -1.8371e-09
394.995 | -1.8913e-09
395.497 | -1.9282e-09
395.997 | -1.9011e-09
396.498 | -1.8668e-09
396.998 | -1.8714e-09
397.498 | -1.9154e-09
397.998 | -1.8349e-09
398.499 | -1.9479e-09
398.998 | -1.9359e-09
399.5 | -1.8219e-09
399.999 | -1.9264e-09
400.501 | -1.9371e-09
401 | -1.8884e-09
401.5 | -1.9114e-09
402 | -1.8969e-09
402.502 | -1.9584e-09
403 | -1.9737e-09
403.501 | -1.9358e-09
404 | -1.9361e-09
404.5 | -1.944e-09
405.002 | -1.9943e-09
405.502 | -1.9249e-09
406.001 | -1.9993e-09
406.502 | -2.0014e-09
407 | -2.3583e-09
407.501 | -2.3238e-09
408 | -2.2875e-09
408.5 | -2.2693e-09
409.001 | -2.3245e-09
409.501 | -2.3321e-09
409.999 | -2.3352e-09
410.5 | -2.3344e-09
411.002 | -2.3284e-09
411.501 | -2.3613e-09
412.002 | -2.3986e-09
412.501 | -2.4582e-09
413 | -2.3392e-09
413.501 | -2.413e-09
414 | -2.3864e-09
414.5 | -2.3369e-09
415.002 | -2.4167e-09
415.502 | -2.3938e-09
416.002 | -2.3662e-09
416.502 | -2.3742e-09
417.002 | -2.4177e-09
417.5 | -2.4922e-09
418 | -2.4254e-09
418.501 | -2.4408e-09
419.001 | -2.4355e-09
419.501 | -2.3982e-09
420.001 | -2.4271e-09
420.5 | -2.4275e-09
421.001 | -2.3086e-09
421.502 | -2.3334e-09
422 | -2.3148e-09
422.501 | -2.2887e-09
422.999 | -2.4956e-09
423.499 | -2.4923e-09
424 | -2.5266e-09
424.499 | -2.5828e-09
425 | -2.4906e-09
425.5 | -2.2581e-09
425.996 | -2.246e-09
426.509 | -2.2515e-09
427.007 | -2.2336e-09
427.507 | -2.1875e-09
428.006 | -2.1835e-09
428.508 | -2.2586e-09
429.008 | -2.2866e-09
429.509 | -2.2338e-09
429.993 | -2.2562e-09
430.494 | -2.5179e-09
430.994 | -2.5608e-09
431.496 | -2.5672e-09
431.995 | -2.5899e-09
432.496 | -2.5637e-09
432.997 | -2.2115e-09
433.496 | -2.5631e-09
433.998 | -2.5275e-09
434.497 | -2.5732e-09
434.999 | -2.5711e-09
435.498 | -2.5851e-09
435.998 | -2.2353e-09
436.499 | -2.1793e-09
436.999 | -2.5593e-09
437.498 | -2.5476e-09
437.999 | -2.516e-09
438.498 | -2.4956e-09
438.998 | -2.4964e-09
439.497 | -2.5094e-09
439.997 | -2.1979e-09
440.499 | -2.2511e-09
440.999 | -2.5712e-09
441.498 | -2.487e-09
441.996 | -2.5537e-09
442.497 | -2.5717e-09
442.996 | -2.5685e-09
443.496 | -2.5349e-09
443.998 | -2.6134e-09
444.497 | -2.5798e-09
444.997 | -2.6565e-09
445.497 | -2.6403e-09
445.996 | -2.6249e-09
446.498 | -2.6548e-09
446.997 | -2.7072e-09
447.496 | -2.8427e-09
447.996 | -2.715e-09
448.497 | -2.7063e-09
448.995 | -2.7736e-09
449.497 | -2.5793e-09
449.996 | -2.5584e-09