## Settings
Sample Info | SiO2, 1.6 mm, irradiated
Sample Description | Voronezh, irr., next day, run6
Major Measurement Parameters
Starting Temperature | 84.5236
Initial Temperature | 81
Final Temperature | 420
Preliminary Voltage | 2
Pulse Voltage | 2
Pulse Time | 5
Measurement Voltage | -0.4
Subsidiary Measurement Parameters
Step | 0.5
Accuracy Step | 0.1
Accuracy Stable | 1
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 10
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 5
Measurecount | 1

## Stabilization
Temperature | Current
84.62 | 9.8936e-06
84.7023 | 9.9204e-06
84.8258 | 9.8711e-06
84.9075 | 9.8626e-06
84.1576 | 9.9629e-06
84.2599 | 9.7638e-06
83.9523 | 9.8788e-06
82.5207 | 9.7947e-06
82.5944 | 9.8583e-06
82.6773 | 9.7314e-06
81.9272 | 9.9491e-06
81.9962 | 9.8925e-06
81.5907 | 1.008e-05
80.6234 | 9.716e-06
80.4687 | 1.0064e-05
80.4922 | 1.0087e-05
80.1804 | 9.9193e-06
80.2142 | 9.6755e-06
80.2257 | 9.8202e-06
80.13 | 9.7437e-06

## Measurements
Temperature | Current
80.3324 | -3.4518e-10
80.6392 | -2.5118e-10
81.1489 | -2.4927e-10
81.6401 | -2.5135e-10
82.1437 | -2.4927e-10
82.6416 | -2.5055e-10
83.1504 | -2.5109e-10
83.6327 | -2.5082e-10
84.1402 | -2.4949e-10
84.6397 | -2.4838e-10
85.1515 | -2.5014e-10
85.6342 | -2.5089e-10
86.1467 | -2.498e-10
86.6516 | -2.5146e-10
87.1492 | -2.5083e-10
87.6423 | -2.5152e-10
88.1441 | -2.5305e-10
88.6446 | -2.5195e-10
89.1411 | -2.5203e-10
89.6347 | -2.5367e-10
90.1412 | -2.5181e-10
90.6333 | -2.5201e-10
91.1383 | -2.5193e-10
91.6349 | -2.5476e-10
92.133 | -2.5268e-10
92.6465 | -2.5229e-10
93.1467 | -2.5457e-10
93.6445 | -2.5236e-10
94.1419 | -2.5261e-10
94.6351 | -2.5396e-10
95.1329 | -2.5247e-10
95.6414 | -2.5198e-10
96.1401 | -2.5336e-10
96.6322 | -2.5453e-10
97.1421 | -2.5133e-10
97.6328 | -2.5169e-10
98.1393 | -2.5444e-10
98.6373 | -2.5264e-10
99.1335 | -2.5339e-10
99.6367 | -2.5437e-10
100.136 | -2.5273e-10
100.64 | -2.5239e-10
101.134 | -2.5057e-10
101.635 | -2.5124e-10
102.145 | -2.5132e-10
102.645 | -2.5289e-10
103.147 | -2.5356e-10
103.648 | -2.5353e-10
104.147 | -2.5212e-10
104.633 | -2.5361e-10
105.139 | -2.5467e-10
105.64 | -2.5263e-10
106.139 | -2.5372e-10
106.65 | -2.5312e-10
107.145 | -2.5525e-10
107.649 | -2.5615e-10
108.143 | -2.5479e-10
108.642 | -2.5469e-10
109.147 | -2.5493e-10
109.639 | -2.5597e-10
110.133 | -2.5561e-10
110.647 | -2.5533e-10
111.133 | -2.569e-10
111.648 | -2.5686e-10
112.133 | -2.5843e-10
112.638 | -2.5591e-10
113.138 | -2.5731e-10
113.641 | -2.5604e-10
114.138 | -2.5887e-10
114.642 | -2.5909e-10
115.14 | -2.5822e-10
115.64 | -2.5867e-10
116.136 | -2.5786e-10
116.649 | -2.5785e-10
117.142 | -2.5677e-10
117.648 | -2.5716e-10
118.134 | -2.5845e-10
118.634 | -2.5836e-10
119.141 | -2.588e-10
119.639 | -2.6076e-10
120.147 | -2.6221e-10
120.639 | -2.6176e-10
121.149 | -2.6115e-10
121.633 | -2.6187e-10
122.142 | -2.6096e-10
122.646 | -2.6146e-10
123.143 | -2.6279e-10
123.632 | -2.613e-10
124.141 | -2.6197e-10
124.632 | -2.6285e-10
125.141 | -2.6395e-10
125.641 | -2.6269e-10
126.141 | -2.6359e-10
126.644 | -2.6445e-10
127.137 | -2.6416e-10
127.645 | -2.6357e-10
128.147 | -2.6443e-10
128.631 | -2.6477e-10
129.14 | -2.6831e-10
129.639 | -2.6805e-10
130.135 | -2.6752e-10
130.637 | -2.6778e-10
131.131 | -2.703e-10
131.631 | -2.673e-10
132.139 | -2.6809e-10
132.639 | -2.6882e-10
133.148 | -2.6881e-10
133.641 | -2.6921e-10
134.136 | -2.679e-10
134.637 | -2.7108e-10
135.141 | -2.6728e-10
135.636 | -2.6927e-10
136.146 | -2.6979e-10
136.634 | -2.7036e-10
137.14 | -2.6888e-10
137.648 | -2.6939e-10
138.144 | -2.6824e-10
138.635 | -2.6915e-10
139.136 | -2.7129e-10
139.635 | -2.6925e-10
140.137 | -2.6942e-10
140.635 | -2.7102e-10
141.144 | -2.7186e-10
141.644 | -2.7114e-10
142.144 | -2.7096e-10
142.64 | -2.7376e-10
143.145 | -2.7247e-10
143.635 | -2.7333e-10
144.136 | -2.7312e-10
144.637 | -2.7321e-10
145.131 | -2.7368e-10
145.647 | -2.7376e-10
146.143 | -2.7297e-10
146.64 | -2.7338e-10
147.136 | -2.7251e-10
147.631 | -2.7302e-10
148.146 | -2.721e-10
148.634 | -2.7235e-10
149.146 | -2.7267e-10
149.64 | -2.7386e-10
150.146 | -2.7347e-10
150.641 | -2.739e-10
151.149 | -2.7326e-10
151.642 | -2.734e-10
152.137 | -2.7275e-10
152.645 | -2.7275e-10
153.142 | -2.7134e-10
153.637 | -2.72e-10
154.137 | -2.7216e-10
154.632 | -2.7421e-10
155.142 | -2.7319e-10
155.638 | -2.7271e-10
156.139 | -2.7387e-10
156.64 | -2.7398e-10
157.131 | -2.7287e-10
157.643 | -2.7245e-10
158.146 | -2.7324e-10
158.644 | -2.7403e-10
159.137 | -2.7151e-10
159.642 | -2.7412e-10
160.142 | -2.732e-10
160.643 | -2.7315e-10
161.141 | -2.7379e-10
161.638 | -2.7357e-10
162.141 | -2.7387e-10
162.637 | -2.7487e-10
163.138 | -2.7437e-10
163.638 | -2.7374e-10
164.139 | -2.7287e-10
164.634 | -2.749e-10
165.135 | -2.7316e-10
165.644 | -2.7426e-10
166.137 | -2.7268e-10
166.635 | -2.7521e-10
167.139 | -2.7384e-10
167.636 | -2.732e-10
168.141 | -2.7503e-10
168.634 | -2.7582e-10
169.135 | -2.7265e-10
169.634 | -2.737e-10
170.142 | -2.7261e-10
170.645 | -2.7285e-10
171.144 | -2.7365e-10
171.646 | -2.7416e-10
172.144 | -2.7501e-10
172.635 | -2.7561e-10
173.144 | -2.7582e-10
173.644 | -2.7644e-10
174.138 | -2.7552e-10
174.641 | -2.7563e-10
175.144 | -2.7643e-10
175.641 | -2.7489e-10
176.132 | -2.735e-10
176.64 | -2.7418e-10
177.14 | -2.7488e-10
177.636 | -2.744e-10
178.143 | -2.7415e-10
178.643 | -2.7336e-10
179.143 | -2.7379e-10
179.637 | -2.7294e-10
180.139 | -2.7386e-10
180.636 | -2.7477e-10
181.131 | -2.7402e-10
181.639 | -2.7562e-10
182.131 | -2.7622e-10
182.634 | -2.769e-10
183.144 | -2.7497e-10
183.642 | -2.7589e-10
184.136 | -2.7686e-10
184.639 | -2.7651e-10
185.142 | -2.7901e-10
185.634 | -2.7818e-10
186.131 | -2.7614e-10
186.635 | -2.7632e-10
187.147 | -2.7552e-10
187.642 | -2.7693e-10
188.142 | -2.768e-10
188.636 | -2.7599e-10
189.134 | -2.7621e-10
189.642 | -2.7517e-10
190.133 | -2.7533e-10
190.638 | -2.7511e-10
191.14 | -2.7623e-10
191.64 | -2.7666e-10
192.138 | -2.7543e-10
192.631 | -2.7396e-10
193.143 | -2.7527e-10
193.648 | -2.7428e-10
194.14 | -2.7321e-10
194.64 | -2.7407e-10
195.139 | -2.7565e-10
195.635 | -2.7541e-10
196.138 | -2.7485e-10
196.642 | -2.7474e-10
197.142 | -2.7478e-10
197.635 | -2.7461e-10
198.141 | -2.745e-10
198.638 | -2.7387e-10
199.144 | -2.7426e-10
199.631 | -2.7387e-10
200.14 | -2.7362e-10
200.642 | -2.7533e-10
201.141 | -2.7819e-10
201.631 | -2.7559e-10
202.137 | -2.7652e-10
202.635 | -2.7647e-10
203.144 | -2.764e-10
203.635 | -2.7645e-10
204.131 | -2.7739e-10
204.636 | -2.7547e-10
205.143 | -2.7619e-10
205.635 | -2.7675e-10
206.14 | -2.7836e-10
206.639 | -2.7694e-10
207.134 | -2.756e-10
207.632 | -2.7697e-10
208.142 | -2.7697e-10
208.631 | -2.7634e-10
209.14 | -2.7609e-10
209.644 | -2.7522e-10
210.143 | -2.7516e-10
210.642 | -2.7662e-10
211.136 | -2.7686e-10
211.642 | -2.7595e-10
212.135 | -2.7631e-10
212.645 | -2.7548e-10
213.137 | -2.7564e-10
213.637 | -2.7695e-10
214.137 | -2.7737e-10
214.646 | -2.7796e-10
215.134 | -2.7985e-10
215.641 | -2.7824e-10
216.136 | -2.7814e-10
216.641 | -2.7638e-10
217.137 | -2.7748e-10
217.642 | -2.7844e-10
218.138 | -2.7678e-10
218.633 | -2.772e-10
219.136 | -2.7845e-10
219.658 | -2.7836e-10
220.179 | -2.8106e-10
220.7 | -2.803e-10
221.205 | -2.7969e-10
221.704 | -2.7951e-10
222.156 | -2.7903e-10
222.632 | -2.7721e-10
223.143 | -2.7785e-10
223.64 | -2.779e-10
224.131 | -2.7771e-10
224.633 | -2.7692e-10
225.142 | -2.7928e-10
225.639 | -2.7873e-10
226.143 | -2.7843e-10
226.635 | -2.8e-10
227.134 | -2.8016e-10
227.642 | -2.7948e-10
228.134 | -2.8022e-10
228.632 | -2.8209e-10
229.133 | -2.8193e-10
229.631 | -2.8178e-10
230.143 | -2.808e-10
230.632 | -2.8149e-10
231.146 | -2.8138e-10
231.632 | -2.8127e-10
232.14 | -2.8132e-10
232.635 | -2.8006e-10
233.146 | -2.8149e-10
233.642 | -2.8088e-10
234.145 | -2.809e-10
234.644 | -2.803e-10
235.146 | -2.8209e-10
235.633 | -2.8179e-10
236.136 | -2.8184e-10
236.64 | -2.8086e-10
237.143 | -2.8204e-10
237.646 | -2.8297e-10
238.131 | -2.8306e-10
238.635 | -2.8247e-10
239.136 | -2.799e-10
239.638 | -2.8027e-10
240.139 | -2.8089e-10
240.64 | -2.8184e-10
241.14 | -2.8208e-10
241.641 | -2.8346e-10
242.141 | -2.8319e-10
242.643 | -2.8521e-10
243.142 | -2.8537e-10
243.642 | -2.8466e-10
244.14 | -2.8477e-10
244.636 | -2.84e-10
245.133 | -2.8265e-10
245.631 | -2.8317e-10
246.146 | -2.8435e-10
246.645 | -2.843e-10
247.131 | -2.8417e-10
247.632 | -2.8631e-10
248.132 | -2.8573e-10
248.633 | -2.8676e-10
249.134 | -2.8473e-10
249.634 | -2.8491e-10
250.135 | -2.862e-10
250.633 | -2.8545e-10
251.137 | -2.8464e-10
251.638 | -2.8487e-10
252.139 | -2.8823e-10
252.64 | -2.8614e-10
253.139 | -2.866e-10
253.641 | -2.8449e-10
254.14 | -2.8529e-10
254.639 | -2.8692e-10
255.139 | -2.8646e-10
255.637 | -2.8607e-10
256.14 | -2.8774e-10
256.64 | -2.8718e-10
257.139 | -2.8729e-10
257.639 | -2.8764e-10
258.141 | -2.8672e-10
258.641 | -2.8728e-10
259.143 | -2.8653e-10
259.642 | -2.8705e-10
260.143 | -2.855e-10
260.641 | -2.8731e-10
261.139 | -2.85e-10
261.635 | -2.8361e-10
262.132 | -2.8568e-10
262.645 | -2.8625e-10
263.146 | -2.8695e-10
263.646 | -2.8653e-10
264.147 | -2.8625e-10
264.647 | -2.8522e-10
265.132 | -2.8584e-10
265.633 | -2.8527e-10
266.133 | -2.8718e-10
266.635 | -2.8685e-10
267.136 | -2.8658e-10
267.637 | -2.8778e-10
268.136 | -2.8655e-10
268.637 | -2.864e-10
269.138 | -2.868e-10
269.638 | -2.8702e-10
270.138 | -2.8732e-10
270.639 | -2.8769e-10
271.14 | -2.8731e-10
271.637 | -2.8831e-10
272.139 | -2.885e-10
272.639 | -2.88e-10
273.138 | -2.8927e-10
273.639 | -2.872e-10
274.14 | -2.8836e-10
274.64 | -2.8879e-10
275.139 | -2.8654e-10
275.639 | -2.865e-10
276.139 | -2.8705e-10
276.639 | -2.8703e-10
277.139 | -2.876e-10
277.639 | -2.8961e-10
278.14 | -2.8745e-10
278.639 | -2.8722e-10
279.139 | -2.8786e-10
279.633 | -2.8562e-10
280.146 | -2.8691e-10
280.644 | -2.8867e-10
281.145 | -2.8713e-10
281.646 | -2.8778e-10
282.146 | -2.8724e-10
282.647 | -2.8726e-10
283.148 | -2.8844e-10
283.633 | -2.8699e-10
284.133 | -2.8735e-10
284.634 | -2.8704e-10
285.134 | -2.8999e-10
285.635 | -2.893e-10
286.137 | -2.9013e-10
286.636 | -2.8941e-10
287.137 | -2.9037e-10
287.638 | -2.8919e-10
288.137 | -2.891e-10
288.637 | -2.8828e-10
289.137 | -2.8956e-10
289.638 | -2.8913e-10
290.138 | -2.8827e-10
290.639 | -2.8828e-10
291.138 | -2.8823e-10
291.638 | -2.9009e-10
292.138 | -2.8873e-10
292.639 | -2.8836e-10
293.137 | -2.8987e-10
293.638 | -2.9001e-10
294.138 | -2.9054e-10
294.639 | -2.9121e-10
295.14 | -2.922e-10
295.638 | -2.8967e-10
296.139 | -2.9119e-10
296.638 | -2.9161e-10
297.138 | -2.9121e-10
297.639 | -2.9165e-10
298.138 | -2.9341e-10
298.638 | -2.9001e-10
299.15 | -2.9119e-10
299.646 | -2.9054e-10
300.145 | -2.9095e-10
300.645 | -2.9029e-10
301.146 | -2.92e-10
301.646 | -2.9202e-10
302.147 | -2.9374e-10
302.647 | -2.9397e-10
303.133 | -2.9236e-10
303.633 | -2.922e-10
304.133 | -2.9408e-10
304.633 | -2.943e-10
305.133 | -2.9482e-10
305.635 | -2.9517e-10
306.135 | -2.9475e-10
306.636 | -2.9415e-10
307.136 | -2.9294e-10
307.637 | -2.9392e-10
308.137 | -2.9284e-10
308.637 | -2.9253e-10
309.137 | -2.9321e-10
309.636 | -2.9516e-10
310.137 | -2.9497e-10
310.638 | -2.9454e-10
311.138 | -2.9449e-10
311.638 | -2.9536e-10
312.137 | -2.9528e-10
312.638 | -2.9534e-10
313.137 | -2.9476e-10
313.637 | -2.961e-10
314.138 | -2.9533e-10
314.638 | -2.9538e-10
315.138 | -2.9551e-10
315.638 | -2.9559e-10
316.139 | -2.9535e-10
316.638 | -2.9551e-10
317.139 | -2.9669e-10
317.638 | -2.9686e-10
318.138 | -2.9769e-10
318.639 | -2.9644e-10
319.138 | -2.9725e-10
319.638 | -2.9706e-10
320.138 | -2.9625e-10
320.635 | -2.9444e-10
321.133 | -2.9683e-10
321.632 | -2.9873e-10
322.132 | -2.9863e-10
322.647 | -2.9803e-10
323.147 | -2.9907e-10
323.632 | -2.9881e-10
324.149 | -2.9976e-10
324.633 | -3.0047e-10
325.135 | -2.9905e-10
325.634 | -2.986e-10
326.133 | -2.9884e-10
326.635 | -3.0005e-10
327.135 | -3.0137e-10
327.637 | -3.022e-10
328.136 | -2.9952e-10
328.636 | -3.0004e-10
329.137 | -3.0215e-10
329.636 | -3.0279e-10
330.139 | -3.0161e-10
330.638 | -3.0144e-10
331.138 | -3.0291e-10
331.639 | -3.0138e-10
332.138 | -3.0064e-10
332.637 | -3.0172e-10
333.139 | -3.0127e-10
333.638 | -3.0063e-10
334.138 | -3.0137e-10
334.637 | -3.0289e-10
335.138 | -3.0233e-10
335.637 | -3.0247e-10
336.137 | -3.0304e-10
336.638 | -3.0475e-10
337.138 | -3.0374e-10
337.638 | -3.0308e-10
338.137 | -3.0405e-10
338.638 | -3.0354e-10
339.138 | -3.0369e-10
339.637 | -3.0335e-10
340.136 | -3.0502e-10
340.638 | -3.0386e-10
341.138 | -3.0246e-10
341.638 | -3.0319e-10
342.138 | -3.0287e-10
342.637 | -3.0323e-10
343.153 | -3.0298e-10
343.638 | -3.0496e-10
344.138 | -3.0475e-10
344.638 | -3.0406e-10
345.138 | -3.0434e-10
345.638 | -3.0485e-10
346.135 | -3.0455e-10
346.632 | -3.0388e-10
347.148 | -3.0264e-10
347.646 | -3.0612e-10
348.146 | -3.0512e-10
348.646 | -3.0548e-10
349.147 | -3.0466e-10
349.647 | -3.0511e-10
350.148 | -3.0411e-10
350.632 | -3.0409e-10
351.133 | -3.0495e-10
351.633 | -3.0352e-10
352.133 | -3.0576e-10
352.635 | -3.0813e-10
353.136 | -3.0758e-10
353.635 | -3.0775e-10
354.136 | -3.0738e-10
354.635 | -3.1082e-10
355.135 | -3.097e-10
355.636 | -3.0898e-10
356.136 | -3.0872e-10
356.638 | -3.1049e-10
357.137 | -3.11e-10
357.637 | -3.114e-10
358.136 | -3.1092e-10
358.637 | -3.1058e-10
359.137 | -3.109e-10
359.637 | -3.1228e-10
360.137 | -3.104e-10
360.637 | -3.1179e-10
361.137 | -3.1353e-10
361.638 | -3.1304e-10
362.139 | -3.1273e-10
362.639 | -3.1194e-10
363.137 | -3.1393e-10
363.639 | -3.1346e-10
364.139 | -3.1217e-10
364.638 | -3.1435e-10
365.138 | -3.1238e-10
365.637 | -3.1567e-10
366.139 | -3.1548e-10
366.64 | -3.1725e-10
367.138 | -3.1685e-10
367.639 | -3.1839e-10
368.138 | -3.1747e-10
368.638 | -3.183e-10
369.138 | -3.174e-10
369.638 | -3.1866e-10
370.136 | -3.2037e-10
370.637 | -3.2282e-10
371.137 | -3.2257e-10
371.638 | -3.2292e-10
372.136 | -3.2185e-10
372.637 | -3.2213e-10
373.136 | -3.2367e-10
373.636 | -3.2237e-10
374.135 | -3.2206e-10
374.636 | -3.2195e-10
375.136 | -3.2207e-10
375.635 | -3.2548e-10
376.134 | -3.2217e-10
376.635 | -3.2414e-10
377.137 | -3.2552e-10
377.637 | -3.25e-10
378.136 | -3.2499e-10
378.636 | -3.2524e-10
379.135 | -3.263e-10
379.637 | -3.2506e-10
380.136 | -3.2396e-10
380.636 | -3.2404e-10
381.135 | -3.2533e-10
381.636 | -3.2654e-10
382.135 | -3.257e-10
382.635 | -3.2805e-10
383.136 | -3.2793e-10
383.635 | -3.2672e-10
384.135 | -3.2817e-10
384.635 | -3.2864e-10
385.135 | -3.2729e-10
385.635 | -3.2762e-10
386.136 | -3.2995e-10
386.636 | -3.297e-10
387.136 | -3.2884e-10
387.635 | -3.3078e-10
388.137 | -3.2887e-10
388.635 | -3.2966e-10
389.136 | -3.294e-10
389.635 | -3.3206e-10
390.133 | -3.3132e-10
390.645 | -3.3131e-10
391.144 | -3.3182e-10
391.641 | -3.3223e-10
392.142 | -3.3157e-10
392.644 | -3.3122e-10
393.144 | -3.3274e-10
393.643 | -3.3425e-10
394.145 | -3.3112e-10
394.645 | -3.3532e-10
395.147 | -3.3514e-10
395.648 | -3.3251e-10
396.148 | -3.368e-10
396.632 | -3.3677e-10
397.147 | -3.382e-10
397.632 | -3.3411e-10
398.132 | -3.3374e-10
398.633 | -3.3752e-10
399.133 | -3.352e-10
399.632 | -3.3583e-10
400.133 | -3.353e-10
400.649 | -3.3832e-10
401.132 | -3.3965e-10
401.634 | -3.3934e-10
402.135 | -3.3949e-10
402.633 | -3.3813e-10
403.134 | -3.3976e-10
403.634 | -3.4099e-10
404.134 | -3.4246e-10
404.634 | -3.3899e-10
405.134 | -3.4062e-10
405.634 | -3.4206e-10
406.134 | -3.4111e-10
406.634 | -3.4215e-10
407.133 | -3.4331e-10
407.635 | -3.3849e-10
408.134 | -3.3971e-10
408.633 | -3.4156e-10
409.134 | -3.4179e-10
409.634 | -3.4525e-10
410.134 | -3.4476e-10
410.634 | -3.491e-10
411.134 | -3.4592e-10
411.634 | -3.5046e-10
412.134 | -3.4849e-10
412.635 | -3.456e-10
413.136 | -3.4836e-10
413.635 | -3.5338e-10
414.134 | -3.4662e-10
414.633 | -3.462e-10
415.135 | -3.4886e-10
415.633 | -3.4754e-10
416.133 | -3.4705e-10
416.633 | -3.4811e-10
417.135 | -3.5062e-10
417.634 | -3.5215e-10
418.132 | -3.528e-10
418.634 | -3.5185e-10
419.132 | -3.5521e-10
419.632 | -3.5161e-10
420.133 | -3.517e-10