## Settings
Sample Info | v16m20-01
Sample Description | irradiated 20 keV, 500 mkC/cm2, run 01
Major Measurement Parameters
Starting Temperature | 298.399
Initial Temperature | 81
Final Temperature | 320
Preliminary Voltage | 10
Pulse Voltage | 10
Pulse Time | 5
Measurement Voltage | -2.5
Subsidiary Measurement Parameters
Step | 0.5
Accuracy Step | 0.1
Accuracy Stable | 1
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 10
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 5
Measurecount | 1
время
Date | 23.8.2023
Time | 12:52:26

## Stabilization
Temperature | Current
298.322 | -2.7654e-10
298.288 | -2.7952e-10
298.268 | -2.8069e-10
298.251 | -2.8003e-10
298.237 | -2.8036e-10
298.204 | -2.8025e-10
298.14 | -2.8061e-10
298.08 | -2.8082e-10
298.02 | -2.826e-10
297.963 | -2.8187e-10
297.908 | -2.8128e-10
297.848 | -2.8315e-10
297.795 | -2.8274e-10
297.739 | -2.824e-10
297.651 | -2.8217e-10
297.351 | -2.8262e-10
296.859 | -2.837e-10
296.392 | -2.8289e-10
295.965 | -2.8237e-10
295.398 | -2.8309e-10
294.79 | -2.8272e-10
294.28 | -2.807e-10
293.822 | -2.7993e-10
293.253 | -2.814e-10
292.611 | -2.8194e-10
292.118 | -2.8081e-10
291.723 | -2.8286e-10
291.186 | -2.8236e-10
290.617 | -2.8235e-10
290.078 | -2.8184e-10
289.628 | -2.8268e-10
289.124 | -2.8071e-10
288.529 | -2.8235e-10
287.994 | -2.8103e-10
287.514 | -2.8063e-10
286.996 | -2.8156e-10
286.362 | -2.8157e-10
285.793 | -2.8052e-10
285.341 | -2.8112e-10
284.802 | -2.8293e-10
284.169 | -2.8382e-10
283.612 | -2.8276e-10
283.167 | -2.823e-10
282.632 | -2.8111e-10
281.964 | -2.8141e-10
281.426 | -2.8203e-10
280.97 | -2.8169e-10
280.225 | -2.8122e-10
279.704 | -2.811e-10
279.136 | -2.8118e-10
278.645 | -2.8017e-10
278.212 | -2.8185e-10
277.761 | -2.8031e-10
277.175 | -2.7861e-10
276.539 | -2.7761e-10
276.049 | -2.7951e-10
275.603 | -2.8037e-10
275.02 | -2.803e-10
274.409 | -2.7989e-10
273.904 | -2.809e-10
273.382 | -2.8053e-10
272.878 | -2.8142e-10
272.269 | -2.8025e-10
271.697 | -2.8105e-10
271.176 | -2.8001e-10
270.696 | -2.7974e-10
270.08 | -2.8088e-10
269.499 | -2.7929e-10
268.958 | -2.8033e-10
268.471 | -2.7919e-10
267.8 | -2.7988e-10
267.217 | -2.789e-10
266.719 | -2.7827e-10
266.087 | -2.7859e-10
265.411 | -2.7861e-10
264.891 | -2.7913e-10
264.377 | -2.7885e-10
263.769 | -2.7866e-10
263.126 | -2.7974e-10
262.638 | -2.7932e-10
262.126 | -2.7783e-10
261.421 | -2.7993e-10
260.861 | -2.7878e-10
260.369 | -2.7958e-10
259.785 | -2.7879e-10
259.089 | -2.8023e-10
258.52 | -2.8051e-10
257.997 | -2.8031e-10
257.34 | -2.814e-10
256.682 | -2.8047e-10
256.176 | -2.823e-10
255.631 | -2.8052e-10
254.934 | -2.7985e-10
254.352 | -2.8202e-10
253.865 | -2.8145e-10
253.231 | -2.8101e-10
252.56 | -2.8021e-10
252.062 | -2.8054e-10
251.503 | -2.8089e-10
250.943 | -2.8184e-10
250.319 | -2.8011e-10
249.803 | -2.795e-10
249.227 | -2.7932e-10
248.582 | -2.8021e-10
247.959 | -2.7911e-10
247.46 | -2.7808e-10
246.888 | -2.7972e-10
246.221 | -2.8111e-10
245.637 | -2.7943e-10
245.121 | -2.8043e-10
244.492 | -2.8027e-10
243.812 | -2.8079e-10
243.264 | -2.7848e-10
242.724 | -2.7964e-10
242.046 | -2.7983e-10
241.398 | -2.7901e-10
240.893 | -2.7947e-10
240.328 | -2.7871e-10
239.619 | -2.7924e-10
239.098 | -2.786e-10
238.537 | -2.7786e-10
237.904 | -2.775e-10
237.251 | -2.7829e-10
236.736 | -2.8036e-10
236.128 | -2.7773e-10
235.415 | -2.7807e-10
234.815 | -2.7736e-10
234.286 | -2.7754e-10
233.705 | -2.79e-10
233.04 | -2.8028e-10
232.465 | -2.7853e-10
231.954 | -2.7664e-10
231.321 | -2.7788e-10
230.614 | -2.7828e-10
230.095 | -2.7904e-10
229.493 | -2.7717e-10
228.782 | -2.7692e-10
228.23 | -2.7723e-10
227.658 | -2.7646e-10
226.965 | -2.7733e-10
226.317 | -2.766e-10
225.74 | -2.7787e-10
225.144 | -2.7588e-10
224.446 | -2.7549e-10
223.891 | -2.7563e-10
223.274 | -2.7689e-10
222.526 | -2.7749e-10
221.941 | -2.7772e-10
221.385 | -2.7845e-10
220.651 | -2.7711e-10
220.024 | -2.7676e-10
219.428 | -2.7776e-10
218.721 | -2.7896e-10
218.053 | -2.7771e-10
217.468 | -2.7965e-10
216.844 | -2.7817e-10
216.133 | -2.7624e-10
215.634 | -2.7777e-10
214.984 | -2.762e-10
214.309 | -2.7783e-10
213.742 | -2.7669e-10
213.241 | -2.7703e-10
212.533 | -2.7579e-10
211.921 | -2.7495e-10
211.336 | -2.7604e-10
210.627 | -2.773e-10
209.989 | -2.7679e-10
209.429 | -2.7555e-10
208.847 | -2.7668e-10
208.103 | -2.7687e-10
207.491 | -2.7664e-10
206.898 | -2.7675e-10
206.21 | -2.7735e-10
205.601 | -2.7758e-10
205.052 | -2.776e-10
204.306 | -2.775e-10
203.603 | -2.7672e-10
203.058 | -2.7697e-10
202.422 | -2.7631e-10
201.659 | -2.7703e-10
201.118 | -2.7507e-10
200.524 | -2.7616e-10
199.783 | -2.7729e-10
199.187 | -2.7535e-10
198.619 | -2.7738e-10
197.973 | -2.7613e-10
197.304 | -2.7628e-10
196.726 | -2.7441e-10
196.103 | -2.7504e-10
195.393 | -2.7499e-10
194.84 | -2.761e-10
194.21 | -2.7596e-10
193.485 | -2.7536e-10
192.995 | -2.7563e-10
192.414 | -2.7475e-10
191.635 | -2.7485e-10
191.088 | -2.7573e-10
190.536 | -2.7509e-10
189.844 | -2.7564e-10
189.197 | -2.7587e-10
188.657 | -2.7498e-10
187.962 | -2.7718e-10
187.278 | -2.7611e-10
186.774 | -2.7598e-10
186.138 | -2.7608e-10
185.417 | -2.7611e-10
184.931 | -2.7597e-10
184.28 | -2.7597e-10
183.598 | -2.7612e-10
183.133 | -2.7696e-10
182.652 | -2.7715e-10
181.907 | -2.7592e-10
181.521 | -2.7673e-10
180.995 | -2.7545e-10
180.268 | -2.7615e-10
179.758 | -2.7541e-10
179.218 | -2.7447e-10
178.513 | -2.7462e-10
178.113 | -2.7549e-10
177.493 | -2.7366e-10
176.828 | -2.7514e-10
176.479 | -2.7395e-10
175.836 | -2.7375e-10
175.386 | -2.7367e-10
174.957 | -2.744e-10
174.466 | -2.724e-10
174.17 | -2.7318e-10
173.579 | -2.724e-10
173.129 | -2.7441e-10
172.839 | -2.7498e-10
172.24 | -2.7456e-10
172.025 | -2.7632e-10
171.626 | -2.7601e-10
171.151 | -2.7542e-10
171.017 | -2.7607e-10
170.482 | -2.7562e-10
170.321 | -2.7595e-10
169.837 | -2.7473e-10
169.602 | -2.7471e-10
169.401 | -2.75e-10
168.887 | -2.7625e-10
168.818 | -2.7628e-10
168.379 | -2.7511e-10
168.305 | -2.7699e-10
167.796 | -2.7614e-10
167.682 | -2.76e-10
167.464 | -2.7525e-10
167.023 | -2.755e-10
166.855 | -2.7587e-10
166.559 | -2.7623e-10
166.635 | -2.7711e-10
166.144 | -2.7593e-10
166.235 | -2.7652e-10
165.762 | -2.77e-10
165.771 | -2.7721e-10
165.28 | -2.7699e-10
165.291 | -2.7636e-10
164.87 | -2.7552e-10
164.845 | -2.7568e-10
164.424 | -2.7544e-10
164.5 | -2.7569e-10
164.153 | -2.756e-10
164.259 | -2.7631e-10
163.814 | -2.7484e-10
163.932 | -2.7561e-10
163.55 | -2.7502e-10
163.742 | -2.7625e-10
163.352 | -2.7621e-10
163.55 | -2.757e-10
163.08 | -2.7506e-10
163.295 | -2.7507e-10
163.008 | -2.7557e-10
163.262 | -2.7582e-10
162.837 | -2.7677e-10
163.055 | -2.7673e-10
162.858 | -2.7519e-10
163.022 | -2.7525e-10
163.07 | -2.7557e-10
163.153 | -2.7636e-10
163.261 | -2.7547e-10
163.266 | -2.7552e-10
163.546 | -2.7546e-10
163.83 | -2.7529e-10
164.091 | -2.7737e-10
164.331 | -2.7652e-10
164.516 | -2.7623e-10
164.778 | -2.7622e-10
165.034 | -2.7628e-10
165.244 | -2.7728e-10
165.514 | -2.759e-10
165.691 | -2.7587e-10
165.931 | -2.7644e-10
166.169 | -2.7499e-10
166.178 | -2.7548e-10
166.43 | -2.758e-10
166.509 | -2.7501e-10
166.708 | -2.7488e-10
166.933 | -2.757e-10
167.111 | -2.7709e-10
167.323 | -2.7645e-10
167.454 | -2.7625e-10
167.528 | -2.7542e-10
167.724 | -2.7548e-10
167.859 | -2.7603e-10
167.997 | -2.7495e-10
168.178 | -2.7682e-10
168.328 | -2.7479e-10
168.39 | -2.7345e-10
168.548 | -2.7563e-10
168.693 | -2.7443e-10
168.838 | -2.7406e-10
168.962 | -2.7529e-10
169.1 | -2.7441e-10
169.227 | -2.7574e-10
169.349 | -2.7464e-10
169.456 | -2.7514e-10
169.567 | -2.7476e-10
169.679 | -2.7453e-10
169.756 | -2.7357e-10
169.861 | -2.7392e-10
169.956 | -2.7301e-10
170.047 | -2.7354e-10
170.137 | -2.7439e-10
170.219 | -2.7451e-10
170.294 | -2.739e-10
170.346 | -2.7417e-10
170.404 | -2.7475e-10
170.471 | -2.7438e-10
170.481 | -2.7591e-10
170.448 | -2.7522e-10
170.491 | -2.7545e-10
170.536 | -2.7569e-10
170.569 | -2.7499e-10
170.594 | -2.753e-10
170.625 | -2.7499e-10
170.644 | -2.7372e-10
170.614 | -2.7414e-10
170.63 | -2.7371e-10
170.635 | -2.7514e-10
170.635 | -2.7448e-10
170.595 | -2.7429e-10
170.576 | -2.751e-10
170.578 | -2.7499e-10
170.575 | -2.7478e-10
170.567 | -2.7475e-10
170.557 | -2.7403e-10
170.547 | -2.7471e-10
170.53 | -2.747e-10
170.501 | -2.7431e-10
170.473 | -2.7419e-10
170.452 | -2.7539e-10
170.435 | -2.7521e-10
170.414 | -2.7543e-10
170.391 | -2.7407e-10
170.363 | -2.7494e-10
170.34 | -2.7393e-10
170.312 | -2.7481e-10
170.28 | -2.7569e-10
170.25 | -2.7413e-10
170.213 | -2.74e-10
170.179 | -2.733e-10
170.145 | -2.744e-10
170.112 | -2.7401e-10
170.079 | -2.7323e-10
170.042 | -2.7316e-10
170.001 | -2.7393e-10
169.953 | -2.7468e-10
169.898 | -2.7539e-10
169.854 | -2.7401e-10
169.805 | -2.7442e-10
169.755 | -2.7518e-10
169.711 | -2.7476e-10
169.663 | -2.7399e-10
169.614 | -2.7473e-10
169.558 | -2.7487e-10
169.498 | -2.7419e-10
169.44 | -2.7489e-10
169.386 | -2.7443e-10
169.331 | -2.7556e-10
169.261 | -2.7471e-10
169.174 | -2.7357e-10
169.081 | -2.7442e-10
169.008 | -2.7371e-10
168.941 | -2.7497e-10
168.875 | -2.7462e-10
168.816 | -2.7344e-10
168.753 | -2.7363e-10
168.691 | -2.7347e-10
168.626 | -2.7414e-10
168.554 | -2.7362e-10
168.491 | -2.7478e-10
168.428 | -2.7291e-10
168.359 | -2.7285e-10
168.291 | -2.7377e-10
168.213 | -2.7427e-10
168.138 | -2.7225e-10
168.059 | -2.7364e-10
167.961 | -2.7184e-10
167.853 | -2.7206e-10
167.761 | -2.7309e-10
167.656 | -2.7422e-10
167.555 | -2.7262e-10
167.444 | -2.722e-10
167.318 | -2.7393e-10
167.199 | -2.7375e-10
167.085 | -2.7261e-10
166.971 | -2.7298e-10
166.861 | -2.7213e-10
166.768 | -2.7148e-10
166.672 | -2.7299e-10
166.586 | -2.7234e-10
166.49 | -2.7278e-10
166.406 | -2.7238e-10
166.313 | -2.7419e-10
166.229 | -2.7285e-10
166.142 | -2.725e-10
166.04 | -2.7222e-10
165.941 | -2.734e-10
165.835 | -2.7188e-10
165.736 | -2.7295e-10
165.625 | -2.7304e-10
165.525 | -2.7252e-10
165.421 | -2.7325e-10
165.332 | -2.7204e-10
165.234 | -2.7297e-10
165.142 | -2.724e-10
165.044 | -2.7258e-10
164.951 | -2.7157e-10
164.853 | -2.704e-10
164.746 | -2.7126e-10
164.642 | -2.7273e-10
164.538 | -2.7176e-10
164.445 | -2.7189e-10
164.353 | -2.717e-10
164.266 | -2.7123e-10
164.181 | -2.7116e-10
164.102 | -2.7151e-10
164.021 | -2.7201e-10
163.948 | -2.7178e-10
163.87 | -2.7136e-10
163.8 | -2.7313e-10
163.728 | -2.7208e-10
163.659 | -2.719e-10
163.586 | -2.7248e-10
163.518 | -2.7278e-10
163.444 | -2.7286e-10
163.374 | -2.7396e-10
163.3 | -2.7239e-10
163.228 | -2.741e-10
163.15 | -2.7203e-10
163.069 | -2.7274e-10
162.976 | -2.7206e-10
162.882 | -2.7241e-10
162.776 | -2.72e-10
162.649 | -2.7094e-10
162.507 | -2.7333e-10
162.389 | -2.7151e-10
162.262 | -2.7242e-10
162.138 | -2.712e-10
161.997 | -2.7119e-10
161.845 | -2.7084e-10
161.72 | -2.7167e-10
161.593 | -2.733e-10
161.469 | -2.7351e-10
161.334 | -2.726e-10
161.173 | -2.738e-10
160.936 | -2.7303e-10
160.763 | -2.74e-10
160.452 | -2.7326e-10
160.241 | -2.7237e-10
160.095 | -2.716e-10
159.962 | -2.7215e-10
159.837 | -2.7325e-10
159.707 | -2.7223e-10
159.59 | -2.7267e-10
159.469 | -2.7163e-10
159.359 | -2.7238e-10
159.248 | -2.7213e-10
159.131 | -2.7147e-10
159.02 | -2.7141e-10
158.902 | -2.7202e-10
158.786 | -2.7039e-10
158.654 | -2.7312e-10
158.524 | -2.7303e-10
158.372 | -2.7332e-10
158.221 | -2.7217e-10
158.078 | -2.7253e-10
157.946 | -2.7219e-10
157.798 | -2.7235e-10
157.642 | -2.7185e-10
157.48 | -2.7326e-10
157.243 | -2.709e-10
157.049 | -2.7236e-10
156.908 | -2.7179e-10
156.784 | -2.7252e-10
156.657 | -2.7316e-10
156.539 | -2.7248e-10
156.425 | -2.7343e-10
156.31 | -2.725e-10
156.196 | -2.7208e-10
156.092 | -2.7313e-10
155.982 | -2.7153e-10
155.877 | -2.7438e-10
155.761 | -2.7266e-10
155.639 | -2.7244e-10
155.527 | -2.7393e-10
155.413 | -2.7278e-10
155.314 | -2.727e-10
155.211 | -2.7264e-10
155.116 | -2.7278e-10
155.018 | -2.7327e-10
154.927 | -2.7204e-10
154.835 | -2.7252e-10
154.75 | -2.7095e-10
154.663 | -2.7182e-10
154.588 | -2.7078e-10
154.504 | -2.7235e-10
154.428 | -2.7105e-10
154.358 | -2.7199e-10
154.279 | -2.7125e-10
154.204 | -2.7183e-10
154.129 | -2.7117e-10
154.058 | -2.7325e-10
153.981 | -2.7095e-10
153.914 | -2.7209e-10
153.843 | -2.7329e-10
153.779 | -2.7357e-10
153.712 | -2.7442e-10
153.651 | -2.7342e-10
153.584 | -2.7367e-10
153.525 | -2.7272e-10
153.463 | -2.7287e-10
153.406 | -2.7407e-10
153.346 | -2.7374e-10
153.294 | -2.7326e-10
153.24 | -2.733e-10
153.19 | -2.7354e-10
153.133 | -2.7327e-10
153.081 | -2.7397e-10
153.031 | -2.755e-10
152.987 | -2.7352e-10
152.932 | -2.735e-10
152.875 | -2.7224e-10
152.814 | -2.7444e-10
152.724 | -2.7454e-10
152.639 | -2.7452e-10
152.555 | -2.7436e-10
152.48 | -2.73e-10
152.393 | -2.7348e-10
152.303 | -2.7192e-10
152.173 | -2.7273e-10
152.008 | -2.7305e-10
151.882 | -2.7335e-10
151.792 | -2.7396e-10
151.687 | -2.7337e-10
151.587 | -2.7197e-10
151.469 | -2.7387e-10
151.36 | -2.7377e-10
151.233 | -2.7161e-10
150.991 | -2.7106e-10
150.696 | -2.7305e-10
150.459 | -2.7228e-10
150.34 | -2.7147e-10
150.071 | -2.7167e-10
149.878 | -2.7268e-10
149.747 | -2.7204e-10
149.417 | -2.721e-10
149.156 | -2.7266e-10
149.013 | -2.7137e-10
148.852 | -2.7278e-10
148.673 | -2.7155e-10
148.454 | -2.7177e-10
148.281 | -2.7126e-10
148.023 | -2.7164e-10
147.756 | -2.7084e-10
147.491 | -2.715e-10
147.25 | -2.7204e-10
146.868 | -2.7249e-10
146.618 | -2.7151e-10
146.437 | -2.7244e-10
146.111 | -2.7346e-10
145.79 | -2.7467e-10
145.596 | -2.7491e-10
145.368 | -2.7353e-10
145.078 | -2.7424e-10
144.781 | -2.7433e-10
144.412 | -2.7266e-10
144.118 | -2.7295e-10
143.64 | -2.7139e-10
143.156 | -2.7236e-10
142.614 | -2.7196e-10
142.2 | -2.7321e-10
141.908 | -2.7234e-10
141.619 | -2.7397e-10
141.217 | -2.7352e-10
140.907 | -2.737e-10
140.694 | -2.7356e-10
140.447 | -2.7233e-10
140.175 | -2.722e-10
139.906 | -2.7346e-10
139.691 | -2.7238e-10
139.458 | -2.7224e-10
139.184 | -2.7275e-10
138.9 | -2.7105e-10
138.684 | -2.7033e-10
138.466 | -2.6987e-10
138.262 | -2.7142e-10
138.008 | -2.7038e-10
137.675 | -2.7109e-10
137.271 | -2.7191e-10
137.051 | -2.7129e-10
136.787 | -2.7149e-10
136.485 | -2.7248e-10
136.088 | -2.7188e-10
135.807 | -2.7154e-10
135.579 | -2.7133e-10
135.358 | -2.732e-10
135.153 | -2.7173e-10
134.93 | -2.7084e-10
134.7 | -2.7108e-10
134.416 | -2.7194e-10
134.164 | -2.7182e-10
133.936 | -2.7211e-10
133.629 | -2.7224e-10
133.315 | -2.7056e-10
132.869 | -2.7276e-10
132.545 | -2.7164e-10
132.232 | -2.7214e-10
131.792 | -2.7172e-10
131.206 | -2.7352e-10
130.895 | -2.735e-10
130.551 | -2.7297e-10
130.286 | -2.7257e-10
129.994 | -2.7172e-10
129.681 | -2.7149e-10
129.315 | -2.7039e-10
129.002 | -2.7225e-10
128.738 | -2.715e-10
128.476 | -2.7335e-10
128.182 | -2.736e-10
127.72 | -2.7342e-10
127.28 | -2.7262e-10
126.916 | -2.7269e-10
126.58 | -2.7252e-10
126.283 | -2.7213e-10
125.979 | -2.7132e-10
125.716 | -2.7296e-10
125.478 | -2.7326e-10
125.209 | -2.7386e-10
124.923 | -2.7154e-10
124.661 | -2.7165e-10
124.457 | -2.7218e-10
124.259 | -2.7258e-10
124.087 | -2.7334e-10
123.912 | -2.7264e-10
123.749 | -2.7285e-10
123.6 | -2.7282e-10
123.457 | -2.7304e-10
123.324 | -2.7215e-10
123.196 | -2.7248e-10
123.081 | -2.717e-10
122.966 | -2.7318e-10
122.861 | -2.7241e-10
122.76 | -2.7232e-10
122.669 | -2.7322e-10
122.576 | -2.7343e-10
122.485 | -2.7278e-10
122.405 | -2.7202e-10
122.327 | -2.7314e-10
122.254 | -2.72e-10
122.185 | -2.72e-10
122.123 | -2.7128e-10
122.062 | -2.7309e-10
122.009 | -2.7285e-10
121.966 | -2.7272e-10
121.926 | -2.7345e-10
121.885 | -2.7432e-10
121.833 | -2.7401e-10
121.724 | -2.7406e-10
121.436 | -2.732e-10
121.231 | -2.7408e-10
120.963 | -2.7369e-10
120.835 | -2.729e-10
120.628 | -2.7335e-10
120.322 | -2.7298e-10
120.04 | -2.7352e-10
119.657 | -2.7195e-10
119.24 | -2.7239e-10
118.906 | -2.7289e-10
118.562 | -2.7419e-10
118.284 | -2.7216e-10
118.12 | -2.7376e-10
117.887 | -2.7352e-10
117.702 | -2.7347e-10
117.445 | -2.7354e-10
117.19 | -2.7325e-10
116.947 | -2.7399e-10
116.62 | -2.7437e-10
116.343 | -2.7285e-10
115.885 | -2.7438e-10
115.547 | -2.7453e-10
115.178 | -2.7498e-10
114.697 | -2.727e-10
114.19 | -2.7421e-10
113.569 | -2.7456e-10
112.94 | -2.7549e-10
112.247 | -2.7475e-10
111.685 | -2.7491e-10
111.166 | -2.7553e-10
110.599 | -2.7476e-10
110.183 | -2.7406e-10
109.817 | -2.7516e-10
109.497 | -2.7459e-10
109.161 | -2.7529e-10
108.821 | -2.7467e-10
108.479 | -2.7497e-10
108.112 | -2.75e-10
107.713 | -2.7537e-10
107.353 | -2.74e-10
107.091 | -2.7475e-10
106.896 | -2.7439e-10
106.761 | -2.7583e-10
106.672 | -2.7652e-10
106.608 | -2.7367e-10
106.569 | -2.7599e-10
106.537 | -2.7464e-10
106.498 | -2.7451e-10
106.451 | -2.76e-10
106.372 | -2.7486e-10
106.2 | -2.7345e-10
105.962 | -2.7479e-10
105.875 | -2.7573e-10
105.828 | -2.7381e-10
105.767 | -2.7578e-10
105.702 | -2.7624e-10
105.597 | -2.7509e-10
105.445 | -2.7486e-10
105.314 | -2.749e-10
105.19 | -2.7469e-10
105.057 | -2.7451e-10
104.926 | -2.749e-10
104.82 | -2.7377e-10
104.729 | -2.7422e-10
104.659 | -2.7405e-10
104.611 | -2.741e-10
104.573 | -2.738e-10
104.54 | -2.7384e-10
104.508 | -2.7584e-10
104.477 | -2.7711e-10
104.457 | -2.7512e-10
104.441 | -2.7307e-10
104.431 | -2.7313e-10
104.434 | -2.7424e-10
104.434 | -2.7246e-10
104.431 | -2.7315e-10
104.427 | -2.7364e-10
104.423 | -2.7366e-10
104.422 | -2.7326e-10
104.433 | -2.7329e-10
104.446 | -2.7466e-10
104.46 | -2.7465e-10
104.465 | -2.7441e-10
104.45 | -2.7534e-10
104.421 | -2.7465e-10
104.434 | -2.7509e-10
104.454 | -2.7576e-10
104.473 | -2.7595e-10
104.497 | -2.7569e-10
104.525 | -2.7446e-10
104.557 | -2.7537e-10
104.593 | -2.7526e-10
104.63 | -2.745e-10
104.67 | -2.7665e-10
104.706 | -2.7548e-10
104.738 | -2.7607e-10
104.762 | -2.7582e-10
104.791 | -2.7478e-10
104.819 | -2.7579e-10
104.862 | -2.7554e-10
104.9 | -2.7454e-10
104.937 | -2.7502e-10
104.917 | -2.7631e-10
104.888 | -2.739e-10
104.897 | -2.7565e-10
104.927 | -2.7376e-10
104.957 | -2.756e-10
104.983 | -2.7443e-10
105 | -2.7435e-10
105.012 | -2.747e-10
105.017 | -2.7482e-10
105.025 | -2.7402e-10
105.038 | -2.7495e-10
105.057 | -2.7474e-10
105.077 | -2.7485e-10
105.103 | -2.7553e-10
105.122 | -2.7445e-10
105.123 | -2.7485e-10
105.117 | -2.7556e-10
105.098 | -2.7482e-10
105.102 | -2.7406e-10
105.109 | -2.7338e-10
105.109 | -2.7557e-10
105.091 | -2.7496e-10
104.87 | -2.76e-10
104.729 | -2.7544e-10
104.738 | -2.7511e-10
104.748 | -2.7466e-10
104.756 | -2.7517e-10
104.737 | -2.7458e-10
104.634 | -2.7433e-10
104.554 | -2.733e-10
104.563 | -2.7336e-10
104.563 | -2.7435e-10
104.549 | -2.7465e-10
104.386 | -2.7531e-10
104.058 | -2.7605e-10
103.999 | -2.7567e-10
103.992 | -2.7576e-10
103.985 | -2.7489e-10
103.925 | -2.7342e-10
103.689 | -2.7573e-10
103.554 | -2.7442e-10
103.462 | -2.742e-10
103.389 | -2.7514e-10
103.323 | -2.7446e-10
103.257 | -2.7336e-10
103.149 | -2.732e-10
103.056 | -2.7401e-10
102.96 | -2.7345e-10
102.874 | -2.7292e-10
102.787 | -2.7297e-10
102.631 | -2.7194e-10
102.493 | -2.738e-10
102.318 | -2.7503e-10
102.148 | -2.7418e-10
102.026 | -2.7351e-10
101.892 | -2.7418e-10
101.773 | -2.7477e-10
101.614 | -2.7352e-10
101.459 | -2.7375e-10
101.306 | -2.7202e-10
101.188 | -2.7326e-10
101.085 | -2.7219e-10
100.975 | -2.7192e-10
100.844 | -2.729e-10
100.629 | -2.7234e-10
100.357 | -2.7319e-10
100.146 | -2.7265e-10
100.004 | -2.731e-10
99.1695 | -2.736e-10
97.867 | -2.7418e-10
96.467 | -2.7302e-10
95.5815 | -2.726e-10
94.9974 | -2.7171e-10
94.6524 | -2.7315e-10
93.9304 | -2.7119e-10
92.1932 | -2.7319e-10
90.2262 | -2.7251e-10
89.3331 | -2.7448e-10
88.9298 | -2.7189e-10
88.7248 | -2.7242e-10
88.0109 | -2.7361e-10
84.9544 | -2.7209e-10
83.5959 | -2.7307e-10
83.4389 | -2.7416e-10
83.5854 | -2.7336e-10
83.6277 | -2.7179e-10
83.7373 | -2.7236e-10
82.5442 | -2.7116e-10
81.4556 | -2.7018e-10
80.8097 | -2.7084e-10
80.5104 | -2.6921e-10
80.3214 | -2.7003e-10
80.194 | -2.7087e-10
80.1291 | -2.6972e-10
80.1035 | -2.7063e-10
80.0873 | -2.7227e-10
80.0975 | -2.7127e-10
80.106 | -2.7184e-10

## Measurements
Temperature | Current
80.0515 | -7.9181e-10
80.3557 | -3.9104e-10
80.863 | -3.6833e-10
81.3617 | -3.4986e-10
81.8514 | -3.449e-10
82.3721 | -3.4085e-10
82.8791 | -3.3775e-10
83.353 | -3.3297e-10
83.8839 | -3.2382e-10
84.3805 | -3.1726e-10
84.8752 | -3.0987e-10
85.3752 | -3.0323e-10
85.8506 | -2.9631e-10
86.361 | -2.8922e-10
86.8648 | -2.7909e-10
87.3688 | -2.7618e-10
87.8509 | -2.7713e-10
88.3877 | -2.7528e-10
88.8714 | -2.7439e-10
89.3668 | -2.7462e-10
89.8737 | -2.7375e-10
90.3701 | -2.7474e-10
90.8765 | -2.7384e-10
91.377 | -2.7288e-10
91.8911 | -2.7127e-10
92.3808 | -2.7197e-10
92.8707 | -2.7264e-10
93.3682 | -2.7193e-10
93.8834 | -2.7373e-10
94.376 | -2.7177e-10
94.8842 | -2.7029e-10
95.3655 | -2.7151e-10
95.8652 | -2.7356e-10
96.3552 | -2.7256e-10
96.8802 | -2.733e-10
97.3682 | -2.7235e-10
97.8865 | -2.7445e-10
98.3704 | -2.7494e-10
98.8566 | -2.7331e-10
99.3755 | -2.7409e-10
99.8512 | -2.7415e-10
100.353 | -2.7555e-10
100.858 | -2.7569e-10
101.363 | -2.7527e-10
101.858 | -2.7578e-10
102.37 | -2.7495e-10
102.862 | -2.742e-10
103.368 | -2.752e-10
103.863 | -2.7544e-10
104.352 | -2.7474e-10
104.856 | -2.7667e-10
105.366 | -2.7324e-10
105.862 | -2.7541e-10
106.373 | -2.7458e-10
106.864 | -2.7391e-10
107.373 | -2.7518e-10
107.907 | -2.7479e-10
108.358 | -2.7411e-10
108.871 | -2.7388e-10
109.352 | -2.7547e-10
109.857 | -2.7505e-10
110.373 | -2.7423e-10
110.853 | -2.7372e-10
111.375 | -2.7393e-10
111.867 | -2.7323e-10
112.372 | -2.733e-10
112.862 | -2.7416e-10
113.373 | -2.7383e-10
113.864 | -2.7389e-10
114.359 | -2.7536e-10
114.878 | -2.735e-10
115.366 | -2.7496e-10
115.878 | -2.7497e-10
116.371 | -2.7516e-10
116.858 | -2.7602e-10
117.353 | -2.7511e-10
117.867 | -2.7457e-10
118.362 | -2.7638e-10
118.945 | -2.7626e-10
119.365 | -2.7435e-10
119.861 | -2.7529e-10
120.352 | -2.7587e-10
120.877 | -2.7568e-10
121.361 | -2.7606e-10
121.853 | -2.7505e-10
122.355 | -2.7613e-10
122.859 | -2.7554e-10
123.365 | -2.7328e-10
123.871 | -2.7433e-10
124.355 | -2.7509e-10
124.861 | -2.749e-10
125.367 | -2.7344e-10
125.877 | -2.738e-10
126.364 | -2.755e-10
126.861 | -2.7676e-10
127.356 | -2.7622e-10
127.854 | -2.7695e-10
128.361 | -2.7728e-10
128.858 | -2.7499e-10
129.36 | -2.7632e-10
129.866 | -2.7427e-10
130.357 | -2.7422e-10
130.856 | -2.7546e-10
131.358 | -2.7373e-10
131.857 | -2.7376e-10
132.351 | -2.7385e-10
132.86 | -2.7498e-10
133.357 | -2.7411e-10
133.857 | -2.741e-10
134.358 | -2.736e-10
134.86 | -2.7405e-10
135.363 | -2.7238e-10
135.851 | -2.7259e-10
136.36 | -2.7359e-10
136.855 | -2.7488e-10
137.36 | -2.7432e-10
137.854 | -2.747e-10
138.363 | -2.7382e-10
138.872 | -2.7498e-10
139.369 | -2.748e-10
139.861 | -2.7551e-10
140.363 | -2.7408e-10
140.864 | -2.7421e-10
141.358 | -2.7553e-10
141.855 | -2.7484e-10
142.353 | -2.7497e-10
142.86 | -2.7461e-10
143.36 | -2.7454e-10
143.858 | -2.7703e-10
144.351 | -2.7463e-10
144.864 | -2.7528e-10
145.358 | -2.7572e-10
145.859 | -2.744e-10
146.357 | -2.746e-10
146.854 | -2.755e-10
147.37 | -2.7396e-10
147.86 | -2.7449e-10
148.369 | -2.7468e-10
148.859 | -2.7487e-10
149.358 | -2.7384e-10
149.864 | -2.7431e-10
150.353 | -2.7309e-10
150.858 | -2.7366e-10
151.357 | -2.723e-10
151.871 | -2.7349e-10
152.366 | -2.7474e-10
152.853 | -2.7311e-10
153.351 | -2.7433e-10
153.867 | -2.7553e-10
154.353 | -2.7408e-10
154.864 | -2.735e-10
155.365 | -2.7471e-10
155.857 | -2.7322e-10
156.364 | -2.7288e-10
156.853 | -2.7426e-10
157.354 | -2.7574e-10
157.857 | -2.7427e-10
158.365 | -2.7373e-10
158.862 | -2.7323e-10
159.365 | -2.7444e-10
159.857 | -2.7264e-10
160.357 | -2.7318e-10
160.862 | -2.7327e-10
161.362 | -2.7262e-10
161.852 | -2.7313e-10
162.352 | -2.7194e-10
162.859 | -2.7322e-10
163.366 | -2.7245e-10
163.856 | -2.7406e-10
164.364 | -2.745e-10
164.86 | -2.7453e-10
165.355 | -2.7315e-10
165.853 | -2.7219e-10
166.353 | -2.7401e-10
166.861 | -2.7506e-10
167.362 | -2.7449e-10
167.859 | -2.7676e-10
168.361 | -2.7749e-10
168.853 | -2.7548e-10
169.354 | -2.7511e-10
169.853 | -2.7456e-10
170.361 | -2.7345e-10
170.859 | -2.7451e-10
171.365 | -2.7408e-10
171.862 | -2.7475e-10
172.352 | -2.7407e-10
172.854 | -2.7431e-10
173.365 | -2.7308e-10
173.859 | -2.7306e-10
174.354 | -2.7491e-10
174.858 | -2.7403e-10
175.36 | -2.7386e-10
175.86 | -2.7186e-10
176.355 | -2.7451e-10
176.852 | -2.7462e-10
177.356 | -2.7461e-10
177.854 | -2.7477e-10
178.356 | -2.733e-10
178.858 | -2.7335e-10
179.363 | -2.7402e-10
179.861 | -2.7336e-10
180.357 | -2.7419e-10
180.86 | -2.7428e-10
181.353 | -2.7235e-10
181.855 | -2.7161e-10
182.356 | -2.7163e-10
182.858 | -2.7246e-10
183.36 | -2.7192e-10
183.861 | -2.7275e-10
184.358 | -2.7404e-10
184.855 | -2.7392e-10
185.352 | -2.7358e-10
185.858 | -2.7355e-10
186.357 | -2.7241e-10
186.853 | -2.7228e-10
187.353 | -2.7229e-10
187.857 | -2.7256e-10
188.351 | -2.7135e-10
188.851 | -2.7196e-10
189.356 | -2.7177e-10
189.852 | -2.733e-10
190.362 | -2.7401e-10
190.862 | -2.7233e-10
191.356 | -2.7342e-10
191.855 | -2.722e-10
192.353 | -2.7294e-10
192.857 | -2.7244e-10
193.356 | -2.7249e-10
193.863 | -2.7336e-10
194.353 | -2.7395e-10
194.851 | -2.7291e-10
195.36 | -2.7334e-10
195.851 | -2.7312e-10
196.362 | -2.7346e-10
196.856 | -2.7279e-10
197.365 | -2.7281e-10
197.853 | -2.7255e-10
198.355 | -2.7152e-10
198.852 | -2.7007e-10
199.36 | -2.721e-10
199.851 | -2.736e-10
200.356 | -2.7267e-10
200.854 | -2.7267e-10
201.355 | -2.7245e-10
201.851 | -2.7246e-10
202.358 | -2.7175e-10
202.858 | -2.7241e-10
203.357 | -2.7063e-10
203.857 | -2.7261e-10
204.362 | -2.711e-10
204.857 | -2.713e-10
205.351 | -2.718e-10
205.852 | -2.716e-10
206.363 | -2.7186e-10
206.853 | -2.7105e-10
207.361 | -2.7235e-10
207.861 | -2.7181e-10
208.36 | -2.7264e-10
208.86 | -2.7482e-10
209.359 | -2.7363e-10
209.854 | -2.7215e-10
210.359 | -2.7258e-10
210.857 | -2.7305e-10
211.357 | -2.7296e-10
211.853 | -2.7355e-10
212.358 | -2.7438e-10
212.857 | -2.7411e-10
213.353 | -2.7484e-10
213.855 | -2.7422e-10
214.359 | -2.7391e-10
214.853 | -2.7494e-10
215.352 | -2.7491e-10
215.852 | -2.7401e-10
216.355 | -2.7474e-10
216.853 | -2.7531e-10
217.356 | -2.7421e-10
217.857 | -2.7496e-10
218.353 | -2.7419e-10
218.858 | -2.7358e-10
219.357 | -2.7464e-10
219.861 | -2.7457e-10
220.352 | -2.7414e-10
220.858 | -2.7298e-10
221.356 | -2.7225e-10
221.857 | -2.747e-10
222.355 | -2.7238e-10
222.857 | -2.7337e-10
223.355 | -2.74e-10
223.852 | -2.733e-10
224.355 | -2.743e-10
224.855 | -2.7368e-10
225.352 | -2.738e-10
225.855 | -2.7274e-10
226.356 | -2.7304e-10
226.852 | -2.7334e-10
227.357 | -2.7303e-10
227.856 | -2.7213e-10
228.355 | -2.7134e-10
228.856 | -2.7281e-10
229.357 | -2.7236e-10
229.851 | -2.7137e-10
230.356 | -2.7375e-10
230.855 | -2.7313e-10
231.355 | -2.7324e-10
231.857 | -2.7258e-10
232.356 | -2.7429e-10
232.855 | -2.7292e-10
233.36 | -2.7388e-10
233.851 | -2.7402e-10
234.353 | -2.751e-10
234.856 | -2.7449e-10
235.353 | -2.7356e-10
235.858 | -2.7404e-10
236.356 | -2.7643e-10
236.858 | -2.7433e-10
237.358 | -2.7506e-10
237.855 | -2.7478e-10
238.351 | -2.756e-10
238.852 | -2.7554e-10
239.354 | -2.749e-10
239.858 | -2.7353e-10
240.353 | -2.7389e-10
240.862 | -2.7511e-10
241.361 | -2.7506e-10
241.859 | -2.7409e-10
242.354 | -2.745e-10
242.855 | -2.7553e-10
243.377 | -2.7596e-10
243.861 | -2.743e-10
244.353 | -2.7338e-10
244.865 | -2.7507e-10
245.357 | -2.7464e-10
245.857 | -2.759e-10
246.363 | -2.7687e-10
246.854 | -2.7547e-10
247.357 | -2.7562e-10
247.863 | -2.7595e-10
248.363 | -2.7351e-10
248.863 | -2.7259e-10
249.359 | -2.7341e-10
249.861 | -2.7346e-10
250.352 | -2.7311e-10
250.86 | -2.7387e-10
251.362 | -2.7383e-10
251.864 | -2.7377e-10
252.355 | -2.7329e-10
252.858 | -2.7176e-10
253.355 | -2.7198e-10
253.861 | -2.7187e-10
254.352 | -2.7252e-10
254.854 | -2.7302e-10
255.354 | -2.7326e-10
255.857 | -2.731e-10
256.362 | -2.7165e-10
256.864 | -2.7261e-10
257.355 | -2.716e-10
257.862 | -2.7138e-10
258.36 | -2.7117e-10
258.861 | -2.7192e-10
259.361 | -2.72e-10
259.857 | -2.7055e-10
260.355 | -2.7115e-10
260.86 | -2.7165e-10
261.36 | -2.7199e-10
261.858 | -2.7329e-10
262.365 | -2.7228e-10
262.86 | -2.7178e-10
263.379 | -2.7184e-10
263.852 | -2.7148e-10
264.352 | -2.7087e-10
264.876 | -2.711e-10
265.373 | -2.6982e-10
265.866 | -2.6919e-10
266.358 | -2.7005e-10
266.873 | -2.7099e-10
267.363 | -2.7106e-10
267.851 | -2.7092e-10
268.363 | -2.7008e-10
268.876 | -2.7118e-10
269.359 | -2.708e-10
269.869 | -2.715e-10
270.376 | -2.711e-10
270.861 | -2.7146e-10
271.352 | -2.709e-10
271.851 | -2.6936e-10
272.363 | -2.7152e-10
272.865 | -2.7115e-10
273.352 | -2.7314e-10
273.857 | -2.7251e-10
274.372 | -2.7253e-10
274.889 | -2.7152e-10
275.364 | -2.7043e-10
275.885 | -2.6984e-10
276.371 | -2.6963e-10
276.856 | -2.7194e-10
277.377 | -2.7221e-10
277.857 | -2.7223e-10
278.376 | -2.7218e-10
278.852 | -2.7246e-10
279.37 | -2.7134e-10
279.881 | -2.7265e-10
280.353 | -2.756e-10
280.866 | -2.7314e-10
281.378 | -2.7205e-10
281.851 | -2.7269e-10
282.362 | -2.7235e-10
282.872 | -2.7257e-10
283.384 | -2.7175e-10
283.855 | -2.7151e-10
284.364 | -2.7127e-10
284.875 | -2.7253e-10
285.383 | -2.717e-10
285.853 | -2.7124e-10
286.363 | -2.7304e-10
286.871 | -2.7266e-10
287.381 | -2.7276e-10
287.889 | -2.7334e-10
288.357 | -2.7207e-10
288.866 | -2.726e-10
289.372 | -2.7308e-10
289.88 | -2.7161e-10
290.387 | -2.7183e-10
290.854 | -2.7051e-10
291.361 | -2.7161e-10
291.868 | -2.7148e-10
292.374 | -2.7088e-10
292.879 | -2.7262e-10
293.384 | -2.7084e-10
293.852 | -2.7169e-10
294.356 | -2.7084e-10
294.86 | -2.7448e-10
295.364 | -2.7306e-10
295.868 | -2.726e-10
296.371 | -2.7385e-10
296.875 | -2.7325e-10
297.377 | -2.7331e-10
297.88 | -2.7413e-10
298.383 | -2.7291e-10
298.88 | -2.7222e-10
299.377 | -2.7355e-10
299.875 | -2.7182e-10
300.371 | -2.7285e-10
300.867 | -2.7218e-10
301.362 | -2.743e-10
301.857 | -2.7373e-10
302.353 | -2.7162e-10
302.886 | -2.7285e-10
303.38 | -2.7348e-10
303.874 | -2.7286e-10
304.366 | -2.7326e-10
304.86 | -2.7214e-10
305.352 | -2.724e-10
305.884 | -2.7227e-10
306.375 | -2.7094e-10
306.869 | -2.7104e-10
307.36 | -2.7448e-10
307.851 | -2.729e-10
308.379 | -2.7317e-10
308.87 | -2.7391e-10
309.36 | -2.7379e-10
309.888 | -2.7341e-10
310.377 | -2.726e-10
310.867 | -2.7257e-10
311.355 | -2.7224e-10
311.881 | -2.7153e-10
312.37 | -2.7093e-10
312.858 | -2.7263e-10
313.384 | -2.7107e-10
313.872 | -2.6995e-10
314.358 | -2.7118e-10
314.882 | -2.7164e-10
315.37 | -2.7201e-10
315.856 | -2.7274e-10
316.383 | -2.7246e-10
316.867 | -2.7404e-10
317.353 | -2.7291e-10
317.875 | -2.7269e-10
318.36 | -2.7306e-10
318.883 | -2.726e-10
319.366 | -2.7354e-10
319.852 | -2.727e-10