## Settings
Sample Info | v16m20-02
Sample Description | irradiated 20 keV, 500 mkC/cm2, run 02
Major Measurement Parameters
Starting Temperature | 316.175
Initial Temperature | 81
Final Temperature | 320
Preliminary Voltage | 10
Pulse Voltage | 10
Pulse Time | 5
Measurement Voltage | -5.5
Subsidiary Measurement Parameters
Step | 0.5
Accuracy Step | 0.1
Accuracy Stable | 1
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 10
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 5
Measurecount | 1
время
Date | 23.8.2023
Time | 13:50:21

## Stabilization
Temperature | Current
316.108 | -2.672e-10
316.062 | -2.7102e-10
316.029 | -2.7214e-10
315.999 | -2.7266e-10
315.967 | -2.728e-10
315.898 | -2.7159e-10
315.274 | -2.7215e-10
314.839 | -2.7293e-10
314.491 | -2.7366e-10
313.95 | -2.7397e-10
313.211 | -2.7323e-10
312.365 | -2.7353e-10
311.515 | -2.7407e-10
310.654 | -2.7327e-10
309.803 | -2.7373e-10
308.753 | -2.7345e-10
307.747 | -2.7411e-10
306.866 | -2.7338e-10
305.81 | -2.7329e-10
304.854 | -2.7481e-10
303.933 | -2.7432e-10
302.855 | -2.7454e-10
301.771 | -2.7561e-10
300.888 | -2.7449e-10
299.982 | -2.7401e-10
298.93 | -2.7452e-10
297.909 | -2.7622e-10
297.002 | -2.7571e-10
295.952 | -2.7412e-10
294.95 | -2.7391e-10
294.047 | -2.7297e-10
292.966 | -2.7391e-10
292.068 | -2.7261e-10
291.111 | -2.7301e-10
290.032 | -2.7403e-10
289.074 | -2.7516e-10
287.999 | -2.746e-10
287.013 | -2.7443e-10
286.199 | -2.7336e-10
285.147 | -2.7403e-10
284.231 | -2.7335e-10
283.255 | -2.7487e-10
282.251 | -2.7463e-10
281.42 | -2.7499e-10
280.45 | -2.74e-10
279.398 | -2.7488e-10
278.604 | -2.7382e-10
277.791 | -2.7434e-10
276.953 | -2.7434e-10
276.054 | -2.7436e-10
275.071 | -2.7454e-10
274.369 | -2.7461e-10
273.32 | -2.7492e-10
272.555 | -2.7551e-10
271.677 | -2.7351e-10
270.88 | -2.7575e-10
270.046 | -2.7461e-10
269.13 | -2.7514e-10
268.464 | -2.75e-10
267.436 | -2.7561e-10
266.789 | -2.7526e-10
265.853 | -2.7438e-10
265.155 | -2.755e-10
264.207 | -2.7632e-10
263.498 | -2.7535e-10
262.659 | -2.7491e-10
261.951 | -2.7501e-10
261.204 | -2.7346e-10
260.395 | -2.7443e-10
259.734 | -2.7434e-10
259.001 | -2.732e-10
258.33 | -2.7377e-10
257.601 | -2.7434e-10
257.031 | -2.7291e-10
256.304 | -2.7376e-10
255.713 | -2.7419e-10
255.069 | -2.7532e-10
254.572 | -2.7397e-10
253.789 | -2.7507e-10
253.332 | -2.7665e-10
252.74 | -2.7563e-10
252.284 | -2.758e-10
251.644 | -2.7626e-10
251.224 | -2.7644e-10
250.734 | -2.7619e-10
250.266 | -2.7593e-10
249.917 | -2.7607e-10
249.609 | -2.7505e-10
249.343 | -2.7702e-10
249.017 | -2.7516e-10
248.778 | -2.7468e-10
248.441 | -2.7546e-10
248.215 | -2.7623e-10
247.989 | -2.7468e-10
247.752 | -2.7728e-10
247.492 | -2.7721e-10
247.256 | -2.7691e-10
247.015 | -2.7761e-10
246.772 | -2.762e-10
246.542 | -2.7644e-10
246.309 | -2.7492e-10
246.04 | -2.7541e-10
245.807 | -2.7752e-10
245.583 | -2.764e-10
245.355 | -2.7756e-10
245.135 | -2.7861e-10
244.907 | -2.7682e-10
244.671 | -2.7726e-10
244.457 | -2.7678e-10
244.241 | -2.7619e-10
244.027 | -2.7587e-10
243.812 | -2.7595e-10
243.584 | -2.7689e-10
243.338 | -2.7581e-10
243.106 | -2.7723e-10
242.886 | -2.7649e-10
242.668 | -2.7738e-10
242.434 | -2.759e-10
242.215 | -2.7793e-10
241.984 | -2.7669e-10
241.752 | -2.7661e-10
241.521 | -2.7725e-10
241.304 | -2.7577e-10
241.089 | -2.7608e-10
240.862 | -2.7594e-10
240.648 | -2.7559e-10
240.424 | -2.7702e-10
240.206 | -2.7526e-10
239.976 | -2.7633e-10
239.754 | -2.782e-10
239.533 | -2.7684e-10
239.276 | -2.7765e-10
239 | -2.7777e-10
238.667 | -2.7568e-10
238.441 | -2.7792e-10
238.19 | -2.7706e-10
237.951 | -2.7541e-10
237.733 | -2.7576e-10
237.51 | -2.7563e-10
237.268 | -2.7675e-10
237.041 | -2.7672e-10
236.807 | -2.7665e-10
236.554 | -2.7483e-10
236.326 | -2.7408e-10
236.096 | -2.7589e-10
235.869 | -2.7596e-10
235.631 | -2.7522e-10
235.397 | -2.7671e-10
235.128 | -2.7593e-10
234.829 | -2.7656e-10
234.561 | -2.7646e-10
234.317 | -2.7685e-10
234.078 | -2.7601e-10
233.822 | -2.7742e-10
233.585 | -2.7659e-10
233.347 | -2.7651e-10
233.097 | -2.7611e-10
232.856 | -2.7618e-10
232.602 | -2.7596e-10
232.366 | -2.7605e-10
232.132 | -2.7588e-10
231.877 | -2.7688e-10
231.64 | -2.7607e-10
231.404 | -2.7676e-10
231.163 | -2.7695e-10
230.926 | -2.7684e-10
230.673 | -2.7771e-10
230.435 | -2.7775e-10
230.195 | -2.7673e-10
229.942 | -2.7603e-10
229.705 | -2.7872e-10
229.471 | -2.7859e-10
229.216 | -2.7861e-10
228.978 | -2.7878e-10
228.742 | -2.7868e-10
228.507 | -2.7802e-10
228.258 | -2.7809e-10
228.005 | -2.777e-10
227.75 | -2.781e-10
227.512 | -2.7744e-10
227.255 | -2.7784e-10
227.015 | -2.7755e-10
226.78 | -2.783e-10
226.541 | -2.7811e-10
226.286 | -2.783e-10
226.053 | -2.7856e-10
225.819 | -2.8161e-10
225.573 | -2.8124e-10
225.337 | -2.8023e-10
225.106 | -2.8029e-10
224.847 | -2.7894e-10
224.6 | -2.7935e-10
224.365 | -2.7906e-10
224.128 | -2.7896e-10
223.872 | -2.7912e-10
223.636 | -2.7962e-10
223.406 | -2.789e-10
223.17 | -2.8129e-10
222.912 | -2.7968e-10
222.668 | -2.7896e-10
222.432 | -2.7974e-10
222.182 | -2.7839e-10
221.942 | -2.7912e-10
221.691 | -2.7734e-10
221.456 | -2.7814e-10
221.205 | -2.776e-10
220.966 | -2.7936e-10
220.731 | -2.7761e-10
220.476 | -2.785e-10
220.23 | -2.7811e-10
219.991 | -2.7785e-10
219.736 | -2.7891e-10
219.493 | -2.7911e-10
219.236 | -2.797e-10
218.998 | -2.7958e-10
218.762 | -2.7931e-10
218.513 | -2.7872e-10
218.275 | -2.7742e-10
218.041 | -2.7952e-10
217.783 | -2.8099e-10
217.543 | -2.8024e-10
217.311 | -2.7898e-10
217.041 | -2.7846e-10
216.788 | -2.7935e-10
216.555 | -2.7788e-10
216.298 | -2.7878e-10
216.058 | -2.794e-10
215.81 | -2.7924e-10
215.567 | -2.7979e-10
215.334 | -2.8112e-10
215.085 | -2.7936e-10
214.849 | -2.7819e-10
214.612 | -2.7843e-10
214.361 | -2.7877e-10
214.129 | -2.7825e-10
213.891 | -2.7902e-10
213.633 | -2.7859e-10
213.401 | -2.788e-10
213.151 | -2.7878e-10
212.918 | -2.7902e-10
212.686 | -2.7761e-10
212.435 | -2.7803e-10
212.202 | -2.7725e-10
211.954 | -2.7882e-10
211.721 | -2.8093e-10
211.489 | -2.8053e-10
211.243 | -2.823e-10
211.003 | -2.8185e-10
210.773 | -2.8106e-10
210.526 | -2.818e-10
210.293 | -2.8188e-10
210.049 | -2.8104e-10
209.819 | -2.8084e-10
209.59 | -2.8165e-10
209.347 | -2.8024e-10
209.121 | -2.804e-10
208.889 | -2.8131e-10
208.642 | -2.815e-10
208.412 | -2.8224e-10
208.166 | -2.8022e-10
207.929 | -2.8028e-10
207.703 | -2.7875e-10
207.456 | -2.8149e-10
207.221 | -2.8168e-10
206.992 | -2.8163e-10
206.763 | -2.8195e-10
206.516 | -2.817e-10
206.291 | -2.7993e-10
206.072 | -2.791e-10
205.833 | -2.8153e-10
205.61 | -2.8063e-10
205.383 | -2.8036e-10
205.141 | -2.8018e-10
204.915 | -2.8006e-10
204.693 | -2.787e-10
204.456 | -2.8012e-10
204.217 | -2.7864e-10
203.993 | -2.7833e-10
203.765 | -2.7958e-10
203.527 | -2.7957e-10
203.303 | -2.7948e-10
203.064 | -2.794e-10
202.839 | -2.7942e-10
202.618 | -2.7924e-10
202.379 | -2.7952e-10
202.156 | -2.7885e-10
201.933 | -2.7961e-10
201.689 | -2.7922e-10
201.468 | -2.7999e-10
201.242 | -2.7927e-10
201.005 | -2.8014e-10
200.779 | -2.7997e-10
200.556 | -2.7979e-10
200.312 | -2.7812e-10
200.087 | -2.7931e-10
199.85 | -2.8094e-10
199.622 | -2.7983e-10
199.394 | -2.7972e-10
199.161 | -2.8087e-10
198.938 | -2.7977e-10
198.595 | -2.8002e-10
198.354 | -2.7959e-10
198.13 | -2.803e-10
197.89 | -2.7963e-10
197.663 | -2.7788e-10
197.418 | -2.7728e-10
197.176 | -2.765e-10
196.95 | -2.7673e-10
196.718 | -2.7716e-10
196.476 | -2.7707e-10
196.246 | -2.774e-10
196.018 | -2.7925e-10
195.779 | -2.7763e-10
195.552 | -2.7836e-10
195.309 | -2.7857e-10
195.083 | -2.7853e-10
194.858 | -2.7783e-10
194.617 | -2.7645e-10
194.391 | -2.7741e-10
194.154 | -2.7797e-10
193.931 | -2.7665e-10
193.711 | -2.7609e-10
193.472 | -2.7671e-10
193.252 | -2.7834e-10
193.031 | -2.7703e-10
192.798 | -2.7878e-10
192.58 | -2.7817e-10
192.345 | -2.7885e-10
192.122 | -2.7737e-10
191.9 | -2.7803e-10
191.668 | -2.7709e-10
191.451 | -2.7719e-10
191.219 | -2.7812e-10
190.999 | -2.7879e-10
190.763 | -2.7831e-10
190.543 | -2.7918e-10
190.309 | -2.7697e-10
190.09 | -2.7816e-10
189.877 | -2.7771e-10
189.64 | -2.7743e-10
189.422 | -2.7767e-10
189.188 | -2.7622e-10
188.972 | -2.7767e-10
188.744 | -2.7645e-10
188.528 | -2.7597e-10
188.313 | -2.7617e-10
188.089 | -2.7679e-10
187.88 | -2.7519e-10
187.659 | -2.7784e-10
187.454 | -2.758e-10
187.233 | -2.771e-10
187.028 | -2.7802e-10
186.811 | -2.7781e-10
186.607 | -2.788e-10
186.389 | -2.7872e-10
186.181 | -2.78e-10
185.978 | -2.8011e-10
185.763 | -2.7848e-10
185.565 | -2.7913e-10
185.355 | -2.7731e-10
185.157 | -2.7728e-10
184.943 | -2.7729e-10
184.742 | -2.7856e-10
184.543 | -2.7854e-10
184.33 | -2.7978e-10
184.134 | -2.8053e-10
183.921 | -2.8061e-10
183.699 | -2.8028e-10
183.479 | -2.7989e-10
183.277 | -2.7827e-10
183.066 | -2.8009e-10
182.868 | -2.7853e-10
182.661 | -2.7886e-10
182.45 | -2.8013e-10
182.258 | -2.804e-10
182.066 | -2.7763e-10
181.876 | -2.7995e-10
181.674 | -2.7941e-10
181.487 | -2.8126e-10
181.29 | -2.8016e-10
181.097 | -2.8094e-10
180.898 | -2.8039e-10
180.71 | -2.8008e-10
180.523 | -2.8015e-10
180.327 | -2.806e-10
180.146 | -2.8096e-10
179.967 | -2.8132e-10
179.776 | -2.8224e-10
179.595 | -2.8169e-10
179.405 | -2.8118e-10
179.227 | -2.8225e-10
179.052 | -2.796e-10
178.863 | -2.81e-10
178.677 | -2.8082e-10
178.505 | -2.7994e-10
178.33 | -2.8053e-10
178.144 | -2.7946e-10
177.969 | -2.7934e-10
177.784 | -2.7948e-10
177.618 | -2.7902e-10
177.434 | -2.7853e-10
177.252 | -2.8057e-10
177.084 | -2.7862e-10
176.903 | -2.7931e-10
176.713 | -2.7975e-10
176.537 | -2.8044e-10
176.372 | -2.8008e-10
176.199 | -2.8004e-10
176.021 | -2.8048e-10
175.858 | -2.8095e-10
175.686 | -2.8056e-10
175.512 | -2.793e-10
175.352 | -2.7963e-10
175.192 | -2.7911e-10
175.026 | -2.7888e-10
174.868 | -2.7961e-10
174.701 | -2.7928e-10
174.545 | -2.7957e-10
174.392 | -2.8065e-10
174.228 | -2.8104e-10
174.078 | -2.8117e-10
173.918 | -2.8046e-10
173.771 | -2.8002e-10
173.614 | -2.8059e-10
173.465 | -2.8005e-10
173.306 | -2.7941e-10
173.163 | -2.7941e-10
173.018 | -2.7868e-10
172.867 | -2.7926e-10
172.73 | -2.7831e-10
172.584 | -2.7899e-10
172.449 | -2.808e-10
172.304 | -2.788e-10
172.166 | -2.7812e-10
172.034 | -2.784e-10
171.891 | -2.8059e-10
171.762 | -2.7959e-10
171.626 | -2.7945e-10
171.5 | -2.789e-10
171.365 | -2.7847e-10
171.24 | -2.7835e-10
171.113 | -2.7775e-10
170.992 | -2.7897e-10
170.867 | -2.7897e-10
170.75 | -2.8032e-10
170.626 | -2.7898e-10
170.502 | -2.8003e-10
170.389 | -2.7946e-10
170.274 | -2.7824e-10
170.153 | -2.7728e-10
170.039 | -2.7732e-10
169.918 | -2.7803e-10
169.804 | -2.7789e-10
169.685 | -2.8026e-10
169.566 | -2.7973e-10
169.445 | -2.7976e-10
169.33 | -2.7964e-10
169.215 | -2.7755e-10
169.096 | -2.7986e-10
168.984 | -2.7921e-10
168.863 | -2.7879e-10
168.742 | -2.7786e-10
168.617 | -2.7817e-10
168.491 | -2.7878e-10
168.368 | -2.7766e-10
168.236 | -2.7825e-10
168.11 | -2.7987e-10
167.979 | -2.8014e-10
167.853 | -2.8006e-10
167.718 | -2.7895e-10
167.587 | -2.7694e-10
167.463 | -2.7847e-10
167.344 | -2.7852e-10
167.236 | -2.7869e-10
167.133 | -2.7856e-10
167.025 | -2.7899e-10
166.92 | -2.8009e-10
166.82 | -2.7885e-10
166.716 | -2.7879e-10
166.615 | -2.7722e-10
166.521 | -2.7856e-10
166.422 | -2.788e-10
166.331 | -2.7863e-10
166.236 | -2.7903e-10
166.146 | -2.7883e-10
166.055 | -2.7958e-10
165.969 | -2.7972e-10
165.887 | -2.7807e-10
165.8 | -2.7963e-10
165.719 | -2.7943e-10
165.634 | -2.7925e-10
165.554 | -2.7892e-10
165.473 | -2.8061e-10
165.398 | -2.7937e-10
165.318 | -2.7933e-10
165.245 | -2.7832e-10
165.168 | -2.8034e-10
165.096 | -2.7889e-10
165.024 | -2.7898e-10
164.951 | -2.7873e-10
164.885 | -2.7932e-10
164.813 | -2.7874e-10
164.751 | -2.7796e-10
164.681 | -2.793e-10
164.62 | -2.7744e-10
164.554 | -2.7811e-10
164.495 | -2.767e-10
164.431 | -2.7817e-10
164.373 | -2.7832e-10
164.309 | -2.8108e-10
164.254 | -2.7866e-10
164.195 | -2.7698e-10
164.142 | -2.79e-10
164.09 | -2.7873e-10
164.035 | -2.7822e-10
163.985 | -2.7785e-10
163.933 | -2.7865e-10
163.882 | -2.7761e-10
163.832 | -2.8017e-10
163.784 | -2.776e-10
163.734 | -2.7663e-10
163.689 | -2.7914e-10
163.641 | -2.7922e-10
163.598 | -2.7912e-10
163.554 | -2.7827e-10
163.511 | -2.7808e-10
163.471 | -2.7768e-10
163.428 | -2.7783e-10
163.391 | -2.7956e-10
163.351 | -2.8024e-10
163.315 | -2.8101e-10
163.276 | -2.8012e-10
163.242 | -2.8084e-10
163.205 | -2.8072e-10
163.171 | -2.8065e-10
163.136 | -2.8009e-10
163.103 | -2.7994e-10
163.068 | -2.7928e-10
163.036 | -2.7957e-10
163.004 | -2.7981e-10
162.971 | -2.7865e-10
162.943 | -2.7911e-10
162.912 | -2.8036e-10
162.884 | -2.7934e-10
162.853 | -2.7854e-10
162.824 | -2.7944e-10
162.795 | -2.7888e-10
162.769 | -2.7769e-10
162.741 | -2.7913e-10
162.71 | -2.7951e-10
162.684 | -2.7959e-10
162.658 | -2.7843e-10
162.631 | -2.7956e-10
162.604 | -2.8128e-10
162.578 | -2.8089e-10
162.553 | -2.8096e-10
162.527 | -2.8072e-10
162.502 | -2.8011e-10
162.476 | -2.7933e-10
162.451 | -2.786e-10
162.427 | -2.8025e-10
162.397 | -2.7981e-10
162.372 | -2.7788e-10
162.346 | -2.7964e-10
162.321 | -2.7885e-10
162.299 | -2.7801e-10
162.274 | -2.7774e-10
162.248 | -2.7683e-10
162.223 | -2.767e-10
162.197 | -2.7766e-10
162.174 | -2.7785e-10
162.147 | -2.7766e-10
162.11 | -2.7743e-10
162.075 | -2.7871e-10
162.044 | -2.792e-10
162.016 | -2.789e-10
161.985 | -2.772e-10
161.958 | -2.7741e-10
161.917 | -2.7883e-10
161.864 | -2.7889e-10
161.827 | -2.7839e-10
161.789 | -2.7795e-10
161.756 | -2.7765e-10
161.719 | -2.7815e-10
161.67 | -2.7912e-10
161.619 | -2.7812e-10
161.574 | -2.7781e-10
161.532 | -2.7751e-10
161.488 | -2.7829e-10
161.446 | -2.7756e-10
161.403 | -2.7929e-10
161.356 | -2.7968e-10
161.311 | -2.7917e-10
161.264 | -2.7879e-10
161.225 | -2.7824e-10
161.174 | -2.7769e-10
161.12 | -2.771e-10
161.066 | -2.7702e-10
161.025 | -2.7908e-10
160.98 | -2.7848e-10
160.935 | -2.7789e-10
160.889 | -2.7897e-10
160.841 | -2.7753e-10
160.792 | -2.7802e-10
160.745 | -2.7817e-10
160.696 | -2.784e-10
160.649 | -2.7775e-10
160.606 | -2.7805e-10
160.555 | -2.7975e-10
160.502 | -2.7926e-10
160.454 | -2.7873e-10
160.407 | -2.7801e-10
160.357 | -2.7891e-10
160.309 | -2.7876e-10
160.261 | -2.7921e-10
160.207 | -2.7818e-10
160.159 | -2.7996e-10
160.107 | -2.7962e-10
160.056 | -2.8001e-10
160.007 | -2.7934e-10
159.95 | -2.7915e-10
159.894 | -2.7737e-10
159.839 | -2.7904e-10
159.787 | -2.7904e-10
159.737 | -2.7754e-10
159.679 | -2.7867e-10
159.612 | -2.7771e-10
159.551 | -2.7682e-10
159.488 | -2.7722e-10
159.426 | -2.77e-10
159.368 | -2.7868e-10
159.302 | -2.7697e-10
159.235 | -2.7802e-10
159.173 | -2.7912e-10
159.106 | -2.7785e-10
159.042 | -2.7887e-10
158.983 | -2.7822e-10
158.914 | -2.7902e-10
158.837 | -2.7984e-10
158.76 | -2.7767e-10
158.69 | -2.77e-10
158.618 | -2.7773e-10
158.548 | -2.791e-10
158.483 | -2.7898e-10
158.407 | -2.7827e-10
158.331 | -2.7857e-10
158.255 | -2.7867e-10
158.185 | -2.7725e-10
158.115 | -2.7748e-10
158.043 | -2.7746e-10
157.937 | -2.7713e-10
157.835 | -2.7848e-10
157.745 | -2.789e-10
157.651 | -2.7856e-10
157.56 | -2.7763e-10
157.472 | -2.7803e-10
157.376 | -2.7771e-10
157.282 | -2.7728e-10
157.198 | -2.7733e-10
157.11 | -2.7976e-10
157.022 | -2.7768e-10
156.929 | -2.7769e-10
156.819 | -2.7736e-10
156.724 | -2.7806e-10
156.622 | -2.7837e-10
156.522 | -2.7923e-10
156.434 | -2.7885e-10
156.329 | -2.7999e-10
156.211 | -2.7834e-10
156.107 | -2.7835e-10
155.998 | -2.7882e-10
155.889 | -2.7843e-10
155.79 | -2.7784e-10
155.686 | -2.7656e-10
155.594 | -2.7696e-10
155.479 | -2.7827e-10
155.361 | -2.7731e-10
155.237 | -2.765e-10
155.124 | -2.7883e-10
155.014 | -2.7816e-10
154.901 | -2.7783e-10
154.788 | -2.7838e-10
154.668 | -2.768e-10
154.543 | -2.7959e-10
154.42 | -2.7768e-10
154.309 | -2.7864e-10
154.19 | -2.7609e-10
154.076 | -2.7703e-10
153.964 | -2.7824e-10
153.832 | -2.7899e-10
153.698 | -2.7933e-10
153.565 | -2.7947e-10
153.432 | -2.7897e-10
153.31 | -2.7812e-10
153.184 | -2.7745e-10
153.05 | -2.7857e-10
152.915 | -2.7831e-10
152.796 | -2.7816e-10
152.67 | -2.7817e-10
152.557 | -2.7678e-10
152.439 | -2.7813e-10
152.321 | -2.796e-10
152.183 | -2.7902e-10
152.052 | -2.7888e-10
151.923 | -2.7754e-10
151.796 | -2.7912e-10
151.675 | -2.7901e-10
151.556 | -2.7654e-10
151.429 | -2.7745e-10
151.294 | -2.7922e-10
151.158 | -2.7904e-10
151.022 | -2.7708e-10
150.904 | -2.7667e-10
150.774 | -2.7623e-10
150.648 | -2.7571e-10
150.529 | -2.7623e-10
150.374 | -2.7636e-10
150.215 | -2.7622e-10
150.068 | -2.7532e-10
149.915 | -2.7641e-10
149.777 | -2.758e-10
149.638 | -2.7553e-10
149.496 | -2.7647e-10
149.363 | -2.7468e-10
149.223 | -2.7497e-10
149.086 | -2.7541e-10
148.96 | -2.7495e-10
148.829 | -2.7407e-10
148.706 | -2.7565e-10
148.587 | -2.7585e-10
148.447 | -2.7683e-10
148.315 | -2.7534e-10
148.178 | -2.7651e-10
148.027 | -2.7602e-10
147.896 | -2.7493e-10
147.756 | -2.7493e-10
147.626 | -2.7458e-10
147.492 | -2.741e-10
147.363 | -2.7326e-10
147.243 | -2.7384e-10
147.119 | -2.7427e-10
146.998 | -2.7416e-10
146.873 | -2.7394e-10
146.744 | -2.7239e-10
146.608 | -2.7397e-10
146.482 | -2.7286e-10
146.351 | -2.7364e-10
146.222 | -2.7267e-10
146.1 | -2.7203e-10
145.961 | -2.7312e-10
145.816 | -2.7302e-10
145.687 | -2.7415e-10
145.549 | -2.7476e-10
145.42 | -2.7316e-10
145.288 | -2.7391e-10
145.158 | -2.7342e-10
145.037 | -2.735e-10
144.893 | -2.7415e-10
144.758 | -2.7523e-10
144.633 | -2.7396e-10
144.501 | -2.7249e-10
144.372 | -2.7481e-10
144.248 | -2.7447e-10
144.12 | -2.7459e-10
143.991 | -2.7323e-10
143.861 | -2.7365e-10
143.728 | -2.736e-10
143.603 | -2.7241e-10
143.488 | -2.7251e-10
143.354 | -2.7353e-10
143.209 | -2.7385e-10
143.072 | -2.7322e-10
142.938 | -2.739e-10
142.807 | -2.7471e-10
142.673 | -2.7395e-10
142.543 | -2.7405e-10
142.422 | -2.7404e-10
142.268 | -2.7436e-10
142.115 | -2.7361e-10
141.988 | -2.7348e-10
141.833 | -2.7206e-10
141.701 | -2.7334e-10
141.574 | -2.7305e-10
141.455 | -2.7254e-10
141.304 | -2.7367e-10
141.165 | -2.7193e-10
141.001 | -2.7246e-10
140.873 | -2.7204e-10
140.743 | -2.7278e-10
140.615 | -2.7464e-10
140.492 | -2.7383e-10
140.369 | -2.7265e-10
140.247 | -2.7368e-10
140.124 | -2.7351e-10
140.008 | -2.7254e-10
139.89 | -2.7225e-10
139.779 | -2.715e-10
139.662 | -2.7346e-10
139.533 | -2.7362e-10
139.415 | -2.7332e-10
139.292 | -2.735e-10
139.169 | -2.7313e-10
139.051 | -2.7371e-10
138.941 | -2.7273e-10
138.824 | -2.7332e-10
138.697 | -2.7454e-10
138.584 | -2.7366e-10
138.468 | -2.7225e-10
138.353 | -2.7276e-10
138.243 | -2.7231e-10
138.139 | -2.7221e-10
138.012 | -2.7281e-10
137.869 | -2.7368e-10
137.735 | -2.7338e-10
137.6 | -2.742e-10
137.484 | -2.7313e-10
137.365 | -2.7245e-10
137.24 | -2.7245e-10
137.11 | -2.7212e-10
136.987 | -2.7211e-10
136.842 | -2.7375e-10
136.715 | -2.739e-10
136.591 | -2.7246e-10
136.487 | -2.7293e-10
136.353 | -2.724e-10
136.19 | -2.7081e-10
136.007 | -2.7268e-10
135.834 | -2.7467e-10
135.692 | -2.7349e-10
135.554 | -2.7277e-10
135.432 | -2.7303e-10
135.275 | -2.7264e-10
135.127 | -2.7135e-10
134.946 | -2.7233e-10
134.794 | -2.739e-10
134.665 | -2.7262e-10
134.518 | -2.7378e-10
134.378 | -2.7378e-10
134.26 | -2.731e-10
134.118 | -2.7399e-10
134.01 | -2.7322e-10
133.898 | -2.7407e-10
133.771 | -2.7376e-10
133.637 | -2.7592e-10
133.496 | -2.7654e-10
133.334 | -2.7536e-10
133.195 | -2.7448e-10
133.071 | -2.7329e-10
132.951 | -2.7542e-10
132.85 | -2.7407e-10
132.74 | -2.7326e-10
132.625 | -2.7349e-10
132.516 | -2.7309e-10
132.412 | -2.7481e-10
132.298 | -2.7447e-10
132.203 | -2.7235e-10
132.103 | -2.7278e-10
131.997 | -2.715e-10
131.89 | -2.7338e-10
131.76 | -2.7229e-10
131.651 | -2.7362e-10
131.54 | -2.7302e-10
131.437 | -2.7268e-10
131.342 | -2.7408e-10
131.238 | -2.7343e-10
131.142 | -2.7397e-10
131.044 | -2.7488e-10
130.946 | -2.7556e-10
130.853 | -2.7433e-10
130.762 | -2.7291e-10
130.673 | -2.7322e-10
130.588 | -2.7651e-10
130.474 | -2.7533e-10
130.379 | -2.7441e-10
130.287 | -2.7531e-10
130.198 | -2.7688e-10
130.108 | -2.7474e-10
130.022 | -2.7528e-10
129.942 | -2.7562e-10
129.862 | -2.7536e-10
129.786 | -2.7535e-10
129.708 | -2.7524e-10
129.633 | -2.754e-10
129.557 | -2.7418e-10
129.478 | -2.7445e-10
129.4 | -2.7634e-10
129.32 | -2.7508e-10
129.235 | -2.7521e-10
129.155 | -2.7606e-10
129.078 | -2.7492e-10
128.989 | -2.7517e-10
128.901 | -2.7606e-10
128.818 | -2.7697e-10
128.733 | -2.7473e-10
128.646 | -2.7631e-10
128.565 | -2.7626e-10
128.475 | -2.7536e-10
128.383 | -2.7553e-10
128.286 | -2.7665e-10
128.18 | -2.755e-10
128.091 | -2.7624e-10
128.008 | -2.7499e-10
127.919 | -2.7376e-10
127.794 | -2.7585e-10
127.586 | -2.7646e-10
127.405 | -2.7654e-10
127.249 | -2.7649e-10
127.142 | -2.7535e-10
127.019 | -2.7595e-10
126.898 | -2.7517e-10
126.743 | -2.7496e-10
126.622 | -2.7625e-10
126.514 | -2.7627e-10
126.417 | -2.7674e-10
126.307 | -2.7573e-10
126.12 | -2.7714e-10
125.873 | -2.7543e-10
125.683 | -2.7441e-10
125.542 | -2.751e-10
125.407 | -2.7469e-10
125.271 | -2.7479e-10
125.136 | -2.7509e-10
124.996 | -2.7779e-10
124.877 | -2.7686e-10
124.767 | -2.7708e-10
124.668 | -2.7679e-10
124.577 | -2.7802e-10
124.477 | -2.7647e-10
124.385 | -2.7549e-10
124.284 | -2.7443e-10
124.186 | -2.7578e-10
124.093 | -2.7594e-10
124.001 | -2.7604e-10
123.915 | -2.7707e-10
123.813 | -2.7695e-10
123.703 | -2.7682e-10
123.574 | -2.7629e-10
123.474 | -2.758e-10
123.369 | -2.7609e-10
123.277 | -2.7539e-10
123.192 | -2.7616e-10
123.102 | -2.7506e-10
123.013 | -2.7571e-10
122.922 | -2.765e-10
122.835 | -2.7819e-10
122.755 | -2.7717e-10
122.677 | -2.7706e-10
122.591 | -2.7639e-10
122.502 | -2.7608e-10
122.406 | -2.7463e-10
122.315 | -2.764e-10
122.219 | -2.7613e-10
122.132 | -2.7588e-10
122.05 | -2.7541e-10
121.964 | -2.747e-10
121.875 | -2.74e-10
121.771 | -2.76e-10
121.65 | -2.7502e-10
121.553 | -2.7593e-10
121.469 | -2.7607e-10
121.393 | -2.7562e-10
121.314 | -2.7662e-10
121.229 | -2.7602e-10
121.138 | -2.7632e-10
121.053 | -2.758e-10
120.979 | -2.7645e-10
120.903 | -2.7782e-10
120.828 | -2.7494e-10
120.752 | -2.77e-10
120.673 | -2.767e-10
120.596 | -2.7745e-10
120.524 | -2.7712e-10
120.458 | -2.784e-10
120.387 | -2.7836e-10
120.308 | -2.7759e-10
120.218 | -2.7738e-10
120.116 | -2.7682e-10
120.029 | -2.7694e-10
119.944 | -2.7675e-10
119.871 | -2.7595e-10
119.798 | -2.7697e-10
119.71 | -2.7618e-10
119.631 | -2.752e-10
119.549 | -2.7698e-10
119.472 | -2.7671e-10
119.401 | -2.776e-10
119.33 | -2.7769e-10
119.258 | -2.7764e-10
119.169 | -2.7784e-10
119.082 | -2.7717e-10
118.992 | -2.7748e-10
118.92 | -2.7619e-10
118.852 | -2.7718e-10
118.768 | -2.768e-10
118.677 | -2.7683e-10
118.567 | -2.7613e-10
118.471 | -2.7641e-10
118.388 | -2.7614e-10
118.313 | -2.7777e-10
118.234 | -2.7575e-10
118.126 | -2.7561e-10
117.989 | -2.7535e-10
117.808 | -2.7589e-10
117.695 | -2.7477e-10
117.594 | -2.7621e-10
117.502 | -2.7649e-10
117.409 | -2.7661e-10
117.327 | -2.7591e-10
117.246 | -2.7549e-10
117.162 | -2.7636e-10
117.077 | -2.7532e-10
117.002 | -2.7676e-10
116.924 | -2.7478e-10
116.844 | -2.7613e-10
116.773 | -2.753e-10
116.704 | -2.7571e-10
116.635 | -2.7594e-10
116.547 | -2.7553e-10
116.469 | -2.7487e-10
116.387 | -2.7565e-10
116.315 | -2.7313e-10
116.246 | -2.7265e-10
116.178 | -2.7404e-10
116.115 | -2.7451e-10
116.037 | -2.7556e-10
115.974 | -2.766e-10
115.916 | -2.7572e-10
115.854 | -2.7698e-10
115.789 | -2.7645e-10
115.713 | -2.7503e-10
115.631 | -2.7511e-10
115.557 | -2.7433e-10
115.496 | -2.7439e-10
115.435 | -2.7353e-10
115.371 | -2.7151e-10
115.298 | -2.7141e-10
115.222 | -2.7223e-10
115.147 | -2.7173e-10
115.075 | -2.7316e-10
115.005 | -2.7287e-10
114.94 | -2.7193e-10
114.867 | -2.7197e-10
114.783 | -2.7257e-10
114.621 | -2.723e-10
114.495 | -2.7298e-10
114.384 | -2.7198e-10
114.303 | -2.7229e-10
114.229 | -2.7115e-10
114.148 | -2.7253e-10
114.055 | -2.7433e-10
113.914 | -2.74e-10
113.828 | -2.7244e-10
113.71 | -2.7146e-10
113.631 | -2.7299e-10
113.546 | -2.726e-10
113.348 | -2.7289e-10
113.007 | -2.7218e-10
112.708 | -2.7202e-10
112.478 | -2.737e-10
112.331 | -2.7262e-10
112.223 | -2.7215e-10
112.124 | -2.7361e-10
112.037 | -2.7323e-10
111.946 | -2.7418e-10
111.868 | -2.7427e-10
111.796 | -2.726e-10
111.731 | -2.7379e-10
111.661 | -2.7233e-10
111.58 | -2.7286e-10
111.496 | -2.7346e-10
111.418 | -2.7358e-10
111.354 | -2.7294e-10
111.296 | -2.7314e-10
111.23 | -2.7309e-10
111.139 | -2.7471e-10
111.011 | -2.7291e-10
110.864 | -2.7271e-10
110.734 | -2.7251e-10
110.662 | -2.7389e-10
110.591 | -2.7484e-10
110.525 | -2.7411e-10
110.463 | -2.7532e-10
110.398 | -2.7483e-10
110.337 | -2.7264e-10
110.28 | -2.737e-10
110.231 | -2.7478e-10
110.176 | -2.7504e-10
110.116 | -2.7513e-10
110.026 | -2.736e-10
109.962 | -2.7433e-10
109.903 | -2.7398e-10
109.852 | -2.7438e-10
109.801 | -2.7484e-10
109.751 | -2.7516e-10
109.691 | -2.7443e-10
109.587 | -2.7561e-10
109.534 | -2.7428e-10
109.479 | -2.7348e-10
109.437 | -2.7706e-10
109.387 | -2.7527e-10
109.258 | -2.7462e-10
108.99 | -2.7522e-10
108.779 | -2.7385e-10
108.642 | -2.7591e-10
108.55 | -2.7524e-10
108.494 | -2.7507e-10
108.425 | -2.7519e-10
108.319 | -2.742e-10
108.207 | -2.7369e-10
108.052 | -2.7318e-10
107.996 | -2.746e-10
107.95 | -2.7547e-10
107.902 | -2.7466e-10
107.852 | -2.7522e-10
107.787 | -2.7378e-10
107.716 | -2.7401e-10
107.63 | -2.7548e-10
107.584 | -2.7473e-10
107.541 | -2.7492e-10
107.494 | -2.7568e-10
107.395 | -2.7597e-10
107.264 | -2.7572e-10
107.202 | -2.7528e-10
107.145 | -2.7562e-10
107.102 | -2.7458e-10
107.06 | -2.748e-10
107.004 | -2.7477e-10
106.929 | -2.7365e-10
106.816 | -2.7384e-10
106.776 | -2.762e-10
106.74 | -2.7441e-10
106.706 | -2.7532e-10
106.672 | -2.7482e-10
106.593 | -2.7432e-10
106.525 | -2.7386e-10
106.387 | -2.7581e-10
106.345 | -2.736e-10
106.308 | -2.742e-10
106.274 | -2.7494e-10
106.237 | -2.7457e-10
106.188 | -2.7291e-10
106.124 | -2.742e-10
106.097 | -2.727e-10
106.065 | -2.7456e-10
105.873 | -2.7297e-10
105.41 | -2.7378e-10
105.141 | -2.7485e-10
104.989 | -2.7368e-10
104.903 | -2.7344e-10
104.819 | -2.748e-10
104.753 | -2.7506e-10
104.669 | -2.7433e-10
104.557 | -2.7467e-10
104.466 | -2.734e-10
104.386 | -2.7381e-10
104.338 | -2.7449e-10
104.26 | -2.7496e-10
104.142 | -2.7311e-10
104.017 | -2.753e-10
103.929 | -2.7359e-10
103.835 | -2.7403e-10
103.746 | -2.7366e-10
103.68 | -2.7253e-10
103.587 | -2.751e-10
103.394 | -2.7545e-10
103.202 | -2.7363e-10
103.006 | -2.7467e-10
102.821 | -2.7323e-10
102.659 | -2.7336e-10
102.506 | -2.7228e-10
102.378 | -2.7163e-10
102.236 | -2.6979e-10
102.081 | -2.7287e-10
101.92 | -2.7235e-10
101.803 | -2.7299e-10
101.674 | -2.7168e-10
101.516 | -2.7301e-10
101.333 | -2.7244e-10
101.141 | -2.7363e-10
100.954 | -2.7156e-10
100.816 | -2.7306e-10
100.683 | -2.7309e-10
100.571 | -2.7306e-10
100.454 | -2.7291e-10
100.313 | -2.7344e-10
100.166 | -2.7378e-10
100.029 | -2.7457e-10
99.9304 | -2.7273e-10
99.829 | -2.7308e-10
99.7199 | -2.7259e-10
99.4688 | -2.7331e-10
99.2311 | -2.7197e-10
99.0219 | -2.7163e-10
98.8322 | -2.7368e-10
98.7005 | -2.73e-10
98.6032 | -2.7448e-10
98.5207 | -2.7381e-10
98.4728 | -2.7345e-10
98.4288 | -2.7436e-10
98.4005 | -2.7203e-10
98.3534 | -2.7342e-10
98.2998 | -2.7341e-10
98.2631 | -2.7351e-10
98.2337 | -2.7204e-10
98.228 | -2.7307e-10
98.2192 | -2.7437e-10
98.1771 | -2.7345e-10
98.1259 | -2.7315e-10
98.0898 | -2.7367e-10
98.0422 | -2.7258e-10
98.0168 | -2.7225e-10
98.0141 | -2.7193e-10
97.9874 | -2.7325e-10
97.8346 | -2.7254e-10
97.6621 | -2.7393e-10
97.5032 | -2.7211e-10
97.3641 | -2.7338e-10
97.2491 | -2.7367e-10
97.1662 | -2.7449e-10
97.0978 | -2.7431e-10
97.0413 | -2.7357e-10
97.0124 | -2.7447e-10
96.9825 | -2.7504e-10
96.9562 | -2.7439e-10
96.8978 | -2.7391e-10
96.8666 | -2.7406e-10
96.8444 | -2.7318e-10
96.8267 | -2.7254e-10
96.8136 | -2.7225e-10
96.7991 | -2.7298e-10
96.757 | -2.7459e-10
96.7277 | -2.7404e-10
96.7107 | -2.7281e-10
96.6924 | -2.7316e-10
96.6859 | -2.7408e-10
96.6779 | -2.7248e-10
96.6493 | -2.7212e-10
96.6118 | -2.739e-10
96.5788 | -2.7206e-10
96.556 | -2.7337e-10
96.5424 | -2.735e-10
96.541 | -2.7445e-10
96.5394 | -2.7611e-10
96.5226 | -2.7448e-10
96.4781 | -2.7421e-10
96.4619 | -2.7392e-10
96.4592 | -2.7431e-10
96.4637 | -2.7331e-10
96.4711 | -2.7277e-10
96.4352 | -2.7247e-10
96.4145 | -2.7492e-10
96.4213 | -2.7429e-10
96.4319 | -2.7335e-10
96.4393 | -2.7303e-10
96.366 | -2.7233e-10
96.3388 | -2.7444e-10
96.2994 | -2.7433e-10
96.284 | -2.7375e-10
96.2912 | -2.7274e-10
96.2939 | -2.732e-10
96.2812 | -2.7426e-10
96.2581 | -2.7359e-10
96.2654 | -2.7418e-10
96.2695 | -2.7372e-10
96.2771 | -2.7524e-10
96.2881 | -2.7466e-10
96.2198 | -2.7399e-10
96.1966 | -2.7384e-10
96.17 | -2.7762e-10
96.184 | -2.7499e-10
96.1966 | -2.7734e-10
96.2001 | -2.7619e-10
96.1265 | -2.746e-10
96.1351 | -2.7355e-10
96.1224 | -2.7552e-10
96.1332 | -2.7528e-10
96.1427 | -2.7534e-10
96.0763 | -2.7528e-10
96.0001 | -2.7572e-10
95.9893 | -2.7534e-10
95.9618 | -2.7531e-10
95.9495 | -2.767e-10
95.9423 | -2.7566e-10
95.9355 | -2.7603e-10
95.857 | -2.7538e-10
95.8149 | -2.7689e-10
95.7893 | -2.7474e-10
95.757 | -2.7518e-10
95.7425 | -2.7506e-10
95.7064 | -2.7512e-10
95.6452 | -2.7374e-10
95.5684 | -2.7584e-10
95.2814 | -2.7442e-10
95.0654 | -2.7392e-10
94.9449 | -2.7388e-10
94.8508 | -2.739e-10
94.724 | -2.7284e-10
94.428 | -2.7224e-10
94.2114 | -2.7219e-10
94.0223 | -2.7501e-10
93.9165 | -2.7493e-10
93.829 | -2.7318e-10
93.7642 | -2.7351e-10
93.7181 | -2.7311e-10
93.4834 | -2.7333e-10
93.3212 | -2.7257e-10
93.235 | -2.7347e-10
93.0326 | -2.7257e-10
92.5772 | -2.7316e-10
91.9725 | -2.7238e-10
91.5664 | -2.7323e-10
91.3296 | -2.7298e-10
91.2102 | -2.7331e-10
91.1573 | -2.7187e-10
91.1411 | -2.7206e-10
91.1532 | -2.7116e-10
91.0682 | -2.7222e-10
90.3401 | -2.7223e-10
90.0895 | -2.7193e-10
89.7286 | -2.7241e-10
89.5834 | -2.7295e-10
89.5212 | -2.7331e-10
89.5009 | -2.7286e-10
89.489 | -2.7323e-10
89.2856 | -2.7244e-10
89.1737 | -2.7294e-10
89.0713 | -2.7297e-10
89.0325 | -2.7139e-10
89.0317 | -2.7281e-10
89.0204 | -2.7243e-10
88.7993 | -2.7298e-10
88.6869 | -2.7264e-10
88.5667 | -2.73e-10
88.4773 | -2.7082e-10
88.4119 | -2.7154e-10
88.3853 | -2.7116e-10
88.3791 | -2.7019e-10
88.3482 | -2.7275e-10
88.2781 | -2.7164e-10
88.2399 | -2.719e-10
88.2339 | -2.7162e-10
88.2528 | -2.731e-10
88.2639 | -2.7116e-10
88.2617 | -2.736e-10
88.11 | -2.737e-10
88.0285 | -2.7248e-10
87.9296 | -2.7302e-10
87.8759 | -2.7221e-10
87.8468 | -2.729e-10
87.5389 | -2.7213e-10
87.179 | -2.7333e-10
86.9914 | -2.7325e-10
86.9354 | -2.7387e-10
86.9339 | -2.7471e-10
86.9612 | -2.7313e-10
86.9888 | -2.7288e-10
87.02 | -2.7272e-10
87.0627 | -2.7199e-10
87.1034 | -2.7143e-10
87.1588 | -2.7137e-10
87.2085 | -2.7155e-10
87.0213 | -2.709e-10
86.6725 | -2.7062e-10
86.6999 | -2.7265e-10
86.7341 | -2.7063e-10
86.7769 | -2.7141e-10
86.8046 | -2.7124e-10
86.6171 | -2.7083e-10
86.5626 | -2.7122e-10
86.3887 | -2.705e-10
86.2164 | -2.7196e-10
86.1676 | -2.7337e-10
86.1669 | -2.7305e-10
85.7294 | -2.7189e-10
85.5894 | -2.7304e-10
85.3285 | -2.7263e-10
85.3356 | -2.7421e-10
85.3516 | -2.7351e-10
85.3862 | -2.736e-10
85.4216 | -2.7317e-10
83.9502 | -2.7436e-10
83.8695 | -2.7585e-10
83.4747 | -2.7384e-10
83.5088 | -2.7347e-10
83.5818 | -2.7515e-10
83.6635 | -2.7686e-10
83.7444 | -2.7672e-10
83.8294 | -2.7513e-10
83.9484 | -2.7636e-10
84.0451 | -2.7576e-10
84.0667 | -2.7522e-10
83.6306 | -2.7665e-10
83.3267 | -2.7599e-10
83.3312 | -2.7556e-10
83.374 | -2.7695e-10
83.4201 | -2.7608e-10
83.4806 | -2.7587e-10
83.5338 | -2.7593e-10
83.6289 | -2.7649e-10
83.7227 | -2.7485e-10
83.8275 | -2.764e-10
83.9404 | -2.761e-10
84.0211 | -2.7482e-10
84.1237 | -2.7374e-10
84.1987 | -2.7544e-10
84.2482 | -2.7494e-10
84.2669 | -2.7609e-10
84.3276 | -2.7691e-10
84.4032 | -2.7613e-10
84.4555 | -2.7855e-10
84.4991 | -2.7841e-10
84.4385 | -2.7935e-10
84.258 | -2.7776e-10
84.2453 | -2.7743e-10
84.2821 | -2.7653e-10
84.3318 | -2.782e-10
84.2213 | -2.7742e-10
83.9591 | -2.7599e-10
83.8539 | -2.7656e-10
83.8108 | -2.7831e-10
83.7938 | -2.7808e-10
83.8266 | -2.7719e-10
83.8845 | -2.7723e-10
83.9399 | -2.7684e-10
83.8919 | -2.7704e-10
83.8947 | -2.7595e-10
83.8933 | -2.7549e-10
83.9184 | -2.7573e-10
83.9686 | -2.7618e-10
82.5644 | -2.7771e-10
82.0014 | -2.7717e-10
81.3998 | -2.7713e-10
81.2176 | -2.7667e-10
81.116 | -2.7654e-10
81.1151 | -2.7467e-10
81.171 | -2.7742e-10
81.1869 | -2.7769e-10
81.1753 | -2.7744e-10
81.2198 | -2.7724e-10
81.3086 | -2.7748e-10
81.4167 | -2.7638e-10

## Measurements
Temperature | Current
81.8833 | -1.0849e-09
82.1847 | -4.5936e-10
82.6836 | -3.6058e-10
83.1856 | -3.3981e-10
83.7142 | -3.3769e-10
84.1852 | -3.3718e-10
84.7143 | -3.3525e-10
85.2087 | -3.3244e-10
85.7063 | -3.295e-10
86.1877 | -3.2866e-10
86.7022 | -3.2848e-10
87.2025 | -3.2769e-10
87.6859 | -3.2531e-10
88.2027 | -3.227e-10
88.7059 | -3.2201e-10
89.1879 | -3.2062e-10
89.7049 | -3.1881e-10
90.2037 | -3.1717e-10
90.6854 | -3.1392e-10
91.2002 | -3.1242e-10
91.6956 | -3.1236e-10
92.1999 | -3.0959e-10
92.7007 | -3.0803e-10
93.2491 | -3.0604e-10
93.7013 | -3.0382e-10
94.1889 | -2.9929e-10
94.7027 | -2.9712e-10
95.1934 | -2.9539e-10
95.6881 | -2.9288e-10
96.1898 | -2.9076e-10
96.6996 | -2.8778e-10
97.1939 | -2.8796e-10
97.6937 | -2.8571e-10
98.1948 | -2.8533e-10
98.7005 | -2.8425e-10
99.1954 | -2.8232e-10
99.6892 | -2.8021e-10
100.198 | -2.7983e-10
100.696 | -2.7695e-10
101.189 | -2.7786e-10
101.692 | -2.771e-10
102.188 | -2.7707e-10
102.694 | -2.7873e-10
103.195 | -2.788e-10
103.695 | -2.7863e-10
104.184 | -2.7902e-10
104.699 | -2.7965e-10
105.184 | -2.7876e-10
105.685 | -2.7892e-10
106.198 | -2.7818e-10
106.694 | -2.7769e-10
107.185 | -2.7887e-10
107.684 | -2.7899e-10
108.198 | -2.7931e-10
108.692 | -2.7817e-10
109.188 | -2.7856e-10
109.691 | -2.7766e-10
110.189 | -2.7639e-10
110.695 | -2.7685e-10
111.196 | -2.7604e-10
111.69 | -2.7639e-10
112.184 | -2.7621e-10
112.698 | -2.7623e-10
113.193 | -2.7812e-10
113.694 | -2.7766e-10
114.191 | -2.7868e-10
114.698 | -2.7796e-10
115.209 | -2.7811e-10
115.687 | -2.7865e-10
116.185 | -2.7835e-10
116.691 | -2.7789e-10
117.189 | -2.7706e-10
117.688 | -2.7688e-10
118.191 | -2.7642e-10
118.685 | -2.7803e-10
119.184 | -2.7672e-10
119.694 | -2.7566e-10
120.193 | -2.7722e-10
120.699 | -2.7826e-10
121.2 | -2.7686e-10
121.694 | -2.7653e-10
122.199 | -2.7629e-10
122.693 | -2.7635e-10
123.187 | -2.7624e-10
123.691 | -2.7725e-10
124.2 | -2.772e-10
124.69 | -2.768e-10
125.194 | -2.7703e-10
125.693 | -2.7742e-10
126.193 | -2.7768e-10
126.687 | -2.7978e-10
127.203 | -2.7901e-10
127.692 | -2.7683e-10
128.189 | -2.7793e-10
128.69 | -2.7798e-10
129.188 | -2.7843e-10
129.684 | -2.7951e-10
130.196 | -2.7884e-10
130.698 | -2.797e-10
131.195 | -2.7981e-10
131.687 | -2.7974e-10
132.2 | -2.813e-10
132.687 | -2.7892e-10
133.198 | -2.7796e-10
133.695 | -2.7714e-10
134.201 | -2.7633e-10
134.688 | -2.803e-10
135.195 | -2.7795e-10
135.689 | -2.7908e-10
136.197 | -2.7946e-10
136.691 | -2.808e-10
137.19 | -2.8168e-10
137.691 | -2.8055e-10
138.19 | -2.786e-10
138.685 | -2.7657e-10
139.194 | -2.7691e-10
139.694 | -2.7755e-10
140.185 | -2.781e-10
140.69 | -2.7846e-10
141.195 | -2.7917e-10
141.687 | -2.7696e-10
142.186 | -2.7653e-10
142.694 | -2.751e-10
143.186 | -2.7608e-10
143.694 | -2.7657e-10
144.192 | -2.744e-10
144.691 | -2.7803e-10
145.191 | -2.7525e-10
145.7 | -2.7408e-10
146.195 | -2.7585e-10
146.693 | -2.7541e-10
147.2 | -2.7547e-10
147.702 | -2.7708e-10
148.195 | -2.7747e-10
148.699 | -2.7669e-10
149.197 | -2.7714e-10
149.697 | -2.7762e-10
150.184 | -2.7586e-10
150.685 | -2.7751e-10
151.19 | -2.7668e-10
151.693 | -2.7471e-10
152.198 | -2.7494e-10
152.686 | -2.7477e-10
153.192 | -2.7548e-10
153.689 | -2.7564e-10
154.196 | -2.7502e-10
154.697 | -2.7664e-10
155.188 | -2.754e-10
155.696 | -2.747e-10
156.193 | -2.7568e-10
156.686 | -2.7544e-10
157.195 | -2.7325e-10
157.699 | -2.7641e-10
158.192 | -2.7474e-10
158.689 | -2.7614e-10
159.201 | -2.7368e-10
159.696 | -2.755e-10
160.186 | -2.7522e-10
160.698 | -2.7484e-10
161.195 | -2.7668e-10
161.688 | -2.7664e-10
162.192 | -2.759e-10
162.693 | -2.7596e-10
163.188 | -2.7537e-10
163.694 | -2.7477e-10
164.201 | -2.7461e-10
164.684 | -2.7513e-10
165.196 | -2.7405e-10
165.686 | -2.7582e-10
166.195 | -2.7736e-10
166.688 | -2.7552e-10
167.187 | -2.7623e-10
167.694 | -2.7714e-10
168.185 | -2.7578e-10
168.691 | -2.7681e-10
169.194 | -2.764e-10
169.694 | -2.7678e-10
170.185 | -2.7651e-10
170.7 | -2.7778e-10
171.191 | -2.7722e-10
171.685 | -2.7612e-10
172.188 | -2.7916e-10
172.693 | -2.7619e-10
173.194 | -2.7586e-10
173.696 | -2.7693e-10
174.193 | -2.7687e-10
174.684 | -2.7779e-10
175.196 | -2.7719e-10
175.694 | -2.7711e-10
176.193 | -2.7606e-10
176.691 | -2.7756e-10
177.187 | -2.7678e-10
177.695 | -2.761e-10
178.19 | -2.7718e-10
178.685 | -2.7685e-10
179.199 | -2.7659e-10
179.69 | -2.7758e-10
180.193 | -2.7963e-10
180.697 | -2.7674e-10
181.194 | -2.7819e-10
181.696 | -2.7724e-10
182.199 | -2.7747e-10
182.692 | -2.803e-10
183.185 | -2.7856e-10
183.687 | -2.7913e-10
184.184 | -2.7877e-10
184.698 | -2.7838e-10
185.184 | -2.7924e-10
185.686 | -2.7989e-10
186.188 | -2.7882e-10
186.685 | -2.7983e-10
187.196 | -2.7945e-10
187.692 | -2.8125e-10
188.187 | -2.8122e-10
188.689 | -2.7923e-10
189.187 | -2.784e-10
189.694 | -2.7915e-10
190.188 | -2.7818e-10
190.688 | -2.7986e-10
191.188 | -2.7861e-10
191.687 | -2.7938e-10
192.186 | -2.8032e-10
192.702 | -2.8103e-10
193.2 | -2.8186e-10
193.688 | -2.8103e-10
194.197 | -2.7915e-10
194.685 | -2.8092e-10
195.198 | -2.8056e-10
195.691 | -2.804e-10
196.198 | -2.7959e-10
196.689 | -2.8027e-10
197.197 | -2.8087e-10
197.689 | -2.8028e-10
198.191 | -2.8129e-10
198.699 | -2.794e-10
199.188 | -2.8038e-10
199.703 | -2.8042e-10
200.189 | -2.7922e-10
200.691 | -2.8158e-10
201.196 | -2.8072e-10
201.694 | -2.7928e-10
202.188 | -2.8103e-10
202.684 | -2.8045e-10
203.188 | -2.8096e-10
203.696 | -2.8013e-10
204.185 | -2.8187e-10
204.685 | -2.8215e-10
205.197 | -2.8269e-10
205.698 | -2.8065e-10
206.186 | -2.8039e-10
206.699 | -2.7921e-10
207.196 | -2.8025e-10
207.69 | -2.7998e-10
208.194 | -2.8098e-10
208.69 | -2.8212e-10
209.203 | -2.8092e-10
209.688 | -2.7945e-10
210.211 | -2.7959e-10
210.698 | -2.7978e-10
211.189 | -2.8036e-10
211.691 | -2.8188e-10
212.197 | -2.7985e-10
212.7 | -2.7867e-10
213.189 | -2.8057e-10
213.686 | -2.7951e-10
214.194 | -2.7958e-10
214.69 | -2.79e-10
215.194 | -2.7855e-10
215.688 | -2.7868e-10
216.194 | -2.7959e-10
216.685 | -2.7918e-10
217.188 | -2.8094e-10
217.696 | -2.8134e-10
218.194 | -2.8216e-10
218.689 | -2.8035e-10
219.196 | -2.8091e-10
219.69 | -2.8284e-10
220.197 | -2.8091e-10
220.698 | -2.7931e-10
221.195 | -2.7918e-10
221.684 | -2.7968e-10
222.197 | -2.7925e-10
222.7 | -2.7939e-10
223.189 | -2.7846e-10
223.685 | -2.8101e-10
224.196 | -2.795e-10
224.695 | -2.7964e-10
225.195 | -2.7839e-10
225.698 | -2.8156e-10
226.198 | -2.8043e-10
226.685 | -2.8039e-10
227.188 | -2.8126e-10
227.692 | -2.8227e-10
228.191 | -2.807e-10
228.689 | -2.8299e-10
229.188 | -2.82e-10
229.69 | -2.8087e-10
230.19 | -2.7978e-10
230.693 | -2.8036e-10
231.197 | -2.796e-10
231.685 | -2.8009e-10
232.188 | -2.7989e-10
232.688 | -2.8048e-10
233.19 | -2.8128e-10
233.69 | -2.8001e-10
234.189 | -2.8094e-10
234.69 | -2.8067e-10
235.191 | -2.8015e-10
235.69 | -2.7967e-10
236.191 | -2.8112e-10
236.691 | -2.7843e-10
237.19 | -2.7958e-10
237.691 | -2.7695e-10
238.19 | -2.7837e-10
238.692 | -2.7916e-10
239.191 | -2.7856e-10
239.692 | -2.7899e-10
240.19 | -2.8121e-10
240.691 | -2.7924e-10
241.191 | -2.7926e-10
241.709 | -2.7926e-10
242.191 | -2.7996e-10
242.69 | -2.7956e-10
243.19 | -2.7961e-10
243.691 | -2.8056e-10
244.189 | -2.7997e-10
244.684 | -2.8005e-10
245.198 | -2.78e-10
245.695 | -2.7921e-10
246.196 | -2.7754e-10
246.695 | -2.7824e-10
247.196 | -2.7827e-10
247.697 | -2.7782e-10
248.198 | -2.7745e-10
248.7 | -2.7762e-10
249.199 | -2.7668e-10
249.701 | -2.7871e-10
250.185 | -2.7767e-10
250.686 | -2.7889e-10
251.187 | -2.7796e-10
251.688 | -2.7918e-10
252.189 | -2.7921e-10
252.69 | -2.7771e-10
253.189 | -2.7974e-10
253.69 | -2.7811e-10
254.191 | -2.7939e-10
254.691 | -2.7872e-10
255.207 | -2.777e-10
255.69 | -2.7717e-10
256.191 | -2.7809e-10
256.69 | -2.782e-10
257.191 | -2.7913e-10
257.69 | -2.7766e-10
258.19 | -2.8037e-10
258.691 | -2.7739e-10
259.191 | -2.7789e-10
259.69 | -2.7792e-10
260.189 | -2.7675e-10
260.69 | -2.7706e-10
261.19 | -2.7821e-10
261.699 | -2.783e-10
262.197 | -2.7728e-10
262.696 | -2.7758e-10
263.195 | -2.7755e-10
263.696 | -2.7672e-10
264.197 | -2.7514e-10
264.697 | -2.7629e-10
265.198 | -2.7739e-10
265.699 | -2.7527e-10
266.184 | -2.7469e-10
266.685 | -2.7681e-10
267.185 | -2.7717e-10
267.685 | -2.7524e-10
268.188 | -2.7687e-10
268.706 | -2.7669e-10
269.187 | -2.7645e-10
269.688 | -2.7527e-10
270.188 | -2.7548e-10
270.689 | -2.7479e-10
271.19 | -2.7797e-10
271.69 | -2.7768e-10
272.189 | -2.783e-10
272.69 | -2.7749e-10
273.189 | -2.753e-10
273.69 | -2.7491e-10
274.189 | -2.7704e-10
274.689 | -2.7563e-10
275.19 | -2.7467e-10
275.69 | -2.753e-10
276.189 | -2.7517e-10
276.69 | -2.7511e-10
277.19 | -2.7337e-10
277.691 | -2.7449e-10
278.19 | -2.7459e-10
278.69 | -2.742e-10
279.189 | -2.7475e-10
279.685 | -2.7294e-10
280.197 | -2.7472e-10
280.696 | -2.7308e-10
281.196 | -2.7459e-10
281.695 | -2.7391e-10
282.197 | -2.7719e-10
282.698 | -2.7607e-10
283.198 | -2.7478e-10
283.7 | -2.7427e-10
284.201 | -2.7575e-10
284.685 | -2.7497e-10
285.186 | -2.7497e-10
285.686 | -2.7675e-10
286.187 | -2.7501e-10
286.687 | -2.7539e-10
287.188 | -2.7666e-10
287.688 | -2.747e-10
288.19 | -2.7573e-10
288.688 | -2.7599e-10
289.188 | -2.7635e-10
289.688 | -2.7663e-10
290.189 | -2.7611e-10
290.69 | -2.7688e-10
291.189 | -2.7737e-10
291.689 | -2.7674e-10
292.19 | -2.7554e-10
292.69 | -2.7631e-10
293.19 | -2.7759e-10
293.689 | -2.7513e-10
294.188 | -2.7814e-10
294.689 | -2.7591e-10
295.188 | -2.7515e-10
295.706 | -2.7696e-10
296.188 | -2.7543e-10
296.687 | -2.7581e-10
297.188 | -2.7581e-10
297.689 | -2.7471e-10
298.188 | -2.7631e-10
298.687 | -2.7643e-10
299.199 | -2.7455e-10
299.696 | -2.7488e-10
300.195 | -2.7476e-10
300.712 | -2.7662e-10
301.197 | -2.7626e-10
301.695 | -2.7499e-10
302.198 | -2.7472e-10
302.699 | -2.7595e-10
303.184 | -2.7609e-10
303.7 | -2.7491e-10
304.2 | -2.7366e-10
304.685 | -2.7572e-10
305.185 | -2.7377e-10
305.686 | -2.7483e-10
306.186 | -2.7415e-10
306.686 | -2.7555e-10
307.187 | -2.7609e-10
307.688 | -2.7515e-10
308.188 | -2.744e-10
308.687 | -2.7401e-10
309.221 | -2.7453e-10
309.687 | -2.7535e-10
310.188 | -2.7579e-10
310.688 | -2.7574e-10
311.188 | -2.7535e-10
311.688 | -2.7461e-10
312.187 | -2.7372e-10
312.704 | -2.7438e-10
313.188 | -2.7349e-10
313.689 | -2.7451e-10
314.187 | -2.7565e-10
314.688 | -2.7387e-10
315.188 | -2.7319e-10
315.688 | -2.7551e-10
316.189 | -2.7343e-10
316.688 | -2.7336e-10
317.189 | -2.7305e-10
317.688 | -2.7423e-10
318.188 | -2.7673e-10
318.689 | -2.7606e-10
319.19 | -2.7549e-10
319.689 | -2.7609e-10
320.187 | -2.767e-10