## Settings
Sample Info | v16m20-04
Sample Description | irradiated 20 keV, 500 mkC/cm2, run 04
Major Measurement Parameters
Starting Temperature | 258.005
Initial Temperature | 81
Final Temperature | 450
Preliminary Voltage | 2
Pulse Voltage | 2
Pulse Time | 5
Measurement Voltage | -5.5
Subsidiary Measurement Parameters
Step | 0.5
Accuracy Step | 0.1
Accuracy Stable | 1
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 10
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 5
Measurecount | 1
время
Date | 23.8.2023
Time | 16:26:16

## Stabilization
Temperature | Current
256.43 | 1.0496e-08
255.434 | -2.742e-10
254.394 | -2.7478e-10
253.425 | -2.755e-10
252.613 | -2.7763e-10
251.611 | -2.7597e-10
250.647 | -2.7545e-10
249.806 | -2.7652e-10
248.788 | -2.7688e-10
247.846 | -2.7564e-10
247.038 | -2.746e-10
246.112 | -2.7448e-10
245.113 | -2.747e-10
244.313 | -2.7504e-10
242.534 | -2.7858e-10
241.288 | -2.7622e-10
240.511 | -2.7562e-10
239.562 | -2.7681e-10
238.596 | -2.7691e-10
237.745 | -2.7725e-10
236.894 | -2.7693e-10
235.982 | -2.77e-10
235.296 | -2.7716e-10
234.41 | -2.762e-10
233.52 | -2.7578e-10
232.792 | -2.7667e-10
232.053 | -2.7661e-10
230.948 | -2.768e-10
230.099 | -2.7838e-10
229.448 | -2.7898e-10
228.676 | -2.7725e-10
227.984 | -2.7597e-10
227.38 | -2.7592e-10
226.532 | -2.7588e-10
225.489 | -2.7555e-10
224.941 | -2.7653e-10
224.168 | -2.7669e-10
223.344 | -2.7737e-10
222.76 | -2.7754e-10
222.192 | -2.779e-10
221.492 | -2.7647e-10
221.091 | -2.7721e-10
220.334 | -2.7746e-10
219.8 | -2.7813e-10
219.16 | -2.7807e-10
218.573 | -2.7642e-10
218.206 | -2.7778e-10
217.671 | -2.7681e-10
217.242 | -2.7773e-10
216.831 | -2.7971e-10
216.296 | -2.7863e-10
216.027 | -2.7785e-10
215.483 | -2.7916e-10
215.25 | -2.7887e-10
214.668 | -2.774e-10
214.46 | -2.7952e-10
214.088 | -2.7831e-10
213.835 | -2.7757e-10
213.545 | -2.7812e-10
213.37 | -2.7733e-10
213.292 | -2.789e-10
213.129 | -2.7835e-10
212.993 | -2.774e-10
212.79 | -2.7973e-10
212.713 | -2.7802e-10
212.586 | -2.7831e-10
212.354 | -2.7845e-10
212.316 | -2.7845e-10
211.95 | -2.786e-10
211.836 | -2.7906e-10
211.65 | -2.7905e-10
211.556 | -2.7856e-10
211.505 | -2.7942e-10
211.42 | -2.7811e-10
211.352 | -2.8006e-10
211.289 | -2.7989e-10
211.237 | -2.7951e-10
211.175 | -2.7812e-10
211.117 | -2.7717e-10
211.064 | -2.7619e-10
211.007 | -2.7795e-10
210.958 | -2.7831e-10
210.908 | -2.7718e-10
210.85 | -2.7751e-10
210.801 | -2.7669e-10
210.749 | -2.7865e-10
210.698 | -2.7712e-10
210.645 | -2.7753e-10
210.595 | -2.7604e-10
210.523 | -2.7771e-10
210.449 | -2.7612e-10
210.393 | -2.7819e-10
210.31 | -2.7785e-10
210.209 | -2.7811e-10
210.143 | -2.7748e-10
209.999 | -2.7759e-10
209.855 | -2.7681e-10
209.783 | -2.7849e-10
209.708 | -2.7835e-10
209.617 | -2.7792e-10
209.531 | -2.7941e-10
209.442 | -2.7901e-10
209.361 | -2.7824e-10
209.272 | -2.7833e-10
209.151 | -2.7849e-10
209.04 | -2.7845e-10
208.943 | -2.7794e-10
208.844 | -2.7803e-10
208.735 | -2.7745e-10
208.638 | -2.77e-10
208.536 | -2.7852e-10
208.429 | -2.7713e-10
208.325 | -2.7821e-10
208.216 | -2.779e-10
208.102 | -2.7849e-10
207.977 | -2.766e-10
207.855 | -2.7758e-10
207.725 | -2.7877e-10
207.603 | -2.7939e-10
207.479 | -2.7895e-10
207.348 | -2.7877e-10
207.222 | -2.7799e-10
207.087 | -2.7726e-10
206.96 | -2.7713e-10
206.83 | -2.7673e-10
206.691 | -2.7716e-10
206.552 | -2.7685e-10
206.401 | -2.773e-10
206.255 | -2.7737e-10
206.105 | -2.7838e-10
205.924 | -2.7769e-10
205.748 | -2.7966e-10
205.554 | -2.7735e-10
205.382 | -2.7756e-10
205.22 | -2.769e-10
205.055 | -2.7597e-10
204.876 | -2.7717e-10
204.709 | -2.7702e-10
204.527 | -2.7808e-10
204.356 | -2.7756e-10
204.179 | -2.7695e-10
203.989 | -2.765e-10
203.796 | -2.7608e-10
203.572 | -2.7722e-10
203.383 | -2.7776e-10
203.191 | -2.7769e-10
202.964 | -2.7865e-10
202.773 | -2.7673e-10
202.571 | -2.7641e-10
202.365 | -2.749e-10
202.169 | -2.7576e-10
201.963 | -2.7593e-10
201.768 | -2.779e-10
201.568 | -2.7612e-10
201.35 | -2.7653e-10
201.151 | -2.7596e-10
200.934 | -2.768e-10
200.725 | -2.773e-10
200.519 | -2.7658e-10
200.3 | -2.7658e-10
200.088 | -2.7831e-10
199.874 | -2.7769e-10
199.653 | -2.7724e-10
199.445 | -2.7854e-10
199.222 | -2.7744e-10
199.013 | -2.7728e-10
198.802 | -2.7596e-10
198.578 | -2.7661e-10
198.366 | -2.7739e-10
198.139 | -2.7769e-10
197.916 | -2.7856e-10
197.682 | -2.7703e-10
197.461 | -2.775e-10
197.226 | -2.7752e-10
197.008 | -2.7754e-10
196.79 | -2.7778e-10
196.561 | -2.7743e-10
196.343 | -2.7694e-10
196.107 | -2.7844e-10
195.89 | -2.7797e-10
195.672 | -2.7732e-10
195.448 | -2.7731e-10
195.24 | -2.7639e-10
195.006 | -2.7627e-10
194.767 | -2.7698e-10
194.545 | -2.7709e-10
194.302 | -2.7587e-10
194.08 | -2.7485e-10
193.847 | -2.7643e-10
193.625 | -2.7706e-10
193.377 | -2.7616e-10
193.151 | -2.7718e-10
192.915 | -2.7721e-10
192.682 | -2.7757e-10
192.418 | -2.7591e-10
192.169 | -2.7771e-10
191.923 | -2.772e-10
191.653 | -2.7621e-10
191.406 | -2.7893e-10
191.165 | -2.7717e-10
190.908 | -2.7724e-10
190.662 | -2.7693e-10
190.4 | -2.7608e-10
190.153 | -2.7651e-10
189.901 | -2.7733e-10
189.635 | -2.7718e-10
189.387 | -2.7777e-10
189.116 | -2.7776e-10
188.847 | -2.7785e-10
188.581 | -2.767e-10
188.302 | -2.7673e-10
188.002 | -2.7599e-10
187.727 | -2.7467e-10
187.433 | -2.762e-10
187.164 | -2.762e-10
186.868 | -2.7744e-10
186.609 | -2.7678e-10
186.338 | -2.7647e-10
186.08 | -2.7733e-10
185.828 | -2.7665e-10
185.562 | -2.763e-10
185.289 | -2.7675e-10
185.013 | -2.7706e-10
184.747 | -2.757e-10
184.497 | -2.7692e-10
184.218 | -2.7637e-10
183.959 | -2.7717e-10
183.693 | -2.767e-10
183.444 | -2.7757e-10
183.185 | -2.7758e-10
182.944 | -2.7766e-10
182.687 | -2.7864e-10
182.439 | -2.769e-10
182.18 | -2.7818e-10
181.923 | -2.7834e-10
181.63 | -2.7745e-10
181.381 | -2.7851e-10
181.13 | -2.7663e-10
180.894 | -2.7632e-10
180.642 | -2.779e-10
180.403 | -2.7797e-10
180.166 | -2.7562e-10
179.902 | -2.7652e-10
179.649 | -2.7584e-10
179.399 | -2.7581e-10
179.144 | -2.7742e-10
178.912 | -2.7561e-10
178.663 | -2.7562e-10
178.422 | -2.7689e-10
178.161 | -2.7573e-10
177.926 | -2.7459e-10
177.677 | -2.7469e-10
177.449 | -2.77e-10
177.207 | -2.7693e-10
176.98 | -2.7615e-10
176.743 | -2.7429e-10
176.523 | -2.7564e-10
176.294 | -2.7615e-10
176.086 | -2.7839e-10
175.883 | -2.773e-10
175.675 | -2.7703e-10
175.476 | -2.7803e-10
175.267 | -2.7846e-10
175.074 | -2.7839e-10
174.868 | -2.7693e-10
174.678 | -2.7706e-10
174.472 | -2.7746e-10
174.274 | -2.7578e-10
174.075 | -2.7735e-10
173.894 | -2.7856e-10
173.716 | -2.777e-10
173.535 | -2.7736e-10
173.366 | -2.7592e-10
173.188 | -2.7734e-10
173.026 | -2.778e-10
172.856 | -2.7581e-10
172.701 | -2.7649e-10
172.539 | -2.7519e-10
172.394 | -2.7736e-10
172.242 | -2.7673e-10
172.103 | -2.7663e-10
171.968 | -2.7641e-10
171.828 | -2.7689e-10
171.697 | -2.7693e-10
171.565 | -2.7749e-10
171.441 | -2.7678e-10
171.312 | -2.7572e-10
171.194 | -2.7664e-10
171.071 | -2.7735e-10
170.958 | -2.7739e-10
170.837 | -2.7812e-10
170.734 | -2.757e-10
170.631 | -2.7802e-10
170.524 | -2.7703e-10
170.424 | -2.7735e-10
170.321 | -2.7574e-10
170.228 | -2.7819e-10
170.136 | -2.7763e-10
170.043 | -2.774e-10
169.952 | -2.7762e-10
169.869 | -2.7664e-10
169.783 | -2.775e-10
169.7 | -2.7759e-10
169.621 | -2.7614e-10
169.542 | -2.7541e-10
169.468 | -2.7611e-10
169.4 | -2.7737e-10
169.326 | -2.7776e-10
169.26 | -2.7761e-10
169.191 | -2.7659e-10
169.127 | -2.7752e-10
169.062 | -2.7806e-10
168.999 | -2.777e-10
168.94 | -2.7682e-10
168.882 | -2.7517e-10
168.824 | -2.7621e-10
168.769 | -2.7722e-10
168.719 | -2.7701e-10
168.669 | -2.7644e-10
168.619 | -2.7696e-10
168.571 | -2.7743e-10
168.527 | -2.763e-10
168.479 | -2.7452e-10
168.437 | -2.7541e-10
168.395 | -2.7494e-10
168.356 | -2.7585e-10
168.315 | -2.7553e-10
168.281 | -2.7511e-10
168.242 | -2.7465e-10
168.207 | -2.7581e-10
168.174 | -2.7582e-10
168.139 | -2.7615e-10
168.11 | -2.7623e-10
168.078 | -2.7386e-10
168.051 | -2.7426e-10
168.023 | -2.753e-10
167.997 | -2.7402e-10
167.972 | -2.7483e-10
167.95 | -2.7421e-10
167.928 | -2.7395e-10
167.804 | -2.7547e-10
167.744 | -2.7469e-10
167.654 | -2.7568e-10
167.588 | -2.7613e-10
167.538 | -2.7655e-10
167.483 | -2.7669e-10
167.428 | -2.762e-10
167.368 | -2.7478e-10
167.304 | -2.7478e-10
167.231 | -2.7549e-10
167.16 | -2.7437e-10
167.085 | -2.76e-10
167.017 | -2.754e-10
166.944 | -2.7479e-10
166.874 | -2.7413e-10
166.799 | -2.7618e-10
166.729 | -2.7535e-10
166.661 | -2.7469e-10
166.597 | -2.7528e-10
166.534 | -2.7401e-10
166.468 | -2.7335e-10
166.391 | -2.7294e-10
166.295 | -2.7371e-10
166.208 | -2.7322e-10
166.13 | -2.7345e-10
166.047 | -2.7383e-10
165.954 | -2.7308e-10
165.864 | -2.7266e-10
165.755 | -2.7398e-10
165.658 | -2.7358e-10
165.549 | -2.7248e-10
165.443 | -2.7451e-10
165.326 | -2.7265e-10
165.2 | -2.7266e-10
165.078 | -2.7307e-10
164.956 | -2.7338e-10
164.84 | -2.7408e-10
164.711 | -2.7513e-10
164.585 | -2.7311e-10
164.443 | -2.7332e-10
164.312 | -2.7303e-10
164.172 | -2.7397e-10
164.044 | -2.7356e-10
163.893 | -2.7448e-10
163.756 | -2.7492e-10
163.595 | -2.7514e-10
163.433 | -2.7429e-10
163.269 | -2.7519e-10
163.121 | -2.7512e-10
162.957 | -2.7334e-10
162.796 | -2.7432e-10
162.635 | -2.7503e-10
162.461 | -2.7673e-10
162.282 | -2.7652e-10
162.105 | -2.758e-10
161.924 | -2.748e-10
161.75 | -2.7494e-10
161.568 | -2.7408e-10
161.387 | -2.752e-10
161.217 | -2.7541e-10
161.036 | -2.747e-10
160.867 | -2.7559e-10
160.707 | -2.7399e-10
160.539 | -2.7504e-10
160.366 | -2.7469e-10
160.203 | -2.7561e-10
160.033 | -2.773e-10
159.869 | -2.7686e-10
159.684 | -2.7521e-10
159.504 | -2.7639e-10
159.303 | -2.7514e-10
159.131 | -2.752e-10
158.838 | -2.7564e-10
158.609 | -2.7616e-10
158.335 | -2.7608e-10
158.09 | -2.7588e-10
157.868 | -2.7773e-10
157.645 | -2.7683e-10
157.39 | -2.7782e-10
157.1 | -2.7573e-10
156.885 | -2.7782e-10
156.609 | -2.775e-10
156.314 | -2.7728e-10
156.102 | -2.7705e-10
155.875 | -2.7853e-10
155.654 | -2.7748e-10
155.454 | -2.7864e-10
155.238 | -2.7678e-10
155.051 | -2.7722e-10
154.848 | -2.7753e-10
154.632 | -2.7813e-10
154.434 | -2.7742e-10
154.234 | -2.7763e-10
154.003 | -2.7528e-10
153.794 | -2.7602e-10
153.594 | -2.7493e-10
153.371 | -2.7471e-10
153.141 | -2.7678e-10
152.945 | -2.7706e-10
152.716 | -2.7594e-10
152.507 | -2.7649e-10
152.296 | -2.768e-10
152.091 | -2.7624e-10
151.9 | -2.7611e-10
151.689 | -2.7649e-10
151.477 | -2.769e-10
151.286 | -2.7603e-10
151.088 | -2.7789e-10
150.837 | -2.7729e-10
150.634 | -2.7845e-10
150.43 | -2.7694e-10
150.238 | -2.7733e-10
150.035 | -2.7784e-10
149.799 | -2.7731e-10
149.604 | -2.7773e-10
149.408 | -2.7845e-10
149.211 | -2.7761e-10
149.022 | -2.7632e-10
148.826 | -2.7657e-10
148.653 | -2.7844e-10
148.476 | -2.7817e-10
148.309 | -2.7675e-10
148.161 | -2.773e-10
148.008 | -2.7654e-10
147.868 | -2.7844e-10
147.724 | -2.7799e-10
147.585 | -2.7712e-10
147.461 | -2.7656e-10
147.334 | -2.7703e-10
147.215 | -2.7737e-10
147.096 | -2.7754e-10
146.983 | -2.7742e-10
146.877 | -2.7723e-10
146.771 | -2.7568e-10
146.665 | -2.7738e-10
146.569 | -2.7699e-10
146.468 | -2.7795e-10
146.382 | -2.7635e-10
146.292 | -2.7656e-10
146.209 | -2.7528e-10
146.124 | -2.764e-10
146.048 | -2.7625e-10
145.966 | -2.752e-10
145.895 | -2.7677e-10
145.825 | -2.7692e-10
145.755 | -2.761e-10
145.694 | -2.758e-10
145.635 | -2.7662e-10
145.58 | -2.7668e-10
145.526 | -2.7636e-10
145.477 | -2.7682e-10
145.429 | -2.78e-10
145.387 | -2.7831e-10
145.344 | -2.7711e-10
145.304 | -2.7695e-10
145.272 | -2.7708e-10
145.241 | -2.7776e-10
145.21 | -2.7637e-10
145.184 | -2.7874e-10
145.159 | -2.7783e-10
145.137 | -2.7907e-10
145.118 | -2.7689e-10
145.104 | -2.753e-10
145.089 | -2.7723e-10
145.077 | -2.7734e-10
145.065 | -2.7784e-10
145.06 | -2.7701e-10
145.055 | -2.7541e-10
145.053 | -2.7644e-10
145.052 | -2.7687e-10
145.054 | -2.7821e-10
145.056 | -2.7729e-10
145.061 | -2.7756e-10
145.07 | -2.7681e-10
145.081 | -2.76e-10
145.09 | -2.7559e-10
145.101 | -2.7509e-10
145.113 | -2.7685e-10
145.125 | -2.7688e-10
145.141 | -2.7684e-10
145.153 | -2.7639e-10
145.167 | -2.7708e-10
145.181 | -2.7624e-10
145.196 | -2.7543e-10
145.21 | -2.7705e-10
145.226 | -2.7574e-10
145.238 | -2.7747e-10
145.253 | -2.7604e-10
145.27 | -2.7518e-10
145.282 | -2.7497e-10
145.298 | -2.7543e-10
145.314 | -2.748e-10
145.33 | -2.7641e-10
145.346 | -2.7527e-10
145.361 | -2.7613e-10
145.376 | -2.7537e-10
145.393 | -2.7551e-10
145.41 | -2.7672e-10
145.427 | -2.7513e-10
145.443 | -2.7513e-10
145.457 | -2.7618e-10
145.473 | -2.7566e-10
145.489 | -2.7765e-10
145.505 | -2.8164e-10
145.519 | -2.7751e-10
145.535 | -2.791e-10
145.548 | -2.77e-10
145.561 | -2.7678e-10
145.574 | -2.7563e-10
145.589 | -2.7561e-10
145.6 | -2.7931e-10
145.612 | -2.7503e-10
145.626 | -2.8107e-10
145.637 | -2.755e-10
145.648 | -2.7602e-10
145.657 | -2.7784e-10
145.668 | -2.8039e-10
145.672 | -2.7486e-10
145.686 | -2.8754e-10
145.694 | -2.7766e-10
145.701 | -2.6211e-10
145.706 | -2.8306e-10
145.712 | -2.9136e-10
145.717 | -2.7781e-10
145.724 | -2.7789e-10
145.728 | -2.8154e-10
145.732 | -2.675e-10
145.737 | -2.7614e-10
145.74 | -2.6977e-10
145.745 | -2.6597e-10
145.747 | -2.7819e-10
145.746 | -2.8219e-10
145.743 | -2.5941e-10
145.743 | -2.7854e-10
145.739 | -2.8466e-10
145.735 | -2.7795e-10
145.729 | -2.7595e-10
145.722 | -2.6767e-10
145.717 | -2.7245e-10
145.706 | -2.7876e-10
145.689 | -2.5886e-10
145.67 | -2.7579e-10
145.655 | -2.9135e-10
145.636 | -2.8887e-10
145.615 | -2.8794e-10
145.593 | -2.8805e-10
145.569 | -2.942e-10
145.545 | -2.8953e-10
145.52 | -2.7473e-10
145.492 | -2.5468e-10
145.459 | -2.8355e-10
145.422 | -2.8233e-10
145.381 | -2.7098e-10
145.343 | -2.9388e-10
145.306 | -2.8638e-10
145.261 | -2.7437e-10
145.216 | -2.7912e-10
145.163 | -2.7971e-10
145.114 | -2.6659e-10
145.069 | -2.8429e-10
145.023 | -2.7355e-10
144.974 | -2.774e-10
144.925 | -2.8517e-10
144.881 | -2.7645e-10
144.826 | -2.7358e-10
144.75 | -2.6714e-10
144.672 | -2.6507e-10
144.591 | -2.6355e-10
144.513 | -2.9014e-10
144.446 | -2.5427e-10
144.354 | -2.6865e-10
144.229 | -2.7499e-10
144.025 | -3.0285e-10
143.861 | -2.7535e-10
143.732 | -2.6481e-10
143.627 | -2.936e-10
143.533 | -2.7616e-10
143.407 | -2.7577e-10
143.2 | -2.7622e-10
142.963 | -3.1338e-10
142.774 | -2.7788e-10
142.635 | -2.7791e-10
142.516 | -2.7572e-10
142.396 | -2.5904e-10
142.28 | -2.7661e-10
142.158 | -2.7553e-10
141.977 | -3.0351e-10
141.814 | -2.7708e-10
141.688 | -2.964e-10
141.571 | -2.7612e-10
141.442 | -2.7708e-10
141.295 | -2.7671e-10
141.114 | -2.7569e-10
140.941 | -2.7396e-10
140.801 | -2.7323e-10
140.679 | -2.7443e-10
140.557 | -2.7524e-10
140.422 | -2.731e-10
140.175 | -2.7299e-10
139.918 | -2.7434e-10
139.725 | -2.758e-10
139.563 | -2.7468e-10
139.436 | -2.7547e-10
139.295 | -2.7439e-10
139.149 | -2.7506e-10
139.009 | -2.7431e-10
138.865 | -2.7443e-10
138.729 | -2.7523e-10
138.608 | -2.7602e-10
138.485 | -2.7481e-10
138.358 | -2.7546e-10
138.236 | -2.7649e-10
138.1 | -2.7468e-10
137.968 | -2.7581e-10
137.845 | -2.7572e-10
137.732 | -2.7527e-10
137.591 | -2.7598e-10
137.406 | -2.7659e-10
137.216 | -2.7664e-10
137.052 | -2.7544e-10
136.919 | -2.7518e-10
136.783 | -2.7661e-10
136.653 | -2.7635e-10
136.516 | -2.7495e-10
136.367 | -2.7575e-10
136.159 | -2.7382e-10
135.967 | -2.7492e-10
135.82 | -2.7568e-10
135.681 | -2.7457e-10
135.51 | -2.749e-10
135.218 | -2.7456e-10
134.861 | -2.7506e-10
134.56 | -2.7513e-10
134.361 | -2.7387e-10
134.187 | -2.7557e-10
134.025 | -2.7644e-10
133.877 | -2.7648e-10
133.629 | -2.7613e-10
133.296 | -2.7591e-10
133.003 | -2.7702e-10
132.828 | -2.7512e-10
132.674 | -2.7663e-10
132.434 | -2.7558e-10
132.058 | -2.7526e-10
131.675 | -2.7549e-10
131.338 | -2.7538e-10
131.079 | -2.7569e-10
130.896 | -2.7601e-10
130.726 | -2.7574e-10
130.451 | -2.7665e-10
130.166 | -2.756e-10
129.917 | -2.756e-10
129.737 | -2.759e-10
129.578 | -2.748e-10
129.423 | -2.7574e-10
129.199 | -2.743e-10
129.022 | -2.7527e-10
128.88 | -2.7477e-10
128.748 | -2.7635e-10
128.615 | -2.7656e-10
128.397 | -2.7481e-10
128.135 | -2.763e-10
127.921 | -2.7671e-10
127.763 | -2.7784e-10
127.62 | -2.7718e-10
127.355 | -2.7612e-10
127.012 | -2.7691e-10
126.789 | -2.7615e-10
126.619 | -2.7704e-10
126.466 | -2.786e-10
126.2 | -2.774e-10
125.859 | -2.7777e-10
125.506 | -2.7729e-10
125.268 | -2.7642e-10
125.095 | -2.7684e-10
124.88 | -2.7579e-10
124.445 | -2.7576e-10
124.022 | -2.7703e-10
123.723 | -2.753e-10
123.496 | -2.7751e-10
123.311 | -2.7701e-10
123.018 | -2.7757e-10
122.69 | -2.7788e-10
122.42 | -2.7836e-10
122.23 | -2.7738e-10
122.063 | -2.7773e-10
121.916 | -2.7774e-10
121.756 | -2.7839e-10
121.442 | -2.7863e-10
121.225 | -2.7981e-10
121.064 | -2.7907e-10
120.909 | -2.7852e-10
120.77 | -2.7723e-10
120.456 | -2.7748e-10
119.97 | -2.7671e-10
119.506 | -2.7817e-10
119.165 | -2.785e-10
118.957 | -2.7691e-10
118.771 | -2.7659e-10
118.599 | -2.7601e-10
118.241 | -2.7598e-10
117.792 | -2.7707e-10
117.359 | -2.7529e-10
117.1 | -2.7512e-10
116.917 | -2.7396e-10
116.748 | -2.7518e-10
116.579 | -2.7509e-10
116.237 | -2.7731e-10
115.907 | -2.7753e-10
115.655 | -2.7789e-10
115.502 | -2.7728e-10
115.365 | -2.7945e-10
114.974 | -2.7782e-10
114.651 | -2.7916e-10
114.451 | -2.7791e-10
114.307 | -2.8006e-10
114.167 | -2.782e-10
113.895 | -2.7792e-10
113.607 | -2.7882e-10
113.367 | -2.7903e-10
113.145 | -2.7855e-10
112.97 | -2.7917e-10
112.696 | -2.7786e-10
112.052 | -2.7862e-10
111.21 | -2.7889e-10
110.505 | -2.7608e-10
110.059 | -2.7726e-10
109.716 | -2.7832e-10
109.427 | -2.789e-10
109.179 | -2.7716e-10
108.946 | -2.7821e-10
108.76 | -2.7734e-10
108.606 | -2.7782e-10
108.342 | -2.776e-10
107.772 | -2.7753e-10
107.001 | -2.768e-10
106.204 | -2.7701e-10
105.635 | -2.7749e-10
105.262 | -2.7706e-10
105.018 | -2.7624e-10
104.673 | -2.768e-10
104.132 | -2.7809e-10
103.66 | -2.7691e-10
103.293 | -2.7813e-10
103.059 | -2.7728e-10
102.788 | -2.7806e-10
102.307 | -2.7721e-10
101.703 | -2.7847e-10
101.225 | -2.7686e-10
100.912 | -2.7642e-10
100.71 | -2.7676e-10
100.393 | -2.7803e-10
99.9735 | -2.7839e-10
99.5384 | -2.7921e-10
99.1825 | -2.7959e-10
98.9572 | -2.7915e-10
98.6616 | -2.7933e-10
98.0139 | -2.8109e-10
97.2176 | -2.7942e-10
96.6394 | -2.7955e-10
96.2502 | -2.8043e-10
96.0309 | -2.7849e-10
95.7001 | -2.806e-10
95.154 | -2.7979e-10
94.628 | -2.7902e-10
94.2541 | -2.7853e-10
94.0441 | -2.7999e-10
93.8629 | -2.7872e-10
93.2435 | -2.7939e-10
92.5831 | -2.7898e-10
92.2749 | -2.7845e-10
92.1329 | -2.7856e-10
91.8108 | -2.8003e-10
91.1034 | -2.7878e-10
90.6059 | -2.7958e-10
90.4635 | -2.7927e-10
90.3871 | -2.7827e-10
90.253 | -2.7871e-10
87.272 | -2.7943e-10
84.6828 | -2.7788e-10
84.3897 | -2.7962e-10
84.5221 | -2.7882e-10
84.6095 | -2.7824e-10
84.6673 | -2.7874e-10
83.4549 | -2.7809e-10
82.562 | -2.7684e-10
82.5823 | -2.7879e-10
82.6376 | -2.8015e-10
82.7273 | -2.803e-10
82.7903 | -2.7922e-10
82.4046 | -2.7869e-10
81.8022 | -2.7852e-10
81.4261 | -2.7987e-10
81.4594 | -2.8141e-10
81.5322 | -2.7922e-10
80.9779 | -2.7865e-10
80.6505 | -2.782e-10
80.4242 | -2.7895e-10
80.297 | -2.8036e-10
80.2217 | -2.7951e-10
80.1749 | -2.7956e-10

## Measurements
Temperature | Current
80.1648 | -2.8033e-10
80.4649 | -2.7812e-10
80.9683 | -2.7896e-10
81.4919 | -2.7916e-10
81.9693 | -2.7782e-10
82.465 | -2.7782e-10
82.97 | -2.778e-10
83.4972 | -2.7775e-10
83.9672 | -2.7801e-10
84.4926 | -2.7861e-10
84.9657 | -2.7809e-10
85.4949 | -2.7874e-10
86.0029 | -2.7667e-10
86.479 | -2.7729e-10
86.9899 | -2.7774e-10
87.4826 | -2.7784e-10
87.9684 | -2.7802e-10
88.4745 | -2.7796e-10
88.9888 | -2.7926e-10
89.4851 | -2.7902e-10
90.0277 | -2.792e-10
90.4724 | -2.7752e-10
90.9959 | -2.7726e-10
91.4947 | -2.7737e-10
91.9994 | -2.7864e-10
92.4744 | -2.7801e-10
92.968 | -2.7773e-10
93.469 | -2.7732e-10
93.9952 | -2.7903e-10
94.4859 | -2.7821e-10
94.9829 | -2.7778e-10
95.4814 | -2.7784e-10
95.9738 | -2.7728e-10
96.4918 | -2.7749e-10
96.9885 | -2.7728e-10
97.4705 | -2.7873e-10
97.9707 | -2.7484e-10
98.4849 | -2.7693e-10
98.9717 | -2.7697e-10
99.4845 | -2.7809e-10
99.9702 | -2.7791e-10
100.509 | -2.7709e-10
100.987 | -2.7731e-10
101.486 | -2.7547e-10
102.005 | -2.7649e-10
102.49 | -2.7706e-10
102.989 | -2.7646e-10
103.493 | -2.7706e-10
103.991 | -2.7568e-10
104.513 | -2.7517e-10
105.005 | -2.7637e-10
105.483 | -2.7563e-10
105.97 | -2.7636e-10
106.479 | -2.7591e-10
106.981 | -2.7802e-10
107.473 | -2.7608e-10
107.974 | -2.7644e-10
108.468 | -2.77e-10
108.976 | -2.7753e-10
109.48 | -2.7716e-10
109.996 | -2.7747e-10
110.481 | -2.7893e-10
111.002 | -2.7746e-10
111.481 | -2.7541e-10
111.987 | -2.7733e-10
112.475 | -2.754e-10
112.987 | -2.7559e-10
113.469 | -2.7727e-10
113.969 | -2.76e-10
114.466 | -2.7606e-10
114.967 | -2.7688e-10
115.469 | -2.7707e-10
115.997 | -2.7716e-10
116.487 | -2.7712e-10
116.981 | -2.7697e-10
117.483 | -2.7665e-10
117.972 | -2.7712e-10
118.469 | -2.7704e-10
118.989 | -2.7567e-10
119.491 | -2.7568e-10
119.977 | -2.7617e-10
120.481 | -2.7659e-10
120.994 | -2.7601e-10
121.466 | -2.7225e-09
121.971 | -2.7579e-10
122.487 | -2.7602e-10
122.966 | -2.7403e-10
123.465 | -2.7539e-10