## Settings
Sample Info | v16m20-04
Sample Description | irradiated 20 keV, 500 mkC/cm2, run 04
Major Measurement Parameters
Starting Temperature | 96.6746
Initial Temperature | 81
Final Temperature | 320
Preliminary Voltage | 2
Pulse Voltage | 2
Pulse Time | 5
Measurement Voltage | -5.5
Subsidiary Measurement Parameters
Step | 0.5
Accuracy Step | 0.1
Accuracy Stable | 1
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 10
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 5
Measurecount | 1
время
Date | 23.8.2023
Time | 16:54:58

## Stabilization
Temperature | Current
96.0426 | -2.7366e-10
95.6829 | -2.7436e-10
94.5154 | -2.743e-10
92.2395 | -2.7444e-10
90.2212 | -2.7399e-10
89.3414 | -2.7511e-10
88.8625 | -2.7443e-10
88.6423 | -2.7535e-10
88.3422 | -2.7556e-10
84.8999 | -2.7504e-10
83.6876 | -2.7402e-10
83.6467 | -2.747e-10
83.6297 | -2.7478e-10
83.7111 | -2.7438e-10
83.7602 | -2.7482e-10
82.8924 | -2.7661e-10
82.3317 | -2.7456e-10
82.2233 | -2.7554e-10
82.2857 | -2.7575e-10
82.085 | -2.7517e-10
81.1484 | -2.7434e-10
80.6703 | -2.7629e-10
80.3923 | -2.7595e-10
80.2309 | -2.7548e-10
80.1443 | -2.7509e-10
80.0765 | -2.7484e-10
80.0365 | -2.7418e-10
80.008 | -2.743e-10
79.9951 | -2.7462e-10
79.9554 | -2.7585e-10
79.9089 | -2.7496e-10
79.9094 | -2.7515e-10
79.8993 | -2.7508e-10
79.9083 | -2.7529e-10
79.9295 | -2.7494e-10
79.9759 | -2.7393e-10
79.9936 | -2.7492e-10
79.9528 | -2.7588e-10
79.9816 | -2.7474e-10
80.0494 | -2.7453e-10
80.1218 | -2.7631e-10
80.1692 | -2.7519e-10
80.0836 | -2.7398e-10
80.1012 | -2.7657e-10
80.1882 | -2.7669e-10
80.2784 | -2.7599e-10
80.3659 | -2.7757e-10
80.4678 | -2.7676e-10
80.2922 | -2.7792e-10

## Measurements
Temperature | Current
80.4017 | -2.8206e-10
80.7252 | -2.7732e-10
81.2244 | -2.7689e-10
81.7269 | -2.7596e-10
82.2176 | -2.7662e-10
82.718 | -2.7752e-10
83.2236 | -2.7717e-10
83.7237 | -2.7694e-10
84.2185 | -2.7665e-10
84.7317 | -2.7653e-10
85.2321 | -2.7522e-10
85.7228 | -2.7576e-10
86.2308 | -2.7592e-10
86.7209 | -2.761e-10
87.2247 | -2.7644e-10
87.7196 | -2.7663e-10
88.2325 | -2.7589e-10
88.7323 | -2.7511e-10
89.2294 | -2.7472e-10
89.7264 | -2.7285e-10
90.2248 | -2.7477e-10
90.7313 | -2.7526e-10
91.2334 | -2.7549e-10
91.8144 | -2.7593e-10
92.219 | -2.7474e-10
92.7184 | -2.7512e-10
93.2482 | -2.7529e-10
93.7245 | -2.7588e-10
94.2492 | -2.7567e-10
94.7507 | -2.7624e-10
95.2311 | -2.7507e-10
95.7327 | -2.7644e-10
96.2474 | -2.7623e-10
96.7439 | -2.762e-10
97.2214 | -2.753e-10
97.7249 | -2.7602e-10
98.2356 | -2.7586e-10
98.7281 | -2.7584e-10
99.2219 | -2.7532e-10
99.7207 | -2.7557e-10
100.216 | -2.7627e-10
100.733 | -2.7527e-10
101.22 | -2.7528e-10
101.716 | -2.7604e-10
102.218 | -2.7524e-10
102.73 | -2.7595e-10
103.231 | -2.7555e-10
103.731 | -2.7562e-10
104.252 | -2.7701e-10
104.739 | -2.7639e-10
105.222 | -2.7735e-10
105.721 | -2.7745e-10
106.232 | -2.769e-10
106.739 | -2.7698e-10
107.215 | -2.7606e-10
107.732 | -2.762e-10
108.22 | -2.774e-10
108.719 | -2.7672e-10
109.227 | -2.7562e-10
109.718 | -2.7598e-10
110.216 | -2.7581e-10
110.738 | -2.7495e-10
111.225 | -2.7491e-10
111.717 | -2.748e-10
112.233 | -2.7503e-10
112.714 | -2.7484e-10
113.23 | -2.7574e-10
113.735 | -2.7596e-10
114.216 | -2.7668e-10
114.72 | -2.7573e-10
115.224 | -2.7483e-10
115.714 | -2.7602e-10
116.22 | -2.7644e-10
116.739 | -2.7694e-10
117.214 | -2.7597e-10
117.715 | -2.7464e-10
118.22 | -2.7429e-10
118.717 | -2.7313e-10
119.217 | -2.7583e-10
119.734 | -2.7633e-10
120.223 | -2.7678e-10
120.723 | -2.761e-10
121.221 | -2.7553e-10
121.727 | -2.7609e-10
122.228 | -2.7618e-10
122.714 | -2.7714e-10
123.214 | -2.7673e-10
123.73 | -2.7565e-10
124.225 | -2.7567e-10
124.717 | -2.7725e-10
125.22 | -2.7585e-10
125.729 | -2.7706e-10
126.231 | -2.7748e-10
126.723 | -2.7862e-10
127.227 | -2.7993e-10
127.735 | -2.7821e-10
128.218 | -2.788e-10
128.722 | -2.7786e-10
129.216 | -2.7745e-10
129.733 | -2.7793e-10
130.222 | -2.767e-10
130.716 | -2.784e-10
131.214 | -2.7817e-10
131.72 | -2.769e-10
132.285 | -2.7682e-10
132.741 | -2.7795e-10
133.219 | -2.7865e-10
133.722 | -2.7865e-10
134.215 | -2.7824e-10
134.725 | -2.7743e-10
135.233 | -2.7791e-10
135.727 | -2.7813e-10
136.233 | -2.7707e-10
136.717 | -2.7749e-10
137.215 | -2.7698e-10
137.716 | -2.7689e-10
138.222 | -2.7839e-10
138.726 | -2.7843e-10
139.214 | -2.7855e-10
139.736 | -2.7626e-10
140.23 | -2.7683e-10
140.719 | -2.7783e-10
141.221 | -2.7634e-10
141.726 | -2.781e-10
142.215 | -2.7737e-10
142.72 | -2.7938e-10
143.234 | -2.7908e-10
143.723 | -2.7682e-10
144.22 | -2.7711e-10
144.727 | -2.767e-10
145.217 | -2.7797e-10
145.727 | -2.7666e-10
146.232 | -2.7718e-10
146.73 | -2.7735e-10
147.214 | -2.7811e-10
147.73 | -2.7916e-10
148.221 | -2.7789e-10
148.72 | -2.7783e-10
149.221 | -2.7826e-10
149.714 | -2.7689e-10
150.218 | -2.7652e-10
150.72 | -2.7625e-10
151.215 | -2.7671e-10
151.719 | -2.7694e-10
152.228 | -2.7629e-10
152.72 | -2.7793e-10
153.227 | -2.7727e-10
153.729 | -2.7806e-10
154.228 | -2.7716e-10
154.722 | -2.7774e-10
155.23 | -2.7812e-10
155.718 | -2.7951e-10
156.234 | -2.7718e-10
156.728 | -2.7714e-10
157.217 | -2.7795e-10
157.718 | -2.7902e-10
158.219 | -2.7924e-10
158.715 | -2.7791e-10
159.23 | -2.7729e-10
159.725 | -2.7848e-10
160.218 | -2.782e-10
160.718 | -2.7638e-10
161.23 | -2.7678e-10
161.726 | -2.7714e-10
162.22 | -2.7681e-10
162.726 | -2.7805e-10
163.217 | -2.7609e-10
163.716 | -2.7789e-10
164.216 | -2.7717e-10
164.716 | -2.7615e-10
165.225 | -2.7667e-10
165.717 | -2.7594e-10
166.226 | -2.7668e-10
166.714 | -2.7842e-10
167.227 | -2.763e-10
167.716 | -2.7702e-10
168.227 | -2.7707e-10
168.715 | -2.7787e-10
169.225 | -2.7776e-10
169.715 | -2.7606e-10
170.219 | -2.7848e-10
170.718 | -2.7642e-10
171.228 | -2.7662e-10
171.72 | -2.7728e-10
172.214 | -2.7709e-10
172.718 | -2.7977e-10
173.214 | -2.7814e-10
173.717 | -2.7805e-10
174.221 | -2.7873e-10
174.72 | -2.7791e-10
175.216 | -2.7921e-10
175.718 | -2.7815e-10
176.224 | -2.7764e-10
176.724 | -2.7681e-10
177.226 | -2.7566e-10
177.724 | -2.7948e-10
178.223 | -2.7747e-10
178.728 | -2.7856e-10
179.223 | -2.7952e-10
179.714 | -2.784e-10
180.222 | -2.7934e-10
180.718 | -2.7928e-10
181.214 | -2.7888e-10
181.714 | -2.8013e-10
182.22 | -2.7745e-10
182.718 | -2.7704e-10
183.217 | -2.7763e-10
183.72 | -2.7841e-10
184.219 | -2.7896e-10
184.723 | -2.7752e-10
185.216 | -2.7949e-10
185.722 | -2.7745e-10
186.214 | -2.7791e-10
186.714 | -2.8009e-10
187.215 | -2.7913e-10
187.723 | -2.7795e-10
188.217 | -2.7659e-10
188.72 | -2.7767e-10
189.223 | -2.7797e-10
189.719 | -2.7894e-10
190.214 | -2.7715e-10
190.721 | -2.7933e-10
191.215 | -2.7787e-10
191.714 | -2.7658e-10
192.214 | -2.7682e-10
192.727 | -2.7723e-10
193.236 | -2.7801e-10
193.714 | -2.7781e-10
194.233 | -2.7718e-10
194.724 | -2.7835e-10
195.22 | -2.7822e-10
195.725 | -2.7826e-10
196.23 | -2.786e-10
196.733 | -2.7825e-10
197.235 | -2.7885e-10
197.721 | -2.7689e-10
198.214 | -2.775e-10
198.731 | -2.7894e-10
199.23 | -2.7686e-10
199.714 | -2.7679e-10
200.223 | -2.7589e-10
200.714 | -2.7846e-10
201.233 | -2.7784e-10
201.72 | -2.7824e-10
202.222 | -2.781e-10
202.731 | -2.7672e-10
203.219 | -2.769e-10
203.732 | -2.7623e-10
204.216 | -2.7814e-10
204.726 | -2.7687e-10
205.215 | -2.7789e-10
205.725 | -2.7978e-10
206.22 | -2.7802e-10
206.715 | -2.7943e-10
207.229 | -2.8042e-10
207.723 | -2.7873e-10
208.219 | -2.8003e-10
208.722 | -2.791e-10
209.232 | -2.7928e-10
209.733 | -2.7885e-10
210.223 | -2.7865e-10
210.722 | -2.7772e-10
211.22 | -2.7767e-10
211.721 | -2.7703e-10
212.219 | -2.7917e-10
212.723 | -2.7807e-10
213.217 | -2.7821e-10
213.732 | -2.7757e-10
214.218 | -2.7738e-10
214.721 | -2.7795e-10
215.222 | -2.8039e-10
215.735 | -2.7989e-10
216.221 | -2.7887e-10
216.719 | -2.7938e-10
217.222 | -2.7986e-10
217.72 | -2.7862e-10
218.215 | -2.7891e-10
218.734 | -2.7985e-10
219.23 | -2.7913e-10
219.728 | -2.8004e-10
220.214 | -2.8171e-10
220.716 | -2.7971e-10
221.235 | -2.7935e-10
221.73 | -2.7975e-10
222.215 | -2.7907e-10
222.716 | -2.7985e-10
223.232 | -2.7747e-10
223.725 | -2.7983e-10
224.223 | -2.7816e-10
224.718 | -2.7969e-10
225.229 | -2.8046e-10
225.718 | -2.7968e-10
226.23 | -2.8119e-10
226.725 | -2.8027e-10
227.214 | -2.7905e-10
227.714 | -2.7818e-10
228.225 | -2.7953e-10
228.716 | -2.802e-10
229.229 | -2.7999e-10
229.717 | -2.8005e-10
230.222 | -2.7948e-10
230.728 | -2.8023e-10
231.22 | -2.792e-10
231.714 | -2.8129e-10
232.23 | -2.8136e-10
232.714 | -2.8167e-10
233.219 | -2.8093e-10
233.737 | -2.7998e-10
234.224 | -2.8198e-10
234.726 | -2.8193e-10
235.233 | -2.8217e-10
235.715 | -2.827e-10
236.223 | -2.8342e-10
236.727 | -2.8258e-10
237.219 | -2.8293e-10
237.719 | -2.8209e-10
238.217 | -2.8211e-10
238.729 | -2.8313e-10
239.216 | -2.8333e-10
239.725 | -2.8112e-10
240.222 | -2.8141e-10
240.726 | -2.8116e-10
241.222 | -2.8114e-10
241.716 | -2.805e-10
242.229 | -2.8042e-10
242.727 | -2.8069e-10
243.236 | -2.8055e-10
243.731 | -2.8087e-10
244.223 | -2.8137e-10
244.725 | -2.8113e-10
245.233 | -2.8144e-10
245.714 | -2.8078e-10
246.22 | -2.7994e-10
246.727 | -2.8196e-10
247.227 | -2.8207e-10
247.726 | -2.8181e-10
248.23 | -2.8067e-10
248.729 | -3.0964e-09
249.227 | -3.8703e-10
249.729 | -4.9863e-10
250.226 | -5.618e-10
250.715 | -4.2908e-10
251.233 | -6.5469e-10
251.731 | -2.9967e-10
252.229 | -3.1476e-10
252.717 | -3.5033e-10
253.236 | -3.3177e-10
253.725 | -2.9741e-10
254.214 | -2.8752e-10
254.728 | -3.0312e-10
255.22 | -2.8006e-10
255.725 | -2.8215e-10
256.214 | -2.8502e-10
256.722 | -3.1758e-10
257.221 | -2.9357e-10
257.726 | -2.8253e-10
258.223 | -2.8112e-10
258.719 | -2.7879e-10
259.223 | -2.8114e-10
259.721 | -2.8037e-10
260.225 | -2.7902e-10
260.718 | -2.7947e-10
261.224 | -2.7868e-10
261.734 | -2.7901e-10
262.235 | -2.8004e-10
262.717 | -2.793e-10
263.225 | -2.8044e-10
263.714 | -2.812e-10
264.223 | -2.8205e-10
264.723 | -2.7961e-10
265.214 | -2.7998e-10
265.727 | -2.8034e-10
266.216 | -2.8047e-10
266.728 | -2.8097e-10
267.241 | -2.7994e-10
267.724 | -2.8206e-10
268.221 | -2.8069e-10
268.73 | -2.8078e-10
269.227 | -2.8188e-10
269.721 | -2.8142e-10
270.22 | -2.8008e-10
270.72 | -2.8089e-10
271.216 | -2.8187e-10
271.715 | -2.7811e-10
272.227 | -2.8063e-10
272.72 | -2.8154e-10
273.229 | -2.8274e-10
273.714 | -2.8275e-10
274.217 | -2.8034e-10
274.714 | -2.8048e-10
275.222 | -2.8084e-10
275.729 | -2.803e-10
276.214 | -2.8032e-10
276.714 | -2.8138e-10
277.226 | -2.8365e-10
277.714 | -2.8223e-10
278.228 | -2.8117e-10
278.714 | -2.8207e-10
279.223 | -2.8303e-10
279.724 | -2.828e-10
280.22 | -2.8368e-10
280.723 | -2.8191e-10
281.226 | -2.8256e-10
281.714 | -2.8371e-10
282.221 | -2.8307e-10
282.723 | -2.8257e-10
283.217 | -2.8229e-10
283.724 | -2.814e-10
284.22 | -2.8173e-10
284.714 | -2.8161e-10
285.215 | -2.8185e-10
285.728 | -2.8339e-10
286.218 | -2.8391e-10
286.717 | -2.8323e-10
287.224 | -2.8234e-10
287.728 | -2.8325e-10
288.229 | -2.8469e-10
288.724 | -2.8467e-10
289.215 | -2.8394e-10
289.714 | -2.848e-10
290.216 | -2.8435e-10
290.723 | -2.8514e-10
291.218 | -2.8205e-10
294.032 | -2.8377e-10
295.224 | -2.8421e-10
295.725 | -2.8397e-10
296.228 | -2.8325e-10
296.717 | -2.8358e-10
297.229 | -2.8173e-10
297.725 | -2.8329e-10
298.23 | -2.83e-10
298.725 | -2.8488e-10
299.227 | -2.8372e-10
299.722 | -2.8299e-10
300.215 | -2.8793e-10
300.718 | -2.8409e-10
301.221 | -2.8441e-10
301.727 | -2.8457e-10
302.226 | -2.8277e-10
302.718 | -2.8504e-10
303.224 | -2.8475e-10
303.717 | -2.8266e-10
304.223 | -2.8203e-10
304.715 | -2.8483e-10
305.22 | -2.8319e-10
305.716 | -2.8204e-10
306.217 | -2.8031e-10
306.72 | -2.8145e-10
307.214 | -2.8228e-10
307.72 | -2.8225e-10
308.221 | -2.8199e-10
308.724 | -2.8216e-10
309.228 | -2.8396e-10
309.721 | -2.8403e-10
310.223 | -2.8372e-10
310.725 | -2.8202e-10
311.229 | -2.8094e-10
311.716 | -2.8149e-10
312.215 | -2.8188e-10
312.724 | -2.8226e-10
313.216 | -2.8138e-10
313.721 | -2.8235e-10
314.217 | -2.8132e-10
314.719 | -2.8044e-10
315.221 | -2.8228e-10
315.727 | -2.8105e-10
316.224 | -2.8236e-10
316.722 | -2.8174e-10
317.22 | -2.8068e-10
317.717 | -2.8112e-10
318.225 | -2.8094e-10
318.716 | -2.8287e-10
319.218 | -2.8189e-10
319.728 | -2.8188e-10
320.214 | -2.8229e-10