## Settings
Sample Info | GaO, Volkov200, run 01, UV pulse
Comments | 10/10/10
Major Measurement Parameters
Starting Temperature | 295.447
Initial Temperature | 295.4
Final Temperature | 450
Preliminary Voltage | 10
Pulse Voltage | 10
Pulse Time | 120
Wait Time | 0
Measurement Voltage | 10
Subsidiary Measurement Parameters
Step | 0.3
Accuracy Step | 0.1
Accuracy Stable | 0.5
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 20
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 7
Measurecount | 1
Time
Date | 7.2.2024
Clock | 13:33:30

## Stabilization
Temperature | Current
295.483 | 7.515e-09
295.674 | 5.669e-09
295.746 | 5.123e-09
295.776 | 4.7916e-09
295.786 | 4.5315e-09
295.784 | 4.3139e-09
295.779 | 4.1454e-09
295.774 | 3.9905e-09
295.768 | 3.8365e-09
295.76 | 3.7154e-09

## Measurements
Temperature | Current
295.801 | 2.2772e-06
295.928 | 9.4465e-09
296.234 | 9.2115e-09
296.733 | 9.1605e-09
297.21 | 9.1585e-09
298.488 | 9.245e-09
299.539 | 9.5223e-09
301.167 | 9.7127e-09
303.447 | 9.731e-09
304.397 | 9.7606e-09
304.782 | 9.8787e-09
306.594 | 9.9237e-09
308.555 | 1.0021e-08
310.871 | 1.0031e-08
311.864 | 1.0102e-08
312.204 | 1.0107e-08
312.58 | 1.0127e-08
312.915 | 1.0168e-08
313.359 | 1.0186e-08
313.654 | 1.0201e-08
314.021 | 1.0225e-08
315.289 | 1.0325e-08
316.29 | 1.0405e-08
316.645 | 1.0432e-08
317.139 | 1.0421e-08
317.419 | 1.0452e-08
317.736 | 1.0513e-08
318.118 | 1.0546e-08
318.431 | 1.0587e-08
319.639 | 1.0738e-08
320.662 | 1.0873e-08
321.035 | 1.0919e-08
321.374 | 1.0944e-08
321.679 | 1.1042e-08
322.118 | 1.1089e-08
322.422 | 1.1128e-08
322.725 | 1.1217e-08
323.061 | 1.1267e-08
323.464 | 1.1337e-08
324.608 | 1.1564e-08
325.649 | 1.1809e-08
325.985 | 1.1895e-08
326.32 | 1.1944e-08
326.621 | 1.1978e-08
326.955 | 1.2068e-08
327.323 | 1.2135e-08
327.623 | 1.2191e-08
327.921 | 1.2257e-08
328.255 | 1.2401e-08
328.554 | 1.247e-08
328.887 | 1.2566e-08
329.218 | 1.2682e-08
329.552 | 1.2746e-08
329.853 | 1.2938e-08
330.155 | 1.3023e-08
330.488 | 1.3109e-08
330.787 | 1.3232e-08
331.119 | 1.3302e-08
332.32 | 1.3729e-08
333.352 | 1.4107e-08
333.652 | 1.4256e-08
334.019 | 1.4243e-08
334.319 | 1.4345e-08
334.619 | 1.4411e-08
334.95 | 1.4529e-08
335.246 | 1.4669e-08
335.576 | 1.483e-08
335.909 | 1.4997e-08
336.209 | 1.517e-08
336.546 | 1.5288e-08
336.882 | 1.5434e-08
337.181 | 1.5547e-08
337.554 | 1.5637e-08
337.818 | 1.5747e-08
338.139 | 1.5852e-08
338.436 | 1.6032e-08
338.768 | 1.6097e-08
339.103 | 1.621e-08
340.383 | 1.6934e-08
341.359 | 1.7378e-08
341.688 | 1.7548e-08
341.986 | 1.7447e-08
342.322 | 1.7581e-08
342.624 | 1.7824e-08
342.958 | 1.8006e-08
343.286 | 1.8238e-08
343.574 | 1.8393e-08
343.927 | 1.8573e-08
344.261 | 1.8798e-08
344.56 | 1.889e-08
344.894 | 1.901e-08
345.198 | 1.9106e-08
345.537 | 1.9338e-08
345.911 | 1.9434e-08
346.178 | 1.9602e-08
346.507 | 1.9602e-08
347.789 | 2.0168e-08
348.761 | 2.0358e-08
349.073 | 2.0426e-08
349.404 | 2.0528e-08
349.697 | 2.0518e-08
350.038 | 2.0639e-08
350.325 | 2.0834e-08
350.657 | 2.1029e-08
350.966 | 2.1408e-08
351.287 | 2.1525e-08
351.573 | 2.1725e-08
351.894 | 2.1857e-08
352.197 | 2.2061e-08
352.539 | 2.2277e-08
352.843 | 2.2433e-08
353.182 | 2.2528e-08
353.492 | 2.2473e-08
354.805 | 2.284e-08
355.889 | 2.2833e-08
356.221 | 2.2784e-08
356.556 | 2.2466e-08
356.847 | 2.2151e-08
357.179 | 2.226e-08
357.485 | 2.2187e-08
357.828 | 2.1887e-08
358.144 | 2.1753e-08
358.495 | 2.1746e-08
358.807 | 2.1556e-08
359.085 | 2.1199e-08
359.419 | 2.1527e-08
359.752 | 2.144e-08
360.065 | 2.1017e-08
360.41 | 2.0736e-08
361.629 | 2.035e-08
362.642 | 1.9842e-08
362.99 | 1.9928e-08
363.356 | 1.9957e-08
363.762 | 2.0049e-08
364.134 | 2.0223e-08
364.51 | 2.037e-08
365.799 | 2.0363e-08
366.752 | 2.1293e-08
367.127 | 2.1662e-08
367.498 | 2.1868e-08
367.867 | 2.2012e-08
368.267 | 2.242e-08
368.61 | 2.3113e-08
369.859 | 2.4682e-08
370.874 | 2.6467e-08
371.238 | 2.6959e-08
371.619 | 2.7671e-08
371.967 | 2.8292e-08
372.321 | 2.8985e-08
372.708 | 2.9501e-08
374.013 | 3.2405e-08
374.901 | 3.4289e-08
375.283 | 3.4923e-08
375.625 | 3.5864e-08
375.968 | 3.7217e-08
376.326 | 3.849e-08
376.685 | 3.9911e-08
377.035 | 4.1298e-08
377.383 | 4.1596e-08
378.643 | 4.5926e-08
379.627 | 4.9114e-08
379.981 | 5.0851e-08
380.332 | 5.3114e-08
380.681 | 5.724e-08
381.027 | 6.0446e-08
381.363 | 6.3735e-08
381.701 | 6.565e-08
382.048 | 6.7959e-08
382.396 | 6.6912e-08
383.641 | 6.4618e-08
384.721 | 6.8339e-08
385.029 | 6.9895e-08
385.399 | 7.1757e-08
385.734 | 7.3491e-08
386.065 | 7.4776e-08
386.428 | 7.688e-08
386.762 | 7.8356e-08
387.098 | 8.1643e-08
388.352 | 8.9087e-08
389.404 | 9.4964e-08
389.736 | 9.6642e-08
390.068 | 9.9864e-08
390.432 | 1.0072e-07
390.77 | 1.0221e-07
391.131 | 1.0985e-07
392.474 | 1.1955e-07
393.464 | 1.2139e-07
393.791 | 1.2297e-07
394.167 | 1.2664e-07
394.494 | 1.3089e-07
394.815 | 1.323e-07
395.136 | 1.3378e-07
395.454 | 1.3603e-07
395.798 | 1.3907e-07
396.127 | 1.4161e-07
396.489 | 1.4482e-07
396.813 | 1.4786e-07
398.023 | 1.5918e-07
399.081 | 1.7334e-07
399.427 | 1.7772e-07
399.743 | 1.8164e-07
400.061 | 1.8458e-07
400.376 | 1.8866e-07
400.682 | 1.9317e-07
400.995 | 1.9771e-07
401.308 | 2.024e-07
401.653 | 2.0647e-07
401.964 | 2.1122e-07
402.31 | 2.1687e-07
402.66 | 2.2191e-07
402.966 | 2.2642e-07
403.264 | 2.3062e-07
403.576 | 2.3381e-07
403.891 | 2.375e-07
404.197 | 2.426e-07
404.506 | 2.4867e-07
404.818 | 2.5522e-07
405.122 | 2.622e-07
405.425 | 2.6902e-07
406.635 | 2.8918e-07
407.644 | 3.1209e-07
407.947 | 3.2082e-07
408.253 | 3.2755e-07
408.561 | 3.3544e-07
408.89 | 3.5663e-07
409.185 | 3.5282e-07
409.467 | 3.5896e-07
409.785 | 3.6682e-07
410.088 | 3.7387e-07
410.393 | 3.8187e-07
410.695 | 3.9063e-07
410.995 | 3.9883e-07
411.294 | 4.0907e-07
411.603 | 4.185e-07
411.911 | 4.2847e-07
412.214 | 4.3787e-07
412.506 | 4.4661e-07
412.799 | 4.5559e-07
413.093 | 4.6531e-07
413.389 | 4.7685e-07
413.695 | 4.8753e-07
413.993 | 4.9838e-07
414.304 | 5.0997e-07
414.594 | 5.2238e-07
414.896 | 5.341e-07
415.195 | 5.4615e-07
415.489 | 5.5978e-07
415.785 | 5.7236e-07
416.129 | 5.8721e-07
416.391 | 5.9995e-07
416.716 | 6.1613e-07
417.009 | 6.3041e-07
417.294 | 6.442e-07
417.583 | 6.5944e-07
417.879 | 6.7541e-07
418.198 | 6.9517e-07
418.48 | 7.0924e-07
418.768 | 7.2569e-07
419.072 | 7.432e-07
419.371 | 7.5759e-07
419.711 | 7.754e-07
419.962 | 7.9376e-07
420.255 | 8.1265e-07
420.508 | 8.3071e-07
420.874 | 8.5545e-07
421.197 | 8.7033e-07
421.51 | 8.913e-07
421.8 | 9.1149e-07
422.085 | 9.3328e-07
422.397 | 9.5573e-07
422.681 | 9.7664e-07
422.966 | 9.9905e-07
423.256 | 1.0215e-06
423.542 | 1.0787e-06
425.14 | 1.1848e-06
426.161 | 1.2743e-06
426.416 | 1.3056e-06
426.776 | 1.3452e-06
427.104 | 1.3787e-06
427.402 | 1.4101e-06
427.666 | 1.4416e-06
427.957 | 1.474e-06
428.471 | 1.5408e-06
428.772 | 1.5785e-06
429.066 | 1.6165e-06
429.298 | 1.6533e-06
429.563 | 1.6856e-06
429.863 | 1.722e-06
430.136 | 1.7607e-06
430.427 | 1.7981e-06
430.723 | 1.8309e-06
431.015 | 1.8776e-06
431.275 | 1.9212e-06
431.524 | 1.9619e-06
431.85 | 2.0146e-06
432.177 | 2.066e-06
432.444 | 2.1104e-06
432.73 | 2.1576e-06
433.049 | 2.2039e-06
433.382 | 2.2597e-06
433.625 | 2.304e-06
433.926 | 2.3683e-06
434.288 | 2.4342e-06
434.554 | 2.4839e-06
434.852 | 2.5394e-06
435.121 | 2.5954e-06
435.45 | 2.6631e-06
435.767 | 2.7355e-06
436.051 | 2.7983e-06
436.384 | 2.8742e-06
436.652 | 2.9342e-06
436.935 | 2.998e-06
437.259 | 3.0791e-06
437.526 | 3.1467e-06
437.862 | 3.2323e-06
438.168 | 3.3186e-06
438.446 | 3.3885e-06
438.75 | 3.4799e-06
439.013 | 3.5535e-06
439.366 | 3.6502e-06
439.611 | 3.7245e-06
439.988 | 3.8439e-06
440.245 | 3.919e-06
440.577 | 4.021e-06
440.828 | 4.107e-06
441.147 | 4.2136e-06
441.402 | 4.305e-06
441.731 | 4.4234e-06
442.071 | 4.5477e-06
442.338 | 4.6477e-06
442.616 | 4.7481e-06
442.989 | 4.8866e-06
443.251 | 4.9872e-06
443.531 | 5.1175e-06
443.824 | 5.2513e-06
444.148 | 5.3858e-06
444.463 | 5.5241e-06
444.718 | 5.6362e-06
445.033 | 5.7747e-06
445.345 | 5.9207e-06
445.624 | 6.0521e-06
445.94 | 6.213e-06
446.228 | 6.3709e-06
446.54 | 6.5324e-06
446.847 | 6.6972e-06
447.139 | 6.8663e-06
447.443 | 7.0433e-06
447.755 | 7.226e-06
448.09 | 7.4118e-06
448.339 | 7.5587e-06
448.649 | 7.7561e-06
448.905 | 7.9083e-06
449.243 | 8.1026e-06
449.554 | 8.3119e-06
449.836 | 8.5243e-06
450.124 | 8.7193e-06