## Settings
Sample Info | GaO, Volkov200, dot2, run 01, 20 K/min
Comments | 10/10/10
Major Measurement Parameters
Starting Temperature | 300.002
Initial Temperature | 300
Final Temperature | 450
Preliminary Voltage | 10
Pulse Voltage | 10
Pulse Time | 60
Wait Time | 0
Measurement Voltage | 10
Subsidiary Measurement Parameters
Step | 0.3
Accuracy Step | 0.1
Accuracy Stable | 1
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 20
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 7
Measurecount | 1
Time
Date | 7.2.2024
Clock | 19:22:49

## Stabilization
Temperature | Current
300.003 | 3.4877e-09
299.997 | 2.9592e-09
299.993 | 2.822e-09
299.988 | 2.7523e-09
299.983 | 2.6957e-09
299.975 | 2.6328e-09
299.971 | 2.6092e-09
299.965 | 2.5818e-09
299.959 | 2.5512e-09
299.954 | 2.5308e-09

## Measurements
Temperature | Current
299.876 | 2.2883e-08
299.992 | 1.4277e-08
300.315 | 1.2464e-08
300.615 | 1.1909e-08
300.903 | 1.1606e-08
301.243 | 1.1364e-08
301.563 | 1.1253e-08
301.876 | 1.1133e-08
302.248 | 1.1037e-08
302.601 | 1.1003e-08
303.009 | 1.0968e-08
304.328 | 1.0908e-08
305.369 | 1.0919e-08
305.761 | 1.0957e-08
306.193 | 1.0955e-08
307.569 | 1.1045e-08
308.547 | 1.1078e-08
308.927 | 1.1146e-08
309.348 | 1.1188e-08
309.724 | 1.1164e-08
311.044 | 1.1332e-08
312.015 | 1.1444e-08
312.374 | 1.1486e-08
312.773 | 1.1515e-08
313.128 | 1.1589e-08
313.521 | 1.1631e-08
313.872 | 1.1653e-08
315.14 | 1.1826e-08
316.122 | 1.1947e-08
316.458 | 1.2042e-08
316.793 | 1.2104e-08
317.161 | 1.2214e-08
317.492 | 1.2295e-08
317.858 | 1.2316e-08
318.185 | 1.2358e-08
318.548 | 1.2508e-08
318.871 | 1.2628e-08
320.12 | 1.3365e-08
321.135 | 1.3709e-08
321.448 | 1.4305e-08
321.797 | 1.3187e-08
322.11 | 1.291e-08
322.456 | 1.3499e-08
322.768 | 1.2964e-08
323.078 | 1.3385e-08
323.421 | 1.4e-08
323.731 | 1.3261e-08
324.073 | 1.3029e-08
324.381 | 1.3137e-08
324.687 | 1.3191e-08
325.028 | 1.344e-08
325.37 | 1.3522e-08
325.675 | 1.3592e-08
326.96 | 3.5029e-06
327.903 | 6.4323e-06
328.239 | 1.4416e-05
329.849 | 2.2247e-05
330.817 | 3.2394e-05
331.119 | 3.649e-05
331.454 | 3.8009e-05
331.754 | 4.0063e-05
332.054 | 4.2112e-05
332.388 | 4.3441e-05
332.688 | 4.6964e-05
333.019 | 4.9914e-05
333.321 | 5.3034e-05
333.654 | 5.5452e-05
333.955 | 5.9464e-05
334.254 | 6.1936e-05
334.586 | 6.2936e-05
334.886 | 6.4424e-05
335.22 | 6.684e-05
335.518 | 6.8348e-05
335.819 | 7.0737e-05
336.152 | 7.4853e-05
336.451 | 7.6487e-05
336.785 | 8.0127e-05
337.084 | 8.4594e-05
337.416 | 9.0694e-05
337.717 | 9.5932e-05
338.048 | 9.934e-05
338.349 | 0.00011158
339.647 | 0.00012284
340.645 | 0.00013334
340.944 | 0.00013726
341.278 | 0.00014049
341.578 | 0.00014323
341.911 | 0.00014588
342.21 | 0.0001492
342.509 | 0.00015168
342.843 | 0.00015058
343.142 | 0.00015355
343.475 | 0.00015585
343.775 | 0.00015548
344.108 | 0.00015523
344.409 | 0.00015731
344.74 | 0.0001573
345.041 | 0.00015935
345.373 | 0.00016087
345.672 | 0.00016148
346.007 | 0.0001641
346.306 | 0.00016653
346.635 | 0.00016813
346.933 | 0.0001674
347.264 | 0.00016918
347.564 | 0.00016714
347.864 | 0.00016859
348.196 | 0.00016804
349.429 | 0.00017019
350.428 | 0.00017527
350.727 | 0.00017701
351.061 | 0.00017731
351.361 | 0.00017691
351.662 | 0.00017649
351.996 | 0.00017591
352.295 | 0.00017479
352.629 | 0.00017547
352.93 | 0.0001748
353.263 | 0.00017396
353.565 | 0.00017243
353.897 | 0.00017254
354.198 | 0.00017454
354.53 | 0.00017563
354.831 | 0.00017335
355.13 | 0.00017101
355.465 | 0.00016855
355.765 | 0.00016671
356.099 | 0.00016498
356.399 | 0.00016411
356.732 | 0.00016322
357.033 | 0.00016187
357.366 | 0.00016142
357.667 | 0.00016161
357.999 | 0.00016113
359.234 | 0.00015909
360.202 | 0.00015335
360.535 | 0.00015426
360.87 | 0.00015473
361.171 | 0.00015503
361.504 | 0.00015488
361.804 | 0.00015488
362.104 | 0.00015409
362.437 | 0.00015401
362.738 | 0.00015453
363.071 | 0.00015576
363.371 | 0.00015475
363.705 | 0.00015602
364.004 | 0.00015758
364.337 | 0.00015561
364.672 | 0.00015269
365.04 | 0.00015099
365.406 | 0.00014771
366.706 | 0.00013975
367.641 | 0.00013571
368.006 | 0.00013431
368.372 | 0.00013263
368.738 | 0.00013122
369.101 | 0.00012825
369.465 | 0.00012444
370.75 | 0.00011799
371.766 | 0.00011286
372.125 | 0.00011283
372.484 | 0.00011339
372.843 | 0.0001134
373.199 | 0.00011171
373.556 | 0.0001099
374.819 | 0.00010336
375.817 | 9.762e-05
376.426 | 9.6212e-05
376.78 | 9.3706e-05
378.026 | 7.8675e-05
379.01 | 7.1405e-05
379.358 | 6.7123e-05
379.706 | 5.9238e-05
380.054 | 4.9272e-05
380.402 | 4.7275e-05
380.748 | 4.6978e-05
381.096 | 4.8428e-05
381.44 | 4.7131e-05
381.786 | 4.4056e-05
383.101 | 3.8226e-05
384.036 | 3.8186e-05
384.377 | 3.7899e-05
384.749 | 3.8304e-05
385.091 | 3.7538e-05
385.43 | 3.7841e-05
385.77 | 3.8064e-05
386.111 | 3.8266e-05
386.448 | 3.8371e-05
387.739 | 3.8679e-05
388.776 | 3.938e-05
389.111 | 3.9723e-05
389.447 | 3.9803e-05
389.781 | 3.9968e-05
390.114 | 4.0282e-05
390.445 | 4.0394e-05
390.775 | 4.0652e-05
391.106 | 4.0807e-05
391.433 | 4.0889e-05
391.763 | 4.0749e-05
393.012 | 4.1605e-05
394.019 | 4.2093e-05
394.345 | 4.2163e-05
394.668 | 4.2261e-05
395.022 | 4.2673e-05
395.345 | 4.2799e-05
395.67 | 4.3139e-05
395.992 | 4.3301e-05
396.314 | 4.3348e-05
396.637 | 4.3429e-05
396.958 | 4.3562e-05
397.279 | 4.3782e-05
397.599 | 4.3987e-05
397.919 | 4.4125e-05
398.24 | 4.4378e-05
398.557 | 4.4519e-05
398.877 | 4.4656e-05
400.091 | 4.54e-05
401.155 | 4.5968e-05
401.471 | 4.6107e-05
401.787 | 4.635e-05
402.1 | 4.6702e-05
402.415 | 4.6737e-05
402.757 | 4.713e-05
403.041 | 4.7239e-05
403.354 | 4.7271e-05
403.695 | 4.7513e-05
404.008 | 4.7677e-05
404.32 | 4.7957e-05
404.631 | 4.8233e-05
404.943 | 4.8266e-05
405.253 | 4.8512e-05
405.564 | 4.8626e-05
405.873 | 4.8874e-05
406.182 | 4.894e-05
406.491 | 4.94e-05
406.8 | 4.9639e-05
407.107 | 4.9812e-05
407.414 | 4.9882e-05
407.721 | 5.0182e-05
408.029 | 5.0217e-05
408.363 | 5.0478e-05
408.669 | 5.0625e-05
408.973 | 5.0976e-05
409.278 | 5.1215e-05
410.52 | 5.1945e-05
411.535 | 5.321e-05
411.837 | 5.3381e-05
412.138 | 5.3629e-05
412.438 | 5.3783e-05
412.735 | 5.4036e-05
413.036 | 5.4307e-05
413.362 | 5.4703e-05
413.661 | 5.4918e-05
413.958 | 5.529e-05
414.256 | 5.5427e-05
414.553 | 5.5741e-05
414.85 | 5.5943e-05
415.147 | 5.6087e-05
415.443 | 5.6155e-05
415.738 | 5.6208e-05
416.061 | 5.6519e-05
416.356 | 5.6892e-05
416.649 | 5.7192e-05
416.944 | 5.7582e-05
417.237 | 5.7538e-05
417.531 | 5.7938e-05
417.822 | 5.8215e-05
418.114 | 5.8292e-05
418.433 | 5.853e-05
418.725 | 5.8638e-05
419.015 | 5.8853e-05
419.306 | 5.9157e-05
419.596 | 5.9468e-05
419.886 | 5.9614e-05
420.254 | 5.9977e-05
420.542 | 6.0137e-05
420.832 | 6.0252e-05
421.146 | 6.0741e-05
421.433 | 6.0856e-05
421.719 | 6.106e-05
422.008 | 6.1333e-05
422.294 | 6.166e-05
422.579 | 6.1911e-05
422.944 | 6.2221e-05
423.229 | 6.2552e-05
423.513 | 6.2752e-05
423.824 | 6.311e-05
424.108 | 6.3404e-05
424.468 | 6.3877e-05
424.751 | 6.3917e-05
425.034 | 6.4337e-05
425.317 | 6.4488e-05
425.596 | 6.4655e-05
425.952 | 6.498e-05
426.23 | 6.5298e-05
426.508 | 6.5437e-05
426.81 | 6.5687e-05
427.162 | 6.591e-05
427.438 | 6.6375e-05
427.714 | 6.6799e-05
428.065 | 6.7122e-05
428.339 | 6.7473e-05
428.614 | 6.7747e-05
428.889 | 6.7769e-05
429.237 | 6.8116e-05
429.51 | 6.8297e-05
429.784 | 6.8559e-05
430.131 | 6.8851e-05
430.402 | 6.9128e-05
430.749 | 6.9599e-05
431.045 | 6.9895e-05
431.314 | 7.0417e-05
431.659 | 7.098e-05
431.928 | 7.1121e-05
432.198 | 7.1404e-05
432.541 | 7.2132e-05
432.808 | 7.2648e-05
433.151 | 7.2786e-05
433.441 | 7.2975e-05
433.709 | 7.3328e-05
434.025 | 7.3798e-05
434.314 | 7.4288e-05
434.653 | 7.4719e-05
434.919 | 7.5001e-05
435.256 | 7.533e-05
435.522 | 7.5611e-05
435.784 | 7.5906e-05
436.122 | 7.6259e-05
436.384 | 7.6597e-05
436.742 | 7.7062e-05
437.005 | 7.7358e-05
437.315 | 7.7605e-05
437.648 | 7.7915e-05
437.932 | 7.8223e-05
438.264 | 7.9058e-05
438.525 | 7.9247e-05
438.783 | 7.962e-05
439.114 | 7.9942e-05
439.443 | 8.0512e-05
439.7 | 8.09e-05
440.029 | 8.1128e-05
440.286 | 8.1181e-05
440.637 | 8.1721e-05
440.965 | 8.232e-05
441.219 | 8.2434e-05
441.546 | 8.2719e-05
441.799 | 8.32e-05
442.123 | 8.3656e-05
442.378 | 8.4001e-05
442.7 | 8.4511e-05
443.047 | 8.5236e-05
443.369 | 8.5776e-05
443.621 | 8.5953e-05
443.942 | 8.6401e-05
444.264 | 8.6988e-05
444.515 | 8.7521e-05
444.832 | 8.8039e-05
445.153 | 8.8157e-05
445.402 | 8.8771e-05
445.719 | 8.9232e-05
446.059 | 8.983e-05
446.307 | 9.002e-05
446.623 | 9.0622e-05
446.937 | 9.1127e-05
447.184 | 9.1417e-05
447.499 | 9.1674e-05
447.812 | 9.2136e-05
448.126 | 9.2587e-05
448.437 | 9.3094e-05
448.682 | 9.3195e-05
448.994 | 9.3975e-05
449.303 | 9.4607e-05
449.636 | 9.5036e-05
449.881 | 9.5753e-05
450.205 | 9.6471e-05