## Settings
Sample Info | GaO, v200, dot2, -10V, run 02, 20 K/min
Comments | -10/-10/-10
Major Measurement Parameters
Starting Temperature | 305.479
Initial Temperature | 305
Final Temperature | 450
Preliminary Voltage | -10
Pulse Voltage | -10
Pulse Time | 60
Wait Time | 0
Measurement Voltage | -10
Subsidiary Measurement Parameters
Step | 0.3
Accuracy Step | 0.1
Accuracy Stable | 1
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 20
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 7
Measurecount | 1
Time
Date | 7.2.2024
Clock | 20:43:52

## Stabilization
Temperature | Current
305.471 | -1.0497e-08
305.457 | -1.0922e-08
305.449 | -1.0449e-08
305.441 | -1.0129e-08
305.433 | -9.8083e-09
305.425 | -9.6301e-09
305.419 | -9.4593e-09
305.412 | -9.3593e-09
305.405 | -9.2099e-09
305.396 | -9.0861e-09

## Measurements
Temperature | Current
305.19 | -1.1158e-08
305.305 | -1.1177e-08
305.604 | -1.1092e-08
305.901 | -1.1109e-08
306.268 | -1.1123e-08
306.558 | -1.1187e-08
306.851 | -1.1311e-08
307.17 | -1.1368e-08
307.55 | -1.1563e-08
307.908 | -1.1651e-08
308.282 | -1.1767e-08
308.709 | -1.196e-08
309.983 | -1.25e-08
310.999 | -1.2873e-08
311.44 | -1.3059e-08
311.836 | -1.3168e-08
313.099 | -1.3667e-08
314.218 | -1.4109e-08
314.644 | -1.4331e-08
315.025 | -1.4445e-08
316.403 | -1.5061e-08
317.344 | -1.5467e-08
317.749 | -1.5613e-08
318.111 | -1.579e-08
318.51 | -1.5862e-08
318.867 | -1.6103e-08
320.114 | -1.6669e-08
321.141 | -1.722e-08
321.479 | -1.7405e-08
321.854 | -1.7523e-08
322.189 | -1.7739e-08
322.523 | -1.7909e-08
322.892 | -1.8157e-08
323.223 | -1.8364e-08
323.588 | -1.8393e-08
324.817 | -1.9244e-08
325.851 | -1.9808e-08
326.206 | -1.9985e-08
326.521 | -2.024e-08
326.873 | -2.0391e-08
327.188 | -2.0711e-08
327.537 | -2.0882e-08
327.85 | -2.1145e-08
328.163 | -2.1264e-08
328.508 | -2.1462e-08
328.819 | -2.1714e-08
329.163 | -2.186e-08
329.471 | -2.2172e-08
329.78 | -2.2372e-08
330.122 | -2.2595e-08
331.382 | -2.3525e-08
332.397 | -2.4233e-08
332.7 | -2.4546e-08
333.036 | -2.4762e-08
333.339 | -2.5001e-08
333.641 | -2.5258e-08
333.978 | -2.5541e-08
334.28 | -2.6106e-08
334.616 | -2.6364e-08
334.918 | -2.6404e-08
335.253 | -2.6765e-08
335.554 | -2.7147e-08
335.855 | -2.7386e-08
336.188 | -2.7572e-08
336.489 | -2.7884e-08
336.824 | -2.8175e-08
337.122 | -2.8322e-08
337.423 | -2.8605e-08
337.758 | -2.9034e-08
338.057 | -2.9246e-08
338.39 | -2.9635e-08
338.69 | -3.0087e-08
339.024 | -3.0348e-08
339.323 | -3.0887e-08
340.59 | -3.2026e-08
341.553 | -3.3203e-08
341.854 | -3.3714e-08
342.185 | -3.3784e-08
342.484 | -3.4038e-08
342.819 | -3.4506e-08
343.116 | -3.4862e-08
343.45 | -3.5448e-08
343.751 | -3.5746e-08
344.083 | -3.6181e-08
344.382 | -3.6384e-08
344.682 | -3.6791e-08
344.981 | -3.7316e-08
345.312 | -3.741e-08
345.613 | -3.8362e-08
345.946 | -3.8759e-08
346.244 | -3.9087e-08
346.573 | -3.9564e-08
346.871 | -3.992e-08
347.171 | -4.0368e-08
347.501 | -4.1207e-08
347.801 | -4.1649e-08
348.132 | -4.1923e-08
348.431 | -4.234e-08
348.765 | -4.2679e-08
349.064 | -4.3216e-08
349.398 | -4.3828e-08
350.629 | -4.5743e-08
351.595 | -4.702e-08
351.931 | -4.7846e-08
352.23 | -4.8242e-08
352.563 | -4.8698e-08
352.865 | -4.9196e-08
353.197 | -4.9781e-08
353.496 | -5.0046e-08
353.829 | -5.0864e-08
354.131 | -5.1485e-08
354.431 | -5.1487e-08
354.764 | -5.2177e-08
355.065 | -5.2747e-08
355.397 | -5.344e-08
355.696 | -5.3992e-08
356.031 | -5.4068e-08
356.331 | -5.4713e-08
356.632 | -5.4839e-08
356.965 | -5.5542e-08
357.299 | -5.58e-08
357.599 | -5.6197e-08
357.932 | -5.6781e-08
358.233 | -5.7083e-08
358.533 | -5.7434e-08
358.867 | -5.8082e-08
359.167 | -5.8553e-08
359.501 | -5.9091e-08
360.734 | -6.0192e-08
361.735 | -6.1199e-08
362.036 | -6.1413e-08
362.369 | -6.1862e-08
362.668 | -6.1975e-08
363.003 | -6.2427e-08
363.303 | -6.2465e-08
363.637 | -6.2909e-08
363.937 | -6.3179e-08
364.237 | -6.3681e-08
364.571 | -6.4144e-08
364.87 | -6.3866e-08
365.205 | -6.4061e-08
365.504 | -6.4236e-08
365.838 | -6.4914e-08
366.139 | -6.512e-08
366.439 | -6.5356e-08
366.771 | -6.5883e-08
367.071 | -6.652e-08
367.439 | -6.6999e-08
368.739 | -6.9111e-08
369.772 | -7.0857e-08
370.139 | -7.1855e-08
370.505 | -7.1979e-08
370.872 | -7.3057e-08
371.237 | -7.3742e-08
372.526 | -7.7526e-08
373.546 | -8.084e-08
373.907 | -8.1869e-08
374.266 | -8.3619e-08
374.627 | -8.4255e-08
374.985 | -8.5184e-08
375.343 | -8.6698e-08
376.642 | -9.1339e-08
377.642 | -9.5985e-08
377.998 | -9.6947e-08
378.351 | -9.927e-08
378.704 | -9.9794e-08
379.057 | -1.0226e-07
379.411 | -1.0649e-07
380.815 | -1.1128e-07
381.767 | -1.1598e-07
382.116 | -1.1735e-07
382.464 | -1.2076e-07
382.843 | -1.225e-07
383.189 | -1.2485e-07
383.539 | -1.2704e-07
383.882 | -1.2916e-07
385.107 | -1.3668e-07
386.166 | -1.4435e-07
386.541 | -1.4796e-07
386.882 | -1.4918e-07
387.223 | -1.5287e-07
387.596 | -1.5583e-07
387.967 | -1.582e-07
388.308 | -1.6194e-07
389.538 | -1.7175e-07
390.574 | -1.815e-07
390.908 | -1.8504e-07
391.24 | -1.879e-07
391.572 | -1.9134e-07
391.903 | -1.9449e-07
392.235 | -1.9795e-07
392.566 | -2.0219e-07
392.896 | -2.0583e-07
393.255 | -2.0969e-07
393.585 | -2.132e-07
394.841 | -2.2857e-07
395.849 | -2.414e-07
396.175 | -2.4558e-07
396.499 | -2.5003e-07
396.825 | -2.5534e-07
397.149 | -2.5945e-07
397.473 | -2.6492e-07
397.797 | -2.6903e-07
398.12 | -2.7433e-07
398.443 | -2.804e-07
398.765 | -2.8444e-07
399.086 | -2.9063e-07
399.407 | -2.9464e-07
399.728 | -3.0155e-07
400.077 | -3.0703e-07
400.397 | -3.1167e-07
400.717 | -3.1563e-07
401.932 | -3.3996e-07
402.999 | -3.6213e-07
403.314 | -3.686e-07
403.63 | -3.7534e-07
403.944 | -3.8324e-07
404.259 | -3.9141e-07
404.601 | -3.982e-07
404.916 | -4.0684e-07
405.229 | -4.1612e-07
405.542 | -4.2389e-07