## Settings
Sample Info | GaO-run05-dot2, UV pulse, from 340 K
Comments | -10/-10/-10
Major Measurement Parameters
Starting Temperature | 340
Initial Temperature | 340
Final Temperature | 400
Preliminary Voltage | -10
Pulse Voltage | -10
Pulse Time | 300
Wait Time | 0
Measurement Voltage | -10
Subsidiary Measurement Parameters
Step | 0.3
Accuracy Step | 0.1
Accuracy Stable | 1
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 20
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 7
Measurecount | 1
Time
Date | 8.2.2024
Clock | 19:27:45

## Stabilization
Temperature | Current
339.957 | -1.3286e-08
339.906 | -1.1406e-08
339.845 | -1.047e-08
339.694 | -9.3802e-09
339.554 | -8.7331e-09
339.48 | -8.4666e-09
339.43 | -8.289e-09
339.386 | -8.1364e-09
339.345 | -8.0208e-09
339.308 | -7.9034e-09

## Measurements
Temperature | Current
339.998 | -6.1249e-08
340.106 | -4.6791e-08
340.431 | -3.9184e-08
340.726 | -3.6681e-08
341.021 | -3.5174e-08
341.397 | -3.4077e-08
341.685 | -3.3405e-08
341.996 | -3.2816e-08
342.359 | -3.237e-08
342.701 | -3.1957e-08
343.052 | -3.1648e-08
343.449 | -3.135e-08
344.743 | -3.0758e-08
345.839 | -3.041e-08
346.204 | -3.0375e-08
346.566 | -3.0308e-08
346.928 | -3.0282e-08
347.332 | -3.0256e-08
348.618 | -3.0316e-08
349.614 | -3.0434e-08
350.048 | -3.0494e-08
350.479 | -3.0576e-08
351.756 | -3.088e-08
352.709 | -3.1183e-08
353.125 | -3.1357e-08
353.538 | -3.1522e-08
353.951 | -3.166e-08
355.29 | -3.217e-08
356.323 | -3.2676e-08
356.727 | -3.2913e-08
357.093 | -3.3072e-08
357.494 | -3.3293e-08
358.754 | -3.4e-08
359.778 | -3.4532e-08
360.094 | -3.4772e-08
360.443 | -3.4987e-08
360.755 | -3.5169e-08
361.102 | -3.5324e-08
361.415 | -3.5504e-08
361.725 | -3.5707e-08
362.069 | -3.5828e-08
362.379 | -3.6054e-08
362.722 | -3.6245e-08
363.029 | -3.6371e-08
363.336 | -3.6558e-08
363.679 | -3.6716e-08
363.985 | -3.6869e-08
364.324 | -3.7005e-08
365.577 | -3.7586e-08
366.555 | -3.7991e-08
366.893 | -3.8008e-08
367.196 | -3.813e-08
367.498 | -3.8263e-08
367.833 | -3.8396e-08
368.134 | -3.8481e-08
368.437 | -3.8655e-08
368.773 | -3.8785e-08
369.072 | -3.8897e-08
369.374 | -3.9032e-08
369.675 | -3.918e-08
370.009 | -3.9405e-08
370.31 | -3.956e-08
370.645 | -3.9719e-08
370.944 | -3.9918e-08
371.277 | -4.0141e-08
371.578 | -4.033e-08
371.878 | -4.057e-08
372.212 | -4.0789e-08
372.512 | -4.108e-08
372.845 | -4.1443e-08
373.146 | -4.176e-08
373.445 | -4.2092e-08
373.777 | -4.2482e-08
374.078 | -4.2925e-08
374.378 | -4.3383e-08
374.71 | -4.3741e-08
375.943 | -4.5852e-08
376.976 | -4.7844e-08
377.342 | -4.8653e-08
377.675 | -4.9509e-08
378.04 | -5.0306e-08
378.405 | -5.1136e-08
378.768 | -5.2148e-08
380.088 | -5.5819e-08