## Settings
Sample Info | GaO, v200, d2, run 09, cool with UV
Comments | -10/-10/-10
Major Measurement Parameters
Starting Temperature | 408.869
Initial Temperature | 80.5
Final Temperature | 450
Preliminary Voltage | -10
Pulse Voltage | -10
Pulse Time | 120
Wait Time | 0
Measurement Voltage | -10
Subsidiary Measurement Parameters
Step | 0.3
Accuracy Step | 0.1
Accuracy Stable | 0.5
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 20
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 5
Measurecount | 1
Time
Date | 9.2.2024
Clock | 18:14:56

## Stabilization
Temperature | Current
406.825 | -3.0778e-05
406.175 | -3.026e-05
405.456 | -2.9988e-05
404.725 | -2.9752e-05
403.814 | -2.9494e-05
403.123 | -2.9407e-05
402.237 | -2.8937e-05
401.466 | -2.8842e-05
400.767 | -2.8549e-05
399.965 | -2.8408e-05
399.262 | -2.8143e-05
398.521 | -2.7973e-05
397.799 | -2.7832e-05
396.923 | -2.7688e-05
396.243 | -2.8178e-05
395.477 | -2.8338e-05
394.719 | -2.8195e-05
394.046 | -2.7927e-05
393.357 | -2.7831e-05
392.497 | -2.758e-05
391.804 | -2.7332e-05
390.958 | -2.7492e-05
390.196 | -2.723e-05
389.373 | -2.7159e-05
388.569 | -2.7016e-05
387.809 | -2.7011e-05
387.174 | -2.6851e-05
386.322 | -2.6732e-05
385.602 | -2.6818e-05
384.803 | -2.6747e-05
384.022 | -2.6553e-05
383.311 | -2.6266e-05
382.489 | -2.6229e-05
381.858 | -2.6312e-05
381.205 | -2.623e-05
380.551 | -2.611e-05
379.738 | -2.6015e-05
378.974 | -2.5854e-05
378.283 | -2.5692e-05
377.604 | -2.547e-05
376.766 | -2.5393e-05
376.079 | -2.538e-05
375.438 | -2.5302e-05
374.596 | -2.4974e-05
373.94 | -2.4817e-05
373.283 | -2.4818e-05
372.569 | -2.4712e-05
371.748 | -2.4467e-05
371.106 | -2.4411e-05
370.378 | -2.4232e-05
369.59 | -2.4089e-05
368.897 | -2.3989e-05
368.288 | -2.3786e-05
367.601 | -2.377e-05
366.843 | -2.3458e-05
366.095 | -2.3304e-05
365.447 | -2.317e-05
364.689 | -2.3111e-05
364.046 | -2.2831e-05
363.22 | -2.2565e-05
362.535 | -2.2368e-05
361.89 | -2.2366e-05
361.328 | -2.2256e-05
360.69 | -2.2121e-05
359.902 | -2.2e-05
359.101 | -2.184e-05
358.318 | -2.1751e-05
357.613 | -2.1616e-05
356.833 | -2.1334e-05
356.015 | -2.1174e-05
355.134 | -2.104e-05
354.354 | -2.0885e-05
353.582 | -2.0736e-05
352.709 | -2.0583e-05
351.868 | -2.0423e-05
351.033 | -2.0374e-05
350.294 | -2.0225e-05
349.473 | -2.0048e-05
348.602 | -1.9833e-05
347.898 | -1.9674e-05
346.984 | -1.9542e-05
346.283 | -1.9441e-05
345.62 | -1.9261e-05
344.814 | -1.909e-05
344.07 | -1.8991e-05
343.424 | -1.8828e-05
342.634 | -1.8673e-05
341.881 | -1.8565e-05
341.256 | -1.84e-05
340.501 | -1.8285e-05
339.739 | -1.8172e-05
339.057 | -1.8006e-05
338.424 | -1.7836e-05
337.903 | -1.7756e-05
337.237 | -1.7593e-05
336.612 | -1.7388e-05
335.899 | -1.7286e-05
335.25 | -1.7223e-05
334.636 | -1.7093e-05
333.92 | -1.6994e-05
333.033 | -1.6889e-05
332.247 | -1.6798e-05
331.342 | -1.663e-05
330.608 | -1.6544e-05
329.791 | -1.6364e-05
328.96 | -1.6229e-05
328.097 | -1.6096e-05
327.415 | -1.5985e-05
326.687 | -1.5865e-05
325.88 | -1.5673e-05
324.977 | -1.5539e-05
324.211 | -1.5403e-05
323.328 | -1.5305e-05
322.646 | -1.5252e-05
321.791 | -1.5163e-05
321.077 | -1.5013e-05
320.26 | -1.4892e-05
319.581 | -1.4783e-05
318.872 | -1.4651e-05
318.173 | -1.4562e-05
317.528 | -1.4379e-05
316.705 | -1.4334e-05
316.151 | -1.4224e-05
315.59 | -1.411e-05
315.051 | -1.4037e-05
314.44 | -1.3918e-05
313.865 | -1.3763e-05
313.105 | -1.3711e-05
312.538 | -1.3578e-05
312.019 | -1.3467e-05
311.45 | -1.3425e-05
310.945 | -1.3305e-05
310.365 | -1.317e-05
309.744 | -1.305e-05
309.199 | -1.2947e-05
308.631 | -1.2827e-05
308.191 | -1.2733e-05
307.668 | -1.2693e-05
307.276 | -1.2591e-05
306.827 | -1.2436e-05
306.401 | -1.235e-05
306.074 | -1.2267e-05
305.766 | -1.2172e-05
305.51 | -1.203e-05
305.242 | -1.1951e-05
304.994 | -1.1883e-05
304.737 | -1.1841e-05
304.497 | -1.1695e-05
304.26 | -1.1611e-05
303.804 | -1.1557e-05
303.452 | -1.1463e-05
303.067 | -1.14e-05
302.791 | -1.1315e-05
302.422 | -1.1242e-05
302.02 | -1.1139e-05
301.646 | -1.1037e-05
301.388 | -1.0985e-05
301.124 | -1.09e-05
300.878 | -1.0821e-05
300.538 | -1.0736e-05
300.222 | -1.0697e-05
299.99 | -1.0613e-05
299.674 | -1.0553e-05
299.438 | -1.0509e-05
299.223 | -1.0424e-05
299.01 | -1.0362e-05
298.78 | -1.0315e-05
298.564 | -1.0188e-05
298.338 | -1.0127e-05
298.121 | -1.0098e-05
297.911 | -1.0044e-05
297.592 | -9.8848e-06
297.014 | -9.8236e-06
296.524 | -9.7171e-06
296.308 | -9.6535e-06
296.076 | -9.6107e-06
295.857 | -9.5434e-06
295.651 | -9.4886e-06
295.435 | -9.4523e-06
295.231 | -9.399e-06
295.032 | -9.3858e-06
294.798 | -9.3249e-06
294.563 | -9.2693e-06
294.363 | -9.2157e-06
294.169 | -9.1913e-06
293.974 | -9.1037e-06
293.766 | -9.0643e-06
293.573 | -9.0342e-06
293.348 | -9.009e-06
293.13 | -8.9483e-06
292.942 | -8.896e-06
292.739 | -8.8273e-06
292.547 | -8.8062e-06
292.349 | -8.731e-06
292.16 | -8.696e-06
291.956 | -8.6584e-06
291.599 | -8.6004e-06
291.357 | -8.5551e-06
291.164 | -8.5003e-06
290.963 | -8.4906e-06
290.776 | -8.462e-06
290.581 | -8.4032e-06
290.393 | -8.354e-06
290.2 | -8.322e-06
289.997 | -8.2793e-06
289.791 | -8.2366e-06
289.611 | -8.2459e-06
289.423 | -8.1475e-06
289.236 | -8.1303e-06
289.026 | -8.1129e-06
288.814 | -8.0629e-06
288.534 | -8.0182e-06
288.345 | -7.9824e-06
287.973 | -7.9596e-06
287.657 | -7.9332e-06
287.433 | -7.8846e-06
287.238 | -7.8588e-06
287.03 | -7.7992e-06
286.839 | -7.752e-06
286.637 | -7.7073e-06
286.459 | -7.6876e-06
286.266 | -7.6434e-06
286.083 | -7.6157e-06
285.896 | -7.5821e-06
285.715 | -7.5632e-06
285.542 | -7.5277e-06
285.337 | -7.5065e-06
285.149 | -7.4792e-06
284.981 | -7.4082e-06
284.804 | -7.402e-06
284.622 | -7.3694e-06
284.454 | -7.3083e-06
284.272 | -7.2923e-06
284.103 | -7.2771e-06
283.93 | -7.2537e-06
283.766 | -7.2119e-06
283.592 | -7.1865e-06
283.386 | -7.1655e-06
283.176 | -7.1678e-06
282.997 | -7.1254e-06
282.835 | -7.1244e-06
282.656 | -7.0972e-06
282.488 | -7.0683e-06
282.326 | -7.0228e-06
282.149 | -6.9865e-06
281.846 | -6.9705e-06
281.641 | -6.9342e-06
281.469 | -6.8818e-06
281.217 | -6.8374e-06
281.048 | -6.7791e-06
280.863 | -6.7838e-06
280.681 | -5.0492e-06
280.509 | -5.042e-06
280.334 | -5.0102e-06
280.166 | -4.9789e-06
279.987 | -4.9722e-06
279.826 | -4.9448e-06
279.63 | -4.9153e-06
279.426 | -4.8988e-06
279.243 | -4.8603e-06
279.084 | -4.8345e-06
278.929 | -4.8242e-06
278.766 | -6.4431e-06
278.6 | -6.4525e-06
278.426 | -6.4365e-06
278.265 | -6.4027e-06
278.105 | -6.3998e-06
277.934 | -6.3742e-06
277.774 | -6.3758e-06
277.604 | -6.3695e-06
277.445 | -6.3434e-06
277.283 | -6.3575e-06
277.128 | -6.3244e-06
276.976 | -6.2925e-06
276.811 | -6.2861e-06
276.619 | -6.264e-06
276.41 | -6.2184e-06
276.062 | -6.1914e-06
275.858 | -6.1723e-06
275.689 | -6.1455e-06
275.522 | -6.1357e-06
275.353 | -6.1372e-06
275.196 | -6.1127e-06
275.043 | -6.0831e-06
274.882 | -6.0815e-06
274.729 | -6.0497e-06
274.559 | -6.0371e-06
274.402 | -6.0195e-06
274.238 | -5.9877e-06
274.073 | -5.9886e-06
273.878 | -5.9647e-06
273.692 | -5.9408e-06
273.346 | -5.9413e-06
273.167 | -5.9453e-06
273.005 | -5.9387e-06
272.842 | -5.9322e-06
272.629 | -5.9096e-06
272.472 | -5.8851e-06
272.29 | -5.8711e-06
272.132 | -5.8536e-06
271.975 | -5.8327e-06
271.821 | -5.8223e-06
271.66 | -5.8253e-06
271.491 | -5.7588e-06
271.316 | -5.7408e-06
271.161 | -5.7208e-06
270.999 | -5.7812e-06
270.848 | -5.792e-06
270.688 | -5.7417e-06
270.528 | -5.7384e-06
270.378 | -5.6945e-06
270.225 | -5.6799e-06
270.076 | -5.6601e-06
269.915 | -5.6561e-06
269.765 | -5.6093e-06
269.602 | -5.583e-06
269.457 | -5.5874e-06
269.292 | -5.5485e-06
269.117 | -5.5469e-06
268.967 | -5.5363e-06
268.805 | -5.5182e-06
268.656 | -5.498e-06
268.484 | -5.4831e-06
268.34 | -5.4669e-06
268.188 | -5.4497e-06
268.047 | -5.4532e-06
267.902 | -5.4158e-06
267.747 | -5.4018e-06
267.589 | -5.3826e-06
267.42 | -5.364e-06
267.068 | -5.3468e-06
266.822 | -5.3382e-06
266.669 | -5.3647e-06
266.514 | -5.3447e-06
266.352 | -5.338e-06
266.206 | -5.3038e-06
266.055 | -5.2947e-06
265.894 | -5.2661e-06
265.746 | -5.2614e-06
265.584 | -5.2522e-06
265.438 | -5.2238e-06
265.285 | -5.2219e-06
265.146 | -5.2099e-06
264.994 | -5.1816e-06
264.653 | -5.1819e-06
264.361 | -5.1673e-06
264.174 | -5.1417e-06
263.981 | -5.1141e-06
263.801 | -5.1159e-06
263.617 | -5.0916e-06
263.446 | -5.077e-06
263.286 | -5.0463e-06
263.117 | -5.0484e-06
262.961 | -5.022e-06
262.803 | -5.0342e-06
262.66 | -5.025e-06
262.506 | -5.0045e-06
262.356 | -4.9973e-06
262.203 | -4.9935e-06
262.061 | -4.9669e-06
261.911 | -4.9691e-06
261.758 | -4.9581e-06
261.612 | -4.9295e-06
261.468 | -4.9119e-06
261.305 | -4.9074e-06
261.171 | -4.878e-06
261.025 | -4.8764e-06
260.842 | -4.8507e-06
260.596 | -4.8241e-06
260.162 | -4.8199e-06
259.786 | -4.8008e-06
259.499 | -4.7943e-06
259.172 | -4.7685e-06
258.973 | -4.7682e-06
258.716 | -4.7658e-06
258.389 | -4.7513e-06
258.09 | -4.7415e-06
257.899 | -4.7171e-06
257.725 | -4.7101e-06
257.543 | -4.707e-06
257.381 | -4.6826e-06
257.213 | -4.6744e-06
257.059 | -4.6596e-06
256.897 | -4.6357e-06
256.747 | -4.6208e-06
256.585 | -4.6033e-06
256.289 | -4.5909e-06
256.022 | -4.5683e-06
255.835 | -4.5598e-06
255.674 | -4.5348e-06
255.509 | -4.5397e-06
255.353 | -4.4997e-06
255.149 | -4.4815e-06
254.905 | -4.4726e-06
254.751 | -4.4647e-06
254.592 | -4.4558e-06
254.44 | -4.4379e-06
254.276 | -4.4298e-06
254.126 | -4.4305e-06
253.953 | -4.4069e-06
253.72 | -4.4057e-06
253.497 | -4.3989e-06
253.339 | -4.3802e-06
253.193 | -4.3585e-06
253.034 | -4.3526e-06
252.882 | -4.348e-06
252.718 | -4.3275e-06
252.572 | -4.3242e-06
252.417 | -4.3083e-06
252.274 | -4.2921e-06
252.12 | -4.2838e-06
251.978 | -4.2845e-06
251.827 | -4.2807e-06
251.684 | -4.2631e-06
251.522 | -4.2526e-06
251.185 | -4.2293e-06
250.946 | -4.2239e-06
250.744 | -4.2196e-06
250.537 | -4.1948e-06
250.359 | -4.1822e-06
250.176 | -4.1622e-06
249.979 | -4.1532e-06
249.826 | -4.1598e-06
249.678 | -4.1461e-06
249.518 | -4.1386e-06
249.354 | -4.1176e-06
249.205 | -4.0991e-06
249.047 | -4.0957e-06
248.893 | -4.0883e-06
248.745 | -4.0893e-06
248.589 | -4.0735e-06
248.446 | -4.0706e-06
248.295 | -4.0528e-06
248.146 | -4.0487e-06
247.982 | -4.0279e-06
247.818 | -4.0374e-06
247.655 | -4.0295e-06
247.495 | -4.022e-06
247.352 | -4.0154e-06
247.2 | -3.9857e-06
247.054 | -3.981e-06
246.901 | -3.9676e-06
246.758 | -3.9603e-06
246.605 | -3.9521e-06
246.463 | -3.9255e-06
246.302 | -3.926e-06
246.154 | -3.9298e-06
246.01 | -3.9145e-06
245.851 | -3.9079e-06
245.715 | -3.9014e-06
245.57 | -3.8765e-06
245.429 | -3.8663e-06
245.171 | -3.8546e-06
244.93 | -3.8433e-06
244.785 | -3.8385e-06
244.584 | -3.8268e-06
244.284 | -3.8232e-06
244.08 | -3.8071e-06
243.818 | -3.8075e-06
243.629 | -3.8015e-06
243.449 | -3.7892e-06
243.263 | -3.7751e-06
243.078 | -2.3706e-06
242.911 | -2.357e-06
242.738 | -2.3635e-06
242.555 | -2.3384e-06
242.337 | -2.3377e-06
241.979 | -2.3327e-06
241.781 | -2.3318e-06
241.605 | -2.3129e-06
241.434 | -2.3082e-06
241.277 | -2.3015e-06
241.117 | -3.6626e-06
240.97 | -3.6742e-06
240.813 | -3.6571e-06
240.652 | -3.6463e-06
240.501 | -3.6236e-06
240.341 | -3.6473e-06
240.189 | -3.6364e-06
240.022 | -3.6265e-06
239.808 | -3.6206e-06
239.631 | -3.6227e-06
239.459 | -3.5865e-06
239.295 | -3.5857e-06
239.144 | -3.5764e-06
238.98 | -3.581e-06
238.83 | -3.5843e-06
238.674 | -3.5729e-06
238.528 | -3.5474e-06
238.37 | -3.5528e-06
238.184 | -3.5677e-06
237.883 | -3.5506e-06
237.668 | -3.5409e-06
237.468 | -3.5395e-06
237.276 | -3.5147e-06
237.101 | -3.5078e-06
236.922 | -3.5086e-06
236.763 | -3.4969e-06
236.6 | -3.5037e-06
236.451 | -3.5038e-06
236.296 | -3.5001e-06
236.151 | -3.4767e-06
235.992 | -3.4864e-06
235.748 | -3.4744e-06
235.542 | -3.4553e-06
235.38 | -3.4593e-06
235.161 | -3.4475e-06
234.928 | -3.4369e-06
234.775 | -3.427e-06
234.6 | -3.4328e-06
234.441 | -3.4311e-06
234.287 | -3.4094e-06
234.147 | -3.4097e-06
233.995 | -3.4035e-06
233.852 | -3.393e-06
233.701 | -3.38e-06
233.544 | -3.3825e-06
233.363 | -3.3847e-06
233.208 | -3.3644e-06
233.059 | -3.3529e-06
232.922 | -3.3553e-06
232.773 | -3.3476e-06
232.635 | -3.3471e-06
232.481 | -3.3364e-06
232.3 | -3.3372e-06
232.139 | -3.3337e-06
231.992 | -3.3112e-06
231.846 | -3.3001e-06
231.707 | -3.3163e-06
231.551 | -3.3035e-06
231.348 | -3.297e-06
231.171 | -3.2923e-06
231.01 | -3.2805e-06
230.872 | -3.2547e-06
230.725 | -3.27e-06
230.592 | -3.2597e-06
230.446 | -3.2416e-06
230.311 | -3.2441e-06
230.159 | -3.2485e-06
229.961 | -3.2269e-06
229.772 | -3.2394e-06
229.585 | -3.2157e-06
229.425 | -3.2179e-06
229.259 | -3.2017e-06
229.093 | -3.1913e-06
228.92 | -3.1938e-06
228.743 | -3.1885e-06
228.569 | -3.1784e-06
228.335 | -3.1666e-06
228.077 | -3.155e-06
227.909 | -3.1522e-06
227.734 | -3.1522e-06
227.565 | -3.1426e-06
227.403 | -3.1342e-06
227.252 | -3.1298e-06
227.092 | -3.1196e-06
226.942 | -3.1199e-06
226.737 | -3.1161e-06
226.554 | -3.1049e-06
226.396 | -3.0951e-06
226.225 | -3.0919e-06
226.072 | -3.0912e-06
225.889 | -3.0834e-06
225.703 | -3.0677e-06
225.533 | -3.061e-06
225.355 | -3.0555e-06
225.178 | -3.043e-06
224.98 | -3.0519e-06
224.553 | -3.0588e-06
224.249 | -3.0292e-06
224.003 | -3.0409e-06
223.794 | -3.0278e-06
223.584 | -3.0105e-06
223.389 | -3.0296e-06
223.194 | -2.9982e-06
223.018 | -2.9897e-06
222.84 | -2.9943e-06
222.674 | -2.973e-06
222.502 | -2.9713e-06
222.343 | -2.9799e-06
222.172 | -2.9749e-06
221.958 | -2.972e-06
221.755 | -2.9658e-06
221.577 | -2.947e-06
221.404 | -2.9425e-06
221.23 | -2.9379e-06
221.068 | -2.936e-06
220.889 | -2.9264e-06
220.714 | -2.9065e-06
220.517 | -2.9291e-06
220.329 | -2.9168e-06
220.097 | -2.9108e-06
219.863 | -2.8996e-06
219.675 | -2.8769e-06
219.457 | -2.8937e-06
219.231 | -2.8764e-06
219.031 | -2.8766e-06
218.831 | -2.8537e-06
218.591 | -2.8603e-06
218.354 | -2.8485e-06
218.167 | -2.8352e-06
217.971 | -2.8355e-06
217.771 | -2.8307e-06
217.555 | -2.8222e-06
217.37 | -2.82e-06
217.178 | -2.8089e-06
216.985 | -2.7998e-06
216.783 | -2.7912e-06
216.558 | -2.7912e-06
216.366 | -2.7878e-06
216.173 | -2.7735e-06
215.968 | -2.7605e-06
215.763 | -2.7618e-06
215.567 | -2.7539e-06
215.366 | -2.7413e-06
215.169 | -2.7462e-06
214.972 | -2.7291e-06
214.778 | -2.7372e-06
214.575 | -2.7128e-06
214.349 | -2.7195e-06
214.15 | -2.715e-06
213.966 | -2.693e-06
213.76 | -2.7086e-06
213.539 | -2.7004e-06
213.354 | -2.6959e-06
213.154 | -2.6925e-06
212.949 | -2.6891e-06
212.757 | -2.6711e-06
212.553 | -2.6655e-06
212.35 | -2.6757e-06
212.145 | -2.6585e-06
211.936 | -2.6577e-06
211.737 | -2.6526e-06
211.542 | -2.6252e-06
211.358 | -2.6286e-06
211.133 | -2.6278e-06
210.928 | -2.6137e-06
210.731 | -2.7869e-06
210.543 | -2.8039e-06
210.332 | -2.7104e-06
210.122 | -2.7195e-06
209.943 | -2.705e-06
209.741 | -2.7372e-06
209.528 | -2.6692e-06
209.331 | -2.6816e-06
209.135 | -2.6731e-06
208.952 | -2.6731e-06
208.744 | -2.6833e-06
208.495 | -2.838e-06
208.292 | -2.8244e-06
208.086 | -2.8087e-06
207.867 | -2.839e-06
207.675 | -2.7462e-06
207.471 | -2.6442e-06
207.247 | -2.6593e-06
207.004 | -2.7317e-06
206.806 | -2.7143e-06
206.602 | -2.6481e-06
206.384 | -2.5969e-06
206.187 | -2.5453e-06
205.973 | -2.5069e-06
205.779 | -2.5004e-06
205.575 | -2.5019e-06
205.353 | -2.5017e-06
205.151 | -2.5247e-06
204.951 | -2.5192e-06
204.762 | -2.5146e-06
204.532 | -2.5123e-06
204.324 | -2.5235e-06
204.129 | -2.5259e-06
203.938 | -2.5534e-06
203.714 | -2.4445e-06
203.494 | -2.4313e-06
203.289 | -2.4149e-06
203.084 | -2.4074e-06
202.889 | -2.3883e-06
202.684 | -2.3899e-06
202.481 | -2.3813e-06
202.293 | -2.3696e-06
202.081 | -2.3582e-06
201.885 | -2.3537e-06
201.689 | -2.347e-06
201.484 | -2.3379e-06
201.286 | -2.3446e-06
201.088 | -2.3381e-06
200.901 | -2.3242e-06
200.698 | -2.3092e-06
200.501 | -2.3274e-06
200.304 | -2.3201e-06
200.113 | -2.313e-06
199.917 | -2.3071e-06
199.735 | -2.3155e-06
199.525 | -2.2997e-06
199.327 | -2.3184e-06
199.139 | -2.289e-06
198.961 | -2.2786e-06
198.762 | -2.2644e-06
198.567 | -2.2481e-06
198.38 | -2.2358e-06
198.195 | -2.2293e-06
197.995 | -2.2311e-06
197.806 | -2.2289e-06
197.619 | -2.2258e-06
197.438 | -2.2197e-06
197.246 | -2.2231e-06
197.057 | -2.2199e-06
196.869 | -2.2071e-06
196.679 | -2.2014e-06
196.494 | -2.1858e-06
196.319 | -2.1856e-06
196.119 | -2.1749e-06
195.935 | -2.185e-06
195.751 | -2.1726e-06
195.578 | -2.1625e-06
195.351 | -2.1677e-06
195.139 | -2.1559e-06
194.946 | -2.1404e-06
194.755 | -2.1345e-06
194.577 | -2.2436e-06
194.39 | -3.0345e-06
194.214 | -3.2661e-06
194.031 | -3.2941e-06
193.844 | -3.3447e-06
193.665 | -3.3824e-06
193.498 | -3.3405e-06
193.32 | -3.3337e-06
193.135 | -3.3764e-06
192.933 | -3.3175e-06
192.742 | -3.2764e-06
192.553 | -3.2806e-06
192.377 | -3.2747e-06
192.194 | -3.2676e-06
192.012 | -3.2915e-06
191.831 | -3.3766e-06
191.649 | -3.5575e-06
191.485 | -3.7884e-06
191.313 | -3.8822e-06
191.147 | -4.002e-06
190.993 | -4.1956e-06
190.822 | -4.1957e-06
190.672 | -4.149e-06
190.514 | -4.1031e-06
190.365 | -4.0598e-06
190.206 | -4.0536e-06
190 | -4.1564e-06
189.809 | -4.1405e-06
189.651 | -4.0876e-06
189.482 | -4.0701e-06
189.32 | -4.0675e-06
189.171 | -4.0704e-06
189.003 | -4.0971e-06
188.863 | -4.0697e-06
188.715 | -4.0599e-06
188.566 | -4.0638e-06
188.431 | -4.0622e-06
188.285 | -4.0789e-06
188.144 | -4.0485e-06
188.001 | -4.0614e-06
187.831 | -4.0886e-06
187.654 | -4.0738e-06
187.497 | -4.0554e-06
187.342 | -4.0273e-06
187.195 | -4.0008e-06
187.051 | -3.969e-06
186.905 | -3.9899e-06
186.755 | -3.9519e-06
186.611 | -3.9169e-06
186.466 | -3.8617e-06
186.324 | -3.7838e-06
186.189 | -3.69e-06
186.053 | -3.6348e-06
185.916 | -3.5395e-06
185.773 | -3.5197e-06
185.596 | -3.3727e-06
185.416 | -3.105e-06
185.265 | -2.6799e-06
185.113 | -2.489e-06
184.953 | -2.3672e-06
184.787 | -2.1713e-06
184.625 | -2.0611e-06
184.461 | -2.0397e-06
184.309 | -1.9479e-06
184.17 | -1.9623e-06
184.019 | -2.0094e-06
183.856 | -1.9339e-06
183.708 | -2.0058e-06
183.558 | -1.9056e-06
183.385 | -2.3406e-06
183.23 | -2.1349e-06
183.078 | -2.2059e-06
182.934 | -2.4869e-06
182.782 | -2.5396e-06
182.628 | -2.2717e-06
182.477 | -2.1853e-06
182.327 | -2.2917e-06
182.179 | -2.3237e-06
182.03 | -2.3613e-06
181.888 | -2.0833e-06
181.726 | -2.0904e-06
181.58 | -1.9695e-06
181.438 | -1.8898e-06
181.27 | -1.8697e-06
181.111 | -1.8383e-06
180.961 | -1.8803e-06
180.806 | -1.8746e-06
180.65 | -1.8077e-06
180.495 | -1.8091e-06
180.353 | -1.8367e-06
180.201 | -1.879e-06
180.045 | -1.8114e-06
179.895 | -1.7522e-06
179.746 | -1.8398e-06
179.607 | -1.7799e-06
179.459 | -1.7822e-06
179.301 | -1.8488e-06
179.153 | -1.9653e-06
179.001 | -1.8403e-06
178.841 | -1.7165e-06
178.69 | -1.7215e-06
178.551 | -1.7387e-06
178.406 | -1.7442e-06
178.261 | -1.7889e-06
178.12 | -1.8372e-06
177.977 | -1.8433e-06
177.838 | -1.8858e-06
177.706 | -1.9083e-06
177.567 | -2.0846e-06
177.427 | -1.9367e-06
177.294 | -1.8529e-06
177.163 | -1.7888e-06
177.02 | -1.7496e-06
176.889 | -1.739e-06
176.765 | -1.7298e-06
176.634 | -1.7234e-06
176.504 | -1.7114e-06
176.375 | -1.7063e-06
176.246 | -1.6999e-06
176.119 | -1.6945e-06
175.996 | -1.6976e-06
175.877 | -1.6849e-06
175.756 | -1.6816e-06
175.628 | -1.6754e-06
175.505 | -1.668e-06
175.388 | -1.6631e-06
175.275 | -1.6573e-06
175.157 | -1.6581e-06
175.038 | -1.6672e-06
174.919 | -1.665e-06
174.803 | -1.6562e-06
174.68 | -1.653e-06
174.558 | -1.6359e-06
174.445 | -1.6375e-06
174.322 | -1.6293e-06
174.2 | -1.6304e-06
174.086 | -1.6256e-06
173.968 | -1.6095e-06
173.858 | -1.5635e-06
173.756 | -1.5611e-06
173.665 | -1.5586e-06
173.571 | -1.5496e-06
173.478 | -1.5447e-06
173.388 | -1.5417e-06
173.298 | -1.5358e-06
173.209 | -1.5369e-06
173.129 | -1.5259e-06
173.042 | -1.5263e-06
172.958 | -1.523e-06
172.876 | -1.5256e-06
172.793 | -1.5197e-06
172.72 | -1.5213e-06
172.642 | -1.5166e-06
172.564 | -1.5139e-06
172.491 | -1.5059e-06
172.42 | -1.5129e-06
172.348 | -1.5063e-06
172.275 | -1.505e-06
172.206 | -1.4996e-06
172.137 | -1.4985e-06
172.072 | -1.4955e-06
172.005 | -1.4912e-06
171.939 | -1.4926e-06
171.877 | -1.4828e-06
171.817 | -1.4784e-06
171.754 | -1.4777e-06
171.695 | -1.4795e-06
171.634 | -1.4715e-06
171.572 | -1.4723e-06
171.515 | -1.4631e-06
171.455 | -1.4605e-06
171.402 | -1.4567e-06
171.343 | -1.4591e-06
171.29 | -1.4571e-06
171.237 | -1.4567e-06
171.186 | -1.4497e-06
171.132 | -1.4515e-06
171.082 | -1.4505e-06
171.033 | -1.4419e-06
170.986 | -1.4469e-06
170.94 | -1.444e-06
170.894 | -1.4385e-06
170.849 | -1.4337e-06
170.81 | -1.4349e-06
170.766 | -1.432e-06
170.723 | -1.4334e-06
170.681 | -1.4283e-06
170.641 | -1.4308e-06
170.605 | -1.4296e-06
170.567 | -1.421e-06
170.528 | -1.4221e-06
170.493 | -1.419e-06
170.459 | -1.4187e-06
170.423 | -1.4194e-06
170.389 | -1.4119e-06
170.355 | -1.4151e-06
170.326 | -1.4113e-06
170.294 | -1.4102e-06
170.263 | -1.4058e-06
170.234 | -1.4038e-06
170.203 | -1.4012e-06
170.179 | -1.4028e-06
170.149 | -1.4046e-06
170.122 | -1.3972e-06
170.095 | -1.3993e-06
170.07 | -1.3947e-06
170.046 | -1.3931e-06
170.02 | -1.3861e-06
169.997 | -1.3903e-06
169.973 | -1.384e-06
169.948 | -1.3822e-06
169.929 | -1.384e-06
169.907 | -1.3786e-06
169.885 | -1.3786e-06
169.865 | -1.378e-06
169.847 | -1.3793e-06
169.826 | -1.3765e-06
169.807 | -1.3751e-06
169.79 | -1.3707e-06
169.773 | -1.3681e-06
169.757 | -1.365e-06
169.742 | -1.3643e-06
169.728 | -1.3622e-06
169.713 | -1.3625e-06
169.697 | -1.3551e-06
169.684 | -1.3584e-06
169.672 | -1.3559e-06
169.66 | -1.3625e-06
169.647 | -1.3651e-06
169.635 | -1.3627e-06
169.621 | -1.3624e-06
169.609 | -1.3625e-06
169.599 | -1.3599e-06
169.589 | -1.3567e-06
169.579 | -1.3602e-06
169.57 | -1.3551e-06
169.558 | -1.3521e-06
169.545 | -1.3508e-06
169.532 | -1.3474e-06
169.521 | -1.3493e-06
169.512 | -1.3477e-06
169.504 | -1.3463e-06
169.495 | -1.3444e-06
169.49 | -1.3455e-06
169.481 | -1.3402e-06
169.474 | -1.3327e-06
169.467 | -1.3306e-06
169.461 | -1.3354e-06
169.456 | -1.3295e-06
169.45 | -1.3308e-06
169.444 | -1.3336e-06
169.439 | -1.3316e-06
169.434 | -1.3347e-06
169.43 | -1.3336e-06
169.427 | -1.3321e-06
169.423 | -1.3342e-06
169.417 | -1.3332e-06
169.413 | -1.3369e-06
169.41 | -1.3292e-06
169.408 | -1.3319e-06
169.406 | -1.3293e-06
169.402 | -1.3295e-06
169.399 | -1.3299e-06
169.396 | -1.3233e-06
169.395 | -1.3267e-06
169.392 | -1.3283e-06
169.39 | -1.3249e-06
169.389 | -1.3274e-06
169.386 | -1.3263e-06
169.386 | -1.326e-06
169.383 | -1.3249e-06
169.382 | -1.3251e-06
169.381 | -1.3229e-06
169.381 | -1.3224e-06
169.38 | -1.3167e-06
169.375 | -1.3174e-06
169.367 | -1.322e-06
169.366 | -1.3211e-06
169.364 | -1.3172e-06
169.362 | -1.3185e-06
169.361 | -1.3183e-06
169.359 | -1.3203e-06
169.359 | -1.3164e-06
169.354 | -1.3143e-06
169.347 | -1.3144e-06
169.344 | -1.3134e-06
169.343 | -1.311e-06
169.34 | -1.3134e-06
169.339 | -1.3105e-06
169.337 | -1.3115e-06
169.336 | -1.31e-06
169.335 | -1.314e-06
169.331 | -1.3118e-06
169.331 | -1.3108e-06
169.329 | -1.31e-06
169.328 | -1.3073e-06
169.329 | -1.3076e-06
169.328 | -1.3021e-06
169.327 | -1.3084e-06
169.325 | -1.3108e-06
169.324 | -1.3064e-06
169.325 | -1.3074e-06
169.322 | -1.306e-06
169.322 | -1.3093e-06
169.32 | -1.3046e-06
169.316 | -1.31e-06
169.315 | -1.3098e-06
169.312 | -1.3077e-06
169.312 | -1.3044e-06
169.314 | -1.3001e-06
169.313 | -1.3037e-06
169.306 | -1.3013e-06
169.303 | -1.3019e-06
169.302 | -1.2981e-06
169.3 | -1.3028e-06
169.298 | -1.3e-06
169.296 | -1.3015e-06
169.296 | -1.3022e-06
169.292 | -1.3023e-06
169.287 | -1.2977e-06
169.286 | -1.297e-06
169.284 | -1.3018e-06
169.284 | -1.2988e-06
169.282 | -1.3003e-06
169.28 | -1.2983e-06
169.278 | -1.2983e-06
169.277 | -1.2991e-06
169.274 | -1.2989e-06
169.272 | -1.2993e-06
169.272 | -1.2968e-06
169.27 | -1.2973e-06
169.269 | -1.2979e-06
169.267 | -1.2995e-06
169.265 | -1.2951e-06
169.263 | -1.2918e-06
169.262 | -1.2894e-06
169.261 | -1.2975e-06
169.254 | -1.2924e-06
169.249 | -1.2971e-06
169.244 | -1.2945e-06
169.241 | -1.298e-06
169.238 | -1.29e-06
169.234 | -1.2949e-06
169.232 | -1.2901e-06
169.228 | -1.2908e-06
169.221 | -1.2899e-06
169.218 | -1.294e-06
169.213 | -1.3e-06
169.211 | -1.2975e-06
169.206 | -1.2967e-06
169.197 | -1.3017e-06
169.192 | -1.2986e-06
169.186 | -1.2971e-06
169.181 | -1.2951e-06
169.175 | -1.2926e-06
169.169 | -1.2944e-06
169.163 | -1.2965e-06
169.159 | -1.2988e-06
169.153 | -1.2969e-06
169.147 | -1.2964e-06
169.139 | -1.2961e-06
169.132 | -1.2971e-06
169.126 | -1.2957e-06
169.119 | -1.298e-06
169.112 | -1.2933e-06
169.106 | -1.2862e-06
169.098 | -1.2935e-06
169.093 | -1.2952e-06
169.085 | -1.2915e-06
169.077 | -1.2854e-06
169.07 | -1.285e-06
169.064 | -1.291e-06
169.054 | -1.2916e-06
169.049 | -1.2937e-06
169.034 | -1.2921e-06
169.003 | -1.2923e-06
168.987 | -1.291e-06
168.975 | -1.2866e-06
168.965 | -1.2918e-06
168.952 | -1.2936e-06
168.924 | -1.2914e-06
168.904 | -1.2936e-06
168.889 | -1.2902e-06
168.874 | -1.2938e-06
168.859 | -1.2895e-06
168.844 | -1.2916e-06
168.827 | -1.2917e-06
168.809 | -1.2898e-06
168.79 | -1.2911e-06
168.773 | -1.2885e-06
168.757 | -1.2881e-06
168.739 | -1.291e-06
168.722 | -1.2921e-06
168.709 | -1.2857e-06
168.687 | -1.2882e-06
168.668 | -1.2879e-06
168.65 | -1.2911e-06
168.631 | -1.2909e-06
168.611 | -1.288e-06
168.595 | -1.2869e-06
168.577 | -1.2923e-06
168.559 | -1.2938e-06
168.533 | -1.2944e-06
168.513 | -1.2918e-06
168.492 | -1.2925e-06
168.471 | -1.2948e-06
168.451 | -1.2906e-06
168.43 | -1.285e-06
168.41 | -1.2914e-06
168.39 | -1.2852e-06
168.364 | -1.2895e-06
168.316 | -1.2901e-06
168.26 | -1.2949e-06
168.22 | -1.2894e-06
168.18 | -1.2898e-06
168.114 | -1.2928e-06
167.997 | -1.2872e-06
167.907 | -1.2891e-06
167.832 | -1.2882e-06
167.765 | -1.2922e-06
167.692 | -1.2902e-06
167.605 | -1.2895e-06
167.519 | -1.2897e-06
167.441 | -1.2884e-06
167.367 | -1.2944e-06
167.296 | -1.2877e-06
167.219 | -1.2903e-06
167.131 | -1.2906e-06
167.051 | -1.2911e-06
166.973 | -1.2885e-06
166.896 | -1.2875e-06
166.825 | -1.2828e-06
166.74 | -1.2866e-06
166.644 | -1.2837e-06
166.547 | -1.2924e-06
166.455 | -1.2925e-06
166.372 | -1.2884e-06
166.288 | -1.2936e-06
166.189 | -1.2902e-06
166.077 | -1.288e-06
165.982 | -1.2915e-06
165.89 | -1.2895e-06
165.801 | -1.2879e-06
165.707 | -1.2863e-06
165.599 | -1.2904e-06
165.497 | -1.2858e-06
165.395 | -1.2876e-06
165.298 | -1.2917e-06
165.2 | -1.2841e-06
165.1 | -1.2829e-06
165.006 | -1.2812e-06
164.899 | -1.2837e-06
164.793 | -1.281e-06
164.69 | -1.2823e-06
164.591 | -1.2837e-06
164.49 | -1.2835e-06
164.393 | -1.2885e-06
164.277 | -1.2823e-06
164.16 | -1.2778e-06
164.052 | -1.2784e-06
163.947 | -1.2756e-06
163.845 | -1.277e-06
163.737 | -1.2766e-06
163.609 | -1.2774e-06
163.496 | -1.2788e-06
163.38 | -1.2783e-06
163.264 | -1.2707e-06
163.157 | -1.2739e-06
163.048 | -1.2831e-06
162.934 | -1.2799e-06
162.82 | -1.2853e-06
162.71 | -1.2768e-06
162.603 | -1.2776e-06
162.496 | -1.2734e-06
162.384 | -1.2771e-06
162.266 | -1.2704e-06
162.153 | -1.2735e-06
162.045 | -1.2734e-06
161.936 | -1.2679e-06
161.828 | -1.2745e-06
161.714 | -1.2652e-06
161.601 | -1.2721e-06
161.492 | -1.2676e-06
161.374 | -1.2663e-06
161.268 | -1.2657e-06
161.165 | -1.2642e-06
161.058 | -1.2613e-06
160.948 | -1.2651e-06
160.838 | -1.259e-06
160.731 | -1.2622e-06
160.626 | -1.259e-06
160.515 | -1.2582e-06
160.407 | -1.2589e-06
160.277 | -1.2588e-06
160.162 | -1.2575e-06
160.049 | -1.2547e-06
159.94 | -1.252e-06
159.83 | -1.2531e-06
159.7 | -1.2532e-06
159.575 | -1.252e-06
159.453 | -1.252e-06
159.333 | -1.25e-06
159.215 | -1.2478e-06
159.098 | -1.2536e-06
158.987 | -1.2504e-06
158.868 | -1.2493e-06
158.744 | -1.246e-06
158.615 | -1.2485e-06
158.499 | -1.2455e-06
158.383 | -1.2476e-06
158.271 | -1.2458e-06
158.155 | -1.2417e-06
158.028 | -1.2427e-06
157.909 | -1.2416e-06
157.79 | -1.2442e-06
157.676 | -1.2413e-06
157.56 | -1.2375e-06
157.432 | -1.2406e-06
157.295 | -1.2399e-06
157.147 | -1.238e-06
157.004 | -1.2349e-06
156.852 | -1.2321e-06
156.685 | -1.2334e-06
156.517 | -1.2362e-06
156.326 | -1.232e-06
156.141 | -1.2264e-06
155.959 | -1.2265e-06
155.787 | -1.224e-06
155.613 | -1.2227e-06
155.44 | -1.2165e-06
155.267 | -1.2121e-06
155.09 | -1.2159e-06
154.836 | -1.2167e-06
154.581 | -1.2097e-06
154.331 | -1.2082e-06
154.085 | -1.2084e-06
153.871 | -1.2103e-06
153.675 | -1.2093e-06
153.486 | -1.2079e-06
153.29 | -1.2078e-06
153.071 | -1.2044e-06
152.851 | -1.2023e-06
152.635 | -1.1992e-06
152.425 | -1.2025e-06
152.233 | -1.1984e-06
152.046 | -1.1912e-06
151.861 | -1.1899e-06
151.669 | -1.1927e-06
151.474 | -1.1824e-06
151.294 | -1.1822e-06
151.11 | -1.1803e-06
150.93 | -1.1803e-06
150.737 | -1.178e-06
150.531 | -1.1733e-06
150.3 | -1.1731e-06
150.076 | -1.1714e-06
149.873 | -1.1728e-06
149.686 | -1.1664e-06
149.497 | -1.1607e-06
149.303 | -1.1659e-06
149.111 | -1.1618e-06
148.909 | -1.1618e-06
148.727 | -1.1555e-06
148.521 | -1.1546e-06
148.315 | -1.1531e-06
148.116 | -1.1527e-06
147.919 | -1.1519e-06
147.74 | -1.1529e-06
147.56 | -1.1474e-06
147.381 | -1.1485e-06
147.203 | -1.145e-06
147.02 | -1.1462e-06
146.839 | -1.1421e-06
146.641 | -1.139e-06
146.458 | -1.1428e-06
146.245 | -1.1409e-06
146.045 | -1.135e-06
145.86 | -1.1334e-06
145.675 | -1.1323e-06
145.496 | -1.131e-06
145.319 | -1.1284e-06
145.142 | -1.1242e-06
144.962 | -1.1229e-06
144.77 | -1.1273e-06
144.584 | -1.1223e-06
144.388 | -1.1211e-06
144.21 | -1.1217e-06
144.038 | -1.1209e-06
143.858 | -1.1139e-06
143.665 | -1.1156e-06
143.452 | -1.1117e-06
143.165 | -1.1085e-06
142.928 | -1.1054e-06
142.718 | -1.1071e-06
142.51 | -1.1034e-06
142.294 | -1.0962e-06
142.038 | -1.0973e-06
141.822 | -1.0945e-06
141.627 | -1.0946e-06
141.427 | -1.0925e-06
141.177 | -1.0864e-06
140.918 | -1.0879e-06
140.662 | -1.0881e-06
140.433 | -1.0852e-06
140.222 | -1.0831e-06
140.017 | -1.0784e-06
139.798 | -1.0758e-06
139.598 | -1.0724e-06
139.412 | -1.0699e-06
139.208 | -1.0686e-06
138.938 | -1.0652e-06
138.675 | -1.0641e-06
138.435 | -1.0631e-06
138.221 | -1.0604e-06
138.015 | -1.058e-06
137.805 | -1.0581e-06
137.608 | -1.0551e-06
137.43 | -1.0529e-06
137.257 | -1.0505e-06
137.067 | -1.0485e-06
136.881 | -1.0461e-06
136.711 | -1.0428e-06
136.536 | -1.0426e-06
136.362 | -1.0397e-06
136.186 | -1.0391e-06
136.013 | -1.0348e-06
135.845 | -1.0327e-06
135.669 | -1.0308e-06
135.481 | -1.0281e-06
135.307 | -1.0254e-06
135.144 | -1.0247e-06
134.971 | -1.0183e-06
134.79 | -1.0198e-06
134.584 | -1.0197e-06
134.335 | -1.0131e-06
134.118 | -1.0117e-06
133.932 | -1.0099e-06
133.74 | -1.0102e-06
133.545 | -1.0099e-06
133.34 | -1.0078e-06
133.141 | -1.0044e-06
132.965 | -1.0005e-06
132.728 | -9.6046e-07
132.384 | -9.8832e-07
132.141 | -9.5593e-07
131.838 | -9.8896e-07
131.38 | -9.5246e-07
130.59 | -9.8478e-07
129.909 | -9.744e-07
129.379 | -9.4369e-07
128.772 | -9.6722e-07
128.452 | -9.4087e-07
128.053 | -9.6616e-07
127.592 | -9.5557e-07
127.163 | -9.5556e-07
126.62 | -9.5026e-07
126.153 | -9.4625e-07
125.689 | -9.4128e-07
125.372 | -9.1723e-07
125.023 | -9.3125e-07
124.554 | -9.2409e-07
124.287 | -9.139e-07
124.096 | -2.9183e-07
123.864 | -2.8287e-07
123.606 | -2.7844e-07
123.371 | -2.7529e-07
123.145 | -2.7268e-07
122.922 | -2.7145e-07
122.716 | -2.7005e-07
122.51 | -8.8326e-07
122.15 | -8.9269e-07
121.906 | -8.8738e-07
121.563 | -8.9171e-07
121.299 | -8.8165e-07
121.101 | -8.8176e-07
120.927 | -8.798e-07
120.744 | -8.8057e-07
120.385 | -8.7935e-07
120.103 | -8.7301e-07
119.926 | -8.7025e-07
119.566 | -8.7071e-07
119.138 | -8.6913e-07
118.895 | -8.6703e-07
118.704 | -8.6521e-07
118.297 | -8.6595e-07
118.004 | -2.5857e-07
117.789 | -8.4073e-07
117.46 | -8.5327e-07
116.919 | -8.5714e-07
116.395 | -8.5274e-07
115.962 | -2.5335e-07
115.614 | -8.2293e-07
115.344 | -8.37e-07
115.06 | -8.4191e-07
114.736 | -8.4554e-07
114.408 | -8.4256e-07
114.153 | -8.428e-07
113.923 | -8.4028e-07
113.689 | -8.3831e-07
113.466 | -8.3349e-07
113.211 | -8.3229e-07
112.965 | -8.2902e-07
112.756 | -8.2845e-07
112.467 | -8.2646e-07
112.016 | -8.2158e-07
111.453 | -8.2165e-07
110.949 | -8.1709e-07
110.604 | -8.1557e-07
110.337 | -8.1682e-07
110.088 | -8.1123e-07
109.832 | -8.1112e-07
109.603 | -8.0932e-07
109.384 | -8.0486e-07
109.2 | -8.0755e-07
109.015 | -8.0642e-07
108.768 | -8.0375e-07
108.499 | -8.0116e-07
108.268 | -8.0384e-07
108.032 | -2.1603e-10
107.783 | -2.2866e-10
107.467 | -2.3042e-10
107.135 | -2.3011e-10
106.87 | -2.3044e-10
106.65 | -2.3134e-10
106.441 | -2.2948e-10
106.257 | -2.3074e-10
106.078 | -2.3108e-10
105.92 | -2.302e-10
105.787 | -2.3326e-10
105.441 | -7.1798e-07
105.15 | -7.2016e-07
104.837 | -7.1281e-07
104.575 | -7.0567e-07
104.369 | -6.8636e-07
104.154 | -6.9264e-07
103.831 | -6.8896e-07
103.45 | -6.9014e-07
103.072 | -6.9174e-07
102.747 | -6.8912e-07
102.549 | -6.8666e-07
102.395 | -6.8377e-07
102.259 | -6.8531e-07
102.169 | -6.8226e-07
102.073 | -6.7989e-07
101.918 | -6.7935e-07
101.569 | -6.8313e-07
101.226 | -6.7757e-07
100.978 | -6.7585e-07
100.807 | -6.7469e-07
100.56 | -6.7002e-07
100.197 | -6.7044e-07
99.7941 | -6.7028e-07
99.4886 | -6.6751e-07
99.2817 | -6.6755e-07
99.0607 | -6.6629e-07
98.6733 | -6.662e-07
98.0893 | -6.6466e-07
97.642 | -6.6633e-07
97.3745 | -6.6314e-07
97.2015 | -6.6146e-07
97.0309 | -6.6312e-07
96.8819 | -6.5639e-07
96.7158 | -6.5867e-07
96.5958 | -6.5982e-07
96.5246 | -6.5548e-07
96.4645 | -6.5622e-07
96.4148 | -6.5438e-07
96.3609 | -6.5436e-07
96.3296 | -6.53e-07
96.3062 | -6.5368e-07
96.2852 | -6.5224e-07
96.2513 | -6.5144e-07
96.2038 | -6.4672e-07
95.9911 | -6.4804e-07
95.7041 | -6.4732e-07
95.4641 | -6.4453e-07
95.3404 | -6.4066e-07
95.2292 | -6.4222e-07
95.0507 | -6.4222e-07
94.5912 | -6.4063e-07
94.1507 | -6.3865e-07
93.9244 | -6.4055e-07
93.7782 | -6.4022e-07
93.6112 | -6.388e-07
93.4532 | -6.3549e-07
93.2681 | -6.3667e-07
93.1192 | -6.3407e-07
93.0349 | -6.3295e-07
92.9316 | -6.2994e-07
92.7872 | -6.3326e-07
92.5503 | -6.3103e-07
92.3706 | -6.3036e-07
92.2818 | -6.2766e-07
92.2043 | -6.3241e-07
91.7545 | -6.2693e-07
91.1148 | -6.2931e-07
90.6676 | -6.2524e-07
90.4469 | -6.2542e-07
90.3456 | -6.2986e-07
89.9036 | -6.2442e-07
89.081 | -6.2505e-07
88.7823 | -6.2541e-07
88.5675 | -6.2133e-07
88.4481 | -6.226e-07
88.1591 | -6.2037e-07
87.5601 | -6.1957e-07
86.8336 | -6.1752e-07
86.8158 | -6.1592e-07
86.6852 | -6.2019e-07
86.6538 | -6.1846e-07
86.5226 | -6.134e-07
85.6707 | -6.1611e-07
85.3405 | -6.1489e-07
85.3666 | -6.1512e-07
85.4121 | -6.118e-07
85.4501 | -6.1385e-07
85.4694 | -6.1379e-07
85.4605 | -6.0866e-07
85.4874 | -6.0772e-07
85.2138 | -6.0958e-07
84.0454 | -6.0688e-07
83.9332 | -6.0268e-07
83.9008 | -6.0222e-07
83.9031 | -6.0877e-07
83.9176 | -6.0413e-07
83.8204 | -6.0729e-07
83.8401 | -6.0095e-07
83.8889 | -6e-07
83.8593 | -6.0607e-07
82.7768 | -6.0669e-07
82.3085 | -6.0598e-07
82.0938 | -6.0727e-07
82.014 | -6.0348e-07
82.0204 | -6.0441e-07
82.069 | -6.031e-07
82.1578 | -6.0569e-07
82.2605 | -6.0931e-07
82.2475 | -6.0394e-07
81.9975 | -6.0621e-07
81.5553 | -6.0135e-07
81.4551 | -6.0177e-07
81.4416 | -5.9968e-07
81.4504 | -6.0314e-07
81.1695 | -6.0445e-07
80.9003 | -6.0106e-07
80.7073 | -6.0065e-07
80.6256 | -5.999e-07
80.6188 | -5.9959e-07
80.4002 | -5.9731e-07
80.2077 | -5.9863e-07
80.0939 | -5.9973e-07
80.0419 | -5.9822e-07
80.014 | -5.9951e-07
80.0149 | -5.9883e-07

## Measurements
Temperature | Current
81.1441 | -7.9998e-08
81.3437 | -7.7026e-08
81.55 | -7.4879e-08
81.864 | -7.3865e-08
82.1661 | -7.3509e-08
82.4811 | -7.3026e-08
82.7747 | -7.2398e-08
83.09 | -7.2584e-08
83.4252 | -7.2065e-08
83.6893 | -7.2439e-08
84.0567 | -7.2103e-08
84.349 | -7.2131e-08
84.6446 | -7.1885e-08
84.9502 | -7.187e-08
85.264 | -7.2485e-08
85.5441 | -7.1526e-08
85.8699 | -7.2741e-08
86.2326 | -7.3185e-08
86.5657 | -7.2164e-08
86.8599 | -7.3243e-08
87.195 | -7.2828e-08
87.5232 | -7.3772e-08
87.8919 | -7.3361e-08
88.2246 | -7.4502e-08
88.5186 | -7.4633e-08
89.8193 | -7.5399e-08
90.7406 | -7.6804e-08
91.0714 | -7.7243e-08
91.4014 | -7.7076e-08
91.7304 | -7.7019e-08
92.0606 | -7.8923e-08
92.3486 | -7.7081e-08
92.6744 | -7.7661e-08
92.9992 | -7.846e-08
93.321 | -7.8633e-08
93.6415 | -7.9245e-08
93.9213 | -7.9212e-08
94.2364 | -7.9435e-08
94.5482 | -7.9474e-08
94.8607 | -8.0026e-08
95.1734 | -8.0444e-08
95.484 | -8.1054e-08
95.7968 | -8.1519e-08
96.1092 | -8.2389e-08
96.4161 | -8.3138e-08
96.7335 | -8.3283e-08
97.0413 | -8.3353e-08
97.35 | -8.4122e-08
97.661 | -8.4635e-08
97.9349 | -8.4272e-08
98.245 | -8.5247e-08
98.5868 | -8.6052e-08
98.895 | -8.549e-08
99.2002 | -8.7313e-08
99.4742 | -8.7781e-08
99.7823 | -8.7243e-08
100.088 | -8.7965e-08
100.393 | -8.804e-08
100.695 | -8.8595e-08
100.992 | -8.8929e-08
101.291 | -8.9594e-08
101.592 | -9.0387e-08
101.893 | -9.0407e-08
102.194 | -9.1222e-08
102.494 | -9.1449e-08
102.795 | -9.1796e-08
103.096 | -9.2959e-08
103.367 | -9.281e-08
103.668 | -9.3262e-08
103.971 | -9.4254e-08
104.274 | -9.5702e-08
104.574 | -9.5872e-08
104.88 | -9.5751e-08
105.181 | -9.7363e-08
105.486 | -9.7604e-08
105.788 | -9.7223e-08
106.09 | -9.8496e-08
106.393 | -9.8662e-08
106.696 | -9.9213e-08
106.998 | -9.9822e-08
107.302 | -1.0063e-07
107.605 | -1.0205e-07
107.91 | -1.0206e-07
108.177 | -1.0244e-07
108.48 | -1.033e-07
108.784 | -1.0394e-07
109.083 | -1.0583e-07
110.435 | -1.0749e-07
111.399 | -1.0971e-07
111.702 | -1.1115e-07
112.002 | -1.1049e-07
112.304 | -1.1201e-07
112.607 | -1.1301e-07
112.874 | -1.13e-07
113.176 | -1.14e-07
113.479 | -1.1478e-07
113.782 | -1.1595e-07
114.085 | -1.1649e-07
114.388 | -1.164e-07
114.691 | -1.1864e-07
114.959 | -1.1938e-07
115.263 | -1.1969e-07
115.564 | -1.2091e-07
115.87 | -1.2175e-07
116.171 | -1.2403e-07
116.474 | -1.2712e-07
116.777 | -1.2924e-07
117.078 | -1.3271e-07
117.38 | -1.3429e-07
117.682 | -1.3634e-07
117.985 | -1.3733e-07
118.281 | -1.3546e-07
118.575 | -1.3257e-07
118.873 | -1.3173e-07
119.169 | -1.3019e-07
119.468 | -1.3017e-07
119.767 | -1.3135e-07
120.066 | -1.3121e-07
120.365 | -1.3164e-07
120.664 | -1.3237e-07
120.966 | -1.3221e-07
121.265 | -1.3269e-07
121.566 | -1.3406e-07
121.865 | -1.3422e-07
122.267 | -1.3579e-07
122.569 | -1.3665e-07
122.868 | -1.3706e-07
123.17 | -1.3855e-07
123.47 | -1.3968e-07
123.772 | -1.3951e-07
124.074 | -1.4018e-07
124.374 | -1.4157e-07
124.676 | -1.4281e-07
124.976 | -1.4257e-07
125.278 | -1.434e-07
125.578 | -1.453e-07
125.88 | -1.4515e-07
126.18 | -1.4983e-07
126.481 | -1.4909e-07
126.783 | -1.4995e-07
127.082 | -1.5083e-07
127.383 | -1.5188e-07
127.68 | -1.5234e-07
127.976 | -1.5385e-07
128.272 | -1.5482e-07
128.568 | -1.5511e-07
128.866 | -1.5558e-07
129.195 | -1.5818e-07
129.492 | -1.5892e-07
129.791 | -1.5893e-07
130.091 | -1.5919e-07
130.39 | -1.6037e-07
130.69 | -1.6127e-07
130.989 | -1.614e-07
131.289 | -1.6276e-07
131.59 | -1.6486e-07
131.892 | -1.6576e-07
132.192 | -1.6602e-07
132.493 | -1.677e-07
132.793 | -1.6861e-07
133.094 | -1.6885e-07
133.395 | -1.6974e-07
133.696 | -1.7097e-07
133.997 | -1.7251e-07
134.297 | -1.745e-07
134.564 | -1.7412e-07
134.866 | -1.7531e-07
135.165 | -1.7299e-07
135.501 | -1.7483e-07
135.769 | -1.763e-07
136.07 | -1.7604e-07
136.369 | -1.7725e-07
136.671 | -1.775e-07
136.97 | -1.7952e-07
137.306 | -1.8059e-07
137.604 | -1.808e-07
137.9 | -1.8208e-07
138.162 | -1.8165e-07
138.46 | -1.8474e-07
138.757 | -1.8655e-07
139.087 | -1.8793e-07
139.385 | -1.8871e-07
139.683 | -1.8907e-07
139.983 | -1.9033e-07
140.282 | -1.9057e-07
140.583 | -1.9238e-07
140.881 | -1.9237e-07
141.183 | -1.933e-07
141.485 | -1.9401e-07
141.783 | -1.9665e-07
142.085 | -1.9734e-07
142.385 | -1.9956e-07
142.686 | -2.0023e-07
142.987 | -2.0026e-07
143.322 | -2.0095e-07
143.623 | -2.0235e-07
143.923 | -2.0371e-07
144.224 | -2.0672e-07
144.524 | -2.0612e-07
144.826 | -2.0623e-07
145.126 | -2.0937e-07
145.428 | -2.0953e-07
145.73 | -2.1069e-07
146.029 | -2.1444e-07
146.329 | -2.1297e-07
146.664 | -2.143e-07
146.963 | -2.1651e-07
147.265 | -2.1673e-07
147.564 | -2.1775e-07
147.866 | -2.1909e-07
148.164 | -2.1952e-07
148.459 | -2.2102e-07
148.756 | -2.2277e-07
149.019 | -2.2403e-07
149.348 | -2.2501e-07
149.647 | -2.247e-07
149.944 | -2.2586e-07
150.244 | -2.2763e-07
150.543 | -2.2778e-07
150.842 | -2.2918e-07
151.142 | -2.3068e-07
151.442 | -2.3144e-07
151.744 | -2.3288e-07
152.044 | -2.3242e-07
152.345 | -2.3363e-07
152.644 | -2.3457e-07
152.943 | -2.3698e-07
153.278 | -2.3877e-07
153.58 | -2.3939e-07
153.881 | -2.4083e-07
154.182 | -2.4189e-07
154.483 | -2.4553e-07
154.785 | -2.4606e-07
155.086 | -2.4539e-07
155.389 | -2.4749e-07
155.689 | -2.4803e-07
155.99 | -2.482e-07
156.29 | -2.5106e-07
156.593 | -2.5103e-07
156.893 | -2.5347e-07
157.228 | -2.5514e-07
157.528 | -2.5497e-07
157.828 | -2.5585e-07
158.096 | -2.5895e-07
158.399 | -2.5795e-07
158.7 | -2.6141e-07
159.034 | -2.5946e-07
159.335 | -2.6126e-07
159.632 | -2.6163e-07
159.923 | -2.6614e-07
160.22 | -2.6816e-07
160.515 | -2.6946e-07
160.814 | -2.7216e-07
161.114 | -2.7411e-07
161.413 | -2.7337e-07
161.713 | -2.746e-07
162.012 | -2.7789e-07
162.312 | -2.7819e-07
162.612 | -2.7905e-07
162.915 | -2.7819e-07
163.215 | -2.8083e-07
163.55 | -2.8417e-07
163.815 | -2.8687e-07
164.114 | -2.8707e-07
164.411 | -2.9068e-07
164.71 | -2.9206e-07
165.011 | -2.9341e-07
165.313 | -2.9337e-07
165.615 | -2.9701e-07
165.917 | -2.9446e-07
166.218 | -2.9671e-07
166.554 | -2.9568e-07
166.856 | -2.9518e-07
167.158 | -2.9638e-07
167.459 | -2.9793e-07
167.759 | -3.0072e-07
168.062 | -3.0105e-07
168.364 | -3.0188e-07
168.659 | -3.05e-07
168.952 | -3.0676e-07
169.251 | -3.0748e-07
169.586 | -3.0926e-07
169.889 | -3.1049e-07
170.19 | -3.1071e-07
170.493 | -3.139e-07
170.796 | -3.1551e-07
171.099 | -3.175e-07
171.401 | -3.1942e-07
171.699 | -3.2195e-07
171.996 | -3.2382e-07
172.325 | -3.2437e-07
172.623 | -3.2798e-07
172.919 | -3.2832e-07
173.218 | -3.2963e-07
173.518 | -3.3194e-07
173.815 | -3.3218e-07
174.116 | -3.3555e-07
174.415 | -3.3618e-07
174.717 | -3.3612e-07
175.016 | -3.3625e-07
175.316 | -3.3878e-07
175.618 | -3.4171e-07
175.921 | -3.4102e-07
176.221 | -3.4575e-07
176.518 | -3.4534e-07
176.849 | -3.4758e-07
177.15 | -3.4885e-07
177.454 | -3.5416e-07
177.755 | -3.5551e-07
178.057 | -3.5857e-07
178.358 | -3.5783e-07
178.658 | -3.6176e-07
178.96 | -3.6121e-07
179.261 | -3.6021e-07
180.486 | -3.6704e-07
181.453 | -3.7413e-07
181.755 | -3.7575e-07
182.059 | -3.7724e-07
182.361 | -3.7785e-07
182.663 | -3.8025e-07
182.964 | -3.8091e-07
183.3 | -3.8371e-07
183.6 | -3.8423e-07
183.904 | -3.9085e-07
184.205 | -3.9278e-07
184.508 | -3.9316e-07
184.803 | -3.9461e-07
185.091 | -3.9402e-07
185.37 | -3.9555e-07
185.686 | -4.0092e-07
185.982 | -3.9987e-07
186.284 | -4.0378e-07
186.59 | -4.0472e-07
186.895 | -4.1266e-07
187.204 | -4.0978e-07
187.508 | -4.1701e-07
187.809 | -4.1692e-07
188.107 | -4.1913e-07
188.405 | -4.1654e-07
188.709 | -4.2304e-07
189.012 | -4.184e-07
189.35 | -4.2428e-07
189.652 | -4.2791e-07
189.957 | -4.3161e-07
190.257 | -4.3091e-07
190.595 | -4.3287e-07
190.898 | -4.3325e-07
191.198 | -4.3902e-07
191.501 | -4.3604e-07
191.802 | -4.4148e-07
192.104 | -4.4047e-07
192.407 | -4.4814e-07
192.744 | -4.5138e-07
193.039 | -4.5104e-07
193.33 | -4.5126e-07
193.622 | -4.5612e-07
193.921 | -4.6158e-07
194.222 | -4.6242e-07
194.525 | -4.7165e-07
194.828 | -4.771e-07
195.165 | -4.7663e-07
195.468 | -4.7492e-07
195.77 | -4.7899e-07
196.073 | -4.7878e-07
196.376 | -4.8343e-07
196.711 | -4.8261e-07
197.013 | -4.9184e-07
197.315 | -4.9363e-07
197.615 | -4.9359e-07
197.917 | -5.1032e-07
198.218 | -5.0403e-07
198.549 | -5.0368e-07
198.875 | -5.0017e-07
199.235 | -5.0838e-07
200.489 | -5.1966e-07
201.509 | -5.2537e-07
201.837 | -5.335e-07
202.196 | -5.3445e-07
202.552 | -5.4597e-07
202.904 | -5.5047e-07
203.309 | -5.5012e-07
204.554 | -5.6576e-07
205.642 | -5.7523e-07
205.965 | -5.7127e-07
206.282 | -5.6923e-07
206.589 | -5.7717e-07
206.897 | -5.7658e-07
207.232 | -5.8675e-07
207.53 | -5.8975e-07
207.829 | -5.8181e-07
208.126 | -5.8435e-07
208.421 | -5.9136e-07
208.719 | -5.9633e-07
209.116 | -6.0235e-07
209.381 | -6.0097e-07
209.677 | -6.0473e-07
210.008 | -6.0873e-07
210.306 | -6.1467e-07
210.671 | -6.0814e-07
210.971 | -6.1187e-07
212.303 | -6.255e-07
213.291 | -6.3138e-07
213.612 | -6.3762e-07
213.962 | -6.384e-07
214.337 | -6.4095e-07
214.642 | -6.4715e-07
214.94 | -6.482e-07
215.266 | -6.4659e-07
215.589 | -6.7037e-07
215.87 | -6.5758e-07
216.161 | -6.5876e-07
216.457 | -6.6598e-07
216.788 | -6.6726e-07
217.117 | -6.7021e-07
217.412 | -6.7784e-07
217.706 | -6.7906e-07
217.999 | -6.8515e-07
218.324 | -6.907e-07
218.612 | -6.8733e-07
218.905 | -6.8963e-07
219.226 | -6.9594e-07
219.516 | -6.9977e-07
219.806 | -7.009e-07
220.128 | -6.9949e-07
220.418 | -7.0239e-07
220.709 | -7.0801e-07
221.001 | -7.0871e-07
221.323 | -7.1239e-07
221.616 | -7.1866e-07
221.909 | -7.2417e-07
222.231 | -7.2294e-07
222.524 | -7.3023e-07
222.815 | -7.3922e-07
223.107 | -7.458e-07
223.401 | -7.461e-07
223.693 | -7.4415e-07
224.019 | -7.4836e-07
224.313 | -7.5645e-07
224.604 | -7.5457e-07
224.899 | -7.6394e-07
225.194 | -7.6771e-07
225.487 | -7.6814e-07
225.817 | -7.7063e-07
226.111 | -7.75e-07
226.406 | -7.7492e-07
226.702 | -7.737e-07
226.998 | -7.7921e-07
227.325 | -7.8281e-07
227.621 | -7.8699e-07
227.918 | -7.8758e-07
228.212 | -7.8775e-07
228.504 | -7.9483e-07
228.83 | -7.9687e-07
229.125 | -7.9592e-07
229.422 | -8.0365e-07
229.749 | -8.0645e-07
230.048 | -8.1091e-07
230.38 | -8.1631e-07
230.681 | -8.1788e-07
230.983 | -8.1843e-07
231.287 | -8.2131e-07
231.585 | -8.2251e-07
231.92 | -8.3413e-07
232.219 | -8.278e-07
232.549 | -8.3602e-07
233.805 | -8.4397e-07
234.769 | -8.5403e-07
235.067 | -8.61e-07
235.367 | -8.6336e-07
235.699 | -8.6456e-07
236.033 | -8.6566e-07
236.333 | -8.7182e-07
236.701 | -8.7124e-07
237.032 | -8.7899e-07
237.333 | -8.7921e-07
237.633 | -8.7852e-07
237.934 | -8.8291e-07
238.235 | -8.8523e-07
238.534 | -8.9314e-07
238.868 | -8.9129e-07
239.168 | -8.9649e-07
239.469 | -8.9954e-07
239.802 | -9.0492e-07
240.102 | -9.0748e-07
240.399 | -9.1066e-07
240.704 | -9.1517e-07
241.037 | -9.1832e-07
241.336 | -9.2102e-07
241.636 | -9.2097e-07
241.937 | -9.3023e-07
242.272 | -9.2809e-07
242.57 | -9.3424e-07
242.867 | -9.3596e-07
243.171 | -9.3736e-07
243.472 | -9.4153e-07
243.806 | -9.4059e-07
244.105 | -9.4208e-07
244.402 | -9.4439e-07
244.699 | -9.5655e-07
245.03 | -9.5916e-07
245.328 | -9.5509e-07
245.626 | -9.6101e-07
245.925 | -9.6571e-07
246.258 | -9.7758e-07
246.558 | -9.715e-07
246.857 | -9.8061e-07
248.124 | -9.9189e-07
249.093 | -1.0009e-06
249.394 | -1.0055e-06
249.693 | -1.0119e-06
250.027 | -1.01e-06
250.328 | -1.0173e-06
250.63 | -1.0202e-06
250.93 | -1.016e-06
251.231 | -1.0236e-06
251.531 | -1.0343e-06
251.832 | -1.0331e-06
252.133 | -1.0344e-06
252.468 | -1.0562e-06
254.035 | -1.0554e-06
255.001 | -1.0703e-06
255.304 | -1.0704e-06
255.639 | -1.069e-06
255.939 | -1.075e-06
256.238 | -1.0769e-06
256.539 | -1.0724e-06
256.841 | -1.0727e-06
257.173 | -1.0862e-06
257.473 | -1.0854e-06
257.807 | -1.0813e-06
258.106 | -1.0813e-06
258.441 | -1.0831e-06
258.742 | -1.0866e-06
259.043 | -1.079e-06
259.342 | -1.0813e-06
259.675 | -1.0793e-06
259.973 | -1.0813e-06
260.278 | -1.0725e-06
260.609 | -1.0735e-06
260.911 | -1.0717e-06
261.205 | -1.0708e-06
261.537 | -1.0714e-06
261.835 | -1.0702e-06
262.134 | -1.0679e-06
262.465 | -1.0786e-06
262.763 | -1.0993e-06
263.096 | -1.1144e-06
263.395 | -1.1026e-06
263.695 | -1.085e-06
264.028 | -1.0805e-06
264.328 | -1.0745e-06
264.628 | -1.0793e-06
264.927 | -1.0847e-06
265.263 | -1.0843e-06
265.565 | -1.0901e-06
266.832 | -1.102e-06
267.802 | -1.1125e-06
268.102 | -1.1207e-06
268.435 | -1.1268e-06
268.735 | -1.1322e-06
269.069 | -1.1326e-06
269.369 | -1.1378e-06
269.668 | -1.1435e-06
269.968 | -1.1477e-06
270.303 | -1.1544e-06
270.603 | -1.1619e-06
270.936 | -1.1676e-06
271.237 | -1.1715e-06
271.54 | -1.1781e-06
271.873 | -1.1858e-06
272.174 | -1.1966e-06
272.473 | -1.207e-06
272.775 | -1.21e-06
273.108 | -1.2159e-06
273.408 | -1.2171e-06
273.708 | -1.225e-06
274.041 | -1.2219e-06
274.375 | -1.2324e-06
274.675 | -1.2388e-06
274.976 | -1.2433e-06
275.276 | -1.2472e-06
275.576 | -1.2518e-06
275.91 | -1.2667e-06
276.211 | -1.2803e-06
276.51 | -1.2844e-06
276.81 | -1.2877e-06
277.143 | -1.2991e-06
278.412 | -1.3222e-06
279.374 | -1.3429e-06
279.704 | -1.3499e-06
280.002 | -1.3548e-06
280.3 | -1.3684e-06
280.632 | -1.379e-06
280.964 | -1.3833e-06
281.296 | -1.3903e-06
281.597 | -1.3923e-06
281.896 | -1.4041e-06
282.23 | -1.4066e-06
282.563 | -1.406e-06
282.864 | -1.4111e-06
283.198 | -1.4252e-06
283.499 | -1.4262e-06
283.799 | -1.43e-06
284.131 | -1.4461e-06
284.433 | -1.4544e-06
284.766 | -1.4661e-06
285.1 | -1.4836e-06
285.401 | -1.4855e-06
285.734 | -1.4875e-06
286.069 | -1.5006e-06
287.304 | -1.5269e-06
288.27 | -1.5518e-06
288.605 | -1.5613e-06
288.906 | -1.5759e-06
289.239 | -1.5778e-06
289.538 | -1.5897e-06
289.906 | -1.6009e-06
290.339 | -1.6231e-06
290.64 | -1.6086e-06
290.94 | -1.6156e-06
291.241 | -1.6307e-06
291.574 | -1.6271e-06
291.875 | -1.6473e-06
292.174 | -1.6563e-06
292.474 | -1.6753e-06
292.842 | -1.6712e-06
294.044 | -1.7015e-06
295.11 | -1.729e-06
295.41 | -1.7357e-06
295.744 | -1.746e-06
296.043 | -1.7546e-06
296.377 | -1.7578e-06
296.676 | -1.7689e-06
296.977 | -1.7769e-06
297.311 | -1.7891e-06
297.611 | -1.8073e-06
297.91 | -1.8158e-06
298.244 | -1.8265e-06
298.545 | -1.853e-06
298.875 | -1.8641e-06
299.172 | -1.8703e-06
299.47 | -1.8921e-06
299.768 | -1.8996e-06
300.101 | -1.9124e-06
300.4 | -1.922e-06
300.697 | -1.9291e-06
301.03 | -1.9381e-06
301.331 | -1.9498e-06
301.63 | -1.9654e-06
301.931 | -1.9763e-06
302.232 | -1.9906e-06
302.565 | -2.0093e-06
302.866 | -2.0089e-06
303.165 | -2.0253e-06
303.5 | -2.03e-06
303.8 | -2.0384e-06
304.133 | -2.0507e-06
304.434 | -2.0693e-06
304.77 | -2.0631e-06
305.068 | -2.07e-06
306.304 | -2.1169e-06
307.272 | -2.1317e-06
307.571 | -2.1377e-06
307.905 | -2.145e-06
308.206 | -2.1562e-06
308.506 | -2.1693e-06
308.841 | -2.1877e-06
309.139 | -2.1905e-06
309.439 | -2.2111e-06
309.774 | -2.2211e-06
310.106 | -2.2495e-06
310.441 | -2.2606e-06
310.741 | -2.2786e-06
311.075 | -2.2929e-06
311.375 | -2.3032e-06
311.708 | -2.3043e-06
312.075 | -2.3251e-06
312.409 | -2.3265e-06
312.742 | -2.3428e-06
314.01 | -2.3778e-06
315.01 | -2.4292e-06
315.342 | -2.4713e-06
315.71 | -2.495e-06
316.044 | -2.5105e-06
316.342 | -2.5196e-06
316.677 | -2.5536e-06
317.011 | -2.5584e-06
317.31 | -2.5659e-06
317.611 | -2.573e-06
317.978 | -2.5741e-06
318.311 | -2.5808e-06
318.645 | -2.6317e-06
318.944 | -2.6219e-06
320.243 | -2.708e-06
321.202 | -2.7359e-06
321.534 | -2.7458e-06
321.867 | -2.7902e-06
322.166 | -2.806e-06
322.499 | -2.8305e-06
322.832 | -2.8395e-06
323.165 | -2.8614e-06
323.499 | -2.8583e-06
323.799 | -2.8839e-06
324.132 | -2.9001e-06
324.433 | -2.9084e-06
324.767 | -2.8978e-06
325.067 | -2.9176e-06
325.368 | -2.9388e-06
325.701 | -2.9521e-06
326.001 | -2.9535e-06
326.336 | -2.9717e-06
326.636 | -3.0137e-06
326.968 | -3.0294e-06
328.204 | -3.0994e-06
329.17 | -3.152e-06
329.504 | -3.1727e-06
329.806 | -3.1906e-06
330.106 | -3.2092e-06
330.438 | -3.2274e-06
330.739 | -3.2411e-06
331.04 | -3.2308e-06
331.338 | -3.2719e-06
331.672 | -3.2799e-06
331.973 | -3.3036e-06
332.272 | -3.3083e-06
332.606 | -3.3399e-06
332.905 | -3.3545e-06
333.237 | -3.3774e-06
333.538 | -3.392e-06
333.838 | -3.3988e-06
334.171 | -3.4005e-06
334.471 | -3.4534e-06
334.804 | -3.472e-06
335.103 | -3.4795e-06
335.404 | -3.5215e-06
335.737 | -3.5557e-06
336.037 | -3.5761e-06
336.37 | -3.5981e-06
336.671 | -3.6044e-06
337.004 | -3.6374e-06
337.304 | -3.6698e-06
337.637 | -3.6832e-06
338.872 | -3.7821e-06
339.905 | -3.8809e-06
340.239 | -3.9078e-06
340.538 | -3.9109e-06
340.873 | -3.9781e-06
341.172 | -4.0085e-06
341.506 | -4.0535e-06
341.806 | -4.0899e-06
342.138 | -4.1291e-06
342.44 | -4.1749e-06
342.773 | -4.2109e-06
343.073 | -4.2707e-06
343.373 | -4.3313e-06
343.706 | -4.3794e-06
344.04 | -4.4045e-06
344.341 | -4.4471e-06
344.64 | -4.5134e-06
344.974 | -4.5718e-06
345.273 | -4.6468e-06
345.574 | -4.7163e-06
345.907 | -4.7794e-06
346.206 | -4.8961e-06
346.504 | -4.9793e-06
346.836 | -5.0345e-06
347.134 | -5.0743e-06
347.466 | -5.1754e-06
348.729 | -5.4645e-06
349.763 | -5.6477e-06
350.097 | -5.7372e-06
350.431 | -5.7629e-06
350.765 | -5.8083e-06
351.066 | -5.9604e-06
351.432 | -6.0654e-06
351.766 | -6.0543e-06
352.067 | -6.1328e-06
352.367 | -6.2304e-06
352.699 | -6.2572e-06
353.001 | -6.3286e-06
353.336 | -6.3822e-06
353.635 | -6.508e-06
353.967 | -6.5813e-06
354.269 | -6.6346e-06
355.537 | -6.974e-06
356.471 | -7.1172e-06
356.804 | -7.1991e-06
357.105 | -7.2264e-06
357.44 | -7.4027e-06
357.773 | -7.5684e-06
358.073 | -7.6351e-06
358.406 | -7.8253e-06
358.707 | -7.8516e-06
359.006 | -8.0259e-06
359.34 | -8.1296e-06
359.64 | -8.1409e-06
359.941 | -8.2098e-06
360.274 | -8.3873e-06
360.575 | -8.4523e-06
360.907 | -8.5131e-06
361.208 | -8.6028e-06
361.541 | -8.7011e-06
361.842 | -8.8042e-06
362.175 | -8.9265e-06
362.509 | -9.0263e-06
362.809 | -9.1128e-06
363.142 | -9.1793e-06
364.41 | -9.4486e-06
365.376 | -9.7381e-06
365.676 | -9.7571e-06
366.011 | -9.8027e-06
366.344 | -9.8977e-06
366.645 | -1.0033e-05
366.944 | -1.003e-05
367.343 | -1.0108e-05
367.643 | -1.019e-05
368.01 | -1.0319e-05
368.309 | -1.0516e-05
369.679 | -1.0644e-05
370.711 | -1.0847e-05
371.01 | -1.0933e-05
371.344 | -1.099e-05
371.678 | -1.1011e-05
372.012 | -1.1077e-05
372.345 | -1.1191e-05
372.712 | -1.1401e-05
373.111 | -1.1573e-05
374.381 | -1.1745e-05
375.349 | -1.2025e-05
375.749 | -1.2088e-05
376.116 | -1.2129e-05
376.517 | -1.2328e-05
376.884 | -1.2337e-05
377.251 | -1.2427e-05
378.486 | -1.2933e-05
379.521 | -1.3216e-05
379.888 | -1.317e-05
380.255 | -1.3418e-05
380.622 | -1.3592e-05
380.988 | -1.3579e-05
381.353 | -1.3687e-05
382.551 | -1.401e-05
383.583 | -1.4467e-05
383.947 | -1.4503e-05
384.313 | -1.4666e-05
384.68 | -1.4656e-05
385.044 | -1.4906e-05
385.41 | -1.4748e-05
386.7 | -1.5075e-05
387.723 | -1.5281e-05
388.084 | -1.5462e-05
388.448 | -1.5652e-05
388.81 | -1.5657e-05
389.172 | -1.5642e-05
389.533 | -1.5802e-05
390.805 | -1.6085e-05
391.778 | -1.6298e-05
392.133 | -1.6471e-05
392.489 | -1.6538e-05
392.846 | -1.6788e-05
393.202 | -1.6765e-05
393.556 | -1.6855e-05
393.912 | -1.7063e-05
394.267 | -1.7154e-05
395.523 | -1.7695e-05
396.519 | -1.7674e-05
396.838 | -1.784e-05
397.224 | -1.7945e-05
397.545 | -1.5886e-05
397.898 | -1.621e-05
398.282 | -1.6626e-05
398.635 | -1.6738e-05
399.881 | -1.6859e-05
400.932 | -1.6917e-05
401.283 | -1.6988e-05
401.632 | -1.7012e-05
401.983 | -1.6938e-05
402.333 | -1.7033e-05
402.684 | -1.7195e-05
403.033 | -1.7345e-05
404.271 | -1.7468e-05
405.349 | -1.7534e-05
405.698 | -1.7744e-05
406.014 | -1.7779e-05
406.361 | -1.7948e-05
406.708 | -1.8058e-05
407.057 | -1.8187e-05
407.434 | -1.8074e-05
408.725 | -1.8467e-05
409.699 | -1.8511e-05
410.045 | -1.8514e-05
410.391 | -1.8682e-05
410.734 | -1.8616e-05
411.079 | -1.8711e-05
411.423 | -1.872e-05
411.768 | -1.8896e-05
412.11 | -1.8965e-05
413.422 | -1.9272e-05
414.387 | -1.9526e-05
414.728 | -1.9654e-05
415.071 | -1.9571e-05
415.412 | -1.9662e-05
415.754 | -1.9635e-05
416.096 | -1.9751e-05
416.437 | -1.9664e-05
416.748 | -1.9794e-05
417.087 | -1.9904e-05
417.428 | -1.9897e-05
418.756 | -2.0134e-05
419.713 | -2.0724e-05
420.053 | -2.1005e-05
420.422 | -2.1844e-05
420.822 | -2.2934e-05
421.159 | -2.3251e-05
421.497 | -2.4072e-05
421.834 | -2.535e-05
423.123 | -2.7719e-05
424.103 | -2.7863e-05
424.468 | -2.5283e-05
424.804 | -2.354e-05
425.139 | -2.315e-05
425.474 | -2.3891e-05
425.805 | -2.7165e-05
426.136 | -2.5239e-05
426.468 | -2.4389e-05
426.799 | -2.3406e-05
427.128 | -2.3213e-05
427.461 | -2.3343e-05
428.719 | -2.5866e-05
429.677 | -2.5724e-05
430.005 | -2.5869e-05
430.333 | -2.5985e-05
430.661 | -2.5856e-05
430.989 | -2.5773e-05
431.318 | -2.5589e-05
431.645 | -2.5891e-05
431.972 | -2.5718e-05
432.3 | -2.5316e-05
432.627 | -2.6492e-05
432.952 | -3.1366e-05
433.28 | -2.9207e-05
433.605 | -2.5282e-05
433.932 | -2.5439e-05
435.175 | -2.6159e-05
436.179 | -2.707e-05
436.505 | -2.7921e-05
436.83 | -2.8978e-05
437.153 | -3.0409e-05
437.476 | -3.0469e-05
437.8 | -3.0167e-05
438.123 | -3.026e-05
438.445 | -3.125e-05
438.769 | -3.1802e-05
439.12 | -3.2478e-05
439.441 | -3.2868e-05
439.763 | -3.3617e-05
440.084 | -3.425e-05
440.408 | -3.4946e-05
440.728 | -3.5911e-05
441.987 | -4.0356e-05
442.948 | -4.0846e-05
443.267 | -6.3049e-05
443.616 | -6.734e-05
443.906 | -5.4746e-05
444.253 | -4.0539e-05
444.573 | -3.8448e-05
444.89 | -3.5711e-05
445.208 | -3.113e-05
445.526 | -3.1427e-05
445.845 | -3.1974e-05
446.194 | -3.2285e-05
446.51 | -3.2404e-05
446.798 | -3.2766e-05
447.145 | -3.326e-05
447.461 | -3.3643e-05
447.749 | -3.4167e-05
448.066 | -3.5106e-05
448.411 | -3.6099e-05
449.674 | -3.9234e-05