## Settings
Sample Info | so11hg, dot c2
Comments | -10/+5/-10
Additional Comments | peak 170 K ??
Major Measurement Parameters
Starting Temperature | 300.116
Initial Temperature | 80.5
Final Temperature | 450
Preliminary Voltage | -10
Pulse Voltage | 5
Pulse Time | 30
Wait Time | 0
Measurement Voltage | -10
Subsidiary Measurement Parameters
Step | 0.3
Accuracy Step | 0.1
Accuracy Stable | 0.7
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 15
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 3
Measurecount | 1
Time
Date | 8.4.2024
Clock | 18:9:16

## Stabilization
Temperature | Current | Temp Rate
300.073 | -1.81e-10 | 0
300.011 | -3.7385e-12 | -1.5128
299.945 | -2.4558e-12 | -2.044
299.919 | -1.9007e-12 | -1.8629
299.897 | -1.5127e-12 | -1.7133
299.876 | -1.23e-12 | -1.5987
299.858 | -1.2045e-12 | -1.4995
299.838 | -9.7725e-13 | -1.4387
299.824 | -9.3453e-13 | -1.3559
299.804 | -8.5708e-13 | -1.312
299.763 | -7.5993e-13 | -1.6779
299.707 | -7.4955e-13 | -2.2411
299.673 | -6.0558e-13 | -3.2527
299.618 | -6.4913e-13 | -7.4666
299.551 | -5.1409e-13 | -12.7941
299.504 | -4.9833e-13 | -1.7205
299.478 | -4.7617e-13 | -1.697
299.391 | -5.5577e-13 | -1.8389
299.256 | -4.2207e-13 | -39.0041
299.211 | -5.0595e-13 | -2.0905
299.186 | -4.0411e-13 | -2.0497
299.166 | -4.7459e-13 | -2.0023
299.144 | -3.4646e-13 | -1.9623
299.068 | -5.2226e-13 | -2.0355
299.022 | -4.6141e-13 | -2.045
299.001 | -4.0572e-13 | -2.0067
298.981 | -3.4249e-13 | -1.9688
298.961 | -2.8854e-13 | -1.9337
298.939 | -2.8025e-13 | -1.9046
298.917 | -4.0716e-13 | -1.8772
298.898 | -2.9264e-13 | -1.8469
298.875 | -2.4087e-13 | -1.8248
298.855 | -3.3024e-13 | -1.7993
298.77 | -2.8725e-13 | -1.8692
298.694 | -2.6367e-13 | -1.9219
298.666 | -3.1575e-13 | -1.9067
298.647 | -2.8689e-13 | -1.8807
298.628 | -3.2707e-13 | -1.8557
298.417 | -2.844e-13 | -1.8915
298.362 | -2.5641e-13 | -1.9098
298.339 | -2.7408e-13 | -1.892
298.318 | -2.6093e-13 | -1.8734
298.3 | -2.6383e-13 | -1.8522
298.272 | -2.4504e-13 | -1.8422
298.24 | -2.5948e-13 | -1.8367
298.219 | -2.6605e-13 | -1.8211
298.2 | -2.6582e-13 | -1.8036
298.177 | -1.983e-13 | -1.7901
298.156 | -1.9491e-13 | -1.7759
298.125 | -2.2846e-13 | -1.7713
298.101 | -2.5443e-13 | -1.7601
298.024 | -2.1616e-13 | -1.7964
297.997 | -2.1649e-13 | -1.7883
297.978 | -2.1354e-13 | -1.7736
297.951 | -1.9788e-13 | -1.7666
297.93 | -2.0119e-13 | -1.7536
297.902 | -1.9295e-13 | -1.7472
297.881 | -2.1681e-13 | -1.7357
297.862 | -1.8419e-13 | -1.7227
297.841 | -1.9655e-13 | -1.7119
297.822 | -1.6288e-13 | -1.7002
297.8 | -1.5492e-13 | -1.6906
297.777 | -1.5663e-13 | -1.6819
297.745 | -1.8118e-13 | -1.68
297.726 | -1.9959e-13 | -1.6692
297.698 | -1.7328e-13 | -1.6647
297.634 | -1.8606e-13 | -1.6853
297.61 | -1.9242e-13 | -1.6778
297.586 | -1.8225e-13 | -1.6707
297.567 | -1.9042e-13 | -1.6606
297.55 | -1.7659e-13 | -1.6497
297.53 | -1.7084e-13 | -1.6406
297.512 | -1.634e-13 | -1.6308
297.491 | -1.7229e-13 | -1.623
297.458 | -1.3963e-13 | -1.623
297.398 | -1.5715e-13 | -1.6392
297.326 | -1.6506e-13 | -1.6623
297.305 | -1.4302e-13 | -1.6546
297.288 | -1.5739e-13 | -1.6444
297.268 | -1.3539e-13 | -1.6365
297.25 | -1.8352e-13 | -1.6275
297.231 | -1.6881e-13 | -1.6193
297.211 | -1.6821e-13 | -1.6113
297.193 | -1.3987e-13 | -1.603
297.155 | -1.3482e-13 | -1.6059
297.092 | -1.4504e-13 | -1.6224
297.052 | -1.5568e-13 | -1.6261
296.9 | -1.4441e-13 | -1.6895
296.854 | -1.6991e-13 | -1.6908
296.832 | -1.7422e-13 | -1.6835
296.809 | -1.5704e-13 | -1.6777
296.705 | -1.3023e-13 | -1.7121
296.662 | -1.2907e-13 | -1.7107
296.619 | -1.2621e-13 | -1.7137
296.597 | -1.3426e-13 | -1.705
296.575 | -1.1709e-13 | -1.6984
296.556 | -1.1574e-13 | -1.6908
296.529 | -1.3392e-13 | -1.6868
296.46 | -1.3971e-13 | -1.7027
296.432 | -1.3378e-13 | -1.6991
296.412 | -1.3541e-13 | -1.6915
296.393 | -1.4629e-13 | -1.6844
296.372 | -9.1434e-14 | -1.6781
296.353 | -9.4331e-14 | -1.6709
296.333 | -1.048e-13 | -1.6645
296.227 | -1.4524e-13 | -1.6962
296.173 | -1.3159e-13 | -1.7048
296.129 | -1.0707e-13 | -1.7089
296.087 | -9.6677e-14 | -1.7114
296.061 | -9.5266e-14 | -1.707
296.041 | -1.0684e-13 | -1.7007
296.021 | -6.9799e-14 | -1.6943
296.002 | -7.2329e-14 | -1.6876
295.98 | -1.0449e-13 | -1.6821
295.943 | -1.2096e-13 | -1.683
295.872 | -1.3355e-13 | -1.6978
295.838 | -1.1775e-13 | -1.6973
295.817 | -1.3455e-13 | -1.6913
295.799 | -1.4351e-13 | -1.6847
295.777 | -1.2825e-13 | -1.6794
295.741 | -1.2513e-13 | -1.6797
295.713 | -9.3265e-14 | -1.677
295.672 | -7.6733e-14 | -1.6796
295.583 | -1.0015e-13 | -1.7002
295.519 | -1.37e-13 | -1.7109
295.486 | -1.3335e-13 | -1.7099
295.467 | -1.4101e-13 | -1.7037
295.446 | -9.815e-14 | -1.6985
295.428 | -9.2732e-14 | -1.6921
295.406 | -1.3039e-13 | -1.6874
295.387 | -1.3183e-13 | -1.6816
295.366 | -1.2659e-13 | -1.6768
295.314 | -1.4616e-13 | -1.6827
295.274 | -1.4169e-13 | -1.6841
295.252 | -1.37e-13 | -1.6795
295.234 | -1.3102e-13 | -1.6736
295.211 | -1.3092e-13 | -1.6696
295.15 | -9.1678e-14 | -1.6785
295.092 | -9.2084e-14 | -1.6863
295.056 | -8.0366e-14 | -1.6865
295.03 | -1.0362e-13 | -1.6836
295.009 | -9.9488e-14 | -1.6789
294.99 | -1.0938e-13 | -1.6736
294.968 | -1.1088e-13 | -1.6695
294.95 | -9.1891e-14 | -1.6639
294.928 | -1.1585e-13 | -1.6599
294.909 | -8.833e-14 | -1.6549
294.708 | -7.622e-14 | -1.7081
294.569 | -9.6381e-14 | -1.7404
294.458 | -1.0227e-13 | -1.7637
294.251 | -5.6467e-14 | -1.8169
294.138 | -7.017e-14 | -1.8402
294.008 | -5.8566e-14 | -1.8681
293.831 | -5.2562e-14 | -1.9099
293.569 | -6.6666e-14 | -1.9775
293.361 | -3.7213e-14 | -2.0278
293.023 | -5.0706e-14 | -2.1161
292.838 | -2.8836e-14 | -2.1581
292.551 | -6.3963e-14 | -2.2298
292.364 | -6.7689e-14 | -2.2714
292.189 | -8.5582e-14 | -2.3089
291.854 | -8.2722e-14 | -2.3923
291.61 | -6.3875e-14 | -2.4482
291.399 | -5.3362e-14 | -2.494
291.132 | -1.844e-14 | -2.5551
290.97 | -4.3775e-14 | -2.5859
290.691 | -4.0554e-14 | -2.649
290.38 | -5.4621e-14 | -2.7207
290.185 | -6.1462e-14 | -2.7596
289.888 | -6.38e-14 | -2.826
289.608 | -4.167e-15 | -2.8871
289.404 | -2.769e-14 | -2.9249
288.974 | -2.694e-14 | -3.0246
288.713 | -3.0385e-14 | -3.078
288.472 | -6.2584e-14 | -3.1255
288.062 | -7.099e-14 | -3.2178
287.728 | -6.2344e-14 | -3.2867
287.352 | -6.1297e-14 | -3.368
286.985 | -6.8943e-14 | -3.446
286.725 | -1.0515e-13 | -3.4953
286.332 | -8.1702e-14 | -3.5786
286.091 | -7.3309e-14 | -3.6218
285.657 | -7.1658e-14 | -3.7142
285.337 | -4.2446e-14 | -3.7761
284.946 | -4.3966e-14 | -3.8555
284.496 | -6.1161e-14 | -3.9488
284.197 | -3.5169e-14 | -4.0031
283.814 | -5.4388e-14 | -4.0782
283.516 | -4.9396e-14 | -4.1313
283.192 | -7.9102e-14 | -4.1899
282.904 | -6.3663e-14 | -4.2388
282.663 | -5.9962e-14 | -4.2761
282.246 | -4.1086e-14 | -4.3562
281.94 | -2.1643e-14 | -4.4082
281.554 | -1.3551e-14 | -4.4789
281.259 | -1.237e-14 | -4.5274
280.962 | -1.0733e-14 | -4.5758
280.592 | -3.2376e-14 | -4.6407
280.279 | -5.6815e-14 | -4.6902
279.935 | -7.6759e-14 | -4.7477
279.498 | -7.0947e-14 | -4.8261
279.163 | -5.347e-14 | -4.8804
278.703 | -4.2394e-14 | -4.9634
278.385 | -3.8491e-14 | -5.0131
277.927 | -4.7536e-14 | -5.0918
277.554 | -4.9039e-14 | -5.1522
277.09 | -5.5376e-14 | -5.2325
276.697 | -3.3612e-14 | -5.2969
276.327 | -2.5657e-14 | -5.355
275.87 | -1.488e-15 | -5.4324
275.537 | -1.227e-14 | -5.4818
275.177 | -4.3791e-14 | -5.5357
274.866 | -2.5019e-14 | -5.5786
274.609 | -2.406e-14 | -5.6094
274.271 | -5.5393e-14 | -5.657
273.968 | -1.971e-14 | -5.697
273.711 | -2.8667e-14 | -5.7268
273.327 | -6.957e-15 | -5.7843
273.02 | -3.3409e-14 | -5.8237
272.66 | -5.5105e-14 | -5.8746
272.275 | -3.9493e-14 | -5.9299
272.025 | -3.5437e-14 | -5.9564
271.641 | -2.8671e-14 | -6.0113
271.341 | -4.1754e-14 | -6.0481
270.933 | 4.188e-15 | -6.1076
270.572 | -1.2867e-14 | -6.1562
270.187 | -5.56e-15 | -6.2089
269.712 | -2.0909e-14 | -6.2799
269.417 | 3.4899e-14 | -6.3133
269.036 | 2.038e-14 | -6.3639
268.69 | -5.011e-15 | -6.4075
268.399 | -3.9299e-14 | -6.4392
267.937 | -1.0491e-14 | -6.5052
267.615 | -3.1609e-14 | -6.5424
267.229 | -1.4718e-14 | -6.5922
266.846 | 1.894e-15 | -6.6407
266.484 | -2.6589e-14 | -6.6848
266.051 | -1.8818e-14 | -6.7426
265.721 | -2.9088e-14 | -6.7799
265.261 | -2.4743e-14 | -6.8421
264.93 | -4.7358e-14 | -6.8788
264.557 | 4.805e-15 | -6.9234
264.306 | -1.7647e-14 | -6.9437
263.966 | -1.5798e-14 | -6.981
263.667 | -7.387e-15 | -7.0102
263.23 | -2.6897e-14 | -7.0658
262.905 | -8.415e-15 | -7.0997
262.42 | -9.697e-15 | -7.1635
262.098 | -1.0065e-14 | -7.1959
261.619 | -1.1487e-14 | -7.2576
261.269 | -2.7738e-14 | -7.295
260.848 | -2.8168e-14 | -7.3449
260.383 | -1.3226e-14 | -7.4026
260.031 | 7.949e-15 | -7.4391
259.55 | -1.51e-15 | -7.499
259.207 | -2.4022e-14 | -7.5333
258.746 | -2.3698e-14 | -7.5888
258.371 | -1.3141e-14 | -7.6285
258.002 | 2.68e-16 | -7.6665
257.531 | -1.0686e-14 | -7.7226
257.192 | 1.2689e-14 | -7.7543
256.716 | 1.261e-15 | -7.8105
256.383 | -1.7149e-14 | -7.8408
255.924 | -1.75e-14 | -7.8933
255.537 | -4.19e-16 | -7.9328
255.135 | 4.4995e-14 | -7.9744
254.649 | 4.0033e-14 | -8.0308
254.314 | -5.475e-15 | -8.06
253.793 | 1.1099e-14 | -8.1219
253.473 | -1.7932e-14 | -8.1478
252.952 | 3.3042e-14 | -8.2086
252.583 | 7.552e-15 | -8.2426
252.153 | 3.6922e-14 | -8.2862
251.659 | 1.2756e-14 | -8.3406
251.285 | 1.3076e-14 | -8.3749
250.796 | -8.5e-17 | -8.4274
250.416 | -5.183e-15 | -8.4619
249.884 | 2.728e-14 | -8.5215
249.497 | 1.8223e-14 | -8.5534
248.956 | 3.5649e-14 | -8.6135
248.629 | 1.0872e-14 | -8.6347
248.099 | 1.0744e-14 | -8.6918
247.62 | 7.273e-15 | -8.7404
247.26 | 2.568e-14 | -8.7694
246.751 | 1.0308e-14 | -8.8218
246.389 | -2.187e-15 | -8.8511
245.888 | 2.055e-14 | -8.9025
245.531 | 4.968e-15 | -8.9301
245.106 | 1.1564e-14 | -8.9687
244.649 | -3.6907e-14 | -9.0113
244.3 | -1.908e-15 | -9.0369
243.848 | 1.687e-15 | -9.079
243.485 | -4.0585e-14 | -9.1069
243.149 | -8.999e-15 | -9.1304
242.73 | -1.048e-15 | -9.1664
242.387 | 2.8521e-14 | -9.1904
242.059 | 3.7026e-14 | -9.2114
241.634 | 4.494e-15 | -9.2482
241.32 | 2.826e-15 | -9.2666
240.897 | 1.6823e-14 | -9.3021
240.545 | 4.23e-15 | -9.3264
240.165 | 4.705e-14 | -9.3552
239.686 | -1.7859e-14 | -9.3989
239.349 | 1.4601e-14 | -9.42
238.859 | 3.2708e-14 | -9.4643
238.518 | 5.82e-15 | -9.486
238.026 | 6.009e-15 | -9.5303
237.641 | -1.394e-15 | -9.5583
237.317 | 3.326e-15 | -9.5771
236.862 | 3.2225e-14 | -9.6157
236.498 | -3.311e-15 | -9.6389
236.035 | -1.5504e-14 | -9.6776
235.587 | 3.9361e-14 | -9.7126
235.19 | 3.3058e-14 | -9.7414
234.723 | 4.4524e-14 | -9.7792
234.396 | 2.0358e-14 | -9.7968
234.014 | 1.3199e-14 | -9.8227
233.63 | 2.312e-15 | -9.8486
233.366 | -4.5242e-14 | -9.8568
232.942 | 3.1688e-14 | -9.8877
232.563 | 9.66e-15 | -9.9126
232.202 | 3.459e-14 | -9.9345
231.744 | 1.1926e-14 | -9.97
231.428 | 4.035e-14 | -9.9847
230.937 | 3.2442e-14 | -10.0248
230.572 | 1.939e-14 | -10.0464
230.118 | -1.2296e-14 | -10.0807
229.719 | -7.6437e-14 | -10.107
229.235 | 3.0888e-14 | -10.1453
228.789 | 1.4173e-14 | -10.1782
228.344 | 3.4158e-14 | -10.2104
227.843 | 1.445e-14 | -10.2509
227.477 | -7.768e-15 | -10.2714
226.931 | -2.0939e-14 | -10.3171
226.541 | -8.424e-15 | -10.3411
225.977 | -2.6744e-14 | -10.3895
225.595 | -1.8064e-14 | -10.4118
225.063 | 2.5402e-14 | -10.4552
224.669 | 2.0526e-14 | -10.4787
224.14 | 2.882e-14 | -10.5212
223.713 | 7.57e-16 | -10.549
223.227 | -8.45e-15 | -10.5845
222.764 | -5.204e-15 | -10.6174
222.352 | -2.0376e-14 | -10.6428
221.874 | 1.2087e-14 | -10.6773
221.458 | 1.5506e-14 | -10.7032
220.911 | 5.015e-15 | -10.7465
220.567 | -1.268e-15 | -10.7619
220.085 | 3.45e-16 | -10.796
219.685 | -3.4779e-14 | -10.818
219.285 | -5.6303e-14 | -10.841
218.785 | -3.1685e-14 | -10.8763
218.428 | -3.061e-15 | -10.8932
217.889 | -2.6562e-14 | -10.9339
217.551 | -4.9269e-14 | -10.9476
216.988 | -8.133e-15 | -10.9907
216.606 | -1.7973e-14 | -11.0103
216.106 | -1.7192e-14 | -11.0448
215.675 | -3.4055e-14 | -11.0707
215.204 | -6.403e-15 | -11.1017
214.74 | 5.28e-15 | -11.1306
214.39 | -4.631e-15 | -11.1454
213.842 | -4.3664e-14 | -11.1851
213.477 | -2.0831e-14 | -11.2016
212.944 | 2.9206e-14 | -11.2398
212.526 | 6.712e-15 | -11.2623
212.077 | 7.4431e-14 | -11.2882
211.582 | 3.621e-14 | -11.3208
211.187 | 1.3536e-14 | -11.341
210.654 | 3.5297e-14 | -11.378
210.284 | 1.2672e-14 | -11.3938
209.71 | -6.765e-15 | -11.4355
209.336 | 2.9276e-14 | -11.4509
208.808 | 2.3807e-14 | -11.4864
208.385 | -1.7987e-14 | -11.5087
207.916 | -3.0396e-14 | -11.5363
207.437 | -3.705e-14 | -11.5652
207.106 | -2.7901e-14 | -11.5759
206.53 | -1.4831e-14 | -11.6148
206.183 | 3.024e-15 | -11.6273
205.673 | -2.5367e-14 | -11.6595
205.292 | 2.942e-15 | -11.6741
204.833 | 2.3863e-14 | -11.6998
204.381 | -2.0442e-14 | -11.7246
204.002 | -2.7579e-14 | -11.7402
203.527 | -3.3123e-14 | -11.7667
203.159 | -2.1621e-14 | -11.7802
202.583 | -5.6877e-14 | -11.8195
202.263 | -1.5435e-14 | -11.8276
201.738 | -4.976e-15 | -11.8605
201.366 | -2.0761e-14 | -11.8747
200.928 | 1.4651e-14 | -11.8967
200.471 | -7.58e-15 | -11.9208
200.097 | -5.879e-14 | -11.935
199.585 | -9.5055e-14 | -11.9652
199.273 | -6.3327e-14 | -11.9719
198.729 | 9.013e-15 | -12.005
198.396 | -7.2085e-14 | -12.014
197.943 | -4.2403e-14 | -12.0371
197.632 | -1.3003e-14 | -12.0435
197.126 | -9.1754e-14 | -12.0728
196.76 | -1.0829e-13 | -12.0855
196.315 | -8.8995e-14 | -12.1069
195.927 | -5.0369e-14 | -12.1222
195.547 | -4.5224e-14 | -12.1361
195.138 | -8.1875e-14 | -12.1531
194.736 | -6.6056e-14 | -12.1693
194.306 | -5.4587e-14 | -12.1889
193.973 | -2.3368e-14 | -12.1965
193.519 | -5.5967e-14 | -12.2186
193.246 | -5.711e-14 | -12.2201
192.771 | -3.7822e-14 | -12.2445
192.537 | -6.6269e-14 | -12.2414
192.064 | -1.6922e-14 | -12.2654
191.842 | 9.57e-15 | -12.261
191.397 | -5.2046e-14 | -12.2818
191.158 | -4.724e-14 | -12.279
190.73 | -3.684e-15 | -12.2972
190.497 | -7.6677e-14 | -12.2935
190.079 | -5.7947e-14 | -12.3101
189.876 | -2.1446e-14 | -12.3034
189.437 | 1.7417e-14 | -12.3227
189.256 | -7.364e-15 | -12.3135
188.851 | -6.7691e-14 | -12.3286
188.659 | -3.1932e-14 | -12.3202
188.274 | -3.697e-14 | -12.3332
188.12 | -8.652e-14 | -12.3207
187.776 | -1.0513e-13 | -12.3295
187.618 | -4.3581e-14 | -12.3176
187.229 | 9.32e-15 | -12.3313
187.079 | -1.2521e-14 | -12.3192
186.761 | -5.4966e-14 | -12.324
186.601 | -3.6505e-14 | -12.3127
186.273 | -5.4813e-14 | -12.3192
186.073 | -2.3407e-14 | -12.3122
185.855 | -1.4214e-14 | -12.3073
185.602 | -3.4909e-14 | -12.3054
185.455 | -7.2033e-14 | -12.293
185.16 | -6.8744e-14 | -12.2964
185.019 | -7.4215e-14 | -12.2831
184.683 | -5.8313e-14 | -12.291
184.645 | -1.5663e-14 | -12.2666
184.313 | -4.9417e-14 | -12.2735
184.267 | -1.0046e-13 | -12.2501
184.037 | -5.6728e-14 | -12.2464
183.929 | -1.1041e-13 | -12.2303
183.835 | -4.8145e-14 | -12.2118
183.637 | -3.7799e-14 | -12.2049
183.625 | -4.7216e-14 | -12.1789
183.344 | -1.0219e-13 | -12.1809
183.372 | -5.628e-14 | -12.1506
183.146 | -9.8161e-14 | -12.1463
183.105 | -7.0602e-14 | -12.1237
183.155 | -4.8983e-14 | -12.0917
182.954 | -2.9992e-14 | -12.0857
183.038 | -8.3688e-14 | -12.0497
182.777 | -8.7887e-14 | -12.0499
182.726 | -4.9126e-14 | -12.028
182.649 | -4.6923e-14 | -12.0086
182.512 | -7.6974e-14 | -11.9961
182.594 | -7.1485e-14 | -11.9616
182.307 | -5.2211e-14 | -11.9647
182.343 | -6.1797e-14 | -11.935
182.328 | -8.0436e-14 | -11.9106
182.276 | -6.047e-14 | -11.8901
182.413 | -8.3394e-14 | -11.8507
182.225 | -5.0329e-14 | -11.8437
182.311 | -1.0331e-13 | -11.8094
182.283 | -6.9302e-14 | -11.7867
182.172 | -8.3335e-14 | -11.7725
182.283 | -9.2333e-14 | -11.7361
182.058 | -1.001e-13 | -11.7312
182.134 | -6.082e-14 | -11.6988
182.01 | -3.2018e-07 | -11.6622
182.124 | -0.00041351 | -11.6253
182.048 | -0.00045249 | -11.6081
182.104 | -0.00043291 | -11.5775
182.241 | -0.00044795 | -11.5395
182.32 | -0.00042244 | -11.5075
182.417 | -0.00042454 | -11.4737
182.568 | -0.00042661 | -11.4349
182.719 | -0.00042766 | -11.3962
182.878 | -0.00040011 | -11.3569
183.019 | -1.001e-09 | -11.3181
183.256 | -9.6054e-13 | -11.2504
183.063 | -5.2075e-13 | -11.2452
183.171 | -6.0343e-13 | -11.2117
183.126 | -6.1005e-13 | -11.1928
182.95 | -1.019e-07 | -11.1826
183.055 | -0.0003797 | -11.1484
182.809 | -0.00028081 | -11.1475
182.869 | -0.00031873 | -11.1182
182.781 | -0.00039525 | -11.1033
182.628 | -0.0010693 | -11.0951
182.734 | -0.0011236 | -11.0626
182.608 | -0.00089295 | -11.0518
182.696 | -0.0010418 | -11.0202
182.811 | -0.0011856 | -10.9873
182.73 | -0.0011552 | -10.9727
182.598 | -0.0011814 | -10.9627
182.668 | -0.001174 | -10.934
182.323 | -0.0011474 | -10.9432
182.313 | -0.0011319 | -10.9225
182.226 | -0.0011252 | -10.9082
181.899 | -0.0011074 | -10.9163
181.917 | -0.0011043 | -10.893
181.744 | -0.0010865 | -10.8873
181.514 | -0.0010835 | -10.8859
181.545 | -0.0010742 | -10.8615
181.322 | -0.0010761 | -10.8604
181.216 | -0.0010757 | -10.848
181.276 | -0.0010851 | -10.8208
181.23 | -0.0010917 | -10.8037
181.314 | -0.0011 | -10.7749
181.41 | -0.0011225 | -10.7449
181.507 | -0.0011493 | -10.7149
181.607 | -0.0011816 | -10.6845
181.708 | -0.0012113 | -10.6547
181.806 | -0.0012221 | -10.6254
181.904 | -0.0012233 | -10.5954
181.95 | -0.0012327 | -10.5708
182.047 | -0.001298 | -10.5412
182.113 | -0.0012466 | -10.5148
181.892 | -0.0012571 | -10.514
181.932 | -0.0012654 | -10.4901
181.948 | -0.0013043 | -10.4686
181.876 | -0.0012941 | -10.4539
181.959 | -0.0013142 | -10.4264
181.972 | -0.001303 | -10.4054
181.621 | -0.0013032 | -10.4167
181.42 | -0.0013273 | -10.4145
181.422 | -0.0013659 | -10.394
181.409 | -0.0013506 | -10.3754
181.414 | -0.0013276 | -10.3551
181.45 | -0.0013292 | -10.3322
181.492 | -0.0013395 | -10.309
181.541 | -0.0013579 | -10.2851
181.59 | -0.0013467 | -10.2615
181.641 | -0.0013796 | -10.2377
181.69 | -0.0013619 | -10.2144
181.687 | -0.001401 | -10.1954
181.709 | -0.0013991 | -10.1745
181.755 | -0.0014009 | -10.1516
181.699 | -0.0013999 | -10.1373
181.443 | -0.001388 | -10.1407
181.409 | -0.0013929 | -10.1248
181.434 | -0.0014238 | -10.1039
181.436 | -0.0014296 | -10.0847
181.365 | -0.0014299 | -10.0721
181.372 | -0.0014301 | -10.0529
181.389 | -0.0014302 | -10.0327
181.333 | -0.0014 | -10.0188
181.188 | -0.001456 | -10.0129
181.173 | -0.0010215 | -9.9957
181.16 | -0.00083265 | -9.9781
181.106 | -1.3712e-11 | -9.9476
181.098 | 5.8653e-13 | -9.9294
180.891 | -1.6407e-13 | -9.8502
180.602 | -1.4294e-13 | -9.7941
180.468 | -1.3205e-13 | -9.7876
180.29 | -9.7583e-13 | -9.7694
180.217 | -8.3224e-13 | -9.7579
179.649 | -7.6465e-12 | -9.7106
179.01 | -2.0642e-13 | -9.6851
178.827 | -2.1031e-13 | -9.6826
178.646 | -1.9345e-13 | -9.6801
178.494 | -1.664e-13 | -9.6751
178.337 | -1.6785e-13 | -9.6709
178.143 | -1.8899e-13 | -9.6697
177.882 | -1.905e-13 | -9.6736
177.653 | -1.9921e-13 | -9.6751
177.452 | -1.7749e-13 | -9.6741
177.267 | -1.9755e-13 | -9.672
177.027 | -1.9681e-13 | -9.6744
176.811 | -1.773e-13 | -9.674
176.625 | -1.8625e-13 | -9.6721
176.381 | -1.6757e-13 | -9.6746
176.083 | -1.6052e-13 | -9.6813
175.814 | -1.7135e-13 | -9.6859
175.606 | -1.588e-13 | -9.6856
175.406 | -1.4019e-13 | -9.6848
175.2 | -1.6986e-13 | -9.6842
174.988 | -1.9248e-13 | -9.6841
174.731 | -1.9811e-13 | -9.6877
174.436 | -1.5615e-13 | -9.6942
174.181 | -1.665e-13 | -9.6971
173.954 | -1.745e-13 | -9.6982
173.66 | -1.7616e-13 | -9.7045
173.295 | -1.7549e-13 | -9.7161
172.852 | -1.9424e-13 | -9.7336
172.524 | -1.814e-13 | -9.7423
172.206 | -1.929e-13 | -9.75
171.902 | -2.0329e-13 | -9.7569
171.671 | -1.9071e-13 | -9.7583
171.432 | -2.1007e-13 | -9.76
171.206 | -2.2259e-13 | -9.761
170.975 | -1.8529e-13 | -9.7623
170.737 | -2.0512e-13 | -9.764
170.477 | -2.1854e-13 | -9.7675
170.162 | -1.8233e-13 | -9.7751
169.861 | -2.2726e-13 | -9.7815
169.628 | -2.314e-13 | -9.7828
169.395 | -2.6564e-13 | -9.7842
169.154 | -2.5524e-13 | -9.7864
168.874 | -2.4391e-13 | -9.7911
168.512 | -2.8113e-13 | -9.802
168.111 | -3.0795e-13 | -9.816
167.719 | -3.2814e-13 | -9.8291
167.391 | -3.1594e-13 | -9.8376
167.024 | -2.8796e-13 | -9.8487
166.633 | -2.9874e-13 | -9.8619
166.315 | -3.2972e-13 | -9.8694
166.02 | -3.6024e-13 | -9.8752
165.728 | -3.4521e-13 | -9.8808
165.365 | -3.5287e-13 | -9.8913
165.01 | -3.5121e-13 | -9.9014
164.702 | -3.6768e-13 | -9.9079
164.365 | -3.6812e-13 | -9.9167
164.073 | -3.8461e-13 | -9.9222
163.767 | -3.6896e-13 | -9.9285
163.445 | -3.7261e-13 | -9.9361
163.133 | -3.832e-13 | -9.9427
162.825 | -4.1712e-13 | -9.9492
162.45 | -3.6672e-13 | -9.9606
162.002 | -3.5239e-13 | -9.9767
161.6 | -3.1046e-13 | -9.9897
161.221 | -3.099e-13 | -10.0014
160.888 | -3.4522e-13 | -10.0093
160.603 | -3.5543e-13 | -10.0141
160.331 | -3.3861e-13 | -10.0176
160.06 | -3.1782e-13 | -10.0213
159.758 | -3.4e-13 | -10.0274
159.363 | -3.2806e-13 | -10.0399
158.883 | -3.0699e-13 | -10.0584
158.421 | -3.0179e-13 | -10.0756
158.024 | -3.6027e-13 | -10.0879
157.652 | -4.3503e-13 | -10.0985
157.297 | -4.2605e-13 | -10.1078
156.948 | -3.8449e-13 | -10.117
156.557 | -3.3226e-13 | -10.1286
156.116 | -3.2511e-13 | -10.144
155.641 | -3.3383e-13 | -10.1615
155.256 | -2.9607e-13 | -10.1727
154.874 | -3.8157e-13 | -10.1838
154.474 | -3.7233e-13 | -10.1961
154.126 | -3.7866e-13 | -10.205
153.704 | -3.9954e-13 | -10.2186
153.307 | -4.1508e-13 | -10.2307
152.949 | -4.1534e-13 | -10.24
152.649 | -4.0526e-13 | -10.245
152.348 | -5.5351e-13 | -10.2501
152.069 | -6.2999e-13 | -10.2539
151.761 | -6.0626e-13 | -10.2596
151.48 | -4.7957e-13 | -10.2632
151.201 | -4.6994e-13 | -10.2663
150.952 | -4.24e-13 | -10.2677
150.696 | -4.6506e-13 | -10.2697
150.466 | -4.5475e-13 | -10.2702
150.237 | -4.3594e-13 | -10.2703
150.004 | -4.5739e-13 | -10.2706
149.762 | -4.6835e-13 | -10.2719
149.465 | -4.3804e-13 | -10.2766
149.156 | -4.6571e-13 | -10.2821
148.783 | -4.6235e-13 | -10.2919
148.335 | -4.7941e-13 | -10.3066
147.871 | -5.0313e-13 | -10.3227
147.339 | -5.2009e-13 | -10.3432
146.773 | -5.0636e-13 | -10.3661
146.223 | -5.1571e-13 | -10.3879
145.773 | -5.5592e-13 | -10.4028
145.315 | -5.2869e-13 | -10.4181
144.92 | -4.8285e-13 | -10.4293
144.561 | -4.6484e-13 | -10.4375
144.264 | -4.4097e-13 | -10.4421
143.983 | -4.065e-13 | -10.4454
143.702 | -4.2659e-13 | -10.4485
143.457 | -4.6385e-13 | -10.4497
143.219 | -4.268e-13 | -10.4501
142.966 | -4.533e-13 | -10.4515
142.734 | -4.2089e-13 | -10.4515
142.498 | -4.1876e-13 | -10.4519
142.239 | -4.0678e-13 | -10.4537
141.851 | -4.1473e-13 | -10.464
141.488 | -4.2751e-13 | -10.4729
141.158 | -3.9353e-13 | -10.4792
140.774 | -3.7681e-13 | -10.4894
140.356 | -3.3026e-13 | -10.5015
139.968 | -3.3459e-13 | -10.5117
139.532 | -2.8666e-13 | -10.5253
139.055 | -3.0283e-13 | -10.5412
138.552 | -3.1438e-13 | -10.5586
138.04 | -3.33e-13 | -10.5769
137.488 | -3.4031e-13 | -10.5977
136.884 | -3.9573e-13 | -10.622
136.288 | -4.3335e-13 | -10.6448
135.776 | -3.7243e-13 | -10.6629
135.158 | -4.3111e-13 | -10.6876
134.556 | -4.8617e-13 | -10.7113
134 | -5.5745e-13 | -10.7321
133.528 | -5.7578e-13 | -10.747
133.097 | -4.8854e-13 | -10.7594
132.749 | -4.603e-13 | -10.7664
132.443 | -4.2843e-13 | -10.7709
132.167 | -4.2786e-13 | -10.7734
131.89 | -3.9353e-13 | -10.7759
131.621 | -3.7851e-13 | -10.7771
131.383 | -3.913e-13 | -10.7768
131.16 | -4.4656e-13 | -10.7758
130.924 | -4.3586e-13 | -10.7738
130.72 | -4.4001e-13 | -10.7714
130.533 | -4.3039e-13 | -10.7681
130.347 | -4.6194e-13 | -10.7647
130.143 | -4.5551e-13 | -10.7618
129.947 | -4.2726e-13 | -10.7591
129.773 | -3.8026e-13 | -10.7552
129.604 | -3.7139e-13 | -10.7509
129.441 | -3.6982e-13 | -10.7461
129.263 | -3.5716e-13 | -10.7419
129.091 | -3.4085e-13 | -10.7376
128.939 | -3.2216e-13 | -10.7321
128.784 | -3.1664e-13 | -10.7268
128.618 | -3.2285e-13 | -10.7221
128.472 | -3.3178e-13 | -10.7161
128.327 | -3.6511e-13 | -10.7103
128.193 | -3.9874e-13 | -10.7038
128.066 | -3.9876e-13 | -10.6969
127.928 | -3.6797e-13 | -10.6908
127.779 | -3.8564e-13 | -10.6848
127.574 | -3.3986e-13 | -10.6827
127.39 | -3.2823e-13 | -10.6794
127.175 | -3.2913e-13 | -10.6778
126.729 | -3.3757e-13 | -10.6907
126.126 | -2.7371e-13 | -10.7128
125.54 | -2.8357e-13 | -10.7342
124.938 | -2.7003e-13 | -10.7562
124.351 | -2.9222e-13 | -10.7774
123.796 | -3.212e-13 | -10.7966
123.256 | -3.3588e-13 | -10.8144
122.762 | -3.3245e-13 | -10.8297
122.233 | -3.8419e-13 | -10.8474
121.722 | -3.2889e-13 | -10.8641
121.25 | -3.0122e-13 | -10.8781
120.786 | -2.7698e-13 | -10.8915
120.246 | -3.1532e-13 | -10.9092
119.758 | -2.7826e-13 | -10.9237
119.258 | -2.8952e-13 | -10.9393
118.863 | -2.7401e-13 | -10.9483
118.507 | -2.9268e-13 | -10.9548
118.084 | -3.2171e-13 | -10.9655
117.486 | -3.5749e-13 | -10.9867
116.852 | -3.1707e-13 | -11.0101
116.311 | -3.4511e-13 | -11.0277
115.851 | -3.7075e-13 | -11.0406
115.522 | -4.098e-13 | -11.0453
115.144 | -4.0271e-13 | -11.0525
114.65 | -4.383e-13 | -11.0672
113.993 | -6.4252e-13 | -11.0918
113.152 | -6.7905e-13 | -11.1267
112.372 | -6.2741e-13 | -11.1581
111.689 | -5.385e-13 | -11.1838
111.167 | -5.0536e-13 | -11.2
110.596 | -5.7768e-13 | -11.2188
109.953 | -5.5761e-13 | -11.2418
109.076 | -4.7884e-13 | -11.2787
108.131 | -4.2218e-13 | -11.3196
107.327 | -4.0918e-13 | -11.352
106.765 | -4.4797e-13 | -11.3703
106.228 | -5.0227e-13 | -11.3868
105.411 | -4.9805e-13 | -11.4195
104.437 | -4.2778e-13 | -11.4615
103.672 | -3.761e-13 | -11.4913
103.053 | -3.7583e-13 | -11.5122
102.474 | -3.8695e-13 | -11.531
101.756 | -3.8809e-13 | -11.5577
100.879 | -3.879e-13 | -11.5937
99.8632 | -3.8881e-13 | -11.6377
98.5133 | -3.9712e-13 | -11.7008
96.8905 | -3.9735e-13 | -11.7787
95.3155 | -4.0181e-13 | -11.8545
93.8903 | -3.9667e-13 | -11.921
92.1059 | -4.3008e-13 | -12.0081
90.6151 | -4.2187e-13 | -12.0785
90.0137 | -4.0715e-13 | -12.0972
89.5356 | -3.9406e-13 | -12.109
89.2422 | -3.8329e-13 | -12.1101
89.2237 | -3.8273e-13 | -12.0956
89.2102 | -3.6222e-13 | -12.0804
89.1813 | -3.4073e-13 | -12.0665
88.9568 | -3.6832e-13 | -12.0633
88.6015 | -3.3426e-13 | -12.0681
88.5918 | -3.0146e-13 | -12.0531
88.5618 | -2.9566e-13 | -12.0394
88.5757 | -3.0143e-13 | -12.0234
88.2596 | -2.8732e-13 | -12.0259
87.3387 | -2.8069e-13 | -12.0628
86.6739 | -2.7396e-13 | -12.0851
84.3303 | -2.4914e-13 | -12.202
83.6446 | -2.8226e-13 | -12.2252
82.9956 | -2.6261e-13 | -12.2463
82.3794 | -2.7577e-13 | -12.265
82.0298 | -2.8044e-13 | -12.2692
81.8826 | -3.231e-13 | -12.2619
81.8888 | -2.7702e-13 | -12.246
81.9678 | -2.3371e-13 | -12.226
82.0825 | -2.5006e-13 | -12.2041
82.2484 | -2.8218e-13 | -12.1794
82.4175 | -2.6729e-13 | -12.1547
82.6002 | -2.7962e-13 | -12.1294
82.806 | -2.6631e-13 | -12.1027
82.9834 | -2.4975e-13 | -12.0772
83.2 | -2.4584e-13 | -12.0499
83.4082 | -2.2884e-13 | -12.0233
83.5369 | -2.543e-13 | -12.0007
83.738 | -2.7286e-13 | -11.9747
83.9414 | -2.6082e-13 | -11.9486
84.0266 | -2.5224e-13 | -11.9292
84.2085 | -2.4705e-13 | -11.9043
84.3884 | -2.5156e-13 | -11.8796
84.5632 | -2.8272e-13 | -11.8549
84.724 | -2.8386e-13 | -11.8312
84.8932 | -2.8312e-13 | -11.8072
84.988 | -2.8302e-13 | -11.7871
85.1747 | -3.3273e-13 | -11.7616
85.3118 | -3.4801e-13 | -11.7396
85.4514 | -3.3321e-13 | -11.7175
85.5944 | -3.3107e-13 | -11.6952
85.7026 | -3.3957e-13 | -11.6752
85.8359 | -2.8486e-13 | -11.653
85.9581 | -2.9836e-13 | -11.6323
86.0968 | -3.256e-13 | -11.6104
86.2278 | -3.3343e-13 | -11.5892
86.3682 | -3.1182e-13 | -11.5675
86.5122 | -3.3636e-13 | -11.5451
86.6546 | -3.3564e-13 | -11.5235
86.8068 | -3.3313e-13 | -11.5013
86.9581 | -3.4635e-13 | -11.4789
87.0972 | -3.4223e-13 | -11.4576
87.2576 | -3.4473e-13 | -11.4349
87.406 | -3.2948e-13 | -11.4131
87.5655 | -3.0768e-13 | -11.3908
87.729 | -3.4317e-13 | -11.368
87.8876 | -3.3821e-13 | -11.3456
88.0553 | -3.0482e-13 | -11.3227
88.2264 | -3.07e-13 | -11.3
88.3868 | -2.9226e-13 | -11.2779
88.5601 | -2.79e-13 | -11.255
88.7366 | -2.9359e-13 | -11.2319
88.915 | -2.7377e-13 | -11.2085
88.9748 | -2.7327e-13 | -11.1919
88.4908 | -2.9152e-13 | -11.2038
88.0576 | -2.9279e-13 | -11.2132
85.4605 | -2.813e-13 | -11.3369
83.5242 | -2.6217e-13 | -11.4256
82.5937 | -2.6383e-13 | -11.461
81.8935 | -2.1814e-13 | -11.4841
81.5242 | -2.0876e-13 | -11.4897
81.3338 | -2.0867e-13 | -11.486
81.1853 | -2.3065e-13 | -11.4801
80.9882 | -2.5129e-13 | -11.4769
80.8206 | -1.3113e-12 | -11.4602
80.7178 | -3.7581e-13 | -11.4061
80.7145 | -2.7383e-13 | -11.393
80.7632 | -1.4681e-13 | -11.3768
80.7967 | -2.764e-13 | -11.3618
80.8125 | -3.9977e-13 | -11.3473
80.8059 | -3.5395e-13 | -11.3345
80.8015 | -4.5015e-13 | -11.3213

## Pulse
Temperature | Current | Time
80.7849 | 4.8871e-13 | 6.2715
80.7512 | 4.1929e-13 | 12.2515
80.4944 | 3.433e-13 | 13.6419
80.445 | 3.0542e-13 | 15.0137
80.4034 | 2.9266e-13 | 16.4031
80.3837 | 2.3771e-13 | 17.7837
80.3604 | 2.0127e-13 | 19.1519
80.3652 | 2.0424e-13 | 20.5169
80.4058 | 1.863e-13 | 21.9337
80.4953 | 1.9379e-13 | 23.3103
80.6163 | 1.4332e-13 | 24.7229
80.7478 | 1.6537e-13 | 26.1188
80.8858 | 1.5273e-13 | 27.5064
81.0401 | 1.0508e-13 | 28.8919

## Measurements
Temperature | Current | Temp Rate
81.2961 | -1.3908e-12 | 0
82.7047 | -1.305e-12 | 29.1889
83.7042 | -6.6461e-13 | 16.3782
84.0153 | -7.8614e-13 | 10.7358
85.6368 | -5.1288e-13 | 13.5691
86.6381 | -4.4815e-13 | 13.428
86.9178 | -4.1261e-13 | 13.4836
87.2046 | -4.0568e-13 | 13.5278
87.4945 | -4.2359e-13 | 13.5786
87.8741 | -4.9195e-13 | 13.628
88.183 | -4.9348e-13 | 15.168
88.4218 | -5.0744e-13 | 27.0304
88.741 | -4.7265e-13 | 62.496
89.0435 | -5.3846e-13 | 141.8891
89.3204 | -4.8493e-13 | 226.763
89.6577 | -5.0249e-13 | 12.1004
89.9136 | -4.816e-13 | 12.2035
90.2574 | -4.7532e-13 | 12.3366
90.5469 | -4.4227e-13 | 608.0578
90.8096 | -4.2551e-13 | 12.532
91.1594 | -3.8433e-13 | 12.6628
91.4243 | -3.5556e-13 | 12.7547
91.7755 | -3.7303e-13 | 12.8784
92.0411 | -3.9292e-13 | 12.9675
92.3642 | -3.6831e-13 | 13.0762
92.6563 | -3.737e-13 | 13.1461
92.9218 | -3.4394e-13 | 13.2192
93.1836 | -3.6837e-13 | 13.3201
93.5314 | -3.4634e-13 | 13.3822
93.7859 | -3.5421e-13 | 13.4669
94.1267 | -3.4498e-13 | 13.5175
94.4653 | -3.4034e-13 | 13.5932
94.7166 | -3.5696e-13 | 13.6415
95.0511 | -3.6596e-13 | 13.7029
95.3848 | -3.5723e-13 | 13.765
95.6341 | -3.5662e-13 | 13.7944
95.9647 | -3.3382e-13 | 13.8669
96.2123 | -3.2136e-13 | 13.9066
96.54 | -3.2637e-13 | 13.9454
96.8121 | -2.7922e-13 | 13.9701
97.11 | -2.8712e-13 | 14.0196
97.4368 | -3.1939e-13 | 14.0666
97.6827 | -3.0734e-13 | 14.0961
98.0027 | -3.209e-13 | 14.1284
98.3176 | -3.0834e-13 | 14.1373
98.6333 | -2.8116e-13 | 14.1669
98.9448 | -3.1262e-13 | 14.1925
99.2296 | -2.8307e-13 | 14.2184
99.5623 | -3.0359e-13 | 14.2345
99.8482 | -3.0462e-13 | 14.2565
100.155 | -3.2895e-13 | 14.2793
100.385 | -3.2861e-13 | 14.284
100.687 | -3.4742e-13 | 14.2988
101.01 | -3.3791e-13 | 14.3008
101.308 | -3.4159e-13 | 14.3056
101.605 | -3.2755e-13 | 14.3122
101.93 | -3.5646e-13 | 14.3287
102.23 | -3.162e-13 | 14.3315
102.526 | -3.357e-13 | 14.3534
102.824 | -3.3618e-13 | 14.3565
103.124 | -3.8627e-13 | 14.3686
103.419 | -3.9186e-13 | 14.3672
103.717 | -4.3455e-13 | 14.3662
104.017 | -4.5761e-13 | 14.3838
104.318 | -4.45e-13 | 14.3943
104.62 | -4.3584e-13 | 14.4044
104.921 | -3.9872e-13 | 14.4093
105.223 | -3.7841e-13 | 14.4188
105.523 | -3.9271e-13 | 14.4267
105.823 | -3.994e-13 | 14.4344
106.125 | -3.7436e-13 | 14.4321
106.429 | -3.6877e-13 | 14.449
106.729 | -3.5872e-13 | 14.4565
107.032 | -3.5456e-13 | 14.4653
107.331 | -3.8096e-13 | 14.4693
107.632 | -3.6808e-13 | 14.477
107.931 | -3.6508e-13 | 14.4768
108.253 | -3.2797e-13 | 14.4776
108.556 | -3.4202e-13 | 14.4821
108.855 | -3.1746e-13 | 14.4946
109.152 | -3.1516e-13 | 14.502
109.446 | -3.163e-13 | 14.5049
109.742 | -3.6794e-13 | 14.5049
110.036 | -3.8078e-13 | 14.5095
110.33 | -4.3044e-13 | 14.5114
110.627 | -4.1368e-13 | 14.5153
110.925 | -4.2171e-13 | 14.5126
111.249 | -4.3211e-13 | 14.5165
111.525 | -4.1844e-13 | 14.5242
111.85 | -3.9135e-13 | 14.5269
112.125 | -3.6264e-13 | 14.5334
112.426 | -3.648e-13 | 14.5384
112.724 | -4.0029e-13 | 14.542
113.03 | -3.5948e-13 | 14.5478
113.329 | -3.4826e-13 | 14.5538
113.632 | -3.3971e-13 | 14.5559
113.933 | -3.3021e-13 | 14.5627
114.234 | -3.4346e-13 | 14.5677
114.537 | -3.6141e-13 | 14.5735
114.837 | -3.597e-13 | 14.5764
115.141 | -3.6327e-13 | 14.5829
115.44 | -3.511e-13 | 14.5861
115.741 | -3.7834e-13 | 14.5859
116.069 | -3.9264e-13 | 14.5891
116.296 | -3.6701e-13 | 14.5935
116.621 | -3.4602e-13 | 14.598
116.924 | -3.3918e-13 | 14.6002
117.222 | -3.6011e-13 | 14.607
117.528 | -3.8028e-13 | 14.6126
117.83 | -3.6636e-13 | 14.6151
118.128 | -3.9275e-13 | 14.6188
118.42 | -3.6035e-13 | 14.6162
118.74 | -4.081e-13 | 14.6173
118.989 | -4.0507e-13 | 14.623
119.287 | -3.8363e-13 | 14.6257
119.585 | -3.6659e-13 | 14.624
119.907 | -3.673e-13 | 14.6228
120.208 | -3.7015e-13 | 14.6246
120.507 | -3.5983e-13 | 14.6309
120.807 | -3.7859e-13 | 14.6346
121.133 | -4.0229e-13 | 14.6351
121.434 | -4.2496e-13 | 14.6372
121.735 | -4.1142e-13 | 14.6349
122.037 | -3.8838e-13 | 14.647
122.286 | -3.3948e-13 | 14.649
122.589 | -3.2871e-13 | 14.6529
122.915 | -3.4831e-13 | 14.6546
123.219 | -3.504e-13 | 14.6559
123.517 | -3.1915e-13 | 14.6595
123.896 | -3.0232e-13 | 14.6685
124.149 | -2.7755e-13 | 14.6632
124.45 | -2.5884e-13 | 14.671
124.751 | -2.4581e-13 | 14.6727
125.079 | -2.7781e-13 | 14.675
125.307 | -2.6961e-13 | 14.6705
125.632 | -2.6375e-13 | 14.6827
125.936 | -2.4086e-13 | 14.6846
126.265 | -2.5025e-13 | 14.6876
126.49 | -2.5383e-13 | 14.6888
126.792 | -2.7708e-13 | 14.6921
127.09 | -2.6845e-13 | 14.6948
127.391 | -2.9171e-13 | 14.6962
127.692 | -2.9474e-13 | 14.699
128.014 | -3.1955e-13 | 14.6969
128.311 | -2.9817e-13 | 14.7005
128.634 | -2.9442e-13 | 14.7005
128.906 | -3.0123e-13 | 14.7032
129.23 | -2.8829e-13 | 14.7013
129.531 | -2.9851e-13 | 14.706
129.854 | -2.7334e-13 | 14.705
130.102 | -2.5941e-13 | 14.7089
130.41 | -2.5751e-13 | 14.7124
130.737 | -2.7171e-13 | 14.7132
131.036 | -2.9286e-13 | 14.7129
131.339 | -2.8348e-13 | 14.721
131.639 | -2.9138e-13 | 14.7229
131.965 | -2.3159e-13 | 14.7221
132.239 | -2.3498e-13 | 14.7234
132.493 | -2.4161e-13 | 14.7273
132.794 | -2.9616e-13 | 14.7297
133.096 | -2.8951e-13 | 14.7323
133.397 | -2.7149e-13 | 14.7322
133.695 | -2.8799e-13 | 14.7344
134.028 | -2.8665e-13 | 14.7336
134.327 | -2.9886e-13 | 14.7346
134.624 | -3.1628e-13 | 14.7395
134.947 | -3.1539e-13 | 14.737
135.246 | -2.9501e-13 | 14.7384
135.553 | -2.9823e-13 | 14.7463
135.785 | -2.9403e-13 | 14.7479
136.109 | -3.0367e-13 | 14.7461
136.407 | -2.8165e-13 | 14.7496
136.709 | -2.6995e-13 | 14.7515
137.041 | -2.6418e-13 | 14.7528
137.341 | -2.7624e-13 | 14.7541
137.635 | -2.5772e-13 | 14.753
137.937 | -2.6377e-13 | 14.7595
138.232 | -2.6574e-13 | 14.7581
138.554 | -2.8796e-13 | 14.7565
138.853 | -2.9058e-13 | 14.7555
139.152 | -2.936e-13 | 14.7554
139.449 | -2.6564e-13 | 14.7611
139.743 | -2.6067e-13 | 14.7607
140.039 | -2.6209e-13 | 14.7592
140.368 | -2.6903e-13 | 14.7605
140.595 | -2.8083e-13 | 14.762
140.917 | -2.7945e-13 | 14.7617
141.216 | -2.869e-13 | 14.7665
141.545 | -2.9281e-13 | 14.7665
141.867 | -3.1161e-13 | 14.7617
142.092 | -3.0492e-13 | 14.7682
142.424 | -3.3264e-13 | 14.7701
142.724 | -3.126e-13 | 14.7741
143.021 | -3.0937e-13 | 14.7739
143.351 | -3.0593e-13 | 14.7741
143.651 | -3.2201e-13 | 14.7739
143.95 | -3.3841e-13 | 14.7792
144.201 | -3.3029e-13 | 14.7785
144.529 | -3.541e-13 | 14.7784
144.827 | -3.3917e-13 | 14.778
145.131 | -3.5916e-13 | 14.7771
145.434 | -3.436e-13 | 14.785
145.757 | -3.443e-13 | 14.7835
146.057 | -3.4383e-13 | 14.7829
146.31 | -3.5494e-13 | 14.7863
146.61 | -3.526e-13 | 14.7861
146.915 | -3.4572e-13 | 14.7845
147.238 | -3.3427e-13 | 14.7895
147.537 | -3.2786e-13 | 14.7895
147.835 | -3.5266e-13 | 14.7938
148.132 | -3.8856e-13 | 14.7936
148.425 | -4.0947e-13 | 14.7919
148.744 | -3.7463e-13 | 14.79
149.04 | -3.3282e-13 | 14.7901
149.335 | -3.5924e-13 | 14.7889
149.633 | -3.7911e-13 | 14.7921
149.931 | -3.7253e-13 | 14.7922
150.182 | -3.6992e-13 | 14.7915
150.579 | -3.6798e-13 | 14.791
150.83 | -3.4396e-13 | 14.7939
151.131 | -3.1719e-13 | 14.7944
151.432 | -3.34e-13 | 14.7938
151.735 | -3.2852e-13 | 14.8
152.035 | -3.0335e-13 | 14.7996
152.363 | -2.9447e-13 | 14.7985
152.589 | -3.2466e-13 | 14.8004
152.916 | -3.3208e-13 | 14.8005
153.218 | -3.516e-13 | 14.8056
153.525 | -3.6998e-13 | 14.8057
153.852 | -3.5778e-13 | 14.8064
154.158 | -3.5831e-13 | 14.8098
154.384 | -3.4664e-13 | 14.8097
154.711 | -3.1779e-13 | 14.8085
155.015 | -3.3251e-13 | 14.8142
155.315 | -3.2105e-13 | 14.8144
155.62 | -3.461e-13 | 14.815
155.923 | -3.2196e-13 | 14.8163
156.249 | -3.2209e-13 | 14.8159
156.55 | -3.3059e-13 | 14.8199
156.851 | -3.2768e-13 | 14.8195
157.152 | -3.2335e-13 | 14.8205
157.479 | -3.6112e-13 | 14.82
157.704 | -3.4497e-13 | 14.821
158.028 | -3.6489e-13 | 14.8207
158.326 | -3.601e-13 | 14.8241
158.651 | -4.1723e-13 | 14.8187
158.902 | -4.7297e-13 | 14.8237
159.227 | -5.4604e-13 | 14.8249
159.482 | -5.3747e-13 | 14.8276
159.849 | -4.6366e-13 | 14.8266
160.145 | -4.4671e-13 | 14.8254
160.394 | -4.4636e-13 | 14.8272
160.716 | -4.2726e-13 | 14.8281
161.014 | -4.9497e-13 | 14.827
161.337 | -5.233e-13 | 14.8285
161.637 | -4.7206e-13 | 14.8279
161.961 | -4.3757e-13 | 14.827
162.261 | -4.4539e-13 | 14.8276
162.487 | -4.6329e-13 | 14.829
162.812 | -4.91e-13 | 14.8284
163.113 | -5.0192e-13 | 14.8325
163.414 | -4.8055e-13 | 14.8326
163.714 | -4.5084e-13 | 14.832
164.038 | -4.7297e-13 | 14.8304
164.367 | -4.3491e-13 | 14.833
164.642 | -4.6216e-13 | 14.8284
164.917 | -4.1009e-13 | 14.8315
165.243 | -3.968e-13 | 14.8337
165.543 | -3.879e-13 | 14.8378
165.844 | -4.0913e-13 | 14.8373
166.094 | -4.4723e-13 | 14.8375
166.419 | -5.0382e-13 | 14.8399
166.747 | -5.3088e-13 | 14.8405
167.048 | -5.4655e-13 | 14.841
167.349 | -6.3805e-13 | 14.8411
167.598 | -6.6085e-13 | 14.8426
167.9 | -6.8511e-13 | 14.8425
168.201 | -7.0408e-13 | 14.8423
168.528 | -6.9636e-13 | 14.8411
168.826 | -6.811e-13 | 14.8451
169.128 | -6.4398e-13 | 14.8448
169.455 | -6.1139e-13 | 14.8443
169.754 | -5.531e-13 | 14.8471
170.056 | -4.7647e-13 | 14.8463
170.38 | -4.8067e-13 | 14.8461
170.607 | -4.5576e-13 | 14.8473
170.932 | -4.0364e-13 | 14.8469
171.232 | -3.4298e-13 | 14.8504
171.556 | -3.1962e-13 | 14.8476
171.852 | -3.217e-13 | 14.8492
172.1 | -3.116e-13 | 14.85
172.419 | -2.9244e-13 | 14.8483
172.717 | -3.3031e-13 | 14.8493
173.041 | -3.186e-13 | 14.8483
173.341 | -3.2505e-13 | 14.8476
173.639 | -3.5072e-13 | 14.8498
173.964 | -3.4611e-13 | 14.8488
174.189 | -3.5943e-13 | 14.8506
174.514 | -3.4076e-13 | 14.8493
174.815 | -3.5227e-13 | 14.8516
175.139 | -3.5634e-13 | 14.8479
175.465 | -3.5102e-13 | 14.8523
175.691 | -3.5157e-13 | 14.854
175.991 | -3.4977e-13 | 14.8545
176.318 | -4.1046e-13 | 14.8519
176.621 | -4.6421e-13 | 14.8552
176.946 | -4.9648e-13 | 14.8551
177.197 | -4.9288e-13 | 14.8572
177.524 | -4.8695e-13 | 14.8567
177.823 | -5.6122e-13 | 14.8569
178.125 | -5.3581e-13 | 14.8598
178.427 | -5.8079e-13 | 14.8601
178.753 | -6.062e-13 | 14.8577
179.054 | -6.2094e-13 | 14.8609
179.354 | -6.2785e-13 | 14.861
179.681 | -5.3967e-13 | 14.8606
179.907 | -4.9004e-13 | 14.8629
180.207 | -4.453e-13 | 14.8621
180.534 | -4.8608e-13 | 14.8615
180.834 | -5.5761e-13 | 14.8646
181.159 | -5.5054e-13 | 14.8627
181.385 | -5.6168e-13 | 14.8646
181.711 | -5.7588e-13 | 14.863
182.011 | -5.6348e-13 | 14.8662
182.312 | -5.3381e-13 | 14.8653
182.638 | -5.2821e-13 | 14.8649
182.939 | -5.5487e-13 | 14.8675
183.263 | -5.4883e-13 | 14.866
183.49 | -5.698e-13 | 14.869
183.789 | -5.9446e-13 | 14.8683
184.116 | -5.8631e-13 | 14.8677
184.416 | -5.5776e-13 | 14.8703
184.738 | -5.58e-13 | 14.8688
184.986 | -5.5424e-13 | 14.8694
185.308 | -5.262e-13 | 14.8699
185.605 | -5.9446e-13 | 14.8696
185.902 | -6.1906e-13 | 14.8693
186.225 | -6.1946e-13 | 14.8678
186.524 | -6.1273e-13 | 14.8698
186.848 | -6.0783e-13 | 14.869
187.15 | -6.0753e-13 | 14.8684
187.475 | -6.7353e-13 | 14.8687
187.699 | -6.6474e-13 | 14.871
188.024 | -6.446e-13 | 14.8708
188.351 | -6.3192e-13 | 14.8712
188.649 | -6.0879e-13 | 14.8731
188.953 | -5.6806e-13 | 14.8733
189.201 | -5.7796e-13 | 14.874
189.524 | -6.0619e-13 | 14.8726
189.828 | -6.2367e-13 | 14.8729
190.128 | -6.4785e-13 | 14.8725
190.429 | -6.1158e-13 | 14.8754
190.756 | -6.2932e-13 | 14.8746
191.056 | -6.4761e-13 | 14.875
191.283 | -6.5667e-13 | 14.8757
191.609 | -6.8726e-13 | 14.8749
191.911 | -7.1769e-13 | 14.8769
192.235 | -7.0563e-13 | 14.8771
192.511 | -7.4977e-13 | 14.8772
192.812 | -7.4778e-13 | 14.8793
193.136 | -7.5005e-13 | 14.8779
193.438 | -7.5929e-13 | 14.8802
193.764 | -7.256e-13 | 14.8783
194.014 | -7.3671e-13 | 14.8793
194.315 | -7.6809e-13 | 14.8786
194.616 | -7.973e-13 | 14.8809
194.942 | -8.5162e-13 | 14.8818
195.244 | -8.5438e-13 | 14.8814
195.493 | -8.4806e-13 | 14.8832
195.82 | -8.4942e-13 | 14.8806
196.119 | -8.8097e-13 | 14.8823
196.444 | -8.5481e-13 | 14.8838
196.694 | -8.2573e-13 | 14.8841
197.022 | -8.6653e-13 | 14.882
197.32 | -8.5211e-13 | 14.8842
197.647 | -8.48e-13 | 14.883
197.973 | -8.9051e-13 | 14.8835
198.198 | -9.0054e-13 | 14.885
198.524 | -9.4138e-13 | 14.8868
198.844 | -1.0315e-12 | 14.8848
199.142 | -1.0732e-12 | 14.886
199.387 | -1.0925e-12 | 14.8858
199.686 | -1.0548e-12 | 14.885
200.008 | -1.1088e-12 | 14.8836
200.306 | -1.1561e-12 | 14.8853
200.632 | -2.8845e-12 | 14.8467
201.105 | -2.7406e-12 | 14.8865
201.28 | -2.9683e-12 | 14.8846
201.505 | -3.168e-12 | 14.8866
201.806 | -1.5834e-12 | 14.8862
202.132 | -1.7643e-12 | 14.8852
202.433 | -2.815e-12 | 14.8872
202.684 | -2.6227e-12 | 14.8882
202.982 | -2.6256e-12 | 14.8874
203.308 | -2.23e-12 | 14.889
203.633 | -2.4197e-12 | 14.8876
203.934 | -3.8567e-12 | 14.8895
204.236 | -4.1428e-12 | 14.8897
204.562 | -3.5034e-12 | 14.8879
204.785 | -1.9365e-12 | 14.8895
205.136 | -2.489e-12 | 14.8875
205.387 | -3.0004e-12 | 14.8914
205.712 | -5.9919e-12 | 14.8898
206.015 | -3.4046e-12 | 14.8917
206.339 | -4.1503e-12 | 14.8898
206.64 | -2.9804e-12 | 14.8915
206.89 | -3.596e-11 | 14.8909
207.216 | -3.2414e-12 | 14.891
207.542 | -7.4844e-12 | 14.8903
207.818 | -4.8167e-11 | 14.892
208.145 | -2.5446e-12 | 14.8899
208.421 | -2.5486e-12 | 14.8931
208.723 | -3.0156e-12 | 14.8953
209.023 | -1.9483e-12 | 14.8945
209.348 | -4.3898e-12 | 14.8937
209.65 | -0.00035675 | 14.8923
209.925 | -0.00040692 | 14.8953
210.248 | -8.8096e-14 | 14.7314
211.877 | -8.7799e-14 | 14.8976
212.852 | -5.6838e-14 | 14.8983
213.102 | -7.5354e-14 | 14.8992
213.422 | -6.7341e-14 | 14.8985
213.745 | -2.3739e-14 | 14.8961
214.069 | -4.5489e-14 | 14.8976
214.292 | -4.3571e-14 | 14.8971
214.64 | -5.9814e-14 | 14.8992
214.964 | -5.8654e-14 | 14.8964
215.238 | -5.1577e-14 | 14.8993
215.54 | -4.188e-14 | 14.8987
215.789 | -3.9884e-14 | 14.8981
216.115 | -4.5944e-14 | 14.899
216.466 | -3.6802e-14 | 14.8977
216.717 | -4.4217e-14 | 14.9002
217.042 | -5.671e-14 | 14.9008
217.342 | -7.8917e-14 | 14.9004
217.593 | -8.1332e-14 | 14.9013
217.918 | -8.8398e-14 | 14.901
218.235 | -4.7882e-14 | 14.8962
218.514 | -3.7259e-14 | 14.8976
218.828 | -4.2697e-14 | 14.8952
219.082 | -3.4617e-14 | 14.8937
219.424 | -4.7857e-14 | 14.8992
219.738 | -6.2481e-14 | 14.9011
220.028 | -6.7631e-14 | 14.9025
220.29 | -5.7905e-14 | 14.9044
220.652 | -5.8273e-14 | 14.9058
220.935 | -7.9817e-14 | 14.9082
221.212 | -6.735e-14 | 14.9071
221.536 | -4.3451e-14 | 14.9069
221.857 | -5.6819e-14 | 14.9058
222.129 | -5.1793e-14 | 14.9053
222.449 | -5.1347e-14 | 14.9054
222.695 | -4.7463e-14 | 14.9077
223.016 | -4.1646e-14 | 14.9078
223.337 | -5.0742e-14 | 14.907
223.586 | -7.8251e-14 | 14.9065
223.959 | -8.7057e-14 | 14.9063
224.207 | -8.9982e-14 | 14.9075
224.532 | -6.7391e-14 | 14.9051
224.856 | -7.6368e-14 | 14.9069
225.104 | -6.4838e-14 | 14.9068
225.404 | -6.6613e-14 | 14.9052
225.756 | -4.1694e-14 | 14.906
226.005 | -6.1651e-14 | 14.9071
226.355 | -5.5228e-14 | 14.9071
226.631 | -6.4102e-14 | 14.9089
226.955 | -6.0412e-14 | 14.909
227.281 | -5.8102e-14 | 14.9064
227.531 | -6.0837e-14 | 14.9085
227.782 | -4.9539e-14 | 14.9074
228.154 | -6.8752e-14 | 14.9074
228.476 | -5.9129e-14 | 14.9078
228.724 | -5.0408e-14 | 14.9071
229.046 | -5.5582e-14 | 14.9092
229.294 | -4.6172e-14 | 14.9093
229.619 | -8.5182e-14 | 14.9095
229.942 | -7.044e-14 | 14.9075
230.217 | -5.8332e-14 | 14.9086
230.542 | -6.8502e-14 | 14.9093
230.792 | -5.7491e-14 | 14.9087
231.119 | -7.3401e-14 | 14.91
231.449 | -6.9348e-14 | 14.9099
231.726 | -5.8885e-14 | 14.9096
232.055 | -6.465e-14 | 14.9111
232.306 | -8.6906e-14 | 14.9118
232.633 | -7.8976e-14 | 14.9103
232.908 | -6.0453e-14 | 14.9118
233.232 | -4.9742e-14 | 14.912
233.581 | -6.0801e-14 | 14.9117
233.807 | -7.9593e-14 | 14.912
234.157 | -8.8792e-14 | 14.9112
234.406 | -5.9152e-14 | 14.9135
234.731 | -5.5765e-14 | 14.9092
235.032 | -6.1245e-14 | 14.9124
235.331 | -7.3011e-14 | 14.9132
235.657 | -8.371e-14 | 14.9136
235.906 | -8.526e-14 | 14.9132
236.257 | -4.5739e-14 | 14.9146
236.531 | -5.961e-14 | 14.9136
236.784 | -6.5301e-14 | 14.914
237.107 | -5.7671e-14 | 14.9138
237.457 | -6.8497e-14 | 14.9132
237.707 | -7.1273e-14 | 14.9133
238.034 | -4.8449e-14 | 14.915
238.31 | -5.5694e-14 | 14.9139
238.634 | -6.9147e-14 | 14.9145
238.958 | -6.8952e-14 | 14.9145
239.209 | -5.1071e-14 | 14.9148
239.534 | -4.9346e-14 | 14.9155
239.81 | -4.0432e-14 | 14.9153
240.112 | -5.4131e-14 | 14.9166
240.437 | -3.584e-14 | 14.9165
240.736 | -3.4517e-14 | 14.9152
240.987 | -3.7804e-14 | 14.9172
241.311 | -6.1832e-14 | 14.9166
241.636 | -7.2062e-14 | 14.9169
241.914 | -5.0296e-14 | 14.916
242.239 | -5.5426e-14 | 14.9164
242.537 | -2.6034e-14 | 14.9166
242.814 | -3.5098e-14 | 14.9171
243.113 | -7.3323e-14 | 14.9178
243.438 | -5.0784e-14 | 14.9185
243.688 | -3.4379e-14 | 14.9182
244.039 | -2.7262e-14 | 14.918
244.285 | -5.3341e-14 | 14.9186
244.681 | -4.0837e-14 | 14.9158
244.954 | -2.9127e-14 | 14.9186
245.202 | -2.0913e-14 | 14.9182
245.526 | -1.3464e-14 | 14.9158
245.825 | -4.972e-15 | 14.9172
246.147 | -5.009e-15 | 14.9176
246.472 | -1.666e-14 | 14.9177
246.698 | -1.4171e-14 | 14.9184
247.022 | -5.653e-15 | 14.9189
247.349 | -2.7926e-14 | 14.9183
247.649 | -1.4145e-14 | 14.919
247.923 | -3.5052e-14 | 14.9194
248.252 | -2.6421e-14 | 14.9191
248.528 | -7.061e-15 | 14.9191
248.879 | -2.1087e-14 | 14.9185
249.13 | -2.966e-14 | 14.9203
249.456 | -1.1214e-14 | 14.9209
249.706 | 4.179e-15 | 14.9208
250.031 | -7.805e-15 | 14.9205
250.282 | 8.25e-16 | 14.9211
250.607 | -1.5654e-14 | 14.9213
250.932 | -1.7592e-14 | 14.9207
251.183 | 1.2545e-14 | 14.9207
251.558 | -3.0179e-14 | 14.9203
251.833 | -1.4255e-14 | 14.9201
252.108 | -2.2879e-14 | 14.9217
252.385 | -1.4239e-14 | 14.9226
252.709 | -7.674e-15 | 14.9224
253.035 | 7.366e-15 | 14.9228
253.287 | 2.4923e-14 | 14.9219
253.637 | 1.0804e-14 | 14.9218
253.936 | 4.483e-15 | 14.9229
254.186 | 4.844e-15 | 14.9232
254.51 | -1.462e-15 | 14.9224
254.812 | -1.618e-14 | 14.9237
255.137 | -3.892e-15 | 14.9231
255.413 | -5.2424e-14 | 14.9229
255.714 | -2.6192e-14 | 14.9239
256.038 | -3.2511e-14 | 14.9228
256.364 | 5.366e-15 | 14.923
256.613 | -1.3543e-14 | 14.9236
256.915 | -3.8319e-14 | 14.925
257.24 | -1.407e-15 | 14.9233
257.512 | -1.523e-14 | 14.9271
257.804 | -9.54e-15 | 14.9302
258.095 | -1.146e-15 | 14.9333
258.465 | -1.378e-14 | 14.9378
258.741 | 1.8454e-14 | 14.9393
259.036 | 3.2443e-14 | 14.9417
259.324 | 2.1581e-14 | 14.9421
259.631 | 5.77e-15 | 14.9434
259.884 | 1.9772e-14 | 14.9439
260.211 | 3.3828e-14 | 14.9443
260.531 | -1.0696e-14 | 14.9444
260.849 | -4.68e-16 | 14.9437
261.098 | 1.379e-14 | 14.9432
261.411 | 5.736e-15 | 14.9427
261.725 | 8.385e-15 | 14.9423
262.043 | 2.2467e-14 | 14.9403
262.286 | -8.4e-16 | 14.9409
262.675 | 3.4792e-14 | 14.9394
262.919 | 2.7701e-14 | 14.9383
263.21 | 1.3765e-14 | 14.9385
263.528 | 3.4907e-14 | 14.9382
263.846 | 2.9598e-14 | 14.9382
264.091 | 1.7545e-14 | 14.9381
264.409 | 3.7471e-14 | 14.9365
264.727 | 2.311e-14 | 14.9358
265.044 | 3.1454e-14 | 14.9356
265.339 | 2.6861e-14 | 14.936
265.584 | 4.027e-14 | 14.9355
265.927 | 5.4883e-14 | 14.9347
266.196 | 3.7233e-14 | 14.9349
266.515 | 2.5182e-14 | 14.9349
266.834 | 2.5822e-14 | 14.9331
267.082 | 2.9006e-14 | 14.9339
267.402 | 3.1781e-14 | 14.9335
267.722 | 2.6327e-14 | 14.9336
268.044 | 9.856e-15 | 14.9328
268.339 | 1.1948e-14 | 14.9331
268.588 | 1.1821e-14 | 14.9332
268.908 | -1.3949e-14 | 14.9331
269.231 | -1.3081e-14 | 14.9314
269.529 | -1.1124e-14 | 14.9322
269.876 | -2.3052e-14 | 14.9318
270.124 | -2.227e-14 | 14.9304
270.447 | -2.509e-15 | 14.9322
270.721 | -2.6163e-14 | 14.9318
271.018 | -2.3991e-14 | 14.9326
271.34 | -6.5412e-14 | 14.9323
271.591 | -5.1373e-14 | 14.9321
271.937 | -6.7261e-14 | 14.9324
272.188 | -6.9047e-14 | 14.9324
272.513 | -5.7101e-14 | 14.9321
272.86 | -6.1738e-14 | 14.9313
273.109 | -6.4947e-14 | 14.9326
273.434 | -6.0741e-14 | 14.9325
273.684 | -6.0334e-14 | 14.9324
274.008 | -5.0883e-14 | 14.9323
274.357 | -5.7615e-14 | 14.9319
274.681 | -5.6404e-14 | 14.932
274.932 | -7.196e-14 | 14.9305
275.206 | -6.6017e-14 | 14.932
275.506 | -5.2216e-14 | 14.9324
275.83 | -3.7924e-14 | 14.9327
276.105 | -5.4819e-14 | 14.9332
276.429 | -4.739e-14 | 14.9328
276.779 | -4.1461e-14 | 14.9324
277.029 | -4.2834e-14 | 14.9334
277.355 | -4.8551e-14 | 14.9337
277.604 | -4.0805e-14 | 14.9336
277.929 | -8.8049e-14 | 14.9339
278.253 | -5.5825e-14 | 14.9331
278.503 | -3.6076e-14 | 14.9325
278.854 | -5.6314e-14 | 14.9335
279.128 | -4.9973e-14 | 14.9336
279.449 | -5.7337e-14 | 14.9335
279.697 | -8.4788e-14 | 14.9331
280.045 | -6.0118e-14 | 14.9318
280.294 | -5.3092e-14 | 14.9337
280.616 | -7.242e-14 | 14.9332
280.941 | -6.7798e-14 | 14.933
281.216 | -6.1361e-14 | 14.9339
281.538 | -4.0168e-14 | 14.9336
281.791 | -4.4183e-14 | 14.9337
282.14 | -6.5483e-14 | 14.9331
282.391 | -7.4664e-14 | 14.9342
282.716 | -6.9527e-14 | 14.9345
283.042 | -8.4218e-14 | 14.9329
283.291 | -9.1108e-14 | 14.9346
283.617 | -8.6325e-14 | 14.934
283.893 | -8.6806e-14 | 14.9351
284.219 | -1.039e-13 | 14.9351
284.544 | -1.2663e-13 | 14.9348
284.794 | -1.0196e-13 | 14.9349
285.121 | -5.8646e-14 | 14.9354
285.445 | -6.9646e-14 | 14.9348
285.721 | -7.3044e-14 | 14.9343
286.046 | -1.1009e-13 | 14.9355
286.321 | -1.0611e-13 | 14.9353
286.672 | -9.6723e-14 | 14.9347
286.923 | -1.2358e-13 | 14.9357
287.249 | -1.012e-13 | 14.9362
287.498 | -1.0861e-13 | 14.9364
287.824 | -1.2705e-13 | 14.9344
288.15 | -1.4643e-13 | 14.9367
288.4 | -1.3142e-13 | 14.9369
288.726 | -1.599e-13 | 14.9369
289.05 | -1.4639e-13 | 14.9347
289.301 | -1.4165e-13 | 14.9357
289.652 | -1.4752e-13 | 14.9364
289.927 | -1.7778e-13 | 14.936
290.25 | -1.4847e-13 | 14.9374
290.503 | -1.5845e-13 | 14.9372
290.83 | -1.6027e-13 | 14.9378
291.153 | -8.708e-14 | 14.9172
291.629 | -1.6665e-13 | 14.8567
293.029 | -1.1948e-13 | 14.9378
294.08 | -9.9941e-14 | 14.9379
294.33 | -9.3968e-14 | 14.9371
294.679 | -9.5612e-14 | 14.9378
294.93 | -1.0688e-13 | 14.937
295.255 | -1.223e-13 | 14.9385
295.53 | -1.6196e-13 | 14.9372
295.855 | -1.8432e-13 | 14.9387
296.107 | -1.5089e-13 | 14.939
296.431 | -1.3536e-13 | 14.9391
296.756 | -1.325e-13 | 14.939
297.031 | -1.1422e-13 | 14.9385
297.355 | -1.1567e-13 | 14.939
297.629 | -1.2517e-13 | 14.9387
297.955 | -1.1829e-13 | 14.9392
298.229 | -9.6472e-14 | 14.9388
298.554 | -1.0737e-13 | 14.9388
298.803 | -1.0135e-13 | 14.939
299.149 | -2.5204e-13 | 14.9387
299.473 | -1.9201e-13 | 14.9388
299.721 | -1.4856e-13 | 14.939
300.044 | -2.1737e-13 | 14.939
300.319 | -1.6964e-13 | 14.9388
300.643 | -1.514e-13 | 14.9386
300.893 | -1.484e-13 | 14.9389
301.243 | -1.3168e-13 | 14.9386
301.492 | -1.1581e-13 | 14.9394
301.818 | -1.3299e-13 | 14.9399
302.143 | -1.1166e-13 | 14.9398
302.418 | -1.1692e-13 | 14.9394
302.718 | -1.3563e-13 | 14.9398
303.045 | -1.4508e-13 | 14.9399
303.319 | -1.4123e-13 | 14.9395
303.645 | -3.6067e-13 | 14.9395
303.894 | -2.639e-13 | 14.9407
304.221 | -2.104e-13 | 14.9408
304.545 | -1.9011e-13 | 14.9407
304.797 | -1.8793e-13 | 14.9406
305.121 | -2.0227e-13 | 14.9408
305.447 | -2.1249e-13 | 14.941
305.698 | -2.0544e-13 | 14.9402
306.048 | -1.7775e-13 | 14.9412
306.323 | -2.1202e-13 | 14.9409
306.674 | -1.865e-13 | 14.9415
306.949 | -2.227e-13 | 14.9399
307.225 | -1.7512e-13 | 14.9405
307.55 | -1.7614e-13 | 14.9417
307.8 | -1.8515e-13 | 14.9416
308.126 | -1.7161e-13 | 14.9423
308.45 | -3.1798e-13 | 14.941
308.726 | -2.5543e-13 | 14.9407
309.052 | -2.3306e-13 | 14.942
309.327 | -2.101e-13 | 14.9426
309.652 | -1.9333e-13 | 14.9424
309.904 | -2.066e-13 | 14.9428
310.228 | -2.1762e-13 | 14.9428
310.554 | -2.1835e-13 | 14.943
310.804 | -2.3518e-13 | 14.9429
311.129 | -2.2918e-13 | 14.9429
311.454 | -2.3902e-13 | 14.9431
311.728 | -2.3754e-13 | 14.9411
312.053 | -2.2914e-13 | 14.9428
312.328 | -2.3187e-13 | 14.9423
312.653 | -2.179e-13 | 14.9429
312.928 | -2.2128e-13 | 14.9427
313.256 | -2.0189e-13 | 14.9425
313.504 | -1.9806e-13 | 14.9432
313.829 | -2.3916e-13 | 14.9432
314.105 | -2.2731e-13 | 14.9436
314.429 | -2.4895e-13 | 14.9433
314.704 | -2.4411e-13 | 14.9435
315.055 | -2.53e-13 | 14.9434
315.38 | -2.6713e-13 | 14.9433
315.63 | -2.6677e-13 | 14.9436
315.904 | -2.6263e-13 | 14.9441
316.23 | -2.6422e-13 | 14.9441
316.556 | -2.7367e-13 | 14.9444
316.83 | -2.714e-13 | 14.9437
317.157 | -2.7537e-13 | 14.9435
317.407 | -2.6555e-13 | 14.9449
317.732 | -2.7189e-13 | 14.9448
318.008 | -2.6834e-13 | 14.9442
318.309 | -2.5856e-13 | 14.9445
318.584 | -2.8476e-13 | 14.9452
318.934 | -2.6487e-13 | 14.9446
319.183 | -2.8731e-13 | 14.9449
319.509 | -3.058e-13 | 14.945
319.834 | -3.1536e-13 | 14.9452
320.085 | -2.9477e-13 | 14.9451
320.43 | -2.8368e-13 | 14.9447
320.753 | -2.9104e-13 | 14.9441
321.027 | -2.6698e-13 | 14.9446
321.351 | -2.9063e-13 | 14.9441
321.6 | -2.7667e-13 | 14.9449
321.924 | -2.7473e-13 | 14.9447
322.274 | -2.7046e-13 | 14.9445
322.524 | -3.0243e-13 | 14.9454
322.849 | -2.8802e-13 | 14.9455
323.099 | -3.0155e-13 | 14.9454
323.423 | -3.1803e-13 | 14.9452
323.774 | -2.767e-13 | 14.9447
324.024 | -2.618e-13 | 14.9446
324.298 | -2.945e-13 | 14.9457
324.624 | -2.9268e-13 | 14.9455
324.951 | -3.055e-13 | 14.9458
325.226 | -3.083e-13 | 14.9453
325.526 | -2.9959e-13 | 14.9455
325.876 | -2.9708e-13 | 14.9457
326.127 | -2.9306e-13 | 14.9452
326.452 | -2.7603e-13 | 14.9465
326.728 | -2.6669e-13 | 14.9458
327.053 | -2.8173e-13 | 14.9463
327.327 | -2.7155e-13 | 14.9464
327.652 | -2.9768e-13 | 14.9465
327.928 | -3.0541e-13 | 14.9455
328.254 | -3.1878e-13 | 14.945
328.503 | -3.2803e-13 | 14.9464
328.853 | -3.3143e-13 | 14.9461
329.103 | -3.3068e-13 | 14.9469
329.454 | -3.3875e-13 | 14.9464
329.778 | -3.1959e-13 | 14.9464
330.029 | -3.1898e-13 | 14.9471
330.378 | -3.2664e-13 | 14.9468
330.628 | -3.2232e-13 | 14.9462
330.953 | -3.2265e-13 | 14.9469
331.231 | -3.212e-13 | 14.9458
331.554 | -3.3765e-13 | 14.9471
331.83 | -3.477e-13 | 14.9472
332.179 | -3.515e-13 | 14.9468