## Settings
Sample Info | So12ig, dot b5, run 01, glued
Comments | -10/4/-10
Additional Comments | Great spectra 270K, 355K
Major Measurement Parameters
Starting Temperature | 298.913
Initial Temperature | 80.5
Final Temperature | 450
Preliminary Voltage | -10
Pulse Voltage | 4
Pulse Time | 30
Wait Time | 0
Measurement Voltage | -10
Subsidiary Measurement Parameters
Step | 0.3
Accuracy Step | 0.1
Accuracy Stable | 1
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 15
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 5
Measurecount | 1
Time
Date | 11.4.2024
Clock | 16:49:49

## Stabilization
Temperature | Current | Temp Rate
298.868 | -4.6268e-10 | 0
298.854 | -4.0533e-12 | -0.34149
298.845 | -2.0586e-12 | -0.3676
298.779 | -1.3017e-12 | -1.067
298.699 | -1.625e-12 | -1.6153
298.47 | -1.2219e-12 | -3.1502
298.354 | -1.0464e-12 | -3.4676
297.985 | -8.627e-13 | -5.0894
297.705 | -8.4138e-13 | -5.9079
297.487 | -8.2459e-13 | -6.2289
296.271 | -5.3348e-13 | -8.3941
295.977 | -4.2732e-13 | -10.001
295.673 | -4.1459e-13 | -12.9739
295.498 | -2.5518e-13 | -46.7951
295.386 | -5.4929e-13 | -68.0101
295.32 | -2.8272e-13 | -7.5309
295.177 | -5.6975e-13 | -7.4942
295.044 | -8.173e-13 | -7.4426
294.947 | -6.0481e-13 | -181.4195
294.735 | -2.8309e-13 | -7.4155
293.991 | -4.4096e-13 | -7.4439
293.775 | -4.4675e-13 | -7.5194
293.54 | -4.1365e-13 | -7.6261
293.231 | -3.8314e-13 | -7.8268
292.986 | -3.5472e-13 | -7.9328
292.757 | -3.2969e-13 | -8.008
292.592 | -3.9324e-13 | -7.9988
292.227 | -3.5817e-13 | -8.2393
291.994 | -3.3889e-13 | -8.2662
291.739 | -3.1793e-13 | -8.3552
291.481 | -3.0777e-13 | -8.4472
291.324 | -3.0881e-13 | -8.412
290.951 | -2.8879e-13 | -8.612
290.742 | -2.8766e-13 | -8.6405
290.485 | -2.8127e-13 | -8.7081
290.181 | -2.5881e-13 | -8.8246
289.918 | -2.5737e-13 | -8.895
289.577 | -2.4745e-13 | -9.0414
289.408 | -2.362e-13 | -9.0163
289.163 | -2.2828e-13 | -9.0318
288.996 | -2.3886e-13 | -9.0081
288.843 | -2.3161e-13 | -8.9705
288.596 | -2.3341e-13 | -9.0133
288.412 | -2.2489e-13 | -9.0054
288.168 | -2.1715e-13 | -9.0448
287.962 | -2.1959e-13 | -9.034
287.83 | -2.1933e-13 | -8.9811
287.724 | -2.1933e-13 | -8.9078
287.533 | -1.9298e-13 | -8.9057
287.307 | -1.8973e-13 | -8.9287
287.088 | -1.8676e-13 | -8.9239
286.675 | -1.8185e-13 | -9.0786
286.465 | -1.6857e-13 | -9.0863
286.2 | -1.6988e-13 | -9.1296
286 | -1.6369e-13 | -9.0931
285.825 | -1.6584e-13 | -9.0805
285.582 | -1.6749e-13 | -9.1121
285.477 | -1.6631e-13 | -9.0434
285.356 | -1.4504e-13 | -8.9941
285.066 | -1.5077e-13 | -9.058
284.861 | -1.5732e-13 | -9.065
284.566 | -1.4779e-13 | -9.1266
284.362 | -1.4757e-13 | -9.13
284.211 | -1.4115e-13 | -9.1034
284.014 | -1.403e-13 | -9.1025
283.802 | -1.3085e-13 | -9.1101
283.593 | -1.3834e-13 | -9.1169
283.288 | -1.2612e-13 | -9.1823
283.049 | -1.3543e-13 | -9.2055
282.706 | -1.2029e-13 | -9.2871
282.474 | -1.3269e-13 | -9.283
282.303 | -1.3005e-13 | -9.2667
282.072 | -1.2353e-13 | -9.2826
281.929 | -1.189e-13 | -9.2514
281.712 | -1.1206e-13 | -9.2473
281.44 | -1.3195e-13 | -9.2854
281.258 | -1.2065e-13 | -9.2722
280.962 | -1.0475e-13 | -9.3123
280.811 | -1.1334e-13 | -9.2833
280.469 | -9.7443e-14 | -9.3545
280.239 | -9.886e-14 | -9.3624
280.063 | -1.0426e-13 | -9.3458
279.876 | -8.2271e-14 | -9.3393
279.704 | -8.3324e-14 | -9.3219
279.569 | -8.7446e-14 | -9.2902
279.283 | -8.3449e-14 | -9.3288
279.1 | -7.9488e-14 | -9.3205
278.777 | -8.1727e-14 | -9.3766
278.524 | -6.9026e-14 | -9.3983
278.284 | -7.9719e-14 | -9.4143
278.026 | -8.5409e-14 | -9.4388
277.852 | -8.5597e-14 | -9.4239
277.568 | -8.2162e-14 | -9.4589
277.368 | -7.7791e-14 | -9.4553
277.148 | -7.7703e-14 | -9.4607
276.691 | -7.4722e-14 | -9.5319
276.468 | -7.2444e-14 | -9.5363
276.219 | -5.4331e-14 | -9.5539
275.986 | -6.8512e-14 | -9.5566
275.635 | -6.2507e-14 | -9.6137
275.474 | -7.6902e-14 | -9.5877
275.247 | -6.5888e-14 | -9.5935
275.027 | -6.1804e-14 | -9.5949
274.805 | -7.0146e-14 | -9.6002
274.63 | -6.683e-14 | -9.5855
274.327 | -8.1616e-14 | -9.6232
274.097 | -8.2027e-14 | -9.6254
273.874 | -9.44e-14 | -9.629
273.583 | -7.9007e-14 | -9.6596
273.398 | -7.7035e-14 | -9.6463
273.04 | -6.9432e-14 | -9.6911
272.842 | -8.0505e-14 | -9.6803
272.447 | -7.9384e-14 | -9.7474
272.252 | -7.2602e-14 | -9.7409
272.049 | -7.4278e-14 | -9.7346
271.785 | -8.1961e-14 | -9.7522
271.617 | -7.7094e-14 | -9.7344
271.406 | -8.2701e-14 | -9.7315
271.113 | -7.7083e-14 | -9.751
270.847 | -7.3503e-14 | -9.7642
270.58 | -7.9995e-14 | -9.7794
270.445 | -8.3922e-14 | -9.7514
270.291 | -6.2234e-14 | -9.7297
270.145 | -8.0382e-14 | -9.7059
269.743 | -8.3744e-14 | -9.7675
269.559 | -9.1431e-14 | -9.7564
269.306 | -8.6618e-14 | -9.768
268.968 | -7.3606e-14 | -9.8014
268.748 | -8.362e-14 | -9.7954
268.383 | -9.6569e-14 | -9.8418
268.22 | -8.9478e-14 | -9.8245
267.946 | -7.0415e-14 | -9.8434
267.748 | -7.6085e-14 | -9.838
267.553 | -8.5695e-14 | -9.8312
267.293 | -8.5474e-14 | -9.8441
267.098 | -7.9702e-14 | -9.8375
266.738 | -7.2448e-14 | -9.8805
266.499 | -7.4779e-14 | -9.8842
266.142 | -8.2165e-14 | -9.9259
265.86 | -8.412e-14 | -9.9442
265.661 | -7.3948e-14 | -9.9383
265.3 | -7.3929e-14 | -9.9813
265.087 | -7.8868e-14 | -9.9704
264.781 | -9.0265e-14 | -9.9945
264.585 | -9.1046e-14 | -9.9873
264.395 | -7.9116e-14 | -9.9787
264.152 | -9.7797e-14 | -9.9845
263.888 | -6.9921e-14 | -9.9953
263.707 | -8.067e-14 | -9.9832
263.38 | -9.5953e-14 | -10.0143
263.189 | -7.347e-14 | -9.9994
262.809 | -7.5254e-14 | -10.0415
262.54 | -7.6709e-14 | -10.054
262.366 | -9.2342e-14 | -10.0397
262.021 | -8.635e-14 | -10.0732
261.816 | -7.1206e-14 | -10.059
261.482 | -7.0732e-14 | -10.0887
261.19 | -6.8456e-14 | -10.1073
260.894 | -7.2942e-14 | -10.1257
260.554 | -7.1642e-14 | -10.1578
260.358 | -9.0285e-14 | -10.1491
260.031 | -8.9683e-14 | -10.1758
259.767 | -7.9885e-14 | -10.1846
259.392 | -8.3002e-14 | -10.2226
259.063 | -7.3185e-14 | -10.2471
258.751 | -8.0638e-14 | -10.268
258.347 | -7.8047e-14 | -10.3115
258.069 | -8.3504e-14 | -10.3219
257.841 | -8.9039e-14 | -10.3218
257.598 | -8.0438e-14 | -10.3251
257.4 | -8.0949e-14 | -10.3167
257.011 | -8.1999e-14 | -10.3551
256.821 | -7.014e-14 | -10.3417
256.457 | -6.6728e-14 | -10.3741
256.225 | -8.0216e-14 | -10.3752
255.944 | -8.2271e-14 | -10.3875
255.645 | -8.1337e-14 | -10.4037
255.455 | -8.5991e-14 | -10.3934
255.083 | -7.9947e-14 | -10.4281
254.873 | -7.6266e-14 | -10.4241
254.502 | -8.0127e-14 | -10.457
254.299 | -6.3207e-14 | -10.4477
254.101 | -8.1256e-14 | -10.4355
253.886 | -8.1896e-14 | -10.43
253.543 | -7.7946e-14 | -10.4529
253.369 | -7.6803e-14 | -10.4406
253.013 | -8.0696e-14 | -10.4692
252.762 | -7.8789e-14 | -10.4741
252.48 | -8.2576e-14 | -10.4854
252.243 | -8.4358e-14 | -10.4873
252.066 | -9.0694e-14 | -10.4751
251.647 | -7.7269e-14 | -10.5159
251.463 | -8.97e-14 | -10.5047
251.159 | -8.2174e-14 | -10.5192
250.927 | -8.3482e-14 | -10.5187
250.739 | -8.9094e-14 | -10.5079
250.373 | -7.9909e-14 | -10.5362
250.168 | -7.9132e-14 | -10.5311
249.754 | -7.2721e-14 | -10.57
249.521 | -7.2837e-14 | -10.5681
249.185 | -7.6262e-14 | -10.5887
248.913 | -6.5637e-14 | -10.5951
248.672 | -7.3438e-14 | -10.5966
248.316 | -7.6084e-14 | -10.6204
248.094 | -7.4841e-14 | -10.6176
247.755 | -7.2483e-14 | -10.639
247.48 | -7.9258e-14 | -10.6466
247.083 | -7.0696e-14 | -10.6798
246.852 | -7.7889e-14 | -10.6765
246.586 | -7.1013e-14 | -10.6804
246.288 | -7.3178e-14 | -10.6925
246.052 | -8.1319e-14 | -10.6914
245.719 | -7.8481e-14 | -10.711
245.39 | -6.1478e-14 | -10.7281
245.084 | -6.7507e-14 | -10.7417
244.751 | -6.8699e-14 | -10.7604
244.544 | -6.4391e-14 | -10.7523
244.239 | -7.0658e-14 | -10.7663
243.997 | -5.9093e-14 | -10.7665
243.65 | -5.2922e-14 | -10.7869
243.311 | -5.7869e-14 | -10.8068
243.043 | -7.8957e-14 | -10.8116
242.693 | -6.6151e-14 | -10.8331
242.52 | -7.282e-14 | -10.8197
242.072 | -6.4939e-14 | -10.8586
241.874 | -6.824e-14 | -10.8498
241.523 | -5.999e-14 | -10.8694
241.306 | -5.5407e-14 | -10.8644
241.064 | -5.4553e-14 | -10.8643
240.765 | -5.8338e-14 | -10.8749
240.59 | -6.3049e-14 | -10.8624
240.172 | -3.7567e-14 | -10.8947
239.988 | -6.4659e-14 | -10.8837
239.594 | -5.782e-14 | -10.9113
239.371 | -5.6314e-14 | -10.9066
239.097 | -6.3625e-14 | -10.9119
238.831 | -7.0416e-14 | -10.9153
238.615 | -6.5122e-14 | -10.9101
238.215 | -5.9669e-14 | -10.9375
237.976 | -6.4478e-14 | -10.9365
237.768 | -6.7883e-14 | -10.9306
237.414 | -7.0893e-14 | -10.9493
237.22 | -6.8153e-14 | -10.9407
236.925 | -7.4973e-14 | -10.9498
236.629 | -6.1204e-14 | -10.9582
236.416 | -6.9226e-14 | -10.9524
235.998 | -6.5966e-14 | -10.9823
235.792 | -6.887e-14 | -10.9746
235.445 | -7.2186e-14 | -10.9921
235.175 | -7.0347e-14 | -10.9965
234.874 | -7.6888e-14 | -11.0055
234.547 | -7.2426e-14 | -11.0189
234.215 | -7.9704e-14 | -11.0334
233.871 | -8.1059e-14 | -11.0493
233.555 | -6.9836e-14 | -11.0602
233.201 | -7.6092e-14 | -11.0777
232.996 | -6.4884e-14 | -11.0712
232.542 | -8.4851e-14 | -11.105
232.32 | -7.5e-14 | -11.1006
231.961 | -6.2036e-14 | -11.1192
231.725 | -6.5019e-14 | -11.1175
231.538 | -8.5197e-14 | -11.1069
231.133 | -7.9535e-14 | -11.1318
230.898 | -7.797e-14 | -11.1295
230.584 | -9.1171e-14 | -11.1406
230.314 | -6.0445e-14 | -11.1436
229.906 | -7.3989e-14 | -11.1685
229.644 | -6.4693e-14 | -11.1712
229.26 | -6.6739e-14 | -11.1903
229.002 | -7.0112e-14 | -11.1915
228.808 | -7.0212e-14 | -11.1819
228.517 | -7.4244e-14 | -11.1886
228.353 | -6.7698e-14 | -11.1744
228.127 | -7.3762e-14 | -11.1705
227.785 | -6.3592e-14 | -11.1852
227.492 | -6.5959e-14 | -11.1922
227.276 | -6.2713e-14 | -11.1863
226.939 | -6.2406e-14 | -11.1992
226.755 | -7.6515e-14 | -11.1892
226.342 | -6.8218e-14 | -11.2136
226.116 | -6.5987e-14 | -11.2097
225.686 | -7.051e-14 | -11.2365
225.463 | -7.1389e-14 | -11.2315
225.274 | -8.0895e-14 | -11.2224
224.906 | -8.343e-14 | -11.239
224.664 | -7.3708e-14 | -11.2365
224.224 | -7.1141e-14 | -11.2644
223.975 | -6.8202e-14 | -11.2633
223.569 | -7.4039e-14 | -11.2865
223.35 | -9.423e-14 | -11.2812
223.16 | -8.8426e-14 | -11.2713
222.84 | -7.7514e-14 | -11.2805
222.596 | -8.3406e-14 | -11.2789
222.44 | -8.0947e-14 | -11.2647
222.081 | -7.5824e-14 | -11.2806
221.88 | -8.1001e-14 | -11.2729
221.527 | -8.5381e-14 | -11.2874
221.29 | -9.1624e-14 | -11.2842
221.081 | -9.8478e-14 | -11.2775
220.762 | -8.5559e-14 | -11.286
220.572 | -7.6768e-14 | -11.2766
220.24 | -6.9183e-14 | -11.2876
219.984 | -7.1288e-14 | -11.2883
219.769 | -7.6254e-14 | -11.2828
219.41 | -6.8248e-14 | -11.2976
219.166 | -7.5993e-14 | -11.2963
218.849 | -9.1817e-14 | -11.3047
218.534 | -8.7188e-14 | -11.313
218.344 | -1.0968e-13 | -11.3036
218.019 | -9.481e-14 | -11.3129
217.794 | -1.0545e-13 | -11.3086
217.394 | -1.0689e-13 | -11.3286
217.128 | -9.1857e-14 | -11.33
216.839 | -8.8038e-14 | -11.3342
216.505 | -1.1028e-13 | -11.3448
216.27 | -9.5901e-14 | -11.3421
215.843 | -9.803e-14 | -11.3647
215.589 | -9.3737e-14 | -11.3641
215.207 | -8.7426e-14 | -11.3797
214.866 | -9.497e-14 | -11.3914
214.654 | -9.191e-14 | -11.3848
214.219 | -7.4116e-14 | -11.408
213.97 | -9.7259e-14 | -11.4072
213.591 | -9.55e-14 | -11.4236
213.333 | -8.9184e-14 | -11.4232
213.026 | -1.0534e-13 | -11.4297
212.678 | -9.4589e-14 | -11.4412
212.388 | -1.0468e-13 | -11.4451
211.994 | -1.0931e-13 | -11.4623
211.784 | -9.441e-14 | -11.456
211.305 | -9.4413e-14 | -11.4843
211.077 | -9.309e-14 | -11.4808
210.8 | -9.7322e-14 | -11.4828
210.506 | -8.2904e-14 | -11.4874
210.26 | -8.1524e-14 | -11.4855
209.844 | -7.8251e-14 | -11.5049
209.59 | -8.7226e-14 | -11.5036
209.128 | -8.0965e-14 | -11.5303
208.891 | -7.9194e-14 | -11.5268
208.535 | -9.1151e-14 | -11.5384
208.272 | -8.4143e-14 | -11.5383
207.951 | -9.6803e-14 | -11.546
207.617 | -9.0807e-14 | -11.5554
207.196 | -1.0194e-13 | -11.5749
206.92 | -9.8065e-14 | -11.5759
206.673 | -9.0437e-14 | -11.5743
206.453 | -9.1143e-14 | -11.5693
206.23 | -9.294e-14 | -11.5642
205.841 | -9.4071e-14 | -11.5796
205.598 | -9.3424e-14 | -11.5768
205.156 | -1.0035e-13 | -11.5987
204.938 | -8.6225e-14 | -11.5925
204.764 | -9.101e-14 | -11.5816
204.499 | -9.1815e-14 | -11.5816
204.332 | -9.044e-14 | -11.5701
204.075 | -1.0423e-13 | -11.5696
203.833 | -7.8221e-14 | -11.5671
203.685 | -9.0045e-14 | -11.5525
203.367 | -9.3967e-14 | -11.5588
203.204 | -9.7216e-14 | -11.5469
202.953 | -1.0879e-13 | -11.5449
202.691 | -8.2792e-14 | -11.5435
202.516 | -9.192e-14 | -11.5334
202.175 | -1.0808e-13 | -11.5432
202.015 | -9.0934e-14 | -11.5314
201.731 | -9.3834e-14 | -11.5342
201.558 | -9.9211e-14 | -11.5233
201.359 | -8.8885e-14 | -11.5163
201.115 | -9.473e-14 | -11.514
201.007 | -8.6316e-14 | -11.4953
200.722 | -8.0788e-14 | -11.4987
200.612 | -8.8054e-14 | -11.4804
200.337 | -8.4595e-14 | -11.4817
200.156 | -8.0052e-14 | -11.4719
199.925 | -7.902e-14 | -11.4689
199.702 | -9.7215e-14 | -11.4644
199.52 | -9.4669e-14 | -11.4556
199.303 | -8.1837e-14 | -11.4507
199.259 | -8.152e-14 | -11.4259
199.098 | -9.0115e-14 | -11.4145
199.121 | -8.7394e-14 | -11.382
199.061 | -9.7767e-14 | -11.3597
199.111 | -8.2571e-14 | -11.3246
199.093 | -7.8291e-14 | -11.2973
199.11 | -9.7591e-14 | -11.2662
199.173 | -8.1641e-14 | -11.2307
199.212 | -7.5428e-14 | -11.1977
199.247 | -8.2137e-14 | -11.1656
199.157 | -6.137e-14 | -11.147
199.121 | -5.9477e-14 | -11.1226
198.997 | -6.1824e-14 | -11.1081
198.874 | -5.7982e-14 | -11.0943
198.728 | -6.2746e-14 | -11.0823
198.547 | -6.4056e-14 | -11.0739
198.411 | -4.9731e-14 | -11.0607
198.252 | 3.376e-15 | -11.0501
198.113 | -1.4119e-14 | -11.0376
197.999 | -3.9732e-14 | -11.023
197.946 | -7.1504e-14 | -11.0004
197.809 | -4.9762e-14 | -10.9882
197.738 | -5.2623e-14 | -10.9671
197.648 | -4.6324e-14 | -10.9499
197.581 | -3.9798e-14 | -10.9299
197.525 | -4.3994e-14 | -10.9091
197.405 | -5.0673e-14 | -10.8941
197.35 | -5.0117e-14 | -10.8728
197.222 | -5.5114e-14 | -10.8601
197.232 | -4.206e-14 | -10.833
197.112 | -4.5029e-14 | -10.8195
197.154 | -5.5756e-14 | -10.7888
196.979 | -4.9549e-14 | -10.7814
197.029 | -5.5806e-14 | -10.7498
196.844 | -5.0609e-14 | -10.743
196.903 | -5.7315e-14 | -10.7111
196.77 | -6.1737e-14 | -10.6994
196.819 | -4.7571e-14 | -10.6688
196.72 | -5.0969e-14 | -10.6539
196.748 | -5.0851e-14 | -10.6262
196.752 | -3.217e-14 | -10.5998
196.734 | -5.4913e-14 | -10.5764
196.801 | -4.8328e-14 | -10.5448
196.759 | -5.3249e-14 | -10.5244
196.868 | -4.7643e-14 | -10.4886
196.788 | -5.8979e-14 | -10.4723
196.884 | -4.7246e-14 | -10.4377
196.744 | -4.1416e-14 | -10.4276
196.843 | -4.2923e-14 | -10.3937
196.692 | -5.467e-14 | -10.3853
196.775 | -5.6944e-14 | -10.3524
196.735 | -4.9275e-14 | -10.3326
196.777 | -5.0609e-14 | -10.3046
196.784 | -2.4444e-14 | -10.28
196.716 | -2.9743e-14 | -10.2633
196.802 | -5.1815e-14 | -10.2306
196.729 | -5.2595e-14 | -10.2146
196.833 | -4.8726e-14 | -10.1807
196.83 | -3.9215e-14 | -10.1576
196.952 | -4.1875e-14 | -10.1224
197.003 | -4.4578e-14 | -10.0932
197.076 | -3.4842e-14 | -10.063
197.2 | -4.9283e-14 | -10.0283
197.301 | -5.6153e-14 | -9.9955
197.376 | -3.7737e-14 | -9.965
197.494 | -4.2111e-14 | -9.9303
197.319 | -3.5956e-14 | -9.9251
197.421 | -3.1721e-14 | -9.8931
197.349 | -3.6951e-14 | -9.878
197.387 | -2.7698e-14 | -9.8521
197.4 | -3.0738e-14 | -9.8273
197.428 | -3.841e-14 | -9.8024
197.516 | -1.4611e-14 | -9.7718
197.614 | -3.6432e-14 | -9.7408
197.73 | -3.3486e-14 | -9.708
197.834 | -5.3257e-14 | -9.6761
197.859 | -2.4621e-14 | -9.6523
197.974 | -4.1861e-14 | -9.6203
197.805 | -3.4757e-14 | -9.6152
197.894 | -3.174e-14 | -9.5857
197.693 | -4.7393e-14 | -9.5837
197.642 | -5.0864e-14 | -9.5674
197.648 | -3.5475e-14 | -9.5461
197.436 | -2.6026e-14 | -9.5455
197.506 | -3.4734e-14 | -9.5183
197.344 | -2.7155e-14 | -9.5125
197.359 | -4.2197e-14 | -9.4903
197.194 | -1.8028e-14 | -9.485
197.179 | -3.5551e-14 | -9.4662
197.211 | -2.9603e-14 | -9.4432
197.253 | -3.2099e-14 | -9.4194
197.194 | -3.5476e-14 | -9.4048
196.849 | -3.5023e-14 | -9.4165
196.852 | -3.5227e-14 | -9.3961
196.392 | -3.3772e-14 | -9.4186
195.974 | -3.225e-14 | -9.4368
195.872 | -3.6283e-14 | -9.4261
195.537 | -9.885e-15 | -9.4367
195.436 | -2.8989e-14 | -9.4262
195.379 | -3.6356e-14 | -9.4113
195.312 | -3.5895e-14 | -9.3974
195.329 | -3.6892e-14 | -9.3763
195.217 | -4.903e-14 | -9.3668
195.258 | -4.6084e-14 | -9.3435
195.314 | -3.1794e-14 | -9.3191
195.373 | -3.6676e-14 | -9.2941
195.434 | -4.1168e-14 | -9.2694
195.499 | -3.6196e-14 | -9.2447
195.562 | -4.1224e-14 | -9.2198
195.631 | -4.3132e-14 | -9.1946
195.7 | -4.2093e-14 | -9.1691
195.77 | -4.9445e-14 | -9.1445
195.827 | -2.9365e-14 | -9.1205
195.89 | -3.3461e-14 | -9.096
195.931 | -4.6126e-14 | -9.0745
195.787 | -3.5154e-14 | -9.0686
195.847 | -3.9398e-14 | -9.0446
195.515 | -3.1332e-14 | -9.0553
195.449 | -3.1881e-14 | -9.0429
195.214 | -3.2112e-14 | -9.0454
194.72 | -2.5112e-14 | -9.0698
194.59 | -2.3037e-14 | -9.0624
194.282 | -2.9054e-14 | -9.0705
193.896 | -1.7011e-14 | -9.0859
193.792 | -2.6017e-14 | -9.0768
193.624 | -2.7813e-14 | -9.0732
193.498 | -3.5607e-14 | -9.0659
193.471 | -3.3184e-14 | -9.0501
193.459 | -1.967e-14 | -9.0331
193.455 | -2.4795e-14 | -9.0156
193.4 | -1.8902e-14 | -9.0027
193.414 | -4.4758e-14 | -8.9837
193.433 | -4.1214e-14 | -8.9643
193.453 | -3.1261e-14 | -8.9449
193.475 | -4.0232e-14 | -8.9256
193.487 | -2.1424e-14 | -8.9066
193.489 | -2.8375e-14 | -8.8891
193.443 | -4.0846e-14 | -8.8757
193.466 | -2.5132e-14 | -8.8553
193.487 | -2.2238e-14 | -8.8368
193.505 | -2.6683e-14 | -8.8179
193.519 | -1.8945e-14 | -8.7997
193.444 | -3.7413e-14 | -8.7893
193.206 | -3.2255e-14 | -8.7923
193.184 | -1.6792e-14 | -8.777
192.851 | -1.8252e-14 | -8.7877
192.441 | -9.563e-15 | -8.8048
192.263 | -2.5167e-14 | -8.8026
192.168 | -3.222e-14 | -8.7936
192.07 | -3.0981e-14 | -8.7848
192.005 | -2.132e-14 | -8.7728
191.96 | -2.3517e-14 | -8.759
191.92 | -3.9079e-14 | -8.7453
191.878 | -3.8291e-14 | -8.7322
191.848 | -3.7479e-14 | -8.7183
191.821 | -3.5315e-14 | -8.7038
191.778 | -2.6389e-14 | -8.6908
191.724 | -3.6539e-14 | -8.6786
191.698 | -2.2795e-14 | -8.6644
191.666 | -3.561e-14 | -8.651
191.587 | -2.971e-14 | -8.6406
191.462 | -2.5174e-14 | -8.6344
191.423 | -1.7872e-14 | -8.6213
191.391 | -1.979e-14 | -8.6079
191.357 | -1.8109e-14 | -8.5948
191.318 | -2.8452e-14 | -8.5818
191.279 | -2.7825e-14 | -8.5688
191.234 | -3.7937e-14 | -8.5564
191.18 | -1.8587e-14 | -8.5443
191.087 | -2.2205e-14 | -8.5361
191.012 | -2.6068e-14 | -8.526
190.964 | -2.104e-14 | -8.5141
190.914 | -3.4998e-14 | -8.5025
190.859 | -9.019e-15 | -8.4915
190.804 | -1.8159e-14 | -8.4803
190.751 | -2.9355e-14 | -8.4689
190.693 | -2.5537e-14 | -8.4581
190.635 | -1.1106e-14 | -8.4471
190.578 | -1.865e-14 | -8.4365
190.51 | -3.4689e-14 | -8.4264
190.424 | -2.1817e-14 | -8.4172
190.351 | -2.6698e-14 | -8.4074
190.267 | -2.8882e-14 | -8.3982
190.166 | -3.0445e-14 | -8.3911
190.095 | -3.3151e-14 | -8.3815
190.027 | -2.2087e-14 | -8.3718
189.949 | -2.2196e-14 | -8.363
189.859 | -1.5628e-14 | -8.3549
189.707 | -2.4384e-14 | -8.3511
189.563 | -2.7385e-14 | -8.3475
189.472 | -1.7408e-14 | -8.3393
189.381 | -2.0432e-14 | -8.3314
189.291 | -2.6324e-14 | -8.3235
189.204 | -1.549e-14 | -8.3157
189.111 | -9.91e-15 | -8.3083
189.017 | -7.927e-15 | -8.3003
188.913 | -8.143e-15 | -8.2931
188.813 | -1.8296e-14 | -8.2859
188.696 | -1.5985e-14 | -8.2801
188.542 | -2.2636e-14 | -8.2771
188.388 | -1.5798e-14 | -8.2736
188.279 | -1.6562e-14 | -8.2674
188.169 | -1.3885e-14 | -8.2612
188.054 | -9.468e-15 | -8.2548
187.937 | -3.374e-14 | -8.2494
187.807 | -1.7616e-14 | -8.2443
187.681 | -2.0777e-14 | -8.2392
187.531 | -2.2363e-14 | -8.2361
187.326 | -1.1647e-14 | -8.2372
187.171 | -1.0615e-14 | -8.2345
187.034 | -2.1539e-14 | -8.2303
186.898 | -7.774e-15 | -8.2263
186.76 | -2.378e-15 | -8.2222
186.616 | -2.9123e-14 | -8.2182
186.464 | -1.6822e-14 | -8.2151
186.296 | -2.0476e-14 | -8.2131
186.141 | -1.6559e-14 | -8.2105
185.976 | -1.055e-15 | -8.2082
185.814 | -3.0759e-14 | -8.2058
185.656 | -3.358e-15 | -8.2035
185.493 | -2.0301e-14 | -8.2011
185.322 | -9.512e-15 | -8.1996
185.146 | -1.6709e-14 | -8.1984
184.975 | -1.1975e-14 | -8.1971
184.804 | -2.8374e-14 | -8.1958
184.626 | -2.6538e-14 | -8.1948
184.432 | -7.588e-15 | -8.1946
184.235 | -1.3414e-14 | -8.195
184.032 | -1.3993e-14 | -8.1958
183.822 | -1.7578e-14 | -8.1972
183.618 | -1.6367e-14 | -8.1978
183.413 | -1.3589e-14 | -8.1987
183.193 | -2.5039e-14 | -8.2007
182.955 | -9.795e-15 | -8.2038
182.724 | -2.7991e-14 | -8.2066
182.489 | -3.4391e-14 | -8.209
182.268 | -1.8097e-14 | -8.2109
182.048 | -2.393e-14 | -8.2129
181.826 | -1.2017e-14 | -8.2148
181.606 | -2.0216e-14 | -8.217
181.389 | -1.5169e-14 | -8.2186
181.17 | -1.4781e-14 | -8.2204
180.932 | 1.8287e-14 | -8.2234
180.713 | 2.854e-14 | -8.2252
180.493 | -2.664e-15 | -8.2273
180.272 | -6.849e-15 | -8.2291
180.046 | -1.5377e-14 | -8.2315
179.82 | -2.5376e-14 | -8.2339
179.599 | -9.801e-15 | -8.2359
179.378 | -1.6296e-14 | -8.2378
179.158 | -2.1101e-14 | -8.2395
178.933 | -1.5552e-14 | -8.2415
178.71 | -8.685e-15 | -8.2438
178.482 | -2.828e-15 | -8.2461
178.257 | -6.945e-15 | -8.2481
178.009 | -2.3524e-14 | -8.2516
177.779 | -1.6883e-14 | -8.2537
177.55 | -5.85e-15 | -8.256
177.299 | 3.214e-15 | -8.2598
177.066 | -1.1904e-14 | -8.2623
176.836 | -1.3682e-14 | -8.2641
176.584 | -1.0577e-14 | -8.268
176.354 | -1.512e-14 | -8.2706
176.12 | -1.9574e-14 | -8.2728
175.876 | -9.997e-15 | -8.2763
175.605 | -1.2181e-14 | -8.2815
175.229 | -2.0115e-14 | -8.2936
174.729 | -8.852e-15 | -8.314
174.333 | -1.2483e-14 | -8.3276
174.007 | -3.797e-15 | -8.3365
173.491 | 6.65e-16 | -8.3577
172.837 | -1.1831e-14 | -8.3882
172.207 | 4.412e-15 | -8.4167
171.604 | -2.296e-15 | -8.4436
171.09 | -1.7237e-14 | -8.4646
170.478 | -5.223e-15 | -8.4918
169.848 | -8e-18 | -8.5198
169.343 | -1.133e-15 | -8.5396
168.76 | -8.032e-15 | -8.5646
168.196 | -8.843e-15 | -8.5885
167.684 | -1.3728e-14 | -8.6089
167.209 | -1.1206e-14 | -8.6261
166.59 | -1.9441e-14 | -8.6535
165.854 | -2.0864e-14 | -8.6882
165.23 | 9.681e-15 | -8.7151
164.516 | -4.079e-15 | -8.7481
163.762 | -2.0598e-14 | -8.7836
162.914 | -1.3424e-14 | -8.8251
162.078 | -1.4608e-14 | -8.8656
161.199 | 2.122e-15 | -8.908
160.482 | -4.87e-15 | -8.941
159.789 | -1.5584e-14 | -8.9719
159.091 | -9.765e-15 | -9.0032
158.448 | -2.3111e-14 | -9.0309
157.82 | -2.3676e-14 | -9.0576
157.135 | -1.8488e-14 | -9.0878
156.36 | -1.5465e-14 | -9.1238
155.534 | -3.1649e-14 | -9.1626
154.79 | -1.7734e-14 | -9.1963
154.023 | -8.488e-15 | -9.2314
153.211 | -1.5101e-14 | -9.2693
152.427 | -2.245e-15 | -9.3055
151.71 | -2.1253e-14 | -9.3365
151.078 | -1.521e-14 | -9.3621
150.426 | -3.3527e-14 | -9.3894
149.812 | -3.7261e-14 | -9.4141
149.217 | -3.5248e-14 | -9.4376
148.483 | -3.6688e-14 | -9.47
147.636 | -4.0395e-14 | -9.509
146.791 | -2.3859e-14 | -9.548
145.932 | -1.0161e-14 | -9.5878
145.025 | -1.5812e-14 | -9.6305
144.062 | -7.906e-15 | -9.676
143.088 | -2.8225e-14 | -9.7226
142.014 | -2.3574e-14 | -9.7754
140.833 | -1.5104e-14 | -9.8346
139.649 | -1.4037e-14 | -9.8939
138.387 | -7.633e-15 | -9.9578
136.907 | -1.7083e-14 | -10.0349
135.46 | -1.6555e-14 | -10.1099
134.142 | -1.1077e-14 | -10.1767
132.896 | -2.0226e-14 | -10.2387
131.563 | -1.7096e-14 | -10.3056
130.054 | -2.2962e-14 | -10.3832
128.588 | -1.6283e-14 | -10.4582
127.18 | -2.245e-14 | -10.5295
125.792 | -2.7115e-14 | -10.5993
124.303 | -2.6777e-14 | -10.675
122.772 | -3.9066e-14 | -10.7529
121.532 | -4.3166e-14 | -10.8133
120.426 | -6.2208e-14 | -10.865
119.43 | -5.603e-14 | -10.9093
118.411 | -5.3213e-14 | -10.9553
117.564 | -4.6169e-14 | -10.9912
116.831 | -4.0405e-14 | -11.0197
116.073 | -5.2423e-14 | -11.0499
115.311 | -5.5505e-14 | -11.0799
114.557 | -5.769e-14 | -11.1095
113.736 | -4.4086e-14 | -11.1431
112.909 | -5.0658e-14 | -11.1763
112.303 | -4.6081e-14 | -11.1965
111.276 | -3.8796e-14 | -11.242
110.055 | -4.4961e-14 | -11.2986
108.419 | -5.0481e-14 | -11.3799
106.589 | -3.8823e-14 | -11.4731
104.678 | -3.3577e-14 | -11.5704
102.872 | -4.5085e-14 | -11.6618
101.685 | -4.9938e-14 | -11.7162
100.823 | -5.9013e-14 | -11.7507
99.6492 | -5.6944e-14 | -11.8036
97.9338 | -4.0213e-14 | -11.8883
96.4304 | -3.6142e-14 | -11.9603
94.1773 | -1.6527e-14 | -12.0758
90.5607 | 1.6487e-14 | -12.2713
88.3794 | 8.405e-15 | -12.3825
85.5901 | -3.548e-15 | -12.529
84.1154 | -3.7225e-14 | -12.5982
83.2099 | -2.6511e-14 | -12.6337
83.0126 | -4.5825e-14 | -12.6275
82.8837 | -5.8246e-14 | -12.6177
82.7315 | -5.4208e-14 | -12.6089
82.6022 | -5.3335e-14 | -12.599
82.4743 | -6.4502e-14 | -12.5886
82.3723 | -7.5294e-14 | -12.5775
82.2743 | -7.2839e-14 | -12.5658
82.1905 | -8.7851e-14 | -12.5532
82.0984 | -6.879e-14 | -12.5412
82.0486 | -6.4486e-14 | -12.5267
82.0026 | -6.6207e-14 | -12.5118
81.9904 | -7.7925e-14 | -12.4955
81.9838 | -7.3201e-14 | -12.479
81.9763 | -5.363e-14 | -12.4617
81.9772 | -5.34e-14 | -12.4443
81.9538 | -6.3285e-14 | -12.4283
81.9105 | -6.7439e-14 | -12.4138
81.8414 | -5.8061e-14 | -12.4008
81.7821 | -4.936e-14 | -12.387
81.7418 | -4.3406e-14 | -12.3723
81.6755 | -4.3784e-14 | -12.3591
81.6186 | -5.3554e-14 | -12.3452
81.5694 | -4.6569e-14 | -12.3312
81.5106 | -4.3698e-14 | -12.3177
81.4805 | -2.888e-14 | -12.3029
81.4626 | -4.2484e-14 | -12.2873
81.4363 | -5.9362e-14 | -12.2719
81.4414 | -4.7563e-14 | -12.2554
81.4484 | -4.2859e-14 | -12.2386
81.4626 | -4.8592e-14 | -12.2212
81.4654 | -4.0991e-14 | -12.2045
81.472 | -4.5842e-14 | -12.1873
81.4714 | -4.2974e-14 | -12.1711
81.4668 | -3.9307e-14 | -12.1553

## Pulse
Temperature | Current | Time
81.4359 | 6.7547e-13 | 6.3143
81.3085 | 2.8326e-13 | 12.3093
81.002 | 1.9425e-13 | 13.7254
80.9657 | 1.3592e-13 | 15.1261
80.9064 | 1.038e-13 | 16.5642
80.8298 | 7.7547e-14 | 17.9953
80.8303 | 5.4918e-14 | 19.4254
80.8446 | 7.0362e-14 | 20.8727
80.8802 | 5.3689e-14 | 22.279
80.9701 | 2.4577e-14 | 23.6877
81.096 | 4.0046e-14 | 25.113
81.2446 | 3.5643e-14 | 26.5179
81.4138 | 2.9192e-14 | 27.9363
81.5276 | 3.0381e-14 | 29.3485

## Measurements
Temperature | Current | Temp Rate
81.7817 | -8.5518e-13 | 0
83.2192 | -2.9265e-13 | 9.0162
84.2109 | -2.1416e-13 | 10.6386
84.5426 | -1.9314e-13 | 10.4811
84.8465 | -1.7432e-13 | 10.4294
85.1231 | -1.6812e-13 | 10.5109
85.4402 | -1.6884e-13 | 10.5863
85.7297 | -1.269e-13 | 10.4822
85.9892 | -1.2631e-13 | 10.7651
86.3228 | -1.1573e-13 | 10.9593
86.6414 | -1.1145e-13 | 17.8049
86.9174 | -1.0795e-13 | 27.3749
87.2529 | -1.0485e-13 | 43.4337
87.5429 | -9.9544e-14 | 106.4987
87.8392 | -8.8801e-14 | 182.6172
88.1397 | -8.3993e-14 | 10.2625
88.4458 | -9.1623e-14 | 10.4308
88.7218 | -9.1306e-14 | 10.6439
89.0335 | -9.4438e-14 | 438.6815
89.3472 | -8.7012e-14 | 11.048
89.6611 | -7.0746e-14 | 11.2335
89.9754 | -7.5426e-14 | 11.4102
90.1979 | -9.004e-14 | 11.5335
90.5147 | -7.3409e-14 | 11.6982
90.8272 | -6.7251e-14 | 11.8608
91.1363 | -7.3779e-14 | 11.9954
91.4469 | -7.2958e-14 | 12.1328
91.7586 | -6.6834e-14 | 12.2663
92.0692 | -5.986e-14 | 12.3957
92.2843 | -4.9091e-14 | 12.4784
92.589 | -5.0734e-14 | 12.5868
92.8906 | -4.7304e-14 | 12.6933
93.1924 | -4.9057e-14 | 12.8013
93.4891 | -4.4698e-14 | 12.8936
93.8641 | -4.1049e-14 | 12.9983
94.1512 | -4.6023e-14 | 13.0723
94.4364 | -3.8644e-14 | 13.1369
94.7184 | -4.0459e-14 | 13.2061
95.0827 | -3.8168e-14 | 13.268
95.3626 | -1.5237e-14 | 13.3238
95.6393 | -3.3483e-14 | 13.3934
95.9157 | -3.5121e-14 | 13.4228
96.244 | -2.5955e-14 | 13.4967
96.5164 | -2.754e-14 | 13.5465
96.8673 | -2.8479e-14 | 13.5778
97.1304 | -1.856e-14 | 13.6174
97.4571 | -1.823e-14 | 13.6709
97.7221 | -1.0221e-14 | 13.7042
97.9868 | -3.0989e-14 | 13.7404
98.3043 | -1.875e-14 | 13.7732
98.6446 | -2.7562e-14 | 13.8094
98.9833 | -4.1967e-14 | 13.8254
99.2192 | -3.2244e-14 | 13.8577
99.5519 | -1.4191e-14 | 13.87
99.8116 | -9.711e-15 | 13.8978
100.119 | -2.2369e-14 | 13.9262
100.455 | -1.4019e-14 | 13.9411
100.753 | -2.345e-15 | 13.9692
101.004 | -1.693e-14 | 13.9848
101.328 | -1.3763e-14 | 13.9904
101.627 | -8.006e-15 | 14.0093
101.951 | -1.6639e-14 | 14.0274
102.201 | -2.3507e-14 | 14.0364
102.527 | -1.5541e-14 | 14.0504
102.851 | -2.2943e-14 | 14.0501
103.175 | -1.8293e-14 | 14.0702
103.426 | -2.2433e-14 | 14.0799
103.727 | 8.776e-15 | 14.0993
104.052 | -3.036e-15 | 14.1033
104.303 | 1.1334e-14 | 14.1234
104.628 | 7.923e-15 | 14.1223
104.953 | -4.98e-15 | 14.1327
105.205 | 3.692e-15 | 14.1553
105.529 | -2.668e-15 | 14.1587
105.829 | -9.653e-15 | 14.1726
106.154 | 1.511e-14 | 14.1842
106.405 | 2.16e-14 | 14.192
106.731 | 1.8896e-14 | 14.1937
107.055 | 1.2328e-14 | 14.2058
107.354 | 2.406e-15 | 14.2168
107.606 | 3.983e-15 | 14.2275
107.931 | 2.149e-15 | 14.2277
108.254 | -2.005e-15 | 14.2426
108.556 | 1.7013e-14 | 14.255
108.806 | 9.623e-15 | 14.2581
109.129 | 1.3617e-14 | 14.2702
109.451 | 7.746e-15 | 14.2661
109.694 | 2.2285e-14 | 14.2799
110.019 | 2.3555e-14 | 14.2822
110.317 | 2.0208e-14 | 14.2929
110.639 | 1.9258e-14 | 14.2981
110.889 | 1.5621e-14 | 14.3002
111.212 | 3.528e-14 | 14.3097
111.54 | 2.9421e-14 | 14.3128
111.865 | 2.0148e-14 | 14.3206
112.116 | 2.3556e-14 | 14.3216
112.442 | 1.5944e-14 | 14.33
112.692 | 2.0164e-14 | 14.3435
113.02 | 2.5025e-14 | 14.3529
113.347 | 2.2981e-14 | 14.3576
113.599 | 2.5577e-14 | 14.3639
113.923 | 1.2737e-14 | 14.368
114.249 | 2.3394e-14 | 14.3766
114.501 | 2.8098e-14 | 14.3785
114.828 | 1.816e-14 | 14.3855
115.153 | 3.0889e-14 | 14.3951
115.405 | 2.6913e-14 | 14.4025
115.705 | 3.7768e-14 | 14.4034
116.03 | 2.9263e-14 | 14.4123
116.282 | 3.641e-14 | 14.4173
116.608 | 1.7312e-14 | 14.4146
116.909 | 2.6027e-14 | 14.4247
117.233 | 1.8006e-14 | 14.4312
117.483 | 4.6339e-14 | 14.4335
117.809 | 2.5177e-14 | 14.4396
118.13 | 1.5157e-14 | 14.4436
118.451 | 2.0807e-14 | 14.4476
118.695 | 2.7877e-14 | 14.4478
119.016 | 1.0479e-14 | 14.4532
119.33 | 3.5848e-14 | 14.4507
119.633 | 2.13e-14 | 14.4562
119.953 | 2.6172e-14 | 14.461
120.201 | 2.7209e-14 | 14.4642
120.523 | 2.9299e-14 | 14.4587
120.846 | 2.1469e-14 | 14.463
121.169 | 2.8556e-14 | 14.4682
121.395 | 2.6877e-14 | 14.4731
121.717 | 2.1999e-14 | 14.4775
122.042 | 3.0024e-14 | 14.4769
122.366 | 2.8178e-14 | 14.4794
122.616 | 3.5095e-14 | 14.4893
122.942 | 4.0748e-14 | 14.494
123.191 | 3.134e-14 | 14.4964
123.515 | 2.1874e-14 | 14.4927
123.838 | 1.6939e-14 | 14.4991
124.189 | 2.149e-14 | 14.507
124.437 | 3.34e-14 | 14.5072
124.713 | 3.4172e-14 | 14.5089
125.013 | 3.0025e-14 | 14.5165
125.337 | 2.2473e-14 | 14.519
125.587 | 2.3692e-14 | 14.5226
125.911 | 1.703e-14 | 14.5183
126.235 | 3.0012e-14 | 14.5215
126.487 | 2.7208e-14 | 14.5312
126.81 | 1.3271e-14 | 14.5266
127.135 | 1.9642e-14 | 14.5311
127.461 | 3.5128e-14 | 14.5358
127.682 | 3.5838e-14 | 14.5394
128.002 | 3.0116e-14 | 14.543
128.319 | 1.8598e-14 | 14.5378
128.639 | 2.8764e-14 | 14.5422
128.934 | 4.3629e-14 | 14.5461
129.253 | 1.3377e-14 | 14.547
129.5 | 1.2345e-14 | 14.5464
129.82 | 2.5737e-14 | 14.549
130.141 | 1.6195e-14 | 14.5452
130.463 | 3.3316e-14 | 14.5509
130.71 | 2.3026e-14 | 14.5511
131.009 | 2.7103e-14 | 14.5574
131.333 | 1.0552e-14 | 14.557
131.609 | 1.3415e-14 | 14.5569
131.933 | 2.9534e-14 | 14.5637
132.185 | 4.2149e-14 | 14.5669
132.509 | 1.9981e-14 | 14.5697
132.836 | 1.0665e-14 | 14.5736
133.163 | 2.9249e-14 | 14.5722
133.414 | 3.5778e-14 | 14.5746
133.715 | 1.4279e-14 | 14.5796
134.044 | 1.774e-14 | 14.5833
134.293 | 2.9053e-14 | 14.5845
134.62 | 8.624e-15 | 14.5879
134.947 | 1.2208e-14 | 14.5931
135.198 | 2.9609e-14 | 14.594
135.526 | 2.3105e-14 | 14.5982
135.851 | 2.3168e-14 | 14.601
136.1 | 1.5473e-14 | 14.6018
136.425 | 1.8739e-14 | 14.5999
136.749 | 2.3384e-14 | 14.6021
136.998 | 3.4062e-14 | 14.6072
137.323 | 2.5436e-14 | 14.6089
137.646 | 1.7621e-14 | 14.6121
137.891 | 1.349e-14 | 14.6107
138.212 | 3.1128e-14 | 14.6126
138.534 | 1.8014e-14 | 14.6153
138.855 | 2.9502e-14 | 14.6122
139.154 | 2.1202e-14 | 14.6148
139.427 | 1.8659e-14 | 14.6137
139.751 | 1.796e-14 | 14.6195
140 | 2.3148e-14 | 14.622
140.325 | 2.4426e-14 | 14.6188
140.651 | 2.6594e-14 | 14.6258
140.902 | 2.0325e-14 | 14.6271
141.226 | 1.4647e-14 | 14.6287
141.555 | 3.7541e-14 | 14.6324
141.805 | 2.377e-14 | 14.633
142.156 | 2.7742e-14 | 14.6329
142.408 | 3.3771e-14 | 14.634
142.726 | 2.2693e-14 | 14.6349
143.04 | 9.923e-15 | 14.6329
143.362 | 1.9639e-14 | 14.6356
143.612 | 2.1105e-14 | 14.6352
143.94 | 1.2689e-14 | 14.6389
144.243 | 1.7615e-14 | 14.6428
144.573 | 2.6318e-14 | 14.6444
144.827 | 2.6428e-14 | 14.6499
145.158 | 2.4341e-14 | 14.6536
145.413 | 4.5762e-14 | 14.656
145.747 | 2.9493e-14 | 14.6609
146.002 | 2.6319e-14 | 14.662
146.332 | 1.9842e-14 | 14.6605
146.592 | 1.9877e-14 | 14.6676
146.925 | 3.3159e-14 | 14.6703
147.284 | 1.5445e-14 | 14.6723
147.54 | 1.8594e-14 | 14.6737
147.794 | 2.2582e-14 | 14.6811
148.125 | 3.2721e-14 | 14.6813
148.452 | 3.435e-14 | 14.6833
148.728 | 2.9362e-14 | 14.6833
149.055 | 2.7323e-14 | 14.6845
149.358 | 2.4212e-14 | 14.6887
149.635 | 2.1508e-14 | 14.6895
149.962 | 3.0155e-14 | 14.6922
150.19 | 3.1843e-14 | 14.6951
150.517 | 3.9888e-14 | 14.6979
150.845 | 1.5546e-14 | 14.6964
151.147 | 2.7447e-14 | 14.6997
151.424 | 2.0393e-14 | 14.7007
151.752 | 2.5257e-14 | 14.7022
152.081 | 2.6652e-14 | 14.7044
152.333 | 1.6916e-14 | 14.709
152.584 | 2.7149e-14 | 14.7094
152.914 | 2.5659e-14 | 14.7121
153.241 | 4.4951e-14 | 14.7132
153.492 | 3.6011e-14 | 14.7127
153.821 | 1.8877e-14 | 14.7163
154.15 | 1.5539e-14 | 14.718
154.402 | 3.468e-14 | 14.7179
154.753 | 2.9087e-14 | 14.7199
155.082 | 2.276e-14 | 14.7214
155.333 | 3.9443e-14 | 14.7227
155.659 | 2.9217e-14 | 14.7224
155.909 | 2.9686e-14 | 14.7243
156.237 | 2.5751e-14 | 14.7294
156.489 | 3.1495e-14 | 14.7305
156.815 | 2.1136e-14 | 14.7281
157.142 | 2.2727e-14 | 14.7329
157.419 | 3.72e-15 | 14.7313
157.746 | 2.9131e-14 | 14.7326
157.996 | 3.1015e-14 | 14.7366
158.323 | 3.1003e-14 | 14.7364
158.649 | 1.5643e-14 | 14.738
158.899 | 2.616e-14 | 14.7385
159.252 | 2.6963e-14 | 14.7407
159.553 | 2.9308e-14 | 14.742
159.822 | 1.8013e-14 | 14.7408
160.119 | 3.4337e-14 | 14.7423
160.442 | 2.7153e-14 | 14.7426
160.715 | 4.0275e-14 | 14.7405
161.036 | 3.1216e-14 | 14.7449
161.285 | 2.9997e-14 | 14.7439
161.632 | 1.3328e-14 | 14.7428
161.956 | 2.797e-14 | 14.7436
162.204 | 3.3651e-14 | 14.7469
162.53 | 3.2341e-14 | 14.7475
162.855 | 2.6791e-14 | 14.7491
163.13 | 2.2066e-14 | 14.7486
163.432 | 3.6976e-14 | 14.75
163.709 | 2.3352e-14 | 14.7493
164.036 | 3.1095e-14 | 14.7506
164.288 | 2.7631e-14 | 14.7534
164.639 | 1.2187e-14 | 14.7525
164.915 | 3.422e-14 | 14.7572
165.193 | 2.7294e-14 | 14.7563
165.545 | 3.2143e-14 | 14.7595
165.798 | 2.2544e-14 | 14.7598
166.153 | 3.5089e-14 | 14.7595
166.405 | 4.2267e-14 | 14.7636
166.732 | 4.2431e-14 | 14.7652
166.983 | 3.4178e-14 | 14.7644
167.312 | 4.1141e-14 | 14.7662
167.589 | 3.711e-14 | 14.7685
167.914 | 2.4645e-14 | 14.7693
168.239 | 3.1656e-14 | 14.7701
168.491 | 2.3423e-14 | 14.7705
168.815 | 4.0723e-14 | 14.7717
169.141 | 3.705e-15 | 14.772
169.391 | 1.8245e-14 | 14.7715
169.715 | 2.3815e-14 | 14.7729
170.065 | 2.6181e-14 | 14.7726
170.314 | 1.6831e-14 | 14.7727
170.639 | 2.3877e-14 | 14.7768
170.888 | 2.2797e-14 | 14.7772
171.214 | 2.4196e-14 | 14.7771
171.537 | 2.8149e-14 | 14.7792
171.782 | 4.058e-14 | 14.7787
172.177 | 1.5085e-14 | 14.7755
172.424 | 3.3462e-14 | 14.7757
172.719 | 3.686e-14 | 14.7765
173.039 | 2.466e-14 | 14.7772
173.314 | 3.1518e-14 | 14.7763
173.635 | 1.4312e-14 | 14.7758
173.959 | 2.4867e-14 | 14.777
174.209 | 2.36e-14 | 14.78
174.534 | 1.9312e-14 | 14.7803
174.81 | 3.0499e-14 | 14.7785
175.134 | 3.4952e-14 | 14.7818
175.384 | 3.2575e-14 | 14.7815
175.734 | 3.5552e-14 | 14.7811
175.986 | 2.7563e-14 | 14.7843
176.311 | 3.6031e-14 | 14.7855
176.636 | 3.6521e-14 | 14.7864
176.887 | 3.4423e-14 | 14.7874
177.214 | 2.8652e-14 | 14.788
177.538 | 3.1329e-14 | 14.785
177.788 | 1.6432e-14 | 14.7882
178.115 | 2.8059e-14 | 14.7883
178.466 | 1.4171e-14 | 14.7884
178.716 | 2.4722e-14 | 14.7883
179.042 | 3.4227e-14 | 14.7927
179.293 | 2.8982e-14 | 14.7919
179.617 | 1.5471e-14 | 14.7923
179.944 | 2.3179e-14 | 14.7936
180.194 | 1.2898e-14 | 14.7937
180.545 | 1.9923e-14 | 14.7942
180.869 | 1.159e-15 | 14.7932
181.119 | 1.6006e-14 | 14.7962
181.472 | 7.08e-15 | 14.795
181.722 | 2.798e-14 | 14.7978
182.047 | 2.2665e-14 | 14.7977
182.322 | 2.7019e-14 | 14.7971
182.647 | 2.7204e-14 | 14.8003
182.898 | 2.6405e-14 | 14.7991
183.249 | 2.0385e-14 | 14.8012
183.499 | 2.4508e-14 | 14.8003
183.849 | 2.8093e-14 | 14.8005
184.1 | 2.301e-14 | 14.8027
184.427 | 1.7995e-14 | 14.8031
184.748 | 2.4682e-14 | 14.803
185.019 | 2.7096e-14 | 14.8027
185.414 | 1.7625e-14 | 14.804
185.614 | 2.4617e-14 | 14.8035
185.937 | 2.8983e-14 | 14.8037
186.237 | 2.3684e-14 | 14.804
186.512 | 1.0854e-14 | 14.8029
186.838 | 3.1537e-14 | 14.8069
187.089 | 1.5923e-14 | 14.8063
187.44 | 7.951e-15 | 14.8068
187.77 | 1.8118e-14 | 14.807
188.021 | 3.788e-15 | 14.8098
188.346 | 1.2168e-14 | 14.8105
188.597 | 1.0212e-14 | 14.8103
188.948 | -6.03e-15 | 14.8096
189.274 | 1.5776e-14 | 14.8105
189.552 | -5.509e-15 | 14.8104
189.801 | 2.839e-15 | 14.8133
190.13 | -4.617e-15 | 14.814
190.454 | 5.753e-15 | 14.8147
190.704 | -5.558e-15 | 14.8145
191.054 | 2.0001e-14 | 14.8132
191.306 | 1.2175e-14 | 14.8162
191.631 | 1.4732e-14 | 14.8161
191.981 | 1.6116e-14 | 14.8161
192.232 | 1.2094e-14 | 14.8184
192.509 | -1.14e-15 | 14.817
192.834 | -5.468e-15 | 14.817
193.086 | 1.5791e-14 | 14.8199
193.435 | -7.758e-15 | 14.8197
193.735 | -5.545e-15 | 14.8201
194.008 | -7.582e-15 | 14.8189
194.331 | 1.871e-15 | 14.8213
194.652 | -5.965e-15 | 14.8211
194.927 | -1.6215e-14 | 14.8201
195.251 | -1.9144e-14 | 14.8197
195.501 | -1.2488e-14 | 14.8223
195.85 | 9.418e-15 | 14.8206
196.101 | -1.0321e-14 | 14.8231
196.425 | -2.4087e-14 | 14.8236
196.751 | -2.5824e-14 | 14.8244
197.026 | -1.9108e-14 | 14.8227
197.35 | -3.3762e-14 | 14.8223
197.626 | -3.326e-14 | 14.8247
197.926 | -4.0144e-14 | 14.8253
198.251 | -3.1832e-14 | 14.8258
198.523 | -2.5007e-14 | 14.8248
198.847 | -3.5085e-14 | 14.8268
199.121 | -3.4275e-14 | 14.8252
199.441 | -2.9733e-14 | 14.8269
199.715 | -4.0755e-14 | 14.8251
200.039 | -2.5354e-14 | 14.8279
200.288 | -4.1207e-14 | 14.8277
200.637 | -4.4539e-14 | 14.8262
200.886 | -4.1646e-14 | 14.8285
201.237 | -4.1952e-14 | 14.8282
201.487 | -4.9607e-14 | 14.8289
201.839 | -5.5245e-14 | 14.8307
202.12 | -6.6176e-14 | 14.829
202.448 | -7.0558e-14 | 14.8318
202.73 | -7.809e-14 | 14.8317
203.082 | -7.9729e-14 | 14.8321
203.362 | -7.4259e-14 | 14.8337
203.616 | -8.408e-14 | 14.836
203.969 | -9.2725e-14 | 14.835
204.248 | -1.049e-13 | 14.8389
204.524 | -9.6258e-14 | 14.8376
204.851 | -1.0482e-13 | 14.8375
205.128 | -1.1741e-13 | 14.8397
205.454 | -1.2371e-13 | 14.8397
205.731 | -1.237e-13 | 14.8386
206.007 | -1.3634e-13 | 14.8399
206.282 | -1.4137e-13 | 14.8414
206.606 | -1.2987e-13 | 14.8416
206.956 | -1.5223e-13 | 14.842
207.232 | -1.5334e-13 | 14.8407
207.555 | -1.669e-13 | 14.8407
207.804 | -1.6097e-13 | 14.842
208.152 | -1.8586e-13 | 14.8412
208.427 | -1.9508e-13 | 14.8409
208.748 | -1.8401e-13 | 14.8426
209.023 | -1.9059e-13 | 14.8414
209.346 | -1.9397e-13 | 14.844
209.596 | -2.0256e-13 | 14.843
209.945 | -2.0188e-13 | 14.8444
210.217 | -2.2502e-13 | 14.8418
210.541 | -2.1493e-13 | 14.8441
210.815 | -2.3554e-13 | 14.8431
211.138 | -2.3738e-13 | 14.8432
211.387 | -2.326e-13 | 14.8456
211.71 | -2.4688e-13 | 14.8444
212.052 | -2.6164e-13 | 14.8437
212.295 | -2.6786e-13 | 14.8438
212.645 | -2.7747e-13 | 14.8426
212.895 | -3.0595e-13 | 14.8442
213.243 | -3.1689e-13 | 14.8454
213.516 | -3.1625e-13 | 14.8434
213.839 | -3.223e-13 | 14.845
214.114 | -3.1801e-13 | 14.8442
214.438 | -3.3501e-13 | 14.8463
214.712 | -3.2933e-13 | 14.8447
215.037 | -3.426e-13 | 14.8447
215.314 | -3.7342e-13 | 14.8455
215.639 | -3.8229e-13 | 14.8473
215.915 | -3.9383e-13 | 14.8464
216.241 | -4.0329e-13 | 14.8478
216.517 | -4.182e-13 | 14.8464
216.869 | -4.197e-13 | 14.8477
217.12 | -4.4841e-13 | 14.8496
217.396 | -4.4647e-13 | 14.8497
217.747 | -4.681e-13 | 14.8496
217.999 | -4.6259e-13 | 14.8514
218.326 | -4.7531e-13 | 14.8512
218.601 | -4.8736e-13 | 14.8523
218.952 | -4.7582e-13 | 14.8509
219.202 | -4.9225e-13 | 14.8523
219.553 | -5.1176e-13 | 14.852
219.804 | -5.2553e-13 | 14.8534
220.153 | -5.1925e-13 | 14.8514
220.428 | -5.3711e-13 | 14.8529
220.752 | -5.5503e-13 | 14.8522
221.026 | -5.5104e-13 | 14.8526
221.348 | -5.6736e-13 | 14.8536
221.621 | -5.9211e-13 | 14.8527
221.942 | -6.0327e-13 | 14.8542
222.212 | -6.263e-13 | 14.8541
222.546 | -6.2787e-13 | 14.8513
222.785 | -6.31e-13 | 14.851
223.138 | -6.4211e-13 | 14.851
223.419 | -6.4806e-13 | 14.854
223.696 | -6.7497e-13 | 14.8541
224.045 | -6.8142e-13 | 14.8534
224.297 | -6.8822e-13 | 14.8544
224.656 | -7.0671e-13 | 14.8542
224.95 | -7.3462e-13 | 14.8554
225.245 | -7.5574e-13 | 14.8607
225.534 | -7.6884e-13 | 14.8597
225.813 | -7.7344e-13 | 14.861
226.213 | -7.9288e-13 | 14.8623
226.412 | -8.1441e-13 | 14.863
226.734 | -8.3161e-13 | 14.8618
227.055 | -8.3251e-13 | 14.8631
227.326 | -8.4232e-13 | 14.8633
227.65 | -8.7138e-13 | 14.8626
227.921 | -8.7821e-13 | 14.863
228.266 | -9.1275e-13 | 14.8614
228.536 | -9.2955e-13 | 14.8608
228.807 | -9.3659e-13 | 14.861
229.129 | -9.5091e-13 | 14.8629
229.45 | -9.8363e-13 | 14.8623
229.723 | -9.9374e-13 | 14.8609
230.047 | -1.073e-12 | 14.8328
230.544 | -1.0493e-12 | 14.8634
230.744 | -1.0496e-12 | 14.8621
230.944 | -1.0664e-12 | 14.8625
231.193 | -1.0931e-12 | 14.8624
231.546 | -1.0459e-12 | 14.8636
231.819 | -1.134e-12 | 14.8627
232.144 | -1.2231e-12 | 14.8642
232.419 | -1.1728e-12 | 14.8649
232.768 | -1.1526e-12 | 14.8639
233.02 | -1.2038e-12 | 14.8648
233.295 | -1.2221e-12 | 14.865
233.645 | -1.2696e-12 | 14.8662
233.918 | -1.2693e-12 | 14.8648
234.271 | -1.2498e-12 | 14.8653
234.546 | -1.3095e-12 | 14.8655
234.796 | -1.2633e-12 | 14.8668
235.147 | -1.3759e-12 | 14.8661
235.396 | -1.3701e-12 | 14.8668
235.748 | -1.4114e-12 | 14.868
236.024 | -1.3609e-12 | 14.8662
236.349 | -1.4173e-12 | 14.8678
236.649 | -1.4284e-12 | 14.8677
236.901 | -1.4519e-12 | 14.8688
237.25 | -1.4454e-12 | 14.8694
237.525 | -1.383e-12 | 14.8683
237.853 | -1.529e-12 | 14.8697
238.126 | -1.555e-12 | 14.8697
238.402 | -1.5713e-12 | 14.8701
238.75 | -1.6358e-12 | 14.869
239.027 | -1.6529e-12 | 14.8711
239.377 | -1.6257e-12 | 14.8702
239.629 | -1.68e-12 | 14.8716
239.979 | -1.6989e-12 | 14.8707
240.254 | -1.7268e-12 | 14.8708
240.529 | -1.6681e-12 | 14.8713
240.854 | -1.7831e-12 | 14.8728
241.129 | -1.7232e-12 | 14.8709
241.479 | -1.7936e-12 | 14.8722
241.729 | -1.7887e-12 | 14.8727
242.006 | -1.743e-12 | 14.8732
242.355 | -1.8031e-12 | 14.874
242.631 | -1.8598e-12 | 14.8733
242.955 | -1.8319e-12 | 14.8739
243.23 | -1.8143e-12 | 14.8733
243.58 | -1.8619e-12 | 14.8741
243.829 | -1.8536e-12 | 14.8747
244.104 | -1.9027e-12 | 14.8751
244.426 | -1.9488e-12 | 14.8742
244.698 | -1.9209e-12 | 14.8746
245.046 | -1.9288e-12 | 14.8748
245.319 | -1.9964e-12 | 14.8735
245.643 | -1.9716e-12 | 14.8747
245.941 | -2.0106e-12 | 14.8742
246.19 | -2.0076e-12 | 14.8749
246.564 | -2.0579e-12 | 14.874
246.814 | -2.0215e-12 | 14.8734
247.09 | -2.043e-12 | 14.8759
247.44 | -2.089e-12 | 14.8763
247.716 | -2.1543e-12 | 14.8767
248.066 | -2.117e-12 | 14.8748
248.341 | -2.1336e-12 | 14.8754
248.592 | -2.1499e-12 | 14.8763
248.944 | -2.1723e-12 | 14.8774
249.22 | -2.1405e-12 | 14.8778
249.495 | -2.1568e-12 | 14.8784
249.846 | -2.2106e-12 | 14.8789
250.121 | -2.2436e-12 | 14.8789
250.396 | -2.2484e-12 | 14.8791
250.748 | -2.208e-12 | 14.8779
251.023 | -2.1661e-12 | 14.8781
251.348 | -2.2669e-12 | 14.8799
251.624 | -2.3321e-12 | 14.8786
251.949 | -2.2138e-12 | 14.8798
252.225 | -2.2702e-12 | 14.8803
252.5 | -2.2396e-12 | 14.8806
252.851 | -2.318e-12 | 14.8798
253.101 | -2.4547e-12 | 14.8807
253.452 | -2.3504e-12 | 14.8819
253.727 | -2.3082e-12 | 14.882
254.076 | -2.3015e-12 | 14.8809
254.354 | -2.2939e-12 | 14.8816
254.627 | -2.3931e-12 | 14.8817
254.954 | -2.335e-12 | 14.8825
255.23 | -2.4069e-12 | 14.883
255.504 | -2.4126e-12 | 14.8832
255.854 | -2.3856e-12 | 14.8826
256.104 | -2.37e-12 | 14.8828
256.456 | -2.3952e-12 | 14.8839
256.731 | -2.5127e-12 | 14.884
257.005 | -2.5215e-12 | 14.8842
257.356 | -2.5088e-12 | 14.8849
257.63 | -2.5222e-12 | 14.8849
257.906 | -2.566e-12 | 14.8847
258.255 | -2.6318e-12 | 14.8845
258.532 | -2.6316e-12 | 14.8849
258.807 | -2.6077e-12 | 14.8854
259.157 | -2.6699e-12 | 14.8859
259.432 | -2.6764e-12 | 14.8853
259.707 | -2.7035e-12 | 14.8853
260.054 | -3.3947e-12 | 14.8858
260.329 | -2.8332e-12 | 14.8859
260.608 | -2.8167e-12 | 14.887
260.954 | -2.9241e-12 | 14.8854
261.202 | -2.9194e-12 | 14.886
261.55 | -2.7535e-12 | 14.8871
261.798 | -2.8634e-12 | 14.8861
262.147 | -2.7962e-12 | 14.8862
262.419 | -2.8014e-12 | 14.8865
262.693 | -2.8401e-12 | 14.8871
263.043 | -2.8136e-12 | 14.8852
263.317 | -2.7905e-12 | 14.8868
263.666 | -2.9817e-12 | 14.8865
263.916 | -2.8533e-12 | 14.8867
264.192 | -2.8463e-12 | 14.8878
264.541 | -2.8682e-12 | 14.8868
264.818 | -2.8898e-12 | 14.8864
265.168 | -2.9153e-12 | 14.8874
265.419 | -2.9698e-12 | 14.888
265.694 | -2.9563e-12 | 14.8878
266.069 | -2.8694e-12 | 14.8877
266.32 | -2.9312e-12 | 14.8887
266.597 | -3.1355e-12 | 14.8893
266.922 | -2.9414e-12 | 14.8887
267.247 | -2.8078e-12 | 14.8897
267.523 | -2.7688e-12 | 14.8897
267.798 | -2.8112e-12 | 14.8896
268.149 | -2.7717e-12 | 14.8908
268.425 | -2.7348e-12 | 14.8889
268.698 | -2.7401e-12 | 14.8908
269.05 | -2.7145e-12 | 14.8897
269.326 | -2.7026e-12 | 14.8899
269.675 | -2.6571e-12 | 14.8909
269.923 | -2.5583e-12 | 14.8909
270.226 | -2.562e-12 | 14.891
270.551 | -2.4667e-12 | 14.8919
270.827 | -2.5112e-12 | 14.8923
271.128 | -2.4756e-12 | 14.8914
271.452 | -2.4346e-12 | 14.8922
271.728 | -2.4614e-12 | 14.8911
272.003 | -2.3465e-12 | 14.8931
272.329 | -2.3925e-12 | 14.8929
272.605 | -2.2954e-12 | 14.8936
272.955 | -2.2302e-12 | 14.8924
273.229 | -2.1951e-12 | 14.8928
273.554 | -2.1665e-12 | 14.8937
273.829 | -2.1031e-12 | 14.8939
274.104 | -2.0123e-12 | 14.8942
274.456 | -1.9071e-12 | 14.893
274.731 | -1.8625e-12 | 14.8933
275.08 | -1.839e-12 | 14.894
275.355 | -1.6884e-12 | 14.8936
275.63 | -1.7464e-12 | 14.8942
275.955 | -1.6758e-12 | 14.8956
276.23 | -1.6438e-12 | 14.8956
276.504 | -1.5533e-12 | 14.8955
276.855 | -1.5207e-12 | 14.8942
277.13 | -1.4491e-12 | 14.8948
277.482 | -1.4718e-12 | 14.8956
277.755 | -1.3459e-12 | 14.8949
278.031 | -1.2931e-12 | 14.8962
278.306 | -1.2879e-12 | 14.896
278.582 | -1.2243e-12 | 14.8962
278.931 | -1.2257e-12 | 14.8962
279.205 | -1.1862e-12 | 14.8965
279.552 | -1.1372e-12 | 14.8965
279.824 | -1.1366e-12 | 14.8959
280.097 | -1.132e-12 | 14.8962
280.444 | -1.0341e-12 | 14.8963
280.719 | -1.039e-12 | 14.8964
280.992 | -1.001e-12 | 14.8971
281.343 | -9.9201e-13 | 14.896
281.617 | -9.6472e-13 | 14.8976
281.941 | -9.5882e-13 | 14.897
282.217 | -9.1908e-13 | 14.8972
282.492 | -8.3621e-13 | 14.8979
282.841 | -8.7592e-13 | 14.8968
283.118 | -8.7239e-13 | 14.8983
283.394 | -8.4769e-13 | 14.8983
283.744 | -8.103e-13 | 14.8984
284.02 | -7.0019e-13 | 14.8989
284.295 | -7.5171e-13 | 14.8985
284.646 | -7.6927e-13 | 14.8991
284.922 | -7.3555e-13 | 14.8992
285.196 | -7.382e-13 | 14.8992
285.549 | -6.6266e-13 | 14.899
285.822 | -6.621e-13 | 14.899
286.125 | -7.2424e-13 | 14.899
286.474 | -7.043e-13 | 14.8992
286.75 | -6.8064e-13 | 14.8987
287.025 | -6.2705e-13 | 14.9
287.353 | -6.6763e-13 | 14.9001
287.652 | -6.8946e-13 | 14.9004
287.902 | -6.3561e-13 | 14.9009
288.252 | -6.5621e-13 | 14.9007
288.552 | -5.8607e-13 | 14.9003
288.827 | -5.8115e-13 | 14.9007
289.154 | -6.3443e-13 | 14.9015
289.429 | -6.3161e-13 | 14.9015
289.703 | -6.3121e-13 | 14.9014
290.054 | -6.153e-13 | 14.9006
290.328 | -5.9353e-13 | 14.9021
290.605 | -5.4713e-13 | 14.9021
290.979 | -5.4396e-13 | 14.9021
291.229 | -5.5145e-13 | 14.9025
291.505 | -5.4001e-13 | 14.9029
291.855 | -5.3796e-13 | 14.9015
292.129 | -5.2841e-13 | 14.9034
292.481 | -4.8718e-13 | 14.9023
292.73 | -5.1959e-13 | 14.9029
293.031 | -4.7249e-13 | 14.9024
293.305 | -4.7533e-13 | 14.9035
293.656 | -4.8051e-13 | 14.9041
293.93 | -4.8547e-13 | 14.9042
294.205 | -4.6997e-13 | 14.9044
294.555 | -4.8518e-13 | 14.8239
296.105 | -4.4838e-13 | 14.905
297.157 | -4.3723e-13 | 14.9052
297.431 | -4.3765e-13 | 14.9051
297.706 | -4.3219e-13 | 14.9054
298.056 | -4.0294e-13 | 14.9057
298.355 | -4.2347e-13 | 14.905
298.629 | -4.1165e-13 | 14.9057
298.903 | -4.0065e-13 | 14.9062
299.248 | -3.9793e-13 | 14.9052
299.523 | -4.0202e-13 | 14.9052
299.846 | -3.7954e-13 | 14.9062
300.12 | -3.9532e-13 | 14.9047
300.443 | -3.7925e-13 | 14.9057
300.719 | -3.8872e-13 | 14.9054
301.017 | -3.8302e-13 | 14.9051
301.343 | -3.7662e-13 | 14.9056
301.643 | -3.9037e-13 | 14.9054
301.917 | -3.7162e-13 | 14.9065
302.194 | -3.722e-13 | 14.9062
302.543 | -3.6455e-13 | 14.9066
302.819 | -3.6394e-13 | 14.9064
303.119 | -3.6155e-13 | 14.9065
303.446 | -3.7541e-13 | 14.9067
303.746 | -3.8639e-13 | 14.907
303.997 | -3.7331e-13 | 14.9078
304.348 | -3.9058e-13 | 14.9066
304.622 | -3.7649e-13 | 14.9068
304.973 | -3.6975e-13 | 14.9072
305.25 | -3.9519e-13 | 14.9083
305.525 | -3.8673e-13 | 14.9083
305.8 | -3.7975e-13 | 14.9078
306.15 | -3.9199e-13 | 14.9084
306.451 | -3.9108e-13 | 14.9081
306.726 | -3.9517e-13 | 14.9091
307.001 | -4.1749e-13 | 14.9088
307.352 | -4.1695e-13 | 14.9092
307.602 | -4.1548e-13 | 14.9089
307.977 | -4.0183e-13 | 14.9087
308.253 | -4.1917e-13 | 14.9088
308.528 | -4.2609e-13 | 14.9087
308.877 | -4.2572e-13 | 14.9089
309.152 | -4.1673e-13 | 14.9104
309.428 | -4.2351e-13 | 14.9103
309.702 | -4.3063e-13 | 14.9104
310.054 | -4.2328e-13 | 14.9093
310.328 | -4.3627e-13 | 14.9106
310.603 | -4.4098e-13 | 14.9102
310.955 | -4.6391e-13 | 14.9108
311.229 | -4.5646e-13 | 14.9109
311.504 | -4.6227e-13 | 14.9114
311.853 | -4.6918e-13 | 14.9104
312.128 | -4.9359e-13 | 14.9103
312.43 | -4.8359e-13 | 14.9104
312.704 | -4.8868e-13 | 14.9116
313.053 | -4.8762e-13 | 14.9117
313.329 | -4.9222e-13 | 14.9118
313.605 | -5.1203e-13 | 14.9117
313.955 | -5.1062e-13 | 14.9116
314.229 | -5.2322e-13 | 14.9117
314.504 | -5.275e-13 | 14.9117
314.855 | -5.3715e-13 | 14.9122
315.131 | -5.2691e-13 | 14.9123
315.406 | -5.2321e-13 | 14.9123
315.755 | -5.3868e-13 | 14.9123
316.03 | -5.3735e-13 | 14.9122
316.329 | -5.4473e-13 | 14.9129
316.63 | -5.681e-13 | 14.9124
316.981 | -5.7734e-13 | 14.9126
317.23 | -5.8564e-13 | 14.9128
317.505 | -5.8175e-13 | 14.9133
317.782 | -5.8685e-13 | 14.9137
318.131 | -5.9833e-13 | 14.913
318.48 | -6.0646e-13 | 14.9124
318.781 | -5.9631e-13 | 14.9132
319.057 | -6.028e-13 | 14.913
319.332 | -6.2253e-13 | 14.9139
319.632 | -6.2417e-13 | 14.9138
319.882 | -6.1919e-13 | 14.914
320.231 | -6.389e-13 | 14.9141
320.504 | -6.4972e-13 | 14.9144
320.852 | -6.5944e-13 | 14.9146
321.126 | -6.7157e-13 | 14.9143
321.399 | -6.7471e-13 | 14.9137
321.724 | -6.6928e-13 | 14.9143
322.023 | -6.7794e-13 | 14.9142
322.322 | -7.045e-13 | 14.9138
322.596 | -7.2699e-13 | 14.9147
322.948 | -7.1742e-13 | 14.914
323.223 | -7.1654e-13 | 14.9149
323.498 | -7.0796e-13 | 14.9148
323.849 | -7.2397e-13 | 14.9154
324.123 | -7.4464e-13 | 14.9149
324.424 | -7.4224e-13 | 14.9144
324.7 | -7.5343e-13 | 14.9158
325.05 | -7.6059e-13 | 14.9158
325.325 | -7.6974e-13 | 14.916
325.676 | -7.75e-13 | 14.9153
325.952 | -7.7469e-13 | 14.9155
326.228 | -7.7962e-13 | 14.9152
326.577 | -7.9625e-13 | 14.9154
326.853 | -7.9204e-13 | 14.9153
327.127 | -8.172e-13 | 14.9161
327.402 | -8.1832e-13 | 14.9161
327.778 | -8.3131e-13 | 14.9162
328.028 | -8.414e-13 | 14.9158
328.328 | -8.5709e-13 | 14.9164
328.629 | -8.5311e-13 | 14.9161
328.903 | -8.7824e-13 | 14.9171
329.253 | -9.0709e-13 | 14.9172
329.529 | -9.1553e-13 | 14.9172
329.828 | -9.3131e-13 | 14.9171
330.154 | -9.5122e-13 | 14.917
330.454 | -9.5276e-13 | 14.917
330.729 | -9.6061e-13 | 14.899
331.229 | -9.596e-13 | 14.9175
331.48 | -1.0129e-12 | 14.917
331.705 | -1.0329e-12 | 14.9172
331.905 | -1.0752e-12 | 14.918
332.255 | -1.0925e-12 | 14.9184
332.531 | -1.0231e-12 | 14.9179
332.829 | -1.0972e-12 | 14.9178
333.105 | -1.1556e-12 | 14.9184
333.455 | -1.1263e-12 | 14.9185
333.755 | -1.1672e-12 | 14.9181
334.028 | -1.1389e-12 | 14.9188
334.304 | -1.1812e-12 | 14.9184
334.68 | -1.2199e-12 | 14.9185
334.956 | -1.217e-12 | 14.9187
335.205 | -1.2649e-12 | 14.9188
335.53 | -1.2366e-12 | 14.9192
335.805 | -1.2462e-12 | 14.919
336.155 | -1.3061e-12 | 14.9197
336.43 | -1.3913e-12 | 14.9198
336.73 | -1.2846e-12 | 14.9194
337.081 | -1.359e-12 | 14.9192
337.381 | -1.4041e-12 | 14.9194
337.654 | -1.4287e-12 | 14.92
337.929 | -1.473e-12 | 14.9197
338.23 | -1.2971e-12 | 14.9203
338.53 | -1.4849e-12 | 14.92
338.805 | -1.5353e-12 | 14.9201
339.18 | -1.5437e-12 | 14.9199
339.456 | -1.5444e-12 | 14.9204
339.731 | -1.5823e-12 | 14.9204
340.029 | -1.4827e-12 | 14.9203
340.381 | -1.6339e-12 | 14.9204
340.656 | -1.6253e-12 | 14.9196
340.956 | -1.6635e-12 | 14.9203
341.231 | -1.6705e-12 | 14.9202
341.505 | -1.6548e-12 | 14.9211
341.881 | -1.7028e-12 | 14.9206
342.18 | -1.7334e-12 | 14.921
342.455 | -1.7375e-12 | 14.9213
342.755 | -1.8033e-12 | 14.9206
343.053 | -1.7849e-12 | 14.9213
343.355 | -1.8111e-12 | 14.9213
343.63 | -1.8887e-12 | 14.9208
343.93 | -1.9138e-12 | 14.9214
344.206 | -1.9027e-12 | 14.9224
344.554 | -1.8813e-12 | 14.9212
344.83 | -1.9123e-12 | 14.9223
345.106 | -1.9217e-12 | 14.9223
345.406 | -1.8274e-12 | 14.9218
345.731 | -1.9222e-12 | 14.922
346.03 | -1.8941e-12 | 14.9219
346.378 | -2e-12 | 14.9216
346.651 | -1.9859e-12 | 14.9211
346.924 | -2.0174e-12 | 14.9218
347.223 | -1.9785e-12 | 14.9216
347.497 | -1.9462e-12 | 14.9224
347.846 | -2.0618e-12 | 14.9227
348.12 | -2.0748e-12 | 14.9221
348.42 | -2.0505e-12 | 14.9226
348.695 | -2.0816e-12 | 14.9227
349.043 | -2.07e-12 | 14.9225
349.32 | -2.0546e-12 | 14.9228
349.594 | -2.0491e-12 | 14.9226
349.971 | -2.088e-12 | 14.9221
350.272 | -1.9882e-12 | 14.9227
350.546 | -2.1122e-12 | 14.9227
350.822 | -2.0835e-12 | 14.9223
351.099 | -2.1004e-12 | 14.9238
351.448 | -2.1244e-12 | 14.9237
351.723 | -2.1813e-12 | 14.9237
351.999 | -2.0731e-12 | 14.9237
352.3 | -2.095e-12 | 14.9243
352.649 | -2.125e-12 | 14.9234
352.925 | -2.1331e-12 | 14.9234
353.201 | -2.0856e-12 | 14.9242
353.501 | -2.0841e-12 | 14.9244
353.851 | -2.1921e-12 | 14.9245
354.126 | -2.1479e-12 | 14.9244
354.427 | -2.1543e-12 | 14.9241
354.776 | -2.0973e-12 | 14.9239
355.052 | -2.0943e-12 | 14.9251
355.327 | -2.1321e-12 | 14.9246
355.628 | -2.124e-12 | 14.924
355.902 | -2.0844e-12 | 14.925
356.253 | -2.0676e-12 | 14.925
356.553 | -2.0602e-12 | 14.9246
356.83 | -2.1692e-12 | 14.9253
357.128 | -2.1023e-12 | 14.9248
357.479 | -2.114e-12 | 14.9247
357.754 | -2.0658e-12 | 14.9253
358.054 | -2.0968e-12 | 14.9247
358.329 | -2.0461e-12 | 14.9256
358.63 | -2.0955e-12 | 14.9249
358.93 | -2.0513e-12 | 14.9253
359.255 | -2.0574e-12 | 14.9257
359.532 | -2.0595e-12 | 14.926
359.831 | -2.0247e-12 | 14.9256
360.106 | -2.1241e-12 | 14.9265
360.382 | -2.0358e-12 | 14.9261
360.757 | -2.018e-12 | 14.9259
361.033 | -1.9656e-12 | 14.9256
361.308 | -2.0155e-12 | 14.9265
361.608 | -1.9971e-12 | 14.926
361.884 | -2.0057e-12 | 14.927
362.234 | -1.9775e-12 | 14.927
362.51 | -1.9836e-12 | 14.9268
362.81 | -1.9915e-12 | 14.9275
363.111 | -2.0165e-12 | 14.9268
363.387 | -1.9593e-12 | 14.9276
363.761 | -1.9857e-12 | 14.9271
364.035 | -1.8909e-12 | 14.9275
364.311 | -1.9389e-12 | 14.9273
364.612 | -1.9071e-12 | 14.9274
364.886 | -1.9202e-12 | 14.9275
365.261 | -1.8655e-12 | 14.9277
365.536 | -1.8909e-12 | 14.9283
365.812 | -1.8668e-12 | 14.9278
366.113 | -1.9045e-12 | 14.9274
366.388 | -1.8934e-12 | 14.9283
366.687 | -1.8057e-12 | 14.9281
367.063 | -1.8537e-12 | 14.9281
367.337 | -1.8028e-12 | 14.9283
367.637 | -1.8125e-12 | 14.9279
367.912 | -1.8096e-12 | 14.9286
368.212 | -1.7685e-12 | 14.928
368.486 | -1.785e-12 | 14.9289
368.836 | -1.765e-12 | 14.9291
369.085 | -1.7562e-12 | 14.9289
369.436 | -1.7571e-12 | 14.9286
369.737 | -1.7328e-12 | 14.9281
370.012 | -1.6585e-12 | 14.9295
370.286 | -1.723e-12 | 14.9288
370.586 | -1.703e-12 | 14.9294
370.936 | -1.6995e-12 | 14.9293
371.21 | -1.7087e-12 | 14.9291
371.51 | -1.6845e-12 | 14.9291
371.81 | -1.5976e-12 | 14.9291
372.16 | -1.6404e-12 | 14.9291
372.434 | -1.581e-12 | 14.9288
372.709 | -1.6414e-12 | 14.9296
372.985 | -1.5622e-12 | 14.9293
373.333 | -1.5809e-12 | 14.9293
373.63 | -1.5872e-12 | 14.9296
373.931 | -1.5365e-12 | 14.9294
374.206 | -1.5292e-12 | 14.93
374.556 | -1.5411e-12 | 14.9298
374.83 | -1.5597e-12 | 14.9295
375.13 | -1.5232e-12 | 14.93
375.431 | -1.5036e-12 | 14.9294
375.705 | -1.524e-12 | 14.9304
376.055 | -1.4704e-12 | 14.9302
376.331 | -1.4756e-12 | 14.9301
376.63 | -1.4883e-12 | 14.9292
376.931 | -1.4746e-12 | 14.9307
377.205 | -1.4022e-12 | 14.9303
377.555 | -1.4223e-12 | 14.9303
377.855 | -1.4472e-12 | 14.9297
378.129 | -1.4637e-12 | 14.9304
378.43 | -1.4068e-12 | 14.9307
378.728 | -1.4111e-12 | 14.9302
379.003 | -1.3931e-12 | 14.9307
379.353 | -1.3589e-12 | 14.9305
379.654 | -1.3794e-12 | 14.93
379.928 | -1.3524e-12 | 14.9309
380.228 | -1.3573e-12 | 14.9303
380.527 | -1.2636e-12 | 14.9305
380.802 | -1.4144e-12 | 14.931
381.178 | -1.3203e-12 | 14.9309
381.452 | -1.3508e-12 | 14.9314
381.751 | -1.3233e-12 | 14.9308
382.026 | -1.2323e-12 | 14.9312
382.327 | -1.2501e-12 | 14.9308
382.602 | -1.3083e-12 | 14.9315
382.952 | -1.3093e-12 | 14.9315
383.253 | -1.2325e-12 | 14.9317
383.527 | -1.2398e-12 | 14.9316
383.801 | -1.2319e-12 | 14.9314
384.104 | -1.3024e-12 | 14.932
384.453 | -6.9e-13 | 14.9317
384.753 | -1.1579e-12 | 14.9322
385.027 | -1.1436e-12 | 14.9316
385.326 | -1.2788e-12 | 14.932
385.628 | -1.1611e-12 | 14.9313
385.902 | -1.2533e-12 | 14.9321
386.277 | -1.0303e-12 | 14.932
386.552 | -1.1364e-12 | 14.9325
386.827 | -1.1971e-12 | 14.9321
387.128 | -1.1712e-12 | 14.9323
387.502 | -1.0055e-12 | 14.9317
387.727 | -1.1047e-12 | 14.9319
388.002 | -1.1321e-12 | 14.9328
388.302 | -1.0633e-12 | 14.933
388.652 | -1.2017e-12 | 14.9323
388.952 | -1.1088e-12 | 14.9329
389.253 | -1.0344e-12 | 14.9325
389.502 | -9.4401e-13 | 14.9331
389.829 | -1.1199e-12 | 14.9327
390.127 | -1.1146e-12 | 14.9331
390.424 | -1.0769e-12 | 14.9322
390.747 | -9.9061e-13 | 14.9329
390.994 | -9.0154e-13 | 14.9327
391.317 | -9.4285e-13 | 14.9321
391.617 | -1.0872e-12 | 14.9328
391.939 | -1.1695e-12 | 14.9324
392.214 | -1.0209e-12 | 14.9328
392.515 | -9.6384e-13 | 14.9328
392.865 | -1.0705e-12 | 14.9327
393.141 | -1.0912e-12 | 14.9323
393.416 | -1.1062e-12 | 14.933
393.717 | -1.0113e-12 | 14.9334
394.017 | -9.9771e-13 | 14.9336
394.316 | -1.0087e-12 | 14.933
394.592 | -9.8637e-13 | 14.9337
394.943 | -1.0585e-12 | 14.9333
395.243 | -1.0096e-12 | 14.9339
395.544 | -9.5771e-13 | 14.9332
395.821 | -9.5303e-13 | 14.9331
396.119 | -1.0597e-12 | 14.9335
396.396 | -9.8382e-13 | 14.9342
396.745 | -9.5994e-13 | 14.934
397.045 | -9.643e-13 | 14.9334
397.322 | -9.8745e-13 | 14.9341
397.624 | -1.0184e-12 | 14.9345
397.922 | -8.7286e-13 | 14.9343
398.224 | -9.6012e-13 | 14.9351
398.549 | -9.2855e-13 | 14.9349
398.825 | -9.5625e-13 | 14.9347
399.15 | -9.3442e-13 | 14.9349
399.426 | -1.0013e-12 | 14.9347
399.725 | -9.2218e-13 | 14.9347
400.024 | -9.259e-13 | 14.9342
400.299 | -9.1721e-13 | 14.9346
400.6 | -8.9372e-13 | 14.9355
400.95 | -1.0565e-12 | 14.9349
401.25 | -8.2037e-13 | 14.9352
401.55 | -9.1971e-13 | 14.9347
401.825 | -9.6849e-13 | 14.9355