## Settings
Sample Info | So12ig, dot b5, run 02, glued
Comments | -5/4/-5
Additional Comments | under moderate light
Major Measurement Parameters
Starting Temperature | 373.007
Initial Temperature | 80.5
Final Temperature | 450
Preliminary Voltage | -5
Pulse Voltage | 4
Pulse Time | 30
Wait Time | 0
Measurement Voltage | -5
Subsidiary Measurement Parameters
Step | 0.3
Accuracy Step | 0.1
Accuracy Stable | 0.5
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 15
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 5
Measurecount | 1
Time
Date | 11.4.2024
Clock | 17:35:5

## Stabilization
Temperature | Current | Temp Rate
372.456 | -4.0538e-12 | 0
372.148 | -2.5601e-12 | -14.2836
371.877 | -2.0079e-12 | -13.6393
371.589 | -1.6789e-12 | -13.5989
371.301 | -1.4796e-12 | -13.5269
371.015 | -1.3391e-12 | -13.4294
370.724 | -1.1397e-12 | -13.4461
370.369 | -1.0387e-12 | -13.8895
370.001 | -9.3099e-13 | -14.3232
369.624 | -8.582e-13 | -14.669
369.208 | -7.6946e-13 | -16.8217
368.876 | -7.1642e-13 | -20.7686
368.552 | -7.3831e-13 | -30.3504
368.224 | -6.6021e-13 | -65.4899
367.922 | -5.9686e-13 | -104.7428
367.619 | -5.3918e-13 | -13.9807
367.319 | -5.3031e-13 | -13.9813
366.996 | -5.2934e-13 | -14.0293
364.831 | -4.5434e-13 | -72.4746
364.17 | -4.2159e-13 | -16.042
363.596 | -4.0479e-13 | -16.4513
363.017 | -3.6186e-13 | -16.848
362.496 | -3.5399e-13 | -17.0774
361.816 | -3.1288e-13 | -17.5874
361.224 | -3.0869e-13 | -17.8505
360.654 | -2.9126e-13 | -18.1201
360.148 | -2.8049e-13 | -18.2687
359.611 | -2.7511e-13 | -18.4693
359.109 | -2.7445e-13 | -18.5223
358.527 | -2.2627e-13 | -18.7666
357.998 | -2.2485e-13 | -18.9257
357.437 | -2.0599e-13 | -19.1146
356.919 | -2.1844e-13 | -19.244
356.364 | -1.9107e-13 | -19.4081
355.893 | -1.991e-13 | -19.4679
355.271 | -1.7118e-13 | -19.7062
354.827 | -1.7356e-13 | -19.724
354.294 | -1.6944e-13 | -19.8403
353.762 | -1.7421e-13 | -19.9443
353.136 | -1.639e-13 | -20.1511
352.656 | -1.5804e-13 | -20.1876
352.173 | -1.5011e-13 | -20.2406
351.667 | -1.6102e-13 | -20.3034
351.194 | -1.4444e-13 | -20.3399
350.729 | -1.2154e-13 | -20.3545
350.208 | -1.2243e-13 | -20.4284
349.755 | -1.1645e-13 | -20.4425
349.167 | -1.3539e-13 | -20.576
348.71 | -1.1846e-13 | -20.587
348.231 | -1.0937e-13 | -20.6073
347.658 | -1.0964e-13 | -20.717
347.223 | -9.367e-14 | -20.7
346.685 | -8.3185e-14 | -20.7743
346.15 | -7.1925e-14 | -20.8386
345.548 | -7.9039e-14 | -20.9618
345.044 | -6.4347e-14 | -20.9946
344.54 | -5.0752e-14 | -21.0253
343.965 | -5.7424e-14 | -21.1177
343.495 | -5.6526e-14 | -21.1268
342.956 | -4.7679e-14 | -21.1886
342.448 | -5.0749e-14 | -21.2274
341.85 | -4.6308e-14 | -21.3298
341.332 | -6.636e-14 | -21.3704
340.722 | -4.858e-14 | -21.4641
340.24 | -5.3909e-14 | -21.4728
339.773 | -6.1686e-14 | -21.4677
339.222 | -5.3796e-14 | -21.5227
338.748 | -6.4662e-14 | -21.5261
338.237 | -5.4801e-14 | -21.5533
337.71 | -3.411e-14 | -21.5919
337.215 | -6.0611e-14 | -21.6085
336.647 | -4.3234e-14 | -21.6647
336.146 | -6.9127e-14 | -21.6804
335.59 | -4.6831e-14 | -21.7308
335.121 | -4.146e-14 | -21.7352
334.498 | -5.6439e-14 | -21.8212
333.975 | -5.6534e-14 | -21.8507
333.397 | -5.6055e-14 | -21.9133
332.825 | -2.6336e-14 | -21.9689
332.259 | -2.8186e-14 | -22.0096
331.634 | -5.5382e-14 | -22.0864
331.125 | -7.2687e-14 | -22.0997
330.54 | -4.9837e-14 | -22.1534
330.064 | -5.2308e-14 | -22.1534
329.408 | -4.3284e-14 | -22.2397
328.919 | -5.1242e-14 | -22.2437
328.3 | -3.4328e-14 | -22.3148
327.833 | -4.1853e-14 | -22.3035
327.297 | -4.174e-14 | -22.327
326.723 | -5.3594e-14 | -22.3704
326.2 | -3.9241e-14 | -22.3881
325.645 | -5.9274e-14 | -22.4225
325.173 | -2.7877e-14 | -22.4173
324.502 | -4.854e-14 | -22.4993
323.99 | -6.2171e-14 | -22.5092
323.367 | -4.4072e-14 | -22.5643
322.898 | -2.7719e-14 | -22.5577
322.348 | -2.8014e-14 | -22.5848
321.864 | -2.6482e-14 | -22.5789
321.409 | -2.4606e-14 | -22.5642
320.753 | -1.4857e-14 | -22.6309
320.249 | -1.9589e-14 | -22.6387
319.67 | -3.3002e-14 | -22.6707
319.193 | -2.1445e-14 | -22.6624
318.538 | -2.8477e-14 | -22.7301
318.066 | -4.4829e-14 | -22.7201
317.548 | -3.4443e-14 | -22.7272
316.945 | -3.1078e-14 | -22.7593
316.439 | -3.2276e-14 | -22.7615
315.83 | -4.6598e-14 | -22.8058
315.242 | -4.6993e-14 | -22.8418
314.705 | -4.6686e-14 | -22.8527
314.222 | -5.0279e-14 | -22.8412
313.562 | -2.4118e-14 | -22.8993
313.094 | -3.6699e-14 | -22.8868
312.597 | -3.2754e-14 | -22.8849
312.026 | -2.8667e-14 | -22.9075
311.456 | -3.006e-14 | -22.9306
310.935 | -1.4673e-14 | -22.9342
310.474 | -4.7287e-14 | -22.9196
309.935 | -4.6323e-14 | -22.9306
309.449 | -2.3977e-14 | -22.9254
308.928 | -3.9779e-14 | -22.9311
308.392 | -3.609e-14 | -22.9384
307.847 | -2.1093e-14 | -22.955
307.294 | -3.4071e-14 | -22.9714
306.849 | -3.8281e-14 | -22.9495
306.229 | -2.2994e-14 | -22.9894
305.778 | -4.8898e-14 | -22.972
305.283 | -4.2284e-14 | -22.9677
304.731 | -2.3414e-14 | -22.9779
304.162 | -4.8018e-14 | -22.998
303.687 | -2.6246e-14 | -22.9853
303.231 | -3.6406e-14 | -22.9595
302.631 | -3.1453e-14 | -22.9899
302.182 | -3.6839e-14 | -22.9718
301.755 | -2.2949e-14 | -22.9436
301.234 | -3.9557e-14 | -22.9415
300.759 | -4.9429e-14 | -22.9316
300.155 | -3.1985e-14 | -22.9636
299.736 | -4.8263e-14 | -22.9367
299.168 | -3.3254e-14 | -22.9571
298.749 | -2.7497e-14 | -22.9264
298.246 | -3.6621e-14 | -22.9244
297.688 | -2.9845e-14 | -22.9332
297.268 | -3.2038e-14 | -22.9066
296.657 | -3.7522e-14 | -22.9363
296.198 | -5.2346e-14 | -22.924
295.687 | -3.4023e-14 | -22.9233
295.247 | -3.4674e-14 | -22.9011
294.663 | -1.682e-14 | -22.9249
294.176 | -1.9743e-14 | -22.9176
293.586 | -3.7788e-14 | -22.9421
293.159 | -2.7166e-14 | -22.9198
292.624 | -3.9549e-14 | -22.9263
292.1 | -3.7585e-14 | -22.9298
291.548 | -3.0299e-14 | -22.9415
291.057 | -3.1548e-14 | -22.9367
290.627 | -4.7059e-14 | -22.9136
289.968 | -4.3022e-14 | -22.9558
289.543 | -5.579e-14 | -22.9333
288.972 | -4.1936e-14 | -22.948
288.497 | -4.5686e-14 | -22.9374
287.931 | -4.2449e-14 | -22.9537
287.488 | -2.3455e-14 | -22.9376
286.994 | -1.365e-14 | -22.9338
286.442 | -2.723e-14 | -22.9451
285.93 | -3.922e-14 | -22.9452
285.425 | -4.3045e-14 | -22.9439
284.925 | -2.8486e-14 | -22.9419
284.349 | -3.2762e-14 | -22.9615
283.887 | -3.3225e-14 | -22.95
283.372 | -1.9182e-14 | -22.9485
282.934 | -3.3165e-14 | -22.9287
282.284 | -1.9149e-14 | -22.9639
281.853 | -1.5818e-14 | -22.9442
281.233 | -2.6569e-14 | -22.9705
280.779 | -3.4953e-14 | -22.9584
280.376 | -3.0658e-14 | -22.933
279.934 | -3.3574e-14 | -22.9172
279.502 | -4.3595e-14 | -22.8959
278.862 | -4.7217e-14 | -22.9267
278.446 | -4.002e-14 | -22.9043
278.004 | -2.2035e-14 | -22.8896
277.539 | -3.626e-14 | -22.8771
277.082 | -4.3282e-14 | -22.8651
276.63 | -4.2756e-14 | -22.8509
276.267 | -5.6444e-14 | -22.8149
275.716 | -6.0173e-14 | -22.8244
275.31 | -4.4038e-14 | -22.8005
274.825 | -2.6202e-14 | -22.7936
274.406 | -3.9907e-14 | -22.7714
273.959 | -2.3543e-14 | -22.7578
273.472 | -1.1649e-14 | -22.7548
272.954 | -3.9394e-14 | -22.7565
272.566 | -2.8083e-14 | -22.7299
272.099 | -2.7307e-14 | -22.7212
271.65 | -3.0925e-14 | -22.7096
271.229 | -2.7357e-14 | -22.6909
270.731 | -2.3588e-14 | -22.6883
270.348 | -2.8725e-14 | -22.6613
269.795 | -2.2429e-14 | -22.6738
269.354 | -5.3666e-14 | -22.6605
268.889 | -3.9566e-14 | -22.6515
268.55 | -4.6308e-14 | -22.6119
268.066 | -5.9346e-14 | -22.6058
267.769 | -2.1916e-14 | -22.5611
267.305 | -4.2898e-14 | -22.5507
266.894 | -3.9451e-14 | -22.5317
266.332 | -4.5363e-14 | -22.545
265.981 | -3.4861e-14 | -22.5131
265.612 | -4.637e-14 | -22.4849
265.327 | -5.7034e-14 | -22.4386
265.064 | -6.2044e-14 | -22.3892
264.805 | -6.9733e-14 | -22.3387
264.583 | -7.3477e-14 | -22.2806
264.351 | -7.7968e-14 | -22.2243
264.124 | -8.0624e-14 | -22.1702
263.674 | -6.9319e-14 | -22.1606
263.371 | -6.5108e-14 | -22.1225
262.843 | -6.5315e-14 | -22.1289
262.553 | -6.8637e-14 | -22.0872
262.248 | -5.6978e-14 | -22.0493
261.816 | -5.9034e-14 | -22.0383
261.443 | -7.7392e-14 | -22.0154
261.025 | -1.0796e-13 | -22.0006
260.588 | -1.016e-13 | -21.9898
260.29 | -9.6363e-14 | -21.951
259.993 | -1.0184e-13 | -21.9129
259.623 | -1.0218e-13 | -21.8879
259.365 | -8.5369e-14 | -21.8436
259.067 | -8.2937e-14 | -21.8067
258.814 | -8.1065e-14 | -21.7628
258.422 | -5.6365e-14 | -21.7446
258.224 | -8.2852e-14 | -21.6906
257.816 | -8.9749e-14 | -21.6751
257.589 | -9.7551e-14 | -21.6266
257.228 | -8.043e-14 | -21.6029
257.016 | -8.86e-14 | -21.5528
256.733 | -6.9481e-14 | -21.516
256.561 | -5.6463e-14 | -21.4586
256.201 | -6.5234e-14 | -21.4353
255.978 | -5.106e-14 | -21.3877
255.525 | -4.601e-14 | -21.3827
255.287 | -5.4606e-14 | -21.3381
254.975 | -4.7219e-14 | -21.309
254.712 | -6.768e-14 | -21.2706
254.451 | -4.2266e-14 | -21.2315
254.186 | -2.794e-14 | -21.1928
253.999 | -3.717e-14 | -21.1413
253.757 | -2.9109e-14 | -21.1001
253.621 | -2.3824e-14 | -21.0397
253.468 | -2.9341e-14 | -20.9842
253.315 | -1.8066e-14 | -20.9293
253.2 | -2.4112e-14 | -20.8678
253.1 | -2.1885e-14 | -20.8037
252.863 | -2.855e-15 | -20.762
252.419 | -1.096e-14 | -20.7575
252.225 | -9.968e-15 | -20.7089
252.008 | -5.292e-15 | -20.6653
251.86 | -3.916e-15 | -20.6113
251.608 | -7.603e-15 | -20.5762
251.457 | -2.644e-15 | -20.5247
251.267 | 4.528e-15 | -20.479
251.056 | 8.16e-15 | -20.367
250.961 | -1.578e-14 | -20.3064
250.861 | -8.474e-14 | -20.2457
250.764 | 6.488e-14 | -20.1852
250.675 | 2.543e-14 | -20.1235
250.576 | 1.759e-14 | -20.0645
250.438 | 1.034e-14 | -20.0145
250.102 | 1.449e-14 | -19.9963
249.951 | -2.095e-14 | -19.9487
249.529 | 1.0118e-13 | -19.9432
249.262 | 1.809e-14 | -19.9127
249.017 | 1.1478e-13 | -19.8802
248.755 | -1.687e-14 | -19.8487
248.568 | -1.765e-14 | -19.8057
248.385 | 5.462e-14 | -19.7621
248.225 | -2.762e-14 | -19.716
248.088 | 3.713e-14 | -19.6678
247.955 | 6.846e-14 | -19.6191
247.841 | 4.941e-14 | -19.5675
247.724 | -1.079e-14 | -19.5171
247.612 | 2.998e-14 | -19.4653
247.518 | 3.248e-14 | -19.4114
247.427 | 1.6701e-13 | -19.3571
247.348 | 1.345e-14 | -19.3013
247.265 | 5.238e-14 | -19.2475
247.174 | 6.618e-14 | -19.195
247.016 | 5.7e-14 | -19.1524
246.514 | 6.879e-14 | -19.1627
246.235 | 4.951e-14 | -19.1398
245.992 | 2.668e-14 | -19.1106
245.668 | 4.436e-14 | -19.0922
245.472 | 8.7e-14 | -19.0566
244.478 | -2.1947e-14 | -18.9245
244.289 | 3.0222e-14 | -18.8896
243.919 | 3.8484e-14 | -18.8814
243.663 | 6.0207e-14 | -18.8559
243.457 | 6.6305e-14 | -18.8248
243.121 | 4.5314e-14 | -18.8129
242.977 | 3.1802e-14 | -18.7695
242.791 | 4.023e-14 | -18.7347
242.69 | 5.6786e-14 | -18.6884
242.565 | 6.2435e-14 | -18.6456
242.175 | 6.2858e-14 | -18.6417
242.039 | 6.994e-14 | -18.6005
241.842 | 4.9321e-14 | -18.5683
241.653 | 4.2016e-14 | -18.5353
241.558 | 5.6433e-14 | -18.4903
241.441 | 4.6279e-14 | -18.4454
241.154 | 5.4214e-14 | -18.4267
241.06 | 2.7587e-14 | -18.3814
240.975 | 3.633e-14 | -18.3358
240.894 | 4.9561e-14 | -18.2892
240.804 | 6.5681e-14 | -18.2448
240.726 | 2.9856e-14 | -18.198
240.632 | 4.2176e-14 | -18.1524
240.494 | 3.4311e-14 | -18.1154
240.271 | 3.4605e-14 | -18.0899
240.189 | 4.1866e-14 | -18.0446
240.099 | 5.8687e-14 | -18.0008
239.94 | -7.58e-16 | -17.9673
239.853 | 7.2e-15 | -17.9228
239.762 | 5.0966e-14 | -17.8787
239.666 | 3.1778e-14 | -17.8372
239.565 | 2.25e-14 | -17.797
239.388 | 4.7349e-14 | -17.7665
239.2 | 3.5935e-14 | -17.737
238.973 | 4.5579e-14 | -17.7144
238.695 | 6.9329e-14 | -17.6983
238.56 | 7.4618e-14 | -17.6636
238.289 | 7.1906e-14 | -17.6463
238.146 | 8.0774e-14 | -17.6113
238.03 | 1.9363e-14 | -17.5737
237.843 | 1.9859e-14 | -17.5457
237.721 | 2.6026e-14 | -17.5108
237.573 | 2.183e-14 | -17.4784
237.351 | -1.93e-16 | -17.4533
237.249 | 3.7011e-14 | -17.4155
237.129 | 7.3594e-14 | -17.3798
236.991 | 5.7522e-14 | -17.3465
236.871 | 4.8366e-14 | -17.3106
236.754 | 3.7488e-14 | -17.2754
236.505 | 2.5491e-14 | -17.2574
236.226 | 3.5558e-14 | -17.2432
236.044 | 2.175e-14 | -17.2168
235.481 | 2.7514e-14 | -17.2398
234.988 | 3.2877e-14 | -17.2517
234.711 | 3.0109e-14 | -17.2378
234.431 | 2.875e-14 | -17.2235
234.173 | 4.2642e-14 | -17.2069
233.962 | 3.9443e-14 | -17.1841
233.769 | 3.7881e-14 | -17.1588
233.591 | 3.1146e-14 | -17.1319
233.422 | 3.5958e-14 | -17.104
233.278 | 2.8285e-14 | -17.0739
233.126 | 3.3974e-14 | -17.0457
232.984 | 5.2259e-14 | -17.0152
232.808 | 5.6405e-14 | -16.9904
232.545 | 5.1717e-14 | -16.9751
232.315 | 4.6213e-14 | -16.9562
232.14 | 5.5692e-14 | -16.931
231.67 | 4.6496e-14 | -16.9401
231.408 | 3.28e-14 | -16.925
231.181 | 2.4957e-14 | -16.9053
230.709 | 3.2909e-14 | -16.9164
230.445 | 1.6247e-14 | -16.9013
230.261 | 3.5968e-14 | -16.877
230.065 | 1.577e-14 | -16.8555
229.89 | 3.1119e-14 | -16.831
229.745 | 3.5323e-14 | -16.8028
229.587 | 3.009e-14 | -16.7764
229.436 | 2.4907e-14 | -16.7477
229.289 | 5.7733e-14 | -16.7203
229.156 | 5.6526e-14 | -16.691
229.015 | 4.6684e-14 | -16.6634
228.874 | 5.0703e-14 | -16.6365
228.736 | 5.7885e-14 | -16.6081
228.592 | 3.211e-14 | -16.5808
228.452 | 2.223e-15 | -16.5531
228.31 | -2.185e-15 | -16.5264
228.169 | 4.5736e-14 | -16.4982
228.027 | 6.5012e-14 | -16.4705
227.896 | 4.8501e-14 | -16.443
227.753 | 4.7646e-14 | -16.4161
227.608 | 3.7184e-14 | -16.3904
227.469 | 3.7699e-14 | -16.3632
227.316 | 3.8126e-14 | -16.3384
227.124 | 4.9314e-14 | -16.3179
226.915 | 3.5477e-14 | -16.2987
226.603 | 2.0959e-14 | -16.2917
226.085 | 4.668e-14 | -16.308
225.697 | 3.4101e-14 | -16.3083
225.42 | 2.6645e-14 | -16.2962
225.151 | 3.8972e-14 | -16.2845
224.911 | 4.0118e-14 | -16.27
224.672 | 2.6557e-14 | -16.2554
224.448 | 3.2764e-14 | -16.2395
224.227 | 8.548e-15 | -16.2234
224.024 | -3.578e-15 | -16.2052
223.834 | 2.4722e-14 | -16.1853
223.667 | 2.1076e-14 | -16.1636
223.495 | -2.0694e-14 | -16.1418
223.327 | 2.8517e-14 | -16.1201
223.162 | 1.9834e-14 | -16.0984
223.009 | 2.5241e-14 | -16.0748
222.839 | 3.4117e-14 | -16.0535
222.648 | 7.209e-14 | -16.034
222.394 | 2.7735e-14 | -16.0222
222.208 | 3.2602e-14 | -16.0036
221.925 | 4.9175e-14 | -15.9946
221.512 | 2.0162e-14 | -15.9991
221.241 | 4.147e-15 | -15.9881
221.031 | 2.3849e-14 | -15.9719
220.848 | 5.8784e-14 | -15.9525
220.657 | 3.708e-14 | -15.9343
220.469 | 1.7595e-14 | -15.9165
220.288 | 3.9736e-14 | -15.8964
220.122 | 4.5252e-14 | -15.8754
219.945 | 5.8233e-14 | -15.8562
219.764 | 3.7323e-14 | -15.8368
219.586 | 5.4545e-14 | -15.8166
219.406 | 4.3528e-14 | -15.7977
219.227 | 3.9655e-14 | -15.7794
219.058 | 3.8922e-14 | -15.7604
218.87 | 2.7198e-14 | -15.7427
218.697 | 7.5675e-14 | -15.724
218.513 | 1.3398e-14 | -15.7052
218.328 | 8.5557e-14 | -15.6868
218.142 | 5.3208e-14 | -15.6691
217.951 | -3.2456e-14 | -15.6524
217.779 | 2.4749e-14 | -15.6341
217.587 | -1.1173e-14 | -15.617
217.393 | -1.6766e-14 | -15.6005
217.183 | -1.3723e-14 | -15.586
216.999 | -2.9566e-14 | -15.569
216.805 | 2.9678e-14 | -15.5527
216.61 | -4.1475e-14 | -15.5357
216.415 | 8.7388e-14 | -15.5196
216.217 | 3.3763e-14 | -15.5039
216.038 | -2.8964e-14 | -15.4862
215.843 | 5.6243e-14 | -15.4704
215.646 | 9.3188e-14 | -15.4546
215.446 | 1.0029e-13 | -15.4394
215.242 | -3.7798e-14 | -15.4247
215.043 | 2.9655e-14 | -15.4101
214.819 | 1.1009e-13 | -15.3971
214.601 | 9.9284e-14 | -15.3836
214.395 | 8.6511e-14 | -15.3685
214.182 | 4.9664e-14 | -15.3539
213.969 | -3.7604e-14 | -15.3401
213.752 | -5.4612e-14 | -15.3274
213.526 | 6.6632e-14 | -15.3142
213.301 | -3.3616e-14 | -15.3019
213.089 | -4.5991e-14 | -15.2874
212.873 | -2.2621e-14 | -15.2747
212.667 | 4.6392e-14 | -15.2613
212.445 | -4.1079e-14 | -15.249
212.223 | 1.2712e-13 | -15.2369
211.992 | 1.0068e-13 | -15.2256
211.756 | 9.3042e-14 | -15.2143
211.541 | -1.1403e-14 | -15.2014
211.314 | 1.0665e-13 | -15.1896
211.089 | 1.3211e-14 | -15.1772
210.862 | 9.2622e-14 | -15.1657
210.632 | -8.5428e-14 | -15.155
210.404 | -9.8828e-14 | -15.1432
210.173 | -1.2844e-13 | -15.1323
209.94 | -1.5151e-13 | -15.1215
209.725 | 1.1691e-13 | -15.1096
209.487 | -1.1981e-13 | -15.0991
209.254 | 1.8994e-13 | -15.0883
209.019 | 1.4753e-13 | -15.0783
208.787 | 1.629e-13 | -15.0674
208.567 | -6.2028e-14 | -15.0556
208.321 | 1.58e-13 | -15.0467
208.071 | -1.5582e-13 | -15.037
207.824 | -1.4395e-13 | -15.0271
207.584 | 1.731e-13 | -15.0171
207.341 | -1.3376e-13 | -15.008
207.095 | 1.5971e-13 | -14.999
206.837 | -4.1857e-14 | -14.9909
206.564 | -1.638e-13 | -14.9848
206.315 | 1.8255e-13 | -14.976
206.061 | 1.9523e-13 | -14.9682
205.809 | -9.6386e-14 | -14.9595
205.553 | -1.7106e-14 | -14.9515
205.291 | 1.4711e-14 | -14.9429
205.017 | 1.8152e-14 | -14.9361
204.745 | 2.8825e-14 | -14.9297
204.477 | 3.5552e-14 | -14.9233
204.217 | 9.999e-15 | -14.9156
203.955 | 2.069e-14 | -14.9079
203.694 | 3.6884e-14 | -14.9007
203.431 | 3.5355e-14 | -14.8932
203.182 | 1.9316e-14 | -14.8849
202.907 | 1.4503e-14 | -14.8793
202.624 | 2.2622e-14 | -14.8737
202.335 | 1.0891e-14 | -14.868
202.046 | 1.4386e-14 | -14.8632
201.729 | 2.3459e-14 | -14.8599
201.454 | 2.6258e-14 | -14.8541
201.167 | 2.1666e-14 | -14.849
200.884 | -1.2067e-14 | -14.8437
200.574 | 3.521e-15 | -14.8392
200.283 | 3.596e-14 | -14.8348
200.011 | 3.3988e-14 | -14.8294
199.721 | 1.9795e-14 | -14.8246
199.431 | 2.0722e-14 | -14.8203
199.141 | 2.5837e-14 | -14.8156
198.852 | 2.7988e-14 | -14.8109
198.557 | 3.6409e-14 | -14.8067
198.254 | 8.742e-15 | -14.8025
197.937 | 2.8344e-14 | -14.8005
197.612 | 2.3071e-14 | -14.7978
197.282 | 1.7691e-14 | -14.7962
196.959 | 2.4715e-14 | -14.7951
196.643 | 4.0923e-14 | -14.7923
196.326 | 3.2121e-14 | -14.7902
196.004 | 2.0506e-14 | -14.7883
195.685 | 2.5477e-14 | -14.786
195.365 | 2.6055e-14 | -14.7841
195.026 | 2.4415e-14 | -14.7828
194.708 | 1.2444e-14 | -14.7799
194.387 | 3.021e-15 | -14.7781
194.062 | 5.987e-15 | -14.7764
193.744 | 1.827e-15 | -14.7744
193.423 | 9.989e-15 | -14.7715
193.099 | 5.5068e-14 | -14.7696
192.773 | 3.628e-15 | -14.7676
192.419 | 7.93e-15 | -14.7677
192.091 | 2.2813e-14 | -14.7667
191.761 | 3.1466e-14 | -14.7653
191.431 | 2.9394e-14 | -14.7644
191.097 | 3.3196e-14 | -14.7628
190.764 | 2.477e-15 | -14.7618
190.427 | 8.853e-15 | -14.7613
190.084 | 1.9645e-14 | -14.7613
189.742 | 1.6659e-14 | -14.7614
189.403 | 2.9989e-14 | -14.7609
189.062 | 3.1709e-14 | -14.7594
188.7 | 2.7328e-14 | -14.7602
188.361 | 3.1423e-14 | -14.76
188.045 | 4.975e-15 | -14.7579
187.707 | 7.926e-15 | -14.7573
187.374 | 5.789e-15 | -14.7565
187.041 | 6.4293e-14 | -14.7558
186.707 | 2.6053e-14 | -14.7549
186.375 | 2.2983e-14 | -14.7541
186.043 | 9.155e-15 | -14.7533
185.711 | 3.3824e-14 | -14.7524
185.38 | 1.3193e-14 | -14.7519
185.047 | 7.5577e-14 | -14.7512
184.72 | 6.1284e-14 | -14.7499
184.392 | 5.4109e-14 | -14.7488
184.064 | 5.4188e-14 | -14.7467
183.738 | 3.8054e-14 | -14.7451
183.411 | -4.745e-14 | -14.7438
183.088 | 5.8874e-14 | -14.7424
182.771 | 2.5513e-14 | -14.7404
182.453 | 6.9005e-14 | -14.7385
182.133 | 7.8359e-14 | -14.7368
181.79 | 8.812e-14 | -14.7354
181.474 | 4.8702e-14 | -14.7324
181.155 | 6.3443e-14 | -14.7301
180.836 | 7.7923e-14 | -14.7283
180.522 | 4.8045e-14 | -14.7259
180.196 | 4.1115e-14 | -14.724
179.872 | -3.7989e-14 | -14.7229
179.529 | -4.7296e-14 | -14.7225
179.191 | 1.5124e-14 | -14.7219
178.765 | 4.696e-14 | -14.7284
178.346 | 4.4108e-14 | -14.7334
178 | 6.2043e-14 | -14.7333
177.661 | 3.9135e-14 | -14.7331
177.273 | 4.4088e-14 | -14.7361
176.853 | 6.2133e-14 | -14.7422
176.466 | 8.7443e-14 | -14.7451
176.108 | 6.4604e-14 | -14.7459
175.747 | 8.3977e-14 | -14.747
175.394 | 9.716e-14 | -14.7476
175.049 | 7.961e-14 | -14.7478
174.695 | 8.628e-14 | -14.7484
174.323 | 7.2001e-14 | -14.7505
173.967 | 6.5288e-14 | -14.7512
173.617 | -3.8217e-13 | -14.7517
173.259 | 1.3393e-13 | -14.7525
172.854 | 1.076e-13 | -14.7569
172.494 | -2.4169e-13 | -14.7578
172.144 | -1.8744e-13 | -14.7576
171.782 | 1.6363e-13 | -14.7588
171.376 | -3.9773e-14 | -14.7635
170.94 | -2.9229e-14 | -14.7703
170.561 | 1.6562e-13 | -14.7725
170.19 | 1.682e-13 | -14.7743
169.731 | -1.8905e-13 | -14.7825
169.238 | 2.0525e-13 | -14.7923
168.849 | -1.7793e-13 | -14.7953
168.468 | 1.2273e-13 | -14.7982
168.035 | 2.1018e-13 | -14.8043
167.65 | 1.6179e-13 | -14.8064
167.261 | 1.2231e-13 | -14.8092
166.902 | 1.0481e-13 | -14.8098
166.545 | -3.3724e-13 | -14.8103
166.18 | 1.7045e-13 | -14.8118
165.809 | 1.7366e-13 | -14.8133
165.46 | -4.2593e-13 | -14.8136
165.098 | -1.2605e-13 | -14.814
164.635 | -9.5772e-13 | -14.822
164.19 | -9.1662e-13 | -14.8284
163.772 | -7.7747e-13 | -14.8335
163.401 | 7.2214e-13 | -14.8352
162.933 | 2.3888e-13 | -14.8424
162.397 | -9.493e-15 | -14.8555
161.883 | 7.8859e-14 | -14.8666
161.363 | 1.9274e-14 | -14.8783
160.82 | -5.542e-15 | -14.8918
160.275 | 8.8563e-13 | -14.9053
159.797 | 7.2901e-13 | -14.914
159.324 | 6.747e-14 | -14.9225
158.758 | 8.9286e-14 | -14.9378
158.177 | 9.3347e-14 | -14.9543
157.652 | 4.3713e-14 | -14.9663
157.158 | 5.0839e-14 | -14.9762
156.634 | 7.2724e-14 | -14.988
155.98 | 5.7718e-14 | -15.0093
155.347 | -1.338e-14 | -15.0285
154.768 | 3.6135e-13 | -15.044
154.059 | -7.2934e-14 | -15.0684
153.227 | -8.9179e-14 | -15.1011
152.398 | -9.2e-17 | -15.1338
151.496 | -1.1077e-14 | -15.1712
150.544 | -1.1916e-13 | -15.2119
149.468 | -1.3611e-13 | -15.261
148.379 | -3.7852e-14 | -15.3106
147.356 | -6.5301e-13 | -15.3555
146.465 | -1.2741e-13 | -15.392
144.736 | 8.6573e-12 | -15.4615
143.63 | -2.5175e-13 | -15.5115
142.444 | 8.8546e-13 | -15.5672
141.23 | 6.0272e-13 | -15.6241
139.794 | 5.597e-13 | -15.6961
138.268 | 5.3682e-13 | -15.7735
132.643 | 2.7351e-13 | -16.0444
131.643 | 2.5723e-13 | -16.0858
130.5 | 2.3437e-13 | -16.1368
129.076 | 1.0252e-13 | -16.2068
127.321 | 6.2674e-14 | -16.2981
125.136 | 7.9062e-14 | -16.4168
122.969 | 7.4882e-14 | -16.5353
120.852 | 6.8971e-14 | -16.6492
118.921 | 5.3482e-14 | -16.7511
117.254 | 5.5046e-14 | -16.8353
115.897 | 5.7412e-14 | -16.898
115.008 | 4.1598e-14 | -16.9303
114.4 | 3.2751e-14 | -16.9441
113.963 | 3.0009e-14 | -16.9463
113.664 | 5.187e-14 | -16.9397
113.381 | 5.2024e-14 | -16.9319
112.843 | 3.6247e-14 | -16.9414
112.023 | 3.9426e-14 | -16.9684
111.218 | 4.8668e-14 | -16.9948
110.543 | 4.0328e-14 | -17.0129
109.766 | 6.6447e-14 | -17.0375
108.513 | 8.8191e-14 | -17.0931
106.617 | 1.1262e-13 | -17.1895
104.308 | 1.4317e-13 | -17.3125
101.548 | 1.8182e-13 | -17.4635
98.7061 | 1.7044e-13 | -17.6199
96.0027 | 1.7004e-13 | -17.7664
93.7047 | 1.5045e-13 | -17.8869
92.4249 | 9.2855e-14 | -17.9421
91.8572 | 5.869e-14 | -17.9509
91.6378 | 3.6557e-14 | -17.9378
91.5761 | 1.6845e-14 | -17.9143
91.5913 | 6.659e-15 | -17.8867
91.3756 | 2.9728e-14 | -17.8733
90.1248 | 3.9734e-14 | -17.9257
89.3132 | 9.865e-14 | -17.9494
89.442 | 4.7249e-14 | -17.9137
89.526 | -2.0214e-14 | -17.8819
89.593 | -2.1668e-14 | -17.8513
86.8646 | 1.0886e-13 | -17.9965
84.435 | 1.9003e-13 | -18.1227
82.98 | 1.278e-13 | -18.1872
82.1122 | 6.7184e-14 | -18.2149
81.6369 | 5.6457e-14 | -18.2175
81.3931 | 3.6658e-14 | -18.2057
81.2601 | 1.0575e-14 | -18.1875
81.13 | -1.464e-15 | -18.1679
81.0721 | 3.0868e-14 | -18.1451
81.0105 | 1.6845e-14 | -18.1224
80.9472 | -6.046e-15 | -18.0995
80.911 | 1.281e-14 | -18.0747
80.8815 | 3.7785e-14 | -18.0505
80.8749 | 5.1317e-14 | -18.0247
80.8694 | 6.908e-14 | -17.9987
80.8513 | 2.3823e-14 | -17.9731
80.8392 | 2.6941e-14 | -17.9479
80.8169 | 4.6543e-14 | -17.9229
80.7939 | 2.3346e-14 | -17.898
80.7709 | 1.6889e-14 | -17.8736

## Pulse
Temperature | Current | Time
80.7437 | 7.402e-13 | 6.3077
80.6039 | 5.1373e-13 | 7.71
80.5695 | 2.4979e-13 | 13.7151
80.4631 | 2.5691e-13 | 15.1247
80.4422 | 2.4354e-13 | 16.537
80.3958 | 2.3294e-13 | 17.9547
80.2977 | 2.0419e-13 | 19.3924
80.2455 | 1.7799e-13 | 20.8064
80.2101 | 1.8516e-13 | 22.2027
80.2143 | 1.757e-13 | 23.609
80.2208 | 1.4124e-13 | 25.0232
80.2451 | 1.3367e-13 | 26.4231
80.2747 | 1.0407e-13 | 27.8357
80.3608 | 9.3593e-14 | 29.2255

## Measurements
Temperature | Current | Temp Rate
80.535 | -3.0291e-13 | 0
81.9524 | -1.6238e-13 | 9.5335
83.0608 | -1.4092e-13 | 15.7105
83.2936 | -1.374e-13 | 15.5871
83.5291 | -1.1639e-13 | 15.4669
83.8931 | -1.4038e-13 | 15.3358
84.1445 | -9.0638e-14 | 15.3435
84.4768 | -1.4121e-13 | 15.2648
84.7964 | -1.1066e-13 | 15.3772
85.0629 | -1.1786e-13 | 15.4229
85.419 | -1.4511e-13 | 29.284
85.7005 | -1.4285e-13 | 33.2576
85.9525 | -9.6365e-14 | 48.3421
86.2369 | -1.3218e-13 | 115.7007
86.6114 | -1.0964e-13 | 160.5309
86.9004 | -1.2113e-13 | 12.6277
87.1881 | -7.3088e-14 | 12.7858
87.4764 | -1.0397e-13 | 12.9184
87.7642 | -1.0188e-13 | 446.7373
88.1101 | -1.1967e-13 | 13.2419
88.4015 | -1.2812e-13 | 13.3618
88.6904 | -9.9682e-14 | 13.4369
88.9509 | -6.2314e-14 | 13.5539
89.2394 | -7.2667e-14 | 13.6533
89.5573 | -1.0066e-13 | 13.7467
89.8993 | -4.2558e-14 | 13.8691
90.1888 | -1.0618e-13 | 13.9201
90.4445 | -1.2291e-13 | 14.0074
90.7303 | -9.4483e-14 | 14.0874
91.0977 | -1.1033e-13 | 14.1482
91.3528 | -1.1783e-13 | 14.2208
91.7193 | -1.3125e-13 | 14.2829
91.9724 | -1.0198e-13 | 14.3532
92.3061 | -9.9933e-14 | 14.3966
92.583 | -1.2181e-13 | 14.4463
92.8595 | -9.213e-14 | 14.4938
93.185 | -1.0463e-13 | 14.5208
93.4583 | -1.7773e-13 | 14.5613
93.8048 | -1.5649e-13 | 14.6062
94.0692 | -1.3107e-13 | 14.604
94.4119 | -7.6539e-14 | 14.6319
94.676 | -9.5452e-14 | 14.6632
94.9905 | -7.8009e-14 | 14.7026
95.3273 | -7.7223e-14 | 14.7011
95.5623 | -8.3206e-14 | 14.7263
95.9008 | -5.733e-14 | 14.7469
96.1603 | -7.1154e-14 | 14.7572
96.4952 | -1.0612e-13 | 14.7557
96.7523 | -8.2659e-14 | 14.7774
97.0621 | -8.0003e-14 | 14.7979
97.3685 | -1.1274e-13 | 14.7997
97.6993 | -5.3132e-14 | 14.8147
97.9547 | -5.3566e-14 | 14.8232
98.2838 | -5.3684e-14 | 14.8224
98.5875 | -8.8404e-14 | 14.8152
98.9176 | -6.763e-14 | 14.8322
99.1449 | -7.0894e-14 | 14.8415
99.4735 | -8.5081e-14 | 14.8407
99.7758 | -5.8743e-14 | 14.853
100.105 | -8.3727e-14 | 14.8502
100.33 | -7.4365e-14 | 14.856
100.656 | -3.694e-14 | 14.8686
100.95 | -6.4339e-14 | 14.8539
101.267 | -7.3369e-14 | 14.8569
101.587 | -6.8329e-14 | 14.848
101.905 | -7.6003e-14 | 14.8458
102.131 | -8.7153e-14 | 14.8521
102.449 | -8.2051e-14 | 14.8435
102.747 | -7.7208e-14 | 14.8494
103.07 | -6.9649e-14 | 14.8543
103.392 | -4.1551e-14 | 14.8472
103.69 | -7.2932e-14 | 14.8528
103.941 | -6.9178e-14 | 14.8565
104.266 | -1.1845e-13 | 14.8516
104.567 | -7.7296e-14 | 14.8592
104.892 | -6.8214e-14 | 14.8505
105.193 | -7.329e-14 | 14.8639
105.444 | -6.535e-14 | 14.8676
105.771 | -4.4545e-14 | 14.8588
106.098 | -6.0047e-14 | 14.863
106.399 | -5.1343e-14 | 14.8735
106.65 | -4.7177e-14 | 14.8797
106.98 | -5.6292e-14 | 14.8715
107.282 | -4.1103e-14 | 14.8819
107.534 | -5.8494e-14 | 14.8853
107.861 | -1.2236e-13 | 14.88
108.163 | -9.3763e-14 | 14.8869
108.49 | -7.1665e-14 | 14.8926
108.74 | -7.653e-14 | 14.8935
109.065 | -4.6923e-14 | 14.8851
109.362 | -7.013e-15 | 14.8899
109.679 | -7.1628e-14 | 14.8879
109.926 | -4.314e-14 | 14.89
110.324 | -4.737e-14 | 14.8828
110.571 | -5.2446e-14 | 14.8816
110.894 | -5.0914e-14 | 14.885
111.192 | -6.1017e-14 | 14.8905
111.518 | -5.0777e-14 | 14.8871
111.742 | -4.0015e-14 | 14.8892
112.068 | -6.7259e-14 | 14.8936
112.391 | -3.3407e-14 | 14.8868
112.689 | -5.9555e-14 | 14.8909
112.944 | -1.2348e-13 | 14.8968
113.269 | -8.4903e-14 | 14.8919
113.572 | -6.2496e-14 | 14.9005
113.898 | -6.61e-14 | 14.903
114.15 | -5.7975e-14 | 14.904
114.476 | -7.7101e-14 | 14.8989
114.777 | -5.9899e-14 | 14.9041
115.029 | -5.6824e-14 | 14.9066
115.356 | -5.8596e-14 | 14.9027
115.684 | -7.2e-14 | 14.9058
115.983 | -4.6126e-14 | 14.9114
116.236 | -9.1882e-14 | 14.9138
116.562 | -6.746e-14 | 14.9137
116.89 | -5.0823e-14 | 14.9142
117.143 | -4.801e-14 | 14.9189
117.47 | -5.7492e-14 | 14.9156
117.771 | 2.253e-15 | 14.9186
118.095 | 5.139e-15 | 14.92
118.365 | -3.2207e-14 | 14.9178
118.662 | -3.7088e-14 | 14.9204
118.982 | -5.3829e-14 | 14.914
119.305 | -6.5121e-14 | 14.9132
119.528 | -5.7223e-14 | 14.9143
119.851 | -1.0129e-13 | 14.9176
120.173 | -4.41e-14 | 14.9114
120.472 | -8.8872e-14 | 14.9152
120.798 | -7.1539e-14 | 14.9193
121.123 | -6.5177e-14 | 14.9144
121.377 | -3.7612e-14 | 14.9157
121.678 | -3.3682e-14 | 14.9203
121.928 | -3.0339e-14 | 14.9197
122.256 | -4.5404e-14 | 14.9232
122.579 | -4.9451e-14 | 14.9182
122.832 | -2.5544e-14 | 14.9252
123.157 | -4.2433e-14 | 14.9253
123.484 | -3.209e-14 | 14.9214
123.81 | -2.5378e-14 | 14.9233
124.036 | -4.1479e-14 | 14.9264
124.364 | 6.5954e-14 | 14.9293
124.691 | 6.898e-15 | 14.9319
124.941 | -2.4627e-14 | 14.9319
125.269 | -2.8725e-14 | 14.929
125.544 | -5.3106e-14 | 14.9334
125.871 | -4.1638e-14 | 14.9346
126.195 | -5.3017e-14 | 14.9353
126.446 | -6.6496e-14 | 14.9364
126.774 | -3.5893e-14 | 14.9314
127.1 | -6.145e-14 | 14.9356
127.327 | -7.4874e-14 | 14.9374
127.65 | -6.3853e-14 | 14.938
127.971 | -4.6622e-14 | 14.9389
128.291 | -3.2703e-14 | 14.9304
128.539 | -6.3909e-14 | 14.937
128.862 | -2.8422e-14 | 14.9322
129.187 | -6.6072e-14 | 14.931
129.436 | -2.9604e-14 | 14.9366
129.76 | -4.8933e-14 | 14.9299
130.085 | -6.6455e-14 | 14.9375
130.335 | -5.8117e-14 | 14.9364
130.661 | -6.5272e-14 | 14.9376
130.985 | -4.3232e-14 | 14.938
131.235 | -3.7363e-14 | 14.938
131.561 | -5.2757e-14 | 14.9387
131.888 | -2.6498e-14 | 14.9362
132.187 | -4.7974e-14 | 14.9369
132.463 | -3.1862e-14 | 14.9372
132.79 | -4.5837e-14 | 14.9371
133.118 | -6.6472e-14 | 14.9399
133.343 | -1.7366e-14 | 14.9409
133.67 | -6.0364e-14 | 14.9422
134.019 | -2.8479e-14 | 14.9408
134.272 | -3.9038e-14 | 14.9447
134.599 | -4.8305e-14 | 14.9447
134.85 | -1.9979e-14 | 14.9456
135.177 | -4.0474e-14 | 14.9468
135.429 | -2.0923e-14 | 14.9481
135.753 | -4.1189e-14 | 14.9429
136.081 | -2.14e-16 | 14.9424
136.33 | -5.4353e-14 | 14.9504
136.657 | -4.2335e-14 | 14.9462
136.957 | -2.0526e-14 | 14.9483
137.284 | -4.6501e-14 | 14.95
137.558 | -4.293e-14 | 14.9479
137.855 | -2.1055e-14 | 14.9478
138.176 | -1.4401e-14 | 14.95
138.499 | -5.3464e-14 | 14.9498
138.744 | -3.7689e-14 | 14.9495
139.069 | -2.3371e-14 | 14.9447
139.392 | -4.3327e-14 | 14.9459
139.691 | -6.1994e-14 | 14.9479
139.94 | -1.343e-14 | 14.9466
140.292 | -2.2521e-14 | 14.9461
140.591 | -2.4816e-14 | 14.9479
140.868 | -4.126e-15 | 14.948
141.168 | -2.5423e-14 | 14.9494
141.493 | -2.4711e-14 | 14.9463
141.82 | -3.4042e-14 | 14.947
142.07 | -1.6534e-14 | 14.9506
142.397 | -3.6499e-14 | 14.9514
142.649 | -1.9704e-14 | 14.9508
142.973 | -3.5026e-14 | 14.9515
143.301 | -1.7812e-14 | 14.9529
143.553 | -3.0789e-14 | 14.9538
143.878 | -4.5396e-14 | 14.9529
144.153 | -2.1601e-14 | 14.9521
144.481 | -4.6757e-14 | 14.9533
144.782 | -3.9108e-14 | 14.9551
145.032 | -5.4002e-14 | 14.9554
145.357 | -4.0272e-14 | 14.9566
145.685 | -4.8787e-14 | 14.9465
146.011 | -4.6785e-14 | 14.955
146.262 | -3.0538e-14 | 14.9576
146.588 | -3.7657e-14 | 14.9575
146.865 | -4.6862e-14 | 14.9568
147.166 | -1.8022e-14 | 14.9599
147.491 | -2.5451e-14 | 14.9599
147.74 | -3.1364e-14 | 14.9586
148.068 | -3.9075e-14 | 14.9607
148.388 | -3.2151e-14 | 14.959
148.634 | -4.5703e-14 | 14.9573
148.98 | -1.1254e-14 | 14.9551
149.301 | -2.1462e-14 | 14.9559
149.599 | -7.556e-15 | 14.9579
149.848 | -5.1252e-14 | 14.9564
150.173 | -1.4237e-14 | 14.9567
150.446 | -6.7216e-14 | 14.9574
150.772 | -4.6361e-14 | 14.9542
151.097 | -3.4189e-14 | 14.9556
151.396 | -2.7107e-14 | 14.957
151.646 | -4.1842e-14 | 14.9569
151.973 | -4.1953e-14 | 14.9575
152.323 | -5.722e-15 | 14.9568
152.55 | -2.2295e-14 | 14.9573
152.9 | -4.7956e-14 | 14.9573
153.201 | -3.4234e-14 | 14.9594
153.453 | -5.8624e-14 | 14.9602
153.778 | -4.6945e-14 | 14.9592
154.055 | -5.2102e-14 | 14.9583
154.382 | -2.2713e-14 | 14.9577
154.709 | -6.1056e-14 | 14.9592
154.96 | -4.8261e-14 | 14.9634
155.285 | -4.6701e-14 | 14.9632
155.536 | -1.3608e-14 | 14.9615
155.863 | -2.9202e-14 | 14.9618
156.215 | -3.6956e-14 | 14.9609
156.466 | -4.4816e-14 | 14.9607
156.79 | -2.4546e-14 | 14.9646
157.04 | -1.7599e-14 | 14.9629
157.37 | -2.7843e-14 | 14.9657
157.695 | -1.7756e-14 | 14.9669
158.02 | -2.1354e-14 | 14.9646
158.272 | -4.4539e-14 | 14.9635
158.597 | -2.0208e-14 | 14.964
158.925 | -4.4457e-14 | 14.9655
159.15 | -1.4561e-14 | 14.9661
159.475 | -3.3029e-14 | 14.9659
159.798 | -2.7728e-14 | 14.9658
160.046 | -5.2639e-14 | 14.965
160.39 | -2.8019e-14 | 14.9631
160.714 | -5.012e-15 | 14.9636
160.962 | -7.1e-16 | 14.9644
161.261 | 1.017e-15 | 14.9653
161.584 | -1.2922e-14 | 14.9635
161.859 | -2.4115e-14 | 14.9622
162.184 | -2.6041e-14 | 14.9641
162.486 | -3.9767e-14 | 14.9658
162.734 | -1.0209e-13 | 14.9644
163.085 | -4.8949e-14 | 14.9638
163.386 | -5.6261e-14 | 14.9647
163.662 | 2.875e-14 | 14.9637
163.989 | -3.4288e-14 | 14.964
164.239 | -5.2409e-14 | 14.9678
164.565 | -4.138e-14 | 14.9673
164.892 | -1.9753e-14 | 14.9671
165.167 | -2.0411e-14 | 14.9661
165.493 | -3.4869e-14 | 14.967
165.793 | -2.049e-14 | 14.9678
166.094 | -2.8543e-14 | 14.9669
166.371 | -3.6179e-14 | 14.967
166.695 | -1.7335e-14 | 14.9679
166.998 | -4.251e-15 | 14.9701
167.249 | -3.5088e-14 | 14.9695
167.574 | -1.4656e-14 | 14.9694
167.851 | 3.566e-15 | 14.9686
168.175 | 1.643e-15 | 14.9689
168.503 | -2.1177e-14 | 14.9692
168.754 | -1.9418e-14 | 14.9678
169.081 | -4.609e-15 | 14.9722
169.33 | -2.8542e-14 | 14.9721
169.657 | -6.821e-15 | 14.9722
169.981 | 1.652e-15 | 14.973
170.232 | -2.0732e-14 | 14.9717
170.557 | -3.1609e-14 | 14.9723
170.883 | -3.3977e-14 | 14.9724
171.134 | -3.3799e-14 | 14.9725
171.459 | 4.806e-15 | 14.9733
171.78 | -2.1885e-14 | 14.9696
172.026 | 4.4563e-14 | 14.9721
172.348 | -3.29e-16 | 14.9713
172.668 | -4.137e-15 | 14.9699
172.989 | -1.7696e-14 | 14.9686
173.263 | -3.4871e-14 | 14.9688
173.56 | -1.3328e-14 | 14.969
173.884 | -9.456e-15 | 14.9689
174.158 | -4.718e-15 | 14.9674
174.482 | -8.867e-15 | 14.9706
174.73 | -1.5019e-14 | 14.9701
175.056 | -2.096e-15 | 14.967
175.379 | -2.509e-15 | 14.9676
175.679 | 8.402e-15 | 14.968
175.954 | 1.1538e-14 | 14.9662
176.279 | 6.39e-16 | 14.967
176.528 | -4.969e-14 | 14.9695
176.854 | -3.2917e-14 | 14.9682
177.205 | -2.5349e-14 | 14.968
177.456 | -1.0797e-14 | 14.9694
177.779 | -9.424e-15 | 14.9698
178.055 | -2.7291e-14 | 14.9685
178.381 | 5.721e-15 | 14.9707
178.631 | -9.9e-16 | 14.9702
178.957 | -1.7631e-14 | 14.9703
179.282 | -9.136e-15 | 14.9708
179.558 | -3.654e-15 | 14.9681
179.881 | 7.489e-15 | 14.971
180.13 | -1.5652e-14 | 14.9695
180.479 | 4.062e-15 | 14.9713
180.729 | -3.169e-15 | 14.9713
181.054 | 9.021e-15 | 14.9711
181.38 | -6.821e-15 | 14.9713
181.63 | -7.194e-15 | 14.9716
181.955 | -1.4927e-14 | 14.9713
182.28 | -9.417e-15 | 14.9712
182.554 | -6.594e-15 | 14.969
182.88 | -2.1427e-14 | 14.9716
183.128 | -2.1011e-14 | 14.97
183.452 | -4.0651e-14 | 14.97
183.801 | -3.3142e-14 | 14.9695
184.051 | -2.1993e-14 | 14.9718
184.378 | -1.875e-14 | 14.9719
184.629 | -9.519e-15 | 14.9711
184.951 | -2.6886e-14 | 14.9706
185.276 | -3.1377e-14 | 14.9705
185.6 | -2.0873e-14 | 14.972
185.852 | -1.186e-14 | 14.9724
186.176 | -5.354e-15 | 14.9722
186.475 | -1.2757e-14 | 14.9689
186.8 | 2.926e-15 | 14.9712
187.075 | -6.003e-15 | 14.9706
187.397 | -1.0552e-14 | 14.9689
187.648 | -1.3836e-14 | 14.9708
187.998 | -8.164e-15 | 14.9705
188.248 | -8.713e-15 | 14.9724
188.572 | 4.159e-15 | 14.9723
188.897 | 9.144e-15 | 14.9718
189.172 | 1.5969e-14 | 14.9691
189.496 | 9.614e-15 | 14.972
189.772 | -2.1409e-14 | 14.9708
190.097 | -1.1326e-14 | 14.9693
190.348 | 3.4949e-14 | 14.9721
190.673 | -3.124e-15 | 14.9721
190.998 | -1.6719e-14 | 14.9732
191.25 | -5.814e-15 | 14.973
191.575 | 1.3273e-14 | 14.9735
191.898 | -1.4316e-14 | 14.9729
192.146 | -1.9074e-14 | 14.9717
192.471 | -1.3407e-14 | 14.9718
192.82 | -3.754e-14 | 14.9719
193.071 | -5.899e-15 | 14.9707
193.396 | -1.6041e-14 | 14.9734
193.648 | -5.3595e-14 | 14.9732
193.972 | -4.5342e-14 | 14.9725
194.297 | -2.5575e-14 | 14.9727
194.572 | -1.1191e-14 | 14.9706
194.899 | -4.324e-15 | 14.9711
195.149 | -7.695e-15 | 14.9724
195.499 | 5.2942e-14 | 14.9716
195.751 | 3.4231e-14 | 14.9735
196.078 | 3.6868e-14 | 14.9749
196.328 | 4.3656e-14 | 14.9738
196.653 | 3.3195e-14 | 14.9745
196.98 | -8.6937e-14 | 14.9748
197.23 | -6.7137e-14 | 14.9736
197.582 | -5.1914e-14 | 14.9745
197.884 | -1.4603e-14 | 14.9755
198.159 | 2.9468e-14 | 14.975
198.485 | -5.307e-14 | 14.974
198.742 | -3.0853e-14 | 14.9764
199.085 | -3.7278e-14 | 14.9789
199.377 | 3.4981e-14 | 14.9794
199.696 | -4.1292e-14 | 14.9829
199.988 | 1.4793e-14 | 14.9833
200.285 | -3.2884e-14 | 14.9875
200.555 | 8.362e-15 | 14.9907
200.854 | 4.087e-15 | 14.9928
201.208 | 1.0261e-14 | 14.9964
201.477 | 7.443e-15 | 14.9979
201.745 | -1.2833e-14 | 15.0019
202.087 | 4.3131e-14 | 15.0037
202.371 | -4.829e-14 | 15.0036
202.627 | -4.1807e-14 | 15.0064
202.957 | -6.56e-15 | 15.007
203.288 | -1.4135e-14 | 15.0071
203.567 | -6.072e-15 | 15.0061
203.893 | 2.2309e-14 | 15.0083
204.142 | 2.6198e-14 | 15.0068
204.489 | 2.2238e-14 | 15.0081
204.736 | 5.108e-15 | 15.0069
205.055 | 1.0749e-14 | 15.0062
205.397 | 2.6198e-14 | 15.0043
205.643 | 9.322e-15 | 15.0047
205.96 | 8.72e-15 | 15.0033
206.302 | 1.9518e-14 | 15.001
206.546 | 1.2335e-14 | 15.002
206.863 | 1.49e-14 | 15.001
207.18 | 3.8141e-14 | 14.9988
207.448 | 2.5001e-14 | 14.9999
207.765 | 3.4893e-14 | 14.9991
208.083 | 1.8834e-14 | 14.998
208.326 | 2.0535e-14 | 14.9963
208.668 | 8.146e-15 | 14.994
208.987 | 2.1171e-14 | 14.995
209.258 | 3.7524e-14 | 14.9929
209.575 | 5.9695e-14 | 14.9916
209.893 | 6.0492e-14 | 14.9926
210.163 | 4.5919e-14 | 14.9909
210.482 | 5.1521e-14 | 14.9918
210.754 | 4.5204e-14 | 14.991
211.048 | 5.2178e-14 | 14.99
211.394 | 4.5885e-14 | 14.9891
211.642 | 1.8779e-14 | 14.9903
211.986 | 6.9042e-14 | 14.9878
212.233 | 5.6175e-14 | 14.9895
212.554 | 5.9025e-14 | 14.9891
212.877 | 6.3736e-14 | 14.9878
213.195 | 8.3109e-14 | 14.9869
213.465 | 8.0661e-14 | 14.9872
213.786 | 6.3927e-14 | 14.986
214.057 | 7.1756e-14 | 14.9865
214.377 | 7.9773e-14 | 14.9854
214.699 | 7.2684e-14 | 14.985
214.97 | 7.0955e-14 | 14.983
215.293 | 8.1505e-14 | 14.9845
215.567 | 7.4214e-14 | 14.9837
215.889 | 6.3205e-14 | 14.9829
216.134 | 5.9338e-14 | 14.9834
216.482 | 7.1936e-14 | 14.9816
216.733 | 8.4017e-14 | 14.9833
217.082 | 9.0552e-14 | 14.9825
217.355 | 7.9728e-14 | 14.9825
217.68 | 1.0981e-13 | 14.9838
217.953 | 9.2882e-14 | 14.982
218.277 | 8.6082e-14 | 14.9814
218.553 | 1.0186e-13 | 14.9823
218.879 | 9.4201e-14 | 14.9816
219.128 | 1.0477e-13 | 14.9835
219.458 | 1.0522e-13 | 14.9845
219.81 | 9.6929e-14 | 14.9837
220.067 | 1.0438e-13 | 14.9852
220.422 | 9.0816e-14 | 14.985
220.676 | 1.2966e-13 | 14.9849
220.929 | 1.2216e-13 | 14.9858
221.308 | 1.1033e-13 | 14.9862
221.559 | 1.076e-13 | 14.9875
221.882 | 1.1499e-13 | 14.9862
222.157 | 1.1735e-13 | 14.9872
222.506 | 1.2753e-13 | 14.9861
222.753 | 1.3687e-13 | 14.987
223.077 | 1.3853e-13 | 14.9866
223.351 | 1.4651e-13 | 14.9857
223.675 | 1.441e-13 | 14.9846
224 | 1.351e-13 | 14.9871
224.248 | 1.4222e-13 | 14.9854
224.598 | 1.4722e-13 | 14.9844
224.847 | 1.6859e-13 | 14.9856
225.198 | 1.4422e-13 | 14.9862
225.472 | 1.52e-13 | 14.985
225.798 | 1.3636e-13 | 14.9858
226.074 | 1.3421e-13 | 14.9869
226.399 | 1.4843e-13 | 14.9865
226.675 | 1.374e-13 | 14.985
227.075 | 1.55e-13 | 14.9868
227.276 | 1.5129e-13 | 14.9858
227.601 | 1.474e-13 | 14.9863
227.876 | 1.6528e-13 | 14.9875
228.223 | 1.6049e-13 | 14.9854
228.47 | 1.6108e-13 | 14.9863
228.817 | 1.5132e-13 | 14.9847
229.065 | 1.6079e-13 | 14.9854
229.339 | 1.772e-13 | 14.9862
229.688 | 1.8642e-13 | 14.9848
229.936 | 1.803e-13 | 14.9862
230.261 | 1.6231e-13 | 14.9858
230.611 | 1.7978e-13 | 14.9846
230.889 | 1.7464e-13 | 14.9847
231.136 | 1.587e-13 | 14.986
231.469 | 1.7955e-13 | 14.9865
231.797 | 1.827e-13 | 14.9867
232.075 | 1.7478e-13 | 14.9872
232.426 | 1.7629e-13 | 14.986
232.676 | 1.8877e-13 | 14.9867
232.95 | 1.7198e-13 | 14.988
233.275 | 1.8536e-13 | 14.987
233.623 | 1.657e-13 | 14.9864
233.874 | 1.6756e-13 | 14.9876
234.199 | 1.6896e-13 | 14.9872
234.472 | 1.7067e-13 | 14.9861
234.797 | 1.4546e-13 | 14.9877
235.07 | 1.629e-13 | 14.9857
235.396 | 1.4269e-13 | 14.9868
235.672 | 1.5038e-13 | 14.9853
235.998 | 1.5996e-13 | 14.9871
236.272 | 1.5387e-13 | 14.9852
236.597 | 1.3396e-13 | 14.9867
236.875 | 1.3187e-13 | 14.9876
237.199 | 1.5317e-13 | 14.9871
237.475 | 1.6819e-13 | 14.9859
237.8 | 1.5858e-13 | 14.9873
238.077 | 1.5931e-13 | 14.9867
238.326 | 1.5314e-13 | 14.9875
238.676 | 1.3775e-13 | 14.9876
238.951 | 1.3772e-13 | 14.986
239.302 | 1.2958e-13 | 14.9862
239.553 | 1.2744e-13 | 14.9879
239.903 | 1.161e-13 | 14.9866
240.177 | 1.1373e-13 | 14.9873
240.428 | 1.1777e-13 | 14.988
240.777 | 1.3466e-13 | 14.9881
241.052 | 1.14e-13 | 14.9871
241.379 | 1.1777e-13 | 14.9882
241.653 | 1.0429e-13 | 14.9871
241.979 | 9.8478e-14 | 14.9865
242.228 | 1.09e-13 | 14.9876
242.578 | 9.0208e-14 | 14.9869
242.83 | 6.7383e-14 | 14.9881
243.179 | 8.0391e-14 | 14.9873
243.431 | 8.7329e-14 | 14.9885
243.779 | 8.389e-14 | 14.9888
244.054 | 6.5817e-14 | 14.9867
244.374 | 8.9849e-14 | 14.9873
244.723 | 6.0841e-14 | 14.987
244.97 | 5.4241e-14 | 14.987
245.243 | 4.6807e-14 | 14.987
245.591 | 4.3224e-14 | 14.9856
245.864 | 5.291e-14 | 14.9862
246.189 | 3.6751e-14 | 14.9874
246.464 | 3.7124e-14 | 14.9856
246.788 | 3.1389e-14 | 14.9873
247.038 | 1.2997e-14 | 14.9865
247.464 | 1.1681e-14 | 14.9875
247.665 | 1.483e-15 | 14.9878
247.99 | 2.622e-15 | 14.9872
248.265 | 2.83e-16 | 14.987
248.542 | 8.601e-15 | 14.9876
248.891 | 6.78e-16 | 14.9859
249.166 | 3.987e-15 | 14.9864
249.493 | -9.634e-15 | 14.9882
249.742 | -3.5162e-14 | 14.9871
250.094 | -2.9833e-14 | 14.988
250.369 | -2.399e-14 | 14.9871
250.644 | -4.3754e-14 | 14.9882
250.971 | -5.3343e-14 | 14.9883
251.245 | -5.4232e-14 | 14.9883
251.572 | -4.7749e-14 | 14.9878
251.898 | -4.9861e-14 | 14.9879
252.175 | -4.9765e-14 | 14.9881
252.475 | -5.3829e-14 | 14.9878
252.8 | -5.2365e-14 | 14.9869
253.051 | -5.5142e-14 | 14.9881
253.326 | -7.6166e-14 | 14.9888
253.677 | -8.7778e-14 | 14.988
253.927 | -6.1719e-14 | 14.9888
254.253 | -6.9766e-14 | 14.9882
254.528 | -7.8051e-14 | 14.9889
254.878 | -8.3163e-14 | 14.9872
255.154 | -7.9162e-14 | 14.9892
255.428 | -6.893e-14 | 14.9883
255.779 | -8.9455e-14 | 14.9875
256.054 | -9.5418e-14 | 14.9883
256.38 | -1.1429e-13 | 14.9889
256.654 | -1.0084e-13 | 14.9886
256.93 | -1.192e-13 | 14.989
257.256 | -1.0761e-13 | 14.9889
257.53 | -1.1924e-13 | 14.9892
257.879 | -1.204e-13 | 14.9887
258.132 | -1.2209e-13 | 14.9891
258.481 | -1.4418e-13 | 14.9881
258.731 | -1.4355e-13 | 14.9889
259.081 | -1.2295e-13 | 14.9879
259.355 | -1.2169e-13 | 14.9884
259.682 | -1.2683e-13 | 14.9894
259.956 | -1.1628e-13 | 14.9898
260.231 | -1.1128e-13 | 14.99
260.557 | -1.2019e-13 | 14.9889
260.831 | -1.2164e-13 | 14.9894
261.18 | -1.3716e-13 | 14.9884
261.429 | -1.3978e-13 | 14.9891
261.774 | -1.6002e-13 | 14.9892
262.047 | -1.6382e-13 | 14.9885
262.42 | -1.4277e-13 | 14.9881
262.718 | -1.2764e-13 | 14.988
262.993 | -1.2498e-13 | 14.9883
263.292 | -1.4802e-13 | 14.9863
263.592 | -1.5632e-13 | 14.9886
263.868 | -1.5045e-13 | 14.987
264.193 | -1.3163e-13 | 14.9886
264.468 | -1.3033e-13 | 14.9889
264.819 | -1.4334e-13 | 14.9877
265.069 | -1.2699e-13 | 14.9884
265.344 | -1.2057e-13 | 14.989
265.67 | -1.1546e-13 | 14.9885
265.946 | -1.3859e-13 | 14.9887
266.296 | -1.3785e-13 | 14.9878
266.571 | -1.2264e-13 | 14.9879
266.896 | -1.2958e-13 | 14.9892
267.171 | -1.2733e-13 | 14.9888
267.447 | -1.2281e-13 | 14.9893
267.872 | -1.3223e-13 | 14.9839
268.047 | -1.3756e-13 | 14.9896
268.4 | -1.26e-13 | 14.9879
268.65 | -1.4027e-13 | 14.9892
268.926 | -1.2639e-13 | 14.9901
269.276 | -1.1462e-13 | 14.9892
269.551 | -1.1734e-13 | 14.9897
269.826 | -1.2079e-13 | 14.99
270.151 | -1.0302e-13 | 14.9893
270.426 | -1.0693e-13 | 14.99
270.753 | -1.0635e-13 | 14.9895
271.027 | -1.0276e-13 | 14.99
271.353 | -9.7347e-14 | 14.9894
271.627 | -8.7259e-14 | 14.9901
271.951 | -9.6943e-14 | 14.9888
272.229 | -9.8399e-14 | 14.9896
272.578 | -9.2858e-14 | 14.9883
272.854 | -8.5989e-14 | 14.9883
273.204 | -8.1955e-14 | 14.989
273.454 | -7.7042e-14 | 14.9896
273.728 | -8.63e-14 | 14.9899
274.08 | -7.5479e-14 | 14.9887
274.355 | -6.6584e-14 | 14.989
274.68 | -5.6277e-14 | 14.9894
274.956 | -5.303e-14 | 14.9903
275.306 | -5.5431e-14 | 14.9895
275.554 | -6.0032e-14 | 14.9901
275.829 | -5.9858e-14 | 14.9899
276.181 | -5.8454e-14 | 14.9905
276.456 | -5.6027e-14 | 14.9894
276.779 | -7.0218e-14 | 14.9896
277.056 | -4.3935e-14 | 14.9895
277.354 | -2.5166e-14 | 14.9894
277.68 | -1.4907e-14 | 14.9899
277.955 | -2.003e-14 | 14.9906
278.306 | -2.1595e-14 | 14.9893
278.582 | -4.4621e-14 | 14.9889
278.855 | -3.3193e-14 | 14.9899
279.129 | -5.4646e-14 | 14.9902
279.475 | -4.2167e-14 | 14.9889
279.823 | -5.8468e-14 | 14.9891
280.071 | -4.0176e-14 | 14.9894
280.371 | -3.9492e-14 | 14.9886
280.693 | -3.1652e-14 | 14.9895
280.967 | -3.9661e-14 | 14.9876
281.242 | -4.0241e-14 | 14.9898
281.566 | -5.335e-14 | 14.9891
281.842 | -5.1571e-14 | 14.9892
282.192 | -4.7896e-14 | 14.9878
282.468 | -4.985e-14 | 14.99
282.818 | -6.2113e-14 | 14.9883
283.095 | -8.8031e-14 | 14.9883
283.368 | -7.7253e-14 | 14.9889
283.694 | -7.5693e-14 | 14.9901
283.969 | -5.9316e-14 | 14.9887
284.294 | -4.6892e-14 | 14.9897
284.571 | -5.7413e-14 | 14.9894
284.846 | -6.4565e-14 | 14.9896
285.195 | -7.0032e-14 | 14.9901
285.473 | -7.3682e-14 | 14.9903
285.823 | -9.0652e-14 | 14.9888
286.097 | -9.7122e-14 | 14.9887
286.373 | -8.278e-14 | 14.9889
286.698 | -6.1631e-14 | 14.9898
286.975 | -6.5509e-14 | 14.9902
287.248 | -7.6806e-14 | 14.9904
287.599 | -8.2022e-14 | 14.989
287.873 | -8.8182e-14 | 14.9899
288.199 | -8.3651e-14 | 14.9902
288.476 | -8.3613e-14 | 14.9902
288.75 | -8.0736e-14 | 14.9902
289.101 | -7.8812e-14 | 14.9904
289.376 | -8.4632e-14 | 14.9906
289.651 | -6.8704e-14 | 14.9907
289.927 | -6.4492e-14 | 14.9904
290.277 | -6.0159e-14 | 14.9908
290.553 | -5.8243e-14 | 14.9907
290.903 | -5.4025e-14 | 14.9899
291.178 | -7.0021e-14 | 14.9896
291.454 | -6.2107e-14 | 14.9895
291.778 | -6.5438e-14 | 14.9902
292.08 | -7.297e-14 | 14.9902
292.33 | -7.5341e-14 | 14.9904
292.679 | -5.7936e-14 | 14.9907
292.956 | -4.4267e-14 | 14.9907
293.232 | -5.3502e-14 | 14.9913
293.582 | -5.4452e-14 | 14.9901
293.831 | -6.3644e-14 | 14.9903
294.205 | -4.8019e-14 | 14.99
294.482 | -7.1515e-14 | 14.9913
294.757 | -5.8539e-14 | 14.9905
295.083 | -6.6751e-14 | 14.991
295.359 | -6.6136e-14 | 14.9912
295.633 | -6.4274e-14 | 14.9915
295.957 | -6.5643e-14 | 14.9905
296.234 | -5.7166e-14 | 14.991
296.582 | -5.2744e-14 | 14.9914
296.858 | -6.4727e-14 | 14.9904
297.208 | -6.0278e-14 | 14.9901
297.484 | -6.089e-14 | 14.9915
297.76 | -5.1351e-14 | 14.9902
298.084 | -4.6024e-14 | 14.9909
298.359 | -5.0638e-14 | 14.991
298.632 | -4.7058e-14 | 14.9909
298.98 | -5.3941e-14 | 14.991
299.252 | -4.5488e-14 | 14.9909
299.599 | -6.5784e-14 | 14.9902
299.874 | -5.4497e-14 | 14.9897
300.198 | -4.4703e-14 | 14.9903
300.497 | -5.6364e-14 | 14.9893
300.77 | -5.5445e-14 | 14.9895
301.096 | -3.8021e-14 | 14.99
301.37 | -4.4199e-14 | 14.9902
301.645 | -5.148e-14 | 14.9904
301.995 | -3.881e-14 | 14.9892
302.271 | -3.7007e-14 | 14.9892
302.546 | -3.3498e-14 | 14.9908
302.872 | -3.166e-14 | 14.9903
303.147 | -3.7176e-14 | 14.9907
303.497 | -4.7535e-14 | 14.9894
303.773 | -5.4686e-14 | 14.9908
304.049 | -5.5171e-14 | 14.9909
304.398 | -6.9585e-14 | 14.9901
304.65 | -6.8374e-14 | 14.9908
304.999 | -5.9144e-14 | 14.9899
305.275 | -6.2748e-14 | 14.9908
305.551 | -5.5122e-14 | 14.9907
305.826 | -6.5788e-14 | 14.9912
306.177 | -5.1685e-14 | 14.99
306.526 | -4.2037e-14 | 14.9906
306.777 | -5.9452e-14 | 14.9907
307.052 | -5.1145e-14 | 14.9911
307.327 | -4.5271e-14 | 14.9907
307.677 | -5.2819e-14 | 14.9912
307.953 | -6.11e-14 | 14.9914
308.303 | -6.9201e-14 | 14.9909
308.528 | -7.3696e-14 | 14.9908
308.855 | -7.0751e-14 | 14.9913
309.154 | -6.7155e-14 | 14.99
309.505 | -5.7491e-14 | 14.9908
309.754 | -4.6297e-14 | 14.9905
310.054 | -5.0221e-14 | 14.9904
310.38 | -6.7093e-14 | 14.991
310.654 | -6.4395e-14 | 14.9913
310.93 | -6.2013e-14 | 14.9917
311.278 | -7.4307e-14 | 14.9913
311.556 | -6.3763e-14 | 14.9912
311.83 | -6.1569e-14 | 14.9906
312.206 | -5.9603e-14 | 14.9911
312.456 | -5.5045e-14 | 14.9916
312.806 | -4.4005e-14 | 14.9908
313.08 | -5.0141e-14 | 14.9907
313.355 | -7.7181e-14 | 14.9907
313.707 | -5.9916e-14 | 14.9908
313.982 | -4.7627e-14 | 14.991
314.257 | -5.5297e-14 | 14.9906
314.607 | -6.1497e-14 | 14.9905
314.882 | -3.9097e-14 | 14.9906
315.156 | -4.7627e-14 | 14.9905
315.507 | -6.4536e-14 | 14.9908
315.783 | -3.7569e-14 | 14.992
316.057 | -4.8701e-14 | 14.992
316.406 | -4.0376e-14 | 14.9911
316.657 | -5.4887e-14 | 14.9916
316.931 | -3.9629e-14 | 14.9918
317.281 | -4.8813e-14 | 14.9918
317.557 | -4.3125e-14 | 14.9904
317.882 | -4.5124e-14 | 14.9912
318.181 | -4.8955e-14 | 14.9907
318.456 | -4.7573e-14 | 14.9909
318.781 | -5.7916e-14 | 14.9914
319.057 | -4.9961e-14 | 14.9917
319.331 | -7.4282e-14 | 14.9918
319.681 | -4.9217e-14 | 14.9919
319.957 | -4.9902e-14 | 14.9908
320.304 | -5.8289e-14 | 14.991
320.577 | -4.3921e-14 | 14.9907
320.85 | -4.786e-14 | 14.9915
321.199 | -6.9991e-14 | 14.9916
321.472 | -7.8176e-14 | 14.9915
321.745 | -6.9791e-14 | 14.9911
322.096 | -6.7188e-14 | 14.9914
322.37 | -6.5711e-14 | 14.9913
322.646 | -7.5774e-14 | 14.9913
322.995 | -4.4224e-14 | 14.9903
323.271 | -4.8012e-14 | 14.9901
323.597 | -4.4579e-14 | 14.9908
323.872 | -4.5691e-14 | 14.9909
324.147 | -2.0856e-14 | 14.9913
324.497 | -2.5322e-14 | 14.991
324.798 | -4.4876e-14 | 14.9917
325.074 | -4.2733e-14 | 14.9916
325.349 | -4.0548e-14 | 14.9915
325.7 | -4.847e-14 | 14.9903
325.973 | -6.1962e-14 | 14.9903
326.25 | -6.3962e-14 | 14.9916
326.601 | -4.6356e-14 | 14.9919
326.876 | -3.4628e-14 | 14.9916
327.151 | -4.4521e-14 | 14.9913
327.426 | -4.5619e-14 | 14.9913
327.775 | -2.7977e-14 | 14.9916
328.051 | -4.4036e-14 | 14.9917
328.327 | -4.454e-14 | 14.9919
328.677 | -6.3369e-14 | 14.9907
328.953 | -4.8121e-14 | 14.9904
329.278 | -4.2084e-14 | 14.9917
329.552 | -3.8237e-14 | 14.9916
329.853 | -3.7607e-14 | 14.9908
330.202 | -2.5126e-14 | 14.9912
330.479 | -4.1498e-14 | 14.9914
330.754 | -4.3559e-14 | 14.9919
331.029 | -4.5227e-14 | 14.9917
331.38 | -5.4244e-14 | 14.9918
331.68 | -4.5343e-14 | 14.9916
331.954 | -3.6466e-14 | 14.9913
332.28 | -4.9735e-14 | 14.9916
332.579 | -5.5192e-14 | 14.9915
332.855 | -3.3379e-14 | 14.9915
333.179 | -2.9885e-14 | 14.9919
333.455 | -4.8927e-14 | 14.9916
333.755 | -6.0634e-14 | 14.9909
334.029 | -6.2621e-14 | 14.9919
334.38 | -4.5624e-14 | 14.992
334.681 | -4.5534e-14 | 14.9913
334.955 | -5.411e-14 | 14.9923
335.23 | -5.5462e-14 | 14.992
335.581 | -5.2273e-14 | 14.9925
335.856 | -7.1881e-14 | 14.9912
336.18 | -6.4553e-14 | 14.9918
336.455 | -5.8271e-14 | 14.9919
336.755 | -4.1064e-14 | 14.9917
337.105 | -5.8036e-14 | 14.9915
337.38 | -5.8499e-14 | 14.9911
337.654 | -6.4081e-14 | 14.9918
337.93 | -6.623e-14 | 14.9919
338.28 | -6.8472e-14 | 14.9923
338.555 | -6.749e-14 | 14.9923
338.83 | -7.6459e-14 | 14.992
339.18 | -5.5626e-14 | 14.9922
339.455 | -5.6322e-14 | 14.9923
339.73 | -4.6471e-14 | 14.9922
340.106 | -6.5726e-14 | 14.9917
340.38 | -6.6174e-14 | 14.9921
340.681 | -5.6553e-14 | 14.9915
340.954 | -6.159e-14 | 14.9918
341.255 | -6.4653e-14 | 14.9912
341.53 | -6.0936e-14 | 14.9924
341.88 | -5.9542e-14 | 14.9912
342.154 | -7.2338e-14 | 14.9915
342.43 | -5.8816e-14 | 14.9924
342.755 | -6.7489e-14 | 14.9922
343.055 | -4.8646e-14 | 14.9914
343.405 | -4.9122e-14 | 14.9915
343.679 | -4.0973e-14 | 14.9915
343.955 | -5.185e-14 | 14.9915
344.279 | -5.8783e-14 | 14.9919
344.581 | -6.1804e-14 | 14.9914
344.855 | -7.2616e-14 | 14.9914
345.155 | -6.7807e-14 | 14.9917
345.505 | -7.4692e-14 | 14.9917
345.779 | -5.8165e-14 | 14.9924
346.055 | -5.5557e-14 | 14.9927
346.327 | -6.0162e-14 | 14.9917
346.673 | -5.7275e-14 | 14.9917
346.973 | -5.4186e-14 | 14.9917
347.297 | -7.3736e-14 | 14.992
347.569 | -5.674e-14 | 14.9916
347.871 | -2.9566e-14 | 14.9919
348.171 | -3.4506e-14 | 14.991
348.495 | -4.2951e-14 | 14.9913
348.794 | -4.909e-14 | 14.9911
349.069 | -4.111e-14 | 14.9919
349.343 | -3.9662e-14 | 14.9917
349.669 | -4.5458e-14 | 14.9909
349.946 | -4.3148e-14 | 14.992
350.297 | -4.5783e-14 | 14.9922
350.573 | -3.4995e-14 | 14.9919
350.872 | -3.7665e-14 | 14.9913
351.222 | -3.5584e-14 | 14.9913
351.498 | -3.3107e-14 | 14.9911
351.775 | -5.4305e-14 | 14.9918
352.073 | -7.2606e-14 | 14.992
352.374 | -5.2098e-14 | 14.9913
352.723 | -4.7496e-14 | 14.9915
352.998 | -5.3983e-14 | 14.9923
353.274 | -4.5044e-14 | 14.992
353.55 | -3.4743e-14 | 14.992
353.9 | -3.0857e-14 | 14.9925
354.175 | -2.8674e-14 | 14.992
354.45 | -4.7907e-14 | 14.9919
354.826 | -5.9963e-14 | 14.9919
355.101 | -7.3002e-14 | 14.9917
355.376 | -7.8467e-14 | 14.9915
355.653 | -7.0761e-14 | 14.9923
355.927 | -6.3177e-14 | 14.9922
356.279 | -5.4354e-14 | 14.9919
356.577 | -6.2379e-14 | 14.9916
356.878 | -5.2721e-14 | 14.9919
357.153 | -4.8751e-14 | 14.992
357.428 | -6.6216e-14 | 14.9926
357.778 | -6.3723e-14 | 14.9925
358.079 | -6.3051e-14 | 14.9921
358.353 | -6.0799e-14 | 14.9926
358.63 | -7.2942e-14 | 14.9924
359.004 | -6.8126e-14 | 14.992
359.28 | -5.8658e-14 | 14.9928
359.579 | -5.0667e-14 | 14.9922
359.854 | -7.4406e-14 | 14.9916
360.129 | -8.0643e-14 | 14.9924
360.48 | -8.1852e-14 | 14.9925
360.78 | -6.0849e-14 | 14.993
361.055 | -5.633e-14 | 14.9929
361.33 | -6.1178e-14 | 14.9926
361.68 | -6.7786e-14 | 14.9925
361.981 | -7.4804e-14 | 14.992
362.256 | -7.1913e-14 | 14.9925
362.53 | -7.2009e-14 | 14.9927
362.881 | -6.5139e-14 | 14.9926
363.179 | -6.5534e-14 | 14.9925
363.455 | -7.022e-14 | 14.993
363.73 | -7.9223e-14 | 14.9927
364.081 | -8.0568e-14 | 14.9924
364.38 | -7.4929e-14 | 14.9921
364.655 | -8.7181e-14 | 14.9928
364.931 | -6.4706e-14 | 14.9922
365.305 | -6.3852e-14 | 14.9921
365.58 | -7.3944e-14 | 14.9929
365.855 | -6.8662e-14 | 14.9929
366.131 | -8.101e-14 | 14.9925
366.48 | -8.8085e-14 | 14.9924
366.78 | -8.3499e-14 | 14.9923
367.055 | -7.7699e-14 | 14.993
367.329 | -8.8981e-14 | 14.9925
367.681 | -7.8466e-14 | 14.9926
367.98 | -7.9425e-14 | 14.9922
368.254 | -1.0437e-13 | 14.993
368.532 | -9.8545e-14 | 14.9932
368.879 | -8.8665e-14 | 14.9928
369.155 | -9.9412e-14 | 14.9929
369.43 | -9.0306e-14 | 14.9929
369.855 | -1.1531e-13 | 14.9923
370.08 | -1.049e-13 | 14.9932
370.381 | -1.0347e-13 | 14.9925
370.654 | -1.3193e-13 | 14.9918
370.955 | -1.0223e-13 | 14.9923
371.305 | -1.0089e-13 | 14.9922
371.581 | -1.1263e-13 | 14.992
371.88 | -1.0515e-13 | 14.9926
372.155 | -1.2174e-13 | 14.9764
372.68 | -1.1819e-13 | 14.9924
372.879 | -1.8848e-13 | 14.9929
373.106 | -2.251e-14 | 14.9919
373.381 | -1.4781e-13 | 14.9925
373.68 | -1.2427e-13 | 14.9919
373.981 | -1.6159e-13 | 14.9344
375.534 | -1.2906e-13 | 14.9929
376.534 | -1.2521e-13 | 14.9932
376.91 | -1.4662e-13 | 14.9928
377.185 | -1.4839e-13 | 14.9929
377.461 | -1.4317e-13 | 14.9925
377.811 | -1.4827e-13 | 14.9928
378.086 | -1.336e-13 | 14.9925
378.361 | -1.2028e-13 | 14.9935
378.663 | -1.2435e-13 | 14.9927
378.962 | -1.435e-13 | 14.9928
379.313 | -1.5707e-13 | 14.9928
379.587 | -1.4917e-13 | 14.9933
379.887 | -1.512e-13 | 14.9924
380.163 | -1.4685e-13 | 14.9932
380.463 | -1.4643e-13 | 14.9925
380.765 | -1.346e-13 | 14.9931
381.114 | -1.4925e-13 | 14.9931
381.39 | -1.5644e-13 | 14.9936
381.691 | -1.4239e-13 | 14.9931
381.965 | -1.5412e-13 | 14.9938
382.239 | -1.5829e-13 | 14.9936
382.539 | -1.6081e-13 | 14.9936
382.889 | -1.7823e-13 | 14.9933
383.189 | -1.8808e-13 | 14.993
383.466 | -1.8069e-13 | 14.9938
383.739 | -1.9183e-13 | 14.9934
384.114 | -1.7975e-13 | 14.9929
384.389 | -1.9145e-13 | 14.9925
384.664 | -1.9184e-13 | 14.9937
384.938 | -1.9647e-13 | 14.9933
385.314 | -2.2093e-13 | 14.9929
385.588 | -2.1552e-13 | 14.9934
385.863 | -1.9572e-13 | 14.9932
386.163 | -1.8259e-13 | 14.9936
386.463 | -1.6935e-13 | 14.9933
386.811 | -1.9575e-13 | 14.9926
387.086 | -1.7279e-13 | 14.9932
387.386 | -1.6994e-13 | 14.9927
387.659 | -1.7331e-13 | 14.9931
387.959 | -1.9116e-13 | 14.9915
388.285 | -1.9906e-13 | 14.9935
388.559 | -2.0669e-13 | 14.9935
388.835 | -2.098e-13 | 14.9931
389.209 | -2.1092e-13 | 14.9927
389.484 | -2.136e-13 | 14.9931
389.783 | -2.2765e-13 | 14.9933
390.056 | -2.2538e-13 | 14.9931
390.428 | -2.1374e-13 | 14.9914
390.724 | -2.0115e-13 | 14.9923
390.996 | -2.0811e-13 | 14.9929
391.269 | -2.2202e-13 | 14.9924
391.569 | -2.3138e-13 | 14.992
391.843 | -2.3423e-13 | 14.9926
392.191 | -2.2517e-13 | 14.9923
392.492 | -2.2946e-13 | 14.9927
392.791 | -2.1989e-13 | 14.9921
393.067 | -2.4309e-13 | 14.9918
393.34 | -2.364e-13 | 14.9923
393.642 | -2.3787e-13 | 14.9925
393.967 | -2.6229e-13 | 14.9925
394.266 | -2.5236e-13 | 14.9917
394.542 | -2.6472e-13 | 14.9928
394.918 | -2.4227e-13 | 14.9921
395.192 | -2.4445e-13 | 14.9924
395.493 | -2.4523e-13 | 14.993
395.768 | -2.7026e-13 | 14.9927
396.043 | -2.7103e-13 | 14.9924
396.419 | -2.8113e-13 | 14.9922
396.692 | -2.8072e-13 | 14.993
396.969 | -2.6478e-13 | 14.9922
397.27 | -2.6921e-13 | 14.9927
397.569 | -2.8048e-13 | 14.992
397.844 | -2.7154e-13 | 14.9923
398.145 | -2.6645e-13 | 14.9927
398.446 | -2.6724e-13 | 14.993
398.796 | -2.7091e-13 | 14.993