## Settings
Sample Info | so12ig, dot b5 glued, run 13
Comments | +1/-5/+1, 15 K/min
Additional Comments | pulse -5V
Major Measurement Parameters
Starting Temperature | 252.753
Initial Temperature | 81
Final Temperature | 450
Preliminary Voltage | 1
Pulse Voltage | -5
Pulse Time | 30
Wait Time | 0
Measurement Voltage | 1
Subsidiary Measurement Parameters
Step | 0.3
Accuracy Step | 0.1
Accuracy Stable | 1
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 15
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 5
Measurecount | 1
Time
Date | 12.4.2024
Clock | 19:16:35

## Stabilization
Temperature | Current | Temp Rate
251.028 | 2.3235e-12 | 0
250.139 | 1.1929e-12 | -41.9119
245.567 | 5.9911e-14 | -45.5922
244.706 | 1.5604e-13 | -44.7424
243.653 | 1.3155e-13 | -45.1957
242.766 | -1.2912e-13 | -44.7625
241.728 | -1.4516e-14 | -45.1292
240.771 | 1.9128e-14 | -45.0413
239.865 | 5.7749e-14 | -44.8014
238.847 | 5.3323e-14 | -44.953
237.979 | 6.5684e-14 | -48.0986
236.913 | 7.1319e-14 | -81.5028
236.145 | 8.3269e-14 | -114.6699
235.026 | 8.9244e-14 | -246.1045
234.294 | 8.9708e-14 | -385.4697
233.195 | 1.2527e-13 | -42.0256
232.409 | 1.1903e-13 | -41.7525
231.42 | 1.3577e-13 | -41.9181
230.543 | 1.2744e-13 | -949.7521
229.714 | 1.1674e-13 | -41.6927
228.737 | 3.4819e-13 | -41.7957
228.019 | 2.4872e-13 | -41.4632
226.927 | 1.3631e-13 | -41.8057
226.291 | 1.4201e-13 | -41.3644
225.314 | 1.4719e-13 | -41.467
224.532 | 1.0954e-13 | -41.2812
223.832 | 1.3071e-13 | -41.0096
222.891 | 1.506e-13 | -41.0819
222.323 | 1.7625e-13 | -40.6086
221.262 | 1.516e-13 | -40.8438
220.651 | 1.3878e-13 | -40.4551
219.87 | 1.4521e-13 | -40.33
219.05 | 1.3703e-13 | -40.2513
218.537 | 1.3059e-13 | -39.8229
217.622 | 1.3933e-13 | -39.8936
217.052 | 1.3788e-13 | -39.5374
216.428 | 1.3094e-13 | -39.285
215.603 | 1.4541e-13 | -39.2563
215.186 | 1.3853e-13 | -38.7783
214.365 | 1.487e-13 | -38.7533
213.743 | 1.4634e-13 | -38.5373
213.237 | 1.5024e-13 | -38.201
212.418 | 1.4547e-13 | -38.2072
212.005 | 1.3174e-13 | -37.7962
211.501 | 1.5184e-13 | -37.4712
210.895 | 1.429e-13 | -37.2824
210.625 | 1.3679e-13 | -36.8017
210.423 | 1.3046e-13 | -36.2687
210.227 | 1.3111e-13 | -35.7488
210.075 | 1.3238e-13 | -35.2186
209.939 | 1.3182e-13 | -34.6892
209.741 | 1.396e-13 | -34.2276
209.395 | 1.3732e-13 | -33.9049
209.259 | 1.283e-13 | -33.4196
209.141 | 1.4129e-13 | -32.942
209.023 | 1.4123e-13 | -32.4736
208.901 | 1.4209e-13 | -32.0365
208.749 | 1.3924e-13 | -31.6347
208.573 | 1.5048e-13 | -31.2564
208.461 | 1.3953e-13 | -30.8483
208.348 | 1.2909e-13 | -30.4551
208.227 | 1.2461e-13 | -30.0688
208.094 | 1.0732e-13 | -29.7064
207.958 | 1.0665e-13 | -29.3649
207.836 | 1.0443e-13 | -29.0243
207.709 | 1.1309e-13 | -28.693
207.575 | 1.7298e-13 | -28.3776
207.445 | 1.1969e-13 | -28.0594
207.212 | 1.0882e-13 | -27.8129
206.927 | 9.2257e-14 | -27.611
206.639 | 8.1597e-14 | -27.4209
206.307 | 2.6069e-13 | -27.2531
206.114 | 1.7887e-13 | -27.0142
205.934 | 1.3145e-13 | -26.7782
205.618 | 1.0782e-13 | -26.6226
205.275 | 8.8045e-14 | -26.4839
204.916 | 8.016e-14 | -26.3551
204.537 | 7.166e-14 | -26.2511
204.226 | 7.5707e-14 | -26.1116
203.992 | 6.5867e-14 | -25.9258
203.767 | 6.4159e-14 | -25.746
203.512 | 6.8553e-14 | -25.5827
203.258 | 6.4828e-14 | -25.4199
203.035 | 6.7157e-14 | -25.2459
202.819 | 6.5162e-14 | -25.0743
202.592 | 6.1694e-14 | -24.9115
202.366 | 7.497e-14 | -24.7524
202.138 | 6.6239e-14 | -24.5937
201.909 | 6.5426e-14 | -24.4421
201.676 | 5.5039e-14 | -24.2924
201.437 | 5.3468e-14 | -24.1536
201.198 | 6.0804e-14 | -24.0172
200.96 | 5.5242e-14 | -23.8781
200.709 | 6.5584e-14 | -23.7478
200.48 | 7.2294e-14 | -23.6161
200.255 | 7.7485e-14 | -23.4787
200.024 | 6.2485e-14 | -23.3516
199.798 | 7.2992e-14 | -23.2236
199.558 | 6.647e-14 | -23.1027
199.315 | 6.377e-14 | -22.9858
199.073 | 7.819e-14 | -22.8662
198.816 | 6.2927e-14 | -22.758
198.577 | 6.8593e-14 | -22.6495
198.333 | 7.9159e-14 | -22.5442
198.087 | 6.955e-14 | -22.4365
197.845 | 6.5426e-14 | -22.3317
197.613 | 7.4212e-14 | -22.2218
197.365 | 7.811e-14 | -22.1203
197.139 | 7.1129e-14 | -22.0134
196.912 | 6.8322e-14 | -21.9116
196.677 | 6.494e-14 | -21.8118
196.438 | 6.7805e-14 | -21.7165
196.167 | 5.9359e-14 | -21.6375
195.911 | 5.6357e-14 | -21.549
195.651 | 5.0492e-14 | -21.4662
195.385 | 6.4204e-14 | -21.3858
195.11 | 4.9374e-14 | -21.311
194.853 | 4.0658e-14 | -21.2325
194.582 | 3.5486e-14 | -21.1555
194.307 | 4.8102e-14 | -21.0871
194.03 | 4.6045e-14 | -21.0186
193.717 | 4.567e-14 | -20.9628
193.42 | 5.5788e-14 | -20.9028
193.118 | 4.1724e-14 | -20.8455
192.82 | 3.5426e-14 | -20.7894
192.541 | 3.7753e-14 | -20.7264
192.241 | 3.7993e-14 | -20.6703
191.957 | 3.6278e-14 | -20.6098
191.666 | 3.8902e-14 | -20.5529
191.375 | 3.655e-14 | -20.4976
191.076 | 3.2286e-14 | -20.4461
190.757 | 3.6579e-14 | -20.3992
190.465 | 4.1943e-14 | -20.3457
190.157 | 3.4376e-14 | -20.2938
189.877 | 4.0291e-14 | -20.2386
189.574 | 2.8483e-14 | -20.1893
189.28 | 2.0005e-14 | -20.1392
188.911 | 3.7708e-14 | -20.116
188.492 | 2.8325e-14 | -20.108
188.027 | 1.9661e-14 | -20.1152
187.585 | 3.3824e-14 | -20.1145
187.253 | 3.1579e-14 | -20.0788
186.882 | 3.0225e-14 | -20.0546
186.463 | 3.1037e-14 | -20.0475
186.126 | 2.7838e-14 | -20.0132
185.804 | 2.4873e-14 | -19.9763
185.475 | 2.645e-14 | -19.9432
185.085 | 2.9804e-14 | -19.9258
184.692 | 2.7165e-14 | -19.9129
184.26 | 2.7884e-14 | -19.9113
183.825 | 3.3761e-14 | -19.9088
183.479 | 2.9468e-14 | -19.8783
183.089 | 2.226e-14 | -19.8659
182.603 | 3.1214e-14 | -19.8768
182.152 | 3.1947e-14 | -19.8799
181.677 | 3.7575e-14 | -19.8879
181.154 | 4.407e-14 | -19.9138
180.658 | 4.4671e-14 | -19.9275
180.187 | 4.6602e-14 | -19.937
179.787 | 4.6785e-14 | -19.9268
179.376 | 3.5912e-14 | -19.9186
179.034 | 3.265e-14 | -19.8925
178.685 | 3.6591e-14 | -19.8619
178.367 | 4.5664e-14 | -19.8283
178.06 | 4.1549e-14 | -19.7937
177.73 | 3.4832e-14 | -19.7617
177.419 | 3.7301e-14 | -19.7285
177.11 | 3.8034e-14 | -19.6952
176.805 | 4.3861e-14 | -19.6608
176.474 | 4.1323e-14 | -19.6313
176.161 | 3.551e-14 | -19.6001
175.829 | 4.1477e-14 | -19.5745
175.459 | 3.2334e-14 | -19.5568
175.098 | 3.8328e-14 | -19.5385
174.701 | 4.2321e-14 | -19.5324
174.315 | 4.0773e-14 | -19.5219
173.979 | 3.4076e-14 | -19.4961
173.625 | 3.7105e-14 | -19.4776
173.307 | 3.5784e-14 | -19.4481
172.949 | 3.2559e-14 | -19.4302
172.501 | 3.9168e-14 | -19.4346
172.072 | 3.6879e-14 | -19.4338
171.631 | 3.0225e-14 | -19.4357
171.179 | 3.8623e-14 | -19.4415
170.739 | 3.1985e-14 | -19.4443
170.386 | 3.3078e-14 | -19.425
170.029 | 4.3266e-14 | -19.4022
169.685 | 3.1019e-14 | -19.3793
169.372 | 3.3514e-14 | -19.3482
169.037 | 2.7012e-14 | -19.3261
168.729 | 3.2558e-14 | -19.2992
168.433 | 3.1346e-14 | -19.268
168.144 | 2.8108e-14 | -19.2355
167.836 | 2.6613e-14 | -19.2092
167.549 | 3.2686e-14 | -19.1777
167.268 | 2.9525e-14 | -19.144
166.973 | 2.6269e-14 | -19.1107
166.701 | 2.6417e-14 | -19.0765
166.41 | 2.8359e-14 | -19.0466
166.144 | 2.4126e-14 | -19.0097
165.861 | 3.2616e-14 | -18.9777
165.602 | 3.6594e-14 | -18.9412
165.343 | 3.1529e-14 | -18.9074
165.087 | 3.0361e-14 | -18.8712
164.815 | 2.6228e-14 | -18.8395
164.563 | 3.0591e-14 | -18.8019
164.291 | 2.6218e-14 | -18.7688
164.036 | 3.9962e-14 | -18.7343
163.775 | 3.0198e-14 | -18.701
163.463 | 2.8321e-14 | -18.6796
163.119 | 3.2364e-14 | -18.6655
162.79 | 2.424e-14 | -18.6464
162.453 | 3.1288e-14 | -18.6307
162.174 | 3.2672e-14 | -18.6037
161.832 | 3.0223e-14 | -18.5869
161.374 | 3.6137e-14 | -18.5973
160.915 | 4.3029e-14 | -18.6063
160.367 | 3.2503e-14 | -18.6327
159.821 | 3.9843e-14 | -18.6569
159.165 | 3.2276e-14 | -18.7073
158.438 | 3.4988e-14 | -18.7714
157.775 | 3.2217e-14 | -18.8216
157.085 | 3.754e-14 | -18.8759
156.354 | 4.3552e-14 | -18.9378
155.637 | 4.5663e-14 | -18.9989
154.897 | 4.4359e-14 | -19.0622
154.155 | 4.1367e-14 | -19.1241
153.381 | 4.6297e-14 | -19.1934
152.692 | 3.2055e-14 | -19.2455
152.02 | 3.5727e-14 | -19.2936
151.339 | 4.2728e-14 | -19.3421
150.531 | 3.4681e-14 | -19.4141
149.787 | 2.9367e-14 | -19.474
149.028 | 3.5975e-14 | -19.5366
148.289 | 3.0801e-14 | -19.5927
147.43 | 3.3954e-14 | -19.6717
146.628 | 4.4128e-14 | -19.7401
145.765 | 2.4916e-14 | -19.8182
145.042 | 3.4425e-14 | -19.8678
144.438 | 3.7393e-14 | -19.8988
143.813 | 2.8961e-14 | -19.9332
143.155 | 3.0468e-14 | -19.9724
142.503 | 3.6401e-14 | -20.0108
141.8 | 3.4864e-14 | -20.0592
141.019 | 3.3845e-14 | -20.1199
140.309 | 4.3375e-14 | -20.168
139.58 | 3.8188e-14 | -20.2202
138.759 | 3.9238e-14 | -20.289
137.813 | 3.9445e-14 | -20.3779
136.765 | 3.2116e-14 | -20.4836
135.751 | 3.5378e-14 | -20.5825
134.687 | 5.0992e-14 | -20.6894
133.627 | 2.9707e-14 | -20.7965
132.387 | 3.4535e-14 | -20.9333
131.244 | 3.58e-14 | -21.052
130.14 | 3.5239e-14 | -21.164
129.047 | 2.5925e-14 | -21.2721
128.07 | 3.775e-14 | -21.3596
126.93 | 2.6263e-14 | -21.4733
125.784 | 2.7637e-14 | -21.5898
124.484 | 3.3283e-14 | -21.7285
123.008 | 3.4304e-14 | -21.8994
121.67 | 3.4171e-14 | -22.045
120.402 | 2.6519e-14 | -22.1769
119 | 2.0245e-14 | -22.33
117.548 | 1.8943e-14 | -22.4916
116.094 | 3.275e-14 | -22.6509
114.554 | 2.9732e-14 | -22.8246
113.147 | 3.2171e-14 | -22.9745
111.811 | 3.2304e-14 | -23.1111
110.869 | 2.3864e-14 | -23.1832
109.78 | 2.7159e-14 | -23.2768
108.638 | 1.0613e-13 | -23.3769
107.445 | 8.3727e-14 | -23.4874
106.078 | 5.9402e-14 | -23.6248
104.471 | 3.8045e-13 | -23.8008
102.981 | 2.0382e-13 | -23.9546
101.181 | 1.525e-13 | -24.156
99.3326 | 1.167e-13 | -24.3629
97.2951 | 5.3947e-14 | -24.6001
95.0384 | 7.415e-14 | -24.8714
92.2222 | 1.2601e-13 | -25.227
89.4057 | 1.7626e-14 | -25.5829
85.4956 | 3.4102e-13 | -26.1089
84.0106 | 1.4733e-13 | -26.2504
82.9063 | 9.3142e-14 | -26.3326
82.2141 | 7.5209e-14 | -26.3482
81.8755 | 4.7942e-14 | -26.3094
81.7201 | 2.9606e-14 | -26.2428
81.6698 | 2.5177e-14 | -26.1576
81.7258 | 3.3265e-14 | -26.0576
81.8568 | 2.7595e-14 | -25.9471
81.9916 | 2.6944e-14 | -25.8386
81.8977 | 2.4767e-14 | -25.7639
81.5496 | 3.7077e-14 | -25.7274
81.4165 | 3.4499e-14 | -25.6613
81.3596 | 3.513e-14 | -25.582

## Pulse
Temperature | Current | Time
81.275 | -2.2657e-13 | 6.3045
81.7134 | -9.1652e-14 | 12.2179
81.6976 | -7.7405e-14 | 13.5575
81.8597 | -7.713e-14 | 14.8957
81.9297 | -5.3655e-14 | 16.2154
81.822 | -2.525e-14 | 17.571
81.9427 | -4.8559e-14 | 18.9109
82.1195 | -4.51e-14 | 20.2644
82.3103 | -4.4774e-14 | 21.5991
82.5064 | -4.6234e-14 | 22.9119
82.6727 | -3.726e-15 | 24.2538
82.8338 | -6.939e-15 | 25.5968
82.6642 | -3.4058e-14 | 26.923
82.6154 | -1.6455e-14 | 28.2756
82.7718 | -1.8799e-14 | 29.624

## Measurements
Temperature | Current | Temp Rate
83.0337 | 1.0972e-13 | 0
84.4565 | -1.9008e-14 | 10.4991
85.5421 | -1.2005e-14 | 4.6549
87.2116 | -3.4241e-14 | 7.4432
88.112 | -4.6469e-14 | 8.7958
88.6512 | -3.7002e-14 | 9.6718
88.9013 | -4.2305e-14 | 9.7282
90.4128 | -4.7721e-14 | 11.7702
91.2771 | -6.6046e-14 | 12.841
91.7225 | -7.1321e-14 | 13.3127
92.2044 | -7.3639e-14 | 17.2226
92.5142 | -6.9662e-14 | 77.4383
93.7229 | -5.3557e-14 | 92.3408
94.7596 | -4.1808e-14 | 128.2951
95.0846 | -4.0779e-14 | 206.3251
95.4296 | -3.518e-14 | 13.9757
95.6632 | -3.9852e-14 | 14.0732
95.951 | -4.2311e-14 | 14.1341
96.2629 | -3.9996e-14 | 819.0937
96.5604 | -4.0746e-14 | 14.2784
96.8989 | -3.2989e-14 | 14.3566
97.1361 | -2.3516e-14 | 14.3789
97.4345 | -2.8082e-14 | 14.3977
97.7827 | -3.0295e-14 | 14.3778
98.0289 | -2.9916e-14 | 14.3683
98.3516 | -2.16e-14 | 14.3253
98.6473 | -2.6803e-14 | 14.2968
98.9541 | -1.599e-14 | 14.2401
99.2349 | -1.8218e-14 | 14.2086
99.5924 | -2.6672e-14 | 14.1402
99.87 | -2.039e-14 | 14.106
100.163 | -1.0099e-14 | 14.0489
100.441 | -1.7992e-14 | 14.0093
100.775 | -2.0575e-14 | 13.9609
101.068 | -1.8344e-14 | 13.9117
101.366 | -6.2923e-14 | 13.8817
101.645 | -2.2437e-14 | 13.8488
101.951 | 3.46e-16 | 13.8204
102.261 | 4.813e-14 | 13.7821
102.555 | -4.833e-14 | 13.7725
102.875 | -2.8872e-14 | 13.7467
103.2 | -1.7839e-14 | 13.7385
103.439 | -3.256e-14 | 13.7316
103.769 | 4.3048e-14 | 13.7185
104.08 | 5.7384e-14 | 13.7206
104.353 | 1.2663e-14 | 13.7196
104.628 | -4.507e-15 | 13.7202
104.976 | -3.536e-15 | 13.7156
105.257 | -1.7595e-14 | 13.7222
105.59 | -1.7216e-14 | 13.7363
105.878 | -1.7209e-14 | 13.7472
106.171 | -1.5876e-14 | 13.7478
106.44 | -1.406e-14 | 13.7674
106.779 | -2.0768e-14 | 13.7726
107.071 | -1.335e-14 | 13.7811
107.366 | -1.6989e-14 | 13.7911
107.665 | -1.1954e-14 | 13.8076
107.959 | -5.316e-15 | 13.819
108.249 | 3.0694e-14 | 13.8172
108.54 | 1.082e-14 | 13.8338
108.832 | 5.089e-15 | 13.8406
109.122 | 1.7253e-14 | 13.8484
109.486 | -1.0768e-14 | 13.858
109.778 | 1.0411e-13 | 13.8663
110.067 | 1.0893e-13 | 13.8716
110.359 | -1.5507e-14 | 13.8795
110.651 | -4.9502e-14 | 13.8854
110.946 | -9.4239e-14 | 13.8922
111.268 | -8.75e-16 | 13.8987
111.568 | 3.3806e-14 | 13.9097
111.867 | 6.0108e-14 | 13.9197
112.142 | 5.5343e-14 | 13.9334
112.444 | 1.1077e-14 | 13.9492
112.747 | 9.853e-15 | 13.9499
113.047 | 2.025e-15 | 13.9596
113.321 | -7.1e-16 | 13.9722
113.646 | -1.031e-13 | 13.9791
113.947 | -1.2171e-14 | 13.9884
114.222 | 1.5185e-14 | 14.0022
114.522 | 1.62e-16 | 14.0094
114.893 | -4.912e-14 | 14.0217
115.189 | -3.075e-14 | 14.0289
115.485 | 3.49e-15 | 14.0258
115.783 | 9.075e-15 | 14.0353
116.082 | 3.392e-15 | 14.0445
116.382 | -4.585e-15 | 14.0535
116.658 | 7.706e-15 | 14.0621
116.986 | -1.6687e-14 | 14.0711
117.29 | 1.2563e-14 | 14.0769
117.591 | 9.602e-15 | 14.0873
117.867 | -2.345e-15 | 14.0961
118.19 | 1.0888e-14 | 14.1023
118.486 | 5.375e-15 | 14.1094
118.784 | -2.1545e-14 | 14.1127
119.08 | -3.0252e-14 | 14.1187
119.376 | -1.8856e-14 | 14.1233
119.674 | -3.78e-16 | 14.1284
119.973 | 8.69e-16 | 14.1415
120.271 | 1.5321e-14 | 14.1401
120.57 | -2.4585e-14 | 14.1547
120.868 | -5.063e-15 | 14.1597
121.169 | -1.0087e-14 | 14.164
121.469 | -1.0068e-14 | 14.17
121.769 | 1.921e-15 | 14.1784
122.069 | -3.558e-15 | 14.183
122.369 | -4.74e-16 | 14.188
122.671 | -6.236e-15 | 14.1973
122.971 | -1.2168e-14 | 14.1927
123.27 | 4.093e-15 | 14.2064
123.57 | 4.116e-15 | 14.2126
123.872 | -6.175e-15 | 14.2175
124.172 | -5.231e-15 | 14.2229
124.475 | 2.034e-15 | 14.2283
124.802 | 5.416e-15 | 14.2314
125.102 | -2.546e-15 | 14.2368
125.38 | -4.808e-15 | 14.2457
125.701 | 1.598e-15 | 14.2475
125.926 | 7.825e-15 | 14.2549
126.223 | 8.69e-15 | 14.2608
126.597 | 3.262e-15 | 14.261
126.895 | -7.775e-15 | 14.2655
127.195 | -4.699e-15 | 14.2698
127.497 | -8.581e-15 | 14.2729
127.792 | -5.664e-15 | 14.2777
128.086 | -7.519e-15 | 14.2823
128.357 | -4.588e-15 | 14.2878
128.654 | 4.777e-15 | 14.2886
128.972 | -3.101e-15 | 14.29
129.269 | 7.096e-15 | 14.2909
129.565 | -3.117e-15 | 14.2938
129.866 | -4.565e-15 | 14.299
130.166 | 7.68e-16 | 14.3017
130.465 | 5.587e-15 | 14.3137
130.767 | 7.255e-15 | 14.3179
131.071 | -1.0626e-14 | 14.3227
131.375 | 1.347e-14 | 14.3261
131.701 | -3.939e-15 | 14.3282
131.93 | -1.873e-15 | 14.337
132.304 | 6.396e-15 | 14.3387
132.605 | -6.947e-15 | 14.34
132.906 | -7.513e-15 | 14.3454
133.208 | -1.273e-14 | 14.3497
133.509 | -2.944e-15 | 14.3539
133.809 | -4.685e-15 | 14.3578
134.113 | 3.802e-15 | 14.3614
134.415 | -7.506e-15 | 14.3652
134.716 | -8.307e-15 | 14.3697
134.94 | -3.803e-15 | 14.3754
135.241 | -3.44e-15 | 14.3787
135.543 | 3.612e-15 | 14.3824
135.843 | -1.5389e-14 | 14.3856
136.143 | -1.5327e-14 | 14.3892
136.446 | -1.296e-15 | 14.3938
136.776 | -5.67e-16 | 14.3956
137.074 | -1.592e-14 | 14.3965
137.375 | -5.272e-15 | 14.4044
137.674 | -8.967e-15 | 14.4068
137.994 | -8.868e-15 | 14.4059
138.268 | -1.46e-16 | 14.4112
138.56 | -1.819e-14 | 14.4115
138.877 | -2.1414e-14 | 14.4116
139.174 | -1.5364e-14 | 14.4135
139.472 | -1.3842e-14 | 14.416
139.767 | -1.9174e-14 | 14.4207
140.068 | -8.441e-15 | 14.4248
140.37 | -2.4925e-14 | 14.4259
140.699 | -1.1964e-14 | 14.4285
140.925 | -8.048e-15 | 14.4348
141.23 | -5.722e-15 | 14.4371
141.534 | -4.686e-15 | 14.4407
141.864 | -1.6633e-14 | 14.4431
142.168 | -1.1202e-14 | 14.4453
142.472 | -2.0793e-14 | 14.4509
142.774 | 7.45e-16 | 14.4529
143.078 | -1.9145e-14 | 14.4604
143.4 | -1.6469e-14 | 14.4598
143.676 | -1.301e-14 | 14.4632
143.983 | -1.0074e-14 | 14.4681
144.309 | -1.1715e-14 | 14.4697
144.585 | -2.5855e-14 | 14.4724
144.904 | -2.1435e-14 | 14.4729
145.2 | -1.5662e-14 | 14.475
145.427 | -4.857e-15 | 14.4806
145.725 | -2.0921e-14 | 14.482
146.027 | 3.868e-15 | 14.4852
146.327 | -9.301e-15 | 14.4865
146.655 | -1.7846e-14 | 14.4871
146.958 | -2.009e-15 | 14.4894
147.26 | -2.9701e-14 | 14.4957
147.563 | -9.028e-15 | 14.497
147.894 | -1.7413e-14 | 14.5012
148.144 | -4.096e-15 | 14.504
148.44 | -9.483e-15 | 14.5044
148.763 | -2.7976e-14 | 14.5054
149.062 | 1.4576e-14 | 14.5091
149.385 | -3.0995e-14 | 14.5118
149.627 | 5.513e-15 | 14.5111
150.014 | -1.094e-15 | 14.5079
150.239 | -1.7355e-14 | 14.5111
150.561 | -4.004e-15 | 14.5141
150.86 | -4.3848e-14 | 14.5152
151.188 | -1.384e-15 | 14.5169
151.492 | -3.9965e-14 | 14.5202
151.789 | -1.9411e-14 | 14.5208
152.09 | -1.1848e-14 | 14.5225
152.392 | -4.9444e-14 | 14.5271
152.645 | -1.511e-15 | 14.5279
152.949 | -3.6969e-14 | 14.53
153.251 | 9.61e-15 | 14.536
153.555 | -2.9939e-14 | 14.5339
153.86 | -9.825e-15 | 14.5409
154.159 | -7.381e-15 | 14.5416
154.487 | -3.9075e-14 | 14.5419
154.787 | -8.334e-15 | 14.5445
155.09 | -4.5013e-14 | 14.5451
155.392 | -1.2995e-14 | 14.553
155.695 | -2.6975e-14 | 14.5543
155.99 | -2.7229e-14 | 14.5547
156.27 | 1.502e-15 | 14.5515
156.592 | -2.8779e-14 | 14.5502
156.89 | 1.75e-16 | 14.5519
157.189 | -2.5007e-14 | 14.554
157.488 | -6.919e-15 | 14.555
157.792 | -1.327e-14 | 14.5619
158.02 | -2.368e-15 | 14.5612
158.327 | -1.0497e-14 | 14.5649
158.634 | -2.1152e-14 | 14.5693
158.938 | 2.137e-15 | 14.5702
159.266 | -2.3745e-14 | 14.5702
159.563 | -1.191e-14 | 14.5715
159.865 | -1.3117e-14 | 14.5733
160.162 | -1.7323e-14 | 14.5752
160.463 | -6.34e-15 | 14.5793
160.765 | -1.1085e-14 | 14.5797
161.088 | -1.1847e-14 | 14.5812
161.39 | -1.3378e-14 | 14.5846
161.641 | -1.4101e-14 | 14.5864
161.944 | -1.1238e-14 | 14.5875
162.248 | -1.893e-14 | 14.5899
162.548 | -1.0162e-14 | 14.5921
162.873 | -1.6845e-14 | 14.5907
163.177 | -1.6181e-14 | 14.5957
163.48 | -2.7785e-14 | 14.5973
163.799 | -1.8344e-14 | 14.5957
164.026 | -9.632e-15 | 14.5996
164.328 | -2.5935e-14 | 14.6017
164.634 | -1.5778e-14 | 14.6023
164.962 | -2.5973e-14 | 14.6026
165.253 | -1.8998e-14 | 14.6057
165.553 | -8.92e-15 | 14.6063
165.881 | -2.1587e-14 | 14.6055
166.187 | -1.5746e-14 | 14.6118
166.493 | -2.3563e-14 | 14.6127
166.749 | -1.2579e-14 | 14.6158
167.056 | -1.0961e-14 | 14.6172
167.387 | -1.4671e-14 | 14.6176
167.688 | -2.2735e-14 | 14.6225
167.987 | -2.3048e-14 | 14.6234
168.307 | -1.7105e-14 | 14.622
168.531 | -2.1306e-14 | 14.6248
168.859 | -1.6377e-14 | 14.6257
169.157 | -1.5591e-14 | 14.6249
169.455 | -2.1042e-14 | 14.6279
169.782 | -1.5316e-14 | 14.6287
170.089 | -1.5747e-14 | 14.6296
170.387 | -1.9931e-14 | 14.6326
170.643 | -1.7919e-14 | 14.6353
170.969 | -2.3006e-14 | 14.6378
171.261 | -1.9743e-14 | 14.6364
171.578 | -1.3686e-14 | 14.6347
171.875 | -1.1632e-14 | 14.6382
172.175 | -1.3341e-14 | 14.639
172.475 | -1.3573e-14 | 14.6395
172.801 | -1.4876e-14 | 14.6403
173.025 | -2.3751e-14 | 14.6434
173.388 | -1.8106e-14 | 14.6429
173.688 | -1.4412e-14 | 14.6434
174.017 | -1.6906e-14 | 14.6424
174.242 | -1.7235e-14 | 14.6452
174.54 | -1.137e-14 | 14.6463
174.835 | -1.1131e-14 | 14.6478
175.164 | -1.3194e-14 | 14.6468
175.466 | -1.6571e-14 | 14.648
175.769 | -1.3129e-14 | 14.6488
176.065 | -9.816e-15 | 14.6516
176.35 | -1.0933e-14 | 14.6501
176.675 | -1.7248e-14 | 14.6494
176.975 | -2.1676e-14 | 14.6534
177.27 | -1.9768e-14 | 14.6522
177.586 | -2.2413e-14 | 14.6515
177.894 | -1.8628e-14 | 14.6555
178.148 | -2.9027e-14 | 14.6556
178.453 | -2.6023e-14 | 14.6593
178.781 | -2.2481e-14 | 14.6587
179.062 | -2.1148e-14 | 14.6562
179.358 | -2.3767e-14 | 14.6583
179.688 | -2.6595e-14 | 14.6613
179.993 | -2.2509e-14 | 14.6622
180.247 | -3.0896e-14 | 14.662
180.548 | -1.6975e-14 | 14.6659
180.854 | -1.5794e-14 | 14.6663
181.184 | -1.2665e-14 | 14.6668
181.491 | -1.4965e-14 | 14.6672
181.787 | -9.838e-15 | 14.6708
182.037 | -8.045e-15 | 14.6732
182.342 | -1.2062e-14 | 14.6734
182.674 | -1.6127e-14 | 14.6739
182.979 | -1.3829e-14 | 14.6778
183.229 | -1.5302e-14 | 14.6787
183.59 | -9.932e-15 | 14.6775
183.838 | -1.3237e-14 | 14.6787
184.142 | -1.4464e-14 | 14.6799
184.443 | -1.5812e-14 | 14.6806
184.786 | -1.3693e-14 | 14.6764
185.103 | -1.3002e-14 | 14.6744
185.328 | -8.59e-15 | 14.6764
185.654 | -1.4421e-14 | 14.677
186.017 | -1.3864e-14 | 14.6766
186.245 | -1.1088e-14 | 14.6787
186.574 | -8.189e-15 | 14.6792
186.882 | -2.462e-15 | 14.6831
187.187 | -1.0369e-14 | 14.6842
187.521 | -9.844e-15 | 14.685
187.75 | -1.6868e-14 | 14.6885
188.057 | -1.6974e-14 | 14.6896
188.384 | -1.0906e-14 | 14.6903
188.663 | -1.3302e-14 | 14.6915
188.993 | -1.4542e-14 | 14.692
189.224 | -1.8182e-14 | 14.6959
189.551 | -1.401e-14 | 14.6949
189.85 | -6.0867e-14 | 14.6948
190.134 | -2.0479e-14 | 14.696
190.428 | -9.254e-15 | 14.6964
190.733 | 4.798e-15 | 14.6976
191.068 | -5.4464e-14 | 14.698
191.378 | -4.0689e-14 | 14.6993
191.743 | -3.1433e-14 | 14.7061
192.051 | -2.9147e-14 | 14.7169
192.261 | -2.8518e-14 | 14.7286
192.611 | -1.9521e-14 | 14.7401
192.916 | -2.0197e-14 | 14.7509
193.207 | -4.4611e-14 | 14.7634
193.51 | -2.4911e-14 | 14.7685
193.773 | -5.018e-15 | 14.7763
194.051 | -9.692e-15 | 14.778
194.371 | 5.0492e-14 | 14.7833
194.708 | 3.489e-15 | 14.7843
194.937 | -8.668e-15 | 14.7857
195.264 | -2.2494e-14 | 14.7853
195.567 | -1.1629e-14 | 14.788
195.892 | -1.5826e-14 | 14.787
196.19 | -9.511e-15 | 14.7899
196.487 | -2.1266e-14 | 14.7896
196.805 | -2.7148e-14 | 14.7879
197.026 | -2.0927e-14 | 14.7886
197.389 | -1.7101e-14 | 14.7881
197.631 | -9.979e-15 | 14.788
197.92 | -1.2362e-14 | 14.786
198.258 | -1.6804e-14 | 14.7877
198.57 | -1.8264e-14 | 14.791
198.894 | -1.3291e-14 | 14.7901
199.189 | -7.877e-15 | 14.7912
199.479 | -1.3128e-14 | 14.7898
199.79 | -1.2568e-14 | 14.7901
200.074 | -1.5428e-14 | 14.7871
200.377 | -1.8529e-14 | 14.7866
200.682 | -4.0427e-14 | 14.7829
200.96 | -4.2727e-14 | 14.782
201.239 | -3.0986e-14 | 14.7792
201.543 | -3.8581e-14 | 14.778
201.823 | -2.7205e-14 | 14.7752
202.196 | -3.3333e-14 | 14.7718
202.478 | -3.4539e-14 | 14.7711
202.781 | -4.4314e-14 | 14.7678
203.065 | -6.3665e-14 | 14.7683
203.345 | -6.2678e-14 | 14.7661
203.629 | -5.025e-14 | 14.7642
204.008 | -3.6364e-14 | 14.7617
204.221 | -3.3007e-14 | 14.7617
204.578 | -1.6887e-14 | 14.7599
204.887 | -2.5333e-14 | 14.7575
205.177 | -3.815e-15 | 14.7578
205.489 | -1.3221e-14 | 14.7556
205.779 | 1.47e-15 | 14.7566
206.091 | 2.295e-15 | 14.7546
206.382 | 2.607e-15 | 14.7549
206.626 | -1.1683e-14 | 14.7552
206.989 | -1.2726e-14 | 14.7542
207.234 | 4.196e-15 | 14.7546
207.552 | -1.4463e-14 | 14.7521
207.845 | -1.2963e-14 | 14.7535
208.165 | 1.529e-15 | 14.7523
208.458 | -7.724e-15 | 14.7536
208.779 | 1.4868e-14 | 14.7527
209.076 | -1.0282e-14 | 14.752
209.373 | -7.206e-15 | 14.7541
209.693 | 3.146e-15 | 14.7524
209.989 | -6.811e-15 | 14.7544
210.237 | 1.6088e-14 | 14.7546
210.535 | -1.033e-14 | 14.7541
210.857 | 1.2219e-14 | 14.7532
211.156 | 2.868e-15 | 14.7548
211.479 | -9.887e-15 | 14.7564
211.801 | 1.4198e-14 | 14.7559
212.026 | -1.5729e-14 | 14.7571
212.35 | 2.4352e-14 | 14.7578
212.649 | -1.0525e-14 | 14.7577
212.974 | -8.61e-15 | 14.7587
213.295 | -6.288e-15 | 14.7579
213.591 | -1.6885e-14 | 14.759
213.912 | 2.3564e-14 | 14.7573
214.161 | -7.53e-16 | 14.7577
214.457 | 8.255e-15 | 14.7588
214.781 | 1.3326e-14 | 14.7589
215.079 | 1.3947e-14 | 14.7593
215.331 | 3.3402e-14 | 14.761
215.654 | 5.673e-15 | 14.7588
215.952 | 2.6991e-14 | 14.7617
216.274 | 7.111e-15 | 14.7603
216.574 | 9.694e-15 | 14.7623
216.901 | 4.7078e-14 | 14.7613
217.151 | 2.5671e-14 | 14.7621
217.451 | 4.2381e-14 | 14.7633
217.775 | 3.14e-14 | 14.7622
218.074 | 2.7871e-14 | 14.7642
218.401 | 4.8092e-14 | 14.7645
218.703 | 3.8827e-14 | 14.7645
218.928 | 3.9781e-14 | 14.7661
219.255 | 4.1202e-14 | 14.7661
219.56 | 3.9323e-14 | 14.766
219.866 | 5.918e-14 | 14.7686
220.12 | 5.7388e-14 | 14.7698
220.45 | 5.8664e-14 | 14.7688
220.781 | 5.3099e-14 | 14.773
221.085 | 7.2743e-14 | 14.7728
221.337 | 6.8745e-14 | 14.7739
221.663 | 8.1027e-14 | 14.7748
221.987 | 8.061e-14 | 14.7756
222.311 | 8.5321e-14 | 14.7732
222.56 | 7.5083e-14 | 14.7739
222.881 | 8.0756e-14 | 14.7751
223.179 | 1.0381e-13 | 14.7751
223.48 | 1.0285e-13 | 14.7767
223.803 | 1.0294e-13 | 14.7758
224.027 | 1.0365e-13 | 14.7766
224.351 | 1.0356e-13 | 14.7779
224.651 | 1.184e-13 | 14.7771
224.976 | 1.2557e-13 | 14.7785
225.226 | 1.3642e-13 | 14.7797
225.526 | 1.3869e-13 | 14.7789
225.851 | 1.442e-13 | 14.7803
226.152 | 1.4131e-13 | 14.7798
226.478 | 1.4441e-13 | 14.7788
226.802 | 1.412e-13 | 14.7804
227.028 | 1.6106e-13 | 14.7816
227.354 | 1.6912e-13 | 14.7805
227.653 | 1.7146e-13 | 14.7818
227.979 | 1.7742e-13 | 14.7833
228.3 | 1.7804e-13 | 14.7813
228.546 | 1.8385e-13 | 14.7816
228.868 | 1.9663e-13 | 14.7824
229.165 | 1.9844e-13 | 14.7842
229.461 | 1.9443e-13 | 14.7833
229.787 | 1.9979e-13 | 14.7825
230.085 | 2.0926e-13 | 14.7839
230.334 | 2.1626e-13 | 14.7844
230.66 | 2.204e-13 | 14.7838
230.961 | 2.2309e-13 | 14.7859
231.289 | 2.3336e-13 | 14.785
231.592 | 2.421e-13 | 14.7871
231.845 | 2.3832e-13 | 14.7876
232.173 | 2.3955e-13 | 14.7876
232.473 | 2.5041e-13 | 14.7887
232.725 | 2.5679e-13 | 14.7891
233.049 | 2.5015e-13 | 14.7884
233.348 | 2.6385e-13 | 14.7891
233.671 | 2.7147e-13 | 14.7889
233.922 | 2.5942e-13 | 14.7913
234.246 | 2.7288e-13 | 14.7909
234.57 | 2.7915e-13 | 14.7905
234.897 | 2.7886e-13 | 14.7905
235.146 | 2.8496e-13 | 14.7906
235.496 | 2.864e-13 | 14.7913
235.748 | 3.0384e-13 | 14.7925
236.048 | 2.9029e-13 | 14.7941
236.374 | 2.9484e-13 | 14.7928
236.698 | 2.5825e-13 | 14.765
237.175 | 2.5054e-13 | 14.7957
237.35 | 3.7586e-13 | 14.7959
237.526 | 3.0894e-13 | 14.7965
237.851 | 3.1932e-13 | 14.7954
238.153 | 3.4749e-13 | 14.7969
238.476 | 3.0497e-13 | 14.7976
238.727 | 3.7961e-13 | 14.7977
239.052 | 4.0066e-13 | 14.7985
239.353 | 3.8872e-13 | 14.798
239.679 | 3.77e-13 | 14.7976
240.004 | 3.6867e-13 | 14.7988
240.229 | 4.0868e-13 | 14.8
240.555 | 3.3767e-13 | 14.7985
240.855 | 3.9095e-13 | 14.8001
241.178 | 3.607e-13 | 14.8012
241.506 | 4.0513e-13 | 14.7996
241.756 | 3.6447e-13 | 14.802
242.081 | 3.4183e-13 | 14.8029
242.406 | 4.2897e-13 | 14.8011
242.656 | 3.8089e-13 | 14.8033
242.956 | 3.7588e-13 | 14.8029
243.28 | 4.0815e-13 | 14.8035
243.556 | 3.9569e-13 | 14.8029
243.856 | 3.9674e-13 | 14.8041
244.178 | 3.8376e-13 | 14.8047
244.451 | 3.9402e-13 | 14.8039
244.773 | 4.1499e-13 | 14.8042
245.02 | 4.7171e-13 | 14.8052
245.394 | 3.8834e-13 | 14.8048
245.643 | 4.4323e-13 | 14.8053
245.99 | 4.2571e-13 | 14.8038
246.291 | 3.5318e-13 | 14.8054
246.541 | 3.7915e-13 | 14.8059
246.864 | 4.3481e-13 | 14.8063
247.19 | 4.0168e-13 | 14.8068
247.442 | 4.0626e-13 | 14.8077
247.765 | 3.8889e-13 | 14.8064
248.063 | 4.6122e-13 | 14.8075
248.391 | 4.2792e-13 | 14.8084
248.642 | 3.7561e-13 | 14.809
248.967 | 3.72e-13 | 14.8081
249.268 | 3.4748e-13 | 14.8091
249.592 | 3.5795e-13 | 14.8094
249.844 | 3.4676e-13 | 14.8103
250.168 | 3.3474e-13 | 14.8103
250.494 | 3.8966e-13 | 14.8105
250.744 | 3.4324e-13 | 14.8116
251.07 | 3.3037e-13 | 14.8108
251.396 | 3.0193e-13 | 14.8107
251.646 | 3.3453e-13 | 14.8119
251.946 | 3.1363e-13 | 14.8121
252.272 | 2.8923e-13 | 14.8139
252.598 | 2.6238e-13 | 14.8127
252.822 | 3.4407e-13 | 14.8132
253.149 | 2.7035e-13 | 14.8143
253.474 | 1.979e-13 | 14.815
253.799 | 2.3809e-13 | 14.8145
254.026 | 2.2415e-13 | 14.8152
254.35 | 3.242e-13 | 14.8143
254.673 | 2.1202e-13 | 14.8148
254.927 | 2.0858e-13 | 14.8169
255.253 | 2.4665e-13 | 14.8151
255.552 | 2.6421e-13 | 14.817
255.878 | 2.8427e-13 | 14.8175
256.126 | 2.6726e-13 | 14.8178
256.452 | 1.8039e-13 | 14.8181
256.779 | 2.0522e-13 | 14.8188
257.104 | 1.8922e-13 | 14.8181
257.355 | 1.3e-13 | 14.8181
257.68 | 2.0678e-13 | 14.8188
257.981 | 1.4135e-13 | 14.8203
258.23 | 1.5933e-13 | 14.8203
258.555 | 1.4228e-13 | 14.8196
258.855 | 2.5048e-13 | 14.8201
259.18 | 1.3301e-13 | 14.821
259.432 | 8.642e-14 | 14.8213
259.782 | 1.7288e-13 | 14.8206
260.079 | 1.2173e-13 | 14.8214
260.332 | 1.6233e-13 | 14.8217
260.682 | 9.539e-14 | 14.8223
260.983 | 1.8692e-13 | 14.8226
261.23 | 1.1348e-13 | 14.823
261.552 | 9.723e-14 | 14.8235
261.874 | 1.7998e-13 | 14.8237
262.123 | 2.0391e-13 | 14.8238
262.446 | 1.1814e-13 | 14.8239
262.769 | 9.715e-14 | 14.823
263.067 | 1.0469e-13 | 14.8224
263.368 | 1.4021e-13 | 14.8237
263.692 | 4.971e-14 | 14.8245
264.017 | 1.1976e-13 | 14.8242
264.267 | 1.3377e-13 | 14.8243
264.568 | 7.994e-14 | 14.8251
264.894 | 1.0445e-13 | 14.8258
265.145 | 2.771e-14 | 14.826
265.469 | 4.403e-14 | 14.826
265.72 | 7.93e-14 | 14.8261
266.045 | 1.2058e-13 | 14.8258
266.346 | 1.1507e-13 | 14.8271
266.672 | 9.838e-14 | 14.828
266.997 | 4.126e-14 | 14.8272
267.246 | 4.659e-14 | 14.827
267.548 | 2.763e-14 | 14.8279
267.873 | 1.3241e-13 | 14.8287
268.124 | 1.7611e-13 | 14.8295
268.449 | 5.93e-15 | 14.8294
268.775 | 3.623e-14 | 14.8287
269.075 | 9.12e-14 | 14.8297
269.325 | 3.635e-14 | 14.8297
269.651 | 7.391e-14 | 14.8305
269.974 | -6.21e-15 | 14.8305
270.251 | 2.79e-14 | 14.8305
270.578 | 1.219e-14 | 14.8298
270.827 | 3.576e-14 | 14.8316
271.152 | 7.613e-14 | 14.8322
271.477 | -3.028e-14 | 14.8328
271.803 | 2.24e-15 | 14.8317
272.052 | 9.05e-15 | 14.8311
272.375 | 1.0487e-13 | 14.833
272.626 | 8.716e-14 | 14.8333
272.951 | 1.0436e-13 | 14.8335
273.276 | 5.85e-15 | 14.8323
273.603 | 4.046e-14 | 14.8326
273.852 | 8.153e-14 | 14.8343
274.177 | 4.445e-14 | 14.8332
274.504 | 1.413e-14 | 14.8341
274.728 | 4.262e-14 | 14.8345
275.053 | 8.174e-14 | 14.8355
275.377 | 1.2425e-13 | 14.834
275.627 | 8.648e-14 | 14.8356
275.95 | 4.79e-14 | 14.8363
276.273 | 1.54e-14 | 14.8347
276.598 | 1.029e-14 | 14.8352
276.847 | 5.147e-14 | 14.8357
277.147 | 2.99e-15 | 14.8368
277.472 | 1.305e-14 | 14.8372
277.721 | 4.564e-14 | 14.8371
278.048 | 7.08e-14 | 14.8378
278.373 | 8.183e-14 | 14.8363
278.624 | 4.774e-14 | 14.8378
278.951 | 4.274e-14 | 14.8384
279.274 | 2.814e-14 | 14.8389
279.523 | 1.1908e-13 | 14.8389
279.847 | 3.649e-14 | 14.839
280.171 | -1.789e-14 | 14.8393
280.421 | -6.23e-15 | 14.8392
280.745 | -2.621e-14 | 14.8393
281.071 | -1.11e-15 | 14.8401
281.321 | 1.778e-14 | 14.84
281.646 | 4.475e-14 | 14.8393
281.946 | -1.652e-14 | 14.8402
282.271 | 2.23e-15 | 14.8394
282.523 | 7.342e-14 | 14.841
282.848 | 1.638e-14 | 14.8409
283.174 | -5.893e-14 | 14.8416
283.425 | -2.431e-14 | 14.8416
283.747 | -3.98e-15 | 14.8421
284.076 | 3.06e-15 | 14.8428
284.401 | 7.29e-14 | 14.8419
284.652 | 1.781e-14 | 14.8417
284.977 | -3.482e-14 | 14.8433
285.227 | 6.467e-14 | 14.8429
285.579 | -3.594e-14 | 14.8429
285.903 | -1.833e-14 | 14.8428
286.154 | 9.85e-15 | 14.8434
286.48 | -4.114e-14 | 14.8436
286.804 | -1.145e-14 | 14.8443
287.055 | -2.903e-14 | 14.8442
287.379 | 5.775e-14 | 14.8431
287.655 | 2.231e-14 | 14.8453
288.006 | -5.407e-14 | 14.8451
288.256 | -6.065e-14 | 14.8439
288.582 | 2.317e-14 | 14.8462
288.831 | 4.104e-14 | 14.846
289.157 | 9.079e-14 | 14.8459
289.507 | 9.748e-14 | 14.8464
289.731 | 6.07e-14 | 14.8467
290.056 | 6.2e-14 | 14.8468
290.381 | 2.21e-15 | 14.8468
290.657 | -4.445e-14 | 14.8479
290.981 | -4.424e-14 | 14.8476
291.233 | -9.02e-14 | 14.8477
291.558 | 1.46e-15 | 14.8481
291.883 | 4.112e-14 | 14.8483
292.158 | 3.02e-15 | 14.8479
292.481 | -4.805e-14 | 14.8481
292.807 | -3.005e-14 | 14.8483
293.058 | 7.18e-15 | 14.8498
293.382 | 8.682e-14 | 14.8499
293.632 | 5.649e-14 | 14.8499
293.958 | -1.8e-16 | 14.8503
294.283 | -6.517e-14 | 14.8509
294.532 | 1.47e-15 | 14.851
294.856 | 3.318e-14 | 14.8511
295.182 | 1.602e-14 | 14.85
295.506 | 1.63e-15 | 14.8506
295.758 | -4.568e-14 | 14.8515
296.082 | -2.677e-14 | 14.8517
296.357 | -4.1e-15 | 14.8517
296.682 | 2.94e-15 | 14.8509
296.933 | -3.972e-14 | 14.8522
297.259 | -1.358e-14 | 14.8525
297.607 | -7.78e-15 | 14.8523
297.859 | -6.4e-15 | 14.8522
298.183 | 1.384e-14 | 14.8516
298.433 | 5.74e-15 | 14.8534
298.781 | 5.72e-15 | 14.8523
299.102 | 1.929e-14 | 14.8524
299.375 | 9.011e-14 | 14.8529
299.674 | 5.914e-14 | 14.8534
299.923 | -3.557e-14 | 14.8534
300.246 | 6.61e-15 | 14.8537
300.57 | 3.455e-14 | 14.8539
300.82 | -4.992e-14 | 14.8533
301.169 | -5.51e-15 | 14.8539
301.469 | -7e-17 | 14.8538
301.721 | -4.63e-15 | 14.8541
302.071 | 2.613e-14 | 14.8537
302.32 | -1e-16 | 14.8551
302.647 | 9.56e-15 | 14.8555
302.971 | -1.168e-14 | 14.8555
303.247 | 4.293e-14 | 14.855
303.572 | 6.126e-14 | 14.8546
303.823 | -3.6e-14 | 14.8558
304.148 | -2.799e-14 | 14.8566
304.473 | -7.19e-15 | 14.8565
304.749 | -1.801e-14 | 14.8562
305.049 | -4.34e-14 | 14.8568
305.375 | 6.615e-14 | 14.8575
305.625 | 8.234e-14 | 14.8575
305.951 | -1.042e-14 | 14.8577
306.276 | -5.296e-14 | 14.8581
306.527 | -1.425e-14 | 14.8575
306.876 | 6.579e-14 | 14.8575
307.127 | 7.554e-14 | 14.8587
307.452 | -1.7e-15 | 14.8577
307.778 | -4.54e-14 | 14.8582
308.104 | 5.77e-15 | 14.8583
308.353 | -5.41e-15 | 14.8587
308.653 | -1.81e-14 | 14.8593
309.003 | -1.477e-14 | 14.8591
309.254 | -3.274e-14 | 14.8587
309.58 | 4.235e-14 | 14.8589
309.828 | -3.497e-14 | 14.8599
310.179 | -7.548e-14 | 14.8601
310.504 | 1.418e-14 | 14.8602
310.756 | -2.906e-14 | 14.8602
311.081 | -2.3e-14 | 14.8599
311.332 | 4.038e-14 | 14.8612
311.655 | 2.055e-14 | 14.8612
311.981 | -1.82e-15 | 14.8611
312.255 | 1.023e-14 | 14.8611
312.58 | 2.152e-14 | 14.8611
312.829 | -1.96e-15 | 14.862
313.157 | -3.985e-14 | 14.8622
313.481 | -4.488e-14 | 14.8631
313.731 | -3.242e-14 | 14.8623
314.056 | 6.04e-15 | 14.8623
314.381 | 2.117e-14 | 14.8631
314.656 | -1.421e-14 | 14.8626
314.982 | -2.106e-14 | 14.863
315.307 | -5.622e-14 | 14.8629
315.557 | -5.467e-14 | 14.8641
315.883 | 1.801e-14 | 14.8639
316.131 | 3.075e-14 | 14.864
316.457 | -4.258e-14 | 14.864
316.782 | -6.97e-15 | 14.8644
317.032 | -5.288e-14 | 14.8645
317.383 | 2.78e-15 | 14.864
317.633 | -2.42e-14 | 14.8648
317.957 | -2.466e-14 | 14.8648
318.282 | -9.04e-14 | 14.8648
318.558 | -7.969e-14 | 14.8645
318.883 | 2.76e-15 | 14.866
319.132 | -1.99e-15 | 14.8654
319.482 | -2.68e-14 | 14.865
319.732 | -3.487e-14 | 14.8662
320.057 | -4.732e-14 | 14.8662
320.403 | -3.87e-14 | 14.8655
320.652 | 3.535e-14 | 14.8663
320.976 | -5.331e-14 | 14.8668
321.25 | -2.297e-14 | 14.8654
321.571 | -5.445e-14 | 14.8663
321.846 | -2.315e-14 | 14.8657
322.172 | -7.453e-14 | 14.866
322.421 | -3.576e-14 | 14.867
322.746 | -4.197e-14 | 14.8668
323.097 | -3.147e-14 | 14.8666
323.345 | 4.286e-14 | 14.8673
323.672 | 2.263e-14 | 14.8675
323.921 | -5.106e-14 | 14.8674
324.273 | -2.262e-14 | 14.8672
324.523 | 3.439e-14 | 14.8684
324.848 | 5.642e-14 | 14.8684
325.173 | -1.441e-14 | 14.8687
325.449 | -7.959e-14 | 14.8683
325.749 | -8.9e-15 | 14.8685
326.024 | -6.586e-14 | 14.8689
326.349 | 4.106e-14 | 14.8693
326.7 | -4.077e-14 | 14.869
326.951 | -3.705e-14 | 14.8688
327.276 | 5.3e-16 | 14.8701
327.525 | -3.214e-14 | 14.87
327.875 | -8.97e-15 | 14.8695
328.126 | 9.083e-14 | 14.8702
328.452 | -7.593e-14 | 14.8702
328.728 | -2.33e-14 | 14.8704
329.052 | -4.033e-14 | 14.8705
329.377 | 2.954e-14 | 14.8707
329.652 | 5.55e-15 | 14.8703
329.98 | -3.071e-14 | 14.8705
330.227 | -5.485e-14 | 14.8719
330.553 | -2.081e-14 | 14.8717
330.877 | 4.641e-14 | 14.8717
331.129 | -4.49e-15 | 14.8717
331.478 | 3.169e-14 | 14.8713
331.729 | -2.324e-14 | 14.8725
332.079 | -4.91e-15 | 14.8713
332.329 | 2.569e-14 | 14.8724
332.681 | -2.07e-15 | 14.8721
332.929 | -1.661e-14 | 14.8732
333.255 | 5.18e-15 | 14.8731
333.579 | 3.89e-15 | 14.8729
333.855 | 2.446e-14 | 14.8726
334.181 | 1.158e-14 | 14.8725
334.43 | -2.27e-15 | 14.8735
334.781 | -1.82e-15 | 14.8729
335.031 | 1.095e-14 | 14.8739
335.38 | 4.3e-15 | 14.8735
335.632 | 9.577e-14 | 14.8744
335.956 | -3.129e-14 | 14.8744
336.305 | -9.55e-15 | 14.8744
336.555 | -3.387e-14 | 14.8739
336.881 | 3.341e-14 | 14.8738
337.13 | -1.681e-14 | 14.8749
337.48 | -5.472e-14 | 14.8743
337.731 | -5.403e-14 | 14.8754
338.055 | -4.932e-14 | 14.875
338.405 | 3.262e-14 | 14.8751
338.655 | -1.393e-14 | 14.876
338.979 | -7.92e-15 | 14.8762
339.229 | -2.18e-14 | 14.8759
339.578 | 1.91e-15 | 14.8751
339.83 | 1.373e-14 | 14.8762
340.155 | 1.131e-14 | 14.8767
340.48 | -1.253e-14 | 14.8761
340.755 | 7.07e-15 | 14.8764
341.03 | -7.095e-14 | 14.8773
341.355 | 2.616e-14 | 14.8774
341.679 | -1.0628e-13 | 14.8763
341.929 | -3.19e-14 | 14.8771
342.28 | -1.424e-14 | 14.8765
342.529 | 3.86e-14 | 14.8774
342.878 | 2.294e-14 | 14.8768
343.13 | 5.618e-14 | 14.8778
343.455 | -4.33e-14 | 14.8778
343.805 | 4.69e-15 | 14.8779
344.055 | -1.946e-14 | 14.8774
344.379 | 3.117e-14 | 14.8787
344.655 | 8.31e-15 | 14.8778
344.981 | 4.05e-15 | 14.8778
345.23 | 1.2e-16 | 14.8792
345.554 | -2.227e-14 | 14.8791
345.88 | -1.22e-15 | 14.8791
346.127 | 6.73e-15 | 14.8787
346.476 | -3.705e-14 | 14.8793
346.723 | -1.039e-14 | 14.8789
347.072 | -1.3e-14 | 14.8789
347.322 | -5.579e-14 | 14.8795
347.645 | 3.451e-14 | 14.8793
347.97 | -1.256e-14 | 14.8794
348.246 | -6.586e-14 | 14.8788
348.569 | -1.894e-14 | 14.8798
348.92 | 2.534e-14 | 14.879
349.171 | 1.831e-14 | 14.88
349.52 | 5.36e-15 | 14.8796
349.77 | -4.267e-14 | 14.8804
350.02 | -4.15e-15 | 14.88
350.372 | 2.877e-14 | 14.88
350.697 | -1.398e-14 | 14.8796
350.972 | -3.103e-14 | 14.8803
351.221 | 5.85e-15 | 14.8808
351.572 | -1.871e-14 | 14.8801
351.823 | -3.368e-14 | 14.881
352.172 | -9.79e-15 | 14.8805
352.424 | -7.71e-15 | 14.8815
352.774 | -2.78e-14 | 14.8811
353.098 | -2.679e-14 | 14.8815
353.349 | 4.58e-15 | 14.8812
353.676 | -3.318e-14 | 14.8825
353.951 | 1.707e-14 | 14.8814
354.275 | -2.014e-14 | 14.8825
354.55 | -7.6e-15 | 14.882
354.875 | 8.19e-14 | 14.882
355.126 | 3.937e-14 | 14.8827
355.451 | -2.97e-14 | 14.8828
355.801 | -1.035e-14 | 14.8827
356.052 | -1.4e-16 | 14.8837
356.376 | 2.185e-14 | 14.8833
356.653 | -3.201e-14 | 14.8838
356.976 | 2.563e-14 | 14.8837
357.252 | -4.73e-15 | 14.8827
357.577 | 1.022e-14 | 14.8838
357.853 | 2.451e-14 | 14.8844
358.179 | -3.697e-14 | 14.8841
358.454 | 4.219e-14 | 14.8844
358.777 | -1.534e-14 | 14.8843
359.053 | -2.292e-14 | 14.8838
359.379 | 3.952e-14 | 14.8844
359.653 | 2.919e-14 | 14.885
360.004 | -1.682e-14 | 14.8843
360.254 | 1.467e-14 | 14.8847
360.603 | 3.452e-14 | 14.8845
360.853 | 3.238e-14 | 14.8853
361.203 | -2.321e-14 | 14.8853
361.455 | -4.617e-14 | 14.8846
361.803 | 2.155e-14 | 14.8849
362.079 | -2.032e-14 | 14.8857
362.355 | -8.22e-15 | 14.886
362.705 | -1.872e-14 | 14.886
362.955 | -1.782e-14 | 14.8863
363.28 | -4.509e-14 | 14.8865
363.555 | 1.925e-14 | 14.8859
363.879 | 3.06e-14 | 14.8869
364.155 | 2.526e-14 | 14.8868
364.48 | -1.783e-14 | 14.8866
364.756 | 4.033e-14 | 14.8861
365.105 | -1.255e-14 | 14.8864
365.355 | 3.803e-14 | 14.8869
365.632 | 2.096e-14 | 14.8875
365.957 | -1.732e-14 | 14.8875
366.231 | 1.334e-14 | 14.8878
366.556 | -3.396e-14 | 14.8879
366.881 | 2.461e-14 | 14.8875
367.156 | 2.479e-14 | 14.888
367.507 | -4.46e-15 | 14.8876
367.783 | -3.579e-14 | 14.8876
368.034 | -6.086e-14 | 14.8886
368.358 | 2.923e-14 | 14.8883
368.633 | 8.97e-15 | 14.8889
368.959 | -4.02e-15 | 14.8887
369.26 | -1.122e-14 | 14.8886
369.584 | -4.149e-14 | 14.8892
369.86 | 6.16e-15 | 14.8884
370.21 | 2.473e-14 | 14.8888
370.462 | -2.288e-14 | 14.8893