## Settings
Sample Info | so12ig, dot b5 glued, run 14
Comments | +5/-10/+5, 10 K/min
Additional Comments | liquid nitrogen is over
Major Measurement Parameters
Starting Temperature | 354.315
Initial Temperature | 81
Final Temperature | 450
Preliminary Voltage | 5
Pulse Voltage | -10
Pulse Time | 30
Wait Time | 0
Measurement Voltage | 5
Subsidiary Measurement Parameters
Step | 0.3
Accuracy Step | 0.1
Accuracy Stable | 1
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 10
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 5
Measurecount | 1
Time
Date | 12.4.2024
Clock | 19:45:16

## Stabilization
Temperature | Current | Temp Rate
352.908 | 3.0104e-12 | 0
352.056 | 1.8846e-12 | -39.6729
351.361 | 1.5059e-12 | -36.3082
350.419 | 1.2458e-12 | -39.0577
349.675 | 1.107e-12 | -37.9804
348.902 | 1.0199e-12 | -37.6874
348.118 | 9.0206e-13 | -37.53
347.277 | 7.6691e-13 | -37.8019
346.421 | 7.8019e-13 | -38.0882
345.64 | 7.2414e-13 | -37.949
344.79 | 6.471e-13 | -42.4016
343.991 | 6.7721e-13 | -52.1854
343.189 | 5.8453e-13 | -75.585
342.282 | 5.4486e-13 | -163.487
341.504 | 5.2623e-13 | -263.7467
340.622 | 4.4448e-13 | -35.6693
339.818 | 4.8345e-13 | -35.7881
339.039 | 4.2449e-13 | -35.7894
335.097 | 2.789e-13 | -182.465
334.36 | 3.0102e-13 | -36.6372
333.431 | 3.0221e-13 | -36.9268
332.586 | 2.9038e-13 | -37.0216
331.704 | 2.7371e-13 | -37.1933
330.84 | 2.6843e-13 | -37.2845
330.114 | 2.6035e-13 | -37.167
329.125 | 2.4517e-13 | -37.4524
328.316 | 2.2836e-13 | -37.4713
327.37 | 2.1718e-13 | -37.7046
326.505 | 1.9827e-13 | -37.7792
325.626 | 1.9931e-13 | -37.8813
324.775 | 1.9025e-13 | -37.9485
323.966 | 1.7512e-13 | -37.9453
323.034 | 1.6475e-13 | -38.0953
322.216 | 1.6498e-13 | -38.0711
321.312 | 1.5485e-13 | -38.1878
320.472 | 1.5405e-13 | -38.2019
319.665 | 1.4001e-13 | -38.2024
318.752 | 1.4415e-13 | -38.3007
318.021 | 1.3114e-13 | -38.2016
317.103 | 1.267e-13 | -38.2811
316.19 | 1.26e-13 | -38.3659
315.415 | 1.1654e-13 | -38.3221
314.508 | 1.0813e-13 | -38.4
313.707 | 1.1257e-13 | -38.3823
312.763 | 1.112e-13 | -38.491
311.932 | 1.0337e-13 | -38.4869
311.043 | 1.0113e-13 | -38.537
310.182 | 1.0399e-13 | -38.5657
309.368 | 9.3593e-14 | -38.5495
308.392 | 9.4396e-14 | -38.6646
307.583 | 9.1892e-14 | -38.638
306.64 | 8.8282e-14 | -38.7199
305.8 | 9.0636e-14 | -38.7253
304.953 | 8.2168e-14 | -38.7404
304.074 | 9.2379e-14 | -38.7611
303.27 | 8.3578e-14 | -38.7369
302.351 | 7.9761e-14 | -38.7961
301.595 | 8.1139e-14 | -38.7294
300.704 | 7.6914e-14 | -38.764
299.92 | 7.79e-14 | -38.7274
299.119 | 7.6803e-14 | -38.7029
298.293 | 7.5067e-14 | -38.6963
297.584 | 6.8256e-14 | -38.6071
296.7 | 6.3651e-14 | -38.6405
295.961 | 7.4718e-14 | -38.576
295.116 | 6.8921e-14 | -38.5745
294.377 | 6.6955e-14 | -38.5024
293.584 | 6.7225e-14 | -38.4745
292.761 | 7.0335e-14 | -38.4768
292.056 | 6.4133e-14 | -38.3947
291.235 | 6.0154e-14 | -38.38
290.547 | 6.4126e-14 | -38.3004
289.757 | 5.4538e-14 | -38.2824
289.126 | 5.6836e-14 | -38.1664
288.559 | 5.5742e-14 | -38.0107
288.06 | 5.1853e-14 | -37.8235
287.489 | 4.9732e-14 | -37.6826
286.783 | 5.2793e-14 | -37.6191
286.206 | 5.1603e-14 | -37.4841
285.462 | 5.8123e-14 | -37.4488
284.847 | 5.2623e-14 | -37.3411
284.091 | 4.5099e-14 | -37.3076
283.456 | 4.9292e-14 | -37.2028
282.758 | 4.961e-14 | -37.1487
282.115 | 5.3635e-14 | -37.0641
281.407 | 5.6301e-14 | -37.0189
280.714 | 5.2427e-14 | -36.9618
279.97 | 5.2079e-14 | -36.9264
279.277 | 5.6815e-14 | -36.8675
278.566 | 6.0564e-14 | -36.814
277.875 | 6.8482e-14 | -36.7609
277.153 | 5.5082e-14 | -36.7268
276.568 | 5.8232e-14 | -36.6212
275.928 | 5.7196e-14 | -36.5506
275.271 | 6.2778e-14 | -36.4809
274.608 | 5.3838e-14 | -36.4236
274.04 | 5.9478e-14 | -36.3239
273.371 | 6.9496e-14 | -36.2745
272.823 | 5.4196e-14 | -36.1671
272.17 | 4.9139e-14 | -36.1065
271.659 | 5.0656e-14 | -35.9869
270.98 | 5.1516e-14 | -35.9415
270.496 | 5.0091e-14 | -35.8034
269.775 | 5.8007e-14 | -35.7814
269.303 | 5.722e-14 | -35.6541
268.64 | 5.1706e-14 | -35.6082
268.128 | 4.9424e-14 | -35.4958
267.623 | 5.3201e-14 | -35.3862
267.078 | 5.1739e-14 | -35.2882
266.733 | 4.9255e-14 | -35.1181
266.409 | 4.7332e-14 | -34.9407
265.964 | 4.7085e-14 | -34.806
265.525 | 3.8636e-14 | -34.6836
265.175 | 4.6085e-14 | -34.5229
264.708 | 3.4726e-14 | -34.4062
264.327 | 2.5784e-14 | -34.257
263.781 | 3.9645e-14 | -34.1827
263.466 | 2.2407e-14 | -34.0179
262.929 | 2.2745e-14 | -33.9358
262.561 | 1.9669e-14 | -33.7962
262.176 | 1.9153e-14 | -33.6615
261.816 | 1.0098e-14 | -33.5238
261.566 | -3.646e-15 | -33.3471
261.302 | -1.922e-15 | -33.1811
260.934 | 1.113e-15 | -33.043
260.664 | -8.213e-15 | -32.8823
260.4 | -1.1494e-14 | -32.7222
260.161 | -9.221e-15 | -32.5531
259.925 | -1.3579e-14 | -32.3892
259.69 | -7.254e-15 | -32.2252
259.463 | -3.012e-15 | -32.0589
259.238 | -6.886e-15 | -31.8995
259.008 | -8.79e-16 | -31.7383
258.754 | 7.907e-15 | -31.5953
258.496 | 6.68e-15 | -31.4464
258.278 | 1.6823e-14 | -31.2886
258.034 | 1.1471e-14 | -31.1402
257.65 | 9.11e-15 | -31.0455
257.375 | 2.1682e-14 | -30.9089
257.009 | 2.1029e-14 | -30.8041
256.727 | 1.8764e-14 | -30.6798
256.475 | 2.4816e-14 | -30.5452
256.107 | 2.446e-14 | -30.4477
255.71 | 2.8952e-14 | -30.3627
255.46 | 2.9698e-14 | -30.2333
255.042 | 4.0823e-14 | -30.1597
254.787 | 3.3235e-14 | -30.0339
254.56 | 3.8498e-14 | -29.904
254.268 | 4.0601e-14 | -29.7803
253.98 | 3.4454e-14 | -29.6702
253.741 | 4.2991e-14 | -29.5397
253.447 | 4.9746e-14 | -29.4367
253.221 | 4.8461e-14 | -29.3077
252.985 | 5.2021e-14 | -29.1856
252.766 | 5.118e-14 | -29.0609
252.549 | 4.7398e-14 | -28.9369
252.325 | 5.8666e-14 | -28.818
252.071 | 5.2928e-14 | -28.7045
251.847 | 5.5817e-14 | -28.5903
251.603 | 6.244e-14 | -28.4742
251.281 | 5.8449e-14 | -28.3899
251.027 | 5.5597e-14 | -28.2883
250.807 | 6.6323e-14 | -28.181
250.448 | 6.1501e-14 | -28.111
249.888 | 7.0483e-14 | -28.0922
249.617 | 6.116e-14 | -27.9948
249.316 | 6.2233e-14 | -27.9094
248.998 | 6.1279e-14 | -27.8284
248.762 | 6.5693e-14 | -27.7301
248.489 | 7.4036e-14 | -27.6397
248.15 | 7.5211e-14 | -27.5698
247.924 | 7.0941e-14 | -27.47
247.685 | 6.3571e-14 | -27.3701
247.362 | 6.3856e-14 | -27.2975
246.787 | 7.8062e-14 | -27.2893
246.406 | 7.3081e-14 | -27.2319
246.132 | 9.8927e-14 | -27.1477
245.866 | 8.5765e-14 | -27.0621
245.584 | 8.0063e-14 | -26.9803
245.329 | 6.9588e-14 | -26.8949
245.029 | 7.5964e-14 | -26.8129
244.663 | 8.1724e-14 | -26.753
244.418 | 7.8223e-14 | -26.6678
244.131 | 7.7982e-14 | -26.5925
243.685 | 8.2299e-14 | -26.5596
243.364 | 7.9886e-14 | -26.4959
243.119 | 7.953e-14 | -26.4131
242.86 | 6.9162e-14 | -26.3351
242.619 | 7.2336e-14 | -26.2527
242.383 | 7.5686e-14 | -26.1691
242.125 | 7.133e-14 | -26.0925
241.88 | 7.737e-14 | -26.016
241.629 | 7.6426e-14 | -25.9408
241.359 | 8.032e-14 | -25.8706
241.106 | 7.7954e-14 | -25.7971
240.867 | 8.0184e-14 | -25.7201
240.625 | 7.4558e-14 | -25.649
240.388 | 7.6313e-14 | -25.5719
240.132 | 7.8267e-14 | -25.4975
239.88 | 7.2789e-14 | -25.4219
239.607 | 7.2049e-14 | -25.3526
239.349 | 8.307e-14 | -25.2832
239.086 | 8.9344e-14 | -25.2147
238.839 | 8.8493e-14 | -25.1456
238.599 | 7.8072e-14 | -25.0751
238.334 | 8.0471e-14 | -25.0102
238.083 | 8.0954e-14 | -24.9398
237.852 | 7.8149e-14 | -24.8723
237.617 | 8.2326e-14 | -24.8028
237.363 | 8.2815e-14 | -24.738
237.132 | 8.4108e-14 | -24.6714
236.901 | 8.3596e-14 | -24.6068
236.667 | 7.2964e-14 | -24.5391
236.411 | 7.6224e-14 | -24.4792
236.171 | 8.0686e-14 | -24.4137
235.932 | 8.1115e-14 | -24.3505
235.668 | 8.2476e-14 | -24.292
235.37 | 8.8418e-14 | -24.2413
235.026 | 8.1975e-14 | -24.2022
234.758 | 8.2533e-14 | -24.1457
234.489 | 8.9366e-14 | -24.0822
234.227 | 8.458e-14 | -24.0292
233.976 | 8.81e-14 | -23.9725
233.728 | 8.5611e-14 | -23.9151
233.449 | 9.1657e-14 | -23.8637
233.182 | 8.8047e-14 | -23.8118
232.923 | 8.5272e-14 | -23.758
232.653 | 8.8388e-14 | -23.7058
232.396 | 9.6932e-14 | -23.654
232.137 | 9.5996e-14 | -23.6041
231.86 | 8.4345e-14 | -23.5581
231.559 | 8.2821e-14 | -23.5124
231.292 | 8.3721e-14 | -23.462
231.011 | 8.7811e-14 | -23.414
230.758 | 8.656e-14 | -23.3621
230.45 | 8.2978e-14 | -23.322
230.158 | 9.3725e-14 | -23.2762
229.859 | 9.1049e-14 | -23.2341
229.593 | 9.2678e-14 | -23.1881
229.324 | 9.5007e-14 | -23.1422
229.034 | 1.9707e-13 | -23.0986
228.778 | 1.231e-13 | -23.0513
228.496 | 1.0011e-13 | -23.0076
228.227 | 8.2836e-14 | -22.9632
227.962 | 8.3833e-14 | -22.9188
227.699 | 8.0163e-14 | -22.8733
227.409 | 8.1598e-14 | -22.8342
227.118 | 8.4177e-14 | -22.7949
226.816 | 9.4711e-14 | -22.7564
226.54 | 9.7051e-14 | -22.7147
226.269 | 1.1191e-13 | -22.6719
225.972 | 1.1365e-13 | -22.6356
225.699 | 1.1805e-13 | -22.5949
225.433 | 1.2995e-13 | -22.5536
225.151 | 1.2642e-13 | -22.5145
224.893 | 1.1224e-13 | -22.4716
224.611 | 1.0742e-13 | -22.4331
224.352 | 1.0737e-13 | -22.3908
224.095 | 1.0965e-13 | -22.3493
223.819 | 9.4666e-14 | -22.3095
223.566 | 1.039e-13 | -22.2688
223.312 | 1.0412e-13 | -22.2282
223.031 | 9.7495e-14 | -22.1911
222.775 | 1.0946e-13 | -22.1496
222.519 | 1.1082e-13 | -22.1109
222.22 | 1.0896e-13 | -22.0788
221.948 | 1.1861e-13 | -22.0421
221.677 | 1.0549e-13 | -22.0066
221.413 | 1.0953e-13 | -21.9684
221.116 | 1.0946e-13 | -21.9356
220.821 | 1.0491e-13 | -21.9025
220.555 | 1.0016e-13 | -21.8668
220.265 | 1.1073e-13 | -21.8347
219.978 | 1.0027e-13 | -21.8019
219.674 | 1.0751e-13 | -21.7713
219.399 | 1.0974e-13 | -21.7374
219.107 | 1.0563e-13 | -21.7066
218.837 | 1.1249e-13 | -21.6716
218.541 | 1.1144e-13 | -21.6413
218.242 | 1.0998e-13 | -21.6106
217.969 | 1.0259e-13 | -21.577
217.67 | 1.082e-13 | -21.548
217.399 | 1.065e-13 | -21.5131
217.113 | 1.0084e-13 | -21.4837
216.844 | 9.7388e-14 | -21.4513
216.578 | 1.0176e-13 | -21.4179
216.292 | 1.049e-13 | -21.388
216.034 | 1.1309e-13 | -21.3537
215.769 | 1.0292e-13 | -21.32
215.478 | 1.0769e-13 | -21.2919
215.211 | 1.06e-13 | -21.2595
214.944 | 1.0342e-13 | -21.2289
214.658 | 9.3709e-14 | -21.2003
214.375 | 1.0002e-13 | -21.1724
214.101 | 9.8551e-14 | -21.1436
213.814 | 9.5583e-14 | -21.1129
213.549 | 9.7807e-14 | -21.0813
213.242 | 9.9269e-14 | -21.0563
212.959 | 9.7866e-14 | -21.0283
212.661 | 1.0341e-13 | -21.0023
212.388 | 9.77e-14 | -20.9725
212.094 | 8.8961e-14 | -20.946
211.81 | 1.0087e-13 | -20.9171
211.5 | 8.844e-14 | -20.8936
211.222 | 9.6978e-14 | -20.8653
210.925 | 9.6241e-14 | -20.8415
210.652 | 9.9133e-14 | -20.813
210.363 | 9.2768e-14 | -20.7869
210.093 | 8.8687e-14 | -20.7584
209.806 | 8.6567e-14 | -20.7321
209.533 | 8.7664e-14 | -20.7049
209.261 | 8.1713e-14 | -20.6768
208.973 | 7.4894e-14 | -20.6523
208.701 | 8.4569e-14 | -20.6266
208.416 | 7.857e-14 | -20.6012
208.121 | 7.6334e-14 | -20.5779
207.853 | 8.2274e-14 | -20.5505
207.565 | 8.1184e-14 | -20.5238
207.279 | 7.9132e-14 | -20.4978
207.004 | 7.5562e-14 | -20.471
206.723 | 7.2287e-14 | -20.4468
206.458 | 6.5943e-14 | -20.4201
206.175 | 7.2201e-14 | -20.3956
205.917 | 6.9595e-14 | -20.3691
205.647 | 6.9346e-14 | -20.3439
205.367 | 7.5174e-14 | -20.3188
205.083 | 7.2272e-14 | -20.2938
204.818 | 6.8802e-14 | -20.2678
204.56 | 5.9738e-14 | -20.2416
204.281 | 6.7153e-14 | -20.2186
204.02 | 6.9239e-14 | -20.1918
203.745 | 6.7308e-14 | -20.1658
203.454 | 5.1523e-14 | -20.1442
203.189 | 6.7907e-14 | -20.1194
202.92 | 4.9537e-14 | -20.0951
202.642 | 5.8363e-14 | -20.0729
202.385 | 6.6872e-14 | -20.0467
202.108 | 6.142e-14 | -20.0237
201.847 | 5.4877e-14 | -19.9997
201.572 | 5.7613e-14 | -19.9746
201.321 | 5.9614e-14 | -19.9494
201.053 | 5.8326e-14 | -19.9256
200.802 | 5.927e-14 | -19.9003
200.531 | 4.5588e-14 | -19.8774
200.284 | 3.9448e-14 | -19.8517
200.03 | 4.8503e-14 | -19.8265
199.757 | 4.9411e-14 | -19.804
199.495 | 4.7893e-14 | -19.7805
199.238 | 4.7742e-14 | -19.7557
198.97 | 3.8129e-14 | -19.7318
198.709 | 6.444e-14 | -19.708
198.461 | 4.4023e-14 | -19.6833
198.212 | 5.3551e-14 | -19.6588
197.949 | 4.2101e-14 | -19.6367
197.709 | 4.3188e-14 | -19.6117
197.452 | 3.3143e-14 | -19.5884
197.217 | 5.3043e-14 | -19.5629
196.966 | 4.2267e-14 | -19.5385
196.735 | 4.2917e-14 | -19.5118
196.494 | 4.7959e-14 | -19.4867
196.254 | 4.2701e-14 | -19.4614
196.03 | 4.1416e-14 | -19.4353
195.788 | 3.3256e-14 | -19.4111
195.568 | 3.751e-14 | -19.3845
195.352 | 3.3511e-14 | -19.3584
195.11 | 4.0393e-14 | -19.3346
194.876 | 3.2253e-14 | -19.3095
194.664 | 3.3816e-14 | -19.2819
194.439 | 3.3898e-14 | -19.2568
194.233 | 3.9784e-14 | -19.2289
194.027 | 3.6658e-14 | -19.2024
193.808 | 3.1424e-14 | -19.1772
193.589 | 2.2806e-14 | -19.1507
193.375 | 4.1182e-14 | -19.1247
193.153 | 3.4362e-14 | -19.0996
192.957 | 3.4527e-14 | -19.071
192.749 | 3.7583e-14 | -19.0448
192.547 | 3.1081e-14 | -19.0157
192.351 | 3.6889e-14 | -18.9884
192.146 | 3.1014e-14 | -18.9617
191.954 | 3.514e-14 | -18.9333
191.778 | 3.6828e-14 | -18.9043
191.572 | 3.4011e-14 | -18.8788
191.383 | 3.639e-14 | -18.8506
191.198 | 3.4926e-14 | -18.8223
191.032 | 2.3052e-14 | -18.7924
190.854 | 2.3452e-14 | -18.7633
190.683 | 3.776e-14 | -18.7344
190.526 | 2.7668e-14 | -18.7032
190.357 | 2.4385e-14 | -18.6745
190.2 | 2.9719e-14 | -18.6446
190.04 | 3.0514e-14 | -18.6137
189.886 | 2.959e-14 | -18.5819
189.746 | 2.3178e-14 | -18.5503
189.598 | 2.0956e-14 | -18.5199
189.452 | 2.4953e-14 | -18.4883
189.32 | 1.908e-14 | -18.456
189.142 | 2.6146e-14 | -18.4289
188.999 | 3.1751e-14 | -18.3954
188.865 | 2.5151e-14 | -18.3634
188.734 | 1.7932e-14 | -18.3308
188.602 | 2.3137e-14 | -18.2998
188.474 | 2.9418e-14 | -18.2682
188.361 | 2.6803e-14 | -18.2357
188.242 | 2.8615e-14 | -18.203
188.127 | 1.9124e-14 | -18.1681
188.015 | 1.5907e-14 | -18.1343
187.903 | 1.0754e-14 | -18.1007
187.804 | 1.0316e-14 | -18.0667
187.7 | 1.407e-14 | -18.0333
187.606 | 1.7871e-14 | -17.9993
187.508 | 2.0817e-14 | -17.9655
187.42 | 1.8215e-14 | -17.9304
187.318 | 1.009e-14 | -17.8953
187.229 | 1.9383e-14 | -17.8602
187.149 | 1.7859e-14 | -17.8251
187.065 | 1.7875e-14 | -17.7899
186.983 | 1.4464e-14 | -17.7545
186.906 | 7.802e-15 | -17.7185
186.829 | 1.5278e-14 | -17.6838
186.762 | 2.2277e-14 | -17.6485
186.691 | 1.5524e-14 | -17.6128
186.624 | 1.1866e-14 | -17.5778
186.561 | 1.4104e-14 | -17.5426
186.5 | 1.4336e-14 | -17.5075
186.441 | 1.556e-14 | -17.4718
186.385 | 1.3873e-14 | -17.4363
186.329 | 1.8144e-14 | -17.4013
186.279 | 1.74e-14 | -17.3655
186.228 | 1.8451e-14 | -17.3292
186.18 | 2.5771e-14 | -17.2935
186.137 | 1.9756e-14 | -17.2579
186.093 | 2.0443e-14 | -17.2213
186.049 | 2.1674e-14 | -17.1835
186.011 | 4.724e-14 | -17.147
185.975 | 6.0736e-14 | -17.1103
185.944 | 5.1484e-14 | -17.0737
185.908 | 6.227e-14 | -17.0382
185.879 | 7.9539e-14 | -17.0012
185.85 | 8.719e-14 | -16.965
185.826 | 9.4741e-14 | -16.9275
185.802 | 7.446e-14 | -16.8906
185.781 | 7.4536e-14 | -16.8537
185.762 | 5.0053e-14 | -16.8171
185.743 | 4.4706e-14 | -16.7803
185.729 | 6.0687e-14 | -16.7438
185.716 | 6.9346e-14 | -16.7067
185.703 | 6.814e-14 | -16.6697
185.691 | 6.8302e-14 | -16.6332
185.683 | 7.4128e-14 | -16.596
185.676 | 6.4169e-14 | -16.5591
185.671 | 7.2828e-14 | -16.5218
185.667 | 7.5736e-14 | -16.4844
185.665 | 3.1238e-12 | -16.4174
185.667 | 2.988e-12 | -16.381
185.684 | -1.7396e-14 | -16.2216
185.688 | -1.326e-14 | -16.185
185.698 | -2.0543e-14 | -16.1481
185.706 | -5.844e-15 | -16.1116
185.713 | -6.811e-15 | -16.0758
185.725 | 5.19e-16 | -16.0397
185.737 | -6.666e-15 | -16.0031
185.747 | 8.068e-15 | -15.9678
185.76 | 4.135e-15 | -15.932
185.774 | 3.037e-15 | -15.8964
185.79 | 4.609e-15 | -15.86
185.805 | -8.695e-15 | -15.8238
185.821 | 1.6398e-14 | -15.7878
185.837 | 3.223e-15 | -15.7521
185.858 | 5.562e-15 | -15.7155
185.875 | 7.994e-15 | -15.6803
185.897 | 1.1597e-14 | -15.6442
185.915 | -2.3758e-14 | -15.6089
185.938 | 1.3496e-13 | -15.5729
185.961 | 1.3513e-14 | -15.5368
185.982 | -1.3806e-14 | -15.5019
186.005 | -1.17e-15 | -15.466
186.027 | -5.424e-15 | -15.4311
186.049 | -7.944e-15 | -15.3966
186.073 | -3.292e-15 | -15.3615
186.098 | 3.8515e-14 | -15.3267
186.123 | 2.6146e-14 | -15.2917
186.147 | 2.4177e-14 | -15.2571
186.173 | -3.3654e-14 | -15.2229
186.197 | -5.504e-15 | -15.1884
186.223 | 6.94e-16 | -15.1549
186.252 | -9.034e-15 | -15.1204
186.279 | 5.0709e-14 | -15.0864
186.307 | -2.148e-15 | -15.0526
186.332 | 6.977e-15 | -15.0192
186.36 | -2.682e-15 | -14.9854
186.39 | -2.1099e-14 | -14.9516
186.419 | -7.195e-15 | -14.9183
186.45 | 1.2695e-14 | -14.8841
186.482 | -7.03e-15 | -14.851
186.515 | -5.444e-15 | -14.8176
186.546 | -4.823e-15 | -14.7846
186.579 | 4.085e-15 | -14.7516
186.612 | 4.78e-16 | -14.7185
186.648 | 7.585e-15 | -14.6853
186.678 | 2.763e-15 | -14.6534
186.713 | -2.197e-15 | -14.6203
186.748 | 3.3367e-14 | -14.5879
186.785 | -1.123e-15 | -14.5551
186.821 | -5.41e-15 | -14.5228
186.857 | 1.4507e-14 | -14.4903
186.893 | -1.6411e-14 | -14.4574
186.928 | -8.889e-15 | -14.4254
186.963 | -1.3032e-14 | -14.3932
187 | 2.105e-15 | -14.3611
187.037 | 4.639e-15 | -14.3288
187.073 | 1.7932e-14 | -14.2967
187.111 | 5.0972e-14 | -14.265
187.148 | -2.4343e-14 | -14.2331
187.185 | -3.88e-15 | -14.2021
187.223 | -1.0251e-14 | -14.1702
187.261 | -9.197e-15 | -14.1385
187.298 | -2.0139e-14 | -14.1077
187.339 | -6.114e-15 | -14.0756
187.373 | -1.8276e-14 | -14.0453
187.41 | 9.808e-15 | -14.0141
187.451 | 2.4002e-14 | -13.9828
187.486 | -8.377e-15 | -13.9525
187.523 | -1.1217e-14 | -13.9223
187.559 | 3.428e-15 | -13.8923
187.597 | -1.1639e-14 | -13.8625
187.633 | -1.1745e-14 | -13.8325
187.673 | -2.0285e-14 | -13.8021
187.708 | -1.527e-14 | -13.7728
187.744 | 1.4133e-14 | -13.7434
187.781 | 3.4529e-14 | -13.7134
187.821 | -7.3711e-14 | -13.6829
187.86 | -1.1554e-14 | -13.6532
187.896 | -1.3972e-14 | -13.6226
187.929 | -3.428e-15 | -13.5942
187.97 | -2.067e-15 | -13.5645
188.015 | -8.026e-15 | -13.5327
188.051 | 2.348e-15 | -13.504
188.084 | -6.464e-15 | -13.4756
188.122 | 3.084e-14 | -13.4467
188.163 | 1.6658e-14 | -13.4148
188.202 | 1.3099e-14 | -13.3864
188.239 | 2.2875e-14 | -13.3571
188.28 | 8.045e-15 | -13.328
188.316 | 2.4698e-14 | -13.2978
188.353 | -4.256e-15 | -13.2695
188.392 | 6.786e-15 | -13.2412
188.428 | -6.9756e-14 | -13.2139
188.466 | -3.1044e-14 | -13.1867
188.503 | -3.6701e-14 | -13.1591
188.54 | 6.8391e-14 | -13.1322
188.575 | -1.8041e-14 | -13.1051
188.609 | 7.8539e-14 | -13.0787
188.646 | -6.1829e-14 | -13.0519
188.684 | -6.149e-15 | -13.0254
188.72 | -1.2797e-14 | -12.9979
188.756 | -1.01e-14 | -12.9706
188.795 | 5.4788e-14 | -12.942
188.828 | 1.6593e-14 | -12.9161
188.867 | -9.744e-15 | -12.8896
188.905 | -1.705e-14 | -12.8629
188.935 | -3.8473e-14 | -12.8378
188.972 | 1.671e-15 | -12.8121
189.008 | -4.601e-15 | -12.7866
189.04 | -9.813e-15 | -12.7613
189.077 | -3.4545e-14 | -12.7355
189.114 | -1.2253e-14 | -12.7098
189.15 | -8.116e-15 | -12.6843
189.186 | -3.485e-15 | -12.659
189.221 | -2.576e-15 | -12.634
189.256 | 2.524e-15 | -12.6089
189.292 | 7.246e-15 | -12.5837
189.328 | 2.308e-14 | -12.5583
189.364 | 8.11e-15 | -12.5329
189.4 | 1.0181e-14 | -12.5081
189.436 | 1.189e-15 | -12.4834
189.472 | -3.507e-15 | -12.4588
189.505 | 2.325e-15 | -12.4346
189.541 | 1.24e-15 | -12.4093
189.578 | 5.327e-15 | -12.3845
189.615 | 4.14e-15 | -12.36
189.646 | -9.99e-16 | -12.336
189.685 | 1.0478e-14 | -12.311
189.721 | 5.841e-15 | -12.2869
189.753 | -8.018e-15 | -12.2631
189.789 | -2.351e-15 | -12.2389
189.823 | -5.653e-15 | -12.2151
189.859 | 1.9549e-14 | -12.1915
189.893 | 3.143e-15 | -12.1678
189.928 | 7.73e-16 | -12.1443
189.963 | -3.639e-15 | -12.1208
189.998 | -6.07e-15 | -12.0967
190.033 | -6.137e-15 | -12.0737
190.068 | -5.197e-15 | -12.0499
190.104 | -1.5e-15 | -12.0265
190.136 | 8.29e-16 | -12.0035
190.171 | -4.075e-15 | -11.9807
190.205 | -1.0087e-14 | -11.9577
190.24 | -4.46e-16 | -11.9348
190.272 | -3.137e-15 | -11.9125
190.306 | 4.224e-15 | -11.8902
190.339 | -7.284e-15 | -11.8675
190.375 | -1.0725e-14 | -11.8449
190.411 | -5.472e-15 | -11.822
190.445 | -3.278e-15 | -11.7996
190.474 | 8.238e-15 | -11.7781
190.508 | -4.945e-15 | -11.7558
190.539 | -4.533e-15 | -11.7337
190.579 | 1.41e-15 | -11.7108
190.611 | -4.941e-15 | -11.6891
190.644 | 6.164e-15 | -11.6672
190.679 | 4.21e-15 | -11.6452
190.713 | 2.748e-15 | -11.6238
190.747 | 3.051e-15 | -11.6018
190.78 | 6.899e-15 | -11.5802
190.814 | 7.58e-16 | -11.5584
190.846 | 4.379e-15 | -11.5372
190.88 | 2.59e-16 | -11.5153
190.917 | 9.423e-15 | -11.4928
190.95 | -3.864e-15 | -11.4711
190.982 | 1.2e-14 | -11.4501
191.017 | 3.386e-15 | -11.4289
191.051 | 3.269e-15 | -11.4074
191.083 | -6.532e-15 | -11.3863
191.114 | 2.332e-15 | -11.3657
191.143 | 4.266e-15 | -11.3451
191.179 | 5.367e-15 | -11.3239
191.213 | 1.2046e-14 | -11.3031
191.242 | 1.578e-15 | -11.2827
191.276 | -1.2581e-14 | -11.2621
191.307 | -5.7623e-14 | -11.2418
191.339 | -8.3224e-14 | -11.2215
191.373 | -7.2898e-14 | -11.2005
191.405 | -1.98e-16 | -11.1795
191.438 | 3.065e-15 | -11.1591
191.471 | 4.6347e-14 | -11.1386
191.502 | 1.6698e-14 | -11.1187
191.535 | 1.2114e-14 | -11.0985
191.567 | 5.891e-15 | -11.0787
191.595 | 2.2277e-14 | -11.0592
191.627 | 5.509e-15 | -11.0393
191.662 | 3.849e-15 | -11.019
191.694 | 1.3607e-14 | -10.9989
191.726 | 1.1981e-14 | -10.9785
191.756 | 1.3399e-14 | -10.9592
191.79 | 1.1486e-14 | -10.9394
191.823 | 1.8838e-14 | -10.9198
191.853 | 1.2824e-14 | -10.9007
191.883 | 1.5712e-14 | -10.8817
191.914 | 1.3912e-14 | -10.8625
191.945 | 1.8216e-14 | -10.843
191.975 | 1.9742e-14 | -10.8243
192.007 | 1.316e-14 | -10.805
192.04 | 1.5712e-14 | -10.7857
192.071 | 8.87e-15 | -10.7667
192.101 | 1.3418e-14 | -10.748
192.133 | -1.25e-16 | -10.7291
192.164 | 6.688e-15 | -10.7102
192.195 | 2.189e-15 | -10.6912
192.226 | 3.593e-15 | -10.6726
192.259 | 2.82e-15 | -10.6537
192.288 | 5.976e-15 | -10.6353
192.32 | 1.2269e-14 | -10.617
192.35 | 3.37e-15 | -10.5985
192.38 | 6.575e-15 | -10.58
192.413 | -2.382e-15 | -10.5609
192.445 | -2.812e-15 | -10.5424
192.474 | 8.686e-15 | -10.5241
192.506 | 9.89e-16 | -10.5055
192.536 | -9.32e-16 | -10.4876
192.568 | 1.2885e-14 | -10.4694
192.599 | 3.328e-15 | -10.4511
192.63 | 1.4526e-14 | -10.433
192.66 | -9.8e-16 | -10.4149
192.687 | 9.22e-15 | -10.3974
192.722 | 6.579e-15 | -10.3793
192.752 | 1.38e-15 | -10.3617
192.783 | 1.7717e-14 | -10.3439
192.813 | 1.1097e-14 | -10.3254
192.845 | -7.627e-15 | -10.3073
192.876 | 2.599e-15 | -10.2899
192.906 | -5.748e-15 | -10.2722
192.938 | -6.6005e-13 | -10.2545
192.97 | 6.4541e-13 | -10.2366
192.998 | 2.5388e-13 | -10.2195
193.028 | 2.6027e-13 | -10.202
193.06 | 1.0908e-13 | -10.1849
193.09 | 5.4244e-14 | -10.1676
193.119 | 3.1411e-14 | -10.1497
193.155 | 2.1372e-14 | -10.1313

## Pulse
Temperature | Current | Time
0 | 0 | 0

## Measurements
Temperature | Current | Temp Rate
0 | 0 | 0