## Settings
Sample Info | so12ig, dot b5 glued, run 06
Comments | -10/+4/-10, 6 K/min
Additional Comments | rate 6 K/min
Major Measurement Parameters
Starting Temperature | 239.104
Initial Temperature | 80.5
Final Temperature | 450
Preliminary Voltage | -10
Pulse Voltage | 4
Pulse Time | 20
Wait Time | 0
Measurement Voltage | -10
Subsidiary Measurement Parameters
Step | 0.3
Accuracy Step | 0.1
Accuracy Stable | 1
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 6
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 5
Measurecount | 1
Time
Date | 12.4.2024
Clock | 13:18:36

## Stabilization
Temperature | Current | Temp Rate
238.807 | -1.636e-09 | 0
238.136 | -6.6691e-13 | -16.1893
237.785 | -4.3073e-13 | -16.2701
236.222 | -2.6339e-13 | -16.1059
235.869 | -2.1923e-13 | -16.153
235.489 | -1.8967e-13 | -16.2877
235.127 | -1.6108e-13 | -16.3308
234.773 | -1.5023e-13 | -16.3393
234.41 | -1.383e-13 | -16.3401
234.003 | -1.2771e-13 | -16.5092
233.643 | -1.2697e-13 | -19.0658
233.317 | -1.1996e-13 | -31.6852
232.966 | -1.1118e-13 | -45.0092
232.621 | -1.2152e-13 | -95.8004
232.273 | -1.0694e-13 | -151.1479
231.903 | -9.7359e-14 | -16.2979
231.534 | -8.9684e-14 | -16.3409
231.178 | -9.3817e-14 | -16.3508
230.816 | -9.2125e-14 | -370.7273
230.456 | -8.005e-14 | -16.3487
230.074 | -8.8772e-14 | -16.3696
229.716 | -8.5033e-14 | -16.371
229.362 | -7.5747e-14 | -16.3834
229.008 | -7.1741e-14 | -16.3773
228.643 | -7.8469e-14 | -16.4026
228.281 | -7.9533e-14 | -16.4109
227.914 | -6.4655e-14 | -16.4249
227.539 | -7.3927e-14 | -16.4502
227.164 | -7.1545e-14 | -16.4736
226.797 | -5.8387e-14 | -16.4854
226.423 | -6.2078e-14 | -16.5071
226.043 | -6.7143e-14 | -16.5439
225.669 | -6.0471e-14 | -16.5666
225.288 | -6.7893e-14 | -16.6019
224.943 | -6.3e-14 | -16.5817
224.542 | -7.0205e-14 | -16.6285
224.165 | -5.9659e-14 | -16.6503
223.824 | -6.823e-14 | -16.6322
223.444 | -6.0057e-14 | -16.6604
223.073 | -5.9746e-14 | -16.6779
222.7 | -5.9446e-14 | -16.6848
222.331 | -6.0195e-14 | -16.6936
221.963 | -5.6568e-14 | -16.7075
221.596 | -5.5486e-14 | -16.7069
221.225 | -5.7353e-14 | -16.7158
220.851 | -6.1792e-14 | -16.7255
220.485 | -4.3964e-14 | -16.727
220.102 | -4.3781e-14 | -16.7405
219.696 | -2.7143e-14 | -16.7765
219.294 | -4.0153e-14 | -16.8065
218.948 | -3.2463e-14 | -16.7968
218.568 | -4.3356e-14 | -16.8099
218.197 | -2.5437e-14 | -16.8161
217.825 | -4.3062e-14 | -16.8133
217.385 | -4.1204e-14 | -16.8549
217.039 | -3.1795e-14 | -16.8423
216.668 | -4.1806e-14 | -16.8498
216.296 | -4.7202e-14 | -16.8477
215.879 | -4.3017e-14 | -16.8828
215.483 | -3.2218e-14 | -16.9013
215.109 | -4.7945e-14 | -16.8958
214.695 | -4.2027e-14 | -16.9204
214.318 | -2.5613e-14 | -16.931
213.933 | -1.2122e-14 | -16.9404
213.559 | -4.2499e-14 | -16.9456
213.167 | -4.7354e-14 | -16.9641
212.753 | -3.4706e-14 | -16.9982
212.355 | -3.6505e-14 | -17.0081
211.958 | -3.5728e-14 | -17.0284
211.573 | -3.8911e-14 | -17.0299
211.165 | -3.843e-14 | -17.0463
210.733 | -3.7275e-14 | -17.0732
210.379 | -3.519e-14 | -17.067
209.969 | -2.3921e-14 | -17.0919
209.527 | -1.7671e-14 | -17.1319
209.048 | -2.7081e-14 | -17.1928
208.614 | 1.646e-15 | -17.231
208.178 | -2.6722e-14 | -17.2683
207.75 | -3.5791e-14 | -17.2933
207.298 | -2.6502e-14 | -17.333
206.9 | -3.4842e-14 | -17.3427
206.52 | -3.1251e-14 | -17.3148
206.082 | -3.1326e-14 | -17.3426
205.696 | -1.1888e-14 | -17.3475
205.316 | -3.1754e-14 | -17.349
204.919 | -2.431e-14 | -17.3586
204.524 | -3.6412e-14 | -17.3706
204.126 | -3.1348e-14 | -17.3772
203.745 | -2.6411e-14 | -17.3808
203.371 | -2.4336e-14 | -17.3835
202.977 | -1.7005e-14 | -17.3846
202.548 | -1.596e-14 | -17.4081
202.183 | 9.2469e-14 | -17.4044
201.764 | 7.3216e-14 | -17.4254
201.322 | 2.572e-14 | -17.4495
200.901 | 6.973e-15 | -17.4696
200.465 | 2.716e-15 | -17.498
200.067 | 1.604e-15 | -17.5062
199.657 | 6.229e-15 | -17.5147
199.23 | 4e-15 | -17.5338
198.817 | 4.23e-16 | -17.5472
198.423 | -4.76e-15 | -17.554
198.044 | -9.493e-15 | -17.5552
197.661 | 1.9551e-14 | -17.5573
197.236 | 9.2e-16 | -17.5783
196.802 | -2.0415e-14 | -17.6005
196.356 | -9.375e-15 | -17.6261
195.901 | 3.725e-15 | -17.657
195.46 | 6.323e-15 | -17.6764
194.998 | 1.4779e-14 | -17.6984
194.567 | 3.204e-15 | -17.714
194.088 | 1.384e-14 | -17.7492
193.659 | 2.0678e-14 | -17.7644
193.249 | 2.943e-15 | -17.7687
192.839 | 1.5657e-14 | -17.7488
192.422 | 1.6096e-14 | -17.7575
192.072 | 1.7823e-14 | -17.7402
191.702 | 2.692e-14 | -17.7328
191.363 | 1.8944e-14 | -17.713
191.029 | 2.3736e-14 | -17.6927
190.695 | 3.0009e-14 | -17.6729
190.339 | 5.3234e-14 | -17.6596
189.961 | 3.116e-14 | -17.6554
189.607 | 1.454e-14 | -17.6446
189.24 | 4.411e-14 | -17.6364
188.864 | 3.4247e-14 | -17.6324
188.491 | 5.8872e-14 | -17.629
188.032 | 2.5932e-14 | -17.6529
187.586 | 3.4698e-14 | -17.6724
187.138 | 3.5949e-14 | -17.6898
186.64 | 4.2719e-14 | -17.7246
186.193 | 4.4174e-14 | -17.7445
185.728 | 4.892e-14 | -17.7663
185.311 | 7.3133e-14 | -17.7768
184.867 | 5.7653e-14 | -17.7951
184.431 | 3.7856e-14 | -17.8087
184.052 | 5.3806e-14 | -17.8034
183.671 | 4.6579e-14 | -17.7992
183.305 | 1.0099e-13 | -17.7928
182.95 | 6.0463e-14 | -17.7842
182.576 | 7.5729e-14 | -17.7748
182.227 | 2.0134e-14 | -17.7629
181.876 | 1.2889e-14 | -17.749
181.526 | 9.3593e-14 | -17.7376
181.117 | 1.5394e-13 | -17.7413
180.714 | 7.322e-14 | -17.7475
180.314 | 1.8389e-14 | -17.7499
179.924 | 7.6899e-14 | -17.7486
179.527 | 1.0877e-13 | -17.7478
179.167 | 4.894e-14 | -17.7362
178.788 | 3.009e-14 | -17.7303
178.454 | 6.0377e-14 | -17.7149
178.13 | 1.0948e-13 | -17.6927
177.779 | 9.4955e-14 | -17.6808
177.448 | 1.025e-13 | -17.6636
177.117 | 7.0381e-14 | -17.6469
176.744 | 2.3483e-14 | -17.6408
176.407 | 2.0506e-14 | -17.6251
176.082 | 6.5515e-14 | -17.6063
175.723 | 8.188e-15 | -17.5979
175.395 | 2.7027e-14 | -17.5795
175.071 | 2.9194e-14 | -17.5624
174.711 | 6.5811e-14 | -17.5531
174.368 | 5.8886e-14 | -17.5405
174.043 | 7.5903e-14 | -17.522
173.701 | 7.149e-14 | -17.5101
173.387 | 6.5268e-14 | -17.4904
173.037 | 9.6518e-14 | -17.4757
172.713 | 6.3574e-14 | -17.4577
172.372 | 7.9821e-14 | -17.4446
172.039 | 7.3289e-14 | -17.4317
171.706 | 8.2357e-14 | -17.4193
171.361 | 6.0679e-14 | -17.407
170.973 | 9.1833e-14 | -17.4072
170.597 | 6.4537e-14 | -17.4069
170.225 | 6.2974e-14 | -17.4041
169.864 | 5.7071e-14 | -17.3975
169.445 | 7.7048e-14 | -17.4077
169.04 | 8.7917e-14 | -17.4105
168.668 | 1.6528e-13 | -17.4086
168.321 | 1.2114e-13 | -17.3989
167.964 | 1.5435e-14 | -17.3925
167.649 | 1.2927e-13 | -17.3744
167.344 | 3.2429e-14 | -17.3565
167.047 | 1.336e-13 | -17.3342
166.737 | 7.3836e-14 | -17.3145
166.452 | 3.913e-14 | -17.29
166.154 | 5.4367e-14 | -17.2699
165.88 | -2.0394e-14 | -17.2426
165.592 | 9.6023e-14 | -17.2192
165.32 | 7.7251e-14 | -17.1916
165.013 | 1.9459e-14 | -17.1685
164.749 | 4.6545e-14 | -17.1409
164.484 | 1.021e-13 | -17.1145
164.199 | 6.3416e-14 | -17.0921
163.936 | 7.971e-14 | -17.0659
163.678 | 9.9162e-14 | -17.0393
163.419 | 7.7527e-14 | -17.0135
163.142 | 8.2553e-14 | -16.9895
162.877 | 8.5076e-14 | -16.9645
162.588 | 7.2059e-14 | -16.9439
162.046 | 5.67e-15 | -16.9051
161.777 | 2.4793e-13 | -16.8816
160.53 | 1.5012e-13 | -16.7926
160.269 | -8.2643e-14 | -16.7664
159.994 | 3.6299e-14 | -16.7437
159.74 | 4.0005e-14 | -16.7181
159.462 | -5.5585e-14 | -16.6989
159.192 | 1.2334e-13 | -16.6782
158.902 | 1.3243e-13 | -16.6618
158.581 | 4.8095e-14 | -16.6523
158.261 | 3.4789e-14 | -16.6415
157.987 | 6.9511e-14 | -16.6214
157.703 | 8.9335e-14 | -16.6028
157.444 | 7.497e-15 | -16.5809
157.182 | 5.7946e-14 | -16.5592
156.919 | 4.6686e-14 | -16.5389
156.635 | 5.4949e-14 | -16.5221
156.383 | 3.1473e-14 | -16.5007
156.138 | 2.0176e-13 | -16.476
155.879 | 4.3323e-14 | -16.4528
155.642 | 4.6917e-14 | -16.4274
155.407 | 9.2946e-14 | -16.4029
155.159 | -2.6093e-14 | -16.3797
154.931 | 3.5256e-14 | -16.3533
154.706 | 4.6293e-14 | -16.3258
154.465 | 5.312e-15 | -16.3019
154.242 | 1.1347e-13 | -16.2749
154.007 | 8.7077e-14 | -16.25
153.79 | 4.5778e-14 | -16.2228
153.565 | 1.0097e-13 | -16.1978
153.321 | 7.9135e-14 | -16.1744
153.092 | 8.2302e-14 | -16.1498
152.851 | 7.7485e-14 | -16.1275
152.593 | 7.1597e-14 | -16.108
152.34 | 9.8786e-14 | -16.0856
152.102 | 5.9319e-14 | -16.0611
151.885 | 9.0138e-14 | -16.0346
151.657 | 7.0865e-14 | -16.009
151.44 | 4.5207e-14 | -15.983
151.202 | 7.4597e-14 | -15.9612
150.971 | 7.1131e-14 | -15.9388
150.661 | 6.4744e-14 | -15.9297
150.348 | 7.011e-14 | -15.9216
150 | 4.9361e-14 | -15.9208
149.683 | 5.1654e-14 | -15.9136
149.317 | 2.7935e-14 | -15.9143
148.855 | 8.4411e-14 | -15.9337
148.365 | 9.3324e-14 | -15.9571
147.838 | 7.8534e-14 | -15.9864
147.334 | 4.9154e-14 | -16.0115
146.833 | 6.5724e-14 | -16.036
146.442 | 7.4199e-14 | -16.0419
146.015 | 2.8445e-14 | -16.0532
145.615 | 1.2482e-13 | -16.0611
145.239 | 3.4206e-14 | -16.063
144.9 | 7.8775e-14 | -16.0593
144.573 | 4.2729e-14 | -16.0546
144.216 | 9.2681e-14 | -16.0548
143.827 | 2.0939e-14 | -16.059
143.418 | 6.2245e-14 | -16.0662
142.979 | 6.4951e-14 | -16.0762
142.505 | 6.627e-14 | -16.0951
142.04 | 1.4596e-14 | -16.1112
141.562 | 9.5268e-14 | -16.1306
141.098 | 9.4646e-14 | -16.1477
140.596 | 6.1831e-14 | -16.1701
140.074 | 8.6102e-14 | -16.197
139.479 | 8.9442e-14 | -16.2348
138.806 | 7.5806e-14 | -16.2825
138.293 | 6.6985e-14 | -16.3058
137.81 | 5.5546e-14 | -16.3248
137.415 | 8.1467e-14 | -16.3281
136.992 | 6.8121e-14 | -16.3375
136.603 | 6.685e-14 | -16.3411
136.161 | 6.7521e-14 | -16.3532
135.664 | 5.1179e-14 | -16.3742
135.085 | 5.841e-14 | -16.4077
134.427 | 7.6155e-14 | -16.453
133.771 | 8.4947e-14 | -16.4978
133.122 | 8.9533e-14 | -16.5409
132.381 | 9.7014e-14 | -16.5984
131.715 | 8.2473e-14 | -16.644
131 | 6.0165e-14 | -16.6959
130.425 | 7.4534e-14 | -16.7263
129.817 | 4.9341e-14 | -16.7624
129.282 | 2.6963e-14 | -16.7871
128.748 | 5.9317e-14 | -16.8113
128.205 | 7.5399e-14 | -16.8377
127.605 | 1.1219e-13 | -16.8714
126.933 | 8.5569e-14 | -16.9148
126.33 | 8.2251e-14 | -16.9488
125.603 | 3.5766e-13 | -16.9987
124.735 | -9.5456e-14 | -17.071
123.872 | -4.383e-15 | -17.1426
122.948 | 4.6835e-14 | -17.2218
121.975 | 1.1961e-13 | -17.3085
121.117 | 2.9792e-14 | -17.3791
120.404 | 9.8725e-14 | -17.4265
119.808 | 8.214e-14 | -17.4541
119.361 | 4.1037e-14 | -17.4625
119.035 | 6.1432e-14 | -17.4516
118.75 | 1.3015e-14 | -17.4361
118.527 | 2.1384e-13 | -17.412
118.322 | 1.481e-14 | -17.3853
118.109 | 1.0509e-13 | -17.3577
117.864 | 8.3011e-14 | -17.3364
117.39 | 7.6048e-14 | -17.3486
116.774 | 8.9042e-14 | -17.3801
116.017 | 8.0726e-14 | -17.4328
115.232 | 8.3573e-14 | -17.4877
114.413 | 8.3063e-14 | -17.5469
113.629 | 1.3335e-13 | -17.6013
112.99 | 8.0304e-14 | -17.6351
112.335 | 8.0462e-14 | -17.6691
111.657 | 7.0106e-14 | -17.7076
111.074 | 7.8329e-14 | -17.7331
110.511 | 2.7372e-14 | -17.7548
110.086 | 2.3051e-13 | -17.758
109.754 | 1.903e-13 | -17.748
109.471 | -8.0371e-14 | -17.7317
109.247 | 1.6084e-14 | -17.7074
109.073 | 2.8435e-13 | -17.6769
108.735 | 1.029e-14 | -17.6685
108.253 | 5.2091e-14 | -17.6802
107.654 | 5.2265e-14 | -17.7065
107.141 | 1.9629e-13 | -17.7221
106.483 | 1.2162e-13 | -17.754
105.823 | 1.0493e-13 | -17.7881
105.165 | 1.0036e-13 | -17.8224
104.628 | 1.9175e-13 | -17.8407
104.051 | -7.0212e-14 | -17.8627
103.44 | 1.3357e-13 | -17.8901
102.761 | 5.7332e-14 | -17.9273
101.844 | 7.9598e-14 | -17.9936
100.962 | 7.5054e-14 | -18.0548
100.084 | 6.9399e-14 | -18.1159
99.1779 | -1.2805e-13 | -18.1807
98.263 | 9.1729e-14 | -18.2466
97.2628 | 1.7535e-13 | -18.3225
96.2429 | 1.4595e-13 | -18.4009
95.1914 | 1.0409e-13 | -18.4828
94.2489 | -9.8848e-14 | -18.5507
93.6564 | 9.5367e-14 | -18.573
93.3767 | 8.7282e-14 | -18.5545
93.2148 | 1.084e-13 | -18.5211
93.1374 | -1.8606e-14 | -18.477
93.1218 | -2.0972e-14 | -18.4247
93.1592 | 2.4559e-14 | -18.3678
93.1987 | 4.0927e-14 | -18.3107
93.1212 | 6.8571e-14 | -18.2682
92.8009 | 7.1653e-14 | -18.257
91.7046 | 1.1511e-13 | -18.3419
90.7781 | 1.2821e-13 | -18.4056
89.0032 | 1.3685e-13 | -18.5739
87.9317 | 1.043e-13 | -18.6535
87.3074 | 1.0518e-13 | -18.6792
87.3663 | 8.4884e-14 | -18.6195
87.0322 | 8.6464e-14 | -18.6077
85.2309 | 1.0711e-13 | -18.7763
83.5257 | 1.1768e-13 | -18.9324
82.6778 | 9.8095e-14 | -18.9837
82.0401 | 6.4069e-14 | -19.0078
81.4981 | 7.9029e-14 | -19.0211
81.1819 | 7.0125e-14 | -19.0075
80.881 | 7.5347e-14 | -18.9916
80.7235 | 2.246e-15 | -18.9582
80.6725 | 7.052e-15 | -18.9122
80.6186 | 2.566e-14 | -18.8665
80.5626 | 1.3752e-14 | -18.8219
80.5531 | 5.4806e-14 | -18.7719
80.5172 | 6.8936e-14 | -18.7253
80.4944 | 9.8412e-14 | -18.6768

## Pulse
Temperature | Current | Time
80.4627 | 7.2924e-13 | 6.3051
80.3058 | 1.7844e-13 | 12.2432
80.1661 | 1.8107e-13 | 13.613
80.1494 | 1.5719e-13 | 14.9745
80.1177 | 1.4882e-13 | 16.3513
80.0824 | 1.3846e-13 | 17.7274
80.0541 | 1.2441e-13 | 19.1118

## Measurements
Temperature | Current | Temp Rate
80.0286 | -4.4466e-13 | 0
80.1618 | -3.0885e-13 | 0.78949
80.7799 | -3.3033e-13 | 4.8653
80.7504 | -3.2133e-13 | 4.0295
81.0701 | -2.2303e-13 | 4.7276
81.3756 | -2.1443e-13 | 5.4192
81.7049 | -1.8933e-13 | 6.1345
81.9805 | -1.8634e-13 | 6.6507
82.283 | -1.7389e-13 | 7.0863
82.5748 | -1.9322e-13 | 7.5222
82.8437 | -1.8173e-13 | 13.3368
83.1525 | -1.6556e-13 | 15.2735
83.4649 | -2.0272e-13 | 25.4781
83.7638 | -1.8718e-13 | 49.9649
84.0777 | -1.7143e-13 | 69.3491
84.3589 | -1.7758e-13 | 7.2438
84.6714 | -1.555e-13 | 7.2425
84.9917 | -1.1027e-13 | 5.8966
85.2723 | -1.215e-13 | 257.1765
85.5444 | -1.0601e-13 | 6.2193
85.8688 | -1.0567e-13 | 5.6228
86.194 | -1.3593e-13 | 5.8516
86.5272 | -9.3619e-14 | 5.9272
86.8513 | -8.5046e-14 | 5.7644
87.0922 | -9.8095e-14 | 5.9175
87.4193 | -1.0799e-13 | 5.4437
87.8577 | -1.2352e-13 | 5.6758
88.2245 | -1.449e-13 | 5.9061
88.4655 | -1.4274e-13 | 6.0517
88.7263 | -1.3442e-13 | 5.7969
89.0592 | -1.4529e-13 | 6.0165
89.3093 | -1.4883e-13 | 6.1139
89.5412 | -1.5995e-13 | 6.2473
89.7804 | -1.676e-13 | 6.3399
90.0892 | -1.37e-13 | 6.4524
90.3609 | -1.2182e-13 | 6.0573
90.6758 | -1.4189e-13 | 6.1377
90.9579 | -1.4559e-13 | 6.2139
91.3198 | -1.4272e-13 | 6.2827
91.5939 | -1.5082e-13 | 6.3811
91.94 | -1.4018e-13 | 6.5025
92.1747 | -1.4317e-13 | 6.5765
92.4719 | -2.233e-13 | 6.5292
92.7761 | -2.6304e-13 | 6.584
93.0609 | -2.693e-13 | 6.5757
93.3586 | -2.6585e-13 | 6.6078
93.6364 | -2.5524e-13 | 6.6411
93.9424 | -2.3203e-13 | 6.649
94.2515 | -2.3031e-13 | 6.5966
94.5563 | -2.1536e-13 | 6.5222
94.8622 | -1.8448e-13 | 6.3511
95.1678 | -1.7158e-13 | 6.3644
95.4589 | -1.6955e-13 | 6.3819
95.7427 | -1.7882e-13 | 6.301
96.0479 | -1.4234e-13 | 6.1395
96.3649 | -1.2249e-13 | 6.1401
96.6644 | -1.2463e-13 | 6.1673
96.9756 | -1.3289e-13 | 6.21
97.2615 | -1.3137e-13 | 6.2419
97.5731 | -1.2535e-13 | 6.2825
97.8837 | -1.0335e-13 | 6.3102
98.166 | -1.2677e-13 | 6.3408
98.4408 | -1.1348e-13 | 6.3616
98.7578 | -1.1791e-13 | 6.381
99.0538 | -1.2067e-13 | 6.4011
99.3502 | -1.1026e-13 | 6.4119
99.6487 | -7.1106e-14 | 6.4235
99.966 | -1.1475e-13 | 6.4321
100.26 | -1.1836e-13 | 6.4361
100.547 | -1.4296e-13 | 6.4389
100.856 | -1.2972e-13 | 6.4232
101.144 | -1.0816e-13 | 6.3713
101.449 | -8.0416e-14 | 6.3081
101.752 | -9.6285e-14 | 6.2495
102.052 | -9.7817e-14 | 6.1986
102.34 | -1.1771e-13 | 6.1567
102.656 | -1.0414e-13 | 6.1134
102.944 | -8.8233e-14 | 6.0815
103.258 | -8.9081e-14 | 6.0575
103.553 | -8.8056e-14 | 6.0464
103.849 | -9.1307e-14 | 6.0385
104.162 | -5.5334e-14 | 6.036
104.465 | -5.4679e-14 | 6.0386
104.747 | -7.6443e-14 | 6.0432
105.067 | -8.8284e-14 | 6.0497
105.351 | -1.0138e-13 | 6.0563
105.661 | -9.7567e-14 | 6.0602
105.955 | -7.0488e-14 | 6.064
106.241 | -7.3387e-14 | 6.0714
106.557 | -6.9906e-14 | 6.075
106.872 | -8.5238e-14 | 6.0801
107.154 | -6.0459e-14 | 6.0839
107.454 | -7.0219e-14 | 6.0878
107.759 | -6.4374e-14 | 6.0921
108.048 | -5.9964e-14 | 6.0993
108.342 | -4.1038e-14 | 6.1059
108.639 | -3.2304e-14 | 6.1122
108.969 | -1.1786e-14 | 6.1187
109.237 | -2.474e-15 | 6.1248
109.559 | -4.8008e-14 | 6.1282
109.879 | -3.4062e-14 | 6.1332
110.164 | -3.0722e-14 | 6.1385
110.459 | -3.0307e-14 | 6.143
110.737 | -4.2248e-14 | 6.1449
111.048 | -3.7054e-14 | 6.1473
111.353 | -2.4835e-14 | 6.1487
111.657 | -2.1071e-14 | 6.1501
111.959 | -2.3665e-14 | 6.1511
112.246 | -1.914e-14 | 6.1499
112.575 | 5.286e-15 | 6.1506
112.867 | -3.5455e-14 | 6.1494
113.158 | -2.583e-14 | 6.1482
113.445 | -2.1404e-14 | 6.1473
113.764 | -1.4426e-14 | 6.1458
114.05 | -1.7852e-14 | 6.1442
114.362 | -3.5844e-14 | 6.1399
114.645 | -6.064e-15 | 6.138
114.967 | -1.5922e-14 | 6.1346
115.247 | -1.6906e-14 | 6.1319
115.548 | -1.9568e-14 | 6.1298
115.858 | -1.1454e-14 | 6.1273
116.138 | -2.1674e-14 | 6.1242
116.448 | 3.995e-15 | 6.1204
116.756 | -1.7436e-14 | 6.1186
117.066 | -1.8796e-14 | 6.1153
117.348 | -5.561e-15 | 6.1139
117.665 | -2.4048e-14 | 6.1096
117.948 | -1.3234e-14 | 6.1074
118.253 | -2.0031e-14 | 6.1045
118.559 | -1.9323e-14 | 6.1021
118.872 | -9.588e-15 | 6.0981
119.142 | -2.3658e-14 | 6.0958
119.448 | -1.5941e-14 | 6.0933
119.754 | -7.754e-15 | 6.0905
120.061 | -6.233e-15 | 6.0865
120.344 | -1.8454e-14 | 6.086
120.656 | -5.299e-15 | 6.0841
120.941 | -1.2617e-14 | 6.0826
121.255 | -3.4558e-14 | 6.0806
121.576 | -8.045e-15 | 6.0801
121.863 | -1.7311e-14 | 6.0788
122.15 | -2.2833e-14 | 6.078
122.44 | -1.1252e-14 | 6.0779
122.758 | -2.2372e-14 | 6.077
123.047 | 2.269e-15 | 6.076
123.376 | 5.182e-15 | 6.0751
123.662 | -1.7208e-14 | 6.0744
123.953 | 6e-17 | 6.0745
124.242 | -2.7777e-14 | 6.0739
124.555 | -5.281e-15 | 6.0714
124.86 | -5.484e-15 | 6.0707
125.146 | -3.945e-15 | 6.0699
125.464 | -7.809e-15 | 6.0672
125.76 | -1.6042e-14 | 6.0658
126.039 | -1.589e-15 | 6.0638
126.336 | -1.1831e-14 | 6.0605
126.657 | -1.9809e-14 | 6.0552
126.951 | -1.2488e-14 | 6.0524
127.236 | -4.233e-15 | 6.0475
127.546 | -4.153e-15 | 6.0414
127.848 | 9.557e-15 | 6.0358
128.152 | 4.042e-15 | 6.028
128.447 | -1.0694e-14 | 6.0213
128.754 | -2.4335e-14 | 6.0129
129.042 | -2.005e-15 | 6.0058
129.352 | -8.215e-15 | 5.9982
129.663 | -6.047e-15 | 5.9896
129.947 | 8.294e-15 | 5.9832
130.247 | 9.679e-15 | 5.9768
130.558 | -4.524e-15 | 5.9724
130.846 | -3.46e-15 | 5.9705
131.148 | -2.3309e-14 | 5.9689
131.464 | -9.626e-15 | 5.9681
131.764 | 4.4e-15 | 5.9699
132.056 | 7.351e-15 | 5.9717
132.344 | -7.64e-15 | 5.9761
132.637 | -7.671e-15 | 5.98
132.942 | -2.5777e-14 | 5.985
133.252 | -1.2474e-14 | 5.9908
133.556 | -3.8196e-14 | 5.9955
133.864 | -4.177e-15 | 6.0007
134.15 | -5.978e-15 | 6.0062
134.458 | -1.5154e-14 | 6.0115
134.768 | -2.1262e-14 | 6.0168
135.04 | -1.1077e-14 | 6.021
135.356 | -2.6501e-14 | 6.0253
135.656 | -2.258e-15 | 6.0307
135.953 | 6.972e-15 | 6.0344
136.245 | -8.664e-15 | 6.0377
136.569 | -7.931e-15 | 6.0401
136.852 | -2.9384e-14 | 6.043
137.163 | -2.5372e-14 | 6.0452
137.437 | -1.2484e-14 | 6.0465
137.737 | -8.727e-15 | 6.047
138.063 | -1.8774e-14 | 6.0477
138.354 | -3.0335e-14 | 6.0474
138.642 | -1.5171e-14 | 6.0472
138.959 | -2.0966e-14 | 6.0457
139.244 | -3.9839e-14 | 6.0457
139.562 | -1.8311e-14 | 6.0453
139.847 | -1.5915e-14 | 6.0445
140.163 | 5.263e-15 | 6.0439
140.448 | -9.667e-15 | 6.0433
140.763 | -8.302e-15 | 6.0424
141.049 | -1.1628e-14 | 6.0419
141.364 | -1.0461e-14 | 6.041
141.651 | -9.441e-15 | 6.0403
141.948 | -3.048e-14 | 6.0397
142.265 | -1.8315e-14 | 6.0393
142.554 | 4.535e-15 | 6.0388
142.845 | 1.22e-16 | 6.0393
143.165 | -2.3325e-14 | 6.0391
143.455 | -1.333e-15 | 6.0389
143.754 | -1.7797e-14 | 6.0382
144.065 | 8.037e-15 | 6.0384
144.357 | -1.222e-14 | 6.0383
144.657 | -1.8098e-14 | 6.0385
144.959 | 5.502e-15 | 6.0385
145.261 | -2.6083e-14 | 6.0378
145.552 | -2.1429e-14 | 6.038
145.864 | -4.0636e-14 | 6.0379
146.145 | -4.4673e-14 | 6.038
146.447 | -4.2709e-14 | 6.0376
146.736 | -5.6767e-14 | 6.0379
147.068 | -2.211e-15 | 6.0376
147.358 | 1.5009e-14 | 6.0374
147.65 | -4.208e-15 | 6.0379
147.941 | -2.423e-15 | 6.0377
148.259 | -1.4475e-14 | 6.0371
148.553 | -2.32e-14 | 6.0361
148.84 | -9.906e-15 | 6.0363
149.158 | -1.6881e-14 | 6.0359
149.445 | -7.864e-15 | 6.0352
149.773 | -4.5802e-14 | 6.0347
150.062 | -4.6233e-14 | 6.0343
150.362 | -1.4672e-13 | 6.0337
150.65 | -2.5957e-13 | 6.0342
150.951 | -4.6707e-14 | 6.0345
151.251 | -3.1702e-14 | 6.0343
151.545 | -3.88e-15 | 6.0342
151.846 | -3.6333e-14 | 6.0346
152.139 | 1.75e-15 | 6.0344
152.45 | -1.0506e-14 | 6.0339
152.77 | -1.0232e-14 | 6.0339
153.064 | -4.084e-15 | 6.034
153.355 | 5.098e-15 | 6.0343
153.648 | 1.1993e-14 | 6.0342
153.949 | -8.274e-15 | 6.0345
154.269 | -1.9961e-14 | 6.0338
154.56 | -1.5316e-14 | 6.0334
154.851 | 2.1224e-14 | 6.0334
155.172 | -2.231e-15 | 6.0336
155.462 | 1.856e-15 | 6.0341
155.751 | -3.1643e-14 | 6.0337
156.043 | -2.4828e-14 | 6.0335
156.375 | -1.7313e-14 | 6.0332
156.665 | -1.7559e-14 | 6.0336
156.962 | -2.7047e-14 | 6.0329
157.262 | -1.8842e-14 | 6.0329
157.552 | 2.1742e-14 | 6.033
157.842 | -3.233e-14 | 6.033
158.16 | 4.108e-15 | 6.0323
158.45 | 2.419e-15 | 6.0319
158.741 | -3.3285e-14 | 6.0325
159.059 | -3.541e-15 | 6.0321
159.359 | -9.518e-15 | 6.0317
159.646 | -3.46e-16 | 6.0313
159.961 | -1.1128e-14 | 6.0307
160.248 | -3.6359e-14 | 6.0308
160.537 | 9.538e-15 | 6.0305
160.853 | 2.0367e-14 | 6.0303
161.151 | 1.929e-15 | 6.0297
161.443 | -3.2361e-14 | 6.03
161.771 | -2.0318e-14 | 6.0295
162.062 | -5.947e-15 | 6.0297
162.353 | -2.6815e-14 | 6.0297
162.654 | -1.2904e-14 | 6.0291
162.944 | -2.1197e-14 | 6.0294
163.237 | -1.9229e-14 | 6.0294
163.539 | -2.4976e-14 | 6.0294
163.839 | -1.1788e-14 | 6.0296
164.172 | -3.9448e-14 | 6.0293
164.465 | -1.9857e-14 | 6.0298
164.766 | -1.9857e-14 | 6.0294
165.056 | -2.63e-15 | 6.0293
165.347 | -4.349e-15 | 6.029
165.636 | 9.564e-15 | 6.0292
165.956 | -2.0704e-14 | 6.029
166.257 | 8.693e-15 | 6.0292
166.557 | -2.3645e-14 | 6.0289
166.848 | -2.2136e-14 | 6.0286
167.167 | -6.349e-15 | 6.0286
167.457 | 1.1974e-14 | 6.0289
167.746 | 9.452e-15 | 6.0285
168.047 | -1.0416e-14 | 6.0282
168.366 | -3.5131e-14 | 6.0281
168.656 | -4.549e-15 | 6.028
168.946 | -2.6718e-14 | 6.028
169.248 | -3.66e-15 | 6.0279
169.557 | -2.86e-16 | 6.0279
169.857 | -1.9994e-14 | 6.0282
170.146 | -3.2162e-13 | 6.0276
170.446 | -4.4438e-14 | 6.0276
170.768 | -3.1692e-14 | 6.0273
171.058 | -2.6509e-14 | 6.0277
171.348 | -1.68e-15 | 6.0277
171.665 | -9.79e-16 | 6.0273
171.951 | -3.5385e-14 | 6.0268
172.247 | -1.98e-15 | 6.0265
172.564 | -2.398e-15 | 6.0265
172.863 | -3.1776e-14 | 6.026
173.152 | 2.54e-16 | 6.026
173.44 | -5.4826e-14 | 6.0257
173.762 | -1.4857e-14 | 6.0258
174.054 | -5.18e-15 | 6.0257
174.353 | -2.6864e-14 | 6.0253
174.644 | -7.547e-15 | 6.0256
174.936 | 1.7137e-14 | 6.0258
175.257 | -5.514e-15 | 6.0257
175.559 | -2.3429e-14 | 6.026
175.85 | -1.9732e-14 | 6.0259
176.139 | 9.051e-15 | 6.0254
176.472 | -2.395e-14 | 6.0253
176.762 | -5.4803e-14 | 6.0253
177.053 | 1.8746e-14 | 6.0256
177.344 | -8.243e-15 | 6.0256
177.664 | -1.5768e-14 | 6.0256
177.953 | -1.4894e-14 | 6.0249
178.274 | -2.1263e-14 | 6.025
178.563 | -2.1175e-14 | 6.0253
178.855 | -4.653e-15 | 6.0251
179.155 | -7.448e-15 | 6.0248
179.444 | -6.28e-15 | 6.0251
179.764 | -3.1478e-14 | 6.0249
180.064 | -3.3619e-14 | 6.0244
180.355 | -1.2659e-14 | 6.0247
180.655 | -2.786e-15 | 6.0243
180.945 | -3.99e-15 | 6.0246
181.244 | -4.968e-15 | 6.0246
181.574 | -3.285e-15 | 6.0242
181.843 | -6.818e-15 | 6.0244
182.163 | -2.9345e-14 | 6.0242
182.463 | -2.1559e-14 | 6.0237
182.754 | 1.158e-15 | 6.0242
183.042 | -1.093e-15 | 6.024
183.363 | -2.7646e-14 | 6.0238
183.662 | -1.8573e-14 | 6.0235
183.954 | -8.78e-15 | 6.024
184.242 | 1.7071e-14 | 6.0237
184.56 | -1.7699e-14 | 6.0235
184.849 | -1.037e-14 | 6.0233
185.147 | -6.1672e-14 | 6.0229
185.462 | 3.152e-15 | 6.0226
185.763 | -3.6973e-14 | 6.0226
186.051 | 3.056e-15 | 6.0229
186.34 | 1.4881e-14 | 6.0225
186.661 | -3.3134e-14 | 6.0224
186.961 | -2.5271e-14 | 6.0226
187.253 | -3.1163e-14 | 6.0224
187.554 | -1.7076e-14 | 6.0221
187.854 | -2.5445e-14 | 6.0225
188.144 | 8.63e-15 | 6.0223
188.447 | -3.4252e-14 | 6.0226
188.738 | -1.2922e-14 | 6.0224
189.059 | 2.0361e-14 | 6.0223
189.36 | -2.972e-14 | 6.0224
189.662 | -1.7097e-14 | 6.0226
189.963 | -3.5322e-14 | 6.0223
190.254 | -1.9799e-14 | 6.0221
190.544 | -2.7492e-14 | 6.0224
190.846 | 4.463e-15 | 6.0226
191.175 | -3.0721e-14 | 6.0222
191.465 | -2.0276e-14 | 6.0224
191.757 | -4.3522e-14 | 6.0223
192.056 | -2.2245e-14 | 6.0219
192.344 | -1.9101e-14 | 6.0221
192.646 | -3.2705e-14 | 6.0219
192.936 | -1.209e-15 | 6.0222
193.255 | -5.0878e-14 | 6.0216
193.547 | -1.5215e-14 | 6.022
193.865 | -1.2e-17 | 6.0217
194.165 | -3.6823e-14 | 6.0216
194.455 | -3.7225e-14 | 6.0218
194.746 | -9.667e-15 | 6.0217
195.065 | -5.2784e-14 | 6.0217
195.356 | -3.6011e-14 | 6.0217
195.646 | -4.2723e-14 | 6.0214
195.945 | -1.4349e-14 | 6.0211
196.236 | -6.2059e-14 | 6.0212
196.536 | -5.5161e-14 | 6.0214
196.867 | -1.6043e-14 | 6.0212
197.158 | -3.8524e-14 | 6.0214
197.456 | -2.7911e-14 | 6.0211
197.748 | -4.063e-14 | 6.0214
198.038 | -2.0953e-14 | 6.0211
198.337 | -4.2333e-14 | 6.0211
198.666 | -4.1138e-14 | 6.0207
198.951 | -4.1725e-14 | 6.0206
199.239 | -3.4777e-14 | 6.0204
199.566 | -5.8426e-14 | 6.02
199.853 | -4.5041e-14 | 6.0198
200.143 | -4.6523e-14 | 6.0199
200.473 | -6.5573e-14 | 6.0198
200.762 | -3.6595e-14 | 6.0201
201.054 | -4.1465e-14 | 6.0199
201.355 | -6.0678e-14 | 6.0198
201.648 | -5.0508e-14 | 6.0198
201.968 | -3.6166e-14 | 6.0198
202.26 | -5.7556e-14 | 6.0201
202.562 | -4.3552e-14 | 6.0197
202.854 | -4.5162e-14 | 6.0201
203.157 | -5.0622e-14 | 6.0203
203.448 | -5.5002e-14 | 6.0202
203.739 | -2.3256e-14 | 6.0201
204.039 | -6.5486e-14 | 6.0202
204.362 | -5.138e-14 | 6.0202
204.662 | -5.553e-14 | 6.0203
204.962 | -6.5101e-14 | 6.0201
205.252 | -6.3641e-14 | 6.0202
205.544 | -5.8281e-14 | 6.02
205.843 | -5.9583e-14 | 6.02
206.173 | -7.8192e-14 | 6.0199
206.464 | -6.717e-14 | 6.0197
206.754 | -7.2212e-14 | 6.0199
207.057 | -7.6916e-14 | 6.0197
207.362 | -5.9562e-14 | 6.0202
207.664 | -8.8402e-14 | 6.0197
207.936 | -8.9115e-14 | 6.0199
208.256 | -8.5238e-14 | 6.0198
208.553 | -8.5294e-14 | 6.0194
208.84 | -9.1467e-14 | 6.0194
209.171 | -9.4445e-14 | 6.0192
209.456 | -9.9123e-14 | 6.0189
209.761 | -1.0023e-13 | 6.0194
210.057 | -1.1033e-13 | 6.0195
210.361 | -9.0236e-14 | 6.0198
210.648 | -1.0616e-13 | 6.0196
210.973 | -1.0965e-13 | 6.019
211.26 | -1.0839e-13 | 6.0191
211.555 | -1.1516e-13 | 6.0193
211.861 | -1.1557e-13 | 6.0194
212.163 | -1.2816e-13 | 6.0191
212.449 | -1.1689e-13 | 6.0192
212.753 | -1.4572e-13 | 6.0196
213.055 | -1.4075e-13 | 6.0194
213.345 | -1.4409e-13 | 6.0195
213.662 | -1.4275e-13 | 6.0192
213.956 | -1.5341e-13 | 6.019
214.252 | -1.4772e-13 | 6.0185
214.539 | -1.6595e-13 | 6.0185
214.868 | -1.6331e-13 | 6.0183
215.161 | -1.5508e-13 | 6.0185
215.464 | -1.7866e-13 | 6.0187
215.765 | -1.7693e-13 | 6.0185
216.057 | -1.8657e-13 | 6.0188
216.356 | -1.6886e-13 | 6.0184
216.656 | -1.7216e-13 | 6.0183
216.953 | -1.9611e-13 | 6.0183
217.276 | -1.9694e-13 | 6.0184
217.538 | -2.1164e-13 | 6.0184
217.869 | -2.1373e-13 | 6.0184
218.163 | -2.0517e-13 | 6.0186
218.436 | -2.2812e-13 | 6.0188
218.739 | -2.2918e-13 | 6.0189
219.073 | -2.2227e-13 | 6.0188
219.375 | -2.2828e-13 | 6.0188
219.666 | -2.3354e-13 | 6.019
219.962 | -2.4657e-13 | 6.0188
220.26 | -2.5962e-13 | 6.0184
220.557 | -2.7104e-13 | 6.0184
220.846 | -2.6982e-13 | 6.0182
221.176 | -2.7772e-13 | 6.0182
221.463 | -2.7621e-13 | 6.0182
221.762 | -2.8043e-13 | 6.0179
222.051 | -3.0489e-13 | 6.0181
222.351 | -2.9729e-13 | 6.0177
222.64 | -3.1137e-13 | 6.0178
222.941 | -3.3269e-13 | 6.0181
223.27 | -3.2707e-13 | 6.0177
223.559 | -3.323e-13 | 6.0178
223.861 | -3.3898e-13 | 6.0175
224.162 | -3.5208e-13 | 6.0175
224.462 | -3.5112e-13 | 6.0174
224.763 | -3.6594e-13 | 6.0176
225.051 | -3.7161e-13 | 6.0173
225.343 | -3.7672e-13 | 6.0177
225.661 | -3.8625e-13 | 6.0175
225.962 | -3.9176e-13 | 6.0176
226.266 | -3.991e-13 | 6.0176
226.555 | -4.085e-13 | 6.0176
226.857 | -4.2304e-13 | 6.0173
227.155 | -4.2964e-13 | 6.0174
227.446 | -4.3472e-13 | 6.0175
227.746 | -4.4957e-13 | 6.0173
228.044 | -4.5557e-13 | 6.0173
228.358 | -4.585e-13 | 6.0172
228.656 | -4.631e-13 | 6.0168
228.946 | -4.6243e-13 | 6.017
229.263 | -4.7783e-13 | 6.0167
229.559 | -4.8736e-13 | 6.0164
229.848 | -5.0202e-13 | 6.0165
230.16 | -5.0524e-13 | 6.0162
230.448 | -5.119e-13 | 6.0164
230.749 | -5.197e-13 | 6.0165
231.052 | -5.235e-13 | 6.0166
231.354 | -5.2968e-13 | 6.0164
231.646 | -5.3724e-13 | 6.0166
231.948 | -5.4509e-13 | 6.0165
232.24 | -5.5283e-13 | 6.0168
232.574 | -5.6068e-13 | 6.0167
232.865 | -5.6729e-13 | 6.0169
233.165 | -5.7023e-13 | 6.0166
233.465 | -5.7701e-13 | 6.0167
233.754 | -5.7773e-13 | 6.0168
234.053 | -5.728e-13 | 6.0165
234.342 | -5.9297e-13 | 6.0165
234.641 | -5.9312e-13 | 6.0166
234.94 | -5.9793e-13 | 6.0164
235.241 | -5.9883e-13 | 6.0165
235.538 | -5.9648e-13 | 6.0164
235.838 | -5.9912e-13 | 6.0164
236.169 | -5.9703e-13 | 6.0161
236.457 | -5.9953e-13 | 6.0162
236.758 | -6.0043e-13 | 6.0162
237.056 | -5.9641e-13 | 6.0159
237.346 | -5.9246e-13 | 6.0161
237.646 | -5.9822e-13 | 6.0158
237.965 | -5.9911e-13 | 6.0159
238.238 | -5.7964e-13 | 6.0161
238.559 | -5.8101e-13 | 6.0159
238.859 | -5.7334e-13 | 6.0161
239.161 | -5.6327e-13 | 6.0159
239.453 | -5.7006e-13 | 6.0161
239.754 | -5.6747e-13 | 6.016
240.075 | -5.5947e-13 | 6.016
240.377 | -5.5374e-13 | 6.016
240.665 | -5.801e-13 | 6.0158
240.966 | -5.5869e-13 | 6.0158
241.257 | -5.3954e-13 | 6.016
241.557 | -5.3948e-13 | 6.016
241.856 | -5.1732e-13 | 6.0158
242.155 | -5.336e-13 | 6.0157
242.441 | -5.3379e-13 | 6.0158
242.763 | -5.2015e-13 | 6.0157
243.062 | -5.1322e-13 | 6.0154
243.35 | -5.0595e-13 | 6.0155
243.651 | -5.1064e-13 | 6.0154
243.948 | -5.0141e-13 | 6.0153
244.265 | -4.9253e-13 | 6.015
244.562 | -4.7288e-13 | 6.015
244.852 | -4.6492e-13 | 6.0152
245.152 | -4.6294e-13 | 6.015
245.44 | -4.5108e-13 | 6.015
245.738 | -4.749e-13 | 6.015
246.058 | -4.4827e-13 | 6.0148
246.363 | -4.4016e-13 | 6.0149
246.662 | -4.1053e-13 | 6.0148
246.974 | -4.0137e-13 | 6.0149
247.236 | -3.8878e-13 | 6.015
247.537 | -3.8266e-13 | 6.0151
247.868 | -3.6752e-13 | 6.015
248.161 | -3.5146e-13 | 6.0151
248.461 | -3.4013e-13 | 6.015
248.763 | -3.3434e-13 | 6.0151
249.055 | -3.4621e-13 | 6.0153
249.348 | -3.3789e-13 | 6.0152
249.649 | -3.1949e-13 | 6.0153
249.95 | -3.0272e-13 | 6.0152
250.24 | -2.9675e-13 | 6.0153
250.542 | -2.9252e-13 | 6.0153
250.847 | -2.8612e-13 | 6.0155
251.146 | -2.8825e-13 | 6.0154
251.447 | -2.7941e-13 | 6.0153
251.739 | -2.735e-13 | 6.0154
252.037 | -2.7304e-13 | 6.0154
252.368 | -2.6437e-13 | 6.0153
252.662 | -2.6364e-13 | 6.0154
252.961 | -2.5041e-13 | 6.0154
253.26 | -2.6217e-13 | 6.0152
253.562 | -2.6008e-13 | 6.0151
253.862 | -2.3905e-13 | 6.0151
254.149 | -2.2688e-13 | 6.0153
254.447 | -2.4795e-13 | 6.015
254.749 | -2.1465e-13 | 6.015
255.049 | -2.0981e-13 | 6.015
255.336 | -2.1098e-13 | 6.015
255.636 | -2.0313e-13 | 6.0148
255.955 | -1.9591e-13 | 6.0148
256.246 | -1.9929e-13 | 6.015
256.536 | -1.9964e-13 | 6.0148
256.866 | -1.5896e-13 | 6.0147
257.164 | -1.8841e-13 | 6.0146
257.452 | -1.6821e-13 | 6.0146
257.755 | -1.5524e-13 | 6.0145
258.053 | -1.6177e-13 | 6.0146
258.344 | -1.6116e-13 | 6.0147
258.672 | -1.4297e-13 | 6.0144
258.956 | -1.4349e-13 | 6.0144
259.254 | -1.5187e-13 | 6.0141
259.56 | -2.8369e-13 | 6.0143
259.86 | -2.2215e-13 | 6.0142
260.166 | -2.267e-13 | 6.0143
260.449 | -2.232e-13 | 6.0142
260.746 | -1.9456e-13 | 6.0141
261.049 | -1.6911e-13 | 6.0144
261.353 | -1.5071e-13 | 6.0141
261.645 | -1.3131e-13 | 6.014
261.959 | -1.8095e-13 | 6.0138
262.256 | -1.4535e-13 | 6.0138
262.555 | -1.2772e-13 | 6.0137
262.856 | -1.2629e-13 | 6.0137
263.156 | -1.0763e-13 | 6.0138
263.458 | -1.1282e-13 | 6.0135
263.747 | -1.2519e-13 | 6.0136
264.058 | -1.3095e-13 | 6.0136
264.351 | -1.0177e-13 | 6.0138
264.655 | -9.4117e-14 | 6.0139
264.955 | -9.1388e-14 | 6.0138
265.256 | -9.0765e-14 | 6.0137
265.558 | -8.0117e-14 | 6.0139
265.857 | -7.9923e-14 | 6.0138
266.16 | -7.6977e-14 | 6.0137
266.461 | -7.3451e-14 | 6.0137
266.753 | -8.6622e-14 | 6.0139
267.054 | -8.233e-14 | 6.014
267.355 | -8.0897e-14 | 6.014
267.657 | -8.2573e-14 | 6.014
267.961 | -7.8854e-14 | 6.0141
268.262 | -8.4997e-14 | 6.0142
268.566 | -8.1598e-14 | 6.014
268.869 | -8.1368e-14 | 6.0141
269.169 | -7.6396e-14 | 6.0141
269.44 | -7.5766e-14 | 6.0144
269.743 | -7.4394e-14 | 6.0145
270.074 | -8.7e-14 | 6.0141
270.366 | -9.2077e-14 | 6.0143
270.646 | -8.8981e-14 | 6.0143
270.977 | -9.4544e-14 | 6.0143
271.236 | -9.6258e-14 | 6.0143
271.537 | -9.752e-14 | 6.0144
271.866 | -1.0226e-13 | 6.0142
272.137 | -9.6364e-14 | 6.0143
272.457 | -8.4684e-14 | 6.014
272.759 | -8.8654e-14 | 6.014
273.05 | -9.5895e-14 | 6.0135
273.354 | -9.6983e-14 | 6.0136
273.673 | -8.8023e-14 | 6.0133
273.939 | -9.1045e-14 | 6.0136
274.246 | -8.9927e-14 | 6.0139
274.549 | -9.945e-14 | 6.0136
274.848 | -9.707e-14 | 6.0138
275.149 | -9.1907e-14 | 6.0138
275.448 | -8.6817e-14 | 6.0137
275.743 | -8.6058e-14 | 6.0136
276.04 | -7.8581e-14 | 6.0135
276.34 | -8.4933e-14 | 6.0134
276.638 | -7.386e-14 | 6.0134
276.936 | -7.4798e-14 | 6.0133
277.263 | -7.1721e-14 | 6.013
277.551 | -6.5664e-14 | 6.0128
277.85 | -7.1207e-14 | 6.0125
278.153 | -6.5638e-14 | 6.0127
278.439 | -7.155e-14 | 6.0126
278.739 | -6.5477e-14 | 6.0127
279.042 | -6.2845e-14 | 6.0128
279.361 | -5.7973e-14 | 6.0126
279.66 | -6.333e-14 | 6.0127
279.958 | -6.1998e-14 | 6.0124
280.248 | -6.0279e-14 | 6.0125
280.548 | -4.8524e-14 | 6.0125
280.845 | -5.4404e-14 | 6.0124
281.147 | -5.5718e-14 | 6.0125
281.446 | -5.3066e-14 | 6.0122
281.737 | -6.3301e-14 | 6.0123
282.038 | -6.1423e-14 | 6.0123
282.338 | -6.589e-14 | 6.0124
282.637 | -6.2664e-14 | 6.0124
282.96 | -6.0288e-14 | 6.0123
283.259 | -6.0376e-14 | 6.0123
283.571 | -4.778e-14 | 6.0122
283.861 | -5.31e-14 | 6.0123
284.161 | -5.2199e-14 | 6.0123
284.461 | -5.3635e-14 | 6.0122
284.762 | -5.9876e-14 | 6.0121
285.061 | -4.8129e-14 | 6.0122
285.36 | -5.6525e-14 | 6.0123
285.669 | -5.334e-14 | 6.0121
285.96 | -5.4616e-14 | 6.0122
286.262 | -4.5636e-14 | 6.0123
286.562 | -4.9521e-14 | 6.0121
286.862 | -5.011e-14 | 6.0122
287.162 | -6.4749e-14 | 6.0122
287.442 | -5.3495e-14 | 6.0123
287.762 | -5.466e-14 | 6.0121
288.061 | -5.2298e-14 | 6.0121
288.362 | -5.3017e-14 | 6.0121
288.662 | -5.0693e-14 | 6.0121
288.962 | -5.2423e-14 | 6.012
289.253 | -4.9194e-14 | 6.0121
289.552 | -5.8388e-14 | 6.012
289.852 | -5.0127e-14 | 6.012
290.153 | -4.7457e-14 | 6.0121
290.452 | -5.2088e-14 | 6.012
290.751 | -4.6928e-14 | 6.012
291.053 | -5.6165e-14 | 6.0118
291.351 | -4.7336e-14 | 6.0118
291.652 | -4.2506e-14 | 6.0118
291.951 | -4.7284e-14 | 6.0117
292.252 | -4.4839e-14 | 6.012
292.551 | -4.6865e-14 | 6.0117
292.851 | -3.805e-14 | 6.0116
293.151 | -4.4269e-14 | 6.0116
293.452 | -3.6702e-14 | 6.0119
293.752 | -4.884e-14 | 6.0119
294.053 | -4.7525e-14 | 6.0118
294.351 | -5.3939e-14 | 6.0117
294.651 | -4.3398e-14 | 6.0118
294.951 | -4.3562e-14 | 6.0115
295.252 | -4.5579e-14 | 6.0114
295.552 | -4.7861e-14 | 6.0118
295.851 | -3.9776e-14 | 6.0115
296.151 | -5.9961e-14 | 6.0115
296.451 | -4.633e-14 | 6.0115
296.751 | -4.3266e-14 | 6.0114
297.052 | -4.5545e-14 | 6.0114
297.351 | -4.2352e-14 | 6.0114
297.651 | -4.4804e-14 | 6.0114
297.951 | -5.3516e-14 | 6.0116
298.251 | -5.1679e-14 | 6.0114
298.559 | -4.7098e-14 | 6.0113
298.858 | -4.4218e-14 | 6.0114
299.157 | -5.1549e-14 | 6.0114
299.453 | -4.4717e-14 | 6.0112
299.763 | -4.8855e-14 | 6.0112
300.062 | -4.8686e-14 | 6.0111
300.363 | -5.0855e-14 | 6.0111
300.664 | -4.7652e-14 | 6.0111
300.954 | -6.6602e-14 | 6.0112
301.255 | -5.3902e-14 | 6.0111
301.567 | -5.0264e-14 | 6.0111
301.838 | -4.252e-14 | 6.0113
302.167 | -5.4719e-14 | 6.0112
302.458 | -5.4908e-14 | 6.0112
302.759 | -5.4202e-14 | 6.0112
303.061 | -5.0972e-14 | 6.0113
303.359 | -5.3363e-14 | 6.0112
303.661 | -5.8202e-14 | 6.0112
303.962 | -5.113e-14 | 6.0113
304.263 | -4.6353e-14 | 6.0113
304.562 | -5.4258e-14 | 6.0112
304.862 | -4.7203e-14 | 6.0112
305.172 | -4.9619e-14 | 6.0111
305.462 | -5.5222e-14 | 6.0112
305.741 | -6.1601e-14 | 6.0111
306.042 | -5.014e-14 | 6.0112
306.342 | -5.4215e-14 | 6.0111
306.642 | -5.779e-14 | 6.0112
306.971 | -5.2999e-14 | 6.011
307.241 | -5.0844e-14 | 6.0111
307.541 | -5.6437e-14 | 6.011
307.841 | -4.7993e-14 | 6.011
308.151 | -4.1054e-14 | 6.0109
308.452 | -5.361e-14 | 6.0109
308.741 | -4.7985e-14 | 6.011
309.042 | -5.3941e-14 | 6.011
309.371 | -5.5972e-14 | 6.0108
309.64 | -5.5453e-14 | 6.011
309.96 | -5.5469e-14 | 6.0109
310.262 | -5.4786e-14 | 6.0109
310.56 | -5.2871e-14 | 6.0109
310.841 | -5.5411e-14 | 6.0109
311.171 | -5.6608e-14 | 6.0107
311.472 | -5.2438e-14 | 6.0108
311.772 | -5.0763e-14 | 6.0107
312.072 | -5.3405e-14 | 6.0107
312.361 | -5.0383e-14 | 6.0107
312.671 | -5.9379e-14 | 6.0107
312.971 | -5.2713e-14 | 6.0106
313.241 | -4.6165e-14 | 6.0108
313.55 | -4.5365e-14 | 6.0106
313.852 | -4.9485e-14 | 6.0108
314.151 | -5.2603e-14 | 6.0106
314.461 | -4.6727e-14 | 6.0107
314.762 | -5.2603e-14 | 6.0107
315.063 | -4.8115e-14 | 6.0107
315.371 | -4.7479e-14 | 6.0105
315.641 | -4.9776e-14 | 6.0107
315.942 | -5.2883e-14 | 6.0107
316.271 | -4.641e-14 | 6.0105
316.571 | -4.3267e-14 | 6.0105
316.841 | -4.5676e-14 | 6.0106
317.14 | -4.6533e-14 | 6.0105
317.44 | -4.6908e-14 | 6.0104
317.751 | -5.1369e-14 | 6.0104
318.051 | -5.302e-14 | 6.0104
318.351 | -5.0157e-14 | 6.0103
318.651 | -5.8365e-14 | 6.0104
318.949 | -4.9724e-14 | 6.0104
319.251 | -4.7813e-14 | 6.0105
319.55 | -4.7692e-14 | 6.0104
319.851 | -4.8542e-14 | 6.0104
320.16 | -5.3395e-14 | 6.0104
320.448 | -3.9544e-14 | 6.0103
320.756 | -5.0794e-14 | 6.0102
321.054 | -4.7093e-14 | 6.0101
321.354 | -4.7246e-14 | 6.0101
321.664 | -4.4071e-14 | 6.0101
321.963 | -4.6131e-14 | 6.01
322.265 | -5.3923e-14 | 6.01
322.565 | -5.346e-14 | 6.01
322.867 | -4.8948e-14 | 6.0101
323.137 | -4.4761e-14 | 6.0102
323.448 | -5.026e-14 | 6.0101
323.748 | -5.186e-14 | 6.01
324.049 | -5.1437e-14 | 6.0102
324.35 | -4.6358e-14 | 6.0102
324.65 | -5.5229e-14 | 6.0101
324.95 | -5.3779e-14 | 6.0102
325.249 | -5.2446e-14 | 6.0101
325.552 | -5.8448e-14 | 6.0102
325.861 | -5.4559e-14 | 6.01
326.161 | -5.0213e-14 | 6.01
326.462 | -5.2895e-14 | 6.01
326.761 | -5.7694e-14 | 6.0101
327.07 | -6.1401e-14 | 6.01
327.34 | -5.7387e-14 | 6.0101
327.67 | -6.3072e-14 | 6.0099
327.94 | -5.4062e-14 | 6.01
328.24 | -5.2036e-14 | 6.01
328.542 | -5.4758e-14 | 6.0101
328.838 | -5.685e-14 | 6.0099
329.15 | -4.4903e-14 | 6.0099
329.451 | -5.6286e-14 | 6.0099
329.749 | -5.6362e-14 | 6.0098
330.051 | -5.1722e-14 | 6.01
330.351 | -5.9527e-14 | 6.0099
330.65 | -6.0093e-14 | 6.0099
330.961 | -6.092e-14 | 6.0098
331.261 | -6.0141e-14 | 6.0099
331.562 | -6.0485e-14 | 6.0098
331.86 | -6.1652e-14 | 6.0098
332.16 | -6.0095e-14 | 6.0099
332.46 | -6.4805e-14 | 6.0099
332.76 | -6.0686e-14 | 6.0098
333.061 | -6.5195e-14 | 6.0098
333.361 | -6.4478e-14 | 6.0098
333.671 | -6.3507e-14 | 6.0097
333.97 | -6.2957e-14 | 6.0097
334.271 | -7.0542e-14 | 6.0097
334.54 | -5.9418e-14 | 6.0098
334.859 | -6.5057e-14 | 6.0097
335.16 | -6.5023e-14 | 6.0097
335.471 | -6.1054e-14 | 6.0097
335.771 | -6.5386e-14 | 6.0096
336.041 | -6.6331e-14 | 6.0098
336.351 | -6.2465e-14 | 6.0096
336.65 | -7.2964e-14 | 6.0097
336.951 | -6.4297e-14 | 6.0097
337.26 | -5.9541e-14 | 6.0096
337.561 | -6.7541e-14 | 6.0097
337.86 | -6.9338e-14 | 6.0096
338.16 | -6.8734e-14 | 6.0096
338.47 | -6.7563e-14 | 6.0096
338.77 | -7.2721e-14 | 6.0095
339.04 | -6.2127e-14 | 6.0096
339.34 | -6.8899e-14 | 6.0096
339.649 | -7.188e-14 | 6.0094
339.951 | -7.1979e-14 | 6.0096
340.25 | -7.1516e-14 | 6.0095
340.55 | -7.5197e-14 | 6.0094
340.86 | -7.9028e-14 | 6.0094
341.161 | -7.472e-14 | 6.0096
341.46 | -7.0681e-14 | 6.0095
341.77 | -7.3009e-14 | 6.0094
342.061 | -7.8461e-14 | 6.0094
342.361 | -7.7329e-14 | 6.0094
342.641 | -6.8018e-14 | 6.0094
342.948 | -7.7128e-14 | 6.0093
343.25 | -7.839e-14 | 6.0093
343.551 | -7.3904e-14 | 6.0094
343.86 | -7.5726e-14 | 6.0093
344.17 | -8.091e-14 | 6.0092
344.46 | -8.2147e-14 | 6.0093
344.74 | -8.082e-14 | 6.0094
345.05 | -8.8491e-14 | 6.0094
345.361 | -8.2702e-14 | 6.0094
345.64 | -8.2165e-14 | 6.0094
345.951 | -8.5018e-14 | 6.0092
346.248 | -8.1644e-14 | 6.0093
346.547 | -8.2305e-14 | 6.0092
346.855 | -8.451e-14 | 6.009
347.154 | -9.3977e-14 | 6.009
347.453 | -8.8626e-14 | 6.009
347.764 | -9.4832e-14 | 6.009
348.074 | -8.3078e-14 | 6.009
348.345 | -8.6195e-14 | 6.0091
348.655 | -9.3849e-14 | 6.009
348.955 | -8.2225e-14 | 6.0091
349.256 | -9.1128e-14 | 6.0091
349.558 | -9.4645e-14 | 6.0091
349.859 | -9.7914e-14 | 6.0091
350.159 | -9.2986e-14 | 6.0091
350.439 | -9.4845e-14 | 6.0091
350.751 | -9.7692e-14 | 6.0092
351.06 | -9.6895e-14 | 6.009
351.359 | -1.0639e-13 | 6.0091
351.64 | -1.0608e-13 | 6.0092
351.94 | -9.9478e-14 | 6.0091
352.249 | -9.6827e-14 | 6.009
352.552 | -1.0904e-13 | 6.0091
352.861 | -1.0482e-13 | 6.0089
353.16 | -1.0324e-13 | 6.0091
353.471 | -1.1537e-13 | 6.009
353.74 | -1.0309e-13 | 6.009
354.051 | -1.1904e-13 | 6.0091
354.35 | -1.1088e-13 | 6.009
354.66 | -1.1351e-13 | 6.0089
354.958 | -1.181e-13 | 6.0088
355.269 | -1.1375e-13 | 6.0089
355.539 | -1.1007e-13 | 6.0089
355.85 | -1.1632e-13 | 6.009
356.16 | -1.1821e-13 | 6.0089
356.459 | -1.2164e-13 | 6.0089
356.77 | -1.267e-13 | 6.0088
357.039 | -1.223e-13 | 6.0089
357.349 | -1.2435e-13 | 6.0088
357.65 | -1.233e-13 | 6.0089
357.95 | -1.3002e-13 | 6.0089
358.259 | -1.3662e-13 | 6.0087
358.561 | -1.2897e-13 | 6.0089
358.881 | -1.3024e-13 | 6.0087
359.171 | -1.4098e-13 | 6.009
359.439 | -1.3819e-13 | 6.0088
359.751 | -1.4169e-13 | 6.0087
360.051 | -1.3391e-13 | 6.0087
360.36 | -1.4386e-13 | 6.0089
360.658 | -1.4986e-13 | 6.0088
360.96 | -1.4601e-13 | 6.0087
361.271 | -1.4642e-13 | 6.0087
361.55 | -1.4751e-13 | 6.0087
361.85 | -1.4705e-13 | 6.0087
362.151 | -1.5689e-13 | 6.0086
362.45 | -1.5257e-13 | 6.0087
362.759 | -1.6087e-13 | 6.0087
363.06 | -1.632e-13 | 6.0087
363.339 | -1.5622e-13 | 6.0087
363.65 | -1.6509e-13 | 6.0086
363.95 | -1.6468e-13 | 6.0087
364.259 | -1.6664e-13 | 6.0086
364.559 | -1.7388e-13 | 6.0087
364.859 | -1.7398e-13 | 6.0086
365.141 | -1.7888e-13 | 6.0087
365.451 | -1.7069e-13 | 6.0087
365.76 | -1.783e-13 | 6.0085
366.04 | -1.7836e-13 | 6.0086
366.35 | -1.7896e-13 | 6.0085
366.659 | -1.8873e-13 | 6.0086
366.94 | -1.8889e-13 | 6.0086
367.248 | -1.9499e-13 | 6.0085
367.56 | -1.9852e-13 | 6.0085
367.86 | -1.9894e-13 | 6.0086
368.161 | -2.0264e-13 | 6.0086
368.439 | -2.0073e-13 | 6.0086
368.75 | -2.0784e-13 | 6.0085
369.049 | -2.0717e-13 | 6.0085
369.351 | -2.077e-13 | 6.0085
369.661 | -2.1466e-13 | 6.0084
369.96 | -2.1695e-13 | 6.0085
370.271 | -2.1647e-13 | 6.0084
370.539 | -2.2052e-13 | 6.0085
370.85 | -2.2698e-13 | 6.0084
371.15 | -2.3184e-13 | 6.0085
371.459 | -2.1915e-13 | 6.0084
371.76 | -2.379e-13 | 6.0085
372.04 | -2.3706e-13 | 6.0085
372.34 | -2.3227e-13 | 6.0084
372.651 | -2.4652e-13 | 6.0083
372.951 | -2.5128e-13 | 6.0085
373.25 | -2.5471e-13 | 6.0084
373.561 | -2.5298e-13 | 6.0083
373.86 | -2.5869e-13 | 6.0084
374.161 | -2.6049e-13 | 6.0084
374.441 | -2.6546e-13 | 6.0084
374.751 | -2.6614e-13 | 6.0083
375.051 | -2.6908e-13 | 6.0084
375.351 | -2.7824e-13 | 6.0083
375.662 | -2.8008e-13 | 6.0082
375.962 | -2.8923e-13 | 6.0083
376.242 | -2.8146e-13 | 6.0084
376.551 | -2.8715e-13 | 6.0083
376.853 | -2.9249e-13 | 6.0082
377.152 | -3.0104e-13 | 6.0082
377.452 | -3.0593e-13 | 6.0083
377.763 | -3.0945e-13 | 6.0084
378.064 | -3.1067e-13 | 6.0084
378.373 | -3.1043e-13 | 6.0083
378.643 | -3.1662e-13 | 6.0082
378.953 | -3.2242e-13 | 6.0082
379.253 | -3.269e-13 | 6.0083
379.563 | -3.3805e-13 | 6.0082
379.862 | -3.3758e-13 | 6.0081
380.142 | -3.3605e-13 | 6.0082
380.451 | -3.4352e-13 | 6.0081
380.753 | -3.4443e-13 | 6.0083
381.062 | -3.5555e-13 | 6.0081
381.362 | -3.5604e-13 | 6.0082
381.643 | -3.5396e-13 | 6.0083
381.942 | -3.6269e-13 | 6.0082
382.242 | -3.6634e-13 | 6.0081
382.552 | -3.7073e-13 | 6.008
382.861 | -3.7781e-13 | 6.0081
383.161 | -3.8115e-13 | 6.0081
383.461 | -3.8756e-13 | 6.0081
383.772 | -3.8971e-13 | 6.008
384.04 | -3.8838e-13 | 6.0081
384.351 | -3.9896e-13 | 6.008
384.65 | -4.0422e-13 | 6.0081
384.96 | -4.1295e-13 | 6.008
385.26 | -4.134e-13 | 6.0079
385.55 | -4.1656e-13 | 6.0081
385.86 | -4.2093e-13 | 6.0081
386.171 | -4.3007e-13 | 6.008
386.441 | -4.2752e-13 | 6.008
386.749 | -4.3477e-13 | 6.0079
387.051 | -4.3579e-13 | 6.008
387.358 | -4.5033e-13 | 6.0079
387.66 | -4.4707e-13 | 6.0078
387.959 | -4.5985e-13 | 6.0079
388.27 | -4.6393e-13 | 6.0079
388.54 | -4.657e-13 | 6.008
388.841 | -4.681e-13 | 6.0079
389.15 | -4.727e-13 | 6.0079
389.459 | -4.7599e-13 | 6.0078
389.769 | -4.7823e-13 | 6.0078
390.038 | -4.8926e-13 | 6.0079
390.345 | -4.9276e-13 | 6.0078
390.664 | -5.0022e-13 | 6.0077
390.963 | -5.0885e-13 | 6.0078