## Settings
Sample Info | so12ig, dot b5 glued, run05
Comments | -10/+4/-10, 10K/min
Additional Comments | rate 10 K/min
Major Measurement Parameters
Starting Temperature | 295.746
Initial Temperature | 80.5
Final Temperature | 450
Preliminary Voltage | -10
Pulse Voltage | 4
Pulse Time | 20
Wait Time | 0
Measurement Voltage | -10
Subsidiary Measurement Parameters
Step | 0.3
Accuracy Step | 0.1
Accuracy Stable | 1
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 10
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 5
Measurecount | 1
Time
Date | 12.4.2024
Clock | 12:29:57

## Stabilization
Temperature | Current | Temp Rate
295.537 | -8.3895e-10 | 0
295.192 | -1.5753e-12 | -8.19
295.03 | -1.1572e-12 | -7.9208
294.829 | -9.2327e-13 | -8.2943
294.587 | -8.1134e-13 | -8.8714
294.348 | -6.3741e-13 | -8.0495
293.959 | -5.0149e-13 | -9.1554
293.702 | -4.6566e-13 | -9.4509
293.49 | -5.1891e-13 | -9.4512
293.305 | -2.3273e-13 | -9.3395
292.06 | -3.0498e-13 | -11.1663
291.585 | -2.4892e-13 | -13.5788
291.302 | -2.3716e-13 | -18.7485
291.077 | -2.3596e-13 | -68.084
290.764 | -2.1416e-13 | -112.8827
290.471 | -2.0403e-13 | -10.6159
290.138 | -1.8842e-13 | -10.8151
289.823 | -1.5362e-13 | -10.9822
289.509 | -1.7281e-13 | -248.1206
289.109 | -1.7844e-13 | -11.339
288.773 | -1.8868e-13 | -11.3751
288.388 | -1.9998e-13 | -11.6031
288.081 | -1.9127e-13 | -11.658
287.715 | -2.2906e-13 | -11.7822
287.389 | -2.7271e-13 | -11.8855
287.092 | -2.1843e-13 | -11.9109
286.758 | -1.8675e-13 | -12.0169
286.412 | -1.5329e-13 | -12.1375
286.048 | -1.8688e-13 | -12.2665
285.766 | -2.125e-13 | -12.2899
285.386 | -1.9457e-13 | -12.4287
285.049 | -4.775e-13 | -12.5169
284.509 | -1.0392e-13 | -12.5078
284.121 | -2.4241e-13 | -12.648
283.783 | -1.6035e-13 | -12.7185
283.479 | -1.2997e-13 | -12.7447
283.125 | -2.6291e-13 | -12.8331
282.814 | -3.258e-13 | -12.8731
281.095 | -1.0382e-13 | -13.2308
280.624 | -9.2964e-14 | -13.3825
280.308 | -1.3743e-13 | -13.4095
279.956 | -1.1956e-13 | -13.4673
279.653 | -1.2736e-13 | -13.4749
279.324 | -4.5554e-14 | -13.4926
279.026 | -5.3796e-14 | -13.4973
278.68 | -1.3461e-13 | -13.5432
278.364 | -9.2216e-14 | -13.5336
278.007 | -8.6581e-14 | -13.5856
277.699 | -8.7201e-14 | -13.6008
277.398 | -9.0804e-14 | -13.6031
277.134 | -9.1735e-14 | -13.5789
276.869 | -8.3319e-14 | -13.5569
276.546 | -8.6297e-14 | -13.5846
276.313 | -1.1117e-13 | -13.5432
276.024 | -1.4042e-13 | -13.5466
275.771 | -1.1765e-13 | -13.5229
275.535 | -1.3056e-13 | -13.4844
275.243 | -1.1939e-13 | -13.488
274.931 | -9.2137e-14 | -13.5068
274.685 | -1.5142e-13 | -13.4789
274.404 | -8.6022e-14 | -13.4749
274.143 | -1.2159e-13 | -13.4607
273.884 | -1.168e-13 | -13.4448
273.617 | -9.425e-14 | -13.4294
273.357 | -8.1083e-14 | -13.4121
273.113 | -1.4529e-13 | -13.372
272.868 | -1.4963e-13 | -13.3487
272.65 | -1.5343e-13 | -13.3081
272.369 | -1.6411e-13 | -13.2958
272.132 | -1.3916e-13 | -13.2689
271.888 | -1.7251e-13 | -13.2227
271.681 | -1.8144e-13 | -13.1726
271.437 | -1.6362e-13 | -13.1522
271.102 | -1.5307e-13 | -13.1703
270.857 | -1.5593e-13 | -13.1371
270.655 | -1.4044e-13 | -13.0945
270.464 | -4.9825e-14 | -13.0467
270.248 | -1.6101e-13 | -13.0094
270.059 | -1.3131e-13 | -12.9565
269.93 | -1.8143e-14 | -12.8812
269.756 | -7.3233e-14 | -12.8173
269.458 | -8.9754e-14 | -12.828
269.254 | -1.195e-13 | -12.7942
269.098 | -1.1223e-13 | -12.7358
268.927 | -1.0067e-13 | -12.6832
268.779 | -1.1074e-13 | -12.6255
268.593 | -1.189e-13 | -12.5865
268.422 | -1.0427e-13 | -12.538
268.188 | -9.2779e-14 | -12.5203
268.064 | -1.0706e-13 | -12.4528
267.946 | -1.3336e-13 | -12.3857
267.812 | -1.2953e-13 | -12.3269
267.676 | -1.1644e-13 | -12.2686
267.478 | -1.2135e-13 | -12.2394
267.352 | -1.3509e-13 | -12.1808
267.231 | -1.2523e-13 | -12.1204
267.104 | -1.0506e-13 | -12.0624
267.002 | -1.1598e-13 | -11.9956
266.868 | -1.0747e-13 | -11.9446
266.759 | -1.2077e-13 | -11.8827
266.645 | -1.2784e-13 | -11.8259
266.537 | -1.0243e-13 | -11.7653
266.429 | -1.0622e-13 | -11.7071
266.331 | -1.2142e-13 | -11.6445
266.233 | -1.2675e-13 | -11.5827
265.98 | -1.2366e-13 | -11.5833
265.802 | -1.1847e-13 | -11.5533
265.694 | -1.2156e-13 | -11.497
265.591 | -1.1797e-13 | -11.4411
265.474 | -1.416e-13 | -11.3911
265.316 | -1.5267e-13 | -11.3563
265.21 | -1.1218e-13 | -11.303
265.112 | -1.2912e-13 | -11.2475
265.014 | -1.3762e-13 | -11.1936
264.918 | -1.2122e-13 | -11.1405
264.822 | -1.243e-13 | -11.0875
264.724 | -1.3756e-13 | -11.0366
264.628 | -1.1605e-13 | -10.9839
264.532 | -1.413e-13 | -10.9322
264.429 | -1.1759e-13 | -10.8832
264.333 | -1.3001e-13 | -10.835
264.229 | -1.1743e-13 | -10.7896
264.112 | -1.1645e-13 | -10.7496
264.016 | -1.3204e-13 | -10.7014
263.919 | -1.3956e-13 | -10.6553
263.824 | -1.0793e-13 | -10.6097
263.727 | -1.4313e-13 | -10.5641
263.624 | -1.1858e-13 | -10.5223
263.516 | -1.1865e-13 | -10.4823
263.418 | -1.1565e-13 | -10.4405
263.288 | -1.2013e-13 | -10.4082
263.169 | -1.0487e-13 | -10.3729
263.071 | -1.096e-13 | -10.3314
262.968 | -1.5372e-13 | -10.2933
262.849 | -1.8008e-13 | -10.2607
262.74 | -1.9375e-13 | -10.2251
262.63 | -3.1387e-13 | -10.1881
262.525 | -2.4358e-13 | -10.1521
262.419 | -2.1701e-13 | -10.1162
262.307 | -2.2418e-13 | -10.0831
262.194 | -2.5914e-13 | -10.0501
262.081 | -2.4522e-13 | -10.0186
261.973 | -1.7168e-13 | -9.9852
261.854 | -1.5487e-13 | -9.9559
261.744 | -1.6521e-13 | -9.9244
261.634 | -1.9286e-13 | -9.8922
261.521 | -1.4866e-13 | -9.8625
261.407 | -1.4588e-13 | -9.8328
261.29 | -1.4391e-13 | -9.8038
261.155 | -1.5118e-13 | -9.7821
261.03 | -1.088e-13 | -9.7572
260.911 | -1.191e-13 | -9.7301
260.786 | -1.4876e-13 | -9.7047
260.665 | -1.0558e-13 | -9.6788
260.527 | -5.1481e-14 | -9.6568
260.399 | -9.4735e-14 | -9.6341
260.273 | -1.2334e-13 | -9.6101
260.134 | -1.0796e-13 | -9.5896
260.008 | -1.2794e-13 | -9.5662
259.88 | -1.3644e-13 | -9.5443
259.74 | -1.2465e-13 | -9.5245
259.609 | -1.3183e-13 | -9.5041
259.461 | -1.1121e-13 | -9.4879
259.216 | -1.0292e-13 | -9.497
258.866 | -1.026e-13 | -9.5327
258.72 | -1.0869e-13 | -9.5161
258.582 | -1.0793e-13 | -9.4974
258.441 | -1.1544e-13 | -9.4804
258.273 | -1.1921e-13 | -9.4701
258.124 | -1.1944e-13 | -9.4547
257.978 | -1.1439e-13 | -9.4391
257.827 | -1.0702e-13 | -9.4257
257.677 | -1.0995e-13 | -9.4114
257.526 | -1.2003e-13 | -9.398
257.356 | -1.1698e-13 | -9.389
257.195 | -1.0233e-13 | -9.378
257.014 | -1.0743e-13 | -9.3704
256.844 | -1.0666e-13 | -9.3603
256.687 | -1.1958e-13 | -9.3486
256.516 | -1.1139e-13 | -9.339
256.357 | -1.0728e-13 | -9.3281
256.196 | -1.1381e-13 | -9.3171
256.029 | -1.1126e-13 | -9.3087
255.844 | -1.1097e-13 | -9.304
255.671 | -1.182e-13 | -9.2946
255.507 | -1.1374e-13 | -9.2858
255.329 | -9.9619e-14 | -9.2788
255.16 | -1.1534e-13 | -9.2699
254.98 | -1.0206e-13 | -9.2632
254.811 | -9.9215e-14 | -9.2554
254.634 | -1.0278e-13 | -9.2497
254.452 | -6.6322e-14 | -9.2442
254.266 | -7.1208e-14 | -9.2394
254.083 | -8.1935e-14 | -9.2331
253.778 | -1.1122e-13 | -9.2555
253.567 | -1.0973e-13 | -9.2566
253.389 | -1.1411e-13 | -9.2506
253.194 | -1.0136e-13 | -9.2475
253.013 | -7.9266e-14 | -9.2419
252.816 | -1.1252e-13 | -9.2392
252.631 | -9.7462e-14 | -9.2342
252.433 | -1.0109e-13 | -9.2318
252.235 | -1.0231e-13 | -9.2299
252.049 | -1.034e-13 | -9.2252
251.864 | -8.8911e-14 | -9.2215
251.678 | -1.0591e-13 | -9.2182
251.493 | -1.0184e-13 | -9.2149
251.29 | -9.4596e-14 | -9.2146
251.103 | -6.7353e-14 | -9.2101
250.901 | -1.0693e-13 | -9.209
250.71 | -1.0652e-13 | -9.2059
250.506 | -1.0441e-13 | -9.2052
250.315 | -1.009e-13 | -9.2021
250.126 | -9.8759e-14 | -9.1989
249.918 | -7.2574e-14 | -9.1994
249.726 | -8.005e-15 | -9.1976
249.518 | -6.3561e-14 | -9.1978
249.322 | -8.7624e-14 | -9.1969
249.125 | -8.4906e-14 | -9.1956
248.931 | -9.4502e-14 | -9.1934
248.718 | -1.1702e-13 | -9.1951
248.52 | -1.1722e-13 | -9.1945
248.322 | -9.9476e-14 | -9.193
248.122 | -9.8813e-14 | -9.1926
247.921 | -1.1104e-13 | -9.1931
247.712 | -1.0001e-13 | -9.195
247.506 | -1.0503e-13 | -9.196
247.287 | -7.6302e-14 | -9.1982
247.084 | -5.1325e-14 | -9.1978
246.88 | -7.7449e-14 | -9.1987
246.656 | -1.031e-13 | -9.2026
246.447 | -8.5901e-14 | -9.2035
246.238 | -9.6806e-14 | -9.2042
246.01 | -1.2516e-13 | -9.2081
245.797 | -1.0176e-13 | -9.2095
245.58 | -1.0549e-13 | -9.2122
245.333 | -1.056e-13 | -9.2198
245.114 | -9.6402e-14 | -9.2213
244.88 | -9.8938e-14 | -9.2271
244.661 | -9.6516e-14 | -9.2292
244.441 | -9.0972e-14 | -9.2318
244.203 | -5.1489e-14 | -9.2377
243.98 | -6.819e-14 | -9.2408
243.727 | -7.5572e-14 | -9.2486
243.493 | -7.8462e-14 | -9.2542
243.263 | -1.1903e-13 | -9.2578
243.015 | -9.9618e-14 | -9.2644
242.781 | -7.5972e-14 | -9.2697
242.523 | -1.1653e-13 | -9.2785
242.281 | -8.299e-14 | -9.284
242.024 | -5.5391e-14 | -9.2922
241.784 | -8.9828e-14 | -9.2981
241.53 | -7.1663e-14 | -9.3063
241.292 | -8.6249e-14 | -9.3106
241.033 | -4.1302e-14 | -9.3194
240.797 | -9.9837e-14 | -9.324
240.556 | -9.8831e-14 | -9.3303
240.316 | -9.3778e-14 | -9.3362
240.059 | -8.2786e-14 | -9.3441
239.818 | -1.0502e-13 | -9.3498
239.574 | -8.4447e-14 | -9.3558
239.312 | -7.3705e-14 | -9.3645
239.065 | -1.019e-13 | -9.3707
238.802 | -5.7736e-14 | -9.3778
238.544 | -8.9787e-14 | -9.3864
238.3 | -1.251e-13 | -9.3924
238.056 | -5.5688e-14 | -9.3982
237.793 | -6.1807e-14 | -9.4064
237.549 | -1.2452e-13 | -9.4116
237.288 | -6.9543e-14 | -9.4193
237.046 | -4.0744e-14 | -9.4245
236.785 | -1.034e-13 | -9.4327
236.541 | -1.0315e-13 | -9.4374
236.278 | -5.5487e-14 | -9.4454
236.035 | -7.0835e-14 | -9.4502
235.774 | -1.0261e-13 | -9.4579
235.53 | -5.7376e-14 | -9.463
235.266 | -4.7884e-14 | -9.471
235.021 | -1.015e-13 | -9.4759
234.757 | -8.9278e-14 | -9.4834
234.515 | -5.1925e-14 | -9.4883
234.252 | -8.6367e-14 | -9.4959
234.007 | -1.0822e-13 | -9.501
233.742 | -5.7381e-14 | -9.509
233.496 | -6.5572e-14 | -9.5147
233.248 | -1.0174e-13 | -9.5203
232.979 | -7.2167e-14 | -9.5287
232.728 | -4.8662e-14 | -9.5346
232.477 | -9.0295e-14 | -9.5404
232.209 | -4.2904e-14 | -9.5486
231.959 | -1.2806e-14 | -9.5543
231.706 | -5.7535e-14 | -9.5606
231.432 | -9.4274e-14 | -9.5695
231.17 | -3.615e-14 | -9.5763
230.886 | -5.4847e-14 | -9.5873
230.631 | -9.9674e-14 | -9.5936
230.369 | -6.2036e-14 | -9.601
230.105 | -3.953e-14 | -9.6082
229.823 | -1.0083e-13 | -9.6174
229.542 | -8.9892e-14 | -9.627
229.272 | -3.9169e-14 | -9.6348
229.009 | -7.0693e-14 | -9.6419
228.718 | -1.206e-13 | -9.6533
228.406 | -6.0864e-14 | -9.6673
228.107 | -2.7117e-14 | -9.6786
227.835 | -9.4353e-14 | -9.6855
227.534 | -6.9676e-14 | -9.6974
227.257 | -2.6019e-14 | -9.706
226.952 | -5.8497e-14 | -9.7181
226.672 | -1.0011e-13 | -9.7272
226.36 | -7.6786e-14 | -9.7392
226.037 | -5.5407e-14 | -9.7542
225.745 | -7.3433e-14 | -9.7653
225.46 | -6.8592e-14 | -9.7738
225.147 | -5.2449e-14 | -9.7868
224.849 | -5.247e-14 | -9.7977
224.524 | -7.5884e-14 | -9.8127
224.231 | -5.9164e-14 | -9.8223
223.908 | -6.3762e-14 | -9.8354
223.584 | -6.9116e-14 | -9.8497
223.283 | -6.5014e-14 | -9.8604
222.981 | -5.4132e-14 | -9.8713
222.64 | -5.9126e-14 | -9.8867
222.289 | -6.4568e-14 | -9.9029
221.949 | -6.4554e-14 | -9.9183
221.618 | -6.8386e-14 | -9.9327
221.303 | -7.1086e-14 | -9.9452
220.979 | -6.1089e-14 | -9.959
220.622 | -6.1798e-14 | -9.9762
220.279 | -6.4653e-14 | -9.992
219.954 | -5.9351e-14 | -10.0047
219.583 | -6.3564e-14 | -10.0239
219.24 | -4.8488e-14 | -10.039
218.858 | -6.7214e-14 | -10.058
218.521 | -5.1026e-14 | -10.0722
218.15 | -3.4962e-14 | -10.0912
217.813 | -6.4112e-14 | -10.1055
217.441 | -6.7758e-14 | -10.124
217.078 | -7.1587e-14 | -10.1411
216.676 | 6.7e-16 | -10.1634
216.289 | -2.4808e-14 | -10.1833
215.936 | -2.5385e-14 | -10.1986
215.541 | -6.9434e-14 | -10.2202
215.169 | -7.3205e-14 | -10.2378
214.762 | -6.7318e-14 | -10.2598
214.368 | -7.4069e-14 | -10.2802
213.994 | -5.806e-14 | -10.2982
213.574 | 4.7978e-14 | -10.3221
213.19 | -2.9399e-14 | -10.3412
212.789 | -4.8771e-14 | -10.3621
212.404 | -5.4203e-14 | -10.3815
211.971 | -6.1984e-14 | -10.4064
211.536 | -6.1563e-14 | -10.4311
211.102 | 3.6463e-14 | -10.4553
210.709 | -8.3215e-14 | -10.4743
210.198 | -5.2339e-14 | -10.5072
209.671 | -1.7186e-14 | -10.5425
209.132 | -3.4983e-14 | -10.5794
208.714 | -2.8485e-14 | -10.6012
208.277 | -3.176e-15 | -10.6248
207.782 | -9.253e-14 | -10.6561
207.29 | -2.6437e-14 | -10.687
206.827 | -9.4596e-14 | -10.7143
206.35 | -3.2727e-14 | -10.742
205.875 | -4.1855e-14 | -10.7697
205.356 | 8.268e-15 | -10.8029
204.83 | -1.216e-14 | -10.8364
204.384 | -4.2185e-14 | -10.8597
203.933 | -3.9783e-14 | -10.8831
203.416 | -5.6083e-14 | -10.915
202.804 | -3.007e-14 | -10.9581
202.253 | -5.0711e-14 | -10.9941
201.722 | -5.5839e-14 | -11.0271
201.246 | -2.8248e-14 | -11.0537
200.748 | -2.0013e-14 | -11.0824
200.163 | -3.5855e-14 | -11.1212
199.665 | -2.4888e-14 | -11.1499
199.194 | -1.0091e-13 | -11.1753
198.683 | -2.8043e-14 | -11.2051
198.11 | 5.329e-15 | -11.2419
197.528 | 2.5218e-14 | -11.2794
197.033 | 4.4783e-14 | -11.3068
196.603 | -4.685e-14 | -11.3267
196.11 | -6.2243e-14 | -11.3529
195.58 | -2.8711e-14 | -11.3841
195.117 | 3.7492e-14 | -11.4076
194.659 | 4.1703e-14 | -11.4304
194.237 | 3.1769e-14 | -11.449
193.761 | 2.727e-15 | -11.4724
193.209 | 1.0393e-14 | -11.5048
192.638 | 1.0554e-14 | -11.5397
192.16 | -2.2049e-14 | -11.5645
191.681 | -2.0514e-13 | -11.5885
191.249 | -1.0657e-13 | -11.6067
190.768 | 1.1243e-13 | -11.6307
190.236 | 6.6517e-14 | -11.6598
189.685 | 7.34e-15 | -11.6913
189.217 | -1.8765e-13 | -11.714
188.739 | -2.4851e-13 | -11.7374
188.238 | 5.0937e-14 | -11.7631
187.634 | 6.0454e-14 | -11.8004
187.012 | 2.5714e-14 | -11.8395
186.345 | 7.4272e-14 | -11.8828
185.765 | -1.623e-14 | -11.9154
185.232 | 1.1942e-14 | -11.944
184.53 | -2.206e-15 | -11.9908
183.757 | -6.89e-15 | -12.0449
183.052 | 2.0448e-14 | -12.0912
182.39 | -3.5646e-14 | -12.1316
181.78 | 2.0186e-14 | -12.1672
181.105 | 2.0417e-14 | -12.2096
180.406 | -2.3125e-14 | -12.2539
179.789 | 1.612e-15 | -12.2895
179.194 | 3.7705e-14 | -12.322
178.587 | 4.2499e-14 | -12.3567
177.926 | 2.864e-14 | -12.3968
177.272 | 4.5311e-14 | -12.4359
176.605 | 8.3121e-14 | -12.4768
176.005 | 5.1482e-14 | -12.5085
175.369 | 7.6364e-14 | -12.5453
174.654 | 6.552e-14 | -12.5891
173.977 | 2.0606e-14 | -12.6296
173.287 | -1.9646e-14 | -12.6713
172.653 | 1.4675e-14 | -12.7068
171.916 | 4.5025e-14 | -12.7528
171.158 | 6.9599e-14 | -12.8008
170.348 | 6.0315e-14 | -12.8543
169.667 | 5.5361e-14 | -12.8943
168.98 | 6.9526e-14 | -12.9348
168.301 | 9.7842e-14 | -12.9742
167.525 | 4.5424e-14 | -13.0226
166.738 | 9.3045e-14 | -13.0724
166.033 | 4.5633e-14 | -13.114
165.306 | 5.7364e-14 | -13.1572
164.568 | 2.9e-16 | -13.2016
163.829 | 3.0994e-14 | -13.2458
162.97 | 3.7293e-14 | -13.3015
162.132 | 1.1322e-13 | -13.3546
161.364 | 6.9724e-14 | -13.4003
160.557 | 1.0033e-13 | -13.4495
159.644 | 6.9523e-14 | -13.5095
158.709 | 7.69e-14 | -13.5715
157.696 | 3.0403e-14 | -13.6406
156.747 | 8.634e-15 | -13.7027
155.862 | 7.1145e-14 | -13.7592
154.962 | 4.688e-14 | -13.8163
153.971 | 5.6862e-14 | -13.8827
152.901 | 1.1079e-13 | -13.9556
151.865 | 1.1577e-13 | -14.0238
150.928 | 9.2748e-14 | -14.0835
150.036 | 9.7564e-14 | -14.1384
149.081 | 4.4048e-14 | -14.2
148.096 | 1.0325e-13 | -14.2638
146.964 | 3.0416e-13 | -14.3411
145.907 | 1.7661e-13 | -14.4112
144.96 | 1.4799e-13 | -14.4689
143.98 | 1.3243e-13 | -14.5314
142.867 | 1.1338e-13 | -14.6067
141.611 | 1.2678e-13 | -14.6936
140.352 | 1.1668e-13 | -14.7801
139.205 | 1.4822e-13 | -14.8571
138.258 | 1.183e-13 | -14.9145
137.148 | 1.4282e-13 | -14.9877
135.891 | 1.4612e-13 | -15.0742
134.671 | 1.4263e-13 | -15.1567
133.408 | 7.9919e-14 | -15.243
132.344 | 1.3649e-13 | -15.3098
131.284 | 9.6466e-14 | -15.3761
130.051 | 7.2228e-14 | -15.4576
128.705 | 9.4978e-14 | -15.5502
127.213 | 1.0617e-13 | -15.6562
125.845 | 1.1519e-13 | -15.75
124.689 | 1.1895e-13 | -15.8236
123.476 | 9.0153e-14 | -15.9018
121.91 | 1.1743e-13 | -16.0129
120.158 | 1.0924e-13 | -16.1402
118.541 | 1.2012e-13 | -16.2547
117.03 | 5.2465e-14 | -16.3596
115.802 | 8.571e-14 | -16.4368
114.386 | 1.2112e-13 | -16.5316
112.585 | 7.6545e-14 | -16.6606
110.592 | 7.4773e-14 | -16.8066
108.758 | 1.0115e-13 | -16.9376
107.404 | 1.3897e-13 | -17.0253
106.114 | 1.8558e-13 | -17.1053
104.496 | 1.3462e-13 | -17.2155
102.39 | 1.2254e-13 | -17.3695
99.7976 | 1.5763e-13 | -17.5645
96.9696 | 1.998e-13 | -17.781
94.6134 | 1.6925e-13 | -17.9552
93.4296 | 8.2436e-14 | -18.0235
90.9487 | 1.9227e-13 | -18.2077
86.2349 | 2.3777e-13 | -18.5888
83.854 | 2.8162e-13 | -18.7604
82.7609 | 1.4414e-13 | -18.8191
82.1759 | 1.5447e-13 | -18.8324
81.8319 | 1.6754e-13 | -18.8245
81.5702 | 1.7335e-13 | -18.8094
81.5386 | 1.7738e-13 | -18.7732
81.5228 | 2.4986e-13 | -18.7362
81.4743 | 2.7121e-13 | -18.702
81.4363 | 1.8663e-13 | -18.6676
81.4013 | 1.7416e-13 | -18.6335
81.3695 | 1.5253e-13 | -18.5972
81.3545 | 1.8946e-14 | -18.5612
81.3553 | 8.2308e-14 | -18.5225
81.3493 | 2.0231e-13 | -18.4862
81.346 | 1.6144e-13 | -18.4494
81.3375 | 1.3992e-13 | -18.4128
81.316 | 1.2757e-13 | -18.3783

## Pulse
Temperature | Current | Time
81.2943 | 2.7372e-13 | 6.3055
81.2388 | 4.2931e-14 | 12.2665
81.1513 | 6.5858e-14 | 13.6494
81.1565 | 7.1023e-14 | 15.067
81.1825 | 7.4033e-14 | 16.4574
81.1839 | 7.1897e-14 | 17.8516
81.1965 | 6.8995e-14 | 19.2623

## Measurements
Temperature | Current | Temp Rate
81.1556 | -4.602e-14 | 0
81.2745 | -2.5343e-14 | 0.40601
81.8324 | -1.6475e-14 | 2.1773
81.9286 | -1.3367e-14 | 2.41
82.1848 | 2.9895e-14 | 2.9431
82.478 | 6.845e-15 | 3.481
82.7756 | 1.7894e-14 | 3.9078
83.0712 | 5.903e-15 | 4.1907
83.3653 | -2.3569e-14 | 4.2496
83.7456 | -6.7256e-14 | 1.764
84.0134 | -6.836e-14 | 2.3622
84.6355 | -6.6747e-14 | 2.8043
85.959 | -7.6395e-14 | 4.136
86.9957 | -8.9782e-14 | 82.5845
88.5449 | -3.2923e-14 | 129.362
89.6763 | -6.7229e-14 | 4.9034
91.0579 | -6.8673e-14 | 5.6066
92.1855 | 1.019e-15 | 5.9978
92.6576 | -6.0304e-14 | 174.6689
92.708 | -4.0341e-14 | 5.8682
93.1005 | -9.1344e-14 | 6.0239
93.4379 | -1.1174e-13 | 5.742
93.7646 | 1.0727e-14 | 5.8865
93.9939 | 5.036e-15 | 4.8485
94.5658 | -4.7795e-14 | 5.0138
95.7668 | -6.9008e-14 | 5.4213
96.9162 | -4.1502e-14 | 5.7867
98.4634 | -6.1997e-14 | 6.2713
99.4567 | -5.3801e-14 | 6.5757
100.097 | 1.3471e-14 | 6.7457
101.289 | 1.1232e-14 | 7.1235
102.463 | 2.7395e-14 | 7.4641
104.036 | -7.8809e-14 | 7.8877
104.989 | -3.4135e-14 | 8.1506
105.529 | -8.2221e-14 | 8.3177
106.868 | 4.274e-14 | 8.6763
107.889 | -2.7145e-14 | 8.9129
108.368 | -4.6399e-14 | 9.0507
109.733 | -8.0012e-14 | 9.3862
110.73 | 7.4687e-14 | 9.6059
111.195 | -8.2586e-14 | 9.7411
111.597 | -8.1159e-14 | 9.8188
111.975 | -3.7555e-14 | 9.9067
113.256 | -5.2e-14 | 10.1629
114.207 | 4.8965e-14 | 10.2644
114.494 | -2.629e-15 | 10.2741
114.78 | -1.4339e-14 | 10.2394
115.067 | -4.3356e-14 | 10.1619
115.39 | -4.4752e-14 | 10.1227
115.673 | -4.7157e-14 | 10.1008
115.972 | -4.5666e-14 | 10.0729
116.26 | -2.1324e-14 | 9.9673
116.566 | -2.2243e-14 | 9.6885
116.917 | -6.1047e-14 | 9.7182
117.226 | -5.2392e-14 | 9.7415
117.496 | -2.9604e-14 | 9.5141
117.816 | -3.0625e-14 | 9.5436
118.145 | -2.7804e-14 | 9.5895
118.407 | -2.1448e-14 | 9.6176
118.666 | -2.5856e-14 | 9.6214
118.98 | -3.2838e-14 | 9.57
119.285 | -8.728e-15 | 9.566
119.616 | -2.8468e-14 | 9.5679
119.88 | -4.0632e-14 | 9.5936
120.258 | -1.0854e-14 | 9.6325
120.541 | -7.058e-15 | 9.6767
121.004 | -2.4893e-14 | 9.744
121.25 | -3.0199e-14 | 9.787
121.532 | -2.6119e-14 | 9.8288
121.807 | -4.3258e-14 | 9.8595
122.029 | -4.8652e-14 | 9.8961
122.335 | -4.2093e-14 | 9.9332
122.556 | -5.3269e-14 | 9.9601
122.902 | -6.2616e-14 | 9.9956
123.212 | -5.8366e-14 | 10.0213
123.522 | -4.7854e-14 | 10.0399
123.792 | -4.176e-14 | 10.0554
124.109 | -3.4258e-14 | 10.0758
124.412 | -5.6577e-14 | 10.0859
124.714 | -3.6596e-14 | 10.0919
124.983 | -9.912e-15 | 10.0985
125.305 | -4.2859e-14 | 10.0997
125.578 | -4.3154e-14 | 10.0934
125.898 | -4.2507e-14 | 10.0867
126.162 | -2.6738e-14 | 10.0798
126.46 | -3.2704e-14 | 10.0676
126.793 | -1.3458e-14 | 10.0505
127.064 | -7.494e-15 | 10.0372
127.386 | -1.6685e-14 | 10.0189
127.69 | -1.1407e-14 | 10.0023
127.981 | -2.1239e-14 | 9.9913
128.296 | -3.6016e-14 | 9.9819
128.571 | -9.32e-15 | 9.9791
128.873 | -1.6442e-14 | 9.9713
129.185 | -2.6313e-14 | 9.9647
129.496 | -2.2963e-14 | 9.9549
129.807 | -2.8653e-14 | 9.9482
130.062 | -1.7003e-14 | 9.943
130.377 | 2.8449e-14 | 9.9362
130.692 | -4.2556e-14 | 9.9284
130.962 | -2.0601e-14 | 9.925
131.277 | -1.0546e-14 | 9.8986
131.583 | -4.3748e-14 | 9.8652
131.877 | -4.7749e-14 | 9.8444
132.177 | 3.8055e-14 | 9.8351
132.494 | -9.185e-15 | 9.8304
132.775 | -1.2114e-14 | 9.827
133.101 | -7.946e-15 | 9.828
133.411 | -2.6602e-14 | 9.8269
133.711 | 2.732e-15 | 9.8278
133.996 | 8.296e-15 | 9.8295
134.296 | -1.428e-14 | 9.8306
134.592 | 1.9897e-14 | 9.8315
134.888 | -3.9364e-14 | 9.8336
135.175 | -4.2913e-14 | 9.8367
135.513 | -1.5273e-14 | 9.8334
135.797 | 1.0212e-14 | 9.8356
136.108 | -2.2283e-14 | 9.8381
136.378 | -1.0438e-14 | 9.8387
136.67 | 7.724e-15 | 9.8381
137.015 | -7.8197e-14 | 9.8384
137.259 | 8.7056e-14 | 9.839
137.596 | 2.2135e-13 | 9.8383
137.875 | 9.894e-14 | 9.8354
138.198 | 1.3901e-14 | 9.8302
138.484 | -1.9089e-14 | 9.8292
138.766 | -1.1772e-14 | 9.8299
139.087 | -1.7869e-14 | 9.8313
139.375 | -2.5916e-14 | 9.8336
139.681 | 1.658e-15 | 9.8316
139.974 | -9.6488e-14 | 9.8312
140.303 | -3.2708e-14 | 9.8287
140.609 | 1.5672e-14 | 9.8309
140.88 | 1.6915e-14 | 9.8338
141.209 | 3.594e-15 | 9.8396
141.478 | -6.0439e-14 | 9.8436
141.759 | -6.1303e-14 | 9.8514
142.093 | -1.2578e-14 | 9.8572
142.392 | -5.0268e-14 | 9.8614
142.676 | -5.6261e-14 | 9.8667
142.959 | 5.6574e-14 | 9.8754
143.299 | -2.6254e-14 | 9.8795
143.579 | -1.9421e-14 | 9.8873
143.906 | 3.421e-15 | 9.8922
144.187 | -3.1179e-14 | 9.8933
144.496 | 8.066e-15 | 9.8948
144.805 | -3.8841e-14 | 9.8967
145.108 | -1.046e-14 | 9.8983
145.358 | -4.8947e-14 | 9.9001
145.704 | 1.4976e-14 | 9.8977
145.996 | -4.8325e-14 | 9.899
146.288 | -4.0116e-14 | 9.8983
146.582 | -3.5605e-14 | 9.8961
146.875 | -3.5391e-14 | 9.8977
147.171 | -5.7268e-14 | 9.8971
147.5 | -4.2431e-14 | 9.8946
147.775 | -4.2235e-14 | 9.8827
148.056 | -3.413e-14 | 9.8288
148.393 | -2.8337e-14 | 9.8221
148.694 | 3.0148e-14 | 9.826
148.993 | -5.0931e-14 | 9.836
149.291 | -4.632e-14 | 9.8435
149.581 | -2.9504e-14 | 9.85
149.862 | -1.7566e-14 | 9.855
150.164 | 3.0118e-14 | 9.8559
150.457 | -4.6927e-14 | 9.8554
150.786 | -3.2706e-14 | 9.8599
151.094 | -6.778e-15 | 9.8644
151.387 | -4.5417e-14 | 9.871
151.729 | -4.9345e-14 | 9.8775
151.999 | 5.1054e-14 | 9.8806
152.302 | -2.5899e-14 | 9.8819
152.602 | -3.7969e-14 | 9.8822
152.899 | 3.1662e-14 | 9.8825
153.202 | 1.2806e-14 | 9.8838
153.474 | -4.1759e-14 | 9.8829
153.78 | -6.0982e-14 | 9.8816
154.092 | -3.9093e-14 | 9.8795
154.371 | -4.1622e-14 | 9.8749
154.689 | -2.498e-15 | 9.8711
154.977 | -7.784e-15 | 9.8699
155.292 | -8.6605e-14 | 9.8691
155.587 | -3.767e-14 | 9.8559
155.858 | -2.2882e-14 | 9.8349
156.191 | -3.4148e-14 | 9.8259
156.468 | -2.2017e-14 | 9.8309
156.781 | -2.2947e-14 | 9.8361
157.072 | -1.5072e-14 | 9.8438
157.358 | -8.302e-15 | 9.8428
157.656 | -1.983e-14 | 9.8432
157.984 | -5.6475e-14 | 9.8468
158.289 | -3.1606e-14 | 9.8514
158.583 | 5.859e-15 | 9.8575
158.861 | -5.6883e-14 | 9.8627
159.207 | -3.4659e-14 | 9.866
159.505 | -3.8694e-14 | 9.8699
159.785 | -4.6284e-14 | 9.8739
160.106 | -1.821e-15 | 9.8772
160.389 | -5.87e-15 | 9.8668
160.672 | -4.6094e-14 | 9.8103
160.964 | -3.5633e-14 | 9.7963
161.267 | -4.5084e-14 | 9.7869
161.567 | -1.0414e-14 | 9.6795
161.872 | 7.2473e-14 | 9.6677
162.177 | -5.38e-16 | 9.6646
162.47 | -4.2423e-14 | 9.6609
162.768 | -4.1899e-14 | 9.6636
163.101 | -2.023e-15 | 9.6702
163.358 | -2.2775e-14 | 9.6782
163.698 | -7.2453e-14 | 9.6882
164.026 | -5.2069e-14 | 9.7016
164.318 | -4.7899e-14 | 9.7131
164.612 | -3.7458e-14 | 9.7225
164.889 | -5.0821e-14 | 9.7361
165.187 | -3.1297e-14 | 9.7461
165.467 | -5.3127e-14 | 9.76
165.784 | -2.9354e-14 | 9.772
166.079 | -4.8694e-14 | 9.7875
166.404 | -4.6507e-14 | 9.8001
166.704 | -4.0301e-14 | 9.8154
167.037 | -1.9943e-14 | 9.8317
167.287 | -3.3731e-14 | 9.8406
167.621 | -4.1575e-14 | 9.8571
167.931 | -7.3681e-14 | 9.8711
168.156 | -4.5314e-14 | 9.8837
168.5 | -4.9244e-14 | 9.9011
168.847 | -5.3531e-14 | 9.9189
169.106 | -5.4964e-14 | 9.9338
169.386 | -5.9287e-14 | 9.944
169.722 | -4.3401e-14 | 9.9586
170.007 | -3.0649e-14 | 9.9699
170.268 | -3.7103e-14 | 9.9761
170.584 | -5.955e-14 | 9.9822
170.925 | -6.1913e-14 | 9.9845
171.169 | -6.2192e-14 | 9.9833
171.498 | -5.4283e-14 | 9.9807
171.761 | -6.1297e-14 | 9.978
172.066 | -4.3995e-14 | 9.973
172.37 | -6.831e-14 | 9.9684
172.711 | -6.7292e-14 | 9.9614
173.005 | -3.5947e-14 | 9.9559
173.264 | -5.5425e-14 | 9.9519
173.607 | -6.6377e-14 | 9.9451
173.867 | -4.0548e-14 | 9.9419
174.171 | -4.7321e-14 | 9.9359
174.478 | -7.2143e-14 | 9.9327
174.781 | -6.1275e-14 | 9.9279
175.1 | -5.3525e-14 | 9.9191
175.386 | -1.0372e-13 | 9.9154
175.67 | -8.0589e-14 | 9.9155
175.962 | -6.7889e-14 | 9.9143
176.292 | -7.5109e-14 | 9.9129
176.585 | -7.8801e-14 | 9.912
176.877 | -3.5007e-14 | 9.91
177.172 | -6.3059e-14 | 9.9091
177.49 | -7.257e-14 | 9.9103
177.784 | -6.806e-14 | 9.9145
178.115 | -7.8535e-14 | 9.9175
178.393 | -6.6721e-14 | 9.9216
178.69 | -6.9501e-14 | 9.9238
178.959 | -1.0165e-13 | 9.927
179.284 | 3.1133e-14 | 9.9299
179.559 | -7.6608e-14 | 9.9325
179.889 | -7.0219e-14 | 9.9358
180.181 | -9.0113e-14 | 9.9377
180.507 | -8.4637e-14 | 9.9413
180.793 | -8.2409e-14 | 9.9418
181.057 | -7.3347e-14 | 9.9446
181.39 | -6.3736e-14 | 9.9454
181.706 | -6.8597e-14 | 9.9484
181.991 | -6.4446e-14 | 9.9485
182.304 | -6.9043e-14 | 9.9504
182.564 | -5.8649e-14 | 9.9525
182.874 | -7.4474e-14 | 9.9533
183.202 | -7.1488e-14 | 9.9554
183.46 | -8.3415e-14 | 9.9555
183.782 | -8.6021e-14 | 9.957
184.108 | -9.9671e-14 | 9.9569
184.362 | -7.3512e-14 | 9.9583
184.663 | -7.6578e-14 | 9.9585
184.961 | -8.3906e-14 | 9.9585
185.273 | -6.6215e-14 | 9.9575
185.585 | -9.8405e-14 | 9.9556
185.897 | -9.4851e-14 | 9.9544
186.214 | -1.0575e-13 | 9.9623
186.485 | -9.0233e-14 | 9.9664
186.79 | -8.6821e-14 | 9.9732
187.081 | -8.4826e-14 | 9.977
187.364 | -5.1327e-14 | 9.9796
187.707 | -8.1201e-14 | 9.9819
187.965 | -7.797e-14 | 9.9831
188.264 | -8.1053e-14 | 9.9829
188.6 | -6.3865e-14 | 9.9819
188.884 | -3.3171e-14 | 9.9803
189.178 | -7.1668e-14 | 9.9779
189.481 | -8.2274e-14 | 9.9751
189.783 | -7.0433e-14 | 9.9726
190.062 | -5.7424e-14 | 9.9708
190.41 | 2.9897e-14 | 9.9689
190.706 | -5.875e-15 | 9.9684
190.982 | -2.885e-14 | 9.97
191.284 | -4.1186e-14 | 9.976
191.618 | -6.1019e-14 | 9.9816
191.86 | -6.0256e-14 | 9.9864
192.229 | -4.3592e-14 | 9.9899
192.502 | 1.7568e-14 | 9.9919
192.767 | -1.8431e-14 | 9.9944
193.076 | -3.0711e-14 | 9.9947
193.387 | -1.4373e-13 | 9.9937
193.677 | -4.378e-15 | 9.993
193.961 | -8.1456e-14 | 9.9926
194.298 | -3.0821e-14 | 9.9893
194.613 | 7.868e-15 | 9.9863
194.879 | 2.961e-15 | 9.9835
195.187 | -4.9551e-13 | 9.9797
195.493 | -4.2303e-14 | 9.9763
195.799 | -5.119e-14 | 9.9725
196.062 | -5.0208e-14 | 9.9697
196.367 | -6.3675e-14 | 9.9653
196.692 | -4.1776e-14 | 9.9617
196.974 | -6.916e-14 | 9.9587
197.286 | -5.2779e-14 | 9.9557
197.602 | -3.8515e-14 | 9.9531
197.874 | -5.8699e-14 | 9.9505
198.197 | -4.9523e-14 | 9.9484
198.475 | -4.775e-14 | 9.9463
198.8 | -4.1635e-14 | 9.9451
199.096 | -3.6084e-14 | 9.943
199.379 | -2.926e-13 | 9.9424
199.681 | -3.8791e-14 | 9.9411
200.002 | -8.4394e-14 | 9.9401
200.309 | -7.7053e-14 | 9.939
200.602 | -6.6973e-14 | 9.9394
200.912 | -7.3269e-14 | 9.9385
201.159 | 6.69e-16 | 9.9388
201.472 | -9.8553e-14 | 9.9379
201.787 | -7.345e-14 | 9.9384
202.104 | -8.4489e-14 | 9.9392
202.42 | -8.5287e-14 | 9.9385
202.67 | -6.3385e-14 | 9.9393
202.971 | -5.0571e-14 | 9.9389
203.29 | -6.6199e-14 | 9.9385
203.591 | -6.9153e-14 | 9.9399
203.909 | -6.9211e-14 | 9.9394
204.16 | -2.9458e-13 | 9.9403
204.481 | -8.2563e-14 | 9.9402
204.781 | -7.4908e-14 | 9.941
205.097 | -8.5475e-14 | 9.9406
205.403 | -8.7206e-14 | 9.941
205.656 | -1.1133e-13 | 9.9419
205.958 | -1.4459e-13 | 9.9423
206.275 | -8.1591e-14 | 9.9423
206.577 | -8.8207e-14 | 9.9422
206.88 | -1.042e-13 | 9.9421
207.181 | -7.4368e-14 | 9.9431
207.499 | -8.5502e-14 | 9.9436
207.816 | -1.3241e-13 | 9.9435
208.068 | -1.3857e-13 | 9.9442
208.385 | -7.6712e-14 | 9.9437
208.687 | -1.1936e-13 | 9.9446
209.003 | -1.1739e-13 | 9.9438
209.32 | -1.3531e-13 | 9.9445
209.572 | -1.0486e-13 | 9.9451
209.887 | -1.3281e-13 | 9.9453
210.189 | -1.438e-13 | 9.945
210.505 | -1.4339e-13 | 9.9447
210.806 | -8.8568e-14 | 9.9454
211.072 | 4.7106e-13 | 9.9447
211.373 | 1.8067e-14 | 9.946
211.69 | -1.268e-13 | 9.9453
211.989 | -1.4251e-13 | 9.9462
212.29 | -1.797e-13 | 9.946
212.606 | -1.6534e-13 | 9.946
212.856 | -1.8874e-13 | 9.9465
213.222 | -1.8842e-13 | 9.9455
213.517 | -2.0467e-13 | 9.9457
213.763 | -2.1987e-13 | 9.9464
214.062 | -2.0931e-13 | 9.9463
214.36 | -2.146e-13 | 9.946
214.677 | -2.1594e-13 | 9.9462
214.992 | -2.3092e-13 | 9.9455
215.291 | -2.2642e-13 | 9.9461
215.608 | -2.4005e-13 | 9.9457
215.858 | -2.2681e-13 | 9.9463
216.173 | -2.4724e-13 | 9.9466
216.472 | -2.547e-13 | 9.9462
216.787 | -2.6243e-13 | 9.9459
217.088 | -2.5017e-13 | 9.9465
217.405 | -2.6448e-13 | 9.946
217.722 | -2.6805e-13 | 9.9464
217.99 | -2.8858e-13 | 9.9467
218.291 | -2.8572e-13 | 9.9476
218.592 | -2.9269e-13 | 9.9475
218.895 | -2.9077e-13 | 9.948
219.167 | -3.0559e-13 | 9.9487
219.471 | -3.0654e-13 | 9.9487
219.794 | -3.2118e-13 | 9.9487
220.097 | -3.2412e-13 | 9.9495
220.364 | -3.1065e-13 | 9.9499
220.684 | -3.3432e-13 | 9.9492
220.997 | -3.3915e-13 | 9.9495
221.295 | -3.5391e-13 | 9.9496
221.594 | -3.5252e-13 | 9.95
221.908 | -3.5183e-13 | 9.9495
222.156 | -3.6494e-13 | 9.9498
222.505 | -3.6912e-13 | 9.9499
222.77 | -3.8094e-13 | 9.95
223.071 | -3.8003e-13 | 9.9497
223.387 | -3.8169e-13 | 9.95
223.685 | -3.9235e-13 | 9.9499
223.999 | -3.9501e-13 | 9.9502
224.319 | -4.0664e-13 | 9.9501
224.619 | -4.1587e-13 | 9.9501
224.867 | -4.3693e-13 | 9.9503
225.186 | -4.1812e-13 | 9.95
225.486 | -4.4489e-13 | 9.9506
225.801 | -4.5185e-13 | 9.9509
226.103 | -4.3619e-13 | 9.9509
226.37 | -4.5609e-13 | 9.951
226.687 | -4.6212e-13 | 9.9506
226.982 | -4.6181e-13 | 9.9511
227.303 | -4.6246e-13 | 9.951
227.605 | -4.6002e-13 | 9.9514
227.872 | -4.8155e-13 | 9.9515
228.186 | -4.8247e-13 | 9.951
228.481 | -4.9852e-13 | 9.9511
228.796 | -4.983e-13 | 9.9507
229.093 | -5.0241e-13 | 9.9512
229.391 | -5.0449e-13 | 9.9511
229.657 | -5.0446e-13 | 9.9513
230.006 | -5.0635e-13 | 9.9511
230.273 | -5.2208e-13 | 9.9515
230.589 | -5.3442e-13 | 9.9512
230.89 | -5.4052e-13 | 9.9518
231.191 | -5.3887e-13 | 9.9515
231.461 | -5.4938e-13 | 9.9519
231.78 | -5.552e-13 | 9.9526
232.085 | -5.611e-13 | 9.9527
232.405 | -5.7167e-13 | 9.9521
232.704 | -5.6597e-13 | 9.953
232.973 | -5.864e-13 | 9.9529
233.271 | -5.9324e-13 | 9.9535
233.587 | -5.9878e-13 | 9.9532
233.888 | -5.9715e-13 | 9.9537
234.205 | -6.1339e-13 | 9.9533
234.504 | -6.2789e-13 | 9.9538
234.77 | -6.236e-13 | 9.9538
235.085 | -6.4335e-13 | 9.9529
235.385 | -6.4053e-13 | 9.9539
235.702 | -6.4517e-13 | 9.9541
235.968 | -6.5806e-13 | 9.9542
236.286 | -6.6521e-13 | 9.9537
236.583 | -6.6589e-13 | 9.9543
236.903 | -6.6835e-13 | 9.9536
237.203 | -6.783e-13 | 9.9547
237.503 | -6.7937e-13 | 9.9544
237.769 | -6.8888e-13 | 9.9545
238.087 | -6.8526e-13 | 9.9544
238.387 | -6.9731e-13 | 9.9548
238.703 | -7.0129e-13 | 9.954
239.021 | -6.998e-13 | 9.9544
239.271 | -7.1497e-13 | 9.9549
239.587 | -7.1701e-13 | 9.9552
239.903 | -7.1764e-13 | 9.9545
240.22 | -7.2516e-13 | 9.955
240.47 | -7.3215e-13 | 9.9551
240.787 | -7.3226e-13 | 9.9554
241.105 | -7.3172e-13 | 9.9549
241.404 | -7.3618e-13 | 9.9556
241.67 | -7.3383e-13 | 9.9559
241.971 | -7.3893e-13 | 9.9556
242.287 | -7.4405e-13 | 9.9558
242.604 | -7.4754e-13 | 9.9562
242.888 | -7.2898e-13 | 9.9559
243.205 | -7.304e-13 | 9.9556
243.471 | -7.403e-13 | 9.9561
243.821 | -7.3855e-13 | 9.9558
244.07 | -7.3883e-13 | 9.9563
244.384 | -7.3165e-13 | 9.9556
244.696 | -7.3169e-13 | 9.9553
244.96 | -7.3081e-13 | 9.956
245.276 | -7.2863e-13 | 9.9552
245.575 | -7.198e-13 | 9.9558
245.891 | -7.2737e-13 | 9.9563
246.209 | -7.1286e-13 | 9.9559
246.458 | -7.1763e-13 | 9.9562
246.774 | -7.1517e-13 | 9.9558
247.092 | -7.0875e-13 | 9.9559
247.392 | -7.089e-13 | 9.9564
247.659 | -7.0179e-13 | 9.9569
247.958 | -6.9521e-13 | 9.9564
248.278 | -6.944e-13 | 9.9564
248.58 | -6.9082e-13 | 9.9568
248.896 | -6.8785e-13 | 9.9572
249.164 | -6.8991e-13 | 9.9574
249.483 | -6.786e-13 | 9.9569
249.783 | -6.7759e-13 | 9.9576
250.1 | -6.702e-13 | 9.9569
250.419 | -6.6186e-13 | 9.9572
250.684 | -6.5211e-13 | 9.9575
250.986 | -6.5488e-13 | 9.9578
251.302 | -6.4516e-13 | 9.9574
251.57 | -6.5315e-13 | 9.9584
251.871 | -6.3911e-13 | 9.9581
252.188 | -6.4066e-13 | 9.9579
252.505 | -6.2813e-13 | 9.9578
252.771 | -6.3118e-13 | 9.9586
253.088 | -6.2646e-13 | 9.9581
253.402 | -6.1813e-13 | 9.9581
253.688 | -6.1122e-13 | 9.9589
254.005 | -6.1161e-13 | 9.9584
254.305 | -6.2568e-13 | 9.9589
254.622 | -6.5319e-13 | 9.9586
254.873 | -6.2921e-13 | 9.9592
255.188 | -6.2052e-13 | 9.9587
255.505 | -6.3466e-13 | 9.9588
255.804 | -6.307e-13 | 9.9592
256.072 | -6.3469e-13 | 9.9596
256.423 | -6.5283e-13 | 9.9592
256.671 | -6.406e-13 | 9.9593
256.988 | -6.3669e-13 | 9.9597
257.303 | -6.3482e-13 | 9.959
257.605 | -6.3769e-13 | 9.9598
257.922 | -6.4386e-13 | 9.9594
258.171 | -6.4753e-13 | 9.9596
258.487 | -6.6818e-13 | 9.9599
258.806 | -6.5601e-13 | 9.9597
259.057 | -6.8884e-13 | 9.9598
259.371 | -6.763e-13 | 9.9601
259.69 | -6.5598e-13 | 9.9594
260.005 | -6.2981e-13 | 9.9597
260.306 | -6.1816e-13 | 9.96
260.572 | -6.1184e-13 | 9.9601
260.888 | -6.0202e-13 | 9.9602
261.203 | -5.9356e-13 | 9.9599
261.5 | -6.102e-13 | 9.9601
261.764 | -6.0047e-13 | 9.9601
262.078 | -5.7451e-13 | 9.9604
262.394 | -5.6878e-13 | 9.9596
262.693 | -5.551e-13 | 9.9602
263.01 | -5.4669e-13 | 9.9597
263.259 | -6.0107e-13 | 9.9601
263.576 | -6.7448e-13 | 9.9603
263.893 | -6.4128e-13 | 9.9605
264.16 | -5.9225e-13 | 9.9601
264.477 | -6.033e-13 | 9.9605
264.795 | -6.0416e-13 | 9.9603
265.112 | -5.665e-13 | 9.9604
265.363 | -5.3425e-13 | 9.9607
265.68 | -5.2288e-13 | 9.961
265.997 | -5.1579e-13 | 9.9612
266.315 | -5.522e-13 | 9.9607
266.566 | -5.4875e-13 | 9.9612
266.883 | -5.3661e-13 | 9.9608
267.184 | -5.3542e-13 | 9.9614
267.501 | -5.066e-13 | 9.9616
267.767 | -4.7483e-13 | 9.9614
268.086 | -4.5311e-13 | 9.9612
268.385 | -4.3197e-13 | 9.9617
268.703 | -4.0362e-13 | 9.962
268.969 | -3.8767e-13 | 9.9619
269.286 | -3.7652e-13 | 9.9621
269.603 | -3.5383e-13 | 9.962
269.903 | -3.4213e-13 | 9.9616
270.203 | -3.1542e-13 | 9.962
270.47 | -3.0707e-13 | 9.9624
270.787 | -2.9907e-13 | 9.9617
271.103 | -2.8698e-13 | 9.9619
271.405 | -2.8587e-13 | 9.9624
271.687 | -2.8732e-13 | 9.962
271.987 | -2.7745e-13 | 9.9622
272.304 | -2.7922e-13 | 9.9625
272.572 | -2.7492e-13 | 9.9629
272.872 | -2.6911e-13 | 9.9626
273.187 | -2.6859e-13 | 9.963
273.503 | -2.733e-13 | 9.9624
273.804 | -2.8896e-13 | 9.9628
274.087 | -2.8369e-13 | 9.9626
274.405 | -2.9339e-13 | 9.9627
274.703 | -2.8729e-13 | 9.9631
274.971 | -2.8964e-13 | 9.9633
275.288 | -2.9777e-13 | 9.9625
275.587 | -3.2205e-13 | 9.963
275.903 | -3.7044e-13 | 9.9633
276.169 | -3.9221e-13 | 9.9634
276.487 | -3.7833e-13 | 9.9632
276.788 | -3.7333e-13 | 9.9635
277.104 | -3.5333e-13 | 9.9639
277.422 | -3.5236e-13 | 9.9632
277.688 | -3.4375e-13 | 9.963
278.005 | -3.3897e-13 | 9.9633
278.321 | -3.1725e-13 | 9.9632
278.588 | -3.0019e-13 | 9.9634
278.887 | -2.8081e-13 | 9.9637
279.202 | -2.5392e-13 | 9.9637
279.466 | -2.6113e-13 | 9.9636
279.78 | -2.5021e-13 | 9.9636
280.093 | -2.3878e-13 | 9.9635
280.361 | -2.2623e-13 | 9.9638
280.676 | -2.3868e-13 | 9.9632
280.994 | -2.3935e-13 | 9.9632
281.291 | -2.1653e-13 | 9.9637
281.559 | -2.1522e-13 | 9.9638
281.876 | -2.174e-13 | 9.9639
282.192 | -2.0922e-13 | 9.9639
282.459 | -2.0247e-13 | 9.964
282.774 | -2.0528e-13 | 9.9636
283.077 | -1.9462e-13 | 9.9639
283.378 | -1.9659e-13 | 9.9639
283.697 | -1.9445e-13 | 9.964
283.962 | -1.9523e-13 | 9.9641
284.279 | -1.8423e-13 | 9.9644
284.598 | -1.8131e-13 | 9.9638
284.864 | -1.7477e-13 | 9.9647
285.181 | -1.6738e-13 | 9.9641
285.499 | -1.7218e-13 | 9.9642
285.815 | -1.6919e-13 | 9.9645
286.066 | -1.6457e-13 | 9.9647
286.383 | -1.6569e-13 | 9.965
286.701 | -1.5922e-13 | 9.9645
287.002 | -1.5934e-13 | 9.965
287.269 | -1.5893e-13 | 9.965
287.586 | -1.511e-13 | 9.9652
287.904 | -1.4737e-13 | 9.9648
288.17 | -1.5013e-13 | 9.9657
288.487 | -1.4629e-13 | 9.9649
288.805 | -1.5046e-13 | 9.9652
289.072 | -1.3937e-13 | 9.9651
289.388 | -1.4204e-13 | 9.9651
289.705 | -1.3678e-13 | 9.9654
290.006 | -1.3815e-13 | 9.9658
290.273 | -1.3935e-13 | 9.9659
290.589 | -1.3537e-13 | 9.9653
290.856 | -1.2734e-13 | 9.966
291.173 | -1.4531e-13 | 9.966
291.489 | -1.4241e-13 | 9.9656
291.773 | -1.3373e-13 | 9.9666
292.107 | -1.2545e-13 | 9.9657
292.422 | -1.2562e-13 | 9.9657
292.689 | -1.2397e-13 | 9.9661
292.973 | -1.3208e-13 | 9.9659
293.323 | -1.2237e-13 | 9.9658
293.589 | -1.1764e-13 | 9.9663
293.873 | -1.1744e-13 | 9.9665
294.189 | -1.094e-13 | 9.9661
294.489 | -1.2871e-13 | 9.9665
294.805 | -1.1868e-13 | 9.9666
295.072 | -1.2971e-13 | 9.9666
295.39 | -1.4213e-13 | 9.9661
295.705 | -1.3435e-13 | 9.9663
296.005 | -1.3406e-13 | 9.9664
296.287 | -1.2049e-13 | 9.9665
296.589 | -1.1778e-13 | 9.9667
296.889 | -1.218e-13 | 9.9661
297.205 | -1.0868e-13 | 9.9664
297.505 | -1.0794e-13 | 9.9668
297.77 | -1.1454e-13 | 9.9668
298.087 | -1.1443e-13 | 9.9664
298.389 | -1.0597e-13 | 9.9668
298.702 | -1.0286e-13 | 9.9669
298.983 | -1.1204e-13 | 9.9666
299.282 | -1.056e-13 | 9.9667
299.596 | -9.979e-14 | 9.9666
299.879 | -1.0471e-13 | 9.9667
300.194 | -1.0442e-13 | 9.967
300.461 | -1.0657e-13 | 9.9669
300.777 | -1.0045e-13 | 9.9664
301.094 | -1.0121e-13 | 9.967
301.361 | -9.6103e-14 | 9.967
301.678 | -9.6103e-14 | 9.967
301.994 | -9.1808e-14 | 9.9671
302.279 | -9.8005e-14 | 9.9667
302.614 | -9.0579e-14 | 9.9668
302.881 | -9.2091e-14 | 9.9671
303.215 | -9.6421e-14 | 9.9669
303.483 | -1.063e-13 | 9.967
303.799 | -1.065e-13 | 9.9674
304.117 | -1.0334e-13 | 9.9671
304.383 | -1.0075e-13 | 9.9679
304.701 | -9.39e-14 | 9.9678
304.985 | -1.0312e-13 | 9.9676
305.302 | -9.5531e-14 | 9.9677
305.602 | -1.0571e-13 | 9.968
305.868 | -1.0788e-13 | 9.9682
306.186 | -1.0364e-13 | 9.9682
306.502 | -1.089e-13 | 9.9682
306.77 | -1.0443e-13 | 9.9683
307.086 | -9.7531e-14 | 9.9682
307.402 | -1.0528e-13 | 9.9678
307.72 | -1.016e-13 | 9.9681
307.987 | -1.0681e-13 | 9.9679
308.303 | -1.2132e-13 | 9.9686
308.571 | -1.0759e-13 | 9.9687
308.887 | -9.5921e-14 | 9.9682
309.222 | -9.3067e-14 | 9.9683
309.471 | -1.0669e-13 | 9.9684
309.789 | -1.0126e-13 | 9.9688
310.104 | -9.8471e-14 | 9.9682
310.404 | -9.5022e-14 | 9.9685
310.67 | -9.8778e-14 | 9.9685
311.021 | -9.4373e-14 | 9.9683
311.288 | -1.0637e-13 | 9.9689
311.606 | -1.0044e-13 | 9.9687
311.887 | -1.066e-13 | 9.9686
312.204 | -9.6033e-14 | 9.9684
312.47 | -9.3952e-14 | 9.969
312.787 | -9.9561e-14 | 9.9686
313.104 | -9.5746e-14 | 9.9686
313.369 | -1.0014e-13 | 9.969
313.687 | -9.2979e-14 | 9.9691
313.971 | -1.0544e-13 | 9.9694
314.288 | -1.1142e-13 | 9.969
314.621 | -1.3114e-13 | 9.969
314.87 | -1.1608e-13 | 9.9693
315.204 | -1.1116e-13 | 9.9691
315.47 | -1.0678e-13 | 9.9694
315.82 | -1.0893e-13 | 9.9687
316.103 | -1.0241e-13 | 9.9693
316.388 | -1.0634e-13 | 9.9693
316.67 | -1.0188e-13 | 9.9698
316.97 | -1.061e-13 | 9.9692
317.288 | -1.1023e-13 | 9.9695
317.622 | -1.1122e-13 | 9.9692
317.888 | -1.1484e-13 | 9.9697
318.188 | -1.0821e-13 | 9.9694
318.471 | -1.1093e-13 | 9.9699
318.804 | -1.1158e-13 | 9.9692
319.103 | -1.0433e-13 | 9.9693
319.369 | -1.0694e-13 | 9.9695
319.687 | -9.3113e-14 | 9.9696
320.002 | -9.8784e-14 | 9.9697
320.268 | -1.1221e-13 | 9.9697
320.582 | -1.0902e-13 | 9.9697
320.899 | -1.1221e-13 | 9.9697
321.164 | -1.0596e-13 | 9.9698
321.495 | -1.1223e-13 | 9.9696
321.797 | -1.1512e-13 | 9.9698
322.064 | -1.0905e-13 | 9.97
322.379 | -1.1732e-13 | 9.9698
322.695 | -1.1367e-13 | 9.9699
322.964 | -1.1812e-13 | 9.97
323.279 | -1.2044e-13 | 9.9699
323.598 | -1.1457e-13 | 9.9702
323.897 | -1.1448e-13 | 9.9695
324.18 | -1.2592e-13 | 9.9698
324.498 | -1.2346e-13 | 9.9698
324.765 | -1.1695e-13 | 9.9703
325.083 | -1.2894e-13 | 9.9704
325.365 | -1.2236e-13 | 9.9704
325.684 | -1.2121e-13 | 9.97
325.966 | -1.3063e-13 | 9.9705
326.284 | -1.3305e-13 | 9.97
326.6 | -1.2819e-13 | 9.9703
326.918 | -1.3222e-13 | 9.9706
327.202 | -1.418e-13 | 9.9702
327.486 | -1.4209e-13 | 9.9704
327.802 | -1.3273e-13 | 9.9705
328.102 | -1.3728e-13 | 9.9707
328.385 | -1.3105e-13 | 9.9705
328.686 | -1.3797e-13 | 9.9707
329.019 | -1.3277e-13 | 9.9705
329.287 | -1.46e-13 | 9.9709
329.603 | -1.449e-13 | 9.971
329.886 | -1.4195e-13 | 9.9708
330.187 | -1.398e-13 | 9.971
330.503 | -1.3957e-13 | 9.9709
330.786 | -1.4962e-13 | 9.9707
331.102 | -1.5142e-13 | 9.9709
331.421 | -1.4877e-13 | 9.9709
331.685 | -1.4462e-13 | 9.9707
332.002 | -1.4594e-13 | 9.971
332.286 | -1.5036e-13 | 9.9708
332.604 | -1.444e-13 | 9.9714
332.869 | -1.4537e-13 | 9.9713
333.186 | -1.4492e-13 | 9.9713
333.504 | -1.4299e-13 | 9.9715
333.77 | -1.4661e-13 | 9.9713
334.104 | -1.465e-13 | 9.9712
334.37 | -1.4025e-13 | 9.9716
334.687 | -1.3649e-13 | 9.9715
335.004 | -1.429e-13 | 9.9718
335.27 | -1.3178e-13 | 9.9717
335.604 | -1.3525e-13 | 9.9711
335.886 | -1.3468e-13 | 9.9714
336.202 | -1.3139e-13 | 9.9716
336.487 | -1.4074e-13 | 9.9713
336.803 | -1.3576e-13 | 9.9719
337.085 | -1.2775e-13 | 9.9718
337.403 | -1.2742e-13 | 9.9718
337.67 | -1.1725e-13 | 9.9717
337.985 | -1.3216e-13 | 9.9717
338.303 | -1.2384e-13 | 9.9717
338.586 | -1.3008e-13 | 9.972
338.903 | -1.2954e-13 | 9.972
339.17 | -1.2618e-13 | 9.972
339.486 | -1.295e-13 | 9.9718
339.819 | -1.3497e-13 | 9.9718
340.086 | -1.3156e-13 | 9.9717
340.403 | -1.3877e-13 | 9.9717
340.72 | -1.35e-13 | 9.9719
340.986 | -1.2817e-13 | 9.9718
341.303 | -1.3723e-13 | 9.9723
341.569 | -1.3107e-13 | 9.9723
341.886 | -1.3524e-13 | 9.9722
342.17 | -1.3472e-13 | 9.9721
342.504 | -1.2833e-13 | 9.9725
342.769 | -1.4246e-13 | 9.9724
343.087 | -1.4506e-13 | 9.9725
343.402 | -1.4752e-13 | 9.9724
343.669 | -1.418e-13 | 9.9724
343.986 | -1.4055e-13 | 9.9724
344.319 | -1.4329e-13 | 9.9723
344.586 | -1.4417e-13 | 9.9721
344.903 | -1.5251e-13 | 9.9723
345.169 | -1.3925e-13 | 9.9723
345.485 | -1.4781e-13 | 9.9722
345.802 | -1.6027e-13 | 9.9722
346.086 | -1.5784e-13 | 9.9725
346.401 | -1.4676e-13 | 9.9725
346.712 | -1.5478e-13 | 9.9723
346.979 | -1.5428e-13 | 9.9722
347.295 | -1.6075e-13 | 9.9722
347.561 | -1.613e-13 | 9.9725
347.893 | -1.6383e-13 | 9.9723
348.16 | -1.6097e-13 | 9.9723
348.493 | -1.5924e-13 | 9.9722
348.762 | -1.6867e-13 | 9.9727
349.079 | -1.7298e-13 | 9.9728
349.394 | -1.6731e-13 | 9.9727
349.679 | -1.6801e-13 | 9.9726
349.997 | -1.7237e-13 | 9.9727
350.314 | -1.7907e-13 | 9.9726
350.581 | -1.7411e-13 | 9.9729
350.898 | -1.7878e-13 | 9.9726
351.165 | -1.7614e-13 | 9.973
351.481 | -1.8602e-13 | 9.9732
351.797 | -1.8818e-13 | 9.973
352.083 | -1.8832e-13 | 9.9727
352.366 | -1.8662e-13 | 9.9732
352.701 | -1.9145e-13 | 9.9733
352.967 | -1.9499e-13 | 9.9731
353.3 | -1.9819e-13 | 9.9733
353.583 | -2.077e-13 | 9.9733
353.918 | -2.0746e-13 | 9.9729
354.202 | -2.0343e-13 | 9.9733
354.485 | -2.0298e-13 | 9.9734
354.802 | -2.1458e-13 | 9.9733
355.101 | -2.1655e-13 | 9.9732
355.367 | -2.0284e-13 | 9.9737
355.702 | -2.1523e-13 | 9.9735
356.019 | -2.1304e-13 | 9.9733
356.284 | -2.2435e-13 | 9.9737
356.62 | -2.2182e-13 | 9.9734
356.886 | -2.2405e-13 | 9.9737
357.203 | -2.2873e-13 | 9.9737
357.486 | -2.3685e-13 | 9.9734
357.803 | -2.4146e-13 | 9.9733
358.069 | -2.4049e-13 | 9.9738
358.385 | -2.393e-13 | 9.9735
358.67 | -2.3209e-13 | 9.9738
359.003 | -2.4143e-13 | 9.9736
359.269 | -2.4663e-13 | 9.974
359.586 | -2.4288e-13 | 9.9738
359.919 | -2.4983e-13 | 9.9737
360.186 | -2.5745e-13 | 9.9735
360.502 | -2.4962e-13 | 9.9738
360.785 | -2.577e-13 | 9.9738
361.102 | -2.5968e-13 | 9.9738
361.369 | -2.5961e-13 | 9.974
361.702 | -2.6757e-13 | 9.9738
361.968 | -2.756e-13 | 9.9743
362.286 | -2.8056e-13 | 9.9743
362.603 | -2.7168e-13 | 9.9744
362.868 | -2.7588e-13 | 9.9743
363.202 | -2.7661e-13 | 9.9738
363.468 | -2.9048e-13 | 9.9743
363.801 | -2.8946e-13 | 9.9741
364.068 | -2.9951e-13 | 9.9743
364.387 | -2.9655e-13 | 9.9741
364.702 | -2.9189e-13 | 9.9742
364.97 | -3.0379e-13 | 9.9746
365.285 | -3.064e-13 | 9.9745
365.601 | -3.0324e-13 | 9.9743
365.885 | -3.0507e-13 | 9.9746
366.202 | -3.0782e-13 | 9.9747
366.501 | -3.1305e-13 | 9.9745
366.785 | -3.1614e-13 | 9.9743
367.103 | -3.2219e-13 | 9.9743
367.368 | -3.3089e-13 | 9.9747
367.685 | -3.3574e-13 | 9.9747
368.002 | -3.311e-13 | 9.9745
368.303 | -3.4735e-13 | 9.9746
368.62 | -3.5449e-13 | 9.9743
368.903 | -3.4524e-13 | 9.9745
369.187 | -3.4502e-13 | 9.9746
369.503 | -3.5327e-13 | 9.9749
369.787 | -3.6392e-13 | 9.975
370.121 | -3.6655e-13 | 9.9745
370.403 | -3.6684e-13 | 9.9749
370.687 | -3.6814e-13 | 9.9748
371.021 | -3.689e-13 | 9.9747
371.289 | -3.8209e-13 | 9.9751
371.621 | -3.8845e-13 | 9.9748
371.887 | -3.9522e-13 | 9.9752
372.205 | -3.9193e-13 | 9.9749
372.488 | -3.9971e-13 | 9.9753
372.803 | -4.1397e-13 | 9.9751
373.089 | -4.2144e-13 | 9.9752
373.422 | -4.2137e-13 | 9.9751
373.688 | -4.3026e-13 | 9.9753
374.006 | -4.3159e-13 | 9.9754
374.271 | -4.2978e-13 | 9.9752
374.605 | -4.3904e-13 | 9.9749
374.887 | -4.3421e-13 | 9.975
375.204 | -4.4155e-13 | 9.9754
375.472 | -4.5095e-13 | 9.9753
375.789 | -4.6302e-13 | 9.9753
376.072 | -4.5801e-13 | 9.9751
376.39 | -4.6345e-13 | 9.9756
376.673 | -4.6366e-13 | 9.9752
376.988 | -4.6826e-13 | 9.9752
377.256 | -4.7796e-13 | 9.9756
377.59 | -4.7691e-13 | 9.9752
377.89 | -4.8781e-13 | 9.9754
378.157 | -4.9947e-13 | 9.9757
378.489 | -5.0455e-13 | 9.9754
378.756 | -5.0855e-13 | 9.9757
379.089 | -5.1324e-13 | 9.9756
379.356 | -5.0566e-13 | 9.9757
379.674 | -5.1336e-13 | 9.9756
380.007 | -5.2608e-13 | 9.9756
380.274 | -5.3423e-13 | 9.976
380.589 | -5.3616e-13 | 9.9754
380.872 | -5.3869e-13 | 9.9756
381.189 | -5.45e-13 | 9.9756
381.457 | -5.5339e-13 | 9.976
381.79 | -5.6313e-13 | 9.9761
382.057 | -5.6734e-13 | 9.9759
382.389 | -5.6943e-13 | 9.9756
382.657 | -5.7793e-13 | 9.9761
382.973 | -5.8028e-13 | 9.9762
383.288 | -5.8983e-13 | 9.9759
383.62 | -5.97e-13 | 9.9758
383.886 | -5.9576e-13 | 9.9761
384.221 | -6.0803e-13 | 9.9758
384.486 | -6.1055e-13 | 9.976
384.769 | -6.1343e-13 | 9.9761
385.104 | -6.2796e-13 | 9.9759
385.371 | -6.3294e-13 | 9.976
385.704 | -6.3939e-13 | 9.9761
385.988 | -6.4331e-13 | 9.976
386.304 | -6.5886e-13 | 9.976
386.587 | -6.5589e-13 | 9.9759
386.902 | -6.6845e-13 | 9.9762
387.185 | -6.6754e-13 | 9.9762
387.502 | -6.7446e-13 | 9.9761
387.783 | -6.8584e-13 | 9.9758
388.101 | -7.0019e-13 | 9.9761
388.385 | -7.0301e-13 | 9.9763
388.702 | -7.1275e-13 | 9.9762
388.984 | -7.189e-13 | 9.976
389.3 | -7.3135e-13 | 9.9762
389.584 | -7.3442e-13 | 9.9765
389.868 | -7.363e-13 | 9.9764
390.2 | -7.4142e-13 | 9.9762
390.464 | -7.4796e-13 | 9.9761
390.795 | -7.6316e-13 | 9.9763
391.076 | -7.6534e-13 | 9.9759
391.359 | -7.705e-13 | 9.9763
391.675 | -7.7644e-13 | 9.9763
392.009 | -7.8403e-13 | 9.9759
392.274 | -7.9283e-13 | 9.9763
392.591 | -8.0338e-13 | 9.9762
392.875 | -8.16e-13 | 9.9762