## Settings
Sample Info | so12ig, dot b5 glued, rate 20 K/min
Comments | -10/+4/-10, 20 K/min
Additional Comments | rate 20 K/min
Major Measurement Parameters
Starting Temperature | 391.691
Initial Temperature | 81
Final Temperature | 450
Preliminary Voltage | -10
Pulse Voltage | 4
Pulse Time | 20
Wait Time | 0
Measurement Voltage | -10
Subsidiary Measurement Parameters
Step | 0.3
Accuracy Step | 0.1
Accuracy Stable | 1
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 20
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 5
Measurecount | 1
Time
Date | 12.4.2024
Clock | 15:5:42

## Stabilization
Temperature | Current | Temp Rate
391.469 | -1.3e-10 | 0
390.264 | -8.868e-12 | -29.3235
389.44 | -6.756e-12 | -32.5648
388.559 | -5.5466e-12 | -34.9101
387.82 | -4.7976e-12 | -34.8725
386.835 | -4.1681e-12 | -36.6895
386.04 | -3.6848e-12 | -36.5499
385.148 | -3.3064e-12 | -36.9676
384.205 | -3.0317e-12 | -37.5661
383.372 | -2.7419e-12 | -37.6988
382.362 | -2.4945e-12 | -46.5528
381.592 | -2.309e-12 | -56.457
380.641 | -2.1471e-12 | -82.2092
379.879 | -1.9218e-12 | -178.3575
379.036 | -1.8014e-12 | -289.5919
378.262 | -1.6332e-12 | -37.9731
377.395 | -1.6276e-12 | -38.064
376.543 | -1.4263e-12 | -38.1288
375.681 | -1.375e-12 | -728.5475
374.839 | -1.2738e-12 | -38.2594
374.084 | -1.1959e-12 | -38.1023
373.17 | -1.1471e-12 | -38.2746
372.404 | -1.0591e-12 | -38.1371
371.491 | -9.5372e-13 | -38.2989
370.734 | -9.4361e-13 | -38.1798
369.797 | -8.0004e-13 | -38.3888
369.025 | -7.7215e-13 | -38.3048
368.158 | -7.335e-13 | -38.3716
367.395 | -7.3226e-13 | -38.2523
366.435 | -7.1926e-13 | -38.4472
365.654 | -6.2363e-13 | -38.3526
364.769 | -5.8679e-13 | -38.4193
363.873 | -5.0082e-13 | -38.4903
362.971 | -4.9563e-13 | -38.5659
362.136 | -4.7468e-13 | -38.5526
361.178 | -4.7229e-13 | -38.7061
357.287 | -3.9327e-13 | -38.8279
356.301 | -3.5873e-13 | -38.9988
355.502 | -3.339e-13 | -38.9395
354.594 | -3.0668e-13 | -38.9956
353.783 | -2.8738e-13 | -38.9708
352.892 | -2.7111e-13 | -39.0159
352.05 | -2.5546e-13 | -38.9932
351.292 | -2.4048e-13 | -38.921
350.352 | -2.3106e-13 | -39.0113
349.57 | -2.2228e-13 | -38.9538
348.688 | -1.9514e-13 | -38.9997
347.891 | -1.876e-13 | -38.948
346.949 | -1.7792e-13 | -39.0358
346.181 | -1.7214e-13 | -38.9812
345.371 | -1.6685e-13 | -38.9596
344.562 | -1.5504e-13 | -38.9295
343.678 | -1.6306e-13 | -38.9624
342.84 | -1.3849e-13 | -38.9641
341.962 | -1.427e-13 | -38.9842
341.128 | -1.3848e-13 | -38.9698
340.278 | -1.2766e-13 | -38.9719
339.312 | -1.2171e-13 | -39.0613
338.507 | -1.2451e-13 | -39.0272
337.642 | -9.3665e-14 | -39.0295
336.877 | -1.0635e-13 | -38.9678
335.971 | -1.0609e-13 | -39.0101
335.182 | -1.0821e-13 | -38.9762
334.384 | -1.0909e-13 | -38.9421
333.536 | -1.0363e-13 | -38.9487
332.75 | -1.105e-13 | -38.91
331.825 | -9.5839e-14 | -38.9655
331.043 | -1.1489e-13 | -38.9223
330.154 | -1.0382e-13 | -38.9491
329.414 | -1.0024e-13 | -38.8887
328.464 | -9.424e-14 | -38.9575
327.693 | -1.0644e-13 | -38.9113
326.783 | -9.8826e-14 | -38.9521
326.015 | -9.525e-14 | -38.9107
325.057 | -9.716e-14 | -38.9729
324.295 | -9.8109e-14 | -38.9269
323.4 | -9.1346e-14 | -38.9553
322.62 | -9.8193e-14 | -38.9263
321.777 | -1.049e-13 | -38.9243
320.951 | -9.7315e-14 | -38.9108
320.148 | -9.7455e-14 | -38.8833
319.276 | -9.1814e-14 | -38.9038
318.541 | -9.1993e-14 | -38.8373
317.64 | -8.602e-14 | -38.8616
316.883 | -9.8566e-14 | -38.8158
316.015 | -1.0078e-13 | -38.8313
315.224 | -8.3655e-14 | -38.8001
314.442 | -9.7163e-14 | -38.7721
313.604 | -9.7219e-14 | -38.7682
312.706 | -8.4793e-14 | -38.7902
311.866 | -9.0098e-14 | -38.7929
311.059 | -9.1247e-14 | -38.7687
310.173 | -8.974e-14 | -38.7968
309.411 | -9.8756e-14 | -38.7619
308.547 | -9.0328e-14 | -38.7777
307.721 | -9.5757e-14 | -38.7676
306.829 | -9.1259e-14 | -38.7899
306.087 | -9.7093e-14 | -38.741
305.242 | -9.8946e-14 | -38.7482
304.445 | -8.7553e-14 | -38.7227
303.657 | -9.4106e-14 | -38.694
302.801 | -9.6088e-14 | -38.6976
302.048 | -9.5504e-14 | -38.6662
301.159 | -9.4144e-14 | -38.6825
300.422 | -9.568e-14 | -38.6401
299.557 | -9.9447e-14 | -38.6477
298.853 | -9.0585e-14 | -38.5959
297.984 | -9.2827e-14 | -38.6102
297.248 | -8.6816e-14 | -38.5631
296.36 | -8.4958e-14 | -38.5723
295.587 | -1.0074e-13 | -38.5384
294.789 | -9.3448e-14 | -38.5193
294.067 | -9.1039e-14 | -38.4711
293.29 | -8.5061e-14 | -38.447
292.468 | -8.3047e-14 | -38.4405
291.785 | -8.2644e-14 | -38.3739
291.08 | -9.3553e-14 | -38.3187
290.439 | -9.6522e-14 | -38.2404
289.654 | -8.107e-14 | -38.2245
289.047 | -8.7617e-14 | -38.1384
288.273 | -8.7703e-14 | -38.1122
287.65 | -8.4871e-14 | -38.0434
286.851 | -8.1334e-14 | -38.0305
286.268 | -8.8617e-14 | -37.9354
285.502 | -8.1227e-14 | -37.9068
284.883 | -8.4315e-14 | -37.8364
284.114 | -8.2185e-14 | -37.8138
283.544 | -8.0359e-14 | -37.7194
282.805 | -7.4357e-14 | -37.6895
282.247 | -7.7988e-14 | -37.5991
281.456 | -7.4749e-14 | -37.5857
280.903 | -7.2608e-14 | -37.4884
280.132 | -7.9233e-14 | -37.4695
279.595 | -7.5664e-14 | -37.3737
278.75 | -6.8154e-14 | -37.3735
278.184 | -7.9561e-14 | -37.285
277.458 | -7.3804e-14 | -37.263
276.851 | -6.5036e-14 | -37.199
276.15 | -6.7026e-14 | -37.1579
275.435 | -7.1962e-14 | -37.1159
274.818 | -6.1445e-14 | -37.0537
274.153 | -6.9937e-14 | -37.0065
273.513 | -7.0156e-14 | -36.9497
272.779 | -6.2572e-14 | -36.9234
272.259 | -7.0269e-14 | -36.827
271.427 | -6.811e-14 | -36.8296
270.921 | -8.0155e-14 | -36.7356
270.165 | -6.843e-14 | -36.7178
269.648 | -7.5364e-14 | -36.6324
268.986 | -6.7029e-14 | -36.5891
268.359 | -6.5498e-14 | -36.5338
267.826 | -7.1996e-14 | -36.4507
267.12 | -6.5987e-14 | -36.4218
266.685 | -7.773e-14 | -36.315
265.986 | -7.1584e-14 | -36.2834
265.471 | -8.1373e-14 | -36.201
264.942 | -7.4544e-14 | -36.1228
264.36 | -8.4119e-14 | -36.0642
263.938 | -7.8212e-14 | -35.9563
263.204 | -7.9602e-14 | -35.9408
262.792 | -8.4422e-14 | -35.8338
262.196 | -8.1244e-14 | -35.781
261.602 | -8.5046e-14 | -35.7217
261.184 | -9.0649e-14 | -35.6218
260.519 | -8.5858e-14 | -35.5874
260.114 | -1.0369e-13 | -35.4873
259.575 | -1.0392e-13 | -35.4232
258.991 | -1.0697e-13 | -35.3696
258.629 | -1.1051e-13 | -35.254
257.957 | -1.2294e-13 | -35.2242
257.555 | -1.2685e-13 | -35.1257
257.077 | -1.2078e-13 | -35.0498
256.498 | -1.1787e-13 | -35.0014
256.144 | -1.1434e-13 | -34.895
255.559 | -7.7674e-14 | -34.8489
255.074 | -1.7333e-13 | -34.773
254.655 | -1.4978e-13 | -34.683
254.028 | -1.4161e-13 | -34.6455
253.694 | -1.4132e-13 | -34.5369
253.209 | -1.5139e-13 | -34.4667
252.744 | -1.8047e-13 | -34.389
252.313 | -1.0024e-13 | -34.3112
251.698 | -1.1053e-13 | -34.2781
251.348 | -1.0774e-13 | -34.176
250.848 | -1.1347e-13 | -34.1104
250.382 | -1.1866e-13 | -34.0391
250.014 | -1.1053e-13 | -33.9416
249.458 | -1.0708e-13 | -33.8936
249.087 | -1.1108e-13 | -33.8007
248.517 | -1.071e-13 | -33.7591
247.99 | -9.7253e-14 | -33.7084
247.636 | -1.0221e-13 | -33.6116
247.148 | -9.6204e-14 | -33.5516
246.772 | -1.0297e-13 | -33.467
246.466 | -1.028e-13 | -33.3686
246.13 | -9.7535e-14 | -33.277
245.771 | -9.17e-14 | -33.1929
245.511 | -8.0879e-14 | -33.0829
245.221 | -8.5356e-14 | -32.9837
244.909 | 9.7227e-14 | -32.8877
244.663 | -1.918e-15 | -32.7794
244.377 | -2.5871e-14 | -32.6807
244.019 | -7.685e-15 | -32.6004
243.7 | -7.083e-15 | -32.5113
243.43 | -2.1788e-14 | -32.4121
243.18 | -1.9346e-14 | -32.3121
242.887 | -1.2361e-14 | -32.2146
242.64 | -1.3736e-14 | -32.1145
242.399 | -2.0602e-14 | -32.0111
242.11 | -2.4611e-14 | -31.9196
241.837 | -1.6345e-14 | -31.827
241.563 | 1.1843e-14 | -31.7321
241.303 | 5.312e-15 | -31.6396
241.02 | -3.9973e-14 | -31.5521
240.73 | -3.4638e-14 | -31.4647
240.468 | -2.451e-15 | -31.3704
240.134 | 1.1393e-14 | -31.2928
239.845 | 7.499e-15 | -31.2064
239.552 | 1.9173e-14 | -31.1234
239.204 | -1.9312e-13 | -31.0522
238.75 | -9.164e-14 | -31.006
238.451 | -2.9579e-14 | -30.9274
238.163 | -1.629e-15 | -30.8485
237.845 | -1.1274e-14 | -30.773
237.523 | 1.682e-15 | -30.6988
237.249 | -4.104e-15 | -30.6166
236.907 | 1.4589e-14 | -30.5465
236.389 | 5.1356e-14 | -30.5146
235.992 | 1.8374e-14 | -30.4568
235.678 | -5.653e-15 | -30.3857
235.363 | 5.929e-15 | -30.3141
235.048 | 7.8282e-14 | -30.243
234.761 | -1.0701e-14 | -30.1669
234.474 | 2.8688e-14 | -30.0946
234.157 | 1.898e-14 | -30.0275
233.825 | 3.6759e-14 | -29.9652
233.476 | -1.641e-15 | -29.9036
233.092 | 9.8908e-14 | -29.8475
232.773 | 4.1879e-14 | -29.7666
232.282 | 2.435e-15 | -29.7335
231.884 | 6.433e-14 | -29.6844
231.53 | -6.428e-15 | -29.6285
231.193 | 7.7123e-14 | -29.5712
230.868 | -6.742e-15 | -29.5122
230.523 | 1.5151e-13 | -29.4526
230.176 | 9.0596e-14 | -29.3909
229.858 | 1.2925e-13 | -29.3311
229.539 | 3.0432e-14 | -29.2648
229.175 | -1.2115e-14 | -29.2083
228.834 | 8.7866e-14 | -29.1501
228.489 | -7.4995e-14 | -29.0856
228.136 | 3.2722e-14 | -29.0262
227.78 | -9.2194e-14 | -28.9741
227.45 | 5.6925e-14 | -28.9183
227.107 | 3.1814e-14 | -28.8657
226.79 | 9.6099e-14 | -28.8105
226.451 | -1.4966e-14 | -28.7572
226.088 | 1.1457e-13 | -28.7083
225.759 | -6.1306e-13 | -28.6526
225.4 | -2.1013e-13 | -28.5999
225.034 | -8.0103e-14 | -28.5514
224.695 | 2.754e-15 | -28.5015
224.357 | 8.8755e-14 | -28.4517
223.996 | 1.1853e-13 | -28.406
223.644 | 8.3742e-14 | -28.3551
223.268 | 6.0028e-14 | -28.3123
222.921 | 4.9584e-14 | -28.2649
222.577 | 8.4311e-14 | -28.218
222.201 | 2.753e-15 | -28.1769
221.847 | 2.088e-15 | -28.132
221.489 | 3.5973e-14 | -28.0869
221.106 | -1.9167e-14 | -28.0466
220.751 | 2.7279e-14 | -28.0036
220.392 | 2.9328e-14 | -27.9581
219.978 | -9.5846e-14 | -27.9197
219.623 | 1.5776e-14 | -27.8757
219.267 | -7.0525e-14 | -27.8351
218.913 | 1.0424e-13 | -27.7928
218.527 | -2.3862e-14 | -27.7513
218.139 | 1.6267e-14 | -27.7121
217.78 | 1.9162e-14 | -27.6697
217.399 | -4.235e-15 | -27.6313
217.049 | -2.2655e-14 | -27.5894
216.668 | 9.628e-15 | -27.5525
216.312 | -2.543e-15 | -27.5125
215.929 | -6.7424e-14 | -27.474
215.575 | -4.1705e-14 | -27.4336
215.194 | -1.9174e-13 | -27.3977
214.838 | 1.1089e-14 | -27.358
214.453 | -4.449e-14 | -27.3197
214.095 | 1.6773e-14 | -27.2791
213.701 | 2.454e-15 | -27.2432
213.333 | -4.868e-15 | -27.2083
212.931 | -1.7799e-14 | -27.1753
212.538 | 7.6807e-14 | -27.1418
212.173 | -2.4225e-14 | -27.1061
211.77 | 9.3756e-14 | -27.0739
211.383 | -8.9385e-14 | -27.0408
210.97 | 4.3395e-14 | -27.0101
210.585 | 1.3002e-13 | -26.9776
210.184 | 9.6857e-14 | -26.9473
209.813 | 1.2922e-13 | -26.9139
209.44 | -1.7503e-13 | -26.8808
209.066 | 9.8535e-14 | -26.8489
208.662 | 1.4589e-13 | -26.8188
208.263 | 1.3414e-13 | -26.7885
207.894 | 2.5632e-13 | -26.7539
207.48 | 1.6755e-13 | -26.7268
207.088 | 3.2853e-14 | -26.6958
206.64 | 1.306e-13 | -26.6744
206.216 | 3.912e-14 | -26.6503
205.829 | 1.4218e-13 | -26.6195
205.419 | 1.2644e-13 | -26.5925
205.041 | 1.1113e-13 | -26.5606
204.632 | 8.3801e-14 | -26.5365
204.258 | -8.5445e-14 | -26.5045
203.851 | 2.7804e-14 | -26.4783
203.472 | 1.0828e-13 | -26.4473
203.091 | 1.3192e-13 | -26.4184
202.659 | 1.1677e-13 | -26.3952
202.195 | -1.4657e-13 | -26.3755
201.653 | 1.8818e-13 | -26.3656
201.164 | 1.2091e-13 | -26.3497
200.695 | 1.148e-13 | -26.3332
200.252 | 7.8779e-14 | -26.3119
199.789 | 1.1638e-13 | -26.2926
199.23 | 5.2498e-14 | -26.2876
198.736 | 1.5219e-13 | -26.2743
198.282 | 7.8139e-14 | -26.2534
197.855 | 1.6013e-13 | -26.221
197.398 | -5.3799e-14 | -26.2022
196.961 | 1.4442e-13 | -26.1799
196.543 | 9.4215e-14 | -26.1567
196.045 | 1.6035e-13 | -26.144
195.473 | 1.6378e-13 | -26.1409
194.961 | -2.8519e-14 | -26.1296
194.47 | -9.8486e-14 | -26.1155
194.029 | -9.5393e-14 | -26.0935
193.589 | -9.7445e-14 | -26.0718
193.178 | 7.006e-15 | -26.0488
192.723 | -1.0269e-13 | -26.0307
192.236 | -7.0774e-14 | -26.0163
191.813 | 7.8444e-14 | -25.9948
191.369 | 1.2441e-13 | -25.9772
190.895 | 6.3092e-14 | -25.9612
190.436 | 1.7587e-13 | -25.944
189.943 | 7.8042e-13 | -25.9318
189.499 | 4.6765e-13 | -25.9136
189.097 | 3.7707e-13 | -25.8908
188.661 | 1.8938e-13 | -25.8688
188.215 | 6.1231e-14 | -25.8497
187.769 | 1.2415e-13 | -25.8311
187.356 | 1.8519e-13 | -25.8085
186.908 | 7.0689e-14 | -25.7915
186.48 | 1.2036e-13 | -25.7721
185.992 | 1.5021e-13 | -25.759
185.523 | 3.2063e-14 | -25.7445
185.074 | 6.9685e-14 | -25.7265
184.665 | 3.2267e-13 | -25.7044
184.225 | 4.734e-14 | -25.6868
183.786 | -3.4139e-14 | -25.6674
183.347 | 2.2281e-13 | -25.6491
182.906 | 3.7916e-13 | -25.6273
182.45 | 1.7637e-13 | -25.6123
182.009 | -8.4278e-14 | -25.5951
181.526 | -5.0301e-14 | -25.5822
181.076 | 2.9693e-14 | -25.5664
180.642 | -1.5813e-13 | -25.5484
180.132 | 1.5473e-13 | -25.5401
179.555 | -3.2375e-13 | -25.539
179.041 | -1.2445e-13 | -25.5298
178.517 | -3.678e-14 | -25.5202
178.045 | 1.5561e-13 | -25.5055
177.608 | 3.1427e-13 | -25.4886
177.111 | 7.6778e-13 | -25.4785
176.65 | 2.1736e-13 | -25.4615
176.124 | 1.4937e-13 | -25.4554
175.601 | 6.3376e-14 | -25.4491
175.091 | 2.9153e-13 | -25.4377
174.521 | -1.0816e-14 | -25.4239
173.862 | 1.1768e-14 | -25.4289
173.368 | -3.7311e-14 | -25.4176
172.878 | -5.906e-14 | -25.4066
172.4 | -1.1984e-14 | -25.3948
171.918 | -1.231e-15 | -25.3829
171.439 | 2.6928e-14 | -25.3706
170.997 | -1.9561e-14 | -25.3557
170.516 | -1.1832e-14 | -25.344
170.033 | 1.1495e-13 | -25.3323
169.565 | 1.5257e-14 | -25.3188
169.117 | -1.841e-15 | -25.304
168.627 | 3.4668e-14 | -25.2946
168.156 | 1.1383e-13 | -25.2817
167.703 | 2.1546e-14 | -25.2666
167.238 | -4.6713e-13 | -25.2534
166.782 | -1.2459e-13 | -25.2398
166.23 | 2.51e-13 | -25.2361
165.677 | 1.6947e-13 | -25.2335
165.138 | 8.0325e-14 | -25.2298
164.655 | 3.1354e-13 | -25.2204
164.177 | 2.6499e-13 | -25.2098
163.744 | 2.3078e-13 | -25.1948
163.279 | 2.3027e-13 | -25.1814
162.821 | 1.4124e-13 | -25.168
162.36 | 5.0431e-14 | -25.1546
161.943 | -5.9842e-13 | -25.1382
161.494 | -1.9661e-13 | -25.1243
161.052 | 2.6352e-13 | -25.1107
160.625 | 1.465e-13 | -25.095
160.171 | 1.1646e-13 | -25.0818
159.73 | -1.678e-14 | -25.068
159.312 | -1.8611e-13 | -25.0512
158.849 | -7.8684e-14 | -25.0393
158.39 | -2.3262e-14 | -25.0284
157.98 | 2.315e-14 | -25.0121
157.535 | 1.7985e-14 | -24.9978
157.086 | -3.2918e-14 | -24.9852
156.636 | 2.9625e-13 | -24.9712
156.17 | -2.0533e-13 | -24.959
155.727 | -6.6295e-14 | -24.9445
155.248 | 3.348e-14 | -24.9351
154.679 | 7.3279e-14 | -24.9348
154.181 | 5.2704e-14 | -24.9271
153.697 | 4.003e-13 | -24.9193
153.135 | 3.5238e-13 | -24.9181
152.62 | 1.6577e-13 | -24.9122
152.171 | -1.2929e-13 | -24.9
151.655 | 2.7871e-13 | -24.8924
151.051 | 1.1239e-13 | -24.8954
150.372 | -7.167e-14 | -24.9073
149.718 | -7.285e-14 | -24.9153
149.098 | 1.6924e-13 | -24.9206
148.252 | -9.1066e-14 | -24.9459
147.441 | -9.2352e-14 | -24.9706
146.505 | -2.3932e-14 | -25.0078
145.567 | 5.7731e-14 | -25.0442
144.756 | -7.928e-15 | -25.0678
144.009 | 5.0393e-14 | -25.0841
143.213 | 6.2832e-14 | -25.1045
142.332 | 6.4416e-14 | -25.136
141.457 | 4.7113e-14 | -25.1666
140.727 | 6.231e-14 | -25.1828
139.994 | 6.5047e-14 | -25.1976
139.152 | 1.0942e-13 | -25.2217
138.197 | 7.5617e-14 | -25.2596
137.287 | 1.0717e-13 | -25.2923
136.495 | 1.8388e-13 | -25.3128
135.718 | 1.0858e-13 | -25.3313
134.902 | 8.1539e-14 | -25.3547
133.949 | 5.6721e-14 | -25.3909
133.01 | 9.3748e-14 | -25.4263
131.972 | 7.9787e-14 | -25.4709
130.747 | 6.7282e-14 | -25.5332
129.447 | 8.0078e-14 | -25.603
127.907 | 7.6115e-14 | -25.6957
126.372 | 4.9767e-14 | -25.7878
125.02 | 5.3607e-14 | -25.86
123.869 | 3.7516e-14 | -25.9147
122.83 | 7.0357e-14 | -25.9588
121.675 | 6.6732e-14 | -26.012
120.636 | 2.3029e-14 | -26.054
119.565 | 8.4362e-14 | -26.0987
118.248 | 9.104e-15 | -26.1674
116.925 | 3.5231e-14 | -26.2364
115.287 | 1.2951e-13 | -26.3339
113.739 | 1.772e-13 | -26.4237
111.757 | 7.8399e-14 | -26.5522
109.908 | 8.2553e-14 | -26.6691
108.112 | 4.6218e-14 | -26.7818
106.628 | 1.0234e-13 | -26.8649
105.129 | 6.2914e-14 | -26.9485
103.334 | 7.4349e-14 | -27.0584
101.406 | 1.0796e-13 | -27.1806
99.2295 | 1.219e-13 | -27.326
96.6549 | 1.0628e-13 | -27.5065
94.5889 | 1.4837e-13 | -27.6411
93.5779 | 1.419e-13 | -27.6757
92.6659 | 1.7719e-13 | -27.7014
88.6742 | 2.0489e-13 | -28.0115
86.4007 | 2.0476e-13 | -28.1614
84.635 | 1.8742e-13 | -28.2651
83.3884 | 1.5292e-13 | -28.3201
82.4941 | 1.3104e-13 | -28.3429
82.1059 | 1.4996e-13 | -28.3189
81.7262 | 1.1798e-13 | -28.2933
81.4967 | 1.9687e-13 | -28.2547
81.3892 | 1.2e-13 | -28.205
81.2994 | 1.8217e-13 | -28.1547
81.1993 | 1.7064e-13 | -28.1051
81.1341 | 1.5168e-13 | -28.0522
81.0522 | 1.4965e-13 | -28.0019
81.0057 | 8.7557e-14 | -27.9455
80.9775 | 1.7362e-13 | -27.8914
80.9466 | 1.8392e-13 | -27.8363

## Pulse
Temperature | Current | Time
80.8929 | 4.3023e-13 | 6.3035
80.7339 | 1.697e-13 | 12.2507
80.6793 | 1.8545e-13 | 13.631
80.7727 | 1.8313e-13 | 15.0225
80.8916 | 1.7321e-13 | 16.41
80.9154 | 1.6622e-13 | 17.7891
80.7029 | 1.6039e-13 | 19.1475

## Measurements
Temperature | Current | Temp Rate
80.6042 | -6.4117e-13 | 0
80.7512 | -1.3011e-12 | 6.6768
81.0458 | -1.0275e-14 | 3.0132
82.7019 | 1.4201e-14 | 13.1271
83.8001 | -1.0933e-13 | 16.9045
84.1693 | -1.28e-13 | 17.8647
84.5717 | 2.9024e-14 | 18.8365
85.8734 | -1.2894e-13 | 21.3846
86.8731 | -7.4406e-14 | 22.728
87.1893 | -4.1577e-14 | 22.9644
87.5442 | -8.3481e-14 | 24.824
87.8415 | 2.1161e-14 | 47.3905
88.1774 | -5.8335e-14 | 67.6978
88.4848 | -1.4496e-13 | 237.6909
88.7628 | -9.7129e-14 | 369.681
89.0637 | -2.4704e-14 | 18.5843
89.337 | -7.9205e-14 | 18.8318
89.648 | -8.7429e-14 | 19.0513
89.9536 | -1.7834e-13 | 853.9088
90.209 | -1.9836e-14 | 19.335
90.5022 | -1.6604e-13 | 19.4071
90.7896 | -1.4957e-13 | 19.5422
91.0354 | -3.3715e-14 | 19.6865
91.398 | -6.659e-14 | 19.807
91.6774 | -1.404e-14 | 19.8523
91.9147 | -8.2118e-14 | 19.9395
92.3041 | -1.7407e-13 | 20.0709
92.5341 | -3.543e-15 | 20.0909
92.9134 | -2.2051e-14 | 20.1903
93.1744 | 1.392e-14 | 20.1827
93.5061 | -1.5119e-13 | 20.2768
93.7553 | -1.399e-14 | 20.2579
94.0737 | -7.9859e-14 | 20.3205
94.3914 | -6.4713e-14 | 20.3355
94.7397 | -1.1989e-13 | 20.3148
94.9497 | -1.3621e-13 | 20.346
95.2954 | 6.7997e-13 | 19.7921
96.8668 | -8.5982e-14 | 18.599
99.2072 | -4.2382e-14 | 20.3248
100.17 | -1.2016e-13 | 20.3079
100.468 | -3.4514e-14 | 20.2899
100.759 | -3.7516e-14 | 20.2982
101.051 | -2.5885e-13 | 20.2751
101.375 | -2.0391e-13 | 20.2457
101.667 | -7.2577e-14 | 20.2531
101.961 | -1.4219e-13 | 20.2434
102.286 | -7.4909e-14 | 20.2172
102.579 | -2.9715e-14 | 20.2244
102.906 | -9.2421e-14 | 20.1924
103.138 | 6.776e-14 | 19.8391
103.729 | 1.4112e-13 | 20.1892
103.959 | -1.2238e-13 | 18.9487
105.681 | -1.4401e-13 | 20.1665
106.378 | -9.2936e-14 | 20.1651
106.678 | -1.2376e-13 | 20.155
106.91 | -1.3336e-13 | 20.1582
107.242 | -6.5109e-14 | 20.1445
107.544 | -5.1767e-14 | 20.1534
107.876 | -5.7057e-14 | 20.1408
108.176 | -6.1257e-14 | 20.1586
108.477 | -1.7088e-13 | 20.1497
108.777 | -1.3291e-13 | 20.1419
109.108 | -1.536e-13 | 20.1269
109.336 | -6.7708e-14 | 20.1309
109.632 | -1.4648e-13 | 20.1349
109.958 | -3.0113e-14 | 20.1182
110.254 | -9.4016e-14 | 20.1295
110.551 | -5.3104e-14 | 20.118
110.883 | -5.5006e-14 | 20.109
111.181 | -5.6655e-14 | 20.1247
111.481 | -3.4214e-14 | 20.1165
111.813 | -2.1976e-14 | 20.1077
112.012 | -5.6651e-14 | 20.1137
112.315 | -6.1021e-14 | 20.1133
112.647 | -1.8609e-14 | 20.1006
112.947 | -5.2867e-14 | 20.1129
113.282 | -2.7902e-14 | 20.1007
113.582 | -7.4511e-14 | 20.1087
113.817 | -5.3196e-14 | 20.1109
114.152 | -6.4497e-14 | 20.0947
114.452 | -1.4597e-14 | 20.112
114.754 | -7.2199e-14 | 20.1084
115.088 | -5.2517e-14 | 20.096
115.389 | -4.8885e-14 | 20.1153
115.69 | -1.307e-14 | 20.1083
116.025 | -4.232e-14 | 20.0999
116.225 | -7.9741e-14 | 20.1028
116.561 | -1.0134e-13 | 20.0961
116.863 | -9.4803e-14 | 20.1126
117.166 | -1.0733e-13 | 20.1084
117.466 | -6.0893e-14 | 20.1048
117.8 | -5.5732e-14 | 20.1024
118.099 | -5.7093e-14 | 20.0946
118.396 | -9.4519e-14 | 20.0979
118.626 | -6.6749e-14 | 20.1014
118.956 | -2.0718e-14 | 20.0852
119.253 | -6.1451e-14 | 20.0919
119.583 | -8.3717e-14 | 20.0815
119.883 | -4.5373e-14 | 20.0936
120.215 | -4.4915e-14 | 20.0844
120.416 | -6.6279e-14 | 20.089
120.746 | -6.2687e-14 | 20.0812
121.048 | -4.2181e-14 | 20.0899
121.381 | -5.6822e-14 | 20.0822
121.683 | -5.2569e-14 | 20.088
122.018 | -6.5637e-14 | 20.0796
122.217 | -5.0828e-14 | 20.0831
122.553 | -7.1823e-14 | 20.0926
122.852 | -4.0618e-14 | 20.0851
123.188 | -5.409e-14 | 20.0921
123.489 | -1.1383e-14 | 20.0841
123.821 | -3.4428e-14 | 20.0777
124.027 | -6.1867e-14 | 20.0828
124.361 | -6.8269e-14 | 20.091
124.664 | -8.5549e-14 | 20.089
124.999 | -6.0693e-14 | 20.0799
125.3 | -5.8893e-14 | 20.0846
125.535 | -7.2772e-14 | 20.0928
125.868 | -5.9599e-14 | 20.0833
126.172 | -9.5623e-14 | 20.0892
126.406 | -7.5685e-14 | 20.092
126.706 | -4.7879e-14 | 20.0872
127.042 | -6.5937e-14 | 20.0902
127.377 | -4.7015e-14 | 20.0785
127.71 | -5.2944e-14 | 20.0856
128.006 | -5.908e-14 | 20.0776
128.334 | -5.6366e-14 | 20.0764
128.531 | -4.2667e-14 | 20.0803
128.861 | -3.8517e-14 | 20.0729
129.159 | -4.589e-14 | 20.0796
129.492 | -5.5125e-14 | 20.0696
129.826 | -4.6693e-14 | 20.0682
130.058 | -4.167e-14 | 20.0694
130.359 | -4.0238e-14 | 20.073
130.693 | -7.9432e-14 | 20.0804
130.926 | -6.8944e-14 | 20.0772
131.261 | -5.6677e-14 | 20.0727
131.563 | -2.6416e-14 | 20.0664
131.896 | -4.255e-14 | 20.069
132.197 | -2.9734e-14 | 20.0738
132.534 | -4.5324e-14 | 20.0664
132.769 | -4.6302e-14 | 20.0708
133.072 | -2.2855e-14 | 20.077
133.305 | -5.5209e-14 | 20.0784
133.64 | -5.413e-14 | 20.0725
133.939 | -4.9596e-14 | 20.0779
134.275 | -4.9253e-14 | 20.0733
134.576 | -4.2145e-14 | 20.0799
134.878 | -6.0092e-14 | 20.0743
135.114 | -4.8848e-14 | 20.0767
135.449 | -5.492e-14 | 20.0704
135.75 | -5.276e-14 | 20.0745
136.088 | -7.0263e-14 | 20.0815
136.388 | -3.2545e-14 | 20.0754
136.622 | -4.1397e-14 | 20.079
136.958 | -7.0498e-14 | 20.0722
137.259 | -9.87e-16 | 20.0767
137.593 | -1.6076e-14 | 20.072
137.89 | -3.7526e-14 | 20.0753
138.12 | -4.5055e-14 | 20.0761
138.45 | -1.4924e-14 | 20.0727
138.784 | -4.6359e-14 | 20.0648
139.114 | -4.1909e-14 | 20.0674
139.315 | -5.6469e-14 | 20.0729
139.645 | -7.8782e-14 | 20.0668
139.944 | -5.2249e-14 | 20.0698
140.278 | -5.8516e-14 | 20.0647
140.579 | -7.2399e-14 | 20.0698
140.912 | 2.507e-15 | 20.0642
141.111 | -1.879e-15 | 20.0651
141.447 | -3.4372e-14 | 20.0706
141.784 | -2.8805e-14 | 20.061
142.118 | -5.9341e-14 | 20.0655
142.319 | -7.0671e-14 | 20.068
142.655 | -5.4292e-14 | 20.0715
142.991 | -7.4795e-14 | 20.0647
143.325 | -6.3385e-14 | 20.0668
143.56 | -6.0171e-14 | 20.0673
143.863 | -6.5875e-14 | 20.0712
144.196 | -3.8001e-14 | 20.064
144.532 | -6.7984e-14 | 20.0694
144.733 | -1.5435e-14 | 20.0718
145.066 | -3.3899e-14 | 20.066
145.368 | -6.2528e-14 | 20.0703
145.703 | -5.5008e-14 | 20.0631
146.036 | -7.5359e-14 | 20.0665
146.238 | -4.5447e-14 | 20.0693
146.573 | -4.5899e-14 | 20.0699
146.805 | -7.5006e-14 | 20.0702
147.14 | -6.3322e-14 | 20.0733
147.477 | -3.0155e-14 | 20.0654
147.81 | -4.4613e-14 | 20.0652
148.045 | -5.4531e-14 | 20.067
148.373 | -2.6375e-14 | 20.0644
148.704 | -3.9328e-14 | 20.0635
149.001 | -9.266e-15 | 20.0677
149.332 | -2.7077e-14 | 20.0613
149.564 | -6.7092e-14 | 20.0618
149.862 | -5.2913e-14 | 20.0638
150.195 | -6.0578e-14 | 20.0649
150.527 | -3.7996e-14 | 20.0573
150.76 | -6.784e-15 | 20.0588
151.062 | -1.8338e-14 | 20.063
151.394 | -8.9567e-14 | 20.0644
151.73 | -9.1059e-14 | 20.0596
151.931 | -5.9989e-14 | 20.0623
152.264 | -3.8504e-14 | 20.0655
152.566 | -9.0308e-14 | 20.0615
152.901 | 1.8673e-13 | 20.0662
153.234 | 2.515e-14 | 20.0564
153.469 | -2.3861e-13 | 20.0648
153.805 | -1.5308e-13 | 20.0604
154.005 | -4.5922e-14 | 20.0622
154.341 | -7.0055e-14 | 20.0667
154.676 | -3.3793e-14 | 20.0619
154.978 | -7.8957e-14 | 20.0659
155.311 | -4.8603e-14 | 20.0609
155.512 | -5.136e-15 | 20.062
155.85 | -5.2072e-14 | 20.0656
156.185 | -6.323e-14 | 20.0595
156.523 | 6.479e-14 | 19.9558
158.099 | -1.9927e-13 | 19.676
160.394 | -4.1454e-14 | 20.0624
161.391 | -9.8683e-14 | 20.0588
161.69 | -7.4288e-14 | 20.06
161.956 | -1.9147e-14 | 20.0592
162.257 | -3.0801e-14 | 20.0617
162.591 | -5.318e-14 | 20.0574
162.891 | -6.2704e-14 | 20.0636
163.194 | -8.5794e-14 | 20.0603
163.429 | 7.1246e-14 | 20.0617
163.764 | -1.5535e-14 | 20.0627
164.102 | -1.3119e-13 | 20.0585
164.337 | 9.94e-15 | 20.0618
164.641 | -1.3439e-13 | 20.0647
164.979 | -7.1068e-14 | 20.0656
165.315 | -1.6986e-14 | 20.0592
165.55 | -3.0154e-14 | 20.0614
165.852 | -6.6752e-14 | 20.0623
166.187 | -9.1136e-14 | 20.0646
166.422 | 3.0828e-14 | 20.0655
166.758 | -3.3632e-14 | 20.0659
167.057 | -4.9856e-14 | 20.0621
167.392 | -8.3666e-14 | 20.0669
167.727 | -5.7255e-14 | 20.0605
167.958 | 1.3811e-13 | 20.0597
168.26 | 1.8837e-13 | 20.0641
168.591 | -1.947e-13 | 20.0639
168.826 | 1.404e-13 | 20.0647
169.158 | -3.3711e-14 | 20.0646
169.491 | 1.5015e-13 | 20.0587
169.826 | 7.7666e-14 | 20.0598
170.058 | -1.5171e-13 | 20.0615
170.358 | -2.286e-13 | 20.064
170.69 | 2.7095e-13 | 20.0585
170.991 | -3.7926e-14 | 20.0613
171.225 | 5.3993e-14 | 20.0617
171.557 | 1.2918e-13 | 20.0587
171.851 | 2.3223e-13 | 20.0592
172.18 | 3.0696e-14 | 20.0594
172.412 | -1.1796e-13 | 20.0582
172.741 | 1.1719e-13 | 20.0584
173.07 | 1.1756e-13 | 20.0541
173.37 | 1.0903e-13 | 20.0554
173.701 | -1.1701e-14 | 20.055
173.934 | -2.4084e-13 | 20.0558
174.265 | -2.9948e-13 | 20.0497
174.597 | -5.231e-14 | 20.0507
174.898 | -1.1681e-13 | 20.0536
175.132 | -2.146e-14 | 20.0551
175.467 | 1.1334e-13 | 20.056
175.8 | 2.4205e-14 | 20.0502
176.129 | 2.2213e-14 | 20.0509
176.334 | -1.0474e-13 | 20.0528
176.668 | 1.9525e-14 | 20.0523
177.002 | 8.1829e-14 | 20.0544
177.268 | 1.166e-15 | 20.0513
177.603 | -2.8668e-14 | 20.0527
177.903 | 7.946e-15 | 20.0532
178.17 | 2.017e-15 | 20.0578
178.539 | -3.5692e-14 | 20.0503
178.771 | -1.1031e-13 | 20.0549
179.006 | -7.2166e-14 | 20.0528
179.34 | -4.072e-15 | 20.0532
179.675 | 4.8031e-14 | 20.0554
179.909 | -9.256e-15 | 20.0537
180.243 | -1.9239e-14 | 20.0543
180.577 | 8.4969e-14 | 20.0534
180.811 | -1.5533e-14 | 20.053
181.144 | 1.9787e-14 | 20.0543
181.477 | -2.2093e-13 | 20.05
181.779 | -8.19e-15 | 20.053
182.013 | -5.0361e-14 | 20.054
182.347 | -2.119e-15 | 20.0536
182.682 | 6.766e-15 | 20.0505
182.916 | -1.8843e-13 | 20.0541
183.249 | -1.7709e-14 | 20.0538
183.585 | -1.2127e-13 | 20.0549
183.918 | -4.505e-14 | 20.0495
184.15 | -6.92e-14 | 20.0494
184.485 | -5.5469e-14 | 20.0493
184.814 | -1.476e-13 | 20.0481
185.045 | 1.6361e-13 | 20.0476
185.374 | 5.6456e-14 | 20.0468
185.703 | 5.79e-16 | 20.0457
186.036 | -1.1281e-13 | 20.0477
186.233 | -8.2847e-14 | 20.0476
186.599 | -5.1329e-14 | 20.0449
186.931 | -2.0631e-14 | 20.0446
187.164 | -7.467e-14 | 20.044
187.463 | -6.0608e-14 | 20.0467
187.796 | -7.0354e-14 | 20.0487
188.13 | -3.223e-15 | 20.0458
188.364 | -4.9811e-14 | 20.0462
188.664 | -6.4258e-14 | 20.0456
188.997 | 2.0685e-13 | 19.971
190.602 | 3.4318e-13 | 19.7692
192.809 | -1.7367e-13 | 20.0464
193.913 | -7.5299e-14 | 20.0449
194.114 | -3.0658e-14 | 20.0466
194.448 | -9.085e-14 | 20.0487
194.781 | 6.7201e-14 | 20.0491
195.116 | 2.0331e-13 | 20.0444
195.35 | -2.5543e-13 | 20.0443
195.683 | -1.8889e-13 | 20.0438
196.019 | 2.3541e-13 | 20.0453
196.253 | 2.0407e-13 | 20.0456
196.555 | -3.4271e-13 | 20.047
196.889 | -2.4358e-13 | 20.0496
197.224 | -1.7504e-13 | 20.0448
197.456 | -3.9541e-14 | 20.0432
197.791 | -8.2715e-14 | 20.0486
198.025 | -2.6988e-13 | 20.0468
198.392 | -6.9649e-14 | 20.0459
198.724 | -1.0241e-13 | 20.0446
198.953 | -6.9384e-14 | 20.043
199.284 | -4.0748e-13 | 20.0426
199.615 | 1.5168e-13 | 20.0429
199.846 | 6.0325e-14 | 20.0423
200.175 | -1.8492e-13 | 20.0422
200.474 | -1.4318e-13 | 20.0438
200.709 | -1.5117e-13 | 20.0431
201.041 | -7.808e-14 | 20.0432
201.375 | -1.541e-13 | 20.0437
201.609 | 1.5609e-13 | 20.0435
201.942 | -2.5439e-13 | 20.0447
202.276 | -6.6825e-14 | 20.0395
202.609 | -2.1175e-13 | 20.0404
202.844 | 1.4857e-13 | 20.0403
203.177 | -3.3559e-13 | 20.0423
203.478 | 8.2726e-14 | 20.0444
203.713 | -1.7301e-13 | 20.044
204.047 | -2.2774e-13 | 20.0434
204.381 | 1.8153e-13 | 20.0436
204.616 | 9.221e-14 | 20.042
204.983 | -3.1381e-13 | 20.0412
205.317 | -2.0994e-13 | 20.0418
205.55 | 1.871e-15 | 20.0426
205.851 | -3.13e-13 | 20.0425
206.184 | 1.3295e-13 | 20.0425
206.419 | 5.6016e-14 | 20.0432
206.754 | -3.2487e-13 | 20.0439
207.088 | -2.7359e-13 | 20.0433
207.323 | 1.21e-13 | 20.0424
207.689 | -1.3492e-13 | 20.0412
208.023 | -2.1552e-13 | 20.0418
208.258 | 8.6898e-14 | 20.0398
208.591 | 1.0273e-13 | 20.0405
208.927 | 2.0839e-14 | 20.0412
209.16 | 7.2136e-14 | 20.0413
209.494 | -2.7546e-13 | 20.0409
209.827 | 6.585e-15 | 20.0416
210.063 | -7.8063e-14 | 20.0419
210.396 | 2.0627e-14 | 20.0407
210.729 | -1.2206e-13 | 20.0409
210.963 | -3.2625e-14 | 20.0445
211.296 | -3.1512e-14 | 20.0425
211.564 | -8.5792e-14 | 20.0413
211.897 | -8.1672e-14 | 20.0412
212.23 | -2.5767e-13 | 20.0425
212.431 | -4.3625e-13 | 20.0429
212.764 | 1.8313e-13 | 20.0437
213.098 | 8.4711e-14 | 20.0434
213.328 | -8.7153e-14 | 20.0427
213.691 | -8.3065e-14 | 20.0397
214.022 | -1.2812e-13 | 20.0388
214.253 | -1.5081e-13 | 20.0378
214.584 | -8.1128e-14 | 20.0368
214.815 | -3.224e-13 | 20.0407
215.147 | -3.7814e-14 | 20.0398
215.48 | -5.4212e-14 | 20.0398
215.712 | -8.8963e-14 | 20.0402
216.044 | -2.5666e-13 | 20.0368
216.375 | -2.2233e-14 | 20.0356
216.609 | -9.4396e-14 | 20.0396
216.942 | -1.9017e-13 | 20.0361
217.276 | -8.4941e-14 | 20.0372
217.609 | -3.107e-14 | 20.0355
217.84 | -1.047e-13 | 20.0375
218.173 | -1.1236e-13 | 20.0372
218.406 | -1.9322e-13 | 20.0374
218.773 | -1.627e-13 | 20.0366
219.073 | -1.1845e-13 | 20.0369
219.308 | -1.2518e-13 | 20.0368
219.676 | -1.2064e-13 | 20.0365
220.013 | -1.4143e-13 | 20.036
220.251 | -6.217e-14 | 20.0355
220.586 | -1.4087e-13 | 20.0409
220.925 | -8.3732e-14 | 20.0367
221.163 | -1.6741e-13 | 20.0408
221.501 | -1.3623e-13 | 20.0407
221.738 | -1.4933e-13 | 20.0408
222.105 | -8.1116e-14 | 20.0403
222.343 | -1.6165e-13 | 20.0394
222.678 | -1.2996e-13 | 20.0404
223.012 | -1.4355e-13 | 20.0394
223.245 | -1.7365e-13 | 20.0413
223.578 | -1.2446e-13 | 20.0416
223.844 | -7.3183e-14 | 20.0394
224.175 | -1.6454e-13 | 20.0393
224.507 | -3.7373e-13 | 20.0392
224.739 | -1.6113e-13 | 20.0375
225.071 | -1.3118e-13 | 20.0377
225.404 | -1.6978e-13 | 20.0409
225.634 | -2.1254e-13 | 20.0393
225.968 | -1.8852e-13 | 20.0401
226.334 | -1.7257e-13 | 20.0375
226.567 | -2.4421e-13 | 20.0372
226.9 | -2.581e-13 | 20.0395
227.167 | -1.9436e-13 | 20.0364
227.5 | -2.6416e-13 | 20.0391
227.733 | -1.5493e-13 | 20.038
228.098 | -2.6863e-13 | 20.0368
228.427 | -2.5709e-13 | 20.0365
228.659 | -1.5176e-13 | 20.0351
228.988 | -1.9531e-13 | 20.0381
229.219 | -1.6984e-13 | 20.0366
229.551 | -2.8958e-13 | 20.0374
229.883 | -3.6534e-13 | 20.0363
230.114 | -2.4166e-13 | 20.0351
230.478 | -2.9355e-13 | 20.0358
230.713 | -2.7773e-13 | 20.0343
231.046 | -2.6362e-13 | 20.0356
231.384 | -3.0837e-13 | 20.0367
231.622 | -2.7318e-13 | 20.0362
231.99 | -2.8154e-13 | 20.0338
232.226 | -2.9115e-13 | 20.0376
232.56 | -2.9121e-13 | 20.0376
232.894 | -2.8973e-13 | 20.0357
233.162 | -3.0874e-13 | 20.0348
233.493 | -3.0195e-13 | 20.0334
233.728 | -3.2707e-13 | 20.0365
234.061 | -3.1987e-13 | 20.0349
234.327 | -3.3493e-13 | 20.0363
234.66 | -3.2556e-13 | 20.0364
234.993 | -3.9019e-13 | 20.0362
235.26 | -3.527e-13 | 20.0357
235.56 | -3.6697e-13 | 20.0357
235.895 | -3.4116e-13 | 20.0359
236.162 | -3.5591e-13 | 20.0346
236.494 | -4.0162e-13 | 20.0336
236.729 | -3.5669e-13 | 20.0366
237.063 | -3.7558e-13 | 20.0368
237.397 | -3.9642e-13 | 20.037
237.632 | -4.1671e-13 | 20.0354
237.998 | -3.953e-13 | 20.0333
238.232 | -4.1919e-13 | 20.0368
238.566 | -4.2628e-13 | 20.0357
238.896 | -4.4532e-13 | 20.0352
239.167 | -4.1112e-13 | 20.0342
239.499 | -4.064e-13 | 20.0338
239.734 | -4.4288e-13 | 20.0366
240.067 | -4.6782e-13 | 20.0355
240.435 | -4.4459e-13 | 20.0337
240.669 | -4.2871e-13 | 20.0363
241.003 | -4.8057e-13 | 20.0354
241.271 | -4.2297e-13 | 20.0345
241.605 | -4.9997e-13 | 20.0334
241.838 | -4.5789e-13 | 20.0365
242.17 | -4.7576e-13 | 20.0363
242.406 | -3.6531e-13 | 20.0359
242.772 | -4.3096e-13 | 20.0339
243.104 | -4.6468e-13 | 20.0345
243.34 | -4.6227e-13 | 20.0349
243.673 | -5.026e-13 | 20.0334
243.905 | -4.826e-13 | 20.0359
244.238 | -5.186e-13 | 20.0346
244.6 | -5.2694e-13 | 20.0328
244.831 | -5.2784e-13 | 20.0347
245.161 | -5.2106e-13 | 20.0329
245.525 | -5.2191e-13 | 20.0316
245.757 | -5.1805e-13 | 20.0305
246.09 | -5.4288e-13 | 20.0326
246.356 | -5.3214e-13 | 20.0302
246.689 | -5.3277e-13 | 20.0331
246.955 | -5.349e-13 | 20.031
247.288 | -4.9967e-13 | 20.0298
247.521 | -5.1047e-13 | 20.0322
247.889 | -5.2324e-13 | 20.0305
248.123 | -5.0729e-13 | 20.0333
248.457 | -5.1221e-13 | 20.0329
248.79 | -5.1688e-13 | 20.0316
249.057 | -5.0568e-13 | 20.0305
249.39 | -5.0462e-13 | 20.0333
249.626 | -5.0216e-13 | 20.0327
249.96 | -4.9717e-13 | 20.0317
250.226 | -5.1116e-13 | 20.0329
250.561 | -5.2765e-13 | 20.0319
250.928 | -5.5464e-13 | 20.0306
251.161 | -5.1201e-13 | 20.0329
251.528 | -4.978e-13 | 20.0308
251.762 | -4.8301e-13 | 20.0329
252.131 | -4.7797e-13 | 20.0315
252.365 | -5.0441e-13 | 20.0303
252.699 | -4.7585e-13 | 20.034
252.965 | -4.4984e-13 | 20.0312
253.299 | -4.6236e-13 | 20.0306
253.532 | -4.5396e-13 | 20.0331
253.865 | -4.4329e-13 | 20.0317
254.234 | -4.37e-13 | 20.0301
254.468 | -4.4694e-13 | 20.033
254.835 | -4.3969e-13 | 20.0323
255.069 | -4.4443e-13 | 20.0304
255.401 | -4.1988e-13 | 20.0332
255.669 | -4.4249e-13 | 20.0311
256.002 | -4.2294e-13 | 20.0331
256.237 | -2.7364e-13 | 20.0317
256.603 | -3.5646e-13 | 20.0312
256.837 | -3.9647e-13 | 20.0334
257.202 | -3.8705e-13 | 20.0316
257.438 | -3.7384e-13 | 20.0329
257.771 | -4.0037e-13 | 20.0315
258.138 | -4.0189e-13 | 20.0298
258.372 | -4.2375e-13 | 20.0324
258.638 | -4.0746e-13 | 20.0317
258.938 | -4.1117e-13 | 20.0318
259.306 | -4.322e-13 | 20.0307
259.54 | -4.301e-13 | 20.0326
259.874 | -3.988e-13 | 20.0325
260.141 | -3.3721e-13 | 20.0302
260.474 | -3.4459e-13 | 20.0332
260.705 | -3.8911e-13 | 20.032
261.072 | -3.4912e-13 | 20.0313
261.403 | -3.6086e-13 | 20.0298
261.635 | -3.7e-13 | 20.0316
261.964 | -3.7702e-13 | 20.0314
262.295 | -3.4867e-13 | 20.0302
262.56 | -3.6628e-13 | 20.029
262.893 | -3.6007e-13 | 20.0308
263.125 | -3.9716e-13 | 20.029
263.492 | -3.6757e-13 | 20.0273
263.726 | -3.4629e-13 | 20.0297
264.058 | -3.4316e-13 | 20.0289
264.324 | -3.406e-13 | 20.0296
264.69 | -3.3116e-13 | 20.0287
264.925 | -3.2366e-13 | 20.0308
265.258 | -3.3685e-13 | 20.03
265.591 | -3.404e-13 | 20.0288
265.859 | -3.2842e-13 | 20.027
266.194 | -2.9636e-13 | 20.0292
266.461 | -2.9445e-13 | 20.0302
266.793 | -2.7763e-13 | 20.0295
267.062 | -2.4858e-13 | 20.0287
267.395 | -2.4438e-13 | 20.0271
267.628 | -2.3846e-13 | 20.0297
267.962 | -2.2821e-13 | 20.0296
268.331 | -2.294e-13 | 20.0286
268.563 | -2.2597e-13 | 20.0276
268.896 | -2.1687e-13 | 20.0293
269.162 | -1.9981e-13 | 20.0302
269.498 | -1.9957e-13 | 20.0289
269.764 | -1.7319e-13 | 20.0297
270.099 | -1.7594e-13 | 20.0287
270.365 | -1.6396e-13 | 20.0267
270.699 | -1.4458e-13 | 20.0295
270.965 | -1.4798e-13 | 20.0276
271.301 | -1.3989e-13 | 20.0302
271.534 | -1.1769e-13 | 20.0288
271.9 | -1.1403e-13 | 20.0298
272.165 | -1.1432e-13 | 20.0279
272.502 | -9.7565e-14 | 20.0302
272.768 | -8.7747e-14 | 20.028
273.103 | -8.7784e-14 | 20.0301
273.37 | -7.2104e-14 | 20.0287
273.704 | -6.2493e-14 | 20.0298
273.971 | -6.2523e-14 | 20.028
274.205 | -6.249e-14 | 20.0291
274.571 | -5.6507e-14 | 20.0269
274.937 | -4.9265e-14 | 20.0283
275.173 | -4.1768e-14 | 20.0277
275.405 | -3.5093e-14 | 20.0289
275.773 | -2.841e-14 | 20.0281
276.106 | -2.3071e-14 | 20.0289
276.339 | -2.6335e-14 | 20.0276
276.673 | -2.0992e-14 | 20.0297
276.94 | -2.3235e-14 | 20.0286
277.274 | -1.6153e-14 | 20.0297
277.507 | -5.309e-15 | 20.0285
277.875 | -1.203e-15 | 20.0276
278.109 | 7.969e-15 | 20.0295
278.474 | 1.2984e-14 | 20.0275
278.709 | 2.1114e-14 | 20.0289
279.042 | 2.5173e-14 | 20.0286
279.405 | 2.0799e-14 | 20.0275
279.635 | 2.1809e-14 | 20.029
280 | 2.1398e-14 | 20.0267
280.232 | 2.5328e-14 | 20.0277
280.596 | 2.9043e-14 | 20.0262
280.828 | 3.9176e-14 | 20.0279
281.16 | 2.7568e-14 | 20.0277
281.493 | 2.7515e-14 | 20.0271
281.76 | 3.5535e-14 | 20.0255
282.093 | 3.5497e-14 | 20.0276
282.359 | 3.4827e-14 | 20.0258
282.695 | 3.2786e-14 | 20.0282
282.927 | 3.1933e-14 | 20.0261
283.295 | 2.0957e-14 | 20.0278
283.529 | 2.7686e-14 | 20.0267
283.895 | 2.2954e-14 | 20.0256
284.229 | 2.2346e-14 | 20.0251
284.464 | 2.2601e-14 | 20.0272
284.832 | 1.3705e-14 | 20.0263
285.065 | 1.823e-14 | 20.0252
285.398 | 1.8831e-14 | 20.0274
285.666 | 1.1228e-14 | 20.0265
285.999 | 4.417e-15 | 20.0257
286.233 | 2.929e-15 | 20.027
286.599 | -7.701e-15 | 20.0255
286.834 | -1.8004e-14 | 20.0267
287.2 | -1.0551e-14 | 20.0257
287.435 | -8.652e-15 | 20.027
287.802 | -1.1969e-14 | 20.026
288.034 | -8.226e-15 | 20.0268
288.369 | -1.1283e-14 | 20.0266
288.736 | -1.471e-14 | 20.025
288.97 | -3.6904e-14 | 20.0268
289.337 | -2.7158e-14 | 20.0251
289.603 | -3.221e-14 | 20.026
289.837 | -3.3902e-14 | 20.0277
290.205 | -3.2864e-14 | 20.0261
290.438 | -3.6638e-14 | 20.0273
290.772 | -3.9121e-14 | 20.0263
291.039 | -3.4688e-14 | 20.028
291.405 | -2.8187e-14 | 20.0263
291.639 | -3.5019e-14 | 20.0268
292.007 | -3.1338e-14 | 20.026
292.241 | -4.1213e-14 | 20.0279
292.574 | -4.7985e-14 | 20.0276
292.806 | -4.0482e-14 | 20.0262
293.174 | -3.5931e-14 | 20.0261
293.507 | -2.2656e-14 | 20.0255
293.74 | -3.0898e-14 | 20.027
294.007 | -2.7288e-14 | 20.0265
294.375 | -2.396e-14 | 20.0248
294.608 | -2.8041e-14 | 20.0262
294.975 | -3.0115e-14 | 20.0245
295.208 | -2.2535e-14 | 20.0272
295.543 | -3.4907e-14 | 20.0262
295.909 | -3.8341e-14 | 20.0249
296.142 | -3.2258e-14 | 20.026
296.51 | -2.9128e-14 | 20.025
296.744 | -1.6148e-14 | 20.0267
297.109 | -1.9434e-14 | 20.0254
297.377 | -2.2585e-14 | 20.0253
297.61 | -1.5595e-14 | 20.0264
297.977 | -3.5905e-14 | 20.0267
298.244 | -1.5886e-14 | 20.0273
298.575 | -2.2602e-14 | 20.0262
298.84 | -2.6103e-14 | 20.0266
299.204 | -1.8909e-14 | 20.0247
299.433 | -1.5518e-14 | 20.0252
299.799 | -9.602e-15 | 20.0245
300.034 | -1.8644e-14 | 20.0262
300.397 | -8.019e-15 | 20.0244
300.63 | -1.6043e-14 | 20.0256
300.996 | -1.2584e-14 | 20.0237
301.229 | -1.2288e-14 | 20.0246
301.596 | -1.2737e-14 | 20.0229
301.829 | -7.232e-15 | 20.0241
302.195 | -1.676e-15 | 20.0251
302.462 | -9.1e-15 | 20.0227
302.83 | -1.2142e-14 | 20.0227
303.063 | -1.4056e-14 | 20.0239
303.33 | -1.2976e-14 | 20.0244
303.698 | -1.1548e-14 | 20.0229
303.93 | -6.778e-15 | 20.0244
304.298 | -2.836e-15 | 20.0248
304.565 | 3.44e-16 | 20.0228
304.898 | -3.204e-15 | 20.0248
305.167 | 4.794e-15 | 20.0227
305.5 | 3.074e-15 | 20.0255
305.767 | 5.59e-16 | 20.0238
306.101 | -2.177e-15 | 20.0251
306.368 | 3.618e-15 | 20.0228
306.734 | 2.363e-15 | 20.0232
306.968 | -5.553e-15 | 20.0246
307.302 | -9.03e-15 | 20.024
307.568 | -1.0272e-14 | 20.0256
307.903 | -5.368e-15 | 20.024
308.17 | -7.942e-15 | 20.0244
308.537 | -1.175e-15 | 20.0239
308.77 | 4.24e-16 | 20.0256
309.105 | 3.948e-15 | 20.0246
309.371 | 2.548e-15 | 20.0246
309.704 | -4.906e-15 | 20.0242
309.972 | -3.025e-15 | 20.0252
310.206 | 2.175e-15 | 20.0242
310.573 | -6.454e-15 | 20.0248
310.839 | -4.903e-15 | 20.0229
311.173 | -8.617e-15 | 20.0246
311.441 | -1.2138e-14 | 20.0236
311.773 | 5.82e-16 | 20.0253
312.006 | -1.95e-15 | 20.0241
312.374 | 4.199e-15 | 20.0227
312.64 | -1.4826e-14 | 20.0235
312.974 | -7.613e-15 | 20.0251
313.24 | -1.034e-15 | 20.0241
313.574 | 1.38e-15 | 20.0233
313.841 | 6.222e-15 | 20.0239
314.174 | 9.877e-15 | 20.023
314.408 | 1.5544e-14 | 20.0238
314.775 | 6.534e-15 | 20.0232
315.042 | 1.2147e-14 | 20.0239
315.407 | 5.557e-15 | 20.0233
315.641 | 4.559e-15 | 20.0243
316.009 | 5.843e-15 | 20.0229
316.241 | 4.219e-15 | 20.0243
316.609 | -3.384e-15 | 20.0222
316.876 | -1.274e-15 | 20.0225
317.142 | -5.282e-15 | 20.0236
317.477 | 6.148e-15 | 20.0221
317.742 | 5.042e-15 | 20.0246
318.077 | 2.366e-15 | 20.024
318.342 | 7.925e-15 | 20.0225
318.709 | 9.284e-15 | 20.0228
318.974 | -1.272e-15 | 20.0223
319.243 | 7.435e-15 | 20.0227
319.61 | 1.8241e-14 | 20.0236
319.844 | 1.1063e-14 | 20.0247
320.208 | 1.3054e-14 | 20.0219
320.473 | 4.013e-15 | 20.0225
320.736 | 1.19e-14 | 20.0229
321.069 | 1.2284e-14 | 20.0234
321.433 | 1.0273e-14 | 20.0225
321.668 | 1.0409e-14 | 20.0227
321.931 | 6.579e-15 | 20.0231
322.298 | 1.1535e-14 | 20.0213
322.532 | 1.073e-14 | 20.0222
322.898 | 4.491e-15 | 20.0206
323.164 | -6.028e-15 | 20.0209
323.531 | -5.577e-15 | 20.022
323.765 | 4.87e-16 | 20.0229
324.031 | -1.231e-15 | 20.0236
324.365 | -1.657e-15 | 20.0218
324.632 | 1.229e-15 | 20.0222
324.999 | 3.122e-15 | 20.0211
325.265 | 3.015e-15 | 20.0212
325.6 | -5.577e-15 | 20.0219
325.867 | -1.9282e-14 | 20.0208
326.2 | -3.5807e-14 | 20.0225
326.467 | -2.5765e-14 | 20.0228
326.801 | -9.609e-15 | 20.0223
327.066 | 6.549e-15 | 20.0226
327.435 | 1.9057e-14 | 20.0215
327.667 | 2.264e-14 | 20.0219
327.936 | 2.7537e-14 | 20.023
328.302 | 3.0039e-14 | 20.0216
328.536 | 2.0106e-14 | 20.0223
328.903 | 1.4063e-14 | 20.0203
329.17 | 1.8571e-14 | 20.0212
329.503 | 1.6785e-14 | 20.0222
329.77 | 2.3401e-14 | 20.0204
330.037 | 1.9207e-14 | 20.0212
330.403 | 2.811e-14 | 20.0214
330.638 | 1.9107e-14 | 20.0224
331.005 | 2.3615e-14 | 20.021
331.271 | 2.4167e-14 | 20.0209
331.505 | 2.8887e-14 | 20.0222
331.871 | 2.7056e-14 | 20.0232
332.138 | 2.8034e-14 | 20.0214
332.472 | 2.9021e-14 | 20.0232
332.738 | 3.1554e-14 | 20.0216
333.073 | 3.127e-14 | 20.0223
333.338 | 1.9253e-14 | 20.0226
333.705 | 2.7451e-14 | 20.0209
333.94 | 2.6456e-14 | 20.0214
334.206 | 2.5669e-14 | 20.0216
334.574 | 2.9004e-14 | 20.0227
334.84 | 2.62e-14 | 20.0208
335.172 | 2.4333e-14 | 20.0218
335.44 | 2.801e-14 | 20.0202
335.806 | 2.5559e-14 | 20.0202
336.073 | 3.3518e-14 | 20.0209
336.307 | 2.3086e-14 | 20.022
336.674 | 2.8447e-14 | 20.0218
336.941 | 2.6527e-14 | 20.0217
337.206 | 2.1642e-14 | 20.0216
337.574 | 2.9731e-14 | 20.0223
337.841 | 2.8517e-14 | 20.0202
338.175 | 2.3539e-14 | 20.0217
338.44 | 3.5133e-14 | 20.022
338.708 | 3.5533e-14 | 20.0221
339.075 | 3.8346e-14 | 20.0224
339.342 | 3.2741e-14 | 20.0223
339.708 | 3.7499e-14 | 20.0205
339.942 | 3.0174e-14 | 20.0208
340.242 | 3.7481e-14 | 20.0206
340.609 | 3.4233e-14 | 20.0204
340.842 | 3.0814e-14 | 20.0212
341.142 | 3.0048e-14 | 20.0207
341.475 | 2.8955e-14 | 20.0217
341.742 | 3.1353e-14 | 20.0199
342.107 | 2.9681e-14 | 20.0208
342.374 | 3.1892e-14 | 20.0205
342.607 | 3.5894e-14 | 20.021
342.975 | 2.9853e-14 | 20.0217
343.241 | 2.6335e-14 | 20.0217
343.507 | 2.4619e-14 | 20.0221
343.874 | 3.0869e-14 | 20.0198
344.142 | 3.5181e-14 | 20.0203
344.475 | 1.991e-14 | 20.0209
344.74 | 2.9158e-14 | 20.0214
345.009 | 2.1004e-14 | 20.0221
345.375 | 1.6085e-14 | 20.02
345.642 | 1.626e-14 | 20.0199
346.009 | 1.6439e-14 | 20.0202
346.273 | 1.8738e-14 | 20.02
346.506 | 2.0637e-14 | 20.0209
346.869 | 2.3111e-14 | 20.0197
347.199 | 2.3911e-14 | 20.0205
347.465 | 2.3387e-14 | 20.0207
347.731 | 3.0678e-14 | 20.021
348.097 | 2.0377e-14 | 20.0183
348.362 | 2.4055e-14 | 20.0185
348.695 | 1.9736e-14 | 20.0197
348.995 | 2.3375e-14 | 20.019
349.229 | 2.4029e-14 | 20.0203
349.596 | 2.4229e-14 | 20.0181
349.863 | 2.6608e-14 | 20.0186
350.196 | 2.0184e-14 | 20.0198
350.464 | 2.7934e-14 | 20.018
350.731 | 3.0957e-14 | 20.0203
351.096 | 2.4438e-14 | 20.0203
351.365 | 2.7367e-14 | 20.0181
351.731 | 2.7416e-14 | 20.0185
351.999 | 1.3773e-14 | 20.0208
352.266 | 1.3781e-14 | 20.0189
352.599 | 1.5745e-14 | 20.0201
352.865 | 1.8157e-14 | 20.0202
353.133 | 2.0514e-14 | 20.0203
353.501 | 1.8978e-14 | 20.0185
353.767 | 2.1818e-14 | 20.0187
354.1 | 2.1181e-14 | 20.0202
354.366 | 2.134e-14 | 20.0203
354.734 | 2.3945e-14 | 20.0186
355.002 | 2.2813e-14 | 20.0194
355.269 | 2.3435e-14 | 20.0194
355.601 | 1.6899e-14 | 20.0197
355.869 | 1.7231e-14 | 20.02
356.133 | 2.4161e-14 | 20.0202
356.501 | 2.4084e-14 | 20.0185
356.769 | 2.397e-14 | 20.019
357.103 | 1.2763e-14 | 20.0194
357.37 | 2.1198e-14 | 20.0198
357.636 | 1.6523e-14 | 20.0194
358.003 | 1.9641e-14 | 20.0197
358.271 | 2.4867e-14 | 20.0194
358.57 | 2.6997e-14 | 20.0192
358.904 | 2.1616e-14 | 20.0201
359.171 | 2.1782e-14 | 20.02
359.437 | 2.518e-14 | 20.0206
359.705 | 1.7764e-14 | 20.0203
360.07 | 2.1909e-14 | 20.0204
360.337 | 1.844e-14 | 20.0205
360.705 | 2.091e-14 | 20.019
360.938 | 2.2145e-14 | 20.0194
361.206 | 1.8682e-14 | 20.0196
361.572 | 1.5667e-14 | 20.0197
361.838 | 1.4107e-14 | 20.0199
362.105 | 1.4783e-14 | 20.0196
362.471 | 1.6998e-14 | 20.018
362.739 | 1.7458e-14 | 20.0194
363.039 | 1.2264e-14 | 20.019
363.405 | 1.6262e-14 | 20.0189
363.672 | 1.1422e-14 | 20.0199
363.939 | 9.832e-15 | 20.0195
364.306 | 3.941e-15 | 20.0198
364.572 | 1.751e-15 | 20.0198
364.84 | -7.08e-16 | 20.0195
365.105 | 3.034e-15 | 20.0189
365.473 | 7.61e-16 | 20.02
365.74 | 2.28e-16 | 20.02
366.006 | -2.433e-15 | 20.0189
366.373 | 9.481e-15 | 20.0187
366.673 | 5.409e-15 | 20.0183
366.941 | -2.067e-15 | 20.018
367.307 | 4.237e-15 | 20.0187
367.541 | 1.617e-15 | 20.019
367.808 | 4.45e-16 | 20.0191
368.174 | 4.46e-16 | 20.0192
368.44 | 2.16e-16 | 20.0187
368.707 | 4.41e-15 | 20.0194
369.074 | -1.121e-15 | 20.0195
369.341 | -9.967e-15 | 20.0194
369.607 | -8.263e-15 | 20.0196
369.975 | -1.61e-15 | 20.0197
370.241 | -1.5134e-14 | 20.0196
370.507 | -1.8251e-14 | 20.019
370.874 | -2.0862e-14 | 20.0193
371.142 | -8.802e-15 | 20.0174
371.407 | -5.505e-15 | 20.0195
371.774 | -1.1349e-14 | 20.0197
372.04 | -5.992e-15 | 20.0192
372.307 | -1.7518e-14 | 20.019
372.675 | -1.7358e-14 | 20.019
372.941 | -1.4712e-14 | 20.0193
373.207 | -1.9805e-14 | 20.0186
373.574 | -1.6757e-14 | 20.0191
373.876 | -4.7974e-14 | 20.0177
374.142 | -7.4882e-14 | 20.0194
374.408 | -5.2489e-14 | 20.0192
374.809 | -4.3405e-14 | 20.0191
375.108 | -3.2227e-14 | 20.0189
375.376 | -3.2403e-14 | 20.0192
375.675 | -4.0156e-14 | 20.0172
375.942 | -4.6185e-14 | 20.0196
376.243 | -4.5852e-14 | 20.0201
376.542 | -5.0966e-14 | 20.0178
376.81 | -4.5097e-14 | 20.0187
377.111 | -4.6565e-14 | 20.0189
377.477 | -4.3397e-14 | 20.0196
377.745 | -3.0628e-14 | 20.019
378.011 | -3.8816e-14 | 20.0193
378.379 | -4.9641e-14 | 20.0194
378.68 | -5.0401e-14 | 20.0132
379.015 | -5.3549e-14 | 20.0194
379.314 | -5.6245e-14 | 20.0141
379.648 | -5.8991e-14 | 20.0186
379.915 | -6.3211e-14 | 20.0134
380.25 | -5.7264e-14 | 20.0174
380.517 | -6.5034e-14 | 20.015
380.851 | -6.9185e-14 | 20.0151
381.186 | -6.9702e-14 | 20.0198
381.451 | -7.6064e-14 | 20.0151
381.785 | -7.475e-14 | 20.0133
382.12 | -8.3578e-14 | 20.0155
382.455 | -7.7565e-14 | 20.0141
382.788 | -8.5595e-14 | 20.0138
383.088 | -9.0457e-14 | 20.0146
383.455 | -8.7746e-14 | 20.0139
383.79 | -9.0759e-14 | 20.0137
385.058 | -1.0405e-13 | 20.0155
386.061 | -1.0757e-13 | 20.0194
386.328 | -1.1965e-13 | 20.0192
386.695 | -1.3073e-13 | 20.0199
386.96 | -1.4153e-13 | 20.0147
387.294 | -1.3646e-13 | 20.0148
387.627 | -1.4167e-13 | 20.015
387.961 | -1.5105e-13 | 20.0152
388.293 | -1.5789e-13 | 20.0153
388.626 | -1.5675e-13 | 20.0148
388.993 | -1.6114e-13 | 20.0144
389.326 | -1.7121e-13 | 20.0142
389.66 | -1.7062e-13 | 20.0138
389.992 | -1.7673e-13 | 20.0138
391.277 | -2.0447e-13 | 20.0129
392.271 | -2.2336e-13 | 20.0122
392.601 | -2.2357e-13 | 20.0117
392.931 | -2.3541e-13 | 20.0122
393.262 | -2.369e-13 | 20.0116
393.593 | -2.4576e-13 | 20.0112
393.922 | -2.5421e-13 | 20.0128
394.252 | -2.6559e-13 | 20.0103
394.579 | -2.7071e-13 | 20.0108
394.909 | -2.8145e-13 | 20.0106
395.237 | -2.9682e-13 | 20.0106
395.564 | -3.0114e-13 | 20.0099
395.893 | -3.0971e-13 | 20.0093
396.221 | -3.1815e-13 | 20.0097
397.464 | -3.4754e-13 | 20.0071