## Settings
Sample Info | so12ig, dot c3, run 01 (Si/SiO2, 50 nm, gamma-irrad.)
Comments | -5/+10/-5
Additional Comments | noise
Major Measurement Parameters
Starting Temperature | 294.1
Initial Temperature | 80.5
Final Temperature | 450
Preliminary Voltage | -5
Pulse Voltage | 10
Pulse Time | 30
Wait Time | 0
Measurement Voltage | -5
Subsidiary Measurement Parameters
Step | 0.3
Accuracy Step | 0.1
Accuracy Stable | 0.5
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 15
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 5
Measurecount | 1
Time
Date | 5.4.2024
Clock | 16:5:54

## Stabilization
Temperature | Current | Temp Rate
293.99 | -2.48e-10 | 0
293.828 | -1.88e-10 | -6.3304
293.669 | -1.81e-10 | -6.344
293.428 | -1.75e-10 | -7.3944
293.119 | -1.86e-10 | -8.5829
292.86 | -1.75e-10 | -8.9027
292.373 | -1.88e-10 | -10.6089
291.978 | -1.74e-10 | -11.3127
291.59 | -1.78e-10 | -11.7458
291.083 | -1.97e-10 | -12.6571
290.815 | -1.94e-10 | -13.8516
290.593 | -1.77e-10 | -16.6356
290.409 | -1.87e-10 | -23.4128
290.257 | -1.88e-10 | -49.1646
289.953 | -1.87e-10 | -79.4505
289.718 | -1.73e-10 | -10.9337
289.502 | -1.77e-10 | -10.7823
289.281 | -1.73e-10 | -10.6662
289.128 | -1.65e-10 | -193.3498
288.778 | -1.83e-10 | -10.583
288.522 | -1.83e-10 | -10.5654
288.124 | -1.66e-10 | -10.7986
287.821 | -1.78e-10 | -10.8533
287.577 | -1.72e-10 | -10.7961
287.256 | -1.76e-10 | -10.8689
286.8 | -8.2e-11 | -11.137
286.463 | -1.67e-10 | -11.2118
286.002 | -1.85e-10 | -11.4678
285.597 | -1.78e-10 | -11.6288
285.261 | -1.7e-10 | -11.6857
285.109 | -1.72e-10 | -11.4994
284.985 | -1.74e-10 | -11.2869
284.875 | -1.71e-10 | -11.0746
284.777 | -1.73e-10 | -10.8555
284.664 | -1.77e-10 | -10.6675
284.541 | -1.83e-10 | -10.5028
284.374 | -1.71e-10 | -10.3977
284.252 | -1.73e-10 | -10.248
284.14 | -1.57e-10 | -10.0946
284.077 | -2.29e-10 | -9.9
284.02 | -1.88e-10 | -9.7105
283.849 | -1.7e-10 | -9.6353
283.742 | -1.82e-10 | -9.5078
283.456 | 5e-12 | -9.5487
283.319 | -1.18e-12 | -9.4822
282.906 | 1.41e-12 | -9.6657
282.733 | -1.64e-12 | -9.6394
282.433 | 1.51e-12 | -9.7162
282.2 | 6.4e-13 | -9.7353
281.95 | -3.28e-12 | -9.769
281.632 | -4.43e-10 | -9.8289
281.407 | -1.74e-10 | -9.8059
281.199 | -1.9e-10 | -9.7765
281.025 | -1.98e-10 | -9.7221
280.785 | -1.81e-10 | -9.7166
280.547 | -1.96e-10 | -9.7123
280.348 | -1.79e-10 | -9.6764
279.925 | -2.01e-10 | -9.7995
279.629 | -6.9e-11 | -9.8327
279.179 | -2.11e-10 | -9.9653
278.674 | -3.7725e-12 | -10.0234
277.856 | -1.3399e-13 | -9.9244
277.646 | -8.674e-14 | -9.9219
277.544 | -7.0324e-14 | -9.8548
277.444 | -6.0181e-14 | -9.7875
277.173 | -2.4181e-14 | -9.8239
277.057 | -6e-17 | -9.7703
276.861 | -3.9949e-14 | -9.7514
276.604 | -4.1558e-14 | -9.777
276.46 | -3.7124e-14 | -9.7413
276.137 | -4.2358e-14 | -9.8034
275.875 | -2.2749e-14 | -9.8308
275.594 | -5.0649e-14 | -9.8714
275.236 | -3.4853e-14 | -9.9469
274.99 | -2.1817e-14 | -9.9629
274.512 | -3.9824e-14 | -10.1012
274.222 | -2.9482e-14 | -10.1387
273.702 | -4.7967e-14 | -10.2935
273.388 | -1.49e-14 | -10.3386
272.83 | -3.439e-14 | -10.5024
272.485 | -1.6687e-14 | -10.5572
271.911 | -2.5591e-14 | -10.7243
271.621 | -2.6048e-14 | -10.7534
271.284 | -3.8872e-14 | -10.8048
271.083 | -3.0184e-14 | -10.7913
270.899 | -2.557e-14 | -10.7685
270.706 | -3.6318e-14 | -10.7504
270.473 | -3.9129e-14 | -10.7505
270.356 | -3.894e-14 | -10.6979
270.259 | -4.4414e-14 | -10.6376
270.182 | -3.0403e-14 | -10.5689
269.998 | -3.4909e-14 | -10.5495
269.805 | -2.9338e-14 | -10.5349
269.66 | -4.2222e-14 | -10.4981
269.589 | -3.103e-14 | -10.4318
269.361 | -2.876e-14 | -10.4319
269.207 | -1.9142e-14 | -10.4013
269.058 | -3.6196e-14 | -10.3697
268.693 | -1.2763e-14 | -10.4267
268.483 | -1.9584e-14 | -10.4217
268.098 | -3.2948e-14 | -10.486
267.912 | -2.1093e-14 | -10.4689
267.514 | -2.8058e-14 | -10.5383
267.33 | -1.8692e-14 | -10.5207
266.863 | -2.2508e-14 | -10.6157
266.65 | -1.2426e-14 | -10.6074
266.329 | -3.5811e-14 | -10.6423
266.141 | -2.2971e-14 | -10.6246
265.975 | -2.3439e-14 | -10.5976
265.828 | -2.1269e-14 | -10.5661
265.542 | -2.3947e-14 | -10.5874
265.331 | -3.438e-15 | -10.5808
265.096 | -2.7128e-14 | -10.5827
264.81 | -2.5772e-14 | -10.6015
264.604 | -1.8534e-14 | -10.5919
264.32 | -2.9612e-14 | -10.6105
264.102 | -1.266e-15 | -10.6074
263.743 | -2.5146e-14 | -10.653
263.47 | -9.539e-15 | -10.667
263.163 | -2.5251e-14 | -10.6938
262.811 | -4.746e-15 | -10.7351
262.522 | -2.9681e-14 | -10.7545
262.236 | -2.4227e-14 | -10.7704
262.029 | -8.147e-15 | -10.7611
261.625 | -1.5031e-14 | -10.8189
261.389 | -2.54e-15 | -10.8179
261.053 | -1.7002e-14 | -10.8499
260.763 | -8.663e-15 | -10.8677
260.563 | -2.8153e-14 | -10.8548
260.255 | -2.5426e-14 | -10.8775
260.066 | -7.032e-15 | -10.8601
259.764 | -2.926e-14 | -10.8806
259.456 | -4.44e-15 | -10.9018
259.094 | -1.6559e-14 | -10.9388
258.694 | -1.9789e-14 | -10.9894
258.469 | -4.218e-15 | -10.9832
257.955 | -1.0239e-14 | -11.0675
257.685 | 3.316e-15 | -11.0755
257.151 | -8.374e-15 | -11.1628
256.885 | 3.721e-15 | -11.17
256.43 | -8.462e-15 | -11.2321
256.126 | 1.1958e-14 | -11.2501
255.708 | -1.3581e-14 | -11.3012
255.376 | -7.415e-15 | -11.3268
255.091 | -4.762e-15 | -11.3371
254.648 | -8.031e-15 | -11.3925
254.323 | 2.174e-15 | -11.4113
253.947 | -1.6371e-14 | -11.4483
253.533 | 1.3092e-14 | -11.4945
253.208 | -5.429e-15 | -11.5149
252.733 | 3.973e-15 | -11.5775
252.425 | 2.187e-15 | -11.5928
251.899 | -2.7e-16 | -11.669
251.539 | 1.1657e-14 | -11.6964
250.643 | -7.523e-14 | -11.8049
248.74 | -1.9399e-13 | -12.0025
248.474 | -1.0493e-13 | -12.0022
248.086 | -7.4159e-14 | -12.0335
247.774 | -3.8603e-14 | -12.0456
247.491 | -4.3147e-14 | -12.0491
247.152 | -4.5514e-14 | -12.068
246.898 | -2.9383e-14 | -12.0649
246.457 | -4.3742e-14 | -12.1093
246.175 | -2.6192e-14 | -12.1109
245.714 | -3.1563e-14 | -12.1602
245.483 | -1.0804e-14 | -12.1505
245.011 | -8.102e-15 | -12.2005
244.776 | -2.0715e-14 | -12.1931
244.534 | -1.9054e-14 | -12.1848
244.255 | -1.9134e-14 | -12.1861
244.068 | -1.3192e-14 | -12.1655
243.789 | -1.3125e-14 | -12.1682
243.588 | -1.4999e-14 | -12.1537
243.448 | 2.6e-17 | -12.1236
243.14 | -1.2375e-14 | -12.1331
242.969 | 5.016e-15 | -12.1113
242.727 | -1.0746e-14 | -12.1051
242.411 | 1.885e-15 | -12.1162
242.216 | 8.717e-15 | -12.0984
241.761 | -3.309e-15 | -12.1432
241.544 | -1.474e-15 | -12.1324
241.048 | -9.725e-15 | -12.185
240.779 | 1.0713e-14 | -12.1853
240.259 | -7.692e-15 | -12.242
239.923 | -1.7932e-14 | -12.2571
239.526 | -1.5694e-14 | -12.2828
239.277 | -1.5854e-14 | -12.2758
239.074 | -9.242e-15 | -12.2607
238.862 | -1.0095e-14 | -12.2478
238.605 | -1.315e-14 | -12.2459
238.398 | 7.314e-15 | -12.2311
238.087 | -2.0039e-14 | -12.2401
237.823 | -2.64e-16 | -12.2386
237.629 | -1.1624e-14 | -12.2222
237.349 | -1.5954e-14 | -12.2251
237.189 | -2.522e-15 | -12.2012
236.854 | -1.1761e-14 | -12.2149
236.583 | 1.155e-15 | -12.2156
236.189 | -1.0069e-14 | -12.2415
235.917 | 2.5913e-14 | -12.2419
235.524 | -1.3421e-14 | -12.268
235.221 | -1.842e-15 | -12.2753
234.994 | 3.385e-15 | -12.2667
234.554 | -7.588e-15 | -12.3017
234.343 | 4.567e-15 | -12.2887
233.859 | -1.4254e-14 | -12.3308
233.619 | 6.05e-16 | -12.324
233.182 | -1.759e-15 | -12.3577
232.847 | 1.7918e-14 | -12.368
232.473 | -5.466e-15 | -12.3893
232.069 | 1.589e-15 | -12.4135
231.801 | 2.4e-17 | -12.4133
231.32 | 7.174e-15 | -12.4535
231.02 | 8.925e-15 | -12.4562
230.611 | -9.158e-15 | -12.4816
230.241 | 1.9038e-14 | -12.4995
229.866 | 8.56e-16 | -12.5179
229.39 | 3.321e-15 | -12.5562
229.08 | 8.295e-15 | -12.5614
228.468 | 4.253e-15 | -12.625
228.147 | -9.424e-15 | -12.6319
227.492 | 1.809e-15 | -12.7031
227.079 | -2.581e-15 | -12.7293
226.579 | 3.782e-15 | -12.7688
226.127 | -7.245e-15 | -12.8001
225.767 | -1.374e-15 | -12.8144
225.446 | 5.132e-15 | -12.821
225.119 | -1.7443e-14 | -12.8296
224.871 | -3.2359e-14 | -12.8222
224.524 | 9.633e-15 | -12.8332
224.263 | -3.249e-15 | -12.8283
223.909 | 1.9584e-14 | -12.8398
223.724 | 1.5368e-13 | -12.8217
223.335 | -2.4227e-13 | -12.8397
223.07 | 5.309e-13 | -12.8357
222.737 | 2.5415e-14 | -12.8444
222.383 | 2.1002e-14 | -12.8555
221.702 | -8.7389e-11 | -12.8817
221.296 | -9.0505e-11 | -12.9016
221.023 | -8.515e-11 | -12.8967
220.82 | -9.0797e-11 | -12.8812
220.623 | -8.7891e-11 | -12.8651
220.346 | -9.0751e-11 | -12.8635
220.167 | -9.4466e-11 | -12.8436
219.885 | -8.7517e-11 | -12.8405
219.576 | -8.9154e-11 | -12.8442
219.364 | -9.0654e-11 | -12.8318
218.917 | -7.9856e-11 | -12.859
218.563 | -8.2487e-11 | -12.868
218.142 | -8.4957e-11 | -12.8896
217.869 | -8.7599e-11 | -12.8877
217.511 | -8.755e-11 | -12.8982
217.21 | -8.8431e-11 | -12.9
216.797 | -9.2004e-11 | -12.9203
216.48 | -9.5492e-11 | -12.9247
216.162 | -9.2671e-11 | -12.9298
215.755 | -9.1018e-11 | -12.9486
215.527 | -9.3981e-11 | -12.9387
215.091 | -9.5255e-11 | -12.9618
214.823 | -9.5102e-11 | -12.9577
214.439 | -9.4821e-11 | -12.972
214.155 | -9.5996e-11 | -12.9708
213.938 | -9.3962e-11 | -12.9599
213.613 | -8.9404e-11 | -12.9655
213.219 | -9.6972e-11 | -12.9818
213.03 | -9.6618e-11 | -12.9651
212.829 | -9.6101e-11 | -12.9507
212.615 | -9.7438e-11 | -12.939
212.499 | -9.9547e-11 | -12.9106
212.394 | -9.8485e-11 | -12.8825
212.197 | -9.8283e-11 | -12.8687
212.098 | -9.6125e-11 | -12.8389
212.05 | -9.9387e-11 | -12.8006
211.865 | -9.8143e-11 | -12.784
211.783 | -1.0299e-10 | -12.7527
211.669 | -1.0039e-10 | -12.7251
211.448 | -1.0026e-10 | -12.7158
211.376 | -9.9181e-11 | -12.6828
211.013 | -1.0226e-10 | -12.6936
210.823 | -9.6602e-11 | -12.6793
210.443 | -9.8861e-11 | -12.6928
210.086 | -9.4727e-11 | -12.7037
209.785 | -1.0198e-10 | -12.707
209.348 | -1.0043e-10 | -12.7295
209.059 | -9.8194e-11 | -12.7301
208.564 | -9.4459e-11 | -12.7612
208.292 | -9.9151e-11 | -12.7584
207.864 | -1.0025e-10 | -12.779
207.588 | -1.0152e-10 | -12.777
207.25 | -9.7525e-11 | -12.7848
206.932 | -7.0518e-13 | -12.7868
206.751 | 3.6491e-12 | -12.7707
206.389 | -2.1272e-11 | -12.7772
206.235 | -1.074e-11 | -12.757
205.963 | -1.6783e-11 | -12.7549
205.825 | -2.8723e-11 | -12.7329
205.678 | -5.0688e-12 | -12.7122
205.477 | -1.839e-11 | -12.7008
205.418 | -9.5205e-12 | -12.6677
205.182 | -3.849e-11 | -12.6608
205.145 | -8.9554e-11 | -12.6251
204.893 | -6.4079e-11 | -12.6198
204.846 | -1.2696e-10 | -12.5862
204.594 | -1.0184e-10 | -12.5811
204.494 | -1.471e-10 | -12.5555
204.313 | -1.5597e-10 | -12.5412
204.079 | -2.3607e-10 | -12.5306
203.912 | -2.3383e-10 | -12.5141
203.644 | -2.2734e-10 | -12.5127
203.463 | -1.9494e-10 | -12.4985
203.272 | -1.3465e-10 | -12.4849
203.164 | -1.772e-10 | -12.4581
202.963 | -1.904e-10 | -12.4399
202.957 | -1.76e-10 | -12.3962
202.646 | -1.618e-10 | -12.3936
202.644 | -1.862e-10 | -12.3563
202.504 | -3.73e-10 | -12.328
202.411 | -1.708e-10 | -12.2982
202.382 | -2.5066e-10 | -12.2612
202.299 | -2.316e-10 | -12.2359
202.327 | -2.6234e-10 | -12.1957
202.176 | -1.778e-10 | -12.1758
202.219 | -2.3452e-10 | -12.1297
202.008 | -2.3541e-10 | -12.1206
202.055 | -1.983e-10 | -12.075
201.743 | -1.965e-10 | -12.0741
201.739 | -1.761e-10 | -12.0327
201.46 | -2.72e-10 | -12.0236
201.317 | -1.828e-10 | -12.0031
201.016 | -1.793e-10 | -12.0009
200.786 | -1.872e-10 | -11.9895
200.573 | -1.877e-10 | -11.9759
200.348 | -1.906e-10 | -11.9635
200.293 | -2.3854e-10 | -11.9327
200.178 | -2.3377e-10 | -11.9133
200.185 | -2.4196e-10 | -11.8775
200.189 | -2.5801e-10 | -11.8433
200.242 | -2.4719e-10 | -11.8021
200.325 | -2.4634e-10 | -11.7584
200.404 | -2.7981e-10 | -11.7154
200.202 | -1.915e-10 | -11.7041
200.26 | -2.7346e-10 | -11.6607
199.947 | -2.5288e-10 | -11.6671
199.682 | -2.5148e-10 | -11.6666
199.635 | -2.5472e-10 | -11.6404
199.292 | -2.7018e-10 | -11.6502
199.281 | -2.5544e-10 | -11.6195
199.07 | -2.2718e-10 | -11.6134
199.088 | -2.234e-10 | -11.5787
199.092 | -2.2003e-10 | -11.5465
199.145 | -2.4342e-10 | -11.5082
199.206 | -1.85e-10 | -11.4655
199.303 | -1.968e-10 | -11.4167
199.296 | -1.785e-10 | -11.3812
199.389 | -1.956e-10 | -11.3342
199.425 | -2.206e-10 | -11.2939
199.478 | -2.107e-10 | -11.2518
199.587 | -3.89e-10 | -11.2011
199.709 | -1.888e-10 | -11.1531
199.795 | -3.51e-10 | -11.1107
199.883 | -1.74e-10 | -11.066
200.004 | -1.75e-10 | -11.0172
199.982 | -1.78e-10 | -10.9854
200.115 | -1.72e-10 | -10.9354
200.216 | -1.77e-10 | -10.889
200.318 | -1.82e-10 | -10.8436
200.394 | -1.82e-10 | -10.8015
200.422 | -1.7e-10 | -10.7646
200.506 | -1.59e-10 | -10.722
200.607 | -1.79e-10 | -10.6774
200.639 | -1.66e-10 | -10.6415
200.726 | -1.75e-10 | -10.5998
200.581 | -2.2783e-10 | -10.5871
200.424 | -2.2447e-10 | -10.5778
200.369 | -1.951e-10 | -10.5542
199.94 | -2.028e-10 | -10.5696
199.844 | -1.721e-10 | -10.5489
199.152 | -1.921e-10 | -10.5936
198.94 | -1.939e-10 | -10.5859
198.306 | -2.042e-10 | -10.6251
197.778 | -2.131e-10 | -10.6524
197.452 | -2.183e-10 | -10.657
196.769 | -2.094e-10 | -10.7004
196.583 | -2.053e-10 | -10.6891
196.031 | -2.12e-10 | -10.718
194.612 | -3.7827e-13 | -10.7119
194.348 | -1.2938e-13 | -10.6261
194.371 | -6.0185e-14 | -10.5969
194.393 | -5.8191e-14 | -10.5682
194.413 | 8.8924e-14 | -10.5409
194.426 | 8.0373e-13 | -10.5137
194.439 | 5.0395e-14 | -10.4869
194.31 | 9.1917e-13 | -10.4531
194.155 | -2.8342e-12 | -10.3402
194.154 | -8.8102e-13 | -10.3157
193.614 | -1.1841e-12 | -10.2667
193.431 | -6.576e-13 | -10.2611
193.376 | -2.2637e-13 | -10.2427
193.185 | -4.4548e-13 | -10.2389
193.082 | -8.184e-12 | -10.2063
192.981 | -3.8215e-12 | -10.1932
192.9 | -2.0605e-12 | -10.1776
192.843 | -6.6736e-13 | -10.1603
192.011 | -2.2441e-14 | -10.1429
191.925 | 2.0462e-13 | -10.1288
191.843 | -1.888e-13 | -10.1135
191.769 | 1.6816e-13 | -10.098
191.69 | 7.1151e-13 | -10.0828
191.533 | -2.0737e-10 | -10.0544
191.42 | -2.0483e-10 | -10.0434
191.317 | -1.6942e-10 | -10.0308
191.219 | -7.379e-11 | -10.0179
191.128 | -9.409e-11 | -10.0045
191.038 | -1.7246e-10 | -9.9914
190.95 | -1.547e-11 | -9.9786
190.843 | -8.274e-11 | -9.9663
190.684 | -1.7123e-10 | -9.9597
190.542 | -1.4661e-10 | -9.9518
190.442 | -1.8154e-10 | -9.94
190.332 | -2.1812e-10 | -9.929
190.22 | -2.1545e-10 | -9.9172
190.109 | -2.5378e-10 | -9.9061
189.966 | -2.4725e-10 | -9.898
189.78 | -2.3479e-10 | -9.8935
189.634 | -2.3585e-10 | -9.8858
189.504 | -2.3029e-10 | -9.8767
189.369 | -2.0307e-10 | -9.8682
189.233 | -2.0788e-10 | -9.8598
189.061 | -2.311e-10 | -9.8551
188.841 | -2.142e-10 | -9.8547
188.672 | -2.3405e-10 | -9.8494
188.511 | -2.2876e-10 | -9.8429
188.347 | -2.3459e-10 | -9.8373
188.181 | -2.2348e-10 | -9.8313
188.006 | -1.9598e-10 | -9.827
187.829 | -1.8876e-10 | -9.8221
187.664 | -2.1128e-10 | -9.8162
187.487 | -2.285e-10 | -9.8118
187.309 | -2.1903e-10 | -9.8071
187.125 | -2.2158e-10 | -9.8034
186.941 | -2.0938e-10 | -9.7996
186.768 | -2.0462e-10 | -9.7954
186.574 | -2.0303e-10 | -9.7927
186.371 | -1.9732e-10 | -9.7909
186.141 | -2.1037e-10 | -9.7915
185.843 | -2.123e-10 | -9.7975
185.527 | -2.4485e-10 | -9.8062
185.291 | -2.5373e-10 | -9.8071
185.031 | -2.212e-10 | -9.8083
184.401 | -7.4416e-12 | -9.8276
184.155 | -3.9775e-12 | -9.8288
183.94 | -6.7618e-12 | -9.8277
183.719 | 5.0016e-12 | -9.8271
182.792 | -2.882e-13 | -9.8231
182.396 | 9.709e-14 | -9.8206
182.169 | 6.4596e-12 | -9.8191
181.932 | -2.9923e-12 | -9.8199
180.982 | -5.911e-13 | -9.8173
180.491 | 2.0994e-11 | -9.8215
180.186 | -1.9692e-12 | -9.8283
179.915 | -1.9315e-12 | -9.8324
179.693 | 1.4697e-12 | -9.8322
179.463 | -6.3789e-12 | -9.8328
179.233 | -1.5261e-12 | -9.8333
178.989 | -7.3802e-12 | -9.8329
178.754 | -9.7967e-13 | -9.8333
177.405 | -7.514e-13 | -9.8648
176.792 | -1.0806e-12 | -9.8804
176.56 | 7.0006e-12 | -9.8804
176.347 | -6.1915e-13 | -9.8795
175.381 | -1.0356e-12 | -9.8776
175.146 | -8.3645e-13 | -9.8782
174.898 | -8.4797e-13 | -9.88
174.631 | -7.1881e-13 | -9.8833
174.258 | -4.6731e-13 | -9.8951
173.839 | 5.701e-14 | -9.9102
173.503 | 2.6571e-13 | -9.9188
173.19 | 6.7665e-13 | -9.9256
172.831 | 7.6869e-13 | -9.9361
172.461 | 4.4321e-13 | -9.9475
172.066 | 3.1052e-13 | -9.9606
171.752 | 2.9761e-13 | -9.9677
171.512 | 2.1621e-13 | -9.9686
171.267 | -1.4834e-13 | -9.9701
171.031 | -2.9554e-13 | -9.9708
170.815 | -1.3507e-13 | -9.9699
170.584 | 3.646e-13 | -9.9699
170.356 | 1.3591e-13 | -9.9695
170.119 | 5.8257e-13 | -9.9701
169.868 | 2.3843e-13 | -9.9721
169.582 | 6.1403e-13 | -9.9764
169.289 | -5.0529e-14 | -9.9813
168.613 | -1.1984e-12 | -10.0006
166.857 | -1.2958e-12 | -10.0447
166.617 | -3.1811e-12 | -10.0456
166.374 | -3.3171e-12 | -10.0462
166.144 | -8.5128e-13 | -10.046
165.219 | 3.3404e-14 | -10.0405
165.031 | 9.693e-15 | -10.037
164.811 | 2.1991e-13 | -10.036
164.56 | 4.6648e-13 | -10.0371
164.297 | 2.284e-13 | -10.0394
163.999 | 8.8031e-13 | -10.0445
163.747 | 9.4035e-14 | -10.0458
163.295 | 5.1725e-12 | -10.0458
163.07 | -8.7577e-13 | -10.0451
162.825 | -1.479e-11 | -10.0449
162.597 | -1.0481e-12 | -10.0443
162.346 | 4.6992e-12 | -10.046
161.223 | 4.153e-14 | -10.0556
160.733 | 7.7727e-12 | -10.0608
159.38 | 2.5054e-13 | -10.0874
158.95 | 5.023e-14 | -10.1021
158.528 | -3.8047e-14 | -10.1156
158.041 | 2.6186e-14 | -10.1347
157.591 | -4.1657e-14 | -10.1502
157.143 | -5.3915e-14 | -10.1661
156.715 | -4.6553e-14 | -10.1802
156.33 | 2.1556e-14 | -10.1917
155.954 | 5.5795e-14 | -10.2021
155.519 | 1.486e-15 | -10.2162
155.158 | -1.2852e-13 | -10.2254
154.843 | -1.684e-15 | -10.2312
154.55 | 1.0388e-14 | -10.2349
154.245 | -5.2383e-14 | -10.2397
153.941 | -1.9836e-14 | -10.2444
153.376 | -5.932e-12 | -10.2531
153.02 | -5.24e-12 | -10.2615
152.66 | 1.3884e-12 | -10.2706
152.287 | 6.1625e-11 | -10.2805
151.966 | -5.486e-13 | -10.2869
150.728 | -4.736e-14 | -10.3024
150.43 | -1.3589e-14 | -10.3067
150.165 | 1.235e-15 | -10.3087
149.892 | 8.039e-15 | -10.3109
149.638 | 1.0836e-14 | -10.3118
149.394 | 1.236e-14 | -10.312
149.172 | 1.2522e-14 | -10.3109
148.914 | 1.3141e-14 | -10.3114
148.673 | 1.317e-14 | -10.3119
148.415 | 1.2672e-14 | -10.3127
148.13 | 1.2911e-14 | -10.3158
147.873 | 1.2672e-14 | -10.3169
147.631 | 1.2025e-14 | -10.3171
147.393 | 1.1883e-14 | -10.3172
147.146 | 1.2083e-14 | -10.3178
146.898 | 1.1212e-14 | -10.3179
146.601 | 1.1147e-14 | -10.3222
146.258 | 1.0723e-14 | -10.329
145.942 | 1.028e-14 | -10.3345
145.659 | 9.856e-15 | -10.3371
145.395 | 9.265e-15 | -10.3388
145.12 | 9.904e-15 | -10.3413
144.832 | -1.6657e-14 | -10.3444
144.552 | -2.2811e-13 | -10.3476
144.109 | 1.9623e-12 | -10.3475
143.878 | 8.414e-13 | -10.3469
142.718 | -4.1728e-14 | -10.3558
142.32 | -5.692e-15 | -10.3665
141.94 | -1.0926e-14 | -10.3761
141.608 | 1.5147e-14 | -10.3818
141.309 | 6.221e-15 | -10.3856
141.029 | 2.0187e-14 | -10.3884
140.778 | 1.7634e-14 | -10.3891
140.519 | 1.2865e-14 | -10.3906
140.282 | 2.1315e-14 | -10.3904
140.002 | 1.4164e-14 | -10.3927
139.729 | 3.6924e-14 | -10.3951
139.412 | 3.5598e-14 | -10.4003
139.073 | 2.1e-14 | -10.4066
138.778 | 3.2928e-14 | -10.4097
138.496 | 1.9059e-14 | -10.4124
138.216 | 2.7278e-14 | -10.4144
137.963 | 1.0512e-14 | -10.4151
137.734 | 1.497e-14 | -10.4142
137.519 | 1.5146e-14 | -10.4123
137.308 | 1.137e-14 | -10.4102
137.103 | 1.9751e-14 | -10.4072
136.906 | 1.5114e-14 | -10.404
136.706 | 1.6826e-14 | -10.4016
136.466 | 2.1631e-14 | -10.4014
136.215 | -2.6409e-14 | -10.4015
135.949 | -3.539e-15 | -10.4031
135.659 | 5.8362e-14 | -10.406
135.362 | 6.7811e-14 | -10.4092
135.103 | 1.669e-15 | -10.4098
134.854 | 2.6131e-14 | -10.4104
134.596 | 6.2616e-14 | -10.4113
134.349 | 1.5286e-13 | -10.4116
133.91 | 4.8011e-12 | -10.4108
133.69 | 2.94e-12 | -10.4093
133.475 | 1.1391e-12 | -10.4075
132.629 | -4.6557e-14 | -10.395
132.432 | -9.903e-15 | -10.3922
132.207 | 1.4213e-14 | -10.391
131.993 | 6.9955e-14 | -10.3892
131.801 | 3.5671e-14 | -10.386
131.615 | 8.446e-15 | -10.3826
131.428 | 3.595e-15 | -10.3791
131.215 | 1.1267e-14 | -10.3775
131.037 | 1.2968e-14 | -10.3736
130.86 | 7.569e-15 | -10.3697
130.67 | -8.484e-15 | -10.3662
130.479 | 9.11e-15 | -10.363
130.314 | 1.061e-14 | -10.3585
130.158 | -1.079e-15 | -10.3532
130.012 | -5.7699e-14 | -10.3472
129.871 | 5.693e-15 | -10.3408
129.736 | 5.43e-16 | -10.3338
129.607 | 1.0501e-14 | -10.3269
129.483 | -5.3706e-14 | -10.3194
129.363 | 7.191e-15 | -10.312
129.245 | 8.6836e-14 | -10.3042
129.13 | 2.9668e-14 | -10.2962
129.017 | 1.7165e-14 | -10.2882
128.905 | 1.118e-14 | -10.2802
128.802 | -1.433e-14 | -10.272
128.7 | 4.9592e-14 | -10.2636
128.603 | -3.575e-15 | -10.255
128.508 | -4.0611e-14 | -10.2458
128.419 | 1.5974e-14 | -10.2366
128.331 | -9.8549e-14 | -10.2267
128.25 | -2.8697e-13 | -10.2169
128.171 | -5.1475e-14 | -10.2073
128.097 | -1.852e-14 | -10.1972
128.023 | -3.253e-15 | -10.1869
127.956 | 7.758e-15 | -10.1764
127.894 | 4.3796e-14 | -10.1655
127.825 | 1.9259e-14 | -10.1552
127.753 | 1.3882e-14 | -10.1453
127.68 | 8.349e-15 | -10.1354
127.585 | 7.821e-15 | -10.1267
127.486 | 1.1855e-14 | -10.1182
127.33 | 9.76e-15 | -10.1134
127.168 | 1.9679e-14 | -10.109
127.019 | 1.9013e-14 | -10.1037
126.898 | 1.3863e-14 | -10.0971
126.717 | 1.669e-14 | -10.0935
126.496 | 1.8306e-14 | -10.0924
126.234 | 1.0343e-14 | -10.0942
125.988 | 1.8469e-14 | -10.0947
125.728 | 1.2864e-14 | -10.0961
125.457 | 1.7269e-14 | -10.098
125.117 | 9.553e-15 | -10.1041
124.76 | 1.121e-14 | -10.1116
124.418 | 2.5684e-14 | -10.1175
124.026 | 2.206e-14 | -10.1268
123.568 | 1.7545e-14 | -10.1397
123.204 | 2.4417e-14 | -10.1472
122.889 | 2.1742e-14 | -10.1518
122.587 | 2.4432e-14 | -10.1552
122.332 | 1.6613e-14 | -10.1562
122.136 | 1.9471e-14 | -10.1537
121.942 | 2.9402e-14 | -10.1511
121.705 | 2.9516e-14 | -10.1511
121.497 | 3.6508e-14 | -10.1491
121.238 | 9.507e-15 | -10.15
121.018 | 1.5236e-14 | -10.1489
120.774 | 1.8204e-14 | -10.1487
120.539 | 1.6769e-14 | -10.1487
120.33 | 5.673e-15 | -10.147
120.138 | 9.072e-15 | -10.1444
119.942 | 2.1652e-14 | -10.1421
119.754 | 1.5509e-14 | -10.139
119.572 | 1.511e-14 | -10.1358
119.382 | 1.029e-14 | -10.1324
119.203 | 1.6839e-14 | -10.1288
119.05 | 6.903e-15 | -10.1238
118.894 | 4.989e-15 | -10.1191
118.744 | 5.74e-15 | -10.1142
118.608 | 4.126e-15 | -10.1083
118.46 | 1.0055e-14 | -10.1029
118.319 | 8.012e-15 | -10.0974
118.181 | 1.4351e-14 | -10.0912
118.061 | 7.804e-15 | -10.0846
117.924 | 1.2391e-14 | -10.0787
117.785 | 1.4827e-14 | -10.0732
117.66 | 1.4033e-14 | -10.0667
117.541 | 1.3332e-14 | -10.0599
117.43 | 6.4e-15 | -10.0527
117.32 | 1.0408e-14 | -10.0453
117.221 | 6.338e-15 | -10.0374
117.126 | 1.486e-15 | -10.0293
117.031 | 5.344e-15 | -10.021
116.941 | 7.386e-15 | -10.0131
116.844 | 9.377e-15 | -10.0051
116.759 | 3.356e-15 | -9.9966
116.674 | 8.023e-15 | -9.9879
116.585 | 7.869e-15 | -9.9788
116.486 | 9.812e-15 | -9.9714
116.41 | 1.2618e-14 | -9.9622
116.332 | 1.1557e-14 | -9.9535
116.259 | 1.6462e-14 | -9.9447
116.185 | 1.2847e-14 | -9.9358
116.113 | 7.573e-15 | -9.9268
116.044 | 6.552e-15 | -9.9171
115.982 | 1.2239e-14 | -9.9073
115.919 | 1.0316e-14 | -9.8978
115.862 | 6.85e-15 | -9.8883
115.808 | 1.2632e-14 | -9.8784
115.758 | 8.729e-15 | -9.8678
115.706 | 5.416e-15 | -9.8577
115.662 | 6.289e-15 | -9.8472
115.618 | 4.4e-17 | -9.8369
115.57 | 8.525e-15 | -9.8264
115.528 | 5.957e-15 | -9.8157
115.485 | 8.859e-15 | -9.8053
115.432 | 6.099e-15 | -9.7952
115.376 | 4.539e-15 | -9.7851
115.311 | 7.401e-15 | -9.7758
115.265 | 7.606e-15 | -9.7653
115.211 | 4.189e-15 | -9.7553
115.17 | 5.663e-15 | -9.7448
115.116 | 1.3129e-14 | -9.7352
115.061 | 8.076e-15 | -9.7255
115.013 | 1.1555e-14 | -9.7156
114.968 | 1.5515e-14 | -9.7055
114.923 | 9.396e-15 | -9.6953
114.893 | 1.1949e-14 | -9.6845
114.864 | 3.679e-15 | -9.6738
114.841 | 7.25e-15 | -9.6624
114.821 | 6.411e-15 | -9.651
114.804 | -4.274e-15 | -9.6392
114.791 | 1.751e-15 | -9.6276
114.778 | 1.908e-15 | -9.6161
114.769 | 1.527e-15 | -9.6042
114.763 | -3.267e-15 | -9.5924
114.762 | 6.769e-15 | -9.5802
114.761 | 7.039e-15 | -9.5682
114.765 | 9.169e-15 | -9.5559
114.769 | 9.02e-15 | -9.5438
114.776 | 4.291e-15 | -9.5314
114.788 | 5.961e-15 | -9.5185
114.799 | 3.868e-15 | -9.5063
114.814 | 9.761e-15 | -9.4933
114.83 | 4.33e-15 | -9.4799
114.848 | 1.1824e-14 | -9.4672
114.865 | 7.022e-15 | -9.4544
114.886 | 5.446e-15 | -9.4412
114.908 | 9.383e-15 | -9.4282
114.928 | 6.183e-15 | -9.4152
114.953 | 1.1906e-14 | -9.4023
114.98 | 6.726e-15 | -9.3889
115.007 | 1.072e-14 | -9.3759
115.037 | 1.2355e-14 | -9.3628
115.07 | 5.312e-15 | -9.3493
115.105 | 7.466e-15 | -9.336
115.14 | 3.789e-14 | -9.3226
115.174 | -7.6241e-13 | -9.3091
115.248 | 1.39e-12 | -9.2838
115.287 | -2.4465e-11 | -9.2703
115.326 | -1.3826e-11 | -9.2568
115.368 | -1.8989e-11 | -9.2433
115.41 | -1.677e-11 | -9.2297
115.454 | -1.0292e-11 | -9.2164
115.499 | -2.6642e-11 | -9.2026
115.547 | -1.0621e-11 | -9.1887
115.595 | -2.8647e-11 | -9.1751
115.639 | -4.7257e-11 | -9.1617
115.692 | -5.1845e-11 | -9.1478
115.739 | -4.1353e-11 | -9.1342
115.79 | -6.591e-11 | -9.1204
115.844 | -3.3815e-11 | -9.1064
115.894 | -5.847e-11 | -9.0929
115.939 | -3.0508e-11 | -9.0796
115.99 | -6.9538e-11 | -9.0659
116.044 | -6.2928e-11 | -9.0523
116.097 | -5.0824e-11 | -9.0388
116.15 | -2.5152e-12 | -9.0251
116.208 | -1.1771e-11 | -9.0113
116.269 | -2.2483e-11 | -8.9971
116.328 | -2.853e-11 | -8.9832
116.384 | -6.5926e-11 | -8.9697
116.448 | -5.9123e-11 | -8.9557
116.509 | -2.3031e-11 | -8.9417
116.577 | -3.872e-11 | -8.9274
116.641 | -4.3747e-11 | -8.9135
116.706 | -2.7956e-11 | -8.8993
116.769 | -5.3066e-11 | -8.8855
116.832 | -3.144e-11 | -8.8716
116.901 | -4.6202e-11 | -8.8578
116.969 | -7.1012e-11 | -8.844
117.037 | -6.8611e-11 | -8.83
117.111 | -8.5117e-11 | -8.8156
117.183 | -5.2507e-11 | -8.8016
117.26 | -1.7502e-11 | -8.7869
117.332 | -4.735e-11 | -8.7729
117.406 | -3.9605e-11 | -8.7588
117.487 | -4.3363e-11 | -8.7441
117.569 | -4.041e-11 | -8.7296
117.645 | -3.5006e-11 | -8.7153
117.728 | -2.7565e-11 | -8.7011
117.805 | -7.4607e-11 | -8.6869
117.884 | -6.62e-11 | -8.6728
117.97 | -6.2044e-11 | -8.6584
118.05 | -6.5209e-11 | -8.6439
118.136 | -6.9697e-11 | -8.6294
118.224 | -2.1924e-11 | -8.6149
118.305 | -3.8353e-11 | -8.6007
118.388 | -3.7649e-11 | -8.5868
118.477 | -5.0094e-11 | -8.5724
118.562 | -4.1619e-11 | -8.5583
118.648 | -5.3241e-11 | -8.5441
118.739 | -7.5712e-11 | -8.5297
118.825 | -3.6848e-11 | -8.5156
118.918 | -4.5044e-11 | -8.501
119.006 | -6.9287e-11 | -8.4868
119.095 | -5.8872e-11 | -8.4728
119.183 | -9.4988e-11 | -8.4588
119.28 | -5.1896e-11 | -8.4444
119.372 | -5.1382e-11 | -8.43
119.461 | -2.8862e-11 | -8.4162
119.561 | -5.7813e-11 | -8.4017
119.652 | -6.8597e-11 | -8.3876
119.747 | -5.1784e-11 | -8.3736
119.839 | -4.0327e-11 | -8.3597
119.938 | -4.8965e-11 | -8.3453
120.044 | -2.0715e-11 | -8.3302
120.133 | -7.1103e-12 | -8.3164
120.207 | -2.2259e-11 | -8.3034
120.247 | -3.087e-11 | -8.292
120.265 | -3.1832e-11 | -8.2817
120.288 | -4.5035e-11 | -8.2713
120.327 | -1.9094e-11 | -8.26
120.381 | -2.5724e-11 | -8.2477
120.434 | -5.7086e-11 | -8.2353
120.489 | -7.9548e-11 | -8.2229
120.541 | -7.3582e-11 | -8.2109
120.587 | -3.2399e-11 | -8.1993
120.636 | -7.7336e-11 | -8.1874
120.682 | -2.1778e-11 | -8.1758
120.729 | -5.4945e-11 | -8.1643
120.777 | -7.3854e-11 | -8.153
120.824 | -4.8103e-11 | -8.1415
120.866 | -4.9134e-11 | -8.1302
120.914 | -3.1148e-11 | -8.1168
120.963 | -3.9821e-11 | -8.1054
121.009 | -3.4488e-11 | -8.0941
121.058 | -3.4544e-11 | -8.0827
121.106 | -5.8211e-11 | -8.0715
121.153 | -3.7176e-11 | -8.0603
121.2 | -3.1732e-11 | -8.0489
121.249 | -2.3643e-11 | -8.0378
121.298 | -2.4424e-11 | -8.0266
121.347 | -7.2598e-11 | -8.0153
121.402 | -1.0179e-10 | -8.0039
121.433 | -8.8595e-11 | -7.9936
121.446 | -6.9211e-11 | -7.9842
121.457 | -5.1207e-11 | -7.9749
121.473 | -5.4107e-11 | -7.9653
121.49 | -6.4178e-11 | -7.9558
121.513 | -7.8821e-11 | -7.946
121.533 | -8.4973e-11 | -7.9364
121.557 | -5.988e-11 | -7.9265
121.579 | -2.2946e-11 | -7.9167
121.58 | -3.4907e-11 | -7.9081
121.588 | -3.5096e-11 | -7.8989
121.567 | -3.6824e-11 | -7.891
121.562 | -3.9413e-11 | -7.8825
121.565 | -5.0888e-11 | -7.8738
121.571 | -5.1534e-11 | -7.8648
121.577 | -6.6189e-11 | -7.8559
121.585 | -9.0224e-11 | -7.8468
121.598 | -1.1728e-10 | -7.8375
121.608 | -1.4615e-10 | -7.8285
121.61 | -9.5902e-11 | -7.8199
121.613 | -9.5015e-11 | -7.8112
121.614 | -1.6337e-11 | -7.8028
121.498 | -1.5912e-11 | -7.7994
120.889 | -1.6093e-11 | -7.8183
119.789 | -1.3088e-11 | -7.8594
118.394 | -9.9629e-12 | -7.9137
116.578 | -1.0537e-11 | -7.9866
114.694 | -2.932e-11 | -8.0626
113.142 | -6.1926e-11 | -8.1236
111.779 | -1.1012e-10 | -8.176
110.851 | -7.5222e-11 | -8.2084
110.275 | -7.1705e-11 | -8.225
109.977 | -1.0949e-10 | -8.2292
109.801 | -1.1676e-10 | -8.228
109.72 | -1.1804e-10 | -8.2226
109.699 | -1.1439e-10 | -8.2145
109.708 | -1.187e-10 | -8.2053
109.742 | -1.2189e-10 | -8.1947
109.793 | -1.2873e-10 | -8.1838
109.852 | -1.0328e-10 | -8.1726
109.911 | -9.2018e-11 | -8.1609
109.976 | -7.6122e-11 | -8.1494
110.037 | -7.4319e-11 | -8.1379
110.019 | -7.0003e-11 | -8.13
109.435 | -7.7366e-11 | -8.1468
108.367 | -7.4698e-11 | -8.1849
106.807 | -6.7476e-11 | -8.2448
105.113 | -1.7171e-10 | -8.3107
103.251 | 2.4464e-12 | -8.3839
101.386 | 1.3266e-11 | -8.4569
99.87 | -1.5604e-12 | -8.5141
98.8699 | 4.8125e-11 | -8.549
98.2226 | -4.0072e-12 | -8.5682
97.9252 | -4.5605e-12 | -8.5721
97.7637 | -5.1676e-12 | -8.5699
97.6979 | -4.8747e-12 | -8.5637
97.6898 | -4.5268e-12 | -8.5547
97.7183 | -5.04e-12 | -8.5444
97.7664 | -4.1884e-12 | -8.5334
97.8265 | -4.4893e-12 | -8.5218
97.9025 | -9.4035e-12 | -8.5095
97.9718 | -6.3421e-12 | -8.4975
98.0502 | -8.5736e-12 | -8.4853
98.1267 | -1.4281e-11 | -8.4732
98.2109 | 8.1546e-12 | -8.4603
98.292 | -1.5629e-11 | -8.4479
98.3603 | -1.4013e-11 | -8.4361
98.4117 | -2.8002e-11 | -8.4248
98.4884 | -3.0106e-11 | -8.4127
98.5649 | -1.6239e-11 | -8.4005
98.6142 | -1.424e-11 | -8.3894
98.6685 | -1.8011e-11 | -8.3783
98.7338 | -2.0422e-11 | -8.3668
98.8 | -2.5967e-11 | -8.3553
98.8511 | -3.907e-11 | -8.3445
98.6509 | -4.1218e-11 | -8.3444
98.4123 | -4.0336e-11 | -8.346
98.3282 | -4.342e-11 | -8.3408
98.3702 | -4.6256e-11 | -8.3305
98.4019 | -4.2973e-11 | -8.3204
97.7994 | -4.4006e-11 | -8.3372
97.2245 | 5.6288e-11 | -8.353
97.0126 | -2.5837e-11 | -8.3534
96.9135 | -4.4613e-12 | -8.3493
96.1036 | -2.1083e-11 | -8.375
94.3767 | -2.41e-11 | -8.439
91.0783 | -2.407e-11 | -8.5697
88.5932 | -2.7461e-11 | -8.6657
87.6309 | -3.1225e-11 | -8.6973
87.393 | -3.6611e-11 | -8.6982
86.4994 | -2.0981e-11 | -8.727
83.698 | -8.6653e-11 | -8.8357
82.6882 | -1.4268e-10 | -8.8691
82.1162 | -1.4688e-10 | -8.8838
81.7149 | -2.1273e-10 | -8.8903
81.4799 | -1.8875e-10 | -8.8911
81.3168 | -1.2121e-10 | -8.8886
81.1989 | -1.793e-10 | -8.8844
81.165 | -1.5785e-10 | -8.8765
81.126 | -1.9425e-10 | -8.8692
81.0373 | -1.6743e-10 | -8.857
80.9738 | -1.8582e-10 | -8.8505
80.9076 | -1.7295e-10 | -8.844
80.8686 | -1.8129e-10 | -8.8367
80.8221 | -2.1074e-10 | -8.8288
80.7852 | -2.069e-10 | -8.8213
80.7431 | -1.8978e-10 | -8.814
80.7239 | -1.816e-10 | -8.806
80.6779 | -1.7193e-10 | -8.7922
80.6748 | -1.9812e-10 | -8.7835
80.6613 | -1.8644e-10 | -8.7752

## Pulse
Temperature | Current | Time
80.6411 | 2.9129e-11 | 1.7605
80.6388 | 2.5939e-11 | 3.2089
80.6307 | 1.8399e-11 | 4.6405
80.6055 | 1.4627e-11 | 6.1178
80.587 | 1.1052e-11 | 7.587
80.5857 | 2.2863e-11 | 9.0468
80.564 | 2.4245e-11 | 10.5169
80.5531 | 2.7834e-11 | 11.9724
80.5354 | 2.8556e-11 | 13.4245
80.5264 | 2.6681e-11 | 14.8691
80.5383 | 2.3099e-11 | 16.3106
80.5221 | 2.3571e-11 | 17.7692
80.5004 | 2.0925e-11 | 19.2598
80.4844 | 1.585e-11 | 20.7231
80.4909 | 3.3993e-11 | 22.1709
80.4823 | 2.3361e-11 | 23.6107
80.47 | 2.1377e-11 | 25.1094
80.4516 | 4.1788e-11 | 26.5919
80.4507 | 3.3363e-11 | 28.066
80.4436 | 2.2382e-11 | 29.5523

## Measurements
Temperature | Current | Temp Rate
80.4306 | -1.3876e-10 | 0
80.5378 | -2.3643e-10 | 0.61817
80.8522 | -1.6695e-10 | 1.8309
81.1627 | -1.6027e-10 | 3.0189
81.432 | -1.3294e-10 | 3.3233
83.1252 | -1.4916e-10 | 8.0939
84.0847 | -2.6334e-10 | 9.9746
84.4598 | -2.9524e-10 | 10.5491
84.7329 | -3.1361e-10 | 11.023
85.004 | -2.5831e-10 | 11.3755
85.3326 | -2.545e-10 | 20.1197
85.6563 | -2.0232e-10 | 28.306
86.0021 | -2.144e-10 | 76.8448
86.402 | -2.3259e-10 | 163.7789
86.7432 | -2.9807e-10 | 254.4607
87.0727 | -2.8055e-10 | 13.2774
87.4359 | -3.0337e-10 | 13.5818
87.7378 | -3.1033e-10 | 13.8536
88.03 | -1.0459e-10 | 584.8364
89.2859 | -1.9311e-10 | 14.491
90.3233 | -2.0824e-10 | 15.3026
90.574 | -2.0021e-10 | 15.4495
90.9086 | -2.1809e-10 | 15.486
91.2027 | -2.0195e-10 | 15.5814
91.5174 | -1.8915e-10 | 15.6047
91.7943 | -1.8917e-10 | 15.1396
92.3503 | -1.9881e-10 | 15.633
92.5309 | -2.1619e-10 | 15.6555
92.7041 | -2.144e-10 | 15.641
92.9498 | -2.4697e-10 | 15.6179
93.2656 | -2.816e-10 | 15.5944
93.5725 | -2.7904e-10 | 15.5498
93.8726 | -2.1777e-10 | 15.5171
94.1664 | -2.1486e-10 | 15.4696
94.4616 | -1.9541e-10 | 15.4013
94.8193 | -2.1814e-10 | 15.3545
95.1104 | -2.0757e-10 | 15.314
95.3752 | -2.2657e-10 | 15.2673
95.6907 | -2.2278e-10 | 15.2305
95.9587 | -2.2973e-10 | 15.1999
96.2511 | -2.2703e-10 | 15.1607
96.5455 | -2.3204e-10 | 15.1327
96.9094 | -2.2086e-10 | 15.0917
97.1837 | -1.6569e-10 | 15.0648
97.4802 | -1.9054e-10 | 15.0413
97.8007 | -1.9934e-10 | 15.012
98.1013 | -1.5435e-10 | 14.7536
98.5391 | -1.1508e-10 | 14.989
98.7174 | -1.29e-10 | 14.9848
98.9926 | -1.6753e-10 | 14.9769
99.3092 | -1.74e-10 | 14.7883
99.7862 | -1.3992e-10 | 15.0361
99.9937 | -1.6485e-10 | 15.0282
100.202 | -2.2661e-10 | 15.0219
100.491 | -2.2627e-10 | 15.0638
100.746 | -2.3618e-10 | 15.0684
101.07 | -2.3852e-10 | 15.07
101.395 | -2.0514e-10 | 15.0644
101.642 | -2.284e-10 | 15.0571
101.97 | -2.2813e-10 | 15.0618
102.292 | -2.3902e-10 | 15.0488
102.614 | -2.4351e-10 | 15.05
102.862 | -3.0017e-10 | 15.0466
103.181 | -3.1786e-10 | 15.0379
103.499 | -2.6268e-10 | 15.0481
103.819 | -2.7349e-10 | 15.0318
104.063 | -2.4847e-10 | 15.0338
104.409 | -2.1269e-10 | 15.028
104.655 | -2.9206e-10 | 15.0315
104.973 | -2.7634e-10 | 15.0253
105.297 | -1.6007e-10 | 15.0245
105.568 | -1.8413e-10 | 15.015
105.89 | -2.725e-10 | 15.0147
106.21 | -2.5517e-10 | 15.0087
106.527 | -2.4638e-10 | 15.0074
106.774 | -2.9216e-10 | 15.0118
107.096 | -2.9518e-10 | 15.0107
107.344 | -2.9834e-10 | 15.0104
107.667 | -2.8905e-10 | 15.0057
107.988 | -2.7628e-10 | 14.9995
108.261 | -2.8347e-10 | 14.9922
108.582 | -2.8799e-10 | 15.0007
108.903 | -2.5641e-10 | 15.0016
109.148 | -2.6514e-10 | 14.9926
109.46 | -2.4333e-10 | 14.9879
109.778 | -2.4713e-10 | 14.9849
110.096 | -2.3354e-10 | 14.9819
110.339 | -2.3412e-10 | 14.9766
110.657 | -2.3349e-10 | 14.9795
110.976 | -2.3278e-10 | 14.9669
111.3 | -2.2155e-10 | 14.9649
111.56 | -2.0845e-10 | 14.9785
111.89 | -2.2932e-10 | 14.9796
112.14 | -2.6046e-10 | 14.9767
112.484 | -2.9353e-10 | 14.9733
112.804 | -2.6944e-10 | 14.9685
113.123 | -2.9265e-10 | 14.9667
113.36 | -2.926e-10 | 14.969
113.673 | -2.725e-10 | 14.9655
113.994 | -2.5897e-10 | 14.9608
114.268 | -2.822e-10 | 14.9528
114.588 | -2.2735e-10 | 14.9569
114.863 | -2.8044e-10 | 14.9616
115.184 | -2.721e-10 | 14.9579
115.437 | -2.6265e-10 | 14.9563
115.792 | -2.6588e-10 | 14.9558
116.04 | -2.6255e-10 | 14.961
116.369 | -2.5203e-10 | 14.9608
116.643 | -2.5034e-10 | 14.9652
116.969 | -2.5494e-10 | 14.9646
117.294 | -2.2504e-10 | 14.9644
117.546 | -2.2198e-10 | 14.9624
117.87 | -2.2661e-10 | 14.9653
118.193 | -2.0269e-10 | 14.9619
118.461 | -1.9662e-10 | 14.9592
118.732 | -1.8339e-10 | 14.9611
119.05 | -1.7788e-10 | 14.9578
119.368 | -1.9414e-10 | 14.955
119.691 | -2.1222e-10 | 14.9545
119.966 | -2.2074e-10 | 14.9489
120.288 | -2.1289e-10 | 14.9554
120.562 | -2.1153e-10 | 14.9521
120.886 | -2.0678e-10 | 14.9501
121.137 | -2.0251e-10 | 14.9562
121.462 | -1.8536e-10 | 14.9527
121.738 | -1.773e-10 | 14.9572
122.064 | -1.7827e-10 | 14.9583
122.389 | -1.9545e-10 | 14.9557
122.664 | -1.827e-10 | 14.9591
122.991 | -1.991e-10 | 14.9596
123.243 | -2.1822e-10 | 14.958
123.595 | -2.2116e-10 | 14.9565
123.924 | -2.6189e-10 | 14.9568
124.177 | -2.4228e-10 | 14.965
124.503 | -2.7918e-10 | 14.9649
124.756 | -3.0822e-10 | 14.9638
125.107 | -2.7489e-10 | 14.9637
125.359 | -2.7513e-10 | 14.9655
125.687 | -2.8466e-10 | 14.9648
125.989 | -2.0965e-10 | 14.9669
126.265 | -2.668e-10 | 14.9626
126.596 | -2.2941e-10 | 14.9723
126.874 | -2.4287e-10 | 14.9693
127.206 | -2.3865e-10 | 14.9711
127.459 | -2.4178e-10 | 14.9778
127.778 | -2.3041e-10 | 14.9737
128.099 | -2.2113e-10 | 14.9728
128.367 | -1.639e-10 | 14.9667
128.687 | -2.7114e-10 | 14.9696
128.959 | -2.0311e-10 | 14.9654
129.281 | -2.8077e-10 | 14.964
129.604 | -2.88e-10 | 14.9625
129.848 | -2.7305e-10 | 14.966
130.2 | -1.9264e-10 | 14.9644
130.525 | -2.5795e-10 | 14.9647
130.75 | -2.6187e-10 | 14.9676
131.099 | -2.838e-10 | 14.9655
131.424 | -2.6824e-10 | 14.9643
131.673 | -2.7592e-10 | 14.9643
131.998 | -2.6141e-10 | 14.965
132.25 | -2.6816e-10 | 14.9696
132.574 | -2.7184e-10 | 14.968
132.902 | -2.9176e-10 | 14.9687
133.176 | -2.9182e-10 | 14.966
133.501 | -2.7854e-10 | 14.9658
133.752 | -3.0525e-10 | 14.9688
134.077 | -2.9959e-10 | 14.9697
134.405 | -2.8335e-10 | 14.9711
134.68 | -2.8895e-10 | 14.9698
135.007 | -3.0084e-10 | 14.9666
135.256 | -2.8858e-10 | 14.9716
135.584 | -2.878e-10 | 14.9719
135.859 | -2.8617e-10 | 14.9683
136.188 | -2.8817e-10 | 14.9737
136.463 | -2.9178e-10 | 14.9747
136.791 | -2.7643e-10 | 14.9747
137.066 | -2.8591e-10 | 14.9705
137.393 | -2.9252e-10 | 14.9758
137.666 | -2.8985e-10 | 14.9728
137.987 | -2.9541e-10 | 14.9713
138.235 | -2.9321e-10 | 14.9749
138.557 | -2.9631e-10 | 14.9724
138.905 | -2.9117e-10 | 14.9709
139.228 | -2.8517e-10 | 14.9699
139.476 | -2.8748e-10 | 14.9707
139.801 | -2.8512e-10 | 14.9714
140.078 | -2.9951e-10 | 14.9737
140.358 | -2.9788e-10 | 14.9733
140.684 | -2.7421e-10 | 14.9713
141.008 | -3.0101e-10 | 14.9725
141.259 | -2.9301e-10 | 14.9751
141.608 | -2.8572e-10 | 14.9742
141.859 | -3.0556e-10 | 14.9722
142.186 | -2.9991e-10 | 14.9779
142.437 | -3.0343e-10 | 14.9769
142.763 | -2.8779e-10 | 14.9772
143.089 | -3.0891e-10 | 14.9759
143.362 | -2.9843e-10 | 14.9731
143.689 | -2.9602e-10 | 14.9781
143.964 | -3.0757e-10 | 14.9736
144.289 | -3.1023e-10 | 14.9793
144.564 | -3.2208e-10 | 14.9753
144.89 | -3.0524e-10 | 14.9735
145.138 | -3.0295e-10 | 14.9759
145.465 | -3.0328e-10 | 14.9767
145.738 | -3.1217e-10 | 14.9779
146.089 | -3.2399e-10 | 14.975
146.338 | -3.3439e-10 | 14.9779
146.665 | -3.1425e-10 | 14.9779
146.941 | -3.1419e-10 | 14.9791
147.266 | -3.0752e-10 | 14.9783
147.618 | -3.1354e-10 | 14.9766
147.869 | -3.193e-10 | 14.9798
148.141 | -3.0845e-10 | 14.9797
148.486 | -3.1708e-10 | 14.9751
148.807 | -3.1016e-10 | 14.9774
149.077 | -3.1902e-10 | 14.9736
149.401 | -3.0904e-10 | 14.9753
149.674 | -3.1828e-10 | 14.9716
149.997 | -3.1591e-10 | 14.9762
150.248 | -3.2071e-10 | 14.9742
150.598 | -3.0688e-10 | 14.9731
150.848 | -3.1294e-10 | 14.9746
151.199 | -3.1166e-10 | 14.9752
151.523 | -3.1485e-10 | 14.9741
151.776 | -3.1238e-10 | 14.9765
152.051 | -3.161e-10 | 14.9769
152.403 | -3.1605e-10 | 14.9765
152.728 | -3.0821e-10 | 14.9763
152.98 | -2.9907e-10 | 14.979
153.255 | -3.1298e-10 | 14.9798
153.583 | -3.0867e-10 | 14.9779
153.86 | -3.1435e-10 | 14.9766
154.185 | -3.161e-10 | 14.9765
154.437 | -3.0595e-10 | 14.9791
154.787 | -2.8914e-10 | 14.9813
155.039 | -2.9586e-10 | 14.9804
155.39 | -2.7012e-10 | 14.981
155.667 | -2.4131e-10 | 14.9783
155.993 | -2.3213e-10 | 14.9813
156.269 | -2.2226e-10 | 14.9785
156.595 | -2.2472e-10 | 14.9826
156.846 | -2.1571e-10 | 14.981
157.196 | -2.3764e-10 | 14.9801
157.473 | -2.3738e-10 | 14.9814
157.799 | -2.3445e-10 | 14.9796
158.076 | -2.7422e-10 | 14.9817
158.401 | -2.7383e-10 | 14.9803
158.652 | -2.717e-10 | 14.9823
159.002 | -2.7298e-10 | 14.9814
159.253 | -2.8713e-10 | 14.9842
159.578 | -2.5924e-10 | 14.9829
159.85 | -2.6535e-10 | 14.9843
160.171 | -2.5549e-10 | 14.9831
160.494 | -2.9047e-10 | 14.9824
160.767 | -3.1191e-10 | 14.9823
161.116 | -2.8822e-10 | 14.9802
161.366 | -2.8381e-10 | 14.9816
161.64 | -2.788e-10 | 14.9826
161.967 | -2.8184e-10 | 14.9817
162.315 | -2.7811e-10 | 14.9806
162.566 | -2.742e-10 | 14.9825
162.891 | -2.7795e-10 | 14.9823
163.168 | -2.7628e-10 | 14.9799
163.493 | -2.6369e-10 | 14.9833
163.768 | -2.7768e-10 | 14.9815
164.095 | -2.7161e-10 | 14.9833
164.37 | -2.6869e-10 | 14.9838
164.647 | -2.7876e-10 | 14.9854
164.998 | -2.807e-10 | 14.9823
165.25 | -2.7848e-10 | 14.9855
165.577 | -2.8433e-10 | 14.9849
165.903 | -2.8131e-10 | 14.9841
166.204 | -2.7668e-10 | 14.983
166.455 | -2.7976e-10 | 14.985
166.807 | -2.8085e-10 | 14.9831
167.083 | -2.7933e-10 | 14.9843
167.333 | -2.8293e-10 | 14.9857
167.686 | -2.7042e-10 | 14.9831
167.959 | -2.7818e-10 | 14.9839
168.283 | -2.743e-10 | 14.986
168.559 | -2.696e-10 | 14.9869
168.886 | -2.7438e-10 | 14.9868
169.161 | -2.6512e-10 | 14.9847
169.486 | -2.8031e-10 | 14.9883
169.736 | -2.8153e-10 | 14.9867
170.062 | -2.7588e-10 | 14.9861
170.337 | -2.8483e-10 | 14.9879
170.663 | -2.7063e-10 | 14.9863
170.937 | -2.8366e-10 | 14.9871
171.288 | -2.7211e-10 | 14.9856
171.636 | -2.6633e-10 | 14.9872
171.834 | -2.7821e-10 | 14.9856
172.181 | -2.7246e-10 | 14.9868
172.502 | -2.6575e-10 | 14.9847
172.775 | -2.774e-10 | 14.9859
173.124 | -2.5163e-10 | 14.9836
173.371 | -2.5654e-10 | 14.9856
173.722 | -2.5884e-10 | 14.9829
173.995 | -2.7688e-10 | 14.9837
174.245 | -2.8225e-10 | 14.9852
174.596 | -2.787e-10 | 14.9832
174.872 | -2.7598e-10 | 14.9844
175.197 | -2.5556e-10 | 14.9862
175.447 | -2.7769e-10 | 14.9847
175.793 | -2.6707e-10 | 14.9824
176.069 | -2.7435e-10 | 14.9843
176.395 | -2.8956e-10 | 14.9836
176.643 | -2.8294e-10 | 14.9852
176.996 | -2.8235e-10 | 14.986
177.274 | -2.675e-10 | 14.9866
177.6 | -2.6494e-10 | 14.9853
177.876 | -2.8112e-10 | 14.9871
178.202 | -2.5708e-10 | 14.9865
178.48 | -2.5648e-10 | 14.9881
178.804 | -2.5307e-10 | 14.9864
179.081 | -1.8874e-10 | 14.9876
179.357 | -1.777e-10 | 14.9848
179.684 | -2.0892e-10 | 14.9869
179.96 | -2.0297e-10 | 14.9869
180.237 | -1.9661e-10 | 14.9876
180.588 | -1.9361e-10 | 14.989
180.863 | -2.1166e-10 | 14.9866
181.187 | -2.1574e-10 | 14.9884
181.463 | -1.9537e-10 | 14.9888
181.813 | -2.047e-10 | 14.9868
182.063 | -1.8504e-10 | 14.9883
182.339 | -1.6306e-10 | 14.989
182.691 | -1.3162e-10 | 14.9878
182.942 | -1.8652e-10 | 14.9897
183.266 | -2.3589e-10 | 14.988
183.566 | -2.2825e-10 | 14.988
183.892 | -2.1402e-10 | 14.99
184.166 | -1.8821e-10 | 14.9879
184.494 | -1.1982e-10 | 14.9893
184.764 | -1.3548e-10 | 14.949
185.234 | -1.4195e-10 | 14.9882
185.432 | -1.4711e-10 | 14.9892
185.703 | -1.453e-10 | 14.9885
185.951 | -1.1464e-10 | 14.9873
186.297 | -1.431e-10 | 14.9853
186.545 | -1.4548e-10 | 14.9866
186.871 | -1.7369e-10 | 14.9857
187.146 | -1.9189e-10 | 14.9866
187.497 | -1.8837e-10 | 14.9849
187.747 | -1.8743e-10 | 14.9864
188.097 | -2.1905e-10 | 14.9827
188.399 | -2.1802e-10 | 14.9877
188.675 | -1.9375e-10 | 14.9851
189.028 | -1.7647e-10 | 14.9476
189.507 | -2.0419e-10 | 14.9869
189.681 | -1.9432e-10 | 14.9827
189.93 | -2.0136e-10 | 14.9862
190.181 | -2.2347e-10 | 14.9873
190.45 | -2.1987e-10 | 14.9869
190.799 | -2.333e-10 | 14.9848
191.074 | -2.2391e-10 | 14.986
191.401 | -2.3174e-10 | 14.9878
191.728 | -2.2068e-10 | 14.9862
192.006 | -2.2262e-10 | 14.986
192.278 | -2.1144e-10 | 14.9872
192.532 | -2.4503e-10 | 14.9881
192.886 | -2.4801e-10 | 14.9866
193.161 | -2.4676e-10 | 14.9895
193.434 | -2.4674e-10 | 14.9902
193.784 | -2.3056e-10 | 14.9875
194.036 | -2.4395e-10 | 14.9891
194.386 | -2.457e-10 | 14.9878
194.636 | -2.4269e-10 | 14.989
194.987 | -2.5161e-10 | 14.9883
195.262 | -2.3974e-10 | 14.9875
195.588 | -2.3976e-10 | 14.9895
195.865 | -1.8162e-10 | 14.9902
196.141 | -1.5188e-10 | 14.9904
196.494 | -1.9328e-10 | 14.9918
196.769 | -2.3509e-10 | 14.9909
197.046 | -2.3518e-10 | 14.991
197.396 | -2.2854e-10 | 14.989
197.671 | -2.2262e-10 | 14.9893
197.998 | -2.0181e-10 | 14.9908
198.273 | -2.1779e-10 | 14.9911
198.547 | -2.4104e-10 | 14.9913
198.894 | -2.3138e-10 | 14.9883
199.167 | -2.3027e-10 | 14.9893
199.514 | -2.2429e-10 | 14.9893
199.786 | -2.4348e-10 | 14.9887
200.034 | -2.5338e-10 | 14.9891
200.378 | -2.3843e-10 | 14.9866
200.728 | -2.412e-10 | 14.9877
200.977 | -2.2862e-10 | 14.9893
201.327 | -2.2764e-10 | 14.9874
201.576 | -2.0809e-10 | 14.9885
201.851 | -1.2872e-10 | 14.9891
202.203 | -2.1564e-10 | 14.9897
202.478 | -1.9166e-10 | 14.9875
202.805 | -2.1811e-10 | 14.9895
203.082 | -2.1871e-10 | 14.9899
203.384 | -2.5203e-10 | 14.9891
203.636 | -2.448e-10 | 14.9905
203.987 | -2.506e-10 | 14.9894
204.239 | -2.3525e-10 | 14.9907
204.589 | -2.157e-10 | 14.9913
204.864 | -1.8346e-10 | 14.9889
205.139 | -2.0337e-10 | 14.9909
205.489 | -1.8659e-10 | 14.9886
205.763 | -1.9461e-10 | 14.9897
206.088 | -1.9637e-10 | 14.9908
206.363 | -2.3253e-10 | 14.989
206.687 | -2.3398e-10 | 14.99
206.987 | -2.3237e-10 | 14.9897
207.239 | -2.3631e-10 | 14.9905
207.589 | -2.2106e-10 | 14.9909
207.866 | -2.2956e-10 | 14.9912
208.218 | -2.2242e-10 | 14.9904
208.495 | -2.1904e-10 | 14.9898
208.772 | -2.2026e-10 | 14.9901
209.124 | -1.9389e-10 | 14.9907
209.373 | -2.0586e-10 | 14.9913
209.647 | -1.9235e-10 | 14.9919
209.995 | -2.0653e-10 | 14.9918
210.271 | -2.1735e-10 | 14.9918
210.546 | -2.1588e-10 | 14.9921
210.896 | -1.9221e-10 | 14.9898
211.171 | -1.9952e-10 | 14.9912
211.499 | -1.9958e-10 | 14.9928
211.775 | -1.7526e-10 | 14.993
212.103 | -1.7201e-10 | 14.9907
212.378 | -2.0453e-10 | 14.9932
212.729 | -1.6984e-10 | 14.9914
212.978 | -1.5416e-10 | 14.9922
213.275 | -2.0883e-10 | 14.9548
213.794 | -2.0675e-10 | 14.9905
213.992 | -2.2672e-10 | 14.99
214.19 | -2.0473e-10 | 14.9918
214.467 | -2.1129e-10 | 14.9922
214.816 | -1.9321e-10 | 14.9906
215.065 | -1.8884e-10 | 14.9907
215.366 | -2.1435e-10 | 14.9903
215.69 | -2.1982e-10 | 14.9914
215.962 | -2.3795e-10 | 14.9911
216.237 | -2.3471e-10 | 14.9914
216.584 | -2.341e-10 | 14.9892
216.859 | -2.4165e-10 | 14.9914
217.184 | -2.6669e-10 | 14.9903
217.458 | -2.2465e-10 | 14.9903
217.804 | -1.4773e-10 | 14.9911
218.077 | -2.157e-10 | 14.9557
218.609 | -2.1915e-10 | 14.9904
218.835 | -2.4765e-10 | 14.9894
219.036 | -2.289e-10 | 14.9895
219.238 | -2.3542e-10 | 14.9916
219.593 | -2.1318e-10 | 14.9906
219.869 | -2.2363e-10 | 14.99
220.217 | -1.9025e-10 | 14.9907
220.493 | -2.5398e-10 | 14.991
220.745 | -2.747e-10 | 14.9924
221.094 | -2.7558e-10 | 14.9905
221.368 | -2.4066e-10 | 14.9923
221.643 | -2.2993e-10 | 14.9921
221.993 | -2.5597e-10 | 14.9905
222.273 | -2.4514e-10 | 14.991
222.63 | -2.6337e-10 | 14.9916
222.904 | -2.57e-10 | 14.9913
223.176 | -2.5042e-10 | 14.9927
223.454 | -2.6165e-10 | 14.9934
223.735 | -2.5251e-10 | 14.9943
224.088 | -2.4021e-10 | 14.9934
224.39 | -1.9163e-10 | 14.993
224.667 | -1.6782e-10 | 14.9934
224.988 | -2.108e-10 | 14.9945
225.259 | -2.306e-10 | 14.9937
225.601 | -2.3236e-10 | 14.9932
225.877 | -2.5937e-10 | 14.9932
226.157 | -2.9382e-10 | 14.994
226.433 | -2.5369e-10 | 14.994
226.784 | -2.5827e-10 | 14.9924
227.132 | -2.4729e-10 | 14.9923
227.407 | -2.3768e-10 | 14.9945
227.683 | -2.4399e-10 | 14.9945
227.958 | -2.7459e-10 | 14.9918
228.305 | -2.9269e-10 | 14.9929
228.554 | -2.4779e-10 | 14.993
228.901 | -2.809e-10 | 14.9918
229.173 | -2.8337e-10 | 14.993
229.446 | -2.7855e-10 | 14.993
229.794 | -2.4687e-10 | 14.9907
230.068 | -2.2763e-10 | 14.9924
230.344 | -2.5291e-10 | 14.9921
230.694 | -2.6453e-10 | 14.9934
230.967 | -2.1107e-10 | 14.9908
231.318 | -2.53e-10 | 14.9914
231.595 | -2.8215e-10 | 14.9913
231.868 | -2.7689e-10 | 14.9932
232.195 | -2.7972e-10 | 14.9923
232.446 | -2.8147e-10 | 14.9924
232.795 | -2.7553e-10 | 14.9926
233.071 | -2.8421e-10 | 14.9929
233.345 | -2.5241e-10 | 14.9926
233.697 | -2.6131e-10 | 14.9912
233.975 | -2.4083e-10 | 14.9934
234.251 | -2.6069e-10 | 14.9926
234.603 | -2.8893e-10 | 14.9935
234.878 | -2.6905e-10 | 14.9937
235.155 | -2.0305e-10 | 14.9945
235.503 | -2.1768e-10 | 14.9929
235.753 | -2.7376e-10 | 14.9932
236.105 | -2.9408e-10 | 14.9918
236.378 | -2.7871e-10 | 14.9928
236.73 | -2.8415e-10 | 14.9925
237.004 | -2.5432e-10 | 14.9927
237.278 | -2.4333e-10 | 14.9928
237.602 | -2.5103e-10 | 14.9935
237.902 | -2.1143e-10 | 14.9925
238.178 | -2.556e-10 | 14.9927
238.505 | -2.5113e-10 | 14.9935
238.779 | -2.3962e-10 | 14.994
239.053 | -2.3592e-10 | 14.9938
239.399 | -2.2305e-10 | 14.9915
239.673 | -2.3576e-10 | 14.9931
239.948 | -2.4103e-10 | 14.9927
240.323 | -2.552e-10 | 14.9929
240.575 | -2.5369e-10 | 14.9931
240.876 | -2.699e-10 | 14.9923
241.195 | -2.7247e-10 | 14.993
241.469 | -2.6421e-10 | 14.9925
241.745 | -2.7625e-10 | 14.9923
242.047 | -2.827e-10 | 14.9938
242.399 | -2.814e-10 | 14.992
242.67 | -2.4208e-10 | 14.9931
242.944 | -2.6887e-10 | 14.9922
243.301 | -2.6137e-10 | 14.9935
243.575 | -2.7408e-10 | 14.9941
243.852 | -2.4496e-10 | 14.9941
244.201 | -2.2168e-10 | 14.994
244.475 | -2.6206e-10 | 14.9934
244.773 | -2.7203e-10 | 14.9925
245.123 | -2.5122e-10 | 14.9924
245.398 | -2.5022e-10 | 14.9921
245.673 | -2.0793e-10 | 14.9923
245.995 | -2.0918e-10 | 14.9924
246.295 | -2.1803e-10 | 14.9917
246.57 | -2.8244e-10 | 14.9931
246.845 | -2.7102e-10 | 14.9926
247.194 | -2.6864e-10 | 14.993
247.47 | -2.48e-10 | 14.9929
247.746 | -2.4182e-10 | 14.9935
248.096 | -2.679e-10 | 14.9936
248.369 | -2.2092e-10 | 14.9938
248.722 | -2.9096e-10 | 14.9926
248.998 | -3.053e-10 | 14.9923
249.274 | -2.865e-10 | 14.9919
249.55 | -2.8707e-10 | 14.994
249.903 | -2.7827e-10 | 14.9942
250.18 | -2.7855e-10 | 14.9944
250.454 | -2.6257e-10 | 14.9942
250.732 | -2.8147e-10 | 14.9943
251.082 | -2.8237e-10 | 14.9942
251.359 | -2.7545e-10 | 14.9944
251.635 | -2.7588e-10 | 14.9946
251.934 | -2.7298e-10 | 14.9953
252.284 | -2.6131e-10 | 14.9935
252.56 | -2.7819e-10 | 14.9951
252.883 | -2.8009e-10 | 14.994
253.182 | -2.7973e-10 | 14.9949
253.457 | -2.7574e-10 | 14.9941
253.732 | -2.078e-10 | 14.9919
254.105 | -2.017e-10 | 14.9889
254.382 | -2.024e-10 | 14.9893
254.659 | -1.905e-10 | 14.9895
254.985 | -1.916e-10 | 14.9889
255.261 | -1.968e-10 | 14.9899
255.611 | -1.897e-10 | 14.9886
255.862 | -1.726e-10 | 14.9899
256.137 | -1.84e-10 | 14.9902
256.485 | -1.905e-10 | 14.989
256.735 | -1.768e-10 | 14.9895
257.085 | -1.804e-10 | 14.9891
257.334 | -1.745e-10 | 14.9896
257.681 | -1.764e-10 | 14.9887
257.934 | -1.702e-10 | 14.9896
258.284 | -1.619e-10 | 14.9883
258.534 | -1.486e-10 | 14.9893
258.884 | -1.655e-10 | 14.9901
259.16 | -1.724e-10 | 14.9887
259.486 | -1.782e-10 | 14.99
259.76 | -1.736e-10 | 14.9886
260.087 | -1.895e-10 | 14.9899
260.362 | -4.32e-10 | 14.9865
260.634 | -1.704e-10 | 14.9912
260.962 | -3.77e-10 | 14.9881
261.257 | -1.907e-10 | 14.9913
261.629 | -1.823e-10 | 14.9889
261.876 | -1.785e-10 | 14.9878
262.197 | -1.719e-10 | 14.9885
262.469 | -1.718e-10 | 14.9892
262.786 | -1.693e-10 | 14.9877
263.064 | -1.587e-10 | 14.9887
263.417 | -1.676e-10 | 14.9871
263.693 | -1.661e-10 | 14.9882
263.943 | -1.725e-10 | 14.9889
264.271 | -1.573e-10 | 14.9891
264.598 | -1.296e-10 | 14.9888
264.876 | -1.332e-10 | 14.9899
265.226 | -1.244e-10 | 14.9888
265.501 | -1.303e-10 | 14.988
265.751 | -1.262e-10 | 14.9891
266.103 | -1.273e-10 | 14.9898
266.377 | -1.48e-10 | 14.9882
266.728 | -1.533e-10 | 14.9891
266.98 | -1.56e-10 | 14.9898
267.306 | -1.541e-10 | 14.9895
267.582 | -1.503e-10 | 14.99
267.858 | -1.674e-10 | 14.9888
268.207 | -2.171e-10 | 14.9895
268.456 | -4.32e-10 | 14.9881
268.757 | -1.94e-10 | 14.9889
269.106 | -1.912e-10 | 14.9904
269.432 | -1.878e-10 | 14.9893
269.706 | -4.14e-10 | 14.9872
269.975 | -1.827e-10 | 14.9914
270.301 | -2.02e-10 | 14.9888
270.576 | -2.023e-10 | 14.989
270.906 | -4.38e-10 | 14.9931
271.204 | -1.828e-10 | 14.9917
271.453 | -1.966e-10 | 14.9896
271.804 | -4.06e-10 | 14.9883
272.104 | -1.86e-10 | 14.9891
272.356 | -2.174e-10 | 14.9917
272.681 | -4.02e-10 | 14.9879
272.982 | -1.919e-10 | 14.9926
273.333 | -4.05e-10 | 14.987
273.635 | -1.88e-10 | 14.9894
273.887 | -2.01e-10 | 14.99
274.163 | -2.24e-10 | 14.991
274.514 | -2.02e-10 | 14.9899
274.792 | -2.06e-10 | 14.9903
275.042 | -1.91e-10 | 14.9909
275.393 | -2e-10 | 14.99
275.669 | -2.05e-10 | 14.9904
275.996 | -1.85e-10 | 14.9918
276.269 | -2.56e-10 | 14.9902
276.592 | -2.01e-10 | 14.9876
276.914 | -2.018e-10 | 14.9881
277.191 | -1.699e-10 | 14.9915
277.466 | -3.73e-10 | 14.984
277.816 | -1.638e-10 | 14.9884
278.091 | -4.21e-10 | 14.9848
278.441 | -2.22e-10 | 14.9876
278.766 | -2.25e-10 | 14.9861
279.093 | -2.15e-10 | 14.9864
279.387 | -2.339e-10 | 14.9886
279.682 | -3.41e-10 | 14.9876
279.954 | -2.28e-10 | 14.9861
280.272 | -2.276e-10 | 14.9873
280.566 | -2.197e-10 | 14.9855
280.885 | -1.939e-10 | 14.984
281.175 | -1.9166e-10 | 14.986
281.467 | -1.343e-10 | 14.9866
281.759 | -1.7449e-10 | 14.9841
282.023 | -2.5212e-10 | 14.9865
282.287 | -2.5042e-10 | 14.9848
282.599 | -2.4253e-10 | 14.9855
282.84 | -2.2112e-10 | 14.9842
283.175 | -2.2368e-10 | 14.9831
283.488 | -2.3566e-10 | 14.9822
283.8 | -2.289e-10 | 14.982
284.034 | -2.2783e-10 | 14.9807
284.343 | -2.4368e-10 | 14.9792
284.649 | -2.2654e-10 | 14.9783
284.951 | -2.2846e-10 | 14.9763
285.28 | -1.9597e-10 | 14.9742
285.585 | -1.9398e-10 | 14.9738
285.885 | -2.0122e-10 | 14.9715
286.214 | -2.2692e-10 | 14.9697
286.518 | -2.3555e-10 | 14.968
286.747 | -2.5282e-10 | 14.9674
287.049 | -2.7235e-10 | 14.9661
287.351 | -2.4876e-10 | 14.9643
287.649 | -2.586e-10 | 14.962
287.97 | -1.94e-10 | 14.9577
288.292 | -1.93e-10 | 14.9541
288.591 | -2.002e-10 | 14.9522
288.883 | -1.923e-10 | 14.9487
289.182 | -2.8961e-10 | 14.9485
289.524 | -2.801e-10 | 14.9537
289.879 | -2.7298e-10 | 14.9631
290.288 | -2.396e-10 | 14.9708
290.664 | -2.486e-10 | 14.9794
291.972 | -2.2826e-10 | 15.0159
293 | -2.1718e-10 | 15.0335
293.262 | -2.5225e-10 | 15.0351
293.583 | -2.586e-10 | 15.0397
293.925 | -2.6088e-10 | 15.0412
294.147 | -2.6181e-10 | 15.0438
294.525 | -2.7214e-10 | 15.0453
294.734 | -2.0955e-10 | 15.0463
295.094 | -1.5282e-10 | 15.0466
295.392 | -1.6315e-10 | 15.0458
295.661 | -2.7835e-10 | 15.0464
295.998 | -2.6505e-10 | 15.045
296.261 | -2.7212e-10 | 15.0441
296.592 | -2.3756e-10 | 15.0431
296.872 | -2.6041e-10 | 15.0408
297.198 | -2.6248e-10 | 15.0388
297.454 | -2.4347e-10 | 15.0383
297.778 | -2.6824e-10 | 15.0364
298.101 | -2.4715e-10 | 15.0345
298.353 | -2.4708e-10 | 15.0323
298.697 | -1.9088e-10 | 15.03
298.949 | -1.6189e-10 | 15.0296
299.269 | -2.8529e-10 | 15.0262
299.591 | -2.1117e-10 | 15.0241
299.843 | -2.327e-10 | 15.0237
300.166 | -2.3225e-10 | 15.0212
300.445 | -2.4834e-10 | 15.0205
300.768 | -1.8086e-10 | 15.0171
301.096 | -2.2634e-10 | 15.0166
301.354 | -2.1237e-10 | 15.015
301.683 | -1.4143e-10 | 15.0139
301.966 | -5.44e-12 | 15.0122
302.296 | -4.5e-11 | 15.0116
302.557 | -2.5284e-13 | 14.9139
304.138 | -1.5604e-13 | 15.006
305.156 | -7.2135e-14 | 15.0031
305.471 | -5.9751e-14 | 15.0025
305.741 | -5.4523e-14 | 15.0029
306.084 | -6.0595e-14 | 15.0023
306.354 | -5.5732e-14 | 15.0017
306.72 | -4.5198e-14 | 15.0006
306.992 | -6.2142e-14 | 15.0012
307.263 | -5.375e-14 | 15.0007
307.559 | -5.6287e-14 | 15.0006
307.93 | -5.599e-14 | 14.9997
308.202 | -6.3956e-14 | 15.0002
308.474 | -6.0552e-14 | 14.9994
308.771 | -5.7146e-14 | 15.0001
309.045 | -4.3854e-14 | 14.9995
309.393 | -5.8303e-14 | 14.9992
309.691 | -4.5799e-14 | 14.9984
309.964 | -4.4426e-14 | 14.9988
310.263 | -5.9144e-14 | 14.9984
310.537 | -5.6244e-14 | 14.9992
310.885 | -6.3952e-14 | 14.9986
311.185 | -5.1415e-14 | 14.9983
311.459 | -3.7562e-14 | 14.9991
311.759 | -5.7064e-14 | 14.9985
312.083 | -6.4323e-14 | 14.9984
312.383 | -4.3186e-14 | 14.9989
312.684 | -5.2556e-14 | 14.9979
312.957 | -4.1912e-14 | 14.9988
313.258 | -5.3444e-14 | 14.9982
313.606 | -4.9962e-14 | 14.9978
313.957 | -3.8076e-14 | 14.9989
314.182 | -2.7906e-14 | 14.9982
314.457 | -3.788e-14 | 14.9991
314.733 | -3.7803e-14 | 14.9988
315.083 | -5.0635e-14 | 14.9986
315.383 | -4.6732e-14 | 14.9976
315.683 | -4.5639e-14 | 14.9982
315.958 | -3.9808e-14 | 14.9989
316.234 | -6.1758e-14 | 14.9985
316.584 | -3.3551e-14 | 14.9983
316.885 | -1.826e-14 | 14.9993
317.161 | -1.7565e-14 | 14.9985
317.461 | -2.8991e-14 | 14.9979
317.735 | -8.079e-14 | 14.9987
318.085 | -5.1927e-14 | 14.9986
318.386 | -5.6337e-14 | 14.9992
318.66 | -4.9241e-14 | 14.9989
318.962 | -4.7325e-14 | 14.9985
319.286 | -3.7181e-14 | 14.9985
319.587 | -3.7064e-14 | 14.9993
319.863 | -2.8221e-14 | 14.9988
320.161 | -5.5839e-14 | 14.9982
320.434 | -1.9705e-10 | 14.9809
320.931 | -1.9034e-10 | 14.9988
321.156 | -1.9458e-10 | 14.998
321.354 | -2.0058e-10 | 14.9986
321.704 | -1.9223e-10 | 14.9984
322.002 | -1.8125e-10 | 14.9975
322.277 | -1.7234e-10 | 14.9981
322.577 | -2.0567e-10 | 14.9964
322.901 | -2.0684e-10 | 14.9986
323.201 | -2.1179e-10 | 14.9978
323.478 | -2.0053e-10 | 14.9986
323.778 | -2.0709e-10 | 14.9979
324.053 | -1.892e-10 | 14.9988
324.403 | -1.7711e-10 | 14.9987
324.679 | -1.8719e-10 | 14.9983
324.979 | -1.878e-10 | 14.9985
325.277 | -1.9552e-10 | 14.9977
325.553 | -1.8655e-10 | 14.9985
325.901 | -1.9841e-10 | 14.9978
326.202 | -1.9218e-10 | 14.9983
326.502 | -1.906e-10 | 14.9978
326.778 | -1.9368e-10 | 14.9984
327.077 | -2.0166e-10 | 14.9978
327.428 | -1.9176e-10 | 14.9981
327.702 | -1.991e-10 | 14.9986
327.978 | -1.9343e-10 | 14.9978
328.278 | -1.9168e-10 | 14.998
328.578 | -1.9235e-10 | 14.9986
328.878 | -2.0081e-10 | 14.9989
329.153 | -1.9063e-10 | 14.9986
329.454 | -2.0235e-10 | 14.9986
329.804 | -1.9538e-10 | 14.9979
330.105 | -1.9333e-10 | 14.9988
330.379 | -1.9616e-10 | 14.9985
330.654 | -1.9255e-10 | 14.9984
331.028 | -1.9779e-10 | 14.9981
331.302 | -2.0453e-10 | 14.9984
331.603 | -1.9931e-10 | 14.9975
331.878 | -1.9095e-10 | 14.9983
332.178 | -1.9462e-10 | 14.9986
332.478 | -2.0839e-10 | 14.9977
332.754 | -1.9293e-10 | 14.9982
333.053 | -2e-10 | 14.9985
333.403 | -1.8999e-10 | 14.9982
333.703 | -1.9105e-10 | 14.9978
333.978 | -1.8805e-10 | 14.9981
334.278 | -1.8941e-10 | 14.9987
334.604 | -2.0078e-10 | 14.9988
334.902 | -1.9399e-10 | 14.9987
335.178 | -1.8904e-10 | 14.9983
335.48 | -2.0075e-10 | 14.9989
335.779 | -1.8599e-10 | 14.9977
336.054 | -1.9126e-10 | 14.999
336.405 | -1.9002e-10 | 14.9975
336.705 | -1.8714e-10 | 14.9976
336.981 | -1.8518e-10 | 14.9985
337.282 | -1.9198e-10 | 14.9978
337.555 | -1.8618e-10 | 14.9986
337.906 | -1.9035e-10 | 14.9985
338.207 | -1.9263e-10 | 14.998
338.483 | -1.9075e-10 | 14.9988
338.783 | -1.7943e-10 | 14.9982
339.058 | -1.8581e-10 | 14.9983
339.36 | -1.8816e-10 | 14.999
339.66 | -1.7726e-10 | 14.9983
339.934 | -1.7422e-10 | 14.9988
340.285 | -1.7886e-10 | 14.9988
340.586 | -1.8447e-10 | 14.9983
340.861 | -1.8203e-10 | 14.999
341.16 | -1.8865e-10 | 14.9982
341.435 | -1.9434e-10 | 14.9989
341.734 | -1.9439e-10 | 14.9989
342.11 | -1.8932e-10 | 14.9986
342.41 | -1.8982e-10 | 14.9984
342.683 | -1.8166e-10 | 14.9984
342.984 | -1.9029e-10 | 14.9989
343.281 | -1.9016e-10 | 14.9988
343.56 | -1.9325e-10 | 14.9987
343.859 | -1.8095e-10 | 14.9991
344.134 | -1.8597e-10 | 14.9985
344.433 | -1.8159e-10 | 14.9991
344.784 | -1.9113e-10 | 14.9987
345.084 | -1.8869e-10 | 14.9989
345.384 | -1.87e-10 | 14.9989
345.683 | -1.8375e-10 | 14.9981
345.959 | -1.748e-10 | 14.998
346.306 | -1.8706e-10 | 14.9988
346.579 | -1.801e-10 | 14.9986
346.876 | -1.9183e-10 | 14.9977
347.15 | -1.8794e-10 | 14.9981
347.525 | -1.7106e-10 | 14.9976
347.798 | -1.9175e-10 | 14.9979
348.098 | -1.8228e-10 | 14.9986
348.372 | -1.8013e-10 | 14.9979
348.672 | -1.7619e-10 | 14.9975
348.948 | -1.6818e-10 | 14.9981
349.248 | -1.7725e-10 | 14.9986
349.597 | -1.7629e-10 | 14.9985
349.899 | -1.9292e-10 | 14.9974
350.172 | -1.6772e-10 | 14.9983
350.474 | -1.7535e-10 | 14.9976
350.748 | -1.8329e-10 | 14.9982
351.099 | -1.7301e-10 | 14.998
351.398 | -1.8604e-10 | 14.9983
351.699 | -1.787e-10 | 14.9977
351.975 | -1.8673e-10 | 14.9974
352.25 | -1.7923e-10 | 14.9981
352.549 | -1.7946e-10 | 14.9984
352.925 | -1.7777e-10 | 14.9974
353.225 | -1.8561e-10 | 14.9979
353.5 | -1.8209e-10 | 14.9984
353.801 | -1.6546e-10 | 14.9974
354.076 | -1.8866e-10 | 14.9983
354.376 | -1.856e-10 | 14.9976
354.651 | -1.8398e-10 | 14.998
355.027 | -1.8223e-10 | 14.9959
355.251 | -1.7625e-10 | 14.9984
355.552 | -1.7964e-10 | 14.9985
355.901 | -1.906e-10 | 14.998
356.202 | -1.7475e-10 | 14.9985
356.501 | -1.7476e-10 | 14.9988
356.776 | -2.274e-10 | 14.9981
357.077 | -2.0186e-10 | 14.9984
357.377 | -2.0192e-10 | 14.9985
357.679 | -2.1283e-10 | 14.9978
357.954 | -2.1076e-10 | 14.9985
358.328 | -2.0665e-10 | 14.9981
358.602 | -2.0043e-10 | 14.9984
358.903 | -1.9359e-10 | 14.9976
359.203 | -2.1064e-10 | 14.9975
359.478 | -1.9332e-10 | 14.9983
359.778 | -2.1091e-10 | 14.9978
360.053 | -2.0669e-10 | 14.9988
360.404 | -2.2068e-10 | 14.9986
360.703 | -2.2574e-10 | 14.9979
360.978 | -2.1119e-10 | 14.9983
361.279 | -2.1928e-10 | 14.9987
361.554 | -2.1815e-10 | 14.9981
361.855 | -2.1507e-10 | 14.9982
362.154 | -1.9526e-10 | 14.9983
362.455 | -1.9123e-10 | 14.9988
362.828 | -1.9862e-10 | 14.9978
363.129 | -1.8658e-10 | 14.998
363.403 | -1.8717e-10 | 14.9981
363.703 | -1.9385e-10 | 14.9986
364.003 | -1.8883e-10 | 14.9978
364.305 | -1.8176e-10 | 14.9982
364.579 | -1.8087e-10 | 14.9987
364.88 | -1.9857e-10 | 14.9976
365.154 | -1.6341e-10 | 14.9987
365.529 | -1.6687e-10 | 14.998
365.804 | -1.6512e-10 | 14.9988
366.078 | -1.6649e-10 | 14.9983
366.379 | -1.5587e-10 | 14.9978
366.654 | -1.5536e-10 | 14.9984
366.955 | -1.5971e-10 | 14.9987
367.329 | -1.613e-10 | 14.9978
367.63 | -1.6414e-10 | 14.9983
367.905 | -1.6259e-10 | 14.9988
368.205 | -1.6965e-10 | 14.9979
368.48 | -1.5032e-10 | 14.999
368.78 | -1.5941e-10 | 14.9983
369.055 | -1.6935e-10 | 14.9986
369.43 | -1.5975e-10 | 14.998
369.705 | -1.5518e-10 | 14.9988
370.005 | -1.5368e-10 | 14.9986
370.306 | -1.5555e-10 | 14.9976
370.604 | -1.636e-10 | 14.9977
370.905 | -1.5811e-10 | 14.998