## Settings
Sample Info | so12ig, dot c3, run 02
Comments | -6/+4/-6
Additional Comments | 20-50-200 fA
Major Measurement Parameters
Starting Temperature | 332.189
Initial Temperature | 80.5
Final Temperature | 450
Preliminary Voltage | -6
Pulse Voltage | 4
Pulse Time | 30
Wait Time | 0
Measurement Voltage | -6
Subsidiary Measurement Parameters
Step | 0.3
Accuracy Step | 0.1
Accuracy Stable | 0.5
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 15
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 5
Measurecount | 1
Time
Date | 5.4.2024
Clock | 17:4:34

## Stabilization
Temperature | Current | Temp Rate
331.018 | 2.0879e-13 | 0
330.825 | 1.9808e-13 | -9.0597
330.667 | 1.7814e-13 | -8.2195
330.474 | 1.7912e-13 | -8.4089
330.284 | 1.671e-13 | -8.4862
330.113 | 1.5247e-13 | -8.3848
329.954 | 1.4638e-13 | -8.2065
329.792 | 1.3454e-13 | -8.0984
329.56 | 1.4302e-13 | -8.4343
329.365 | 1.5843e-13 | -8.5099
329.151 | 1.2128e-13 | -9.613
328.991 | 1.225e-13 | -11.7541
328.761 | 1.2678e-13 | -17.3916
328.569 | 1.2327e-13 | -37.0933
328.395 | 7.3342e-14 | -60.0105
328.212 | 1.1112e-14 | -6.5989
328.056 | 4.83e-15 | -6.6311
327.756 | -9.5291e-11 | -6.6738
327.577 | -7.9657e-12 | -154.1548
327.381 | -5.6936e-12 | -6.8174
327.233 | -4.5395e-12 | -6.8161
327.049 | -3.8247e-12 | -6.8805
326.845 | -3.3076e-12 | -6.9702
326.673 | -2.9043e-12 | -7.007
326.48 | -2.5038e-12 | -7.066
326.224 | -2.369e-12 | -7.2132
326.014 | -2.1318e-12 | -7.2861
325.858 | -1.9375e-12 | -7.2848
325.673 | -1.8375e-12 | -7.3207
325.521 | -1.674e-12 | -7.3159
325.348 | -1.5316e-12 | -7.3358
325.134 | -1.4901e-12 | -7.4034
324.979 | -1.3941e-12 | -7.3982
324.765 | -1.3725e-12 | -7.4626
324.581 | -1.2606e-12 | -7.4874
324.405 | -1.1699e-12 | -7.5021
324.241 | -1.1605e-12 | -7.5024
324.089 | -1.021e-12 | -7.4906
323.938 | -1.0329e-12 | -7.4791
323.792 | -9.8153e-13 | -7.4623
323.629 | -9.3634e-13 | -7.4623
323.483 | -8.7697e-13 | -7.4481
323.339 | -8.688e-13 | -7.4287
323.198 | -8.3045e-13 | -7.4103
323.048 | -7.9247e-13 | -7.4006
322.896 | -7.5818e-13 | -7.3909
322.747 | -7.3727e-13 | -7.3833
322.606 | -6.8543e-13 | -7.367
322.395 | -6.9965e-13 | -7.4128
322.206 | -7.0441e-13 | -7.4336
322.058 | -6.6095e-13 | -7.4197
321.363 | -5.9374e-13 | -7.3946
321.198 | -5.6391e-13 | -7.399
321.054 | -5.3708e-13 | -7.3869
320.905 | -5.2061e-13 | -7.3771
320.769 | -5.0464e-13 | -7.3596
320.628 | -4.741e-13 | -7.3464
320.368 | -4.7925e-13 | -7.4152
320.164 | -4.5542e-13 | -7.4409
319.989 | -4.3144e-13 | -7.4499
319.832 | -4.3652e-13 | -7.4474
319.688 | -4.2121e-13 | -7.4359
319.555 | -4.0521e-13 | -7.4171
319.373 | -3.9472e-13 | -7.4307
319.231 | -3.7338e-13 | -7.4188
318.956 | -3.742e-13 | -7.4901
318.798 | -3.6964e-13 | -7.4867
318.615 | -3.3243e-13 | -7.4988
318.399 | -3.5414e-13 | -7.5293
318.233 | -3.4056e-13 | -7.5283
318.092 | -3.4183e-13 | -7.5155
317.891 | -3.1975e-13 | -7.5377
317.658 | -2.9362e-13 | -7.5762
317.447 | -3.1166e-13 | -7.6038
317.31 | -3.0872e-13 | -7.5899
317.093 | -2.8121e-13 | -7.6179
316.914 | -2.9456e-13 | -7.6234
316.772 | -2.7914e-13 | -7.6106
316.629 | -2.5304e-13 | -7.6007
316.402 | -2.6697e-13 | -7.6338
316.12 | -2.5953e-13 | -7.6917
315.939 | -2.6416e-13 | -7.6978
315.807 | -2.5027e-13 | -7.6794
315.671 | -2.2398e-13 | -7.6632
315.52 | -2.5298e-13 | -7.6529
315.371 | -1.1038e-13 | -7.6434
315.168 | -2.0252e-13 | -7.6627
315.029 | -3.4058e-13 | -7.6479
314.892 | -2.8235e-13 | -7.6348
314.767 | -2.595e-13 | -7.6146
314.639 | -6.8026e-14 | -7.5972
314.311 | 7.4114e-13 | -7.6723
314.104 | 1.0377e-13 | -7.6885
313.941 | -6.3954e-14 | -7.685
313.79 | -4.9544e-13 | -7.6762
313.629 | -4.0447e-13 | -7.6728
313.461 | -3.0936e-13 | -7.6736
313.319 | -2.3606e-13 | -7.6623
313.186 | -2.1727e-13 | -7.6489
312.987 | -2.1368e-13 | -7.6608
312.829 | -1.8702e-13 | -7.6568
312.694 | -1.4662e-13 | -7.6446
312.566 | -1.5473e-13 | -7.6282
312.439 | -4.4616e-13 | -7.6112
312.317 | -1.7345e-13 | -7.5922
312.174 | -2.4378e-13 | -7.5831
312.017 | -2.0074e-13 | -7.5779
311.883 | -1.6292e-13 | -7.5638
311.764 | -1.5843e-13 | -7.5463
311.64 | -1.5033e-13 | -7.5297
311.517 | 2.915e-13 | -7.5141
311.39 | 3.2493e-14 | -7.4999
311.276 | -3.6491e-13 | -7.4805
311.163 | -3.4739e-13 | -7.4603
311.041 | -2.7745e-13 | -7.444
310.926 | 1.3757e-13 | -7.4256
310.806 | -2.9628e-13 | -7.4096
310.692 | -2.1716e-13 | -7.3922
310.507 | -1.1814e-13 | -7.4005
310.337 | -1.5386e-13 | -7.4031
310.209 | -1.5361e-13 | -7.3899
310.085 | -1.325e-13 | -7.3757
309.977 | -8.7195e-14 | -7.3573
309.855 | -6.6652e-14 | -7.3411
309.615 | 9.0969e-14 | -7.3665
309.485 | -1.1746e-13 | -7.3541
309.365 | -1.3575e-13 | -7.3395
309.195 | -1.1733e-13 | -7.3427
309.063 | -1.0752e-13 | -7.3325
308.954 | -1.084e-13 | -7.3141
308.831 | -9.4701e-14 | -7.3017
308.724 | -8.0096e-14 | -7.2839
308.593 | -4.7174e-14 | -7.2739
308.397 | -7.4412e-14 | -7.2828
308.235 | -7.9361e-14 | -7.2844
308.112 | -7.7886e-14 | -7.2715
307.995 | -6.8094e-14 | -7.2574
307.882 | -7.0228e-14 | -7.2422
307.745 | -4.1328e-14 | -7.2334
307.532 | -6.6741e-14 | -7.2497
307.335 | -8.7338e-14 | -7.2611
307.176 | -8.9146e-14 | -7.2601
307.038 | -6.0127e-14 | -7.2532
306.87 | -6.5734e-14 | -7.255
306.749 | -7.0683e-14 | -7.2434
306.642 | -6.7451e-14 | -7.2275
306.533 | -3.7285e-14 | -7.2122
306.402 | 8.1679e-14 | -7.2038
306.29 | -3.2988e-14 | -7.1901
306.184 | -8.1085e-14 | -7.1747
306.081 | -6.9848e-14 | -7.1591
305.965 | -7.6161e-14 | -7.1462
305.839 | -6.857e-14 | -7.1352
305.735 | -5.7151e-14 | -7.1201
305.636 | -3.8629e-14 | -7.104
305.527 | -7.3238e-14 | -7.0903
305.419 | -5.7157e-14 | -7.0769
305.318 | -2.217e-14 | -7.0614
305.219 | -5.5618e-14 | -7.0465
305.067 | -5.2358e-14 | -7.0453
304.881 | -3.0147e-14 | -7.0528
304.712 | -2.0703e-14 | -7.0564
304.539 | -1.8224e-14 | -7.0604
304.303 | -3.7023e-14 | -7.0808
304.162 | -3.5578e-14 | -7.0765
304.04 | -2.8914e-14 | -7.0676
303.942 | -3.6811e-14 | -7.053
303.841 | 5.457e-15 | -7.0388
303.74 | -5.6714e-14 | -7.0242
303.619 | -3.7128e-14 | -7.0148
303.513 | -2.4343e-14 | -7.0024
303.416 | -1.7404e-14 | -6.9878
303.312 | 1.13e-14 | -6.9754
303.194 | -3.6997e-14 | -6.967
303.046 | -2.9777e-14 | -6.965
302.882 | -3.3439e-14 | -6.9671
302.714 | -2.5809e-14 | -6.9702
302.605 | -2.5397e-14 | -6.9595
302.511 | -2.4452e-14 | -6.9438
302.411 | -2.2432e-14 | -6.9314
302.267 | -1.182e-15 | -6.9288
302.104 | 1.4817e-14 | -6.931
301.829 | 1.8951e-13 | -6.9593
301.701 | -1.5386e-13 | -6.9521
301.58 | -8.3253e-14 | -6.9437
301.473 | -5.5253e-14 | -6.9332
301.374 | -4.4819e-14 | -6.9207
301.268 | 1.489e-15 | -6.9093
301.004 | 1.0885e-14 | -6.935
300.86 | 3.1045e-14 | -6.9326
300.737 | -7.0826e-14 | -6.9261
300.584 | -2.2142e-14 | -6.9258
300.389 | -2.7247e-14 | -6.9351
300.261 | -2.7998e-14 | -6.9292
300.158 | -5.731e-15 | -6.9178
300.046 | -1.195e-15 | -6.908
299.938 | -2.097e-15 | -6.8979
299.842 | -1.3016e-14 | -6.8849
299.724 | -2.496e-14 | -6.8767
299.626 | -1.4201e-14 | -6.8635
299.499 | 1.392e-15 | -6.8566
299.376 | -2.807e-15 | -6.8501
299.272 | -4.97e-16 | -6.8397
299.094 | 4.121e-14 | -6.8453
298.905 | -4.7e-15 | -6.8535
298.804 | 1.93e-16 | -6.8431
298.703 | 1.0656e-14 | -6.8332
298.565 | -8.855e-15 | -6.8292
298.452 | -2.089e-15 | -6.821
298.359 | 8.864e-15 | -6.8086
298.228 | 1.1358e-14 | -6.8041
298.128 | -1.145e-15 | -6.7932
298.002 | 8.026e-15 | -6.7868
297.876 | 1.1292e-14 | -6.7816
297.742 | -4.387e-15 | -6.7782
297.653 | 1.7434e-14 | -6.7655
297.494 | 4.916e-15 | -6.7674
297.382 | 2.6784e-14 | -6.7595
297.196 | 9.238e-15 | -6.7665
297.094 | 2.499e-15 | -6.7571
296.941 | 7.833e-15 | -6.7579
296.812 | 1.1896e-14 | -6.7534
296.656 | 2.8203e-14 | -6.7538
296.502 | 6.42e-15 | -6.7542
296.379 | 1.5156e-14 | -6.749
296.295 | 7.683e-15 | -6.7357
296.207 | 7.175e-15 | -6.7228
296.088 | 1.0005e-14 | -6.7166
295.981 | 2.7637e-14 | -6.7083
295.808 | 1.6155e-14 | -6.7126
295.694 | 4.819e-15 | -6.7053
295.597 | 1.5623e-14 | -6.6959
295.496 | 1.8435e-14 | -6.6867
295.413 | 1.1707e-14 | -6.674
295.328 | 6.266e-15 | -6.6617
295.246 | 4.2014e-14 | -6.6495
295.155 | 2.6534e-14 | -6.6386
295.067 | 3.797e-15 | -6.6263
294.963 | 1.6315e-14 | -6.6181
294.844 | 1.4087e-14 | -6.613
294.734 | 1.4732e-14 | -6.6059
294.625 | 2.2574e-14 | -6.5991
294.527 | 1.8e-15 | -6.5899
294.415 | 1.5515e-14 | -6.5835
294.287 | 4.3848e-14 | -6.5799
294.133 | 1.8286e-14 | -6.5812
294.025 | 1.9787e-14 | -6.5744
293.927 | 2.0754e-14 | -6.566
293.849 | 9.259e-15 | -6.5539
293.754 | 3.3837e-14 | -6.5445
293.62 | 1.4356e-14 | -6.5427
293.541 | 1.6639e-14 | -6.5311
293.432 | 6.2327e-14 | -6.5247
293.007 | 5.3618e-14 | -6.5727
292.711 | 7.2082e-14 | -6.5984
292.232 | 1.2067e-13 | -6.6556
291.924 | -3.739e-15 | -6.6826
291.596 | -2.974e-15 | -6.7118
291.285 | 1.814e-15 | -6.7391
290.955 | 6.4713e-14 | -6.7691
290.126 | -3.1149e-13 | -6.8596
288.265 | -8.1324e-14 | -7.0557
287.885 | 2.2646e-14 | -7.0917
287.529 | 3.3457e-14 | -7.1234
286.986 | 5.234e-14 | -7.1862
286.64 | 3.5229e-13 | -7.2162
286.218 | -1.1224e-13 | -7.2582
285.809 | -8.877e-15 | -7.2977
285.397 | 1.3931e-13 | -7.3378
284.894 | 9.488e-15 | -7.3919
284.458 | 1.2128e-13 | -7.4345
284.018 | -5.2622e-14 | -7.4776
283.625 | -2.259e-15 | -7.5133
283.174 | 2.7264e-14 | -7.558
282.788 | 6.6874e-14 | -7.5918
282.216 | 5.1804e-14 | -7.6544
281.858 | 7.563e-14 | -7.6835
281.359 | 1.7368e-14 | -7.7335
280.954 | 3.1107e-14 | -7.7692
280.625 | 8.0849e-14 | -7.7928
280.018 | 4.7591e-14 | -7.8592
279.681 | 9.0006e-14 | -7.8842
279.206 | 4.976e-14 | -7.9296
278.791 | 1.0513e-13 | -7.9658
278.318 | 3.7401e-14 | -8.0106
277.852 | 1.0386e-13 | -8.054
277.346 | 3.4517e-14 | -8.1031
276.891 | 1.0122e-13 | -8.1435
276.452 | 3.2947e-14 | -8.1818
276.029 | 5.2042e-14 | -8.2172
275.6 | 9.8978e-14 | -8.2535
275.041 | 3.682e-14 | -8.309
274.653 | 8.5501e-14 | -8.338
274.199 | 4.4197e-14 | -8.3773
273.736 | 9.9796e-14 | -8.4171
273.307 | 3.8961e-14 | -8.4518
272.773 | 5.0426e-14 | -8.5017
272.406 | 1.2194e-13 | -8.5264
271.963 | 6.7068e-14 | -8.5617
271.522 | 9.8244e-14 | -8.5979
270.951 | 5.4256e-14 | -8.6507
270.518 | 9.1053e-14 | -8.6838
270.011 | 3.8437e-14 | -8.7282
269.67 | 5.9169e-14 | -8.7477
269.346 | -1.1416e-13 | -8.7655
269.046 | -1.8032e-14 | -8.7803
268.791 | 1.8226e-14 | -8.7875
268.385 | 4.252e-15 | -8.8165
268.092 | 5.1123e-14 | -8.8294
267.565 | 4.4523e-14 | -8.8755
267.23 | 2.6857e-14 | -8.8945
266.891 | 4.5345e-14 | -8.9126
266.618 | 6.1509e-14 | -8.9228
266.386 | 2.4396e-13 | -8.927
266.04 | 2.4212e-14 | -8.9459
265.694 | 8.5257e-14 | -8.9659
265.325 | 4.1134e-14 | -8.9889
264.901 | 9.9771e-14 | -9.0188
264.494 | 4.4045e-14 | -9.0458
264.142 | 6.624e-14 | -9.066
263.833 | 8.5463e-14 | -9.0794
263.348 | 6.7974e-14 | -9.1176
263.016 | 4.9971e-14 | -9.1344
262.695 | 5.0169e-14 | -9.1492
262.455 | 7.6533e-14 | -9.1535
262.165 | 7.4376e-14 | -9.1635
261.653 | 5.7079e-14 | -9.2003
261.355 | 4.7148e-14 | -9.2126
261.081 | 4.3383e-14 | -9.2206
260.865 | 5.4866e-14 | -9.2213
260.644 | 6.5686e-14 | -9.2226
260.395 | 5.1238e-14 | -9.2265
260.105 | 3.5736e-13 | -9.2367
259.675 | -1.5178e-13 | -9.2654
259.431 | 9.811e-15 | -9.2699
259.024 | 1.5206e-14 | -9.2941
258.8 | 7.1891e-14 | -9.2947
258.5 | 6.7e-16 | -9.3038
258.115 | 7.9472e-14 | -9.3246
257.872 | 9.4617e-14 | -9.3289
257.404 | 7.9652e-14 | -9.361
257.041 | 3.356e-14 | -9.3797
256.828 | 6.5549e-14 | -9.3788
256.623 | 5.3873e-14 | -9.3783
256.411 | 4.8487e-14 | -9.3781
256.244 | 5.7817e-14 | -9.3728
256.105 | 5.6621e-14 | -9.3634
255.957 | 7.7764e-14 | -9.3545
255.768 | 8.5214e-14 | -9.352
255.376 | 6.4259e-14 | -9.3735
255.155 | 1.0396e-13 | -9.3746
254.695 | 1.0252e-13 | -9.4051
254.311 | 4.6811e-14 | -9.4259
254.095 | 6.2293e-14 | -9.4265
253.849 | 4.8362e-14 | -9.4296
253.628 | 5.815e-14 | -9.4306
253.453 | 6.1482e-14 | -9.4262
253.287 | 8.4591e-14 | -9.4202
253.086 | 2.9267e-14 | -9.4185
252.948 | 8.0307e-14 | -9.4091
252.698 | 4.823e-14 | -9.4136
252.437 | 9.6445e-14 | -9.4198
252.069 | 4.5373e-14 | -9.4387
251.774 | 1.2633e-13 | -9.4476
251.394 | 4.5258e-14 | -9.4673
251.204 | 9.3498e-14 | -9.4642
250.85 | 4.6969e-14 | -9.4801
250.681 | 6.1484e-14 | -9.4745
250.402 | 5.8455e-14 | -9.482
250.236 | 4.4887e-14 | -9.4764
250.126 | 5.1648e-14 | -9.4639
250.042 | 4.4065e-14 | -9.4485
249.962 | 4.715e-14 | -9.4327
249.893 | 5.0808e-14 | -9.4153
249.831 | 4.6391e-14 | -9.3974
249.778 | 6.1197e-14 | -9.3784
249.639 | 6.2999e-14 | -9.3703
249.529 | 1.3052e-13 | -9.3583
249.088 | 1.204e-13 | -9.3837
248.721 | 4.1937e-14 | -9.4005
248.544 | 9.061e-14 | -9.3965
248.193 | 5.01e-14 | -9.4115
247.994 | 5.015e-14 | -9.4098
247.826 | 5.7953e-14 | -9.4051
247.658 | 5.1596e-14 | -9.4001
247.508 | 6.7584e-14 | -9.3932
247.148 | 6.0985e-14 | -9.4088
246.944 | 8.4978e-14 | -9.4075
246.488 | 5.8624e-14 | -9.4335
246.233 | 4.3031e-14 | -9.4377
246.071 | 4.2564e-14 | -9.432
245.922 | 5.4426e-14 | -9.4247
245.795 | 5.3721e-14 | -9.4149
245.674 | 5.2975e-14 | -9.4042
245.556 | 5.0428e-14 | -9.3933
245.458 | 5.5074e-14 | -9.3804
245.315 | 5.1921e-14 | -9.3721
245.231 | 7.2761e-14 | -9.3577
245.006 | 4.5518e-14 | -9.3596
244.922 | 5.4499e-14 | -9.3453
244.725 | 5.9481e-14 | -9.3434
244.641 | 5.1427e-14 | -9.3288
244.522 | 6.1336e-14 | -9.3188
244.468 | 5.1965e-14 | -9.3021
244.334 | 5.2553e-14 | -9.2936
244.244 | 1.0387e-13 | -9.2802
244.013 | 4.7811e-14 | -9.2823
243.889 | 1.0994e-13 | -9.2728
243.535 | 4.8277e-14 | -9.2878
243.439 | 1.0831e-13 | -9.2752
242.951 | 6.6725e-14 | -9.3038
242.725 | 5.0825e-14 | -9.3047
242.474 | 1.0806e-13 | -9.3087
242.15 | 4.5485e-14 | -9.3201
241.986 | 5.3245e-14 | -9.3145
241.827 | 5.6784e-14 | -9.3084
241.706 | 5.4191e-14 | -9.2988
241.588 | 5.9905e-14 | -9.289
241.33 | 5.1604e-14 | -9.2937
241.217 | 4.9692e-14 | -9.2831
241.093 | 5.694e-14 | -9.2744
241.01 | 5.2411e-14 | -9.2611
240.943 | 5.3377e-14 | -9.2463
240.882 | 5.0124e-14 | -9.2307
240.823 | 7.1164e-14 | -9.2153
240.77 | 4.0564e-14 | -9.1996
240.686 | 1.0608e-13 | -9.1867
240.435 | 5.366e-14 | -9.1909
240.292 | 4.7285e-14 | -9.1838
240.057 | 8.8415e-14 | -9.1855
239.742 | 3.414e-14 | -9.1961
239.643 | 3.7305e-14 | -9.185
239.552 | 4.4518e-14 | -9.1728
239.471 | 4.12e-14 | -9.1591
239.399 | 4.2479e-14 | -9.1455
239.334 | 5.3197e-14 | -9.1309
239.269 | 5.0217e-14 | -9.1158
239.206 | 4.9433e-14 | -9.1013
239.141 | 4.7402e-14 | -9.0873
239.067 | 4.5414e-14 | -9.0739
238.992 | 6.3809e-14 | -9.0609
238.886 | 4.5386e-14 | -9.0504
238.832 | 4.3217e-14 | -9.0352
238.776 | 5.2109e-14 | -9.0195
238.717 | 4.0779e-14 | -9.0048
238.657 | 5.2404e-14 | -8.9902
238.535 | 4.9994e-14 | -8.9818
238.463 | 4.8024e-14 | -8.9687
238.193 | 8.2996e-14 | -8.975
237.808 | 1.8122e-14 | -8.9924
237.644 | 8.0928e-14 | -8.9885
237.09 | 4.6381e-14 | -9.0212
236.798 | 4.4492e-14 | -9.0296
236.565 | 8.3082e-14 | -9.0322
236.134 | 3.5923e-14 | -9.0531
235.986 | 4.5358e-14 | -9.0475
235.828 | 4.1433e-14 | -9.0423
235.697 | 5.0624e-14 | -9.0352
235.585 | 4.1278e-14 | -9.026
235.48 | 4.2937e-14 | -9.016
235.386 | 4.0671e-14 | -9.0051
235.298 | 4.7215e-14 | -8.994
235.214 | 5.1653e-14 | -8.9826
235.085 | 9.1662e-14 | -8.9756
234.771 | 3.516e-14 | -8.9855
234.672 | 3.9137e-14 | -8.9756
234.304 | 5.7779e-14 | -8.99
233.893 | 8.396e-15 | -9.0087
233.693 | 2.908e-14 | -9.0076
233.468 | 3.3681e-14 | -9.0092
233.287 | 4.1158e-14 | -9.0068
233.122 | 5.1072e-14 | -9.0023
232.991 | 4.9856e-14 | -8.9955
232.863 | 5.2742e-14 | -8.9883
232.744 | 4.2552e-14 | -8.9802
232.627 | 7.2712e-14 | -8.9715
232.41 | 8.8554e-14 | -8.9726
232.015 | 3.0671e-14 | -8.9898
231.884 | 2.8527e-14 | -8.9828
231.633 | 6.6305e-14 | -8.9871
231.34 | 2.5245e-14 | -8.9952
231.227 | 5.1075e-14 | -8.9867
231.135 | 4.4626e-14 | -8.9767
231.039 | 5.1257e-14 | -8.9671
230.947 | 5.2134e-14 | -8.9564
230.859 | 5.2734e-14 | -8.946
230.777 | 5.147e-14 | -8.935
230.684 | 4.6688e-14 | -8.9249
230.564 | 4.4007e-14 | -8.9176
230.362 | 1.8704e-14 | -8.9171
230.244 | 4.3005e-14 | -8.9092
229.967 | 5.1465e-14 | -8.9147
229.444 | 9.1e-16 | -8.9426
229.18 | 2.7699e-14 | -8.9479
228.949 | 4.0116e-14 | -8.9498
228.702 | 4.4418e-14 | -8.9536
228.507 | 4.7526e-14 | -8.9526
228.336 | 3.8207e-14 | -8.9494
228.181 | 5.38e-14 | -8.9445
228.038 | 4.7016e-14 | -8.9393
227.906 | 4.2371e-14 | -8.9328
227.779 | 4.7395e-14 | -8.9253
227.652 | 5.1587e-14 | -8.9184
227.521 | 1.9753e-14 | -8.9118
227.405 | 3.6379e-14 | -8.9041
227.276 | 4.2816e-14 | -8.8977
227.159 | 3.9716e-14 | -8.8903
227.051 | 3.8373e-14 | -8.8809
226.951 | 4.5261e-14 | -8.8712
226.849 | 4.6869e-14 | -8.8624
226.746 | 4.9571e-14 | -8.8541
226.644 | 3.6496e-14 | -8.8452
226.54 | 6.0649e-14 | -8.8364
226.436 | 5.9232e-14 | -8.8277
226.33 | 5.1227e-14 | -8.8193
226.152 | 5.3582e-14 | -8.8167
225.966 | 3.8059e-14 | -8.8152
225.812 | 7.7879e-14 | -8.811
225.284 | 6.3596e-14 | -8.838
224.799 | 1.7546e-14 | -8.8615
224.545 | 2.9016e-14 | -8.8654
224.316 | 4.4326e-14 | -8.8671
224.098 | 5.3726e-14 | -8.8683
223.872 | 4.7302e-14 | -8.8699
223.693 | 5.6406e-14 | -8.8672
223.531 | 5.1079e-14 | -8.8636
223.379 | 4.3119e-14 | -8.8591
223.234 | 5.0153e-14 | -8.8538
223.096 | 4.9327e-14 | -8.8476
222.962 | 4.7753e-14 | -8.8417
222.823 | 4.7474e-14 | -8.8363
222.705 | 3.7268e-14 | -8.8291
222.575 | 4.6457e-14 | -8.8229
222.462 | 3.9622e-14 | -8.8156
222.343 | 4.3775e-14 | -8.8087
222.224 | 4.9299e-14 | -8.8019
222.104 | 4.5877e-14 | -8.7947
221.982 | 4.9638e-14 | -8.7879
221.845 | 8.0489e-14 | -8.7827
221.617 | 7.1383e-14 | -8.7846
221.395 | 4.2424e-14 | -8.786
221.182 | 7.1692e-14 | -8.7867
220.673 | 4.9362e-14 | -8.811
220.256 | 4.3034e-14 | -8.8274
220.004 | 4.5038e-14 | -8.831
219.792 | 4.5166e-14 | -8.8318
219.587 | 3.2214e-14 | -8.8311
219.408 | 5.0468e-14 | -8.829
219.24 | 5.2894e-14 | -8.8258
219.079 | 4.731e-14 | -8.8225
218.914 | 5.8532e-14 | -8.8198
218.703 | 4.062e-14 | -8.82
218.546 | 4.162e-14 | -8.8163
218.391 | 4.6568e-14 | -8.8123
218.229 | 4.7357e-14 | -8.8088
218.09 | 4.3768e-14 | -8.8037
217.942 | 4.9245e-14 | -8.7985
217.805 | 4.6719e-14 | -8.7933
217.664 | 4.8618e-14 | -8.7877
217.482 | 5.8041e-14 | -8.7857
217.262 | 5.2666e-14 | -8.7866
217.093 | 3.2821e-14 | -8.784
216.948 | 4.75e-14 | -8.7796
216.789 | 5.7019e-14 | -8.7762
216.624 | 4.6855e-14 | -8.7734
216.456 | 5.1399e-14 | -8.7705
216.282 | 4.2769e-14 | -8.7682
216.112 | 4.5086e-14 | -8.7655
215.945 | 7.5956e-14 | -8.7628
215.779 | 5.5227e-14 | -8.7601
215.605 | 6.3708e-14 | -8.7574
215.416 | 5.7636e-14 | -8.7559
215.208 | 2.4286e-14 | -8.7559
215.026 | -4.0899e-13 | -8.7544
214.845 | -4.2413e-13 | -8.7526
214.66 | -1.7609e-13 | -8.7506
214.467 | -6.8202e-14 | -8.75
214.266 | -9.787e-15 | -8.7499
214.063 | 7.323e-15 | -8.7497
213.846 | 9.518e-15 | -8.7505
213.643 | 3.3424e-14 | -8.7506
213.405 | 3.4614e-14 | -8.753
213.075 | 6.9178e-14 | -8.7619
212.809 | 4.4929e-14 | -8.7666
212.56 | 3.5253e-14 | -8.77
212.322 | 4.1714e-14 | -8.7726
212.086 | 4.7475e-14 | -8.7751
211.852 | 4.6406e-14 | -8.7774
211.62 | 3.8258e-14 | -8.7794
211.376 | 5.4393e-14 | -8.7821
211.128 | 5.1232e-14 | -8.7854
210.853 | 4.5796e-14 | -8.79
210.588 | 5.5286e-14 | -8.7944
210.326 | 5.7801e-14 | -8.7982
210.046 | 4.1807e-14 | -8.8031
209.779 | 4.703e-14 | -8.807
209.49 | 5.3938e-14 | -8.8126
209.216 | 5.8416e-14 | -8.8177
208.935 | 6.036e-14 | -8.8231
208.649 | 8.8047e-14 | -8.8287
208.362 | 6.3683e-14 | -8.8344
208.051 | 6.6054e-14 | -8.8416
207.738 | 5.7846e-14 | -8.8492
207.417 | 5.939e-14 | -8.8575
207.08 | 6.1832e-14 | -8.8668
206.765 | 4.0322e-14 | -8.8749
206.448 | 6.7179e-14 | -8.8826
206.116 | 8.0845e-14 | -8.8908
205.795 | 5.5936e-14 | -8.899
205.47 | 7.2236e-14 | -8.9071
205.139 | 4.3384e-14 | -8.9157
204.775 | 5.8924e-14 | -8.9265
204.412 | 4.6346e-14 | -8.9375
204.035 | 6.1801e-14 | -8.9497
203.578 | 6.2264e-14 | -8.9672
203.12 | 5.5656e-14 | -8.9848
202.717 | 3.6364e-14 | -8.9982
202.362 | 4.5578e-13 | -9.0085
201.957 | 2.2169e-13 | -9.022
201.571 | 1.2137e-13 | -9.034
201.181 | 9.3978e-14 | -9.0465
200.752 | 7.1967e-14 | -9.0616
200.277 | 5.2137e-14 | -9.0797
199.784 | 4.5457e-14 | -9.0994
199.239 | 6.0588e-14 | -9.1226
198.692 | 7.3153e-14 | -9.1456
198.133 | 5.4758e-14 | -9.1692
197.513 | 7.7137e-14 | -9.1973
196.919 | 9.744e-14 | -9.2236
196.383 | 3.612e-15 | -9.2454
195.823 | 5.2907e-14 | -9.2693
195.248 | 3.7842e-14 | -9.2938
194.638 | 5.251e-14 | -9.3199
194.098 | 5.2117e-14 | -9.3418
193.617 | 8.103e-14 | -9.3596
193.204 | -1.851e-15 | -9.3728
192.47 | -2.2648e-13 | -9.3939
190.859 | -3.2753e-14 | -9.4393
190.426 | 2.5876e-14 | -9.4534
189.963 | 3.7868e-14 | -9.4698
189.492 | 3.4026e-14 | -9.4863
188.95 | 3.6175e-14 | -9.5073
188.47 | 6.0181e-14 | -9.5241
187.959 | 7.5946e-14 | -9.5433
187.44 | 7.1431e-14 | -9.5628
186.968 | 5.8615e-14 | -9.5792
186.5 | 5.5227e-14 | -9.5952
186.09 | 5.1732e-14 | -9.6074
185.695 | 5.8883e-14 | -9.618
185.319 | 4.5514e-14 | -9.628
184.636 | -1.6491e-12 | -9.6448
184.3 | -2.1244e-13 | -9.6519
183.972 | 5.5619e-13 | -9.6584
183.629 | -8.1302e-13 | -9.6659
182.307 | -5.4607e-13 | -9.6892
182.004 | 9.1466e-13 | -9.6942
181.71 | 3.8251e-13 | -9.6979
181.396 | -5.9417e-13 | -9.7026
181.104 | -4.5794e-13 | -9.7067
180.547 | 4.8357e-13 | -9.7152
180.26 | -3.2192e-13 | -9.719
179.95 | -1.1165e-11 | -9.7229
178.572 | -9.637e-13 | -9.7363
178.28 | 1.0531e-12 | -9.7387
177.997 | -8.24e-13 | -9.7411
176.628 | -3.269e-15 | -9.7657
176.277 | 3.5007e-14 | -9.7734
175.925 | 4.3684e-14 | -9.7812
175.584 | 4.2005e-14 | -9.7881
175.285 | 4.9493e-14 | -9.7922
174.987 | 4.2172e-14 | -9.7966
174.688 | 5.4039e-14 | -9.8007
174.358 | 4.4422e-14 | -9.8067
174.013 | 5.958e-14 | -9.8136
173.666 | 5.9914e-14 | -9.8205
173.297 | 5.8149e-14 | -9.8289
172.983 | 6.3492e-14 | -9.8335
172.662 | 4.9102e-14 | -9.839
172.323 | 4.2512e-14 | -9.8458
172.011 | 3.3203e-14 | -9.8501
171.658 | 5.9508e-14 | -9.8571
171.267 | 5.4486e-14 | -9.8669
170.822 | 4.3288e-14 | -9.8798
170.341 | 4.6893e-14 | -9.8948
169.858 | 5.6132e-14 | -9.91
169.379 | 3.6364e-14 | -9.9251
168.959 | 3.8556e-14 | -9.9363
168.541 | 5.4718e-14 | -9.9474
168.127 | 3.8227e-14 | -9.9586
167.722 | 5.1632e-14 | -9.9688
167.334 | 5.5547e-14 | -9.978
166.903 | 5.3309e-14 | -9.9897
166.498 | 4.8124e-14 | -10.0001
166.115 | 5.4244e-14 | -10.009
165.759 | 4.0233e-14 | -10.0161
165.426 | 3.9286e-14 | -10.0221
165.096 | 5.126e-14 | -10.0275
164.798 | 5.4408e-14 | -10.0313
164.496 | 5.469e-14 | -10.0353
164.183 | 5.4445e-14 | -10.0396
163.833 | 1.5709e-13 | -10.0462
163.531 | 3.0763e-13 | -10.0501
163.225 | 4.1751e-13 | -10.0543
162.919 | -1.3554e-13 | -10.0584
162.634 | 2.7929e-13 | -10.0613
162.349 | 9.5483e-14 | -10.064
162.044 | 6.1769e-13 | -10.0677
161.723 | 1.5687e-13 | -10.072
161.435 | -3.9779e-13 | -10.0747
161.165 | -5.9275e-13 | -10.0764
160.881 | -2.3369e-13 | -10.0789
160.612 | 6.7128e-13 | -10.0806
160.317 | 1.3411e-13 | -10.0838
160.04 | 3.4358e-14 | -10.0857
159.722 | 2.566e-14 | -10.09
159.441 | -1.0938e-13 | -10.0922
159.154 | -7.5641e-13 | -10.0951
158.849 | -3.0422e-13 | -10.0988
158.572 | -1.4157e-14 | -10.1012
158.278 | 1.1006e-12 | -10.1045
157.966 | 6.5946e-13 | -10.109
157.677 | -1.0122e-12 | -10.1119
157.374 | 1.0672e-13 | -10.1152
157.114 | -8.53e-13 | -10.1163
156.676 | -4.9357e-13 | -10.1167
155.682 | -6.8402e-13 | -10.1158
155.441 | -2.9175e-13 | -10.1158
155.217 | -8.0551e-14 | -10.1148
154.978 | -4.3375e-14 | -10.1143
154.762 | -3.801e-15 | -10.1129
154.546 | -3.5174e-13 | -10.1115
154.33 | -2.1313e-13 | -10.1104
154.102 | 7.3506e-13 | -10.1094
153.724 | -1.6708e-13 | -10.1066
152.839 | 3.115e-15 | -10.0991
152.618 | 7.1157e-14 | -10.098
152.242 | -4.9301e-13 | -10.0943
152.044 | -4.0916e-12 | -10.092
151.217 | -2.0021e-13 | -10.082
151.021 | -1.5552e-13 | -10.0793
150.804 | -1.446e-13 | -10.0779
150.615 | -1.9811e-14 | -10.0752
150.259 | 6.7088e-12 | -10.0696
149.462 | 3.8871e-14 | -10.0581
149.286 | 8.561e-15 | -10.0547
149.113 | 5.9544e-14 | -10.0512
148.923 | 4.917e-14 | -10.0484
148.751 | 1.3259e-13 | -10.0448
148.581 | 7.1052e-14 | -10.0405
148.401 | 2.6577e-14 | -10.0371
148.235 | 4.9857e-14 | -10.0332
148.063 | -3.2557e-14 | -10.0294
147.902 | 7.4768e-14 | -10.0253
147.74 | -3.2741e-13 | -10.021
147.437 | 6.9854e-13 | -10.0136
146.791 | 1.1651e-14 | -9.9945
146.642 | 3.0101e-14 | -9.9896
146.502 | 3.95e-14 | -9.9843
146.352 | 5.0713e-14 | -9.9791
146.211 | 5.4143e-14 | -9.974
146.072 | 5.816e-14 | -9.9685
145.925 | 4.7582e-14 | -9.9633
145.788 | 4.8737e-14 | -9.9581
145.651 | 5.6587e-14 | -9.9526
145.503 | 5.6983e-14 | -9.9474
145.361 | 5.3773e-14 | -9.9419
145.226 | 5.9546e-14 | -9.9363
145.088 | 5.6545e-14 | -9.9311
144.945 | 5.4702e-14 | -9.9257
144.811 | 4.7892e-14 | -9.9204
144.689 | 5.6856e-14 | -9.9143
144.565 | 4.981e-14 | -9.9082
144.431 | 5.732e-14 | -9.9028
144.311 | 5.0923e-14 | -9.8966
144.187 | 5.1039e-14 | -9.8908
144.051 | 5.9207e-14 | -9.8852
143.923 | 5.1529e-14 | -9.8793
143.79 | 5.5067e-14 | -9.8738
143.673 | 5.4995e-14 | -9.8674
143.549 | 5.4047e-14 | -9.8615
143.429 | 4.9857e-14 | -9.8556
143.312 | -1.1846e-13 | -9.8494
143.195 | -6.2394e-13 | -9.8434
143.075 | -2.0651e-13 | -9.837
142.967 | -4.0214e-14 | -9.8301
142.852 | 3.2508e-13 | -9.824
142.744 | 1.7113e-13 | -9.8175
142.631 | 1.0232e-13 | -9.811
142.514 | 7.1444e-14 | -9.8048
142.398 | 5.4791e-14 | -9.7981
142.289 | 5.3055e-14 | -9.7913
142.183 | 5.409e-14 | -9.7847
142.072 | 7.5345e-13 | -9.7782
141.941 | 2.8574e-13 | -9.7714
141.816 | 1.291e-13 | -9.7659
141.709 | -2.8809e-13 | -9.7593
141.597 | -2.9401e-13 | -9.7529
141.491 | -1.0046e-13 | -9.7462
141.373 | -4.1477e-14 | -9.7388
141.228 | 2.8358e-14 | -9.7336
141.113 | 4.3695e-14 | -9.7274
140.903 | -2.6263e-13 | -9.7147
140.374 | 2.0119e-13 | -9.6918
140.264 | 3.2494e-13 | -9.6859
140.152 | 1.0134e-13 | -9.6799
140.029 | -3.5881e-13 | -9.6744
139.89 | -5.45e-15 | -9.6695
139.73 | 5.5737e-13 | -9.6656
139.592 | 4.8749e-13 | -9.6609
139.456 | 1.518e-13 | -9.6558
139.327 | -1.0802e-13 | -9.6502
139.188 | -4.6647e-13 | -9.6452
139.049 | -3.0029e-13 | -9.6407
138.878 | -4.0989e-13 | -9.6379
138.728 | -2.0406e-13 | -9.6339
138.586 | 9.993e-15 | -9.6295
138.459 | 4.1313e-13 | -9.624
138.305 | -6.0797e-14 | -9.6199
138.112 | -3.2522e-14 | -9.6184
137.897 | 7.1503e-14 | -9.6173
137.698 | 3.3764e-13 | -9.6154
137.414 | -3.1634e-12 | -9.6081
137.264 | 6.6834e-13 | -9.6036
136.599 | -6.086e-14 | -9.5889
136.466 | -4.978e-13 | -9.5839
136.16 | -7.4952e-12 | -9.5778
135.959 | 4.4056e-13 | -9.5764
135.352 | -3.442e-15 | -9.5591
135.193 | 3.2308e-14 | -9.5555
135.027 | 4.2716e-14 | -9.5523
134.888 | 4.8756e-14 | -9.548
134.751 | 3.9219e-14 | -9.5435
134.629 | 6.8175e-14 | -9.5381
134.495 | 4.5482e-14 | -9.5332
134.334 | 4.1985e-14 | -9.5299
134.167 | 4.9137e-14 | -9.5267
134.01 | 4.7976e-14 | -9.5231
133.873 | 5.4594e-14 | -9.5186
133.742 | 5.0389e-14 | -9.5139
133.618 | 6.7205e-14 | -9.5088
133.475 | 5.3166e-14 | -9.5046
133.318 | 4.784e-14 | -9.5008
133.188 | 5.0531e-14 | -9.4961
133.054 | 4.4981e-14 | -9.4913
132.936 | 5.2064e-14 | -9.486
132.815 | 4.1207e-14 | -9.4812
132.675 | 4.6954e-14 | -9.4768
132.508 | 5.5674e-14 | -9.4736
132.321 | 4.8746e-14 | -9.4717
132.163 | 4.3267e-14 | -9.4685
132.014 | 4.7007e-14 | -9.4647
131.871 | 3.9217e-14 | -9.4602
131.742 | 4.8616e-14 | -9.4556
131.598 | 5.1267e-14 | -9.4513
131.425 | 4.5115e-14 | -9.4486
131.289 | 5.2751e-14 | -9.4443
131.15 | 5.3647e-14 | -9.4399
131.005 | 5.4149e-14 | -9.4359
130.866 | 4.7161e-14 | -9.4317
130.707 | 5.2272e-14 | -9.4287
130.536 | 4.8822e-14 | -9.4259
130.398 | 5.4713e-14 | -9.4216
130.258 | 5.1787e-14 | -9.4172
130.107 | 5.4927e-14 | -9.4133
129.813 | 7.6045e-14 | -9.4162
129.419 | 5.9365e-14 | -9.424
129.073 | 5.4949e-14 | -9.4292
128.809 | 5.1894e-14 | -9.4307
128.571 | 5.0523e-14 | -9.431
128.363 | 5.9515e-14 | -9.4301
128.112 | 5.8922e-14 | -9.4313
127.911 | 4.8164e-14 | -9.43
127.703 | 6.2658e-14 | -9.4292
127.518 | 4.5707e-14 | -9.4273
127.355 | 5.2243e-14 | -9.424
127.208 | 5.6889e-14 | -9.4202
127.067 | 5.3562e-14 | -9.4162
126.88 | 5.8166e-14 | -9.4144
126.584 | 6.0501e-14 | -9.4175
126.296 | 5.0307e-14 | -9.4201
126.067 | 5.1448e-14 | -9.42
125.9 | 5.3872e-14 | -9.4171
125.708 | 5.7793e-14 | -9.4155
125.44 | 1.3685e-13 | -9.4174
125.156 | 9.8521e-14 | -9.42
124.94 | 6.9511e-14 | -9.4196
124.753 | 5.1675e-14 | -9.4176
124.602 | 4.7961e-14 | -9.4139
124.445 | 4.3647e-14 | -9.4108
124.27 | 6.4335e-14 | -9.408
124.113 | 5.4126e-14 | -9.4049
123.952 | 5.4552e-14 | -9.4015
123.815 | 4.4309e-14 | -9.3975
123.69 | 5.2238e-14 | -9.3929
123.538 | 6.2199e-14 | -9.3895
123.33 | 9.4504e-14 | -9.3885
123.063 | 6.7347e-14 | -9.3901
122.841 | 4.8674e-14 | -9.3897
122.659 | 3.8591e-14 | -9.3873
122.503 | 3.3986e-14 | -9.3842
122.332 | 4.0064e-14 | -9.3816
122.147 | 8.2324e-14 | -9.3794
121.963 | 5.1763e-14 | -9.3771
121.811 | 3.5818e-14 | -9.3736
121.66 | 3.5868e-14 | -9.3703
121.508 | 3.4469e-14 | -9.3669
121.352 | 5.1618e-14 | -9.3636
121.187 | 4.8241e-14 | -9.3609
121.034 | 4.8264e-14 | -9.3573
120.893 | 4.644e-14 | -9.3532
120.765 | 3.6672e-14 | -9.3487
120.612 | 5.6948e-14 | -9.3453
120.45 | 4.7126e-14 | -9.3422
120.292 | 5.4912e-14 | -9.3391
120.153 | 5.1204e-14 | -9.3351
120.011 | 4.5018e-14 | -9.3308
119.866 | 5.8941e-14 | -9.327
119.679 | 9.3894e-14 | -9.3252
119.456 | 6.0209e-14 | -9.3252
119.217 | 4.4832e-14 | -9.3257
118.976 | 3.9846e-14 | -9.3259
118.769 | 3.0588e-14 | -9.3252
118.59 | 3.4402e-14 | -9.3229
118.433 | 4.1966e-14 | -9.3197
118.258 | 5.7712e-14 | -9.3175
118.099 | 5.1513e-14 | -9.3145
117.956 | 4.2691e-14 | -9.3107
117.823 | 4.0847e-14 | -9.3067
117.704 | 3.8822e-14 | -9.3021
117.567 | 5.0632e-14 | -9.2979
117.4 | 8.7958e-14 | -9.2951
117.234 | 8.1054e-14 | -9.2923
117.075 | 5.7505e-14 | -9.2895
116.941 | 3.4666e-14 | -9.2854
116.799 | 3.7339e-14 | -9.2819
116.674 | 3.3824e-14 | -9.2775
116.539 | 4.0456e-14 | -9.2736
116.408 | 3.9919e-14 | -9.2692
116.277 | 4.1023e-14 | -9.2652
116.167 | 4.0591e-14 | -9.2604
116.039 | 5.1409e-14 | -9.2562
115.913 | 4.6222e-14 | -9.2519
115.796 | 4.3786e-14 | -9.2474
115.703 | 4.2089e-14 | -9.2417
115.599 | 3.8556e-14 | -9.2365
115.427 | 1.0843e-13 | -9.2339
115.197 | 8.3609e-14 | -9.2342
114.92 | 6.224e-14 | -9.2363
114.649 | 4.9746e-14 | -9.2381
114.431 | 3.5035e-14 | -9.2379
114.251 | 3.6542e-14 | -9.236
114.051 | 5.7604e-14 | -9.235
113.841 | 6.0759e-14 | -9.234
113.626 | 6.158e-14 | -9.2338
113.361 | 5.1637e-14 | -9.2355
113.109 | 3.7194e-14 | -9.2363
112.908 | 3.3531e-14 | -9.2351
112.75 | 2.8724e-14 | -9.2322
112.594 | 5.1419e-14 | -9.2291
112.439 | 6.1364e-14 | -9.2262
112.313 | 4.3886e-14 | -9.2218
112.202 | 3.8849e-14 | -9.2169
112.107 | 3.7646e-14 | -9.2115
111.975 | 7.8119e-14 | -9.2076
111.831 | 6.8402e-14 | -9.2042
111.686 | 5.1022e-14 | -9.2005
111.571 | 4.4525e-14 | -9.1959
111.456 | 3.3053e-14 | -9.1915
111.323 | 4.9523e-14 | -9.1875
111.183 | 7.1184e-14 | -9.1839
111.017 | 6.1912e-14 | -9.1816
110.833 | 5.4423e-14 | -9.1796
110.648 | 4.7568e-14 | -9.178
110.491 | 3.3867e-14 | -9.1753
110.347 | 3.3934e-14 | -9.172
110.213 | 3.6239e-14 | -9.1681
110.091 | 5.1272e-14 | -9.1639
109.961 | 5.6462e-14 | -9.1603
109.861 | 5.3211e-14 | -9.1551
109.761 | 4.6784e-14 | -9.1499
109.662 | 3.7312e-14 | -9.1447
109.548 | 6.2937e-14 | -9.14
109.448 | 5.1227e-14 | -9.135
109.296 | -2.9708e-13 | -9.132
109.155 | 9.5508e-14 | -9.1285
109.031 | 9.203e-14 | -9.1242
108.894 | 8.4907e-14 | -9.1205
108.323 | 7.6017e-13 | -9.1269
107.188 | -3.7063e-14 | -9.1356
107.012 | 4.737e-15 | -9.1334
106.746 | -1.1298e-12 | -9.1352
106.17 | -1.241e-14 | -9.1421
105.519 | -1.6824e-14 | -9.1311
105.423 | 8.5339e-14 | -9.1259
105.337 | 1.9749e-13 | -9.1202
105.269 | 3.175e-14 | -9.1137
105.21 | 5.869e-15 | -9.1069
105.144 | -7.303e-15 | -9.1004
105.094 | -2.8712e-14 | -9.0933
105.035 | 4.7648e-14 | -9.0869
104.747 | -3.0927e-12 | -9.0821
104.058 | -2.686e-14 | -9.0728
103.932 | -8.183e-15 | -9.0689
103.823 | 1.1837e-13 | -9.0642
103.726 | -4.7442e-13 | -9.0592
103.62 | -2.0362e-13 | -9.0544
103.533 | -9.8727e-14 | -9.0493
103.459 | -1.2e-17 | -9.0433
103.397 | -1.2578e-14 | -9.0371
103.341 | 2.921e-14 | -9.0302
103.293 | 7.5253e-14 | -9.0231
103.224 | 4.0658e-14 | -9.0171
103.162 | 4.2282e-14 | -9.0107
103.098 | 6.2425e-13 | -9.0048
103.049 | 7.5328e-14 | -8.9981
103.001 | -8.165e-15 | -8.9913
102.942 | 5.0205e-14 | -8.985
102.881 | 6.5722e-14 | -8.9789
102.832 | 2.0998e-14 | -8.9722
102.789 | 2.4124e-14 | -8.9653
102.726 | -3.1807e-13 | -8.9591
102.585 | -1.0342e-12 | -8.9489
102.29 | -1.1727e-13 | -8.9254
102.224 | -4.7615e-14 | -8.9194
102.148 | 3.3713e-14 | -8.9137
102.091 | 4.3758e-14 | -8.9074
102.045 | 8.023e-15 | -8.9008
101.987 | 3.495e-15 | -8.8947
101.761 | 4.3285e-12 | -8.8879
101.301 | -2.3437e-14 | -8.8709
101.223 | 4.2331e-14 | -8.8655
101.151 | 5.9773e-14 | -8.8597
101.09 | 4.0892e-14 | -8.8537
101.048 | 8.7877e-14 | -8.8469
101.012 | 3.7926e-14 | -8.84
100.957 | 9.6343e-14 | -8.8336
100.849 | 5.9822e-13 | -8.8295
100.614 | 7.1594e-13 | -8.8297
100.356 | -5.1971e-13 | -8.8313
100.177 | -1.7759e-13 | -8.8298
100.046 | -1.3778e-14 | -8.8264
99.9303 | 5.9214e-14 | -8.8224
99.8492 | 1.574e-15 | -8.817
99.7832 | 7.067e-13 | -8.8112
99.703 | -1.8641e-13 | -8.7991
99.5584 | -5.9839e-14 | -8.771
99.5151 | -6.5369e-13 | -8.7644
99.4595 | 8.207e-14 | -8.7517
99.3174 | 1.776e-15 | -8.7235
99.2833 | 7.8515e-14 | -8.7165
99.254 | 3.0644e-14 | -8.7096
99.2431 | 4.6218e-14 | -8.702
99.229 | -4.472e-14 | -8.6945
99.2236 | 1.483e-14 | -8.6867
99.158 | -4.1093e-13 | -8.6814
99.0872 | -3.9197e-13 | -8.6762
99.0072 | -3.8298e-13 | -8.6711
98.9093 | -1.1097e-13 | -8.6666
98.8483 | 1.6799e-13 | -8.6607
98.7713 | 8.9487e-14 | -8.6553
98.6571 | 6.3073e-13 | -8.6516
98.5219 | -1.0058e-12 | -8.6488
98.3861 | -2.2454e-13 | -8.6461
98.2937 | -4.1934e-13 | -8.6417
98.2119 | -1.5842e-13 | -8.6369
98.0728 | 9.5119e-14 | -8.6341
97.894 | 4.428e-14 | -8.6329
97.7016 | 1.0757e-13 | -8.6322
97.4432 | -6.1948e-13 | -8.6275
97.1937 | -2.57e-15 | -8.6042
97.1687 | 2.4156e-14 | -8.5972
97.1693 | 2.4254e-14 | -8.5893
97.147 | 4.7495e-14 | -8.5822
97.11 | 4.2865e-14 | -8.5759
97.0837 | 6.0878e-14 | -8.5692
97.0687 | 4.8555e-14 | -8.5619
97.0591 | 4.2055e-14 | -8.5544
97.0619 | 3.4989e-14 | -8.5466
97.0693 | 2.9456e-14 | -8.5388
97.0591 | 3.4955e-14 | -8.5314
97.0575 | 2.7627e-14 | -8.5237
97.0326 | 6.1923e-14 | -8.5167
96.9982 | 8.5453e-14 | -8.5102
96.9746 | 6.9667e-14 | -8.5034
96.946 | 2.1684e-14 | -8.4967
96.935 | 4.24e-16 | -8.4895
96.9206 | 2.3969e-14 | -8.4822
96.8651 | 5.1961e-14 | -8.4765
96.8224 | 5.8919e-14 | -8.4705
96.7264 | 5.1191e-14 | -8.4665
96.5852 | 5.0204e-14 | -8.4638
96.4589 | 4.0703e-14 | -8.4606
96.3824 | 4.3682e-14 | -8.4557
96.2522 | 6.8383e-14 | -8.4527
95.9854 | 7.149e-14 | -8.4547
95.7188 | 4.5459e-14 | -8.4566
95.5237 | 3.6798e-14 | -8.4563
95.4127 | 2.677e-14 | -8.4528
95.34 | 2.5462e-14 | -8.4477
95.3055 | 2.8474e-14 | -8.4413
95.2807 | 3.1437e-14 | -8.4347
95.2892 | 2.792e-14 | -8.4267
95.2905 | 4.9473e-14 | -8.4191
95.214 | 8.69e-14 | -8.4144
95.1665 | 6.3287e-14 | -8.4085
95.1018 | 5.5097e-14 | -8.4035
95.0439 | 4.7712e-14 | -8.3982
94.9939 | 4.5103e-14 | -8.3925
94.933 | 5.6398e-14 | -8.3874
94.8189 | 5.9203e-14 | -8.3837
94.664 | 6.7765e-14 | -8.3819
94.3272 | 6.1863e-14 | -8.3865
94.0606 | 6.1035e-14 | -8.3887
93.8541 | 3.6331e-14 | -8.3886
93.742 | 3.6192e-14 | -8.3852
93.646 | 4.9362e-14 | -8.3813
93.3453 | 7.7054e-14 | -8.3847
93.06 | 6.1636e-14 | -8.3872
92.8415 | 5.9321e-14 | -8.3874
92.6921 | 4.0531e-14 | -8.3853
92.6175 | 3.2895e-14 | -8.3803
92.5866 | 2.8564e-14 | -8.374
92.5619 | 3.4855e-14 | -8.3674
92.5061 | 6.7344e-14 | -8.3622
92.4722 | 5.0918e-14 | -8.3559
92.4812 | 3.6664e-14 | -8.3481
92.4923 | 2.9944e-14 | -8.3405
92.4911 | 3.3271e-14 | -8.3332
92.4645 | 4.5572e-14 | -8.3269
92.4557 | 4.3133e-14 | -8.32
92.4817 | 4.3571e-14 | -8.3119
92.517 | 3.3666e-14 | -8.3036
92.5212 | 5.7561e-14 | -8.2961
92.4936 | 5.4368e-14 | -8.2899
92.3729 | 5.5905e-14 | -8.2868
92.254 | 5.3166e-14 | -8.2837
92.1447 | 4.8071e-14 | -8.2802
92.0779 | 2.6443e-14 | -8.2753
92.0488 | 3.0282e-14 | -8.2692
92.0041 | 5.6826e-14 | -8.2637
91.8838 | 5.6394e-14 | -8.2607
91.8257 | 3.6571e-14 | -8.2554
91.789 | 3.9089e-14 | -8.2497
91.7779 | 2.5603e-14 | -8.243
91.7462 | 4.3692e-14 | -8.2371
91.7262 | 5.8011e-14 | -8.2304
91.7086 | 4.6578e-14 | -8.2237
91.7247 | 3.2154e-14 | -8.2161
91.7234 | 3.5574e-14 | -8.2092
91.681 | 3.3564e-14 | -8.2038
91.6576 | 5.8634e-14 | -8.1975
91.581 | 3.4764e-14 | -8.1931
91.5165 | 3.8039e-14 | -8.1883
91.4285 | 4.7722e-14 | -8.1844
91.391 | 6.754e-14 | -8.1784
89.1877 | 1.9556e-13 | -8.2466
85.3848 | 2.4194e-13 | -8.3691
83.1746 | 1.346e-13 | -8.4374
82.0772 | 1.1378e-13 | -8.4674
81.314 | 8.9739e-14 | -8.4862
80.9045 | 5.8079e-14 | -8.4929
80.6325 | 4.7665e-14 | -8.4948
80.5077 | 4.6534e-14 | -8.4917
80.4704 | 3.8512e-14 | -8.4858
80.4857 | 3.1367e-14 | -8.4781
80.5254 | 1.8753e-14 | -8.4695
80.5747 | 2.2103e-14 | -8.4607
80.6403 | 2.5225e-14 | -8.4514
80.7345 | 1.9739e-14 | -8.441
80.8747 | 2.0664e-14 | -8.4291

## Pulse
Temperature | Current | Time
81.009 | 3.242e-14 | 6.3075
81.8761 | -4.1125e-14 | 12.3743
82.5966 | 1.167e-14 | 13.8466
82.7756 | 1.5918e-14 | 15.3471
82.9556 | 2.7748e-14 | 16.8608
83.1341 | 2.0596e-14 | 18.3688
83.3122 | 2.0149e-14 | 19.8823
83.4927 | 2.0909e-14 | 21.3919
83.6736 | 3.0199e-14 | 22.8702
83.8512 | 2.5319e-14 | 24.387
84.0303 | 2.6294e-14 | 25.8682
84.2101 | 1.9484e-14 | 27.3649
84.3904 | 2.3071e-14 | 28.9024

## Measurements
Temperature | Current | Temp Rate
84.6427 | 4.139e-14 | 0
86.0689 | -1.1668e-14 | 7.5455
87.0487 | 2.3222e-14 | 9.5259
87.3552 | 3.3683e-14 | 9.1089
87.6669 | 3.3725e-14 | 8.764
87.9774 | 3.5814e-14 | 8.5138
88.2746 | 3.9138e-14 | 8.3279
88.554 | 2.2117e-14 | 8.1784
88.8738 | 2.4751e-14 | 8.0927
89.1591 | 1.927e-14 | 8.0696
89.4752 | 2.0019e-14 | 11.819
89.7845 | 1.4107e-14 | 15.5668
90.0735 | 1.3914e-14 | 24.8738
90.4085 | 1.3494e-14 | 66.7907
90.682 | 8.766e-15 | 120.9227
90.9811 | 6.362e-15 | 7.6582
91.3229 | 6.942e-15 | 7.826
91.5797 | 7.908e-15 | 7.9903
91.8782 | 8.772e-15 | 414.5153
92.1586 | 3.967e-15 | 8.3208
92.4792 | 4.402e-15 | 8.4823
92.7816 | 9.519e-15 | 8.6735
93.1198 | 7.398e-15 | 8.8407
93.4273 | 5.433e-15 | 9.0266
93.7338 | 1.1294e-14 | 9.1826
93.9822 | 7.295e-15 | 9.3139
94.3217 | 1.3254e-14 | 9.4622
94.5432 | 1.2535e-14 | 9.589
94.8573 | 1.1264e-14 | 9.7336
95.1732 | 2.0811e-14 | 9.8707
95.5229 | 2.7507e-14 | 10.0353
95.8361 | 1.8351e-14 | 10.1656
96.0863 | 1.5147e-14 | 10.2451
96.4291 | 1.894e-14 | 10.381
96.6749 | 2.4733e-14 | 10.4779
96.9824 | 1.4978e-14 | 10.6098
97.3178 | 1.4765e-14 | 10.732
97.6206 | 1.7206e-14 | 10.8302
97.8622 | 1.8038e-14 | 10.913
98.1894 | 1.4334e-14 | 11.018
98.4888 | 1.0548e-14 | 11.1083
98.813 | 1.776e-14 | 11.1874
99.047 | 2.2423e-14 | 11.2675
99.3951 | 2.0628e-14 | 11.3476
99.7387 | 2.8107e-14 | 11.4497
99.9646 | 2.2847e-14 | 11.5081
100.271 | 2.8892e-14 | 11.5835
100.579 | 3.5438e-14 | 11.6352
100.852 | 3.2621e-14 | 11.7023
101.146 | 3.0457e-14 | 11.7601
101.522 | 2.3675e-14 | 11.8211
101.791 | 2.4159e-14 | 11.8793
102.087 | 3.0164e-14 | 11.9364
102.377 | 2.2988e-14 | 11.9745
102.719 | 2.7706e-14 | 12.0311
102.981 | 3.0849e-14 | 12.0816
103.268 | 2.5307e-14 | 12.1231
103.554 | 2.581e-14 | 12.1666
103.892 | 3.0161e-14 | 12.2084
104.179 | 2.2369e-14 | 12.2389
104.515 | 2.0325e-14 | 12.2903
104.798 | 2.2904e-14 | 12.3304
105.077 | 2.3067e-14 | 12.3544
105.41 | 2.425e-14 | 12.3991
105.692 | 2.6127e-14 | 12.4221
105.945 | 2.4935e-14 | 12.4584
106.301 | 2.5293e-14 | 12.4983
106.583 | 3.155e-14 | 12.5282
106.912 | 2.9866e-14 | 12.5596
107.167 | 2.7188e-14 | 12.5837
107.497 | 3.1343e-14 | 12.6062
107.776 | 2.7275e-14 | 12.6312
108.096 | 3.7546e-14 | 12.6685
108.444 | 2.8421e-14 | 12.6884
108.716 | 3.3318e-14 | 12.7068
108.987 | 3.0301e-14 | 12.7327
109.304 | 3.2939e-14 | 12.7484
109.549 | 2.8517e-14 | 12.7731
109.893 | 3.236e-14 | 12.7915
110.214 | 2.8483e-14 | 12.8184
110.487 | 3.0683e-14 | 12.8274
110.807 | 3.7666e-14 | 12.8552
111.076 | 3.0955e-14 | 12.8732
111.348 | 3.3256e-14 | 12.8928
111.693 | 3.0384e-14 | 12.908
112.015 | 3.0404e-14 | 12.9248
112.264 | 2.058e-14 | 12.9474
112.612 | 1.4921e-14 | 12.9603
112.884 | 1.5107e-14 | 12.9797
113.212 | 2.0717e-14 | 13.0054
113.487 | 2.1482e-14 | 13.0154
113.84 | 3.2244e-14 | 13.0413
114.086 | 4.0121e-14 | 13.0582
114.431 | 3.2267e-14 | 13.0736
114.682 | 3.355e-14 | 13.0912
115.007 | 2.5092e-14 | 13.1083
115.284 | 2.0132e-14 | 13.1244
115.561 | 2.371e-14 | 13.1393
115.917 | 2.8161e-14 | 13.1543
116.169 | 2.2881e-14 | 13.1746
116.516 | 2.3182e-14 | 13.1845
116.787 | 2.4532e-14 | 13.1978
117.115 | 2.6056e-14 | 13.2188
117.389 | 2.5782e-14 | 13.2344
117.668 | 2.4543e-14 | 13.2399
117.997 | 2.9804e-14 | 13.2621
118.272 | 3.4096e-14 | 13.2685
118.595 | 3.2388e-14 | 13.2903
118.871 | 3.2172e-14 | 13.3015
119.215 | 3.0878e-14 | 13.3115
119.464 | 3.994e-14 | 13.3217
119.841 | 3.4327e-14 | 13.3385
120.092 | 2.9319e-14 | 13.3509
120.371 | 3.4978e-14 | 13.3671
120.726 | 3.4099e-14 | 13.3764
120.98 | 4.0314e-14 | 13.3931
121.334 | 4.6447e-14 | 13.404
121.589 | 4.9723e-14 | 13.4196
121.868 | 4.2353e-14 | 13.43
122.145 | 4.2389e-14 | 13.4413
122.498 | 2.8526e-14 | 13.4527
122.746 | 3.5445e-14 | 13.4635
123.098 | 4.2293e-14 | 13.4712
123.375 | 4.1218e-14 | 13.4895
123.728 | 3.9229e-14 | 13.4969
124.007 | 3.4607e-14 | 13.5064
124.257 | 2.6521e-14 | 13.5186
124.618 | 4.0179e-14 | 13.5341
124.895 | 3.6244e-14 | 13.5471
125.144 | 4.153e-14 | 13.5511
125.495 | 3.7759e-14 | 13.5603
125.772 | 4.1118e-14 | 13.5715
126.098 | 4.338e-14 | 13.5856
126.377 | 4.4107e-14 | 13.5909
126.706 | 3.4452e-14 | 13.6006
126.982 | 3.0916e-14 | 13.6096
127.337 | 3.6747e-14 | 13.6238
127.587 | 3.8985e-14 | 13.6348
127.876 | 3.414e-14 | 13.6384
128.209 | 2.7855e-14 | 13.6424
128.499 | 3.1787e-14 | 13.647
128.746 | 3.6821e-14 | 13.6541
129.091 | 4.3252e-14 | 13.6579
129.441 | 3.5779e-14 | 13.6698
129.692 | 3.1376e-14 | 13.6784
129.969 | 3.6445e-14 | 13.6881
130.318 | 4.2498e-14 | 13.6932
130.57 | 3.7142e-14 | 13.7007
130.844 | 2.9934e-14 | 13.7088
131.197 | 4.035e-14 | 13.7136
131.473 | 4.453e-14 | 13.7213
131.803 | 4.2302e-14 | 13.7348
132.08 | 4.2063e-14 | 13.745
132.362 | 3.8577e-14 | 13.754
132.717 | 3.9336e-14 | 13.7582
132.971 | 4.4529e-14 | 13.7675
133.243 | 3.96e-14 | 13.7759
133.59 | 4.2062e-14 | 13.7785
133.914 | 3.2755e-14 | 13.79
134.19 | 4.1447e-14 | 13.7901
134.466 | 4.235e-14 | 13.8024
134.82 | 4.4186e-14 | 13.8063
135.095 | 4.0355e-14 | 13.8135
135.35 | 4.6753e-14 | 13.8217
135.702 | 2.1972e-14 | 13.8298
136.007 | 3.5172e-14 | 13.8355
136.258 | 3.8708e-14 | 13.8432
136.604 | 4.7572e-14 | 13.8525
136.877 | 4.0168e-14 | 13.8534
137.2 | 4.2269e-14 | 13.8574
137.476 | 3.779e-14 | 13.8634
137.799 | 3.386e-14 | 13.8723
138.073 | 4.0831e-14 | 13.8764
138.346 | 4.1198e-14 | 13.881
138.695 | 3.8359e-14 | 13.8873
138.972 | 4.2182e-14 | 13.8933
139.251 | 4.6335e-14 | 13.9017
139.597 | 5.2759e-14 | 13.9025
139.937 | 5.2686e-14 | 13.9083
140.208 | 4.6105e-14 | 13.9119
140.456 | 4.5007e-14 | 13.9186
140.802 | 3.9235e-14 | 13.9251
141.076 | 4.209e-14 | 13.9293
141.426 | 4.3387e-14 | 13.9331
141.679 | 3.825e-14 | 13.9387
142.033 | 4.2592e-14 | 13.9442
142.287 | 4.9921e-14 | 13.9503
142.566 | 4.0942e-14 | 13.9568
142.844 | 4.7104e-14 | 13.9632
143.197 | 4.9953e-14 | 13.9658
143.515 | 3.9284e-14 | 13.9722
143.784 | 4.6053e-14 | 13.9748
144.059 | 4.0949e-14 | 13.9797
144.409 | 3.5776e-14 | 13.986
144.686 | 3.9247e-14 | 13.9864
144.964 | 3.9369e-14 | 13.9969
145.243 | 4.295e-14 | 14.001
145.599 | 5.1078e-14 | 14.0083
145.878 | 4.7438e-14 | 14.0125
146.157 | 4.3217e-14 | 14.0181
146.509 | 4.4186e-14 | 14.0238
146.776 | 4.657e-14 | 14.0227
147.117 | 4.5912e-14 | 14.0258
147.366 | 4.7529e-14 | 14.0314
147.643 | 4.6228e-14 | 14.0363
147.999 | 5.2729e-14 | 14.0405
148.299 | 4.3672e-14 | 14.0403
148.601 | 4.5584e-14 | 14.0524
148.875 | 4.4399e-14 | 14.0554
149.145 | 4.727e-14 | 14.0593
149.487 | 4.3523e-14 | 14.0572
149.761 | 3.7459e-14 | 14.0655
150.088 | 4.5058e-14 | 14.0677
150.368 | 4.181e-14 | 14.073
150.647 | 5.0796e-14 | 14.0779
151.005 | 4.3821e-14 | 14.0799
151.282 | 4.5233e-14 | 14.0895
151.604 | 4.0891e-14 | 14.0902
151.875 | 4.0285e-14 | 14.0944
152.229 | 3.9618e-14 | 14.097
152.506 | 3.9016e-14 | 14.1006
152.785 | 4.6198e-14 | 14.1047
153.113 | 4.3859e-14 | 14.1125
153.391 | 4.74e-14 | 14.1129
153.668 | 4.1595e-14 | 14.1179
153.998 | 3.9384e-14 | 14.1258
154.276 | 4.1363e-14 | 14.1297
154.602 | 4.4194e-14 | 14.1325
154.869 | 4.4863e-14 | 14.1351
155.216 | 3.9923e-14 | 14.1347
155.488 | 3.5823e-14 | 14.1391
155.815 | 3.9459e-14 | 14.1448
156.092 | 3.9454e-14 | 14.145
156.371 | 4.1794e-14 | 14.149
156.727 | 3.6728e-14 | 14.1539
157.009 | 3.9042e-14 | 14.1589
157.26 | 3.8775e-14 | 14.163
157.611 | 4.1802e-14 | 14.1679
157.886 | 3.8906e-14 | 14.1713
158.162 | 3.8704e-14 | 14.1747
158.488 | 4.3789e-14 | 14.1771
158.786 | 4.0036e-14 | 14.181
159.062 | 3.5014e-14 | 14.184
159.415 | 3.7699e-14 | 14.1837
159.687 | 4.1635e-14 | 14.1867
160.01 | 3.1587e-14 | 14.1927
160.284 | 3.6137e-14 | 14.1967
160.561 | 3.6755e-14 | 14.1997
160.886 | 3.6702e-14 | 14.2005
161.177 | 4.4143e-14 | 14.2023
161.494 | 3.4421e-14 | 14.206
161.84 | 3.5614e-14 | 14.2049
162.09 | 4.1379e-14 | 14.2084
162.392 | 3.9177e-14 | 14.2108
162.671 | 4.0311e-14 | 14.217
162.948 | 3.2039e-14 | 14.2195
163.301 | 3.6692e-14 | 14.2243
163.579 | 2.9416e-14 | 14.2234
163.857 | 4.1913e-14 | 14.23
164.211 | 3.6621e-14 | 14.2306
164.455 | 4.2165e-14 | 14.2336
164.798 | 2.7467e-14 | 14.2373
165.071 | 3.5109e-14 | 14.239
165.374 | 4.3316e-14 | 14.2402
165.703 | 4.2662e-14 | 14.2454
165.98 | 3.4534e-14 | 14.2492
166.335 | 3.7892e-14 | 14.2506
166.614 | 3.6804e-14 | 14.254
166.867 | 3.5872e-14 | 14.2585
167.145 | 4.0393e-14 | 14.261
167.495 | 3.3982e-14 | 14.2609
167.815 | 2.7695e-14 | 14.2647
168.085 | 3.0282e-14 | 14.2665
168.434 | 3.2963e-14 | 14.2683
168.684 | 3.8751e-14 | 14.2702
169.012 | 3.844e-14 | 14.2725
169.288 | 3.1927e-14 | 14.279
169.565 | 3.5086e-14 | 14.2803
169.843 | 3.5857e-14 | 14.2835
170.197 | 3.6372e-14 | 14.2833
170.475 | 4.0571e-14 | 14.2897
170.747 | 3.7311e-14 | 14.2907
171.09 | 3.2772e-14 | 14.2892
171.363 | 3.7044e-14 | 14.2941
171.709 | 3.3271e-14 | 14.2968
171.981 | 3.2218e-14 | 14.2973
172.255 | 3.2277e-14 | 14.2985
172.604 | 2.8919e-14 | 14.3022
172.879 | 3.7363e-14 | 14.3027
173.18 | 4.4928e-14 | 14.3075
173.533 | 3.7214e-14 | 14.3073
173.811 | 3.4564e-14 | 14.3098
174.089 | 3.4301e-14 | 14.3118
174.359 | 3.1344e-14 | 14.3166
174.694 | 3.2087e-14 | 14.3169
174.962 | 3.0363e-14 | 14.3163
175.313 | 3.5176e-14 | 14.3203
175.59 | 3.4101e-14 | 14.3221
175.865 | 3.7526e-14 | 14.3234
176.147 | 3.5352e-14 | 14.3278
176.504 | 2.9173e-14 | 14.3271
176.787 | 3.7014e-14 | 14.334
177.088 | 3.3681e-14 | 14.3346
177.362 | 3.7022e-14 | 14.3382
177.713 | 2.9417e-14 | 14.3403
177.986 | 3.2889e-14 | 14.341
178.262 | 3.2647e-14 | 14.3424
178.612 | 3.9414e-14 | 14.3458
178.888 | 3.36e-14 | 14.3483
179.164 | 3.1299e-14 | 14.3497
179.516 | 2.6647e-14 | 14.353
179.792 | 2.7606e-14 | 14.3546
180.07 | 2.9438e-14 | 14.3567
180.348 | 3.7076e-14 | 14.3588
180.702 | 2.9715e-14 | 14.361
180.976 | 3.0823e-14 | 14.363
181.248 | 3.0605e-14 | 14.3634
181.621 | 2.958e-14 | 14.3636
181.894 | 3.6257e-14 | 14.3681
182.17 | 3.3148e-14 | 14.3692
182.468 | 8.434e-14 | 14.3709
182.794 | 5.0751e-14 | 14.3707
183.07 | 3.6306e-14 | 14.3727
183.421 | 3.7639e-14 | 14.3754
183.697 | 3.5491e-14 | 14.3802
183.974 | 3.4234e-14 | 14.3806
184.251 | 2.7743e-14 | 14.3819
184.604 | 2.1565e-14 | 14.3846
184.896 | 3.0564e-14 | 14.384
185.159 | 2.6985e-14 | 14.3857
185.502 | 2.2266e-14 | 14.3873
185.776 | 1.82e-14 | 14.3888
186.052 | 3.0719e-14 | 14.3907
186.404 | 2.9434e-14 | 14.3908
186.683 | 3.1676e-14 | 14.3926
187.033 | 3.0538e-14 | 14.3953
187.311 | 2.9367e-14 | 14.397
187.588 | 2.3054e-14 | 14.3986
187.867 | 1.9872e-14 | 14.4035
188.146 | 2.4041e-14 | 14.4054
188.491 | 3.0358e-14 | 14.4065
188.787 | 2.4012e-14 | 14.4066
189.063 | 3.0675e-14 | 14.4076
189.414 | 1.9077e-14 | 14.4102
189.688 | 2.2511e-14 | 14.4112
189.99 | 1.7588e-14 | 14.4119
190.265 | 1.6083e-14 | 14.415
190.616 | 1.963e-14 | 14.3782
191.119 | -8.1139e-14 | 14.2724
192.507 | -1.3963e-13 | 14.428
193.505 | -6.8369e-14 | 14.4333
193.754 | -2.6805e-14 | 14.4344
194.102 | -1.4276e-14 | 14.4373
194.379 | 1.401e-15 | 14.4389
194.654 | 7.233e-15 | 14.4396
195.005 | 3.887e-15 | 14.4417
195.281 | 1.735e-15 | 14.4422
195.559 | -1.246e-15 | 14.4449
195.907 | -3.6779e-13 | 14.4441
196.16 | -1.1538e-12 | 14.4448
196.477 | -4.99e-13 | 14.4423
196.771 | -2.3211e-13 | 14.4039
197.285 | -9.8588e-14 | 14.3075
198.716 | 4.3189e-13 | 14.4522
199.684 | 1.2433e-13 | 14.4574
199.965 | 4.23e-14 | 14.4592
200.247 | -3.6105e-13 | 14.4608
200.633 | -9.9657e-13 | 14.4634
200.913 | -1.015e-12 | 14.4649
201.194 | -5.1186e-13 | 14.4689
201.503 | 1.112e-12 | 14.433
201.995 | 4.3036e-12 | 14.4727
202.19 | -8.8426e-13 | 14.4716
202.416 | -2.8715e-13 | 14.337
204.004 | -2.5607e-13 | 14.4819
205.01 | 6.2859e-13 | 14.4859
205.288 | 2.8427e-13 | 14.4889
205.565 | 1.188e-13 | 14.4893
205.943 | 4.417e-14 | 14.4901
206.145 | 1.7339e-14 | 14.4928
206.495 | 6.693e-15 | 14.4941
206.768 | 4.5e-17 | 14.4943
207.043 | -1.496e-14 | 14.4952
207.417 | -1.3038e-14 | 14.4957
207.69 | -1.762e-14 | 14.498
207.989 | -1.5448e-14 | 14.4978
208.265 | -2.0856e-14 | 14.5005
208.614 | -2.2077e-14 | 14.5015
208.916 | -1.6088e-14 | 14.5015
209.192 | -1.3461e-14 | 14.5048
209.514 | -1.7871e-14 | 14.5034
209.777 | -1.3679e-14 | 14.5047
210.046 | -1.992e-14 | 14.5045
210.422 | -1.7917e-14 | 14.5051
210.7 | -1.4447e-14 | 14.5059
210.977 | -2.0202e-14 | 14.5088
211.28 | -1.9171e-14 | 14.5096
211.61 | -3.3853e-14 | 14.5128
211.888 | -3.016e-14 | 14.5141
212.164 | -2.231e-14 | 14.5143
212.541 | -2.7177e-14 | 14.5153
212.817 | -2.3594e-14 | 14.5178
213.093 | -2.5115e-14 | 14.5185
213.39 | -3.0576e-14 | 14.5181
213.659 | -2.4367e-14 | 14.5195
214.029 | -3.3237e-14 | 14.5189
214.301 | -3.5308e-14 | 14.5192
214.576 | 3.3579e-14 | 14.5224
214.876 | -5.68e-16 | 14.5208
215.199 | -2.5875e-14 | 14.5228
215.449 | -3.4374e-14 | 14.524
215.774 | -3.5589e-14 | 14.5242
216.073 | -4.697e-14 | 14.5269
216.373 | -4.1322e-14 | 14.5263
216.676 | -3.9187e-14 | 14.53
216.953 | -4.1576e-14 | 14.5305
217.315 | -3.912e-14 | 14.53
217.56 | -4.5732e-14 | 14.5316
217.91 | -4.9771e-14 | 14.5313
218.211 | -4.3208e-14 | 14.5315
218.515 | -4.7301e-14 | 14.5337
218.794 | -4.8024e-14 | 14.5359
219.101 | -5.5572e-14 | 14.5376
219.41 | -4.9234e-14 | 14.538
219.692 | -4.8663e-14 | 14.5422
219.999 | -5.3225e-14 | 14.5407
220.305 | -5.5213e-14 | 14.5425
220.609 | -5.91e-14 | 14.5442
220.905 | -5.1192e-14 | 14.545
221.168 | -5.1195e-14 | 14.5458
221.534 | -5.6106e-14 | 14.5453
221.828 | -5.704e-14 | 14.5463
222.1 | -6.4831e-14 | 14.5482
222.398 | -5.8822e-14 | 14.5465
222.672 | -6.2258e-14 | 14.5489
222.999 | -6.5455e-14 | 14.5491
223.274 | -6.3175e-14 | 14.552
223.553 | -6.7722e-14 | 14.5527
223.931 | -6.8705e-14 | 14.5514
224.233 | -7.1889e-14 | 14.5544
224.511 | -6.6949e-14 | 14.5548
224.786 | -7.1129e-14 | 14.5553
225.064 | -7.4698e-14 | 14.5588
225.417 | -6.9765e-14 | 14.5589
225.645 | -6.893e-14 | 14.5603
226.02 | -7.8266e-14 | 14.5608
226.271 | -8.0644e-14 | 14.5619
226.572 | -7.9138e-14 | 14.5638
226.845 | -7.7892e-14 | 14.5636
227.22 | -8.323e-14 | 14.5636
227.493 | -7.9633e-14 | 14.5665
227.767 | -8.2025e-14 | 14.5661
228.14 | -8.0692e-14 | 14.5653
228.437 | -8.2477e-14 | 14.5676
228.709 | -7.948e-14 | 14.5688
229.007 | -8.032e-14 | 14.5633
229.256 | -8.4478e-14 | 14.5647
229.608 | -8.0515e-14 | 14.5643
229.958 | -8.3096e-14 | 14.5619
230.23 | -9.2499e-14 | 14.5669
230.48 | -8.8518e-14 | 14.5668
230.805 | -9.1468e-14 | 14.5694
231.057 | -9.2075e-14 | 14.5693
231.407 | -8.6924e-14 | 14.5716
231.683 | -9.643e-14 | 14.571
232.008 | -9.0845e-14 | 14.5732
232.281 | -8.9416e-14 | 14.5726
232.603 | -9.3612e-14 | 14.5747
232.85 | -8.7113e-14 | 14.5737
233.194 | -9.3313e-14 | 14.5753
233.538 | -9.273e-14 | 14.5743
233.783 | -9.6432e-14 | 14.5759
234.103 | -9.5879e-14 | 14.5757
234.373 | -1.0236e-13 | 14.5764
234.713 | -9.9955e-14 | 14.5755
234.957 | -1.0347e-13 | 14.5766
235.269 | -9.0897e-14 | 14.5754
235.606 | -9.865e-14 | 14.5746
235.843 | -1.0207e-13 | 14.5756
236.155 | -9.383e-14 | 14.575
236.488 | -9.22e-14 | 14.5728
236.799 | -1.0123e-13 | 14.573
237.131 | -1.0116e-13 | 14.5713
237.368 | -9.2552e-14 | 14.5724
237.675 | -8.7043e-14 | 14.5709
238.004 | -9.6506e-14 | 14.5709
238.312 | -9.5307e-14 | 14.5696
238.569 | -9.8107e-14 | 14.5672
238.873 | -9.5027e-14 | 14.5679
239.203 | -9.5323e-14 | 14.5661
239.508 | -9.4474e-14 | 14.566
239.809 | -9.92e-14 | 14.564
240.067 | -9.5758e-14 | 14.5627
240.371 | -1.0394e-13 | 14.5628
240.675 | -1.0002e-13 | 14.5614
240.979 | -9.9622e-14 | 14.5598
241.305 | -9.7473e-14 | 14.5582
241.607 | -1.0151e-13 | 14.5579
241.861 | -9.7779e-14 | 14.557
242.161 | -1.0482e-13 | 14.5551
242.48 | -9.9296e-14 | 14.5525
242.778 | -9.7797e-14 | 14.5505
243.071 | -1.016e-13 | 14.5484
243.37 | -1.0168e-13 | 14.5481
243.689 | -9.913e-14 | 14.5453
243.983 | -9.7152e-14 | 14.5446
244.274 | -1.0635e-13 | 14.5415
244.585 | -9.7935e-14 | 14.5397
244.874 | -1.1403e-13 | 14.5368
245.186 | -1.1258e-13 | 14.5334
245.475 | -1.0419e-13 | 14.5323
245.783 | -1.0596e-13 | 14.5288
246.071 | -1.091e-13 | 14.5264
246.4 | -1.0357e-13 | 14.5238
246.709 | -1.0387e-13 | 14.521
246.998 | -1.0182e-13 | 14.5179
247.283 | -1.0231e-13 | 14.5167
247.568 | -1.0245e-13 | 14.5139
247.851 | -1.0379e-13 | 14.5101
248.158 | -1.1711e-13 | 14.5079
248.506 | -1.1108e-13 | 14.5044
248.767 | -1.123e-13 | 14.5016
249.071 | -1.1181e-13 | 14.4981
249.353 | -1.1276e-13 | 14.4961
249.699 | -1.1372e-13 | 14.4921
249.998 | -1.1398e-13 | 14.4888
250.279 | -1.1368e-13 | 14.485
250.577 | -1.1736e-13 | 14.4825
250.916 | -1.1626e-13 | 14.4787
251.193 | -1.1194e-13 | 14.4758
251.469 | -1.2507e-13 | 14.4721
251.764 | -1.1139e-12 | 14.4678
252.101 | 1.2394e-12 | 14.44
252.563 | -4.4583e-13 | 14.3634
253.958 | -6.2766e-13 | 14.4402
254.992 | -3.7271e-12 | 14.3996
255.469 | -1.3739e-12 | 14.4186
255.675 | -1.7748e-13 | 14.3236
257.154 | -7.9153e-13 | 14.3946
258.188 | -1.5382e-13 | 14.3786
258.45 | -4.9266e-13 | 14.3754
258.77 | -1.0861e-12 | 14.3698
259.091 | -9.1609e-14 | 14.3647
259.372 | 5.8716e-14 | 14.36
259.69 | -2.3075e-13 | 14.3544
259.949 | -5.6333e-13 | 14.3512
260.288 | -4.75e-13 | 14.345
260.605 | -4.7265e-14 | 14.3394
260.858 | 5.9762e-13 | 14.3356
261.191 | 5.0274e-13 | 14.334
261.458 | 8.0233e-14 | 14.3371
261.76 | -5.1993e-13 | 14.341
262.128 | -8.3601e-13 | 14.3451
262.447 | -4.9293e-13 | 14.3497
262.772 | -3.0949e-13 | 14.3532
263.066 | 4.7648e-13 | 14.3594
263.391 | 1.3611e-13 | 14.3629
263.687 | 2.0521e-13 | 14.369
264.012 | -7.5724e-14 | 14.3724
264.305 | -2.0307e-14 | 14.3764
264.598 | 3.6787e-14 | 14.3821
264.922 | -8.8911e-14 | 14.3873
265.216 | -1.6784e-13 | 14.391
265.54 | -1.4733e-13 | 14.3965
265.862 | -1.8741e-13 | 14.3997
266.157 | -1.1266e-13 | 14.4052
266.479 | -1.0207e-13 | 14.4083
266.803 | -3.4779e-14 | 14.4129
267.099 | -5.2122e-14 | 14.4186
267.42 | -3.1888e-14 | 14.4217
267.712 | -1.2798e-13 | 14.4273
268.033 | -2.0559e-13 | 14.4318
268.354 | -1.6868e-13 | 14.435
268.65 | -2.3284e-13 | 14.4405
268.975 | -2.9758e-13 | 14.4455
269.3 | -4.2649e-13 | 14.4483
269.597 | -5.8652e-13 | 14.4545
269.924 | -7.2092e-13 | 14.458
270.222 | 3.3243e-13 | 14.462
270.556 | -2.9911e-13 | 14.4676
271.751 | -8.5632e-13 | 14.4906
272.796 | -4.9566e-13 | 14.5192
273.23 | 1.5881e-13 | 14.5296
273.662 | -6.5258e-13 | 14.5427
275.033 | 1.0596e-13 | 14.5844
276.015 | -1.334e-13 | 14.6109
276.445 | -6.9815e-13 | 14.6237
276.838 | -4.1659e-13 | 14.637
277.276 | -1.263e-13 | 14.6477
278.461 | -7.408e-13 | 14.6878
279.498 | -7.745e-13 | 14.7144
279.798 | -5.6792e-13 | 14.7186
280.083 | -4.3651e-13 | 14.724
280.411 | -1.3133e-13 | 14.7294
280.665 | -2.294e-13 | 14.732
280.992 | -1.297e-13 | 14.7346
281.306 | -4.6846e-13 | 14.7346
281.586 | -2.302e-13 | 14.7123
282.131 | -2.3836e-12 | 14.7363
282.35 | -6.368e-13 | 14.7366
282.566 | -7.5401e-12 | 14.6298
284.144 | 5.0802e-12 | 14.7305
285.043 | -3.4373e-12 | 14.7269
285.388 | -7.8848e-13 | 14.7243
285.71 | 1.5081e-12 | 14.7237
285.988 | 3.777e-12 | 14.722
286.31 | -6.8032e-13 | 14.6386
287.909 | -2.1256e-13 | 14.7129
288.872 | -2.9556e-13 | 14.7101
289.201 | -1.0448e-13 | 14.7099
289.486 | -6.7898e-13 | 14.7089
289.818 | -2.828e-14 | 14.7077
290.104 | -3.8446e-13 | 14.7074
290.365 | 1.3663e-13 | 14.7073
290.655 | 1.2062e-13 | 14.7074
290.992 | 4.0325e-14 | 14.7068
291.281 | 1.3684e-13 | 14.7058
291.597 | -2.0297e-13 | 14.7049
291.912 | -1.5685e-13 | 14.7062
292.178 | 6.2002e-14 | 14.7057
292.47 | 9.7227e-14 | 14.7055
292.814 | 7.506e-15 | 14.7053
293.107 | 6.9766e-14 | 14.7044
293.378 | 7.9071e-14 | 14.7059
293.672 | -4.6622e-13 | 14.7048
294.016 | -2.9041e-13 | 14.706
294.313 | -2.0171e-13 | 14.7051
294.583 | -7.1828e-14 | 14.7061
294.879 | -9.572e-14 | 14.7051
295.177 | -8.4165e-14 | 14.7059
295.45 | -2.2867e-13 | 14.7065
295.821 | -1.6684e-13 | 14.706
296.092 | -2.7454e-13 | 14.7072
296.366 | -3.6356e-13 | 14.7068
296.664 | -2.9874e-13 | 14.7076
297.013 | -1.7345e-13 | 14.708
297.312 | -8.3643e-14 | 14.7082
297.611 | 1.4418e-14 | 14.7075
297.884 | -5.3689e-14 | 14.7085
298.184 | -6.29e-14 | 14.7095
298.458 | 6.3961e-14 | 14.7092
298.805 | 4.6316e-13 | 14.709
299.101 | 3.1434e-13 | 14.7096
299.399 | 9.2056e-14 | 14.7093
299.672 | -1.5315e-13 | 14.7102
299.969 | -5.1194e-13 | 14.7097
300.245 | -3.8483e-13 | 14.7109
300.594 | 4.6599e-14 | 14.7107
300.892 | -4.4087e-13 | 14.7118
301.167 | -3.3031e-13 | 14.7115
301.468 | -1.1263e-13 | 14.7126
301.818 | 3.5584e-14 | 14.7128
302.119 | 1.2978e-13 | 14.7122
302.394 | -2.3811e-13 | 14.7131
302.695 | -2.7558e-13 | 14.7142
302.996 | -2.4057e-13 | 14.7134
303.271 | -2.3821e-13 | 14.7146
303.571 | -8.3185e-14 | 14.7154
303.847 | -1.1996e-13 | 14.7151
304.147 | -1.3448e-13 | 14.7164
304.524 | -1.2174e-13 | 14.716
304.8 | -8.0228e-14 | 14.7173
305.074 | -1.1642e-13 | 14.7169
305.375 | -1.127e-13 | 14.7178
305.675 | -7.4866e-14 | 14.7181
305.975 | -6.5714e-14 | 14.7187
306.25 | -3.5551e-14 | 14.7184
306.552 | -5.6151e-14 | 14.7195
306.927 | -6.117e-14 | 14.7188
307.202 | -6.2012e-14 | 14.7199
307.503 | -6.9735e-14 | 14.7197
307.778 | -5.7809e-14 | 14.7212
308.08 | -5.5794e-14 | 14.7204
308.354 | -6.6059e-14 | 14.7217
308.729 | -6.2112e-14 | 14.7215
309.004 | -2.7167e-14 | 14.7226
309.304 | 3.7945e-12 | 14.7027
309.805 | -1.7142e-12 | 14.723
310.03 | -3.3377e-13 | 14.6509
311.508 | 6.0622e-14 | 14.725
312.483 | -9.4376e-13 | 14.7065
313.008 | 4.0002e-13 | 14.7264
313.234 | -6.2735e-13 | 14.6548
314.683 | -2.1407e-13 | 14.7288
315.684 | -2.3719e-13 | 14.7294
315.983 | -4.2926e-13 | 14.7301
316.257 | -3.2494e-13 | 14.7309
316.633 | 3.7944e-13 | 14.731
316.908 | -2.2061e-13 | 14.7314
317.208 | -4.4595e-13 | 14.7323
317.533 | -7.4581e-14 | 14.7318
317.808 | 2.2954e-13 | 14.7329
318.108 | -6.243e-13 | 14.7335
318.408 | -4.5009e-13 | 14.7326
318.683 | -1.6475e-13 | 14.7333
318.983 | -1.3511e-13 | 14.7344
319.282 | -2.0274e-13 | 14.7337
319.557 | 4.637e-13 | 14.7347
319.933 | 1.2132e-13 | 14.7346
320.206 | 2.4647e-14 | 14.735
320.504 | -2.346e-14 | 14.736
320.777 | 1.1843e-13 | 14.7352
321.076 | 1.5307e-14 | 14.7361
321.374 | -4.3163e-13 | 14.7353
321.648 | -1.6827e-11 | 14.7173
322.197 | -1.8711e-12 | 14.736
322.421 | 8.659e-14 | 14.6489
324.098 | 7.2396e-13 | 14.6698
326.15 | 1.7022e-13 | 14.7414
327.151 | -2.197e-13 | 14.7427
327.451 | -2.692e-13 | 14.743
327.75 | -7.2174e-14 | 14.7433
328.127 | 1.9431e-13 | 14.7429
328.402 | -1.8868e-13 | 14.7434
328.727 | 3.5098e-13 | 14.744
329.001 | 1.7937e-13 | 14.7434
329.302 | -3.5264e-13 | 14.7437
329.602 | -6.1918e-13 | 14.7447
329.878 | 4.7429e-14 | 14.7453
330.204 | 3.6596e-13 | 14.7452
330.48 | 2.6923e-13 | 14.7461
330.781 | 9.1904e-13 | 14.7471
331.106 | -2.7229e-13 | 14.7474
331.407 | 3.9349e-14 | 14.7465
331.707 | -6.3409e-13 | 14.7466
332.008 | 2.335e-13 | 14.7469
332.256 | 1.6048e-13 | 14.748
332.582 | -3.3899e-14 | 14.7489
332.881 | 1.9907e-14 | 14.7482
333.156 | 4.2782e-14 | 14.7492
333.533 | 1.353e-15 | 14.7487
333.758 | -3.2913e-14 | 14.7496
334.057 | -4.6634e-13 | 14.7497
334.357 | -4.1407e-13 | 14.7504
334.657 | -2.5019e-13 | 14.751
335.008 | 2.4908e-13 | 14.7503
335.331 | 4.7344e-14 | 14.7505
335.633 | 4.5527e-13 | 14.7508
335.857 | -1.0554e-14 | 14.7517
336.231 | -7.7743e-14 | 14.7512
336.458 | -1.4582e-13 | 14.7525
336.757 | -2.0077e-13 | 14.7521
337.058 | -2.0848e-13 | 14.7521
337.408 | 4.8644e-14 | 14.7522
337.707 | -1.7101e-14 | 14.753
338.008 | -1.2561e-13 | 14.7526
338.307 | -2.4774e-13 | 14.7534
338.582 | -1.1526e-13 | 14.7541
338.883 | 2.5543e-14 | 14.7548
339.183 | -2.564e-15 | 14.7551
339.483 | 2.0102e-14 | 14.7545
339.758 | 1.1882e-14 | 14.7551
340.059 | -2.1252e-14 | 14.7556
340.359 | 1.7342e-14 | 14.7558
340.682 | -6.426e-15 | 14.756
340.984 | -1.656e-14 | 14.7557
341.26 | -5.8486e-14 | 14.7566
341.633 | -8.2209e-14 | 14.7565
341.884 | -4.1996e-14 | 14.757
342.184 | -2.4651e-14 | 14.757
342.485 | 1.4471e-14 | 14.7578
342.76 | -3.1906e-14 | 14.758
343.061 | -6.1029e-14 | 14.7583
343.361 | -8.5802e-14 | 14.7591
343.736 | 4.28e-16 | 14.7587
344.011 | 2.1038e-13 | 14.7594
344.311 | 6.9124e-14 | 14.7596
344.611 | 7.5318e-14 | 14.7602
344.91 | -4.0005e-14 | 14.7606
345.212 | -9.6488e-14 | 14.7606
345.512 | -1.277e-13 | 14.7601
345.786 | -1.1881e-13 | 14.7608
346.086 | -1.6988e-13 | 14.7612
346.384 | -1.0702e-13 | 14.7616
346.683 | -9.7013e-14 | 14.7608
346.98 | -8.2872e-14 | 14.7615
347.255 | -8.694e-14 | 14.7622
347.556 | -8.8121e-14 | 14.7627
347.903 | -5.7177e-14 | 14.7624
348.205 | -2.2121e-14 | 14.7631
348.504 | 2.2963e-14 | 14.7624
348.779 | 5.4274e-14 | 14.763
349.08 | 4.8063e-14 | 14.7635
349.381 | 9.9805e-14 | 14.7639
349.682 | 1.0091e-13 | 14.7646
349.983 | 1.093e-13 | 14.7635
350.284 | 1.4442e-13 | 14.7638
350.583 | 6.9912e-14 | 14.7647
350.861 | 6.1942e-14 | 14.7652
351.159 | 5.4116e-14 | 14.7659
351.535 | 1.7955e-14 | 14.7653
351.811 | -1.0812e-13 | 14.766
352.086 | -1.7585e-13 | 14.7663
352.412 | -9.6604e-14 | 14.767
352.712 | 2.7129e-14 | 14.767
353.012 | -8.3029e-14 | 14.7675
353.313 | -1.6521e-13 | 14.7678
353.613 | -1.9316e-13 | 14.7673
353.912 | -1.4929e-13 | 14.7673
354.186 | -1.6178e-13 | 14.7682
354.486 | -1.2139e-13 | 14.7677
354.787 | -1.1206e-14 | 14.7686
355.061 | 2.4975e-14 | 14.7692
355.361 | 6.0888e-14 | 14.7691
355.686 | -5.4976e-14 | 14.7691
355.961 | 8.598e-15 | 14.77
356.259 | -3.851e-14 | 14.7704
356.609 | -1.225e-13 | 14.7701
356.908 | -7.7966e-14 | 14.7706
357.209 | -1.1309e-13 | 14.7708
357.509 | -1.7559e-13 | 14.7712
357.808 | -1.7462e-13 | 14.7713
358.108 | -1.888e-13 | 14.7708
358.409 | -1.8803e-13 | 14.7713
358.683 | -1.8594e-13 | 14.7718
358.983 | -1.3997e-13 | 14.7722
359.282 | -1.0132e-13 | 14.7723
359.582 | -7.3409e-14 | 14.7729
359.882 | -4.2437e-14 | 14.7721
360.158 | -3.9959e-14 | 14.7728
360.457 | -6.6733e-14 | 14.773
360.757 | -8.6433e-14 | 14.7736
361.132 | -1.623e-13 | 14.7733
361.407 | -1.5421e-13 | 14.7741
361.704 | -1.5461e-13 | 14.7744
362.005 | -1.5424e-13 | 14.7746
362.28 | -1.4494e-13 | 14.7744
362.579 | -1.224e-13 | 14.7751
362.878 | -1.3733e-13 | 14.7742
363.178 | -9.2143e-14 | 14.7746
363.479 | -6.3716e-14 | 14.7756
363.778 | -1.679e-14 | 14.7749
364.053 | 2.5015e-14 | 14.7758
364.353 | 5.7016e-14 | 14.7763
364.727 | 1.961e-14 | 14.7758
365.027 | 6.3067e-14 | 14.7761
365.303 | 5.077e-15 | 14.7767
365.603 | 5.276e-15 | 14.7769
365.929 | 6.8492e-14 | 14.7771
366.227 | 3.8384e-14 | 14.7772
366.503 | 1.2245e-14 | 14.7778
366.803 | -1.0612e-13 | 14.7784
367.102 | -5.6761e-14 | 14.7778
367.378 | -6.1663e-14 | 14.7783
367.678 | -8.9534e-14 | 14.779
367.977 | -4.6073e-14 | 14.7793
368.277 | -6.9226e-14 | 14.7787
368.553 | -9.7445e-14 | 14.7794
368.854 | -1.2041e-13 | 14.7798
369.154 | -8.674e-14 | 14.7804
369.528 | -6.0909e-14 | 14.7797
369.827 | -3.4071e-14 | 14.7801
370.103 | -5.8368e-14 | 14.7808
370.403 | -2.9476e-14 | 14.7799
370.702 | -4.2786e-14 | 14.7813
371.002 | -6.344e-14 | 14.7807
371.303 | -4.6778e-14 | 14.7811
371.578 | -7.5544e-14 | 14.7817
371.878 | -1.2436e-13 | 14.782
372.178 | -1.101e-13 | 14.7823
372.454 | -1.3262e-13 | 14.7828
372.829 | -1.2904e-13 | 14.7818
373.052 | -1.3878e-13 | 14.7829
373.353 | -1.2764e-13 | 14.7832
373.653 | -1.3932e-13 | 14.7835
373.953 | -1.1476e-13 | 14.7834
374.254 | -1.4771e-13 | 14.7839
374.628 | -1.2854e-13 | 14.7837
374.929 | -1.5147e-13 | 14.7838
375.203 | -1.3277e-13 | 14.7845
375.502 | -1.4179e-13 | 14.7846
375.804 | -1.6088e-13 | 14.7849
376.104 | -1.7185e-13 | 14.7852
376.405 | -1.6907e-13 | 14.7852
376.703 | -1.6046e-13 | 14.7858
377.004 | -1.3865e-13 | 14.7858
377.303 | -1.4413e-13 | 14.7858
377.604 | -1.4858e-13 | 14.786
377.903 | -1.3723e-13 | 14.7862
378.204 | -1.3899e-13 | 14.7864
378.528 | -1.4695e-13 | 14.7863
378.829 | -1.6807e-13 | 14.7867
379.103 | -1.3717e-13 | 14.7873
379.404 | -1.5963e-13 | 14.7867
379.68 | -1.7429e-13 | 14.7874
380.004 | -1.5645e-13 | 14.7875
380.28 | -1.5665e-13 | 14.7879
380.58 | -1.661e-13 | 14.7885
380.88 | -1.653e-13 | 14.7887
381.179 | -1.5075e-13 | 14.7888
381.48 | -1.5989e-13 | 14.7892
381.779 | -1.7365e-13 | 14.7893
382.08 | -1.7155e-13 | 14.7887
382.381 | -1.705e-13 | 14.7897
382.679 | -1.5413e-13 | 14.7901
382.979 | -1.7355e-13 | 14.7897
383.281 | -1.8569e-13 | 14.7902
383.581 | -1.8425e-13 | 14.7906
383.882 | -2.0304e-13 | 14.7907
384.181 | -1.8232e-13 | 14.7909
384.481 | -1.6647e-13 | 14.7906
384.756 | -1.829e-13 | 14.7911
385.055 | -1.7875e-13 | 14.7917
385.355 | -1.9458e-13 | 14.7918
385.655 | -2.0056e-13 | 14.792
385.954 | -2.0382e-13 | 14.7921
386.277 | -1.8953e-13 | 14.7917
386.579 | -1.6585e-13 | 14.7914
386.879 | -1.7289e-13 | 14.7922
387.179 | -1.7597e-13 | 14.7921
387.479 | -1.7979e-13 | 14.7928
387.755 | -1.8165e-13 | 14.7931
388.054 | -2.0518e-13 | 14.7933
388.354 | -1.8159e-13 | 14.7937
388.656 | -1.9001e-13 | 14.7938
388.954 | -1.6406e-13 | 14.7937
389.254 | -1.6849e-13 | 14.7939
389.554 | -1.6611e-13 | 14.7941
389.853 | -1.939e-13 | 14.7942
390.151 | -1.9879e-13 | 14.7946
390.448 | -1.8013e-13 | 14.7947
390.745 | -1.6406e-13 | 14.7945
391.043 | -1.5832e-13 | 14.7949
391.343 | -1.9104e-13 | 14.795
391.716 | -1.6674e-13 | 14.7954
392.016 | -1.5625e-13 | 14.7955
392.316 | -1.8351e-13 | 14.7957
392.615 | -1.8906e-13 | 14.7961
392.867 | -2.0205e-13 | 14.7959
393.167 | -2.1002e-13 | 14.7962
393.467 | -1.9367e-13 | 14.7964
393.768 | -2.1699e-13 | 14.7964
394.093 | -2.3329e-13 | 14.7962
394.367 | -2.2337e-13 | 14.7968
394.692 | -2.3031e-13 | 14.7967
394.968 | -2.397e-13 | 14.7975
395.269 | -2.566e-13 | 14.7976
395.569 | -2.5892e-13 | 14.7977
395.869 | -2.7281e-13 | 14.7979
396.169 | -2.8394e-13 | 14.7978
396.493 | -2.8126e-13 | 14.7979
396.795 | -2.7784e-13 | 14.7982
397.071 | -2.6435e-13 | 14.7988
397.372 | -2.623e-13 | 14.7992
397.672 | -2.6513e-13 | 14.7996
397.972 | -2.43e-13 | 14.7986
398.272 | -2.5708e-13 | 14.7989
398.573 | -2.6706e-13 | 14.7991
398.871 | -2.6184e-13 | 14.8001
399.172 | -2.6494e-13 | 14.7998
399.498 | -2.3582e-13 | 14.8005
399.799 | -2.3546e-13 | 14.8006
400.099 | -2.7236e-13 | 14.8011
400.399 | -2.2806e-13 | 14.8011
400.698 | -2.6608e-13 | 14.8012
401 | -2.65e-13 | 14.8012
401.3 | -2.1522e-13 | 14.8015
401.625 | -2.8155e-13 | 14.8012
401.851 | -2.4853e-13 | 14.8018
402.175 | -2.58e-13 | 14.8017
402.475 | -2.9965e-13 | 14.8019
402.775 | -2.9047e-13 | 14.802
403.075 | -3.5468e-13 | 14.8031
403.375 | -5.347e-13 | 14.803
403.675 | -4.1306e-13 | 14.8031
403.973 | -4.2572e-13 | 14.8032
404.275 | -3.2597e-13 | 14.8035
404.576 | -3.3932e-13 | 14.8038
404.879 | -3.4798e-13 | 14.8039
405.203 | -2.8035e-13 | 14.804
405.478 | -3.1767e-13 | 14.804
405.804 | -3.457e-13 | 14.8043
406.078 | -3.5611e-13 | 14.8043
406.403 | -3.8495e-13 | 14.804
406.704 | -3.5104e-13 | 14.8051
407.002 | -3.4963e-13 | 14.8054
407.303 | 1.2087e-13 | 14.8056
407.602 | -6.3468e-14 | 14.8056
407.928 | -2.4604e-13 | 14.8052
408.227 | -2.9744e-13 | 14.8054
408.527 | -3.2248e-13 | 14.8051
408.751 | -3.4051e-13 | 14.8063
409.05 | -3.7291e-13 | 14.8063
409.376 | -3.9643e-13 | 14.8062
409.676 | -3.6662e-13 | 14.8061
409.976 | -3.8116e-13 | 14.8062
410.276 | -3.755e-13 | 14.8072
410.577 | -3.6037e-13 | 14.8074
410.877 | -3.5698e-13 | 14.8075
411.177 | -3.1517e-13 | 14.8076
411.477 | -4.19e-13 | 14.8075
411.803 | -3.8774e-13 | 14.8077
412.103 | -2.0521e-13 | 14.8078
412.403 | 3.5606e-13 | 14.7944
412.929 | -1.5755e-13 | 14.7572
414.329 | -1.3822e-13 | 14.8095
415.278 | -1.2369e-13 | 14.8097
415.602 | -1.3152e-13 | 14.8097
415.904 | -1.3053e-13 | 14.8098
416.204 | -1.3503e-13 | 14.8097
416.504 | -1.3016e-13 | 14.8105
416.828 | -1.3465e-13 | 14.8103
417.054 | -1.3406e-13 | 14.8113
417.353 | -1.4199e-13 | 14.811
417.655 | -1.4222e-13 | 14.8111
417.978 | -1.486e-13 | 14.8109
418.28 | -1.4412e-13 | 14.8113
418.58 | -1.5165e-13 | 14.8121
418.878 | -1.5145e-13 | 14.8114
419.177 | -1.4275e-13 | 14.8124
419.476 | -1.5794e-13 | 14.8122
419.802 | -1.618e-13 | 14.8118
420.101 | -1.6047e-13 | 14.8126
420.401 | -1.5244e-13 | 14.8123
420.652 | -1.6805e-13 | 14.813
420.952 | -1.6846e-13 | 14.8129
421.25 | -1.7393e-13 | 14.8129
421.577 | -1.7349e-13 | 14.813
421.877 | -1.6759e-13 | 14.8131
422.176 | -1.7473e-13 | 14.8138
422.475 | -1.7263e-13 | 14.8138
422.776 | -1.8005e-13 | 14.8141
423.076 | -1.8139e-13 | 14.8143
423.401 | -1.8628e-13 | 14.814
423.701 | -1.8478e-13 | 14.8141
424.002 | -1.841e-13 | 14.8139
424.301 | -1.9123e-13 | 14.8149
424.626 | -2.0038e-13 | 14.8144
424.877 | -1.9262e-13 | 14.8147
425.176 | -1.9518e-13 | 14.8147
425.476 | -2.1e-13 | 14.8151
425.772 | -2.0764e-13 | 14.8148
426.07 | -2.094e-13 | 14.8155
426.366 | -2.1009e-13 | 14.8157
426.688 | -2.0934e-13 | 14.8152
426.987 | -2.2011e-13 | 14.8149
427.287 | -2.2265e-13 | 14.8157
427.613 | -2.2836e-13 | 14.8157
427.887 | -2.248e-13 | 14.816
428.213 | -2.2698e-13 | 14.8158
428.514 | -2.3341e-13 | 14.8168
428.814 | -2.3688e-13 | 14.8167
429.139 | -2.1233e-13 | 14.8164
429.365 | -2.3659e-13 | 14.8171
429.689 | -2.4881e-13 | 14.8172
429.99 | -2.5317e-13 | 14.8174
430.314 | -2.5833e-13 | 14.8171
430.616 | -2.6485e-13 | 14.8167
430.866 | -2.6065e-13 | 14.8179
431.165 | -2.6257e-13 | 14.818
431.491 | -2.6779e-13 | 14.8176
431.792 | -2.7153e-13 | 14.8186
432.093 | -2.7344e-13 | 14.8185
432.418 | -2.7964e-13 | 14.8183
432.719 | -2.7847e-13 | 14.819
432.967 | -2.8029e-13 | 14.8187
433.268 | -2.8271e-13 | 14.8184
433.57 | -2.8846e-13 | 14.8194
433.869 | -2.9027e-13 | 14.8192
434.196 | -2.9031e-13 | 14.82
434.519 | -2.9599e-13 | 14.8195
434.795 | -2.9775e-13 | 14.82
435.045 | -2.9826e-13 | 14.8202
435.396 | -3.0797e-13 | 14.8205
435.721 | -3.066e-13 | 14.8201
436.021 | -3.1278e-13 | 14.82
436.246 | -3.1253e-13 | 14.8206
436.572 | -3.1698e-13 | 14.8207
436.872 | -3.2165e-13 | 14.8208
437.173 | -3.2506e-13 | 14.821
437.473 | -3.2441e-13 | 14.821
437.773 | -3.2741e-13 | 14.8219
438.074 | -3.3564e-13 | 14.8217
438.398 | -3.4189e-13 | 14.8215
438.698 | -3.4458e-13 | 14.8213
439.023 | -3.5326e-13 | 14.8219
439.249 | -3.5432e-13 | 14.8225
439.573 | -3.5611e-13 | 14.8221
439.873 | -3.6262e-13 | 14.8228
440.173 | -3.5913e-13 | 14.8227
440.498 | -3.6161e-13 | 14.8223
440.796 | -3.6245e-13 | 14.823
441.122 | -3.6715e-13 | 14.8226
441.372 | -3.6032e-13 | 14.823
441.671 | -3.599e-13 | 14.8238
441.971 | -3.6871e-13 | 14.8236
442.271 | -3.7012e-13 | 14.8235
442.597 | -3.7256e-13 | 14.8233
442.897 | -3.7209e-13 | 14.824
443.222 | -3.7033e-13 | 14.8237
443.448 | -3.6991e-13 | 14.8241
443.772 | -3.7736e-13 | 14.824
444.072 | -3.699e-13 | 14.8247
444.398 | -3.7104e-13 | 14.8245
444.698 | -3.6428e-13 | 14.8251
444.999 | -3.7072e-13 | 14.8253
445.299 | -3.6942e-13 | 14.8252
445.599 | -3.752e-13 | 14.8252
445.847 | -3.7589e-13 | 14.8258
446.173 | -3.7257e-13 | 14.8253
446.474 | -3.8153e-13 | 14.8262
446.774 | -3.7633e-13 | 14.8253
447.074 | -3.7131e-13 | 14.8264
447.373 | -3.6245e-13 | 14.8261
447.697 | -3.6229e-13 | 14.8267
447.997 | -3.6857e-13 | 14.8266
448.297 | -3.6827e-13 | 14.8266
448.548 | -3.7374e-13 | 14.8268
448.873 | -3.737e-13 | 14.8269
449.198 | -3.771e-13 | 14.8264
449.499 | -3.803e-13 | 14.8274
449.823 | -3.8967e-13 | 14.8269
450.048 | -3.9036e-13 | 14.8277