## Settings
Sample Info | so12ig, dot c3, run 03
Comments | -10/+4/-10
Additional Comments | peak 270K, zero~50 fA
Major Measurement Parameters
Starting Temperature | 433.022
Initial Temperature | 80.5
Final Temperature | 480
Preliminary Voltage | -10
Pulse Voltage | 4
Pulse Time | 30
Wait Time | 0
Measurement Voltage | -10
Subsidiary Measurement Parameters
Step | 0.3
Accuracy Step | 0.1
Accuracy Stable | 0.5
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 15
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 3
Measurecount | 1
Time
Date | 5.4.2024
Clock | 18:3:6

## Stabilization
Temperature | Current | Temp Rate
432.131 | -7.91e-13 | 0
429.623 | -4.1285e-13 | -25.7484
428.331 | -1.1991e-12 | -27.604
427.57 | -6.506e-13 | -28.8373
424.557 | -5.7833e-13 | -29.6744
423.928 | -4.5398e-13 | -29.7764
423.178 | -3.7964e-13 | -30.2524
422.492 | -2.8688e-13 | -30.4522
421.881 | -2.4956e-13 | -30.3904
420.983 | -2.4619e-13 | -31.1621
420.281 | -2.604e-13 | -42.2026
419.589 | -2.2449e-13 | -52.1749
418.816 | -2.5932e-13 | -108.3833
418.228 | -2.4333e-13 | -228.9745
417.587 | -2.2222e-13 | -359.9984
416.98 | -2.2247e-13 | -30.1646
416.392 | -1.8457e-13 | -30.1077
415.707 | -1.6973e-13 | -30.2336
414.959 | -1.9184e-13 | -844.9838
414.424 | -1.9062e-13 | -30.3062
413.911 | -1.7445e-13 | -30.1303
413.358 | -1.3208e-13 | -30.0423
412.454 | -1.5942e-13 | -30.4883
411.877 | -1.5118e-13 | -30.4176
411.078 | -1.1492e-13 | -30.6585
410.509 | -1.4599e-13 | -30.5788
409.876 | -1.501e-13 | -30.5865
409.267 | -1.4267e-13 | -30.5598
408.613 | -1.4564e-13 | -30.5978
407.875 | -9.3166e-14 | -30.7382
407.313 | -1.2343e-13 | -30.655
406.54 | -1.1652e-13 | -30.8314
405.992 | -1.146e-13 | -30.7293
405.199 | -1.2836e-13 | -30.9162
404.624 | -1.1057e-13 | -30.857
403.899 | -1.1687e-13 | -30.9406
403.38 | -1.0541e-13 | -30.8199
402.795 | -9.356e-14 | -30.7548
402.156 | -1.0842e-13 | -30.7659
401.61 | -7.463e-14 | -30.6795
400.942 | -1.0677e-13 | -30.7124
400.411 | -1.0369e-13 | -30.611
399.814 | -7.4636e-14 | -30.58
399.071 | -9.7077e-14 | -30.6893
398.551 | -5.9777e-14 | -30.5824
397.816 | -9.3424e-14 | -30.6862
397.25 | -5.8909e-14 | -30.6304
396.663 | -6.9355e-14 | -30.5969
395.953 | -4.0904e-14 | -30.6629
395.257 | -8.1357e-14 | -30.7122
394.655 | -6.9176e-14 | -30.6916
394.072 | -3.2116e-14 | -30.658
393.221 | -6.6684e-14 | -30.8271
392.659 | -7.6805e-14 | -30.7789
392.013 | -5.5149e-14 | -30.7914
391.462 | -3.3452e-14 | -30.7374
390.729 | -6.1007e-14 | -30.8021
390.116 | -2.5532e-14 | -30.7913
389.363 | -2.2944e-14 | -30.8791
388.76 | -5.5068e-14 | -30.8582
388.173 | -4.9276e-14 | -30.8143
387.408 | -5.9678e-14 | -30.9077
386.857 | -6.5381e-14 | -30.8527
386.364 | -4.359e-14 | -30.7592
385.633 | -5.7421e-14 | -30.8151
385.11 | -4.6556e-14 | -30.7395
384.533 | -5.7143e-14 | -30.7039
383.865 | -3.6107e-14 | -30.7276
383.299 | -6.1957e-14 | -30.6821
382.606 | -5.3415e-14 | -30.7256
382.076 | -4.1453e-14 | -30.6647
381.42 | -4.9724e-14 | -30.6812
380.828 | -1.3153e-14 | -30.653
380.124 | -6.023e-14 | -30.6994
379.58 | -1.5974e-14 | -30.6492
378.852 | -5.3811e-14 | -30.705
378.325 | -3.1831e-14 | -30.6392
377.747 | -6.2172e-14 | -30.6109
377.052 | -3.6328e-14 | -30.6455
376.454 | -7.5027e-14 | -30.6288
375.838 | -7.0561e-14 | -30.6176
375.309 | -5.5539e-14 | -30.5643
374.601 | -1.0352e-13 | -30.6034
374.009 | -1.2077e-13 | -30.5859
373.379 | -1.3427e-13 | -30.5758
372.786 | -9.788e-14 | -30.558
372.157 | -1.4283e-13 | -30.5566
371.64 | -1.3728e-13 | -30.5025
371.09 | -9.2919e-14 | -30.4605
370.444 | -1.51e-13 | -30.4634
369.901 | -1.2811e-13 | -30.4159
369.381 | -1.2064e-13 | -30.3666
368.671 | -1.5134e-13 | -30.403
368.151 | -1.7293e-13 | -30.3483
367.516 | -1.8545e-13 | -30.3538
367.02 | -1.4808e-13 | -30.2917
366.311 | -1.9848e-13 | -30.3222
365.814 | -1.7166e-13 | -30.2618
365.233 | -2.0833e-13 | -30.2345
364.704 | -2.0346e-13 | -30.1934
364.17 | -1.584e-13 | -30.1558
363.548 | -2.1416e-13 | -30.1545
363.017 | -1.7663e-13 | -30.1135
362.436 | -2.1915e-13 | -30.0955
361.929 | -1.8177e-13 | -30.0488
361.353 | -2.2361e-13 | -30.0267
360.784 | -2.2059e-13 | -29.9999
360.25 | -2.1887e-13 | -29.9595
359.729 | -2.1019e-13 | -29.9182
359.161 | -1.8249e-13 | -29.893
358.562 | -2.3293e-13 | -29.8811
358.06 | -2.0302e-13 | -29.831
357.503 | -2.3558e-13 | -29.8062
357.041 | -2.2965e-13 | -29.7347
356.657 | -2.2148e-13 | -29.6399
356.228 | -2.0616e-13 | -29.5665
355.736 | -1.6861e-13 | -29.5169
355.049 | -2.2335e-13 | -29.5427
354.568 | -2.0874e-13 | -29.489
354.131 | -2.0831e-13 | -29.4233
353.672 | -2.0516e-13 | -29.3636
353.086 | -1.7864e-13 | -29.3523
352.504 | -2.1183e-13 | -29.3309
351.929 | -2.0346e-13 | -29.3143
351.429 | -1.9371e-13 | -29.2686
350.877 | -2.1217e-13 | -29.2435
350.319 | -1.8669e-13 | -29.2251
349.741 | -2.3217e-13 | -29.2122
349.256 | -2.6631e-13 | -29.1724
348.756 | -1.8424e-13 | -29.135
348.127 | -2.1889e-13 | -29.1426
347.58 | -1.8705e-13 | -29.1178
347.045 | -2.2828e-13 | -29.0902
346.53 | -2.2719e-13 | -29.0579
345.985 | -1.8424e-13 | -29.0356
345.416 | -2.1968e-13 | -29.0202
344.908 | -2.0178e-13 | -28.986
344.45 | -1.7564e-13 | -28.936
343.764 | -1.9537e-13 | -28.9623
343.23 | -2.1478e-13 | -28.9355
342.755 | -2.1172e-13 | -28.8927
342.171 | -1.7921e-13 | -28.8857
341.592 | -2.145e-13 | -28.8763
341.094 | -1.992e-13 | -28.8403
340.597 | -1.6384e-13 | -28.8058
340.012 | -1.9428e-13 | -28.8019
339.544 | -1.857e-13 | -28.7575
339.107 | -1.3638e-13 | -28.7044
338.48 | -1.7631e-13 | -28.7097
338.054 | -1.5753e-13 | -28.6569
337.592 | -1.5087e-13 | -28.615
337.16 | -1.6111e-13 | -28.5641
336.671 | -1.4678e-13 | -28.5329
336.267 | -1.0918e-13 | -28.4778
335.726 | -1.3541e-13 | -28.4588
335.282 | -9.6701e-14 | -28.4138
334.287 | -2.323e-10 | -28.3635
333.457 | -2.1592e-12 | -28.2714
330.667 | -6.1245e-13 | -28.1267
328.341 | -3.3693e-13 | -28.0156
327.894 | -4.9265e-13 | -27.9775
327.398 | -3.6535e-13 | -27.9528
326.849 | -2.8706e-13 | -27.9431
326.384 | -2.9356e-13 | -27.9126
325.855 | -2.6132e-13 | -27.8932
325.394 | -1.5442e-13 | -27.8549
324.753 | -1.739e-13 | -27.8697
324.288 | -1.9405e-13 | -27.8386
323.8 | -1.9941e-13 | -27.8116
323.314 | -2.1398e-13 | -27.7831
322.853 | -1.7523e-13 | -27.754
322.249 | -4.4329e-13 | -27.7593
321.779 | -6.2872e-13 | -27.7306
321.299 | -2.8426e-13 | -27.703
320.89 | -1.367e-13 | -27.6626
320.416 | -3.6453e-14 | -27.6357
319.952 | -2.6787e-14 | -27.6078
319.439 | 8.422e-15 | -27.5897
318.921 | -1.6294e-14 | -27.5749
318.464 | -4.0066e-14 | -27.5452
317.99 | -3.318e-14 | -27.5185
317.471 | -1.8119e-14 | -27.5023
317.073 | 3.939e-15 | -27.4599
316.497 | -8.807e-15 | -27.4578
316.089 | 2.779e-15 | -27.4163
315.703 | 8.253e-14 | -27.37
315.282 | 3.8058e-14 | -27.3319
314.815 | 5.33e-14 | -27.3053
314.209 | 2.502e-15 | -27.3119
313.834 | 2.1586e-14 | -27.2675
313.322 | -3.242e-14 | -27.2437
312.795 | -6.0818e-14 | -27.2291
312.298 | -1.565e-13 | -27.2106
311.868 | -5.8367e-14 | -27.1747
311.522 | -4.7713e-14 | -27.1241
311.179 | 1.0603e-14 | -27.0659
310.784 | 5.2797e-14 | -27.0133
310.224 | 5.1408e-14 | -27.0119
309.747 | 2.2978e-14 | -26.9937
309.387 | -1.1393e-14 | -26.949
308.999 | -1.1379e-13 | -26.9081
308.656 | -1.6269e-13 | -26.8553
308.261 | -1.8853e-13 | -26.8165
307.937 | -2.5509e-13 | -26.7634
307.626 | -2.0729e-13 | -26.7096
307.229 | -1.6897e-13 | -26.6748
306.789 | -1.2479e-13 | -26.6486
306.391 | -1.0909e-13 | -26.6128
306.024 | -8.428e-14 | -26.5725
305.726 | -3.6038e-14 | -26.5176
305.267 | -3.8064e-14 | -26.4951
304.925 | 7.574e-15 | -26.4485
304.421 | -3.5849e-14 | -26.4378
304.094 | 1.4193e-14 | -26.3872
303.684 | 1.1387e-14 | -26.3561
303.382 | 2.7385e-14 | -26.3038
303.052 | 1.2623e-14 | -26.2577
302.699 | 1.557e-14 | -26.2155
302.424 | 4.8277e-14 | -26.1609
301.897 | 3.3285e-14 | -26.155
301.53 | 3.5475e-14 | -26.1167
301.209 | 3.4735e-14 | -26.0646
300.89 | 3.2383e-14 | -26.0126
300.62 | 4.8711e-14 | -25.9566
300.249 | 4.4661e-14 | -25.9152
299.923 | 5.8949e-14 | -25.8698
299.589 | 3.9722e-14 | -25.8243
299.195 | 5.9598e-14 | -25.7918
298.806 | 3.9218e-14 | -25.7552
298.537 | 4.9154e-14 | -25.7016
298.267 | 5.7618e-14 | -25.6487
298.047 | 4.9176e-14 | -25.5869
297.847 | 4.9214e-14 | -25.5227
297.632 | 5.5497e-14 | -25.462
297.422 | 5.5212e-14 | -25.397
297.226 | 5.3736e-14 | -25.3309
297.027 | 5.3713e-14 | -25.2652
296.789 | 7.4655e-14 | -25.2072
296.523 | 5.7177e-14 | -25.1565
296.233 | 7.627e-14 | -25.1123
295.927 | 5.181e-14 | -25.0708
295.683 | 6.7909e-14 | -25.0177
295.442 | 5.3983e-14 | -24.9643
295.24 | 5.4312e-14 | -24.9026
295.035 | 5.9115e-14 | -24.8427
294.841 | 5.726e-14 | -24.7822
294.661 | 5.2973e-14 | -24.7187
294.48 | 5.9934e-14 | -24.658
294.262 | 6.4372e-14 | -24.604
294.05 | 5.535e-14 | -24.546
293.85 | 5.0025e-14 | -24.4901
293.661 | 5.7217e-14 | -24.4329
293.462 | 5.4301e-14 | -24.3773
293.256 | 6.297e-14 | -24.322
293.054 | 4.9226e-14 | -24.2653
292.894 | 4.8916e-14 | -24.2038
292.734 | 4.9681e-14 | -24.1426
292.583 | 4.7645e-14 | -24.0805
292.359 | 8.3316e-14 | -24.0308
292.047 | 4.9675e-14 | -23.9934
291.863 | 4.6549e-14 | -23.9389
291.686 | 4.7081e-14 | -23.8808
291.522 | 5.2071e-14 | -23.8224
291.36 | 4.4604e-14 | -23.7618
291.2 | 4.4608e-14 | -23.7038
291.052 | 5.2349e-14 | -23.6441
290.889 | 4.8401e-14 | -23.5885
290.741 | 4.0121e-14 | -23.5306
290.581 | 4.7495e-14 | -23.4733
290.42 | 5.2869e-14 | -23.4161
290.257 | 5.1266e-14 | -23.3609
290.1 | 3.9671e-14 | -23.3063
289.948 | 4.4831e-14 | -23.2503
289.793 | 5.4893e-14 | -23.1953
289.497 | 7.9554e-14 | -23.1633
289.188 | 4.2919e-14 | -23.1335
288.964 | 6.7252e-14 | -23.0885
288.673 | 4.1638e-14 | -23.0562
288.49 | 4.2588e-14 | -23.0072
288.308 | 6.4908e-14 | -22.9574
287.988 | 4.7455e-14 | -22.9298
287.806 | 4.5104e-14 | -22.8794
287.647 | 4.6035e-14 | -22.8265
287.496 | 5.2805e-14 | -22.7744
287.343 | 4.6153e-14 | -22.7204
287.169 | 3.5214e-14 | -22.6711
287.01 | 4.7619e-14 | -22.6189
286.855 | 5.1334e-14 | -22.568
286.705 | 4.9168e-14 | -22.5172
286.553 | 5.0372e-14 | -22.4657
286.411 | 5.4694e-14 | -22.4137
286.269 | 5.0927e-14 | -22.3623
286.118 | 5.3573e-14 | -22.311
285.96 | 4.3463e-14 | -22.2622
285.76 | 6.49e-14 | -22.2203
285.581 | 5.0568e-14 | -22.176
285.394 | 5.2443e-14 | -22.1314
285.192 | 4.6932e-14 | -22.0907
284.988 | 4.9508e-14 | -22.0503
284.804 | 3.9143e-14 | -22.0078
284.66 | 4.3474e-14 | -21.9572
284.518 | 4.917e-14 | -21.9066
284.359 | 4.5274e-14 | -21.8603
284.216 | 4.3092e-14 | -21.8128
284.069 | 5.2648e-14 | -21.7644
283.868 | 5.2528e-14 | -21.7262
283.731 | 4.5654e-14 | -21.6787
283.6 | 3.6392e-14 | -21.6298
283.467 | 4.2967e-14 | -21.5813
283.334 | 3.0591e-14 | -21.5321
283.198 | 4.1788e-14 | -21.4851
283.008 | 6.5032e-14 | -21.4469
282.769 | 4.2591e-14 | -21.4156
282.585 | 7.6855e-14 | -21.3771
282.269 | 4.1223e-14 | -21.3572
282.089 | 4.2843e-14 | -21.3174
281.926 | 4.0474e-14 | -21.2745
281.777 | 4.0687e-14 | -21.2301
281.631 | 5.8022e-14 | -21.1871
281.486 | 5.8055e-14 | -21.1434
281.346 | 4.2634e-14 | -21.1001
281.213 | 4.7453e-14 | -21.0546
281.078 | 4.0831e-14 | -21.0111
280.94 | 4.0756e-14 | -20.9654
280.786 | 5.0143e-14 | -20.924
280.595 | 5.6478e-14 | -20.8881
280.317 | 4.8105e-14 | -20.8646
280.159 | 4.341e-14 | -20.8255
280.03 | 5.3204e-14 | -20.7819
279.89 | 4.4278e-14 | -20.7398
279.75 | 4.8834e-14 | -20.6983
279.616 | 4.4037e-14 | -20.6555
279.485 | 4.7315e-14 | -20.6124
279.355 | 4.3657e-14 | -20.5708
279.226 | 4.5541e-14 | -20.5272
279.092 | 5.1302e-14 | -20.4865
278.951 | 4.684e-14 | -20.4467
278.821 | 4.332e-14 | -20.4053
278.673 | 5.5387e-14 | -20.3668
278.535 | 4.7837e-14 | -20.3265
278.41 | 4.4284e-14 | -20.2851
278.286 | 4.5154e-14 | -20.2431
278.16 | 4.5874e-14 | -20.2031
278.028 | 4.2527e-14 | -20.1639
277.89 | 4.5078e-14 | -20.1249
277.643 | 5.3137e-14 | -20.1
277.491 | 3.6905e-14 | -20.0644
277.364 | 3.9634e-14 | -20.0247
277.239 | 4.4551e-14 | -19.9847
277.113 | 4.9044e-14 | -19.9455
276.988 | 4.5216e-14 | -19.9066
276.864 | 4.3563e-14 | -19.8684
276.737 | 5.1328e-14 | -19.8307
276.603 | 5.0373e-14 | -19.7928
276.463 | 4.2588e-14 | -19.7557
276.329 | 5.0453e-14 | -19.7189
276.204 | 4.6601e-14 | -19.6798
276.079 | 4.579e-14 | -19.6418
275.916 | 4.7453e-14 | -19.6093
275.785 | 4.3553e-14 | -19.5727
275.665 | 4.2872e-14 | -19.5359
275.538 | 4.376e-14 | -19.4991
275.386 | 4.6939e-14 | -19.4643
275.25 | 4.774e-14 | -19.429
275.122 | 4.6538e-14 | -19.3926
275.007 | 4.97e-14 | -19.3553
274.889 | 4.6089e-14 | -19.3181
274.757 | 4.4165e-14 | -19.2839
274.63 | 4.1435e-14 | -19.2483
274.511 | 4.4736e-14 | -19.2121
274.393 | 4.2869e-14 | -19.1761
274.277 | 3.9346e-14 | -19.1392
274.159 | 5.0519e-14 | -19.1034
274.027 | 3.7523e-14 | -19.0676
273.902 | 4.7323e-14 | -19.032
273.774 | 5.3502e-14 | -18.998
273.657 | 4.6611e-14 | -18.9626
273.532 | 4.6144e-14 | -18.9279
273.414 | 4.862e-14 | -18.8911
273.295 | 4.9225e-14 | -18.8555
273.165 | 4.3001e-14 | -18.8222
273.047 | 4.6508e-14 | -18.7858
272.929 | 4.2397e-14 | -18.7516
272.811 | 3.8739e-14 | -18.7169
272.69 | 4.3541e-14 | -18.6837
272.575 | 4.2227e-14 | -18.6508
272.463 | 4.4007e-14 | -18.6153
272.351 | 4.2428e-14 | -18.5812
272.236 | 4.5842e-14 | -18.5481
272.12 | 4.9681e-14 | -18.5153
271.984 | 4.6013e-14 | -18.4849
271.826 | 8.7496e-14 | -18.4568
271.547 | 4.4037e-14 | -18.4421
271.409 | 4.7592e-14 | -18.412
271.249 | 4.2653e-14 | -18.3843
271.131 | 3.874e-14 | -18.3503
271.019 | 4.4336e-14 | -18.3182
270.904 | 3.904e-14 | -18.2865
270.781 | 4.8772e-14 | -18.2558
270.665 | 3.8467e-14 | -18.2229
270.544 | 4.7978e-14 | -18.1916
270.429 | 4.6876e-14 | -18.1605
270.305 | 4.4883e-14 | -18.1303
270.19 | 4.3928e-14 | -18.1
270.076 | 4.3165e-14 | -18.0688
269.962 | 3.6649e-14 | -18.038
269.845 | 4.7178e-14 | -18.0078
269.714 | 4.1084e-14 | -17.9789
269.603 | 4.6513e-14 | -17.9485
269.483 | 4.096e-14 | -17.919
269.366 | 3.8756e-14 | -17.8895
269.252 | 5.3487e-14 | -17.8593
269.024 | 4.7886e-14 | -17.8418
268.835 | 3.8857e-14 | -17.82
268.718 | 4.8943e-14 | -17.791
268.604 | 4.1323e-14 | -17.7607
268.471 | 6.3081e-14 | -17.7332
268.232 | 4.9817e-14 | -17.7176
268.103 | 4.6633e-14 | -17.6904
267.991 | 5.6149e-14 | -17.6616
267.875 | 5.6548e-14 | -17.6326
267.731 | 3.6736e-14 | -17.6068
267.605 | 2.4544e-14 | -17.5794
267.486 | 3.2961e-14 | -17.5512
267.372 | 3.899e-14 | -17.5229
267.224 | 4.2931e-14 | -17.4969
267.077 | 4.2811e-14 | -17.4722
266.968 | 4.4159e-14 | -17.444
266.856 | 4.4971e-14 | -17.4158
266.75 | 4.2051e-14 | -17.3872
266.644 | 4.0449e-14 | -17.3585
266.543 | 4.0054e-14 | -17.3295
266.43 | 4.407e-14 | -17.3009
266.328 | 4.6029e-14 | -17.2724
266.224 | 4.092e-14 | -17.2443
266.116 | 4.4267e-14 | -17.2159
266.005 | 4.8453e-14 | -17.1884
265.903 | 4.0619e-14 | -17.1604
265.799 | 6.1286e-14 | -17.1328
265.617 | 4.8908e-14 | -17.1134
265.307 | 4.7516e-14 | -17.1074
265.109 | 3.5343e-14 | -17.09
264.946 | 4.1714e-14 | -17.0691
264.789 | 3.991e-14 | -17.0471
264.661 | 4.9709e-14 | -17.0223
264.496 | 5.0996e-14 | -17.0005
264.339 | 3.5798e-14 | -16.979
264.224 | 4.3865e-14 | -16.9537
264.107 | 3.9562e-14 | -16.9287
263.993 | 3.855e-14 | -16.9032
263.879 | 4.4383e-14 | -16.8777
263.766 | 4.0594e-14 | -16.8523
263.647 | 4.271e-14 | -16.8267
263.54 | 4.7496e-14 | -16.8009
263.433 | 4.241e-14 | -16.7742
263.31 | 3.98e-14 | -16.7493
263.215 | 4.0433e-14 | -16.7231
263.105 | 3.6294e-14 | -16.6971
263.002 | 4.2026e-14 | -16.6714
262.9 | 3.5059e-14 | -16.6457
262.799 | 3.7303e-14 | -16.62
262.695 | 4.0551e-14 | -16.5946
262.576 | 4.2841e-14 | -16.5709
262.471 | 4.1917e-14 | -16.5457
262.365 | 3.4837e-14 | -16.5211
262.254 | 3.0784e-14 | -16.4965
262.155 | 3.9285e-14 | -16.4716
262.057 | 4.0124e-14 | -16.4466
261.959 | 3.6897e-14 | -16.4214
261.863 | 4.1947e-14 | -16.396
261.763 | 3.6229e-14 | -16.3715
261.665 | 3.8466e-14 | -16.3468
261.566 | 4.0722e-14 | -16.3222
261.471 | 4.294e-14 | -16.2974
261.372 | 4.0618e-14 | -16.2732
261.274 | 3.5927e-14 | -16.2479
261.169 | 4.3019e-14 | -16.224
261.039 | 7.3224e-14 | -16.2029
260.806 | 3.8488e-14 | -16.1916
260.557 | 8.6206e-14 | -16.1817
260.178 | 3.1651e-14 | -16.1841
259.979 | 3.3739e-14 | -16.1698
259.795 | 4.129e-14 | -16.1539
259.632 | 3.8311e-14 | -16.1367
259.477 | 3.6064e-14 | -16.118
259.337 | 3.3872e-14 | -16.0981
259.201 | 3.6292e-14 | -16.078
259.064 | 3.7486e-14 | -16.0578
258.94 | 3.5852e-14 | -16.0364
258.822 | 3.8258e-14 | -16.0146
258.706 | 3.8265e-14 | -15.993
258.582 | 3.7066e-14 | -15.9718
258.472 | 3.2849e-14 | -15.9492
258.368 | 4.0457e-14 | -15.9265
258.263 | 3.4393e-14 | -15.9044
258.164 | 4.0563e-14 | -15.8815
258.058 | 3.6892e-14 | -15.8591
257.961 | 3.6009e-14 | -15.8362
257.864 | 3.9812e-14 | -15.8137
257.764 | 3.3077e-14 | -15.7904
257.66 | 3.098e-14 | -15.7683
257.558 | 3.8195e-14 | -15.7462
257.45 | 3.4431e-14 | -15.725
257.266 | 6.8236e-14 | -15.7096
256.857 | 3.1863e-14 | -15.7147
256.643 | 2.9148e-14 | -15.7025
256.445 | 3.1787e-14 | -15.6898
256.243 | 3.9623e-14 | -15.6769
256.052 | 3.6109e-14 | -15.6631
255.873 | 2.811e-14 | -15.6484
255.709 | 4.5517e-14 | -15.6323
255.545 | 3.3359e-14 | -15.6155
255.407 | 2.5815e-14 | -15.5979
255.273 | 6.632e-14 | -15.5795
254.944 | 2.2252e-14 | -15.5782
254.757 | 3.0003e-14 | -15.5644
254.417 | 2.9832e-14 | -15.5645
254.217 | 1.3881e-14 | -15.5522
254.085 | 7.028e-15 | -15.5328
253.954 | 1.0796e-14 | -15.5143
253.838 | -2.663e-15 | -15.4946
253.732 | 3.0098e-14 | -15.4746
253.628 | -6.5e-15 | -15.4544
253.529 | -5.584e-15 | -15.4339
253.431 | -1.7244e-14 | -15.4131
253.338 | -1.5526e-14 | -15.3921
253.239 | -1.9837e-14 | -15.3717
253.145 | -7.225e-15 | -15.3507
253.056 | -1.2055e-14 | -15.3295
252.97 | 3.73e-15 | -15.3081
252.874 | 2.8035e-14 | -15.286
252.782 | 4.4208e-14 | -15.2652
252.688 | 4.373e-14 | -15.2443
252.602 | 4.4862e-14 | -15.2231
252.516 | 5.1939e-14 | -15.2022
252.367 | 5.5648e-14 | -15.1862
252.09 | 1.0913e-13 | -15.181
251.727 | 4.2461e-14 | -15.1836
251.52 | 4.8339e-14 | -15.1722
251.295 | 5.2172e-14 | -15.1631
251.087 | 5.1253e-14 | -15.1523
250.883 | 5.3362e-14 | -15.1417
250.689 | 4.6829e-14 | -15.1303
250.51 | 4.9778e-14 | -15.1174
250.333 | 4.5864e-14 | -15.1044
250.185 | 3.9115e-14 | -15.0887
250.053 | 4.6229e-14 | -15.0719
249.924 | 4.7651e-14 | -15.0538
249.757 | 6.2351e-14 | -15.0393
249.581 | 3.2501e-14 | -15.0269
249.47 | 3.3881e-14 | -15.0085
249.36 | 3.2707e-14 | -14.9901
249.274 | 4.2026e-14 | -14.9697
249.187 | 4.224e-14 | -14.9495
249.098 | 3.9932e-14 | -14.9294
249.017 | 3.4537e-14 | -14.909
248.933 | 3.5293e-14 | -14.8892
248.85 | 3.0939e-14 | -14.8696
248.758 | 3.456e-14 | -14.8502
248.678 | 3.4304e-14 | -14.8303
248.6 | 3.6979e-14 | -14.8103
248.523 | 3.1937e-14 | -14.7902
248.44 | 3.5902e-14 | -14.7706
248.345 | 4.5613e-14 | -14.7522
248.051 | 2.4916e-14 | -14.7498
247.893 | 3.0473e-14 | -14.7363
247.774 | 2.3431e-14 | -14.7193
247.669 | 2.7152e-14 | -14.7017
247.54 | 7.0396e-14 | -14.6863
247.289 | 2.3289e-14 | -14.6805
247.177 | 2.3048e-14 | -14.6636
247.085 | 2.5154e-14 | -14.6445
246.989 | 2.9568e-14 | -14.6253
246.896 | 3.1132e-14 | -14.6071
246.811 | 3.4685e-14 | -14.5885
246.727 | 2.7178e-14 | -14.5692
246.646 | 2.68e-14 | -14.5504
246.56 | 3.2929e-14 | -14.5321
246.471 | 3.1973e-14 | -14.5138
246.387 | 2.1194e-14 | -14.4951
246.302 | 2.7487e-14 | -14.4762
246.226 | 3.3502e-14 | -14.4574
245.966 | 4.8195e-14 | -14.4526
245.74 | 2.2365e-14 | -14.4455
245.619 | 2.5544e-14 | -14.4303
245.506 | 3.4977e-14 | -14.4142
245.399 | 2.7626e-14 | -14.3979
245.278 | 3.2312e-14 | -14.3826
245.18 | 2.0339e-14 | -14.3656
245.089 | 3.7933e-14 | -14.3482
244.989 | 3.6641e-14 | -14.3314
244.852 | 4.6876e-14 | -14.3176
244.76 | 4.8131e-14 | -14.3007
244.674 | -3.593e-15 | -14.283
244.595 | 3.1031e-14 | -14.2638
244.51 | 4.2426e-14 | -14.2458
244.438 | 3.5804e-14 | -14.2273
244.372 | 3.5467e-14 | -14.2086
244.297 | 4.2587e-14 | -14.1907
244.224 | 3.6875e-14 | -14.1723
244.138 | 4.6197e-14 | -14.1546
244.027 | 3.0311e-14 | -14.1391
243.953 | 4.1884e-14 | -14.1213
243.878 | 3.3734e-14 | -14.1034
243.804 | 3.1332e-14 | -14.0858
243.726 | 3.3374e-14 | -14.0674
243.655 | 3.6071e-14 | -14.0495
243.586 | 3.8682e-14 | -14.0315
243.516 | 3.8198e-14 | -14.0137
243.443 | 3.6743e-14 | -13.9963
243.371 | 4.7938e-14 | -13.9784
243.15 | 9.6224e-14 | -13.9722
242.729 | 3.8719e-14 | -13.9804
242.525 | 4.437e-14 | -13.9726
242.312 | 4.3459e-14 | -13.9654
242.126 | 3.9945e-14 | -13.9559
241.971 | 4.8415e-14 | -13.9446
241.763 | 6.9872e-14 | -13.9373
241.527 | 4.4904e-14 | -13.9318
241.38 | 4.923e-14 | -13.92
241.245 | 4.0285e-14 | -13.9069
241.119 | 4.5872e-14 | -13.8935
241 | 4.4522e-14 | -13.8794
240.885 | 3.4662e-14 | -13.8653
240.779 | 4.3832e-14 | -13.8506
240.658 | 5.4915e-14 | -13.837
240.364 | 3.8072e-14 | -13.8359
240.232 | 4.7816e-14 | -13.8233
240.021 | 5.122e-14 | -13.8158
239.881 | 4.7087e-14 | -13.8037
239.773 | 4.582e-14 | -13.7883
239.661 | 5.0558e-14 | -13.7744
239.55 | 4.3819e-14 | -13.7604
239.447 | 5.2156e-14 | -13.7458
239.336 | 4.3657e-14 | -13.7322
239.232 | 5.1662e-14 | -13.7171
239.112 | 5.3026e-14 | -13.7036
238.863 | 4.973e-14 | -13.6988
238.703 | 4.2458e-14 | -13.6887
238.583 | 7.0729e-14 | -13.6756
238.361 | 3.7813e-14 | -13.6694
238.241 | 4.0925e-14 | -13.6561
238.134 | 4.3585e-14 | -13.6423
238.017 | 4.5779e-14 | -13.6288
237.874 | 4.7847e-14 | -13.6176
237.76 | 5.2179e-14 | -13.6042
237.639 | 4.0954e-14 | -13.5915
237.502 | 8.5602e-14 | -13.5798
237.068 | 5.3138e-14 | -13.589
236.737 | 3.0916e-14 | -13.5905
236.487 | 7.4879e-14 | -13.5867
236.007 | 3.295e-14 | -13.5989
235.751 | 3.7243e-14 | -13.5957
235.538 | 3.9426e-14 | -13.5897
235.364 | 4.2584e-14 | -13.581
235.202 | 4.5198e-14 | -13.571
235.037 | 4.2503e-14 | -13.5617
234.893 | 4.4341e-14 | -13.5509
234.757 | 4.6548e-14 | -13.5394
234.612 | 3.9146e-14 | -13.5285
234.482 | 4.8113e-14 | -13.5168
234.345 | 4.8382e-14 | -13.5056
234.222 | 4.007e-14 | -13.4932
234.086 | 3.9549e-14 | -13.4818
233.961 | 3.8952e-14 | -13.4699
233.836 | 3.3519e-14 | -13.458
233.699 | 4.2325e-14 | -13.447
233.558 | 4.2133e-14 | -13.4362
233.438 | 5.001e-14 | -13.4241
233.298 | 4.6477e-14 | -13.4133
233.163 | 3.7654e-14 | -13.4022
233.023 | 4.2237e-14 | -13.3915
232.895 | 4.014e-14 | -13.3796
232.753 | 3.8385e-14 | -13.3689
232.62 | 4.5565e-14 | -13.3576
232.478 | 3.9666e-14 | -13.3468
232.331 | 3.7128e-14 | -13.3363
232.172 | 3.5054e-14 | -13.327
232.024 | 4.1508e-14 | -13.3169
231.888 | 3.521e-14 | -13.306
231.736 | 2.9754e-14 | -13.2962
231.59 | 3.7088e-14 | -13.2861
231.435 | 3.0072e-14 | -13.2763
231.289 | 3.8131e-14 | -13.2663
231.065 | 6.7253e-14 | -13.2615
230.563 | 3.1234e-14 | -13.274
230.313 | 2.8709e-14 | -13.2706
229.977 | 5.4782e-14 | -13.2733
229.506 | 3.4173e-14 | -13.2846
229.194 | 2.9621e-14 | -13.2854
228.971 | 3.3035e-14 | -13.2804
228.757 | 4.134e-14 | -13.2748
228.572 | 3.4491e-14 | -13.2674
228.384 | 3.2943e-14 | -13.2595
228.201 | 2.471e-14 | -13.252
228.034 | 3.019e-14 | -13.2435
227.861 | 3.1705e-14 | -13.2352
227.67 | 3.2764e-14 | -13.2276
227.451 | 2.5326e-14 | -13.2226
227.257 | 3.8974e-14 | -13.216
227.093 | 3.1043e-14 | -13.2075
226.917 | 3.3517e-14 | -13.1997
226.753 | 3.0833e-14 | -13.1909
226.573 | 3.6346e-14 | -13.1834
226.404 | 3.4039e-14 | -13.1752
226.22 | 3.332e-14 | -13.1677
226.025 | 2.7406e-14 | -13.161
225.815 | 3.8619e-14 | -13.1554
225.551 | 3.4208e-14 | -13.1534
225.357 | 3.3666e-14 | -13.1469
225.143 | 3.4987e-14 | -13.1413
224.936 | 3.2157e-14 | -13.1359
224.741 | 2.8486e-14 | -13.1294
224.543 | 3.2725e-14 | -13.1232
224.36 | 3.04e-14 | -13.1163
224.164 | 2.7127e-14 | -13.1095
223.982 | 3.3491e-14 | -13.1024
223.784 | 3.3768e-14 | -13.0962
223.587 | 3.1248e-14 | -13.09
223.402 | 2.5649e-14 | -13.0829
223.201 | 3.0261e-14 | -13.0773
223.013 | 3.0427e-14 | -13.0707
222.814 | 3.5616e-14 | -13.065
222.554 | 2.9774e-14 | -13.0631
222.325 | 3.1885e-14 | -13.059
222.071 | 5.2886e-14 | -13.0564
221.679 | 4.0771e-14 | -13.0625
221.35 | 2.7576e-14 | -13.0649
221.12 | 3.414e-14 | -13.0609
220.874 | 3.5139e-14 | -13.0577
220.655 | 3.9763e-14 | -13.053
220.426 | 2.6174e-14 | -13.0489
220.202 | 2.6007e-14 | -13.0445
219.996 | 2.992e-14 | -13.0391
219.794 | 2.8973e-14 | -13.0337
219.576 | 3.0753e-14 | -13.0286
219.357 | 3.7641e-14 | -13.024
219.152 | 3.4917e-14 | -13.0186
218.931 | 3.0334e-14 | -13.0139
218.711 | 3.1655e-14 | -13.0094
218.51 | 3.025e-14 | -13.0037
218.293 | 3.4088e-14 | -12.9987
218.076 | 3.2055e-14 | -12.9939
217.873 | 3.2514e-14 | -12.9887
217.648 | 4.2386e-14 | -12.9845
217.415 | 4.2718e-14 | -12.9808
217.117 | 2.4756e-14 | -12.981
216.865 | 4.2088e-14 | -12.9783
216.581 | 4.5851e-14 | -12.978
216.274 | 4.0365e-14 | -12.9785
216.002 | 3.7051e-14 | -12.9767
215.76 | 3.9707e-14 | -12.9737
215.507 | 3.8178e-14 | -12.9713
215.279 | 3.3131e-14 | -12.9672
215.038 | 3.1354e-14 | -12.964
214.796 | 4.3873e-14 | -12.961
214.553 | 3.4342e-14 | -12.9581
214.306 | 2.8834e-14 | -12.9554
214.083 | 3.7387e-14 | -12.951
213.848 | 3.1089e-14 | -12.9476
213.612 | 3.1532e-14 | -12.9439
213.374 | 3.6307e-14 | -12.9404
213.131 | 3.7365e-14 | -12.9375
212.836 | 3.4472e-14 | -12.9376
212.561 | 3.9115e-14 | -12.9361
212.288 | 4.0824e-14 | -12.9352
212.013 | 4.1401e-14 | -12.934
211.757 | 4.506e-14 | -12.9317
211.473 | 3.4929e-14 | -12.931
211.186 | 4.0458e-14 | -12.9307
210.923 | 3.5404e-14 | -12.929
210.637 | 3.3098e-14 | -12.9282
210.347 | 3.6985e-14 | -12.9275
210.054 | 4.8336e-14 | -12.9274
209.777 | 3.7817e-14 | -12.9266
209.481 | 3.2294e-14 | -12.9264
209.181 | 4.2477e-14 | -12.9269
208.898 | 4.1571e-14 | -12.9264
208.592 | 3.8627e-14 | -12.9272
208.303 | 3.5753e-14 | -12.9269
207.994 | 3.8504e-14 | -12.9277
207.683 | 3.9326e-14 | -12.9288
207.393 | 3.862e-14 | -12.9285
207.078 | 4.0133e-14 | -12.93
206.759 | 3.3287e-14 | -12.9315
206.398 | 4.8237e-14 | -12.9348
206.056 | 4.2047e-14 | -12.9373
205.686 | 3.6861e-14 | -12.9416
205.32 | 3.0458e-14 | -12.9458
205.009 | 3.8163e-14 | -12.9468
204.675 | 4.4096e-14 | -12.9492
204.341 | 3.982e-14 | -12.9515
204.006 | 3.0462e-14 | -12.9534
203.659 | 3.8338e-14 | -12.9564
203.298 | 3.3955e-14 | -12.96
202.921 | 3.351e-14 | -12.9646
202.487 | 4.9419e-14 | -12.9725
202.052 | 3.4115e-14 | -12.9805
201.69 | 2.8831e-14 | -12.9844
201.311 | 3.606e-14 | -12.9892
200.956 | 2.5203e-14 | -12.9925
200.588 | 3.8224e-14 | -12.9968
200.227 | 2.8949e-14 | -13.0005
199.859 | 3.0515e-14 | -13.0044
199.447 | 2.8133e-14 | -13.0108
199.065 | 3.7087e-14 | -13.0155
198.64 | 3.1972e-14 | -13.0223
198.266 | 3.4777e-14 | -13.0267
197.862 | 4.3245e-14 | -13.0326
197.452 | 3.1207e-14 | -13.0387
197.099 | 3.318e-14 | -13.0417
196.728 | 4.0212e-14 | -13.046
196.341 | 3.8876e-14 | -13.0511
195.98 | 3.8901e-14 | -13.0545
195.579 | 2.935e-14 | -13.0602
195.177 | 3.7662e-14 | -13.066
194.791 | 3.8975e-14 | -13.0706
194.413 | 4.0651e-14 | -13.0752
193.968 | 4.7846e-14 | -13.0834
193.568 | 4.1285e-14 | -13.0891
193.153 | 4.184e-14 | -13.0951
192.738 | 3.7985e-14 | -13.1014
192.335 | 3.674e-14 | -13.1073
191.91 | 4.7415e-14 | -13.1143
191.446 | 3.4883e-14 | -13.1234
191.058 | 3.0246e-14 | -13.1281
190.635 | 3.3314e-14 | -13.135
190.226 | 3.3952e-14 | -13.1411
189.754 | 4.4142e-14 | -13.1502
189.243 | 3.4818e-14 | -13.1618
188.764 | 3.1764e-14 | -13.171
188.336 | 3.7508e-14 | -13.1779
187.927 | 1.9084e-14 | -13.1835
187.557 | 2.719e-14 | -13.1874
187.162 | 5.3035e-14 | -13.1921
186.762 | 7.151e-14 | -13.1972
186.352 | 4.9746e-14 | -13.2027
185.948 | -4.742e-15 | -13.2083
185.521 | 3.0397e-14 | -13.2147
185.139 | 1.767e-14 | -13.2191
184.749 | 3.09e-14 | -13.2233
184.35 | 4.3523e-14 | -13.2287
183.946 | 4.477e-14 | -13.2343
183.508 | 2.9326e-14 | -13.2415
183.103 | 3.6404e-14 | -13.2466
182.676 | 4.402e-14 | -13.2532
182.255 | 3.7351e-14 | -13.2595
181.834 | 3.8326e-14 | -13.2657
181.346 | 3.724e-14 | -13.2755
180.82 | 3.3507e-14 | -13.2873
180.349 | 3.2957e-14 | -13.2961
179.872 | 2.5451e-14 | -13.3053
179.395 | 2.9567e-14 | -13.3145
178.98 | 4.0858e-14 | -13.3204
178.531 | 2.8814e-14 | -13.328
178.087 | 2.4126e-14 | -13.3353
177.673 | 3.3906e-14 | -13.3411
177.226 | 2.4953e-14 | -13.3486
176.758 | 2.503e-14 | -13.3572
176.325 | 2.8273e-14 | -13.3635
175.929 | 2.6943e-14 | -13.3682
175.489 | 2.6736e-14 | -13.3754
175.065 | 3.5353e-14 | -13.3814
174.646 | 2.8391e-14 | -13.3873
174.233 | 3.1361e-14 | -13.3925
173.837 | 2.3168e-14 | -13.3973
173.415 | 3.9595e-14 | -13.4032
172.993 | 3.7381e-14 | -13.4091
172.589 | 3.5199e-14 | -13.4139
172.211 | 4.5026e-14 | -13.4176
171.763 | 3.7559e-14 | -13.4248
171.304 | 4.425e-14 | -13.4327
170.845 | 3.954e-14 | -13.4406
170.311 | 3.7257e-14 | -13.4519
169.888 | 4.3299e-14 | -13.4577
169.421 | 4.6096e-14 | -13.4657
168.858 | 4.378e-14 | -13.4788
168.218 | 1.2653e-14 | -13.4954
167.631 | -1.382e-15 | -13.5097
167.143 | 7.028e-14 | -13.5189
166.633 | 3.6494e-14 | -13.5291
166.09 | 2.9872e-14 | -13.5409
165.474 | 5.0481e-14 | -13.5564
164.895 | 3.8346e-14 | -13.5701
164.33 | 2.9827e-14 | -13.5827
163.813 | 1.9475e-14 | -13.5931
163.295 | 6.1544e-14 | -13.6036
162.649 | 2.806e-14 | -13.6204
161.949 | 6.427e-15 | -13.6398
161.204 | 1.7311e-14 | -13.6617
160.499 | -2.9005e-14 | -13.6815
159.85 | -2.3934e-13 | -13.6977
159.174 | -8.7863e-14 | -13.715
158.518 | -6.265e-15 | -13.7315
157.751 | 6.418e-15 | -13.7541
156.91 | 8.294e-15 | -13.78
156.072 | -7.009e-15 | -13.8063
155.386 | 1.3783e-14 | -13.8247
154.553 | 2.9218e-14 | -13.8502
153.581 | 2.5967e-14 | -13.8822
152.549 | 2.1071e-14 | -13.9176
151.177 | 3.3554e-14 | -13.9697
149.674 | 4.2367e-14 | -14.0285
148.092 | 2.0844e-14 | -14.0911
146.515 | 1.099e-14 | -14.1533
145.091 | 1.5636e-14 | -14.2074
143.962 | -8.068e-15 | -14.247
142.971 | -1.8098e-14 | -14.2799
142.18 | 1.5305e-14 | -14.3026
141.401 | 6.1115e-14 | -14.3248
140.495 | 7.3608e-14 | -14.3531
139.488 | 4.832e-14 | -14.3862
138.569 | 2.9757e-14 | -14.4153
137.682 | 2.4616e-14 | -14.4425
136.927 | 7.404e-15 | -14.4632
136.273 | 5.4983e-14 | -14.4789
135.503 | 5.4012e-14 | -14.5002
134.429 | 5.7838e-14 | -14.5364
133.043 | 6.0508e-14 | -14.5877
131.461 | 5.3976e-14 | -14.6484
129.867 | 2.3789e-14 | -14.7092
128.364 | 2.0154e-14 | -14.7659
127.042 | 5.919e-15 | -14.8128
126.01 | 1.155e-14 | -14.846
125.193 | 1.7775e-14 | -14.8684
124.498 | 7.1045e-14 | -14.8854
123.536 | 5.5077e-14 | -14.9155
122.277 | 4.7479e-14 | -14.9597
120.911 | 5.8314e-14 | -15.009
119.6 | 2.7494e-14 | -15.0547
118.494 | 1.8487e-14 | -15.0912
117.645 | 3.5417e-14 | -15.1154
116.76 | 4.7727e-14 | -15.1412
115.821 | 6.7696e-14 | -15.1696
114.744 | 5.453e-14 | -15.2043
113.797 | 3.5555e-14 | -15.2325
113.041 | 4.0278e-14 | -15.2521
112.378 | 4.3263e-14 | -15.2664
111.724 | 4.6881e-14 | -15.2802
111.202 | 4.2012e-14 | -15.2882
110.794 | 4.4619e-14 | -15.2907
110.056 | 7.0609e-14 | -15.3088
108.809 | 8.712e-14 | -15.3512
107.141 | 7.4223e-14 | -15.4133
105.409 | 5.3068e-14 | -15.4786
103.719 | 2.6241e-14 | -15.5408
102.632 | -1.3623e-14 | -15.5754
101.818 | 1.7214e-14 | -15.5967
100.717 | 1.43e-14 | -15.6313
99.5133 | 6.5056e-14 | -15.6706
98.4047 | 3.2135e-14 | -15.7052
97.6023 | 4.3256e-14 | -15.7261
96.5844 | 5.5104e-14 | -15.7569
94.7709 | 4.8151e-14 | -15.8249
91.7655 | 7.395e-15 | -15.9486
88.5328 | -6.6291e-14 | -16.0824
86.9378 | -3.2465e-14 | -16.1395
86.3468 | -4.4373e-14 | -16.1494
86.2188 | -2.1406e-14 | -16.1381
85.8382 | 6.6316e-14 | -16.1384
83.7262 | 3.7009e-14 | -16.2193
82.7581 | -1.3475e-13 | -16.247
81.8836 | 1.5332e-12 | -16.2557
81.2572 | -1.4322e-13 | -16.2096
81.1857 | 2.2205e-13 | -16.195
81.1302 | -4.1351e-14 | -16.1803
81.0917 | -3.2064e-14 | -16.1647
81.0559 | -1.5575e-14 | -16.1488
81.033 | 1.6831e-14 | -16.1323
81.0208 | 1.3422e-13 | -16.1156
81.0057 | 1.4646e-13 | -16.0986
81.0015 | 1.482e-14 | -16.0818
80.9882 | -3.0855e-14 | -16.0652
80.9785 | -1.7895e-14 | -16.0486
80.9665 | 8.7877e-14 | -16.0315
80.9499 | 1.6806e-13 | -16.0147
80.9513 | 1.3381e-13 | -15.9975
80.9336 | -6.0502e-14 | -15.9813
80.9283 | -5.8175e-14 | -15.9646
80.9226 | -3.6144e-14 | -15.9479
80.9264 | 4.0566e-13 | -15.9307
80.9264 | 1.3202e-13 | -15.9138

## Pulse
Temperature | Current | Time
80.9174 | 7.501e-14 | 6.2638
80.8441 | -1.9458e-14 | 12.2573
80.6201 | 1.2128e-14 | 13.6948
80.5637 | 1.3106e-14 | 15.1274
80.512 | 2.7739e-14 | 16.5591
80.4573 | 2.6049e-14 | 18.0193
80.4149 | 2.3303e-14 | 19.4651
80.3743 | 2.9247e-14 | 20.8844
80.3393 | 1.8185e-14 | 22.3178
80.3034 | 2.3517e-14 | 23.7822
80.2598 | 3.0583e-14 | 25.2128
80.1483 | 3.2132e-14 | 26.6404
80.0847 | 3.2875e-14 | 28.0651
80.0401 | 2.8711e-14 | 29.4733

## Measurements
Temperature | Current | Temp Rate
80.0349 | -6.2313e-13 | 0
81.5066 | -9.155e-14 | 7.9424
83.8146 | -4.5433e-14 | 13.06
86.1112 | 1.4727e-14 | 18.4486
87.0958 | -4.5419e-14 | 18.4415
87.3645 | 5.7036e-14 | 18.4417
87.6589 | 2.5568e-13 | 18.4427
88.0078 | -1.0447e-13 | 18.3715
88.2913 | -1.9037e-14 | 18.3084
88.5476 | -7.3e-17 | 18.2891
88.8881 | -3.59e-14 | 29.1474
89.1655 | 3.8356e-14 | 52.2912
89.4997 | -5.4353e-14 | 87.1092
89.7749 | -3.17e-15 | 186.5626
90.1026 | -1.5157e-14 | 277.5306
90.3727 | 3.0092e-14 | 15.3042
90.6919 | 1.8352e-14 | 15.3092
91.0114 | 8.195e-15 | 15.3518
91.2756 | 5.366e-15 | 706.9694
91.5975 | 8.0159e-14 | 15.3914
91.8613 | 5.104e-15 | 15.383
92.176 | -8.237e-15 | 15.4086
92.483 | 3.718e-14 | 15.3972
92.7392 | 1.6229e-14 | 15.4069
93.0443 | -9.61e-15 | 15.3934
93.3733 | -2.712e-15 | 15.3797
93.6698 | -1.0459e-13 | 15.363
93.9672 | -2.7722e-14 | 15.3701
94.263 | -1.6307e-14 | 15.3536
94.5603 | 3.807e-15 | 15.344
94.8569 | 5.236e-15 | 15.3308
95.152 | 1.4179e-13 | 15.3168
95.4693 | -3.256e-15 | 15.3013
95.7668 | -3.5725e-14 | 15.2862
96.0583 | -1.4343e-14 | 15.2887
96.3779 | -6.4577e-14 | 15.2674
96.6749 | -3.2212e-14 | 15.2524
96.9701 | 8.613e-15 | 15.2577
97.2882 | 4.529e-15 | 15.2402
97.5861 | -7.393e-15 | 15.226
97.8827 | -1.9185e-14 | 15.2311
98.1764 | 1.3301e-14 | 15.2193
98.4738 | 5.1036e-14 | 15.2099
98.798 | -3.3328e-11 | 14.9754
99.2679 | 2.6737e-12 | 15.1939
99.4948 | -1.9599e-11 | 15.1649
99.6944 | -2.2252e-12 | 15.1938
99.9434 | -4.1777e-12 | 15.2021
100.243 | -5.8655e-14 | 14.3645
101.893 | -3.8895e-14 | 15.1638
102.887 | 4.712e-15 | 15.1491
103.211 | 4.79e-16 | 15.1437
103.507 | -2.317e-15 | 15.1453
103.806 | -9.609e-15 | 15.1438
104.057 | -7.38e-16 | 15.1436
104.356 | 1.2197e-14 | 15.1342
104.682 | 3.933e-15 | 15.127
104.984 | 7.086e-15 | 15.1354
105.285 | 1.783e-14 | 15.1333
105.586 | 1.3086e-14 | 15.1329
105.914 | 1.3128e-14 | 15.1272
106.139 | 5.327e-15 | 15.1316
106.465 | 3.607e-15 | 15.1252
106.767 | 1.5756e-14 | 15.1294
107.097 | 7.6887e-14 | 15.1356
107.398 | 8.497e-15 | 15.1309
107.73 | -8.1188e-13 | 15.1282
107.959 | -4.7791e-13 | 15.1316
108.285 | -4.6679e-13 | 15.1363
108.609 | 1.5832e-11 | 14.964
109.09 | -2.1691e-12 | 15.1164
109.262 | -1.7526e-11 | 15.1189
109.462 | 2.1726e-11 | 15.1163
109.782 | -6.8921e-12 | 15.1016
110.107 | -9.3541e-13 | 14.5611
111.71 | 1.888e-14 | 14.9758
112.687 | -2.2959e-14 | 14.5934
114.301 | 2.8677e-14 | 15.1049
115.335 | 1.6261e-14 | 15.1116
115.562 | 2.0452e-14 | 15.1189
115.863 | 2.1129e-14 | 15.1166
116.191 | 3.0083e-14 | 15.1126
116.502 | 1.8485e-14 | 15.1179
116.83 | 2.7082e-14 | 15.1159
117.055 | 1.898e-14 | 15.121
117.382 | 2.7334e-14 | 15.1152
117.685 | 2.7334e-14 | 15.1174
117.958 | 2.6389e-14 | 15.1153
118.258 | 1.6838e-14 | 15.118
118.604 | 2.0246e-14 | 15.1082
118.902 | 2.7503e-14 | 15.1123
119.149 | 2.7442e-14 | 15.1132
119.445 | 2.2643e-14 | 15.1066
119.764 | 2.4668e-14 | 15.1058
120.04 | 2.0969e-14 | 15.1078
120.357 | 3.0892e-14 | 15.1005
120.695 | 2.1016e-14 | 15.0926
120.994 | 2.1152e-14 | 15.0949
121.312 | 2.3279e-14 | 15.0886
121.608 | 3.101e-14 | 15.0912
121.904 | 2.3685e-14 | 15.0852
122.228 | 2.7205e-14 | 15.0813
122.451 | 2.2346e-14 | 15.0839
122.778 | 2.3436e-14 | 15.0793
123.076 | 2.5051e-14 | 15.0857
123.378 | 2.3193e-14 | 15.0829
123.706 | 2.8372e-14 | 15.0808
124.007 | 2.7821e-14 | 15.0815
124.308 | 2.4308e-14 | 15.085
124.561 | 2.1995e-14 | 15.0799
124.89 | 3.1923e-14 | 15.0808
125.195 | 2.345e-14 | 15.0861
125.446 | 2.1259e-14 | 15.0878
125.781 | 2.2279e-14 | 15.0868
126.091 | 2.3973e-14 | 15.0931
126.424 | 3.287e-14 | 15.0892
126.652 | 3.4636e-14 | 15.0941
126.993 | 2.8193e-14 | 15.0889
127.279 | 3.0589e-14 | 15.0996
127.553 | 3.285e-14 | 15.0976
127.896 | 3.0282e-14 | 15.0924
128.191 | 2.4472e-14 | 15.0958
128.435 | 2.6297e-14 | 15.0924
128.779 | 2.1758e-14 | 15.0835
129.099 | 2.2418e-14 | 15.0889
129.395 | 2.5248e-14 | 15.0841
129.645 | 3.8346e-14 | 15.0847
129.962 | 2.5699e-14 | 15.0811
130.293 | 2.1895e-14 | 15.0856
130.619 | 2.4925e-14 | 15.082
130.842 | 2.5646e-14 | 15.0777
131.192 | 2.4293e-14 | 15.0794
131.445 | 2.4623e-14 | 15.0836
131.772 | 2.6037e-14 | 15.0801
132.071 | 2.4808e-14 | 15.0836
132.401 | 2.5789e-14 | 15.078
132.727 | 1.6297e-14 | 15.0802
132.955 | 2.491e-14 | 15.0848
133.256 | 2.565e-14 | 15.0815
133.584 | 2.1262e-14 | 15.0845
133.886 | 2.9761e-14 | 15.0821
134.14 | 2.6246e-14 | 15.0844
134.468 | 3.0129e-14 | 15.0854
134.794 | 2.5295e-14 | 15.08
135.047 | 2.8292e-14 | 15.0829
135.374 | 2.4602e-14 | 15.0851
135.701 | 2.6701e-14 | 15.0857
135.954 | 2.7447e-14 | 15.0841
136.28 | 2.9766e-14 | 15.0851
136.608 | 2.7254e-14 | 15.0865
136.858 | 2.6844e-14 | 15.0822
137.238 | 3.9367e-14 | 15.0821
137.461 | 3.5591e-14 | 15.0857
137.784 | 3.0323e-14 | 15.0794
138.106 | 2.5147e-14 | 15.0809
138.403 | 3.0839e-14 | 15.0811
138.651 | 2.6459e-14 | 15.0811
138.975 | 2.9429e-14 | 15.0749
139.299 | 1.7918e-14 | 15.0761
139.599 | 1.8385e-14 | 15.0779
139.848 | 2.2799e-14 | 15.0793
140.148 | 2.2524e-14 | 15.0769
140.474 | 3.0594e-14 | 15.0787
140.75 | 2.9537e-14 | 15.0752
141.077 | 2.4838e-14 | 15.0772
141.402 | 3.1568e-14 | 15.0735
141.705 | 2.7143e-14 | 15.0775
141.955 | 3.2384e-14 | 15.0783
142.283 | 2.9232e-14 | 15.0745
142.585 | 2.3549e-14 | 15.0788
142.911 | 1.6707e-14 | 15.0748
143.136 | 2.4022e-14 | 15.0764
143.463 | 2.7408e-14 | 15.0748
143.763 | 2.6666e-14 | 15.0775
144.065 | 2.7888e-14 | 15.076
144.391 | 2.8037e-14 | 15.0771
144.693 | 3.4151e-14 | 15.0765
145.02 | 2.5736e-14 | 15.074
145.246 | 2.3517e-14 | 15.0726
145.57 | 2.484e-14 | 15.0751
145.897 | 2.2296e-14 | 15.0723
146.199 | 2.8244e-14 | 15.0748
146.45 | 2.8159e-14 | 15.0777
146.75 | 2.9841e-14 | 15.0746
147.076 | 2.4988e-14 | 15.0725
147.377 | 2.7724e-14 | 15.0743
147.704 | 3.3997e-14 | 15.0767
147.954 | 2.1371e-14 | 15.0763
148.251 | 2.8264e-14 | 15.0735
148.572 | 2.2493e-14 | 15.0698
148.868 | 2.341e-14 | 15.0728
149.19 | 2.2611e-14 | 15.0686
149.486 | 3.346e-14 | 15.0709
149.784 | 2.7705e-14 | 15.0678
150.104 | 2.2914e-14 | 15.0684
150.431 | 2.8893e-14 | 15.0648
150.68 | 2.7759e-14 | 15.0657
150.979 | 3.2535e-14 | 15.0658
151.306 | 2.4783e-14 | 15.0659
151.555 | 2.2339e-14 | 15.0666
151.883 | 3.1706e-14 | 15.0654
152.232 | 2.7645e-14 | 15.0645
152.458 | 2.7687e-14 | 15.0666
152.786 | 3.2258e-14 | 15.0659
153.037 | 2.3954e-14 | 15.0654
153.363 | 3.1608e-14 | 15.0659
153.688 | 3.625e-14 | 15.0605
153.941 | 3.0786e-14 | 15.0661
154.266 | 2.4435e-14 | 15.0666
154.592 | 2.9242e-14 | 15.0666
154.845 | 2.7731e-14 | 15.0651
155.173 | 2.3449e-14 | 15.0664
155.497 | 2.4626e-14 | 15.0651
155.748 | 2.6499e-14 | 15.0657
156.074 | 2.4359e-14 | 15.0634
156.401 | 2.1634e-14 | 15.0637
156.728 | 2.6965e-14 | 15.0647
156.953 | 2.843e-14 | 15.0668
157.278 | 2.6829e-14 | 15.063
157.605 | 2.8274e-14 | 15.0649
157.907 | 2.64e-14 | 15.0666
158.158 | 2.7558e-14 | 15.0645
158.484 | 2.8395e-14 | 15.0669
158.81 | 2.1424e-14 | 15.0611
159.061 | 1.501e-14 | 15.0657
159.387 | 2.4872e-14 | 15.0625
159.711 | 2.7737e-14 | 15.0635
160.008 | 2.211e-14 | 15.0644
160.256 | 2.178e-14 | 15.0644
160.578 | 2.237e-14 | 15.0642
160.95 | 2.5846e-14 | 15.0618
161.149 | 2.337e-14 | 15.0603
161.499 | 2.8071e-14 | 15.0585
161.798 | 2.3031e-14 | 15.0606
162.048 | 1.5743e-14 | 15.0615
162.373 | 2.4549e-14 | 15.0591
162.673 | 2.6583e-14 | 15.0611
162.998 | 2.5394e-14 | 15.0614
163.298 | 1.8239e-14 | 15.0592
163.55 | 1.8271e-14 | 15.0583
163.875 | 1.8772e-14 | 15.0592
164.202 | 2.7074e-14 | 15.0605
164.501 | 2.2625e-14 | 15.0584
164.753 | 2.3782e-14 | 15.0605
165.079 | 2.025e-14 | 15.0576
165.379 | 2.1042e-14 | 15.0594
165.705 | 2.3979e-14 | 15.0572
166.005 | 2.9694e-14 | 15.0588
166.281 | 2.6338e-14 | 15.058
166.581 | 2.1492e-14 | 15.0602
166.882 | 2.0891e-14 | 15.0582
167.207 | 2.5642e-14 | 15.059
167.533 | 2.1422e-14 | 15.0578
167.785 | 2.3687e-14 | 15.0576
168.087 | 2.7737e-14 | 15.06
168.336 | 2.1365e-14 | 15.0599
168.638 | 1.9876e-14 | 15.0579
168.964 | 2.0351e-14 | 15.0596
169.29 | 2.2859e-14 | 15.0574
169.59 | 2.5135e-14 | 15.0582
169.838 | 2.5983e-14 | 15.0586
170.14 | 1.8953e-14 | 15.0576
170.466 | 2.6269e-14 | 15.0584
170.793 | 2.3673e-14 | 15.0563
171.093 | 2.6247e-14 | 15.0579
171.342 | 2.4488e-14 | 15.0583
171.666 | 2.0978e-14 | 15.058
171.987 | 2.3978e-14 | 15.0575
172.307 | 1.9424e-14 | 15.0547
172.58 | 2.0462e-14 | 15.053
172.877 | 1.4453e-14 | 15.0535
173.202 | 2.3759e-14 | 15.0549
173.45 | 2.0669e-14 | 15.0543
173.775 | 2.1186e-14 | 15.0492
174.099 | 2.1765e-14 | 15.0511
174.349 | 1.6243e-14 | 15.0518
174.7 | 2.0008e-14 | 15.0518
175 | 1.8512e-14 | 15.0531
175.251 | 4.2505e-14 | 15.0508
175.602 | 3.491e-14 | 15.0509
175.927 | 5.2396e-14 | 15.0513
176.152 | 3.1475e-14 | 15.0517
176.479 | 3.531e-15 | 15.0533
176.806 | 1.8876e-14 | 15.0504
177.134 | 2.0016e-14 | 15.0517
177.389 | 1.0923e-14 | 15.0529
177.64 | 1.3989e-14 | 15.0531
177.97 | 1.7458e-14 | 15.054
178.298 | 1.6798e-14 | 15.0532
178.577 | 1.8221e-14 | 15.0536
178.88 | 1.4841e-14 | 15.0529
179.208 | 1.6828e-14 | 15.0535
179.509 | 2.6804e-14 | 15.0552
179.76 | 1.3544e-14 | 15.0548
180.087 | 8.071e-15 | 15.0547
180.338 | 2.0172e-14 | 15.0555
180.663 | 1.5342e-14 | 15.0531
180.958 | 5.242e-15 | 15.0541
181.282 | 2.0292e-14 | 15.053
181.606 | 1.1489e-14 | 15.0508
181.855 | 1.4619e-14 | 15.0526
182.178 | 1.2492e-14 | 15.0519
182.497 | 1.7171e-14 | 15.0524
182.747 | 1.1457e-14 | 15.0517
183.068 | 7.814e-15 | 15.0516
183.389 | 1.0652e-14 | 15.0506
183.638 | 1.4715e-14 | 15.0498
183.961 | 1.3182e-14 | 15.0475
184.284 | 1.7519e-14 | 15.0487
184.605 | 1.2672e-14 | 15.0464
184.852 | 1.2112e-14 | 15.0475
185.173 | 9.36e-15 | 15.0453
185.493 | 7.667e-15 | 15.0448
185.79 | 1.9666e-14 | 15.0449
186.064 | 2.1334e-14 | 15.0445
186.363 | 7.954e-15 | 15.0459
186.686 | 2.3349e-14 | 15.0428
186.939 | 2.321e-14 | 15.0446
187.262 | 1.8576e-14 | 15.0442
187.613 | 1.5435e-14 | 15.0426
187.865 | 1.1685e-14 | 15.0434
188.19 | 1.392e-14 | 15.044
188.493 | 1.9344e-14 | 15.0449
188.744 | 1.9189e-14 | 15.0447
189.072 | 1.6067e-14 | 15.0456
189.4 | 2.3406e-14 | 15.044
189.726 | 2.1335e-14 | 15.044
189.949 | 2.9049e-14 | 15.0445
190.305 | 1.4051e-14 | 15.044
190.609 | 1.9838e-14 | 15.0455
190.885 | 2.0039e-14 | 15.0452
191.187 | 1.8655e-14 | 15.0468
191.489 | 1.489e-14 | 15.046
191.742 | 2.3157e-14 | 15.0463
192.069 | 1.6722e-14 | 15.0449
192.396 | 1.4313e-14 | 15.0461
192.696 | 1.6125e-14 | 15.0475
192.946 | 1.9843e-14 | 15.0462
193.275 | 8.0961e-14 | 15.0474
193.601 | 5.6401e-14 | 15.0451
193.851 | 3.1623e-14 | 15.0474
194.179 | 2.5851e-14 | 15.0477
194.505 | 2.313e-14 | 15.0484
194.759 | 2.263e-14 | 15.0471
195.108 | 1.4312e-14 | 15.0468
195.41 | 1.6365e-14 | 15.0482
195.66 | 1.6453e-14 | 15.0476
195.986 | 1.3231e-14 | 15.0473
196.236 | 2.4116e-14 | 15.0462
196.587 | 1.7109e-14 | 15.0455
196.84 | 1.9046e-14 | 15.0483
197.165 | 2.1213e-14 | 15.0481
197.49 | 2.1188e-14 | 15.0462
197.789 | 2.3039e-14 | 15.0466
198.065 | 1.8875e-14 | 15.0463
198.367 | 2.4923e-14 | 15.0475
198.688 | 2.272e-14 | 15.0458
198.987 | 2.5748e-14 | 15.0464
199.335 | 2.348e-14 | 15.0442
199.582 | 1.8135e-14 | 15.0464
199.904 | 1.527e-14 | 15.0441
200.177 | 1.1095e-14 | 15.0437
200.502 | 1.5034e-14 | 15.0449
200.776 | 2.0112e-14 | 15.0432
201.103 | 1.6555e-14 | 15.0432
201.352 | 1.4263e-14 | 15.0451
201.704 | 1.218e-14 | 15.0418
202.027 | 1.5224e-14 | 15.0432
202.304 | 1.289e-14 | 15.0436
202.579 | 1.5616e-14 | 15.0434
202.879 | 1.7473e-14 | 15.0439
203.204 | 1.4335e-14 | 15.0423
203.532 | 1.6578e-14 | 15.0433
203.782 | 1.5646e-14 | 15.0422
204.108 | 2.0036e-14 | 15.0422
204.36 | 1.2789e-14 | 15.0434
204.711 | 1.4662e-14 | 15.0425
204.961 | 1.3553e-14 | 15.0443
205.312 | 1.445e-14 | 15.0419
205.563 | 1.5283e-14 | 15.0423
205.865 | 1.6297e-14 | 15.0436
206.215 | 1.2663e-14 | 15.0422
206.467 | 9.521e-15 | 15.0422
206.791 | 1.164e-14 | 15.0439
207.068 | 1.7582e-14 | 15.0437
207.343 | 1.7939e-14 | 15.0445
207.669 | 9.303e-15 | 15.0417
207.993 | 1.5135e-14 | 15.0432
208.269 | 1.7606e-14 | 15.0421
208.594 | 1.3528e-14 | 15.0441
208.846 | 1.1769e-14 | 15.0425
209.196 | 1.0545e-14 | 15.042
209.52 | 1.7345e-14 | 15.0418
209.771 | 1.3979e-14 | 15.0428
210.048 | 1.1799e-14 | 15.0439
210.347 | 1.2483e-14 | 15.0433
210.697 | 1.1971e-14 | 15.0418
211.023 | 1.0597e-14 | 15.0424
211.248 | 1.3962e-14 | 15.043
211.574 | 1.4678e-14 | 15.0435
211.9 | 9.325e-15 | 15.0427
212.175 | 1.1308e-14 | 15.0407
212.5 | 8.806e-15 | 15.0434
212.75 | 1.1978e-14 | 15.0431
213.075 | 1.3464e-14 | 15.0423
213.348 | 1.6848e-14 | 15.0432
213.67 | 3.755e-15 | 15.0426
213.992 | 1.1892e-14 | 15.0423
214.316 | 7.678e-15 | 15.0404
214.563 | 6.703e-15 | 15.0404
214.862 | -5.629e-15 | 15.0402
215.184 | 6.835e-15 | 15.0402
215.435 | 5.318e-15 | 15.0402
215.834 | -3.915e-15 | 15.0389
216.082 | 3.956e-15 | 15.0383
216.381 | 6.131e-15 | 15.0396
216.705 | 8.28e-15 | 15.0377
217.006 | 9.414e-15 | 15.0388
217.28 | 6.003e-15 | 15.0386
217.606 | 3.675e-15 | 15.0388
217.879 | -4.531e-15 | 15.0381
218.179 | -5.661e-15 | 15.0391
218.505 | 6.1e-16 | 15.0387
218.756 | 2.445e-15 | 15.0387
219.082 | 2.789e-15 | 15.0373
219.412 | -3.819e-15 | 15.0367
219.692 | -9.601e-15 | 15.0389
219.945 | -7.889e-15 | 15.0407
220.276 | -3.578e-15 | 15.0394
220.604 | -7.644e-15 | 15.0412
220.885 | -8.391e-15 | 15.0402
221.213 | -9.832e-15 | 15.0405
221.461 | -2.81e-15 | 15.0403
221.788 | 3.941e-15 | 15.0399
222.035 | 1.53e-16 | 15.0406
222.36 | -1.4694e-14 | 15.0412
222.684 | -1.4111e-14 | 15.041
223.007 | -8.944e-15 | 15.0412
223.33 | -9.324e-15 | 15.0396
223.579 | -1.9739e-14 | 15.0394
223.903 | -2.0251e-14 | 15.0397
224.151 | -2.2157e-14 | 15.0387
224.476 | -1.9326e-14 | 15.0394
224.825 | -2.3016e-14 | 15.0377
225.076 | -2.2617e-14 | 15.0396
225.4 | -2.3748e-14 | 15.0386
225.65 | -2.6151e-14 | 15.0386
226.001 | -2.0881e-14 | 15.0376
226.325 | -2.775e-14 | 15.0382
226.576 | -3.0496e-14 | 15.0371
226.876 | -3.1003e-14 | 15.0382
227.2 | -3.2605e-14 | 15.0389
227.452 | -2.9122e-14 | 15.0387
227.775 | -2.8614e-14 | 15.0385
228.099 | -3.3668e-14 | 15.0357
228.371 | -3.1842e-14 | 15.0369
228.69 | -3.6575e-14 | 15.0379
228.939 | -3.6803e-14 | 15.036
229.289 | -3.3212e-14 | 15.0363
229.588 | -3.5539e-14 | 15.0366
229.835 | -4.5082e-14 | 15.0366
230.159 | -3.9988e-14 | 15.0367
230.485 | -2.7164e-14 | 15.0369
230.737 | -3.2146e-14 | 15.0357
231.062 | -3.7903e-14 | 15.0357
231.39 | -3.9309e-14 | 15.0361
231.669 | -3.8296e-14 | 15.0359
231.995 | -3.273e-14 | 15.0343
232.247 | -2.8312e-14 | 15.0359
232.597 | -4.153e-14 | 15.0361
232.897 | -4.091e-14 | 15.0366
233.172 | -3.7651e-14 | 15.035
233.498 | -3.9328e-14 | 15.0352
233.772 | -3.3052e-14 | 15.0357
234.096 | -3.6156e-14 | 15.0355
234.346 | -3.6089e-14 | 15.0361
234.696 | -3.7215e-14 | 15.0356
235.021 | -3.4869e-14 | 15.0354
235.271 | -3.3438e-14 | 15.0354
235.597 | -2.7399e-14 | 15.036
235.848 | -2.9883e-14 | 15.0362
236.172 | -3.8666e-14 | 15.0367
236.498 | -3.6729e-14 | 15.0362
236.774 | -2.7756e-14 | 15.0355
237.098 | -3.2082e-14 | 15.0353
237.349 | -3.2141e-14 | 15.0361
237.675 | -3.574e-14 | 15.0357
237.95 | -3.2601e-14 | 15.0359
238.275 | -2.9971e-14 | 15.0361
238.599 | -2.8072e-14 | 15.0357
238.874 | -3.1224e-14 | 15.0345
239.2 | -3.5278e-14 | 15.033
239.452 | -3.544e-14 | 15.0352
239.801 | -3.2224e-14 | 15.034
240.052 | -3.574e-14 | 15.0354
240.377 | -3.1018e-14 | 15.0356
240.702 | -3.4111e-14 | 15.0356
240.952 | -3.5247e-14 | 15.0353
241.303 | -3.3177e-14 | 15.0353
241.579 | -2.9534e-14 | 15.0343
241.902 | -2.825e-14 | 15.0342
242.154 | -3.2474e-14 | 15.0343
242.554 | -2.8286e-14 | 15.0356
242.83 | -3.0235e-14 | 15.0336
243.105 | -3.3049e-14 | 15.0338
243.356 | -2.7779e-14 | 15.0355
243.682 | -2.6338e-14 | 15.0335
244.006 | -2.325e-14 | 15.0337
244.253 | -2.307e-14 | 15.0339
244.574 | -2.482e-14 | 15.0342
244.896 | -2.97e-14 | 15.0334
245.169 | -3.1379e-14 | 15.0326
245.492 | -2.4602e-14 | 15.0322
245.816 | -2.3996e-14 | 15.0323
246.067 | -2.9596e-14 | 15.0338
246.39 | -3.0557e-14 | 15.0335
246.639 | -3.5693e-14 | 15.0322
246.99 | -2.3516e-14 | 15.0318
247.239 | -2.2826e-14 | 15.0326
247.566 | -2.688e-14 | 15.033
247.891 | -3.1983e-14 | 15.0324
248.166 | -3.1321e-14 | 15.0313
248.493 | -3.4041e-14 | 15.0307
248.743 | -3.0596e-14 | 15.0328
249.068 | -3.2569e-14 | 15.0326
249.394 | -3.4272e-14 | 15.033
249.646 | -3.3491e-14 | 15.0325
249.971 | -4.1191e-14 | 15.0324
250.321 | -3.3008e-14 | 15.0322
250.572 | -3.7411e-14 | 15.0315
250.898 | -3.5902e-14 | 15.0316
251.147 | -3.7559e-14 | 15.0331
251.474 | -3.8409e-14 | 15.0334
251.799 | -3.7114e-14 | 15.0333
252.05 | -3.3674e-14 | 15.033
252.374 | -3.9648e-14 | 15.0324
252.65 | -3.0564e-14 | 15.0323
253.001 | -3.1449e-14 | 15.0319
253.301 | -3.7229e-14 | 15.0322
253.577 | -4.1006e-14 | 15.0315
253.902 | -4.4571e-14 | 15.0321
254.227 | -4.6239e-14 | 15.0313
254.477 | -4.4863e-14 | 15.033
254.802 | -4.3182e-14 | 15.0313
255.052 | -4.2957e-14 | 15.032
255.379 | -4.8098e-14 | 15.0323
255.654 | -5.233e-14 | 15.0319
255.98 | -4.6571e-14 | 15.032
256.255 | -4.6619e-14 | 15.0319
256.58 | -5.63e-14 | 15.0319
256.904 | -6.2854e-14 | 15.0318
257.179 | -5.5824e-14 | 15.0316
257.48 | -5.9225e-14 | 15.032
257.806 | -5.9531e-14 | 15.0326
258.056 | -6.4423e-14 | 15.0324
258.381 | -6.2782e-14 | 15.0318
258.706 | -6.9251e-14 | 15.0318
258.981 | -6.5691e-14 | 15.0304
259.307 | -7.4402e-14 | 15.0324
259.556 | -6.985e-14 | 15.0309
259.906 | -8.0782e-14 | 15.0309
260.203 | -7.6456e-14 | 15.0311
260.456 | -8.2628e-14 | 15.0313
260.784 | -7.6578e-14 | 15.0317
261.13 | -7.9114e-14 | 15.0307
261.376 | -9.0165e-14 | 15.0301
261.698 | -8.8161e-14 | 15.0313
261.947 | -9.3051e-14 | 15.0301
262.296 | -9.4889e-14 | 15.0297
262.593 | -9.9078e-14 | 15.0298
262.869 | -1.0088e-13 | 15.0291
263.167 | -1.0142e-13 | 15.0288
263.492 | -1.0023e-13 | 15.0304
263.741 | -1.0396e-13 | 15.029
264.09 | -1.1531e-13 | 15.0287
264.342 | -1.1056e-13 | 15.0304
264.668 | -1.2428e-13 | 15.0302
264.993 | -1.2417e-13 | 15.03
265.242 | -1.2378e-13 | 15.0294
265.567 | -1.2975e-13 | 15.0292
265.844 | -1.4303e-13 | 15.0301
266.169 | -1.4216e-13 | 15.0296
266.52 | -1.376e-13 | 15.0283
266.771 | -1.4401e-13 | 15.029
267.046 | -1.4774e-13 | 15.0299
267.371 | -1.5878e-13 | 15.03
267.721 | -1.5691e-13 | 15.0292
267.971 | -1.6223e-13 | 15.0289
268.298 | -1.6229e-13 | 15.0284
268.574 | -1.6685e-13 | 15.0289
268.924 | -1.6687e-13 | 15.027
269.226 | -1.8048e-13 | 15.0285
269.474 | -1.8477e-13 | 15.0295
269.824 | -1.801e-13 | 15.0291
270.075 | -1.8406e-13 | 15.0287
270.4 | -1.9235e-13 | 15.0298
270.65 | -1.8577e-13 | 15.0297
270.975 | -1.869e-13 | 15.0294
271.327 | -1.9216e-13 | 15.029
271.576 | -1.9437e-13 | 15.0287
271.9 | -1.9249e-13 | 15.0281
272.151 | -2.0084e-13 | 15.0295
272.476 | -1.9682e-13 | 15.0292
272.826 | -2.0262e-13 | 15.0279
273.077 | -1.9836e-13 | 15.0293
273.426 | -1.9704e-13 | 15.0284
273.675 | -1.975e-13 | 15.0294
274.002 | -1.9305e-13 | 15.0293
274.25 | -1.8795e-13 | 15.0284
274.603 | -1.8202e-13 | 15.0295
274.877 | -1.852e-13 | 15.0284
275.204 | -1.8167e-13 | 15.0277
275.453 | -1.7898e-13 | 15.029
275.779 | -1.7007e-13 | 15.0289
276.103 | -1.7295e-13 | 15.0292
276.38 | -1.615e-13 | 15.0277
276.705 | -1.6656e-13 | 15.0292
276.954 | -1.5225e-13 | 15.0285
277.305 | -1.4815e-13 | 15.028
277.631 | -1.4753e-13 | 15.0281
277.882 | -1.4451e-13 | 15.0276
278.207 | -1.3787e-13 | 15.0275
278.457 | -1.3169e-13 | 15.0287
278.807 | -1.2101e-13 | 15.0281
279.056 | -1.143e-13 | 15.028
279.377 | -1.1785e-13 | 15.0283
279.726 | -1.0826e-13 | 15.0274
279.974 | -1.0695e-13 | 15.0271
280.248 | -9.5395e-14 | 15.0281
280.596 | -9.652e-14 | 15.0269
280.843 | -9.0936e-14 | 15.027
281.193 | -9.244e-14 | 15.0265
281.443 | -9.3285e-14 | 15.0274
281.768 | -8.3231e-14 | 15.0272
282.093 | -8.5909e-14 | 15.027
282.368 | -8.7231e-14 | 15.0261
282.695 | -8.2515e-14 | 15.0276
282.969 | -8.0833e-14 | 15.0268
283.345 | -7.7015e-14 | 15.0263
283.62 | -7.6811e-14 | 15.0257
283.897 | -7.7296e-14 | 15.0266
284.148 | -6.1068e-14 | 15.0275
284.498 | -5.1983e-14 | 15.0261
284.748 | -5.7104e-14 | 15.0277
285.074 | -6.6654e-14 | 15.0272
285.425 | -7.0807e-14 | 15.0266
285.674 | -7.1879e-14 | 15.0275
286.001 | -6.6015e-14 | 15.0274
286.277 | -6.9876e-14 | 15.0256
286.6 | -6.8058e-14 | 15.0269
286.876 | -6.7228e-14 | 15.0268
287.227 | -6.3115e-14 | 15.0262
287.477 | -6.2055e-14 | 15.026
287.803 | -5.9687e-14 | 15.0273
288.078 | -5.8914e-14 | 15.0263
288.404 | -6.4072e-14 | 15.0272
288.68 | -6.6837e-14 | 15.0264
289.004 | -5.3535e-14 | 15.0257
289.255 | -5.869e-14 | 15.0264
289.605 | -6.4074e-14 | 15.0273
289.856 | -6.7279e-14 | 15.0267
290.205 | -5.9186e-14 | 15.0262
290.455 | -6.0056e-14 | 15.0267
290.78 | -5.9113e-14 | 15.0265
291.056 | -6.2182e-14 | 15.0263
291.406 | -5.5456e-14 | 15.0271
291.681 | -5.4565e-14 | 15.0263
292.006 | -5.022e-14 | 15.0256
292.279 | -4.1967e-14 | 15.0263
292.556 | -4.6169e-14 | 15.0271
292.881 | -3.1575e-14 | 15.0263
293.158 | -1.2895e-14 | 15.0267
293.483 | -2.8948e-14 | 15.0264
293.807 | -3.8544e-14 | 15.0263
294.083 | -6.5024e-14 | 15.0257
294.406 | -3.4124e-14 | 15.0267
294.681 | -5.5076e-14 | 15.0257
295.008 | -7.2223e-14 | 15.0253
295.257 | -5.2987e-14 | 15.0259
295.607 | -5.8201e-14 | 15.0266
295.858 | -6.37e-14 | 15.0262
296.207 | -7.9065e-14 | 15.0252
296.483 | -7.3333e-14 | 15.0257
296.807 | -7.4178e-14 | 15.0267
297.082 | -7.866e-14 | 15.0255
297.408 | -7.4244e-14 | 15.0253
297.658 | -5.7742e-14 | 15.0262
297.982 | -1.7942e-14 | 15.0257
298.257 | -4.531e-14 | 15.0263
298.606 | -8.1818e-14 | 15.0255
298.928 | -7.4039e-14 | 15.0245
299.177 | -8.2265e-14 | 15.0256
299.499 | -6.7216e-14 | 15.0252
299.772 | -5.2758e-14 | 15.0242
300.096 | -5.1952e-14 | 15.024
300.37 | -6.0427e-14 | 15.0235
300.718 | -6.6642e-14 | 15.0244
300.969 | -8.9155e-14 | 15.0237
301.294 | -7.7101e-14 | 15.0245
301.568 | -7.2615e-14 | 15.0241
301.843 | -7.9773e-14 | 15.0251
302.195 | -7.4867e-14 | 15.0248
302.47 | -7.4901e-14 | 15.024
302.795 | -6.0622e-14 | 15.0251
303.047 | -5.265e-14 | 15.0247
303.396 | -5.8333e-14 | 15.025
303.671 | -5.0329e-14 | 15.0238
303.947 | -7.1791e-14 | 15.0244
304.298 | -7.2315e-14 | 15.0248
304.574 | -6.4016e-14 | 15.0238
304.9 | -6.613e-14 | 15.0252
305.175 | -6.2022e-14 | 15.0242
305.5 | -7.122e-14 | 15.0247
305.776 | -7.8135e-14 | 15.0232
306.126 | -7.7645e-14 | 15.0242
306.376 | -7.3564e-14 | 15.0251
306.726 | -8.3334e-14 | 15.0242
306.977 | -7.8636e-14 | 15.0241
307.278 | -7.0749e-14 | 15.0241
307.603 | -7.682e-14 | 15.0248
307.878 | -7.5489e-14 | 15.0238
308.203 | -6.3462e-14 | 15.0245
308.478 | -7.0325e-14 | 15.0235
308.804 | -8.0621e-14 | 15.0249
309.078 | -5.8874e-14 | 15.0238
309.404 | -3.741e-14 | 15.0249
309.679 | -4.0978e-14 | 15.0235
310.004 | -6.7318e-14 | 15.0248
310.255 | -8.7314e-14 | 15.0241
310.605 | -8.0891e-14 | 15.0231
310.856 | -7.6961e-14 | 15.0242
311.181 | -7.3326e-14 | 15.0243
311.532 | -1.233e-14 | 15.0239
311.781 | -2.8009e-14 | 15.0243
312.056 | -6.0895e-14 | 15.0246
312.406 | -4.3334e-14 | 15.0237
312.681 | -5.7732e-14 | 15.0237
313.007 | -7.0145e-14 | 15.0242
313.281 | -8.5062e-14 | 15.0234
313.607 | -7.7513e-14 | 15.0244
313.881 | -8.4806e-14 | 15.0237
314.205 | -7.3799e-14 | 15.0232
314.455 | -6.2364e-14 | 15.0237
314.807 | -6.6598e-14 | 15.0245
315.082 | -7.2046e-14 | 15.0224
315.407 | -6.9523e-14 | 15.0237
315.681 | -8.33e-14 | 15.0232
315.957 | -6.4372e-14 | 15.0234
316.307 | -4.3452e-14 | 15.0228
316.581 | -4.277e-14 | 15.0234
316.907 | -4.9944e-14 | 15.0229
317.157 | -5.0449e-14 | 15.024
317.507 | -3.9598e-14 | 15.0228
317.782 | -6.2631e-14 | 15.0232
318.106 | -6.2112e-14 | 15.024
318.382 | -6.1522e-14 | 15.0228
318.707 | -5.7183e-14 | 15.023
318.981 | -5.8577e-14 | 15.0232
319.256 | -6.0367e-14 | 15.0231
319.606 | -2.1624e-14 | 15.023
319.881 | -2.7467e-14 | 15.0225
320.179 | -4.7582e-14 | 15.0228
320.504 | -6.2701e-14 | 15.0229
320.776 | -5.1416e-14 | 15.0233
321.099 | -6.8625e-14 | 15.0228
321.373 | -5.7342e-14 | 15.0222
321.647 | -5.4683e-14 | 15.023
321.972 | -5.0772e-14 | 15.0226
322.246 | -4.0712e-14 | 15.0225
322.595 | -4.2786e-14 | 15.0219
322.846 | -4.9789e-14 | 15.0222
323.197 | -5.8754e-14 | 15.023
323.471 | -6.1817e-14 | 15.0219
323.796 | -6.8892e-14 | 15.0215
324.047 | -4.9838e-14 | 15.0226
324.373 | -2.7208e-14 | 15.0221
324.649 | -1.2239e-14 | 15.023
324.973 | -2.0864e-14 | 15.0223
325.249 | -5.7604e-14 | 15.0221
325.599 | -6.3017e-14 | 15.0215
325.874 | -4.8758e-14 | 15.0227
326.199 | -4.4659e-14 | 15.0225
326.45 | -5.1334e-14 | 15.0221
326.801 | -4.3494e-14 | 15.0216
327.05 | -4.3628e-14 | 15.0221
327.4 | -5.5031e-14 | 15.0225
327.676 | -5.5222e-14 | 15.0218
328.002 | -4.0778e-14 | 15.0228
328.277 | -3.8741e-14 | 15.0209
328.553 | -4.1647e-14 | 15.0227
328.903 | -4.9879e-14 | 15.0219
329.178 | -5.7158e-14 | 15.0223
329.454 | -5.891e-14 | 15.0228
329.802 | -5.2027e-14 | 15.0215
330.078 | -4.9073e-14 | 15.0211
330.404 | -4.1407e-14 | 15.022
330.678 | -4.4751e-14 | 15.0225
331.027 | -3.3921e-14 | 15.0218
331.279 | -3.7645e-14 | 15.0222
331.628 | -3.3524e-14 | 15.0218
331.88 | -3.5267e-14 | 15.0224
332.155 | -3.8945e-14 | 15.0224
332.503 | -2.8637e-14 | 15.0223
332.78 | -3.2584e-14 | 15.0215
333.08 | -3.0185e-14 | 15.0217
333.405 | -3.2221e-14 | 15.021
333.68 | -2.7874e-14 | 15.0215
334.005 | -2.7113e-14 | 15.0222
334.28 | -1.4363e-14 | 15.0222
334.63 | -1.4216e-14 | 15.0216
334.88 | -1.4983e-14 | 15.0222
335.155 | -1.3979e-14 | 15.0223
335.505 | -1.8644e-14 | 15.0207
335.78 | -1.4378e-14 | 15.0221
336.055 | -2.0088e-14 | 15.0214
336.405 | -2.8869e-14 | 15.0219
336.681 | -2.5607e-14 | 15.0207
337.03 | -3.0404e-14 | 15.0214
337.281 | -3.1542e-14 | 15.0208
337.581 | -2.8205e-14 | 15.0208
337.906 | -2.4259e-14 | 15.0217
338.18 | -2.0088e-14 | 15.0209
338.455 | -2.0391e-14 | 15.0216
338.805 | -2.5986e-14 | 15.0206
339.08 | -2.5811e-14 | 15.021
339.407 | -1.7163e-14 | 15.0217
339.681 | -2.0754e-14 | 15.0216
339.956 | -1.7845e-14 | 15.0214
340.305 | -1.2718e-14 | 15.0206
340.58 | -2.6161e-14 | 15.0209
340.906 | -1.375e-14 | 15.0217
341.18 | -7.76e-15 | 15.0215
341.455 | -1.4692e-14 | 15.0209
341.804 | -5.993e-15 | 15.0215
342.081 | -1.4523e-14 | 15.0205
342.431 | -2.4465e-14 | 15.0208
342.706 | -2.912e-14 | 15.0199
342.981 | -1.9366e-14 | 15.0212
343.331 | -1.1511e-14 | 15.0206
343.581 | 9.835e-15 | 15.021
343.855 | 2.55e-15 | 15.0212
344.206 | -1.041e-14 | 15.0203
344.531 | -6.21e-15 | 15.02
344.807 | -9.755e-15 | 15.0208
345.131 | -1.0424e-14 | 15.0206
345.405 | -2.94e-14 | 15.0206
345.656 | -2.5325e-14 | 15.0212
346.005 | -1.0354e-14 | 15.0202
346.278 | -7.248e-15 | 15.0206
346.553 | -1.1905e-14 | 15.0211
346.9 | -1.9016e-14 | 15.021
347.173 | -2.2999e-14 | 15.0208
347.523 | -1.9502e-14 | 15.02
347.796 | -2.4306e-14 | 15.0195
348.07 | -2.2085e-14 | 15.0202
348.395 | -1.6509e-14 | 15.0199
348.672 | -2.0925e-14 | 15.0198
348.946 | -3.49e-15 | 15.0194
349.295 | -1.2655e-14 | 15.0203
349.572 | -3.83e-15 | 15.0196
349.847 | -9.485e-15 | 15.0203
350.197 | -1.391e-15 | 15.0205
350.472 | 7.817e-15 | 15.0193
350.822 | 2.723e-15 | 15.0186
351.097 | -1.516e-15 | 15.0204
351.373 | -1.4713e-14 | 15.0197
351.698 | -2.9684e-14 | 15.0201
351.974 | -6.5912e-14 | 15.0198
352.25 | -5.4059e-14 | 15.0203
352.599 | -3.9452e-14 | 15.0197
352.85 | -1.327e-14 | 15.02
353.2 | 2.721e-14 | 15.0204
353.475 | 6.916e-15 | 15.0198
353.801 | 1.2599e-14 | 15.0204
354.077 | -1.3547e-14 | 15.0187
354.427 | -2.7289e-14 | 15.0194
354.703 | -3.2591e-14 | 15.0196
354.952 | -1.0035e-14 | 15.0202
355.277 | 1.0405e-14 | 15.0191
355.576 | 1.6437e-14 | 15.0196
355.902 | -2.088e-15 | 15.0201
356.179 | -1.1779e-14 | 15.0199
356.453 | -1.6318e-14 | 15.0202
356.802 | -1.7712e-14 | 15.0203
357.079 | -6.414e-15 | 15.0197
357.354 | 7.56e-15 | 15.0197
357.704 | -4.9346e-14 | 15.0199
357.979 | -2.2339e-14 | 15.0196
358.278 | -6.238e-15 | 15.0195
358.63 | -7.102e-15 | 15.019
358.905 | -1.5168e-14 | 15.0185
359.179 | -3.3579e-14 | 15.0197
359.455 | -3.6516e-14 | 15.0197
359.804 | -2.0565e-14 | 15.0201
360.079 | -1.899e-14 | 15.0201
360.355 | -1.877e-14 | 15.02
360.705 | -1.0349e-14 | 15.0193
360.98 | -1.561e-14 | 15.0193
361.305 | -1.0191e-14 | 15.0199
361.581 | -6.044e-15 | 15.0191
361.931 | -8.654e-15 | 15.019
362.206 | -5.248e-15 | 15.0195
362.457 | -7.536e-15 | 15.0195
362.831 | 1.8782e-14 | 15.0192
363.106 | -2.665e-15 | 15.0192
363.382 | -5.131e-15 | 15.02
363.656 | -1.2247e-14 | 15.0193
364.006 | -8.298e-15 | 15.0189
364.281 | -1.3721e-14 | 15.0188
364.556 | -2.0036e-14 | 15.0198
364.907 | -1.7751e-14 | 15.0186
365.181 | -1.5245e-14 | 15.0189
365.506 | -1.5734e-14 | 15.0191
365.806 | -1.9317e-14 | 15.0197
366.082 | -1.0402e-14 | 15.0198
366.357 | -6.534e-15 | 15.0198
366.707 | -1.3121e-14 | 15.0187
366.983 | -1.112e-14 | 15.0198
367.333 | -1.4395e-14 | 15.0191
367.582 | -1.647e-14 | 15.0196
367.858 | -7.903e-15 | 15.0197
368.182 | -4.159e-15 | 15.0195
368.457 | -7.69e-15 | 15.0195
368.832 | -5.962e-15 | 15.0189
369.083 | -5.474e-15 | 15.0193
369.358 | -7.727e-15 | 15.0196
369.708 | -1.1949e-14 | 15.0184
369.982 | -1.3998e-14 | 15.0183
370.257 | -1.7649e-14 | 15.0194
370.608 | -2.8434e-14 | 15.0185
370.883 | -2.3389e-14 | 15.0187
371.208 | -8.454e-15 | 15.019
371.483 | -8.197e-15 | 15.0191
371.758 | -3.429e-15 | 15.0191
372.108 | -1.1239e-14 | 15.0194
372.384 | -8.429e-15 | 15.0194
372.66 | -1.3508e-14 | 15.0192
372.935 | -5.2655e-14 | 15.0194
373.286 | -5.3777e-14 | 15.019
373.562 | -4.0841e-14 | 15.0194
373.913 | -2.9989e-14 | 15.0185
374.188 | -1.7076e-14 | 15.0186
374.462 | -1.1683e-14 | 15.0186
374.788 | -1.845e-15 | 15.019
375.063 | -2.838e-15 | 15.0192
375.339 | -1.1957e-14 | 15.0193
375.689 | -1.6736e-14 | 15.0192
375.963 | -9.653e-15 | 15.0183
376.289 | -4.43e-15 | 15.0189
376.563 | -9.131e-15 | 15.0191
376.839 | -7.024e-15 | 15.0193
377.19 | 4.214e-15 | 15.0186
377.465 | 2.13e-16 | 15.0183
377.815 | 2.6084e-14 | 15.0187
378.09 | -2.2537e-14 | 15.0185
378.339 | -1.3924e-14 | 15.0189
378.69 | -9.427e-15 | 15.0187
378.965 | -2.2324e-14 | 15.019
379.239 | -2.4432e-14 | 15.0192
379.588 | -2.0365e-14 | 15.0182
379.863 | 2.1985e-14 | 15.019
380.138 | -8.126e-15 | 15.0186
380.488 | -8.182e-15 | 15.019
380.762 | 5.3e-16 | 15.019
381.037 | -8.09e-15 | 15.0189
381.387 | 3.131e-15 | 15.0178
381.66 | -1.17e-15 | 15.018
381.984 | 4.555e-14 | 15.0184
382.259 | -2.1991e-14 | 15.0179
382.559 | 8.9069e-14 | 15.018
382.884 | 6.6472e-14 | 15.0184
383.159 | 2.9288e-14 | 15.0184
383.506 | 4.008e-15 | 15.018
383.782 | -1.1769e-13 | 15.0181
384.057 | -5.6591e-14 | 15.0182
384.406 | -2.1021e-14 | 15.0185
384.68 | -2.949e-15 | 15.0176
385.08 | -7.657e-15 | 15.0169
385.279 | -1.0491e-14 | 15.0176
385.579 | -1.4451e-14 | 15.0177
385.903 | -1.407e-14 | 15.0181
386.178 | -6.506e-15 | 15.0181
386.453 | 3.6282e-14 | 15.0172
386.827 | -9.4747e-14 | 15.0171
387.103 | -5.4664e-14 | 15.0174
387.379 | -4.3282e-14 | 15.0176
387.727 | 1.3874e-14 | 15.0175
387.977 | 2.0134e-14 | 15.0178
388.277 | 2.9223e-14 | 15.0173
388.626 | 9.2299e-14 | 15.0173
388.877 | 1.225e-13 | 15.0174
389.151 | -2.9468e-13 | 15.0175
389.502 | -8.4804e-14 | 15.0179
389.777 | -4.8522e-14 | 15.0172
390.075 | -2.2908e-14 | 15.0169
390.422 | -2.1894e-14 | 15.0168
390.694 | -2.0375e-14 | 15.0168
390.968 | -3.678e-14 | 15.0168
391.29 | -1.6918e-13 | 15.0169
391.565 | -1.4468e-13 | 15.0168
391.839 | -4.6488e-13 | 15.003
392.339 | 1.9878e-14 | 14.9618
393.766 | -5.036e-14 | 15.0168
394.743 | 1.0653e-13 | 15.0171
395.094 | 3.6413e-14 | 15.0167
395.395 | -9.7157e-14 | 15.0166
395.645 | -1.0517e-12 | 15.0023
396.17 | 2.6328e-13 | 15.0161
396.37 | -1.0548e-11 | 15.0154
396.62 | -5.3762e-13 | 14.9619
398.173 | -2.065e-13 | 15.0029
399.173 | -1.0034e-12 | 15.0171
399.522 | -5.9077e-12 | 15.0165
399.771 | 1.022e-11 | 15.0153
400.097 | 5.7132e-12 | 15.0157
400.373 | -2.2267e-12 | 15.0166
400.672 | -3.4883e-12 | 15.0162
400.948 | -2.0384e-12 | 15.0168
401.299 | 6.0898e-13 | 14.9634
402.874 | -4.8257e-13 | 15.0165
403.875 | 1.1422e-14 | 15.0162
404.225 | -2.0657e-12 | 15.0021
404.726 | -2.2573e-12 | 15.0156
404.95 | 7.2521e-13 | 15.0161
405.149 | -3.2891e-13 | 14.9634
406.726 | -1.0815e-12 | 15.0163
407.675 | -4.0862e-13 | 15.0164
407.977 | -5.7073e-12 | 15.0016
408.476 | -6.3667e-13 | 15.0158
408.704 | 2.3608e-11 | 15.0157
408.928 | -8.4341e-14 | 14.9633
410.481 | 5.8189e-13 | 15.0164
411.457 | -2.7838e-12 | 15.0031
411.981 | 1.5585e-11 | 15.0151
412.206 | -5.872e-12 | 15.0154
412.405 | -1.4227e-12 | 15.016
412.705 | -1.7735e-13 | 14.9643
414.254 | -1.0305e-12 | 15.0162
415.251 | -5.8218e-13 | 15.0164
415.602 | -2.7663e-13 | 15.0164
415.877 | -1.8109e-13 | 15.0161
416.151 | -1.4736e-13 | 15.016
416.502 | -1.1488e-13 | 15.0159
416.802 | -1.1121e-13 | 15.0154
417.077 | -1.3014e-13 | 15.0163
417.352 | -1.1932e-13 | 15.0162
417.703 | -9.8323e-14 | 15.0164
417.977 | -1.0302e-13 | 15.0159
418.277 | -9.2867e-14 | 15.0158
418.603 | -8.1719e-14 | 15.0163
418.877 | -7.7778e-14 | 15.0156
419.201 | -6.1797e-14 | 15.0158
419.477 | -8.014e-14 | 15.0158
419.776 | -8.402e-14 | 15.015
420.075 | -7.7886e-14 | 15.0156
420.401 | -7.7846e-14 | 15.0159
420.676 | -7.5973e-14 | 15.016
420.976 | -4.7363e-14 | 15.0154
421.326 | -9.1298e-14 | 15.0153
421.601 | -9.8071e-14 | 15.0158
421.877 | -8.2545e-14 | 15.0157
422.177 | -8.8972e-14 | 15.0154
422.529 | -7.8385e-14 | 15.0154
422.777 | -8.2608e-14 | 15.0157
423.051 | -7.7183e-14 | 15.0153
423.35 | -7.5674e-14 | 15.0158
423.702 | -6.5391e-14 | 15.0151
423.976 | -8.9793e-14 | 15.0159
424.277 | -8.4076e-14 | 15.0154
424.625 | -8.2262e-14 | 15.0153
424.9 | -8.4974e-14 | 15.0153
425.15 | -7.408e-14 | 15.0149
425.451 | -7.9463e-14 | 15.0159
425.799 | -7.9611e-14 | 15.0151
426.095 | -8.1343e-14 | 15.015
426.367 | -8.0184e-14 | 15.0145
426.714 | -7.4893e-14 | 15.0152
427.013 | -7.4081e-14 | 15.0147
427.284 | -7.7331e-14 | 15.0143
427.56 | -8.2987e-14 | 15.0151
427.911 | -8.689e-14 | 15.0142
428.185 | -8.5394e-14 | 15.0141
428.461 | -7.9221e-14 | 15.0148
428.737 | -8.2081e-14 | 15.0149
429.087 | -8.8652e-14 | 15.0151
429.363 | -8.2098e-14 | 15.0147
429.639 | -5.8791e-14 | 15.0147
429.989 | -6.8787e-14 | 15.0149
430.265 | -8.7129e-14 | 15.0149
430.54 | -8.7713e-14 | 15.0148
430.89 | -8.2281e-14 | 15.0152
431.167 | -7.9733e-14 | 15.015
431.442 | -8.5212e-14 | 15.0146
431.819 | -8.9203e-14 | 15.0145
432.093 | -8.5786e-14 | 15.0152
432.368 | -8.7555e-14 | 15.0147
432.667 | -8.5786e-14 | 15.0144
432.992 | -8.8282e-14 | 15.0147
433.293 | -9.4846e-14 | 15.0145
433.568 | -9.865e-14 | 15.0143
433.843 | -9.6337e-14 | 15.0152
434.193 | -1.0015e-13 | 15.015
434.493 | -9.5461e-14 | 15.0144
434.769 | -1.07e-13 | 15.0137
435.069 | -9.6124e-14 | 15.0145
435.343 | -9.6964e-14 | 15.0147
435.694 | -1.0836e-13 | 15.0146
435.995 | -9.9504e-14 | 15.0146
436.27 | -1.0779e-13 | 15.0145
436.596 | -9.846e-14 | 15.0151
436.895 | -1.0645e-13 | 15.0145
437.171 | -1.0545e-13 | 15.0144
437.495 | -1.0233e-13 | 15.0148
437.796 | -1.0292e-13 | 15.0144
438.069 | -1.0798e-13 | 15.0138
438.345 | -1.0877e-13 | 15.015
438.696 | -1.1707e-13 | 15.0142
438.972 | -1.047e-13 | 15.0141
439.271 | -1.1821e-13 | 15.0145
439.546 | -9.8204e-14 | 15.0145
439.896 | -1.2252e-13 | 15.0148
440.197 | -1.1716e-13 | 15.0144
440.473 | -1.2232e-13 | 15.014
440.747 | -1.1889e-13 | 15.0144
441.046 | -1.2055e-13 | 15.0144
441.421 | -1.0447e-13 | 15.0144
441.697 | -1.1641e-13 | 15.0147
441.996 | -1.1069e-13 | 15.0141
442.271 | -1.2393e-13 | 15.0143
442.622 | -1.3153e-13 | 15.0142
442.897 | -1.3481e-13 | 15.0148
443.172 | -1.3839e-13 | 15.0146
443.446 | -1.3328e-13 | 15.0145
443.797 | -1.313e-13 | 15.0146
444.097 | -1.3626e-13 | 15.0137
444.371 | -1.3737e-13 | 15.0146
444.646 | -1.3515e-13 | 15.014
444.946 | -1.3642e-13 | 15.0148
445.322 | -1.4187e-13 | 15.0143
445.597 | -1.4138e-13 | 15.0136
445.873 | -1.4254e-13 | 15.0145
446.148 | -1.4017e-13 | 15.0143
446.523 | -1.3349e-13 | 15.0142
446.797 | -1.4612e-13 | 15.0146
447.073 | -1.4978e-13 | 15.0144
447.397 | -1.559e-13 | 15.0142
447.696 | -1.6382e-13 | 15.014
447.972 | -1.5415e-13 | 15.0145
448.273 | -1.4728e-13 | 15.0142
448.548 | -1.5458e-13 | 15.0142
448.922 | -1.5835e-13 | 15.0138
449.197 | -1.6431e-13 | 15.0142
449.497 | -1.655e-13 | 15.0134
449.773 | -1.6608e-13 | 15.0144
450.048 | -1.6416e-13 | 15.0143
450.398 | -1.7036e-13 | 15.0143
450.697 | -1.7261e-13 | 15.0144
450.972 | -1.6738e-13 | 15.0145
451.247 | -1.7519e-13 | 15.0144
451.598 | -1.7465e-13 | 15.0143
451.897 | -1.82e-13 | 15.0139
452.173 | -1.8728e-13 | 15.0144
452.447 | -1.8735e-13 | 15.0141
452.798 | -1.875e-13 | 15.0143
453.097 | -1.9353e-13 | 15.0144
453.396 | -1.8859e-13 | 15.0137
453.671 | -1.9838e-13 | 15.0136
453.996 | -2.0191e-13 | 15.014
454.296 | -2.0342e-13 | 15.0141
454.569 | -2.0395e-13 | 15.0138
454.87 | -2.0742e-13 | 15.0133
455.145 | -2.1721e-13 | 15.0143
455.494 | -2.1791e-13 | 15.0137
455.795 | -2.1469e-13 | 15.0142
456.07 | -2.2368e-13 | 15.0142
456.344 | -2.3415e-13 | 15.0137
456.694 | -2.2936e-13 | 15.0137
456.993 | -2.2532e-13 | 15.0141
457.269 | -2.3346e-13 | 15.0137
457.568 | -2.3058e-13 | 15.014
457.844 | -2.4664e-13 | 15.0137
458.194 | -2.5629e-13 | 15.0137
458.495 | -2.4918e-13 | 15.0139
458.793 | -2.5417e-13 | 15.0133
459.118 | -2.2009e-13 | 15.0136
459.394 | -2.3101e-13 | 15.0129
459.717 | -2.8021e-13 | 15.0135
459.994 | -2.8257e-13 | 15.0135
460.268 | -2.9042e-13 | 15.0133
460.542 | -2.885e-13 | 15.0139
460.891 | -2.9137e-13 | 15.0136
461.166 | -2.8925e-13 | 15.0133
461.466 | -2.968e-13 | 15.0131
461.819 | -2.9588e-13 | 15.013
462.123 | -3.0678e-13 | 15.0136
462.4 | -3.1142e-13 | 15.0136
462.702 | -3.1572e-13 | 15.0142
462.977 | -3.0999e-13 | 15.0139
463.279 | -3.1632e-13 | 15.0137
463.58 | -3.3046e-13 | 15.0137
463.879 | -3.3475e-13 | 15.014
464.178 | -3.3917e-13 | 15.0134
464.479 | -3.4346e-13 | 15.0132
464.777 | -3.5691e-13 | 15.0133
465.078 | -3.5831e-13 | 15.0133
465.351 | -3.5936e-13 | 15.0139
465.651 | -3.7105e-13 | 15.014
466.024 | -3.7465e-13 | 15.013
466.324 | -3.7831e-13 | 15.0133
466.599 | -3.8928e-13 | 15.0139
466.923 | -3.9995e-13 | 15.0133
467.198 | -4.055e-13 | 15.0139
467.497 | -4.043e-13 | 15.0126
467.871 | -4.1897e-13 | 15.0117
468.071 | -4.2595e-13 | 15.0126
468.369 | -4.2993e-13 | 15.0136
468.669 | -4.3815e-13 | 15.0135
468.969 | -4.5184e-13 | 15.0126
469.268 | -4.5919e-13 | 15.0128
469.567 | -4.6612e-13 | 15.0131
469.866 | -4.7748e-13 | 15.0135
470.167 | -4.8482e-13 | 15.0127
470.441 | -4.9675e-13 | 15.0132
470.74 | -5.0591e-13 | 15.0135
471.116 | -5.1577e-13 | 15.0126
471.389 | -5.2589e-13 | 15.0129
471.689 | -5.3071e-13 | 15.0129
471.988 | -5.3703e-13 | 15.0132
472.263 | -5.5183e-13 | 15.0125
472.587 | -5.5849e-13 | 15.0131
472.886 | -5.7567e-13 | 15.0124
473.16 | -5.8567e-13 | 15.0123
473.461 | -6.0024e-13 | 15.0129
473.76 | -6.1113e-13 | 15.0131
474.035 | -6.2318e-13 | 15.0128
474.409 | -6.3667e-13 | 15.0125
474.685 | -6.5185e-13 | 15.0131
474.959 | -6.5565e-13 | 15.0128
475.333 | -6.8151e-13 | 15.0118
475.556 | -6.9363e-13 | 15.0129
475.933 | -7.1061e-13 | 15.0124
476.206 | -7.2155e-13 | 15.0121
476.48 | -7.2967e-13 | 15.0127
476.78 | -7.4126e-13 | 15.0118
477.055 | -7.6051e-13 | 15.0126
477.404 | -7.7056e-13 | 15.0125
477.703 | -7.7978e-13 | 15.0121
477.977 | -8.0384e-13 | 15.0123
478.277 | -8.1791e-13 | 15.0121
478.576 | -8.3243e-13 | 15.0126
478.852 | -8.4806e-13 | 15.0126
479.203 | -8.6333e-13 | 15.0127
479.501 | -8.804e-13 | 15.012
479.786 | -8.9719e-13 | 15.0122
480.068 | -9.2028e-13 | 15.013