## Settings
Sample Info | so12ig, dot c3, run 04
Comments | -12/+4/-12
Additional Comments | peaks 270, 320 K
Major Measurement Parameters
Starting Temperature | 456.865
Initial Temperature | 150
Final Temperature | 480
Preliminary Voltage | -12
Pulse Voltage | 4
Pulse Time | 30
Wait Time | 0
Measurement Voltage | -12
Subsidiary Measurement Parameters
Step | 0.3
Accuracy Step | 0.1
Accuracy Stable | 0.5
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 20
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 3
Measurecount | 1
Time
Date | 5.4.2024
Clock | 18:56:47

## Stabilization
Temperature | Current | Temp Rate
456.465 | -2.71e-10 | 0
455.507 | -1.2071e-11 | -23.8462
454.999 | -9.1528e-12 | -24.1845
454.535 | -7.3659e-12 | -23.945
454.043 | -6.5161e-12 | -23.9731
453.577 | -5.5375e-12 | -23.6807
453.071 | -4.5484e-12 | -23.7992
452.553 | -4.7957e-12 | -24.046
452.085 | -4.3397e-12 | -23.9273
451.632 | -4.3485e-12 | -23.7375
451.183 | -4.0552e-12 | -28.7865
450.689 | -3.7727e-12 | -35.4151
450.166 | -3.5063e-12 | -51.8847
449.728 | -3.107e-12 | -110.3878
449.292 | -3.6408e-12 | -172.9435
448.817 | -3.37e-12 | -23.2818
448.374 | -3.0634e-12 | -23.2011
447.931 | -2.8954e-12 | -23.0973
447.456 | -2.2721e-12 | -437.3955
446.982 | -2.6651e-12 | -23.0433
446.541 | -2.7749e-12 | -22.9609
446.102 | -3.0927e-12 | -22.8955
445.665 | -2.5768e-12 | -22.8203
443.093 | -2.7152e-12 | -22.6561
442.664 | -1.002e-12 | -22.6048
442.239 | -2.6877e-12 | -22.5546
441.811 | -2.0144e-12 | -22.5081
441.384 | -3.021e-12 | -22.4595
440.918 | -1.9115e-12 | -22.4687
440.49 | -2.8075e-12 | -22.4312
440.071 | -7.6611e-13 | -22.3778
439.618 | -2.2697e-12 | -22.3603
439.2 | -4.2716e-12 | -22.311
438.782 | -1.9756e-12 | -22.2605
438.361 | -2.1323e-12 | -22.219
437.91 | -1.4847e-12 | -22.2074
437.498 | -2.1735e-12 | -22.1582
437.086 | -1.4419e-12 | -22.1123
436.603 | -1.8709e-12 | -22.1472
436.165 | -1.1614e-12 | -22.1259
435.757 | -1.4458e-12 | -22.0835
435.354 | -1.4181e-12 | -22.0348
434.913 | -1.3379e-12 | -22.0258
434.501 | -1.576e-12 | -21.9758
434.057 | -1.441e-12 | -21.9653
433.658 | -1.2662e-12 | -21.9139
433.258 | -1.8131e-12 | -21.8635
432.827 | -1.0507e-12 | -21.8381
432.425 | -1.7056e-12 | -21.801
432.026 | -1.2339e-12 | -21.7612
431.593 | -1.1077e-12 | -21.7517
431.159 | -1.1089e-12 | -21.7367
430.762 | -1.2315e-12 | -21.6952
430.374 | -1.1004e-12 | -21.6535
429.955 | -8.8568e-13 | -21.6296
429.567 | -1.3048e-12 | -21.5852
429.176 | -1.1398e-12 | -21.5476
427.278 | -1.0587e-12 | -21.3998
426.892 | -1.0637e-12 | -21.3566
426.484 | -9.7985e-13 | -21.3275
426.106 | -9.3275e-13 | -21.2878
425.697 | -8.6559e-13 | -21.2612
425.32 | -7.7176e-13 | -21.221
424.939 | -7.319e-13 | -21.185
424.526 | -2.9908e-13 | -21.1697
424.151 | -5.8953e-13 | -21.1312
423.778 | -8.9328e-13 | -21.0893
423.362 | -7.0569e-13 | -21.0804
422.984 | -4.7817e-13 | -21.0445
422.613 | -6.0766e-13 | -21.0071
422.216 | -7.3851e-13 | -20.9841
421.848 | -8.8303e-13 | -20.9477
421.479 | -8.7571e-13 | -20.9091
421.08 | -8.8125e-13 | -20.8927
420.715 | -8.3156e-13 | -20.8561
420.352 | -7.8879e-13 | -20.8218
419.957 | -7.6862e-13 | -20.7957
419.587 | -7.4171e-13 | -20.764
419.163 | -7.2003e-13 | -20.7634
418.776 | -6.8395e-13 | -20.7429
418.421 | -6.5869e-13 | -20.6999
418.066 | -6.5194e-13 | -20.663
417.682 | -6.3926e-13 | -20.6418
417.325 | -6.1524e-13 | -20.6044
416.942 | -6.092e-13 | -20.582
416.589 | -5.8044e-13 | -20.5492
416.237 | -5.6596e-13 | -20.5137
415.889 | -5.562e-13 | -20.4759
415.51 | -5.4041e-13 | -20.4478
415.13 | -5.3472e-13 | -20.4228
414.783 | -5.2472e-13 | -20.3879
414.437 | -5.1769e-13 | -20.3533
414.066 | -5.0241e-13 | -20.3265
413.723 | -4.8968e-13 | -20.2913
413.346 | -4.8588e-13 | -20.2706
413 | -4.708e-13 | -20.238
412.631 | -4.6167e-13 | -20.2128
412.291 | -4.5215e-13 | -20.1766
411.953 | -4.4711e-13 | -20.1404
411.585 | -4.4419e-13 | -20.1183
411.239 | -4.2888e-13 | -20.087
410.876 | -4.3049e-13 | -20.0648
410.543 | -4.1769e-13 | -20.0309
410.214 | -4.0978e-13 | -19.9953
409.854 | -4.0016e-13 | -19.9741
409.525 | -3.947e-13 | -19.936
409.169 | -3.9612e-13 | -19.9115
408.811 | -3.819e-13 | -19.8785
408.476 | -3.721e-13 | -19.8464
408.091 | -3.505e-13 | -19.834
407.659 | -3.5924e-13 | -19.8423
407.229 | -3.5731e-13 | -19.8497
406.904 | -3.4677e-13 | -19.8127
406.564 | -3.4736e-13 | -19.7804
406.221 | -3.441e-13 | -19.7505
405.903 | -3.3694e-13 | -19.715
405.56 | -3.2642e-13 | -19.6875
405.234 | -3.2339e-13 | -19.6557
404.887 | -3.158e-13 | -19.6342
404.571 | -3.1269e-13 | -19.5978
404.232 | -3.0009e-13 | -19.5711
403.918 | -3.0443e-13 | -19.5347
403.576 | -3.0017e-13 | -19.5094
403.238 | -2.9478e-13 | -19.4811
402.923 | -2.8362e-13 | -19.4473
402.548 | -2.8621e-13 | -19.4356
402.229 | -2.1961e-13 | -19.4037
401.897 | -2.3595e-13 | -19.3767
401.566 | -2.4185e-13 | -19.3497
401.258 | -2.4943e-13 | -19.3153
400.926 | -2.4625e-13 | -19.2895
400.6 | -2.3981e-13 | -19.2604
400.299 | -2.4428e-13 | -19.2251
399.969 | -2.3494e-13 | -19.2
399.662 | -2.2734e-13 | -19.1678
399.292 | -2.2474e-13 | -19.1569
398.97 | -2.2155e-13 | -19.1298
398.674 | -2.1578e-13 | -19.0931
398.353 | -2.1431e-13 | -19.0648
398.032 | -2.0866e-13 | -19.0388
397.711 | -2.1057e-13 | -19.0132
397.414 | -2.2304e-13 | -18.9807
397.098 | -2.1283e-13 | -18.9539
396.806 | -2.0267e-13 | -18.9218
396.488 | -1.9878e-13 | -18.8983
396.194 | -1.9207e-13 | -18.8662
395.881 | -1.8754e-13 | -18.8396
395.563 | -1.8482e-13 | -18.8137
395.271 | -1.8505e-13 | -18.7814
394.959 | -1.6033e-13 | -18.7561
394.651 | -1.8504e-13 | -18.7298
394.366 | -1.8286e-13 | -18.6983
394.085 | -1.5328e-13 | -18.666
393.778 | -9.7408e-14 | -18.6407
393.47 | -6.3056e-14 | -18.6147
393.163 | 1.8211e-13 | -18.5889
392.883 | -3.0562e-13 | -18.5559
392.58 | -2.5763e-13 | -18.5308
392.277 | -1.8406e-13 | -18.505
391.997 | -2.1354e-13 | -18.4743
391.694 | -1.9086e-13 | -18.4498
391.397 | -1.8748e-13 | -18.4202
391.123 | -1.4666e-13 | -18.3885
390.822 | -1.5648e-13 | -18.3643
390.521 | -1.4449e-13 | -18.3406
390.245 | -1.456e-13 | -18.3109
389.949 | -1.2677e-13 | -18.2861
389.653 | -1.4611e-13 | -18.2603
389.379 | -1.46e-13 | -18.2312
389.085 | -1.2671e-13 | -18.2069
388.789 | -1.6347e-13 | -18.1823
388.516 | 1.435e-13 | -18.1533
388.222 | 9.18e-16 | -18.1299
387.927 | -4.8147e-14 | -18.1035
387.624 | -2.9162e-13 | -18.0825
387.321 | -1.9282e-13 | -18.0633
387.032 | -1.4255e-13 | -18.0396
386.767 | -9.075e-14 | -18.0099
386.482 | -1.0192e-13 | -17.9839
386.196 | -1.6227e-13 | -17.9599
385.91 | -8.2737e-14 | -17.9358
385.648 | -7.9311e-14 | -17.907
385.363 | -1.2563e-13 | -17.8841
385.08 | -1.3872e-13 | -17.8598
384.82 | -1.1818e-13 | -17.8298
384.537 | -1.1228e-13 | -17.8071
384.246 | -6.9377e-14 | -17.7863
383.917 | -8.7545e-14 | -17.7747
383.592 | -3.0189e-14 | -17.7636
383.315 | -7.2316e-14 | -17.7392
383.041 | -1.3983e-13 | -17.7145
382.767 | -1.0778e-13 | -17.6896
382.492 | -1.4598e-13 | -17.6643
382.219 | -1.055e-13 | -17.6409
381.965 | -9.3321e-14 | -17.6134
381.689 | -5.5276e-14 | -17.5922
381.433 | -7.2026e-14 | -17.5657
381.105 | -1.0505e-13 | -17.5541
380.824 | -2.7748e-14 | -17.5339
380.574 | -8.5677e-14 | -17.5064
380.287 | -8.3382e-14 | -17.4835
380.039 | -2.53e-15 | -17.4558
379.769 | -2.2662e-14 | -17.4337
379.498 | 6.6782e-13 | -17.4117
379.246 | -3.1408e-13 | -17.3862
378.98 | -1.8019e-13 | -17.3638
378.713 | -1.9844e-13 | -17.3409
378.467 | -2.3339e-13 | -17.3141
378.203 | -6.6276e-14 | -17.2892
377.938 | -1.2503e-13 | -17.2674
377.675 | -1.4678e-13 | -17.2456
377.431 | 2.295e-13 | -17.2189
377.169 | 7.5611e-13 | -17.1964
376.907 | -2.2575e-13 | -17.1747
376.667 | -4.1273e-13 | -17.1479
376.406 | -3.7683e-13 | -17.1258
376.122 | -2.3397e-13 | -17.109
375.868 | -1.5012e-13 | -17.087
375.606 | 6.0482e-14 | -17.0651
375.349 | 1.2346e-13 | -17.043
375.095 | -2.0498e-13 | -17.0213
374.853 | -7.7039e-14 | -16.9974
374.599 | -2.1233e-13 | -16.974
374.344 | -1.307e-13 | -16.9531
374.111 | -9.568e-14 | -16.927
373.858 | -7.8587e-14 | -16.9044
373.598 | -6.0434e-14 | -16.8825
373.342 | -4.9463e-14 | -16.8592
373.09 | -2.6061e-14 | -16.8378
372.843 | -5.3543e-14 | -16.8165
372.613 | -3.9651e-14 | -16.7919
372.364 | 3.2373e-14 | -16.7708
372.115 | -6.9898e-14 | -16.7493
371.867 | 2.8567e-13 | -16.727
371.62 | 6.2104e-13 | -16.7056
371.393 | -5.056e-14 | -16.681
371.147 | -3.5503e-13 | -16.6585
370.901 | -3.023e-13 | -16.6372
370.658 | -1.8858e-13 | -16.6157
370.432 | -9.81e-14 | -16.5927
370.19 | -5.28e-14 | -16.5722
369.948 | 1.0984e-13 | -16.5501
369.724 | -9.4254e-14 | -16.5266
369.483 | 2.4996e-14 | -16.5055
369.241 | -9.305e-14 | -16.4847
369.001 | 1.4303e-14 | -16.4623
368.752 | 2.5947e-13 | -16.4424
368.511 | 2.6662e-13 | -16.4223
368.293 | -2.8503e-13 | -16.398
368.057 | -1.5639e-13 | -16.3771
367.821 | -2.1471e-13 | -16.3556
367.585 | -1.8212e-13 | -16.3351
367.349 | -8.2294e-14 | -16.3151
367.132 | -5.4177e-14 | -16.2914
366.895 | 2.263e-15 | -16.2706
366.661 | 1.4494e-13 | -16.2501
366.43 | -6.0648e-14 | -16.2294
366.194 | -4.2446e-14 | -16.2085
365.96 | 1.7242e-13 | -16.1873
365.728 | 4.215e-13 | -16.1658
365.283 | 1.2122e-12 | -16.1261
365.056 | -2.0922e-12 | -16.1056
364.844 | -1.2641e-12 | -16.0826
363.806 | 4.7332e-13 | -15.9902
363.581 | -1.6044e-13 | -15.97
363.357 | -1.502e-13 | -15.9496
363.133 | 1.0682e-13 | -15.9293
362.925 | 6.6753e-14 | -15.9072
362.702 | 5.1788e-14 | -15.8883
362.479 | 3.0383e-13 | -15.8694
362.256 | 2.4404e-13 | -15.8494
362.033 | 1.236e-14 | -15.829
361.829 | -1.4653e-13 | -15.8066
361.608 | -1.7424e-13 | -15.7868
361.384 | 4.4628e-13 | -15.7684
361.164 | 9.0573e-13 | -15.7492
360.945 | -4.4455e-13 | -15.7297
360.728 | -5.0602e-13 | -15.7101
360.527 | -1.8029e-13 | -15.6882
360.309 | -2.0953e-13 | -15.6688
360.09 | 1.3638e-13 | -15.6502
359.876 | 6.6963e-13 | -15.6308
359.663 | -3.4235e-13 | -15.6116
359.464 | -5.025e-13 | -15.5901
359.249 | -5.2191e-13 | -15.5714
359.035 | -7.2698e-14 | -15.5517
358.821 | -6.641e-14 | -15.533
358.608 | -2.794e-13 | -15.5141
358.397 | -1.0239e-13 | -15.4947
358.187 | -3.2379e-14 | -15.4753
357.99 | 2.2137e-13 | -15.4552
357.78 | -6.368e-15 | -15.4365
357.568 | 6.4682e-14 | -15.4183
357.376 | -3.9943e-13 | -15.3974
357.167 | -3.1479e-13 | -15.3785
356.959 | -2.0519e-13 | -15.3596
356.751 | 5.3852e-13 | -15.3407
356.543 | 2.7233e-13 | -15.3225
356.332 | -3.13e-13 | -15.305
356.142 | 1.4283e-14 | -15.2844
355.937 | -2.9829e-13 | -15.2657
355.732 | -2.8585e-13 | -15.2472
355.526 | -3.2135e-14 | -15.229
355.321 | -1.7011e-13 | -15.2106
355.117 | -8.941e-14 | -15.1922
354.913 | 4.9131e-14 | -15.1739
354.723 | 2.1614e-13 | -15.1543
354.521 | 4.2686e-13 | -15.136
354.319 | -8.5991e-14 | -15.1186
354.119 | -2.8185e-13 | -15.1001
353.917 | -2.5776e-13 | -15.0813
353.716 | -1.2741e-13 | -15.0626
353.514 | -5.5797e-14 | -15.0451
353.317 | -2.5446e-14 | -15.0269
353.117 | 2.116e-13 | -15.0089
352.918 | 7.7412e-13 | -14.9909
352.735 | 1.3055e-13 | -14.9719
352.538 | 5.2886e-13 | -14.9535
352.34 | 7.2488e-14 | -14.9343
352.141 | -1.7717e-13 | -14.9168
351.945 | 2.9329e-13 | -14.8988
351.75 | -3.8712e-13 | -14.8817
351.553 | -5.9853e-14 | -14.8643
351.359 | -3.4183e-13 | -14.8466
351.164 | -6.204e-13 | -14.8294
350.97 | -2.6405e-13 | -14.8119
350.775 | -1.4151e-13 | -14.794
350.582 | -7.174e-15 | -14.7746
350.388 | 1.1392e-13 | -14.7574
350.197 | 1.2513e-13 | -14.7404
350.002 | 5.4543e-13 | -14.7231
349.61 | 4.6045e-13 | -14.7338
349.225 | 2.3093e-13 | -14.743
348.933 | 3.8031e-13 | -14.7393
348.605 | 6.5863e-13 | -14.7401
348.267 | 2.5965e-13 | -14.7426
347.952 | 1.1191e-13 | -14.7426
347.665 | 4.8818e-13 | -14.7388
347.445 | 2.2844e-13 | -14.7252
346.974 | 2.6679e-12 | -14.7079
346.64 | 1.4901e-12 | -14.7107
345.261 | 2.6838e-12 | -14.6608
344.987 | -2.6866e-12 | -14.6539
344.764 | -3.6749e-12 | -14.6418
344.559 | -1.1834e-11 | -14.625
343.65 | -1.139e-13 | -14.5568
343.453 | -7.8456e-14 | -14.542
343.26 | -6.1797e-14 | -14.5269
343.018 | -4.6516e-14 | -14.5179
342.795 | -2.9058e-14 | -14.5061
342.555 | -2.0258e-14 | -14.4965
342.311 | -2.3732e-14 | -14.4861
342.011 | -2.4663e-14 | -14.485
341.787 | -2.3613e-14 | -14.4738
341.591 | -1.6287e-14 | -14.4599
341.389 | 1.733e-15 | -14.4462
340.931 | -2.848e-15 | -14.4644
340.66 | -1.4359e-14 | -14.4595
340.439 | -1.9547e-14 | -14.4479
340.208 | -4.64e-15 | -14.4355
339.944 | 1.7854e-14 | -14.4274
339.62 | -6.752e-15 | -14.4285
339.348 | -3.5e-17 | -14.4237
339.131 | 2.35e-15 | -14.4123
338.935 | -2.083e-15 | -14.3982
338.742 | -3.788e-15 | -14.3839
338.541 | 2.456e-15 | -14.3702
338.337 | -6.43e-16 | -14.3575
338.134 | 1.879e-15 | -14.3442
337.945 | -9.35e-16 | -14.329
337.683 | -1.602e-15 | -14.323
337.478 | -7.173e-15 | -14.3105
337.275 | -6.5684e-14 | -14.2976
337.069 | 2.625e-15 | -14.2845
336.861 | -8.8e-17 | -14.2734
336.686 | -3.5032e-14 | -14.2577
336.514 | -3.7586e-14 | -14.2413
336.341 | -4.3403e-13 | -14.2251
336.169 | -1.77e-13 | -14.2093
335.996 | -1.2128e-13 | -14.1937
335.827 | -6.4278e-14 | -14.1773
335.656 | 3.5677e-14 | -14.1615
335.495 | 2.112e-15 | -14.1447
335.322 | 5.6328e-14 | -14.1295
335.131 | 4.9595e-14 | -14.116
334.867 | -1.083e-13 | -14.1108
334.482 | 4.0391e-13 | -14.1198
334.091 | -4.2141e-12 | -14.097
333.899 | -6.4869e-12 | -14.084
332.419 | -3.5522e-12 | -14.0642
332.097 | -1.6204e-12 | -14.0662
331.829 | -1.098e-11 | -14.06
331.637 | -1.367e-12 | -14.0465
330.799 | -1.1134e-12 | -13.9858
330.304 | -2.8908e-12 | -13.9759
330.105 | -2.0232e-12 | -13.9648
329.162 | -6.524e-13 | -13.8857
329 | -3.1597e-12 | -13.8695
328.721 | -1.8078e-11 | -13.8651
328.416 | -6.6834e-13 | -13.864
327.251 | -8.1545e-14 | -13.8429
327.067 | -5.016e-14 | -13.8306
326.883 | -2.4443e-14 | -13.8185
326.676 | -1.1368e-14 | -13.8072
326.474 | -6.883e-15 | -13.7968
326.286 | -6.21e-15 | -13.7852
326.111 | 7.148e-15 | -13.7719
325.874 | 1.25e-15 | -13.7651
325.638 | 5.741e-15 | -13.7591
325.465 | 7.652e-15 | -13.7462
325.308 | 1.2965e-14 | -13.7314
325.155 | 9.472e-15 | -13.7155
324.998 | 1.583e-15 | -13.7007
324.838 | 1.456e-14 | -13.6864
324.685 | 1.0408e-14 | -13.6716
324.527 | 2.5841e-14 | -13.6575
324.291 | 9.126e-15 | -13.6517
324.049 | 1.3232e-14 | -13.6461
323.866 | 2.0974e-14 | -13.6342
323.678 | 3.0551e-14 | -13.6221
323.522 | 2.2256e-14 | -13.6082
323.372 | 6.434e-15 | -13.5932
323.223 | -1.5539e-14 | -13.5786
323.074 | 1.0094e-14 | -13.5638
322.934 | 1.4884e-14 | -13.5484
322.685 | -6.23e-16 | -13.5437
322.514 | 2.4243e-13 | -13.5299
322.363 | 6.2948e-13 | -13.5158
322.219 | 4.5983e-13 | -13.5008
322.072 | 2.3031e-13 | -13.4863
321.926 | 1.8308e-14 | -13.4714
321.777 | 4.3205e-14 | -13.457
321.628 | 3.8705e-14 | -13.4427
321.484 | 9.4609e-14 | -13.4279
321.34 | -1.1609e-12 | -13.413
321.019 | -3.9812e-11 | -13.3879
319.971 | -6.9074e-14 | -13.3607
319.772 | -4.0428e-14 | -13.3517
319.585 | -2.8266e-14 | -13.3419
319.381 | -2.4919e-14 | -13.333
319.23 | -1.0897e-14 | -13.3199
319.086 | -1.0705e-14 | -13.3058
318.947 | -1.1376e-14 | -13.2911
318.808 | -1.046e-15 | -13.2766
318.669 | -2.932e-15 | -13.2622
318.521 | 7.81e-16 | -13.2487
318.369 | 4.3083e-14 | -13.2357
318.013 | 1.0206e-14 | -13.2424
317.796 | 2.4046e-14 | -13.2359
317.543 | 3.8556e-14 | -13.2313
317.287 | 1.1924e-14 | -13.2277
316.947 | 1.4334e-14 | -13.2302
316.75 | 1.4855e-14 | -13.2214
316.582 | 8.421e-15 | -13.2102
316.429 | 7.307e-15 | -13.1975
316.267 | 1.4032e-14 | -13.1856
316.12 | 9.738e-15 | -13.172
315.975 | 9.859e-15 | -13.1577
315.82 | 1.3848e-14 | -13.1448
315.673 | 1.6613e-14 | -13.1308
315.533 | 9.002e-15 | -13.1173
315.395 | 1.1552e-14 | -13.1037
315.247 | 1.372e-14 | -13.0907
315.111 | 2.3383e-14 | -13.0771
314.975 | 1.1296e-14 | -13.0628
314.833 | 5.4278e-14 | -13.0493
314.539 | 1.218e-14 | -13.0489
314.387 | 1.9884e-14 | -13.0364
314.23 | 2.1862e-14 | -13.0248
314.047 | 4.3036e-14 | -13.0152
313.795 | 2.9726e-14 | -13.0121
313.574 | 2.071e-14 | -13.0065
313.369 | 2.2957e-14 | -12.9993
313.209 | 2.1506e-14 | -12.9881
313.067 | 3.5762e-14 | -12.9754
312.902 | 2.8052e-14 | -12.9643
312.7 | 2.0298e-14 | -12.9568
312.555 | 2.3099e-14 | -12.9441
312.427 | 2.1482e-14 | -12.9294
312.279 | 2.3704e-14 | -12.9145
312.15 | 2.4927e-14 | -12.8987
312.009 | 2.1016e-14 | -12.8854
311.871 | 2.959e-14 | -12.8723
311.726 | 2.1914e-14 | -12.859
311.572 | 2.8546e-14 | -12.8469
311.432 | 2.7084e-14 | -12.8332
311.301 | 2.5082e-14 | -12.8201
311.169 | 2.2972e-14 | -12.8067
311.021 | 4.6068e-14 | -12.7943
310.838 | 2.9188e-14 | -12.7855
310.677 | 2.4208e-14 | -12.7745
310.529 | 2.7583e-14 | -12.7624
310.357 | 5.462e-14 | -12.7525
310.074 | 2.3517e-14 | -12.7526
309.854 | 2.8216e-14 | -12.746
309.66 | 2.4135e-14 | -12.7387
309.473 | 3.9755e-14 | -12.7295
309.254 | 2.4552e-14 | -12.7224
309.106 | 2.1542e-14 | -12.7109
308.975 | 2.5203e-14 | -12.6984
308.847 | 2.8743e-14 | -12.6846
308.708 | 2.0555e-14 | -12.6726
308.581 | 2.2554e-14 | -12.6599
308.453 | 2.5784e-14 | -12.647
308.327 | 2.9275e-14 | -12.634
308.199 | 2.4178e-14 | -12.6212
307.999 | 4.8596e-14 | -12.6143
307.809 | 3.9918e-14 | -12.6069
307.613 | 2.2165e-14 | -12.5986
307.373 | 3.3578e-14 | -12.5951
307.205 | 2.589e-14 | -12.586
307.04 | 2.7318e-14 | -12.5759
306.922 | 2.5864e-14 | -12.5624
306.796 | 1.9401e-14 | -12.5496
306.676 | 2.3998e-14 | -12.5366
306.558 | 1.971e-14 | -12.5234
306.439 | 2.2866e-14 | -12.5102
306.316 | 2.3226e-14 | -12.4976
306.201 | 2.8378e-14 | -12.4845
306.07 | 2.8089e-14 | -12.4728
305.835 | 5.2323e-14 | -12.4694
305.407 | 2.3804e-14 | -12.4814
305.182 | 2.2581e-14 | -12.4774
304.995 | 2.7383e-14 | -12.4702
304.809 | 2.6772e-14 | -12.4628
304.629 | 3.0519e-14 | -12.4548
304.441 | 3.1324e-14 | -12.4476
304.273 | 3.0652e-14 | -12.4391
304.12 | 3.2314e-14 | -12.429
303.975 | 3.3387e-14 | -12.4185
303.743 | 3.6732e-14 | -12.415
303.551 | 3.2737e-14 | -12.4086
303.328 | 5.2915e-14 | -12.4046
303.094 | 2.2297e-14 | -12.4014
302.905 | 2.9537e-14 | -12.3948
302.689 | 3.7313e-14 | -12.389
302.52 | 4.5072e-14 | -12.3806
302.361 | 2.4002e-14 | -12.3715
302.178 | 2.9602e-14 | -12.3643
302.034 | 3.8046e-14 | -12.3542
301.913 | 2.8495e-14 | -12.3421
301.795 | 2.7781e-14 | -12.3301
301.646 | 2.8974e-14 | -12.3204
301.507 | 1.512e-14 | -12.31
301.389 | 2.1641e-14 | -12.2979
301.259 | 2.4928e-14 | -12.287
301.001 | 3.5002e-14 | -12.2862
300.808 | 6.2717e-14 | -12.2798
300.504 | 7.3669e-14 | -12.2825
300.013 | 7.7737e-14 | -12.2987
299.519 | 1.2155e-14 | -12.3163
299.248 | 3.2427e-14 | -12.3163
298.971 | 6.3858e-14 | -12.3167
298.527 | -6.21e-15 | -12.3302
298.18 | 4.7638e-14 | -12.3357
297.843 | 5.077e-14 | -12.3408
297.322 | 5.5972e-14 | -12.3604
296.897 | 4.26e-16 | -12.3719
296.372 | 1.3974e-14 | -12.3914
296.043 | 2.031e-14 | -12.3958
295.643 | 8.8751e-14 | -12.4059
295.316 | 2.981e-13 | -12.41
294.835 | 7.2384e-14 | -12.425
294.408 | 7.393e-15 | -12.4353
294.075 | 3.0167e-14 | -12.4391
293.577 | -3.3032e-14 | -12.4563
293.251 | 2.3158e-14 | -12.4599
292.863 | -1.9755e-14 | -12.4684
292.449 | -2.332e-15 | -12.4791
292.136 | 2.4215e-14 | -12.4819
291.687 | -1.9346e-14 | -12.4948
291.356 | 3.612e-14 | -12.4991
290.928 | -2.1193e-14 | -12.5105
290.561 | 3.0149e-14 | -12.5174
290.171 | -1.899e-15 | -12.5257
289.654 | 2.249e-15 | -12.5438
289.311 | 4.4636e-14 | -12.5485
288.77 | -9.638e-15 | -12.5685
288.41 | 3.1344e-14 | -12.5743
287.878 | -2.786e-15 | -12.5923
287.561 | 4.3059e-14 | -12.595
287.118 | 6.309e-15 | -12.6067
286.803 | 5.6131e-14 | -12.6091
286.377 | 9.847e-15 | -12.6196
286.024 | 6.1275e-14 | -12.6248
285.647 | 1.4202e-14 | -12.6319
285.261 | 3.1783e-14 | -12.6396
284.959 | 4.4965e-14 | -12.6407
284.464 | 1.6108e-14 | -12.6566
284.171 | 4.1758e-14 | -12.6564
283.677 | 8.344e-15 | -12.6714
283.41 | 4.7654e-14 | -12.6703
282.997 | 8.358e-15 | -12.6798
282.748 | 6.1193e-14 | -12.6768
282.322 | 1.7079e-14 | -12.688
282.089 | 6.4481e-14 | -12.684
281.657 | 1.3112e-14 | -12.695
281.436 | 4.5236e-14 | -12.6905
281.092 | 1.8901e-14 | -12.695
280.876 | 2.5703e-14 | -12.6901
280.582 | 1.6673e-14 | -12.6907
280.397 | 2.3191e-14 | -12.6827
280.236 | 2.2864e-14 | -12.6739
280.092 | 1.9592e-14 | -12.6639
279.949 | 2.3052e-14 | -12.654
279.799 | 1.6916e-14 | -12.6443
279.659 | 2.4849e-14 | -12.6341
279.514 | 1.9803e-14 | -12.6243
279.377 | 2.7059e-14 | -12.6141
279.239 | 2.6637e-14 | -12.604
279.031 | 3.6353e-14 | -12.5985
278.676 | 8.177e-14 | -12.6038
278.176 | 7.396e-15 | -12.6195
277.866 | 7.2648e-14 | -12.6218
277.367 | 1.3247e-14 | -12.6369
277.045 | 3.585e-14 | -12.639
276.63 | 2.8287e-14 | -12.6482
276.37 | 2.6102e-14 | -12.6469
276.144 | 2.0721e-14 | -12.6429
275.937 | 3.832e-14 | -12.6379
275.734 | 1.7193e-14 | -12.6324
275.557 | 2.5859e-14 | -12.6253
275.388 | 2.2603e-14 | -12.6175
275.216 | 1.4829e-14 | -12.6093
275.056 | 2.742e-14 | -12.6007
274.914 | 2.8937e-14 | -12.5906
274.765 | 2.3988e-14 | -12.5815
274.632 | 3.0247e-14 | -12.5714
274.5 | 3.2156e-14 | -12.5614
274.36 | 2.7305e-14 | -12.5517
274.228 | 2.7993e-14 | -12.5415
273.974 | 3.3794e-14 | -12.5397
273.778 | 5.1071e-14 | -12.5337
273.286 | 3.2345e-14 | -12.5484
272.935 | 4.7287e-14 | -12.5534
272.502 | 4.8279e-14 | -12.5638
272.134 | 2.4134e-14 | -12.5698
271.833 | 6.4073e-14 | -12.5711
271.517 | 2.6717e-14 | -12.5733
271.29 | 4.267e-14 | -12.5697
271.059 | 3.8409e-14 | -12.5665
270.868 | 2.9967e-14 | -12.5603
270.705 | 2.1446e-14 | -12.5526
270.541 | 1.5656e-14 | -12.5441
270.394 | 2.5832e-14 | -12.5352
270.252 | 3.5846e-14 | -12.5259
270.103 | 2.5594e-14 | -12.5174
269.969 | 2.4054e-14 | -12.5077
269.803 | 4.1974e-14 | -12.4996
269.656 | 3.1953e-14 | -12.4907
269.466 | 1.9685e-14 | -12.4849
269.309 | 3.907e-14 | -12.4763
269.094 | 2.6222e-14 | -12.4721
268.944 | 2.1531e-14 | -12.4634
268.763 | 3.0509e-14 | -12.4572
268.615 | 2.2594e-14 | -12.4487
268.492 | 1.5039e-14 | -12.4382
268.359 | 2.4576e-14 | -12.4286
268.231 | 3.1811e-14 | -12.4181
268.062 | 3.3421e-14 | -12.4108
267.669 | 3.8708e-14 | -12.4184
267.381 | 3.4545e-14 | -12.4192
267.007 | 6.5713e-14 | -12.4256
266.528 | 1.5857e-14 | -12.4385
266.271 | 4.9026e-14 | -12.4372
265.834 | 2.5466e-14 | -12.4475
265.54 | 3.222e-14 | -12.4484
265.138 | 2.8097e-14 | -12.456
264.878 | 3.4477e-14 | -12.4543
264.682 | 3.4138e-14 | -12.449
264.499 | 3.3738e-14 | -12.4429
264.321 | 3.3125e-14 | -12.4363
264.16 | 3.2422e-14 | -12.4284
263.997 | 2.5657e-14 | -12.4205
263.834 | 2.9173e-14 | -12.4125
263.677 | 6.7474e-14 | -12.4048
263.349 | 6.7753e-14 | -12.4081
263.053 | 2.6642e-14 | -12.4089
262.869 | 7.0484e-14 | -12.403
262.449 | 2.4075e-14 | -12.4121
262.267 | 2.9368e-14 | -12.4061
262.104 | 3.6408e-14 | -12.3984
261.902 | 2.8139e-14 | -12.3937
261.765 | 2.2586e-14 | -12.3842
261.631 | 4.4616e-14 | -12.3747
261.418 | 4.7566e-14 | -12.3706
261.24 | 1.9336e-14 | -12.3643
261.083 | 3.943e-14 | -12.3563
260.861 | -2.504e-15 | -12.3521
260.722 | -1.07e-14 | -12.3432
260.594 | 8.468e-15 | -12.3338
260.442 | 1.0719e-14 | -12.326
260.281 | 2.3569e-14 | -12.3187
260.152 | -2.2136e-14 | -12.3095
260.008 | 9.447e-15 | -12.3012
259.87 | 8.977e-15 | -12.2926
259.724 | 2.2617e-14 | -12.2842
259.569 | -3.0213e-13 | -12.2765
259.378 | -1.9559e-14 | -12.2712
259.211 | 1.4505e-14 | -12.264
258.934 | 6.2618e-14 | -12.2635
258.634 | 2.998e-14 | -12.2648
258.467 | 6.2335e-14 | -12.2579
258.067 | 2.5942e-14 | -12.2656
257.876 | 3.1264e-14 | -12.2603
257.645 | 4.8945e-14 | -12.2577
257.42 | 2.0762e-14 | -12.2543
257.265 | 3.0247e-14 | -12.2467
257.107 | 2.8895e-14 | -12.2389
256.944 | 3.9182e-14 | -12.232
256.55 | 6.4918e-14 | -12.2392
256.157 | 2.042e-14 | -12.2465
255.931 | 5.6916e-14 | -12.2434
255.426 | 3.1133e-14 | -12.2573
255.143 | 2.086e-14 | -12.2574
254.918 | 5.8243e-14 | -12.2544
254.54 | 2.9856e-14 | -12.2604
254.327 | 1.8882e-14 | -12.2569
254.16 | 3.3579e-14 | -12.2502
253.985 | 3.2683e-14 | -12.2441
253.826 | 2.4501e-14 | -12.2373
253.655 | 2.7703e-14 | -12.231
253.49 | 3.8702e-14 | -12.2243
253.288 | 3.3873e-14 | -12.2197
253.071 | 3.5206e-14 | -12.2165
252.88 | 3.1048e-14 | -12.2114
252.662 | 2.7402e-14 | -12.2076
252.454 | 2.7445e-14 | -12.2034
252.282 | 2.8083e-14 | -12.1972
252.099 | 3.0291e-14 | -12.1912
251.804 | 6.6438e-14 | -12.1924
251.384 | 2.4768e-14 | -12.2012
251.179 | 1.2621e-14 | -12.1972
250.844 | 5.0628e-14 | -12.2006
250.52 | 2.3829e-14 | -12.2033
250.307 | 1.6886e-14 | -12.1998
250.015 | 2.337e-14 | -12.2006
249.791 | 2.3216e-14 | -12.1978
249.608 | 2.5574e-14 | -12.1922
249.41 | 2.5125e-14 | -12.1876
249.221 | 3.0419e-14 | -12.1826
249.008 | 9.329e-15 | -12.1791
248.81 | 2.54e-14 | -12.1748
248.596 | 2.908e-14 | -12.1711
248.373 | 6.737e-15 | -12.1681
248.13 | 2.0807e-14 | -12.1655
247.934 | 2.0522e-14 | -12.161
247.72 | 1.8133e-14 | -12.1576
247.368 | 2.9512e-14 | -12.1622
247.032 | 1.3043e-14 | -12.1656
246.758 | 3.838e-14 | -12.1656
246.173 | 2.2259e-14 | -12.183
245.717 | 1.2276e-14 | -12.193
245.424 | 1.7917e-14 | -12.1937
245.164 | 1.7023e-14 | -12.1927
244.931 | 4.205e-15 | -12.1904
244.699 | -1.2443e-14 | -12.1882
244.443 | 8.186e-15 | -12.1874
244.15 | 7.107e-15 | -12.1885
243.852 | -6.166e-15 | -12.1896
243.597 | -7.127e-15 | -12.1882
243.372 | 7.941e-15 | -12.1854
243.136 | -2.73e-16 | -12.1827
242.903 | 7.819e-15 | -12.1803
242.679 | 3.396e-15 | -12.1772
242.433 | -2.971e-15 | -12.1756
242.189 | 5.289e-15 | -12.1736
241.956 | -5.473e-15 | -12.1713
241.689 | 7.648e-15 | -12.1708
241.393 | 6.17e-15 | -12.1716
241.11 | 8.43e-15 | -12.1721
240.85 | 4.01e-16 | -12.1713
240.582 | 1.9941e-14 | -12.1709
240.225 | 5.01e-16 | -12.1755
239.925 | -2.1696e-14 | -12.1771
239.632 | -2.9153e-14 | -12.1782
239.366 | -3.1132e-14 | -12.1773
239.09 | -1.2097e-14 | -12.1774
238.836 | -6.293e-15 | -12.1764
238.559 | 2.819e-14 | -12.1765
238.3 | 1.984e-15 | -12.1756
238.012 | 1.6208e-14 | -12.1762
237.729 | 1.4611e-14 | -12.1768
237.464 | 2.0818e-14 | -12.1762
237.18 | -2.84e-15 | -12.1764
236.9 | 1.3238e-14 | -12.1763
236.643 | 1.5561e-14 | -12.1752
236.366 | 1.5626e-14 | -12.1753
236.087 | 2.714e-14 | -12.1755
235.824 | 2.1416e-14 | -12.1746
235.528 | 3.0207e-14 | -12.1758
235.201 | 3.8138e-14 | -12.1786
234.871 | 2.8114e-14 | -12.1815
234.523 | 2.8062e-14 | -12.1855
234.161 | 2.7689e-14 | -12.1898
233.804 | 2.6496e-14 | -12.1939
233.471 | 1.3488e-14 | -12.1964
233.168 | 5.068e-14 | -12.1977
232.847 | 2.0051e-14 | -12.2003
232.554 | -7.69e-16 | -12.2013
232.239 | 1.2247e-14 | -12.2033
231.918 | 1.8691e-14 | -12.2057
231.591 | 2.6211e-14 | -12.2081
231.242 | 2.7583e-14 | -12.2121
230.897 | 3.2328e-14 | -12.2158
230.58 | 3.2511e-14 | -12.2181
230.241 | 2.9057e-14 | -12.2213
229.92 | 1.2698e-14 | -12.2238
229.575 | 9.92e-15 | -12.2274
229.231 | 7.572e-15 | -12.2309
228.913 | 2.7363e-14 | -12.2332
228.572 | 1.4391e-14 | -12.2365
228.244 | 8.047e-15 | -12.2392
227.873 | 2.0147e-14 | -12.2443
227.53 | 1.7002e-14 | -12.2481
227.155 | 9.573e-15 | -12.2529
226.769 | -6.634e-15 | -12.2587
226.385 | 1.0267e-14 | -12.2637
226.008 | -6.252e-15 | -12.2686
225.62 | 9.89e-15 | -12.2745
225.267 | 7.469e-15 | -12.2785
224.902 | -2.259e-14 | -12.2831
224.54 | -7.65e-16 | -12.287
224.177 | 2.8817e-14 | -12.291
223.808 | 3.2667e-14 | -12.2956
223.456 | 3.6657e-14 | -12.2994
223.073 | 3.9901e-14 | -12.3043
222.687 | 2.097e-14 | -12.3099
222.302 | -1.4045e-14 | -12.3155
221.948 | 1.5778e-14 | -12.3194
221.568 | 1.6042e-14 | -12.3245
220.872 | -2.5094e-09 | -12.3327
220.493 | -1.9764e-08 | -12.3374
220.076 | -7.6137e-09 | -12.3439
219.683 | -1.7355e-08 | -12.3489
219.288 | -4.9111e-08 | -12.3545
218.885 | -3.7027e-08 | -12.3607
218.431 | -0.0017829 | -12.3681
217.946 | -0.0010408 | -12.3786
217.483 | -0.00096063 | -12.3873
217.029 | -0.0017193 | -12.396
216.559 | -0.0014601 | -12.4056
216.164 | -0.0011714 | -12.4113
215.764 | -0.00077142 | -12.4171
215.364 | -0.00057954 | -12.4231
214.965 | -0.0011214 | -12.4287
214.577 | -0.0012077 | -12.4336
214.192 | -0.001132 | -12.4386
213.799 | -0.0010618 | -12.4442
213.392 | -0.0012455 | -12.4505
212.923 | -0.0011378 | -12.46
212.38 | -0.0013069 | -12.4732
211.85 | -0.0012391 | -12.4855
211.389 | -0.0012434 | -12.4945
210.889 | -0.001781 | -12.5053
210.407 | -0.001743 | -12.5149
209.922 | -0.0017037 | -12.525
207.044 | -2.638e-14 | -12.5948
206.478 | 4.115e-15 | -12.6087
205.886 | 1.8426e-14 | -12.6239
205.298 | 1.9536e-14 | -12.639
204.694 | 2.0868e-14 | -12.6547
204.127 | 3.306e-14 | -12.6685
203.462 | 2.9224e-14 | -12.6874
202.836 | 3.1824e-14 | -12.7042
202.188 | 3.2167e-14 | -12.722
201.545 | 4.3438e-14 | -12.739
200.929 | 5.4822e-14 | -12.7551
200.327 | 3.2143e-14 | -12.7702
199.717 | 4.8131e-13 | -12.786
199.171 | 2.4477e-13 | -12.7985
198.546 | 1.229e-13 | -12.8144
197.939 | 7.3174e-14 | -12.83
197.27 | 5.0777e-14 | -12.8485
196.594 | 4.6409e-14 | -12.8673
195.924 | 6.227e-14 | -12.8859
195.195 | 4.9337e-14 | -12.9073
194.539 | 4.4074e-14 | -12.9251
193.789 | 2.9402e-14 | -12.9472
193.046 | 2.2763e-14 | -12.9691
192.299 | 3.3979e-14 | -12.9909
191.547 | 3.2537e-14 | -13.0132
190.828 | 3.0196e-14 | -13.0338
190.171 | 3.9221e-14 | -13.0512
189.612 | 4.0399e-14 | -13.064
189.001 | 3.6089e-14 | -13.0791
188.429 | 1.6573e-14 | -13.0925
187.924 | 4.6523e-14 | -13.1024
187.463 | 5.6906e-14 | -13.1096
187.019 | 2.3038e-14 | -13.1167
186.532 | 3.1002e-14 | -13.1251
186.088 | 7.6547e-14 | -13.132
185.626 | 3.0533e-14 | -13.1399
185.161 | 4.3447e-14 | -13.1475
184.734 | 1.642e-14 | -13.1537
184.251 | 3.7155e-14 | -13.1625
183.766 | 3.9384e-14 | -13.1713
183.351 | 1.628e-14 | -13.1769
182.878 | 2.5373e-14 | -13.1847
182.476 | 4.4025e-14 | -13.1894
182.059 | 5.169e-14 | -13.1949
181.606 | 4.6936e-14 | -13.2023
181.151 | 2.858e-14 | -13.2096
180.705 | 2.7541e-14 | -13.2162
180.317 | 3.8205e-14 | -13.2204
179.891 | 5.2717e-14 | -13.2256
179.533 | 3.9923e-14 | -13.2282
179.125 | 3.6764e-14 | -13.2334
178.723 | 3.501e-14 | -13.2378
178.332 | 3.268e-14 | -13.242
177.946 | 3.171e-14 | -13.246
177.533 | 2.4952e-14 | -13.251
177.146 | 3.5386e-14 | -13.2548
176.771 | -8.525e-15 | -13.2577
176.388 | 2.5476e-14 | -13.2609
176.036 | 2.9135e-14 | -13.2629
175.685 | 3.1947e-14 | -13.265
175.335 | 2.7516e-14 | -13.2669
175.015 | 2.1679e-14 | -13.2675
174.648 | 2.7222e-14 | -13.2697
174.301 | 4.4185e-14 | -13.2716
173.928 | -9.0393e-14 | -13.2748
173.286 | -6.5072e-13 | -13.2785
171.591 | -1.6987e-14 | -13.2958
171.197 | 1.3904e-14 | -13.2994
170.772 | 7.718e-15 | -13.3048
170.323 | -1.2233e-13 | -13.3109
169.841 | -2.9861e-14 | -13.3186
169.386 | -6.1643e-14 | -13.3251
168.923 | -1.3916e-14 | -13.3325
168.443 | -5.267e-15 | -13.3404
168.006 | -1.993e-15 | -13.3463
167.577 | 1.96e-14 | -13.3514
167.211 | -1.3337e-13 | -13.3537
166.873 | -6.6216e-14 | -13.355
166.547 | -2.1068e-14 | -13.356
166.256 | -8.74e-15 | -13.3551
165.954 | -2.3186e-14 | -13.3548
165.659 | -4.9314e-14 | -13.3542
165.368 | -4.3978e-14 | -13.3534
165.077 | -5.1952e-14 | -13.3526
164.793 | 3.4344e-14 | -13.3516
164.534 | -5.1967e-14 | -13.3494
164.259 | -2.9978e-13 | -13.3479
163.984 | -1.976e-13 | -13.3464
163.708 | -1.3999e-13 | -13.3449
163.44 | -4.1408e-14 | -13.3429
163.177 | 1.0147e-14 | -13.3409
162.913 | 3.0169e-14 | -13.3388
162.668 | 2.2783e-14 | -13.336
162.385 | 2.2783e-14 | -13.3346
162.142 | 1.8774e-14 | -13.3317
161.864 | 2.9337e-14 | -13.3295
161.603 | 2.1101e-14 | -13.3272
161.35 | 2.0893e-14 | -13.3244
161.1 | 1.8289e-14 | -13.3217
160.853 | 1.6801e-14 | -13.3188
160.603 | 2.7442e-14 | -13.3161
160.356 | 2.751e-14 | -13.3133
160.112 | 2.8754e-14 | -13.3103
159.872 | 2.4536e-14 | -13.3073
159.635 | 3.2004e-14 | -13.3042
159.396 | 3.191e-14 | -13.301
159.157 | 2.9929e-14 | -13.2976
158.922 | 2.0984e-14 | -13.2944
158.685 | 3.0259e-14 | -13.2909
158.453 | 2.8771e-14 | -13.2873
158.203 | 2.5765e-14 | -13.2842
157.967 | 3.0356e-14 | -13.281
157.719 | 2.5148e-14 | -13.2783
157.479 | 3.1127e-14 | -13.2752
157.271 | 3.0406e-14 | -13.2709
157.05 | 2.0434e-14 | -13.2669
156.828 | 2.2111e-14 | -13.2631
156.606 | 2.9487e-14 | -13.2592
156.384 | 3.1816e-14 | -13.2553
156.153 | 2.6858e-14 | -13.2516
155.936 | 2.4984e-14 | -13.2474
155.718 | 2.6975e-14 | -13.2435
155.501 | 2.3779e-14 | -13.2392
155.289 | 2.0418e-14 | -13.2346
155.074 | 2.6062e-14 | -13.2305
154.849 | 3.2051e-14 | -13.2265
154.658 | 2.8442e-14 | -13.2215
154.446 | 3.3936e-14 | -13.2175
154.237 | 2.6644e-14 | -13.2131
154.019 | 4.3612e-13 | -13.2093
153.797 | 3.0577e-13 | -13.2054
153.589 | 1.4834e-13 | -13.201
153.387 | 8.6694e-14 | -13.1966
153.18 | 4.9597e-14 | -13.1923
152.98 | 3.709e-14 | -13.1871
152.78 | 3.4377e-14 | -13.1824
152.581 | 3.1279e-14 | -13.1779
152.382 | 4.0531e-14 | -13.1731
152.186 | 3.9705e-14 | -13.1684
151.995 | 3.548e-14 | -13.1635
151.801 | 3.0655e-14 | -13.1586
151.602 | 3.3699e-14 | -13.1538
151.389 | 3.1064e-14 | -13.1497
151.191 | 4.1081e-14 | -13.1452
150.999 | 2.6359e-14 | -13.14
150.795 | 2.4523e-14 | -13.135
150.61 | 2.9776e-14 | -13.1298
150.418 | 3.1968e-14 | -13.1247
150.222 | 3.119e-14 | -13.1199
150.018 | 2.0401e-14 | -13.1157
149.82 | 4.809e-15 | -13.111
149.633 | 3.5374e-14 | -13.1061
149.453 | 5.2889e-14 | -13.1006
149.286 | 3.8482e-14 | -13.0945
149.129 | 1.3534e-14 | -13.0883
148.98 | 5.76e-16 | -13.0814
148.833 | 4.8414e-14 | -13.074
148.707 | 2.9944e-14 | -13.0665
148.593 | 2.1622e-14 | -13.0579
148.498 | 1.2404e-14 | -13.049
148.409 | 2.2313e-14 | -13.0398
148.32 | -2.786e-15 | -13.0303
148.245 | 1.9654e-14 | -13.0207
148.194 | 1.6449e-14 | -13.0097
148.167 | 5.593e-15 | -12.998
148.161 | 1.9636e-14 | -12.9856
148.177 | 1.3049e-14 | -12.9722
148.215 | 3.3628e-14 | -12.9573
148.26 | 1.782e-15 | -12.9427
148.319 | 2.5663e-14 | -12.9274
148.392 | 2.4889e-14 | -12.9115
148.488 | 2.1897e-14 | -12.895
148.6 | 2.1482e-14 | -12.8776
148.731 | 6.985e-15 | -12.8594
148.859 | 5.035e-15 | -12.8414
148.983 | 7.993e-15 | -12.8238
149.1 | 2.1064e-14 | -12.8064
149.208 | 1.6199e-14 | -12.7894
149.309 | 1.2939e-14 | -12.773
149.402 | 2.9948e-14 | -12.7565
149.492 | 2.9518e-14 | -12.7404
149.576 | 1.8642e-14 | -12.7243
149.65 | 1.0021e-14 | -12.7089
149.712 | 1.8662e-14 | -12.6939
149.771 | 2.7767e-14 | -12.679
149.819 | 2.583e-14 | -12.6647
149.87 | 1.0552e-14 | -12.6504
149.916 | 1.6737e-14 | -12.6361
149.959 | 2.2832e-14 | -12.6221
149.991 | 1.0616e-14 | -12.6087
150.02 | 1.5147e-14 | -12.5949

## Pulse
Temperature | Current | Time
150.041 | 8.564e-14 | 6.2598
150.128 | -1.3874e-14 | 12.2528
150.21 | 4.272e-15 | 13.7112
150.226 | 2.1475e-14 | 15.1594
150.241 | 2.7923e-14 | 16.6244
150.256 | 3.2001e-14 | 18.0622
150.261 | 4.0637e-14 | 19.4901
150.254 | 3.9728e-14 | 20.9386
150.25 | 2.9535e-14 | 22.3556
150.249 | 2.7924e-14 | 23.8062
150.248 | 2.6242e-14 | 25.2487
150.248 | 3.8179e-14 | 26.6739
150.244 | 3.5265e-14 | 28.1087
150.24 | 1.9045e-14 | 29.5546

## Measurements
Temperature | Current | Temp Rate
150.223 | -6.96e-14 | 0
150.537 | -2.8077e-14 | 3.5827
151.933 | -6.139e-15 | 16.914
152.934 | 1.2854e-14 | 18.7465
153.366 | 2.3631e-14 | 19.2084
153.606 | 1.5791e-14 | 19.5442
153.884 | 1.6216e-14 | 19.8418
154.164 | 1.4916e-14 | 20.1293
154.446 | 1.8558e-14 | 20.3474
154.729 | 1.6127e-14 | 20.5756
155.132 | 1.7356e-14 | 32.9525
155.413 | 9.637e-15 | 50.3691
155.696 | 1.4426e-14 | 73.909
155.935 | 2.002e-15 | 167.6011
156.338 | 1.6412e-14 | 221.6881
156.62 | 1.9e-14 | 16.133
156.9 | 2.5634e-14 | 16.2795
157.14 | 1.362e-14 | 16.5041
157.535 | 1.591e-14 | 453.38
157.813 | 1.659e-14 | 17.0104
158.091 | 2.0414e-14 | 17.1205
158.326 | 1.6849e-14 | 17.3096
158.722 | 1.2001e-14 | 17.4842
158.993 | 1.5368e-14 | 17.6131
159.267 | 1.6706e-14 | 17.7531
159.615 | 1.7989e-14 | 17.9381
159.881 | 1.3245e-14 | 18.0607
160.147 | 1.8749e-14 | 18.1489
160.524 | 2.3463e-14 | 18.2934
160.788 | 2.4609e-14 | 18.381
161.164 | 2.745e-14 | 18.4519
161.426 | 1.7792e-14 | 18.5774
161.688 | 1.3343e-14 | 18.643
162.062 | 1.4997e-14 | 18.6837
162.322 | 2.1197e-14 | 18.7718
162.543 | 1.6548e-14 | 18.8523
162.91 | 1.983e-14 | 18.9466
163.165 | 1.8077e-14 | 18.9529
163.493 | 2.4849e-14 | 19.0436
163.857 | 2.0858e-14 | 19.0859
164.11 | 2.0257e-14 | 19.1338
164.327 | 1.6551e-14 | 19.1809
164.688 | 1.6059e-14 | 19.2529
165.045 | 1.827e-14 | 19.2739
165.259 | 1.6217e-14 | 19.3063
165.646 | 1.6618e-14 | 19.3425
165.86 | 2.1575e-14 | 19.3737
166.212 | 2.0705e-14 | 19.4114
166.459 | 1.4482e-14 | 19.4439
166.81 | 9.376e-15 | 19.4808
167.16 | 1.7075e-14 | 19.4832
167.369 | 1.1909e-14 | 19.5033
167.75 | 2.4516e-14 | 19.5353
167.958 | -5.391e-15 | 19.5534
168.303 | 1.6999e-14 | 19.5811
168.647 | 2.0155e-14 | 19.5866
168.853 | 1.7959e-14 | 19.6044
169.196 | 2.6152e-14 | 19.6162
169.437 | 3.7981e-14 | 19.6368
169.779 | 2.9349e-14 | 19.636
170.118 | -2.7767e-14 | 19.6575
170.326 | -1.0054e-14 | 19.6756
170.666 | -2.5e-16 | 19.6786
171.021 | -4.267e-15 | 19.7185
171.295 | -5.381e-15 | 19.7249
171.571 | 1.3376e-14 | 19.778
171.921 | 1.3007e-14 | 19.8423
172.189 | 7.301e-15 | 19.8841
172.563 | 8.182e-15 | 19.9037
172.78 | 1.389e-14 | 19.9235
173.032 | 1.1332e-14 | 19.9484
173.384 | 6.533e-15 | 19.9597
173.626 | -2.19e-15 | 19.9716
173.969 | 6.445e-15 | 19.9621
174.274 | -8.8e-17 | 19.9813
174.608 | -7.16e-16 | 19.9904
174.84 | 1.2594e-14 | 19.9924
175.174 | 9.4e-15 | 19.9754
175.477 | 3.415e-15 | 19.9845
175.848 | 3.566e-15 | 19.9689
176.084 | 7.695e-15 | 19.9801
176.419 | 6.641e-15 | 19.9861
176.754 | 1.372e-14 | 19.9852
176.988 | 4.015e-15 | 19.9859
177.282 | 2.444e-15 | 19.9777
177.644 | 8.923e-15 | 19.9793
177.874 | 6.966e-15 | 19.9776
178.199 | 6.917e-15 | 19.9764
178.459 | 4.6e-15 | 19.9803
178.784 | -5.79e-16 | 19.9499
179.109 | 3.965e-15 | 19.9633
179.336 | 6.875e-15 | 19.9602
179.661 | 8.947e-15 | 19.94
179.984 | 8.769e-15 | 19.9416
180.276 | 9.118e-15 | 19.9449
180.599 | 1.0728e-14 | 19.931
180.924 | -7.84e-16 | 19.9298
181.215 | 1.026e-15 | 19.9271
181.443 | 3.651e-15 | 19.9221
181.797 | 1.784e-15 | 19.9154
182.09 | 4.063e-15 | 19.9179
182.416 | 8.018e-15 | 19.9014
182.706 | 3.624e-15 | 19.9043
182.933 | 1.2059e-14 | 19.9006
183.259 | 1.2463e-14 | 19.886
183.582 | 9.088e-15 | 19.8903
183.875 | 1.3247e-14 | 19.8929
184.202 | 9.111e-15 | 19.8789
184.526 | 1.3202e-14 | 19.8801
184.85 | 1.1256e-14 | 19.8727
185.076 | -1.115e-15 | 19.8704
185.366 | -4.41e-16 | 19.8716
185.687 | 9.48e-15 | 19.8711
186.013 | 2.74e-15 | 19.8596
186.306 | 6.531e-15 | 19.8659
186.633 | 4.13e-15 | 19.8527
186.831 | 4.8e-15 | 19.8558
187.156 | 1.741e-15 | 19.8605
187.484 | 1.1517e-14 | 19.8452
187.78 | 8.379e-15 | 19.8503
188.111 | 9.143e-15 | 19.8478
188.34 | -4.55e-16 | 19.8477
188.671 | 1.1515e-14 | 19.8486
189 | 9.973e-15 | 19.8541
189.232 | 7.816e-15 | 19.8469
189.562 | -7.26e-16 | 19.852
189.893 | 4.258e-15 | 19.8462
190.191 | 3.872e-15 | 19.8532
190.522 | 6.624e-15 | 19.8412
190.82 | 1.542e-15 | 19.8472
191.054 | -2.499e-15 | 19.8489
191.417 | 1.0521e-14 | 19.8469
191.717 | 4.097e-15 | 19.8529
191.952 | 6.732e-15 | 19.8509
192.316 | 2.203e-15 | 19.8433
192.648 | 3.344e-15 | 19.8499
192.883 | -9.93e-16 | 19.8515
193.182 | 8.92e-16 | 19.8564
193.514 | 3.103e-15 | 19.8497
193.814 | -1.381e-15 | 19.8474
194.081 | 1.011e-15 | 19.8541
194.413 | 7.084e-15 | 19.8623
194.748 | 8.977e-15 | 19.8559
194.981 | 4.168e-15 | 19.8579
195.28 | 6.532e-15 | 19.8643
195.615 | 7.33e-16 | 19.8669
195.947 | 3.857e-15 | 19.8511
196.181 | 5.231e-15 | 19.8633
196.515 | 1.995e-15 | 19.8663
196.748 | 1.435e-15 | 19.8685
197.081 | 5.875e-15 | 19.8592
197.415 | 2.091e-15 | 19.8614
197.683 | -1.797e-15 | 19.8667
197.982 | 3.339e-15 | 19.8725
198.317 | 2.067e-15 | 19.8674
198.615 | 2.333e-15 | 19.8674
198.846 | 8.441e-15 | 19.8686
199.176 | 4.081e-15 | 19.8694
199.507 | -6.79e-16 | 19.8726
199.738 | 6.042e-15 | 19.8712
200.068 | 1.458e-15 | 19.8723
200.4 | 8.131e-15 | 19.8682
200.633 | 3.25e-16 | 19.869
200.965 | 1.961e-15 | 19.8742
201.298 | 7.283e-15 | 19.8693
201.599 | 6.99e-16 | 19.8711
201.833 | 6.181e-15 | 19.8701
202.166 | 8.475e-15 | 19.8762
202.501 | 9.373e-15 | 19.8675
202.735 | 1.6018e-14 | 19.8769
203.067 | 1.0944e-14 | 19.8783
203.401 | 3.5682e-14 | 19.8798
203.636 | 2.5717e-14 | 19.8776
203.969 | 1.1351e-14 | 19.8828
204.306 | 3.399e-15 | 19.8836
204.638 | 1.327e-15 | 19.8746
204.873 | 3.39e-15 | 19.8763
205.207 | 3.513e-15 | 19.8811
205.474 | 3.199e-15 | 19.8858
205.843 | -1.228e-15 | 19.8793
206.075 | 5.445e-15 | 19.8806
206.409 | 1.687e-15 | 19.8859
206.643 | -2.72e-15 | 19.8872
206.977 | 1.455e-15 | 19.8842
207.312 | 1.088e-15 | 19.8852
207.644 | -6.342e-15 | 19.8876
207.879 | -8.004e-15 | 19.888
208.213 | 2.27e-15 | 19.8901
208.515 | 1.276e-15 | 19.8873
208.781 | 1.0507e-14 | 19.8904
209.081 | 2.328e-15 | 19.8927
209.418 | -1.403e-15 | 19.8927
209.684 | -4.01e-16 | 19.8909
210.017 | -1.2696e-14 | 19.8927
210.318 | 3.557e-15 | 19.8964
210.553 | -9.839e-15 | 19.898
210.887 | -5.358e-15 | 19.8971
211.255 | -2.758e-15 | 19.894
211.489 | -3.78e-16 | 19.8904
211.823 | -1.0673e-14 | 19.9035
212.057 | -6.658e-15 | 19.9034
212.391 | -4.558e-15 | 19.8956
212.724 | -4.898e-15 | 19.9009
212.926 | 8.42e-16 | 19.9019
213.256 | -8.294e-15 | 19.9034
213.587 | 2.83e-15 | 19.9054
213.917 | -2.576e-15 | 19.903
214.215 | -4.076e-15 | 19.8961
214.446 | -5.277e-15 | 19.9024
214.778 | 7.2e-17 | 19.905
215.111 | -3.362e-15 | 19.8997
215.375 | -4.244e-15 | 19.8965
215.706 | -9.41e-16 | 19.8996
215.973 | 1.008e-15 | 19.893
216.305 | 2.752e-15 | 19.9026
216.54 | -7.251e-15 | 19.9019
216.873 | -4.294e-15 | 19.9035
217.206 | 5.55e-16 | 19.8996
217.472 | 2.205e-15 | 19.897
217.805 | -6.459e-15 | 19.9064
218.038 | 3.66e-16 | 19.9053
218.37 | 6.977e-15 | 19.8981
218.737 | -1e-16 | 19.8987
218.97 | -9.936e-15 | 19.9077
219.305 | -1.1229e-14 | 19.8987
219.542 | -5.499e-15 | 19.9093
219.876 | -7.429e-15 | 19.9029
220.21 | -1.2002e-14 | 19.9065
220.551 | -1.1573e-14 | 19.9081
220.786 | -4.449e-15 | 19.9095
221.126 | -4.752e-15 | 19.9139
221.361 | -8.499e-15 | 19.9157
221.698 | -8.607e-15 | 19.9139
221.967 | -9.071e-15 | 19.9131
222.301 | -1.1531e-14 | 19.9208
222.535 | -2.48e-16 | 19.9178
222.903 | -7.896e-15 | 19.9161
223.137 | -2.411e-15 | 19.9221
223.469 | -1.249e-15 | 19.9187
223.802 | -5.636e-15 | 19.9188
224.067 | -1.146e-15 | 19.9187
224.401 | 3.682e-15 | 19.9155
224.733 | -2.721e-15 | 19.9184
224.932 | -5.143e-15 | 19.915
225.297 | -5.838e-15 | 19.9223
225.531 | -5.19e-15 | 19.9212
225.897 | -3.643e-15 | 19.9184
226.231 | -5.123e-15 | 19.9142
226.463 | -5e-16 | 19.9204
226.832 | 3.706e-15 | 19.9191
227.065 | -5.43e-16 | 19.9205
227.366 | -7.015e-15 | 19.9231
227.697 | -1.0713e-14 | 19.9229
227.964 | -8.33e-16 | 19.921
228.293 | -1.318e-15 | 19.9184
228.624 | 2.629e-15 | 19.9218
228.854 | 3.751e-15 | 19.919
229.219 | -9.77e-16 | 19.9179
229.516 | -4.911e-15 | 19.9196
229.782 | -9.18e-16 | 19.9184
230.116 | -8.25e-16 | 19.9174
230.447 | -7.047e-15 | 19.9177
230.683 | -1.2868e-14 | 19.9166
231.017 | -6.785e-15 | 19.9238
231.253 | -6.345e-15 | 19.9219
231.587 | -2.666e-15 | 19.9227
231.922 | -1.821e-15 | 19.9238
232.156 | -5.65e-15 | 19.9251
232.489 | -4.125e-15 | 19.9268
232.79 | -5.26e-15 | 19.9277
233.122 | -8.38e-15 | 19.9258
233.388 | -1.1369e-14 | 19.9212
233.721 | -1.542e-15 | 19.9262
233.987 | -3.468e-15 | 19.9227
234.32 | -5.768e-15 | 19.9284
234.552 | -3.381e-15 | 19.9249
234.919 | -1.2376e-14 | 19.9236
235.152 | -6.81e-15 | 19.9285
235.484 | -3.96e-16 | 19.923
235.816 | -6.667e-15 | 19.9233
236.149 | -9.223e-15 | 19.9227
236.382 | -8.089e-15 | 19.9293
236.715 | -6.978e-15 | 19.9186
236.948 | -8.286e-15 | 19.9229
237.316 | -6.645e-15 | 19.9265
237.583 | -1.0267e-14 | 19.9245
237.917 | -6.132e-15 | 19.925
238.151 | -7.351e-15 | 19.9297
238.484 | -1.3003e-14 | 19.9279
238.818 | -7.822e-15 | 19.9315
239.152 | 3.11e-16 | 19.9271
239.387 | -2.996e-15 | 19.9327
239.72 | -4.949e-15 | 19.9321
239.987 | -1.9451e-14 | 19.9292
240.288 | -1.2089e-14 | 19.928
240.654 | -6.303e-15 | 19.9246
240.923 | -3.533e-15 | 19.9274
241.158 | -7.615e-15 | 19.9293
241.525 | -1.284e-15 | 19.9297
241.758 | -7.62e-16 | 19.9305
242.093 | -6.89e-15 | 19.9328
242.327 | -1.1254e-14 | 19.9326
242.693 | -4.024e-15 | 19.9308
242.929 | -3.137e-15 | 19.9363
243.262 | -5.997e-15 | 19.9353
243.595 | -5.351e-15 | 19.937
243.83 | -5.145e-15 | 19.9371
244.163 | -6.792e-15 | 19.9361
244.525 | 1.874e-15 | 19.9333
244.855 | 3.789e-15 | 19.9324
245.088 | -1.674e-15 | 19.9298
245.418 | -5.622e-15 | 19.9358
245.652 | -4.203e-15 | 19.933
246.016 | -1.28e-15 | 19.9327
246.315 | -2.371e-15 | 19.9337
246.549 | -5.609e-15 | 19.9335
246.914 | -1.866e-15 | 19.9323
247.249 | 4.5e-17 | 19.9325
247.482 | -1.17e-15 | 19.9309
247.817 | -6.53e-15 | 19.9372
248.05 | 1.562e-15 | 19.9365
248.384 | -7.861e-15 | 19.9348
248.718 | -4.48e-16 | 19.9365
248.986 | 1.16e-16 | 19.929
249.352 | -2.837e-15 | 19.9347
249.587 | -7.922e-15 | 19.9378
249.922 | -3.901e-15 | 19.9395
250.155 | -4.92e-15 | 19.9391
250.489 | 4.024e-15 | 19.9402
250.823 | 1.978e-15 | 19.9399
251.057 | -7.03e-16 | 19.9371
251.425 | 1.392e-15 | 19.9367
251.659 | 4.422e-15 | 19.9403
251.992 | -7.427e-15 | 19.9406
252.226 | -1.0763e-14 | 19.941
252.56 | -7.576e-15 | 19.9393
252.928 | -1.1152e-14 | 19.9347
253.161 | -1.5236e-14 | 19.9379
253.429 | -9.941e-15 | 19.9424
253.763 | -2.375e-15 | 19.9411
254.098 | -9.159e-15 | 19.9387
254.364 | -9.682e-15 | 19.9434
254.697 | -1.781e-14 | 19.9422
254.964 | -1.4274e-14 | 19.9401
255.298 | -8.06e-15 | 19.9444
255.532 | -2.518e-15 | 19.9434
255.9 | -1.0802e-14 | 19.9407
256.235 | -2.2851e-14 | 19.9376
256.499 | -2.3332e-14 | 19.9435
256.735 | -2.2527e-14 | 19.9417
257.1 | -2.2392e-14 | 19.9403
257.367 | -2.922e-14 | 19.9429
257.701 | -2.7888e-14 | 19.946
257.934 | -3.0842e-14 | 19.942
258.302 | -2.8107e-14 | 19.9422
258.536 | -2.9395e-14 | 19.9436
258.903 | -3.0874e-14 | 19.9409
259.135 | -2.8644e-14 | 19.9463
259.471 | -2.7029e-14 | 19.9472
259.84 | -3.2005e-14 | 19.9447
260.104 | -2.4563e-14 | 19.9441
260.372 | -3.0798e-14 | 19.945
260.64 | -4.1551e-14 | 19.9479
260.969 | -3.6154e-14 | 19.9477
261.304 | -3.0017e-14 | 19.9474
261.532 | -3.0044e-14 | 19.944
261.897 | -3.2302e-14 | 19.9419
262.129 | -2.5239e-14 | 19.9455
262.492 | -2.9956e-14 | 19.9411
262.824 | -2.9854e-14 | 19.9419
263.091 | -2.8893e-14 | 19.9459
263.423 | -3.271e-14 | 19.9456
263.688 | -3.2875e-14 | 19.9419
264.022 | -3.4555e-14 | 19.9445
264.29 | -3.6544e-14 | 19.9425
264.623 | -3.8269e-14 | 19.9472
264.891 | -3.2891e-14 | 19.9439
265.223 | -3.2946e-14 | 19.9429
265.457 | -3.0812e-14 | 19.9469
265.791 | -3.1467e-14 | 19.9438
266.058 | -2.4729e-14 | 19.9476
266.393 | -3.0068e-14 | 19.9467
266.659 | -3.2835e-14 | 19.9447
266.994 | -3.0048e-14 | 19.9493
267.228 | -3.3544e-14 | 19.9483
267.594 | -3.9844e-14 | 19.9476
267.861 | -3.8023e-14 | 19.9445
268.195 | -4.0941e-14 | 19.9495
268.462 | -4.2299e-14 | 19.9465
268.797 | -3.6249e-14 | 19.9455
269.029 | -3.3307e-14 | 19.9465
269.398 | -4.0215e-14 | 19.948
269.665 | -3.9194e-14 | 19.9458
269.999 | -4.5654e-14 | 19.9487
270.264 | -4.4413e-14 | 19.9462
270.599 | -4.5748e-14 | 19.9499
270.866 | -4.2113e-14 | 19.9479
271.2 | -4.9748e-14 | 19.9472
271.432 | -4.9586e-14 | 19.9508
271.767 | -3.7897e-14 | 19.9498
272.134 | -4.1096e-14 | 19.9474
272.367 | -4.6908e-14 | 19.951
272.701 | -4.8203e-14 | 19.9508
272.966 | -4.9332e-14 | 19.9485
273.301 | -4.5046e-14 | 19.9488
273.568 | -5.341e-14 | 19.9479
273.903 | -4.5994e-14 | 19.9502
274.169 | -4.8215e-14 | 19.9494
274.502 | -4.5434e-14 | 19.9504
274.77 | -4.1492e-14 | 19.9499
275.103 | -5.0693e-14 | 19.9541
275.336 | -5.611e-14 | 19.9517
275.705 | -4.6663e-14 | 19.9502
276.038 | -4.7407e-14 | 19.9505
276.271 | -5.0128e-14 | 19.9529
276.638 | -4.9721e-14 | 19.9516
276.872 | -4.0845e-14 | 19.9548
277.205 | -4.7923e-14 | 19.9528
277.471 | -3.7398e-14 | 19.9503
277.805 | -5.0061e-14 | 19.9541
278.039 | -4.4736e-14 | 19.9529
278.406 | -4.5401e-14 | 19.952
278.64 | -4.7051e-14 | 19.9547
278.974 | -3.7402e-14 | 19.9542
279.337 | -4.7419e-14 | 19.9524
279.568 | -4.6713e-14 | 19.951
279.897 | -3.3349e-14 | 19.9533
280.162 | -4.5832e-14 | 19.9514
280.493 | -4.2822e-14 | 19.9508
280.758 | -3.8584e-14 | 19.9521
281.091 | -3.7695e-14 | 19.951
281.422 | -3.372e-14 | 19.9505
281.69 | -4.4507e-14 | 19.952
282.024 | -4.6129e-14 | 19.951
282.257 | -4.1507e-14 | 19.9532
282.59 | -5.0258e-14 | 19.9527
282.925 | -4.462e-14 | 19.9531
283.192 | -4.0559e-14 | 19.9508
283.526 | -4.2906e-14 | 19.952
283.794 | -3.1723e-14 | 19.9509
284.027 | -3.6877e-14 | 19.9534
284.393 | -4.1688e-14 | 19.9522
284.628 | -3.9119e-14 | 19.9553
284.995 | -3.3109e-14 | 19.952
285.228 | -4.3753e-14 | 19.9543
285.563 | -3.1321e-14 | 19.9545
285.93 | -3.1653e-14 | 19.9537
286.163 | -3.8255e-14 | 19.9527
286.497 | -3.5962e-14 | 19.9519
286.764 | -3.3602e-14 | 19.9528
287.099 | -4.0153e-14 | 19.9547
287.431 | -3.6179e-14 | 19.9521
287.697 | -4.3323e-14 | 19.9535
287.933 | -3.6617e-14 | 19.9557
288.299 | -4.0113e-14 | 19.9544
288.634 | -3.4921e-14 | 19.9544
288.868 | -3.6324e-14 | 19.9533
289.201 | -4.2587e-14 | 19.956
289.467 | -4.1042e-14 | 19.9563
289.802 | -4.6094e-14 | 19.9563
290.068 | -3.4666e-14 | 19.9537
290.402 | -4.0801e-14 | 19.9557
290.669 | -4.172e-14 | 19.9565
290.936 | -4.4203e-14 | 19.9568
291.304 | -4.7012e-14 | 19.9588
291.536 | -4.5624e-14 | 19.9562
291.904 | -4.5043e-14 | 19.957
292.17 | -4.7777e-14 | 19.9585
292.537 | -5.1287e-14 | 19.9567
292.771 | -3.9186e-14 | 19.9589
293.104 | -4.2549e-14 | 19.9575
293.37 | -3.9885e-14 | 19.9552
293.704 | -4.1181e-14 | 19.9571
293.971 | -4.6276e-14 | 19.955
294.306 | -5.2775e-14 | 19.9582
294.572 | -5.3767e-14 | 19.9564
294.907 | -5.0981e-14 | 19.9588
295.173 | -4.7933e-14 | 19.9571
295.506 | -5.1691e-14 | 19.9598
295.773 | -4.3155e-14 | 19.9582
296.141 | -5.4233e-14 | 19.9592
296.407 | -4.5735e-14 | 19.9607
296.64 | -5.5636e-14 | 19.9594
296.974 | -5.8979e-14 | 19.959
297.24 | -5.3919e-14 | 19.9604
297.607 | -5.7078e-14 | 19.9585
297.84 | -5.5302e-14 | 19.9601
298.207 | -5.0288e-14 | 19.9574
298.441 | -5.3526e-14 | 19.9601
298.805 | -4.922e-14 | 19.959
299.036 | -4.9158e-14 | 19.96
299.367 | -5.6165e-14 | 19.9579
299.632 | -5.7708e-14 | 19.9601
299.963 | -6.1748e-14 | 19.9587
300.295 | -6.008e-14 | 19.9584
300.561 | -6.7995e-14 | 19.9588
300.926 | -6.5421e-14 | 19.9569
301.191 | -6.4503e-14 | 19.957
301.526 | -6.6357e-14 | 19.9601
301.791 | -6.0836e-14 | 19.9573
302.06 | -5.8004e-14 | 19.9575
302.394 | -5.7669e-14 | 19.9601
302.627 | -7.2632e-14 | 19.9585
302.995 | -7.4687e-14 | 19.9592
303.263 | -7.804e-14 | 19.9575
303.595 | -7.9081e-14 | 19.9608
303.862 | -7.4473e-14 | 19.9578
304.196 | -7.5911e-14 | 19.9576
304.429 | -8.0427e-14 | 19.9597
304.798 | -8.1334e-14 | 19.9557
305.064 | -7.2072e-14 | 19.9606
305.432 | -7.7885e-14 | 19.9597
305.665 | -8.0749e-14 | 19.9589
306 | -7.5831e-14 | 19.9623
306.266 | -7.7896e-14 | 19.9596
306.599 | -7.3191e-14 | 19.9622
306.866 | -7.6892e-14 | 19.9588
307.2 | -7.9154e-14 | 19.9614
307.467 | -7.109e-14 | 19.9582
307.834 | -8.1554e-14 | 19.9598
308.068 | -7.6413e-14 | 19.9573
308.435 | -7.4667e-14 | 19.9605
308.668 | -8.3445e-14 | 19.9611
308.935 | -8.9882e-14 | 19.9625
309.268 | -8.8258e-14 | 19.9615
309.636 | -8.8229e-14 | 19.9574
309.904 | -9.4658e-14 | 19.9588
310.169 | -9.1159e-14 | 19.9598
310.537 | -9.2762e-14 | 19.9616
310.771 | -8.3797e-14 | 19.9612
311.037 | -9.3981e-14 | 19.9636
311.37 | -9.3919e-14 | 19.9621
311.738 | -8.8883e-14 | 19.9588
312.005 | -8.9919e-14 | 19.9604
312.238 | -8.9894e-14 | 19.9627
312.606 | -9.3172e-14 | 19.96
312.871 | -9.1226e-14 | 19.9609
313.204 | -9.3083e-14 | 19.9637
313.472 | -9.0809e-14 | 19.9617
313.806 | -9.5097e-14 | 19.9644
314.071 | -9.2903e-14 | 19.9601
314.472 | -9.6365e-14 | 19.9637
314.773 | -9.0536e-14 | 19.9602
315.04 | -9.0985e-14 | 19.9648
315.304 | -1.042e-13 | 19.9622
315.54 | -1.0239e-13 | 19.9632
315.906 | -1.0141e-13 | 19.965
316.173 | -9.8958e-14 | 19.9634
316.507 | -9.6322e-14 | 19.9651
316.774 | -9.7201e-14 | 19.9631
317.14 | -1.0156e-13 | 19.9629
317.373 | -1.0457e-13 | 19.9635
317.741 | -9.8939e-14 | 19.9631
317.974 | -9.5086e-14 | 19.9653
318.306 | -9.9197e-14 | 19.9619
318.608 | -1.0016e-13 | 19.9634
318.841 | -9.621e-14 | 19.9641
319.207 | -9.9247e-14 | 19.9632
319.442 | -9.6636e-14 | 19.9627
319.81 | -9.9152e-14 | 19.9649
320.074 | -9.7368e-14 | 19.9656
320.439 | -9.5932e-14 | 19.9638
320.669 | -9.602e-14 | 19.9648
321.001 | -9.588e-14 | 19.9641
321.267 | -9.721e-14 | 19.9617
321.599 | -8.8828e-14 | 19.9638
321.864 | -9.2316e-14 | 19.961
322.13 | -9.1753e-14 | 19.9643
322.496 | -9.0684e-14 | 19.9621
322.73 | -8.4674e-14 | 19.9637
323.095 | -9.075e-14 | 19.9651
323.361 | -9.5041e-14 | 19.9616
323.729 | -9.2016e-14 | 19.9624
323.962 | -8.7243e-14 | 19.9633
324.23 | -9.6164e-14 | 19.9638
324.597 | -9.3095e-14 | 19.9652
324.864 | -9.6549e-14 | 19.9616
325.231 | -9.029e-14 | 19.9633
325.465 | -9.3954e-14 | 19.9651
325.832 | -8.9064e-14 | 19.962
326.098 | -8.8675e-14 | 19.9659
326.332 | -9.2767e-14 | 19.9626
326.733 | -9.528e-14 | 19.9638
326.967 | -8.5957e-14 | 19.9656
327.233 | -9.0476e-14 | 19.9661
327.567 | -9.4042e-14 | 19.9645
327.834 | -9.6925e-14 | 19.966
328.202 | -1.0411e-13 | 19.9639
328.435 | -9.5925e-14 | 19.9653
328.801 | -9.379e-14 | 19.9654
329.067 | -8.6818e-14 | 19.9659
329.335 | -1.003e-13 | 19.9671
329.701 | -9.1934e-14 | 19.965
329.936 | -9.2551e-14 | 19.9655
330.302 | -8.7631e-14 | 19.9674
330.57 | -9.2632e-14 | 19.9638
330.903 | -9.4857e-14 | 19.9658
331.171 | -8.9326e-14 | 19.9669
331.535 | -9.4287e-14 | 19.9657
331.77 | -8.9993e-14 | 19.9665
332.137 | -8.952e-14 | 19.9653
332.371 | -9.2943e-14 | 19.9672
332.738 | -9.057e-14 | 19.9644
333.003 | -9.9563e-14 | 19.9657
333.238 | -9.951e-14 | 19.967
333.604 | -9.7299e-14 | 19.9648
333.872 | -9.8787e-14 | 19.9653
334.205 | -9.5047e-14 | 19.9672
334.471 | -9.0071e-14 | 19.9673
334.838 | -9.8532e-14 | 19.9642
335.104 | -8.9419e-14 | 19.9655
335.337 | -9.6037e-14 | 19.9657
335.705 | -1.1717e-13 | 19.9658
335.97 | -1.0744e-13 | 19.9671
336.236 | -1.0364e-13 | 19.9663
336.604 | -1.0202e-13 | 19.9679
336.87 | -1.0079e-13 | 19.9655
337.204 | -1.0067e-13 | 19.9676
337.471 | -9.432e-14 | 19.9651
337.837 | -9.5863e-14 | 19.966
338.07 | -8.964e-14 | 19.9679
338.338 | -9.7444e-14 | 19.9681
338.705 | -9.849e-14 | 19.9664
338.97 | -9.8082e-14 | 19.967
339.303 | -9.6047e-14 | 19.9686
339.57 | -9.1419e-14 | 19.9684
339.937 | -8.8879e-14 | 19.9665
340.171 | -8.3287e-14 | 19.9678
340.438 | -8.1453e-14 | 19.9691
340.805 | -8.8748e-14 | 19.9689
341.071 | -8.7266e-14 | 19.9664
341.504 | -9.4586e-14 | 19.9672
341.77 | -8.621e-14 | 19.9661
342.072 | -8.8152e-14 | 19.9678
342.339 | -1.0122e-13 | 19.9678
342.605 | -1.0057e-13 | 19.9666
342.905 | -1.0354e-13 | 19.9675
343.137 | -1.0013e-13 | 19.9673
343.505 | -9.8618e-14 | 19.9691
343.772 | -8.5678e-14 | 19.9666
344.104 | -9.0967e-14 | 19.969
344.37 | -9.3942e-14 | 19.9667
344.705 | -8.7256e-14 | 19.9688
344.972 | -9.1224e-14 | 19.9695
345.338 | -9.1036e-14 | 19.9681
345.571 | -9.0673e-14 | 19.9689
345.838 | -8.9578e-14 | 19.9697
346.203 | -8.5747e-14 | 19.9674
346.435 | -5.5459e-14 | 19.969
346.767 | -2.2556e-13 | 19.9681
347.031 | -1.7124e-13 | 19.9679
347.395 | -1.2126e-13 | 19.9672
347.662 | -1.1215e-13 | 19.9666
347.961 | -9.7831e-14 | 19.9666
348.292 | -9.7706e-14 | 19.9679
348.559 | -9.5865e-14 | 19.965
348.827 | 1.4848e-13 | 19.9682
349.192 | -4.2039e-14 | 19.9665
349.459 | -1.3743e-13 | 19.9678
349.792 | -2.2304e-13 | 19.9679
350.061 | -2.1535e-13 | 19.9687
350.327 | -2.0768e-13 | 19.9687
350.694 | -3.2565e-13 | 19.9693
350.963 | -1.9149e-12 | 19.931
351.596 | -1.4683e-13 | 19.8175
353.397 | -1.0519e-13 | 19.9686
353.865 | -7.6775e-14 | 19.9705
354.231 | -7.7252e-14 | 19.9686
354.464 | -7.3973e-14 | 19.9696
354.732 | -5.5354e-14 | 19.9699
355.099 | -2.2217e-14 | 19.9694
355.399 | -2.6919e-14 | 19.9682
355.666 | -3.7863e-14 | 19.9701
356.034 | -4.6316e-14 | 19.9674
356.3 | -1.4537e-13 | 19.9707
356.566 | -1.0328e-13 | 19.9698
356.834 | -8.6404e-14 | 19.9706
357.234 | -8.9045e-14 | 19.9683
357.535 | -6.5412e-13 | 19.9687
357.835 | -5.0408e-13 | 19.9683
358.101 | -3.1569e-13 | 19.9688
358.368 | -2.2805e-13 | 19.9712
358.735 | -1.8121e-13 | 19.9695
359.002 | -1.7281e-13 | 19.969
359.269 | -1.2786e-13 | 19.9704
359.569 | -9.7317e-14 | 19.9685
359.836 | -1.3446e-13 | 19.9711
360.202 | -8.9325e-14 | 19.9699
360.503 | -7.3049e-14 | 19.9714
360.769 | -8.8238e-14 | 19.9702
361.037 | -1.3824e-13 | 19.9705
361.437 | -8.1739e-14 | 19.9688
361.703 | -7.0183e-14 | 19.9703
362.005 | -5.6183e-14 | 19.9702
362.304 | -5.215e-14 | 19.9708
362.57 | -3.9153e-14 | 19.9716
362.837 | -4.0349e-14 | 19.9708
363.138 | -4.3666e-14 | 19.9702
363.471 | -4.8604e-14 | 19.9723
363.839 | -5.0051e-14 | 19.969
364.105 | -4.5418e-14 | 19.9714
364.371 | -4.5945e-14 | 19.9701
364.672 | -5.5865e-14 | 19.9725
365.039 | -6.927e-14 | 19.9679
365.339 | -3.8489e-13 | 19.9703
365.605 | 1.0101e-13 | 19.9719
365.905 | 7.9577e-14 | 19.9718
366.205 | -2.5633e-13 | 19.9721
366.505 | -2.8334e-13 | 19.9723
366.771 | 6.3689e-14 | 19.9727
367.105 | 3.348e-15 | 19.9715
367.372 | -2.4357e-14 | 19.9719
367.638 | -3.3217e-14 | 19.9723
368.005 | -2.9615e-14 | 19.9728
368.271 | -3.5293e-14 | 19.9705
368.706 | -4.5908e-14 | 19.9716
369.006 | -4.2903e-14 | 19.9675
369.339 | -5.4841e-14 | 19.9702
369.605 | -2.5081e-13 | 19.9729
369.872 | -7.2935e-13 | 19.9707
370.14 | -6.8179e-13 | 19.9702
370.406 | -4.3094e-13 | 19.9712
370.672 | -2.7078e-13 | 19.9713
371.04 | -1.8336e-13 | 19.9714
371.273 | -9.1158e-13 | 19.9375
372.873 | 4.7498e-13 | 19.836
375.141 | -2.94e-12 | 19.938
376.174 | -7.2258e-13 | 19.9733
376.442 | -3.4897e-12 | 19.9723
376.843 | -4.3935e-12 | 19.9726
377.109 | -7.16e-12 | 19.9728
377.376 | -8.4221e-12 | 19.9722
377.71 | -1.081e-11 | 19.9704
378.043 | -1.1155e-11 | 19.9716
378.309 | -1.1709e-11 | 19.9734
378.609 | -8.4541e-12 | 19.9727
378.842 | -1.4792e-11 | 19.972
379.244 | -1.7509e-11 | 19.9728
379.477 | -1.0701e-11 | 19.974
379.743 | -9.9652e-12 | 19.9736
380.11 | -1.1525e-11 | 19.9741
380.378 | -1.0365e-11 | 19.9744
380.744 | -9.3232e-12 | 19.973
380.975 | -1.4529e-11 | 19.9738
381.343 | -9.6892e-12 | 19.9722
381.61 | -8.2048e-12 | 19.9723
381.877 | -6.7395e-12 | 19.9725
382.21 | -1.0826e-11 | 19.9736
382.475 | -7.9521e-12 | 19.9737
382.744 | -7.3369e-12 | 19.975
383.111 | -6.7527e-12 | 19.9732
383.378 | -8.4512e-12 | 19.9731
383.712 | -1.0975e-11 | 19.9743
383.978 | -1.1393e-11 | 19.9744
384.246 | -1.2191e-11 | 19.9743
384.626 | -2.2507e-11 | 19.9761
384.904 | -3.2357e-12 | 19.9748
385.215 | -6.7108e-12 | 19.9757
385.487 | 4.2605e-13 | 19.8495
387.241 | 1.2995e-13 | 19.9679
388.044 | -8.4783e-14 | 19.9663
388.407 | -8.1919e-14 | 19.964
388.739 | -9.2713e-14 | 19.963
389.073 | -1.2502e-13 | 19.9658
389.407 | -1.175e-13 | 19.9647
389.777 | -1.115e-13 | 19.9641
390.111 | -1.0184e-13 | 19.9643
390.444 | -1.0613e-13 | 19.966
390.811 | -9.6216e-14 | 19.9651
392.112 | -7.5312e-14 | 19.9649
393.11 | -8.5557e-14 | 19.9649
393.443 | -6.7039e-14 | 19.9644
393.775 | -6.7545e-14 | 19.9641
394.107 | -5.5275e-14 | 19.9665
394.438 | -5.8296e-14 | 19.966
394.803 | -4.9121e-14 | 19.9643
395.135 | -4.8186e-14 | 19.9663
395.466 | -4.0576e-14 | 19.965
396.823 | -4.663e-14 | 19.9642
397.812 | -5.2118e-14 | 19.9625
398.141 | -3.8953e-14 | 19.9621
398.472 | -4.8943e-14 | 19.9634
398.834 | -4.7489e-14 | 19.9642
399.162 | -1.3176e-14 | 19.9627
399.524 | -1.9637e-14 | 19.9622
399.852 | -2.126e-14 | 19.9612
400.183 | -1.5993e-14 | 19.9624
400.509 | -6.324e-15 | 19.9615
401.787 | -2.734e-14 | 19.9588
402.768 | 6.2835e-14 | 19.9565
403.093 | 6.8087e-14 | 19.9583
403.453 | 1.2162e-13 | 19.9566
403.779 | 4.1577e-14 | 19.9578
404.105 | 4.3121e-14 | 19.9561
404.462 | 3.9136e-14 | 19.955
404.787 | 6.6186e-14 | 19.9537
405.111 | 1.2254e-13 | 19.9546
405.467 | 5.2319e-14 | 19.9529
405.792 | 5.5952e-14 | 19.9532
406.148 | 1.3121e-13 | 19.9517
407.377 | -4.0651e-14 | 19.9485
408.409 | 7.7326e-14 | 19.9468
408.764 | 1.5565e-13 | 19.946
409.117 | 1.3952e-13 | 19.9459
409.436 | 8.4549e-14 | 19.9445
409.791 | 1.6796e-13 | 19.9431
410.113 | 1.923e-13 | 19.9411
410.434 | 1.891e-13 | 19.9414
410.788 | 1.8968e-13 | 19.94
411.108 | 9.939e-15 | 19.9392
412.357 | 2.8779e-14 | 19.9371
413.442 | 3.1356e-13 | 19.9316
413.793 | 2.0663e-13 | 19.9304
414.142 | -1.581e-13 | 19.9008
415.573 | -7.522e-14 | 19.9246
416.617 | -4.995e-13 | 19.9208
416.934 | -2.12e-14 | 19.808
418.736 | -4.4976e-14 | 19.9137
419.493 | 5.4471e-14 | 19.9095
419.808 | 8.4103e-14 | 19.9097
420.157 | 7.1781e-14 | 19.9081
420.469 | 9.4852e-14 | 19.9065
420.785 | 2.19e-14 | 19.9068
421.097 | 6.0177e-14 | 19.9043
421.444 | 3.53e-14 | 19.9021
421.757 | 2.3486e-14 | 19.9027
422.133 | 3.7008e-14 | 19.8991
422.477 | -6.308e-15 | 19.8978
422.791 | 5.3899e-14 | 19.8974
423.135 | -9.324e-15 | 19.8951
424.413 | -3.1429e-14 | 19.8909
425.409 | -2.6287e-14 | 19.8853
425.748 | 3.5142e-14 | 19.8829
426.055 | -2.5018e-14 | 19.8807
426.363 | -1.2226e-14 | 19.8808
426.67 | 4.21e-15 | 19.8785
426.976 | 6.3346e-14 | 19.8763
427.315 | 4.812e-14 | 19.8736
427.621 | -7.3398e-14 | 19.8727
427.958 | -1.9098e-14 | 19.8704
428.264 | -3.5903e-14 | 19.87
428.57 | 1.4978e-14 | 19.8678
428.907 | -3.4703e-13 | 19.865
429.214 | -3.98e-13 | 19.8644
429.521 | -1.7036e-13 | 19.8619
429.858 | -5.0173e-14 | 19.8596
430.164 | -1.1442e-13 | 19.8586
430.47 | -5.9485e-14 | 19.8563
430.804 | -1.1182e-12 | 19.8258
432.082 | -1.5341e-12 | 19.8457
433.083 | -6.4728e-13 | 19.708
435.171 | -0.00048475 | 19.8243
435.656 | -6.0326e-13 | 19.796
436.349 | 6.5618e-14 | 19.7144
438.038 | 5.6597e-14 | 19.8073
438.611 | 5.0122e-13 | 19.7779
440.205 | -2.1062e-12 | 19.7929
441.158 | -5.8819e-14 | 19.6842
442.852 | -1.8701e-14 | 19.7732
443.742 | -2.1973e-14 | 19.7676
444.067 | -1.7394e-14 | 19.7641
444.363 | -2.0728e-14 | 19.7626
444.659 | -1.4849e-14 | 19.76
444.983 | -1.2421e-14 | 19.7574
445.28 | -8.933e-15 | 19.7554
445.634 | -8.989e-15 | 19.7535
445.958 | -9.335e-15 | 19.7493
446.251 | -9.478e-15 | 19.7478
446.576 | -3.46e-16 | 19.7449
446.87 | -9.839e-15 | 19.7428
447.193 | -9.27e-16 | 19.7401
447.488 | -1.1851e-14 | 19.7388
447.784 | -6.891e-15 | 19.7357
448.105 | -6.26e-15 | 19.7338
448.426 | -7.354e-15 | 19.73
448.721 | -1.1192e-14 | 19.7286
449.014 | -4.783e-15 | 19.7259
449.335 | -4.705e-15 | 19.7225
449.626 | -3.757e-15 | 19.7214
449.92 | -5.555e-15 | 19.7183
450.241 | -1.039e-14 | 19.7146
450.532 | -5.179e-15 | 19.7132
450.853 | -5.751e-15 | 19.7098
451.143 | -8.63e-16 | 19.7085
451.463 | 8.85e-16 | 19.7052
451.754 | -1.999e-15 | 19.703
452.073 | -5.224e-15 | 19.701
452.362 | -9.53e-16 | 19.6975
452.681 | -2.254e-15 | 19.6948
452.971 | 2.728e-15 | 19.6928
453.291 | 6.32e-16 | 19.689
453.579 | 1.799e-15 | 19.6874
453.898 | 3.96e-16 | 19.6835
454.216 | -6.963e-15 | 19.6811
454.504 | -2.14e-15 | 19.6795
454.821 | -3.594e-15 | 19.6756
455.108 | -4.2e-16 | 19.6743
455.426 | 1.434e-15 | 19.67
455.712 | -1.202e-15 | 19.6684
456.028 | -1.18e-16 | 19.6652
456.315 | -3.193e-15 | 19.6632
456.6 | -4.42e-15 | 19.6596
456.915 | -4.415e-15 | 19.6569
457.202 | -4.472e-15 | 19.6548
457.487 | -2.969e-15 | 19.6517
457.802 | -9.519e-15 | 19.6481
458.086 | -3.948e-15 | 19.6461
458.399 | -2.709e-15 | 19.6423
458.682 | -1.166e-15 | 19.6405
458.969 | -1.175e-15 | 19.6377
459.28 | -1.692e-15 | 19.635
459.593 | -2.57e-15 | 19.631
459.874 | -2.716e-15 | 19.6284
460.185 | -6.373e-15 | 19.6254
460.498 | -3.806e-15 | 19.6223
460.78 | -3.164e-15 | 19.62
461.091 | -4.643e-15 | 19.6167
461.372 | -4.001e-15 | 19.6143
461.685 | -3.834e-15 | 19.61
461.968 | -6.786e-15 | 19.6083
462.282 | -3.724e-15 | 19.6049
462.566 | -1.3084e-14 | 19.6015
462.851 | -9.751e-15 | 19.5996
463.163 | -1.4234e-14 | 19.5974
463.474 | -1.5437e-14 | 19.5935
463.757 | -1.2859e-14 | 19.5914
464.069 | -8.375e-15 | 19.5875
464.35 | -1.8001e-14 | 19.5859
464.661 | -1.7891e-14 | 19.5824
464.942 | -2.2422e-14 | 19.5799
465.225 | -1.4519e-14 | 19.5769
465.534 | -9.612e-15 | 19.5735
465.815 | -1.2577e-14 | 19.5712
466.123 | -1.2149e-14 | 19.5675
466.403 | -1.5689e-14 | 19.5653
466.711 | -2.4385e-14 | 19.5616
466.99 | -2.4144e-14 | 19.5593
467.269 | -2.1337e-14 | 19.5559
467.576 | -3.0572e-14 | 19.552
467.883 | -2.7424e-14 | 19.5495
468.162 | -3.0477e-14 | 19.5461
468.441 | -2.5343e-14 | 19.5444
468.746 | -2.4607e-14 | 19.5405
469.052 | -2.3565e-14 | 19.5373
469.386 | -2.5501e-14 | 19.5344
469.661 | -3.0535e-14 | 19.5306
469.966 | -2.6865e-14 | 19.5277
470.269 | -3.3551e-14 | 19.524
470.544 | -3.2759e-14 | 19.5213
470.847 | -2.866e-14 | 19.5175
471.123 | -3.8899e-14 | 19.5156
471.425 | -4.1406e-14 | 19.5112
471.699 | -5.2193e-14 | 19.5074
472 | -4.5704e-14 | 19.5041
472.301 | -4.5095e-14 | 19.501
472.574 | -4.6197e-14 | 19.4983
472.874 | -5.1993e-14 | 19.4956
473.147 | -4.8451e-14 | 19.4917
473.528 | -5.4764e-14 | 19.4868
473.799 | -5.4792e-14 | 19.4842
474.098 | -4.9937e-14 | 19.4798
474.396 | -5.3844e-14 | 19.4767
474.666 | -5.5122e-14 | 19.4741
474.963 | -5.9334e-14 | 19.47
475.235 | -5.706e-14 | 19.4668
475.532 | -6.2639e-14 | 19.4635
475.908 | -6.37e-14 | 19.4584
476.177 | -6.5643e-14 | 19.4556
476.472 | -6.5057e-14 | 19.4515
476.739 | -6.8793e-14 | 19.4486
477.114 | -7.1882e-14 | 19.4433
477.408 | -7.3292e-14 | 19.4396
477.674 | -8.2276e-14 | 19.4366
477.968 | -8.4472e-14 | 19.432
478.261 | -8.2507e-14 | 19.429
478.604 | -8.4146e-14 | 19.4238
478.869 | -7.9633e-14 | 19.4209
479.16 | -8.5783e-14 | 19.4177
479.503 | -9.6209e-14 | 19.4121
479.804 | -9.6708e-14 | 19.4135
480.1 | -1.2575e-13 | 19.4101