## Settings
Sample Info | so12ig, dot d2, run 02
Comments | -10/+4/-10
Additional Comments | two peaks!!
Major Measurement Parameters
Starting Temperature | 322.936
Initial Temperature | 80
Final Temperature | 450
Preliminary Voltage | -10
Pulse Voltage | 4
Pulse Time | 30
Wait Time | 0
Measurement Voltage | -10
Subsidiary Measurement Parameters
Step | 0.3
Accuracy Step | 0.1
Accuracy Stable | 0.5
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 15
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 3
Measurecount | 1
Time
Date | 5.4.2024
Clock | 21:30:33

## Stabilization
Temperature | Current | Temp Rate
322.389 | -7.5e-11 | 0
321.023 | -3.73e-12 | -33.6945
320.422 | 2.4471e-12 | -32.3367
319.811 | -4.2689e-12 | -31.6927
319.185 | -1.848e-12 | -31.4177
318.529 | -4.4394e-12 | -31.5636
317.978 | -1.3017e-12 | -30.925
317.218 | -7.4353e-13 | -31.7427
316.649 | -1.2506e-12 | -31.3453
315.912 | -8.122e-13 | -31.8147
312.731 | -4.95e-13 | -36.9888
311.924 | -3.9316e-13 | -43.4754
311.345 | -4.6099e-13 | -55.322
310.586 | -3.2403e-13 | -191.4992
309.905 | -2.6362e-13 | -301.4311
309.202 | -4.0986e-13 | -32.4068
308.555 | -2.1604e-13 | -32.2415
307.703 | -1.5911e-13 | -32.5757
307.055 | -1.1861e-13 | -753.8959
306.369 | -4.5197e-13 | -32.6157
305.708 | -3.309e-13 | -32.6251
304.919 | -1.1424e-13 | -32.8208
304.142 | -6.4876e-14 | -32.881
303.411 | -4.4657e-13 | -32.9406
302.754 | -1.6397e-13 | -32.9075
301.977 | -8.0498e-14 | -33.0773
301.371 | 6.993e-15 | -32.9439
300.538 | -5.0948e-14 | -33.1158
299.915 | 1.5036e-14 | -33.0203
299.241 | 6.125e-15 | -33.0155
298.537 | 3.7219e-14 | -33.0567
297.888 | 1.1417e-14 | -33.0311
297.214 | 3.3036e-14 | -32.9794
296.555 | 3.6821e-14 | -32.9637
295.85 | 5.3237e-14 | -33.0044
295.194 | -2.3743e-14 | -32.9706
294.572 | -1.0564e-12 | -32.8854
293.987 | -8.193e-13 | -32.7908
293.171 | -5.038e-13 | -32.9451
292.591 | -2.5163e-13 | -32.8414
291.818 | -1.8434e-13 | -32.9516
291.106 | -1.6032e-13 | -32.9911
290.405 | -1.4509e-13 | -33.0112
289.815 | -9.3786e-14 | -32.9225
288.987 | -8.2865e-14 | -33.0747
288.346 | 3.0791e-13 | -33.0318
287.681 | -3.1405e-13 | -33.0203
287.048 | -2.3324e-13 | -32.98
286.319 | -1.5441e-13 | -33.0351
285.642 | -1.6775e-13 | -33.0267
285.018 | -1.0834e-13 | -32.9698
284.482 | -5.8409e-14 | -32.8502
283.749 | -3.0582e-14 | -32.8968
283.092 | -7.032e-14 | -32.8833
282.425 | -8.4308e-14 | -32.886
281.821 | -7.2816e-14 | -32.8067
281.135 | -6.5654e-14 | -32.8281
280.597 | -2.5871e-14 | -32.7249
279.931 | -6.0038e-14 | -32.7206
279.426 | -4.5395e-14 | -32.5983
278.69 | -6.4101e-14 | -32.6524
278.164 | -4.7522e-14 | -32.5375
277.551 | -6.2508e-14 | -32.5012
277.024 | -1.8868e-14 | -32.4001
276.401 | -4.5458e-14 | -32.3773
275.935 | -5.36e-15 | -32.2431
275.339 | -4.5581e-14 | -32.2006
274.807 | -2.3084e-14 | -32.1111
274.208 | -4.9492e-14 | -32.0743
273.731 | -1.3821e-14 | -31.9531
273.083 | -4.4691e-14 | -31.9481
272.621 | -1.3926e-14 | -31.8147
272.06 | -3.9164e-14 | -31.7598
271.56 | -1.1016e-14 | -31.6653
270.964 | -4.6642e-14 | -31.6334
270.503 | -8.916e-15 | -31.5195
269.899 | -3.6354e-14 | -31.4949
269.491 | -1.0142e-14 | -31.3544
268.991 | -3.5544e-14 | -31.2703
268.533 | -1.771e-15 | -31.158
267.916 | -2.7074e-14 | -31.1426
267.493 | -4.9791e-14 | -31.022
267.088 | -4.0163e-14 | -30.8845
266.731 | -2.9804e-14 | -30.7325
266.384 | -1.9936e-14 | -30.5787
266.027 | -1.1862e-14 | -30.4294
265.697 | -1.1885e-14 | -30.2718
265.227 | -2.4002e-14 | -30.1913
264.875 | -9.47e-16 | -30.0534
264.34 | -3.1092e-14 | -30.0124
263.986 | -3.0387e-14 | -29.8755
263.463 | -3.2324e-14 | -29.8267
263.117 | -1.802e-14 | -29.6948
262.656 | 1.848e-15 | -29.6142
262.251 | -2.2489e-14 | -29.5155
261.93 | 1.239e-15 | -29.3779
261.511 | -2.6236e-14 | -29.2864
261.248 | 1.925e-15 | -29.1264
260.868 | -2.6176e-14 | -29.0217
260.619 | -2.9666e-14 | -28.862
260.26 | -4.1547e-14 | -28.7506
260.042 | 5.2868e-14 | -28.5821
259.731 | 1.72e-13 | -28.4572
259.536 | -1.3081e-13 | -28.2797
259.193 | -8.4069e-14 | -28.1747
258.928 | -4.5117e-14 | -28.0362
258.594 | -2.1516e-14 | -27.919
258.301 | -2.5381e-14 | -27.7944
258.096 | -3.872e-15 | -27.6356
257.81 | -9.964e-15 | -27.5109
257.64 | 4.1e-17 | -27.3425
257.288 | 1.2137e-14 | -27.2512
256.875 | -1.2161e-14 | -27.1831
256.617 | 6.407e-15 | -27.0545
256.097 | -7.891e-15 | -27.0382
255.836 | -5.75e-15 | -26.9135
255.563 | -3.798e-15 | -26.7998
255.316 | -8.118e-15 | -26.6769
255.118 | -1.1381e-14 | -26.534
254.933 | -1.0085e-14 | -26.3887
254.672 | -2.2382e-14 | -26.2769
254.492 | -1.8372e-14 | -26.1345
254.314 | 1.343e-14 | -25.9957
253.933 | 5.352e-15 | -25.9343
253.589 | -1.0541e-14 | -25.8624
253.336 | 1.1819e-14 | -25.7544
252.857 | -2.1513e-14 | -25.7303
252.632 | -1.6035e-14 | -25.6151
252.438 | -1.0296e-14 | -25.4852
252.247 | 4.4922e-14 | -25.358
252.038 | -2.2142e-13 | -25.2398
251.879 | -8.6909e-14 | -25.1069
251.711 | -5.2358e-14 | -24.9828
251.563 | -1.7406e-14 | -24.8547
251.393 | 1.8683e-14 | -24.7329
251.235 | 2.6591e-14 | -24.608
250.955 | 3.9811e-14 | -24.5272
250.596 | 1.7418e-14 | -24.4768
250.417 | 1.5433e-14 | -24.3662
250.276 | 3.0556e-14 | -24.2455
250.139 | 2.3409e-14 | -24.1259
249.992 | 2.9841e-14 | -23.9999
249.849 | 2.5609e-14 | -23.8763
249.683 | 2.4395e-14 | -23.7674
249.491 | 4.8162e-14 | -23.6672
249.102 | 2.0875e-14 | -23.6329
248.895 | 2.3644e-14 | -23.5424
248.729 | 3.5084e-14 | -23.4399
248.503 | 2.4728e-14 | -23.3578
248.353 | 2.5067e-14 | -23.2528
248.212 | 2.7466e-14 | -23.1399
248.082 | 1.9518e-14 | -23.0291
247.935 | 2.8405e-14 | -22.9238
247.774 | 2.7335e-14 | -22.8274
247.629 | 2.5187e-14 | -22.7258
247.361 | 3.9477e-14 | -22.6623
247.06 | 2.1028e-14 | -22.6074
246.916 | 1.6878e-14 | -22.5091
246.754 | 2.3142e-14 | -22.4177
246.603 | 2.7442e-14 | -22.3227
246.299 | 4.0746e-14 | -22.2751
245.94 | 5.245e-15 | -22.2443
245.767 | 1.4505e-14 | -22.1594
245.597 | 2.4189e-14 | -22.0737
245.446 | 2.6644e-14 | -21.9847
245.288 | 2.7049e-14 | -21.8995
245.113 | 2.1301e-14 | -21.8185
244.965 | 2.2594e-14 | -21.7308
244.752 | 2.3917e-14 | -21.664
244.583 | 1.968e-14 | -21.5875
244.441 | 1.6028e-14 | -21.5011
244.312 | 1.6759e-14 | -21.4142
244.122 | 1.6604e-14 | -21.3426
243.976 | 1.8746e-14 | -21.2615
243.77 | 3.0005e-14 | -21.1969
243.521 | 1.6209e-14 | -21.1417
243.382 | 2.0604e-14 | -21.0617
243.225 | 1.9145e-14 | -20.9866
243.09 | 2.458e-14 | -20.9061
242.948 | 2.8601e-14 | -20.8261
242.802 | 3.3986e-14 | -20.7509
242.637 | 2.0501e-14 | -20.6794
242.497 | 1.9007e-14 | -20.6037
242.343 | 3.3089e-14 | -20.5324
242.136 | 3.0584e-14 | -20.4741
241.938 | 1.8423e-14 | -20.4137
241.797 | 2.428e-14 | -20.3398
241.658 | 3.0287e-14 | -20.2663
241.525 | 1.9309e-14 | -20.1933
241.383 | 2.3833e-14 | -20.1221
241.239 | 1.968e-14 | -20.0522
241.105 | 3.3781e-14 | -19.9799
240.887 | 2.2751e-14 | -19.9282
240.742 | 2.2295e-14 | -19.8601
240.586 | 3.3839e-14 | -19.797
240.339 | 3.0653e-14 | -19.7561
240.055 | 1.5699e-14 | -19.7249
239.882 | 1.9335e-14 | -19.6663
239.64 | 2.8792e-14 | -19.6246
239.435 | 2.1206e-14 | -19.5747
239.262 | 2.7069e-14 | -19.5175
239.049 | 3.4936e-14 | -19.4709
238.841 | 2.2625e-14 | -19.4244
238.695 | 2.4617e-14 | -19.3642
238.558 | 3.8637e-14 | -19.3014
238.385 | 3.8524e-14 | -19.2476
238.165 | 3.4169e-14 | -19.2047
238.025 | 3.1428e-14 | -19.145
237.884 | 3.0637e-14 | -19.0859
237.73 | -1.529e-15 | -19.0307
237.597 | 3.9454e-14 | -18.971
237.45 | 1.2949e-14 | -18.9147
237.314 | 1.3149e-14 | -18.8572
237.167 | 5.9177e-14 | -18.8014
237.021 | 3.6202e-14 | -18.7447
236.861 | 1.4251e-14 | -18.6917
236.726 | 3.2611e-14 | -18.6361
236.57 | 3.9563e-14 | -18.584
236.364 | 2.4863e-14 | -18.5424
236.193 | 3.5098e-14 | -18.4945
236.061 | 2.6992e-14 | -18.4396
235.911 | 2.7028e-14 | -18.3882
235.761 | 1.6378e-14 | -18.3366
235.615 | 2.0357e-14 | -18.2857
235.471 | 2.5524e-14 | -18.2355
235.31 | 2.1381e-14 | -18.1864
235.133 | -7.38e-16 | -18.143
234.985 | 1.0688e-14 | -18.0937
234.835 | 2.0416e-14 | -18.0465
234.668 | -4.8522e-14 | -18.0029
234.497 | -1.3674e-14 | -17.9596
234.357 | -4.2215e-14 | -17.9112
234.19 | -4.3449e-13 | -17.8679
233.955 | -8.7847e-13 | -17.8389
233.727 | -3.7085e-13 | -17.8102
233.565 | -1.482e-13 | -17.7671
233.395 | -5.3698e-14 | -17.7274
233.103 | -1.5146e-14 | -17.7105
232.858 | 2.8091e-13 | -17.685
232.683 | -4.8523e-13 | -17.6444
232.529 | -8.2362e-13 | -17.6019
232.366 | -4.0222e-13 | -17.5598
232.204 | -4.8269e-13 | -17.5188
232.044 | -2.785e-13 | -17.478
231.877 | 1.2832e-13 | -17.4377
231.554 | -1.294e-12 | -17.3618
231.41 | -2.8625e-12 | -17.3193
230.679 | -1.2146e-13 | -17.1396
230.519 | 1.6178e-14 | -17.1018
230.368 | -1.084e-13 | -17.063
230.203 | 1.282e-15 | -17.0256
230.038 | 1.1356e-13 | -16.9897
229.88 | -1.074e-13 | -16.952
229.715 | -3.8066e-13 | -16.9176
229.542 | -6.2031e-14 | -16.8839
229.374 | -2.7865e-13 | -16.8509
229.209 | -1.3572e-13 | -16.8162
229.043 | -9.9599e-14 | -16.7823
228.895 | -7.5977e-14 | -16.7451
228.734 | -1.2384e-13 | -16.7102
228.557 | -8.0598e-14 | -16.6787
228.37 | -1.0209e-13 | -16.6481
228.192 | -9.7565e-14 | -16.6178
228.02 | -1.083e-13 | -16.5861
227.841 | -9.9359e-14 | -16.5541
227.671 | -8.136e-14 | -16.523
227.502 | -8.9183e-14 | -16.4907
227.331 | -8.6031e-14 | -16.4581
227.162 | -8.9984e-14 | -16.4269
227.011 | -8.3109e-14 | -16.3924
226.849 | -7.5382e-14 | -16.3607
226.684 | -8.7586e-14 | -16.3294
226.518 | -8.0102e-14 | -16.2985
226.364 | -8.2106e-14 | -16.2658
226.186 | -8.6617e-14 | -16.2374
226.015 | -8.9594e-14 | -16.2082
225.847 | -7.9482e-14 | -16.1786
225.69 | -8.282e-14 | -16.1474
225.521 | -8.6429e-14 | -16.1184
225.358 | -7.9831e-14 | -16.088
225.189 | -8.3426e-14 | -16.06
225.025 | -8.5238e-14 | -16.0301
224.866 | -7.6844e-14 | -16.0003
224.698 | -6.7408e-14 | -15.9723
224.53 | -5.9078e-14 | -15.9442
224.364 | -7.8907e-14 | -15.9155
224.192 | -6.9342e-14 | -15.8884
224.034 | -2.6987e-14 | -15.8597
223.869 | 2.0627e-13 | -15.8318
223.702 | 5.3634e-13 | -15.805
223.532 | 7.4169e-13 | -15.779
223.356 | 1.7551e-13 | -15.7541
223.182 | -3.9005e-13 | -15.728
223.011 | -4.6306e-13 | -15.7024
222.834 | -5.3077e-13 | -15.677
222.679 | -5.4516e-13 | -15.6492
222.512 | -3.5006e-13 | -15.6226
222.338 | -2.0667e-13 | -15.5976
222.171 | -1.3143e-13 | -15.5717
221.998 | -6.1817e-14 | -15.5472
221.837 | -1.43e-16 | -15.5211
221.668 | -2.2155e-14 | -15.4964
221.504 | -5.9589e-14 | -15.4703
221.339 | -1.2488e-13 | -15.4454
221.174 | -1.2147e-13 | -15.4193
220.983 | -1.1413e-13 | -15.3981
220.769 | -1.0551e-13 | -15.3809
220.549 | -8.4717e-14 | -15.3649
220.37 | -4.734e-14 | -15.3423
220.198 | 5.6813e-14 | -15.319
220.023 | 9.8137e-14 | -15.296
219.856 | -3.8278e-13 | -15.2716
219.702 | -2.0247e-13 | -15.2465
219.537 | -1.1441e-13 | -15.2228
219.373 | -1.1531e-13 | -15.1981
219.212 | -7.7306e-14 | -15.1741
219.051 | -5.4094e-14 | -15.149
218.891 | -4.2759e-14 | -15.125
218.731 | -1.0609e-13 | -15.1006
218.574 | 1.188e-13 | -15.0764
218.267 | -5.915e-14 | -15.0309
218.007 | -1.1479e-11 | -15.0189
217.211 | -4.951e-15 | -14.9218
217.042 | -3.3143e-14 | -14.9
216.871 | -1.4345e-13 | -14.8794
216.701 | -9.1773e-14 | -14.8584
216.53 | -6.3144e-14 | -14.8381
216.354 | -6.3737e-14 | -14.8177
216.167 | -5.2656e-14 | -14.8006
215.979 | -6.3122e-14 | -14.7829
215.794 | -5.3787e-14 | -14.763
215.621 | -6.1926e-14 | -14.7426
215.465 | -4.8718e-14 | -14.7213
215.294 | -3.4092e-14 | -14.7017
215.125 | 4.802e-13 | -14.681
214.959 | -1.3758e-13 | -14.66
214.79 | -6.8341e-14 | -14.6406
214.614 | -2.5495e-13 | -14.6228
214.43 | -1.2923e-13 | -14.605
214.26 | -4.7384e-14 | -14.5857
214.089 | -2.1632e-14 | -14.5664
213.922 | -3.9993e-14 | -14.5473
213.757 | -3.2644e-14 | -14.5275
213.596 | -1.0194e-13 | -14.5074
213.439 | -3.9123e-14 | -14.4867
213.293 | -2.4748e-14 | -14.4651
213.123 | -9.9701e-14 | -14.4449
212.963 | -4.4641e-14 | -14.4244
212.762 | -2.3623e-14 | -14.4107
212.554 | -8.6254e-14 | -14.3972
212.387 | -2.731e-14 | -14.379
212.214 | -6.8802e-14 | -14.3617
212.045 | -5.0266e-14 | -14.3433
211.872 | -6.0795e-14 | -14.3263
211.703 | -5.1535e-14 | -14.3077
211.539 | -4.8693e-14 | -14.2887
211.373 | -4.7225e-14 | -14.2705
211.189 | -4.3681e-14 | -14.2553
211.002 | -3.9367e-14 | -14.2399
210.833 | -3.883e-14 | -14.2212
210.667 | -2.4825e-14 | -14.203
210.507 | -9.142e-15 | -14.1845
210.349 | -6.1603e-14 | -14.1654
210.191 | -4.9354e-14 | -14.1467
210.033 | -4.3666e-14 | -14.1275
209.876 | -4.0949e-14 | -14.1095
209.703 | -3.7921e-14 | -14.0931
209.533 | -4.3262e-14 | -14.0765
209.357 | -4.6526e-14 | -14.0604
209.195 | -4.3164e-14 | -14.0423
209.041 | -3.9946e-14 | -14.0238
208.889 | -4.4505e-14 | -14.0049
208.737 | -3.6711e-14 | -13.987
208.599 | -2.6771e-14 | -13.9679
208.448 | -3.9035e-14 | -13.9492
208.287 | -3.4934e-14 | -13.9316
208.083 | -5.4542e-14 | -13.9188
207.921 | -1.7263e-14 | -13.9021
207.775 | -3.384e-15 | -13.8827
207.584 | 5.265e-15 | -13.8694
207.42 | 8.018e-15 | -13.8532
207.276 | 1.018e-15 | -13.835
207.118 | 3.26e-15 | -13.8179
206.929 | 8.02e-16 | -13.8043
206.769 | -3.4314e-14 | -13.7876
206.613 | -3.7528e-14 | -13.7708
206.46 | -4.3892e-14 | -13.753
206.309 | -4.7805e-14 | -13.7355
206.153 | -5.979e-14 | -13.7192
205.998 | -5.5801e-14 | -13.7014
205.846 | -5.3253e-14 | -13.6843
205.696 | -7.0949e-14 | -13.6678
205.55 | -8.6948e-14 | -13.6504
205.403 | -7.9567e-14 | -13.6331
205.261 | -6.0144e-14 | -13.6154
205.119 | -4.9327e-14 | -13.5975
204.978 | -4.7948e-14 | -13.5804
204.837 | -4.524e-14 | -13.562
204.697 | -4.395e-14 | -13.5443
204.558 | -4.2014e-14 | -13.5268
204.431 | -3.6491e-14 | -13.5083
204.259 | -3.9205e-14 | -13.4944
204.085 | -4.8105e-14 | -13.4808
203.934 | -2.909e-14 | -13.4648
203.785 | -1.5991e-14 | -13.4479
203.643 | -4.532e-15 | -13.4297
203.505 | -4.06e-16 | -13.4122
203.367 | 1.5066e-14 | -13.3957
203.231 | 1.4479e-14 | -13.3791
203.099 | 1.6953e-14 | -13.3615
202.968 | 2.3839e-14 | -13.3441
202.836 | 1.8113e-14 | -13.326
202.706 | 2.0841e-14 | -13.3081
202.573 | 2.2972e-14 | -13.2908
202.431 | 2.7371e-14 | -13.2747
202.241 | 2.0627e-14 | -13.2643
202.061 | 1.5849e-14 | -13.2528
201.917 | 2.1727e-14 | -13.2372
201.778 | 1.6386e-14 | -13.2212
201.637 | 2.0673e-14 | -13.2056
201.498 | 1.9035e-14 | -13.1891
201.354 | 2.0576e-14 | -13.1734
201.213 | 2.53e-14 | -13.1581
201.081 | 2.1295e-14 | -13.1422
200.928 | 1.2501e-14 | -13.1276
200.786 | 1.9937e-14 | -13.1122
200.644 | 1.6206e-14 | -13.0968
200.503 | 2.6642e-14 | -13.0816
200.361 | 2.1842e-14 | -13.0665
200.219 | 1.0337e-14 | -13.0515
200.09 | 2.068e-14 | -13.0353
199.941 | 1.2799e-14 | -13.0213
199.801 | 1.28e-14 | -13.006
199.656 | 1.8302e-14 | -12.9914
199.503 | 2.2993e-14 | -12.9772
199.364 | 1.3417e-14 | -12.9623
199.223 | 1.9812e-14 | -12.9476
199.073 | 2.2375e-14 | -12.9338
198.921 | 1.485e-14 | -12.9194
198.775 | 1.39e-14 | -12.9052
198.632 | 2.6696e-14 | -12.8909
198.49 | 1.9482e-14 | -12.8764
198.351 | 2.6031e-14 | -12.8622
198.214 | 2.4155e-14 | -12.8474
198.067 | 1.4654e-14 | -12.8323
197.934 | 1.5498e-14 | -12.8176
197.801 | 2.1565e-14 | -12.8022
197.67 | 1.9282e-14 | -12.7871
197.537 | 1.0818e-14 | -12.7723
197.402 | 5.929e-15 | -12.7576
197.268 | 2.4088e-14 | -12.7435
197.135 | 1.728e-14 | -12.7286
197.002 | 2.7194e-14 | -12.7144
196.871 | 3.1148e-14 | -12.6998
196.74 | 2.5125e-14 | -12.6851
196.615 | 2.1692e-14 | -12.6696
196.482 | 2.9403e-14 | -12.6551
196.359 | 2.0733e-14 | -12.6388
196.238 | 1.9649e-14 | -12.6237
196.114 | 2.1933e-14 | -12.6087
195.995 | 2.0219e-14 | -12.5935
195.834 | 2.9886e-14 | -12.5826
195.674 | 2.1313e-14 | -12.5715
195.542 | 1.932e-14 | -12.5572
195.407 | 2.0507e-14 | -12.5432
195.26 | 1.4537e-14 | -12.5307
195.116 | 2.1294e-14 | -12.5176
194.987 | 2.3923e-14 | -12.5033
194.856 | 2.3339e-14 | -12.4896
194.724 | 2.6492e-14 | -12.4757
194.594 | 2.4296e-14 | -12.4616
194.462 | 1.8795e-14 | -12.4481
194.329 | 2.3026e-14 | -12.4346
194.199 | 2.1899e-14 | -12.4213
194.059 | 2.43e-14 | -12.4077
193.932 | 2.5487e-14 | -12.3938
193.803 | 2.3874e-14 | -12.3803
193.67 | 6.851e-15 | -12.3668
193.543 | 1.2558e-14 | -12.3531
193.28 | 2.1806e-13 | -12.3287
192.689 | -3.5729e-13 | -12.2695
192.56 | -6.2128e-13 | -12.2563
192.428 | -3.3273e-13 | -12.2435
192.177 | 2.975e-14 | -12.2192
191.595 | -2.2599e-14 | -12.1606
191.457 | -1.2754e-14 | -12.1477
191.329 | 1.1686e-14 | -12.1348
191.199 | 1.6042e-14 | -12.1224
191.073 | 1.1223e-14 | -12.1099
190.947 | 2.0033e-14 | -12.0973
190.827 | 1.3836e-14 | -12.0845
190.701 | 1.307e-14 | -12.072
190.551 | 3.0772e-14 | -12.0609
190.391 | 2.5404e-14 | -12.0514
190.246 | 2.5898e-14 | -12.0406
190.114 | -3.249e-14 | -12.0288
189.985 | 4.187e-15 | -12.0164
189.855 | 1.4672e-14 | -12.0044
189.722 | 2.0748e-14 | -11.9929
189.587 | 3.7571e-14 | -11.9814
189.445 | 2.5549e-14 | -11.9706
189.313 | 2.5541e-14 | -11.9584
189.169 | 3.7255e-14 | -11.9479
189.025 | 3.0765e-14 | -11.9375
188.891 | 2.5721e-14 | -11.9263
188.756 | 2.9522e-14 | -11.9153
188.624 | 3.667e-14 | -11.904
188.492 | 3.0894e-14 | -11.8926
188.353 | 2.1085e-14 | -11.8816
188.223 | 1.823e-14 | -11.8701
188.096 | 2.6434e-14 | -11.8574
187.967 | 1.7823e-14 | -11.846
187.802 | 2.1067e-14 | -11.8378
187.657 | -3.5953e-14 | -11.8278
187.526 | -5.338e-15 | -11.8163
187.384 | 8.943e-15 | -11.8057
187.216 | 1.1033e-14 | -11.7979
187.05 | 1.6688e-14 | -11.7896
186.899 | 1.5248e-14 | -11.78
186.748 | 1.1054e-14 | -11.7705
186.605 | 1.3937e-14 | -11.7606
186.448 | 1.7334e-14 | -11.7518
186.306 | 2.594e-14 | -11.7419
186.149 | 2.616e-14 | -11.7332
185.979 | 2.754e-14 | -11.7256
185.821 | 2.1497e-14 | -11.7169
185.668 | 3.5656e-14 | -11.7082
185.48 | 3.272e-14 | -11.7019
185.318 | 2.1089e-14 | -11.6933
185.148 | 2.4952e-14 | -11.6858
184.993 | 2.556e-14 | -11.6774
184.839 | 5.8837e-14 | -11.6689
184.675 | -4.909e-15 | -11.6608
184.513 | -1.0354e-14 | -11.6527
184.355 | -7.689e-15 | -11.6445
184.182 | 5.7228e-14 | -11.6368
184.021 | -1.2564e-14 | -11.6284
183.853 | 9.753e-15 | -11.6211
183.688 | 1.0057e-14 | -11.6138
183.531 | -3.888e-15 | -11.6055
183.365 | 1.9258e-14 | -11.5979
183.187 | 3.1988e-14 | -11.591
183.029 | 8.203e-15 | -11.583
182.87 | -4.2953e-14 | -11.575
182.689 | -1.0198e-13 | -11.5686
182.503 | 2.43e-15 | -11.5632
182.34 | 1.5447e-14 | -11.5559
182.167 | 2.0672e-14 | -11.5495
181.985 | 1.9382e-14 | -11.5436
181.821 | 2.4544e-14 | -11.536
181.655 | 2.3166e-14 | -11.5289
181.478 | 1.9959e-14 | -11.5227
181.307 | 2.3729e-14 | -11.5161
181.134 | 1.9778e-14 | -11.5096
180.972 | 2.6263e-14 | -11.5024
180.795 | 2.8962e-14 | -11.4962
180.626 | 2.144e-14 | -11.4896
180.462 | 1.3766e-14 | -11.4828
180.302 | 3.0241e-14 | -11.4751
180.125 | 2.1887e-14 | -11.4689
179.962 | 2.2041e-14 | -11.462
179.802 | 1.5118e-14 | -11.4548
179.643 | 2.1396e-14 | -11.4473
179.482 | 2.2687e-14 | -11.44
179.306 | 1.6502e-14 | -11.4332
179.152 | 1.9381e-14 | -11.4256
178.991 | 1.7541e-14 | -11.4186
178.825 | 1.7619e-14 | -11.4118
178.671 | -4.057e-15 | -11.4042
178.503 | 1.2304e-14 | -11.3974
178.34 | 1.1974e-14 | -11.3904
178.181 | 1.6833e-14 | -11.3834
178.028 | 1.7454e-14 | -11.3755
177.872 | 2.0083e-14 | -11.3683
177.711 | 2.229e-14 | -11.3614
177.546 | 1.8617e-14 | -11.3545
177.384 | 1.6506e-14 | -11.3481
177.229 | 2.2672e-14 | -11.3406
177.068 | 1.4129e-14 | -11.3335
176.884 | 9.868e-15 | -11.3283
176.728 | 1.5915e-14 | -11.3208
176.573 | 1.5166e-14 | -11.3137
176.413 | 1.9029e-14 | -11.307
176.239 | 4.9628e-14 | -11.3009
176.067 | 4.2274e-14 | -11.2952
175.91 | -2.3874e-14 | -11.2881
175.736 | 4.217e-15 | -11.2819
175.551 | -1.7632e-14 | -11.2767
175.394 | -2.259e-15 | -11.2699
175.234 | 8.515e-15 | -11.2634
175.047 | -1.0613e-14 | -11.258
174.882 | 6.531e-15 | -11.2516
174.724 | 1.6658e-14 | -11.2445
174.547 | 1.7238e-14 | -11.2388
174.377 | 2.1263e-14 | -11.2327
174.183 | 2.2649e-14 | -11.2286
173.994 | 1.8362e-14 | -11.2241
173.824 | 1.1935e-14 | -11.2181
173.645 | 2.4647e-14 | -11.2123
173.475 | 1.884e-14 | -11.2064
173.295 | 1.3344e-14 | -11.201
173.108 | 7.576e-15 | -11.1963
172.945 | 1.0123e-14 | -11.19
172.779 | 1.0267e-14 | -11.184
172.598 | 2.1001e-14 | -11.1788
172.431 | 1.9014e-14 | -11.1732
172.258 | 1.9934e-14 | -11.1678
172.091 | 1.2756e-14 | -11.1616
171.921 | 3.4873e-14 | -11.1558
171.758 | 6.979e-15 | -11.1496
171.592 | 2.0098e-14 | -11.1435
171.418 | 4.3663e-14 | -11.1381
171.253 | -3.3437e-14 | -11.1319
171.094 | 4.2941e-14 | -11.1252
170.924 | 2.297e-14 | -11.1198
170.767 | 1.6569e-14 | -11.1131
170.596 | 9.452e-15 | -11.1071
170.443 | 1.6253e-14 | -11.1003
170.291 | 1.2028e-14 | -11.0935
170.117 | 2.4773e-14 | -11.0882
169.96 | -2.0816e-14 | -11.0816
169.809 | 1.735e-15 | -11.0749
169.661 | 1.7983e-14 | -11.0679
169.498 | 1.8777e-14 | -11.0617
169.338 | 5.7445e-14 | -11.0554
169.146 | 3.2956e-14 | -11.0512
168.984 | 9.85e-15 | -11.0452
168.813 | -1.3276e-14 | -11.0397
168.657 | -5.7577e-14 | -11.0334
168.502 | -1.7542e-14 | -11.0269
168.346 | -7.189e-15 | -11.0207
168.179 | -2.626e-15 | -11.0146
168.008 | 1.777e-15 | -11.0091
167.861 | 9.22e-15 | -11.0021
167.703 | -8.103e-15 | -10.9956
167.557 | 8.92e-15 | -10.9884
167.377 | 2.505e-14 | -10.9833
167.08 | -1.735e-14 | -10.9719
166.375 | -4.5568e-13 | -10.945
166.228 | -4.4745e-13 | -10.9383
166.071 | -5.7728e-13 | -10.9323
165.921 | -5.5929e-13 | -10.9258
165.763 | -1.0052e-12 | -10.9199
165.479 | 5.753e-14 | -10.9074
164.813 | -3.1948e-14 | -10.8787
164.667 | -2.4e-15 | -10.8717
164.511 | 1.3503e-14 | -10.8657
164.362 | 1.721e-14 | -10.8593
164.214 | 1.46e-14 | -10.8529
164.077 | 1.5702e-14 | -10.8457
163.941 | 1.7074e-14 | -10.8386
163.804 | 1.024e-14 | -10.8317
163.665 | 1.4218e-14 | -10.8247
163.528 | 1.5537e-14 | -10.8176
163.384 | 1.352e-14 | -10.8112
163.242 | 1.2319e-14 | -10.8045
162.993 | -1.0003e-13 | -10.7909
162.374 | -1.4235e-13 | -10.7607
162.244 | -5.5191e-14 | -10.7532
162.104 | -1.6035e-13 | -10.7464
161.972 | -2.0703e-13 | -10.7392
161.834 | -1.0122e-13 | -10.7325
161.703 | -3.8626e-14 | -10.725
161.563 | -1.6081e-14 | -10.718
161.423 | -3.744e-15 | -10.7112
161.297 | 6.038e-15 | -10.7037
161.161 | -4.6902e-14 | -10.6964
161.035 | -3.548e-14 | -10.6891
160.913 | -1.2219e-13 | -10.6812
160.775 | -1.3047e-13 | -10.6743
160.651 | -8.7345e-14 | -10.6668
160.513 | -4.4315e-14 | -10.6601
160.386 | -1.0658e-14 | -10.6529
160.264 | 1.9649e-13 | -10.6455
160.123 | -1.2259e-13 | -10.6384
159.996 | -6.9825e-14 | -10.6312
159.873 | -5.4855e-14 | -10.6237
159.741 | 1.9292e-14 | -10.617
159.619 | -8.965e-14 | -10.6093
159.493 | -4.139e-14 | -10.6024
159.372 | 1.6411e-13 | -10.595
159.241 | -3.0656e-13 | -10.5879
159.114 | -8.8314e-14 | -10.5808
158.998 | -5.2811e-14 | -10.5729
158.876 | -6.8948e-14 | -10.5654
158.762 | -1.8739e-14 | -10.5575
158.641 | -3.0469e-14 | -10.55
158.528 | -2.9518e-14 | -10.5423
158.413 | 1.6152e-14 | -10.5346
158.276 | -3.7537e-14 | -10.5281
158.16 | -4.7924e-14 | -10.5204
158.036 | -9.884e-15 | -10.5128
157.92 | -2.5262e-14 | -10.5052
157.704 | -4.2215e-12 | -10.4899
157.236 | -1.0318e-12 | -10.4538
157.142 | 3.737e-13 | -10.4448
157.044 | 1.5935e-13 | -10.4359
156.952 | 7.8658e-14 | -10.427
156.78 | -1.1099e-12 | -10.41
156.235 | 6.6194e-13 | -10.3668
156.111 | -3.4914e-12 | -10.3599
155.981 | -1.1315e-12 | -10.3524
155.862 | 1.667e-11 | -10.3452
155.742 | 1.5934e-12 | -10.3372
155.623 | -8.3008e-12 | -10.3302
155.508 | -1.5336e-12 | -10.3229
155.384 | -6.4773e-12 | -10.3148
155.26 | -4.2454e-12 | -10.3081
155.148 | -2.5681e-12 | -10.3009
155.028 | -6.1914e-13 | -10.2932
154.897 | -1.5455e-11 | -10.2863
154.782 | -8.4546e-12 | -10.2792
154.653 | -1.0928e-11 | -10.2725
154.533 | 2.0244e-12 | -10.2651
154.406 | -2.686e-12 | -10.2585
153.867 | -1.1992e-13 | -10.2292
153.738 | -1.3116e-13 | -10.2229
153.607 | 5.9568e-14 | -10.217
153.482 | -4.4042e-14 | -10.2107
153.357 | -2.6406e-13 | -10.2041
153.223 | -1.3812e-13 | -10.1976
153.096 | -1.4472e-13 | -10.1912
152.98 | 1.1441e-13 | -10.1844
152.862 | -1.8208e-13 | -10.178
152.74 | 1.2744e-13 | -10.1718
152.518 | 3.0503e-12 | -10.159
152.013 | 4.7731e-13 | -10.1289
151.895 | 2.1262e-13 | -10.1223
151.793 | 9.701e-14 | -10.1148
151.678 | 3.5389e-14 | -10.1077
151.56 | 4.083e-14 | -10.1011
151.456 | 3.3385e-14 | -10.0939
151.339 | 1.7582e-14 | -10.0875
151.233 | 7.726e-15 | -10.0804
151.122 | 1.9529e-14 | -10.0735
151.019 | 1.8008e-14 | -10.0661
150.908 | 1.2557e-14 | -10.059
150.8 | 1.6867e-14 | -10.0517
150.695 | 8.69e-16 | -10.0446
150.598 | 1.4091e-14 | -10.0368
150.495 | 1.0784e-14 | -10.0296
150.403 | -6.415e-15 | -10.0219
150.3 | 9.525e-15 | -10.0149
150.119 | 6.6663e-11 | -10.0003
150.028 | 2.8127e-12 | -9.9924
149.624 | -1.4056e-13 | -9.9581
149.535 | -9.2437e-14 | -9.9503
149.448 | -1.1177e-13 | -9.9425
149.358 | -1.0652e-13 | -9.935
149.27 | -4.5587e-14 | -9.9268
149.177 | 1.5276e-14 | -9.9192
149.089 | 1.4652e-14 | -9.9113
149.003 | 1.3609e-14 | -9.9033
148.919 | -7.637e-15 | -9.8955
148.841 | -3.9238e-14 | -9.8874
148.759 | -3.8932e-14 | -9.8794
148.684 | -2.4904e-14 | -9.871
148.605 | -4.2743e-14 | -9.8629
148.529 | -2.2642e-14 | -9.8545
148.449 | -1.1922e-14 | -9.8465
148.38 | 3.928e-14 | -9.8379
148.301 | 1.33e-16 | -9.8299
148.228 | 2.252e-15 | -9.8213
148.149 | -3.3131e-14 | -9.8135
148.076 | -5.451e-15 | -9.8053
147.998 | 3.3839e-14 | -9.7974
147.92 | -8.239e-15 | -9.7895
147.836 | 2.0036e-14 | -9.7814
147.755 | 4.1589e-14 | -9.7734
147.672 | 4.9756e-14 | -9.7657
147.59 | 3.4031e-14 | -9.7581
147.518 | 3.9269e-14 | -9.7496
147.441 | -6.691e-15 | -9.7417
147.361 | 1.1918e-13 | -9.7334
147.292 | 1.8775e-13 | -9.7249
147.229 | 1.2536e-13 | -9.7162
147.154 | 1.2519e-13 | -9.708
147.084 | 8.8534e-14 | -9.6995
147.02 | 3.6675e-14 | -9.6909
146.943 | 8.44e-15 | -9.6831
146.862 | 1.1702e-13 | -9.6754
146.791 | 5.4306e-14 | -9.6671
146.717 | -2.11e-14 | -9.6592
146.647 | -8.19e-16 | -9.6511
146.572 | 1.3452e-13 | -9.6433
146.506 | 1.3832e-13 | -9.6351
146.436 | 1.0905e-13 | -9.627
146.371 | 1.633e-14 | -9.6187
146.299 | -4.6701e-14 | -9.6105
146.227 | -7.7835e-14 | -9.6027
146.163 | -3.3845e-14 | -9.5943
146.094 | -2.1109e-14 | -9.5865
146.033 | 3.046e-15 | -9.5778
145.965 | 1.209e-13 | -9.5698
145.896 | -4.0865e-14 | -9.5613
145.824 | -9.2758e-14 | -9.553
145.754 | -5.1847e-14 | -9.5451
145.689 | -2.3438e-14 | -9.5369
145.618 | -3.8159e-14 | -9.5291
145.548 | 2.1925e-14 | -9.5211
145.479 | 2.9638e-14 | -9.5131
145.413 | -2.8895e-14 | -9.5049
145.341 | -8.3841e-14 | -9.4972
145.267 | -2.093e-15 | -9.4894
145.199 | 7.6852e-14 | -9.4817
145.128 | 5.691e-15 | -9.474
145.053 | -7.3995e-14 | -9.4664
144.985 | -8.9145e-14 | -9.4584
144.907 | 1.964e-14 | -9.4511
144.833 | -6.4082e-14 | -9.4436
144.76 | 2.5047e-14 | -9.4361
144.681 | -3.554e-14 | -9.429
144.602 | -1.735e-13 | -9.4218
144.521 | 2.002e-13 | -9.4148
144.367 | -1.539e-12 | -9.4013
144.279 | 2.2742e-12 | -9.3946
144.191 | -2.9247e-12 | -9.388
144.111 | -1.2071e-12 | -9.381
144.018 | -6.823e-12 | -9.3736
143.634 | -2.2008e-13 | -9.3448
143.452 | -3.3325e-13 | -9.3333
143.351 | 4.0863e-12 | -9.3274
142.866 | -1.6832e-13 | -9.3044
142.595 | -3.4557e-12 | -9.298
142.449 | -1.2739e-12 | -9.2943
142.315 | 2.5964e-11 | -9.2898
142.188 | 1.8594e-12 | -9.2855
141.514 | -3.1712e-13 | -9.2633
140.903 | -1.1001e-12 | -9.2471
140.755 | 4.2591e-13 | -9.2439
140.591 | -3.4782e-14 | -9.2416
140.302 | 1.1351e-12 | -9.2362
140.152 | 5.3158e-13 | -9.2333
140.01 | 2.1112e-12 | -9.2298
139.114 | -2.8783e-13 | -9.2283
138.891 | -2.3966e-13 | -9.2289
138.696 | -8.348e-15 | -9.2282
138.509 | 3.2808e-14 | -9.2268
138.254 | -1.547e-13 | -9.2289
138.034 | -7.3684e-14 | -9.2294
137.809 | -9.0631e-14 | -9.23
137.61 | 1.8757e-13 | -9.2294
137.38 | -7.7882e-13 | -9.23
136.813 | -9.975e-14 | -9.2387
136.539 | -8.6619e-13 | -9.2419
136.286 | 1.0549e-11 | -9.2432
136.049 | 6.7208e-13 | -9.2438
134.53 | 4.1107e-13 | -9.2645
131.495 | -8.2221e-12 | -9.3594
126.164 | -1.4244e-13 | -9.5741
125.154 | -2.3109e-13 | -9.6126
124.431 | -3.2004e-13 | -9.6371
123.802 | -2.0198e-13 | -9.6568
123.072 | -9.5787e-14 | -9.6813
122.228 | -1.7878e-13 | -9.7114
121.341 | -1.6929e-13 | -9.7436
120.602 | -1.0614e-13 | -9.7687
119.956 | -4.0346e-13 | -9.7892
119.293 | -2.2162e-13 | -9.8098
118.514 | -1.1452e-13 | -9.8359
117.764 | -7.9067e-14 | -9.8611
117.112 | -4.8213e-14 | -9.8816
116.269 | -5.7089e-13 | -9.9021
111.757 | -1.4501e-13 | -10.0705
110.687 | -3.2249e-13 | -10.1106
109.954 | -1.4772e-13 | -10.1345
109.322 | -5.8619e-13 | -10.1536
108.42 | -3.3975e-13 | -10.1853
107.227 | 3.7973e-13 | -10.2306
104.934 | -7.7184e-13 | -10.3184
101.816 | 1.1502e-13 | -10.4168
99.4921 | 1.6041e-12 | -10.5052
98.3934 | -7.2244e-12 | -10.5455
96.4258 | -1.237e-15 | -10.5885
95.5925 | 3.1899e-14 | -10.6162
93.2019 | -2.0057e-11 | -10.7062
92.6212 | -4.4204e-13 | -10.7215
87.5722 | 1.0607e-12 | -10.8963
87.6502 | -3.9651e-12 | -10.8811
87.6954 | -3.3895e-11 | -10.8674
87.7328 | -8.9357e-14 | -10.8156
87.7893 | -6.012e-14 | -10.8016
87.871 | -5.9666e-14 | -10.7862
87.9032 | -1.3527e-14 | -10.7735
85.8875 | 3.4835e-14 | -10.8548
84.418 | 4.1192e-14 | -10.9109
83.9442 | 2.6069e-14 | -10.921
83.8855 | 7.594e-15 | -10.9124
83.9377 | -1.3558e-14 | -10.8984
84.0439 | -2.204e-14 | -10.8821
84.0924 | -3.762e-15 | -10.8686
82.8249 | 3.6606e-14 | -10.9148
82.1048 | 3.3777e-14 | -10.9356
81.5415 | 2.9203e-14 | -10.9497
81.3022 | 4.6594e-14 | -10.9493
81.1744 | 1.7615e-14 | -10.9437
81.1331 | 6.7415e-14 | -10.9343
81.0024 | 5.1744e-14 | -10.9287
80.8948 | 2.6829e-14 | -10.9224
80.8215 | 1.6148e-14 | -10.9144
80.7661 | -7.649e-15 | -10.9055
80.7183 | 3.3939e-13 | -10.8963
80.6947 | 4.1723e-13 | -10.886
80.669 | -3.7201e-13 | -10.8759
80.6527 | -6.8115e-13 | -10.8653
80.6469 | 6.8263e-13 | -10.8544
80.631 | -1.8483e-13 | -10.8438
80.6273 | 5.9826e-13 | -10.8228
80.6019 | -1.0086e-13 | -10.7757
80.6039 | -6.54e-16 | -10.7646
80.61 | 7.0654e-14 | -10.7533
80.5957 | -2.851e-15 | -10.7428
80.5947 | -7.4494e-14 | -10.7319
80.5842 | 4.471e-15 | -10.7215
80.578 | -1.8867e-14 | -10.7108
80.5947 | 1.8819e-14 | -10.6993
80.5903 | 4.0426e-14 | -10.6884
80.589 | -2.1096e-14 | -10.6775
80.5813 | 2.6381e-14 | -10.6667
80.577 | 1.0942e-14 | -10.6562
80.5886 | 2.757e-14 | -10.6447
80.5698 | -4.61e-14 | -10.6348
80.5669 | -2.3923e-14 | -10.6241
80.5571 | -4.1439e-14 | -10.6139
80.5645 | -1.9496e-14 | -10.6029
80.5595 | 1.3098e-14 | -10.5921
80.5542 | -2.1903e-14 | -10.5817
80.5527 | -4.2462e-14 | -10.571
80.5445 | 1.842e-15 | -10.5606
80.5445 | -1.0107e-14 | -10.5499
80.5445 | -2.0523e-14 | -10.539
80.5364 | -1.1232e-14 | -10.5287
80.5283 | -9.194e-15 | -10.5186
80.5283 | 1.5657e-14 | -10.5081
80.5158 | -7.166e-15 | -10.4979
80.5091 | -4.2109e-14 | -10.4878
80.5111 | -3.3608e-14 | -10.4772
80.5085 | -7.198e-15 | -10.4669
80.5111 | 7.453e-15 | -10.4563
80.5306 | 1.7662e-14 | -10.445
80.5158 | -3.011e-15 | -10.4352
80.5196 | -1.559e-14 | -10.4247
80.5048 | -3.398e-15 | -10.4149
80.5177 | -1.3963e-14 | -10.4042
80.5135 | -3.3555e-14 | -10.394
80.5056 | 1.3743e-14 | -10.3841
80.5069 | 1.4231e-14 | -10.3737
80.5056 | -3.3176e-14 | -10.3632
80.5077 | -2.7732e-14 | -10.3526
80.5072 | -6.1328e-14 | -10.3421
80.4985 | -5.5282e-14 | -10.3322
80.4918 | -4.2748e-14 | -10.3223
80.493 | 3.767e-15 | -10.3121
80.4953 | -2.3951e-14 | -10.3019
80.4881 | 3.029e-14 | -10.2916
80.4819 | 2.2796e-14 | -10.2817
80.4757 | 1.4172e-14 | -10.2718
80.4732 | 2.544e-15 | -10.2619
80.4646 | 8.46e-16 | -10.252
80.4531 | -1.944e-15 | -10.2421

## Pulse
Temperature | Current | Time
80.4441 | 1.6356e-12 | 6.2728
80.4522 | 1.5801e-12 | 7.6854
80.447 | 1.0946e-12 | 9.1219
80.4441 | 1.071e-12 | 10.5353
80.4415 | 6.4306e-13 | 11.9475
80.4407 | 4.1559e-13 | 17.926
80.4178 | 4.1676e-13 | 19.3316
80.4091 | 3.8896e-13 | 20.7544
80.3972 | 3.6031e-13 | 22.1703
80.3633 | 3.4382e-13 | 23.5976
80.3225 | 3.2317e-13 | 25.0112
80.275 | 3.1105e-13 | 26.4657
80.2282 | 2.8599e-13 | 27.8593
80.1954 | 2.8177e-13 | 29.2699

## Measurements
Temperature | Current | Temp Rate
80.1646 | -1.1161e-12 | 0
80.2828 | -4.874e-13 | 0.90745
80.7158 | -4.5862e-13 | 3.901
80.8771 | -4.0202e-13 | 4.139
81.1979 | -3.7038e-13 | 5.118
81.4916 | -3.6328e-13 | 6.1029
81.8563 | -3.4361e-13 | 7.274
82.1749 | -3.4217e-13 | 8.2286
82.501 | -3.3507e-13 | 8.9792
82.8546 | -3.6624e-13 | 9.8998
83.1986 | -3.7318e-13 | 20.2471
83.4866 | -3.3103e-13 | 28.4191
83.8005 | -3.3225e-13 | 53.5719
84.058 | -3.1869e-13 | 119.9919
84.346 | -3.0247e-13 | 193.9881
84.5928 | -2.8602e-13 | 10.2677
84.8465 | -2.903e-13 | 10.5941
85.1582 | -2.9461e-13 | 11.0247
85.4771 | -3.2601e-13 | 468.7304
85.7516 | -3.4508e-13 | 11.7711
86.0238 | -3.6291e-13 | 12.0795
86.3345 | -3.7037e-13 | 12.348
86.5944 | -3.8272e-13 | 12.6963
86.9726 | -3.8994e-13 | 13.0417
87.2511 | -3.8889e-13 | 13.2367
87.4806 | -4.0119e-13 | 13.4705
87.8572 | -3.8008e-13 | 13.7453
88.0747 | -3.6018e-13 | 13.8763
88.4269 | -3.1997e-13 | 14.0517
88.7369 | -3.1148e-13 | 14.2377
88.972 | -3.024e-13 | 14.3655
89.2674 | -2.9732e-13 | 14.4861
89.6776 | -3.314e-13 | 14.5994
89.9555 | -2.9907e-13 | 14.7218
90.2561 | -2.6681e-13 | 14.7865
90.5191 | -2.4645e-13 | 14.8395
90.7764 | -2.686e-13 | 14.9172
91.1146 | -2.6962e-13 | 14.9646
91.4722 | -2.6388e-13 | 14.9905
91.7141 | -2.3631e-13 | 15.0369
92.0321 | -1.9816e-13 | 15.0537
92.2922 | -1.8811e-13 | 15.0544
92.5986 | -1.8308e-13 | 15.0482
92.9268 | -1.6751e-13 | 15.0628
93.2265 | -1.3301e-13 | 15.0521
93.52 | -1.5946e-13 | 15.0668
93.8056 | -2.062e-13 | 15.0494
94.0927 | -1.7325e-13 | 15.0311
94.4015 | -1.5518e-13 | 14.9995
94.6839 | -1.5413e-13 | 14.9909
94.9904 | -1.5582e-13 | 14.9624
95.2788 | -2.2332e-13 | 14.9683
95.6333 | -1.8527e-13 | 14.9496
95.9138 | -1.8972e-13 | 14.9145
96.1932 | -1.5247e-13 | 14.9152
96.4761 | -1.5661e-13 | 14.9003
96.8273 | -1.622e-13 | 14.8796
97.1334 | -1.6185e-13 | 14.8532
97.4182 | -1.6878e-13 | 14.8386
97.7016 | -1.611e-13 | 14.8292
98.0578 | -1.3387e-13 | 14.8211
98.2738 | -1.4031e-13 | 14.823
98.6323 | -1.1857e-13 | 14.812
98.9229 | -1.0837e-13 | 14.8076
99.2376 | -1.313e-13 | 14.7922
99.5288 | -1.1506e-13 | 14.7894
99.8193 | -1.3969e-13 | 14.7983
100.114 | -1.2102e-13 | 14.7918
100.432 | -1.5637e-13 | 14.7971
100.722 | -1.433e-13 | 14.791
101.033 | -1.0507e-13 | 14.7768
101.324 | -8.8909e-14 | 14.7822
101.616 | -8.2494e-14 | 14.7772
101.91 | -6.274e-14 | 14.7759
102.205 | -9.6792e-14 | 14.7755
102.523 | -8.9055e-14 | 14.7699
102.821 | -7.3208e-14 | 14.7662
103.122 | -7.2253e-14 | 14.7785
103.422 | -8.3143e-14 | 14.7803
103.746 | -9.3331e-14 | 14.7798
103.973 | -7.7825e-14 | 14.7908
104.271 | -8.8605e-14 | 14.7873
104.601 | -8.7774e-14 | 14.7887
104.902 | -6.7503e-14 | 14.8004
105.2 | -8.3446e-14 | 14.7957
105.531 | -6.6072e-14 | 14.7945
105.833 | -7.0284e-14 | 14.8059
106.082 | -7.4865e-14 | 14.8073
106.387 | -6.2197e-14 | 14.8146
106.686 | -5.3002e-14 | 14.8139
107.017 | -6.6695e-14 | 14.8124
107.318 | -6.5857e-14 | 14.825
107.622 | -6.3924e-14 | 14.8269
107.949 | -5.7446e-14 | 14.8253
108.252 | -6.3669e-14 | 14.8278
108.478 | -6.8137e-14 | 14.8377
108.778 | -7.2266e-14 | 14.8378
109.104 | -7.6289e-14 | 14.8268
109.424 | -5.0042e-14 | 14.8412
109.744 | -5.6574e-14 | 14.8337
109.968 | -5.4945e-14 | 14.8397
110.292 | -5.1388e-14 | 14.8374
110.591 | -5.7773e-14 | 14.8393
110.865 | -6.4021e-14 | 14.8391
111.189 | -5.4497e-14 | 14.8426
111.514 | -6.4951e-14 | 14.8373
111.817 | -7.1187e-14 | 14.8495
112.117 | -6.7343e-14 | 14.8494
112.442 | -5.9653e-14 | 14.8436
112.669 | -5.3502e-14 | 14.8497
112.995 | -5.4157e-14 | 14.854
113.3 | -6.2672e-14 | 14.8566
113.626 | -5.7581e-14 | 14.8549
113.928 | -4.563e-14 | 14.8629
114.253 | -5.3321e-14 | 14.8585
114.48 | -4.5353e-14 | 14.8635
114.809 | -4.7261e-14 | 14.8677
115.132 | -5.7124e-14 | 14.8619
115.435 | -4.3446e-14 | 14.8696
115.762 | -5.8151e-14 | 14.8678
115.988 | -5.7775e-14 | 14.8701
116.315 | -5.2447e-14 | 14.8785
116.642 | -5.2614e-14 | 14.8739
116.866 | -4.3615e-14 | 14.8783
117.167 | -5.2776e-14 | 14.8775
117.495 | -4.9514e-14 | 14.884
117.795 | -7.5081e-14 | 14.8833
118.093 | -5.5302e-14 | 14.8838
118.415 | -5.7957e-14 | 14.8768
118.711 | -5.0049e-14 | 14.8809
119.033 | -4.9208e-14 | 14.8738
119.329 | -5.7815e-14 | 14.8823
119.653 | -4.5989e-14 | 14.8791
119.877 | -5.4681e-14 | 14.8835
120.176 | -4.319e-14 | 14.8832
120.501 | -4.7932e-14 | 14.8798
120.799 | -5.0942e-14 | 14.8817
121.122 | -6.282e-14 | 14.8854
121.421 | -5.7043e-14 | 14.8843
121.747 | -6.1057e-14 | 14.8811
121.974 | -5.1098e-14 | 14.8889
122.274 | -4.5783e-14 | 14.8887
122.599 | -4.3249e-14 | 14.8844
122.926 | -4.0742e-14 | 14.8921
123.227 | -4.26e-14 | 14.8911
123.551 | -4.1082e-14 | 14.8864
123.779 | -4.3094e-14 | 14.8935
124.105 | -3.2778e-14 | 14.8903
124.405 | -3.4604e-14 | 14.8938
124.706 | -2.8603e-14 | 14.8947
125.033 | -2.7837e-14 | 14.8936
125.333 | -2.9456e-14 | 14.8961
125.585 | -2.9428e-14 | 14.8996
125.911 | -3.9349e-14 | 14.8967
126.207 | -3.5057e-14 | 14.9015
126.514 | -4.0362e-14 | 14.9032
126.766 | -3.3597e-14 | 14.9047
127.094 | -2.7094e-14 | 14.901
127.393 | -2.2884e-14 | 14.9072
127.715 | -1.6216e-14 | 14.9031
128.011 | -2.4737e-14 | 14.9035
128.331 | -3.038e-14 | 14.8976
128.627 | -2.6823e-14 | 14.9023
128.925 | -2.1832e-14 | 14.9013
129.196 | -1.8741e-14 | 14.9
129.495 | -2.2746e-14 | 14.8984
129.796 | -2.571e-14 | 14.9038
130.12 | -2.5818e-14 | 14.9012
130.42 | -2.4955e-14 | 14.9003
130.722 | -3.2697e-14 | 14.9065
130.971 | -2.4848e-14 | 14.9038
131.271 | -1.9525e-14 | 14.9035
131.598 | -2.5683e-14 | 14.9054
131.924 | -1.737e-14 | 14.9092
132.225 | -2.7677e-14 | 14.9085
132.476 | -2.7986e-14 | 14.9103
132.804 | -2.3474e-14 | 14.9088
133.104 | -3.0367e-14 | 14.9109
133.429 | -2.386e-14 | 14.9118
133.757 | -2.6652e-14 | 14.9098
133.982 | -2.6585e-14 | 14.912
134.308 | -2.4358e-14 | 14.9066
134.633 | -2.6941e-14 | 14.9114
134.96 | -2.4227e-14 | 14.914
135.187 | -2.1519e-14 | 14.9167
135.508 | -3.6938e-14 | 14.918
135.839 | -2.6033e-14 | 14.9144
136.139 | -3.0074e-14 | 14.919
136.388 | -3.1056e-14 | 14.918
136.715 | -2.6392e-14 | 14.9187
137.041 | -2.5977e-14 | 14.9182
137.268 | -3.6335e-14 | 14.9212
137.591 | -2.8563e-14 | 14.9181
137.889 | -1.4021e-14 | 14.9221
138.185 | -2.6535e-14 | 14.9205
138.481 | -3.1241e-14 | 14.9194
138.803 | -3.1726e-14 | 14.9164
139.103 | -2.9058e-14 | 14.9203
139.426 | -1.9326e-14 | 14.917
139.725 | -2.5325e-14 | 14.92
139.975 | -3.3133e-14 | 14.9187
140.299 | -3.3401e-14 | 14.9217
140.624 | -3.0129e-14 | 14.9187
140.925 | -2.5844e-14 | 14.9227
141.226 | -3.1129e-14 | 14.9229
141.477 | -2.6462e-14 | 14.9239
141.803 | -2.2459e-14 | 14.9189
142.13 | -2.576e-14 | 14.9259
142.431 | -2.3442e-14 | 14.9251
142.683 | -2.8097e-14 | 14.9271
142.982 | -2.974e-14 | 14.9255
143.309 | -2.9301e-14 | 14.9225
143.612 | -3.5073e-14 | 14.9275
143.939 | -2.5578e-14 | 14.9292
144.239 | -2.4873e-14 | 14.9279
144.49 | -3.2339e-14 | 14.9266
144.792 | -3.3966e-14 | 14.931
145.118 | -4.0794e-14 | 14.9269
145.419 | -2.4464e-14 | 14.9307
145.669 | -2.6803e-14 | 14.9315
145.97 | -3.0595e-14 | 14.9314
146.295 | -3.1873e-14 | 14.9291
146.596 | -1.8115e-14 | 14.9327
146.923 | -3.2724e-14 | 14.9304
147.25 | -2.3622e-14 | 14.9301
147.498 | -2.7875e-14 | 14.9287
147.825 | -2.3572e-14 | 14.9353
148.076 | -3.2853e-14 | 14.9366
148.37 | -2.8675e-14 | 14.9328
148.691 | -2.1523e-14 | 14.932
149.013 | -2.5144e-14 | 14.9346
149.336 | -2.5558e-14 | 14.9308
149.583 | -3.0216e-14 | 14.9342
149.88 | -3.1025e-14 | 14.9314
150.206 | -2.8748e-14 | 14.9331
150.528 | -3.0045e-14 | 14.9298
150.827 | -2.4303e-14 | 14.934
151.131 | -3.043e-14 | 14.9329
151.38 | -2.9328e-14 | 14.9195
151.731 | -2.3571e-14 | 14.9323
152.006 | -2.7426e-14 | 14.9347
152.333 | -3.3599e-14 | 14.9318
152.66 | -2.6893e-14 | 14.9334
152.909 | -2.8082e-14 | 14.9342
153.209 | -2.749e-14 | 14.9357
153.536 | -3.1337e-14 | 14.9338
153.862 | -2.685e-14 | 14.9358
154.115 | -3.7543e-14 | 14.9369
154.416 | -3.2805e-14 | 14.9396
154.718 | -3.1688e-14 | 14.9388
154.97 | -3.2279e-14 | 14.9389
155.295 | -3.2601e-14 | 14.9413
155.597 | -3.4115e-14 | 14.94
155.921 | -3.4768e-14 | 14.9422
156.171 | -2.9562e-14 | 14.9403
156.5 | -3.1727e-14 | 14.9433
156.825 | -3.4982e-14 | 14.941
157.127 | -3.794e-14 | 14.9403
157.378 | -3.7907e-14 | 14.9441
157.704 | -3.4137e-14 | 14.9444
158.055 | -3.5543e-14 | 14.9412
158.306 | -4.4004e-14 | 14.9415
158.604 | -3.9482e-14 | 14.9443
158.932 | -2.7348e-14 | 14.9446
159.183 | -3.7747e-14 | 14.9447
159.51 | -3.934e-14 | 14.9472
159.828 | -2.6643e-14 | 14.9439
160.128 | -3.5166e-14 | 14.946
160.374 | -2.9225e-14 | 14.9435
160.696 | -2.913e-14 | 14.9433
161.018 | -3.0883e-14 | 14.9447
161.269 | -2.6427e-14 | 14.9449
161.568 | -2.9628e-14 | 14.943
161.892 | -3.5995e-14 | 14.9423
162.193 | -3.729e-14 | 14.9428
162.469 | -3.2723e-14 | 14.9451
162.819 | -3.2554e-14 | 14.9439
163.069 | -3.7192e-14 | 14.9449
163.396 | -3.4178e-14 | 14.9472
163.722 | -3.0554e-14 | 14.9456
163.972 | -2.8173e-14 | 14.9455
164.324 | -3.3756e-14 | 14.9457
164.65 | -3.3397e-14 | 14.9453
164.902 | -3.9746e-14 | 14.9448
165.226 | -3.3825e-14 | 14.946
165.502 | -2.6136e-14 | 14.9455
165.803 | -3.3978e-14 | 14.9468
166.13 | -3.4355e-14 | 14.95
166.456 | -3.1155e-14 | 14.9468
166.708 | -3.293e-14 | 14.9503
167.032 | -3.424e-14 | 14.9467
167.282 | -3.1599e-14 | 14.9493
167.61 | -2.867e-14 | 14.9506
168.161 | -3.513e-14 | 14.8984
168.438 | -3.1306e-14 | 14.9261
168.762 | -3.3749e-14 | 14.9499
168.939 | -3.7557e-14 | 14.9486
169.115 | -3.605e-14 | 14.9531
169.441 | -3.6791e-14 | 14.9528
169.74 | -2.5664e-14 | 14.9509
169.991 | -2.6368e-14 | 14.9516
170.316 | -3.5162e-14 | 14.9525
170.591 | -3.4346e-14 | 14.9521
170.893 | -3.5732e-14 | 14.9539
171.218 | -3.2956e-14 | 14.9505
171.494 | -3.0959e-14 | 14.9524
171.864 | -3.4422e-14 | 14.9543
172.136 | -3.6849e-14 | 14.9497
172.457 | -2.4675e-14 | 14.9472
172.731 | -3.1055e-14 | 14.9507
173.055 | -3.643e-14 | 14.9512
173.304 | -3.5409e-14 | 14.9535
173.626 | -3.5018e-14 | 14.9501
173.877 | -3.4309e-14 | 14.9533
174.202 | -3.0388e-14 | 14.9498
174.527 | -3.6955e-14 | 14.9539
174.778 | -3.1784e-14 | 14.9544
175.102 | -3.8101e-14 | 14.9516
175.405 | -3.028e-14 | 14.9531
175.703 | -2.7982e-14 | 14.9521
176.029 | -4.0284e-14 | 14.9528
176.332 | -3.3827e-14 | 14.9553
176.581 | -3.5197e-14 | 14.9554
176.908 | -4.1693e-14 | 14.9552
177.184 | -3.622e-14 | 14.9565
177.51 | -3.7245e-14 | 14.9545
177.836 | -4.1328e-14 | 14.9553
178.163 | -3.6874e-14 | 14.955
178.413 | -3.5764e-14 | 14.9542
178.739 | -4.0006e-14 | 14.957
179.015 | -3.6548e-14 | 14.9565
179.29 | -3.2531e-14 | 14.9571
179.641 | -3.5943e-14 | 14.9541
179.918 | -3.6444e-14 | 14.9564
180.242 | -3.0605e-14 | 14.9544
180.493 | -2.121e-14 | 14.9579
180.818 | -2.8535e-14 | 14.9582
181.07 | -3.1743e-14 | 14.9564
181.42 | -3.4459e-14 | 14.9574
181.67 | -3.1106e-14 | 14.9592
181.995 | -2.7539e-14 | 14.959
182.321 | -3.2249e-14 | 14.9601
182.572 | -2.5032e-14 | 14.9604
182.897 | -3.1423e-14 | 14.9584
183.223 | -1.8336e-14 | 14.9588
183.522 | -2.1917e-14 | 14.9603
183.772 | -2.5333e-14 | 14.9599
184.098 | -3.1272e-14 | 14.9609
184.425 | -2.6698e-14 | 14.9589
184.746 | -2.8695e-14 | 14.9585
184.992 | -1.7534e-14 | 14.9576
185.289 | -2.7775e-14 | 14.9592
185.612 | -3.6505e-14 | 14.9595
185.935 | -3.2621e-14 | 14.959
186.185 | -3.1116e-14 | 14.9585
186.508 | -3.5061e-14 | 14.9583
186.833 | -3.2419e-14 | 14.9597
187.084 | -3.5408e-14 | 14.9595
187.409 | -2.6818e-14 | 14.9597
187.735 | -3.2658e-14 | 14.9609
187.984 | -2.7351e-14 | 14.9603
188.31 | -2.4983e-14 | 14.9602
188.636 | -3.2381e-14 | 14.9583
188.963 | -2.6917e-14 | 14.959
189.213 | -2.7216e-14 | 14.9586
189.538 | -2.6656e-14 | 14.9601
189.814 | -2.8356e-14 | 14.9589
190.065 | -3.5339e-14 | 14.961
190.39 | -3.2894e-14 | 14.9615
190.716 | -2.8057e-14 | 14.9599
191.042 | -3.2935e-14 | 14.9599
191.266 | -2.9124e-14 | 14.9601
191.618 | -3.4873e-14 | 14.9601
191.87 | -3.477e-14 | 14.9619
192.194 | -3.1303e-14 | 14.9628
192.519 | -2.6791e-14 | 14.9617
192.821 | -3.0796e-14 | 14.9602
193.096 | -3.2656e-14 | 14.9632
193.423 | -3.1489e-14 | 14.9618
193.722 | -2.0264e-14 | 14.9628
193.973 | -1.8622e-14 | 14.9635
194.299 | -3.1855e-14 | 14.9644
194.623 | -2.116e-14 | 14.9647
194.876 | -1.6812e-14 | 14.964
195.202 | -1.5835e-14 | 14.9642
195.525 | -2.1193e-14 | 14.9638
195.777 | -1.9522e-14 | 14.9644
196.1 | -2.7485e-14 | 14.9646
196.429 | -2.6437e-14 | 14.9651
196.677 | -1.9411e-14 | 14.9651
197.002 | -2.3855e-14 | 14.9654
197.329 | -2.392e-14 | 14.9655
197.578 | -2.3396e-14 | 14.9647
197.905 | -3.2778e-14 | 14.9663
198.23 | -2.3507e-14 | 14.9661
198.48 | -1.6097e-14 | 14.9664
198.8 | -3.0755e-14 | 14.9659
199.121 | -2.8122e-14 | 14.9653
199.37 | -2.7005e-14 | 14.9633
199.719 | -1.5069e-14 | 14.9628
199.965 | -2.3747e-14 | 14.9638
200.29 | -2.7401e-14 | 14.9642
200.613 | -2.1715e-14 | 14.9649
200.939 | -2.8458e-14 | 14.9624
201.188 | -2.4795e-14 | 14.9636
201.539 | -2.803e-14 | 14.9629
201.79 | -2.3677e-14 | 14.9621
202.116 | -2.7928e-14 | 14.9658
202.366 | -2.1169e-14 | 14.9653
202.69 | -2.4873e-14 | 14.9649
203.016 | -2.963e-14 | 14.965
203.266 | -3.2563e-14 | 14.9647
203.616 | -3.3115e-14 | 14.9649
203.914 | -2.7549e-14 | 14.9654
204.167 | -2.5017e-14 | 14.9663
204.494 | -3.5094e-14 | 14.9644
204.819 | -2.8696e-14 | 14.9666
205.072 | -3.1806e-14 | 14.9656
205.423 | -2.9982e-14 | 14.966
205.723 | -2.8338e-14 | 14.9663
206 | -3.3607e-14 | 14.9656
206.325 | -3.2487e-14 | 14.9667
206.652 | -2.967e-14 | 14.9654
206.901 | -3.9038e-14 | 14.9663
207.255 | -2.6809e-14 | 14.9673
207.479 | -2.7431e-14 | 14.9676
207.806 | -2.8658e-14 | 14.9685
208.133 | -3.2031e-14 | 14.9686
208.384 | -2.8678e-14 | 14.9689
208.71 | -3.2927e-14 | 14.9688
209.034 | -3.3172e-14 | 14.9696
209.284 | -3.1498e-14 | 14.9696
209.611 | -2.7132e-14 | 14.9691
209.96 | -2.6297e-14 | 14.9686
210.209 | -3.7525e-14 | 14.9679
210.535 | -2.7446e-14 | 14.9678
210.785 | -3.3908e-14 | 14.9697
211.111 | -3.3489e-14 | 14.9697
211.436 | -3.9526e-14 | 14.9693
211.71 | -3.1673e-14 | 14.9682
212.034 | -3.6699e-14 | 14.9699
212.285 | -3.829e-14 | 14.97
212.61 | -3.9452e-14 | 14.9704
212.935 | -3.9327e-14 | 14.9689
213.206 | -4.4022e-14 | 14.9679
213.527 | -3.8816e-14 | 14.9675
213.849 | -4.4022e-14 | 14.9678
214.097 | -3.794e-14 | 14.9672
214.42 | -3.9539e-14 | 14.9674
214.719 | -2.9696e-14 | 14.9681
214.967 | -3.6807e-14 | 14.9685
215.292 | -3.8491e-14 | 14.9684
215.617 | -4.2581e-14 | 14.9689
215.865 | -4.5591e-14 | 14.9689
216.183 | -4.7083e-14 | 14.9683
216.507 | -4.8014e-14 | 14.9664
216.835 | -4.2141e-14 | 14.9686
217.086 | -4.2962e-14 | 14.9681
217.437 | -5.6529e-14 | 14.9677
217.763 | -4.9113e-14 | 14.9678
218.015 | -4.8544e-14 | 14.9673
218.265 | -5.3044e-14 | 14.9687
218.593 | -5.1134e-14 | 14.9697
218.921 | -5.3251e-14 | 14.968
219.175 | -4.3659e-14 | 14.9695
219.531 | -5.2511e-14 | 14.9715
219.785 | -5.4507e-14 | 14.9708
220.139 | -5.5507e-14 | 14.9701
220.39 | -5.872e-14 | 14.9724
220.717 | -4.871e-14 | 14.973
220.967 | -5.3285e-14 | 14.9725
221.29 | -6.1906e-14 | 14.9706
221.614 | -4.6536e-14 | 14.9727
221.94 | -4.8341e-14 | 14.9723
222.188 | -5.9565e-14 | 14.9717
222.512 | -6.0619e-14 | 14.9718
222.837 | -6.7494e-14 | 14.9726
223.087 | -6.1914e-14 | 14.9722
223.412 | -6.3978e-14 | 14.9722
223.736 | -6.122e-14 | 14.972
224.011 | -6.6128e-14 | 14.9717
224.312 | -7.167e-14 | 14.9724
224.638 | -6.9578e-14 | 14.9722
224.913 | -6.1887e-14 | 14.9718
225.237 | -6.9851e-14 | 14.9711
225.562 | -7.0862e-14 | 14.9718
225.812 | -7.2677e-14 | 14.9713
226.137 | -7.2006e-14 | 14.9735
226.388 | -7.6211e-14 | 14.9732
226.712 | -6.9252e-14 | 14.9712
227.037 | -7.798e-14 | 14.9712
227.287 | -8.7115e-14 | 14.9733
227.613 | -8.3206e-14 | 14.9735
227.937 | -7.9076e-14 | 14.9718
228.26 | -7.5554e-14 | 14.9721
228.509 | -7.9183e-14 | 14.9722
228.83 | -8.8879e-14 | 14.9719
229.153 | -8.9131e-14 | 14.9713
229.403 | -8.4725e-14 | 14.9728
229.726 | -8.9882e-14 | 14.9708
229.975 | -9.0912e-14 | 14.972
230.301 | -1.0638e-13 | 14.9724
230.626 | -1.0642e-13 | 14.9727
230.903 | -9.7888e-14 | 14.9718
231.231 | -9.2581e-14 | 14.9714
231.484 | -9.9177e-14 | 14.974
231.811 | -1.0516e-13 | 14.974
232.065 | -1.0489e-13 | 14.9737
232.392 | -1.0204e-13 | 14.9741
232.715 | -9.7146e-14 | 14.9741
232.991 | -9.246e-14 | 14.9734
233.29 | -9.7494e-14 | 14.9741
233.615 | -1.0274e-13 | 14.9745
233.937 | -9.6325e-14 | 14.9738
234.187 | -9.5755e-14 | 14.974
234.512 | -1.0941e-13 | 14.9744
234.863 | -1.1501e-13 | 14.9734
235.113 | -1.2586e-13 | 14.9736
235.436 | -1.1681e-13 | 14.9735
235.762 | -1.116e-13 | 14.9736
236.013 | -1.1131e-13 | 14.9725
236.337 | -1.1904e-13 | 14.9744
236.589 | -1.2232e-13 | 14.9742
236.915 | -1.2454e-13 | 14.9748
237.19 | -1.2339e-13 | 14.9743
237.517 | -1.1621e-13 | 14.9733
237.766 | -1.2422e-13 | 14.975
238.092 | -1.1532e-13 | 14.9754
238.416 | -1.0931e-13 | 14.9748
238.692 | -1.2743e-13 | 14.9746
239.018 | -1.1838e-13 | 14.9743
239.344 | -1.3574e-13 | 14.9744
239.593 | -1.383e-13 | 14.9747
239.917 | -1.4158e-13 | 14.9751
240.194 | -1.4342e-13 | 14.9744
240.518 | -1.3151e-13 | 14.9753
240.793 | -1.3311e-13 | 14.9748
241.118 | -1.3537e-13 | 14.976
241.368 | -1.371e-13 | 14.9757
241.715 | -1.3941e-13 | 14.9745
242.043 | -1.3808e-13 | 14.9753
242.293 | -1.4122e-13 | 14.9732
242.618 | -1.4287e-13 | 14.9754
242.894 | -1.4637e-13 | 14.975
243.167 | -1.4612e-13 | 14.9749
243.516 | -1.4651e-13 | 14.9751
243.767 | -1.5034e-13 | 14.9759
244.116 | -1.4636e-13 | 14.9746
244.437 | -1.6004e-13 | 14.9753
244.71 | -1.4986e-13 | 14.975
245.006 | -1.557e-13 | 14.975
245.355 | -1.5152e-13 | 14.974
245.605 | -1.5194e-13 | 14.9755
245.929 | -1.5747e-13 | 14.9749
246.204 | -1.5641e-13 | 14.9746
246.53 | -1.6886e-13 | 14.9743
246.78 | -1.6936e-13 | 14.9745
247.133 | -1.7065e-13 | 14.9748
247.383 | -1.7316e-13 | 14.976
247.709 | -1.6462e-13 | 14.9744
248.032 | -1.621e-13 | 14.9762
248.307 | -1.6068e-13 | 14.975
248.63 | -1.7287e-13 | 14.9758
248.881 | -1.6531e-13 | 14.976
249.206 | -1.6937e-13 | 14.9744
249.529 | -1.7505e-13 | 14.9745
249.779 | -1.801e-13 | 14.9757
250.13 | -1.8295e-13 | 14.9763
250.381 | -1.9179e-13 | 14.9758
250.73 | -1.7763e-13 | 14.9751
251.054 | -1.8746e-13 | 14.9751
251.303 | -1.9016e-13 | 14.9739
251.631 | -1.9601e-13 | 14.9757
251.907 | -2.0416e-13 | 14.9754
252.235 | -1.9564e-13 | 14.9768
252.487 | -1.9339e-13 | 14.9766
252.816 | -2.0197e-13 | 14.9766
253.09 | -1.9279e-13 | 14.9757
253.464 | -2.0606e-13 | 14.9767
253.764 | -2.0204e-13 | 14.9757
254.014 | -1.9963e-13 | 14.9773
254.337 | -2.0577e-13 | 14.9768
254.612 | -2.1657e-13 | 14.9774
254.935 | -2.2181e-13 | 14.9766
255.211 | -2.2414e-13 | 14.9753
255.536 | -2.2289e-13 | 14.9769
255.813 | -2.2543e-13 | 14.9765
256.067 | -2.2766e-13 | 14.9779
256.392 | -2.3585e-13 | 14.9778
256.719 | -2.3855e-13 | 14.978
256.971 | -2.4031e-13 | 14.977
257.324 | -2.5381e-13 | 14.9769
257.576 | -2.567e-13 | 14.9788
257.901 | -2.5879e-13 | 14.9785
258.226 | -2.5293e-13 | 14.9785
258.501 | -2.53e-13 | 14.979
258.825 | -2.6275e-13 | 14.9784
259.099 | -2.6116e-13 | 14.9789
259.424 | -2.6278e-13 | 14.9784
259.701 | -2.7154e-13 | 14.9779
260.024 | -2.7482e-13 | 14.9779
260.349 | -2.7348e-13 | 14.978
260.598 | -2.8593e-13 | 14.9791
260.922 | -2.8962e-13 | 14.9788
261.199 | -2.9532e-13 | 14.9778
261.522 | -2.8885e-13 | 14.9773
261.769 | -3.0688e-13 | 14.9786
262.093 | -2.9711e-13 | 14.9787
262.418 | -3.0628e-13 | 14.9784
262.693 | -2.9843e-13 | 14.9772
263.018 | -3.1542e-13 | 14.9773
263.267 | -3.1542e-13 | 14.9771
263.616 | -3.1003e-13 | 14.9785
263.891 | -3.1092e-13 | 14.9778
264.218 | -3.2637e-13 | 14.9772
264.467 | -3.2467e-13 | 14.9776
264.847 | -3.2821e-13 | 14.9783
265.098 | -3.3798e-13 | 14.9777
265.424 | -3.4542e-13 | 14.9797
265.675 | -3.3711e-13 | 14.9792
266.027 | -3.3754e-13 | 14.9789
266.276 | -3.3461e-13 | 14.98
266.602 | -3.4078e-13 | 14.98
266.926 | -3.3754e-13 | 14.9797
267.178 | -3.403e-13 | 14.9795
267.53 | -3.4179e-13 | 14.9802
267.783 | -3.399e-13 | 14.9805
268.108 | -3.4894e-13 | 14.9801
268.458 | -3.4304e-13 | 14.9793
268.733 | -3.3959e-13 | 14.9797
269.06 | -3.4413e-13 | 14.9801
269.311 | -3.3801e-13 | 14.9798
269.587 | -3.3219e-13 | 14.981
269.915 | -3.2542e-13 | 14.9809
270.192 | -3.2832e-13 | 14.9809
270.52 | -3.2473e-13 | 14.981
270.798 | -3.1379e-13 | 14.9795
271.125 | -3.3232e-13 | 14.9814
271.402 | -3.3081e-13 | 14.9823
271.727 | -3.4152e-13 | 14.9823
271.978 | -3.2729e-13 | 14.9819
272.327 | -3.2302e-13 | 14.9816
272.651 | -3.2358e-13 | 14.9809
272.9 | -3.2259e-13 | 14.982
273.251 | -3.2513e-13 | 14.9811
273.502 | -3.156e-13 | 14.9807
273.853 | -3.149e-13 | 14.9823
274.128 | -3.1686e-13 | 14.9812
274.404 | -3.1111e-13 | 14.9816
274.728 | -3.0986e-13 | 14.9811
274.978 | -3.0607e-13 | 14.9822
275.301 | -3.0544e-13 | 14.9824
275.65 | -3.057e-13 | 14.9811
275.9 | -2.9626e-13 | 14.9821
276.175 | -2.9538e-13 | 14.9826
276.498 | -2.9739e-13 | 14.982
276.849 | -3.0546e-13 | 14.9817
277.099 | -3.0323e-13 | 14.9818
277.374 | -3.0033e-13 | 14.9823
277.699 | -3.0744e-13 | 14.9823
278.023 | -3.0436e-13 | 14.9819
278.296 | -3.0695e-13 | 14.9822
278.65 | -3.0945e-13 | 14.9814
278.9 | -3.0803e-13 | 14.9826
279.224 | -3.0671e-13 | 14.982
279.496 | -3.126e-13 | 14.9804
279.847 | -3.0644e-13 | 14.9812
280.094 | -2.9876e-13 | 14.9821
280.367 | -2.9719e-13 | 14.9817
280.714 | -3.0933e-13 | 14.9809
281.035 | -2.9554e-13 | 14.9815
281.304 | -3.0933e-13 | 14.9808
281.627 | -3.0732e-13 | 14.9798
281.877 | -2.9589e-13 | 14.9811
282.201 | -2.989e-13 | 14.9809
282.548 | -3.1043e-13 | 14.9793
282.796 | -3.131e-13 | 14.9804
283.068 | -3.0326e-13 | 14.9809
283.39 | -3.11e-13 | 14.9803
283.714 | -2.9194e-13 | 14.9798
283.99 | -3.1394e-13 | 14.9806
284.315 | -3.0595e-13 | 14.9798
284.589 | -3.1082e-13 | 14.9806
284.912 | -3.2396e-13 | 14.9801
285.238 | -3.2251e-13 | 14.98
285.514 | -3.3859e-13 | 14.98
285.788 | -3.3459e-13 | 14.9802
286.066 | -3.3632e-13 | 14.9805
286.419 | -3.4245e-13 | 14.9812
286.669 | -3.4926e-13 | 14.9804
287.018 | -3.4242e-13 | 14.981
287.294 | -3.3892e-13 | 14.98
287.622 | -3.4338e-13 | 14.9815
287.901 | -3.4335e-13 | 14.9808
288.228 | -3.4688e-13 | 14.9821
288.483 | -3.5678e-13 | 14.9815
288.838 | -3.5834e-13 | 14.9818
289.088 | -3.6288e-13 | 14.9821
289.435 | -3.697e-13 | 14.982
289.707 | -3.6165e-13 | 14.9818
290.056 | -3.6719e-13 | 14.9814
290.307 | -3.6776e-13 | 14.9825
290.635 | -3.7879e-13 | 14.9819
290.912 | -3.8017e-13 | 14.9818
291.237 | -3.7308e-13 | 14.9829
291.514 | -3.842e-13 | 14.9819
291.768 | -3.7584e-13 | 14.9826
292.117 | -3.921e-13 | 14.9831
292.393 | -3.9455e-13 | 14.9815
292.668 | -3.8807e-13 | 14.9834
293.015 | -3.859e-13 | 14.9822
293.338 | -3.9987e-13 | 14.9817
293.589 | -4.0674e-13 | 14.9824
293.865 | -4.0306e-13 | 14.9832
294.191 | -4.0876e-13 | 14.9826
294.52 | -4.0236e-13 | 14.9782
294.771 | -4.0002e-13 | 14.9834
295.123 | -4.0821e-13 | 14.9839
295.395 | -4.0672e-13 | 14.9833
295.67 | -4.1207e-13 | 14.9836
296.046 | -4.0728e-13 | 14.9822
296.295 | -4.1138e-13 | 14.9832
296.595 | -4.1585e-13 | 14.9833
296.947 | -4.1674e-13 | 14.9829
297.198 | -4.1768e-13 | 14.9835
297.468 | -4.2035e-13 | 14.9834
297.787 | -4.1658e-13 | 14.9829
298.13 | -4.2038e-13 | 14.9824
298.404 | -4.2567e-13 | 14.9828
298.73 | -4.2155e-13 | 14.9823
299.007 | -4.2319e-13 | 14.9818
299.331 | -4.2763e-13 | 14.9825
299.606 | -4.2866e-13 | 14.982
299.932 | -4.3039e-13 | 14.983
300.205 | -4.3402e-13 | 14.982
300.53 | -4.3014e-13 | 14.9825
300.806 | -4.3722e-13 | 14.9812
301.128 | -4.2862e-13 | 14.9824
301.4 | -4.3252e-13 | 14.9823
301.672 | -4.3331e-13 | 14.9825
302.021 | -4.329e-13 | 14.9815
302.269 | -4.2684e-13 | 14.9812
302.622 | -4.3346e-13 | 14.9825
302.9 | -4.3016e-13 | 14.9828
303.225 | -4.3354e-13 | 14.9825
303.497 | -4.3403e-13 | 14.9825
303.85 | -4.3167e-13 | 14.9816
304.127 | -4.3089e-13 | 14.9821
304.377 | -4.3164e-13 | 14.9825
304.72 | -4.2316e-13 | 14.9825
304.991 | -4.2886e-13 | 14.9806
305.336 | -4.3149e-13 | 14.9812
305.584 | -4.3444e-13 | 14.9815
305.936 | -4.3379e-13 | 14.9819
306.217 | -4.364e-13 | 14.9815
306.498 | -4.2549e-13 | 14.9822
306.836 | -4.3254e-13 | 14.9827
307.115 | -4.2899e-13 | 14.9831
307.39 | -4.3024e-13 | 14.9833
307.709 | -4.3486e-13 | 14.9838
308.024 | -4.2497e-13 | 14.983
308.294 | -4.3369e-13 | 14.9823
308.64 | -4.2639e-13 | 14.9824
308.911 | -4.1951e-13 | 14.9811
309.193 | -4.2744e-13 | 14.9829
309.545 | -4.315e-13 | 14.9816
309.825 | -4.3147e-13 | 14.9823
310.077 | -4.3229e-13 | 14.9823
310.455 | -4.3037e-13 | 14.983
310.706 | -4.2882e-13 | 14.9838
311.055 | -4.2709e-13 | 14.9826
311.305 | -4.2101e-13 | 14.9837
311.652 | -4.2621e-13 | 14.9825
311.927 | -4.2377e-13 | 14.9821
312.178 | -4.2909e-13 | 14.9834
312.528 | -4.2948e-13 | 14.9823
312.804 | -4.2477e-13 | 14.9827
313.129 | -4.2512e-13 | 14.9834
313.408 | -4.2118e-13 | 14.9836
313.682 | -4.2151e-13 | 14.9837
314.034 | -4.2289e-13 | 14.9829
314.31 | -4.1842e-13 | 14.9835
314.636 | -4.2159e-13 | 14.9841
314.887 | -4.1986e-13 | 14.9842
315.232 | -4.074e-13 | 14.9837
315.504 | -4.0853e-13 | 14.984
315.829 | -4.1583e-13 | 14.9834
316.103 | -4.0738e-13 | 14.9827
316.426 | -4.0506e-13 | 14.9836
316.699 | -4.0851e-13 | 14.9835
316.974 | -4.0572e-13 | 14.9836
317.328 | -4.0203e-13 | 14.9828
317.606 | -4.0089e-13 | 14.9834
317.934 | -3.8615e-13 | 14.9831
318.212 | -3.9171e-13 | 14.9827
318.561 | -3.8379e-13 | 14.9837
318.836 | -3.8783e-13 | 14.9838
319.088 | -3.8345e-13 | 14.9847
319.414 | -3.7672e-13 | 14.9842
319.692 | -3.771e-13 | 14.9851
319.966 | -3.5855e-13 | 14.9842
320.312 | -3.5416e-13 | 14.9846
320.63 | -3.5626e-13 | 14.9838
320.902 | -3.4653e-13 | 14.9832
321.173 | -3.4188e-13 | 14.984
321.52 | -3.4123e-13 | 14.9828
321.77 | -3.4109e-13 | 14.9835
322.122 | -3.41e-13 | 14.9827
322.376 | -3.3308e-13 | 14.9839
322.731 | -3.196e-13 | 14.9845
323.01 | -3.1514e-13 | 14.9846
323.288 | -3.1398e-13 | 14.985
323.566 | -3.0708e-13 | 14.9851
323.917 | -3.0282e-13 | 14.9841
324.17 | -3.0002e-13 | 14.9849
324.519 | -2.9337e-13 | 14.9844
324.792 | -2.839e-13 | 14.9845
325.112 | -2.8633e-13 | 14.9847
325.457 | -2.8091e-13 | 14.9839
325.71 | -2.7322e-13 | 14.9843
325.982 | -2.6204e-13 | 14.9846
326.331 | -2.609e-13 | 14.9848
326.605 | -2.5733e-13 | 14.9839
326.931 | -2.5889e-13 | 14.9843
327.207 | -2.5823e-13 | 14.9837
327.507 | -2.4186e-13 | 14.9835
327.854 | -2.396e-13 | 14.9836
328.099 | -2.4087e-13 | 14.9842
328.444 | -2.3374e-13 | 14.9833
328.696 | -2.2754e-13 | 14.9841
329.047 | -2.2577e-13 | 14.9836
329.297 | -2.1798e-13 | 14.9844
329.573 | -2.1335e-13 | 14.9839
329.926 | -2.0831e-13 | 14.9843
330.206 | -2.1255e-13 | 14.985
330.538 | -1.9753e-13 | 14.985
330.819 | -2.0277e-13 | 14.9857
331.097 | -2.0406e-13 | 14.986
331.426 | -1.9328e-13 | 14.9861
331.705 | -2.0855e-13 | 14.9845
331.984 | -1.9735e-13 | 14.9866
332.336 | -1.9191e-13 | 14.9867
332.608 | -1.8641e-13 | 14.9855
332.96 | 2.0481e-14 | 14.9858
333.234 | 4.9286e-13 | 14.9858
333.482 | 2.5741e-13 | 14.9863
333.835 | -6.3312e-13 | 14.9855
334.087 | 1.9971e-13 | 14.9864
334.365 | -2.9254e-12 | 14.9689
334.889 | -2.2113e-13 | 14.9187
336.311 | -1.8251e-13 | 14.9896
337.287 | -1.7619e-13 | 14.9929
337.567 | -5.175e-13 | 14.9753
338.068 | -1.7558e-13 | 14.926
339.498 | -3.5955e-13 | 14.9915
340.508 | -7.2499e-13 | 14.9914
340.829 | -2.5111e-12 | 14.9731
341.347 | -6.8455e-13 | 14.9901
341.543 | -1.1762e-13 | 14.9076
343.146 | -7.0767e-13 | 14.9078
345.272 | -7.9541e-12 | 14.9881
346.312 | -2.1139e-13 | 14.9227
347.915 | -2.4681e-14 | 14.9857
348.884 | -8.733e-15 | 14.9855
349.233 | -5.999e-15 | 14.9856
349.508 | -3.127e-15 | 14.9855
349.782 | -1.3474e-14 | 14.9857
350.13 | -1.7419e-14 | 14.9859
350.405 | -1.464e-15 | 14.9858
350.68 | -1.3172e-14 | 14.9856
351.03 | -8.684e-15 | 14.9848
351.305 | 1.6697e-14 | 14.9848
351.628 | 2.2258e-14 | 14.9858
351.905 | 6.729e-14 | 14.9858
352.178 | 1.202e-15 | 14.9859
352.528 | -5.849e-15 | 14.9847
352.802 | -9.891e-15 | 14.9847
353.077 | -1.173e-14 | 14.9852
353.377 | -4.319e-15 | 14.9858
353.678 | 5.669e-15 | 14.9853
354.052 | -6.761e-15 | 14.9853
354.303 | -2.0542e-14 | 14.9858
354.602 | -1.165e-14 | 14.9848
354.953 | -6.01e-15 | 14.9848
355.228 | -5.437e-15 | 14.9849
355.502 | -4.16e-16 | 14.9848
355.853 | -2.6909e-14 | 14.9851
356.102 | -3.2798e-14 | 14.9851
356.403 | 1.783e-14 | 14.9853
356.727 | 1.7261e-14 | 14.9856
357.002 | 1.461e-15 | 14.9859
357.277 | -6.334e-15 | 14.9861
357.628 | -5.397e-15 | 14.9855
357.877 | 1.11e-15 | 14.9851
358.251 | -1.8729e-14 | 14.9854
358.503 | -2.894e-14 | 14.9855
358.778 | -1.0259e-13 | 14.9857
359.128 | -6.928e-14 | 14.9859
359.403 | -7.1522e-14 | 14.9852
359.753 | -8.9636e-14 | 14.9855
360.003 | -5.9626e-14 | 14.9857
360.278 | -3.1371e-14 | 14.9862
360.628 | -2.2245e-14 | 14.9855
360.878 | -1.8364e-14 | 14.9859
361.227 | 3.008e-15 | 14.9852
361.503 | -1.859e-15 | 14.9855
361.828 | -9.8352e-14 | 14.986
362.103 | -4.2289e-14 | 14.9857
362.378 | -7.7692e-14 | 14.9862
362.729 | -5.4156e-14 | 14.9854
363.004 | -4.2392e-14 | 14.9854
363.328 | -1.9704e-14 | 14.9858
363.604 | -1.8178e-14 | 14.9864
363.879 | -8.425e-15 | 14.9864
364.23 | -5.563e-15 | 14.9865
364.504 | -6.768e-15 | 14.9864
364.779 | -8.611e-15 | 14.9864
365.129 | -8.38e-15 | 14.9855
365.404 | -1.6738e-14 | 14.9853
365.754 | 3.932e-15 | 14.986
366.004 | -1.4027e-13 | 14.9864
366.279 | -7.3623e-14 | 14.9862
366.63 | -2.9817e-14 | 14.9855
366.879 | -3.1044e-14 | 14.986
367.255 | 4.202e-15 | 14.9858
367.504 | 1.0185e-14 | 14.9862
367.778 | -2.2065e-14 | 14.9864
368.129 | -6.1981e-14 | 14.9856
368.404 | -4.6805e-14 | 14.9866
368.755 | -1.3619e-14 | 14.9857
369.028 | -2.2548e-14 | 14.9855
369.304 | -1.9953e-14 | 14.9864
369.578 | -1.1967e-14 | 14.986
369.929 | -2.3943e-14 | 14.9863
370.204 | 2.9639e-14 | 14.9866
370.479 | 1.1643e-13 | 14.9866
370.829 | 3.1474e-14 | 14.9867
371.104 | 4.342e-15 | 14.9859
371.429 | -8.525e-15 | 14.9863
371.704 | -7.591e-15 | 14.9861
372.004 | -9.52e-15 | 14.9862
372.329 | -1.439e-14 | 14.9868
372.604 | 4.125e-15 | 14.9867
372.88 | -9.73e-15 | 14.9864
373.228 | -1.1251e-14 | 14.9864
373.529 | -1.0313e-14 | 14.9863
373.805 | -1.5594e-14 | 14.9861
374.13 | -1.1734e-14 | 14.9866
374.404 | -1.2537e-14 | 14.9865
374.68 | -5.345e-15 | 14.9868
375.029 | -3.55e-16 | 14.9864
375.281 | 4.94e-16 | 14.9866
375.629 | -7.177e-15 | 14.9868
375.905 | -1.053e-14 | 14.9869
376.179 | -9.287e-15 | 14.9869
376.529 | -5.1e-15 | 14.9857
376.804 | -1.496e-15 | 14.9854
377.103 | -5.956e-15 | 14.9863
377.429 | -4.004e-15 | 14.9868
377.705 | -1.366e-15 | 14.9859
377.979 | -2.8972e-14 | 14.9867
378.329 | -1.6042e-14 | 14.9864
378.603 | -8.039e-15 | 14.9865
378.879 | -7.772e-15 | 14.9868
379.228 | 5.977e-15 | 14.9871
379.504 | -1.843e-15 | 14.9871
379.854 | 5.2e-17 | 14.9864
380.105 | -6.957e-15 | 14.9867
380.38 | -3.237e-15 | 14.9867
380.731 | 1.087e-14 | 14.9869
381.028 | 1.239e-15 | 14.9864
381.303 | 1.748e-15 | 14.9866
381.629 | 7.587e-15 | 14.9871
381.903 | 4.331e-15 | 14.9864
382.205 | -1.182e-15 | 14.9866
382.555 | 4.859e-15 | 14.9864
382.829 | 2.503e-15 | 14.9866
383.104 | -7.36e-16 | 14.9863
383.43 | 3.1766e-14 | 14.9867
383.704 | 1.7999e-14 | 14.9867
384.005 | 2.0466e-14 | 14.9866
384.281 | 6.233e-15 | 14.9872
384.63 | 6.658e-15 | 14.9864
384.905 | 6.827e-15 | 14.9863
385.254 | 6.808e-15 | 14.9867
385.53 | 9.496e-15 | 14.9867
385.806 | 1.428e-15 | 14.9863
386.08 | 2.783e-15 | 14.9874
386.43 | 6.569e-15 | 14.9861
386.706 | 5.063e-15 | 14.9864
387.055 | 2.111e-15 | 14.9866
387.305 | 8.084e-15 | 14.9872
387.581 | -3.064e-15 | 14.987
387.932 | 2.509e-15 | 14.9874
388.206 | -6e-18 | 14.9872
388.48 | 5.95e-15 | 14.9871
388.83 | -6.64e-16 | 14.9871
389.106 | 3.332e-15 | 14.9874
389.406 | -8.81e-16 | 14.9863
389.681 | 1.972e-15 | 14.9873
390.031 | 2.268e-15 | 14.9871
390.327 | -5.797e-15 | 14.9867
390.601 | 2.886e-15 | 14.9859
390.874 | -6.09e-15 | 14.9869
391.22 | 5.229e-15 | 14.9869
391.495 | 3.796e-15 | 14.9861
391.769 | 5.483e-15 | 14.9865
392.117 | 4.323e-15 | 14.9865
392.393 | 2.428e-15 | 14.9868
392.668 | -5.23e-15 | 14.9867
393.043 | -4.15e-16 | 14.9864
393.293 | -3.9475e-14 | 14.9867
393.569 | -2.0256e-14 | 14.987
393.92 | -1.5459e-14 | 14.9861
394.196 | -1.0539e-14 | 14.9871
394.47 | 3.54e-15 | 14.987
394.845 | -7.12e-16 | 14.9866
395.122 | -6.725e-15 | 14.9866
395.398 | 1.951e-15 | 14.9865
395.748 | 6.085e-15 | 14.9866
396.023 | 6.2e-16 | 14.9865
396.299 | 6.688e-15 | 14.9868
396.6 | 2.12e-16 | 14.9868
396.9 | 1.549e-15 | 14.9864
397.178 | 9.9838e-14 | 14.9876
397.526 | 2.1699e-14 | 14.9866
397.802 | 1.116e-14 | 14.9876
398.077 | -2.29e-16 | 14.9874
398.426 | 6.11e-16 | 14.9866
398.703 | -1.076e-15 | 14.9875
398.977 | 8.096e-15 | 14.9875
399.327 | -1.049e-15 | 14.9868
399.603 | 3.979e-15 | 14.9877
399.903 | 2.625e-15 | 14.9873
400.229 | 6.967e-15 | 14.9873
400.528 | -4.967e-15 | 14.9877
400.804 | 1.696e-15 | 14.9878
401.079 | 1.933e-15 | 14.9874
401.43 | 2.434e-15 | 14.988
401.705 | 6.335e-15 | 14.9877
401.981 | 1.017e-14 | 14.987
402.356 | 6.506e-15 | 14.9874
402.632 | 4.133e-15 | 14.9874
402.907 | 6.858e-15 | 14.9879
403.182 | 6.126e-15 | 14.9875
403.534 | 1.0019e-14 | 14.9881
403.834 | 3.828e-15 | 14.9875
404.109 | 1.983e-15 | 14.9878
404.411 | 1.2445e-14 | 14.9872
404.711 | 7.708e-15 | 14.9876
405.037 | 1.2301e-14 | 14.9876
405.312 | 7.077e-15 | 14.987
405.612 | 8.139e-15 | 14.9872
405.913 | 3.695e-15 | 14.9884
406.213 | 3.425e-15 | 14.9876
406.488 | 9.906e-15 | 14.9882
406.862 | 1.1261e-14 | 14.9879
407.139 | 8.26e-15 | 14.9878
407.414 | 2.217e-15 | 14.9875
407.714 | 6.904e-15 | 14.9879
407.991 | 1.6176e-14 | 14.9884
408.364 | 9.797e-15 | 14.9875
408.589 | 1.3393e-14 | 14.9873
408.89 | 1.1803e-14 | 14.9884
409.215 | 1.2747e-14 | 14.9881
409.514 | 1.6173e-14 | 14.9876
409.789 | 1.3436e-14 | 14.9883
410.139 | 1.0265e-14 | 14.9884
410.414 | 7.32e-15 | 14.9882
410.713 | 1.1913e-14 | 14.9879
411.015 | 1.2459e-14 | 14.9879
411.363 | 9.481e-15 | 14.9878
411.638 | 1.307e-14 | 14.9884
411.938 | 8.973e-15 | 14.9877
412.213 | 1.0155e-14 | 14.9883
412.51 | 1.8183e-14 | 14.9879
412.863 | 1.0151e-14 | 14.9879
413.136 | 1.0334e-14 | 14.9876
413.412 | 9.282e-15 | 14.9886
413.685 | 4.572e-15 | 14.9884
413.986 | 1.317e-14 | 14.9882
414.334 | 1.2939e-14 | 14.9878
414.633 | 1.2567e-14 | 14.9878
414.933 | 1.018e-14 | 14.9883
415.206 | 1.1766e-14 | 14.9882
415.506 | 1.4874e-14 | 14.9877
415.782 | 1.5359e-14 | 14.9884
416.13 | 9.401e-15 | 14.9883
416.405 | 1.6458e-14 | 14.9884
416.68 | 9.207e-15 | 14.9877
417.03 | 1.273e-14 | 14.9875
417.304 | 1.4696e-14 | 14.9881
417.604 | 1.0959e-14 | 14.9872
417.88 | 9.747e-15 | 14.988
418.228 | 1.909e-14 | 14.988
418.501 | 1.8333e-14 | 14.9882
418.777 | 1.5501e-14 | 14.988
419.128 | 1.1698e-14 | 14.988
419.427 | 1.6786e-14 | 14.9882
419.727 | 1.6695e-14 | 14.9873
420.001 | 1.5279e-14 | 14.9874
420.277 | 1.3066e-14 | 14.9883
420.625 | 1.2615e-14 | 14.9876
420.9 | 1.378e-14 | 14.9875
421.249 | 2.2648e-14 | 14.9877
421.524 | 1.3518e-14 | 14.9876
421.801 | 1.107e-14 | 14.9883
422.099 | 1.3818e-14 | 14.9878
422.425 | 9.856e-15 | 14.988
422.725 | 1.3939e-14 | 14.9873
422.998 | 1.5843e-14 | 14.9883
423.274 | 1.2748e-14 | 14.9881
423.625 | 1.5441e-14 | 14.988
423.924 | 1.3484e-14 | 14.9879
424.174 | 1.6924e-14 | 14.9881
424.524 | 1.7752e-14 | 14.988
424.825 | 1.8075e-14 | 14.9877
425.099 | 1.3268e-14 | 14.988
425.374 | 1.3037e-14 | 14.988
425.671 | 1.3961e-14 | 14.9882
426.017 | 1.7837e-14 | 14.9876
426.289 | 1.6771e-14 | 14.9876
426.663 | 1.4713e-14 | 14.9872
426.937 | 1.6328e-14 | 14.9871
427.214 | 1.8244e-14 | 14.9876
427.489 | 1.9496e-14 | 14.9876
427.841 | 1.5117e-14 | 14.9878
428.114 | 1.6373e-14 | 14.9876
428.414 | 1.2154e-14 | 14.9879
428.713 | 1.419e-14 | 14.9875
429.037 | 9.726e-15 | 14.9878
429.314 | 6.789e-15 | 14.9878
429.589 | 6.824e-15 | 14.9877
429.938 | 1.5336e-14 | 14.9877
430.239 | 1.5731e-14 | 14.9871
430.513 | 1.8168e-14 | 14.988
430.787 | 1.6645e-14 | 14.9879
431.138 | 1.3342e-14 | 14.9878
431.439 | 1.6003e-14 | 14.9876
431.717 | 2.2351e-14 | 14.9875
431.991 | 2.2557e-14 | 14.9881
432.267 | 1.7993e-14 | 14.988
432.618 | 1.6639e-14 | 14.9881
432.917 | 1.853e-14 | 14.9883
433.192 | 2.4489e-14 | 14.9879
433.468 | 2.5976e-14 | 14.988
433.818 | 2.2279e-14 | 14.9881
434.117 | 2.2032e-14 | 14.9877
434.392 | 1.9195e-14 | 14.9876
434.668 | 1.4128e-14 | 14.9876
434.97 | 2.1051e-14 | 14.9885
435.32 | 2.0456e-14 | 14.9884
435.62 | 2.1455e-14 | 14.9877
435.896 | 2.8392e-14 | 14.9878
436.196 | 2.5416e-14 | 14.9885
436.497 | 3.5523e-14 | 14.9879
436.846 | 2.8839e-14 | 14.9881
437.121 | 2.9628e-14 | 14.9886
437.445 | 3.0472e-14 | 14.9875
437.744 | 3.104e-14 | 14.9877
438.02 | 2.7009e-14 | 14.9883
438.321 | 2.2704e-14 | 14.988
438.596 | 1.8772e-14 | 14.9879
438.872 | 2.2987e-14 | 14.9886
439.22 | 2.7651e-14 | 14.9885
439.497 | 2.2594e-14 | 14.9884
439.797 | 3.0308e-14 | 14.9888
440.073 | 3.3391e-14 | 14.9887
440.422 | 2.5732e-14 | 14.9887
440.697 | 3.0296e-14 | 14.9884
440.997 | 3.2943e-14 | 14.988
441.347 | 2.8801e-14 | 14.9879
441.648 | 2.3889e-14 | 14.988
441.923 | 2.797e-14 | 14.9888
442.197 | 2.4426e-14 | 14.9887
442.473 | 3.0234e-14 | 14.9887
442.822 | 2.5474e-14 | 14.9885
443.122 | 2.7151e-14 | 14.9882
443.397 | 2.2058e-14 | 14.9887
443.697 | 2.5969e-14 | 14.9889
443.972 | 2.7408e-14 | 14.988
444.272 | 2.9359e-14 | 14.9887
444.622 | 2.745e-14 | 14.9887
444.922 | 3.5928e-14 | 14.9881
445.196 | 2.7357e-14 | 14.9888
445.471 | 3.2783e-14 | 14.9884
445.821 | 2.1159e-14 | 14.9885
446.096 | 3.2303e-14 | 14.9885
446.397 | 3.0294e-14 | 14.988
446.671 | 3.271e-14 | 14.9884
447.046 | 3.7762e-14 | 14.9881
447.321 | 2.7976e-14 | 14.9888
447.595 | 2.912e-14 | 14.9886
447.871 | 2.1165e-14 | 14.9887
448.223 | 2.4187e-14 | 14.9888
448.522 | 3.1396e-14 | 14.9881
448.798 | 2.8503e-14 | 14.9886
449.098 | 3.363e-14 | 14.9881
449.372 | 3e-14 | 14.9886
449.7 | 3.4746e-14 | 14.9882
449.999 | 4.1106e-14 | 14.9886
450.273 | 1.288e-14 | 14.9889