## Settings
Sample Info | so14ig, dot c2, run 01
Sample Description | 01: -10/ +5 / -10 V
Major Measurement Parameters
Starting Temperature | 296.229
Initial Temperature | 81
Final Temperature | 450
Preliminary Voltage | -10
Pulse Voltage | 5
Pulse Time | 15
Measurement Voltage | -10
Subsidiary Measurement Parameters
Step | 0.3
Accuracy Step | 0.1
Accuracy Stable | 0.5
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 5
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 5
Measurecount | 1
время
Date | 26.9.2023
Time | 21:5:42

## Stabilization
Temperature | Current
294.402 | -2.3746e-10
293.383 | -2.3538e-10
292.324 | -2.3506e-10
291.303 | -2.3433e-10
290.256 | -2.3529e-10
289.11 | -2.3492e-10
288.014 | -2.3483e-10
286.886 | -2.3511e-10
285.852 | -2.351e-10
284.785 | -2.364e-10
283.58 | -2.3663e-10
282.533 | -2.3578e-10
281.5 | -2.368e-10
280.327 | -2.3587e-10
279.174 | -2.3419e-10
278.15 | -2.3474e-10
277.096 | -2.3409e-10
275.88 | -2.3437e-10
274.811 | -2.3624e-10
273.788 | -2.3465e-10
272.545 | -2.3562e-10
271.377 | -2.3605e-10
270.321 | -2.3557e-10
269.22 | -2.3534e-10
268.019 | -2.36e-10
266.966 | -2.3502e-10
265.818 | -2.3717e-10
264.522 | -2.3558e-10
263.49 | -2.3692e-10
262.317 | -2.3585e-10
261.09 | -2.3513e-10
260.034 | -2.3581e-10
258.846 | -2.3553e-10
257.486 | -2.3433e-10
256.497 | -2.3434e-10
255.335 | -2.3532e-10
254.173 | -2.3452e-10
253.153 | -2.3449e-10
251.95 | -2.342e-10
250.896 | -2.3481e-10
249.696 | -2.3413e-10
248.614 | -2.3454e-10
247.679 | -2.3432e-10
246.507 | -2.3376e-10
245.604 | -2.3377e-10
244.68 | -2.3445e-10
243.494 | -2.3417e-10
242.52 | -2.3506e-10
241.377 | -2.3412e-10
240.467 | -2.3461e-10
239.534 | -2.3506e-10
238.42 | -2.355e-10
237.531 | -2.3463e-10
236.338 | -2.3479e-10
235.531 | -2.351e-10
234.417 | -2.3566e-10
233.55 | -2.3539e-10
232.504 | -2.3629e-10
231.563 | -2.3588e-10
230.63 | -2.35e-10
229.563 | -2.3478e-10
228.829 | -2.3579e-10
227.769 | -2.3472e-10
227.071 | -2.3442e-10
225.908 | -2.3459e-10
225.289 | -2.3423e-10
224.162 | -2.3424e-10
223.564 | -2.3437e-10
222.377 | -2.3434e-10
221.803 | -2.356e-10
220.737 | -2.3453e-10
220.151 | -2.3505e-10
219.129 | -2.3455e-10
218.482 | -2.3469e-10
217.662 | -2.352e-10
216.898 | -2.3506e-10
216.22 | -2.3361e-10
215.374 | -2.337e-10
214.884 | -2.3535e-10
213.947 | -2.3393e-10
213.602 | -2.3422e-10
212.788 | -2.3403e-10
212.348 | -2.3263e-10
211.855 | -2.342e-10
211.248 | -2.3378e-10
211.027 | -2.3438e-10
210.796 | -2.3488e-10
210.649 | -2.346e-10
210.412 | -2.3533e-10
210.261 | -2.3584e-10
210.163 | -2.3595e-10
209.949 | -2.3603e-10
209.816 | -2.355e-10
209.725 | -2.3556e-10
209.615 | -2.3592e-10
209.483 | -2.342e-10
209.381 | -2.3535e-10
209.278 | -2.3716e-10
209.174 | -2.3664e-10
209.065 | -2.3455e-10
208.913 | -2.3549e-10
208.809 | -2.352e-10
208.701 | -2.3551e-10
208.585 | -2.3415e-10
208.459 | -2.3421e-10
208.339 | -2.3474e-10
208.212 | -2.3452e-10
208.069 | -2.3486e-10
207.879 | -2.3548e-10
207.737 | -2.3537e-10
207.606 | -2.3576e-10
207.475 | -2.3538e-10
207.339 | -2.3547e-10
207.199 | -2.3538e-10
207.037 | -2.3445e-10
206.887 | -2.3384e-10
206.732 | -2.3426e-10
206.569 | -2.3522e-10
206.42 | -2.3428e-10
206.262 | -2.3518e-10
206.116 | -2.3504e-10
205.973 | -2.3619e-10
205.823 | -2.3462e-10
205.671 | -2.3579e-10
205.499 | -2.3505e-10
205.326 | -2.3512e-10
205.157 | -2.3405e-10
204.977 | -2.342e-10
204.76 | -2.3522e-10
204.579 | -2.3467e-10
204.407 | -2.3409e-10
204.227 | -2.3315e-10
204.041 | -2.3385e-10
203.852 | -2.3395e-10
203.565 | -2.338e-10
203.35 | -2.3468e-10
203.15 | -2.3302e-10
202.945 | -2.3419e-10
202.729 | -2.3437e-10
202.513 | -2.348e-10
202.256 | -2.3347e-10
202.018 | -2.3386e-10
201.76 | -2.3332e-10
201.505 | -2.3521e-10
201.259 | -2.3437e-10
201.017 | -2.3445e-10
200.777 | -2.3407e-10
200.518 | -2.3393e-10
200.269 | -2.3384e-10
200.023 | -2.3398e-10
199.768 | -2.3513e-10
199.499 | -2.3401e-10
199.253 | -2.3422e-10
199.007 | -2.343e-10
198.758 | -2.335e-10
198.481 | -2.336e-10
198.217 | -2.3341e-10
197.95 | -2.3333e-10
197.663 | -2.3369e-10
197.398 | -2.3547e-10
197.123 | -2.3373e-10
196.846 | -2.3382e-10
196.552 | -2.3323e-10
196.278 | -2.3453e-10
196.001 | -2.3421e-10
195.698 | -2.3478e-10
195.362 | -2.3409e-10
195.037 | -2.3429e-10
194.602 | -2.3336e-10
194.208 | -2.339e-10
193.857 | -2.3318e-10
193.491 | -2.3357e-10
193.184 | -2.3385e-10
192.847 | -2.3475e-10
192.455 | -2.3411e-10
192.068 | -2.3301e-10
191.603 | -2.3307e-10
191.165 | -2.3355e-10
190.764 | -2.3436e-10
190.436 | -2.3491e-10
190.112 | -2.3484e-10
189.75 | -2.3439e-10
189.416 | -2.3424e-10
189.079 | -2.3482e-10
188.762 | -2.3426e-10
188.441 | -2.339e-10
188.004 | -2.3417e-10
187.559 | -2.3349e-10
187.162 | -2.3372e-10
186.685 | -2.3415e-10
186.239 | -2.3484e-10
185.836 | -2.3374e-10
185.5 | -2.3437e-10
185.168 | -2.3524e-10
184.836 | -2.3432e-10
184.43 | -2.3633e-10
183.995 | -2.358e-10
183.656 | -2.3511e-10
183.33 | -2.3381e-10
182.957 | -2.3391e-10
182.491 | -2.3461e-10
182.089 | -2.3443e-10
181.675 | -2.3556e-10
181.271 | -2.3416e-10
180.89 | -2.35e-10
180.42 | -2.3562e-10
180.008 | -2.3481e-10
179.634 | -2.3414e-10
179.19 | -2.3392e-10
178.691 | -2.3476e-10
178.241 | -2.3579e-10
177.859 | -2.3586e-10
177.374 | -2.3496e-10
176.836 | -2.3522e-10
176.377 | -2.3479e-10
175.815 | -2.3429e-10
175.197 | -2.3581e-10
174.649 | -2.3486e-10
174.114 | -2.3591e-10
173.554 | -2.3523e-10
173.036 | -2.3578e-10
172.591 | -2.3666e-10
172.212 | -2.349e-10
171.833 | -2.3505e-10
171.327 | -2.357e-10
170.885 | -2.3622e-10
170.472 | -2.3419e-10
170.092 | -2.3579e-10
169.746 | -2.3548e-10
169.366 | -2.3594e-10
168.948 | -2.3372e-10
168.597 | -2.3502e-10
168.122 | -2.3519e-10
167.644 | -2.3578e-10
167.238 | -2.3479e-10
166.678 | -2.3489e-10
166.105 | -2.3509e-10
165.597 | -2.3471e-10
165.226 | -2.3556e-10
164.784 | -2.357e-10
164.317 | -2.3641e-10
163.875 | -2.3577e-10
163.547 | -2.3559e-10
163.227 | -2.3579e-10
162.737 | -2.3639e-10
162.249 | -2.3588e-10
161.675 | -2.3628e-10
161.082 | -2.3543e-10
160.542 | -2.3443e-10
160.156 | -2.355e-10
159.845 | -2.3442e-10
159.558 | -2.3497e-10
159.283 | -2.3381e-10
159.015 | -2.3454e-10
158.735 | -2.3574e-10
158.474 | -2.3506e-10
158.207 | -2.338e-10
157.887 | -2.3447e-10
157.495 | -2.3462e-10
157.038 | -2.3402e-10
156.565 | -2.3443e-10
156.134 | -2.3385e-10
155.63 | -2.3246e-10
155.027 | -2.3376e-10
154.399 | -2.3413e-10
153.757 | -2.3386e-10
153.189 | -2.3263e-10
152.508 | -2.3248e-10
151.764 | -2.3347e-10
151.063 | -2.3422e-10
150.352 | -2.3316e-10
149.669 | -2.3253e-10
148.92 | -2.3282e-10
148.059 | -2.3197e-10
147.163 | -2.3343e-10
146.211 | -2.3411e-10
145.36 | -2.3416e-10
144.54 | -2.3461e-10
143.802 | -2.3348e-10
143.272 | -2.3403e-10
142.635 | -2.3312e-10
141.906 | -2.3388e-10
141.084 | -2.3304e-10
140.185 | -2.3363e-10
139.335 | -2.3251e-10
138.512 | -2.3393e-10
137.951 | -2.3314e-10
137.502 | -2.34e-10
137.015 | -2.3439e-10
136.538 | -2.3451e-10
136.175 | -2.3296e-10
135.824 | -2.3248e-10
135.513 | -2.3218e-10
135.233 | -2.3266e-10
134.905 | -2.3218e-10
134.551 | -2.3213e-10
134.182 | -2.3224e-10
133.642 | -2.3269e-10
133.025 | -2.3241e-10
132.373 | -2.3181e-10
131.682 | -2.3306e-10
131.125 | -2.3314e-10
130.597 | -2.3435e-10
129.984 | -2.3356e-10
129.3 | -2.3284e-10
128.571 | -2.3242e-10
127.887 | -2.3252e-10
127.298 | -2.3309e-10
126.809 | -2.3247e-10
126.369 | -2.3305e-10
126.037 | -2.3467e-10
125.764 | -2.322e-10
125.519 | -2.3242e-10
125.322 | -2.3111e-10
125.142 | -2.3084e-10
124.978 | -2.3185e-10
124.82 | -2.3159e-10
124.684 | -2.3087e-10
124.561 | -2.3047e-10
124.444 | -2.3128e-10
124.33 | -2.3104e-10
124.211 | -2.3045e-10
124.097 | -2.2966e-10
123.994 | -2.2989e-10
123.873 | -2.303e-10
123.725 | -2.3012e-10
123.611 | -2.3176e-10
123.515 | -2.3133e-10
123.436 | -2.305e-10
123.359 | -2.3072e-10
123.288 | -2.3125e-10
123.217 | -2.3128e-10
123.141 | -2.3011e-10
123.072 | -2.3241e-10
123.003 | -2.3217e-10
122.928 | -2.3139e-10
122.859 | -2.3134e-10
122.784 | -2.3171e-10
122.719 | -2.3046e-10
122.659 | -2.3068e-10
122.607 | -2.319e-10
122.555 | -2.3244e-10
122.507 | -2.3093e-10
122.453 | -2.3179e-10
122.407 | -2.3181e-10
122.366 | -2.3012e-10
122.333 | -2.3067e-10
122.304 | -2.3035e-10
122.268 | -2.3076e-10
122.235 | -2.3043e-10
122.206 | -2.3141e-10
122.187 | -2.3171e-10
122.174 | -2.3255e-10
122.164 | -2.335e-10
122.155 | -2.337e-10
122.146 | -2.3261e-10
122.117 | -2.3254e-10
121.933 | -2.3356e-10
121.56 | -2.3223e-10
121.204 | -2.3225e-10
120.847 | -2.3284e-10
120.509 | -2.3251e-10
120.004 | -2.3199e-10
119.455 | -2.3049e-10
118.885 | -2.3255e-10
118.391 | -2.3261e-10
117.967 | -2.3233e-10
117.593 | -2.3136e-10
117.3 | -2.3183e-10
116.955 | -2.3161e-10
116.438 | -2.3233e-10
115.869 | -2.3314e-10
115.157 | -2.32e-10
114.469 | -2.3243e-10
113.745 | -2.3304e-10
112.955 | -2.3281e-10
112.346 | -2.338e-10
111.759 | -2.3256e-10
111.142 | -2.3388e-10
110.667 | -2.3224e-10
110.345 | -2.3135e-10
110.056 | -2.3154e-10
109.572 | -2.3164e-10
109.019 | -2.3251e-10
108.386 | -2.3205e-10
107.841 | -2.3174e-10
107.457 | -2.3158e-10
107.131 | -2.3221e-10
106.744 | -2.3134e-10
106.229 | -2.2952e-10
105.407 | -2.3068e-10
104.586 | -2.3196e-10
103.953 | -2.3181e-10
103.26 | -2.3212e-10
102.363 | -2.2973e-10
101.326 | -2.311e-10
100.552 | -2.3177e-10
100.002 | -2.3135e-10
99.6066 | -2.3169e-10
98.9918 | -2.3045e-10
97.9063 | -2.3026e-10
96.7724 | -2.31e-10
95.487 | -2.2938e-10
94.4776 | -2.3212e-10
93.6074 | -2.3227e-10
93.0393 | -2.316e-10
92.5448 | -2.3115e-10
91.9549 | -2.3211e-10
91.2088 | -2.324e-10
90.9933 | -2.3132e-10
90.9357 | -2.3159e-10
90.2513 | -2.3049e-10
88.1955 | -2.3157e-10
86.8524 | -2.3115e-10
86.6272 | -2.3225e-10
86.8058 | -2.3201e-10
86.3203 | -2.3236e-10
84.8401 | -2.3119e-10
83.3724 | -2.3187e-10
82.424 | -2.3117e-10
81.6877 | -2.3319e-10
81.3502 | -2.3189e-10
81.1548 | -2.3181e-10
81.0251 | -2.31e-10
80.9775 | -2.3246e-10
80.9772 | -2.3261e-10
80.9694 | -2.3194e-10
80.958 | -2.3196e-10
80.9701 | -2.3068e-10
80.948 | -2.3256e-10
80.9628 | -2.3094e-10

## Measurements
Temperature | Current
80.6748 | -2.3091e-10
80.7747 | -2.3281e-10
81.0924 | -2.3151e-10
81.3846 | -2.3339e-10
81.6857 | -2.3205e-10
82.0049 | -2.313e-10
82.2828 | -2.3304e-10
82.6298 | -2.3171e-10
82.995 | -2.315e-10
83.2794 | -2.3172e-10
83.5308 | -2.3377e-10
83.9157 | -2.3321e-10
84.1749 | -2.3378e-10
84.5364 | -2.3319e-10
84.8239 | -2.3345e-10
85.0623 | -2.3456e-10
85.5201 | -2.3245e-10
85.8688 | -2.3301e-10
86.2691 | -2.3303e-10
86.4825 | -2.3313e-10
86.5731 | -2.3159e-10
87.1723 | -2.3197e-10
87.0387 | -2.3094e-10
87.6933 | -2.3305e-10
87.6142 | -2.3328e-10
88.2669 | -2.3179e-10
90.5956 | -2.3267e-10
91.6073 | -2.3245e-10
91.8899 | -2.3253e-10
92.1871 | -2.3107e-10
92.4956 | -2.3367e-10
92.7881 | -2.3343e-10
93.1693 | -2.3432e-10
93.3969 | -2.3367e-10
93.7097 | -2.3256e-10
94.0126 | -2.3394e-10
94.3096 | -2.3374e-10
94.6017 | -2.3196e-10
94.8903 | -2.3285e-10
95.2259 | -2.3157e-10
95.5166 | -2.3275e-10
95.8085 | -2.3282e-10
96.1295 | -2.3259e-10
96.4105 | -2.331e-10
96.6799 | -2.3049e-10
96.9968 | -2.3211e-10
97.2893 | -2.3288e-10
97.5826 | -2.3303e-10
97.8778 | -2.3459e-10
98.2056 | -2.3496e-10
98.5206 | -2.3536e-10
98.8234 | -2.356e-10
99.1186 | -2.3534e-10
99.4015 | -2.3511e-10
99.7057 | -2.3317e-10
99.9931 | -2.3552e-10
100.293 | -2.3521e-10
100.623 | -2.3572e-10
100.916 | -2.3585e-10
101.207 | -2.3634e-10
101.474 | -2.3643e-10
101.791 | -2.3562e-10
102.094 | -2.3599e-10
102.378 | -2.3631e-10
102.73 | -2.3725e-10
103.038 | -2.3596e-10
103.322 | -2.3599e-10
103.632 | -2.3744e-10
103.905 | -2.3686e-10
104.216 | -2.3676e-10
104.502 | -2.3707e-10
104.814 | -2.3581e-10
105.101 | -2.3761e-10
105.399 | -2.3757e-10
105.706 | -2.362e-10
105.985 | -2.3646e-10
106.285 | -2.3765e-10
106.58 | -2.371e-10
106.878 | -2.3608e-10
107.19 | -2.3637e-10
107.494 | -2.3588e-10
107.792 | -2.3542e-10
108.09 | -2.3543e-10
108.378 | -2.3521e-10
108.681 | -2.3374e-10
108.996 | -2.3405e-10
109.298 | -2.35e-10
109.579 | -2.3537e-10
109.886 | -2.3488e-10
110.202 | -2.359e-10
110.494 | -2.3503e-10
110.789 | -2.3625e-10
111.096 | -2.3353e-10
111.374 | -2.35e-10
111.676 | -2.3382e-10
111.987 | -2.3334e-10
112.293 | -2.3376e-10
112.588 | -2.338e-10
112.878 | -2.3555e-10
113.198 | -2.3534e-10
113.498 | -2.3404e-10
113.794 | -2.3456e-10
114.106 | -2.3486e-10
114.409 | -2.3496e-10
114.696 | -2.3369e-10
114.974 | -2.3439e-10
115.308 | -2.3392e-10
115.583 | -2.3441e-10
115.874 | -2.3452e-10
116.183 | -2.3598e-10
116.481 | -2.3457e-10
116.796 | -2.3532e-10
117.089 | -2.3506e-10
117.392 | -2.3406e-10
117.698 | -2.3519e-10
117.991 | -2.3422e-10
118.288 | -2.3497e-10
118.588 | -2.3513e-10
118.887 | -2.3365e-10
119.192 | -2.3478e-10
119.495 | -2.3512e-10
119.794 | -2.3535e-10
120.082 | -2.3391e-10
120.385 | -2.3327e-10
120.696 | -2.3421e-10
120.998 | -2.3431e-10
121.28 | -2.3529e-10
121.575 | -2.3325e-10
121.901 | -2.3406e-10
122.195 | -2.3349e-10
122.505 | -2.3266e-10
122.786 | -2.3353e-10
123.088 | -2.3468e-10
123.388 | -2.3482e-10
123.692 | -2.3595e-10
123.989 | -2.3476e-10
124.292 | -2.3361e-10
124.588 | -2.3454e-10
124.881 | -2.3434e-10
125.196 | -2.3371e-10
125.492 | -2.3509e-10
125.787 | -2.3413e-10
126.083 | -2.3518e-10
126.397 | -2.3416e-10
126.685 | -2.3424e-10
127.004 | -2.3376e-10
127.291 | -2.3318e-10
127.598 | -2.3474e-10
127.901 | -2.342e-10
128.185 | -2.3362e-10
128.488 | -2.3387e-10
128.788 | -2.3521e-10
129.095 | -2.3537e-10
129.379 | -2.3304e-10
129.687 | -2.3262e-10
130.005 | -2.3407e-10
130.291 | -2.3324e-10
130.586 | -2.3291e-10
130.874 | -2.3447e-10
131.196 | -2.3288e-10
131.487 | -2.3413e-10
131.786 | -2.3509e-10
132.086 | -2.3347e-10
132.38 | -2.3361e-10
132.682 | -2.3353e-10
132.976 | -2.3355e-10
133.306 | -2.3509e-10
133.576 | -2.3385e-10
133.897 | -2.3615e-10
134.179 | -2.3431e-10
134.486 | -2.3364e-10
134.785 | -2.3393e-10
135.088 | -2.3313e-10
135.386 | -2.3399e-10
135.692 | -2.3368e-10
135.988 | -2.339e-10
136.294 | -2.3473e-10
136.597 | -2.3378e-10
136.895 | -2.3423e-10
137.196 | -2.3358e-10
137.476 | -2.3304e-10
137.802 | -2.3402e-10
138.098 | -2.3389e-10
138.393 | -2.3403e-10
138.697 | -2.3464e-10
138.994 | -2.3343e-10
139.301 | -2.328e-10
139.598 | -2.3344e-10
139.897 | -2.3359e-10
140.18 | -2.3252e-10
140.477 | -2.3443e-10
140.784 | -2.3401e-10
141.079 | -2.34e-10
141.383 | -2.3548e-10
141.674 | -2.3631e-10
142.001 | -2.3516e-10
142.298 | -2.3544e-10
142.579 | -2.3383e-10
142.879 | -2.3496e-10
143.185 | -2.3404e-10
143.482 | -2.3371e-10
143.787 | -2.3423e-10
144.1 | -2.3449e-10
144.397 | -2.3363e-10
144.704 | -2.3505e-10
144.979 | -2.3378e-10
145.291 | -2.3501e-10
145.575 | -2.3573e-10
145.887 | -2.342e-10
146.189 | -2.3361e-10
146.495 | -2.3418e-10
146.778 | -2.3307e-10
147.089 | -2.333e-10
147.395 | -2.3352e-10
147.679 | -2.3153e-10
147.989 | -2.3307e-10
148.289 | -2.3413e-10
148.586 | -2.3354e-10
148.889 | -2.3403e-10
149.189 | -2.3315e-10
149.491 | -2.3228e-10
149.797 | -2.3252e-10
150.076 | -2.3383e-10
150.38 | -2.3365e-10
150.701 | -2.3223e-10
150.993 | -2.3436e-10
151.298 | -2.3491e-10
151.586 | -2.3313e-10
151.896 | -2.3447e-10
152.187 | -2.3367e-10
152.495 | -2.3452e-10
152.781 | -2.349e-10
153.095 | -2.3446e-10
153.389 | -2.3528e-10
153.674 | -2.3489e-10
153.989 | -2.3368e-10
154.298 | -2.3293e-10
154.587 | -2.3357e-10
154.887 | -2.3511e-10
155.176 | -2.3306e-10
155.485 | -2.3484e-10
155.789 | -2.3338e-10
156.1 | -2.3321e-10
156.38 | -2.3309e-10
156.695 | -2.3489e-10
156.993 | -2.3575e-10
157.299 | -2.3651e-10
157.582 | -2.3418e-10
157.883 | -2.3408e-10
158.203 | -2.3327e-10
158.499 | -2.3316e-10
158.785 | -2.3455e-10
159.074 | -2.3443e-10
159.379 | -2.3526e-10
159.681 | -2.343e-10
159.988 | -2.3443e-10
160.294 | -2.346e-10
160.599 | -2.3374e-10
160.887 | -2.3449e-10
161.195 | -2.3321e-10
161.489 | -2.3235e-10
161.796 | -2.3254e-10
162.082 | -2.3139e-10
162.391 | -2.3234e-10
162.688 | -2.3154e-10
162.996 | -2.3193e-10
163.288 | -2.3204e-10
163.578 | -2.3085e-10
163.905 | -2.3077e-10
164.194 | -2.3264e-10
164.478 | -2.3331e-10
164.79 | -2.3304e-10
165.09 | -2.3352e-10
165.381 | -2.319e-10
165.696 | -2.3216e-10
165.976 | -2.3329e-10
166.29 | -2.3307e-10
166.575 | -2.3355e-10
166.882 | -2.323e-10
167.193 | -2.3216e-10
167.484 | -2.3201e-10
167.777 | -2.332e-10
168.082 | -2.3364e-10
168.389 | -2.3342e-10
168.679 | -2.3372e-10
168.982 | -2.3343e-10
169.292 | -2.3195e-10
169.583 | -2.3236e-10
169.901 | -2.3244e-10
170.178 | -2.3432e-10
170.486 | -2.3505e-10
170.775 | -2.3393e-10
171.095 | -2.3401e-10
171.379 | -2.334e-10
171.688 | -2.3271e-10
171.989 | -2.3305e-10
172.279 | -2.3252e-10
172.594 | -2.3291e-10
172.891 | -2.3312e-10
173.196 | -2.3307e-10
173.488 | -2.3297e-10
173.806 | -2.3477e-10
174.084 | -2.3308e-10
174.382 | -2.3538e-10
174.705 | -2.3446e-10
174.995 | -2.3377e-10
175.287 | -2.343e-10
175.579 | -2.3388e-10
175.897 | -2.3316e-10
176.182 | -2.327e-10
176.484 | -2.3318e-10
176.798 | -2.3382e-10
177.079 | -2.3444e-10
177.383 | -2.3372e-10
177.69 | -2.3291e-10
177.994 | -2.3316e-10
178.295 | -2.3346e-10
178.591 | -2.3298e-10
178.875 | -2.3428e-10
179.189 | -2.3264e-10
179.495 | -2.3365e-10
179.797 | -2.3454e-10
180.082 | -2.3425e-10
180.393 | -2.3328e-10
180.684 | -2.337e-10
180.998 | -2.3405e-10
181.288 | -2.3329e-10
181.588 | -2.3369e-10
181.875 | -2.3414e-10
182.189 | -2.3507e-10
182.478 | -2.3359e-10
182.786 | -2.3488e-10
183.084 | -2.3343e-10
183.384 | -2.327e-10
183.703 | -2.3328e-10
183.986 | -2.3392e-10
184.302 | -2.3324e-10
184.581 | -2.3342e-10
184.882 | -2.3238e-10
185.197 | -2.3324e-10
185.497 | -2.3242e-10
185.782 | -2.3433e-10
186.096 | -2.3267e-10
186.391 | -2.3236e-10
186.688 | -2.32e-10
186.981 | -2.3146e-10
187.288 | -2.3279e-10
187.6 | -2.3227e-10
187.883 | -2.3202e-10
188.197 | -2.3246e-10
188.477 | -2.3074e-10
188.792 | -2.3211e-10
189.075 | -2.3092e-10
189.384 | -2.3162e-10
189.683 | -2.3094e-10
189.992 | -2.3195e-10
190.293 | -2.3108e-10
190.586 | -2.3133e-10
190.885 | -2.3105e-10
191.203 | -2.3074e-10
191.475 | -2.3011e-10
191.776 | -2.3128e-10
192.09 | -2.3128e-10
192.376 | -2.3085e-10
192.695 | -2.3206e-10
192.983 | -2.3191e-10
193.281 | -2.3238e-10
193.574 | -2.3337e-10
193.874 | -2.3189e-10
194.191 | -2.3114e-10
194.493 | -2.31e-10
194.791 | -2.3208e-10
195.096 | -2.31e-10
195.392 | -2.3122e-10
195.697 | -2.3251e-10
195.979 | -2.326e-10
196.278 | -2.3217e-10
196.587 | -2.3219e-10
196.896 | -2.3355e-10
197.196 | -2.3173e-10
197.502 | -2.329e-10
197.777 | -2.3263e-10
198.08 | -2.3085e-10
198.389 | -2.3183e-10
198.685 | -2.3082e-10
198.991 | -2.3008e-10
199.291 | -2.301e-10
199.59 | -2.296e-10
199.874 | -2.2995e-10
200.196 | -2.3013e-10
200.481 | -2.3104e-10
200.778 | -2.3072e-10
201.088 | -2.3086e-10
201.389 | -2.3278e-10
201.675 | -2.3119e-10
201.984 | -2.326e-10
202.285 | -2.3158e-10
202.591 | -2.315e-10
202.9 | -2.3176e-10
203.177 | -2.3135e-10
203.482 | -2.3061e-10
203.792 | -2.3043e-10
204.113 | -2.3031e-10
204.38 | -2.3113e-10
204.698 | -2.3172e-10
205.001 | -2.3169e-10
205.291 | -2.3154e-10
205.599 | -2.3164e-10
205.892 | -2.3114e-10
206.187 | -2.3202e-10
206.496 | -2.3107e-10
206.793 | -2.3245e-10
207.099 | -2.3174e-10
207.383 | -2.3077e-10
207.696 | -2.3112e-10
207.982 | -2.3032e-10
208.297 | -2.3154e-10
208.594 | -2.318e-10
208.883 | -2.316e-10
209.19 | -2.3139e-10
209.481 | -2.2999e-10
209.784 | -2.3073e-10
210.084 | -2.2934e-10
210.379 | -2.2973e-10
210.69 | -2.3083e-10
210.979 | -2.2919e-10
211.276 | -2.2921e-10
211.59 | -2.2979e-10
211.885 | -2.2819e-10
212.182 | -2.3016e-10
212.498 | -2.3013e-10
212.784 | -2.2978e-10
213.08 | -2.2977e-10
213.398 | -2.3065e-10
213.684 | -2.3061e-10
213.98 | -2.3146e-10
214.279 | -2.3184e-10
214.599 | -2.3222e-10
214.886 | -2.3185e-10
215.176 | -2.3296e-10
215.487 | -2.3212e-10
215.776 | -2.3303e-10
216.091 | -2.3311e-10
216.401 | -2.3299e-10
216.676 | -2.3189e-10
216.983 | -2.3169e-10
217.293 | -2.3248e-10
217.593 | -2.3132e-10
217.878 | -2.3127e-10
218.19 | -2.3213e-10
218.474 | -2.3347e-10
218.806 | -2.3161e-10
219.087 | -2.3301e-10
219.39 | -2.3207e-10
219.688 | -2.3281e-10
219.991 | -2.325e-10
220.296 | -2.3386e-10
220.601 | -2.33e-10
220.899 | -2.3185e-10
221.179 | -2.3109e-10
221.487 | -2.3061e-10
221.795 | -2.3086e-10
222.095 | -2.3158e-10
222.379 | -2.3061e-10
222.688 | -2.3082e-10
222.998 | -2.3097e-10
223.274 | -2.3138e-10
223.584 | -2.3192e-10
223.893 | -2.3061e-10
224.178 | -2.2952e-10
224.485 | -2.3154e-10
224.787 | -2.3209e-10
225.093 | -2.3167e-10
225.402 | -2.314e-10
225.677 | -2.3084e-10
225.988 | -2.3071e-10
226.294 | -2.3089e-10
226.577 | -2.293e-10
226.886 | -2.2983e-10
227.195 | -2.2996e-10
227.502 | -2.2965e-10
227.785 | -2.3072e-10
228.085 | -2.2877e-10
228.392 | -2.2866e-10
228.696 | -2.3086e-10
228.996 | -2.297e-10
229.279 | -2.3131e-10
229.587 | -2.3117e-10
229.895 | -2.3259e-10
230.178 | -2.3024e-10
230.485 | -2.3067e-10
230.794 | -2.3108e-10
231.094 | -2.3109e-10
231.38 | -2.3209e-10
231.689 | -2.3122e-10
231.977 | -2.3089e-10
232.287 | -2.311e-10
232.589 | -2.3059e-10
232.898 | -2.3057e-10
233.204 | -2.3168e-10
233.49 | -2.2983e-10
233.787 | -2.3213e-10
234.093 | -2.3149e-10
234.377 | -2.3049e-10
234.683 | -2.2904e-10
234.99 | -2.3156e-10
235.3 | -2.31e-10
235.606 | -2.3173e-10
235.889 | -2.3325e-10
236.199 | -2.3281e-10
236.484 | -2.3226e-10
236.794 | -2.3214e-10
237.095 | -2.3107e-10
237.377 | -2.3166e-10
237.686 | -2.3127e-10
237.987 | -2.3324e-10
238.293 | -2.324e-10
238.591 | -2.3259e-10
238.875 | -2.3136e-10
239.183 | -2.3146e-10
239.492 | -2.2948e-10
239.798 | -2.3053e-10
240.107 | -2.3082e-10
240.381 | -2.3075e-10
240.69 | -2.3069e-10
240.997 | -2.3099e-10
241.282 | -2.3192e-10
241.583 | -2.2969e-10
241.891 | -2.2927e-10
242.202 | -2.3056e-10
242.484 | -2.3027e-10
242.793 | -2.2941e-10
243.094 | -2.302e-10
243.376 | -2.3072e-10
243.686 | -2.3014e-10
243.995 | -2.3173e-10
244.291 | -2.3178e-10
244.574 | -2.3072e-10
244.903 | -2.3087e-10
245.179 | -2.3243e-10
245.482 | -2.3043e-10
245.793 | -2.292e-10
246.101 | -2.2867e-10
246.386 | -2.2989e-10
246.683 | -2.3013e-10
246.996 | -2.2971e-10
247.307 | -2.3017e-10
247.581 | -2.3104e-10
247.893 | -2.2933e-10
248.177 | -2.3002e-10
248.486 | -2.3022e-10
248.794 | -2.2918e-10
249.095 | -2.2889e-10
249.378 | -2.2824e-10
249.686 | -2.3025e-10
249.994 | -2.2924e-10
250.296 | -2.2843e-10
250.577 | -2.2958e-10
250.888 | -2.2888e-10
251.187 | -2.2931e-10
251.495 | -2.2942e-10
251.777 | -2.3011e-10
252.084 | -2.2928e-10
252.393 | -2.2752e-10
252.699 | -2.3055e-10
252.983 | -2.2864e-10
253.293 | -2.2962e-10
253.577 | -2.2798e-10
253.883 | -2.298e-10
254.183 | -2.2989e-10
254.492 | -2.2968e-10
254.776 | -2.2939e-10
255.086 | -2.2834e-10
255.393 | -2.2886e-10
255.677 | -2.2944e-10
255.987 | -2.2801e-10
256.298 | -2.2881e-10
256.605 | -2.3005e-10
256.888 | -2.2843e-10
257.188 | -2.305e-10
257.497 | -2.2969e-10
257.779 | -2.2894e-10
258.085 | -2.2884e-10
258.393 | -2.2892e-10
258.701 | -2.3015e-10
258.984 | -2.2926e-10
259.284 | -2.2806e-10
259.592 | -2.2784e-10
259.875 | -2.2855e-10
260.184 | -2.2992e-10
260.489 | -2.2919e-10
260.792 | -2.2866e-10
261.074 | -2.3026e-10
261.38 | -2.3016e-10
261.687 | -2.3023e-10
261.994 | -2.2837e-10
262.277 | -2.3004e-10
262.585 | -2.2961e-10
262.895 | -2.2961e-10
263.195 | -2.3037e-10
263.479 | -2.2812e-10
263.788 | -2.2964e-10
264.098 | -2.2936e-10
264.384 | -2.2994e-10
264.694 | -2.2905e-10
265.001 | -2.3065e-10
265.286 | -2.2978e-10
265.595 | -2.302e-10
265.904 | -2.2991e-10
266.187 | -2.3132e-10
266.485 | -2.2992e-10
266.801 | -2.2885e-10
267.083 | -2.3081e-10
267.393 | -2.2966e-10
267.695 | -2.3059e-10
267.975 | -2.3031e-10
268.284 | -2.2979e-10
268.594 | -2.2913e-10
268.9 | -2.3024e-10
269.182 | -2.2929e-10
269.492 | -2.2895e-10
269.792 | -2.3132e-10
270.077 | -2.3124e-10
270.385 | -2.3222e-10
270.693 | -2.3196e-10
271.003 | -2.3132e-10
271.286 | -2.3063e-10
271.593 | -2.3167e-10
271.892 | -2.3028e-10
272.184 | -2.3091e-10
272.49 | -2.3104e-10
272.792 | -2.3135e-10
273.074 | -2.318e-10
273.382 | -2.3175e-10
273.689 | -2.3245e-10
273.997 | -2.3214e-10
274.307 | -2.3288e-10
274.591 | -2.3092e-10
274.902 | -2.3127e-10
275.187 | -2.3118e-10
275.497 | -2.3259e-10
275.805 | -2.3202e-10
276.089 | -2.3211e-10
276.39 | -2.3013e-10
276.696 | -2.3135e-10
276.98 | -2.32e-10
277.288 | -2.3045e-10
277.597 | -2.3025e-10
277.88 | -2.3004e-10
278.188 | -2.3069e-10
278.493 | -2.2975e-10
278.793 | -2.3011e-10
279.074 | -2.3007e-10
279.405 | -2.3051e-10
279.686 | -2.3016e-10
279.992 | -2.3078e-10
280.292 | -2.297e-10
280.574 | -2.3038e-10
280.883 | -2.2956e-10
281.194 | -2.2836e-10
281.503 | -2.2982e-10
281.789 | -2.3012e-10
282.097 | -2.2874e-10
282.383 | -2.29e-10
282.692 | -2.2901e-10
283.002 | -2.2971e-10
283.285 | -2.3055e-10
283.594 | -2.3035e-10
283.878 | -2.2875e-10
284.187 | -2.2916e-10
284.495 | -2.3065e-10
284.778 | -2.3075e-10
285.087 | -2.3132e-10
285.394 | -2.3121e-10
285.693 | -2.3242e-10
285.987 | -2.3183e-10
286.285 | -2.3192e-10
286.593 | -2.3239e-10
286.876 | -2.319e-10
287.182 | -2.3217e-10
287.491 | -2.3246e-10
287.801 | -2.3105e-10
288.083 | -2.313e-10
288.385 | -2.328e-10
288.693 | -2.3171e-10
288.977 | -2.3264e-10
289.286 | -2.3132e-10
289.592 | -2.3264e-10
289.876 | -2.3115e-10
290.185 | -2.3112e-10
290.493 | -2.3101e-10
290.802 | -2.3089e-10
291.085 | -2.301e-10
291.395 | -2.3083e-10
291.702 | -2.3059e-10
291.985 | -2.3108e-10
292.286 | -2.3038e-10
292.591 | -2.3072e-10
292.899 | -2.2986e-10
293.184 | -2.3059e-10
293.485 | -2.319e-10
293.793 | -2.324e-10
294.084 | -2.3121e-10
294.393 | -2.3196e-10
294.703 | -2.3299e-10
294.984 | -2.3325e-10
295.293 | -2.3122e-10
295.577 | -2.324e-10
295.886 | -2.3215e-10
296.194 | -2.3225e-10
296.477 | -2.3373e-10
296.784 | -2.3343e-10
297.092 | -2.318e-10
297.375 | -2.3246e-10
297.685 | -2.3259e-10
297.995 | -2.329e-10
298.302 | -2.3122e-10
298.585 | -2.3296e-10
298.889 | -2.3145e-10
299.196 | -2.311e-10
299.493 | -2.3047e-10
299.777 | -2.3107e-10
300.084 | -2.3167e-10
300.394 | -2.3149e-10
300.677 | -2.3132e-10
300.987 | -2.3062e-10
301.296 | -2.3056e-10
301.58 | -2.3047e-10
301.892 | -2.3107e-10
302.193 | -2.3072e-10
302.485 | -2.2972e-10
302.794 | -2.3007e-10
303.103 | -2.2917e-10
303.384 | -2.2933e-10
303.693 | -2.2944e-10
304.002 | -2.3056e-10
304.277 | -2.2972e-10
304.585 | -2.2877e-10
304.903 | -2.3021e-10
305.185 | -2.3133e-10
305.492 | -2.3207e-10
305.795 | -2.3168e-10
306.082 | -2.3155e-10
306.39 | -2.3211e-10
306.675 | -2.3392e-10
306.982 | -2.3452e-10
307.294 | -2.3326e-10
307.595 | -2.347e-10
307.877 | -2.3476e-10
308.187 | -2.3439e-10
308.496 | -2.3368e-10
308.775 | -2.3523e-10
309.086 | -2.3407e-10
309.395 | -2.342e-10
309.676 | -2.331e-10
309.983 | -2.3365e-10
310.293 | -2.3469e-10
310.574 | -2.3342e-10
310.882 | -2.3407e-10
311.193 | -2.3321e-10
311.492 | -2.3266e-10
311.785 | -2.325e-10
312.093 | -2.314e-10
312.4 | -2.3169e-10
312.684 | -2.321e-10
312.994 | -2.3278e-10
313.293 | -2.3329e-10
313.584 | -2.3221e-10
313.885 | -2.3239e-10
314.193 | -2.3285e-10
314.476 | -2.3415e-10
314.785 | -2.3251e-10
315.085 | -2.3281e-10
315.394 | -2.3179e-10
315.678 | -2.3199e-10
315.985 | -2.335e-10
316.283 | -2.3442e-10
316.6 | -2.3314e-10
316.874 | -2.3218e-10
317.184 | -2.3276e-10
317.485 | -2.3361e-10
317.792 | -2.3365e-10
318.093 | -2.3275e-10
318.376 | -2.3341e-10
318.683 | -2.3346e-10
318.985 | -2.357e-10
319.291 | -2.3336e-10
319.581 | -2.3369e-10
319.882 | -2.3465e-10
320.188 | -2.3381e-10
320.504 | -2.3317e-10
320.787 | -2.3268e-10
321.087 | -2.3314e-10
321.395 | -2.3388e-10
321.68 | -2.355e-10
321.987 | -2.3338e-10
322.297 | -2.344e-10
322.598 | -2.3327e-10
322.883 | -2.345e-10
323.192 | -2.3377e-10
323.493 | -2.3276e-10
323.774 | -2.3214e-10
324.103 | -2.3278e-10
324.389 | -2.3316e-10
324.698 | -2.3276e-10
324.999 | -2.3332e-10
325.283 | -2.3304e-10
325.593 | -2.323e-10
325.903 | -2.3264e-10
326.177 | -2.3411e-10
326.486 | -2.3251e-10
326.785 | -2.3347e-10
327.086 | -2.3274e-10
327.393 | -2.3293e-10
327.677 | -2.3223e-10
327.985 | -2.347e-10
328.291 | -2.3354e-10
328.6 | -2.3387e-10
328.876 | -2.3266e-10
329.185 | -2.3232e-10
329.493 | -2.3153e-10
329.776 | -2.3184e-10
330.084 | -2.3245e-10
330.391 | -2.3295e-10
330.693 | -2.3273e-10
330.976 | -2.3277e-10
331.282 | -2.3203e-10
331.591 | -2.3189e-10
331.891 | -2.3266e-10
332.201 | -2.3269e-10
332.484 | -2.3239e-10
332.784 | -2.3109e-10
333.093 | -2.3228e-10
333.375 | -2.3139e-10
333.684 | -2.3282e-10
333.981 | -2.3149e-10
334.291 | -2.3177e-10
334.584 | -2.3255e-10
334.881 | -2.3079e-10
335.19 | -2.3144e-10
335.475 | -2.309e-10
335.784 | -2.2893e-10
336.089 | -2.3188e-10
336.39 | -2.3193e-10
336.675 | -2.3165e-10
336.983 | -2.3143e-10
337.293 | -2.3105e-10
337.593 | -2.3218e-10
337.874 | -2.32e-10
338.183 | -2.3346e-10
338.493 | -2.3243e-10
338.794 | -2.3201e-10
339.085 | -2.3205e-10
339.393 | -2.3378e-10
339.692 | -2.3117e-10
339.977 | -2.3147e-10
340.285 | -2.3162e-10
340.592 | -2.314e-10
340.891 | -2.3155e-10
341.174 | -2.3158e-10
341.484 | -2.3194e-10
341.791 | -2.3263e-10
342.089 | -2.3119e-10
342.376 | -2.3188e-10
342.682 | -2.3172e-10
342.982 | -2.3132e-10
343.294 | -2.3153e-10
343.577 | -2.3045e-10
343.885 | -2.3057e-10
344.194 | -2.3172e-10
344.477 | -2.3171e-10
344.786 | -2.3195e-10
345.092 | -2.317e-10
345.401 | -2.3198e-10
345.676 | -2.3147e-10
345.981 | -2.3021e-10
346.289 | -2.3154e-10
346.595 | -2.3194e-10
346.901 | -2.3159e-10
347.185 | -2.3203e-10
347.484 | -2.321e-10
347.791 | -2.3093e-10
348.08 | -2.2992e-10
348.387 | -2.3241e-10
348.693 | -2.3138e-10
348.979 | -2.3178e-10
349.289 | -2.326e-10
349.599 | -2.3166e-10
349.883 | -2.3093e-10
350.194 | -2.3248e-10
350.478 | -2.3106e-10
350.785 | -2.3174e-10
351.096 | -2.3079e-10
351.384 | -2.3043e-10
351.694 | -2.3023e-10
351.994 | -2.3169e-10
352.276 | -2.3154e-10
352.608 | -2.3067e-10
352.882 | -2.3114e-10
353.193 | -2.3084e-10
353.477 | -2.311e-10
353.806 | -2.3076e-10
354.092 | -2.3152e-10
354.397 | -2.2962e-10
354.68 | -2.3189e-10
354.996 | -2.3096e-10
355.298 | -2.3123e-10
355.582 | -2.3001e-10
355.89 | -2.3031e-10
356.202 | -2.3127e-10
356.485 | -2.32e-10
356.8 | -2.312e-10
357.074 | -2.3005e-10
357.381 | -2.3162e-10
357.69 | -2.3157e-10
357.974 | -2.3099e-10
358.283 | -2.3104e-10
358.591 | -2.2995e-10
358.877 | -2.2923e-10
359.185 | -2.2957e-10
359.492 | -2.3132e-10
359.783 | -2.3076e-10
360.092 | -2.3186e-10
360.402 | -2.3167e-10
360.675 | -2.3118e-10
360.985 | -2.3024e-10
361.293 | -2.3161e-10
361.577 | -2.2989e-10
361.887 | -2.3001e-10
362.194 | -2.3148e-10
362.475 | -2.3024e-10
362.783 | -2.3088e-10
363.091 | -2.3234e-10
363.392 | -2.3087e-10
363.684 | -2.298e-10
363.993 | -2.2935e-10
364.3 | -2.2863e-10
364.584 | -2.2805e-10
364.9 | -2.2931e-10
365.176 | -2.2908e-10
365.483 | -2.3011e-10
365.805 | -2.2866e-10
366.076 | -2.3011e-10
366.402 | -2.3114e-10
366.691 | -2.2974e-10
366.983 | -2.2946e-10
367.292 | -2.29e-10
367.578 | -2.3059e-10
367.885 | -2.2904e-10
368.193 | -2.3071e-10
368.501 | -2.3032e-10
368.775 | -2.3008e-10
369.086 | -2.2987e-10
369.393 | -2.3041e-10
369.702 | -2.3108e-10
369.976 | -2.3035e-10
370.283 | -2.2994e-10
370.589 | -2.2996e-10
370.882 | -2.2929e-10
371.19 | -2.3042e-10
371.494 | -2.3048e-10
371.784 | -2.302e-10
372.09 | -2.3039e-10
372.4 | -2.3091e-10
372.676 | -2.2945e-10
372.983 | -2.3102e-10
373.29 | -2.3009e-10
373.574 | -2.2941e-10
373.882 | -2.2903e-10
374.189 | -2.2865e-10
374.493 | -2.2954e-10
374.774 | -2.2978e-10
375.084 | -2.2859e-10
375.389 | -2.2998e-10
375.678 | -2.2968e-10
375.987 | -2.2973e-10
376.292 | -2.2922e-10
376.589 | -2.3025e-10
376.897 | -2.3042e-10
377.18 | -2.3109e-10
377.49 | -2.3069e-10
377.791 | -2.3098e-10
378.075 | -2.3027e-10
378.385 | -2.29e-10
378.692 | -2.2895e-10
378.975 | -2.3098e-10
379.303 | -2.306e-10
379.592 | -2.3113e-10
379.89 | -2.3038e-10
380.199 | -2.3034e-10
380.484 | -2.2961e-10
380.786 | -2.2971e-10
381.094 | -2.3137e-10
381.376 | -2.3154e-10
381.684 | -2.3104e-10
381.993 | -2.3018e-10
382.3 | -2.3106e-10
382.583 | -2.3065e-10
382.891 | -2.3046e-10
383.198 | -2.307e-10
383.48 | -2.306e-10
383.798 | -2.324e-10
384.096 | -2.3115e-10
384.392 | -2.3201e-10
384.691 | -2.3096e-10
384.984 | -2.3095e-10
385.29 | -2.3074e-10
385.596 | -2.307e-10
385.881 | -2.2959e-10
386.192 | -2.306e-10
386.5 | -2.3092e-10
386.785 | -2.3178e-10
387.083 | -2.3202e-10
387.39 | -2.3204e-10
387.674 | -2.3123e-10
387.983 | -2.3155e-10
388.292 | -2.3147e-10
388.599 | -2.3112e-10
388.907 | -2.3076e-10
389.181 | -2.3043e-10
389.498 | -2.3124e-10
389.804 | -2.301e-10
390.088 | -2.3095e-10
390.392 | -2.3056e-10
390.674 | -2.3068e-10
391 | -2.2982e-10
391.288 | -2.3112e-10
391.594 | -2.3267e-10
391.876 | -2.3288e-10
392.187 | -2.3182e-10
392.496 | -2.3193e-10
392.804 | -2.3104e-10
393.085 | -2.3192e-10
393.396 | -2.3169e-10
393.697 | -2.3187e-10
393.99 | -2.3174e-10
394.29 | -2.3118e-10
394.599 | -2.3077e-10
394.89 | -2.3069e-10
395.191 | -2.3195e-10
395.501 | -2.3099e-10
395.785 | -2.3308e-10
396.092 | -2.3278e-10
396.376 | -2.3368e-10
396.705 | -2.3387e-10
396.983 | -2.3334e-10
397.29 | -2.3299e-10
397.574 | -2.3364e-10
397.882 | -2.3316e-10
398.189 | -2.3443e-10
398.476 | -2.3408e-10
398.805 | -2.3173e-10
399.091 | -2.3296e-10
399.398 | -2.3333e-10
399.683 | -2.3189e-10
399.993 | -2.3472e-10
400.292 | -2.3417e-10
400.582 | -2.3599e-10
400.89 | -2.3491e-10
401.192 | -2.3392e-10
401.474 | -2.3343e-10
401.785 | -2.3439e-10
402.09 | -2.3509e-10
402.395 | -2.3462e-10
402.68 | -2.3476e-10
402.989 | -2.3377e-10
403.301 | -2.3457e-10
403.584 | -2.3488e-10
403.891 | -2.357e-10
404.192 | -2.3558e-10
404.483 | -2.357e-10
404.791 | -2.3537e-10
405.074 | -2.3463e-10
405.406 | -2.3475e-10
405.687 | -2.3545e-10
405.997 | -2.3446e-10
406.284 | -2.3485e-10
406.591 | -2.3483e-10
406.9 | -2.3316e-10
407.181 | -2.3495e-10
407.49 | -2.3385e-10
407.796 | -2.3433e-10
408.088 | -2.3442e-10
408.397 | -2.3497e-10
408.677 | -2.3557e-10
408.989 | -2.3591e-10
409.294 | -2.3398e-10
409.582 | -2.3653e-10
409.892 | -2.3645e-10
410.184 | -2.3561e-10
410.495 | -2.37e-10
410.792 | -2.3582e-10
411.085 | -2.3584e-10
411.391 | -2.3644e-10
411.698 | -2.3647e-10
411.975 | -2.3746e-10
412.29 | -2.3618e-10
412.574 | -2.3615e-10
412.903 | -2.3696e-10
413.189 | -2.3606e-10
413.497 | -2.3606e-10
413.781 | -2.356e-10
414.095 | -2.3646e-10
414.403 | -2.3573e-10
414.69 | -2.3469e-10
414.999 | -2.3531e-10
415.299 | -2.3522e-10
415.586 | -2.3455e-10
415.894 | -2.3291e-10
416.199 | -2.3426e-10
416.493 | -2.3404e-10
416.774 | -2.3419e-10
417.084 | -2.3361e-10
417.399 | -2.3237e-10
417.683 | -2.341e-10
417.99 | -2.3539e-10
418.298 | -2.3267e-10
418.582 | -2.3407e-10
418.889 | -2.3256e-10
419.197 | -2.3468e-10
419.481 | -2.3394e-10
419.796 | -2.3387e-10
420.082 | -2.3344e-10
420.392 | -2.3506e-10
420.674 | -2.3455e-10
420.982 | -2.3499e-10
421.292 | -2.3558e-10
421.575 | -2.3385e-10
421.881 | -2.354e-10
422.19 | -2.347e-10
422.496 | -2.3688e-10
422.796 | -2.3635e-10
423.079 | -2.3545e-10
423.389 | -2.3463e-10
423.697 | -2.3524e-10
423.989 | -2.3546e-10
424.293 | -2.345e-10
424.578 | -2.3546e-10
424.889 | -2.3655e-10
425.197 | -2.3606e-10
425.479 | -2.3477e-10
425.781 | -2.3647e-10
426.083 | -2.3678e-10
426.389 | -2.3669e-10
426.695 | -2.3587e-10
426.988 | -2.3522e-10
427.298 | -2.3531e-10
427.579 | -2.3606e-10
427.89 | -2.3535e-10
428.174 | -2.3377e-10
428.486 | -2.3532e-10
428.795 | -2.3441e-10
429.075 | -2.3339e-10
429.397 | -2.3456e-10
429.696 | -2.3252e-10
429.995 | -2.3301e-10
430.279 | -2.3575e-10
430.605 | -2.3463e-10
430.889 | -2.3449e-10
431.191 | -2.3442e-10
431.489 | -2.3269e-10
431.793 | -2.3274e-10
432.079 | -2.3297e-10
432.389 | -2.3243e-10
432.698 | -2.3329e-10
432.996 | -2.3327e-10
433.281 | -2.3316e-10
433.596 | -2.3429e-10
433.896 | -2.3433e-10
434.187 | -2.3456e-10
434.497 | -2.3319e-10
434.797 | -2.3401e-10
435.081 | -2.3375e-10
435.392 | -2.3422e-10
435.697 | -2.3495e-10
436.005 | -2.3294e-10
436.289 | -2.3536e-10
436.58 | -2.3507e-10
436.885 | -2.3472e-10
437.186 | -2.3404e-10
437.498 | -2.3475e-10
437.791 | -2.3344e-10
438.09 | -2.3399e-10
438.396 | -2.3317e-10
438.688 | -2.3303e-10
438.988 | -2.3458e-10
439.295 | -2.3284e-10
439.588 | -2.3328e-10
439.897 | -2.3371e-10
440.197 | -2.3301e-10
440.484 | -2.3358e-10
440.792 | -2.3415e-10
441.084 | -2.3427e-10
441.387 | -2.3282e-10
441.695 | -2.3265e-10
441.98 | -2.3312e-10
442.29 | -2.3036e-10
442.598 | -2.3194e-10
442.881 | -2.3427e-10
443.189 | -2.3305e-10
443.497 | -2.3283e-10
443.786 | -2.3127e-10
444.095 | -2.321e-10
444.403 | -2.3187e-10
444.689 | -2.3266e-10
444.996 | -2.329e-10
445.282 | -2.3254e-10
445.591 | -2.3253e-10
445.874 | -2.3204e-10
446.18 | -2.3215e-10
446.487 | -2.3236e-10
446.793 | -2.3135e-10
447.078 | -2.3146e-10
447.382 | -2.3179e-10
447.693 | -2.3087e-10
447.985 | -2.322e-10
448.274 | -2.3017e-10
448.581 | -2.3033e-10
448.891 | -2.3055e-10
449.196 | -2.3064e-10
449.481 | -2.3219e-10
449.796 | -2.3162e-10
450.079 | -2.3165e-10