## Settings
Sample Info | so14pg, dot b5
Comments | -1/+4/-1
Additional Comments | big leakage? for all dots
Major Measurement Parameters
Starting Temperature | 299.697
Initial Temperature | 80.5
Final Temperature | 450
Preliminary Voltage | -1
Pulse Voltage | 4
Pulse Time | 30
Wait Time | 0
Measurement Voltage | -1
Subsidiary Measurement Parameters
Step | 0.3
Accuracy Step | 0.1
Accuracy Stable | 0.5
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 15
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 3
Measurecount | 1
Time
Date | 8.4.2024
Clock | 16:18:47

## Stabilization
Temperature | Current | Temp Rate
299.693 | -6.4303e-10 | 0
299.687 | -6.028e-10 | -0.29181
299.681 | -6.2431e-10 | -0.28875
299.674 | -6.2768e-10 | -0.30731
299.669 | -6.5047e-10 | -0.29294
299.66 | -6.3711e-10 | -0.32339
299.635 | -6.0123e-10 | -0.47337
299.629 | -5.8776e-10 | -0.44783
299.622 | -5.8081e-10 | -0.43544
299.614 | -5.8376e-10 | -0.43002
299.605 | -5.9384e-10 | -0.47989
299.599 | -5.9133e-10 | -0.57747
299.592 | -5.0822e-10 | -0.82444
299.586 | -5.2246e-10 | -1.7474
299.579 | -5.6791e-10 | -2.8206
299.572 | -5.7046e-10 | -0.39116
299.565 | -5.3543e-10 | -0.38815
299.559 | -5.3383e-10 | -0.38244
299.553 | -5.1619e-10 | -6.9328
299.547 | -4.9735e-10 | -0.37321
299.539 | -4.9964e-10 | -0.37413
299.533 | -5.0444e-10 | -0.37038
299.526 | -5.2013e-10 | -0.3693
299.519 | -5.1312e-10 | -0.36768
299.513 | -5.1173e-10 | -0.36353
299.507 | -4.9486e-10 | -0.36069
299.499 | -5.27e-10 | -0.36189
299.492 | -5.0369e-10 | -0.36106
299.486 | -4.9297e-10 | -0.35868
299.474 | -5.1396e-10 | -0.36655
299.458 | -5.0977e-10 | -0.38018
299.451 | -5.0783e-10 | -0.37906
299.446 | -4.9208e-10 | -0.37481
299.437 | -5.1254e-10 | -0.37554
299.43 | -5.0515e-10 | -0.37461
299.421 | -5.1302e-10 | -0.37623
299.417 | -4.8245e-10 | -0.37121
299.41 | -4.7777e-10 | -0.37039
299.402 | -4.873e-10 | -0.371
299.395 | -5.2411e-10 | -0.37028
299.388 | -5.1051e-10 | -0.3696
299.38 | -5.2514e-10 | -0.37012
299.37 | -5.2283e-10 | -0.37294
299.365 | -5.1398e-10 | -0.36992
299.357 | -4.8091e-10 | -0.37022
299.349 | -4.9248e-10 | -0.37075
299.341 | -4.8248e-10 | -0.37116
299.335 | -4.7881e-10 | -0.36956
299.327 | -4.8458e-10 | -0.37004
299.32 | -4.8572e-10 | -0.36942
299.314 | -4.7899e-10 | -0.36793
299.306 | -4.7064e-10 | -0.36839
299.297 | -4.7774e-10 | -0.36972
299.291 | -4.7187e-10 | -0.36821
299.284 | -4.697e-10 | -0.36763
299.278 | -4.7316e-10 | -0.36629
299.27 | -4.7316e-10 | -0.36668
299.263 | -4.7842e-10 | -0.36621
299.255 | -4.6808e-10 | -0.36654
299.249 | -4.865e-10 | -0.36529
299.24 | -4.7801e-10 | -0.36657
299.233 | -4.7829e-10 | -0.36617
299.226 | -4.8727e-10 | -0.36571
299.218 | -4.7988e-10 | -0.366
299.21 | -4.906e-10 | -0.36637
299.203 | -4.7647e-10 | -0.366
299.195 | -4.9203e-10 | -0.36641
299.188 | -4.9889e-10 | -0.36603
299.181 | -4.7994e-10 | -0.36569
299.174 | -4.9478e-10 | -0.3653
299.166 | -4.8604e-10 | -0.36562
299.157 | -4.9289e-10 | -0.36664
299.151 | -4.9082e-10 | -0.36563
299.143 | -4.9596e-10 | -0.36595
299.136 | -4.8439e-10 | -0.36558
299.129 | -5.0106e-10 | -0.3653
299.121 | -5.0951e-10 | -0.36566
299.113 | -5.0079e-10 | -0.36599
299.107 | -4.9783e-10 | -0.36507
299.098 | -5.0431e-10 | -0.36597
299.091 | -4.9476e-10 | -0.36568
299.085 | -5.1088e-10 | -0.36474
299.077 | -5.1104e-10 | -0.36507
299.069 | -5.5434e-10 | -0.36538
299.062 | -5.6645e-10 | -0.36507
299.055 | -5.6065e-10 | -0.36482
299.047 | -5.405e-10 | -0.36509
299.039 | -5.3635e-10 | -0.3654
299.029 | -5.2511e-10 | -0.36679
299.022 | -5.3315e-10 | -0.3665
299.014 | -5.4932e-10 | -0.36673
299.008 | -5.2702e-10 | -0.36591
298.999 | -5.3522e-10 | -0.36668
298.991 | -5.2796e-10 | -0.36691
298.984 | -5.4645e-10 | -0.36667
298.977 | -5.3843e-10 | -0.36641
298.969 | -5.13e-10 | -0.36664
298.963 | -5.1505e-10 | -0.3659
298.955 | -4.9897e-10 | -0.36612
298.948 | -4.7724e-10 | -0.36589
298.94 | -4.7708e-10 | -0.36611
298.933 | -4.9737e-10 | -0.36582
298.924 | -5.052e-10 | -0.3664
298.918 | -5.0452e-10 | -0.36558
298.911 | -4.963e-10 | -0.36528
298.901 | -5.074e-10 | -0.36625
298.894 | -4.9509e-10 | -0.36582
298.885 | -5.0656e-10 | -0.3662
298.879 | -5.1075e-10 | -0.36547
298.87 | -5.1857e-10 | -0.3661
298.863 | -5.3098e-10 | -0.36583
298.854 | -5.035e-10 | -0.36646
298.849 | -5.1658e-10 | -0.36537
298.841 | -5.1862e-10 | -0.36554
298.834 | -5.2068e-10 | -0.36526
298.826 | -5.074e-10 | -0.36545
298.818 | -5.3012e-10 | -0.36567
298.811 | -5.2924e-10 | -0.36544
298.803 | -5.1499e-10 | -0.3656
298.795 | -4.941e-10 | -0.36558
298.786 | -5.1085e-10 | -0.3662
298.777 | -5.1414e-10 | -0.36673
298.77 | -5.1451e-10 | -0.36648
298.765 | -5.1844e-10 | -0.36547
298.755 | -5.3272e-10 | -0.36646
298.748 | -5.206e-10 | -0.36624
298.739 | -5.6511e-10 | -0.36671
298.733 | -5.2454e-10 | -0.36612
298.724 | -5.3487e-10 | -0.36662
298.717 | -5.2386e-10 | -0.36639
298.709 | -5.1729e-10 | -0.36656
298.701 | -5.2559e-10 | -0.36667
298.692 | -5.0969e-10 | -0.36716
298.685 | -5.1533e-10 | -0.36691
298.677 | -5.1562e-10 | -0.36702
298.669 | -5.1647e-10 | -0.36717
298.662 | -5.3867e-10 | -0.36697
298.654 | -5.3253e-10 | -0.36713
298.648 | -5.1556e-10 | -0.36653
298.64 | -5.4512e-10 | -0.36666
298.63 | -5.2467e-10 | -0.36751
298.623 | -5.4368e-10 | -0.36731
298.615 | -5.4217e-10 | -0.36732
298.608 | -5.0723e-10 | -0.36709
298.6 | -5.2817e-10 | -0.36716
298.592 | -5.2041e-10 | -0.36727
298.584 | -5.2279e-10 | -0.36741
298.575 | -5.3315e-10 | -0.36783
298.569 | -5.2447e-10 | -0.3673
298.561 | -5.3701e-10 | -0.36744
298.554 | -5.2305e-10 | -0.36723
298.547 | -5.3511e-10 | -0.36698
298.538 | -5.3994e-10 | -0.3674
298.53 | -5.3331e-10 | -0.3675
298.522 | -5.4039e-10 | -0.36764
298.516 | -5.1955e-10 | -0.3671
298.508 | -5.1881e-10 | -0.36717
298.497 | -5.3676e-10 | -0.36816
298.493 | -5.137e-10 | -0.36702
298.485 | -5.173e-10 | -0.36713
298.478 | -5.2229e-10 | -0.36693
298.471 | -5.1951e-10 | -0.36672
298.462 | -5.411e-10 | -0.36712
298.455 | -5.5574e-10 | -0.36691
298.448 | -5.498e-10 | -0.36663
298.439 | -5.4444e-10 | -0.36702
298.433 | -5.279e-10 | -0.36654
298.425 | -5.533e-10 | -0.36664
298.416 | -5.4082e-10 | -0.36699
298.409 | -5.4215e-10 | -0.36681
298.401 | -5.2849e-10 | -0.36688
298.393 | -5.4896e-10 | -0.36694
298.386 | -5.5366e-10 | -0.36675
298.38 | -5.5231e-10 | -0.36627
298.371 | -5.4637e-10 | -0.36664
298.364 | -5.4359e-10 | -0.3664
298.355 | -5.593e-10 | -0.36676
298.348 | -5.7981e-10 | -0.36663
298.34 | -5.6694e-10 | -0.36672
298.333 | -5.4227e-10 | -0.36654
298.324 | -5.8579e-10 | -0.3669
298.317 | -5.6825e-10 | -0.36674
298.308 | -5.7315e-10 | -0.36712
298.303 | -5.6846e-10 | -0.36641
298.294 | -5.6284e-10 | -0.36678
298.287 | -5.6326e-10 | -0.36662
298.279 | -5.6087e-10 | -0.36672
298.271 | -5.3052e-10 | -0.36682
298.264 | -5.489e-10 | -0.36667
298.255 | -5.1474e-10 | -0.36702
298.248 | -5.5779e-10 | -0.36687
298.241 | -5.1536e-10 | -0.36669
298.234 | -5.1734e-10 | -0.36656
298.227 | -5.0168e-10 | -0.3664
298.218 | -5.2828e-10 | -0.36671
298.211 | -5.2123e-10 | -0.36656
298.205 | -5.2477e-10 | -0.36615
298.195 | -5.4496e-10 | -0.36672
298.189 | -5.4098e-10 | -0.36634
298.182 | -5.405e-10 | -0.36615
298.174 | -5.407e-10 | -0.36625
298.166 | -5.5344e-10 | -0.36633
298.158 | -5.5684e-10 | -0.36644
298.15 | -5.5429e-10 | -0.36653
298.143 | -5.5725e-10 | -0.36637
298.135 | -5.5452e-10 | -0.36643
298.13 | -5.425e-10 | -0.36581
298.121 | -5.1786e-10 | -0.36612
298.113 | -5.4168e-10 | -0.36619
298.105 | -5.2205e-10 | -0.36624
298.098 | -5.2812e-10 | -0.36609
298.09 | -5.3872e-10 | -0.36619
298.082 | -5.2292e-10 | -0.36626
298.075 | -4.9825e-10 | -0.36607
298.068 | -5.1254e-10 | -0.36592
298.059 | -5.2239e-10 | -0.36624
298.05 | -5.0725e-10 | -0.36654
298.039 | -5.0849e-10 | -0.36724
298.026 | -5.1794e-10 | -0.3684
298.013 | -5.3065e-10 | -0.36957
298.003 | -5.1319e-10 | -0.37003
297.988 | -5.2339e-10 | -0.37162
297.977 | -5.4277e-10 | -0.37234
297.897 | -5.1681e-10 | -0.38793
297.875 | -5.2853e-10 | -0.39093
297.799 | -5.1535e-10 | -0.40542
297.756 | -5.3644e-10 | -0.41277
297.742 | -5.1592e-10 | -0.41393
297.697 | -5.263e-10 | -0.42163
297.68 | -5.2008e-10 | -0.42333
297.612 | -5.2188e-10 | -0.43571
297.592 | -5.1006e-10 | -0.43799
297.575 | -5.0157e-10 | -0.4396
297.561 | -5.174e-10 | -0.44058
297.538 | -5.1047e-10 | -0.44342
297.369 | -5.0768e-10 | -0.47609
297.283 | -5.2346e-10 | -0.49163
297.152 | -4.9835e-10 | -0.51615
296.891 | -5.2589e-10 | -0.56675
296.756 | -5.21e-10 | -0.59152
296.508 | -5.1955e-10 | -0.63872
296.377 | -5.1522e-10 | -0.66215
296.273 | -5.1896e-10 | -0.68008
295.967 | -5.1965e-10 | -0.73783
295.795 | -5.011e-10 | -0.76866
295.513 | -5.4101e-10 | -0.82087
295.216 | -5.2267e-10 | -0.87557
295.022 | -5.2895e-10 | -0.90975
294.753 | -5.2819e-10 | -0.9581
294.588 | -5.7445e-10 | -0.98605
294.253 | -5.5121e-10 | -1.0465
294.063 | -5.585e-10 | -1.0786
293.841 | -5.4969e-10 | -1.1165
293.615 | -5.0469e-10 | -1.1551
293.479 | -5.2522e-10 | -1.1762
293.298 | -5.2829e-10 | -1.2056
293.041 | -4.9741e-10 | -1.249
292.784 | -5.1376e-10 | -1.292
292.547 | -5.398e-10 | -1.3311
292.382 | -5.117e-10 | -1.3564
292.171 | -5.0138e-10 | -1.39
291.988 | -5.2091e-10 | -1.4183
291.8 | -5.3094e-10 | -1.4472
291.525 | -5.6901e-10 | -1.4919
291.3 | -4.9018e-10 | -1.5271
291.131 | -5.3123e-10 | -1.5519
290.831 | -5.0557e-10 | -1.6
290.68 | -5.2614e-10 | -1.6212
290.448 | -5.1343e-10 | -1.6565
290.265 | -5.2066e-10 | -1.6828
290.053 | -5.0345e-10 | -1.7142
289.832 | -5.1627e-10 | -1.7468
289.513 | -5.2028e-10 | -1.7963
289.307 | -5.3519e-10 | -1.8257
288.944 | -5.0117e-10 | -1.8825
288.652 | -5.0787e-10 | -1.9263
288.294 | -5.0867e-10 | -1.9816
287.922 | -4.9844e-10 | -2.0388
287.632 | -4.998e-10 | -2.0814
287.3 | -5.0126e-10 | -2.1308
287.076 | -5.0408e-10 | -2.1614
286.63 | -4.975e-10 | -2.2297
286.364 | -5.0732e-10 | -2.2668
285.991 | -4.6899e-10 | -2.3218
285.759 | -4.885e-10 | -2.3527
285.53 | -4.9741e-10 | -2.3829
285.202 | -5.0784e-10 | -2.4294
284.983 | -5.0128e-10 | -2.4572
284.667 | -4.9983e-10 | -2.5011
284.414 | -4.7799e-10 | -2.5343
284.177 | -4.7761e-10 | -2.5645
283.853 | -4.8131e-10 | -2.6088
283.66 | -4.7361e-10 | -2.6315
283.264 | -4.7124e-10 | -2.687
282.99 | -4.6026e-10 | -2.7225
282.714 | -4.6537e-10 | -2.7579
282.481 | -4.7391e-10 | -2.7862
282.281 | -5.0732e-10 | -2.8088
281.969 | -4.9238e-10 | -2.8494
281.666 | -4.8491e-10 | -2.8881
281.278 | -4.5076e-10 | -2.94
280.948 | -4.8032e-10 | -2.9824
280.619 | -4.628e-10 | -3.0246
280.286 | -4.5797e-10 | -3.0669
279.953 | -4.5283e-10 | -3.1088
279.592 | -4.5826e-10 | -3.155
279.354 | -4.4689e-10 | -3.1817
279.014 | -4.5535e-10 | -3.2241
278.74 | -4.3196e-10 | -3.2561
278.534 | -4.5919e-10 | -3.2772
278.25 | -4.2522e-10 | -3.3104
278.035 | -4.5171e-10 | -3.3327
277.71 | -4.019e-10 | -3.3716
277.48 | -4.4997e-10 | -3.3959
277.249 | -4.3083e-10 | -3.42
276.874 | -4.4318e-10 | -3.4653
276.671 | -4.4911e-10 | -3.4848
276.402 | -5.0217e-10 | -3.5142
275.807 | -4.2475e-10 | -3.5818
275.451 | -4.3408e-10 | -3.6236
275.253 | -4.4896e-10 | -3.6416
274.958 | -4.3537e-10 | -3.6738
274.651 | -4.3028e-10 | -3.7078
274.429 | -4.4261e-10 | -3.729
274.083 | -4.0006e-10 | -3.7683
273.48 | -3.6769e-10 | -3.8335
273.197 | -4.3957e-10 | -3.8629
272.779 | -4.326e-10 | -3.9117
272.442 | -4.2987e-10 | -3.9484
272.154 | -4.7405e-10 | -3.9775
271.821 | -4.1711e-10 | -4.0127
271.575 | -4.3211e-10 | -4.0358
271.313 | -4.3321e-10 | -4.0611
270.945 | -4.3305e-10 | -4.1011
270.709 | -4.3064e-10 | -4.1222
270.354 | -4.6045e-10 | -4.1601
270.066 | -4.2792e-10 | -4.1883
269.686 | -4.298e-10 | -4.2293
269.378 | -4.4512e-10 | -4.2599
269.05 | -4.2794e-10 | -4.2932
268.692 | -4.3048e-10 | -4.3304
268.418 | -4.1102e-10 | -4.3558
267.999 | -4.2339e-10 | -4.401
267.758 | -4.013e-10 | -4.4212
267.382 | -4.2742e-10 | -4.46
267.112 | -4.185e-10 | -4.484
266.803 | -4.1825e-10 | -4.5133
266.452 | -4.485e-10 | -4.5481
266.193 | -4.3587e-10 | -4.5701
265.813 | -4.0378e-10 | -4.6086
265.544 | -4.1845e-10 | -4.6318
265.231 | -4.0756e-10 | -4.6604
264.898 | -4.1737e-10 | -4.6919
264.631 | -4.0928e-10 | -4.7143
264.196 | -3.9047e-10 | -4.7592
263.937 | -3.862e-10 | -4.7803
263.556 | -3.8461e-10 | -4.8174
263.252 | -3.9041e-10 | -4.8441
262.942 | -3.8881e-10 | -4.8711
262.564 | -3.9708e-10 | -4.9073
262.292 | -3.9362e-10 | -4.9293
261.847 | -4.1027e-10 | -4.9739
261.552 | -4.0503e-10 | -4.9988
261.153 | -4.1319e-10 | -5.037
260.805 | -3.8975e-10 | -5.0683
260.506 | -4.0395e-10 | -5.0927
260.138 | -3.8478e-10 | -5.1262
259.88 | -3.8265e-10 | -5.1453
259.49 | -3.7854e-10 | -5.1808
259.19 | -4.0191e-10 | -5.2051
258.833 | -3.9403e-10 | -5.2367
258.443 | -3.6385e-10 | -5.2723
258.154 | -3.6102e-10 | -5.2944
257.761 | -3.6961e-10 | -5.3299
257.413 | -3.7622e-10 | -5.3596
257.128 | -3.7126e-10 | -5.381
256.687 | -3.7436e-10 | -5.4219
256.391 | -3.7184e-10 | -5.4444
256.009 | -3.7477e-10 | -5.4777
255.676 | -3.5813e-10 | -5.5045
255.447 | -3.4766e-10 | -5.5183
255.004 | -3.5085e-10 | -5.5586
254.681 | -3.5952e-10 | -5.5841
254.204 | -3.5396e-10 | -5.6281
253.891 | -3.4394e-10 | -5.6517
253.428 | -3.5266e-10 | -5.6938
253.071 | -3.5844e-10 | -5.7225
252.607 | -3.6649e-10 | -5.7641
252.217 | -3.5599e-10 | -5.7964
251.828 | -3.6408e-10 | -5.8287
251.4 | -3.4315e-10 | -5.8652
251.109 | -3.3705e-10 | -5.885
250.696 | -3.4336e-10 | -5.9196
250.337 | -3.3571e-10 | -5.9473
249.923 | -3.4849e-10 | -5.9818
249.497 | -3.523e-10 | -6.0175
249.149 | -3.2549e-10 | -6.0435
248.72 | -3.4222e-10 | -6.0792
248.395 | -3.3593e-10 | -6.1026
247.947 | -3.3384e-10 | -6.14
247.621 | -3.234e-10 | -6.1622
247.258 | -3.3406e-10 | -6.1893
246.884 | -3.23e-10 | -6.2178
246.604 | -3.3053e-10 | -6.2349
246.21 | -3.2716e-10 | -6.2654
245.94 | -3.1235e-10 | -6.2812
245.586 | -3.1867e-10 | -6.3068
245.236 | -3.0789e-10 | -6.3317
244.944 | -3.12e-10 | -6.3497
244.581 | -3.1392e-10 | -6.376
244.31 | -2.7912e-10 | -6.3916
243.917 | -2.7217e-10 | -6.421
243.531 | -2.7048e-10 | -6.4491
243.226 | -2.79e-10 | -6.4681
242.72 | -2.6876e-10 | -6.5099
242.4 | -2.6834e-10 | -6.5304
241.98 | -2.7702e-10 | -6.5623
241.61 | -2.6461e-10 | -6.5881
241.245 | -2.6502e-10 | -6.6133
240.829 | -2.6438e-10 | -6.6441
240.518 | -2.6344e-10 | -6.6627
240.132 | -2.8907e-10 | -6.6897
239.761 | -2.8417e-10 | -6.7153
239.473 | -2.7419e-10 | -6.7312
239.022 | -2.7991e-10 | -6.7654
238.705 | -2.6941e-10 | -6.7843
238.28 | -2.8538e-10 | -6.8153
237.873 | -2.9087e-10 | -6.844
237.548 | -2.7421e-10 | -6.8638
237.134 | -2.7253e-10 | -6.8932
236.78 | -2.8536e-10 | -6.9159
236.331 | -2.7035e-10 | -6.9487
235.932 | -2.6669e-10 | -6.976
235.534 | -2.6614e-10 | -7.003
235.119 | -2.6988e-10 | -7.0317
234.661 | -2.7836e-10 | -7.0651
234.246 | -2.665e-10 | -7.0934
233.862 | -2.462e-10 | -7.1185
233.555 | -2.6891e-10 | -7.1348
233.198 | -2.7148e-10 | -7.1567
232.734 | -2.648e-10 | -7.1894
232.332 | -2.5549e-10 | -7.2156
231.957 | -2.6282e-10 | -7.2389
231.526 | -2.6139e-10 | -7.2683
231.217 | -2.4685e-10 | -7.2845
230.779 | -2.5052e-10 | -7.3144
230.492 | -2.4676e-10 | -7.328
229.98 | -2.3328e-10 | -7.3648
229.655 | -2.5263e-10 | -7.3824
229.158 | -2.4136e-10 | -7.418
228.823 | -2.4152e-10 | -7.4357
228.477 | -2.2721e-10 | -7.455
228.084 | -2.2506e-10 | -7.4792
227.768 | -2.1616e-10 | -7.4953
227.363 | -2.1806e-10 | -7.5205
227.094 | -2.1231e-10 | -7.5314
226.746 | -2.1627e-10 | -7.5505
226.395 | -2.0358e-10 | -7.5699
226.124 | -2.056e-10 | -7.5805
225.653 | -2.0049e-10 | -7.612
225.414 | -2.0654e-10 | -7.6197
224.96 | -2.1e-10 | -7.6493
224.687 | -2.1892e-10 | -7.6603
224.25 | -2.0345e-10 | -7.6879
223.916 | -1.9937e-10 | -7.7049
223.518 | -2.0254e-10 | -7.7283
223.143 | -1.9166e-10 | -7.7494
222.844 | -1.9943e-10 | -7.7627
222.411 | -2.0194e-10 | -7.7894
222.13 | -1.9628e-10 | -7.8007
221.675 | -2.1214e-10 | -7.8294
221.377 | -1.8231e-10 | -7.8422
220.679 | -1.8816e-10 | -7.8799
220.352 | -1.8755e-10 | -7.8949
219.977 | -1.8704e-10 | -7.915
219.731 | -1.8717e-10 | -7.9226
219.351 | -1.8313e-10 | -7.9432
219.07 | -1.8788e-10 | -7.9539
218.705 | -1.8438e-10 | -7.9729
218.361 | -1.8303e-10 | -7.9899
218.057 | -1.8261e-10 | -8.0027
217.673 | -1.7994e-10 | -8.0231
217.443 | -1.6966e-10 | -8.0286
217.003 | -1.7107e-10 | -8.0535
216.745 | -1.6727e-10 | -8.0618
216.377 | -1.7525e-10 | -8.0807
216.073 | -1.7291e-10 | -8.0927
215.767 | -1.6625e-10 | -8.1052
215.407 | -1.6594e-10 | -8.1227
215.176 | -1.7358e-10 | -8.1278
214.767 | -1.6896e-10 | -8.1496
214.562 | -1.591e-10 | -8.1517
214.177 | -1.6656e-10 | -8.1712
213.936 | -1.6717e-10 | -8.1765
213.609 | -1.6292e-10 | -8.1905
213.294 | -1.6554e-10 | -8.2036
213.031 | -1.6381e-10 | -8.2116
212.683 | -1.5921e-10 | -8.2276
212.447 | -1.6144e-10 | -8.2326
212.077 | -1.5926e-10 | -8.2502
211.878 | -1.6362e-10 | -8.2521
211.528 | -1.5673e-10 | -8.2681
211.361 | -1.526e-10 | -8.2671
210.999 | -1.5925e-10 | -8.2842
210.836 | -1.5883e-10 | -8.2827
210.518 | -1.5039e-10 | -8.2952
210.386 | -1.5103e-10 | -8.2903
210.132 | -1.4376e-10 | -8.297
210.032 | -1.526e-10 | -8.2894
209.824 | -1.4337e-10 | -8.2919
209.739 | -1.5524e-10 | -8.2831
209.487 | -1.5394e-10 | -8.2898
209.401 | -1.4947e-10 | -8.2812
209.151 | -1.5236e-10 | -8.2874
209.005 | -1.5261e-10 | -8.2844
208.776 | -1.5256e-10 | -8.2886
208.61 | -1.4405e-10 | -8.2874
208.368 | -1.4736e-10 | -8.293
208.242 | -1.4113e-10 | -8.2881
207.994 | -1.3856e-10 | -8.2939
207.91 | -1.388e-10 | -8.2845
207.666 | -1.3401e-10 | -8.2902
207.614 | -1.4557e-10 | -8.2787
207.445 | -1.4987e-10 | -8.2776
207.401 | -1.4765e-10 | -8.2654
207.192 | -1.4404e-10 | -8.2679
207.107 | -1.4361e-10 | -8.2596
206.882 | -1.3656e-10 | -8.2631
206.835 | -1.3718e-10 | -8.2511
206.652 | -1.3201e-10 | -8.2516
206.605 | -1.3228e-10 | -8.2398
206.387 | -1.3537e-10 | -8.2432
206.343 | -1.3618e-10 | -8.2312
206.168 | -1.3484e-10 | -8.2306
206.11 | -1.3314e-10 | -8.2198
205.924 | -1.303e-10 | -8.2204
205.822 | -1.3526e-10 | -8.2134
205.755 | -1.2687e-10 | -8.2036
205.62 | -1.2556e-10 | -8.1996
205.552 | -1.3146e-10 | -8.1899
205.312 | -1.2455e-10 | -8.1952
205.304 | -1.241e-10 | -8.1802
205.112 | -1.2547e-10 | -8.1815
205.087 | -1.3017e-10 | -8.1679
204.892 | -1.2862e-10 | -8.1693
204.876 | -1.2178e-10 | -8.1555
204.831 | -1.1668e-10 | -8.1435
204.822 | -1.2032e-10 | -8.1291
204.862 | -1.1996e-10 | -8.1104
204.886 | -1.2133e-10 | -8.093
204.969 | -1.2601e-10 | -8.0708
205.053 | -1.2176e-10 | -8.0488
205.144 | -1.2149e-10 | -8.0263
205.226 | -1.2037e-10 | -8.0042
205.315 | -1.1639e-10 | -7.9818
205.383 | -1.201e-10 | -7.9611
205.483 | -1.2147e-10 | -7.938
205.56 | -1.1596e-10 | -7.9168
205.655 | -1.1908e-10 | -7.8943
205.704 | -1.1232e-10 | -7.8754
205.784 | -1.181e-10 | -7.8541
205.89 | -1.1637e-10 | -7.8309
205.983 | -1.1752e-10 | -7.8083
205.999 | -1.1418e-10 | -7.7928
206.098 | -1.1155e-10 | -7.7705
206.179 | -1.1565e-10 | -7.7497
206.293 | -1.1152e-10 | -7.7259
206.398 | -1.1374e-10 | -7.7033
206.436 | -1.1463e-10 | -7.6862
206.25 | -1.1227e-10 | -7.6874
206.257 | -1.1174e-10 | -7.6728
205.955 | -1.1048e-10 | -7.684
205.96 | -1.1031e-10 | -7.6696
205.801 | -1.1267e-10 | -7.6691
205.61 | -1.1183e-10 | -7.671
205.635 | -1.0756e-10 | -7.6553
205.51 | -1.1502e-10 | -7.6515
205.558 | -1.0975e-10 | -7.6341
205.555 | -1.1132e-10 | -7.621
205.622 | -1.0955e-10 | -7.6018
205.602 | -1.0867e-10 | -7.59
205.659 | -1.076e-10 | -7.5721
205.749 | -1.0525e-10 | -7.5514
205.75 | -1.1037e-10 | -7.5381
205.809 | -1.1648e-10 | -7.5199
205.899 | -1.0669e-10 | -7.4994
205.887 | -1.065e-10 | -7.4871
205.532 | -1.0772e-10 | -7.5023
205.463 | -1.0489e-10 | -7.4948
205.432 | -1.0838e-10 | -7.4842
205.325 | -1.1253e-10 | -7.4798
205.325 | -1.1179e-10 | -7.4668
205.344 | -1.1219e-10 | -7.4521
205.373 | -1.0752e-10 | -7.4369
205.414 | -1.0679e-10 | -7.421
205.466 | -1.0358e-10 | -7.4043
205.521 | -1.0544e-10 | -7.3871
205.591 | -1.048e-10 | -7.3683
205.633 | -1.0641e-10 | -7.3523
205.56 | -1.0801e-10 | -7.3452
205.632 | -1.0925e-10 | -7.3272
205.392 | -1.0695e-10 | -7.3334
205.376 | -1.0758e-10 | -7.3221
205.363 | -1.0523e-10 | -7.3106
205.093 | -1.0263e-10 | -7.319
205.12 | -1.0277e-10 | -7.3047
205.048 | -1.023e-10 | -7.2974
204.975 | -1.0144e-10 | -7.2906
205.035 | -1.0191e-10 | -7.2736
205.026 | -1.0626e-10 | -7.262
205.086 | -1.1593e-10 | -7.2453
205.121 | -9.9894e-11 | -7.2304
205.175 | -1.0425e-10 | -7.214
205.225 | -9.9598e-11 | -7.1977
205.173 | -1.0153e-10 | -7.1895
205.24 | -1.0554e-10 | -7.1723
205.303 | -1.0581e-10 | -7.1555
205.363 | -1.0121e-10 | -7.139
205.424 | -5.5295e-11 | -7.1225
205.481 | -3.0626e-11 | -7.1064
205.536 | -2.1019e-11 | -7.0901
205.591 | -6.6317e-11 | -7.0743
205.725 | -1.4031e-13 | -7.0123
205.528 | -7.6483e-14 | -7.0154
205.556 | -3.6199e-13 | -7.0017
205.089 | -1.042e-11 | -7.0146
205.063 | -1.0863e-11 | -7.005
204.701 | -1.4011e-11 | -7.0204
204.516 | -1.616e-11 | -7.0227
204.481 | -1.1601e-11 | -7.0139
204.313 | -8.347e-12 | -7.0147
204.279 | -7.7769e-12 | -7.0058
204.285 | -6.2046e-12 | -6.9941
204.292 | -1.187e-11 | -6.9823
204.28 | -1.4429e-11 | -6.9718
204.291 | -1.2511e-12 | -6.9594
204.394 | -7.7491e-13 | -6.9018
204.132 | -7.337e-14 | -6.8999
203.427 | -8.9515e-14 | -6.9014
203.309 | -4.4428e-14 | -6.8989
203.155 | -3.1e-16 | -6.899
203.138 | -1.0575e-10 | -6.8795
203.135 | -9.7978e-11 | -6.8689
203.135 | -1.0473e-10 | -6.8581
203.129 | -1.0037e-10 | -6.8477
203.121 | -9.4886e-11 | -6.8375
203.117 | -1.0162e-10 | -6.827
203.04 | -9.6801e-11 | -6.8218
203.024 | -9.8671e-11 | -6.812
203.021 | -9.9443e-11 | -6.8012
203 | -9.9237e-11 | -6.7921
202.974 | -1.0057e-10 | -6.7832
202.957 | -9.9091e-11 | -6.7735
202.801 | -9.7757e-11 | -6.774
202.785 | -1.0166e-10 | -6.7647
202.77 | -1.0056e-10 | -6.7553
202.677 | -9.9573e-11 | -6.7513
202.537 | -9.5502e-11 | -6.7507
202.52 | -9.6965e-11 | -6.7417
202.499 | -1.0061e-10 | -6.7328
202.469 | -1.0202e-10 | -6.7244
202.437 | -1.0016e-10 | -6.716
202.407 | -9.652e-11 | -6.7078
202.374 | -9.7035e-11 | -6.6997
202.342 | -9.5255e-11 | -6.6916
202.311 | -9.4581e-11 | -6.6837
202.279 | -9.446e-11 | -6.6758
202.241 | -9.9817e-11 | -6.6682
202.204 | -9.5942e-11 | -6.6606
202.156 | -9.9113e-11 | -6.6537
202.079 | -9.6992e-11 | -6.6488
201.952 | -1.0081e-10 | -6.647
201.911 | -9.7814e-11 | -6.6399
201.867 | -1.3569e-10 | -6.6331
201.821 | -1.3379e-10 | -6.6262
201.764 | -1.2231e-10 | -6.6201
201.702 | -1.1977e-10 | -6.6144
201.592 | -1.281e-10 | -6.6119
201.517 | -1.2398e-10 | -6.607
201.331 | -1.2433e-10 | -6.6096
201.026 | -1.2495e-10 | -6.6204
200.866 | -1.2401e-10 | -6.621
200.783 | -1.2291e-10 | -6.6167
200.691 | -1.2596e-10 | -6.613
200.581 | -1.2464e-10 | -6.6105
200.471 | -1.2046e-10 | -6.6079
200.386 | -1.1979e-10 | -6.6036
200.3 | -1.2315e-10 | -6.5996
200.202 | -1.2742e-10 | -6.5965
200.113 | -1.2327e-10 | -6.5926
200.021 | -1.2436e-10 | -6.589
199.92 | -1.2124e-10 | -6.5859
199.826 | -1.195e-10 | -6.5824
199.709 | -1.1816e-10 | -6.5806
199.527 | -1.1951e-10 | -6.5829
199.416 | -1.1894e-10 | -6.5805
199.308 | -1.2225e-10 | -6.5778
199.205 | -1.1809e-10 | -6.5749
199.091 | -1.1841e-10 | -6.5729
198.98 | -1.1902e-10 | -6.5707
198.865 | -1.1369e-10 | -6.5682
198.755 | -1.1849e-10 | -6.5658
198.623 | -1.1637e-10 | -6.5648
198.477 | -1.1993e-10 | -6.565
198.262 | -1.2078e-10 | -6.5691
198.005 | -1.2611e-10 | -6.5764
197.851 | -1.1427e-10 | -6.5768
197.72 | -1.1648e-10 | -6.5759
197.576 | -1.1625e-10 | -6.5757
197.439 | -1.1548e-10 | -6.5749
197.293 | -1.3906e-10 | -6.5749
197.142 | -1.2139e-10 | -6.5749
196.997 | -1.1825e-10 | -6.5747
196.841 | -1.2235e-10 | -6.5754
196.676 | -1.1348e-10 | -6.5767
196.526 | -1.1714e-10 | -6.5767
196.363 | -1.1294e-10 | -6.5777
196.198 | -1.0764e-10 | -6.5785
196.044 | -1.1474e-10 | -6.579
195.876 | -1.1787e-10 | -6.58
195.713 | -1.1547e-10 | -6.5808
195.523 | -1.1384e-10 | -6.5833
195.262 | -1.172e-10 | -6.5902
195.051 | -1.2278e-10 | -6.5943
194.851 | -1.2599e-10 | -6.5975
194.672 | -1.2554e-10 | -6.5997
194.489 | -1.1694e-10 | -6.602
194.291 | -1.1769e-10 | -6.6052
194.099 | -1.2338e-10 | -6.6077
193.892 | -1.1855e-10 | -6.6112
193.681 | -1.179e-10 | -6.615
193.482 | -1.2708e-10 | -6.6181
193.276 | -1.1452e-10 | -6.6216
193.083 | -1.1413e-10 | -6.6244
192.868 | -1.1628e-10 | -6.6285
192.657 | -1.1878e-10 | -6.6325
192.408 | -1.0943e-10 | -6.6386
192.161 | -1.0835e-10 | -6.6449
191.882 | -1.2003e-10 | -6.6528
191.571 | -1.2103e-10 | -6.6627
191.296 | -1.206e-10 | -6.6703
191.044 | -1.1456e-10 | -6.6764
190.722 | -1.1237e-10 | -6.6871
190.451 | -1.1193e-10 | -6.6945
190.17 | -1.1569e-10 | -6.7024
189.923 | -1.1471e-10 | -6.7085
189.657 | -1.1893e-10 | -6.7153
189.407 | -1.2168e-10 | -6.7214
189.136 | -1.1991e-10 | -6.7287
188.877 | -1.1342e-10 | -6.7351
188.592 | -1.1524e-10 | -6.7432
188.328 | -1.1689e-10 | -6.7501
188.053 | -1.2852e-10 | -6.7575
187.802 | -1.0809e-10 | -6.7636
187.532 | -1.1415e-10 | -6.7706
187.281 | -1.1563e-10 | -6.7766
187.009 | -1.2273e-10 | -6.7836
186.756 | -1.1963e-10 | -6.7896
186.463 | -1.2421e-10 | -6.798
186.113 | -1.1439e-10 | -6.8099
185.652 | -1.1488e-10 | -6.8284
185.201 | -1.2081e-10 | -6.8461
184.768 | -1.1599e-10 | -6.8627
184.365 | -1.1404e-10 | -6.8776
183.861 | -1.1082e-10 | -6.8983
183.465 | -1.1164e-10 | -6.9127
183.101 | -1.1477e-10 | -6.9247
182.643 | -1.1114e-10 | -6.9424
182.156 | -1.1575e-10 | -6.9621
181.588 | -1.0601e-10 | -6.9865
181.12 | -1.0751e-10 | -7.0049
180.695 | -1.1587e-10 | -7.0205
180.163 | -1.2151e-10 | -7.0425
179.645 | -1.0948e-10 | -7.0637
179.121 | -1.0747e-10 | -7.0851
178.71 | -1.0745e-10 | -7.0998
178.295 | -1.1748e-10 | -7.1146
177.822 | -1.1221e-10 | -7.1329
177.374 | -1.0854e-10 | -7.1497
176.952 | -1.1229e-10 | -7.1645
176.595 | -1.1177e-10 | -7.1761
176.214 | -1.1105e-10 | -7.1886
175.803 | -1.1378e-10 | -7.2031
175.387 | -1.1116e-10 | -7.2179
174.864 | -1.1769e-10 | -7.2387
174.418 | -1.1111e-10 | -7.2552
174.005 | -1.09e-10 | -7.2695
173.635 | -1.1604e-10 | -7.2815
173.236 | -1.0782e-10 | -7.295
172.804 | -1.0845e-10 | -7.3104
172.246 | -1.0279e-10 | -7.3329
171.522 | -1.0358e-10 | -7.3648
170.77 | -1.0065e-10 | -7.3985
169.884 | -1.0786e-10 | -7.4398
168.748 | -1.0465e-10 | -7.4951
167.689 | -1.0289e-10 | -7.5459
166.43 | -9.9666e-11 | -7.608
165.161 | -9.814e-11 | -7.6704
163.753 | -1.0067e-10 | -7.7407
162.515 | -1.0305e-10 | -7.8013
161.352 | -1.0261e-10 | -7.8572
160.353 | -9.4818e-11 | -7.9039
159.575 | -9.4011e-11 | -7.9377
158.877 | -9.4537e-11 | -7.967
158.332 | -9.3889e-11 | -7.9878
157.822 | -1.014e-10 | -8.0063
157.385 | -1.0051e-10 | -8.0204
157.029 | -9.0605e-11 | -8.0303
156.68 | -1.0184e-10 | -8.0397
156.351 | -1.0413e-10 | -8.048
156.059 | -1.037e-10 | -8.0543
155.776 | -9.9427e-11 | -8.0601
155.485 | -8.9922e-11 | -8.066
155.195 | -9.2391e-11 | -8.0721
154.909 | -9.443e-11 | -8.0776
154.648 | -9.3686e-11 | -8.082
154.368 | -9.1714e-11 | -8.0874
154.112 | -9.4824e-11 | -8.0914
153.837 | -8.5853e-11 | -8.0965
153.585 | -8.9502e-11 | -8.1004
153.31 | -8.581e-11 | -8.1054
153.035 | -8.6811e-11 | -8.1103
152.789 | -8.8635e-11 | -8.1136
152.523 | -9.3917e-11 | -8.1183
152.267 | -9.3994e-11 | -8.1223
151.984 | -8.6915e-11 | -8.1277
151.704 | -9.3609e-11 | -8.1324
151.458 | -9.408e-11 | -8.1358
151.181 | -8.9637e-11 | -8.1408
150.919 | -8.5162e-11 | -8.145
150.66 | -8.969e-11 | -8.1492
150.413 | -8.3534e-11 | -8.1527
150.12 | -9.4469e-11 | -8.1586
149.869 | -7.8777e-11 | -8.1622
149.607 | -8.6508e-11 | -8.1666
149.36 | -8.6796e-11 | -8.17
149.088 | -8.267e-11 | -8.1744
148.825 | -7.0844e-11 | -8.1787
148.578 | -8.2797e-11 | -8.1821
148.312 | -9.7987e-11 | -8.1864
148.048 | -8.1727e-11 | -8.1906
147.811 | -8.2459e-11 | -8.1934
147.563 | -8.305e-11 | -8.1968
147.332 | -7.4196e-11 | -8.1992
147.087 | -4.4866e-11 | -8.2024
146.859 | -1.4302e-11 | -8.2049
146.613 | -9.2107e-11 | -8.2078
146.374 | -2.0048e-11 | -8.2106
146.123 | -1.4351e-11 | -8.2133
145.889 | -7.0616e-12 | -8.2154
145.656 | -1.9578e-11 | -8.2175
145.432 | -1.9873e-11 | -8.2189
145.208 | -8.8206e-11 | -8.2211
144.988 | -3.757e-12 | -8.2223
144.772 | -3.8508e-11 | -8.2234
144.549 | -1.5479e-11 | -8.2249
144.349 | -4.6416e-11 | -8.2249
144.15 | -9.5148e-12 | -8.2252
143.958 | -1.1827e-11 | -8.2255
143.773 | -4.9611e-11 | -8.2249
143.592 | -5.7008e-12 | -8.2243
143.414 | -1.2574e-11 | -8.2235
143.238 | -5.9349e-12 | -8.2229
143.065 | -1.0941e-11 | -8.2222
142.91 | -7.9796e-12 | -8.2204
142.74 | -4.8643e-12 | -8.2194
142.549 | -1.1087e-10 | -8.2191
142.373 | -7.1795e-11 | -8.2186
142.186 | -4.6737e-12 | -8.2184
141.998 | -9.1006e-12 | -8.2185
141.819 | -9.035e-12 | -8.2181
141.604 | -2.8835e-11 | -8.2186
141.402 | -1.2822e-11 | -8.219
141.193 | -1.1472e-11 | -8.2196
140.998 | -3.4291e-11 | -8.2194
140.796 | -3.2822e-11 | -8.2202
140.597 | -4.1078e-11 | -8.2206
140.42 | -5.0208e-11 | -8.2201
140.232 | -2.7093e-11 | -8.2204
140.038 | -7.0654e-12 | -8.2203
139.823 | -7.7754e-12 | -8.2217
139.618 | -7.19e-12 | -8.2224
139.426 | -1.3505e-12 | -8.2224
139.225 | -1.0026e-10 | -8.2228
139.022 | -5.3606e-11 | -8.2236
138.83 | -1.6522e-11 | -8.2238
138.631 | -5.9926e-11 | -8.2241
138.433 | -3.674e-11 | -8.2244
138.211 | -2.8811e-12 | -8.2259
138.019 | -2.4918e-11 | -8.2259
137.828 | -4.0659e-12 | -8.2257
137.618 | -8.7964e-11 | -8.226
137.425 | -2.7355e-11 | -8.2264
137.229 | -3.2706e-11 | -8.2264
137.034 | -1.3033e-11 | -8.2267
136.82 | -1.5403e-11 | -8.2279
136.613 | -7.9425e-11 | -8.2289
136.416 | -1.3566e-11 | -8.2289
136.224 | -2.6625e-11 | -8.2287
135.97 | -5.6734e-11 | -8.2321
135.698 | -1.3454e-11 | -8.2364
135.467 | -2.6773e-11 | -8.2381
135.245 | -6.7208e-11 | -8.2396
134.987 | -4.2982e-11 | -8.2433
134.625 | -5.8251e-11 | -8.2519
134.337 | -4.4696e-11 | -8.2568
134.089 | -5.8221e-11 | -8.2595
133.847 | -6.7777e-11 | -8.2622
133.481 | -6.0716e-11 | -8.2706
133.058 | -3.8938e-12 | -8.2818
132.709 | -1.2344e-10 | -8.2894
132.456 | -4.8954e-11 | -8.2926
132.199 | -4.6247e-12 | -8.2956
131.852 | -5.1098e-11 | -8.3029
131.556 | -6.4816e-11 | -8.3082
129.837 | -1.15e-13 | -8.3441
127.471 | -4.8473e-14 | -8.419
126.56 | -1.991e-14 | -8.4539
125.545 | -5.73e-15 | -8.494
124.41 | -2.869e-15 | -8.5397
123.376 | -3.288e-15 | -8.5805
122.551 | 2.757e-15 | -8.6111
121.87 | 2.358e-15 | -8.6345
120.831 | 8.01e-16 | -8.6754
119.448 | 2.345e-15 | -8.7328
117.852 | 2.975e-15 | -8.8003
116.33 | 7.292e-15 | -8.8642
114.896 | 4.679e-15 | -8.9233
113.786 | 2.524e-15 | -8.9671
112.886 | 5.99e-15 | -9.0006
111.695 | 3.814e-15 | -9.0479
110.178 | 1.53e-15 | -9.1109
108.243 | 5.066e-15 | -9.1938
106.277 | 3.476e-15 | -9.278
104.569 | 7.136e-15 | -9.3496
103.314 | 4.322e-15 | -9.3992
102.538 | -3e-16 | -9.4261
101.833 | 1.551e-15 | -9.4489
100.776 | 8.316e-15 | -9.489
99.3155 | 3.077e-15 | -9.5482
97.5714 | -4.107e-15 | -9.6207
95.9049 | -3.0729e-14 | -9.6894
94.0796 | -1.3184e-14 | -9.7655
91.5736 | -5.6935e-13 | -9.8738
88.9208 | -4.6389e-11 | -9.9794
88.9273 | -4.6477e-11 | -9.9682
85.7531 | -4.6315e-11 | -10.1073
83.9332 | -5.1601e-11 | -10.1821
82.949 | -4.3611e-11 | -10.2173
82.3808 | -4.4225e-11 | -10.2329
82.0345 | -4.816e-11 | -10.2378
81.8315 | -4.3616e-11 | -10.2362
81.6778 | -4.1259e-11 | -10.2322
81.5753 | -4.0797e-11 | -10.226
81.4987 | -3.9782e-11 | -10.2187
81.4414 | -4.1074e-11 | -10.2104
81.3794 | -4.9288e-11 | -10.2024
81.3925 | -4.814e-11 | -10.1906
81.4005 | -4.0332e-11 | -10.1793
81.3968 | -3.7303e-11 | -10.1687
81.3822 | -3.7308e-11 | -10.1585
81.3704 | -4.2231e-11 | -10.1483
81.3537 | -4.1915e-11 | -10.1378
81.346 | -4.1961e-11 | -10.1271
81.3268 | -4.1577e-11 | -10.1172
81.3112 | -3.6805e-11 | -10.1071
81.2892 | -3.6054e-11 | -10.0974
81.2703 | -3.8463e-11 | -10.0872
81.2144 | -3.5068e-11 | -10.079
81.2186 | -3.3377e-11 | -10.068
81.2285 | -3.3306e-11 | -10.0568
81.2248 | -3.8115e-11 | -10.0463
81.227 | -3.9782e-11 | -10.0351
81.2032 | -3.711e-11 | -10.0255
81.2098 | -4.5221e-11 | -10.0146
81.2248 | -3.9924e-11 | -10.0033
81.2046 | -3.9324e-11 | -9.9935
81.1834 | -3.966e-11 | -9.9835
81.206 | -3.7934e-11 | -9.9718
81.2333 | -3.7451e-11 | -9.9603
81.2417 | -3.4416e-11 | -9.9494
81.2392 | -3.6501e-11 | -9.939
81.2087 | -3.6154e-11 | -9.9298
81.1904 | -3.5244e-11 | -9.92
81.2013 | -2.9162e-11 | -9.9091
81.2322 | -3.1338e-11 | -9.8972
81.2417 | -2.9311e-11 | -9.8862
81.2407 | -2.938e-11 | -9.8756
81.2243 | -2.8963e-11 | -9.866
81.2003 | -2.8802e-11 | -9.8564
81.1542 | -2.8368e-11 | -9.8482
81.1604 | -3.1051e-11 | -9.8376
81.1692 | -2.9548e-11 | -9.827
81.1562 | -3.7689e-11 | -9.8174
81.1458 | -2.7674e-11 | -9.8077
81.1025 | -2.6505e-11 | -9.7995
81.1147 | -2.8269e-11 | -9.7887
81.1335 | -2.6732e-11 | -9.7772
81.1217 | -2.6586e-11 | -9.7676
81.1124 | -2.846e-11 | -9.7575
81.0711 | -2.6241e-11 | -9.7489
81.0898 | -2.9973e-11 | -9.7378
81.111 | -2.8687e-11 | -9.7268
81.1195 | -2.551e-11 | -9.7164
81.096 | -2.468e-11 | -9.7075
81.065 | -2.6428e-11 | -9.6989
81.0758 | -2.5113e-11 | -9.6884
81.1298 | -2.5513e-11 | -9.676
81.1341 | -2.5234e-11 | -9.666
81.1373 | -2.4548e-11 | -9.6558
81.1031 | -2.455e-11 | -9.6451
81.05 | -2.5449e-11 | -9.6373
81.0796 | -2.4311e-11 | -9.6261
81.1116 | -2.3495e-11 | -9.6148
81.1096 | -2.4656e-11 | -9.6047
81.0881 | -2.3175e-11 | -9.596
81.0593 | -2.2923e-11 | -9.5873
81.0344 | -2.3615e-11 | -9.5786
81.0974 | -2.432e-11 | -9.5662
81.1175 | -2.2564e-11 | -9.5555
81.1031 | -2.3342e-11 | -9.5464
81.0762 | -2.1464e-11 | -9.5378
81.0227 | -2.2239e-11 | -9.5306
81.0265 | -2.5568e-11 | -9.5207
81.0697 | -2.3099e-11 | -9.5093
81.0824 | -2.189e-11 | -9.4991
81.0729 | -2.2156e-11 | -9.4899
81.0565 | -2.1918e-11 | -9.481
81.0049 | -2.1283e-11 | -9.4737
81.0095 | -2.1312e-11 | -9.464
81.0307 | -2.0833e-11 | -9.4535
81.0217 | -2.1833e-11 | -9.4443
80.9971 | -2.1415e-11 | -9.4359
80.9451 | -2.2285e-11 | -9.4286
81.0071 | -3.039e-11 | -9.4165
81.0697 | -2.0689e-11 | -9.4045
81.0804 | -2.1662e-11 | -9.3946
81.08 | -2.0413e-11 | -9.3851
81.0588 | -2.5903e-11 | -9.3766
81.0123 | -2.0295e-11 | -9.369
80.9661 | -2.0559e-11 | -9.3616
81.0598 | -2.0952e-11 | -9.3483
81.109 | -2.0559e-11 | -9.3368
81.074 | -3.0524e-11 | -9.3289
80.9856 | -2.8944e-11 | -9.3228
80.9139 | -2.9073e-11 | -9.3165
80.8427 | -3.3826e-11 | -9.3103
80.8876 | -3.4823e-11 | -9.2991
80.8824 | -3.4416e-11 | -9.2901
80.8689 | -3.286e-11 | -9.2812
80.8465 | -2.6917e-11 | -9.2727
80.8088 | -2.7094e-11 | -9.2648
80.7585 | -2.8128e-11 | -9.2577
80.809 | -2.5924e-11 | -9.2465

## Pulse
Temperature | Current | Time
80.8221 | 9.5627e-05 | 1.8016
80.7882 | 0.00010004 | 3.2504
80.7489 | 0.00010048 | 4.6848
80.6741 | 9.9934e-05 | 6.141
80.6863 | 0.00010042 | 7.5621
80.6863 | 0.00010097 | 8.9935
80.6552 | 0.00010101 | 10.4327
80.6126 | 0.0001011 | 11.8696
80.5684 | 0.00010075 | 13.2921
80.5114 | 0.00010093 | 14.7271
80.4507 | 0.00010118 | 16.2078
80.3929 | 0.00010124 | 17.6183
80.3331 | 0.00010103 | 19.058
80.2848 | 0.00010106 | 20.4907
80.2445 | 0.00010118 | 21.9016
80.204 | 0.00010115 | 23.3114
80.1604 | 0.00010157 | 24.7516
80.1255 | 0.00010167 | 26.2014
80.0832 | 0.00010137 | 27.6326
80.0578 | 0.00010114 | 29.0593

## Measurements
Temperature | Current | Temp Rate
80.0262 | -4.8187e-11 | 0
80.1298 | -4.1239e-11 | 1.0866
80.4819 | -4.6936e-11 | 2.8785
80.736 | -4.8221e-11 | 3.787
81.0715 | -4.9353e-11 | 4.706
81.4207 | -5.0695e-11 | 5.744
81.7021 | -4.9921e-11 | 6.4508
82.0213 | -4.3776e-11 | 7.3449
82.3014 | -4.6758e-11 | 8.2507
82.6567 | -5.0547e-11 | 8.9846
83.0199 | -4.4944e-11 | 14.4986
83.3193 | -4.3168e-11 | 26.9183
83.6934 | -4.7608e-11 | 53.3805
83.9594 | -4.9078e-11 | 115.1952
84.2526 | -5.0865e-11 | 183.3216
84.5322 | -5.0134e-11 | 11.8381
84.8132 | -4.3278e-11 | 12.117
85.1074 | -4.9702e-11 | 12.4911
85.371 | -4.3555e-11 | 488.4872
85.6818 | -4.2432e-11 | 13.1941
85.9528 | -4.5683e-11 | 13.5885
86.2602 | -4.8724e-11 | 13.8459
86.5646 | -4.4751e-11 | 14.1764
86.8161 | -4.2449e-11 | 14.467
87.0995 | -4.5959e-11 | 14.6467
87.3341 | -4.2576e-11 | 14.8859
87.713 | -4.9018e-11 | 15.1474
87.9724 | -4.8521e-11 | 15.2541
88.2936 | -4.9198e-11 | 15.4615
88.6407 | -4.7549e-11 | 15.5766
88.8435 | -4.8718e-11 | 15.695
89.1739 | -4.6399e-11 | 15.8191
89.4919 | -4.7586e-11 | 15.9309
89.7688 | -4.7572e-11 | 15.981
90.0699 | -4.4405e-11 | 16.0153
90.3349 | -4.3412e-11 | 16.0794
90.705 | -4.5026e-11 | 16.0712
90.9819 | -4.14e-11 | 16.1196
91.3325 | -4.218e-11 | 16.1067
91.5696 | -4.4555e-11 | 16.1276
91.8788 | -4.3116e-11 | 16.0955
92.1333 | -5.0586e-11 | 16.0836
92.4584 | -3.9656e-11 | 16.0322
92.7521 | -4.2446e-11 | 16.0169
93.0683 | -3.7008e-11 | 15.9726
93.357 | -4.4926e-11 | 15.9324
93.6391 | -4.488e-11 | 15.9025
93.9414 | -4.5481e-11 | 15.852
94.3086 | -4.1128e-11 | 15.7884
94.584 | -3.9524e-11 | 15.7516
94.8819 | -3.7654e-11 | 15.6888
95.1543 | -3.7341e-11 | 15.663
95.4526 | -4.5201e-11 | 15.6085
95.7945 | -3.8885e-11 | 15.5558
96.1399 | -4.1901e-11 | 15.48
96.4146 | -4.0139e-11 | 15.4856
96.6931 | -3.5914e-11 | 15.469
96.9678 | -4.2355e-11 | 15.428
97.2735 | -4.0506e-11 | 15.4122
97.5537 | -3.6894e-11 | 15.3832
97.8339 | -4.8726e-11 | 15.3548
98.1865 | -4.4283e-11 | 15.3292
98.4956 | -4.2117e-11 | 15.3137
98.8068 | -4.3724e-11 | 15.2888
99.0946 | -4.2004e-11 | 15.2704
99.3821 | -3.6827e-11 | 15.2636
99.6985 | -3.8749e-11 | 15.2499
99.99 | -4.1616e-11 | 15.2362
100.282 | -4.3933e-11 | 15.2336
100.599 | -4.5253e-11 | 15.2175
100.884 | -4.3132e-11 | 15.213
101.127 | -4.4629e-11 | 15.203
101.491 | -4.4947e-11 | 15.1908
101.736 | -4.3175e-11 | 15.182
102.052 | -4.4189e-11 | 15.1819
102.372 | -4.2093e-11 | 15.1687
102.669 | -4.113e-11 | 15.1611
102.966 | -4.0428e-11 | 15.1614
103.291 | -3.9998e-11 | 15.1561
103.59 | -3.9173e-11 | 15.1587
103.838 | -4.2843e-11 | 15.1514
104.166 | -4.3822e-11 | 15.1467
104.464 | -4.1097e-11 | 15.1527
104.793 | -4.3708e-11 | 15.1466
105.097 | -4.4151e-11 | 15.1556
105.4 | -4.1073e-11 | 15.1517
105.651 | -4.9002e-11 | 15.1537
105.954 | -4.3225e-11 | 15.1496
106.285 | -4.738e-11 | 15.1557
106.59 | -4.4071e-11 | 15.1553
106.917 | -4.1892e-11 | 15.1479
107.145 | -4.7282e-11 | 15.1469
107.474 | -5.3424e-11 | 15.1576
107.777 | -4.4476e-11 | 15.1518
108.034 | -4.7902e-11 | 15.1572
108.357 | -4.6887e-11 | 15.1469
108.658 | -4.6735e-11 | 15.1536
108.981 | -4.7506e-11 | 15.1437
109.275 | -4.2456e-11 | 15.1485
109.567 | -4.3938e-11 | 15.1391
109.888 | -4.3313e-11 | 15.1269
110.184 | -4.7421e-11 | 15.1339
110.505 | -4.4631e-11 | 15.1225
110.73 | -4.4919e-11 | 15.1244
111.053 | -4.4549e-11 | 15.1296
111.352 | -4.6991e-11 | 15.1261
111.653 | -4.8601e-11 | 15.1219
111.979 | -4.644e-11 | 15.1193
112.281 | -4.3422e-11 | 15.1152
112.584 | -4.8539e-11 | 15.1233
112.886 | -4.3712e-11 | 15.1202
113.138 | -4.5142e-11 | 15.121
113.465 | -4.1927e-11 | 15.1143
113.77 | -4.5095e-11 | 15.1253
114.096 | -4.6564e-11 | 15.1168
114.4 | -4.8107e-11 | 15.1255
114.652 | -5.0225e-11 | 15.1136
114.981 | -4.4134e-11 | 15.1204
115.285 | -4.234e-11 | 15.1253
115.61 | -4.3093e-11 | 15.1185
115.865 | -4.9202e-11 | 15.1212
116.294 | -4.8303e-11 | 15.1169
116.469 | -4.6561e-11 | 15.1144
116.773 | -3.8901e-11 | 15.1227
117.027 | -4.6703e-11 | 15.1231
117.355 | -4.8248e-11 | 15.1192
117.658 | -4.7036e-11 | 15.1244
117.983 | -4.9904e-11 | 15.1215
118.282 | -4.8924e-11 | 15.1225
118.604 | -4.9785e-11 | 15.1177
118.897 | -4.7505e-11 | 15.1198
119.2 | -4.4131e-11 | 15.1174
119.448 | -5.0014e-11 | 15.1132
119.772 | -5.1543e-11 | 15.116
120.098 | -4.6323e-11 | 15.1103
120.397 | -5.0036e-11 | 15.1097
120.698 | -4.8486e-11 | 15.107
120.999 | -4.982e-11 | 15.1131
121.251 | -4.5333e-11 | 15.112
121.58 | -4.817e-11 | 15.107
121.907 | -4.818e-11 | 15.1077
122.158 | -4.9687e-11 | 15.106
122.483 | -5.3498e-11 | 15.1087
122.786 | -4.9067e-11 | 15.1059
123.084 | -5.1694e-11 | 15.1121
123.339 | -4.9538e-11 | 15.1088
123.669 | -5.001e-11 | 15.1138
123.972 | -5.0963e-11 | 15.1108
124.297 | -4.5414e-11 | 15.104
124.549 | -5.3663e-11 | 15.1099
124.877 | -5.1813e-11 | 15.1075
125.178 | -5.2549e-11 | 15.1132
125.431 | -5.6344e-11 | 15.1136
125.732 | -5.4226e-11 | 15.1095
126.058 | -5.6956e-11 | 15.1123
126.385 | -5.2256e-11 | 15.1087
126.688 | -5.47e-11 | 15.1123
127.014 | -5.5946e-11 | 15.1057
127.266 | -5.3412e-11 | 15.1062
127.564 | -5.1984e-11 | 15.11
127.887 | -5.7839e-11 | 15.1038
128.18 | -5.6776e-11 | 15.1068
128.502 | -5.9127e-11 | 15.1005
128.796 | -5.487e-11 | 15.0964
129.097 | -5.5111e-11 | 15.1002
129.418 | -5.6134e-11 | 15.0961
129.664 | -5.8038e-11 | 15.0903
129.99 | -5.6909e-11 | 15.0935
130.291 | -5.76e-11 | 15.0961
130.616 | -5.9879e-11 | 15.0927
130.842 | -5.7096e-11 | 15.0965
131.143 | -6.1554e-11 | 15.0942
131.469 | -5.3166e-11 | 15.0905
131.769 | -5.9313e-11 | 15.0932
132.097 | -6.0886e-11 | 15.0857
132.346 | -5.9136e-11 | 15.092
132.67 | -5.9765e-11 | 15.0894
132.97 | -5.8042e-11 | 15.0915
133.299 | -5.7401e-11 | 15.0891
133.601 | -5.7634e-11 | 15.0915
133.876 | -5.6114e-11 | 15.0896
134.18 | -5.7039e-11 | 15.0947
134.48 | -6.1075e-11 | 15.092
134.807 | -6.3575e-11 | 15.0891
135.058 | -6.1881e-11 | 15.0901
135.359 | -6.2617e-11 | 15.0903
135.684 | -6.3094e-11 | 15.0882
135.987 | -6.3447e-11 | 15.0908
136.239 | -6.3593e-11 | 15.0906
136.59 | -6.3307e-11 | 15.0838
136.867 | -6.3641e-11 | 15.0886
137.167 | -6.7061e-11 | 15.0914
137.491 | -6.3345e-11 | 15.0885
137.771 | -6.5492e-11 | 15.0885
138.076 | -6.7327e-11 | 15.0909
138.358 | -6.7211e-11 | 15.0915
138.667 | -6.4953e-11 | 15.0945
139.004 | -6.7892e-11 | 15.099
139.263 | -6.5801e-11 | 15.1011
139.6 | -7.0403e-11 | 15.1002
139.835 | -6.5465e-11 | 15.1036
140.17 | -6.5247e-11 | 15.1077
140.505 | -6.5561e-11 | 15.1061
140.761 | -6.6706e-11 | 15.1073
141.071 | -6.7006e-11 | 15.1129
141.402 | -6.8167e-11 | 15.1079
141.658 | -7.1071e-11 | 15.1099
141.962 | -6.5005e-11 | 15.113
142.292 | -6.9027e-11 | 15.1133
142.545 | -6.7769e-11 | 15.1134
142.869 | -6.8754e-11 | 15.1144
143.19 | -7.0547e-11 | 15.1054
143.438 | -6.7759e-11 | 15.1078
143.758 | -6.7824e-11 | 15.1078
144.078 | -7.2306e-11 | 15.1085
144.369 | -7.1737e-11 | 15.104
144.683 | -7.3399e-11 | 15.1001
144.998 | -7.2043e-11 | 15.0998
145.24 | -6.8712e-11 | 15.0983
145.552 | -7.1958e-11 | 15.0925
145.844 | -7.0219e-11 | 15.09
146.157 | -6.765e-11 | 15.0889
146.473 | -7.0461e-11 | 15.0829
146.79 | -7.2099e-11 | 15.0809
147.083 | -7.5164e-11 | 15.0821
147.375 | -7.2284e-11 | 15.0786
147.694 | -7.4886e-11 | 15.0786
147.988 | -6.7286e-11 | 15.0742
148.231 | -6.922e-11 | 15.0736
148.618 | -6.9982e-11 | 15.0683
148.837 | -7.5592e-11 | 15.0678
149.155 | -7.5141e-11 | 15.0669
149.476 | -7.29e-11 | 15.0635
149.773 | -7.3322e-11 | 15.0644
150.096 | -7.3885e-11 | 15.0605
150.391 | -7.3916e-11 | 15.0627
150.639 | -7.7372e-11 | 15.0607
150.966 | -7.7664e-11 | 15.0631
151.288 | -7.5262e-11 | 15.0586
151.615 | -7.5754e-11 | 15.0595
151.841 | -7.6146e-11 | 15.0613
152.166 | -7.4661e-11 | 15.0582
152.468 | -8.1221e-11 | 15.0608
152.796 | -7.7704e-11 | 15.0625
153.047 | -7.7542e-11 | 15.0608
153.377 | -7.4733e-11 | 15.063
153.627 | -7.8597e-11 | 15.0632
153.955 | -8.0354e-11 | 15.06
154.285 | -7.848e-11 | 15.0609
154.59 | -7.7422e-11 | 15.0642
154.917 | -7.7737e-11 | 15.0624
155.169 | -7.9005e-11 | 15.0637
155.496 | -7.8484e-11 | 15.0634
155.775 | -8.174e-11 | 15.0634
156.079 | -8.304e-11 | 15.0661
156.332 | -8.078e-11 | 15.066
156.66 | -8.1759e-11 | 15.0668
156.964 | -8.2321e-11 | 15.064
157.291 | -8.1059e-11 | 15.0632
157.595 | -8.0805e-11 | 15.0674
157.921 | -8.5499e-11 | 15.0651
158.172 | -8.0383e-11 | 15.0642
158.502 | -8.2965e-11 | 15.0689
158.755 | -8.3157e-11 | 15.069
159.083 | -8.4611e-11 | 15.0667
159.41 | -8.2994e-11 | 15.0672
159.658 | -8.4076e-11 | 15.066
159.958 | -8.3757e-11 | 15.0669
160.281 | -8.4645e-11 | 15.0677
160.529 | -8.6903e-11 | 15.0676
160.828 | -8.6121e-11 | 15.0658
161.152 | -8.8964e-11 | 15.0666
161.452 | -8.6469e-11 | 15.0646
161.777 | -8.6081e-11 | 15.0663
162.103 | -8.3006e-11 | 15.062
162.352 | -8.59e-11 | 15.0654
162.678 | -9.1621e-11 | 15.0634
162.98 | -8.7709e-11 | 15.0658
163.307 | -9.2118e-11 | 15.0616
163.557 | -9.455e-11 | 15.063
163.908 | -9.5302e-11 | 15.0596
164.159 | -9.3774e-11 | 15.064
164.486 | -9.6246e-11 | 15.0653
164.811 | -9.0213e-11 | 15.0626
165.064 | -9.3753e-11 | 15.0612
165.391 | -8.7733e-11 | 15.062
165.716 | -8.9864e-11 | 15.0632
165.941 | -9.2779e-11 | 15.062
166.267 | -9.2293e-11 | 15.0635
166.593 | -9.3619e-11 | 15.0614
166.919 | -9.3766e-11 | 15.0624
167.169 | -9.3277e-11 | 15.0618
167.471 | -9.8001e-11 | 15.0642
167.798 | -9.9263e-11 | 15.0648
168.048 | -9.861e-11 | 15.0632
168.373 | -8.7968e-11 | 15.0643
168.702 | -9.2218e-11 | 15.0623
168.951 | -9.1637e-11 | 15.0628
169.254 | -1.0046e-10 | 15.064
169.58 | -9.9689e-11 | 15.0642
169.829 | -1.0128e-10 | 15.0645
170.154 | -1.0478e-10 | 15.0619
170.454 | -1.1076e-10 | 15.0627
170.779 | -2.6847e-10 | 15.059
171.054 | -7.4592e-10 | 15.0621
171.379 | -2.7682e-09 | 15.0576
171.676 | -3.5424e-08 | 15.058
171.997 | -9.6632e-08 | 15.0615
172.244 | -1.5057e-07 | 15.0566
172.589 | -2.8477e-07 | 15.0584
172.838 | -2.4024e-07 | 15.0577
173.185 | -1.8193e-07 | 15.0553
173.433 | -1.4437e-07 | 15.0544
173.784 | -2.3141e-07 | 15.0577
174.032 | -5.458e-08 | 15.0536
174.384 | -1.2893e-07 | 15.0574
174.634 | -2.9645e-07 | 15.0555
174.959 | -3.1585e-07 | 15.0562
175.286 | -2.9138e-07 | 15.057
175.536 | -2.5417e-07 | 15.0564
175.863 | -2.3575e-07 | 15.0531
176.139 | -2.2141e-07 | 15.0573
176.466 | -1.6634e-07 | 15.0514
176.818 | -1.4987e-07 | 15.0552
177.168 | -1.1144e-07 | 15.0512
177.343 | -8.7887e-08 | 15.0531
177.695 | -4.9554e-08 | 15.0513
177.971 | -4.2819e-09 | 15.0493
178.247 | -1.2972e-10 | 15.0102
178.75 | -1.4114e-10 | 15.0493
178.952 | -1.124e-10 | 15.0115
179.428 | -1.1391e-10 | 15.0546
179.629 | -1.1492e-10 | 15.0577
179.832 | -1.1294e-10 | 15.0561
180.083 | -1.1414e-10 | 15.0554
180.409 | -1.1598e-10 | 15.0561
180.635 | -1.1635e-10 | 15.0572
180.96 | -1.1654e-10 | 15.0578
181.285 | -1.1619e-10 | 15.055
181.586 | -1.1545e-10 | 15.0565
181.837 | -1.1704e-10 | 15.0567
182.16 | -1.1674e-10 | 15.0573
182.488 | -1.1637e-10 | 15.0573
182.763 | -1.2045e-10 | 15.0555
183.09 | -1.2167e-10 | 15.0551
183.39 | -1.1874e-10 | 15.0539
183.64 | -1.2138e-10 | 15.0564
184.016 | -1.2003e-10 | 15.0552
184.266 | -1.1979e-10 | 15.0499
184.59 | -1.2079e-10 | 15.0558
184.862 | -1.1939e-10 | 15.0529
185.184 | -1.2145e-10 | 15.0529
185.454 | -1.1957e-10 | 15.0543
185.779 | -1.2416e-10 | 15.052
186.028 | -1.2671e-10 | 15.0532
186.352 | -1.278e-10 | 15.0537
186.675 | -1.2488e-10 | 15.0526
187.001 | -1.2691e-10 | 15.0534
187.274 | -1.2822e-10 | 15.0497
187.6 | -1.0578e-10 | 15.0522
187.875 | -1.0948e-10 | 15.0527
188.201 | -1.0556e-10 | 15.0527
188.45 | -1.0674e-10 | 15.0525
188.802 | -1.0806e-10 | 15.0511
189.027 | -1.0849e-10 | 15.0511
189.378 | -1.0567e-10 | 15.0495
189.704 | -1.0781e-10 | 15.0505
189.981 | -1.0797e-10 | 15.0507
190.306 | -1.1057e-10 | 15.0495
190.555 | -1.101e-10 | 15.0521
190.908 | -1.1088e-10 | 15.0507
191.184 | -1.0985e-10 | 15.0496
191.485 | -1.1224e-10 | 15.046
191.761 | -1.1935e-10 | 15.0524
192.085 | -1.1445e-10 | 15.0511
192.386 | -1.1532e-10 | 15.0502
192.638 | -1.1337e-10 | 15.0519
192.963 | -1.1807e-10 | 15.051
193.239 | -1.2109e-10 | 15.0512
193.589 | -1.0797e-10 | 15.0517
193.94 | -1.1547e-10 | 15.051
194.191 | -1.1819e-10 | 15.051
194.465 | -1.0998e-10 | 15.0491
194.79 | -1.1609e-10 | 15.0501
195.14 | -1.1184e-10 | 15.0502
195.416 | -1.1642e-10 | 15.0483
195.718 | -1.1449e-10 | 15.0482
195.992 | -1.1841e-10 | 15.0507
196.239 | -1.1593e-10 | 15.0491
196.594 | -1.103e-10 | 15.0507
196.844 | -1.2095e-10 | 15.0494
197.196 | -1.1969e-10 | 15.0475
197.519 | -1.1761e-10 | 15.0428
197.77 | -1.1999e-10 | 15.0504
198.095 | -1.2169e-10 | 15.05
198.344 | -1.1917e-10 | 15.0492
198.668 | -1.2247e-10 | 15.0489
198.991 | -1.1791e-10 | 15.0489
199.263 | -1.2411e-10 | 15.0476
199.61 | -1.1996e-10 | 15.0467
199.858 | -1.211e-10 | 15.0478
200.181 | -1.238e-10 | 15.0471
200.43 | -1.2424e-10 | 15.0452
200.779 | -1.2979e-10 | 15.0452
201.03 | -1.306e-10 | 15.0464
201.353 | -1.2415e-10 | 15.0467
201.704 | -1.2592e-10 | 15.0467
201.954 | -1.2641e-10 | 15.0459
202.305 | -1.2912e-10 | 15.0456
202.582 | -1.2635e-10 | 15.0443
202.833 | -1.2805e-10 | 15.0467
203.157 | -1.2587e-10 | 15.047
203.484 | -1.2695e-10 | 15.0456
203.735 | -1.2657e-10 | 15.0463
204.06 | -1.3174e-10 | 15.0467
204.413 | -1.3295e-10 | 15.0451
204.662 | -1.3465e-10 | 15.0468
205.015 | -1.3729e-10 | 15.045
205.265 | -1.5082e-10 | 15.0472
205.592 | -1.3746e-10 | 15.0467
205.842 | -1.4171e-10 | 15.0467
206.168 | -1.4092e-10 | 15.0469
206.493 | -1.3888e-10 | 15.0446
206.744 | -1.311e-10 | 15.0465
207.07 | -1.3153e-10 | 15.046
207.396 | -1.3838e-10 | 15.0458
207.671 | -1.3989e-10 | 15.0446
207.998 | -1.3607e-10 | 15.0447
208.248 | -1.3915e-10 | 15.0445
208.598 | -1.4153e-10 | 15.045
208.899 | -1.3861e-10 | 15.0456
209.175 | -1.4369e-10 | 15.0449
209.498 | -1.3642e-10 | 15.0453
209.775 | -1.4743e-10 | 15.0442
210.075 | -1.4482e-10 | 15.0441
210.399 | -1.4872e-10 | 15.0462
210.701 | -1.4902e-10 | 15.0458
211.001 | -1.4948e-10 | 15.0422
211.276 | -1.5205e-10 | 15.0443
211.551 | -1.5239e-10 | 15.0435
211.827 | -1.5419e-10 | 15.0458
212.202 | -1.4957e-10 | 15.0432
212.453 | -1.5389e-10 | 15.0446
212.727 | -1.6103e-10 | 15.0454
213.102 | -1.5424e-10 | 15.0452
213.374 | -1.584e-10 | 15.043
213.72 | -1.5776e-10 | 15.0422
213.968 | -1.5654e-10 | 15.0444
214.291 | -1.5129e-10 | 15.0416
214.54 | -1.5623e-10 | 15.0434
214.887 | -1.5436e-10 | 15.0403
215.161 | -1.5894e-10 | 15.0409
215.486 | -1.6168e-10 | 15.0413
215.735 | -1.6052e-10 | 15.0418
216.06 | -1.6346e-10 | 15.0415
216.409 | -1.6069e-10 | 15.0403
216.657 | -1.6516e-10 | 15.0414
217.008 | -1.8129e-10 | 15.0409
217.258 | -1.8059e-10 | 15.04
217.61 | -1.7142e-10 | 15.04
217.96 | -1.7628e-10 | 15.0407
218.234 | -1.8409e-10 | 15.0354
218.486 | -1.6838e-10 | 15.0412
218.764 | -1.7642e-10 | 15.0404
219.09 | -1.6526e-10 | 15.0405
219.394 | -1.7029e-10 | 15.0416
219.646 | -1.69e-10 | 15.0416
219.975 | -1.7449e-10 | 15.0423
220.303 | -1.7104e-10 | 15.0425
220.58 | -1.7328e-10 | 15.0419
220.831 | -1.8023e-10 | 15.0433
221.155 | -1.7401e-10 | 15.042
221.506 | -1.7999e-10 | 15.0413
221.756 | -1.7912e-10 | 15.0412
222.105 | -1.775e-10 | 15.0416
222.355 | -1.8096e-10 | 15.0391
222.678 | -1.7788e-10 | 15.0416
222.929 | -1.7784e-10 | 15.0414
223.277 | -1.7815e-10 | 15.041
223.602 | -1.8294e-10 | 15.0405
223.851 | -1.7994e-10 | 15.0419
224.176 | -1.7733e-10 | 15.0414
224.501 | -1.7904e-10 | 15.0408
224.753 | -1.8233e-10 | 15.0409
225.077 | -1.8485e-10 | 15.0406
225.427 | -1.869e-10 | 15.0402
225.677 | -1.8681e-10 | 15.0415
225.953 | -1.8484e-10 | 15.0401
226.278 | -1.8576e-10 | 15.0396
226.602 | -1.8746e-10 | 15.0397
226.853 | -1.8835e-10 | 15.0411
227.178 | -1.909e-10 | 15.0401
227.455 | -1.9166e-10 | 15.0393
227.779 | -1.9053e-10 | 15.0391
228.028 | -1.9901e-10 | 15.0409
228.351 | -1.9578e-10 | 15.0402
228.674 | -1.9943e-10 | 15.0402
228.995 | -2.0066e-10 | 15.039
229.267 | -1.9843e-10 | 15.0363
229.591 | -1.9406e-10 | 15.039
229.841 | -1.9809e-10 | 15.0389
230.164 | -2.005e-10 | 15.0389
230.488 | -1.9437e-10 | 15.0375
230.764 | -2.0374e-10 | 15.0368
231.092 | -2.1283e-10 | 15.0353
231.367 | -2.1481e-10 | 15.0356
231.695 | -2.1627e-10 | 15.0386
231.973 | -2.1763e-10 | 15.0378
232.298 | -2.1917e-10 | 15.0393
232.549 | -2.2165e-10 | 15.0384
232.898 | -2.1646e-10 | 15.0374
233.149 | -2.1408e-10 | 15.0391
233.473 | -2.225e-10 | 15.0384
233.798 | -2.193e-10 | 15.0383
234.049 | -2.2916e-10 | 15.0384
234.372 | -2.2185e-10 | 15.0377
234.723 | -2.3121e-10 | 15.0374
234.974 | -2.2885e-10 | 15.0368
235.297 | -2.2218e-10 | 15.0382
235.574 | -2.2066e-10 | 15.037
235.898 | -2.2166e-10 | 15.0373
236.224 | -2.2083e-10 | 15.0372
236.476 | -2.1952e-10 | 15.0364
236.801 | -2.1615e-10 | 15.0372
237.076 | -2.1629e-10 | 15.0381
237.401 | -2.0721e-10 | 15.0379
237.652 | -2.2599e-10 | 15.0376
237.976 | -2.1999e-10 | 15.0374
238.252 | -2.3034e-10 | 15.0354
238.527 | -2.2892e-10 | 15.0363
238.878 | -2.3383e-10 | 15.0361
239.129 | -2.3932e-10 | 15.0379
239.453 | -2.381e-10 | 15.0374
239.778 | -2.3051e-10 | 15.0369
240.054 | -2.3978e-10 | 15.0365
240.379 | -2.5429e-10 | 15.0363
240.629 | -2.5427e-10 | 15.0373
240.954 | -3.382e-10 | 15.037
241.279 | -4.3744e-10 | 15.0371
241.531 | -6.4164e-10 | 15.0367
241.855 | -1.5673e-09 | 15.034
242.155 | -8.4811e-09 | 15.0355
242.431 | -2.7241e-08 | 15.0358
242.782 | -3.2499e-08 | 15.0359
243.031 | -3.5389e-08 | 15.0371
243.357 | -4.1154e-08 | 15.0375
243.682 | -5.3785e-08 | 15.0363
243.956 | -5.0255e-08 | 15.0356
244.278 | -8.457e-08 | 15.0348
244.6 | -5.8284e-08 | 15.0361
244.872 | -4.8758e-08 | 15.0353
245.195 | -4.2054e-08 | 15.0348
245.467 | -4.5409e-08 | 15.0344
245.791 | -3.8679e-08 | 15.0338
246.04 | -3.4648e-08 | 15.035
246.365 | -3.6861e-08 | 15.0349
246.691 | -2.9963e-08 | 15.0348
246.941 | -1.956e-08 | 15.0313
247.241 | -1.8888e-08 | 15.0343
247.59 | -2.2155e-08 | 15.0316
247.867 | -1.5828e-08 | 15.0334
248.143 | -1.5195e-08 | 15.0345
248.467 | -1.1757e-08 | 15.0338
248.742 | -1.125e-08 | 15.0347
249.068 | -1.2019e-08 | 15.0342
249.395 | -1.1171e-08 | 15.0339
249.67 | -1.2764e-08 | 15.0335
249.995 | -1.3582e-08 | 15.0335
250.247 | -1.383e-08 | 15.0349
250.573 | -1.2e-08 | 15.035
250.897 | -1.2739e-08 | 15.0338
251.172 | -1.0818e-08 | 15.0334
251.499 | -1.0756e-08 | 15.0329
251.747 | -1.026e-08 | 15.0344
252.074 | -1.2426e-08 | 15.0341
252.426 | -1.2342e-08 | 15.0328
252.676 | -1.1064e-08 | 15.033
252.976 | -1.3777e-08 | 15.0334
253.302 | -1.274e-08 | 15.033
253.577 | -1.219e-08 | 15.0336
253.903 | -1.4026e-08 | 15.0333
254.154 | -1.1776e-08 | 15.0336
254.503 | -1.2509e-08 | 15.0329
254.753 | -9.8566e-09 | 15.0341
255.03 | -1.1855e-08 | 15.0337
255.38 | -1.0974e-08 | 15.0329
255.63 | -9.4354e-09 | 15.0342
255.955 | -1.3054e-08 | 15.0338
256.306 | -2.9208e-10 | 15.0318
256.58 | -2.9524e-10 | 15.0329
256.83 | -2.9866e-10 | 15.0339
257.156 | -3.0508e-10 | 15.0339
257.507 | -2.9126e-10 | 15.0331
257.755 | -2.923e-10 | 15.0324
258.082 | -3.0452e-10 | 15.0342
258.358 | -3.0723e-10 | 15.0325
258.807 | -3.2007e-10 | 15.0276
259.006 | -3.0409e-10 | 15.0319
259.282 | -2.9968e-10 | 15.0312
259.558 | -3.0182e-10 | 15.0313
259.881 | -3.0014e-10 | 15.0329
260.157 | -3.0101e-10 | 15.0336
260.504 | -3.328e-10 | 15.0327
260.758 | -3.3344e-10 | 15.0306
261.031 | -3.0265e-10 | 15.0325
261.377 | -2.9593e-10 | 15.0316
261.699 | -3.3306e-10 | 15.0326
261.974 | -1.0467e-07 | 15.0308
262.271 | -1.297e-07 | 15.0313
262.595 | -2.3524e-07 | 15.0293
262.869 | -3.2556e-07 | 15.0313
263.143 | -3.1367e-07 | 15.0311
263.492 | -3.1522e-07 | 15.0301
263.743 | -2.168e-07 | 15.0316
264.068 | -3.7378e-07 | 15.0317
264.395 | -4.0158e-07 | 15.0316
264.683 | -3.8438e-07 | 15.0317
264.944 | -3.7107e-07 | 15.0334
265.228 | -3.6791e-07 | 15.0345
265.554 | -3.3171e-07 | 15.0338
265.905 | -2.7449e-07 | 15.0336
266.153 | -3.2772e-10 | 15.0305
266.499 | -3.2824e-10 | 15.0334
266.77 | -3.2828e-10 | 15.0326
267.089 | -3.3276e-10 | 15.0317
267.337 | -3.8852e-10 | 15.0324
267.683 | -3.3806e-10 | 15.0313
267.929 | -3.2971e-10 | 15.0317
268.252 | -2.9103e-10 | 15.0317
268.599 | -3.1696e-10 | 15.0043
269.122 | -3.1145e-10 | 15.0288
269.322 | -3.1634e-10 | 15.031
269.521 | -3.2948e-10 | 15.029
269.796 | -3.3069e-10 | 15.0297
270.043 | -3.2185e-10 | 15.0309
270.395 | -3.2449e-10 | 15.0299
270.645 | -3.1076e-10 | 15.03
270.995 | -3.395e-10 | 15.0307
271.247 | -3.4824e-10 | 15.0298
271.596 | -3.2665e-10 | 15.0292
271.87 | -3.4227e-10 | 15.0295
272.198 | -3.3062e-10 | 15.0291
272.472 | -3.6275e-10 | 15.0303
272.773 | -3.616e-10 | 15.0308
273.123 | -3.4459e-10 | 15.0297
273.373 | -3.4671e-10 | 15.0298
273.724 | -3.3975e-10 | 15.0296
273.973 | -3.426e-10 | 15.0297
274.324 | -3.4834e-10 | 15.0295
274.574 | -3.5147e-10 | 15.0305
274.9 | -3.6026e-10 | 15.03
275.176 | -3.5113e-10 | 15.0281
275.451 | -3.5398e-10 | 15.0306
275.776 | -3.58e-10 | 15.0297
276.051 | -3.5279e-10 | 15.0295
276.401 | -3.5806e-10 | 15.0288
276.677 | -3.6278e-10 | 15.0283
276.953 | -3.6682e-10 | 15.0301
277.229 | -3.4939e-10 | 15.0295
277.577 | -3.5057e-10 | 15.0296
277.878 | -3.7403e-10 | 15.0294
278.178 | -3.7169e-10 | 15.0301
278.479 | -3.7629e-10 | 15.0299
278.754 | -3.8281e-10 | 15.0296
279.103 | -3.6837e-10 | 15.0272
279.375 | -3.86e-10 | 15.0298
279.723 | -3.7882e-10 | 15.0274
279.998 | -3.8255e-10 | 15.0293
280.293 | -4.1789e-10 | 15.0285
280.568 | -4.1444e-10 | 15.0274
280.918 | -4.1149e-10 | 15.0279
281.192 | -3.9195e-10 | 15.0286
281.516 | -4.1671e-10 | 15.0268
281.789 | -3.619e-10 | 15.0272
282.067 | -4.2715e-10 | 15.0278
282.392 | -4.1976e-10 | 15.0278
282.667 | -4.1289e-10 | 15.0285
282.942 | -4.2018e-10 | 15.0286
283.269 | -4.1197e-10 | 15.0279
283.544 | -4.0642e-10 | 15.0286
283.87 | -4.5398e-10 | 15.0282
284.22 | -4.5244e-10 | 15.0278
284.472 | -4.4279e-10 | 15.0283
284.748 | -4.4913e-10 | 15.0278
285.097 | -4.5701e-10 | 15.0287
285.349 | -4.4236e-10 | 15.028
285.699 | -4.5737e-10 | 15.0271
285.949 | -4.6096e-10 | 15.0282
286.3 | -4.6343e-10 | 15.0286
286.575 | -4.7223e-10 | 15.0273
286.926 | -4.3708e-10 | 15.0271
287.226 | -4.4032e-10 | 15.0272
287.502 | -4.5697e-10 | 15.028
287.778 | -4.4835e-10 | 15.027
288.052 | -4.3942e-10 | 15.0288
288.402 | -4.5418e-10 | 15.0271
288.652 | -4.4429e-10 | 15.0281
289.001 | -4.6964e-10 | 15.028
289.277 | -4.4979e-10 | 15.0272
289.553 | -4.699e-10 | 15.0279
289.903 | -4.6106e-10 | 15.0268
290.178 | -4.5361e-10 | 15.0262
290.453 | -4.4836e-10 | 15.0267
290.779 | -4.6708e-10 | 15.0283
291.054 | -4.6158e-10 | 15.0263
291.405 | -4.7727e-10 | 15.0272
291.655 | -4.7543e-10 | 15.0283
292.005 | -4.9104e-10 | 15.0264
292.28 | -4.8274e-10 | 15.0281
292.579 | -4.9034e-10 | 15.0248
292.855 | -4.8594e-10 | 15.0271
293.156 | -4.9521e-10 | 15.0273
293.48 | -4.8254e-10 | 15.0275
293.756 | -4.9689e-10 | 15.0276
294.081 | -4.7396e-10 | 15.0273
294.357 | -5.0624e-10 | 15.0275
294.631 | -4.9911e-10 | 15.028
294.957 | -5.1219e-10 | 15.0277
295.307 | -5.0835e-10 | 15.0272
295.557 | -5.1613e-10 | 15.0274
295.832 | -5.2317e-10 | 15.0275
296.156 | -5.2165e-10 | 15.0271
296.432 | -4.9945e-10 | 15.0268
296.782 | -5.2042e-10 | 15.0263
297.032 | -4.9347e-10 | 15.0272
297.383 | -4.9816e-10 | 15.026
297.631 | -5.1519e-10 | 15.027
297.956 | -5.2218e-10 | 15.0269
298.28 | -5.3011e-10 | 15.0267
298.555 | -5.1841e-10 | 15.0265
298.827 | -5.1281e-10 | 15.0266
299.175 | -5.2536e-10 | 15.0254
299.447 | -5.2938e-10 | 15.0246
299.747 | -5.375e-10 | 15.0261
300.095 | -5.4148e-10 | 15.0256
300.345 | -5.3047e-10 | 15.0261
300.693 | -5.4254e-10 | 15.0251
300.969 | -5.5699e-10 | 15.0251
301.292 | -5.1714e-10 | 15.0249
301.569 | -5.576e-10 | 15.0251
301.89 | -5.3653e-10 | 15.0258
302.167 | -5.4286e-10 | 15.0255
302.444 | -5.4484e-10 | 15.0252
302.795 | -5.6472e-10 | 15.0247
303.046 | -5.6279e-10 | 15.0253
303.395 | -5.6088e-10 | 15.0258
303.671 | -4.8139e-10 | 15.0253
303.945 | -3.9426e-10 | 15.026
304.297 | -4.0599e-10 | 15.0245
304.572 | -4.1529e-10 | 15.0243
304.924 | -4.2008e-10 | 15.0251
305.173 | -4.2621e-10 | 15.0258
305.499 | -4.972e-10 | 15.0257
305.775 | -4.7505e-10 | 15.0257
306.124 | -4.7755e-10 | 15.0252
306.375 | -5.0154e-10 | 15.0261
306.726 | -4.8629e-10 | 15.0253
306.976 | -4.8996e-10 | 15.0259
307.251 | -4.6173e-10 | 15.026
307.576 | -5.1222e-10 | 15.0253
307.853 | -5.0569e-10 | 15.0251
308.127 | -4.7231e-10 | 15.0255
308.478 | -5.0298e-10 | 15.026
308.752 | -4.8241e-10 | 15.0235
309.053 | -5.2144e-10 | 15.025
309.379 | -5.1313e-10 | 15.0255
309.653 | -5.3015e-10 | 15.0244
310.003 | -5.3612e-10 | 15.0249
310.252 | -5.362e-10 | 15.0252
310.529 | -5.0932e-10 | 15.0259
310.879 | -5.1441e-10 | 15.0258
311.153 | -5.4651e-10 | 15.0239
311.429 | -5.1574e-10 | 15.025
311.778 | -5.0925e-10 | 15.0242
312.029 | -5.1616e-10 | 15.0251
312.379 | -5.5376e-10 | 15.0243
312.654 | -5.3453e-10 | 15.0243
312.979 | -5.5873e-10 | 15.0252
313.255 | -5.3687e-10 | 15.0241
313.581 | -5.3738e-10 | 15.0249
313.855 | -5.6377e-10 | 15.0248
314.13 | -5.5264e-10 | 15.0249
314.481 | -5.5186e-10 | 15.0241
314.756 | -5.2406e-10 | 15.0248
315.081 | -5.2658e-10 | 15.0247
315.356 | -5.5638e-10 | 15.025
315.632 | -5.4492e-10 | 15.0253
315.98 | -5.5305e-10 | 15.0253
316.257 | -5.5292e-10 | 15.024
316.581 | -5.6967e-10 | 15.0249
316.856 | -5.7726e-10 | 15.0247
317.131 | -5.8586e-10 | 15.0249
317.457 | -6.0963e-10 | 15.0245
317.756 | -5.8302e-10 | 15.0232
318.031 | -5.6573e-10 | 15.0245
318.382 | -5.6457e-10 | 15.025
318.656 | -5.5618e-10 | 15.0247
318.932 | -5.682e-10 | 15.0249
319.283 | -5.8383e-10 | 15.0238
319.557 | -6.143e-10 | 15.0238
319.832 | -6.0941e-10 | 15.0238
320.18 | -6.1838e-10 | 15.0241
320.454 | -6.1454e-10 | 15.0241
320.802 | -6.1819e-10 | 15.0236
321.076 | -6.1724e-10 | 15.0237
321.401 | -6.0348e-10 | 15.0235
321.699 | -5.5318e-10 | 15.0232
321.948 | -5.5755e-10 | 15.0236
322.3 | -5.6277e-10 | 15.0223
322.574 | -5.9205e-10 | 15.0235
322.849 | -5.8373e-10 | 15.0237
323.2 | -5.5812e-10 | 15.0239
323.476 | -5.6992e-10 | 15.0235
323.751 | -5.9372e-10 | 15.0239
324.027 | -5.8424e-10 | 15.0239
324.376 | -6.1199e-10 | 15.0233
324.627 | -5.8525e-10 | 15.0239
324.977 | -5.8918e-10 | 15.0232
325.276 | -5.9778e-10 | 15.0232
325.552 | -6.3259e-10 | 15.023
325.903 | -6.5146e-10 | 15.0227