## Settings
Sample Info | so303, b8, run01
Sample Description
Major Measurement Parameters
Starting Temperature | 163.18
Initial Temperature | 81
Final Temperature | 320
Preliminary Voltage | 0
Pulse Voltage | 0.7
Pulse Time | 5
Measurement Voltage | -1
Subsidiary Measurement Parameters
Step | 0.5
Accuracy Step | 0.1
Accuracy Stable | 1
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 10
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 1
Measurecount | 1
время
Date | 20.9.2023
Time | 16:50:40

## Stabilization
Temperature | Current
163.275 | 2.711e-08
163.333 | 2.6906e-08
163.393 | 2.7273e-08
163.446 | 2.7418e-08
163.503 | 2.7072e-08
163.568 | 2.7308e-08
163.623 | 2.7683e-08
163.681 | 2.7664e-08
163.739 | 2.7726e-08
163.797 | 2.7789e-08
163.858 | 2.8055e-08
163.916 | 2.8129e-08
163.969 | 2.8048e-08
164.029 | 2.8113e-08
164.065 | 2.8325e-08
164.076 | 2.8195e-08
164.129 | 2.8645e-08
164.184 | 2.8203e-08
164.238 | 2.7955e-08
164.293 | 2.7914e-08
164.35 | 2.8007e-08
164.406 | 2.8351e-08
164.464 | 2.8466e-08
164.522 | 2.8347e-08
164.581 | 2.8332e-08
164.635 | 2.8467e-08
164.692 | 2.8466e-08
164.752 | 2.8607e-08
164.808 | 2.8298e-08
164.867 | 2.8412e-08
164.921 | 2.7754e-08
164.982 | 2.8092e-08
165.038 | 2.8024e-08
165.096 | 2.7775e-08
165.156 | 2.7984e-08
165.215 | 2.7977e-08
165.274 | 2.8129e-08
165.333 | 2.8e-08
165.393 | 2.8079e-08
165.452 | 2.7976e-08
165.506 | 2.8245e-08
165.565 | 2.8653e-08
165.625 | 2.9578e-08
165.682 | 3.0122e-08
165.744 | 3.1367e-08
165.803 | 3.1475e-08
165.862 | 3.1717e-08
165.924 | 3.1779e-08
165.918 | 3.157e-08
165.98 | 3.1335e-08
166.039 | 3.141e-08
166.096 | 3.185e-08
166.15 | 3.1944e-08
166.207 | 3.1684e-08
166.267 | 3.1383e-08
166.322 | 3.1362e-08
166.382 | 3.1331e-08
166.441 | 3.1473e-08
166.498 | 3.1945e-08
166.558 | 3.22e-08
166.616 | 3.2367e-08
166.674 | 3.1785e-08
166.731 | 3.2671e-08
166.789 | 3.2241e-08
166.848 | 3.2153e-08
166.907 | 3.2895e-08
166.963 | 3.3752e-08
167.021 | 3.3923e-08
167.079 | 3.4451e-08
167.138 | 3.4335e-08
167.195 | 3.4966e-08
167.253 | 3.5324e-08
167.311 | 3.5501e-08
167.369 | 3.6097e-08
167.425 | 3.61e-08
167.484 | 3.7295e-08
167.543 | 3.6598e-08
167.6 | 3.7265e-08
167.66 | 3.8618e-08
167.716 | 3.6782e-08
167.782 | 3.605e-08
167.84 | 3.7707e-08
167.9 | 3.6186e-08
167.96 | 3.6941e-08
168.019 | 3.7275e-08
168.078 | 3.7156e-08
168.136 | 3.8077e-08
168.192 | 3.7325e-08
168.252 | 3.7096e-08
168.308 | 3.616e-08
168.367 | 3.6171e-08
168.421 | 3.6289e-08
168.482 | 3.7001e-08
168.539 | 3.7334e-08
168.597 | 3.6959e-08
168.652 | 3.6849e-08
168.712 | 3.6086e-08
168.771 | 3.6542e-08
168.827 | 3.4927e-08
168.882 | 3.5081e-08
168.938 | 3.5202e-08
168.99 | 3.6326e-08
169.047 | 3.6291e-08
169.104 | 3.6916e-08
169.159 | 3.8209e-08
169.216 | 3.7964e-08
169.272 | 3.9573e-08
169.329 | 3.9951e-08
169.388 | 4.0571e-08
169.444 | 4.1076e-08
169.5 | 4.0916e-08
169.558 | 4.0622e-08
169.612 | 4.1105e-08
169.67 | 4.2746e-08
169.726 | 4.7038e-08
169.781 | 4.9567e-08
169.838 | 5.4654e-08
169.893 | 4.7373e-08
169.948 | 4.8054e-08
170.005 | 4.6804e-08
170.059 | 4.7497e-08
170.117 | 4.602e-08
170.171 | 4.4461e-08
170.226 | 4.467e-08
170.282 | 4.7683e-08
170.337 | 4.4525e-08
170.393 | 4.3408e-08
170.447 | 4.1794e-08
170.505 | 4.2453e-08
170.558 | 4.2569e-08
170.615 | 4.2459e-08
170.67 | 4.3616e-08
170.726 | 4.3698e-08
170.781 | 4.4821e-08
170.838 | 4.4729e-08
170.892 | 4.4488e-08
170.948 | 4.5207e-08
171.004 | 4.6045e-08
171.057 | 4.4369e-08
171.109 | 4.7424e-08
171.164 | 4.3172e-08
171.217 | 4.7205e-08
171.272 | 3.9779e-08
171.325 | 4.0517e-08
171.384 | 3.9668e-08
171.435 | 4.1153e-08
171.489 | 4.1429e-08
171.557 | 3.5878e-08
171.614 | 3.4769e-08
171.668 | 3.515e-08
171.721 | 3.5014e-08
171.775 | 3.4994e-08
171.826 | 3.3704e-08
171.881 | 3.3336e-08
171.933 | 3.373e-08
171.985 | 3.4002e-08
172.039 | 3.3165e-08
172.092 | 3.3089e-08
172.14 | 3.2895e-08
172.194 | 3.2615e-08
172.252 | 3.2491e-08
172.305 | 3.2433e-08
172.356 | 3.2416e-08
172.406 | 3.2395e-08
172.458 | 3.2362e-08
172.51 | 3.2578e-08
172.563 | 3.2307e-08
172.615 | 3.2428e-08
172.673 | 3.2484e-08
172.725 | 3.2755e-08
172.777 | 3.253e-08
172.83 | 3.2967e-08
172.882 | 3.2933e-08
172.933 | 3.2782e-08
172.985 | 3.318e-08
173.039 | 3.3603e-08
173.091 | 3.3577e-08
173.142 | 3.368e-08
173.193 | 3.4499e-08
173.246 | 3.4325e-08
173.297 | 3.4077e-08
173.35 | 3.376e-08
173.4 | 3.4153e-08
173.453 | 3.3789e-08
173.505 | 3.3947e-08
173.557 | 3.3889e-08
173.613 | 3.4235e-08
173.666 | 3.3359e-08
173.712 | 3.4706e-08
173.763 | 3.4397e-08
173.815 | 3.3892e-08
173.869 | 3.3786e-08
173.922 | 3.322e-08
173.975 | 3.2901e-08
174.028 | 3.3048e-08
174.104 | 1.1032e-07
174.156 | 1.137e-07
174.205 | 1.1082e-07
174.253 | 1.0706e-07
174.316 | 7.8156e-08
174.371 | 7.7205e-08
174.417 | 7.6027e-08
174.475 | 7.4217e-08
174.532 | 7.781e-08
174.587 | 8.0061e-08
174.644 | 7.5809e-08
174.678 | 7.7836e-08
174.718 | 7.3402e-08
174.773 | 7.1909e-08
174.774 | 7.0233e-08
174.77 | 7.0606e-08
174.367 | 7.2875e-08
174.139 | 7.1939e-08
173.948 | 7.3052e-08
173.508 | 7.2673e-08
173.402 | 7.1925e-08
173.013 | 7.2314e-08
172.452 | 5.2076e-08
172.166 | 6.3667e-08
171.903 | 6.3811e-08
171.495 | 6.5595e-08
171.241 | 6.3455e-08
171.112 | 6.2977e-08
171.016 | 6.2349e-08
170.942 | 6.1826e-08
170.903 | 6.1541e-08
170.883 | 6.1351e-08
170.868 | 6.2094e-08
170.865 | 6.0853e-08
170.869 | 6.0541e-08
170.873 | 6.0558e-08
170.882 | 5.8698e-08
170.892 | 5.8788e-08
170.905 | 5.8807e-08
170.918 | 5.7994e-08
170.93 | 5.789e-08
170.942 | 5.126e-08
170.952 | 6.5571e-08
170.964 | 8.7769e-08
170.978 | 1.379e-07
170.987 | 8.991e-08
170.996 | 7.845e-08
171 | 5.1935e-08
171.002 | 6.9829e-08
171.003 | 7.6331e-08
171.002 | 6.1967e-08
170.999 | 4.3672e-08
170.992 | 8.7829e-09
170.972 | 7.1014e-09
170.959 | 9.4691e-09
170.946 | 5.2314e-09
170.932 | 5.1776e-09
170.899 | 6.8306e-09
170.875 | 5.4682e-09
170.853 | 3.6725e-09
170.826 | 4.6225e-09
170.801 | 6.3986e-09
170.738 | 9.7127e-09
170.688 | 8.8384e-09
170.623 | 1.1498e-08
170.58 | 1.0794e-08
170.514 | 2.0741e-08
170.442 | 2.6649e-08
170.384 | 2.1635e-08
170.327 | 2.5112e-08
170.248 | 8.8021e-09
170.164 | 5.7244e-09
170.072 | 7.9665e-09
169.998 | 4.1435e-09
169.919 | 4.0846e-09
169.822 | 3.7811e-09
169.699 | 5.1734e-09
169.59 | 4.6517e-09
169.488 | 2.6907e-09
169.377 | 2.4788e-09
169.242 | 2.0845e-09
169.069 | 3.7107e-09
168.917 | 9.2598e-09
168.78 | 2.9112e-09
168.623 | 3.979e-09
168.384 | 4.8172e-09
168.143 | 4.2169e-09
167.963 | 4.5818e-09
167.633 | 5.4885e-08
167.315 | 1.806e-08
166.929 | 1.4302e-08
166.561 | 1.6532e-08
166.229 | 5.1845e-09
165.745 | 3.5495e-09
165.041 | 3.5806e-09
164.244 | 3.5586e-09
163.387 | 3.8133e-09
162.518 | 3.8017e-09
161.715 | 3.7543e-09
160.969 | 3.7889e-09
160.141 | 3.8577e-09
159.243 | 3.8874e-09
158.245 | 4.3127e-09
157.369 | 5.5089e-09
156.498 | 5.7555e-09
155.485 | 7.7928e-09
154.412 | 4.0404e-09
152.95 | 1.1799e-08
152.081 | 1.2313e-08
151.046 | 1.4055e-08
149.728 | 1.0508e-08
148.659 | 4.4609e-09
147.705 | 3.992e-09
146.752 | 3.9975e-09
145.559 | 5.6374e-09
143.485 | 2.1977e-07
141.697 | 1.7353e-08
140.281 | 1.3365e-08
138.909 | 1.1924e-08
137.55 | 1.1364e-08
136.308 | 7.4167e-09
135.411 | 7.1358e-09
134.76 | 7.4611e-09
134.284 | 5.1169e-09
133.905 | 4.1828e-09
133.256 | 2.4032e-09
132.471 | 1.9386e-09
131.665 | 1.797e-09
130.837 | 2.0732e-09
130.129 | 1.9717e-09
129.486 | 2.1207e-09
128.943 | 2.4237e-09
128.536 | 2.2954e-09
128.195 | 2.2271e-09
127.849 | 1.9636e-09
127.538 | 2.2368e-09
127.249 | 2.0051e-09
126.956 | 1.5516e-09
126.738 | 2.5442e-09
126.544 | 1.3481e-09
126.27 | 8.8822e-10
125.96 | 1.137e-09
125.627 | 1.1803e-09
125.377 | 1.397e-09
125.193 | 1.3174e-09
125.063 | 5.936e-10
124.94 | 2.3559e-10
124.751 | 6.2897e-10
124.542 | 3.3691e-10
124.355 | 3.9581e-10
124.177 | -1.3902e-12
124.023 | -1.0127e-11
123.888 | 1.5154e-11
123.798 | -4.12e-11
123.717 | -6.0899e-11
123.609 | -2.0337e-11
123.501 | -2.2492e-11
123.38 | -6.1516e-11
123.294 | -1.0714e-10
123.22 | -1.1826e-10
123.117 | -1.2985e-10
123.027 | -1.4155e-10
122.947 | -1.2412e-10
122.855 | -1.2473e-10
122.777 | -1.5393e-10
122.688 | -1.5909e-10
122.596 | -1.6687e-10
122.529 | -1.6498e-10
122.456 | -1.676e-10
122.387 | -1.4772e-10
122.315 | -1.6823e-10
122.235 | -1.7494e-10
122.164 | -1.7513e-10
122.095 | -1.7473e-10
122.027 | -1.6945e-10
121.952 | -1.7527e-10
121.842 | -1.7497e-10
121.768 | -1.7188e-10
121.698 | -1.7437e-10
121.627 | -1.7485e-10
121.554 | -1.7406e-10
121.478 | -1.7304e-10
121.409 | -1.71e-10
121.336 | -1.6979e-10
121.267 | -1.711e-10
121.19 | -1.5837e-10
121.116 | -1.6289e-10
121.049 | -1.6392e-10
120.983 | -1.6271e-10
120.913 | -1.6597e-10
120.841 | -2.0471e-11
120.759 | -1.5847e-10
120.667 | -1.4601e-10
120.576 | -1.4758e-10
120.512 | -1.4057e-10
120.444 | -1.3262e-10
120.386 | -1.5446e-10
120.322 | -1.4647e-10
120.235 | -1.3833e-10
120.069 | -1.404e-10
119.859 | -1.4189e-10
119.674 | -1.4961e-10
119.528 | -1.4863e-10
119.423 | -1.5e-10
119.331 | -1.4569e-10
119.229 | -1.4984e-10
119.127 | -1.5342e-10
119.005 | -1.4632e-10
118.89 | -1.4352e-10
118.739 | -1.4701e-10
118.624 | -1.5142e-10
118.525 | -1.4748e-10
118.457 | -1.5123e-10
118.383 | -1.515e-10
118.301 | -1.5862e-10
118.225 | -1.6191e-10
118.155 | -1.6141e-10
118.085 | -1.5456e-10
118.026 | -1.5618e-10
117.967 | -1.6056e-10
117.904 | -1.5929e-10
117.846 | -1.6345e-10
117.788 | -1.5855e-10
117.732 | -1.5516e-10
117.68 | -1.5127e-10
117.626 | -1.4899e-10
117.578 | -1.4729e-10
117.527 | -1.4772e-10
117.474 | -1.0626e-10
117.417 | -1.2124e-10
117.368 | -1.2221e-10
117.32 | -5.4504e-11
117.273 | -1.1715e-10
117.229 | -1.014e-10
117.184 | -1.256e-10
117.142 | -1.2435e-10
117.1 | -1.2084e-10
117.055 | -1.2252e-10
117.012 | -1.1701e-10
116.968 | -9.2566e-11
116.926 | -1.1627e-10
116.88 | -1.1194e-10
116.842 | -1.1815e-10
116.806 | -1.1491e-10
116.768 | -1.1758e-10
116.735 | -1.1789e-10
116.707 | -1.089e-10
116.677 | -1.0879e-10
116.647 | -1.102e-10
116.62 | -1.1296e-10
116.592 | -1.1857e-10
116.563 | -1.2289e-10
116.537 | -1.216e-10
116.513 | -1.2807e-10
116.491 | -1.2115e-10
116.47 | -1.3239e-10
116.449 | -1.3188e-10
116.429 | -1.5284e-10
116.411 | -1.5642e-10
116.393 | -1.3513e-10
116.373 | -1.4614e-10
116.352 | -1.5046e-10
116.334 | -1.4984e-10
116.318 | -1.3517e-10
116.303 | -1.3106e-10
116.291 | -1.3527e-10
116.279 | -1.3954e-10
116.266 | -1.532e-10
116.259 | -1.6999e-10
116.252 | -1.7462e-10
116.245 | -1.7445e-10
116.238 | -1.6725e-10
116.231 | -1.6782e-10
116.225 | -1.7614e-10
116.22 | -1.7114e-10
116.215 | -1.7229e-10
116.211 | -1.7512e-10
116.209 | -1.7679e-10
116.206 | -1.7321e-10
116.208 | -1.7472e-10
116.21 | -1.7752e-10
116.212 | -1.7725e-10
116.215 | -1.7647e-10
116.221 | -1.773e-10
116.228 | -1.7749e-10
116.237 | -1.7367e-10
116.246 | -1.7642e-10
116.256 | -1.7918e-10
116.267 | -1.7854e-10
116.277 | -1.7596e-10
116.288 | -1.8042e-10
116.302 | -1.8005e-10
116.313 | -1.7652e-10
116.326 | -1.8082e-10
116.34 | -1.8091e-10
116.352 | -1.7956e-10
116.367 | -1.8052e-10
116.382 | -1.8596e-10
116.402 | -1.8683e-10
116.42 | -1.8576e-10
116.44 | -1.8707e-10
116.457 | -1.8055e-10
116.48 | -1.8841e-10
116.504 | -1.8618e-10
116.526 | -1.8469e-10
116.553 | -1.919e-10
116.58 | -1.9016e-10
116.603 | -1.8917e-10
116.626 | -1.8889e-10
116.651 | -1.9081e-10
116.667 | -1.9026e-10
116.663 | -1.903e-10
116.415 | -1.907e-10
116.034 | -1.9108e-10
115.695 | -1.8723e-10
115.448 | -1.8918e-10
115.26 | -1.9097e-10
115.145 | 1.0504e-08
115.012 | 2.8419e-08
114.947 | 2.849e-08
114.904 | 2.8468e-08
114.865 | 2.8226e-08
114.832 | 2.823e-08
114.801 | 2.8421e-08
114.772 | 2.8416e-08
114.742 | 2.8538e-08
114.709 | 2.8399e-08
114.677 | 2.831e-08
114.648 | 2.8572e-08
114.617 | 2.8546e-08
114.592 | 2.863e-08
114.57 | 2.8522e-08
114.551 | 2.8418e-08
114.533 | 2.8705e-08
114.512 | 2.8651e-08
114.494 | 2.8418e-08
114.479 | 2.8538e-08
114.467 | 2.8537e-08
114.457 | 2.8556e-08
114.448 | 2.8616e-08
114.441 | 2.863e-08
114.431 | 2.8565e-08
114.424 | 2.8512e-08
114.416 | 2.856e-08
114.41 | 2.8621e-08
114.404 | 2.8747e-08
114.404 | 2.8613e-08
114.405 | 2.8697e-08
114.403 | 2.8597e-08
114.397 | 2.8701e-08
114.393 | 2.873e-08
114.387 | 2.8746e-08
114.38 | 2.8763e-08
114.375 | 2.8686e-08
114.373 | 2.8701e-08
114.373 | 2.8652e-08
114.374 | 2.8677e-08
114.38 | 2.8734e-08
114.38 | 2.8908e-08
114.384 | 2.8836e-08
114.389 | 2.8903e-08
114.393 | 2.8946e-08
114.398 | 2.9071e-08
114.406 | 2.8969e-08
114.417 | 2.9069e-08
114.429 | 2.9024e-08
114.444 | 2.9008e-08
114.456 | 2.8898e-08
114.469 | 2.8904e-08
114.481 | 2.8898e-08
114.495 | 2.8971e-08
114.511 | 2.8963e-08
114.524 | 2.9127e-08
114.543 | 2.9045e-08
114.564 | 2.9076e-08
114.582 | 2.9143e-08
114.6 | 2.9119e-08
114.617 | 2.9045e-08
114.636 | 2.8923e-08
114.656 | 2.9087e-08
114.68 | 2.8839e-08
114.702 | 2.8869e-08
114.727 | 2.8948e-08
114.753 | 2.8866e-08
114.776 | 2.8981e-08
114.799 | 2.9119e-08
114.812 | 2.9157e-08
114.638 | 2.9113e-08
113.993 | 2.8917e-08
113.042 | 2.9074e-08
111.918 | 2.8942e-08
110.733 | 2.8928e-08
109.54 | 2.9715e-08
108.568 | 2.9634e-08
107.76 | 2.9482e-08
107.105 | 2.9743e-08
106.493 | 2.9455e-08
106.235 | 2.9867e-08
106.062 | 2.992e-08
105.969 | 3.022e-08
105.836 | 3.0418e-08
105.346 | 3.0916e-08
104.884 | 3.4165e-08
104.561 | 3.284e-08
104.424 | 3.2318e-08
104.311 | 3.4097e-08
104.074 | 3.2025e-08
103.457 | -1.9035e-10
103.019 | -1.4745e-10
102.577 | -9.0522e-11
101.988 | 2.1659e-09
101.67 | 2.1866e-08
101.371 | 2.5386e-08
100.95 | 1.8679e-09
100.689 | 1.9369e-09
100.234 | 5.1591e-09
98.612 | 2.8013e-08
96.4387 | 4.5133e-07
95.1232 | 4.862e-07
93.9226 | 4.6185e-07
89.4427 | 2.6074e-07
86.3469 | 5.7074e-07
86.1352 | 5.3855e-07
84.716 | 5.8531e-07
82.7875 | 3.3857e-09
82.1295 | 3.3107e-09
81.6915 | 3.303e-09
81.3766 | 3.3182e-09
81.1577 | 3.3146e-09
81.0162 | 3.3075e-09
80.9352 | 5.2654e-09
80.9304 | 3.3002e-09
80.8959 | 3.3182e-09
80.8686 | 3.3883e-09
80.839 | 3.4871e-09
80.824 | 3.3954e-09

## Measurements
Temperature | Current
80.7333 | -1.1147e-08
81.0565 | -1.0284e-08
81.5726 | -9.5492e-09
82.0534 | -9.4846e-09
82.5609 | -9.4663e-09
83.1615 | -9.3265e-09
83.5935 | -9.2946e-09
84.0911 | -9.2879e-09
84.622 | -9.2854e-09
85.1502 | -9.2471e-09
85.6579 | -9.1347e-09
86.1409 | -8.8438e-09
86.696 | -4.1032e-08
87.1452 | -3.8302e-08
87.6392 | -3.5272e-08
88.2099 | -3.4139e-08
88.7554 | -3.7292e-08
89.2786 | -3.5112e-08
89.5478 | -3.676e-08
90.2819 | -2.5431e-08
90.5441 | -2.5066e-08
91.0617 | -1.9825e-08
91.6872 | -1.1773e-08
92.1309 | -1.0623e-08
92.6136 | -1.0631e-08
93.0455 | -1.0442e-08
93.6013 | -1.0462e-08
94.1109 | -1.035e-08
94.6524 | -1.0005e-08
95.159 | -1.0022e-08
95.5931 | -1.0023e-08
96.0752 | -9.9265e-09
96.5361 | -9.8245e-09
97.059 | -9.7773e-09
97.5655 | -9.715e-09
98.0766 | -9.4934e-09
98.5686 | -9.5132e-09
99.0557 | -9.6471e-09
99.5351 | -9.8475e-09
100.093 | -9.871e-09
100.55 | -9.9323e-09
101.057 | -1.0018e-08
101.595 | -9.8934e-09
102.072 | -9.8933e-09
102.554 | -1.043e-08
103.094 | -1.0449e-08
103.555 | -1.0451e-08
104.062 | -1.0721e-08
104.565 | -1.0728e-08
105.047 | -1.0779e-08
105.584 | -1.0746e-08
106.065 | -1.0755e-08
106.563 | -1.0702e-08
107.079 | -1.0767e-08
107.556 | -1.082e-08
108.052 | -1.0695e-08
108.569 | -1.068e-08
109.05 | -1.0708e-08
109.578 | -1.0701e-08
110.044 | -1.0686e-08
110.535 | -1.065e-08
111.051 | -1.0698e-08
111.554 | -1.0581e-08
112.08 | -1.0685e-08
112.559 | -1.0648e-08
113.073 | -1.0694e-08
113.588 | -1.0859e-08
114.048 | -1.0844e-08
114.535 | -1.0857e-08
115.072 | -1.0801e-08
115.538 | -1.0789e-08
116.045 | -1.0774e-08
116.583 | -1.078e-08
117.057 | -1.0744e-08
117.583 | -1.0736e-08
118.043 | -1.0683e-08
118.561 | -1.0694e-08
119.052 | -1.0677e-08
119.581 | -1.0652e-08
120.091 | -1.0605e-08
120.545 | -1.065e-08
121.066 | -1.0647e-08
121.571 | -1.0632e-08
122.042 | -1.0683e-08
122.56 | -1.062e-08
123.096 | -1.0599e-08
123.597 | -1.0646e-08
124.062 | -1.0593e-08
124.592 | -1.0559e-08
125.063 | -1.0569e-08
125.578 | -1.0577e-08
126.059 | -1.0688e-08
126.595 | -1.0346e-08
127.101 | -1.0321e-08
127.572 | -1.0203e-08
128.066 | -1.0192e-08
128.562 | -1.0193e-08
129.094 | -1.013e-08
129.577 | -9.8774e-09
130.074 | -9.5885e-09
130.541 | -9.5245e-09
131.064 | -9.503e-09
131.549 | -9.3958e-09
132.094 | -9.2888e-09
132.563 | -9.2105e-09
133.083 | -9.1491e-09
133.563 | -9.1498e-09
134.082 | -8.99e-09
134.551 | -8.9071e-09
135.065 | -8.8479e-09
135.562 | -8.6558e-09
136.08 | -8.6983e-09
136.591 | -8.7061e-09
137.071 | -8.7017e-09
137.577 | -8.7276e-09
138.081 | -8.7256e-09
138.542 | -8.7254e-09
139.083 | -8.7237e-09
139.552 | -8.7067e-09
140.054 | -8.5596e-09
140.567 | -8.6052e-09
141.066 | -8.5622e-09
141.569 | -8.6361e-09
142.052 | -8.6049e-09
142.553 | -8.6059e-09
143.059 | -8.5803e-09
143.581 | -8.4795e-09
144.073 | -8.5638e-09
144.545 | -8.499e-09
145.068 | -8.5689e-09
145.563 | -8.5566e-09
146.063 | -8.534e-09
146.574 | -8.5127e-09
147.044 | -8.5612e-09
147.534 | -8.7484e-09
148.099 | -9.259e-09
148.548 | -8.9074e-09
149.04 | -8.4938e-09
149.578 | -8.5121e-09
150.081 | -8.554e-09
150.554 | -8.5584e-09
151.055 | -8.5697e-09
151.562 | -8.6461e-09
152.064 | -8.6191e-09
152.542 | -7.888e-09
153.038 | -7.8756e-09
153.555 | -7.8607e-09
154.097 | -7.9195e-09
154.558 | -7.9094e-09
155.036 | -7.903e-09
155.558 | -7.9369e-09
156.091 | -7.9862e-09
156.599 | -7.9983e-09
157.043 | -8.02e-09
157.563 | -8.0187e-09
158.073 | -8.09e-09
158.546 | -8.0532e-09
159.059 | -8.0797e-09
159.558 | -8.1526e-09
160.056 | -8.1695e-09
160.566 | -8.2473e-09
161.057 | -8.2529e-09
161.579 | -8.3232e-09
162.036 | -8.3678e-09
162.558 | -8.4103e-09
163.075 | -8.6003e-09
163.581 | -8.4894e-09
164.062 | -8.638e-09
164.562 | -8.8474e-09
165.058 | -9.0513e-09
165.576 | -9.0673e-09
166.081 | -9.5414e-09
166.556 | -9.5783e-09
167.086 | -9.2838e-09
167.555 | -9.2284e-09
168.067 | -9.9263e-09
168.581 | -8.5136e-09
169.082 | -8.5635e-09
169.557 | -8.5994e-09
170.038 | -8.6642e-09
170.593 | -8.6917e-09
171.055 | -8.5974e-09
171.578 | -8.6274e-09
172.046 | -8.6347e-09
172.554 | -8.5973e-09
173.077 | -8.702e-09
173.569 | -8.6602e-09
174.072 | -8.6618e-09
174.574 | -8.8828e-09
175.079 | -9.073e-09
175.602 | -1.0863e-08
176.077 | -1.5436e-08
176.582 | -8.732e-09
177.061 | -9.0866e-09
177.557 | -8.3964e-09
178.072 | -2.8946e-09
178.595 | -9.9496e-09
179.048 | -1.2053e-08
179.538 | -9.3455e-09
180.034 | -8.0387e-09
180.544 | -3.7097e-09
181.055 | -2.5707e-10
181.56 | -1.984e-10
182.074 | -2.0441e-10
182.572 | -2.1041e-10
183.053 | -2.0242e-10
183.573 | -2.7062e-10
184.083 | -2.8705e-10
184.577 | -2.8251e-10
185.057 | -2.21e-10
185.551 | -2.9547e-10
186.059 | -5.7068e-10
186.578 | -3.6205e-10
187.077 | -2.6347e-09
187.542 | -1.1167e-09
188.057 | -2.7194e-09
188.56 | -1.0766e-08
189.078 | -1.0542e-08
189.593 | -1.0197e-08
190.043 | -1.0372e-08
190.559 | -1.0743e-08
191.059 | -1.0399e-08
191.564 | -1.0473e-08
192.085 | -1.0576e-08
192.535 | -1.0572e-08
193.036 | -1.0502e-08
193.552 | -8.9677e-08
194.05 | -1.8004e-08
194.554 | -1.515e-08
195.066 | -1.5178e-08
195.594 | -1.5876e-08
196.074 | -1.4829e-08
196.594 | -1.4381e-08
197.047 | -1.5452e-08
197.562 | -1.4341e-08
198.06 | -1.3786e-08
198.574 | -1.3356e-08
199.034 | -1.3054e-08
199.55 | -1.3531e-08
200.05 | -2.4893e-08
200.552 | -3.0373e-08
201.088 | -2.8015e-08
201.54 | -3.1105e-08
202.054 | -2.944e-08
202.555 | -2.5425e-08
203.055 | -2.7546e-08
203.571 | -1.7097e-08
204.071 | -2.3671e-08
204.59 | -2.0253e-08
205.042 | -1.489e-08
205.56 | -1.9295e-08
206.061 | -8.0115e-09
206.545 | -1.8199e-08
207.061 | -1.1854e-08
207.562 | -1.9481e-08
208.063 | -1.8316e-08
208.563 | -2.4913e-08
209.066 | -3.3273e-08
209.584 | -3.5975e-08
210.038 | -3.2885e-08
210.555 | -3.1415e-08
211.069 | -2.9071e-08
211.565 | -2.6346e-08
212.065 | -4.0676e-08
212.579 | -5.3304e-08
213.078 | -4.0581e-08
213.54 | -3.3415e-08
214.035 | -2.2348e-08
214.599 | -3.2309e-08
215.05 | -4.2765e-08
215.553 | -3.6267e-08
216.068 | -2.3875e-08
216.567 | -6.0726e-08
217.077 | -2.1013e-08
217.546 | -3.2715e-08
218.037 | -4.5995e-08
218.56 | -7.9513e-08
219.065 | -6.6932e-08
219.574 | -3.1959e-08
220.068 | -4.3305e-08
220.539 | -5.4665e-08
221.057 | -6.0194e-08
221.572 | -3.0167e-08
222.083 | -2.6192e-08
222.589 | -1.9297e-08
223.044 | -1.9321e-08
223.563 | -2.0498e-08
224.067 | -1.4938e-08
224.534 | -1.0861e-08
225.053 | -7.5146e-09
225.567 | -1.0389e-08
226.081 | -1.5872e-08
226.548 | -9.614e-09
227.098 | -8.2868e-09
227.546 | -7.1213e-09
228.06 | -5.711e-09
228.552 | -6.8755e-09
229.064 | -5.9888e-09
229.562 | -5.2607e-09
230.063 | -1.6797e-08
230.579 | -1.396e-08
231.048 | -1.8372e-08
231.565 | -5.7891e-09
232.037 | -4.174e-09
232.554 | -6.0102e-09
233.072 | -4.7651e-09
233.573 | -3.4346e-09
234.04 | -3.2199e-09
234.558 | -2.76e-09
235.041 | -4.8837e-09
235.542 | -7.3118e-09
236.062 | -6.9897e-09
236.564 | -8.0928e-09
237.083 | -6.5587e-09
237.551 | -6.2871e-09
238.051 | -9.7482e-09
238.551 | -2.7787e-08
239.066 | -7.0301e-08
239.589 | -9.6691e-08
240.102 | -7.4656e-08
240.578 | -1.3503e-07
241.065 | -1.9196e-07
241.553 | -1.3591e-07
242.047 | -2.0522e-07
242.592 | -3.8722e-07
243.067 | -1.7059e-07
243.542 | -1.0705e-07
244.073 | -8.897e-08
244.572 | -5.8391e-08
245.068 | -9.1524e-08
245.534 | -6.5719e-08
246.108 | -5.1627e-08
246.562 | -8.016e-08
247.079 | -4.799e-08
247.563 | -3.2656e-08
248.083 | -3.1209e-08
248.577 | -2.3373e-08
249.074 | -1.9609e-08
249.556 | -1.7031e-08
250.06 | -2.5859e-08
250.561 | -2.9742e-08
251.076 | -8.7791e-09
251.546 | -9.217e-09
252.067 | -1.0363e-08
252.575 | -1.2434e-08
253.072 | -1.1108e-08
253.543 | -1.1593e-08
254.065 | -1.1571e-08
254.56 | -1.1099e-08
255.06 | -1.2148e-08
255.546 | -1.1537e-08
256.053 | -1.1693e-08
256.559 | -1.191e-08
257.054 | -1.1714e-08
257.568 | -1.1405e-08
258.081 | -1.1998e-08
258.548 | -1.3671e-08
259.062 | -1.3384e-08
259.579 | -1.3566e-08
260.079 | -1.3863e-08
260.547 | -1.3502e-08
261.048 | -1.4057e-08
261.56 | -1.5047e-08
262.06 | -1.4473e-08
262.575 | -1.5465e-08
263.042 | -1.5539e-08
263.56 | -1.4784e-08
264.061 | -1.6602e-08
264.578 | -1.8062e-08
265.081 | -1.8596e-08
265.581 | -1.6748e-08
266.1 | -1.8613e-08
266.551 | -1.8383e-08
267.069 | -2.0543e-08
267.569 | -2.0877e-08
268.038 | -1.88e-08
268.554 | -2.0387e-08
269.072 | -2.0398e-08
269.572 | -2.0431e-08
270.071 | -2.0633e-08
270.54 | -2.0921e-08
271.039 | -2.2138e-08
271.555 | -2.3388e-08
272.071 | -2.4324e-08
272.573 | -2.4344e-08
273.073 | -2.3886e-08
273.589 | -2.3657e-08
274.039 | -2.5538e-08
274.555 | -2.5024e-08
275.073 | -2.5709e-08
275.555 | -2.5719e-08
276.055 | -2.7097e-08
276.574 | -2.7654e-08
277.073 | -2.7585e-08
277.59 | -2.8353e-08
278.056 | -2.7615e-08
278.557 | -2.816e-08
279.072 | -2.5695e-08
279.566 | -2.4896e-08
280.081 | -2.5602e-08
280.595 | -2.6585e-08
281.061 | -2.6608e-08
281.561 | -2.7095e-08
282.045 | -2.6924e-08
282.58 | -2.7634e-08
283.08 | -2.7411e-08
283.598 | -2.8367e-08
284.048 | -2.826e-08
284.567 | -2.8057e-08
285.083 | -2.9042e-08
285.534 | -2.9148e-08
286.035 | -2.9594e-08
286.553 | -3.0335e-08
287.054 | -3.1587e-08
287.553 | -3.2832e-08
288.07 | -3.2402e-08
288.536 | -3.3245e-08
289.037 | -3.2687e-08
289.555 | -3.2433e-08
290.055 | -3.2495e-08
290.555 | -3.295e-08
291.07 | -3.2926e-08
291.572 | -3.455e-08
292.071 | -3.5369e-08
292.537 | -3.6385e-08
293.054 | -3.6481e-08
293.571 | -3.673e-08
294.088 | -3.7038e-08
294.556 | -3.7854e-08
295.056 | -3.892e-08
295.572 | -3.9014e-08
296.038 | -4.0351e-08
296.555 | -4.1346e-08
297.054 | -4.1747e-08
297.571 | -4.2299e-08
298.071 | -4.2554e-08
298.539 | -4.4124e-08
299.05 | -4.3545e-08
299.547 | -4.6711e-08
300.062 | -4.9837e-08
300.562 | -5.4262e-08
301.079 | -6.2138e-08
301.58 | -6.0612e-08
302.097 | -5.9137e-08
302.565 | -6.2669e-08
303.066 | -6.2968e-08
303.534 | -6.3921e-08
304.035 | -6.6581e-08
304.553 | -6.8634e-08
305.052 | -6.9482e-08
305.57 | -6.9882e-08
306.071 | -6.8906e-08
306.589 | -7.1752e-08
307.04 | -7.4023e-08
307.556 | -7.6529e-08
308.073 | -6.515e-08
308.573 | -6.5548e-08
309.09 | -6.5701e-08
309.539 | -6.7992e-08
310.056 | -6.798e-08
310.557 | -7.0202e-08
311.072 | -6.8821e-08
311.589 | -6.9559e-08
312.056 | -7.6816e-08
312.555 | -7.3324e-08
313.074 | -7.3362e-08
313.572 | -7.4569e-08
314.039 | -7.5036e-08
314.556 | -8.2335e-08
315.056 | -8.0826e-08
315.604 | -8.3962e-08
316.054 | -8.3188e-08
316.555 | -9.0991e-08
317.071 | -9.8081e-08
317.538 | -9.066e-08
318.055 | -8.7812e-08
318.554 | -9.3809e-08
319.071 | -9.5108e-08
319.57 | -1.0375e-07
320.037 | -1.0307e-07