## Settings
Sample Info | so303, b8, run02
Sample Description | +0.3/+0.7/-1.0 V
Major Measurement Parameters
Starting Temperature | 301.341
Initial Temperature | 81
Final Temperature | 320
Preliminary Voltage | 0.3
Pulse Voltage | 0.7
Pulse Time | 5
Measurement Voltage | -1
Subsidiary Measurement Parameters
Step | 0.5
Accuracy Step | 0.1
Accuracy Stable | 1
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 10
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 3
Measurecount | 1
время
Date | 20.9.2023
Time | 17:37:7

## Stabilization
Temperature | Current
300.221 | 1.9246e-07
299.816 | 1.9375e-07
299.436 | 2.0014e-07
299.123 | 2.0754e-07
298.736 | 2.1856e-07
298.231 | 2.4485e-07
297.93 | 2.4885e-07
297.58 | 2.3523e-07
297.052 | 2.4543e-07
296.629 | 2.6482e-07
296.226 | 2.663e-07
295.725 | 2.6976e-07
295.338 | 2.7973e-07
294.94 | 2.9522e-07
294.504 | 3.0312e-07
294.027 | 3.1762e-07
293.704 | 3.3601e-07
293.316 | 3.4504e-07
292.998 | 3.3518e-07
292.643 | 3.3553e-07
292.355 | 3.2778e-07
292.114 | 3.3761e-07
291.811 | 3.0233e-07
291.475 | 2.4308e-07
290.903 | 2.3148e-07
290.606 | 2.3412e-07
290.276 | 2.5581e-07
289.887 | 3.0096e-07
289.596 | 3.0806e-07
289.171 | 2.6113e-07
288.805 | 2.2216e-07
288.456 | 2.1806e-07
288.191 | 2.2498e-07
287.805 | 1.9638e-07
287.374 | 2.0384e-07
287.091 | 1.9868e-07
286.73 | 2.1446e-07
286.361 | 2.2559e-07
286.023 | 2.2265e-07
285.792 | 2.2886e-07
285.542 | 2.2419e-07
285.079 | 2.1919e-07
284.788 | 2.5582e-07
284.561 | 2.1648e-07
284.192 | 2.0923e-07
283.975 | 2.0694e-07
283.609 | 2.074e-07
283.318 | 2.2188e-07
283.013 | 2.4529e-07
282.678 | 1.9507e-07
282.386 | 1.9752e-07
282.106 | 1.9313e-07
281.787 | 1.9677e-07
281.488 | 1.949e-07
281.205 | 1.9963e-07
280.978 | 1.9831e-07
280.709 | 1.8134e-07
280.53 | 1.7408e-07
280.102 | 1.7766e-07
279.852 | 1.7958e-07
279.549 | 1.8189e-07
278.875 | 1.8724e-07
278.272 | 1.8667e-07
277.517 | 1.8287e-07
277.031 | 2.0872e-07
276.311 | 2.1306e-07
275.924 | 1.891e-07
275.552 | 1.7709e-07
275.205 | 1.7834e-07
274.781 | 1.8643e-07
274.517 | 1.8229e-07
274.18 | 1.9246e-07
273.817 | 2.0146e-07
273.504 | 1.8312e-07
273.296 | 1.83e-07
272.929 | 1.8594e-07
272.691 | 1.867e-07
272.456 | 1.93e-07
272.215 | 1.9161e-07
272.027 | 1.8846e-07
271.606 | 1.8838e-07
271.398 | 1.8934e-07
271.237 | 1.9192e-07
271.079 | 1.9404e-07
270.855 | 1.9469e-07
270.474 | 1.965e-07
270.264 | 1.9398e-07
270.035 | 1.9492e-07
269.814 | 1.956e-07
269.618 | 1.9713e-07
269.282 | 1.9684e-07
269.029 | 1.9864e-07
268.787 | 1.9987e-07
268.585 | 1.9988e-07
268.43 | 2.0097e-07
268.046 | 2.0223e-07
267.836 | 2.0259e-07
267.637 | 2.0551e-07
267.459 | 2.045e-07
267.229 | 2.0512e-07
267.09 | 2.0532e-07
266.95 | 2.0595e-07
266.772 | 2.0542e-07
266.511 | 2.0842e-07
266.377 | 2.1001e-07
266.035 | 2.1103e-07
265.729 | 2.1267e-07
265.505 | 2.1515e-07
265.321 | 2.1466e-07
264.974 | 2.1373e-07
264.617 | 2.1593e-07
264.44 | 2.1416e-07
264.272 | 2.1557e-07
263.97 | 2.1706e-07
263.657 | 2.1731e-07
263.398 | 2.1648e-07
263.174 | 2.1713e-07
263.003 | 2.1712e-07
262.729 | 2.1775e-07
262.541 | 2.1971e-07
262.382 | 2.1848e-07
262.236 | 2.1933e-07
262.137 | 2.1916e-07
262.01 | 2.198e-07
261.814 | 2.1862e-07
261.561 | 2.203e-07
261.38 | 2.2017e-07
261.168 | 2.1972e-07
260.942 | 2.2007e-07
260.744 | 2.2124e-07
260.623 | 2.2141e-07
260.541 | 2.2108e-07
260.466 | 2.229e-07
260.22 | 2.2282e-07
260.045 | 2.2348e-07
259.874 | 2.2335e-07
259.659 | 2.2401e-07
259.4 | 2.2543e-07
259.227 | 2.233e-07
259.03 | 2.2322e-07
258.713 | 2.2443e-07
258.543 | 2.2571e-07
258.339 | 2.2718e-07
258.159 | 2.251e-07
257.967 | 2.2378e-07
257.746 | 2.2752e-07
257.611 | 2.272e-07
257.529 | 2.2745e-07
257.388 | 2.2942e-07
257.249 | 2.2908e-07
257.137 | 2.3033e-07
257.049 | 2.2943e-07
256.889 | 2.3048e-07
256.777 | 2.2887e-07
256.607 | 2.2995e-07
256.367 | 2.3027e-07
256.152 | 2.2951e-07
256.066 | 2.3305e-07
255.88 | 2.3127e-07
255.229 | 2.3456e-07
254.848 | 2.3535e-07
254.422 | 2.5826e-07
254.038 | 2.2654e-07
253.664 | 2.2956e-07
253.256 | 2.3224e-07
252.662 | 2.3577e-07
252.33 | 2.4338e-07
251.908 | 2.5577e-07
251.661 | 3.003e-07
251.252 | 2.9792e-07
250.982 | 2.8749e-07
250.684 | 2.7784e-07
250.27 | 2.5418e-07
250.019 | 2.8952e-07
249.788 | 2.8944e-07
249.472 | 3.1233e-07
249.279 | 2.945e-07
249.059 | 3.0563e-07
248.909 | 3.0635e-07
248.496 | 3.0644e-07
247.875 | 2.9613e-07
247.473 | 3.4814e-07
246.938 | 4.1396e-07
246.553 | 4.0375e-07
246.233 | 3.7449e-07
245.916 | 3.6034e-07
245.615 | 3.554e-07
245.387 | 3.8142e-07
245.204 | 3.5569e-07
244.586 | 3.5286e-07
244.043 | 3.4023e-07
243.317 | 3.0844e-07
242.636 | 3.2252e-07
242.205 | 3.0733e-07
241.768 | 4.5415e-07
241.424 | 3.3718e-07
240.902 | 3.6725e-07
240.524 | 2.9299e-07
239.902 | 2.776e-07
239.521 | 3.1559e-07
238.984 | 2.8386e-07
238.6 | 2.7597e-07
238.163 | 2.9547e-07
237.871 | 3.0024e-07
237.591 | 2.926e-07
237.135 | 2.961e-07
236.881 | 2.9438e-07
236.379 | 2.9382e-07
236.164 | 2.9676e-07
235.773 | 2.9643e-07
235.489 | 2.9924e-07
235.199 | 3.0202e-07
234.939 | 2.9643e-07
234.74 | 3.005e-07
234.384 | 2.9733e-07
234.177 | 2.9906e-07
233.795 | 2.9956e-07
233.555 | 3.0108e-07
232.981 | 2.9675e-07
232.716 | 2.9911e-07
232.507 | 3.0153e-07
232.317 | 2.9995e-07
232.069 | 3.012e-07
231.935 | 3.0262e-07
231.829 | 2.9983e-07
231.653 | 3.0284e-07
231.453 | 3.0124e-07
231.258 | 2.9932e-07
231.087 | 2.9677e-07
230.654 | 3.0025e-07
230.359 | 3.0014e-07
229.851 | 2.9945e-07
229.506 | 2.9983e-07
229.308 | 2.9778e-07
229.124 | 2.9878e-07
228.969 | 2.9865e-07
228.848 | 2.9518e-07
228.709 | 2.9583e-07
228.281 | 2.977e-07
228.116 | 2.9962e-07
227.655 | 3.0293e-07
227.392 | 2.994e-07
227.26 | 3.0436e-07
227.132 | 3.0531e-07
227.044 | 3.0612e-07
226.904 | 3.0514e-07
226.44 | 3.0801e-07
226.268 | 3.0549e-07
225.991 | 3.0443e-07
225.828 | 3.06e-07
225.749 | 3.0368e-07
225.682 | 3.0701e-07
225.629 | 3.0532e-07
225.578 | 3.0475e-07
225.536 | 3.0221e-07
225.374 | 3.0217e-07
225.258 | 3.0562e-07
224.999 | 3.0997e-07
224.683 | 3.0927e-07
224.578 | 3.0528e-07
224.286 | 3.0864e-07
224.199 | 3.1051e-07
224.056 | 3.0748e-07
224.003 | 3.1021e-07
223.918 | 3.1374e-07
223.78 | 3.1178e-07
223.748 | 3.267e-07
223.713 | 3.3635e-07
223.49 | 3.3966e-07
223.438 | 3.2294e-07
223.201 | 3.1992e-07
223.095 | 3.331e-07
222.802 | 3.206e-07
222.595 | 3.2178e-07
222.358 | 3.4972e-07
221.897 | 3.5057e-07
221.728 | 3.5603e-07
221.083 | 3.5522e-07
220.713 | 3.5739e-07
220.356 | 3.5571e-07
219.868 | 3.5764e-07
219.625 | 3.5256e-07
219.216 | 3.5341e-07
219.024 | 3.5539e-07
218.897 | 3.5605e-07
218.763 | 3.6049e-07
218.451 | 3.5802e-07
218.282 | 3.5939e-07
218.12 | 3.8058e-07
217.664 | 3.6874e-07
217.54 | 3.6281e-07
217.36 | 3.479e-07
217.112 | 3.615e-07
217.026 | 3.9484e-07
216.922 | 4.0466e-07
216.692 | 4.3494e-07
216.609 | 5.1016e-07
216.513 | 5.6618e-07
216.335 | 7.3215e-07
216.239 | 6.968e-07
215.891 | 7.0615e-07
215.78 | 7.2038e-07
215.697 | 8.8863e-07
215.213 | 5.8514e-07
215.074 | 5.7173e-07
214.969 | 6.9499e-07
214.842 | 5.1241e-07
214.716 | 5.4369e-07
214.598 | 5.2008e-07
214.482 | 5.4687e-07
214.32 | 4.6231e-07
214.15 | 4.4643e-07
213.968 | 4.5194e-07
213.682 | 4.6116e-07
213.498 | 4.5904e-07
213.35 | 4.6147e-07
213.144 | 3.8489e-07
212.956 | 4.0356e-07
212.778 | 4.7149e-07
212.536 | 4.915e-07
212.229 | 3.8034e-07
212.01 | 4.5992e-07
211.726 | 6.7448e-07
211.407 | 1.0498e-06
211.161 | 1.0248e-06
210.778 | 1.21e-06
210.563 | 1.3485e-06
210.318 | 1.5543e-06
210.077 | 1.74e-06
209.866 | 1.8917e-06
209.541 | 1.9508e-06
209.145 | 1.5194e-06
208.637 | 1.7369e-06
208.101 | 1.2047e-06
207.627 | 1.1584e-06
207.1 | 1.0893e-06
206.425 | 9.4687e-07
205.876 | 1.0311e-06
205.447 | 1.0106e-06
205.077 | 1.0478e-06
204.472 | 1.0986e-06
204.086 | 1.1611e-06
203.704 | 1.0056e-06
203.251 | 8.9198e-07
202.901 | 9.497e-07
202.544 | 9.9652e-07
201.945 | 1.0064e-06
201.472 | 9.9163e-07
201.075 | 9.7269e-07
200.56 | 1.0017e-06
199.945 | 9.4914e-07
198.739 | 9.6673e-07
197.771 | 9.0169e-07
197.119 | 8.6537e-07
196.401 | 7.1939e-07
195.786 | 6.5675e-07
195.281 | 6.7777e-07
194.802 | 6.4775e-07
194.357 | 6.6762e-07
193.889 | 6.3338e-07
193.435 | 6.5978e-07
192.994 | 6.5588e-07
192.509 | 6.5333e-07
192.057 | 6.5315e-07
191.575 | 6.5939e-07
191.12 | 6.4768e-07
190.589 | 6.5329e-07
190.143 | 6.5368e-07
189.698 | 6.5375e-07
189.262 | 6.6218e-07
188.856 | 6.5298e-07
188.411 | 6.6038e-07
187.946 | 6.6024e-07
187.329 | 6.7202e-07
186.613 | 7.0137e-07
185.908 | 6.9458e-07
185.249 | 7.193e-07
184.669 | 6.983e-07
183.861 | 6.776e-07
183.082 | 7.1326e-07
182.292 | 8.7159e-07
181.551 | 8.8053e-07
180.257 | 1.2243e-06
178.529 | 1.2671e-06
177.424 | 8.8681e-07
176.673 | 9.2307e-07
175.846 | 7.6319e-07
175.006 | 9.7017e-07
174.124 | 8.211e-07
172.905 | 1.0038e-06
172.255 | 1.1043e-06
171.211 | 7.654e-07
170.411 | 7.5903e-07
169.558 | 6.0483e-07
168.711 | 6.1498e-07
167.911 | 8.7175e-07
167.079 | 1.0456e-06
165.661 | 2.5431e-06
164.276 | 1.1637e-05
163.169 | 3.9951e-06
162.376 | 2.9262e-06
161.723 | 3.1808e-06
161.116 | 2.5102e-06
160.516 | 2.3037e-06
159.898 | 2.1424e-06
159.269 | 2.0859e-06
158.569 | 2.2648e-06
157.892 | 2.302e-06
157.221 | 2.3063e-06
156.571 | 2.3822e-06
155.993 | 2.3385e-06
155.527 | 2.0067e-06
155.11 | 2.2862e-06
154.682 | 2.24e-06
154.218 | 2.2031e-06
153.661 | 2.0968e-06
153.104 | 2.6276e-06
152.557 | 1.2026e-06
152.002 | 9.9946e-06
151.55 | 9.6595e-06
151.059 | 9.9864e-06
150.566 | 9.8693e-06
150.016 | 9.7674e-06
149.456 | 9.6614e-06
148.931 | 9.7324e-06
148.425 | 9.7069e-06
147.956 | 9.6691e-06
147.44 | 9.6629e-06
146.894 | 9.6416e-06
146.408 | 9.7068e-06
145.879 | 9.6474e-06
145.249 | 9.693e-06
144.543 | 9.2811e-06
143.791 | 9.1084e-06
143.043 | 8.9049e-06
142.33 | 8.8222e-06
141.647 | 9.1727e-06
140.944 | 8.8863e-06
140.202 | 8.8716e-06
139.505 | 5.0223e-06
138.826 | 4.1222e-06
138.204 | 6.077e-06
137.551 | 7.1113e-06
136.865 | 6.0712e-06
136.194 | 5.7817e-06
135.64 | 4.9213e-06
135.052 | 4.7828e-06
134.472 | 4.5912e-06
133.835 | 4.4431e-06
133.22 | 4.4144e-06
132.512 | 4.2639e-06
131.834 | 4.2361e-06
131.155 | 4.3168e-06
130.645 | 4.1913e-06
130.188 | 4.1881e-06
129.8 | 4.2667e-06
129.46 | 4.3398e-06
129.156 | 4.2645e-06
128.876 | 4.3498e-06
128.625 | 4.4154e-06
128.389 | 4.4533e-06
128.166 | 4.0931e-06
127.928 | 3.8355e-06
127.692 | 3.6166e-06
127.442 | 3.6123e-06
127.088 | 3.3722e-06
126.706 | 3.337e-06
126.301 | 3.2722e-06
125.771 | 3.351e-06
125.117 | 3.3102e-06
124.563 | 3.3241e-06
124 | 3.3507e-06
123.52 | 3.3819e-06
123.102 | 3.2693e-06
122.631 | 3.3743e-06
122.121 | 3.3128e-06
121.5 | 3.494e-06
120.961 | 3.5987e-06
120.424 | 3.8629e-06
119.855 | 4.7188e-06
119.387 | 3.0795e-06
118.934 | 2.9666e-06
118.479 | 2.9918e-06
118.039 | 4.6413e-06
117.559 | 3.9133e-06
116.954 | 1.1114e-06
116.144 | 8.7517e-07
115.669 | 5.1434e-07
115.213 | 2.967e-07
114.861 | 3.2584e-07
114.549 | 2.9611e-07
114.296 | 8.2962e-07
114.104 | 3.8255e-07
113.961 | 4.0436e-07
113.843 | 4.5566e-07
113.743 | 4.3215e-07
113.648 | 3.9621e-07
113.565 | 3.7621e-07
113.478 | 1.3238e-07
113.371 | 7.5642e-09
113.322 | 6.0745e-09
113.281 | 4.1046e-09
113.247 | 9.2039e-09
113.216 | 1.428e-10
113.193 | 8.4021e-10
113.174 | 9.4294e-10
113.163 | 2.6087e-09
113.158 | 2.6464e-09
113.162 | 3.7816e-08
113.168 | 5.775e-08
113.1 | 1.5003e-07
112.921 | 2.2343e-07
112.639 | 2.8555e-07
112.228 | 3.0794e-07
111.908 | 3.0754e-07
111.472 | 4.6184e-07
110.847 | 2.1369e-07
110.275 | 1.3183e-07
109.646 | 3.405e-07
109.041 | 9.5433e-07
108.552 | 3.7712e-07
108.148 | 1.8332e-07
107.705 | 4.3069e-08
107.349 | 6.3539e-08
106.958 | 4.9661e-08
105.997 | 6.8129e-08
105.55 | 1.4276e-07
105.14 | 1.4877e-07
104.727 | 1.4297e-07
104.374 | 2.0601e-07
103.994 | 1.751e-07
103.483 | 1.7893e-07
102.911 | 1.8654e-07
102.292 | 1.4726e-07
101.703 | 5.0746e-08
101.381 | 1.2891e-08
101.073 | 1.2776e-08
100.345 | 2.317e-07
99.8955 | 2.2745e-07
99.1924 | 2.2906e-07
98.571 | 1.9802e-07
97.9396 | 2.3195e-07
97.4904 | 2.3606e-07
97.1482 | 2.2852e-07
96.8748 | 2.2604e-07
96.6846 | 2.2764e-07
96.5799 | 2.2877e-07
96.5225 | 2.3011e-07
96.4809 | 2.3044e-07
96.4391 | 2.2791e-07
96.4125 | 2.2971e-07
96.289 | 2.3006e-07
96.076 | 2.2841e-07
95.9258 | 2.2791e-07
95.7981 | 2.2717e-07
95.6799 | 2.2739e-07
95.5638 | 2.2668e-07
95.4696 | 2.2788e-07
95.3902 | 2.2798e-07
95.3677 | 2.2981e-07
95.3686 | 2.3048e-07
95.3907 | 2.2958e-07
95.4225 | 2.305e-07
95.4454 | 2.3105e-07
95.4547 | 2.3059e-07
95.4848 | 2.307e-07
95.5138 | 2.3001e-07
95.5288 | 2.3048e-07
95.5523 | 2.2925e-07
95.5773 | 2.2957e-07
95.6114 | 2.2893e-07
95.6557 | 2.3087e-07
95.7072 | 2.2956e-07
95.7556 | 2.3094e-07
95.8009 | 2.3086e-07
95.8592 | 2.2995e-07
95.925 | 2.3001e-07
95.9987 | 2.3025e-07
96.0825 | 2.3116e-07
96.1753 | 2.3174e-07
96.2686 | 2.3302e-07
96.3681 | 2.3356e-07
96.4694 | 2.3454e-07
96.5651 | 2.3526e-07
96.6592 | 2.359e-07
96.7379 | 2.3357e-07
96.7779 | 2.3177e-07
96.8393 | 2.3122e-07
96.8901 | 2.3133e-07
96.9724 | 2.3271e-07
97.02 | 2.323e-07
97.0431 | 2.3205e-07
97.1051 | 2.3342e-07
97.1748 | 2.3426e-07
97.2061 | 2.3444e-07
97.2758 | 2.341e-07
97.3423 | 2.3301e-07
97.4292 | 2.3344e-07
97.5211 | 2.3363e-07
97.6212 | 2.3353e-07
97.7211 | 2.3393e-07
97.8286 | 2.3175e-07
97.9385 | 2.3156e-07
98.0535 | 2.3329e-07
98.1708 | 2.3424e-07
98.2936 | 2.352e-07
98.4188 | 2.3481e-07
98.546 | 2.3522e-07
98.6752 | 2.3489e-07
98.7962 | 2.3231e-07
98.9308 | 2.3371e-07
99.0612 | 2.348e-07
99.1921 | 2.3453e-07
99.3252 | 2.3665e-07
99.4579 | 2.3543e-07
99.598 | 2.372e-07
99.7289 | 2.3588e-07
99.8598 | 2.352e-07
99.9911 | 2.353e-07
100.118 | 2.3538e-07
100.245 | 2.3449e-07
100.375 | 2.3711e-07
100.502 | 2.3436e-07
100.631 | 2.3312e-07
100.756 | 2.3659e-07
100.889 | 2.3678e-07
100.914 | 2.3673e-07
100.748 | 2.353e-07
100.64 | 2.3612e-07
100.661 | 2.3477e-07
100.747 | 2.341e-07
100.828 | 2.3531e-07
100.888 | 2.3432e-07
100.857 | 2.3576e-07
100.683 | 2.3563e-07
100.304 | 2.3562e-07
100.093 | 2.3437e-07
100.161 | 2.3387e-07
100.216 | 2.3442e-07
100.26 | 2.3604e-07
100.303 | 2.3631e-07
100.306 | 2.385e-07
100.331 | 2.3813e-07
100.371 | 2.3773e-07
100.414 | 2.3725e-07
100.444 | 2.3985e-07
100.48 | 2.38e-07
100.516 | 2.4084e-07
100.552 | 2.4279e-07
100.594 | 2.4069e-07
100.631 | 2.4179e-07
100.663 | 2.4365e-07
100.656 | 2.4464e-07
100.569 | 2.4611e-07
100.561 | 2.5152e-07
100.599 | 2.536e-07
100.646 | 2.545e-07
100.682 | 2.5712e-07
100.654 | 2.5383e-07
100.628 | 2.5646e-07
100.647 | 2.5992e-07
100.683 | 2.5968e-07
100.724 | 2.5712e-07
100.76 | 2.5528e-07
100.799 | 2.5843e-07
100.815 | 2.6451e-07
100.834 | 2.6748e-07
100.852 | 2.5379e-07
100.882 | 2.5455e-07
100.913 | 2.4087e-07
100.941 | 2.4122e-07
100.914 | 2.399e-07
100.891 | 2.3922e-07
100.914 | 2.4015e-07
100.946 | 2.4032e-07
100.979 | 2.3914e-07
101.013 | 2.4148e-07
100.901 | 2.393e-07
99.8955 | 2.4336e-07
98.3763 | 2.4254e-07
96.3492 | 2.4146e-07
93.2002 | 2.4347e-07
89.7662 | 2.4288e-07
87.6495 | 2.4299e-07
85.9096 | 2.4107e-07
85.3849 | 2.4274e-07
85.3129 | 2.4189e-07
85.3101 | 2.4261e-07
85.3392 | 2.4341e-07
85.388 | 2.417e-07
85.5023 | 2.4338e-07
85.6199 | 2.4328e-07
85.7642 | 2.4348e-07
85.93 | 2.4384e-07
86.0963 | 2.4567e-07
86.1997 | 2.4761e-07
85.8688 | 2.4605e-07
84.4679 | 2.4486e-07
83.8505 | 2.4497e-07
83.6949 | 2.4593e-07
83.7785 | 2.4569e-07
83.8876 | 2.4637e-07
83.7353 | 2.4728e-07
82.5097 | 2.4589e-07
81.8434 | 2.47e-07
81.1938 | 2.4721e-07
80.8867 | 2.4748e-07
80.7202 | 2.4859e-07
80.5677 | 2.493e-07
80.4877 | 2.5068e-07
80.4599 | 2.4955e-07
80.468 | 2.6e-07
80.4743 | 3.0701e-07
80.4753 | 3.0808e-07

## Measurements
Temperature | Current
80.5658 | -8.788e-08
80.8696 | -3.5183e-08
81.4006 | -3.1358e-08
81.8857 | -2.6059e-08
82.4876 | -2.6841e-08
82.9317 | -2.645e-08
83.4444 | -2.5856e-08
83.9247 | -2.6026e-08
84.4496 | -2.379e-08
84.9994 | -2.3927e-08
85.5224 | -2.3821e-08
85.9994 | -2.6361e-08
86.3923 | -2.2948e-08
86.9695 | -2.2798e-08
87.4683 | -2.2816e-08
87.9634 | -2.2382e-08
88.4384 | -2.2332e-08
88.8965 | -2.2325e-08
89.4348 | -2.2139e-08
89.8963 | -2.187e-08
90.4626 | -2.1757e-08
90.9064 | -2.17e-08
91.6254 | -2.1509e-08
92.23 | -2.1545e-08
94.7022 | -2.1438e-08
95.9345 | -2.1408e-08
96.461 | -2.1417e-08
96.9194 | -2.1403e-08
97.421 | -2.2091e-08
97.9195 | -2.1426e-08
98.4239 | -2.1624e-08
98.8815 | -2.175e-08
99.3777 | -2.6716e-08
99.8978 | -3.2047e-08
100.417 | -2.3164e-08
100.873 | -2.7134e-08
101.383 | -3.0433e-08
101.878 | -3.0564e-08
102.404 | -6.2982e-08
102.888 | -3.7744e-08
103.424 | -3.285e-08
103.877 | -3.5963e-08
104.378 | -3.2828e-08
104.875 | -1.2977e-08
105.373 | -4.5689e-08
105.901 | -4.4927e-08
106.4 | -4.4082e-08
106.901 | -4.2604e-08
107.419 | -4.2852e-08
107.888 | -4.2381e-08
108.412 | -4.3189e-08
108.919 | -4.2991e-08
109.39 | -4.4098e-08
109.894 | -4.6944e-08
110.407 | -5.8011e-08
110.899 | -7.3222e-08
111.408 | -2.586e-07
111.886 | -2.5993e-07
112.409 | -2.0803e-07
112.877 | -1.731e-07
113.396 | -1.3366e-07
113.892 | -1.3983e-07
114.412 | -1.3619e-07
114.9 | -1.3472e-07
115.422 | -1.335e-07
115.914 | -1.2702e-07
116.382 | -1.0444e-07
116.908 | -1.0445e-07
117.37 | -1.0308e-07
117.91 | -1.0176e-07
118.37 | -1.0176e-07
118.916 | -1.0197e-07
119.413 | -1.0419e-07
119.905 | -1.045e-07
120.404 | -1.0307e-07
120.898 | -1.0298e-07
121.389 | -1.033e-07
121.874 | -1.0417e-07
122.384 | -1.0404e-07
122.914 | -1.0162e-07
123.409 | -1.0191e-07
123.892 | -1.022e-07
124.376 | -1.0213e-07
124.922 | -1.0136e-07
125.404 | -1.0192e-07
125.903 | -1.0173e-07
126.382 | -1.0238e-07
126.888 | -1.0457e-07
127.375 | -1.0615e-07
127.91 | -1.3169e-07
128.385 | -1.2381e-07
128.934 | -1.0272e-07
129.385 | -2.5801e-07
129.887 | -2.5613e-07
130.404 | -2.2574e-07
130.884 | -1.3705e-07
131.404 | -9.762e-08
131.895 | -1.7162e-07
132.392 | -1.5675e-07
132.887 | -2.7553e-07
133.416 | -3.7369e-07
133.908 | -3.0113e-07
134.401 | -2.6897e-07
134.869 | -3.1949e-07
135.415 | -4.783e-07
135.934 | -4.4118e-07
136.401 | -9.8311e-07
136.889 | -7.8903e-07
137.403 | -5.0668e-07
137.897 | -1.6563e-07
138.397 | -1.3226e-07
138.905 | -1.1434e-07
139.405 | -1.1023e-07
139.886 | -1.2007e-07
140.417 | -6.419e-08
140.904 | -4.3421e-08
141.416 | -3.8723e-08
141.903 | -4.0147e-08
142.392 | -3.5907e-08
142.928 | -5.3415e-08
143.409 | -5.7904e-08
143.912 | -2.6532e-08
144.395 | -2.6437e-08
144.889 | -2.6152e-08
145.369 | -3.3216e-08
145.911 | -2.63e-08
146.414 | -2.7402e-08
146.895 | -2.5978e-08
147.384 | -2.5533e-08
147.886 | -2.5735e-08
148.411 | -2.5493e-08
148.926 | -2.6289e-08
149.403 | -2.7454e-08
149.889 | -3.1278e-08
150.416 | -3.1937e-08
150.917 | -4.4093e-08
151.41 | -4.071e-08
151.886 | -3.7156e-08
152.411 | -4.0879e-08
152.867 | -6.5364e-08
153.383 | -4.3668e-08
153.928 | -3.0984e-08
154.413 | -3.4068e-08
154.925 | -5.654e-08
155.389 | -2.6898e-08
155.87 | -2.7465e-08
156.37 | -2.7816e-08
156.875 | -6.4572e-08
157.407 | -5.9161e-08
157.915 | -2.8028e-08
158.387 | -3.1403e-08
158.93 | -2.7593e-08
159.417 | -2.6925e-08
159.888 | -2.6718e-08
160.411 | -2.7016e-08
160.908 | -2.7522e-08
161.427 | -3.4061e-08
161.911 | -3.1056e-08
162.414 | -2.9909e-08
162.893 | -3.0631e-08
163.413 | -3.2465e-08
163.917 | -2.5591e-08
164.377 | -2.5756e-08
164.91 | -2.6836e-08
165.375 | -2.9699e-08
165.891 | -3.0996e-08
166.394 | -2.8515e-08
166.918 | -2.8559e-08
167.396 | -2.911e-08
167.896 | -2.9587e-08
168.386 | -3.1544e-08
168.901 | -3.0924e-08
169.384 | -4.0855e-08
169.899 | -7.0658e-08
170.402 | -8.219e-08
170.877 | -5.525e-08
171.385 | -5.1473e-08
171.911 | -5.6443e-08
172.407 | -4.0387e-08
172.898 | -4.345e-08
173.395 | -4.364e-08
173.89 | -4.4096e-08
174.422 | -5.9411e-08
174.91 | -3.6273e-08
175.414 | -3.1061e-08
175.889 | -3.1075e-08
176.405 | -2.9771e-08
176.896 | -3.0061e-08
177.414 | -2.9519e-08
177.894 | -3.0253e-08
178.367 | -2.9806e-08
178.898 | -2.9167e-08
179.389 | -3.0004e-08
179.907 | -3.1752e-08
180.397 | -3.3672e-08
180.883 | -3.5654e-08
181.385 | -3.7235e-08
181.898 | -4.0842e-08
182.396 | -3.7726e-08
182.906 | -3.9682e-08
183.404 | -3.9666e-08
183.9 | -4.1285e-08
184.399 | -3.8615e-08
184.902 | -4.7034e-08
185.399 | -4.5439e-08
185.914 | -4.5559e-08
186.411 | -4.89e-08
186.928 | -4.8985e-08
187.412 | -5.1e-08
187.903 | -4.4712e-08
188.42 | -3.9383e-08
188.898 | -3.4783e-08
189.374 | -5.9528e-08
189.912 | -3.0888e-08
190.372 | -3.0874e-08
190.898 | -3.0853e-08
191.418 | -3.0238e-08
191.909 | -3.0103e-08
192.403 | -3.0395e-08
192.891 | -3.0207e-08
193.367 | -3.005e-08
193.867 | -3.0013e-08
194.408 | -3.0116e-08
194.918 | -3.0221e-08
195.394 | -2.8928e-08
195.888 | -2.8782e-08
196.383 | -2.8731e-08
196.893 | -2.9128e-08
197.399 | -2.9923e-08
197.917 | -3.0245e-08
198.41 | -3.0504e-08
198.901 | -3.0453e-08
199.387 | -3.0144e-08
199.871 | -2.9684e-08
200.384 | -2.9092e-08
200.913 | -2.9722e-08
201.402 | -3.0012e-08
201.919 | -2.9713e-08
202.369 | -2.9535e-08
202.87 | -2.9521e-08
203.392 | -2.97e-08
203.891 | -2.9626e-08
204.409 | -2.9813e-08
204.883 | -2.9806e-08
205.393 | -2.9957e-08
205.884 | -2.9994e-08
206.384 | -3.7626e-08
206.888 | -5.3968e-08
207.407 | -4.1091e-08
207.878 | -3.4318e-08
208.393 | -4.2225e-08
208.89 | -4.3559e-08
209.41 | -4.615e-08
209.912 | -7.1688e-08
210.395 | -5.0735e-08
210.89 | -4.9195e-08
211.38 | -4.4271e-08
211.876 | -4.287e-08
212.41 | -4.3262e-08
212.907 | -4.5013e-08
213.386 | -4.2461e-08
213.883 | -3.5335e-08
214.374 | -5.6829e-08
214.887 | -3.4322e-08
215.383 | -3.2248e-08
215.879 | -3.2011e-08
216.394 | -3.2703e-08
216.915 | -3.2608e-08
217.393 | -3.342e-08
217.913 | -4.2196e-08
218.373 | -3.2631e-08
218.899 | -3.2512e-08
219.401 | -3.3178e-08
219.891 | -3.2753e-08
220.388 | -3.3053e-08
220.885 | -3.3644e-08
221.374 | -4.6324e-08
221.87 | -3.1631e-08
222.416 | -3.2415e-08
222.928 | -3.2008e-08
223.427 | -3.7473e-08
223.882 | -3.2015e-08
224.387 | -3.2048e-08
224.911 | -3.2105e-08
225.375 | -3.2257e-08
225.888 | -3.2262e-08
226.418 | -3.2308e-08
226.902 | -3.2516e-08
227.368 | -3.2487e-08
227.878 | -3.2562e-08
228.427 | -3.2716e-08
228.887 | -3.2714e-08
229.386 | -3.2848e-08
229.897 | -3.2795e-08
230.407 | -3.2891e-08
230.882 | -3.2942e-08
231.389 | -3.3238e-08
231.903 | -3.3224e-08
232.411 | -3.3181e-08
232.897 | -3.3393e-08
233.379 | -3.3371e-08
233.907 | -3.3508e-08
234.404 | -3.3562e-08
234.892 | -3.3557e-08
235.39 | -3.3797e-08
235.907 | -3.3946e-08
236.416 | -3.4076e-08
236.899 | -3.4126e-08
237.392 | -3.406e-08
237.921 | -3.4133e-08
238.446 | -3.423e-08
238.917 | -3.4369e-08
239.399 | -3.4364e-08
239.889 | -3.4458e-08
240.412 | -3.4507e-08
240.895 | -3.4774e-08
241.393 | -3.4922e-08
241.883 | -3.5275e-08
242.411 | -3.5782e-08
242.892 | -3.6052e-08
243.375 | -3.6231e-08
243.906 | -3.6324e-08
244.391 | -3.6191e-08
244.881 | -3.6023e-08
245.378 | -3.6085e-08
245.897 | -3.6188e-08
246.406 | -3.625e-08
246.873 | -3.6251e-08
247.407 | -3.6229e-08
247.896 | -3.6312e-08
248.372 | -3.652e-08
248.914 | -3.6398e-08
249.397 | -4.0147e-08
249.895 | -4.1143e-08
250.375 | -4.5171e-08
250.929 | -4.2819e-08
251.411 | -3.9723e-08
251.929 | -1.0944e-06
252.38 | -1.1285e-06
252.914 | -1.381e-07
253.414 | -3.6539e-08
253.867 | -3.6625e-08
254.419 | -3.7278e-08
254.903 | -3.7122e-08
255.403 | -3.9027e-08
255.887 | -4.0657e-08
256.373 | -4.2771e-08
256.923 | -4.2318e-08
257.407 | -4.2373e-08
257.891 | -4.2623e-08
258.391 | -4.3763e-08
258.925 | -4.3902e-08
259.408 | -4.3829e-08
259.906 | -4.3584e-08
260.392 | -4.4214e-08
260.89 | -4.5352e-08
261.421 | -4.5902e-08
261.9 | -4.8416e-08
262.381 | -4.5396e-08
262.929 | -4.5766e-08
263.411 | -4.6431e-08
263.898 | -4.6146e-08
264.383 | -4.6789e-08
264.915 | -5.4716e-08
265.383 | -5.3948e-08
265.883 | -8.266e-08
266.384 | -8.0224e-08
266.868 | -1.3149e-07
267.369 | -1.8675e-07
267.918 | -2.0559e-07
268.404 | -2.3808e-07
268.888 | -2.7335e-07
269.385 | -2.9078e-07
269.872 | -3.322e-07
270.422 | -4.3313e-07
270.907 | -4.496e-07
271.39 | -5.2109e-07
271.888 | -5.495e-07
272.373 | -4.9023e-07
272.872 | -5.5099e-07
273.405 | -5.8388e-07
273.905 | -5.9493e-07
274.405 | -6.3125e-07
274.889 | -6.3602e-07
275.389 | -6.1069e-07
275.873 | -6.7862e-07
276.405 | -6.0605e-07
276.905 | -6.7199e-07
277.387 | -6.7718e-07
277.872 | -7.5777e-07
278.422 | -8.238e-07
278.872 | -8.6479e-07
279.418 | -9.0253e-07
279.899 | -8.4132e-07
280.379 | -8.9787e-07
280.912 | -9.6327e-07
281.412 | -1.1175e-06
281.912 | -1.3741e-06
282.396 | -1.4372e-06
282.897 | -1.3383e-06
283.382 | -1.5309e-06
283.931 | -1.548e-06
284.384 | -1.6859e-06
284.867 | -1.7879e-06
285.401 | -1.7299e-06
285.902 | -1.693e-06
286.404 | -1.774e-06
286.887 | -1.8309e-06
287.387 | -2.2051e-06
287.886 | -2.2029e-06
288.42 | -2.2386e-06
288.904 | -2.2555e-06
289.405 | -2.5907e-06
289.886 | -2.7243e-06
290.371 | -2.8691e-06
290.922 | -2.8497e-06
291.405 | -2.988e-06
291.903 | -3.1687e-06
292.388 | -3.2299e-06
292.871 | -3.3346e-06
293.42 | -3.8182e-06
293.905 | -3.7699e-06
294.388 | -3.9464e-06
294.888 | -3.7974e-06
295.421 | -3.7241e-06
295.903 | -3.9755e-06
296.404 | -4.5765e-06
296.904 | -4.4991e-06
297.388 | -4.226e-06
297.887 | -3.9708e-06
298.372 | -4.1709e-06
298.918 | -4.4274e-06
299.396 | -3.972e-06
299.878 | -3.7555e-06
300.411 | -4.4459e-06
300.911 | -4.0445e-06
301.397 | -3.46e-06
301.897 | -3.4895e-06
302.38 | -3.5825e-06
302.882 | -3.4665e-06
303.415 | -3.8198e-06
303.867 | -4.097e-06
304.419 | -3.7261e-06
304.902 | -4.3053e-06
305.403 | -4.3482e-06
305.868 | -4.5573e-06
306.405 | -3.3555e-06
306.904 | -3.3221e-06
307.388 | -3.7031e-06
307.89 | -3.6154e-06
308.373 | -3.6132e-06
308.925 | -3.8424e-06
309.409 | -4.4304e-06
309.892 | -3.8809e-06
310.393 | -3.5879e-06
310.876 | -3.8966e-06
311.409 | -4.2294e-06
311.909 | -4.7117e-06
312.392 | -4.7508e-06
312.892 | -4.5847e-06
313.376 | -4.363e-06
313.943 | -4.8242e-06
314.426 | -4.7912e-06
314.909 | -5.1341e-06
315.409 | -5.4009e-06
315.892 | -5.5894e-06
316.391 | -5.567e-06
316.873 | -5.4274e-06
317.391 | -6.17e-06
317.873 | -5.6869e-06
318.391 | -5.9366e-06
318.872 | -6.3243e-06
319.39 | -6.1886e-06
319.89 | -6.8073e-06