## Settings
Sample Info | so303, b8, run03
Sample Description | -1.0/+0.7/-1.0 V
Major Measurement Parameters
Starting Temperature | 292.289
Initial Temperature | 81
Final Temperature | 320
Preliminary Voltage | -1
Pulse Voltage | 0.7
Pulse Time | 5
Measurement Voltage | -1
Subsidiary Measurement Parameters
Step | 0.3
Accuracy Step | 0.1
Accuracy Stable | 0.5
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 10
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 3
Measurecount | 1
время
Date | 20.9.2023
Time | 18:25:22

## Stabilization
Temperature | Current
291.269 | -1.0159e-07
290.637 | -1.0388e-07
289.966 | -9.7704e-08
289.397 | -1.0001e-07
288.825 | -9.9305e-08
288.325 | -1.0111e-07
287.682 | -1.0199e-07
287.205 | -1.0444e-07
286.728 | -9.8698e-08
286.039 | -9.9841e-08
285.556 | -9.6104e-08
284.967 | -9.5734e-08
284.456 | -9.6402e-08
283.996 | -9.4453e-08
283.444 | -9.4097e-08
282.982 | -9.452e-08
282.493 | -9.6395e-08
281.89 | -9.9036e-08
281.439 | -9.7522e-08
280.965 | -9.7179e-08
280.388 | -9.697e-08
279.969 | -9.6821e-08
279.545 | -9.5868e-08
278.975 | -9.2883e-08
278.517 | -8.9727e-08
278.099 | -8.8548e-08
277.592 | -8.8896e-08
277.095 | -8.8291e-08
276.702 | -8.9013e-08
276.365 | -8.868e-08
275.894 | -8.9861e-08
275.413 | -8.8724e-08
274.831 | -9.3652e-08
274.386 | -9.4941e-08
273.916 | -9.0991e-08
273.268 | -9.2476e-08
272.789 | -9.1289e-08
272.341 | -8.9856e-08
271.729 | -8.7596e-08
271.31 | -9.0135e-08
270.82 | -9.1584e-08
270.415 | -8.68e-08
269.951 | -8.7711e-08
269.525 | -8.7025e-08
269.041 | -8.7881e-08
268.485 | -8.8705e-08
268.051 | -8.4297e-08
267.598 | -8.5734e-08
267.142 | -8.9365e-08
266.731 | -8.8634e-08
266.41 | -8.5436e-08
265.985 | -8.3817e-08
265.467 | -8.4448e-08
264.996 | -8.4215e-08
264.568 | -8.4905e-08
264.215 | -8.5737e-08
263.947 | -8.1176e-08
263.633 | -8.0882e-08
263.148 | -8.0541e-08
262.846 | -7.8265e-08
262.509 | -7.7915e-08
262.118 | -7.5864e-08
261.6 | -7.4959e-08
261.219 | -7.4956e-08
260.875 | -7.4364e-08
260.575 | -7.3918e-08
260.142 | -7.3423e-08
259.687 | -7.3097e-08
259.227 | -7.0977e-08
258.781 | -7.0722e-08
258.406 | -6.987e-08
257.951 | -6.6841e-08
257.453 | -6.6457e-08
257.095 | -6.6415e-08
256.629 | -6.8546e-08
256.202 | -6.7544e-08
255.836 | -6.5572e-08
255.31 | -6.5155e-08
254.931 | -6.4801e-08
254.553 | -6.4599e-08
253.989 | -6.4159e-08
253.642 | -6.4091e-08
253.312 | -6.4394e-08
252.876 | -6.3984e-08
252.377 | -6.3854e-08
252.022 | -6.3795e-08
251.554 | -6.3175e-08
251.06 | -6.1863e-08
250.669 | -6.4113e-08
250.143 | -6.6049e-08
249.768 | -6.3272e-08
249.423 | -6.215e-08
248.859 | -6.4254e-08
248.523 | -6.3526e-08
248.205 | -6.2121e-08
247.652 | -6.3112e-08
247.067 | -1.5504e-07
246.548 | -1.3623e-07
246.191 | -6.7969e-07
245.396 | -1.0247e-06
245.088 | -1.3544e-06
244.713 | -1.9732e-06
244.19 | -5.494e-07
243.818 | -1.6566e-07
243.245 | -5.7283e-08
242.899 | -5.6294e-08
242.431 | -5.6079e-08
242.069 | -5.5831e-08
241.641 | -5.6359e-08
241.158 | -9.7157e-08
240.854 | -6.0535e-08
240.556 | -5.9452e-08
240.187 | -5.9439e-08
239.714 | -5.9521e-08
239.424 | -6.0147e-08
239.204 | -1.0407e-07
238.64 | -5.0554e-07
238.297 | -2.0181e-07
237.698 | -5.8654e-08
237.345 | -1.0439e-07
237.011 | -5.6732e-08
236.618 | -5.693e-08
236.233 | -5.733e-08
235.872 | -5.5206e-08
235.557 | -5.4838e-08
235.205 | -5.4747e-08
234.926 | -5.4426e-08
234.519 | -5.4223e-08
234.288 | -5.4197e-08
233.891 | -5.4126e-08
233.561 | -5.4199e-08
233.141 | -5.4292e-08
232.796 | -5.3786e-08
232.481 | -5.333e-08
231.936 | -5.2816e-08
231.592 | -5.2426e-08
231.322 | -5.2202e-08
230.926 | -5.1931e-08
230.623 | -5.1744e-08
230.334 | -5.1661e-08
229.933 | -5.1234e-08
229.702 | -5.1028e-08
229.477 | -5.0947e-08
229.034 | -5.069e-08
228.806 | -5.0592e-08
228.581 | -5.0519e-08
228.181 | -5.0461e-08
227.902 | -5.0056e-08
227.501 | -5.0149e-08
227.22 | -4.9897e-08
226.985 | -4.9836e-08
226.667 | -4.9809e-08
226.312 | -4.945e-08
225.894 | -4.9353e-08
225.681 | -4.9073e-08
225.482 | -4.8943e-08
225.308 | -4.8939e-08
225.083 | -4.8946e-08
224.87 | -4.8883e-08
224.752 | -4.8746e-08
224.671 | -4.8506e-08
224.609 | -4.8597e-08
224.556 | -4.8565e-08
224.515 | -4.84e-08
224.491 | -4.8257e-08
224.456 | -4.8084e-08
224.445 | -4.7906e-08
224.341 | -4.785e-08
224.147 | -4.7673e-08
223.833 | -4.7576e-08
223.731 | -4.763e-08
223.635 | -4.7441e-08
223.546 | -4.7394e-08
223.426 | -4.7267e-08
223.155 | -4.712e-08
223.084 | -4.6916e-08
223.022 | -4.6814e-08
222.89 | -4.6748e-08
222.865 | -4.6643e-08
222.859 | -4.644e-08
222.844 | -4.6231e-08
222.802 | -4.6062e-08
222.809 | -4.594e-08
222.768 | -4.5962e-08
222.775 | -4.5687e-08
222.721 | -4.5584e-08
222.689 | -4.545e-08
222.646 | -4.5313e-08
222.653 | -4.5108e-08
222.671 | -4.5013e-08
222.572 | -4.4943e-08
222.568 | -4.4853e-08
222.461 | -4.4698e-08
222.463 | -4.4513e-08
222.461 | -4.4508e-08
222.435 | -4.4371e-08
222.32 | -4.4261e-08
222.324 | -4.4172e-08
222.313 | -4.4129e-08
222.329 | -4.4042e-08
222.343 | -4.3873e-08
222.356 | -4.3775e-08
222.372 | -4.3573e-08
222.389 | -4.3481e-08
222.404 | -4.3465e-08
222.421 | -4.3335e-08
222.439 | -4.329e-08
222.454 | -4.3138e-08
222.471 | -4.3112e-08
222.416 | -4.2891e-08
222.186 | -4.2863e-08
222.173 | -4.2702e-08
222.163 | -4.2642e-08
222.165 | -4.2437e-08
222.172 | -4.2405e-08
222.174 | -4.2316e-08
221.991 | -4.2188e-08
221.978 | -4.2096e-08
221.875 | -4.1935e-08
221.873 | -4.1989e-08
221.881 | -4.1819e-08
221.894 | -4.1794e-08
221.906 | -4.1745e-08
221.914 | -4.1654e-08
221.919 | -4.1469e-08
221.665 | -4.1512e-08
221.124 | -4.1318e-08
220.878 | -4.1134e-08
220.532 | -4.1056e-08
220.343 | -4.0975e-08
220.175 | -4.0892e-08
220.022 | -4.0936e-08
219.896 | -4.0793e-08
219.51 | -4.072e-08
219.261 | -4.0596e-08
218.624 | -4.0487e-08
218.331 | -4.0294e-08
218.137 | -4.031e-08
217.95 | -4.0098e-08
217.786 | -4.0066e-08
217.633 | -3.9917e-08
217.52 | -3.9929e-08
217.344 | -3.9732e-08
217.184 | -3.9637e-08
216.848 | -3.959e-08
216.793 | -3.9412e-08
216.503 | -3.9354e-08
216.451 | -3.9271e-08
216.42 | -3.9159e-08
216.242 | -3.9126e-08
216.201 | -3.9024e-08
216.105 | -3.8977e-08
216.092 | -3.8853e-08
216.094 | -3.8799e-08
216.003 | -3.8733e-08
216.005 | -3.8531e-08
215.998 | -3.8505e-08
215.969 | -3.7714e-08
215.632 | -3.7768e-08
215.565 | -3.7643e-08
215.528 | -3.7615e-08
215.496 | -3.7568e-08
215.475 | -3.7546e-08
215.459 | -3.7418e-08
215.448 | -3.7348e-08
215.415 | -3.7324e-08
215.342 | -3.7253e-08
215.346 | -3.7147e-08
215.346 | -3.7002e-08
215.347 | -3.6989e-08
215.347 | -3.6993e-08
215.346 | -3.691e-08
215.346 | -3.6847e-08
215.331 | -3.6785e-08
215.331 | -3.6732e-08
215.331 | -3.6593e-08
215.308 | -3.646e-08
215.267 | -3.6451e-08
215.262 | -3.6373e-08
215.253 | -3.6287e-08
214.964 | -3.6218e-08
214.914 | -3.6152e-08
214.907 | -3.6096e-08
214.89 | -3.6047e-08
214.881 | -3.6112e-08
214.848 | -3.6141e-08
214.695 | -3.6149e-08
214.684 | -3.6279e-08
214.673 | -3.6275e-08
214.661 | -3.6017e-08
214.649 | -3.5787e-08
214.631 | -3.5885e-08
214.585 | -3.5897e-08
214.568 | -3.5784e-08
214.548 | -3.5567e-08
214.309 | -3.763e-08
214.224 | -3.8288e-08
214.204 | -3.8569e-08
214.181 | -3.8599e-08
214.158 | -3.837e-08
214.088 | -3.9668e-08
214.051 | -3.8173e-08
213.808 | -3.7346e-08
213.758 | -3.7148e-08
213.736 | -3.7533e-08
213.708 | -3.7449e-08
213.68 | -3.7841e-08
213.653 | -3.7693e-08
213.623 | -3.8496e-08
213.592 | -3.9225e-08
213.558 | -3.8562e-08
213.509 | -4.1495e-08
213.447 | -4.1314e-08
213.228 | -4.2599e-08
213.18 | -4.3448e-08
213.147 | -4.3614e-08
213.111 | -4.5379e-08
213.076 | -4.5739e-08
213.034 | -4.7601e-08
212.997 | -5.1191e-08
212.955 | -4.9963e-08
212.902 | -4.8334e-08
212.793 | -4.9758e-08
212.751 | -4.9206e-08
212.707 | -4.9698e-08
212.668 | -4.8724e-08
212.614 | -4.846e-08
212.479 | -4.96e-08
212.394 | -4.879e-08
212.326 | -4.937e-08
212.249 | -5.0585e-08
212.032 | -5.0579e-08
211.96 | -5.163e-08
211.897 | -4.923e-08
211.833 | -4.8513e-08
211.76 | -4.7401e-08
211.686 | -4.8511e-08
211.613 | -4.8619e-08
211.538 | -4.7406e-08
211.458 | -4.7913e-08
211.379 | -4.7093e-08
211.295 | -4.7925e-08
211.21 | -4.7463e-08
211.122 | -4.9448e-08
211.033 | -5.0921e-08
210.948 | -5.162e-08
210.853 | -4.9577e-08
210.75 | -4.8089e-08
210.63 | -4.7745e-08
210.521 | -4.9106e-08
210.37 | -4.6785e-08
210.228 | -4.2755e-08
209.816 | -4.2779e-08
209.558 | -4.2651e-08
209.406 | -4.3063e-08
209.236 | -4.3294e-08
209.057 | -4.2307e-08
208.911 | -4.344e-08
208.775 | -4.3456e-08
208.626 | -4.2702e-08
208.465 | -4.1741e-08
208.293 | -4.1137e-08
208.107 | -4.0811e-08
207.911 | -4.0994e-08
207.637 | -4.0794e-08
207.437 | -4.0826e-08
207.266 | -4.1029e-08
207.099 | -4.1093e-08
206.915 | -4.1187e-08
206.702 | -4.1108e-08
206.467 | -4.1179e-08
206.231 | -4.2913e-08
206.028 | -4.209e-08
205.825 | -4.5463e-08
205.616 | -5.3582e-08
205.389 | -5.5525e-08
205.131 | -4.5195e-08
204.853 | -3.9328e-08
204.588 | -4.1607e-08
204.344 | -6.2944e-08
204.109 | -3.8424e-08
203.87 | -4.4765e-08
203.612 | -3.9975e-08
203.376 | -4.0506e-08
203.101 | -3.6997e-08
202.827 | -3.6931e-08
202.542 | -3.6431e-08
202.265 | -3.5061e-08
201.953 | -3.4967e-08
201.649 | -3.4462e-08
201.248 | -3.4442e-08
200.905 | -3.4781e-08
200.56 | -3.2854e-08
200.19 | -3.353e-08
199.83 | -3.1878e-08
199.458 | -3.1752e-08
199.083 | -3.1835e-08
198.729 | -3.1434e-08
198.311 | -3.1082e-08
197.822 | -3.1244e-08
197.403 | -3.1406e-08
196.971 | -3.1486e-08
196.519 | -3.1406e-08
195.993 | -3.1125e-08
195.485 | -3.1141e-08
194.948 | -3.1335e-08
194.499 | -3.0898e-08
194.071 | -3.0932e-08
193.557 | -3.0907e-08
193.049 | -3.079e-08
192.587 | -3.1055e-08
192.175 | -3.0874e-08
191.75 | -3.0825e-08
191.293 | -3.0994e-08
190.845 | -3.0878e-08
190.423 | -3.1231e-08
189.979 | -3.0924e-08
189.342 | -3.0852e-08
188.769 | -3.0915e-08
188.094 | -3.1043e-08
187.411 | -3.0697e-08
186.708 | -3.0867e-08
186.04 | -3.0951e-08
185.499 | -3.1122e-08
184.962 | -3.1012e-08
184.475 | -3.0973e-08
184.04 | -3.118e-08
183.613 | -3.1293e-08
183.196 | -3.1074e-08
182.736 | -3.1191e-08
182.314 | -3.1054e-08
181.81 | -3.1035e-08
181.358 | -3.0952e-08
180.957 | -3.1156e-08
180.516 | -3.1148e-08
180.106 | -3.1218e-08
179.688 | -3.1095e-08
179.228 | -3.0993e-08
178.819 | -3.097e-08
178.391 | -3.0888e-08
177.982 | -3.0931e-08
177.52 | -3.088e-08
177.11 | -3.0779e-08
176.722 | -3.0787e-08
176.296 | -3.0773e-08
175.751 | -3.0762e-08
175.152 | -3.0703e-08
174.536 | -3.0667e-08
173.881 | -3.0576e-08
173.106 | -3.0411e-08
172.355 | -3.0483e-08
171.595 | -3.0071e-08
170.855 | -2.9798e-08
170.142 | -2.9974e-08
169.475 | -3.023e-08
168.89 | -3.0703e-08
168.378 | -3.0437e-08
167.901 | -3.041e-08
167.389 | -3.0486e-08
166.888 | -3.0279e-08
166.43 | -3.0169e-08
166.018 | -2.9991e-08
165.636 | -2.992e-08
165.154 | -2.9855e-08
164.683 | -2.9938e-08
164.211 | -2.9957e-08
163.68 | -2.9974e-08
163.172 | -3.0274e-08
162.633 | -3.098e-08
162.133 | -2.9951e-08
161.666 | -3.006e-08
161.258 | -3.0082e-08
160.91 | -2.9728e-08
160.586 | -2.9759e-08
160.259 | -2.9753e-08
159.904 | -2.961e-08
159.564 | -2.9669e-08
159.265 | -2.9457e-08
158.953 | -2.9552e-08
158.65 | -2.9394e-08
158.34 | -2.9288e-08
158.036 | -2.9264e-08
157.744 | -2.9248e-08
157.454 | -2.9123e-08
157.121 | -2.9027e-08
156.767 | -2.8994e-08
156.429 | -2.8945e-08
156.074 | -2.8844e-08
155.744 | -2.8712e-08
155.429 | -2.8699e-08
155.032 | -2.8662e-08
154.654 | -2.8669e-08
154.291 | -2.8678e-08
153.951 | -2.8594e-08
153.614 | -2.852e-08
153.309 | -2.8428e-08
153.035 | -2.8427e-08
152.769 | -2.8296e-08
152.512 | -2.8179e-08
152.234 | -2.8178e-08
151.962 | -2.8121e-08
151.688 | -2.8031e-08
151.361 | -2.8024e-08
151.003 | -2.8048e-08
150.616 | -2.7916e-08
150.215 | -2.7794e-08
149.798 | -2.769e-08
149.4 | -2.7738e-08
148.911 | -2.7552e-08
148.434 | -2.7463e-08
147.926 | -2.7363e-08
147.425 | -2.7523e-08
146.993 | -2.7702e-08
146.615 | -2.8172e-08
146.309 | -2.7803e-08
146.035 | -2.7616e-08
145.798 | -2.7332e-08
145.56 | -2.6973e-08
145.339 | -2.6969e-08
145.129 | -2.7095e-08
144.928 | -2.795e-08
144.735 | -2.8025e-08
144.547 | -2.8547e-08
144.355 | -2.8983e-08
144.156 | -2.925e-08
143.96 | -3.0109e-08
143.758 | -3.0896e-08
143.564 | -2.8281e-08
143.371 | -2.6157e-08
143.179 | -2.6073e-08
142.978 | -2.5925e-08
142.782 | -2.5849e-08
142.529 | -2.5751e-08
142.29 | -2.5542e-08
141.984 | -2.5588e-08
141.714 | -2.5484e-08
141.425 | -2.5521e-08
141.165 | -2.5533e-08
140.901 | -2.5836e-08
140.629 | -2.5635e-08
140.275 | -2.6121e-08
139.851 | -2.7429e-08
139.425 | -2.86e-08
139.05 | -3.0496e-08
138.682 | -2.9191e-08
138.334 | -3.0485e-08
137.895 | -3.2639e-08
137.503 | -3.2352e-08
137.115 | -3.6394e-08
136.753 | -4.2283e-08
136.397 | -4.7557e-08
136.105 | -4.0808e-08
135.815 | -3.7397e-08
135.522 | -3.443e-08
135.225 | -3.4311e-08
134.981 | -3.4474e-08
134.708 | -3.432e-08
134.454 | -3.4463e-08
134.197 | -3.4349e-08
133.944 | -3.45e-08
133.688 | -3.4599e-08
133.416 | -3.473e-08
133.109 | -3.4722e-08
132.825 | -3.4938e-08
132.543 | -3.5109e-08
132.258 | -3.5181e-08
132.006 | -3.5092e-08
131.735 | -3.5113e-08
131.453 | -3.5254e-08
131.182 | -3.5584e-08
130.817 | -3.5894e-08
130.439 | -3.604e-08
130.002 | -3.6113e-08
129.572 | -3.5828e-08
129.112 | -3.5249e-08
128.619 | -3.4389e-08
128.162 | -3.4679e-08
127.763 | -3.4244e-08
127.294 | -3.4163e-08
126.849 | -3.4914e-08
126.463 | -3.4085e-08
126.115 | -3.3968e-08
125.818 | -3.395e-08
125.551 | -3.4488e-08
125.283 | -3.4635e-08
125.027 | -3.6012e-08
124.75 | -3.8094e-08
124.418 | -3.8475e-08
124.107 | -3.7817e-08
123.833 | -3.6809e-08
123.58 | -3.7533e-08
123.352 | -3.7031e-08
123.146 | -3.6025e-08
122.946 | -3.2497e-08
122.754 | -2.79e-08
122.565 | -2.8188e-08
122.388 | -2.7524e-08
122.213 | -3.124e-08
122.046 | -2.0703e-08
121.89 | -9.9301e-08
121.737 | -2.5963e-08
121.556 | -6.7803e-09
121.414 | -1.0499e-08
121.179 | -3.7656e-08
121.049 | -9.7578e-08
120.914 | -1.3373e-08
120.781 | -7.1549e-08
120.654 | -5.2693e-08
120.537 | -2.352e-08
120.391 | -3.6433e-08
120.255 | -2.9941e-08
120.035 | -3.5449e-08
119.889 | -1.1734e-08
119.761 | -5.5344e-09
119.644 | -4.934e-09
119.536 | -3.4926e-09
119.437 | -3.2787e-09
119.346 | -3.2661e-09
119.259 | -3.4836e-09
119.173 | -3.4078e-09
119.09 | -2.9395e-09
119.007 | -2.3178e-09
118.929 | -1.8946e-09
118.802 | -2.135e-08
118.725 | -2.0659e-08
118.644 | -2.0031e-08
118.568 | -2.0092e-08
118.495 | -2.0007e-08
118.423 | -2.0128e-08
118.333 | -2.0282e-08
118.269 | -2.0127e-08
118.205 | -2.0205e-08
118.146 | -2.0145e-08
118.094 | -2.0472e-08
118.048 | -2.0124e-08
118.007 | -2.0205e-08
117.97 | -2.0123e-08
117.937 | -2.0135e-08
117.912 | -2.0386e-08
117.887 | -2.0271e-08
117.868 | -2.0303e-08
117.854 | -2.0367e-08
117.844 | -2.0313e-08
117.835 | -2.0365e-08
117.832 | -2.0375e-08
117.833 | -2.0404e-08
117.833 | -2.0552e-08
117.838 | -2.0429e-08
117.846 | -2.0613e-08
117.854 | -2.1286e-08
117.864 | -2.1287e-08
117.873 | -2.1665e-08
117.887 | -2.224e-08
117.904 | -2.2716e-08
117.923 | -2.2063e-08
117.939 | -2.1632e-08
117.958 | -2.2472e-08
117.978 | -2.2466e-08
118.001 | -2.2455e-08
118.027 | -2.282e-08
118.054 | -2.2042e-08
118.082 | -2.2129e-08
118.109 | -2.0763e-08
118.137 | -2.1044e-08
118.165 | -2.4949e-08
118.195 | -2.2801e-08
118.228 | -2.7267e-08
118.261 | -2.8192e-08
118.295 | -2.2603e-08
118.331 | -2.2691e-08
118.365 | -2.2761e-08
118.402 | -2.2613e-08
118.441 | -2.2397e-08
118.48 | -2.1813e-08
118.519 | -2.1309e-08
118.56 | -2.2907e-08
118.601 | -2.2588e-08
118.643 | -2.3792e-08
118.686 | -2.5433e-08
118.73 | -2.3533e-08
118.772 | -2.2944e-08
118.817 | -2.328e-08
118.861 | -2.3143e-08
118.911 | -2.433e-08
118.953 | -2.6369e-08
118.999 | -2.5501e-08
119.046 | -2.5612e-08
119.095 | -3.041e-08
119.149 | -2.5167e-08
119.201 | -2.6647e-08
119.255 | -2.7298e-08
119.311 | -2.9421e-08
119.365 | -2.8527e-08
119.42 | -3.433e-08
119.48 | -3.5504e-08
119.537 | -3.1421e-08
119.595 | -3.1196e-08
119.65 | -2.7293e-08
119.714 | -2.972e-08
119.77 | -2.7745e-08
119.831 | -2.437e-08
119.89 | -2.4853e-08
119.956 | -2.3521e-08
120.018 | -2.2904e-08
120.081 | -2.2671e-08
120.142 | -2.3029e-08
120.205 | -2.1771e-08
120.27 | -2.1629e-08
120.336 | -2.2472e-08
120.401 | -2.2473e-08
120.468 | -2.4254e-08
120.541 | -2.2932e-08
120.608 | -2.2394e-08
120.683 | -2.3562e-08
120.751 | -2.2879e-08
120.82 | -2.3414e-08
120.89 | -2.6429e-08
120.962 | -2.3194e-08
121.038 | -2.419e-08
121.111 | -2.3522e-08
121.186 | -2.7477e-08
121.257 | -2.5789e-08
121.322 | -2.4211e-08
121.389 | -2.9543e-08
121.453 | -2.4863e-08
121.519 | -2.3119e-08
121.582 | -2.5247e-08
121.649 | -2.0662e-08
121.714 | -2.1e-08
121.779 | -2.0132e-08
121.846 | -2.0261e-08
121.913 | -2.0098e-08
121.969 | -2.0149e-08
122.031 | -2.1147e-08
122.09 | -2.036e-08
122.146 | -1.992e-08
122.205 | -1.9458e-08
122.261 | -1.8599e-08
122.309 | -1.8493e-08
122.349 | -1.849e-08
122.387 | -1.8732e-08
122.425 | -1.8622e-08
122.465 | -1.8713e-08
122.508 | -1.9492e-08
122.552 | -1.9249e-08
122.596 | -1.9381e-08
122.637 | -1.9344e-08
122.67 | -1.8812e-08
122.697 | -1.8823e-08
122.674 | -1.9305e-08
122.582 | -1.9202e-08
122.506 | -1.9325e-08
122.436 | -1.929e-08
122.378 | -1.8852e-08
122.346 | -1.9225e-08
122.31 | -1.9428e-08
122.196 | -2.0069e-08
122.024 | -2.0375e-08
121.863 | -2.0197e-08
121.731 | -2.0449e-08
121.553 | -2.1443e-08
121.399 | -2.181e-08
121.216 | -2.2404e-08
121.001 | -2.3005e-08
120.831 | -2.3516e-08
120.717 | -2.387e-08
120.629 | -2.369e-08
120.532 | -2.5232e-08
120.411 | -2.7144e-08
120.22 | -2.9038e-08
120.058 | -3.1592e-08
119.885 | -3.2559e-08
119.781 | -3.738e-08
119.695 | -3.7854e-08
119.625 | -3.8508e-08
119.554 | -3.7632e-08
119.422 | -3.7254e-08
119.18 | -3.5766e-08
118.954 | -3.607e-08
118.656 | -3.5997e-08
118.46 | -3.7153e-08
118.323 | -3.6903e-08
118.21 | -3.7531e-08
118.075 | -3.6871e-08
117.903 | -3.7532e-08
117.745 | -3.8439e-08
117.618 | -3.9509e-08
117.507 | -1.9395e-08
117.413 | -1.9696e-08
117.321 | -3.148e-08
117.184 | -3.0702e-08
117.021 | -3.0224e-08
116.889 | -1.9867e-08
116.763 | -2.7885e-08
116.658 | -3.2316e-08
116.562 | -2.7036e-08
116.337 | -3.3543e-08
116.22 | -3.277e-08
116.129 | -1.9584e-08
116.037 | -1.92e-08
115.954 | -2.1492e-08
115.858 | -2.2416e-08
115.727 | -2.2544e-08
115.619 | -1.9833e-08
115.533 | -2.2104e-08
115.449 | -2.3224e-08
115.361 | -2.7144e-08
115.274 | -2.2221e-08
115.183 | -2.2402e-08
115.098 | -2.2609e-08
115.014 | -2.3885e-08
114.934 | -2.4616e-08
114.85 | -2.3953e-08
114.759 | -2.8199e-08
114.569 | -2.9674e-08
114.351 | -2.7741e-08
114.217 | -2.7358e-08
114.097 | -2.946e-08
114 | -3.255e-08
113.92 | -3.489e-08
113.843 | -3.1926e-08
113.763 | -2.7427e-08
113.623 | -2.3335e-08
113.478 | -2.6492e-08
113.32 | -2.6587e-08
113.217 | -2.9017e-08
113.137 | -2.7583e-08
113.051 | -2.939e-08
112.936 | -2.783e-08
112.753 | -2.8912e-08
112.627 | -3.0852e-08
112.508 | -2.9188e-08
112.419 | -3.0083e-08
112.347 | -4.2092e-08
112.274 | -3.7096e-08
112.188 | -3.0402e-08
112.021 | -3.0654e-08
111.91 | -2.4762e-08
111.83 | -2.4093e-08
111.761 | -2.4511e-08
111.699 | -2.4855e-08
111.642 | -2.3069e-08
111.577 | -2.3049e-08
111.514 | -2.8229e-08
111.339 | -2.6146e-08
111.206 | -2.0624e-08
111.054 | -2.2045e-08
110.943 | -2.6521e-08
110.86 | -1.9759e-08
110.795 | -1.9474e-08
110.737 | -1.9387e-08
110.678 | -1.9431e-08
110.612 | -1.9153e-08
110.547 | -1.9934e-08
110.495 | -1.96e-08
110.4 | -1.9041e-08
110.336 | -1.9125e-08
110.196 | -2.0341e-08
110.103 | -1.9987e-08
110.002 | -2.018e-08
109.945 | -2.081e-08
109.896 | -2.2762e-08
109.837 | -2.2828e-08
109.776 | -2.0047e-08
109.546 | -2.0258e-08
109.298 | -1.9649e-08
109.162 | -2.0627e-08
109.065 | -2.1196e-08
108.988 | -2.0977e-08
108.915 | -2.1039e-08
108.843 | -2.1307e-08
108.752 | -2.2076e-08
108.668 | -2.1828e-08
108.613 | -2.1275e-08
108.561 | -2.1325e-08
108.505 | -2.1641e-08
108.404 | -2.2484e-08
108.343 | -2.4013e-08
108.293 | -2.4576e-08
108.251 | -2.2823e-08
108.206 | -2.0628e-08
108.163 | -2.4113e-08
108.065 | -2.405e-08
107.943 | -2.3399e-08
107.855 | -2.2859e-08
107.753 | -2.2606e-08
107.701 | -2.2845e-08
107.658 | -2.2679e-08
107.618 | -2.3188e-08
107.575 | -2.4019e-08
107.523 | -2.3705e-08
107.425 | -2.346e-08
107.336 | -2.3152e-08
107.279 | -2.2269e-08
107.225 | -2.2035e-08
107.188 | -2.2177e-08
107.151 | -2.2105e-08
107.107 | -2.2122e-08
107.065 | -2.2584e-08
106.988 | -2.2217e-08
106.95 | -2.3018e-08
106.914 | -2.2521e-08
106.887 | -2.2664e-08
106.847 | -2.3037e-08
106.775 | -2.3159e-08
106.647 | -2.3472e-08
106.483 | -2.4186e-08
106.403 | -2.5188e-08
106.286 | -2.4063e-08
106.24 | -2.4248e-08
106.2 | -2.5635e-08
106.164 | -2.4863e-08
106.123 | -2.4796e-08
105.987 | -2.8364e-08
105.933 | -2.9711e-08
105.882 | -2.9239e-08
105.836 | -2.946e-08
105.808 | -2.9589e-08
105.766 | -3.0044e-08
105.725 | -3.0873e-08
105.653 | -3.1836e-08
105.588 | -3.1013e-08
105.528 | -3.0768e-08
105.461 | -3.084e-08
105.423 | -3.1153e-08
105.398 | -3.0751e-08
105.358 | -3.0488e-08
105.216 | -3.3363e-08
105.131 | -2.9651e-08
105.027 | -2.3834e-08
104.961 | -2.1038e-08
104.923 | -2.0669e-08
104.889 | -2.0655e-08
104.857 | -2.0613e-08
104.831 | -2.0497e-08
104.806 | -2.061e-08
104.776 | -2.0411e-08
104.746 | -2.0395e-08
104.685 | -2.0454e-08
104.662 | -2.0425e-08
104.64 | -2.0431e-08
104.621 | -2.0387e-08
104.599 | -2.0407e-08
104.581 | -2.0582e-08
104.566 | -2.0612e-08
104.552 | -2.055e-08
104.543 | -2.054e-08
104.528 | -2.0698e-08
104.479 | -2.0785e-08
104.46 | -2.0845e-08
104.446 | -2.0951e-08
104.438 | -2.0916e-08
104.431 | -2.0576e-08
104.415 | -2.0789e-08
104.402 | -2.0693e-08
104.378 | -2.0506e-08
104.351 | -2.1148e-08
104.337 | -2.1103e-08
104.327 | -2.0696e-08
104.321 | -2.0007e-08
104.315 | -1.9234e-08
104.31 | -1.9094e-08
104.305 | -1.8977e-08
104.305 | -1.9116e-08
104.303 | -1.9397e-08
104.297 | -1.9427e-08
104.276 | -1.9582e-08
104.27 | -1.9565e-08
104.26 | -1.961e-08
104.255 | -2.0023e-08
104.257 | -1.9736e-08
104.257 | -2.0093e-08
104.256 | -2.1011e-08
104.242 | -2.1365e-08
104.232 | -2.152e-08
104.218 | -2.1861e-08
104.213 | -2.4373e-08
104.213 | -2.6197e-08
104.212 | -2.6303e-08
104.214 | -2.7012e-08
104.21 | -2.8096e-08
104.205 | -2.7332e-08
104.204 | -2.5849e-08
104.209 | -2.6435e-08
104.214 | -2.5199e-08
104.219 | -2.5731e-08
104.224 | -2.4328e-08
104.23 | -2.3965e-08
104.238 | -2.4088e-08
104.246 | -2.3833e-08
104.24 | -2.4039e-08
104.216 | -2.4049e-08
104.21 | -2.4132e-08
104.156 | -2.3621e-08
104.003 | -2.353e-08
103.482 | -2.3348e-08
102.99 | -2.372e-08
102.646 | -1.9993e-08
102.464 | -2.0734e-08
102.35 | -2.0035e-08
102.132 | -1.9257e-08
101.956 | -1.8893e-08
101.835 | -1.778e-08
101.716 | -1.7781e-08
101.584 | -1.7914e-08
101.452 | -1.7753e-08
101.337 | -1.7736e-08
101.181 | -1.7677e-08
101.021 | -1.7665e-08
100.851 | -1.7579e-08
100.698 | -1.7412e-08
100.576 | -1.7477e-08
100.462 | -1.7423e-08
100.249 | -1.7498e-08
99.8796 | -1.7511e-08
99.5021 | -1.7543e-08
99.206 | -1.7529e-08
98.9671 | -1.7563e-08
98.7976 | -1.7665e-08
98.6213 | -1.7412e-08
98.2426 | -1.7583e-08
97.714 | -1.7497e-08
97.3043 | -1.7537e-08
96.9888 | -1.7505e-08
96.7289 | -1.7485e-08
96.5556 | -1.7442e-08
96.3486 | -1.7386e-08
96.0983 | -1.7364e-08
95.9006 | -1.7415e-08
95.7453 | -1.7455e-08
95.652 | -1.7378e-08
95.5863 | -1.7197e-08
95.5306 | -1.715e-08
95.4862 | -1.7146e-08
95.4506 | -1.7138e-08
95.4116 | -1.712e-08
95.1915 | -1.7191e-08
95.0196 | -1.7131e-08
94.919 | -1.7183e-08
94.8298 | -1.7155e-08
94.7683 | -1.7133e-08
94.7189 | -1.7134e-08
94.595 | -1.7173e-08
94.4791 | -1.7153e-08
94.3934 | -1.7529e-08
94.3279 | -1.7566e-08
94.2935 | -1.7499e-08
94.241 | -1.7427e-08
94.206 | -1.7584e-08
94.1915 | -1.7701e-08
94.1708 | -1.8021e-08
94.1616 | -1.7927e-08
94.1626 | -1.7769e-08
94.1626 | -1.7547e-08
94.1382 | -1.7591e-08
94.1273 | -1.7523e-08
94.1308 | -1.7642e-08
94.1308 | -1.7614e-08
94.1341 | -1.7558e-08
94.1308 | -1.7523e-08
94.1287 | -1.742e-08
94.1246 | -1.8533e-08
94.1178 | -1.8248e-08
94.1033 | -1.8155e-08
93.6588 | -2.4558e-08
92.0766 | -1.6147e-08
89.4749 | -1.5949e-08
88.5578 | -1.5195e-08
87.9637 | -1.5239e-08
87.8117 | -1.5077e-08
87.7296 | -1.5044e-08
87.7089 | -1.5045e-08
87.4388 | -1.508e-08
84.8208 | -1.5078e-08
83.3659 | -1.5204e-08
83.0267 | -1.5124e-08
83.0426 | -1.5158e-08
83.0228 | -1.5166e-08
83.0592 | -1.52e-08
83.0582 | -1.5254e-08
82.2325 | -1.5207e-08
82.2004 | -1.5218e-08
82.1516 | -1.5288e-08
82.1825 | -1.5175e-08
82.2325 | -1.5451e-08
81.7344 | -1.5415e-08
81.5304 | -1.5618e-08
81.1689 | -1.5508e-08
81.0769 | -1.5605e-08
81.0279 | -1.5575e-08
81.0105 | -1.5554e-08
81.0252 | -1.5552e-08
80.9347 | -1.5574e-08
80.8705 | -1.5547e-08
80.6417 | -1.5612e-08
80.5666 | -1.5729e-08
80.5264 | -1.6016e-08

## Measurements
Temperature | Current
80.4131 | -1.9533e-08
80.5218 | -1.3385e-08
80.8188 | -1.3409e-08
81.1286 | -1.3356e-08
81.4152 | -1.3648e-08
81.7357 | -1.373e-08
82.0647 | -1.3963e-08
82.3344 | -1.3826e-08
82.6982 | -1.4093e-08
82.981 | -1.4438e-08
83.2818 | -1.4618e-08
83.5873 | -1.5112e-08
83.8621 | -1.5293e-08
84.1385 | -1.5556e-08
84.4453 | -1.6482e-08
84.7319 | -1.6737e-08
85.0132 | -1.6424e-08
85.3469 | -1.7606e-08
85.6912 | -1.7083e-08
85.9726 | -1.8589e-08
86.2373 | -1.8175e-08
86.5808 | -1.7133e-08
86.8257 | -1.7678e-08
87.1942 | -1.689e-08
87.433 | -1.6324e-08
87.7606 | -1.7427e-08
88.0371 | -1.7524e-08
88.3402 | -1.7404e-08
88.6389 | -1.7112e-08
88.938 | -1.7206e-08
89.2441 | -1.671e-08
89.5538 | -1.6203e-08
89.8353 | -1.6071e-08
90.1492 | -1.6035e-08
90.4413 | -1.5814e-08
90.7313 | -1.6092e-08
91.0829 | -1.6393e-08
91.3567 | -1.6735e-08
91.6454 | -1.6558e-08
91.9664 | -1.6886e-08
92.2284 | -1.6705e-08
92.5131 | -1.6841e-08
92.827 | -1.7024e-08
93.1352 | -1.7039e-08
93.433 | -1.6799e-08
93.7552 | -1.6398e-08
94.0621 | -1.6167e-08
94.34 | -1.6567e-08
94.651 | -1.6383e-08
94.9326 | -1.5991e-08
95.2215 | -1.5741e-08
95.5673 | -1.5625e-08
95.8309 | -1.601e-08
96.1517 | -1.6088e-08
96.4298 | -1.5886e-08
96.742 | -1.5606e-08
97.0735 | -1.5553e-08
97.3302 | -1.5575e-08
97.6343 | -1.5395e-08
97.9458 | -1.5374e-08
98.2446 | -1.5254e-08
98.5402 | -1.5306e-08
98.8409 | -1.5242e-08
99.1622 | -1.5445e-08
99.4641 | -1.5464e-08
99.7131 | -1.5465e-08
100.06 | -1.5517e-08
100.347 | -1.5565e-08
100.618 | -1.5594e-08
100.94 | -1.5611e-08
101.243 | -1.5613e-08
101.546 | -1.5577e-08
101.862 | -1.5631e-08
102.118 | -1.5631e-08
102.421 | -1.5575e-08
102.724 | -1.5563e-08
103.022 | -1.5578e-08
103.361 | -1.5502e-08
103.625 | -1.5537e-08
103.93 | -1.5644e-08
104.248 | -1.5806e-08
104.544 | -1.5886e-08
104.836 | -1.5801e-08
105.154 | -1.5628e-08
105.428 | -1.5686e-08
105.748 | -1.6155e-08
106.054 | -1.6132e-08
106.353 | -2.8964e-08
106.657 | -2.929e-08
106.955 | -2.8021e-08
107.238 | -2.8309e-08
107.56 | -3.0599e-08
107.833 | -2.8511e-08
108.14 | -1.4284e-08
108.445 | -1.3969e-08
108.753 | -1.383e-08
109.056 | -1.3825e-08
109.357 | -1.3769e-08
109.67 | -1.3762e-08
109.919 | -1.3828e-08
110.215 | -1.3763e-08
110.551 | -1.3742e-08
110.815 | -1.3816e-08
111.116 | -1.4146e-08
111.42 | -1.3573e-08
111.726 | -1.3509e-08
112.049 | -1.3571e-08
112.352 | -1.3784e-08
112.622 | -1.4337e-08
112.917 | -1.3489e-08
113.232 | -1.3498e-08
113.529 | -1.3424e-08
113.832 | -1.3398e-08
114.152 | -1.3456e-08
114.457 | -1.3265e-08
114.762 | -1.3214e-08
115.033 | -1.3203e-08
115.338 | -1.3223e-08
115.643 | -1.3233e-08
115.945 | -1.326e-08
116.264 | -1.3254e-08
116.56 | -1.3253e-08
116.871 | -1.3254e-08
117.118 | -1.3259e-08
117.433 | -1.3271e-08
117.734 | -1.3288e-08
118.053 | -1.3289e-08
118.35 | -1.3275e-08
118.666 | -1.3299e-08
118.965 | -1.3347e-08
119.264 | -1.3313e-08
119.563 | -1.334e-08
119.864 | -1.3344e-08
120.131 | -1.338e-08
120.468 | -1.3338e-08
120.748 | -1.3369e-08
121.046 | -1.3392e-08
121.365 | -1.342e-08
121.621 | -1.3386e-08
121.943 | -1.3415e-08
122.247 | -1.3417e-08
122.564 | -1.3412e-08
122.817 | -1.3427e-08
123.138 | -1.3459e-08
123.442 | -1.3499e-08
123.761 | -1.3514e-08
124.061 | -1.3529e-08
124.358 | -1.3559e-08
124.663 | -1.3605e-08
124.962 | -1.3781e-08
125.263 | -1.3606e-08
125.528 | -1.3658e-08
125.847 | -1.3697e-08
126.153 | -1.3755e-08
126.442 | -1.3644e-08
126.758 | -1.3818e-08
127.06 | -1.385e-08
127.334 | -1.382e-08
127.637 | -1.3917e-08
127.936 | -1.4101e-08
128.249 | -1.409e-08
128.547 | -1.4142e-08
128.846 | -1.4095e-08
129.164 | -1.4069e-08
129.463 | -1.3942e-08
129.726 | -1.4346e-08
130.023 | -1.4763e-08
130.335 | -1.4772e-08
130.635 | -1.4936e-08
130.954 | -1.4837e-08
131.252 | -1.462e-08
131.552 | -1.5012e-08
131.857 | -1.699e-08
132.163 | -1.5513e-08
132.441 | -1.6036e-08
132.747 | -1.5937e-08
133.038 | -1.6056e-08
133.354 | -1.6095e-08
133.653 | -1.6019e-08
133.962 | -1.7934e-08
134.259 | -1.3969e-08
134.554 | -1.4494e-08
134.853 | -1.4553e-08
135.169 | -1.4488e-08
135.473 | -1.4452e-08
135.729 | -1.5087e-08
136.038 | -1.4804e-08
136.34 | -1.4713e-08
136.641 | -1.4398e-08
136.964 | -1.4442e-08
137.238 | -1.4454e-08
137.561 | -1.448e-08
137.86 | -1.4547e-08
138.156 | -1.4513e-08
138.419 | -1.4298e-08
138.751 | -1.4508e-08
139.054 | -1.4435e-08
139.356 | -1.4327e-08
139.621 | -1.4384e-08
139.937 | -1.4388e-08
140.24 | -1.4406e-08
140.563 | -1.4403e-08
140.831 | -1.4473e-08
141.125 | -1.4406e-08
141.443 | -1.4472e-08
141.742 | -1.4462e-08
142.045 | -1.4496e-08
142.353 | -1.4492e-08
142.651 | -1.4479e-08
142.962 | -1.4484e-08
143.271 | -1.4459e-08
143.533 | -1.4501e-08
143.847 | -1.4508e-08
144.149 | -1.4512e-08
144.451 | -1.453e-08
144.73 | -1.4551e-08
145.024 | -1.4589e-08
145.349 | -1.4563e-08
145.659 | -1.4598e-08
145.918 | -1.4595e-08
146.235 | -1.4617e-08
146.537 | -1.4598e-08
146.843 | -1.4641e-08
147.163 | -1.4627e-08
147.42 | -1.467e-08
147.764 | -1.469e-08
148.025 | -1.4736e-08
148.343 | -1.4723e-08
148.652 | -1.4719e-08
148.953 | -1.4774e-08
149.223 | -1.477e-08
149.55 | -1.4788e-08
149.853 | -1.4834e-08
150.151 | -1.4824e-08
150.417 | -1.4838e-08
150.735 | -1.4844e-08
151.051 | -1.487e-08
151.34 | -1.4906e-08
151.649 | -1.4939e-08
151.923 | -1.4977e-08
152.231 | -1.5015e-08
152.532 | -1.5066e-08
152.839 | -1.5122e-08
153.116 | -1.5239e-08
153.418 | -1.5263e-08
153.736 | -1.5351e-08
154.041 | -1.5612e-08
154.347 | -1.5602e-08
154.669 | -1.58e-08
154.979 | -1.5886e-08
155.217 | -1.5775e-08
155.562 | -1.6019e-08
155.86 | -1.6172e-08
156.123 | -1.6157e-08
156.445 | -1.6473e-08
156.75 | -1.6635e-08
157.058 | -1.6697e-08
157.339 | -1.6743e-08
157.622 | -1.6911e-08
157.942 | -1.6853e-08
158.249 | -1.6596e-08
158.525 | -1.6564e-08
158.857 | -1.7273e-08
159.146 | -1.8219e-08
159.463 | -1.9179e-08
159.73 | -2.1123e-08
160.037 | -1.7652e-08
160.365 | -1.6962e-08
160.629 | -1.6913e-08
160.935 | -1.6845e-08
161.25 | -1.671e-08
161.575 | -1.6896e-08
161.831 | -1.7064e-08
162.159 | -1.7004e-08
162.438 | -1.6671e-08
162.747 | -1.6444e-08
163.015 | -1.7422e-08
163.315 | -1.8258e-08
163.634 | -1.8372e-08
163.954 | -1.9112e-08
164.281 | -1.9039e-08
164.539 | -1.8992e-08
164.82 | -1.9851e-08
165.169 | -1.9574e-08
165.421 | -2.067e-08
165.742 | -2.1707e-08
166.048 | -2.2559e-08
166.356 | -2.5416e-08
166.651 | -2.7928e-08
166.969 | -2.5868e-08
167.249 | -2.3941e-08
167.563 | -2.503e-08
167.849 | -2.5258e-08
168.143 | -2.6267e-08
168.444 | -2.761e-08
168.746 | -2.8396e-08
169.052 | -3.3538e-08
169.326 | -2.5834e-08
169.651 | -2.4393e-08
169.982 | -2.4185e-08
170.241 | -3.0738e-08
170.549 | -2.5706e-08
170.862 | -2.9709e-08
171.118 | -2.2073e-08
171.449 | -2.1877e-08
171.758 | -2.1221e-08
172.036 | -2.058e-08
172.33 | -2.0347e-08
172.632 | -2.0286e-08
172.95 | -2.1017e-08
173.255 | -1.9539e-08
173.559 | -1.8621e-08
173.834 | -1.7896e-08
174.147 | -1.7685e-08
174.449 | -1.7726e-08
174.716 | -1.7813e-08
175.015 | -1.7863e-08
175.34 | -1.7937e-08
175.667 | -1.8016e-08
175.924 | -1.8068e-08
176.26 | -1.807e-08
176.556 | -1.8137e-08
176.834 | -1.8144e-08
177.16 | -1.8309e-08
177.418 | -1.8257e-08
177.749 | -1.8333e-08
178.044 | -1.8357e-08
178.333 | -1.8412e-08
178.647 | -1.8498e-08
178.951 | -1.8581e-08
179.22 | -1.8829e-08
179.544 | -1.898e-08
179.871 | -1.9023e-08
180.135 | -1.8884e-08
180.449 | -1.8949e-08
180.752 | -1.9018e-08
181.061 | -1.8922e-08
181.337 | -1.8851e-08
181.651 | -1.9033e-08
181.954 | -1.8926e-08
182.252 | -1.897e-08
182.552 | -1.8979e-08
182.873 | -1.904e-08
183.132 | -1.9114e-08
183.458 | -1.9157e-08
183.735 | -1.9222e-08
184.045 | -1.9242e-08
184.358 | -1.9313e-08
184.665 | -1.9365e-08
184.952 | -1.9397e-08
185.253 | -1.9414e-08
185.523 | -1.9436e-08
185.845 | -1.9508e-08
186.147 | -1.9536e-08
186.453 | -1.9596e-08
186.768 | -1.9611e-08
187.044 | -1.9677e-08
187.358 | -1.9691e-08
187.638 | -1.9748e-08
187.961 | -1.9801e-08
188.253 | -1.9874e-08
188.543 | -1.9927e-08
188.865 | -1.9985e-08
189.143 | -1.9984e-08
189.457 | -2.0061e-08
189.723 | -2.0046e-08
190.035 | -2.0096e-08
190.342 | -2.0156e-08
190.643 | -2.0216e-08
190.966 | -2.0289e-08
191.238 | -2.0397e-08
191.544 | -2.043e-08
191.853 | -2.0531e-08
192.129 | -2.0727e-08
192.444 | -2.0928e-08
192.739 | -2.0887e-08
193.054 | -2.0956e-08
193.321 | -2.1104e-08
193.641 | -2.2084e-08
193.951 | -2.1296e-08
194.259 | -2.1175e-08
194.538 | -2.122e-08
194.853 | -2.131e-08
195.158 | -2.1662e-08
195.465 | -2.1951e-08
195.737 | -2.2359e-08
196.06 | -2.2771e-08
196.356 | -2.2702e-08
196.615 | -2.3583e-08
196.958 | -2.3591e-08
197.274 | -2.2251e-08
197.547 | -2.1845e-08
197.854 | -2.1745e-08
198.165 | -2.1662e-08
198.457 | -2.171e-08
198.756 | -2.1941e-08
199.028 | -2.1939e-08
199.359 | -2.1621e-08
199.645 | -2.1651e-08
199.954 | -2.1839e-08
200.222 | -2.1693e-08
200.556 | -2.1724e-08
200.838 | -2.1781e-08
201.121 | -2.1817e-08
201.47 | -2.1872e-08
201.731 | -2.1957e-08
202.056 | -2.2107e-08
202.338 | -2.2149e-08
202.658 | -2.222e-08
202.939 | -2.2213e-08
203.232 | -2.2294e-08
203.559 | -2.2365e-08
203.863 | -2.2418e-08
204.142 | -2.2513e-08
204.456 | -2.2602e-08
204.731 | -2.2872e-08
205.041 | -2.3056e-08
205.32 | -2.3058e-08
205.627 | -2.3089e-08
205.964 | -2.3137e-08
206.255 | -2.3053e-08
206.576 | -2.3148e-08
206.851 | -2.323e-08
207.16 | -2.3312e-08
207.417 | -2.3341e-08
207.745 | -2.3468e-08
208.065 | -2.356e-08
208.359 | -2.3716e-08
208.621 | -2.3805e-08
208.916 | -2.3811e-08
209.235 | -2.3908e-08
209.536 | -2.4024e-08
209.856 | -2.4241e-08
210.133 | -2.443e-08
210.441 | -2.45e-08
210.732 | -2.4916e-08
211.06 | -2.5016e-08
211.349 | -2.5348e-08
211.633 | -2.546e-08
211.918 | -2.5964e-08
212.256 | -2.6022e-08
212.528 | -2.6451e-08
212.856 | -2.6652e-08
213.162 | -2.6697e-08
213.432 | -2.6879e-08
213.739 | -2.6744e-08
214.027 | -2.725e-08
214.344 | -2.7185e-08
214.665 | -2.6925e-08
214.926 | -2.689e-08
215.221 | -2.745e-08
215.549 | -2.7354e-08
215.824 | -2.7404e-08
216.152 | -2.7216e-08
216.423 | -2.7321e-08
216.723 | -2.7501e-08
217.034 | -2.7342e-08
217.329 | -2.7517e-08
217.643 | -2.7732e-08
217.942 | -2.7704e-08
218.264 | -2.7788e-08
218.539 | -2.7923e-08
218.83 | -2.8033e-08
219.153 | -2.8158e-08
219.463 | -2.8312e-08
219.738 | -2.82e-08
220.072 | -2.8356e-08
220.366 | -2.9023e-08
220.654 | -2.8663e-08
220.947 | -2.8649e-08
221.238 | -2.8828e-08
221.557 | -2.8808e-08
221.85 | -2.9005e-08
222.194 | -2.9041e-08
222.455 | -2.9455e-08
222.714 | -2.9502e-08
223.043 | -3.0178e-08
223.367 | -2.9458e-08
223.678 | -2.949e-08
223.914 | -2.9495e-08
224.274 | -2.9636e-08
224.567 | -3.0013e-08
224.821 | -3.0003e-08
225.131 | -3.0245e-08
225.475 | -3.0178e-08
225.735 | -3.0141e-08
226.055 | -3.0388e-08
226.363 | -3.0469e-08
226.648 | -3.0771e-08
226.944 | -3.1106e-08
227.215 | -3.1333e-08
227.534 | -3.1771e-08
227.831 | -3.201e-08
228.122 | -3.2203e-08
228.422 | -3.2318e-08
228.748 | -3.2641e-08
229.047 | -3.2294e-08
229.348 | -3.265e-08
229.651 | -3.2484e-08
229.945 | -3.2928e-08
230.242 | -3.2365e-08
230.558 | -3.2588e-08
230.863 | -3.2794e-08
231.127 | -3.2755e-08
231.442 | -3.271e-08
231.73 | -3.3473e-08
232.053 | -3.4056e-08
232.345 | -3.2953e-08
232.64 | -3.2883e-08
232.924 | -3.4047e-08
233.273 | -3.6455e-08
233.56 | -3.6217e-08
233.818 | -3.6075e-08
234.158 | -3.7929e-08
234.417 | -3.8926e-08
234.777 | -3.9379e-08
235.022 | -3.9986e-08
235.336 | -3.861e-08
235.631 | -3.882e-08
235.948 | -4.0764e-08
236.265 | -4.15e-08
236.516 | -4.0953e-08
236.831 | -4.155e-08
237.148 | -4.0349e-08
237.417 | -3.968e-08
237.735 | -3.9417e-08
238.037 | -3.7948e-08
238.353 | -3.7204e-08
238.656 | -3.6894e-08
238.923 | -3.7391e-08
239.242 | -3.7119e-08
239.542 | -3.6299e-08
239.862 | -3.6378e-08
240.162 | -3.6106e-08
240.43 | -3.5473e-08
240.748 | -3.5288e-08
241.066 | -3.521e-08
241.318 | -3.5514e-08
241.636 | -3.5264e-08
241.936 | -3.4693e-08
242.221 | -3.4603e-08
242.538 | -3.4638e-08
242.856 | -3.4456e-08
243.155 | -3.4533e-08
243.424 | -3.4621e-08
243.741 | -3.4682e-08
244.042 | -3.4559e-08
244.354 | -3.4406e-08
244.668 | -3.4783e-08
244.917 | -3.4475e-08
245.247 | -3.4735e-08
245.546 | -3.4704e-08
245.814 | -3.4673e-08
246.164 | -3.4798e-08
246.429 | -3.4911e-08
246.746 | -3.4825e-08
247.046 | -3.4833e-08
247.346 | -3.4825e-08
247.614 | -3.4955e-08
247.932 | -3.49e-08
248.233 | -3.5119e-08
248.549 | -3.513e-08
248.851 | -3.5305e-08
249.168 | -3.5484e-08
249.435 | -3.5529e-08
249.735 | -3.5657e-08
250.053 | -3.5767e-08
250.353 | -3.5827e-08
250.655 | -3.595e-08
250.921 | -3.5998e-08
251.238 | -3.6141e-08
251.539 | -3.6155e-08
251.856 | -3.6195e-08
252.156 | -3.6385e-08
252.423 | -3.6508e-08
252.739 | -3.6567e-08
253.04 | -3.6665e-08
253.356 | -3.6685e-08
253.674 | -3.6789e-08
253.94 | -3.6939e-08
254.24 | -3.7074e-08
254.558 | -3.7134e-08
254.822 | -3.7265e-08
255.14 | -3.7432e-08
255.439 | -3.7481e-08
255.724 | -3.7579e-08
256.04 | -3.7671e-08
256.341 | -3.7783e-08
256.642 | -3.7875e-08
256.957 | -3.7896e-08
257.257 | -3.8082e-08
257.574 | -3.821e-08
257.84 | -3.8345e-08
258.14 | -3.845e-08
258.439 | -3.8469e-08
258.756 | -3.8693e-08
259.057 | -3.868e-08
259.323 | -3.8805e-08
259.64 | -3.896e-08
259.94 | -3.915e-08
260.257 | -3.9207e-08
260.571 | -3.936e-08
260.842 | -3.9579e-08
261.138 | -3.961e-08
261.453 | -3.9728e-08
261.716 | -3.9886e-08
262.032 | -3.9975e-08
262.33 | -4.0113e-08
262.63 | -4.0112e-08
262.945 | -4.0206e-08
263.262 | -4.0315e-08
263.562 | -4.0526e-08
263.828 | -4.0582e-08
264.146 | -4.0787e-08
264.447 | -4.078e-08
264.764 | -4.097e-08
265.031 | -4.1148e-08
265.332 | -4.1314e-08
265.633 | -4.1411e-08
265.95 | -4.1363e-08
266.249 | -4.1477e-08
266.517 | -4.1603e-08
266.834 | -4.1866e-08
267.151 | -4.1799e-08
267.451 | -4.2015e-08
267.719 | -4.2054e-08
268.037 | -4.2351e-08
268.337 | -4.2395e-08
268.654 | -4.2706e-08
268.921 | -4.2655e-08
269.221 | -4.2889e-08
269.521 | -4.2998e-08
269.837 | -4.3048e-08
270.139 | -4.3271e-08
270.455 | -4.3386e-08
270.723 | -4.3509e-08
271.039 | -4.3628e-08
271.339 | -4.3678e-08
271.656 | -4.3886e-08
271.955 | -4.4115e-08
272.224 | -4.4157e-08
272.539 | -4.4373e-08
272.838 | -4.448e-08
273.139 | -4.4727e-08
273.455 | -4.4755e-08
273.772 | -4.4948e-08
274.039 | -4.504e-08
274.355 | -4.5336e-08
274.655 | -4.5371e-08
274.956 | -4.5452e-08
275.239 | -4.5687e-08
275.556 | -4.5788e-08
275.873 | -4.602e-08
276.123 | -4.6193e-08
276.438 | -4.6479e-08
276.756 | -4.6469e-08
277.055 | -4.6664e-08
277.356 | -4.6428e-08
277.621 | -4.7088e-08
277.938 | -4.6907e-08
278.256 | -4.7325e-08
278.555 | -4.7422e-08
278.822 | -4.7384e-08
279.139 | -4.749e-08
279.436 | -4.7635e-08
279.749 | -4.8107e-08
280.014 | -4.8158e-08
280.329 | -4.806e-08
280.644 | -4.807e-08
280.945 | -4.801e-08
281.263 | -4.816e-08
281.527 | -4.8396e-08
281.829 | -4.8417e-08
282.146 | -4.8758e-08
282.445 | -4.8895e-08
282.764 | -4.9155e-08
283.031 | -4.9247e-08
283.348 | -4.9513e-08
283.665 | -5.0072e-08
283.915 | -5.004e-08
284.232 | -5.0333e-08
284.55 | -5.0464e-08
284.867 | -5.0736e-08
285.117 | -5.1523e-08
285.435 | -5.1068e-08
285.736 | -5.1386e-08
286.069 | -5.2144e-08
286.319 | -5.194e-08
286.636 | -5.3243e-08
286.953 | -5.2306e-08
287.27 | -5.2333e-08
287.522 | -5.3049e-08
287.837 | -5.5819e-08
288.155 | -5.5226e-08
288.472 | -6.0929e-08
288.721 | -5.9584e-08
289.038 | -5.5682e-08
289.356 | -5.7615e-08
289.672 | -5.945e-08
289.921 | -5.7959e-08
290.238 | -6.0547e-08
290.556 | -5.7863e-08
290.822 | -5.9486e-08
291.138 | -5.9623e-08
291.437 | -6.0042e-08
291.754 | -5.9678e-08
292.021 | -6.2007e-08
292.337 | -6.2747e-08
292.655 | -6.4116e-08
292.954 | -6.3421e-08
293.238 | -7.4549e-08
293.555 | -6.3323e-08
293.871 | -6.2537e-08
294.139 | -6.2791e-08
294.439 | -6.2299e-08
294.755 | -6.2303e-08
295.021 | -6.3025e-08
295.339 | -6.2753e-08
295.639 | -6.7763e-08
295.954 | -7.6427e-08
296.273 | -6.8486e-08
296.522 | -6.4315e-08
296.838 | -7.0582e-08
297.154 | -6.9633e-08
297.455 | -7.47e-08
297.72 | -6.7178e-08
298.037 | -6.8627e-08
298.356 | -6.695e-08
298.622 | -6.8884e-08
298.934 | -6.7166e-08
299.233 | -6.5878e-08
299.547 | -6.7438e-08
299.863 | -7.1895e-08
300.178 | -7.1667e-08
300.445 | -7.2343e-08
300.744 | -7.3408e-08
301.062 | -7.3592e-08
301.329 | -7.1897e-08
301.646 | -7.517e-08
301.964 | -7.4877e-08
302.264 | -7.2983e-08
302.53 | -7.3745e-08
302.848 | -8.3401e-08
303.165 | -8.4022e-08
303.433 | -8.8737e-08
303.732 | -8.0378e-08
304.017 | -8.4086e-08
304.351 | -8.1144e-08
304.618 | -8.4281e-08
304.935 | -8.6078e-08
305.269 | -8.735e-08
305.534 | -8.5499e-08
305.852 | -8.4938e-08
306.169 | -8.161e-08
306.421 | -8.0136e-08
306.738 | -8.2382e-08
307.053 | -8.2877e-08
307.338 | -8.3284e-08
307.655 | -8.2203e-08
307.938 | -8.824e-08
308.24 | -9.0301e-08
308.556 | -9.6146e-08
308.823 | -9.3615e-08
309.139 | -8.7349e-08
309.456 | -8.982e-08
309.722 | -8.6088e-08
310.04 | -8.7044e-08
310.356 | -9.0979e-08
310.624 | -8.6253e-08
310.941 | -8.9431e-08
311.258 | -9.0254e-08
311.573 | -9.416e-08
311.841 | -9.6093e-08
312.157 | -9.2579e-08
312.424 | -9.2883e-08
312.741 | -9.7108e-08
313.057 | -9.5211e-08
313.323 | -9.6642e-08
313.642 | -9.9448e-08
313.957 | -1.067e-07
314.241 | -1.0239e-07
314.541 | -1.0212e-07
314.858 | -1.0814e-07
315.158 | -1.2228e-07
315.458 | -1.0796e-07
315.741 | -1.1224e-07
316.041 | -1.0646e-07
316.357 | -1.1094e-07
316.642 | -1.1278e-07
316.941 | -1.0964e-07
317.259 | -1.0739e-07
317.525 | -1.1078e-07
317.875 | -1.0222e-07
318.143 | -1.0278e-07
318.459 | -1.0555e-07
318.778 | -1.041e-07
319.026 | -1.054e-07
319.342 | -1.0783e-07
319.659 | -1.06e-07
319.926 | -1.0759e-07
320.24 | -1.0913e-07