## Settings
Sample Info | so303, b8, run04
Sample Description | -1.0/+0.0/-1.0 V
Major Measurement Parameters
Starting Temperature | 152.926
Initial Temperature | 81
Final Temperature | 320
Preliminary Voltage | -1
Pulse Voltage | 0
Pulse Time | 5
Measurement Voltage | -1
Subsidiary Measurement Parameters
Step | 0.3
Accuracy Step | 0.1
Accuracy Stable | 0.5
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 10
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 3
Measurecount | 1
время
Date | 20.9.2023
Time | 19:25:36

## Stabilization
Temperature | Current
151.251 | -4.3485e-08
150.411 | -4.3392e-08
149.678 | -4.3283e-08
148.944 | -4.3158e-08
148.185 | -4.2966e-08
147.423 | -4.2745e-08
146.572 | -4.2698e-08
145.759 | -4.2545e-08
144.918 | -4.2318e-08
144.18 | -4.2213e-08
143.508 | -4.2118e-08
142.892 | -4.1893e-08
142.247 | -4.1785e-08
141.559 | -4.1554e-08
140.767 | -4.1448e-08
139.962 | -4.1263e-08
139.072 | -4.1075e-08
138.193 | -4.1023e-08
137.447 | -4.0876e-08
136.676 | -4.0798e-08
135.99 | -4.0609e-08
135.279 | -4.0378e-08
134.549 | -4.0197e-08
133.699 | -4.0093e-08
132.586 | -3.9827e-08
131.639 | -3.9869e-08
130.68 | -3.9687e-08
129.89 | -3.9594e-08
129.266 | -3.9355e-08
128.561 | -3.9253e-08
127.752 | -3.9198e-08
126.848 | -3.9071e-08
125.976 | -3.8789e-08
125.064 | -3.9049e-08
124.221 | -3.8738e-08
123.5 | -4.0865e-08
122.81 | -4.0503e-08
121.977 | -3.9792e-08
121.009 | -4.0114e-08
120 | -5.1786e-08
118.935 | -4.3485e-08
117.988 | -4.175e-08
116.992 | -4.2631e-08
116.136 | -4.5864e-08
115.491 | -4.8268e-08
114.946 | -4.7771e-08
114.324 | -4.5864e-08
113.554 | -4.3821e-08
112.807 | -4.1655e-08
112.088 | -3.967e-08
111.551 | -4.1412e-08
110.942 | -4.2199e-08
110.23 | -4.0741e-08
109.288 | -3.7346e-08
108.212 | -3.6377e-08
107.08 | -3.5626e-08
105.908 | -3.4717e-08
104.609 | -3.4557e-08
103.362 | -3.6371e-08
102.158 | -3.5813e-08
101.08 | -3.5378e-08
99.9277 | -3.4044e-08
98.9217 | -3.3801e-08
97.8409 | -3.3642e-08
96.4003 | -3.353e-08
95.1952 | -3.3354e-08
93.6926 | -3.3281e-08
92.0323 | -3.3145e-08
91.3208 | -3.2994e-08
90.2685 | -3.3017e-08
88.7343 | -3.2963e-08
85.7698 | -9.721e-09
84.4286 | -3.2696e-08
83.2481 | -2.304e-08
82.4438 | -1.1617e-08
81.7691 | -1.1162e-08
81.4006 | -1.0021e-08
81.0706 | -6.3269e-09
80.9754 | -5.6441e-09
80.9213 | -3.4634e-09
80.8795 | -5.6361e-09
80.8217 | -3.0273e-08
80.7423 | -3.1435e-08
80.7079 | -2.7753e-08
80.695 | -2.7882e-08
80.6911 | -2.754e-08

## Measurements
Temperature | Current
81.1947 | -3.6675e-08
81.3 | -3.0734e-08
81.6058 | -2.7377e-08
81.8902 | -2.7688e-08
82.2089 | -2.7011e-08
82.5145 | -2.6123e-08
82.8321 | -2.4808e-08
83.1511 | -2.4215e-08
83.4025 | -2.4081e-08
83.709 | -2.3991e-08
83.983 | -2.3875e-08
84.3106 | -2.3709e-08
84.577 | -2.3625e-08
84.8867 | -2.3644e-08
85.3204 | -2.3286e-08
85.6029 | -2.3247e-08
85.8646 | -2.3174e-08
86.258 | -2.427e-08
86.5776 | -2.4195e-08
86.8148 | -2.414e-08
87.0347 | -2.4079e-08
87.3512 | -2.4006e-08
87.649 | -2.397e-08
87.9503 | -2.3837e-08
88.1974 | -2.3865e-08
88.5408 | -2.3802e-08
88.8319 | -2.3746e-08
89.1735 | -2.3685e-08
89.4119 | -2.3664e-08
89.7137 | -2.3557e-08
90.0442 | -2.3445e-08
90.3143 | -2.3312e-08
90.6345 | -2.3182e-08
90.8806 | -2.3122e-08
91.1797 | -2.3033e-08
91.5631 | -2.5061e-08
91.8015 | -2.4866e-08
92.1604 | -2.4788e-08
92.4384 | -2.4786e-08
92.7084 | -2.3377e-08
93.1075 | -2.2842e-08
93.3192 | -2.2792e-08
93.6208 | -2.2814e-08
93.9445 | -2.3372e-08
94.2319 | -2.4503e-08
94.513 | -2.8996e-08
94.8161 | -2.5251e-08
95.1685 | -2.4899e-08
95.4247 | -2.4329e-08
95.7534 | -2.4935e-08
95.9878 | -2.4709e-08
96.2811 | -2.4139e-08
96.6452 | -2.3739e-08
96.9049 | -2.3726e-08
97.2173 | -2.3529e-08
97.5134 | -2.3532e-08
97.7964 | -2.3331e-08
98.1115 | -2.3665e-08
98.4178 | -2.3315e-08
98.7027 | -2.3356e-08
99.0322 | -2.3355e-08
99.2998 | -2.3355e-08
99.6243 | -2.3034e-08
99.8779 | -2.1688e-08
100.233 | -2.1551e-08
100.518 | -2.0787e-08
100.782 | -2.1226e-08
101.102 | -2.0649e-08
101.389 | -2.0751e-08
101.695 | -2.0536e-08
102.002 | -2.0181e-08
102.318 | -2.0034e-08
102.58 | -2.0433e-08
102.893 | -2.0642e-08
103.199 | -2.0837e-08
103.503 | -2.1023e-08
103.834 | -2.1587e-08
104.1 | -2.1524e-08
104.381 | -2.1488e-08
104.713 | -2.1041e-08
105.021 | -2.1164e-08
105.307 | -2.0695e-08
105.618 | -2.0057e-08
105.909 | -1.9901e-08
106.207 | -1.9803e-08
106.505 | -1.8737e-08
106.78 | -1.8733e-08
107.122 | -1.904e-08
107.391 | -1.8434e-08
107.677 | -1.8368e-08
108.028 | -1.8421e-08
108.312 | -1.8263e-08
108.612 | -1.8508e-08
108.902 | -1.8654e-08
109.208 | -1.8175e-08
109.514 | -1.8129e-08
109.798 | -1.8096e-08
110.121 | -1.8121e-08
110.406 | -1.8057e-08
110.7 | -1.8072e-08
110.988 | -1.8014e-08
111.302 | -1.7915e-08
111.611 | -1.7902e-08
111.879 | -1.7885e-08
112.199 | -1.7893e-08
112.478 | -1.7918e-08
112.81 | -1.7847e-08
113.123 | -1.7724e-08
113.437 | -1.7696e-08
113.724 | -1.7678e-08
113.993 | -1.7677e-08
114.326 | -1.7676e-08
114.625 | -1.7656e-08
114.908 | -1.7648e-08
115.221 | -1.7592e-08
115.524 | -1.7562e-08
115.777 | -1.7607e-08
116.106 | -1.7582e-08
116.412 | -1.7494e-08
116.726 | -1.7453e-08
117.009 | -1.7455e-08
117.294 | -1.7428e-08
117.595 | -1.741e-08
117.88 | -1.7421e-08
118.191 | -1.7392e-08
118.532 | -1.7394e-08
118.792 | -1.7409e-08
119.107 | -1.7379e-08
119.4 | -1.7369e-08
119.719 | -1.7324e-08
120.011 | -1.7303e-08
120.324 | -1.7317e-08
120.608 | -1.7307e-08
120.921 | -1.7262e-08
121.2 | -1.7274e-08
121.514 | -1.7273e-08
121.84 | -1.7293e-08
122.115 | -1.7271e-08
122.411 | -1.7282e-08
122.714 | -1.7245e-08
122.995 | -1.7244e-08
123.283 | -1.8873e-08
123.625 | -1.7802e-08
123.93 | -1.7529e-08
124.206 | -1.7565e-08
124.479 | -1.7739e-08
124.797 | -1.7503e-08
125.102 | -1.8323e-08
125.421 | -1.7992e-08
125.7 | -1.7615e-08
126.023 | -1.7624e-08
126.292 | -1.7364e-08
126.611 | -1.732e-08
126.918 | -1.7358e-08
127.231 | -1.7367e-08
127.482 | -1.7319e-08
127.82 | -1.73e-08
128.142 | -1.7329e-08
128.412 | -1.7347e-08
128.718 | -1.7351e-08
128.985 | -1.7316e-08
129.308 | -1.7354e-08
129.609 | -1.7387e-08
129.903 | -1.7402e-08
130.198 | -1.7372e-08
130.537 | -1.7382e-08
130.787 | -1.7447e-08
131.096 | -1.7449e-08
131.377 | -1.7428e-08
131.71 | -1.747e-08
131.98 | -1.748e-08
132.28 | -1.7498e-08
132.623 | -1.7525e-08
132.897 | -1.7528e-08
133.189 | -1.7502e-08
133.494 | -1.7541e-08
133.798 | -1.7533e-08
134.102 | -1.7667e-08
134.408 | -1.7599e-08
134.718 | -1.7611e-08
135.022 | -1.7604e-08
135.324 | -1.7642e-08
135.612 | -1.7665e-08
135.907 | -1.7681e-08
136.212 | -1.7693e-08
136.507 | -1.7679e-08
136.799 | -1.7721e-08
137.104 | -1.7746e-08
137.404 | -1.779e-08
137.724 | -1.7776e-08
138.022 | -1.7821e-08
138.311 | -1.7826e-08
138.59 | -1.7816e-08
138.928 | -1.7872e-08
139.204 | -1.7932e-08
139.517 | -1.7945e-08
139.799 | -1.8e-08
140.087 | -1.8026e-08
140.383 | -1.8123e-08
140.699 | -1.8151e-08
140.997 | -1.8257e-08
141.315 | -1.8411e-08
141.607 | -1.8449e-08
141.885 | -1.8523e-08
142.216 | -1.8548e-08
142.547 | -1.8526e-08
142.8 | -1.857e-08
143.124 | -1.8615e-08
143.394 | -1.8636e-08
143.709 | -1.8687e-08
144.021 | -1.8671e-08
144.324 | -1.8747e-08
144.581 | -1.8778e-08
144.909 | -1.879e-08
145.191 | -1.8765e-08
145.486 | -1.8873e-08
145.791 | -1.9238e-08
146.098 | -1.9174e-08
146.423 | -1.9562e-08
146.722 | -1.9536e-08
147.009 | -1.9523e-08
147.312 | -1.9879e-08
147.613 | -1.9557e-08
147.908 | -1.9608e-08
148.219 | -1.9603e-08
148.526 | -1.9716e-08
148.842 | -1.9743e-08
149.122 | -1.9903e-08
149.399 | -2.0017e-08
149.71 | -1.9928e-08
150.021 | -1.993e-08
150.305 | -1.9928e-08
150.614 | -1.9992e-08
150.919 | -1.9939e-08
151.229 | -2.0002e-08
151.525 | -2.0059e-08
151.777 | -2.0173e-08
152.101 | -2.0106e-08
152.406 | -1.956e-08
152.705 | -1.9569e-08
153.037 | -1.9759e-08
153.316 | -1.9679e-08
153.587 | -1.9726e-08
153.909 | -1.9833e-08
154.178 | -1.9727e-08
154.498 | -2.0131e-08
154.812 | -2.0058e-08
155.121 | -2.0206e-08
155.42 | -2.0791e-08
155.714 | -2.0813e-08
156.016 | -2.4315e-08
156.312 | -2.1031e-08
156.618 | -2.1688e-08
156.892 | -2.227e-08
157.212 | -2.2098e-08
157.505 | -2.2067e-08
157.809 | -2.171e-08
158.086 | -2.1761e-08
158.401 | -2.2224e-08
158.7 | -2.2386e-08
159.036 | -2.2789e-08
159.323 | -2.2899e-08
159.589 | -2.2866e-08
159.899 | -2.2936e-08
160.189 | -2.2652e-08
160.489 | -2.2646e-08
160.798 | -2.282e-08
161.109 | -2.2691e-08
161.414 | -2.2709e-08
161.698 | -2.2853e-08
161.994 | -2.2578e-08
162.327 | -2.2824e-08
162.612 | -2.2894e-08
162.925 | -2.3426e-08
163.229 | -2.3178e-08
163.521 | -2.3282e-08
163.828 | -2.3362e-08
164.114 | -2.3232e-08
164.413 | -2.3356e-08
164.709 | -2.3518e-08
165.013 | -2.3578e-08
165.299 | -2.3702e-08
165.591 | -2.3836e-08
165.906 | -2.4429e-08
166.221 | -2.4019e-08
166.523 | -2.4256e-08
166.804 | -2.4096e-08
167.118 | -2.4531e-08
167.429 | -2.4851e-08
167.734 | -2.5234e-08
168.01 | -2.5499e-08
168.304 | -2.7954e-08
168.588 | -2.5481e-08
168.886 | -2.5383e-08
169.193 | -2.5546e-08
169.498 | -2.6008e-08
169.802 | -2.6915e-08
170.119 | -2.7343e-08
170.379 | -2.6647e-08
170.74 | -2.8063e-08
171.022 | -3.0191e-08
171.318 | -2.9648e-08
171.618 | -2.9589e-08
171.91 | -3.1487e-08
172.22 | -2.488e-08
172.519 | -2.4686e-08
172.777 | -2.5531e-08
173.078 | -2.5446e-08
173.422 | -2.507e-08
173.708 | -2.5165e-08
174.011 | -2.4813e-08
174.322 | -2.4149e-08
174.623 | -2.5496e-08
174.924 | -2.3232e-08
175.204 | -2.2754e-08
175.509 | -2.2735e-08
175.813 | -2.2674e-08
176.116 | -2.3045e-08
176.396 | -2.2991e-08
176.694 | -2.3384e-08
177.027 | -2.3307e-08
177.327 | -2.3369e-08
177.577 | -2.3513e-08
177.923 | -2.3563e-08
178.222 | -2.3687e-08
178.524 | -2.3891e-08
178.827 | -2.4026e-08
179.122 | -2.4631e-08
179.402 | -2.4728e-08
179.699 | -2.4244e-08
180.001 | -2.3983e-08
180.307 | -2.4717e-08
180.609 | -2.3932e-08
180.908 | -2.3517e-08
181.208 | -2.3584e-08
181.503 | -2.3439e-08
181.799 | -2.3499e-08
182.118 | -2.4066e-08
182.419 | -2.4091e-08
182.715 | -2.362e-08
182.995 | -2.478e-08
183.306 | -2.4947e-08
183.589 | -2.5368e-08
183.928 | -2.5113e-08
184.199 | -2.5131e-08
184.519 | -2.5464e-08
184.808 | -2.5436e-08
185.119 | -2.6071e-08
185.377 | -2.6105e-08
185.703 | -2.632e-08
186.029 | -2.6727e-08
186.311 | -2.6978e-08
186.597 | -2.9842e-08
186.939 | -2.4604e-08
187.211 | -2.4764e-08
187.514 | -2.4445e-08
187.801 | -2.6826e-08
188.108 | -2.855e-08
188.389 | -2.6222e-08
188.723 | -2.4111e-08
188.994 | -2.364e-08
189.3 | -2.3652e-08
189.594 | -2.3585e-08
189.9 | -2.3681e-08
190.188 | -2.3713e-08
190.479 | -2.3705e-08
190.834 | -2.3722e-08
191.121 | -2.3762e-08
191.419 | -2.3739e-08
191.705 | -2.3778e-08
191.979 | -2.376e-08
192.322 | -2.3803e-08
192.619 | -2.3849e-08
192.922 | -2.3891e-08
193.214 | -2.3965e-08
193.516 | -2.3984e-08
193.793 | -2.4014e-08
194.117 | -2.4046e-08
194.399 | -2.4103e-08
194.686 | -2.4114e-08
194.977 | -2.4164e-08
195.281 | -2.3959e-08
195.631 | -2.3895e-08
195.877 | -2.4308e-08
196.222 | -2.4314e-08
196.515 | -2.4303e-08
196.832 | -2.4417e-08
197.077 | -2.4188e-08
197.429 | -2.447e-08
197.748 | -2.4399e-08
198.047 | -2.45e-08
198.322 | -2.4106e-08
198.582 | -2.4291e-08
198.899 | -2.4228e-08
199.214 | -2.4293e-08
199.516 | -2.4406e-08
199.817 | -2.4299e-08
200.122 | -2.445e-08
200.377 | -2.4466e-08
200.696 | -2.4177e-08
201.036 | -2.4347e-08
201.297 | -2.4271e-08
201.601 | -2.4392e-08
201.893 | -2.4423e-08
202.219 | -2.4474e-08
202.528 | -2.4595e-08
202.813 | -2.493e-08
203.103 | -2.5184e-08
203.43 | -2.5538e-08
203.699 | -2.5913e-08
204.022 | -2.6058e-08
204.292 | -2.587e-08
204.616 | -2.5805e-08
204.887 | -2.5381e-08
205.218 | -2.5529e-08
205.513 | -2.5516e-08
205.81 | -2.5986e-08
206.099 | -2.6537e-08
206.404 | -2.7114e-08
206.713 | -3.1044e-08
207.014 | -3.0952e-08
207.287 | -3.1433e-08
207.611 | -3.5997e-08
207.921 | -3.9475e-08
208.206 | -4.2564e-08
208.538 | -4.5118e-08
208.809 | -4.0817e-08
209.101 | -3.5093e-08
209.377 | -3.7026e-08
209.718 | -3.351e-08
210.012 | -3.5042e-08
210.31 | -3.8362e-08
210.605 | -3.5644e-08
210.905 | -3.528e-08
211.203 | -3.4362e-08
211.503 | -3.4281e-08
211.804 | -3.4331e-08
212.105 | -4.0572e-08
212.407 | -4.2448e-08
212.691 | -3.8668e-08
212.993 | -3.8434e-08
213.308 | -3.6901e-08
213.589 | -3.6934e-08
213.889 | -4.1308e-08
214.189 | -3.6849e-08
214.488 | -3.4384e-08
214.788 | -3.6215e-08
215.106 | -3.9344e-08
215.406 | -3.7245e-08
215.706 | -3.2289e-08
216.007 | -3.1386e-08
216.307 | -3.2473e-08
216.608 | -3.3898e-08
216.907 | -2.7777e-08
217.208 | -2.7335e-08
217.508 | -2.7865e-08
217.808 | -2.8175e-08
218.107 | -2.7986e-08
218.394 | -2.3969e-08
218.695 | -1.5167e-08
218.998 | -2.7758e-08
219.319 | -2.8177e-08
219.625 | -2.1744e-08
219.913 | -2.5579e-08
220.216 | -2.8355e-08
220.536 | -2.7925e-08
220.82 | -2.8221e-08
221.119 | -2.7919e-08
221.419 | -2.8031e-08
221.717 | -1.0854e-08
222.014 | -2.4639e-08
222.314 | -2.7357e-08
222.611 | -2.3856e-08
222.927 | -1.0498e-08
223.224 | -2.1469e-09
223.524 | -2.3321e-09
223.824 | -1.315e-08
224.122 | -1.8256e-08
224.422 | -2.5217e-08
224.707 | -1.8299e-08
225.005 | -3.8249e-09
225.305 | -8.6542e-09
225.606 | -2.9006e-08
225.904 | -2.9868e-08
226.204 | -2.991e-08
226.489 | -3.0269e-08
226.788 | -2.8551e-08
227.088 | -2.9893e-08
227.388 | -2.9505e-08
227.704 | -4.1353e-09
228.005 | -3.6057e-09
228.301 | -7.7931e-09
228.599 | -9.8388e-09
228.896 | -2.0679e-08
229.194 | -2.6265e-08
229.543 | -2.8273e-08
229.842 | -2.8693e-08
230.142 | -2.9141e-08
230.442 | -3.0213e-08
230.743 | -3.0341e-08
230.979 | -3.0508e-08
231.297 | -3.0553e-08
231.583 | -3.0825e-08
231.884 | -3.075e-08
232.202 | -3.0957e-08
232.503 | -3.054e-08
232.803 | -3.0507e-08
233.104 | -3.0594e-08
233.403 | -3.0904e-08
233.72 | -3.0923e-08
234.02 | -3.107e-08
234.318 | -3.1158e-08
234.619 | -3.1176e-08
234.92 | -3.1338e-08
235.22 | -3.1209e-08
235.519 | -3.1322e-08
235.82 | -3.1942e-08
236.12 | -3.219e-08
236.404 | -3.2383e-08
236.721 | -3.2518e-08
237.02 | -3.2602e-08
237.32 | -3.2506e-08
237.62 | -3.2599e-08
237.938 | -3.2479e-08
238.239 | -3.2323e-08
238.49 | -3.2108e-08
238.79 | -3.2036e-08
239.089 | -3.2574e-08
239.388 | -3.2477e-08
239.688 | -2.8146e-08
240.005 | -2.9069e-08
240.305 | -2.9742e-08
240.606 | -3.0354e-08
240.906 | -3.0648e-08
241.206 | -2.8893e-08
241.506 | -2.2021e-08
241.805 | -3.3783e-08
242.106 | -3.3697e-08
242.406 | -3.3945e-08
242.706 | -3.4e-08
243.023 | -1.8738e-08
243.322 | -1.8261e-08
243.622 | -2.3661e-08
243.923 | -2.2494e-08
244.22 | -1.8741e-08
244.516 | -2.5391e-08
244.814 | -2.46e-08
245.112 | -2.515e-08
245.412 | -2.4955e-08
245.711 | -2.4557e-08
246.009 | -2.1562e-08
246.309 | -1.7215e-08
246.61 | -1.8773e-08
246.911 | -1.3959e-08
247.21 | -1.812e-08
247.51 | -1.3902e-08
247.812 | -1.395e-08
248.112 | -1.4522e-08
248.415 | -1.6689e-08
248.714 | -1.4893e-08
249.014 | -1.2889e-08
249.314 | -1.2871e-08
249.617 | -1.4888e-08
249.899 | -1.594e-08
250.2 | -1.7183e-08
250.5 | -1.3877e-08
250.802 | -9.3165e-09
251.118 | -8.271e-09
251.419 | -9.1934e-09
251.72 | -9.6911e-09
252.019 | -1.8509e-08
252.302 | -1.6306e-08
252.621 | -3.2906e-08
252.904 | -3.6907e-08
253.206 | -3.6926e-08
253.504 | -3.7086e-08
253.803 | -3.7218e-08
254.105 | -3.7377e-08
254.405 | -7.4327e-09
254.722 | -6.7379e-09
255.021 | -5.417e-09
255.323 | -5.8433e-09
255.606 | -6.1674e-09
255.922 | -7.9588e-09
256.222 | -1.2149e-08
256.523 | -1.4148e-08
256.822 | -1.2399e-08
257.138 | -1.2127e-08
257.422 | -1.2473e-08
257.722 | -1.2872e-08
258.024 | -2.2613e-08
258.338 | -3.0326e-08
258.623 | -3.408e-08
258.922 | -3.2858e-08
259.239 | -3.063e-08
259.489 | -3.1672e-08
259.789 | -3.2844e-08
260.09 | -3.5503e-08
260.389 | -3.6375e-08
260.69 | -3.7135e-08
260.99 | -3.9375e-08
261.333 | -4.0388e-08
261.585 | -4.0489e-08
261.881 | -4.0465e-08
262.23 | -4.0702e-08
262.478 | -4.0742e-08
262.828 | -4.0997e-08
263.128 | -4.0987e-08
263.394 | -4.116e-08
263.693 | -4.1284e-08
264.011 | -2.7196e-08
264.295 | -2.5259e-08
264.596 | -3.0972e-08
264.897 | -2.969e-08
265.196 | -2.8517e-08
265.497 | -3.7004e-08
265.798 | -3.6893e-08
266.099 | -3.6256e-08
266.399 | -3.4619e-08
266.716 | -1.1044e-08
267.017 | -1.1129e-08
267.301 | -1.2797e-08
267.618 | -1.4228e-08
267.919 | -5.5132e-08
268.219 | -5.4554e-08
268.52 | -5.4997e-08
268.819 | -5.4867e-08
269.136 | -5.5258e-08
269.437 | -5.5115e-08
269.737 | -5.5787e-08
269.987 | -5.587e-08
270.288 | -5.6438e-08
270.588 | -5.6926e-08
270.887 | -5.7071e-08
271.187 | -5.7217e-08
271.489 | -5.7412e-08
271.788 | -5.7931e-08
272.088 | -5.791e-08
272.388 | -5.7853e-08
272.704 | -5.7825e-08
272.989 | -5.8039e-08
273.289 | -5.8215e-08
273.588 | -5.8681e-08
273.905 | -5.8785e-08
274.206 | -5.889e-08
274.505 | -5.9024e-08
274.804 | -5.9152e-08
275.105 | -5.9439e-08
275.406 | -5.9471e-08
275.722 | -5.9773e-08
276.022 | -5.9597e-08
276.321 | -5.9752e-08
276.621 | -6.0025e-08
276.888 | -6.0133e-08
277.189 | -6.1377e-08
277.505 | -6.2593e-08
277.805 | -6.2641e-08
278.105 | -6.2882e-08
278.406 | -6.2951e-08
278.688 | -6.3286e-08
278.988 | -6.3518e-08
279.285 | -6.363e-08
279.6 | -6.3904e-08
279.897 | -6.4133e-08
280.178 | -6.4222e-08
280.495 | -6.4501e-08
280.843 | -6.47e-08
281.093 | -6.4753e-08
281.393 | -6.4912e-08
281.711 | -6.5149e-08
282.011 | -6.516e-08
282.329 | -6.5512e-08
282.579 | -6.563e-08
282.896 | -6.5764e-08
283.197 | -6.6006e-08
283.497 | -6.6216e-08
283.797 | -6.6255e-08
284.098 | -6.6552e-08
284.399 | -6.679e-08
284.717 | -6.7041e-08
285.017 | -6.7452e-08
285.317 | -6.7435e-08
285.618 | -6.7748e-08
285.919 | -6.821e-08
286.218 | -6.8267e-08
286.485 | -6.8496e-08
286.785 | -6.8489e-08
287.135 | -6.8477e-08
287.385 | -6.8739e-08
287.685 | -6.8958e-08
287.986 | -6.9313e-08
288.304 | -6.9452e-08
288.603 | -6.972e-08
288.904 | -6.9902e-08
289.205 | -7.0111e-08
289.503 | -7.0313e-08
289.804 | -7.04e-08
290.104 | -7.0779e-08
290.387 | -7.0869e-08
290.686 | -7.102e-08
290.988 | -7.128e-08
291.304 | -7.1692e-08
291.605 | -7.1837e-08
291.906 | -7.2153e-08
292.222 | -7.2114e-08
292.521 | -7.2717e-08
292.821 | -7.2926e-08
293.122 | -7.3169e-08
293.421 | -7.3486e-08
293.723 | -7.3764e-08
294.021 | -7.4171e-08
294.32 | -7.4018e-08
294.621 | -7.4496e-08
294.938 | -7.4596e-08
295.237 | -7.4904e-08
295.539 | -7.5219e-08
295.804 | -7.5492e-08
296.103 | -7.589e-08
296.405 | -7.6367e-08
296.705 | -7.6784e-08
297.005 | -7.6805e-08
297.305 | -7.7207e-08
297.604 | -7.7527e-08
297.922 | -7.7922e-08
298.221 | -7.8107e-08
298.522 | -7.8194e-08
298.819 | -7.8544e-08
299.117 | -7.8626e-08
299.415 | -7.898e-08
299.73 | -7.9133e-08
299.98 | -7.9264e-08
300.279 | -7.9719e-08
300.595 | -8.0005e-08
300.897 | -8.0101e-08
301.197 | -8.0782e-08
301.514 | -8.1266e-08
301.813 | -8.1747e-08
302.115 | -8.1957e-08
302.417 | -8.2247e-08
302.715 | -8.2162e-08
302.983 | -8.2598e-08
303.301 | -8.3064e-08
303.6 | -8.2989e-08
303.935 | -8.3497e-08
304.184 | -8.3708e-08
304.486 | -8.4126e-08
304.802 | -8.4488e-08
305.102 | -8.4532e-08
305.402 | -8.4803e-08
305.702 | -8.5167e-08
306.004 | -8.5107e-08
306.321 | -8.5542e-08
306.62 | -8.6049e-08
306.922 | -8.6187e-08
307.222 | -8.6334e-08
307.539 | -8.6219e-08
307.789 | -8.6956e-08
308.107 | -8.6293e-08
308.406 | -8.7145e-08
308.707 | -8.7254e-08
309.007 | -8.7698e-08
309.307 | -8.8036e-08
309.607 | -8.8496e-08
309.907 | -8.8537e-08
310.224 | -8.9113e-08
310.541 | -8.9627e-08
310.791 | -8.9958e-08
311.09 | -9.0203e-08
311.406 | -9.0797e-08
311.724 | -9.1141e-08
312.025 | -9.1492e-08
312.325 | -9.1688e-08
312.625 | -9.1892e-08
312.925 | -9.2171e-08
313.224 | -9.2609e-08
313.492 | -9.306e-08
313.792 | -9.3533e-08
314.092 | -9.3648e-08
314.391 | -9.3982e-08
314.709 | -9.4175e-08
315.009 | -9.4656e-08
315.308 | -9.4698e-08
315.624 | -9.5034e-08
315.924 | -9.5374e-08
316.225 | -9.581e-08
316.523 | -9.6232e-08
316.825 | -9.6242e-08
317.091 | -9.6516e-08
317.425 | -9.6904e-08
317.724 | -9.7108e-08
318.025 | -9.7061e-08
318.323 | -9.7354e-08
318.641 | -9.769e-08
318.94 | -9.8563e-08
319.19 | -9.8891e-08
319.506 | -9.8817e-08
319.807 | -9.9797e-08
320.106 | -1.0021e-07