## Settings
Sample Info | so303, b8, run06
Sample Description | -1.0/+0.0/-1.0 V
Major Measurement Parameters
Starting Temperature | 308.414
Initial Temperature | 81
Final Temperature | 320
Preliminary Voltage | -1
Pulse Voltage | 0
Pulse Time | 5
Measurement Voltage | -1
Subsidiary Measurement Parameters
Step | 0.3
Accuracy Step | 0.1
Accuracy Stable | 0.5
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 10
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 3
Measurecount | 1
время
Date | 20.9.2023
Time | 20:40:56

## Stabilization
Temperature | Current
307.167 | -1.0596e-07
306.174 | -8.5251e-08
305.353 | -8.0481e-08
304.624 | -8.231e-08
303.873 | -7.7864e-08
302.998 | -7.8412e-08
302.343 | -8.4954e-08
301.607 | -8.5323e-08
300.831 | -7.8627e-08
300.068 | -7.851e-08
299.208 | -7.9082e-08
298.397 | -8.4721e-08
297.579 | -1.0302e-07
296.208 | -1.1798e-07
295.459 | -1.0859e-07
294.537 | -1.1313e-07
293.806 | -1.2099e-07
292.949 | -1.4481e-07
292.193 | -1.5176e-07
291.233 | -1.3248e-07
290.551 | -1.4121e-07
289.858 | -1.658e-07
288.931 | -1.8475e-07
288.219 | -2.0398e-07
287.454 | -1.6176e-07
286.796 | -1.3253e-07
285.981 | -1.4262e-07
285.064 | -8.7562e-08
283.878 | -1.3959e-07
283.167 | -1.1936e-07
282.25 | -9.5023e-08
281.596 | -9.383e-08
280.351 | -8.2685e-08
279.325 | -7.7546e-08
278.51 | -7.9448e-08
277.793 | -7.2091e-08
277.034 | -7.1245e-08
276.395 | -7.1664e-08
275.553 | -7.211e-08
274.896 | -7.3511e-08
274.161 | -7.4235e-08
273.485 | -7.5643e-08
272.605 | -7.8049e-08
272.01 | -8.8574e-08
271.395 | -9.6376e-08
270.684 | -9.9121e-08
269.515 | -1.1702e-07
268.727 | -1.3289e-07
268.025 | -1.3917e-07
267.402 | -1.473e-07
266.678 | -1.4773e-07
266.157 | -1.3652e-07
265.489 | -1.3637e-07
265.011 | -1.3427e-07
264.297 | -1.3598e-07
263.781 | -1.3378e-07
263.052 | -1.3353e-07
262.574 | -1.3189e-07
261.978 | -1.3003e-07
261.47 | -1.2933e-07
260.778 | -1.2839e-07
260.321 | -1.2716e-07
259.787 | -1.259e-07
259.157 | -1.2597e-07
258.65 | -1.2533e-07
258.184 | -1.2411e-07
257.776 | -1.2262e-07
257.241 | -1.1945e-07
256.847 | -1.1879e-07
256.27 | -1.1826e-07
255.808 | -1.1731e-07
255.348 | -1.1584e-07
254.969 | -1.1373e-07
254.451 | -1.1404e-07
254.07 | -1.1224e-07
253.539 | -1.1236e-07
253.223 | -1.136e-07
252.676 | -1.1565e-07
252.36 | -1.1261e-07
251.992 | -1.0769e-07
251.738 | -1.1732e-07
251.519 | -1.423e-07
251.312 | -2.3737e-07
251.086 | -3.4259e-07
250.918 | -7.0696e-07
250.729 | -6.3601e-07
250.498 | -1.7717e-07
250.073 | -6.1051e-08
249.542 | -5.9078e-08
249.28 | -5.8178e-08
248.998 | -1.0495e-07
248.711 | -7.3234e-08
248.411 | -6.2726e-08
248.157 | -7.2455e-08
247.84 | -9.2639e-08
247.471 | -8.8838e-08
247.149 | -9.2666e-08
246.676 | -1.0013e-07
246.438 | -2.5279e-08
246.036 | -2.5529e-08
245.63 | -1.2422e-08
245.138 | -2.6747e-08
244.963 | -1.1502e-08
244.773 | -7.2953e-09
244.608 | -8.8549e-09
244.442 | -4.0247e-09
244.162 | -3.9836e-09
244.005 | -3.2697e-09
243.865 | -3.2356e-09
243.723 | -3.1102e-09
243.507 | -2.5877e-09
243.223 | -3.9509e-09
242.987 | -2.0003e-09
242.852 | -1.8164e-09
242.658 | -1.9156e-09
242.509 | -1.4757e-09
242.212 | -9.6004e-09
241.848 | -1.8827e-09
241.707 | -1.1646e-09
241.553 | -1.2042e-09
241.382 | -4.3482e-10
241.242 | -1.0388e-09
241.082 | -1.3634e-09
240.942 | -1.5588e-09
240.801 | -1.6417e-09
240.585 | -2.1268e-09
240.333 | -2.6172e-09
240.193 | -4.5472e-09
240.053 | -4.1545e-09
239.908 | -5.1075e-09
239.717 | -3.3129e-09
239.557 | -3.1675e-09
239.42 | -1.9595e-09
239.276 | -2.4232e-09
239.141 | -2.0682e-09
238.964 | -3.4027e-09
238.824 | -6.9862e-09
238.682 | -7.9578e-09
238.554 | -5.8785e-10
238.414 | -6.9538e-10
238.276 | -7.8148e-10
238.138 | -7.0704e-10
238.006 | -8.7698e-10
237.862 | -9.8481e-10
237.724 | -1.669e-09
237.586 | -6.8344e-10
237.458 | -6.133e-10
237.321 | -6.7603e-10
237.179 | -7.9838e-10
237.033 | -8.9159e-10
236.892 | -1.0317e-09
236.707 | -7.1253e-10
236.423 | -7.0029e-10
236.268 | -6.1322e-10
236.127 | -6.1765e-10
235.991 | -6.2854e-10
235.851 | -8.2144e-10
235.717 | -2.0966e-09
235.572 | -2.2596e-09
235.427 | -2.4453e-09
235.276 | -2.4046e-09
235.073 | -2.6103e-09
234.928 | -2.7566e-09
234.783 | -3.2643e-09
234.649 | -3.5634e-09
234.506 | -3.4948e-09
234.349 | -3.9385e-09
234.205 | -4.0286e-09
234.051 | -3.8798e-09
233.897 | -4.3584e-09
233.734 | -4.3212e-09
233.581 | -4.6604e-09
233.432 | -5.3683e-09
233.257 | -5.6694e-09
233.118 | -5.8645e-09
232.965 | -5.3733e-09
232.811 | -6.0325e-09
232.652 | -6.9313e-09
232.46 | -6.6044e-09
232.264 | -5.1509e-09
232.116 | -4.7934e-09
231.967 | -5.0156e-09
231.82 | -5.2723e-09
231.669 | -5.31e-09
231.514 | -5.505e-09
231.362 | -5.9753e-09
231.216 | -6.7022e-09
231.06 | -7.3558e-09
230.921 | -8.5922e-09
230.641 | -1.2015e-08
230.467 | -1.2464e-08
230.26 | -1.2246e-08
230.12 | -1.28e-08
229.969 | -1.0204e-08
229.775 | -7.9879e-09
229.616 | -9.0559e-09
229.459 | -7.5971e-09
229.307 | -6.3003e-09
229.142 | -6.7226e-09
228.974 | -6.122e-09
228.794 | -6.4067e-09
228.65 | -6.3654e-09
228.493 | -5.9141e-09
228.34 | -5.5577e-09
228.171 | -6.0903e-09
228.014 | -6.4305e-09
227.853 | -5.0676e-09
227.706 | -4.0804e-09
227.552 | -5.9954e-09
227.382 | -5.5135e-09
227.221 | -5.0601e-09
227.061 | -3.6306e-09
226.902 | -4.1693e-09
226.739 | -3.3148e-09
226.577 | -4.2613e-09
226.419 | -4.375e-09
226.267 | -2.8538e-09
226.069 | -4.4839e-09
225.789 | -4.0255e-09
225.597 | -3.8989e-09
225.38 | -3.4085e-09
225.157 | -3.891e-09
224.936 | -4.2065e-09
224.718 | -4.2058e-09
224.501 | -2.3008e-09
224.283 | -3.3622e-09
224.065 | -2.7308e-09
223.835 | -2.7855e-09
223.63 | -3.3061e-09
223.414 | -3.6509e-09
223.189 | -4.6607e-09
222.918 | -5.9447e-09
222.59 | -4.4842e-09
222.308 | -6.6735e-09
222.06 | -5.8393e-09
221.814 | -4.612e-09
221.576 | -5.0025e-09
221.322 | -4.9053e-09
221.068 | -4.2826e-09
220.817 | -3.1098e-09
220.574 | -3.4909e-09
220.314 | -3.8031e-09
220.058 | -4.2443e-09
219.811 | -8.1566e-09
219.593 | -7.7538e-09
219.341 | -8.2339e-09
219.096 | -9.5081e-09
218.705 | -3.1349e-08
218.463 | -3.6402e-08
218.227 | -1.9305e-08
217.98 | -2.1444e-08
217.739 | -2.4086e-08
217.49 | -2.4652e-08
217.236 | -2.4294e-08
216.961 | -2.0734e-08
216.691 | -2.0452e-08
216.419 | -2.0334e-08
216.149 | -2.2051e-08
215.868 | -2.1966e-08
215.584 | -1.6293e-08
215.323 | -1.1499e-08
215.03 | -2e-08
214.727 | -1.297e-08
214.435 | -1.5195e-08
214.162 | -1.6614e-08
213.87 | -1.2757e-08
213.567 | -1.3536e-08
213.268 | -1.3746e-08
212.959 | -1.2426e-08
212.643 | -1.1102e-08
212.311 | -1.1428e-08
211.968 | -1.157e-08
211.618 | -1.1005e-08
211.259 | -1.1208e-08
210.923 | -1.1331e-08
210.542 | -1.0299e-08
210.075 | -6.6566e-09
209.694 | -6.7492e-09
209.332 | -6.4985e-09
208.961 | -6.0698e-09
208.562 | -5.7345e-09
208.178 | -4.5187e-09
207.786 | -4.2252e-09
207.356 | -5.5749e-09
206.882 | -5.8687e-09
206.431 | -4.2666e-09
206.026 | -3.9195e-09
205.565 | -3.8198e-09
205.123 | -3.7886e-09
204.684 | -4.0624e-09
204.215 | -4.0554e-09
203.759 | -5.7409e-09
203.304 | -6.8616e-09
202.777 | -5.2729e-09
202.24 | -5.4383e-09
201.689 | -9.6515e-09
201.117 | -1.7937e-09
200.486 | -1.7851e-09
199.865 | -1.4444e-09
199.249 | -1.2856e-09
198.664 | -1.2629e-09
198.121 | -1.262e-09
197.569 | -1.3783e-09
196.914 | -1.2186e-09
196.22 | -2.043e-09
195.554 | -2.9072e-09
194.849 | -4.3171e-09
194.057 | -9.4457e-09
192.683 | -4.1661e-08
191.866 | -1.1686e-08
190.254 | -1.3688e-08
189.105 | -6.84e-09
187.636 | -1.9271e-08
186.574 | -9.5906e-09
185.188 | -1.516e-08
184.326 | -1.0884e-08
183.478 | -5.2132e-08
182.408 | -6.2205e-09
181.53 | -3.5919e-09
180.711 | -5.7922e-09
179.273 | -5.3823e-08
178.468 | -4.9468e-08
177.678 | -4.8279e-08
176.896 | -4.9055e-08
176.066 | -4.8635e-08
175.345 | -4.6019e-08
174.481 | -4.4445e-08
173.611 | -4.7894e-08
172.776 | -5.3204e-08
171.938 | -6.7052e-08
171.147 | -5.5312e-08
170.332 | -6.7823e-08
169.591 | -5.5141e-08
168.926 | -4.6829e-08
168.351 | -3.7675e-08
167.878 | -3.8375e-08
167.399 | -3.5834e-08
166.875 | -3.4927e-08
166.343 | -3.4624e-08
165.818 | -3.4743e-08
165.302 | -3.4661e-08
164.821 | -3.5569e-08
164.38 | -3.6613e-08
163.926 | -3.7072e-08
163.475 | -3.711e-08
162.973 | -3.4023e-08
162.499 | -3.2671e-08
161.988 | -3.221e-08
161.388 | -3.1991e-08
160.862 | -3.1741e-08
160.262 | -3.1494e-08
159.655 | -3.1271e-08
159.019 | -3.1106e-08
158.322 | -3.1036e-08
157.619 | -3.0935e-08
156.878 | -3.1382e-08
156.14 | -3.161e-08
155.407 | -3.2216e-08
154.618 | -3.336e-08
153.912 | -3.2995e-08
153.152 | -4.3624e-08
152.495 | -2.9618e-08
151.843 | -2.9276e-08
151.251 | -3.0636e-08
150.723 | -3.2986e-08
150.101 | -3.1509e-08
149.518 | -3.0631e-08
148.934 | -3.1191e-08
148.354 | -3.0869e-08
147.787 | -3.0544e-08
147.24 | -3.0907e-08
146.755 | -3.0709e-08
146.29 | -2.9724e-08
145.858 | -2.9605e-08
145.432 | -2.9951e-08
144.916 | -3.0085e-08
144.418 | -2.9068e-08
143.862 | -2.8751e-08
143.226 | -2.846e-08
142.643 | -2.8294e-08
142.03 | -2.8195e-08
141.373 | -2.8101e-08
140.791 | -2.8175e-08
140.185 | -2.8359e-08
139.63 | -2.7704e-08
139.078 | -2.806e-08
138.561 | -2.827e-08
138.159 | -2.8388e-08
137.765 | -2.8004e-08
137.418 | -3.1012e-08
137.089 | -3.2108e-08
136.708 | -3.0884e-08
136.344 | -2.912e-08
136.004 | -3.1292e-08
135.661 | -2.9695e-08
135.294 | -2.7687e-08
134.816 | -3.0575e-08
134.264 | -3.0929e-08
133.801 | -3.0595e-08
133.346 | -2.9131e-08
132.963 | -2.8592e-08
132.579 | -2.2276e-08
132.166 | -3.0856e-08
131.728 | -3.4266e-08
131.233 | -4.626e-08
130.792 | -5.2581e-08
130.113 | -2.8897e-07
129.261 | -6.6249e-08
128.737 | -7.1373e-08
128.385 | -5.7008e-08
127.805 | -6.7529e-08
127.428 | -6.6288e-08
127.16 | -7.156e-08
126.839 | -6.7042e-08
126.532 | -6.6134e-08
126.229 | -5.2745e-08
125.929 | -3.956e-08
125.617 | -3.7336e-08
125.214 | -4.0873e-08
124.719 | -6.0139e-08
124.231 | -6.7082e-08
123.751 | -5.821e-08
123.244 | -6.5954e-08
122.689 | -6.6037e-08
122.132 | -8.3532e-08
121.477 | -8.8246e-08
120.21 | -8.8306e-08
119.382 | -7.8084e-08
118.84 | -4.5838e-08
118.366 | -3.9806e-08
117.949 | -3.6186e-08
117.376 | -3.275e-08
116.721 | -3.5304e-08
116.118 | -2.9827e-08
115.615 | -2.3273e-08
115.023 | -3.3439e-08
114.3 | -1.9089e-08
113.624 | -1.7196e-08
112.851 | -1.5141e-08
112.178 | -1.4834e-08
111.544 | -1.1652e-08
111.029 | -1.118e-08
110.64 | -1.1105e-08
110.303 | -1.1169e-08
110.019 | -1.1157e-08
109.738 | -1.0752e-08
109.503 | -1.0624e-08
109.3 | -1.0639e-08
109.127 | -1.0138e-08
108.687 | -9.6717e-09
108.28 | -9.7502e-09
107.9 | -9.0697e-09
107.575 | -9.2686e-09
107.308 | -9.4009e-09
107.088 | -1.0225e-08
106.884 | -1.0414e-08
106.69 | -1.0388e-08
106.53 | -9.1749e-09
106.403 | -8.7375e-09
106.219 | -6.2007e-09
106.102 | -7.0321e-09
105.966 | -1.3384e-08
105.892 | -1.0087e-08
105.831 | -1.105e-08
105.785 | -1.0274e-08
105.758 | -2.0056e-08
105.739 | -2.2969e-08
105.73 | -1.9902e-08
105.731 | -2.7233e-08
105.74 | -2.395e-08
105.759 | -1.2939e-08
105.787 | -1.485e-08
105.819 | -2.4127e-08
105.857 | -2.3249e-08
105.906 | -3.9582e-08
105.959 | -3.5278e-08
106.023 | -3.0036e-08
106.084 | -1.4798e-08
106.136 | -1.9978e-08
106.134 | -2.1169e-08
106.061 | -2.2417e-08
105.96 | -2.5441e-08
105.815 | -1.9334e-08
105.434 | -4.9854e-08
105.069 | -1.7457e-08
104.82 | -1.6413e-08
104.637 | -1.0375e-08
104.441 | -9.5027e-09
104.218 | -9.4797e-09
104.002 | -9.3491e-09
103.781 | -9.3182e-09
103.588 | -9.2574e-09
103.417 | -9.1621e-09
102.917 | -9.1229e-09
102.373 | -9.067e-09
101.837 | -9.0241e-09
101.263 | -8.9807e-09
100.581 | -8.8909e-09
99.8268 | -8.802e-09
99.0349 | -8.7597e-09
98.2993 | -8.689e-09
97.6982 | -8.6698e-09
97.2695 | -8.7582e-09
96.9136 | -8.7284e-09
96.3106 | -8.6731e-09
95.6936 | -8.7975e-09
94.9824 | -8.8301e-09
94.2976 | -8.7097e-09
93.6317 | -8.7539e-09
92.6827 | -8.7584e-09
92.0987 | -8.8387e-09
91.5507 | -8.8579e-09
91.3227 | -8.8052e-09
91.0443 | -8.7385e-09
90.9294 | -8.6643e-09
90.8843 | -8.667e-09
90.8229 | -8.6606e-09
90.2915 | -8.2284e-09
90.1759 | -8.0403e-09
90.0137 | -7.7305e-09
89.9376 | -7.5835e-09
89.6298 | -7.4726e-09
89.2524 | -7.7751e-09
89.0463 | -7.6897e-09
88.4541 | -7.6254e-09
87.1277 | -7.4855e-09
86.295 | -7.3006e-09
85.217 | -7.5321e-09
84.5521 | -7.5428e-09
83.8576 | -7.6633e-09
83.4473 | -8.0587e-09
83.2109 | -7.8659e-09
83.0174 | -7.7777e-09
82.8442 | -7.4235e-09
82.5943 | -7.2346e-09
82.4017 | -7.2353e-09
82.0421 | -7.2259e-09
82.0928 | -7.1156e-09
81.8118 | -7.0683e-09
81.8005 | -6.6773e-09
81.6281 | -6.9696e-09
81.3164 | -6.6524e-09
80.9743 | -6.6058e-09
80.8361 | -6.7828e-09
80.8044 | -6.8957e-09
80.8327 | -6.8191e-09
80.9025 | -6.7026e-09
80.9936 | -6.6336e-09
81.1144 | -6.5861e-09
81.2469 | -6.2589e-09
81.3579 | -6.2511e-09

## Measurements
Temperature | Current
81.615 | -6.1226e-09
81.7273 | -6.1399e-09
82.021 | -5.8846e-09
82.3438 | -5.9024e-09
82.6338 | -5.8016e-09
82.9369 | -5.7701e-09
83.2504 | -5.6774e-09
83.5196 | -5.6352e-09
83.8551 | -5.6169e-09
84.1535 | -5.5807e-09
84.428 | -5.5883e-09
84.7691 | -5.5302e-09
85.0397 | -5.6261e-09
85.3364 | -5.5578e-09
85.6428 | -5.4954e-09
85.9474 | -5.4511e-09
86.2416 | -5.4153e-09
86.5532 | -5.4263e-09
86.8385 | -5.3181e-09
87.1273 | -5.3647e-09
87.4249 | -5.168e-09
87.731 | -5.1485e-09
88.0458 | -5.1056e-09
88.3666 | -5.0699e-09
88.6335 | -5.0445e-09
88.9593 | -5.0201e-09
89.2469 | -5.0014e-09
89.5483 | -4.9555e-09
89.8583 | -4.9255e-09
90.1221 | -4.9111e-09
90.44 | -4.9014e-09
90.7572 | -4.8799e-09
91.0797 | -4.8516e-09
91.3484 | -4.8271e-09
91.6692 | -4.8135e-09
91.9314 | -4.7938e-09
92.2481 | -4.762e-09
92.5605 | -4.75e-09
92.8205 | -4.7396e-09
93.1321 | -4.7233e-09
93.4398 | -4.6968e-09
93.7435 | -4.6792e-09
94.0417 | -4.652e-09
94.3373 | -4.6308e-09
94.6801 | -4.6084e-09
94.9783 | -4.5997e-09
95.277 | -4.5725e-09
95.527 | -4.5762e-09
95.8752 | -5.0344e-09
96.1802 | -4.7126e-09
96.4325 | -4.7618e-09
96.772 | -4.6836e-09
97.0233 | -4.6738e-09
97.3509 | -4.686e-09
97.6501 | -4.6676e-09
97.9661 | -4.6186e-09
98.2545 | -4.5549e-09
98.5642 | -4.5177e-09
98.8253 | -4.4987e-09
99.145 | -4.5058e-09
99.4688 | -4.4906e-09
99.7412 | -4.4769e-09
100.015 | -4.4811e-09
100.342 | -4.4847e-09
100.666 | -4.4652e-09
100.935 | -4.4609e-09
101.253 | -4.428e-09
101.516 | -4.4356e-09
101.832 | -4.418e-09
102.148 | -4.4329e-09
102.467 | -4.4109e-09
102.725 | -4.3957e-09
103.04 | -4.4055e-09
103.35 | -4.3729e-09
103.658 | -4.3637e-09
103.967 | -4.3471e-09
104.273 | -4.3374e-09
104.576 | -4.3264e-09
104.828 | -4.3078e-09
105.129 | -4.3214e-09
105.428 | -4.2873e-09
105.774 | -4.2781e-09
106.069 | -4.3069e-09
106.366 | -4.2968e-09
106.659 | -4.2919e-09
106.948 | -4.2835e-09
107.238 | -4.2907e-09
107.578 | -4.2946e-09
107.868 | -4.2792e-09
108.151 | -4.2741e-09
108.436 | -4.2754e-09
108.752 | -4.2487e-09
109.04 | -4.2509e-09
109.365 | -4.2268e-09
109.628 | -4.2453e-09
109.955 | -4.233e-09
110.239 | -4.242e-09
110.546 | -4.2281e-09
110.859 | -4.2506e-09
111.131 | -4.3494e-09
111.453 | -4.306e-09
111.737 | -4.345e-09
112.024 | -4.3867e-09
112.357 | -4.2927e-09
112.646 | -4.2968e-09
112.953 | -4.3317e-09
113.25 | -4.2848e-09
113.55 | -4.2375e-09
113.847 | -4.239e-09
114.141 | -4.2555e-09
114.437 | -4.2561e-09
114.756 | -4.2818e-09
115.045 | -4.2877e-09
115.346 | -4.2901e-09
115.642 | -4.2627e-09
115.959 | -4.2742e-09
116.264 | -4.2825e-09
116.521 | -4.2754e-09
116.827 | -4.2836e-09
117.126 | -4.2811e-09
117.448 | -4.2936e-09
117.752 | -4.2906e-09
118.06 | -4.3215e-09
118.315 | -4.3057e-09
118.624 | -4.3043e-09
118.929 | -4.3109e-09
119.253 | -4.2998e-09
119.557 | -4.3113e-09
119.847 | -4.3068e-09
120.152 | -4.3e-09
120.456 | -4.3114e-09
120.76 | -4.3002e-09
121.065 | -4.3208e-09
121.322 | -4.3165e-09
121.631 | -4.3115e-09
121.932 | -4.3145e-09
122.267 | -4.3363e-09
122.56 | -4.331e-09
122.865 | -4.329e-09
123.127 | -4.3336e-09
123.438 | -4.3471e-09
123.741 | -4.3576e-09
124.038 | -4.3905e-09
124.333 | -4.3983e-09
124.636 | -4.4691e-09
124.941 | -4.5018e-09
125.252 | -4.5937e-09
125.552 | -4.4061e-09
125.849 | -4.4084e-09
126.147 | -4.4184e-09
126.445 | -4.4117e-09
126.744 | -4.4177e-09
127.072 | -4.4368e-09
127.335 | -4.4329e-09
127.651 | -4.447e-09
127.961 | -4.4557e-09
128.216 | -4.4544e-09
128.521 | -4.4585e-09
128.832 | -4.4645e-09
129.144 | -4.4707e-09
129.457 | -4.4777e-09
129.716 | -4.4881e-09
130.025 | -4.7263e-09
130.342 | -4.5546e-09
130.638 | -4.5443e-09
130.92 | -4.5571e-09
131.247 | -4.5582e-09
131.546 | -4.5676e-09
131.85 | -4.5621e-09
132.164 | -4.563e-09
132.445 | -4.5591e-09
132.748 | -4.5699e-09
133.068 | -4.5777e-09
133.358 | -4.5794e-09
133.64 | -4.5863e-09
133.947 | -4.5854e-09
134.242 | -4.6086e-09
134.545 | -4.6017e-09
134.854 | -4.6056e-09
135.18 | -4.6259e-09
135.439 | -4.6365e-09
135.742 | -4.6464e-09
136.052 | -4.6521e-09
136.353 | -4.6476e-09
136.64 | -4.6524e-09
136.962 | -4.6528e-09
137.215 | -4.6516e-09
137.57 | -4.6672e-09
137.82 | -4.6777e-09
138.121 | -4.7001e-09
138.463 | -4.7033e-09
138.759 | -4.724e-09
139.058 | -4.7583e-09
139.354 | -4.7256e-09
139.654 | -4.7404e-09
139.955 | -4.7479e-09
140.261 | -4.7605e-09
140.517 | -4.7666e-09
140.873 | -4.7616e-09
141.124 | -4.7843e-09
141.474 | -4.7851e-09
141.757 | -4.7939e-09
142.058 | -4.7993e-09
142.359 | -4.8064e-09
142.665 | -4.8272e-09
142.933 | -4.8341e-09
143.235 | -4.8431e-09
143.534 | -4.8519e-09
143.834 | -4.8672e-09
144.135 | -4.8849e-09
144.45 | -4.8854e-09
144.747 | -4.9038e-09
145.051 | -4.904e-09
145.351 | -4.9357e-09
145.652 | -4.9555e-09
145.95 | -4.9565e-09
146.25 | -4.9696e-09
146.547 | -4.9737e-09
146.855 | -4.9868e-09
147.159 | -5.0031e-09
147.461 | -5.0223e-09
147.763 | -5.0265e-09
148.016 | -5.0222e-09
148.362 | -5.0422e-09
148.656 | -5.0696e-09
148.95 | -5.0673e-09
149.243 | -5.0924e-09
149.557 | -5.1157e-09
149.843 | -5.1156e-09
150.147 | -5.132e-09
150.462 | -5.1472e-09
150.744 | -5.1518e-09
151.028 | -5.1716e-09
151.329 | -5.1752e-09
151.637 | -4.4519e-09
151.941 | -5.2682e-09
152.246 | -5.2336e-09
152.559 | -5.2529e-09
152.823 | -5.2608e-09
153.128 | -5.2304e-09
153.432 | -5.2785e-09
153.737 | -5.2321e-09
154.021 | -5.2706e-09
154.361 | -5.2813e-09
154.659 | -5.343e-09
154.961 | -5.3509e-09
155.262 | -5.3793e-09
155.52 | -5.3823e-09
155.862 | -5.3889e-09
156.154 | -5.3999e-09
156.457 | -5.4288e-09
156.76 | -5.4372e-09
157.082 | -2.0564e-09
157.33 | -1.5601e-09
157.662 | -4.5284e-09
157.957 | -3.0575e-09
158.252 | -5.5061e-09
158.568 | -2.8578e-10
158.858 | -3.1497e-10
159.165 | -4.2511e-10
159.437 | -1.2372e-09
159.778 | -5.9049e-10
160.025 | -1.047e-09
160.327 | -1.0189e-09
160.65 | -1.0356e-09
160.947 | -1.6627e-09
161.233 | -1.2e-09
161.549 | -1.122e-09
161.86 | -1.2776e-09
162.141 | -6.3599e-09
162.447 | -6.0094e-09
162.737 | -5.8935e-09
163.042 | -6.0936e-09
163.351 | -6.1535e-09
163.661 | -7.352e-09
163.94 | -6.2099e-09
164.244 | -1.791e-09
164.558 | -1.1442e-09
164.865 | -1.0363e-09
165.174 | -2.7321e-09
165.435 | -1.1729e-09
165.751 | -1.4464e-09
166.044 | -1.5837e-09
166.345 | -1.8895e-09
166.648 | -1.8187e-09
166.954 | -5.0583e-09
167.277 | -2.5558e-10
167.579 | -3.1237e-10
167.83 | -4.0289e-10
168.135 | -4.9727e-10
168.439 | -3.2981e-10
168.749 | -3.423e-10
169.057 | -4.3305e-10
169.362 | -3.6691e-10
169.652 | -7.195e-10
169.948 | -4.9863e-10
170.247 | -5.6035e-10
170.547 | -6.1144e-10
170.856 | -6.8016e-10
171.151 | -4.6269e-10
171.451 | -3.8612e-10
171.752 | -3.5488e-10
172.052 | -1.0324e-09
172.355 | -1.7766e-09
172.659 | -8.0566e-10
172.934 | -1.0115e-09
173.233 | -2.5759e-09
173.516 | -2.5499e-09
173.858 | -2.4004e-09
174.156 | -2.4782e-09
174.459 | -2.5096e-09
174.764 | -2.5253e-09
175.044 | -2.322e-09
175.341 | -2.4333e-09
175.659 | -2.4184e-09
175.934 | -2.3722e-09
176.251 | -2.4802e-09
176.518 | -2.4395e-09
176.832 | -2.4205e-09
177.128 | -2.4396e-09
177.43 | -2.3579e-09
177.734 | -2.4605e-09
178.074 | -2.3666e-09
178.333 | -2.5052e-09
178.643 | -2.3118e-09
178.936 | -2.4711e-09
179.233 | -3.1705e-10
179.536 | -2.5155e-09
179.839 | -9.1458e-10
180.147 | -5.6454e-10
180.451 | -5.6395e-10
180.745 | -6.331e-10
181.046 | -9.6679e-10
181.347 | -1.0702e-09
181.651 | -1.0342e-09
181.959 | -1.1413e-09
182.25 | -1.1338e-09
182.538 | -6.2234e-10
182.855 | -5.9739e-10
183.157 | -6.6023e-10
183.462 | -3.0476e-08
183.738 | -3.621e-08
184.039 | -2.1925e-08
184.357 | -2.5046e-08
184.674 | -1.5386e-08
184.923 | -1.1101e-08
185.227 | -1.4898e-08
185.532 | -1.8637e-08
185.853 | -2.6932e-08
186.151 | -1.8784e-08
186.448 | -1.1203e-08
186.743 | -1.1072e-08
187.04 | -1.916e-08
187.357 | -2.4276e-08
187.667 | -2.3969e-08
187.937 | -4.0764e-08
188.226 | -2.2911e-07
188.543 | -4.3369e-07
188.844 | -7.9374e-08
189.129 | -1.1491e-07
189.465 | -1.5988e-08
189.758 | -8.8301e-09
190.021 | -6.4167e-09
190.346 | -4.6501e-09
190.661 | -5.6298e-09
190.964 | -6.34e-09
191.216 | -5.2214e-09
191.554 | -4.8691e-09
191.86 | -4.1695e-09
192.119 | -4.0114e-09
192.462 | -2.3731e-09
192.758 | -3.3162e-09
193.073 | -1.872e-09
193.325 | -1.3869e-09
193.628 | -1.4524e-09
193.936 | -1.0122e-09
194.247 | -2.1037e-09
194.525 | -1.9728e-09
194.821 | -1.7767e-09
195.15 | -1.0405e-09
195.468 | -1.8549e-09
195.728 | -3.5865e-09
196.046 | -9.9029e-10
196.325 | -8.7036e-10
196.659 | -1.8205e-09
196.95 | -1.0066e-09
197.248 | -1.4738e-09
197.556 | -8.7439e-10
197.818 | -1.6844e-09
198.17 | -5.2662e-10
198.449 | -9.0024e-10
198.735 | -9.5662e-10
199.049 | -1.7128e-09
199.352 | -2.111e-09
199.658 | -1.2593e-09
199.98 | -8.7331e-10
200.233 | -4.7752e-10
200.535 | -6.9643e-10
200.854 | -5.2726e-10
201.189 | -1.0199e-09
201.471 | -2.8745e-09
201.752 | -2.1041e-09
202.067 | -1.4013e-09
202.336 | -1.2162e-09
202.632 | -1.2022e-09
202.926 | -3.952e-09
203.219 | -3.2346e-09
203.556 | -1.67e-09
203.849 | -1.5395e-09
204.144 | -1.1128e-09
204.451 | -9.5618e-10
204.742 | -1.4908e-09
205.03 | -4.1797e-09
205.35 | -3.9845e-09
205.641 | -4.9292e-09
205.926 | -3.7056e-09
206.258 | -2.1449e-09
206.537 | -4.567e-09
206.861 | -1.0284e-08
207.151 | -4.6309e-09
207.434 | -5.624e-09
207.736 | -3.9585e-09
208.053 | -4.0181e-09
208.339 | -2.5561e-09
208.646 | -3.089e-09
208.94 | -3.7976e-09
209.229 | -3.7706e-09
209.564 | -5.1766e-09
209.858 | -5.0786e-09
210.15 | -5.3631e-09
210.469 | -6.7821e-09
210.723 | -6.451e-09
211.044 | -8.102e-09
211.335 | -8.5159e-09
211.623 | -9.1394e-09
211.962 | -7.1356e-09
212.253 | -6.7029e-09
212.519 | -7.3205e-09
212.823 | -6.8871e-09
213.124 | -7.313e-09
213.426 | -7.204e-09
213.727 | -8.2339e-09
214.025 | -8.5358e-09
214.319 | -7.9079e-09
214.635 | -9.5109e-09
214.981 | -1.0447e-08
215.244 | -8.2489e-09
215.559 | -9.613e-09
215.851 | -1.0796e-08
216.166 | -1.0744e-08
216.46 | -1.119e-08
216.754 | -1.2879e-08
217.056 | -1.2213e-08
217.355 | -1.5209e-08
217.676 | -1.5134e-08
217.93 | -1.4214e-08
218.236 | -1.61e-08
218.523 | -1.6838e-08
218.82 | -1.7158e-08
219.14 | -1.698e-08
219.428 | -1.7502e-08
219.738 | -1.9744e-08
220.041 | -2.3624e-08
220.359 | -1.9608e-08
220.659 | -1.8379e-08
220.95 | -1.6376e-08
221.232 | -1.5289e-08
221.545 | -1.5482e-08
221.847 | -1.6093e-08
222.148 | -1.93e-08
222.444 | -1.5337e-08
222.741 | -1.503e-08
223.056 | -1.5862e-08
223.359 | -1.6927e-08
223.657 | -1.9128e-08
223.924 | -1.7067e-08
224.219 | -1.8436e-08
224.538 | -1.8824e-08
224.836 | -1.8958e-08
225.132 | -2.0793e-08
225.435 | -1.8796e-08
225.734 | -1.7033e-08
226.05 | -1.8516e-08
226.353 | -2.0156e-08
226.655 | -2.1135e-08
226.949 | -2.3377e-08
227.262 | -2.3405e-08
227.565 | -2.3904e-08
227.863 | -2.8521e-08
228.156 | -3.0197e-08
228.42 | -3.5506e-08
228.765 | -4.5247e-08
229.065 | -4.1879e-08
229.316 | -4.6716e-08
229.635 | -3.1583e-08
229.933 | -3.3447e-08
230.233 | -4.0957e-08
230.548 | -3.6644e-08
230.855 | -3.6674e-08
231.161 | -3.2988e-08
231.456 | -3.4274e-08
231.808 | -3.4506e-08
232.075 | -3.5863e-08
232.326 | -3.9594e-08
232.64 | -5.1888e-08
232.938 | -4.8125e-08
233.272 | -5.3846e-08
233.518 | -5.9152e-08
233.822 | -6.3575e-08
234.12 | -6.2567e-08
234.434 | -6.0119e-08
234.737 | -6.5951e-08
235.044 | -7.4207e-08
235.341 | -8.8013e-08
235.642 | -7.4833e-08
235.958 | -7.5849e-08
236.26 | -8.1429e-08
236.562 | -8.7929e-08
236.827 | -1.1143e-07
237.125 | -1.2769e-07
237.425 | -1.2882e-07
237.725 | -1.3647e-07
238.021 | -1.288e-07
238.337 | -1.5538e-07
238.638 | -1.5875e-07
238.938 | -1.2377e-07
239.251 | -1.437e-07
239.602 | -1.2731e-07
239.832 | -1.2735e-07
240.202 | -1.2354e-07
240.455 | -1.2606e-07
240.749 | -1.413e-07
241.044 | -1.4638e-07
241.359 | -1.5107e-07
241.662 | -1.7752e-07
241.975 | -1.9472e-07
242.216 | -2.1194e-07
242.549 | -1.7842e-07
242.831 | -4.763e-08
243.155 | -1.3517e-08
243.462 | -1.3512e-08
243.751 | -1.6901e-08
244.067 | -1.2337e-08
244.336 | -1.1469e-08
244.65 | -1.3545e-08
244.919 | -1.2418e-08
245.237 | -1.2284e-08
245.571 | -1.056e-08
245.843 | -1.0804e-08
246.134 | -1.1472e-08
246.444 | -1.1255e-08
246.722 | -1.9498e-08
247.049 | -1.1343e-08
247.347 | -1.5958e-08
247.632 | -1.7009e-08
247.919 | -3.6764e-08
248.254 | -2.9997e-08
248.56 | -4.6168e-08
248.851 | -5.2984e-08
249.144 | -5.9586e-08
249.454 | -8.5239e-08
249.749 | -1.4367e-07
250.06 | -1.4024e-07
250.372 | -1.3315e-07
250.652 | -1.2559e-07
250.916 | -1.2215e-07
251.263 | -1.1932e-07
251.527 | -1.1197e-07
251.828 | -7.9352e-08
252.16 | -1.1214e-07
252.425 | -9.5266e-08
252.76 | -5.9435e-08
253.077 | -1.01e-07
253.327 | -1.2133e-07
253.661 | -1.2835e-07
253.962 | -1.3915e-07
254.281 | -1.2478e-07
254.53 | -1.1163e-07
254.832 | -1.0112e-07
255.149 | -1.0023e-07
255.432 | -1.1621e-07
255.75 | -1.241e-07
256.068 | -1.2635e-07
256.368 | -1.2251e-07
256.616 | -1.3768e-07
256.935 | -1.5221e-07
257.237 | -1.6952e-07
257.555 | -1.5554e-07
257.854 | -1.3728e-07
258.154 | -1.3664e-07
258.454 | -1.4123e-07
258.755 | -1.5639e-07
259.039 | -1.5292e-07
259.355 | -1.7027e-07
259.655 | -1.6278e-07
259.955 | -1.6942e-07
260.256 | -1.783e-07
260.555 | -1.8403e-07
260.824 | -1.9488e-07
261.122 | -1.9716e-07
261.435 | -1.9621e-07
261.734 | -1.8437e-07
262.049 | -1.8726e-07
262.347 | -1.8263e-07
262.645 | -1.9002e-07
262.962 | -1.9021e-07
263.262 | -1.9687e-07
263.58 | -2.086e-07
263.83 | -2.4229e-07
264.145 | -2.3093e-07
264.448 | -2.5949e-07
264.764 | -2.3786e-07
265.065 | -1.9963e-07
265.365 | -1.7953e-07
265.632 | -1.7105e-07
265.933 | -1.6673e-07
266.235 | -1.583e-07
266.55 | -1.7941e-07
266.852 | -1.5045e-07
267.118 | -1.6524e-07
267.42 | -1.5418e-07
267.735 | -1.5523e-07
268.054 | -1.5263e-07
268.354 | -1.2648e-07
268.653 | -1.1493e-07
268.921 | -1.2507e-07
269.238 | -1.2567e-07
269.554 | -1.2698e-07
269.853 | -1.2884e-07
270.156 | -1.2057e-07
270.456 | -1.2398e-07
270.756 | -1.2092e-07
271.021 | -1.1943e-07
271.322 | -1.2004e-07
271.64 | -1.1962e-07
271.939 | -1.1771e-07
272.24 | -1.1717e-07
272.54 | -1.2109e-07
272.84 | -1.2079e-07
273.137 | -1.2105e-07
273.456 | -1.2258e-07
273.755 | -1.2582e-07
274.055 | -1.222e-07
274.339 | -1.224e-07
274.638 | -1.2282e-07
274.938 | -1.2499e-07
275.236 | -1.2465e-07
275.555 | -1.2656e-07
275.854 | -1.2681e-07
276.155 | -1.3115e-07
276.422 | -1.333e-07
276.738 | -1.3274e-07
277.038 | -1.3734e-07
277.355 | -1.3824e-07
277.655 | -1.5959e-07
277.923 | -1.6868e-07
278.223 | -1.7238e-07
278.522 | -2.2054e-07
278.837 | -2.2809e-07
279.138 | -2.9981e-07
279.453 | -3.3789e-07
279.747 | -3.2757e-07
280.063 | -2.4926e-07
280.362 | -2.1166e-07
280.627 | -5.341e-08
280.978 | -1.0806e-07
281.227 | -7.9132e-08
281.561 | -5.8948e-08
281.862 | -1.4167e-08
282.129 | -1.4581e-08
282.445 | -1.6991e-08
282.745 | -2.2418e-08
283.063 | -2.1486e-08
283.365 | -2.3326e-08
283.665 | -2.5121e-08
283.93 | -2.4234e-08
284.233 | -4.0625e-08
284.533 | -3.6044e-08
284.849 | -4.3956e-08
285.151 | -3.9831e-08
285.451 | -4.465e-08
285.752 | -3.1117e-08
286.05 | -2.2974e-08
286.351 | -2.6811e-08
286.652 | -2.5246e-08
286.918 | -2.2554e-08
287.22 | -2.4039e-08
287.536 | -2.8522e-08
287.835 | -2.6651e-08
288.137 | -2.7763e-08
288.451 | -2.8193e-08
288.753 | -2.881e-08
289.054 | -3.1481e-08
289.32 | -2.1034e-08
289.637 | -2.1834e-08
289.939 | -2.5406e-08
290.254 | -2.836e-08
290.554 | -4.5001e-08
290.855 | -5.908e-08
291.121 | -4.2184e-08
291.439 | -6.1563e-08
291.739 | -4.57e-08
292.038 | -4.5087e-08
292.353 | -3.2639e-08
292.655 | -2.9611e-08
292.955 | -2.4986e-08
293.272 | -2.7877e-08
293.522 | -3.0545e-08
293.839 | -3.5858e-08
294.139 | -3.4981e-08
294.44 | -3.7021e-08
294.756 | -4.0604e-08
295.056 | -3.6172e-08
295.356 | -4.9419e-08
295.656 | -5.9007e-08
295.924 | -5.4628e-08
296.222 | -5.6007e-08
296.536 | -4.9041e-08
296.838 | -5.8965e-08
297.139 | -5.609e-08
297.455 | -5.9607e-08
297.756 | -5.2203e-08
298.056 | -4.8386e-08
298.356 | -3.4486e-08
298.619 | -2.9299e-08
298.935 | -3.6547e-08
299.234 | -3.0957e-08
299.562 | -3.0239e-08
299.862 | -2.8899e-08
300.163 | -2.538e-08
300.48 | -2.6326e-08
300.729 | -2.8372e-08
301.029 | -1.0358e-07
301.346 | -2.8784e-08
301.647 | -2.4179e-08
301.963 | -2.352e-08
302.264 | -2.2193e-08
302.565 | -1.9276e-08
302.882 | -1.9206e-08
303.133 | -1.5781e-08
303.432 | -3.9869e-08
303.75 | -4.0964e-08
304.05 | -1.6137e-08
304.35 | -2.6386e-08
304.668 | -1.9742e-08
304.918 | -2.3199e-08
305.219 | -2.727e-08
305.535 | -3.063e-08
305.836 | -2.7351e-08
306.135 | -2.6988e-08
306.453 | -2.8918e-08
306.754 | -3.472e-08
307.021 | -5.0188e-08
307.338 | -3.5531e-08
307.639 | -3.6604e-08
307.938 | -3.319e-08
308.256 | -2.1627e-08
308.522 | -2.3089e-08
308.84 | -3.1676e-08
309.139 | -3.9147e-08
309.456 | -4.6549e-08
309.757 | -1.0504e-07
310.039 | -1.2158e-07
310.339 | -1.1669e-07
310.657 | -8.694e-08
310.957 | -9.3853e-08
311.257 | -1.6499e-07
311.54 | -2.0491e-07
311.841 | -1.6176e-07
312.156 | -3.412e-07
312.475 | -2.7278e-07
312.741 | -2.952e-07
313.057 | -8.1334e-07
313.356 | -1.998e-07
313.658 | -1.8825e-07
313.923 | -1.2003e-07
314.242 | -1.6687e-07
314.557 | -1.5991e-07
314.858 | -1.991e-07
315.125 | -1.4953e-07
315.441 | -1.2453e-07
315.741 | -8.7995e-08
316.042 | -9.9258e-08
316.342 | -9.5407e-08
316.658 | -1.1512e-07
316.924 | -9.6091e-08
317.259 | -9.1025e-08
317.525 | -8.5346e-08
317.824 | -7.6292e-08
318.14 | -7.7087e-08
318.441 | -8.0101e-08
318.757 | -8.6683e-08
319.057 | -1.4088e-07
319.341 | -9.5814e-08
319.624 | -8.7267e-08
319.94 | -9.1341e-08
320.238 | -1.0192e-07