## Settings
Sample Info | SO303, dot c6, run 03
Sample Description | 03: +0.2/+1/+0.2
Major Measurement Parameters
Starting Temperature | 202.428
Initial Temperature | 81
Final Temperature | 320
Preliminary Voltage | 0.2
Pulse Voltage | 1
Pulse Time | 5
Measurement Voltage | 0.2
Subsidiary Measurement Parameters
Step | 0.3
Accuracy Step | 0.1
Accuracy Stable | 0.5
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 10
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 3
Measurecount | 1
время
Date | 25.9.2023
Time | 18:37:53

## Stabilization
Temperature | Current
201.325 | 3.1082e-05
201.071 | 2.7482e-05
200.897 | 2.672e-05
200.685 | 2.5689e-05
200.367 | 2.5015e-05
200.22 | 2.4019e-05
199.967 | 2.3604e-05
199.862 | 2.3233e-05
199.734 | 2.3095e-05
199.651 | 2.2593e-05
199.572 | 2.2148e-05
199.485 | 2.1994e-05
199.265 | 2.1901e-05
199.18 | 2.1685e-05
199.087 | 2.1393e-05
199.013 | 2.1242e-05
198.948 | 2.1209e-05
198.878 | 2.0945e-05
198.81 | 2.0939e-05
198.737 | 2.0377e-05
198.647 | 1.9926e-05
198.571 | 1.9669e-05
198.494 | 1.9499e-05
198.399 | 1.9226e-05
198.33 | 1.8757e-05
198.254 | 1.8532e-05
198.141 | 1.7924e-05
198.057 | 1.7537e-05
197.885 | 1.51e-05
197.798 | 1.3381e-05
197.724 | 1.1978e-05
197.596 | 8.9117e-06
197.456 | 6.7804e-06
197.374 | 4.6825e-06
197.226 | 1.5747e-07
197.048 | 1.5338e-07
196.951 | 1.1383e-07
196.746 | 1.3898e-07
196.634 | 2.3077e-07
196.536 | 1.6116e-07
196.443 | 2.2622e-07
196.345 | 1.6424e-07
196.245 | 3.1031e-07
196.152 | 2.5144e-07
196.022 | 2.4396e-08
195.92 | 2.3714e-08
195.814 | 2.3086e-08
195.719 | 2.176e-08
195.608 | 2.6994e-08
195.501 | 2.8351e-08
195.403 | 2.6327e-08
195.289 | 2.6488e-08
195.182 | 2.6974e-08
195.075 | 2.6094e-08
194.965 | 2.5886e-08
194.855 | 2.6913e-08
194.747 | 2.5905e-08
194.635 | 2.657e-08
194.532 | 2.6724e-08
194.421 | 2.7473e-08
194.3 | 2.7745e-08
194.197 | 2.8286e-08
194.082 | 2.5897e-08
193.969 | 2.6064e-08
193.862 | 2.796e-08
193.75 | 2.8369e-08
193.639 | 2.7823e-08
193.532 | 2.7747e-08
193.416 | 3.1266e-08
193.298 | 3.1881e-08
193.183 | 3.4792e-08
193.073 | 3.2722e-08
192.956 | 3.2735e-08
192.839 | 3.2869e-08
192.733 | 3.4174e-08
192.613 | 3.3998e-08
192.495 | 3.5405e-08
192.377 | 5.3927e-08
192.267 | 1.0366e-07
192.139 | 3.94e-08
192.015 | 4.5443e-08
191.898 | 4.5331e-08
191.775 | 4.6569e-08
191.654 | 5.0932e-08
191.542 | 4.5413e-08
191.416 | 4.6788e-08
191.293 | 5.3639e-08
191.181 | 5.9654e-08
191.056 | 7.7817e-08
190.93 | 5.8039e-08
190.808 | 7.1937e-08
190.673 | 8.3853e-08
190.558 | 8.0973e-08
190.428 | 7.7107e-08
190.299 | 6.9099e-08
190.168 | 7.1655e-08
190.049 | 7.2346e-08
189.92 | 9.9638e-08
189.789 | 6.9988e-08
189.653 | 7.5223e-08
189.523 | 7.633e-08
189.4 | 7.2383e-08
189.256 | 7.1093e-08
189.12 | 7.1554e-08
188.996 | 6.9177e-08
188.864 | 6.8377e-08
188.727 | 6.8738e-08
188.587 | 7.7021e-08
188.426 | 7.7919e-08
188.261 | 7.4015e-08
188.103 | 6.1908e-08
187.933 | 5.2162e-08
187.75 | 3.338e-08
187.573 | 3.0925e-08
187.412 | 2.2925e-08
187.223 | 1.8792e-08
187.045 | 2.1618e-08
186.864 | 1.7574e-08
186.676 | 1.0264e-08
186.445 | 7.6625e-09
186.253 | 8.5532e-09
186.073 | 9.312e-09
185.875 | 3.9484e-09
185.678 | 1.2143e-09
185.48 | 1.6326e-10
185.292 | -5.788e-11
185.084 | -4.9928e-11
184.88 | -1.543e-10
184.687 | -1.5239e-10
184.477 | -1.3e-10
184.269 | -1.5036e-10
184.073 | -1.4967e-10
183.862 | -1.5175e-10
183.647 | -1.4535e-10
183.433 | -1.4132e-10
183.21 | -1.6497e-10
182.947 | -1.5556e-10
182.69 | -1.5404e-10
182.441 | -1.2756e-10
182.177 | -1.3225e-10
181.925 | -1.2264e-10
181.676 | -1.3379e-10
181.444 | -1.2175e-10
181.195 | -1.4257e-10
180.945 | -5.6309e-11
180.693 | -9.7767e-11
180.437 | -3.521e-11
180.201 | -5.4717e-11
179.953 | -9.1785e-11
179.703 | -1.0823e-10
179.454 | -5.814e-11
179.208 | -9.6833e-11
178.981 | -8.844e-11
178.738 | -9.999e-11
178.498 | -8.7755e-11
178.278 | -9.6144e-11
178.035 | -1.1872e-10
177.785 | -1.1003e-10
177.545 | -1.0249e-10
177.309 | -9.3296e-11
177.09 | -5.6253e-11
176.856 | -1.0077e-10
176.626 | -9.4833e-11
176.397 | -9.5918e-11
176.168 | -1.0066e-10
175.936 | -9.1269e-11
175.718 | -8.9312e-11
175.491 | -7.3215e-11
175.259 | -5.3273e-11
175.037 | -6.3246e-11
174.803 | -6.9696e-11
174.575 | -5.6166e-11
174.346 | -6.2182e-11
174.118 | -7.3421e-11
173.895 | -7.6628e-11
173.679 | -8.0098e-11
173.457 | -8.1369e-11
173.236 | -9.2507e-11
173.031 | -8.97e-11
172.807 | -8.5602e-11
172.589 | -8.8093e-11
172.371 | -8.8477e-11
172.152 | -8.3404e-11
171.952 | -8.2726e-11
171.739 | -7.0288e-11
171.523 | -7.2971e-11
171.294 | -6.8591e-11
171.071 | -7.4435e-11
170.856 | -7.0841e-11
170.622 | -8.1453e-11
170.393 | -7.8694e-11
170.171 | -5.7736e-11
169.95 | -7.3658e-11
169.736 | -7.5825e-11
169.521 | -7.8316e-11
169.308 | -7.0691e-11
169.111 | -6.7278e-11
168.906 | -5.8274e-11
168.709 | -5.4044e-11
168.531 | -7.0513e-11
168.342 | -6.3145e-11
168.153 | -5.1679e-11
167.967 | -3.6975e-11
167.788 | -1.1256e-11
167.624 | -6.6592e-12
167.451 | -2.5136e-11
167.282 | -3.6128e-11
167.108 | -1.4116e-11
166.947 | -9.5427e-11
166.676 | 6.199e-07
166.518 | 6.228e-07
166.363 | 6.1964e-07
166.219 | 6.1379e-07
166.069 | 6.1697e-07
165.922 | 6.1748e-07
165.787 | 6.1647e-07
165.644 | 6.2155e-07
165.489 | 6.2417e-07
165.34 | 6.2112e-07
165.186 | 6.1131e-07
165.03 | 6.1828e-07
164.885 | 6.1992e-07
164.735 | 6.2304e-07
164.583 | 6.1982e-07
164.433 | 6.2399e-07
164.262 | 6.2158e-07
164.098 | 6.2598e-07
163.938 | 6.2386e-07
163.783 | 6.2429e-07
163.621 | 6.2287e-07
163.463 | 6.2264e-07
163.283 | 6.2028e-07
163.115 | 6.2158e-07
162.968 | 6.1821e-07
162.815 | 6.1603e-07
162.656 | 6.1923e-07
162.502 | 6.2222e-07
162.359 | 6.2081e-07
162.214 | 6.2155e-07
162.072 | 6.197e-07
161.932 | 6.1944e-07
161.801 | 6.207e-07
161.656 | 6.2114e-07
161.52 | 6.1895e-07
161.395 | 6.1922e-07
161.262 | 6.2055e-07
161.149 | 6.1982e-07
161.025 | 6.16e-07
160.902 | 6.1792e-07
160.78 | 6.1745e-07
160.658 | 6.2072e-07
160.548 | 6.1929e-07
160.426 | 6.1518e-07
160.301 | 6.1661e-07
160.176 | 6.1493e-07
160.058 | 6.6438e-07
159.952 | 5.7828e-07
159.842 | 5.7766e-07
159.729 | 5.8971e-07
159.625 | 5.8839e-07
159.514 | 5.8575e-07
159.402 | 5.955e-07
159.302 | 5.3667e-07
159.195 | 5.386e-07
159.086 | 5.3697e-07
158.977 | 5.4007e-07
158.872 | 5.4525e-07
158.778 | 5.4629e-07
158.605 | 3.5674e-06
158.506 | 3.4698e-06
158.405 | 3.4844e-06
158.305 | 2.3505e-06
158.216 | 1.5957e-06
158.119 | 1.4698e-06
158.027 | 1.4815e-06
157.934 | 1.5317e-06
157.84 | 1.4612e-06
157.748 | 1.471e-06
157.663 | 1.4852e-06
157.573 | 1.4603e-06
157.485 | 1.4604e-06
157.398 | 1.4439e-06
157.31 | 1.4416e-06
157.22 | 1.4337e-06
157.136 | 1.4323e-06
157.05 | 1.4312e-06
156.967 | 1.4327e-06
156.883 | 1.4265e-06
156.803 | 1.4285e-06
156.721 | 1.4287e-06
156.632 | 1.4059e-06
156.552 | 1.4007e-06
156.473 | 1.3885e-06
156.389 | 1.3914e-06
156.299 | 1.383e-06
156.205 | 1.3874e-06
156.113 | 1.3875e-06
156.028 | 1.3828e-06
155.935 | 1.3891e-06
155.843 | 1.3811e-06
155.75 | 1.3685e-06
155.653 | 1.3733e-06
155.559 | 1.3574e-06
155.459 | 1.3582e-06
155.363 | 1.3641e-06
155.265 | 1.3445e-06
155.166 | 1.3516e-06
155.069 | 1.3649e-06
154.963 | 1.3694e-06
154.862 | 1.362e-06
154.755 | 1.359e-06
154.658 | 1.3502e-06
154.557 | 1.3623e-06
154.451 | 1.3567e-06
154.336 | 1.3569e-06
154.216 | 1.3538e-06
154.09 | 1.3588e-06
153.963 | 1.381e-06
153.846 | 1.3834e-06
153.724 | 1.3797e-06
153.595 | 1.3786e-06
153.457 | 1.3689e-06
153.311 | 1.3745e-06
153.174 | 1.379e-06
153.025 | 1.3763e-06
152.872 | 1.3784e-06
152.722 | 1.374e-06
152.567 | 1.3871e-06
152.41 | 1.3749e-06
152.257 | 1.3705e-06
152.095 | 1.3767e-06
151.932 | 1.3799e-06
151.746 | 1.3833e-06
151.562 | 1.3814e-06
151.355 | 1.3793e-06
151.13 | 1.3696e-06
150.926 | 1.3842e-06
150.731 | 1.3793e-06
150.552 | 1.3848e-06
150.379 | 1.3865e-06
150.204 | 1.3896e-06
150.028 | 1.3812e-06
149.845 | 1.3905e-06
149.623 | 1.3905e-06
149.405 | 1.384e-06
149.192 | 1.3923e-06
148.991 | 1.3863e-06
148.751 | 1.388e-06
148.465 | 1.3824e-06
148.25 | 1.3908e-06
148.057 | 1.3906e-06
147.874 | 1.3935e-06
147.657 | 1.394e-06
147.457 | 1.3964e-06
147.254 | 1.3908e-06
147.01 | 1.399e-06
146.78 | 1.3833e-06
146.581 | 1.3881e-06
146.399 | 1.3953e-06
146.201 | 1.3912e-06
145.984 | 1.3958e-06
145.749 | 1.3958e-06
145.485 | 1.3906e-06
145.265 | 1.4023e-06
145.045 | 1.3971e-06
144.84 | 1.4035e-06
144.627 | 1.3994e-06
144.379 | 1.3986e-06
144.062 | 1.3972e-06
143.753 | 1.3941e-06
143.463 | 1.3932e-06
143.2 | 1.3902e-06
142.975 | 1.3956e-06
142.739 | 1.3927e-06
142.425 | 1.3969e-06
142.034 | 1.396e-06
141.68 | 1.3931e-06
141.373 | 1.3917e-06
141.11 | 1.3876e-06
140.839 | 1.3921e-06
140.524 | 1.3928e-06
140.186 | 1.3937e-06
139.877 | 1.3875e-06
139.598 | 1.3826e-06
139.363 | 1.3958e-06
139.12 | 1.3903e-06
138.838 | 1.3885e-06
138.482 | 1.3995e-06
138.157 | 1.4046e-06
137.854 | 1.401e-06
137.578 | 1.4091e-06
137.347 | 1.4004e-06
137.088 | 1.4036e-06
136.862 | 1.4025e-06
136.639 | 1.398e-06
136.394 | 1.3905e-06
136.148 | 1.3962e-06
135.919 | 1.3987e-06
135.646 | 1.4016e-06
135.413 | 1.4091e-06
135.176 | 1.4058e-06
134.967 | 1.3964e-06
134.753 | 1.4021e-06
134.492 | 1.4013e-06
134.073 | 1.4028e-06
133.723 | 1.4002e-06
133.424 | 1.3901e-06
133.163 | 1.3949e-06
132.937 | 1.3998e-06
132.686 | 1.3978e-06
132.37 | 1.3943e-06
132.004 | 1.3965e-06
131.687 | 1.4024e-06
131.4 | 1.4006e-06
131.143 | 1.4028e-06
130.868 | 1.3965e-06
130.585 | 1.4054e-06
130.296 | 1.4074e-06
130.029 | 1.408e-06
129.751 | 1.4109e-06
129.494 | 1.4061e-06
129.244 | 1.4097e-06
129 | 1.4199e-06
128.741 | 1.4143e-06
128.489 | 1.4161e-06
128.24 | 1.4086e-06
128.002 | 1.4138e-06
127.781 | 1.4161e-06
127.549 | 1.4151e-06
127.292 | 1.4151e-06
126.993 | 1.4096e-06
126.674 | 1.4076e-06
126.348 | 1.4107e-06
126.043 | 1.4216e-06
125.771 | 1.4171e-06
125.519 | 1.4182e-06
125.281 | 1.4166e-06
125.036 | 1.4147e-06
124.785 | 1.4073e-06
124.558 | 1.4136e-06
124.304 | 1.4125e-06
124.06 | 1.4186e-06
123.816 | 1.4184e-06
123.592 | 1.4146e-06
123.35 | 1.4163e-06
123.119 | 1.4227e-06
122.869 | 1.4251e-06
122.627 | 1.4184e-06
122.393 | 1.4223e-06
122.17 | 1.4161e-06
121.956 | 1.4206e-06
121.734 | 1.4168e-06
121.523 | 1.4155e-06
121.315 | 1.4183e-06
121.112 | 1.4193e-06
120.912 | 1.4202e-06
120.728 | 1.4247e-06
120.532 | 1.4298e-06
120.333 | 1.4249e-06
119.974 | 1.4249e-06
119.522 | 1.427e-06
119.142 | 1.4252e-06
118.827 | 1.4164e-06
118.556 | 1.4247e-06
118.301 | 1.4213e-06
118.041 | 1.4179e-06
117.715 | 1.4306e-06
117.386 | 1.4308e-06
117.093 | 1.4304e-06
116.842 | 1.4234e-06
116.615 | 1.4197e-06
116.398 | 1.4243e-06
116.043 | 1.4303e-06
115.673 | 1.4272e-06
115.251 | 1.4349e-06
114.863 | 1.4271e-06
114.55 | 1.4239e-06
114.256 | 1.4303e-06
113.993 | 1.4337e-06
113.707 | 1.4227e-06
113.388 | 1.4276e-06
113.051 | 1.4215e-06
112.645 | 1.4171e-06
112.304 | 1.4195e-06
112.037 | 1.4238e-06
111.812 | 1.4284e-06
111.615 | 1.4206e-06
111.389 | 1.4165e-06
111.179 | 1.4223e-06
110.969 | 1.4287e-06
110.769 | 1.4312e-06
110.589 | 1.4312e-06
110.321 | 1.4363e-06
110.054 | 1.4302e-06
109.798 | 1.4301e-06
109.555 | 1.4361e-06
109.344 | 1.4359e-06
109.171 | 1.4389e-06
109.018 | 1.4354e-06
108.872 | 1.4276e-06
108.64 | 1.4291e-06
108.298 | 1.435e-06
107.827 | 1.4326e-06
107.276 | 1.4301e-06
106.817 | 1.4297e-06
106.481 | 1.4371e-06
106.229 | 1.4316e-06
106.027 | 1.429e-06
105.743 | 1.427e-06
105.389 | 1.4269e-06
105.021 | 1.4305e-06
104.714 | 1.438e-06
104.456 | 1.4355e-06
104.257 | 1.4396e-06
104.094 | 1.4388e-06
103.9 | 1.4367e-06
103.696 | 1.4384e-06
103.391 | 1.4376e-06
103.079 | 1.4385e-06
102.742 | 1.4443e-06
102.447 | 1.4509e-06
102.207 | 1.4475e-06
102.034 | 1.4359e-06
101.898 | 1.4378e-06
101.75 | 1.4308e-06
101.572 | 1.4347e-06
101.344 | 1.4346e-06
101.134 | 1.4357e-06
100.972 | 1.4397e-06
100.838 | 1.4324e-06
100.637 | 1.4296e-06
100.352 | 1.4286e-06
100.065 | 1.4423e-06
99.822 | 1.4475e-06
99.6229 | 1.4384e-06
99.4798 | 1.4386e-06
99.2676 | 1.4359e-06
98.9697 | 1.4497e-06
98.5504 | 1.4347e-06
98.1584 | 1.442e-06
97.8401 | 1.4393e-06
97.5962 | 1.4406e-06
97.4214 | 1.4428e-06
97.1059 | 1.4441e-06
96.751 | 1.4362e-06
96.376 | 1.4394e-06
95.9665 | 1.4436e-06
95.6885 | 1.4427e-06
95.4775 | 1.4391e-06
95.0864 | 1.4413e-06
94.191 | 1.4498e-06
93.4913 | 1.4439e-06
92.753 | 1.4417e-06
92.4078 | 1.4557e-06
92.2097 | 1.4454e-06
92.066 | 1.4503e-06
91.4302 | 1.4567e-06
91.1224 | 1.4453e-06
90.8764 | 1.4419e-06
90.7399 | 1.4387e-06
90.6473 | 1.4359e-06
90.4113 | 1.4437e-06
89.785 | 1.4536e-06
88.6678 | 1.4447e-06
88.4973 | 1.4448e-06
88.4204 | 1.452e-06
88.3679 | 1.4431e-06
88.3061 | 1.4428e-06
87.5805 | 1.4506e-06
86.8605 | 1.4506e-06
86.5996 | 1.4464e-06
86.5253 | 1.4557e-06
86.4815 | 1.4464e-06
86.4742 | 1.4489e-06
86.4796 | 1.4515e-06
85.7983 | 1.4505e-06
83.8671 | 1.4441e-06
82.837 | 1.4458e-06
82.3384 | 1.4553e-06
82.0697 | 1.4499e-06
81.8333 | 1.4557e-06
81.8094 | 1.4503e-06
81.8549 | 1.4583e-06
81.5922 | 1.4564e-06
81.5001 | 1.4525e-06
81.2919 | 1.4566e-06
81.2524 | 1.4615e-06
81.2279 | 1.4635e-06
81.0912 | 1.459e-06
80.9045 | 1.4592e-06
80.814 | 1.4635e-06
80.6421 | 1.4655e-06
80.4062 | 1.4679e-06
80.3104 | 1.4733e-06
80.2775 | 1.4696e-06
80.2775 | 1.4674e-06
80.2913 | 1.4765e-06
80.3104 | 1.4784e-06
80.2451 | 1.4607e-06
80.2353 | 1.4724e-06
80.2408 | 1.4691e-06
80.2416 | 1.4715e-06
80.2454 | 1.4786e-06
80.2469 | 1.4736e-06
80.2353 | 1.4708e-06
80.2592 | 1.4742e-06
80.2938 | 1.4656e-06
80.2684 | 1.4727e-06
80.2732 | 1.4564e-06
80.2942 | 1.4622e-06
80.3233 | 1.4553e-06
80.3555 | 1.4558e-06
80.3866 | 1.4555e-06
80.4138 | 1.4626e-06
80.3914 | 1.4526e-06
80.4306 | 1.4583e-06
80.3546 | 1.4571e-06
80.356 | 1.4651e-06
80.3803 | 1.4648e-06
80.4415 | 1.4619e-06
80.426 | 1.4649e-06
80.4182 | 1.4639e-06
80.4617 | 1.4701e-06
80.5011 | 1.4616e-06
80.5516 | 1.4633e-06
80.6076 | 1.467e-06
80.6431 | 1.4787e-06
80.5168 | 1.4681e-06
80.5245 | 1.4687e-06
80.5947 | 1.4772e-06
80.633 | 1.4779e-06
80.5751 | 1.4668e-06
80.5737 | 1.4752e-06

## Measurements
Temperature | Current
80.6039 | 1.7027e-06
80.7239 | 1.7305e-06
81.0333 | 1.7288e-06
81.3299 | 1.7207e-06
81.6111 | 1.7229e-06
81.9652 | 1.7262e-06
82.2492 | 1.7236e-06
82.5899 | 1.7278e-06
82.8267 | 1.7304e-06
83.1412 | 1.7276e-06
83.4725 | 1.723e-06
83.7634 | 1.7203e-06
84.0433 | 1.7331e-06
84.3179 | 1.7339e-06
84.6226 | 1.7413e-06
84.965 | 1.7335e-06
85.2071 | 1.7269e-06
85.5511 | 1.7324e-06
85.8325 | 1.7211e-06
86.1976 | 1.7281e-06
86.443 | 1.7424e-06
86.7259 | 1.7414e-06
87.0451 | 1.741e-06
87.3417 | 1.7396e-06
87.6273 | 1.7392e-06
87.947 | 1.752e-06
88.2434 | 1.7465e-06
88.5305 | 1.7368e-06
88.8089 | 1.7411e-06
89.1301 | 1.7361e-06
89.45 | 1.7569e-06
89.7098 | 1.7561e-06
90.0431 | 1.7471e-06
90.3538 | 1.7486e-06
90.6312 | 1.743e-06
90.9086 | 1.7514e-06
91.2437 | 1.7594e-06
91.5046 | 1.7566e-06
91.8427 | 1.7453e-06
92.1341 | 1.7567e-06
92.4471 | 1.7533e-06
92.7402 | 1.758e-06
93.0429 | 1.7659e-06
93.3074 | 1.7626e-06
93.6359 | 1.7591e-06
93.9352 | 1.706e-06
94.2005 | 1.713e-06
94.5595 | 1.9273e-06
94.8288 | 2.0223e-06
95.1317 | 5.3366e-07
95.4083 | 4.3618e-07
95.7361 | 2.0579e-06
96.0154 | 2.045e-06
96.359 | 2.0811e-06
96.6314 | 2.0954e-06
96.9307 | 2.5075e-06
97.2466 | 5.8097e-07
97.5336 | 1.6254e-06
97.8253 | 2.1922e-06
98.147 | 9.5893e-07
98.4355 | 1.7243e-06
98.736 | 1.6845e-06
99.0435 | 1.0048e-06
99.3123 | 6.4806e-07
99.6351 | 5.0505e-07
99.9316 | 4.8474e-07
100.232 | 4.2833e-07
100.529 | 1.6546e-06
100.831 | 1.6511e-06
101.101 | 1.6559e-06
101.416 | 1.6507e-06
101.723 | 1.6385e-06
102.033 | 1.6395e-06
102.328 | 1.6484e-06
102.621 | 1.6415e-06
102.923 | 1.6491e-06
103.241 | 1.6485e-06
103.506 | 1.6515e-06
103.831 | 1.6538e-06
104.127 | 1.6547e-06
104.443 | 1.6585e-06
104.749 | 1.6514e-06
105.053 | 1.6422e-06
105.319 | 1.6444e-06
105.664 | 1.6442e-06
105.95 | 1.6368e-06
106.207 | 1.6384e-06
106.526 | 1.6412e-06
106.843 | 1.645e-06
107.124 | 1.6493e-06
107.442 | 1.6527e-06
107.728 | 1.6545e-06
108.013 | 1.6505e-06
108.311 | 1.6572e-06
108.62 | 1.6424e-06
108.94 | 1.6414e-06
109.248 | 1.645e-06
109.552 | 1.643e-06
109.817 | 1.6461e-06
110.156 | 1.6501e-06
110.403 | 1.6511e-06
110.75 | 1.644e-06
111.008 | 1.6567e-06
111.328 | 1.6523e-06
111.621 | 1.6632e-06
111.967 | 1.6486e-06
112.223 | 1.6445e-06
112.539 | 1.6491e-06
112.808 | 1.6566e-06
113.116 | 1.6581e-06
113.45 | 1.6514e-06
113.74 | 1.661e-06
114.046 | 1.6594e-06
114.361 | 1.6537e-06
114.623 | 1.6563e-06
114.937 | 1.6656e-06
115.231 | 1.6677e-06
115.529 | 1.6593e-06
115.838 | 1.657e-06
116.107 | 1.655e-06
116.424 | 1.6633e-06
116.723 | 1.6675e-06
117.015 | 1.6659e-06
117.312 | 1.6633e-06
117.624 | 1.659e-06
117.928 | 1.6625e-06
118.22 | 1.6638e-06
118.521 | 1.6616e-06
118.822 | 1.6537e-06
119.124 | 1.6679e-06
119.448 | 1.6677e-06
119.715 | 1.67e-06
120.043 | 1.6773e-06
120.332 | 1.673e-06
120.638 | 1.6637e-06
120.942 | 1.6682e-06
121.21 | 1.6658e-06
121.519 | 1.6605e-06
121.866 | 1.6742e-06
122.101 | 1.674e-06
122.428 | 1.6813e-06
122.736 | 1.6763e-06
123.058 | 1.6807e-06
123.326 | 1.6803e-06
123.627 | 1.6741e-06
123.923 | 1.6718e-06
124.237 | 1.6867e-06
124.548 | 1.6762e-06
124.826 | 1.6766e-06
125.128 | 1.6704e-06
125.441 | 1.6642e-06
125.714 | 1.6732e-06
126.025 | 1.6651e-06
126.347 | 1.6648e-06
126.631 | 1.6704e-06
126.942 | 1.667e-06
127.219 | 1.6738e-06
127.536 | 1.673e-06
127.86 | 1.6607e-06
128.148 | 1.6736e-06
128.443 | 1.6722e-06
128.723 | 1.6711e-06
129.044 | 1.6824e-06
129.306 | 1.6771e-06
129.621 | 1.6827e-06
129.908 | 1.6811e-06
130.228 | 1.6854e-06
130.511 | 1.6876e-06
130.818 | 1.6775e-06
131.106 | 1.6742e-06
131.422 | 1.6755e-06
131.752 | 1.6773e-06
132.045 | 1.6707e-06
132.309 | 1.6751e-06
132.64 | 1.6753e-06
132.916 | 1.6695e-06
133.25 | 1.6617e-06
133.552 | 1.6763e-06
133.864 | 1.6634e-06
134.126 | 1.6594e-06
134.465 | 1.6626e-06
134.739 | 1.6724e-06
135.033 | 1.6534e-06
135.337 | 1.6662e-06
135.647 | 1.6594e-06
135.923 | 1.6655e-06
136.24 | 1.6577e-06
136.525 | 1.6663e-06
136.809 | 1.6633e-06
137.148 | 1.6682e-06
137.476 | 1.6643e-06
137.746 | 1.6591e-06
138.01 | 1.6583e-06
138.337 | 1.6447e-06
138.602 | 1.6516e-06
138.924 | 1.6558e-06
139.242 | 1.6453e-06
139.526 | 1.6703e-06
139.831 | 1.6553e-06
140.137 | 1.649e-06
140.43 | 1.6429e-06
140.707 | 1.6565e-06
141.054 | 1.6382e-06
141.335 | 1.6591e-06
141.647 | 1.6473e-06
141.902 | 1.6485e-06
142.246 | 1.6499e-06
142.501 | 1.6329e-06
142.83 | 1.6695e-06
143.123 | 1.6631e-06
143.432 | 1.6624e-06
143.726 | 1.6578e-06
144.037 | 1.6424e-06
144.336 | 1.6588e-06
144.608 | 1.6572e-06
144.959 | 1.6614e-06
145.246 | 1.6437e-06
145.544 | 1.6269e-06
145.842 | 1.6548e-06
146.141 | 1.6297e-06
146.454 | 1.6385e-06
146.768 | 1.6463e-06
147.013 | 1.6466e-06
147.316 | 1.6336e-06
147.649 | 1.6486e-06
147.953 | 1.6507e-06
148.231 | 1.6355e-06
148.555 | 1.6309e-06
148.831 | 1.6323e-06
149.131 | 1.633e-06
149.411 | 1.6392e-06
149.747 | 1.6345e-06
150.005 | 1.6282e-06
150.323 | 1.6305e-06
150.641 | 1.6412e-06
150.915 | 1.6404e-06
151.24 | 1.6312e-06
151.542 | 1.6298e-06
151.864 | 1.6287e-06
152.134 | 1.6252e-06
152.434 | 1.6264e-06
152.744 | 1.6393e-06
153.027 | 1.6267e-06
153.336 | 1.6296e-06
153.643 | 1.6323e-06
153.929 | 1.6343e-06
154.239 | 1.6323e-06
154.524 | 1.6322e-06
154.841 | 1.6241e-06
155.107 | 1.6314e-06
155.433 | 1.6272e-06
155.728 | 1.637e-06
156.028 | 1.6307e-06
156.325 | 1.6249e-06
156.614 | 1.6263e-06
156.949 | 1.6163e-06
157.232 | 1.6201e-06
157.534 | 1.6142e-06
157.823 | 1.6139e-06
158.122 | 1.62e-06
158.408 | 1.6156e-06
158.737 | 1.6157e-06
159.031 | 1.6225e-06
159.328 | 1.611e-06
159.636 | 1.6147e-06
159.918 | 1.5945e-06
160.263 | 1.6103e-06
160.516 | 1.5946e-06
160.83 | 1.6147e-06
161.166 | 1.5748e-06
161.446 | 1.6042e-06
161.739 | 1.5974e-06
162.1 | 1.6055e-06
162.321 | 1.6061e-06
162.625 | 1.6073e-06
162.94 | 1.6096e-06
163.234 | 1.6091e-06
163.584 | 1.6033e-06
163.834 | 1.5912e-06
164.133 | 1.5788e-06
164.444 | 1.589e-06
164.739 | 1.5822e-06
165.006 | 1.5966e-06
165.325 | 1.6003e-06
165.645 | 1.5787e-06
165.945 | 1.5922e-06
166.258 | 1.5948e-06
166.554 | 1.5838e-06
166.821 | 1.5966e-06
167.111 | 1.592e-06
167.432 | 1.5859e-06
167.748 | 1.5743e-06
168.05 | 1.5726e-06
168.35 | 1.5766e-06
168.646 | 1.5797e-06
168.945 | 1.5782e-06
169.243 | 1.5787e-06
169.558 | 1.5764e-06
169.839 | 1.5673e-06
170.142 | 1.5663e-06
170.437 | 1.5731e-06
170.75 | 1.5703e-06
171.048 | 1.5586e-06
171.348 | 1.5488e-06
171.602 | 1.5567e-06
171.944 | 1.5575e-06
172.247 | 1.5626e-06
172.543 | 1.5737e-06
172.829 | 1.5643e-06
173.102 | 1.5528e-06
173.407 | 1.555e-06
173.793 | 1.5541e-06
174.026 | 1.5545e-06
174.343 | 1.5629e-06
174.611 | 1.5599e-06
174.928 | 1.5786e-06
175.224 | 1.569e-06
175.522 | 1.5665e-06
175.821 | 1.5463e-06
176.123 | 1.5436e-06
176.426 | 1.5492e-06
176.726 | 1.5422e-06
177.043 | 1.5472e-06
177.339 | 1.5568e-06
177.636 | 1.5636e-06
177.952 | 1.5346e-06
178.208 | 1.5577e-06
178.515 | 1.5539e-06
178.834 | 1.5489e-06
179.148 | 1.5509e-06
179.446 | 1.553e-06
179.768 | 1.5424e-06
180.039 | 1.644e-06
180.359 | 1.6248e-06
180.609 | 1.5404e-06
180.908 | 1.5128e-06
181.221 | 1.5313e-06
181.521 | 1.5224e-06
181.821 | 1.5203e-06
182.118 | 1.5126e-06
182.417 | 1.5214e-06
182.725 | 1.5221e-06
183.015 | 1.5289e-06
183.311 | 1.5153e-06
183.614 | 1.5265e-06
183.93 | 1.5212e-06
184.245 | 1.5272e-06
184.549 | 1.5198e-06
184.823 | 1.5183e-06
185.138 | 1.5214e-06
185.448 | 1.5205e-06
185.718 | 1.5161e-06
186.062 | 1.5099e-06
186.355 | 1.5139e-06
186.637 | 1.5067e-06
186.943 | 1.5068e-06
187.251 | 1.5119e-06
187.54 | 1.5107e-06
187.85 | 1.5115e-06
188.148 | 1.5013e-06
188.419 | 1.5148e-06
188.731 | 1.4966e-06
189.032 | 1.5069e-06
189.33 | 1.5065e-06
189.635 | 1.5111e-06
189.94 | 1.5107e-06
190.257 | 1.5177e-06
190.506 | 1.5079e-06
190.807 | 1.5009e-06
191.142 | 1.5163e-06
191.401 | 1.5021e-06
191.73 | 1.5165e-06
192.067 | 1.5195e-06
192.37 | 1.4978e-06
192.615 | 1.5146e-06
192.939 | 1.5112e-06
193.255 | 1.5138e-06
193.54 | 1.5024e-06
193.833 | 1.5031e-06
194.157 | 1.5028e-06
194.459 | 1.5138e-06
194.706 | 1.5015e-06
195.026 | 1.488e-06
195.348 | 1.5019e-06
195.643 | 1.4955e-06
195.932 | 1.5113e-06
196.225 | 1.5024e-06
196.532 | 1.4841e-06
196.826 | 1.4868e-06
197.111 | 1.5004e-06
197.432 | 1.497e-06
197.707 | 1.4952e-06
198.023 | 1.4927e-06
198.337 | 1.5077e-06
198.653 | 1.4408e-06
198.929 | 1.4447e-06
199.238 | 1.4601e-06
199.541 | 1.4638e-06
199.831 | 1.4634e-06
200.127 | 1.4506e-06
200.446 | 1.4617e-06
200.753 | 1.463e-06
201.025 | 1.4644e-06
201.359 | 1.4598e-06
201.635 | 3.0001e-08
201.932 | 2.4542e-08
202.215 | 2.5583e-08
202.561 | 2.5512e-08
202.805 | 2.4677e-08
203.148 | 2.6717e-08
203.411 | 2.73e-08
203.722 | 2.9003e-08
204.02 | 2.7649e-08
204.319 | 3.0474e-08
204.67 | 2.7176e-08
204.921 | 2.5843e-08
205.258 | 2.3296e-08
205.525 | 2.1016e-08
205.86 | 2.3292e-08
206.129 | 2.3425e-08
206.432 | 2.6768e-08
206.72 | 3.8443e-08
207.037 | 3.4871e-08
207.336 | 6.5632e-08
207.643 | 4.0979e-08
207.944 | 3.6487e-08
208.226 | 1.3447e-07
208.545 | 2.9952e-08
208.831 | 2.334e-08
209.129 | 2.8105e-08
209.43 | 3.1882e-08
209.747 | 5.1203e-08
210.049 | 1.05e-07
210.349 | 8.6874e-08
210.615 | 1.5072e-07
210.931 | 1.2925e-07
211.23 | 9.0311e-08
211.546 | 3.0496e-07
211.828 | 2.1826e-07
212.127 | 2.5132e-07
212.428 | 2.3323e-07
212.727 | 3.0759e-07
213.043 | 2.4085e-07
213.338 | 3.2805e-07
213.634 | 3.2169e-07
213.93 | 1.1252e-07
214.242 | 4.6317e-07
214.54 | 3.861e-07
214.823 | 2.9958e-07
215.123 | 2.7326e-07
215.439 | 1.6132e-07
215.74 | 2.0136e-07
216.041 | 1.2844e-07
216.341 | 1.1739e-07
216.64 | 9.2252e-08
216.974 | 4.3751e-08
217.242 | 4.6456e-08
217.56 | 2.2889e-08
217.81 | 3.0852e-08
218.111 | 3.02e-08
218.412 | 2.467e-08
218.732 | 1.987e-08
219.031 | 1.9767e-08
219.332 | 1.5991e-08
219.634 | 1.5231e-08
219.934 | 1.6085e-08
220.253 | 1.6771e-08
220.502 | 1.7013e-08
220.806 | 1.5342e-08
221.107 | 1.817e-08
221.425 | 1.4373e-08
221.725 | 1.5983e-08
222.024 | 1.5392e-08
222.343 | 1.6008e-08
222.626 | 1.1794e-08
222.925 | 1.1938e-08
223.24 | 1.0092e-08
223.542 | 7.9346e-09
223.858 | 7.1924e-09
224.109 | 7.26e-09
224.424 | 7.5013e-09
224.722 | 6.8151e-09
225.056 | 7.5931e-09
225.306 | 1.1903e-06
225.641 | 1.1927e-06
225.957 | 1.1895e-06
226.208 | 1.1855e-06
226.523 | 1.1879e-06
226.822 | 1.1937e-06
227.14 | 1.1842e-06
227.441 | 1.1856e-06
227.741 | 1.1792e-06
228.006 | 1.1889e-06
228.337 | 1.1928e-06
228.617 | 1.1915e-06
228.931 | 1.1937e-06
229.23 | 1.1956e-06
229.526 | 1.194e-06
229.842 | 1.1952e-06
230.144 | 1.198e-06
230.459 | 1.1872e-06
230.709 | 1.1853e-06
231.011 | 1.1968e-06
231.311 | 1.2108e-06
231.612 | 1.2651e-06
231.912 | 1.2725e-06
232.227 | 1.2397e-06
232.546 | 1.2568e-06
232.847 | 1.3232e-06
233.167 | 1.3742e-06
233.418 | 1.4379e-06
233.723 | 1.4482e-06
234.042 | 1.5311e-06
234.345 | 1.7172e-06
234.648 | 1.7971e-06
234.953 | 1.6706e-06
235.221 | 1.7258e-06
235.522 | 1.808e-06
235.818 | 2.1329e-06
236.133 | 1.8901e-06
236.431 | 1.8642e-06
236.729 | 2.2428e-06
237.045 | 2.2228e-06
237.343 | 2.1623e-06
237.642 | 2.1637e-06
237.941 | 2.2844e-06
238.256 | 2.3022e-06
238.505 | 2.33e-06
238.821 | 2.2073e-06
239.121 | 2.1743e-06
239.421 | 2.2e-06
239.738 | 2.0705e-06
240.038 | 2.0729e-06
240.337 | 2.1841e-06
240.637 | 2.2667e-06
240.954 | 2.2471e-06
241.205 | 2.2868e-06
241.522 | 2.2662e-06
241.838 | 2.2718e-06
242.137 | 2.5719e-06
242.454 | 2.5758e-06
242.705 | 2.6043e-06
243.005 | 2.4726e-06
243.305 | 2.5688e-06
243.622 | 2.5491e-06
243.923 | 2.4953e-06
244.235 | 2.4392e-06
244.534 | 2.4434e-06
244.83 | 2.4993e-06
245.129 | 2.5292e-06
245.427 | 2.4905e-06
245.743 | 2.3716e-06
246.043 | 2.3272e-06
246.359 | 2.3183e-06
246.611 | 2.3499e-06
246.91 | 2.3317e-06
247.228 | 2.3455e-06
247.527 | 2.3497e-06
247.828 | 2.3359e-06
248.128 | 2.3401e-06
248.447 | 2.3319e-06
248.747 | 2.34e-06
249.048 | 2.3603e-06
249.366 | 2.3826e-06
249.615 | 2.3977e-06
249.933 | 2.3931e-06
250.234 | 2.4057e-06
250.536 | 2.4132e-06
250.851 | 2.4155e-06
251.102 | 2.4422e-06
251.402 | 2.4325e-06
251.72 | 2.4606e-06
252.037 | 2.4999e-06
252.337 | 2.438e-06
252.655 | 2.4937e-06
252.904 | 2.5297e-06
253.221 | 2.5293e-06
253.521 | 2.4981e-06
253.822 | 2.5335e-06
254.123 | 2.5369e-06
254.439 | 2.55e-06
254.74 | 2.499e-06
255.04 | 2.5186e-06
255.306 | 2.5069e-06
255.639 | 2.5041e-06
255.905 | 2.5032e-06
256.207 | 2.5182e-06
256.522 | 2.5129e-06
256.823 | 2.5153e-06
257.123 | 2.5382e-06
257.423 | 2.5339e-06
257.739 | 2.5351e-06
258.04 | 2.5267e-06
258.341 | 2.5392e-06
258.607 | 2.5617e-06
258.906 | 2.5661e-06
259.223 | 2.5547e-06
259.523 | 2.5632e-06
259.824 | 2.5692e-06
260.139 | 2.5586e-06
260.437 | 2.5519e-06
260.739 | 2.5675e-06
261.038 | 2.5462e-06
261.335 | 2.5491e-06
261.601 | 2.5329e-06
261.946 | 2.504e-06
262.212 | 2.505e-06
262.527 | 2.4764e-06
262.827 | 2.4961e-06
263.126 | 2.4826e-06
263.444 | 2.516e-06
263.744 | 2.5543e-06
264.01 | 2.5502e-06
264.33 | 2.5626e-06
264.631 | 2.5784e-06
264.93 | 2.5743e-06
265.229 | 2.5749e-06
265.548 | 2.5835e-06
265.848 | 2.5978e-06
266.167 | 2.5858e-06
266.417 | 2.6046e-06
266.716 | 2.6101e-06
267.034 | 2.6048e-06
267.335 | 2.5992e-06
267.602 | 2.6397e-06
267.902 | 2.6323e-06
268.22 | 2.6465e-06
268.519 | 2.6598e-06
268.819 | 2.7004e-06
269.253 | 2.7113e-06
269.436 | 2.6901e-06
269.753 | 2.6804e-06
270.004 | 2.6853e-06
270.32 | 2.6666e-06
270.638 | 2.6595e-06
270.903 | 2.7371e-06
271.221 | 2.7187e-06
271.538 | 2.9494e-06
271.838 | 2.8375e-06
272.106 | 2.8355e-06
272.42 | 2.8236e-06
272.721 | 2.8508e-06
273.037 | 2.774e-06
273.355 | 2.853e-06
273.604 | 2.8461e-06
273.92 | 2.8599e-06
274.22 | 2.8633e-06
274.519 | 2.8463e-06
274.835 | 2.8482e-06
275.136 | 2.8266e-06
275.453 | 2.7868e-06
275.72 | 2.7696e-06
276.02 | 2.7845e-06
276.32 | 2.8233e-06
276.639 | 2.8007e-06
276.939 | 2.8093e-06
277.239 | 2.7875e-06
277.539 | 2.8417e-06
277.84 | 2.8096e-06
278.105 | 2.739e-06
278.424 | 2.7136e-06
278.724 | 2.7511e-06
279.024 | 2.7981e-06
279.338 | 2.7934e-06
279.636 | 2.7331e-06
279.95 | 2.8003e-06
280.249 | 2.8273e-06
280.547 | 2.906e-06
280.812 | 2.8624e-06
281.13 | 2.9996e-06
281.429 | 2.921e-06
281.73 | 2.9092e-06
282.045 | 3.0157e-06
282.347 | 3.0548e-06
282.648 | 3.0201e-06
282.914 | 3.0833e-06
283.232 | 3.1173e-06
283.532 | 3.1031e-06
283.851 | 3.1455e-06
284.151 | 3.1156e-06
284.451 | 3.1201e-06
284.717 | 3.1299e-06
285.018 | 3.1447e-06
285.318 | 3.1853e-06
285.635 | 3.1537e-06
285.936 | 3.2353e-06
286.251 | 3.4011e-06
286.518 | 3.2913e-06
286.818 | 3.2927e-06
287.119 | 3.3265e-06
287.435 | 3.2661e-06
287.738 | 3.3039e-06
288.054 | 3.2824e-06
288.303 | 3.3644e-06
288.604 | 3.3741e-06
288.921 | 3.3839e-06
289.222 | 3.4083e-06
289.522 | 3.4725e-06
289.838 | 3.3929e-06
290.105 | 3.4601e-06
290.422 | 3.4638e-06
290.738 | 3.4741e-06
291.039 | 3.4803e-06
291.322 | 3.4093e-06
291.64 | 3.3716e-06
291.905 | 3.4809e-06
292.24 | 3.4666e-06
292.539 | 3.5445e-06
292.806 | 3.644e-06
293.122 | 3.8882e-06
293.439 | 4.2135e-06
293.705 | 3.8955e-06
294.024 | 3.5191e-06
294.341 | 3.6999e-06
294.641 | 3.5405e-06
294.956 | 3.424e-06
295.207 | 3.4437e-06
295.524 | 3.3976e-06
295.824 | 3.4192e-06
296.139 | 3.3123e-06
296.457 | 3.3233e-06
296.742 | 3.2928e-06
297.04 | 3.255e-06
297.308 | 3.2605e-06
297.625 | 3.3362e-06
297.924 | 3.5361e-06
298.24 | 3.5096e-06
298.538 | 3.4562e-06
298.853 | 3.4243e-06
299.101 | 3.4477e-06
299.416 | 3.388e-06
299.711 | 3.3813e-06
300.011 | 3.3252e-06
300.327 | 3.3509e-06
300.63 | 3.4568e-06
300.931 | 3.4876e-06
301.247 | 3.5052e-06
301.549 | 3.5856e-06
301.85 | 3.7184e-06
302.117 | 3.7634e-06
302.436 | 3.6843e-06
302.736 | 3.8965e-06
303.052 | 3.7803e-06
303.318 | 3.717e-06
303.618 | 3.709e-06
303.936 | 3.7395e-06
304.236 | 3.6774e-06
304.553 | 3.8421e-06
304.803 | 3.7225e-06
305.12 | 3.6697e-06
305.42 | 3.865e-06
305.738 | 3.8258e-06
306.039 | 3.8139e-06
306.354 | 4.5414e-06
306.606 | 4.2472e-06
306.922 | 4.2461e-06
307.221 | 4.3144e-06
307.539 | 4.441e-06
307.839 | 4.3059e-06
308.157 | 4.1007e-06
308.407 | 3.9118e-06
308.723 | 3.9108e-06
309.023 | 3.9646e-06
309.323 | 3.9635e-06
309.638 | 3.9798e-06
309.939 | 3.9963e-06
310.239 | 4.0216e-06
310.537 | 4.0043e-06
310.838 | 3.9804e-06
311.105 | 3.9745e-06
311.422 | 3.97e-06
311.721 | 3.9689e-06
312.038 | 4.0313e-06
312.304 | 4.0848e-06
312.621 | 3.9509e-06
312.921 | 3.9865e-06
313.238 | 3.9326e-06
313.555 | 3.9257e-06
313.805 | 4.0143e-06
314.122 | 4.1092e-06
314.421 | 4.0277e-06
314.739 | 4.0595e-06
315.039 | 4.1693e-06
315.304 | 4.0897e-06
315.606 | 4.2091e-06
315.922 | 4.6693e-06
316.221 | 4.1774e-06
316.522 | 4.1339e-06
316.838 | 3.9947e-06
317.155 | 4.1934e-06
317.405 | 4.1034e-06
317.722 | 4.2018e-06
318.037 | 4.0961e-06
318.337 | 4.3334e-06
318.604 | 4.2002e-06
318.92 | 3.9596e-06
319.221 | 3.9657e-06
319.537 | 4.1573e-06
319.805 | 4.0874e-06
320.103 | 4.1422e-06