## Settings
Sample Info | so303, dot c6, run 04
Sample Description | 04: +0.2/+1.2/+0.2
Major Measurement Parameters
Starting Temperature | 256.387
Initial Temperature | 81
Final Temperature | 450
Preliminary Voltage | 0.2
Pulse Voltage | 1.2
Pulse Time | 5
Measurement Voltage | 0.2
Subsidiary Measurement Parameters
Step | 0.3
Accuracy Step | 0.1
Accuracy Stable | 0.5
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 10
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 3
Measurecount | 1
время
Date | 25.9.2023
Time | 19:23:21

## Stabilization
Temperature | Current
255.136 | 1.5678e-06
254.457 | 1.5694e-06
253.749 | 1.5616e-06
253.085 | 1.5624e-06
252.384 | 1.5674e-06
251.679 | 1.5765e-06
251.079 | 1.5823e-06
250.308 | 1.5715e-06
249.766 | 1.5741e-06
248.99 | 1.5795e-06
248.452 | 1.5739e-06
247.784 | 1.5737e-06
247.209 | 1.5743e-06
246.755 | 1.5743e-06
246.105 | 1.5754e-06
245.617 | 1.5722e-06
244.989 | 1.569e-06
244.531 | 1.5695e-06
243.926 | 1.5697e-06
243.429 | 1.5714e-06
242.923 | 1.569e-06
242.359 | 1.5976e-06
241.926 | 1.7422e-06
241.176 | 1.7435e-06
240.707 | 1.7215e-06
240.121 | 1.5549e-06
239.671 | 1.5579e-06
239.202 | 1.5434e-06
238.669 | 1.5505e-06
237.98 | 1.5561e-06
237.55 | 1.5599e-06
237.008 | 1.5468e-06
236.544 | 1.8156e-06
235.958 | 1.8401e-06
235.518 | 1.8289e-06
235.055 | 1.7864e-06
234.735 | 1.8009e-06
234.454 | 1.8334e-06
234.183 | 1.8738e-06
233.977 | 1.8755e-06
233.718 | 1.8937e-06
233.344 | 1.8873e-06
233.079 | 1.8834e-06
232.721 | 1.8806e-06
232.464 | 1.8674e-06
232.155 | 1.8754e-06
232.004 | 1.8755e-06
231.804 | 1.8696e-06
231.665 | 1.8645e-06
231.448 | 1.8696e-06
231.317 | 1.8575e-06
231.194 | 1.86e-06
230.878 | 1.8682e-06
230.55 | 1.8735e-06
230.246 | 1.8766e-06
229.794 | 1.8756e-06
229.594 | 1.8662e-06
229.167 | 1.8674e-06
228.892 | 1.8786e-06
228.726 | 1.8681e-06
228.553 | 1.771e-06
228.195 | 1.2038e-06
228.045 | 1.8292e-06
227.867 | 1.4096e-06
227.729 | 1.7092e-06
227.518 | 1.8131e-06
227.355 | 3.9135e-07
227.131 | 3.6796e-07
226.864 | 3.6019e-07
226.66 | 3.5177e-07
226.421 | 3.8636e-07
226.287 | 5.6621e-07
226.12 | 3.2956e-07
225.986 | 4.9604e-07
225.766 | 3.7921e-07
225.651 | 8.7017e-07
225.473 | 1.6692e-06
225.34 | 1.674e-06
225.211 | 1.5702e-06
225.086 | 1.4961e-06
224.835 | 1.4766e-06
224.694 | 1.4813e-06
224.535 | 1.481e-06
224.403 | 1.4789e-06
224.287 | 1.4815e-06
224.003 | 1.4827e-06
223.841 | 1.4876e-06
223.652 | 1.4919e-06
223.501 | 1.4923e-06
223.377 | 1.4947e-06
223.148 | 1.4892e-06
222.951 | 1.4932e-06
222.83 | 1.4972e-06
222.614 | 1.498e-06
222.276 | 1.4946e-06
222.125 | 1.4774e-06
221.996 | 1.4787e-06
221.853 | 1.4758e-06
221.689 | 1.4784e-06
221.554 | 1.4816e-06
221.422 | 1.4875e-06
221.296 | 1.4513e-06
221.14 | 1.4291e-06
220.997 | 1.4264e-06
220.851 | 1.4316e-06
220.675 | 1.4642e-06
220.545 | 1.4924e-06
220.415 | 1.4944e-06
220.266 | 1.4962e-06
220.085 | 1.4961e-06
219.931 | 1.504e-06
219.785 | 1.5078e-06
219.562 | 1.5071e-06
219.355 | 1.4983e-06
219.219 | 1.4903e-06
219.053 | 1.4993e-06
218.85 | 1.4617e-06
218.693 | 1.4913e-06
218.545 | 1.5011e-06
218.409 | 1.5086e-06
218.265 | 1.5107e-06
218.121 | 1.5018e-06
217.902 | 1.5088e-06
217.655 | 1.4787e-06
217.48 | 1.4768e-06
217.314 | 1.4721e-06
217.163 | 1.4624e-06
217.008 | 1.4616e-06
216.845 | 1.4696e-06
216.684 | 1.4957e-06
216.521 | 1.5018e-06
216.362 | 1.4505e-06
216.202 | 1.4434e-06
216.051 | 1.1742e-06
215.88 | 1.3968e-06
215.714 | 1.3614e-06
215.5 | 7.6144e-07
215.336 | 5.2008e-07
215.172 | 6.3842e-07
215.005 | 4.7458e-07
214.841 | 5.5168e-07
214.689 | 8.3536e-07
214.525 | 1.5869e-07
214.358 | 8.1847e-07
214.193 | 5.4769e-07
213.919 | 4.7227e-07
213.704 | 1.5688e-07
213.538 | 1.6461e-07
213.366 | 3.3425e-07
213.033 | 9.9195e-07
212.854 | 5.2701e-07
212.684 | 2.5744e-07
212.509 | 3.9701e-07
212.337 | 6.4682e-07
212.176 | 4.559e-07
212.002 | 4.6599e-07
211.833 | 4.6098e-07
211.673 | 3.7063e-07
211.482 | 7.4769e-07
211.263 | 9.1164e-07
211.043 | 3.7649e-07
210.853 | 5.2853e-07
210.67 | 5.2706e-07
210.496 | 8.6579e-07
210.297 | 8.6709e-07
210.127 | 9.194e-07
209.938 | 9.5218e-07
209.755 | 7.0023e-07
209.585 | 7.9062e-07
209.384 | 1.0181e-06
209.188 | 7.7286e-07
208.821 | 1.0529e-06
208.474 | 7.3058e-07
208.286 | 6.5207e-07
208.09 | 5.9602e-07
207.898 | 4.7229e-07
207.72 | 7.1664e-07
207.529 | 6.2073e-07
207.336 | 8.8704e-07
207.16 | 4.5198e-07
206.967 | 5.7473e-07
206.77 | 6.0825e-07
206.576 | 4.3613e-07
206.4 | 5.0207e-07
206.214 | 3.1052e-07
205.991 | 7.1278e-07
205.803 | 6.0207e-07
205.605 | 4.6025e-07
205.399 | 4.2548e-07
205.204 | 3.9328e-07
205.007 | 1.495e-07
204.792 | 2.1534e-07
204.569 | 3.6135e-07
204.361 | 2.366e-07
204.17 | 2.1544e-07
203.961 | 5.8115e-07
203.706 | 1.4227e-07
203.477 | 8.0152e-07
203.276 | 1.749e-07
203.05 | 3.5923e-07
202.824 | 3.29e-07
202.61 | 2.2202e-07
202.402 | 2.2934e-07
202.192 | 2.021e-07
201.957 | 3.7062e-07
201.742 | 3.3511e-07
201.53 | 1.6829e-07
201.314 | 1.5582e-07
201.096 | 1.9258e-07
200.9 | 2.1076e-07
200.685 | 2.9533e-07
200.473 | 3.4704e-07
200.257 | 3.8035e-07
200.045 | 3.9282e-07
199.847 | 4.7638e-07
199.636 | 5.0826e-07
199.423 | 2.3707e-07
199.216 | 1.9028e-07
199.008 | 1.707e-07
198.788 | 1.7555e-07
198.578 | 1.6885e-07
198.371 | 1.9105e-07
198.164 | 1.8423e-07
197.935 | 1.805e-07
197.725 | 1.7765e-07
197.529 | 1.7733e-07
197.291 | 1.8291e-07
197.079 | 1.8309e-07
196.881 | 1.8295e-07
196.674 | 1.7973e-07
196.451 | 1.7516e-07
196.235 | 1.7873e-07
196.028 | 1.8199e-07
195.815 | 1.7785e-07
195.617 | 1.8085e-07
195.413 | 1.7874e-07
195.209 | 1.7913e-07
194.968 | 1.8319e-07
194.758 | 1.8335e-07
194.555 | 1.8263e-07
194.334 | 1.8189e-07
194.133 | 1.8035e-07
193.911 | 1.7598e-07
193.697 | 1.7657e-07
193.484 | 1.7615e-07
193.268 | 1.7714e-07
193.051 | 1.7708e-07
192.841 | 1.7692e-07
192.629 | 1.7671e-07
192.421 | 1.7638e-07
192.211 | 1.7788e-07
192.02 | 1.7867e-07
191.823 | 1.7341e-07
191.625 | 1.7536e-07
191.425 | 1.7412e-07
191.216 | 1.7651e-07
191.017 | 1.7726e-07
190.834 | 1.7768e-07
190.633 | 1.7837e-07
190.437 | 1.7582e-07
190.253 | 1.7653e-07
190.055 | 1.7838e-07
189.856 | 1.7776e-07
189.664 | 1.7768e-07
189.467 | 1.7862e-07
189.286 | 1.778e-07
189.092 | 1.7794e-07
188.908 | 1.7854e-07
188.717 | 1.7666e-07
188.528 | 1.7754e-07
188.356 | 1.7813e-07
188.17 | 1.7713e-07
187.989 | 1.7695e-07
187.81 | 1.7713e-07
187.646 | 1.7915e-07
187.438 | 1.7647e-07
187.23 | 1.7861e-07
187.038 | 1.7853e-07
186.853 | 1.7636e-07
186.669 | 1.7713e-07
186.477 | 1.7682e-07
186.299 | 1.756e-07
186.12 | 1.7542e-07
185.935 | 1.7528e-07
185.771 | 1.7577e-07
185.589 | 1.7636e-07
185.41 | 1.7186e-07
185.231 | 1.7419e-07
185.03 | 1.733e-07
184.834 | 1.7373e-07
184.654 | 1.7297e-07
184.491 | 1.7437e-07
184.312 | 1.7472e-07
184.132 | 1.7514e-07
183.936 | 1.7325e-07
183.709 | 1.7431e-07
183.514 | 1.7716e-07
183.337 | 1.7731e-07
183.147 | 1.7666e-07
182.957 | 1.7609e-07
182.772 | 1.7551e-07
182.599 | 1.7495e-07
182.418 | 1.7383e-07
182.241 | 1.7427e-07
182.069 | 1.735e-07
181.896 | 1.7404e-07
181.728 | 1.7359e-07
181.535 | 1.7269e-07
181.365 | 1.7591e-07
181.186 | 1.7469e-07
181.007 | 1.7654e-07
180.841 | 1.7509e-07
180.672 | 1.7468e-07
180.502 | 1.7611e-07
180.332 | 1.7474e-07
180.151 | 1.7313e-07
179.979 | 1.6741e-07
179.823 | 1.7139e-07
179.651 | 1.7023e-07
179.475 | 1.7104e-07
179.276 | 1.6968e-07
179.1 | 1.7044e-07
178.921 | 1.6893e-07
178.736 | 1.701e-07
178.57 | 1.6985e-07
178.393 | 1.7192e-07
178.213 | 1.705e-07
178.034 | 1.6972e-07
177.855 | 1.7024e-07
177.681 | 1.6884e-07
177.504 | 1.6904e-07
177.328 | 1.6815e-07
177.148 | 1.702e-07
176.963 | 1.6755e-07
176.789 | 1.684e-07
176.622 | 1.6898e-07
176.468 | 1.6984e-07
176.305 | 1.6666e-07
176.138 | 1.6755e-07
175.972 | 1.67e-07
175.815 | 1.6658e-07
175.644 | 1.6683e-07
175.485 | 1.6654e-07
175.314 | 1.6681e-07
175.154 | 1.6644e-07
174.99 | 1.6634e-07
174.759 | 1.6671e-07
174.534 | 1.6679e-07
174.368 | 1.6751e-07
174.218 | 1.6696e-07
174.058 | 1.6617e-07
173.9 | 1.659e-07
173.747 | 1.6549e-07
173.594 | 1.6483e-07
173.458 | 1.6613e-07
173.31 | 1.6653e-07
173.155 | 1.6437e-07
172.963 | 1.6546e-07
172.799 | 1.6349e-07
172.625 | 1.6683e-07
172.459 | 1.6677e-07
172.285 | 1.6641e-07
172.119 | 1.6708e-07
171.959 | 1.675e-07
171.784 | 1.6222e-07
171.608 | 1.6218e-07
171.433 | 1.6568e-07
171.249 | 1.63e-07
171.066 | 1.6032e-07
170.885 | 1.623e-07
170.701 | 1.628e-07
170.531 | 1.6265e-07
170.34 | 1.6242e-07
170.152 | 1.6171e-07
169.95 | 1.6201e-07
169.746 | 1.6418e-07
169.543 | 1.6094e-07
169.315 | 1.6071e-07
169.105 | 1.6014e-07
168.866 | 1.597e-07
168.638 | 1.6304e-07
168.409 | 1.6239e-07
168.184 | 1.6425e-07
167.974 | 1.6185e-07
167.75 | 1.6078e-07
167.543 | 1.603e-07
167.343 | 1.6011e-07
167.133 | 1.6206e-07
166.919 | 1.6533e-07
166.704 | 1.6392e-07
166.492 | 1.6304e-07
166.26 | 1.603e-07
166.022 | 1.6265e-07
165.817 | 1.6728e-07
165.595 | 1.7281e-07
165.385 | 1.6368e-07
165.157 | 1.6256e-07
164.967 | 1.7115e-07
164.744 | 1.6785e-07
164.526 | 1.641e-07
164.312 | 1.6071e-07
164.06 | 1.5841e-07
163.834 | 1.6093e-07
163.619 | 1.6178e-07
163.409 | 1.6504e-07
163.204 | 1.6697e-07
162.998 | 1.6781e-07
162.809 | 1.7004e-07
162.613 | 1.7025e-07
162.392 | 1.6995e-07
162.209 | 1.7084e-07
162.007 | 1.7245e-07
161.778 | 1.7322e-07
161.578 | 1.7095e-07
161.38 | 1.7182e-07
161.179 | 1.7095e-07
160.991 | 1.7022e-07
160.797 | 1.7008e-07
160.604 | 1.6899e-07
160.415 | 1.681e-07
160.227 | 1.6905e-07
160.039 | 1.7188e-07
159.857 | 1.717e-07
159.667 | 1.7103e-07
159.479 | 1.7151e-07
159.294 | 1.6942e-07
159.102 | 1.707e-07
158.915 | 1.7151e-07
158.728 | 1.7023e-07
158.543 | 1.7146e-07
158.356 | 1.7249e-07
158.18 | 1.74e-07
157.986 | 1.7399e-07
157.805 | 1.7325e-07
157.612 | 1.753e-07
157.359 | 1.7487e-07
157.168 | 1.7438e-07
156.986 | 1.7515e-07
156.807 | 1.7167e-07
156.628 | 1.7282e-07
156.446 | 1.7289e-07
156.285 | 1.7298e-07
156.078 | 1.7194e-07
155.907 | 1.7274e-07
155.71 | 1.7392e-07
155.501 | 1.7379e-07
155.303 | 1.7284e-07
155.117 | 1.7274e-07
154.941 | 1.7374e-07
154.765 | 1.7339e-07
154.587 | 1.7236e-07
154.41 | 1.7379e-07
154.256 | 1.739e-07
154.09 | 1.7134e-07
153.92 | 1.7322e-07
153.758 | 1.7252e-07
153.587 | 1.711e-07
153.42 | 1.7205e-07
153.247 | 1.7409e-07
153.078 | 1.7464e-07
152.91 | 1.763e-07
152.726 | 1.7354e-07
152.561 | 1.7127e-07
152.401 | 1.7318e-07
152.239 | 1.7054e-07
152.071 | 1.706e-07
151.909 | 1.7056e-07
151.752 | 1.7209e-07
151.587 | 1.7187e-07
151.446 | 1.718e-07
151.29 | 1.7079e-07
151.14 | 1.6891e-07
150.988 | 1.6895e-07
150.835 | 1.6963e-07
150.701 | 1.6932e-07
150.557 | 1.689e-07
150.412 | 1.6901e-07
150.288 | 1.6615e-07
150.161 | 1.6945e-07
150.037 | 1.6645e-07
149.881 | 1.7047e-07
149.725 | 1.7424e-07
149.579 | 1.6869e-07
149.449 | 1.6913e-07
149.316 | 1.7006e-07
149.184 | 1.6878e-07
149.058 | 1.6929e-07
148.935 | 1.7227e-07
148.819 | 1.6696e-07
148.705 | 1.6727e-07
148.592 | 1.7027e-07
148.451 | 1.7389e-07
148.311 | 1.7741e-07
148.172 | 1.7788e-07
148.04 | 1.7933e-07
147.908 | 1.7719e-07
147.774 | 1.7435e-07
147.647 | 1.7271e-07
147.516 | 1.7803e-07
147.352 | 1.7859e-07
147.208 | 1.7864e-07
147.044 | 1.8171e-07
146.841 | 1.7656e-07
146.655 | 1.7633e-07
146.493 | 1.7593e-07
146.321 | 1.7893e-07
146.144 | 1.7828e-07
145.929 | 1.7798e-07
145.77 | 1.7688e-07
145.612 | 1.7732e-07
145.46 | 1.7716e-07
145.291 | 1.7711e-07
145.141 | 1.7468e-07
144.982 | 1.7454e-07
144.829 | 1.7406e-07
144.676 | 1.7366e-07
144.512 | 1.7357e-07
144.338 | 1.7427e-07
144.173 | 1.7413e-07
143.93 | 1.743e-07
143.7 | 1.7302e-07
143.468 | 1.7341e-07
143.276 | 1.7383e-07
143.069 | 1.7225e-07
142.893 | 1.7209e-07
142.695 | 1.7122e-07
142.499 | 1.729e-07
142.318 | 1.7298e-07
142.138 | 1.7381e-07
141.965 | 1.7414e-07
141.692 | 1.7675e-07
141.525 | 1.7514e-07
141.29 | 1.7554e-07
141.066 | 1.7527e-07
140.802 | 1.7546e-07
140.527 | 1.7433e-07
140.257 | 1.7559e-07
139.939 | 1.7582e-07
139.679 | 1.7437e-07
139.413 | 1.7324e-07
139.095 | 1.7377e-07
138.812 | 1.7409e-07
138.548 | 1.7354e-07
138.241 | 1.746e-07
137.963 | 1.7454e-07
137.732 | 1.7534e-07
137.466 | 1.7487e-07
137.134 | 1.7427e-07
136.822 | 1.7456e-07
136.477 | 1.738e-07
136.197 | 1.7297e-07
135.937 | 1.7261e-07
135.686 | 1.7366e-07
135.475 | 1.7392e-07
135.24 | 1.74e-07
135.023 | 1.7187e-07
134.786 | 1.7255e-07
134.595 | 1.7337e-07
134.398 | 1.7366e-07
134.227 | 1.736e-07
134.057 | 1.7175e-07
133.881 | 1.7148e-07
133.707 | 1.7115e-07
133.543 | 1.7053e-07
133.377 | 1.7078e-07
133.19 | 1.717e-07
133.031 | 1.7258e-07
132.804 | 1.7211e-07
132.603 | 1.7094e-07
132.393 | 1.7183e-07
132.133 | 1.7294e-07
131.919 | 1.7211e-07
131.687 | 1.7333e-07
131.436 | 1.6829e-07
131.219 | 1.673e-07
131.001 | 1.6739e-07
130.747 | 1.6815e-07
130.521 | 1.6888e-07
130.225 | 1.6869e-07
129.856 | 1.6899e-07
129.517 | 1.6741e-07
129.184 | 1.6775e-07
128.809 | 1.6788e-07
128.468 | 1.6707e-07
128.17 | 1.7845e-07
127.752 | 4.2512e-08
127.478 | 9.2828e-08
127.14 | 2.7365e-07
126.956 | 3.7341e-07
126.76 | 3.3312e-07
126.592 | 3.5361e-07
126.384 | 3.5331e-07
126.2 | 3.4816e-07
126.045 | 3.4984e-07
125.879 | 3.5182e-07
125.699 | 3.469e-07
125.53 | 3.4472e-07
125.366 | 3.4493e-07
125.21 | 3.4209e-07
125.065 | 3.4289e-07
124.891 | 3.3626e-07
124.721 | 3.3725e-07
124.575 | 3.5011e-07
124.438 | 3.5791e-07
124.288 | 3.6947e-07
124.15 | 3.4273e-07
124.016 | 3.352e-07
123.885 | 3.4224e-07
123.761 | 3.1885e-07
123.639 | 3.2577e-07
123.522 | 3.2747e-07
123.408 | 3.2844e-07
123.295 | 3.2302e-07
123.183 | 3.1433e-07
123.075 | 3.1944e-07
122.967 | 3.1687e-07
122.863 | 3.1902e-07
122.755 | 2.887e-07
122.657 | 1.3606e-07
122.56 | 1.0895e-07
122.435 | 7.4547e-08
122.286 | 7.242e-07
122.105 | 3.2431e-07
121.974 | 6.9386e-08
121.879 | 7.3305e-08
121.728 | 1.0399e-07
121.606 | 5.808e-08
121.517 | 5.999e-08
121.423 | 7.0043e-08
121.321 | 4.2988e-08
121.232 | 3.202e-08
121.153 | 2.9362e-08
121.069 | 3.7355e-08
120.989 | 3.2472e-08
120.916 | 3.2756e-08
120.843 | 4.8467e-08
120.773 | 4.3912e-08
120.71 | 3.2073e-08
120.655 | 5.7936e-08
120.605 | 3.3658e-08
120.558 | 6.4344e-08
120.516 | 8.6992e-08
120.481 | 1.008e-07
120.447 | 3.951e-08
120.417 | 6.382e-08
120.396 | 6.0723e-08
120.378 | 4.4402e-08
120.362 | 5.7823e-08
120.351 | 4.1925e-08
120.341 | 4.2201e-08
120.335 | 6.8899e-08
120.329 | 3.4342e-08
120.332 | 3.2102e-08
120.336 | 6.8967e-08
120.344 | 1.1285e-07
120.361 | 3.3045e-08
120.373 | 3.7681e-08
120.386 | 3.7719e-08
120.404 | 8.2997e-08
120.424 | 2.7584e-08
120.442 | 9.3095e-08
120.46 | 2.7147e-08
120.499 | 1.1071e-07
120.528 | 3.7732e-08
120.565 | 1.2621e-07
120.6 | 8.2389e-08
120.628 | 1.0499e-07
120.66 | 4.24e-08
120.692 | 3.8321e-08
120.728 | 2.7573e-08
120.765 | 2.7213e-08
120.8 | 3.5448e-08
120.837 | 2.6021e-08
120.877 | 2.5267e-08
120.913 | 2.4093e-08
120.954 | 2.3036e-08
121.001 | 1.9696e-08
121.041 | 2.6075e-08
121.08 | 1.7711e-08
121.135 | 3.4391e-09
121.178 | 8.0652e-09
121.223 | 5.9578e-09
121.269 | 3.8639e-09
121.315 | 4.3293e-09
121.397 | 1.465e-08
121.442 | 1.4648e-08
121.489 | 1.5591e-08
121.568 | 1.6253e-08
121.667 | 3.2985e-08
121.731 | 1.4901e-08
121.779 | 1.05e-07
121.826 | 1.9252e-08
121.879 | 4.7102e-08
121.992 | 1.1488e-08
122.074 | 3.6765e-08
122.145 | 3.9368e-08
122.214 | 9.1988e-08
122.255 | 1.8628e-07
122.298 | 2.1477e-07
122.34 | 2.179e-07
122.389 | 2.1811e-07
122.431 | 2.1667e-07
122.469 | 2.1797e-07
122.5 | 2.1732e-07
122.531 | 2.169e-07
122.56 | 2.1694e-07
122.596 | 2.1466e-07
122.631 | 2.1294e-07
122.663 | 2.1482e-07
122.697 | 2.1956e-07
122.729 | 2.2077e-07
122.762 | 2.2004e-07
122.792 | 2.1851e-07
122.82 | 2.1783e-07
122.843 | 2.1543e-07
122.867 | 2.1472e-07
122.897 | 2.1417e-07
122.923 | 2.1419e-07
122.945 | 2.1441e-07
122.965 | 2.1403e-07
122.985 | 2.1589e-07
123.004 | 2.1545e-07
123.024 | 2.1429e-07
123.045 | 2.1396e-07
123.065 | 2.132e-07
123.084 | 2.1318e-07
123.096 | 2.1451e-07
123.108 | 2.116e-07
123.109 | 2.1221e-07
123.075 | 2.0988e-07
123.021 | 2.0842e-07
122.993 | 2.0562e-07
122.966 | 2.0539e-07
122.944 | 2.0436e-07
122.929 | 2.0236e-07
122.914 | 2.0345e-07
122.897 | 2.0035e-07
122.873 | 1.9956e-07
122.843 | 1.9803e-07
122.809 | 1.9647e-07
122.782 | 1.9719e-07
122.758 | 1.9642e-07
122.732 | 1.9743e-07
122.697 | 1.9438e-07
122.645 | 1.9187e-07
122.596 | 1.9286e-07
122.556 | 1.9162e-07
122.519 | 1.4918e-07
122.474 | 4.1644e-08
122.439 | 5.154e-08
122.388 | 7.1642e-09
122.328 | 8.3216e-09
122.238 | 8.851e-09
122.183 | 9.2714e-09
122.139 | 9.8911e-09
122.06 | 1.1738e-08
122.008 | 1.1742e-08
121.956 | 5.66e-08
121.906 | 1.4705e-08
121.843 | 3.4284e-08
121.791 | 1.7575e-08
121.735 | 2.5671e-08
121.678 | 7.2871e-08
121.618 | 1.5475e-08
121.562 | 1.9029e-08
121.471 | 1.9705e-08
121.4 | 2.0199e-08
121.331 | 2.1474e-08
121.261 | 4.3503e-08
121.179 | 3.4491e-08
121.096 | 2.5068e-08
120.935 | 1.7908e-08
120.776 | 2.3811e-08
120.656 | 5.5209e-08
120.539 | 1.9429e-08
120.461 | 1.8909e-08
120.381 | 1.9439e-08
120.291 | 2.6841e-08
120.083 | 2.2041e-07
119.978 | 2.1979e-07
119.887 | 2.6277e-07
119.779 | 8.3561e-08
119.699 | 8.563e-08
119.625 | 7.5632e-08
119.445 | 7.8221e-07
119.359 | 7.8887e-07
119.287 | 1.1449e-07
119.195 | 7.4512e-08
119.114 | 7.183e-08
118.98 | 7.2379e-08
118.771 | 7.1966e-08
118.619 | 7.0734e-08
118.483 | 7.0122e-08
118.308 | 1.4899e-06
118.125 | 6.9037e-08
117.869 | 1.8784e-06
117.561 | 7.5066e-08
117.392 | 7.1802e-08
117.181 | 1.8406e-06
117.033 | 6.7929e-07
116.933 | 5.5915e-07
116.634 | 4.3644e-08
116.538 | 1.05e-06
116.443 | 1.05e-06
116.321 | 2.5045e-08
116.222 | 2.1953e-08
116.029 | 3.6252e-08
115.867 | 4.0388e-08
115.677 | 5.2149e-08
115.552 | 5.9035e-08
115.461 | 5.7137e-08
115.362 | 5.0266e-08
115.263 | 7.4428e-08
115.055 | 1.9133e-06
114.835 | 4.0403e-08
114.675 | 4.518e-08
114.576 | 5.3493e-08
114.482 | 4.5715e-08
114.391 | 4.3873e-08
114.281 | 4.4405e-08
114.153 | 7.2358e-08
113.943 | 7.3853e-08
113.836 | 9.898e-08
113.746 | 2.7824e-08
113.656 | 1.9362e-08
113.531 | 1.9109e-08
113.362 | 2.2815e-08
113.163 | 2.2762e-08
112.97 | 2.1104e-08
112.856 | 1.8767e-08
112.754 | 1.8961e-08
112.654 | 1.9486e-08
112.472 | 1.9156e-08
112.286 | 1.819e-08
112.138 | 2.0054e-08
112.03 | 2.616e-08
111.933 | 1.6539e-08
111.849 | 2.6392e-08
111.702 | 2.6718e-08
111.576 | 7.898e-08
111.474 | 3.5375e-08
111.223 | 2.685e-08
111.102 | 3.2693e-07
111.006 | 2.7697e-07
110.887 | 3.2229e-08
110.795 | 3.1824e-08
110.47 | 8.3689e-09
110.319 | 1.0446e-07
110.137 | 5.7521e-07
110.027 | 3.5235e-07
109.915 | 4.5929e-07
109.557 | 1.9436e-06
109.464 | 1.9612e-06
109.369 | 1.9583e-06
109.283 | 1.9574e-06
109.141 | 1.9637e-06
109.023 | 1.9549e-06
108.912 | 1.9556e-06
108.786 | 1.9504e-06
108.696 | 1.9556e-06
108.606 | 1.9503e-06
108.517 | 1.9606e-06
108.39 | 1.9592e-06
108.241 | 1.9602e-06
108.12 | 1.9575e-06
108.001 | 1.9709e-06
107.904 | 1.9603e-06
107.784 | 1.9646e-06
107.632 | 1.9649e-06
107.464 | 1.9668e-06
107.279 | 1.9646e-06
107.07 | 1.9646e-06
106.868 | 1.9565e-06
106.688 | 1.9514e-06
106.533 | 1.9571e-06
106.322 | 1.9627e-06
106.046 | 1.9613e-06
105.792 | 1.9617e-06
105.558 | 1.9558e-06
105.358 | 1.9549e-06
105.187 | 1.9606e-06
105.056 | 1.9589e-06
104.897 | 1.9566e-06
104.76 | 1.9599e-06
104.618 | 1.9613e-06
104.487 | 1.9648e-06
104.383 | 1.9624e-06
104.26 | 1.9614e-06
104.104 | 1.9533e-06
103.835 | 1.9516e-06
103.468 | 1.953e-06
103.07 | 1.9594e-06
102.769 | 1.9628e-06
102.522 | 1.9632e-06
102.337 | 1.9641e-06
102.178 | 1.9632e-06
101.993 | 1.9603e-06
101.773 | 1.9629e-06
101.595 | 1.9595e-06
101.431 | 1.966e-06
101.296 | 1.9626e-06
101.189 | 1.965e-06
101.1 | 1.9662e-06
101.016 | 1.967e-06
100.909 | 1.9607e-06
100.675 | 1.9617e-06
100.43 | 1.9675e-06
100.161 | 1.963e-06
99.9416 | 1.965e-06
99.7846 | 1.9692e-06
99.6618 | 1.9657e-06
99.5549 | 1.9633e-06
99.4821 | 1.9697e-06
99.431 | 1.9647e-06
99.3403 | 1.9663e-06
99.2589 | 1.969e-06
98.9937 | 1.9681e-06
98.7215 | 1.9564e-06
98.4558 | 1.964e-06
98.2766 | 1.967e-06
98.1552 | 1.9669e-06
98.0592 | 1.962e-06
97.9765 | 1.9608e-06
97.9068 | 1.9666e-06
97.8492 | 1.9666e-06
97.8 | 1.9672e-06
97.7365 | 1.9651e-06
97.6822 | 1.9639e-06
97.6305 | 1.9693e-06
97.5744 | 1.9694e-06
97.5029 | 1.9674e-06
97.4304 | 1.9679e-06
97.3473 | 1.9661e-06
97.0997 | 1.9673e-06
96.9104 | 1.9689e-06
96.7609 | 1.9603e-06
96.6228 | 1.9623e-06
96.5012 | 1.9759e-06
96.3997 | 1.9719e-06
96.2353 | 1.9687e-06
95.9326 | 1.9624e-06
95.6839 | 1.9525e-06
95.4942 | 1.9516e-06
95.3602 | 1.9569e-06
95.2607 | 1.9516e-06
95.185 | 1.9543e-06
95.124 | 1.9511e-06
95.0475 | 1.9564e-06
94.8778 | 1.9603e-06
94.7135 | 1.9563e-06
94.5771 | 1.9569e-06
94.4466 | 1.9582e-06
94.3457 | 1.9566e-06
94.1006 | 1.9575e-06
93.7967 | 1.9578e-06
93.5301 | 1.9588e-06
93.278 | 1.9595e-06
93.0964 | 1.9615e-06
92.9715 | 1.959e-06
92.8894 | 1.9587e-06
92.8342 | 1.9583e-06
92.5291 | 1.9616e-06
92.3701 | 1.9617e-06
92.2576 | 1.9569e-06
92.1586 | 1.9597e-06
91.8825 | 1.9582e-06
91.6353 | 1.9563e-06
91.3524 | 1.9619e-06
91.2131 | 1.9573e-06
91.0796 | 1.963e-06
90.9861 | 1.9622e-06
90.9138 | 1.9625e-06
90.3554 | 1.9638e-06
90.0491 | 1.9616e-06
89.8741 | 1.9645e-06
89.7785 | 1.9589e-06
89.7217 | 1.9623e-06
89.6882 | 1.9592e-06
89.4174 | 1.9592e-06
88.6383 | 1.9672e-06
88.3 | 1.9639e-06
88.2259 | 1.9643e-06
88.141 | 1.9644e-06
88.0946 | 1.9693e-06
88.0779 | 1.9706e-06
87.3618 | 1.9659e-06
86.4786 | 1.9637e-06
85.1134 | 1.9608e-06
84.589 | 1.9613e-06
84.3963 | 1.9635e-06
84.4097 | 1.9636e-06
84.4477 | 1.9632e-06
84.5037 | 1.9713e-06
84.5529 | 1.9627e-06
83.8931 | 1.9577e-06
84.0012 | 1.9595e-06
84.0679 | 1.9627e-06
84.1388 | 1.958e-06
84.1252 | 1.9657e-06
83.3884 | 1.9573e-06
83.2144 | 1.9677e-06
83.182 | 1.9786e-06
83.1497 | 1.9739e-06
83.1759 | 1.9702e-06
83.2454 | 2.9576e-07
83.2507 | 2.8087e-07
83.0082 | 2.5777e-07
82.8258 | 2.5114e-07
82.8123 | 2.7231e-07
82.8306 | 2.6904e-07
82.8668 | 2.6759e-07
82.6402 | 2.6339e-07
82.5946 | 2.6518e-07
82.0941 | 2.6421e-07
82.0608 | 2.6353e-07
82.0279 | 2.5966e-07
82.0537 | 2.6281e-07
82.1133 | 2.6391e-07
82.0635 | 2.5836e-07
81.9973 | 2.5895e-07
81.9701 | 2.5857e-07
81.821 | 2.602e-07
81.8338 | 2.5579e-07
81.8765 | 2.5473e-07
81.7322 | 2.5266e-07
81.7233 | 2.5765e-07
81.6899 | 2.5656e-07
81.6604 | 2.5652e-07
81.3361 | 2.5549e-07
81.1673 | 2.4989e-07
81.0889 | 2.2898e-07
81.074 | 2.3908e-07
81.0903 | 2.3948e-07
81.1477 | 8.5825e-08
81.0137 | 8.9112e-08
80.7463 | 8.5748e-08
80.51 | 8.4863e-08
80.4384 | 8.3822e-08
80.388 | 8.1095e-08
80.3981 | 8.1566e-08
80.4182 | 1.8909e-06
80.2757 | 1.8725e-06
80.2315 | 1.9173e-06
80.1862 | 1.9115e-06
80.2035 | 1.9173e-06
80.2408 | 1.9272e-06
80.2837 | 1.9409e-06
80.2905 | 1.9497e-06
80.332 | 1.9532e-06
80.3976 | 1.9533e-06
80.4109 | 1.9525e-06
80.3986 | 1.9592e-06
80.4019 | 1.9652e-06
80.4473 | 1.9692e-06
80.4982 | 1.9682e-06
80.289 | 1.9729e-06
80.2425 | 1.9735e-06
80.2992 | 1.9145e-06
80.357 | 1.9383e-06
80.4203 | 1.9543e-06
80.4023 | 1.9477e-06
80.3086 | 1.9515e-06
80.3129 | 1.9443e-06
80.3489 | 1.9612e-06
80.3961 | 1.9259e-06
80.4473 | 1.9886e-06
80.5025 | 1.7526e-06
80.6005 | 1.9701e-06
80.6952 | 1.956e-06
80.8239 | 1.9638e-06
80.9244 | 1.9558e-06
80.9701 | 1.9613e-06
81.063 | 1.9479e-06
81.1288 | 1.953e-06
81.087 | 1.9505e-06
80.8302 | 1.9478e-06

## Measurements
Temperature | Current
80.7655 | 1.9205e-06
80.8843 | 1.9204e-06
81.1795 | 1.9387e-06
81.4695 | 1.9399e-06
81.8094 | 1.9412e-06
82.0898 | 1.8991e-06
82.4338 | 1.9111e-06
82.6651 | 1.9237e-06
82.9664 | 1.9265e-06
83.3175 | 1.9349e-06
83.6214 | 1.9319e-06
83.8851 | 1.8498e-06
84.1872 | 1.2635e-06
84.4993 | 1.7509e-06
84.8217 | 2.1239e-06
85.1074 | 2.0763e-06
85.4026 | 2.0154e-06
85.7149 | 1.9943e-06
85.9946 | 1.9977e-06
86.3152 | 1.9988e-06
86.5723 | 2.0046e-06
86.9138 | 1.9932e-06
87.1838 | 1.9883e-06
87.4802 | 1.9863e-06
87.8415 | 1.982e-06
88.0973 | 1.9866e-06
88.418 | 1.9886e-06
88.706 | 2.0133e-06
88.9673 | 2.0103e-06
89.2734 | 2.0044e-06
89.5982 | 2.0063e-06
89.9035 | 2.0131e-06
90.1812 | 2.0185e-06
90.4788 | 1.9997e-06
90.8294 | 2.0268e-06
91.1063 | 2.0275e-06
91.4008 | 2.0217e-06
91.6958 | 2.0274e-06
91.9852 | 2.03e-06
92.3049 | 2.0244e-06
92.5687 | 2.0227e-06
92.8853 | 2.0183e-06
93.1955 | 2e-06
93.5024 | 2.0271e-06
93.8056 | 2.0257e-06
94.109 | 2.0279e-06
94.4404 | 2.0364e-06
94.6844 | 2.0341e-06
94.9755 | 2.0371e-06
95.2661 | 2.0389e-06
95.598 | 2.0353e-06
95.8971 | 2.0319e-06
96.2005 | 2.0355e-06
96.4897 | 2.0439e-06
96.7803 | 2.0387e-06
97.0819 | 2.043e-06
97.4047 | 2.0408e-06
97.6972 | 2.0419e-06
98.0148 | 2.0383e-06
98.272 | 2.033e-06
98.5847 | 2.0444e-06
98.9018 | 2.0316e-06
99.1815 | 2.0321e-06
99.4753 | 2.0233e-06
99.7976 | 2.0252e-06
100.107 | 2.0337e-06
100.409 | 2.0343e-06
100.686 | 2.0287e-06
101.011 | 2.029e-06
101.294 | 2.0217e-06
101.596 | 2.0273e-06
101.875 | 2.0283e-06
102.186 | 2.0347e-06
102.542 | 2.0043e-06
102.785 | 2.0312e-06
103.094 | 2.0295e-06
103.375 | 2.0177e-06
103.714 | 2.0152e-06
104.002 | 2.0112e-06
104.278 | 2.0075e-06
104.581 | 2.0221e-06
104.879 | 2.0231e-06
105.208 | 2.001e-06
105.48 | 2.0168e-06
105.815 | 2.0122e-06
106.129 | 2.0221e-06
106.434 | 2.0134e-06
106.702 | 2.0169e-06
106.992 | 2.0299e-06
107.278 | 2.0271e-06
107.629 | 2.0288e-06
107.871 | 2.0286e-06
108.176 | 2.0308e-06
108.515 | 2.0261e-06
108.777 | 2.0316e-06
109.073 | 2.0336e-06
109.385 | 2.0325e-06
109.696 | 2.0317e-06
109.991 | 2.0261e-06
110.297 | 2.0349e-06
110.613 | 2.0342e-06
110.869 | 2.0051e-06
111.187 | 2.0283e-06
111.476 | 2.0288e-06
111.792 | 2.022e-06
112.127 | 2.0204e-06
112.395 | 2.0242e-06
112.732 | 2.0157e-06
112.984 | 2.026e-06
113.28 | 2.0255e-06
113.633 | 2.0287e-06
113.896 | 2.0312e-06
114.201 | 2.0316e-06
114.48 | 2.0296e-06
114.796 | 2.0213e-06
115.098 | 2.0228e-06
115.387 | 2.0227e-06
115.703 | 2.0151e-06
116.009 | 2.0142e-06
116.3 | 2.0231e-06
116.592 | 2.0179e-06
116.896 | 2.0145e-06
117.17 | 2.0196e-06
117.497 | 2.0208e-06
117.81 | 2.0204e-06
118.11 | 2.0235e-06
118.392 | 2.0241e-06
118.704 | 2.0287e-06
118.983 | 2.0284e-06
119.278 | 2.0297e-06
119.578 | 2.023e-06
119.903 | 2.0099e-06
120.209 | 2.0109e-06
120.501 | 2.0121e-06
120.804 | 1.999e-06
121.126 | 2.0104e-06
121.377 | 1.9938e-06
121.699 | 2.0122e-06
121.968 | 2.0138e-06
122.29 | 2.0107e-06
122.596 | 2.0152e-06
122.911 | 2.0122e-06
123.201 | 2.0139e-06
123.466 | 2.0166e-06
123.776 | 2.0013e-06
124.085 | 2.0046e-06
124.409 | 1.9806e-06
124.671 | 2.0018e-06
124.966 | 2.0083e-06
125.325 | 1.9743e-06
125.601 | 2.0118e-06
125.913 | 1.9976e-06
126.184 | 2.0029e-06
126.476 | 1.9984e-06
126.774 | 1.9719e-06
127.103 | 1.9955e-06
127.412 | 1.9689e-06
127.68 | 2.0038e-06
128.01 | 2.0042e-06
128.289 | 1.9781e-06
128.592 | 1.9906e-06
128.903 | 1.997e-06
129.181 | 1.9921e-06
129.464 | 1.9915e-06
129.772 | 1.9928e-06
130.098 | 1.9918e-06
130.397 | 1.9885e-06
130.688 | 1.9884e-06
130.972 | 1.9875e-06
131.291 | 1.9939e-06
131.575 | 1.9923e-06
131.905 | 1.9641e-06
132.204 | 1.9654e-06
132.5 | 1.9827e-06
132.803 | 1.9571e-06
133.086 | 1.985e-06
133.414 | 1.9884e-06
133.699 | 1.9821e-06
133.983 | 1.9837e-06
134.323 | 1.9853e-06
134.631 | 1.9836e-06
134.897 | 1.9773e-06
135.177 | 1.9766e-06
135.508 | 1.9685e-06
135.767 | 1.9667e-06
136.094 | 1.9672e-06
136.373 | 1.9665e-06
136.709 | 1.9607e-06
136.971 | 1.9658e-06
137.322 | 1.9457e-06
137.577 | 1.9518e-06
137.92 | 1.9579e-06
138.168 | 1.9631e-06
138.479 | 1.956e-06
138.774 | 1.9548e-06
139.098 | 1.9588e-06
139.416 | 1.9548e-06
139.707 | 1.9517e-06
139.973 | 1.9374e-06
140.295 | 1.939e-06
140.605 | 1.9397e-06
140.927 | 1.9411e-06
141.198 | 1.9327e-06
141.511 | 1.944e-06
141.793 | 1.9385e-06
142.102 | 1.9375e-06
142.387 | 1.928e-06
142.717 | 1.9397e-06
142.965 | 1.9425e-06
143.271 | 1.9348e-06
143.612 | 1.9342e-06
143.898 | 1.9297e-06
144.207 | 1.9305e-06
144.493 | 1.9312e-06
144.764 | 1.9357e-06
145.099 | 1.9362e-06
145.392 | 1.9341e-06
145.666 | 1.9345e-06
145.987 | 1.9276e-06
146.308 | 1.9284e-06
146.625 | 1.9261e-06
146.927 | 1.9338e-06
147.18 | 1.9231e-06
147.469 | 1.9321e-06
147.785 | 1.9203e-06
148.081 | 1.9241e-06
148.412 | 1.9231e-06
148.708 | 1.9192e-06
148.968 | 1.9183e-06
149.306 | 1.9258e-06
149.578 | 1.9248e-06
149.881 | 1.9165e-06
150.197 | 1.923e-06
150.512 | 1.9243e-06
150.799 | 1.9176e-06
151.1 | 1.9198e-06
151.41 | 1.9168e-06
151.704 | 1.9269e-06
152.018 | 1.925e-06
152.269 | 1.916e-06
152.599 | 1.9182e-06
152.871 | 1.9181e-06
153.176 | 1.9164e-06
153.47 | 1.9223e-06
153.764 | 1.9134e-06
154.099 | 1.9068e-06
154.388 | 1.9077e-06
154.723 | 1.9059e-06
154.969 | 1.9058e-06
155.303 | 1.9096e-06
155.581 | 1.9031e-06
155.885 | 1.9045e-06
156.205 | 1.904e-06
156.499 | 1.9043e-06
156.77 | 1.9134e-06
157.076 | 1.9042e-06
157.397 | 1.9006e-06
157.669 | 1.9148e-06
157.988 | 1.9129e-06
158.276 | 1.9165e-06
158.586 | 1.9077e-06
158.885 | 1.9114e-06
159.205 | 1.9109e-06
159.504 | 1.9131e-06
159.771 | 1.9088e-06
160.071 | 1.9014e-06
160.386 | 1.9041e-06
160.673 | 1.899e-06
161.01 | 1.9038e-06
161.306 | 1.9013e-06
161.613 | 1.8535e-06
161.885 | 1.8571e-06
162.191 | 1.8596e-06
162.511 | 1.861e-06
162.783 | 1.8584e-06
163.069 | 1.8552e-06
163.376 | 1.8564e-06
163.707 | 1.8579e-06
164.019 | 1.8552e-06
164.272 | 1.8536e-06
164.606 | 1.8595e-06
164.926 | 1.8613e-06
165.164 | 1.8571e-06
165.509 | 1.858e-06
165.77 | 1.8567e-06
166.089 | 1.8581e-06
166.374 | 1.8597e-06
166.701 | 1.8572e-06
166.977 | 1.8577e-06
167.291 | 1.8565e-06
167.612 | 1.8582e-06
167.883 | 1.8621e-06
168.212 | 1.8579e-06
168.481 | 1.8604e-06
168.773 | 1.8629e-06
169.094 | 1.8478e-06
169.421 | 1.8574e-06
169.674 | 1.8603e-06
170.004 | 1.853e-06
170.297 | 1.8595e-06
170.565 | 1.8553e-06
170.904 | 1.8517e-06
171.208 | 1.8488e-06
171.484 | 1.8534e-06
171.808 | 1.8545e-06
172.105 | 1.7266e-06
172.442 | 1.8369e-06
172.701 | 1.8457e-06
173.021 | 6.6788e-09
173.291 | 1.0159e-06
173.602 | 1.3383e-06
173.936 | 1.8239e-06
174.182 | 1.8446e-06
174.505 | 1.8309e-06
174.802 | 1.824e-06
175.091 | 1.8281e-06
175.406 | 1.8256e-06
175.703 | 1.8251e-06
175.983 | 1.8143e-06
176.317 | 1.8243e-06
176.656 | 1.8255e-06
176.909 | 1.8282e-06
177.186 | 1.8213e-06
177.479 | 1.5105e-07
177.808 | 1.0452e-07
178.092 | 7.5789e-09
178.411 | 9.9364e-09
178.707 | 1.8138e-06
179.011 | 1.8157e-06
179.327 | 1.8154e-06
179.611 | 1.853e-06
179.901 | 1.882e-06
180.177 | 1.9088e-06
180.484 | 1.9718e-06
180.765 | 1.935e-06
181.071 | 1.932e-06
181.389 | 1.9525e-06
181.7 | 1.9887e-06
181.992 | 2.0386e-06
182.269 | 2.0595e-06
182.625 | 2.0598e-06
182.871 | 2.1109e-06
183.164 | 2.1609e-06
183.511 | 2.1847e-06
183.805 | 2.1641e-06
184.095 | 2.1453e-06
184.399 | 2.1012e-06
184.698 | 2.0673e-06
184.966 | 2.0405e-06
185.277 | 2.03e-06
185.581 | 2.0233e-06
185.919 | 1.9965e-06
186.165 | 2.0143e-06
186.48 | 1.9999e-06
186.796 | 1.909e-06
187.101 | 1.894e-06
187.408 | 1.8592e-06
187.7 | 1.8541e-06
188.008 | 1.8312e-06
188.321 | 1.8341e-06
188.57 | 1.832e-06
188.895 | 1.825e-06
189.182 | 1.8278e-06
189.485 | 1.8167e-06
189.787 | 1.8104e-06
190.12 | 1.8041e-06
190.372 | 1.8068e-06
190.697 | 1.802e-06
190.997 | 1.8024e-06
191.304 | 1.8038e-06
191.566 | 1.8029e-06
191.88 | 1.8083e-06
192.213 | 1.8058e-06
192.467 | 1.8031e-06
192.791 | 1.7824e-06
193.115 | 1.7953e-06
193.377 | 1.7937e-06
193.694 | 1.79e-06
194.027 | 1.7848e-06
194.296 | 1.7893e-06
194.588 | 1.7958e-06
194.867 | 1.8018e-06
195.18 | 1.7873e-06
195.501 | 1.7869e-06
195.825 | 1.7827e-06
196.085 | 1.7734e-06
196.407 | 1.7832e-06
196.71 | 1.7781e-06
197.005 | 1.7808e-06
197.286 | 1.7749e-06
197.604 | 1.778e-06
197.893 | 1.778e-06
198.207 | 1.7855e-06
198.502 | 1.7786e-06
198.828 | 1.7808e-06
199.094 | 1.7792e-06
199.397 | 1.7781e-06
199.688 | 1.7753e-06
199.998 | 1.7627e-06
200.295 | 1.7769e-06
200.608 | 1.7726e-06
200.891 | 1.7746e-06
201.213 | 1.7682e-06
201.487 | 1.7678e-06
201.81 | 1.766e-06
202.11 | 1.7698e-06
202.426 | 1.7683e-06
202.675 | 1.7683e-06
202.999 | 1.7638e-06
203.282 | 1.7639e-06
203.61 | 1.7672e-06
203.908 | 1.7706e-06
204.201 | 1.7701e-06
204.541 | 1.767e-06
204.808 | 1.7708e-06
205.105 | 1.7713e-06
205.386 | 1.771e-06
205.693 | 1.7693e-06
205.978 | 1.7718e-06
206.295 | 1.7687e-06
206.565 | 1.7722e-06
206.888 | 1.7682e-06
207.193 | 1.7746e-06
207.47 | 1.7724e-06
207.781 | 1.7704e-06
208.122 | 1.7749e-06
208.379 | 1.7796e-06
208.696 | 1.7705e-06
208.99 | 1.7692e-06
209.271 | 1.7737e-06
209.588 | 1.7726e-06
209.881 | 1.7739e-06
210.191 | 1.7693e-06
210.502 | 1.7672e-06
210.799 | 1.7732e-06
211.076 | 1.7704e-06
211.392 | 1.7685e-06
211.675 | 1.7639e-06
211.985 | 1.7633e-06
212.268 | 1.7681e-06
212.595 | 1.7671e-06
212.889 | 1.7614e-06
213.212 | 1.7561e-06
213.496 | 1.7553e-06
213.783 | 1.7598e-06
214.064 | 1.7573e-06
214.406 | 1.7581e-06
214.705 | 1.753e-06
214.997 | 1.7546e-06
215.29 | 1.7539e-06
215.59 | 1.7557e-06
215.889 | 1.7494e-06
216.19 | 1.7575e-06
216.478 | 1.7586e-06
216.807 | 1.757e-06
217.126 | 1.7501e-06
217.391 | 1.758e-06
217.785 | 1.7516e-06
218.004 | 1.7398e-06
218.293 | 1.7443e-06
218.606 | 1.7465e-06
218.889 | 1.7433e-06
219.213 | 1.7599e-06
219.495 | 1.7712e-06
219.775 | 1.7718e-06
220.129 | 1.7792e-06
220.396 | 1.7755e-06
220.723 | 1.7701e-06
220.993 | 1.7827e-06
221.278 | 1.7755e-06
221.595 | 1.7617e-06
221.886 | 1.7616e-06
222.191 | 1.7586e-06
222.487 | 1.7504e-06
222.782 | 1.7541e-06
223.065 | 1.7605e-06
223.367 | 1.7895e-06
223.701 | 1.754e-06
224.005 | 1.753e-06
224.313 | 1.7535e-06
224.62 | 1.7423e-06
224.881 | 1.7488e-06
225.176 | 1.7512e-06
225.505 | 1.7478e-06
225.819 | 1.7408e-06
226.067 | 1.7426e-06
226.396 | 1.7431e-06
226.693 | 1.7311e-06
227.01 | 1.7343e-06
227.309 | 1.7375e-06
227.626 | 1.7358e-06
227.892 | 1.7403e-06
228.192 | 1.7439e-06
228.488 | 1.7485e-06
228.803 | 1.7365e-06
229.102 | 1.7371e-06
229.368 | 1.7395e-06
229.685 | 1.7322e-06
229.987 | 1.7339e-06
230.304 | 1.7391e-06
230.723 | 1.7402e-06
230.907 | 1.7323e-06
231.175 | 1.7386e-06
231.495 | 1.7389e-06
231.798 | 1.7419e-06
232.066 | 1.7405e-06
232.385 | 1.744e-06
232.705 | 1.7426e-06
232.97 | 1.7365e-06
233.286 | 1.737e-06
233.588 | 1.7374e-06
233.903 | 1.7455e-06
234.203 | 1.759e-06
234.47 | 1.7406e-06
234.787 | 1.7439e-06
235.105 | 1.6954e-06
235.405 | 1.6885e-06
235.672 | 1.6896e-06
235.989 | 1.6912e-06
236.307 | 1.6932e-06
236.623 | 1.6911e-06
236.873 | 1.6929e-06
237.19 | 1.6884e-06
237.508 | 1.6856e-06
237.822 | 1.687e-06
238.088 | 1.6853e-06
238.391 | 1.6856e-06
238.707 | 1.6787e-06
239.007 | 1.6795e-06
239.274 | 1.6806e-06
239.591 | 1.6789e-06
239.908 | 1.6847e-06
240.189 | 1.6837e-06
240.508 | 1.6828e-06
240.791 | 1.6822e-06
241.091 | 1.6847e-06
241.374 | 1.686e-06
241.724 | 1.6865e-06
241.991 | 1.6851e-06
242.273 | 1.6857e-06
242.605 | 1.676e-06
242.875 | 1.6941e-06
243.19 | 1.6879e-06
243.474 | 1.6937e-06
243.807 | 1.7036e-06
244.073 | 1.6944e-06
244.385 | 1.6976e-06
244.683 | 1.6964e-06
244.996 | 1.6897e-06
245.312 | 1.6872e-06
245.577 | 1.6813e-06
245.894 | 1.6801e-06
246.192 | 1.6801e-06
246.509 | 1.668e-06
246.828 | 1.6789e-06
247.077 | 1.67e-06
247.395 | 1.6664e-06
247.711 | 1.6737e-06
247.98 | 1.6728e-06
248.299 | 1.6791e-06
248.599 | 1.6967e-06
248.865 | 1.6836e-06
249.183 | 1.6993e-06
249.5 | 1.6847e-06
249.798 | 1.6713e-06
250.069 | 1.6646e-06
250.385 | 1.6645e-06
250.685 | 1.6722e-06
251.02 | 1.6641e-06
251.287 | 1.6621e-06
251.589 | 3.9106e-07
251.922 | 4.5537e-07
252.188 | 2.2297e-07
252.487 | 5.0314e-07
252.806 | 1.6767e-07
253.072 | 5.8884e-07
253.388 | 5.0634e-07
253.706 | 8.7811e-07
254.005 | 7.3959e-07
254.273 | 4.8353e-07
254.588 | 6.4504e-07
254.905 | 6.4066e-07
255.206 | 3.7143e-07
255.523 | 2.5361e-07
255.773 | 2.8366e-07
256.09 | 2.8486e-07
256.405 | 4.6766e-07
256.706 | 1.0415e-06
256.974 | 3.3624e-07
257.29 | 1.1557e-06
257.624 | 6.5131e-07
257.924 | 5.5755e-07
258.206 | 2.9951e-07
258.473 | 9.4305e-07
258.79 | 1.2017e-06
259.106 | 1.1802e-06
259.373 | 1.3238e-06
259.69 | 9.7181e-07
260.007 | 8.7858e-07
260.272 | 6.7192e-07
260.605 | 1.3786e-07
260.907 | 2.4422e-07
261.173 | 1.297e-07
261.484 | 1.7256e-07
261.783 | 1.5765e-07
262.08 | 1.2263e-07
262.396 | 9.6696e-07
262.711 | 4.7717e-07
262.979 | 4.6963e-07
263.293 | 8.4876e-07
263.595 | 6.4959e-07
263.911 | 8.2677e-07
264.18 | 8.5425e-07
264.496 | 8.5603e-07
264.796 | 5.4856e-07
265.114 | 4.8764e-07
265.364 | 7.844e-07
265.681 | 7.6006e-08
266.015 | 6.3439e-08
266.284 | 7.0829e-08
266.584 | 7.7466e-08
266.901 | 6.433e-08
267.168 | 7.5356e-08
267.486 | 7.6091e-08
267.803 | 9.6975e-08
268.119 | 9.3246e-08
268.37 | 1.2479e-07
268.704 | 4.5172e-08
268.987 | 4.4357e-08
269.287 | 5.0242e-08
269.604 | 8.1001e-08
269.922 | 5.6214e-08
270.188 | 8.3605e-07
270.505 | 4.0253e-08
270.789 | 6.0508e-08
271.105 | 6.1543e-08
271.406 | 5.5072e-08
271.69 | 6.1502e-08
271.988 | 4.9062e-08
272.305 | 5.0368e-08
272.606 | 1.6358e-06
272.887 | 6.932e-08
273.188 | 5.6859e-08
273.506 | 5.1325e-08
273.806 | 6.3062e-08
274.088 | 1.5105e-06
274.406 | 5.8014e-08
274.689 | 6.2721e-08
275.007 | 1.0433e-07
275.272 | 9.3812e-08
275.605 | 6.4821e-08
275.89 | 1.2778e-07
276.208 | 1.6019e-06
276.606 | 6.5525e-08
276.79 | 7.1299e-08
277.107 | 7.107e-08
277.373 | 2.2955e-07
277.706 | 2.7361e-07
277.991 | 1.0808e-07
278.306 | 1.3587e-07
278.589 | 1.9228e-07
278.906 | 1.6274e-06
279.172 | 1.0499e-07
279.485 | 1.6099e-06
279.816 | 1.6156e-06
280.114 | 1.6052e-06
280.38 | 5.2242e-08
280.696 | 5.1352e-08
281.011 | 1.05e-06
281.312 | 1.595e-06
281.594 | 1.5858e-06
281.896 | 1.5831e-06
282.213 | 1.5828e-06
282.48 | 1.5711e-06
282.798 | 1.5812e-06
283.114 | 1.1881e-06
283.397 | 4.0065e-07
283.75 | 1.2265e-07
283.966 | 1.5916e-06
284.301 | 1.5916e-06
284.6 | 1.5717e-06
284.918 | 1.5688e-06
285.202 | 1.5632e-06
285.518 | 1.5615e-06
285.784 | 1.5516e-06
286.102 | 1.5596e-06
286.403 | 1.5556e-06
286.67 | 1.5445e-06
286.986 | 1.5582e-06
287.303 | 1.5591e-06
287.603 | 1.5659e-06
287.888 | 1.5614e-06
288.187 | 1.5569e-06
288.505 | 1.5609e-06
288.771 | 1.5688e-06
289.089 | 1.5696e-06
289.389 | 1.5621e-06
289.705 | 1.5549e-06
290.021 | 1.5598e-06
290.271 | 1.5565e-06
290.589 | 1.555e-06
290.888 | 1.5545e-06
291.207 | 1.5511e-06
291.522 | 1.5418e-06
291.773 | 1.547e-06
292.089 | 1.5494e-06
292.405 | 1.5677e-06
292.673 | 1.5384e-06
292.987 | 1.5481e-06
293.289 | 1.5408e-06
293.604 | 1.5461e-06
293.872 | 1.5382e-06
294.188 | 1.5367e-06
294.488 | 1.5394e-06
294.804 | 1.5374e-06
295.088 | 1.5367e-06
295.388 | 1.5324e-06
295.705 | 1.5402e-06
296.024 | 1.5363e-06
296.289 | 1.5316e-06
296.589 | 1.5347e-06
296.906 | 1.5285e-06
297.222 | 1.5127e-06
297.487 | 1.5262e-06
297.79 | 1.5263e-06
298.106 | 1.5253e-06
298.371 | 1.521e-06
298.72 | 1.5133e-06
298.985 | 1.5228e-06
299.3 | 1.5226e-06
299.598 | 1.5178e-06
299.897 | 1.5102e-06
300.213 | 1.521e-06
300.479 | 1.5185e-06
300.795 | 1.5134e-06
301.113 | 1.517e-06
301.413 | 1.5201e-06
301.68 | 1.5158e-06
301.997 | 1.5112e-06
302.315 | 1.5139e-06
302.581 | 1.5085e-06
302.899 | 1.4964e-06
303.217 | 1.4988e-06
303.484 | 1.5057e-06
303.8 | 1.5201e-06
304.117 | 1.5216e-06
304.384 | 1.5158e-06
304.701 | 1.5028e-06
305.003 | 1.5034e-06
305.322 | 1.499e-06
305.586 | 1.5026e-06
305.904 | 1.5018e-06
306.206 | 1.501e-06
306.489 | 1.4947e-06
306.806 | 1.4993e-06
307.107 | 1.4955e-06
307.374 | 1.5e-06
307.69 | 1.4994e-06
308.006 | 1.4959e-06
308.306 | 1.5117e-06
308.59 | 1.505e-06
308.907 | 1.4926e-06
309.207 | 1.5042e-06
309.473 | 1.5034e-06
309.79 | 1.517e-06
310.106 | 1.5146e-06
310.408 | 1.516e-06
310.673 | 1.5017e-06
310.991 | 1.505e-06
311.321 | 1.516e-06
311.572 | 1.521e-06
311.891 | 1.5168e-06
312.206 | 1.5184e-06
312.474 | 1.5214e-06
312.791 | 1.5119e-06
313.09 | 1.5054e-06
313.407 | 1.502e-06
313.673 | 1.5101e-06
313.989 | 1.5031e-06
314.289 | 1.4988e-06
314.606 | 1.4968e-06
314.922 | 1.4827e-06
315.19 | 1.4754e-06
315.489 | 1.4716e-06
315.806 | 1.4636e-06
316.124 | 1.4618e-06
316.371 | 1.4646e-06
316.688 | 1.458e-06
317.006 | 1.4627e-06
317.274 | 1.4573e-06
317.59 | 1.4494e-06
317.89 | 1.4584e-06
318.207 | 1.4445e-06
318.472 | 1.4465e-06
318.79 | 1.4422e-06
319.107 | 1.4433e-06
319.375 | 1.4304e-06
319.691 | 1.4383e-06
320.006 | 1.4474e-06
320.272 | 1.4455e-06
320.585 | 1.4407e-06
320.901 | 1.438e-06
321.217 | 1.4378e-06
321.482 | 1.4361e-06
321.782 | 1.4358e-06
322.099 | 1.4369e-06
322.416 | 1.431e-06
322.682 | 1.4318e-06
322.999 | 1.4371e-06
323.315 | 1.4387e-06
323.583 | 1.4405e-06
323.883 | 1.4276e-06
324.201 | 1.4215e-06
324.515 | 1.4234e-06
324.782 | 1.4228e-06
325.084 | 1.4343e-06
325.416 | 1.4206e-06
325.684 | 1.4211e-06
325.984 | 1.4271e-06
326.301 | 1.4289e-06
326.57 | 1.4169e-06
326.886 | 1.4309e-06
327.187 | 1.4271e-06
327.502 | 1.4288e-06
327.819 | 1.4346e-06
328.087 | 1.4265e-06
328.404 | 1.4362e-06
328.67 | 1.4294e-06
328.987 | 1.4353e-06
329.287 | 1.4258e-06
329.604 | 1.4395e-06
329.872 | 1.4436e-06
330.188 | 1.4381e-06
330.505 | 1.4459e-06
330.787 | 1.4424e-06
331.088 | 1.4318e-06
331.404 | 1.4398e-06
331.721 | 1.4307e-06
331.987 | 1.4368e-06
332.287 | 1.4315e-06
332.605 | 1.4272e-06
332.921 | 1.4348e-06
333.188 | 1.4323e-06
333.488 | 1.4264e-06
333.804 | 1.4276e-06
334.07 | 1.425e-06
334.388 | 1.4264e-06
334.706 | 1.4261e-06
335.021 | 1.4243e-06
335.287 | 1.4322e-06
335.588 | 1.4251e-06
335.905 | 1.431e-06
336.171 | 1.4147e-06
336.489 | 1.4162e-06
336.804 | 1.4227e-06
337.122 | 1.424e-06
337.388 | 1.4059e-06
337.705 | 1.4216e-06
338.021 | 1.4176e-06
338.29 | 1.4145e-06
338.605 | 1.412e-06
338.873 | 1.4154e-06
339.189 | 1.4111e-06
339.522 | 1.4127e-06
339.787 | 1.4211e-06
340.103 | 1.418e-06
340.37 | 1.4166e-06
340.687 | 1.4122e-06
340.988 | 1.4159e-06
341.305 | 1.4193e-06
341.57 | 1.413e-06
341.886 | 1.4123e-06
342.185 | 1.4082e-06
342.503 | 1.4027e-06
342.77 | 1.4e-06
343.086 | 1.4019e-06
343.404 | 1.4035e-06
343.671 | 1.4002e-06
343.989 | 1.4052e-06
344.305 | 1.4075e-06
344.62 | 1.3948e-06
344.888 | 1.3835e-06
345.205 | 1.3949e-06
345.503 | 1.3921e-06
345.771 | 1.3834e-06
346.086 | 1.3913e-06
346.401 | 1.3959e-06
346.666 | 1.3948e-06
346.981 | 1.3933e-06
347.298 | 1.3879e-06
347.612 | 1.389e-06
347.879 | 1.3929e-06
348.195 | 1.3966e-06
348.514 | 1.3928e-06
348.78 | 1.3969e-06
349.081 | 1.3889e-06
349.413 | 1.3791e-06
349.682 | 1.3923e-06
349.982 | 1.3889e-06
350.298 | 1.3827e-06
350.565 | 1.3882e-06
350.881 | 1.3869e-06
351.199 | 1.3924e-06
351.466 | 1.3835e-06
351.783 | 1.3798e-06
352.1 | 1.3902e-06
352.368 | 1.3921e-06
352.682 | 1.393e-06
353.001 | 1.389e-06
353.3 | 1.371e-06
353.569 | 1.3739e-06
353.884 | 1.3778e-06
354.201 | 1.3763e-06
354.467 | 1.3664e-06
354.784 | 1.3709e-06
355.1 | 1.3751e-06
355.402 | 1.3776e-06
355.686 | 1.3642e-06
356.003 | 1.3637e-06
356.303 | 1.3717e-06
356.569 | 1.3681e-06
356.885 | 1.3736e-06
357.204 | 1.3646e-06
357.501 | 1.3661e-06
357.77 | 1.3642e-06
358.088 | 1.3534e-06
358.405 | 1.3584e-06
358.671 | 1.355e-06
358.987 | 1.3618e-06
359.286 | 1.3527e-06
359.604 | 1.3606e-06
359.888 | 1.3654e-06
360.204 | 1.3492e-06
360.505 | 1.3502e-06
360.786 | 1.351e-06
361.103 | 1.3541e-06
361.371 | 1.3451e-06
361.686 | 1.3558e-06
362.001 | 1.3458e-06
362.302 | 1.3585e-06
362.584 | 1.3472e-06
362.902 | 1.352e-06
363.219 | 1.3489e-06
363.486 | 1.3425e-06
363.802 | 1.3465e-06
364.07 | 1.3439e-06
364.386 | 1.3511e-06
364.703 | 1.3415e-06
365.02 | 1.347e-06
365.285 | 1.3355e-06
365.586 | 1.3453e-06
365.901 | 1.3454e-06
366.169 | 1.345e-06
366.486 | 1.3352e-06
366.819 | 1.3311e-06
367.085 | 1.3261e-06
367.401 | 1.3297e-06
367.668 | 1.3316e-06
367.986 | 1.3308e-06
368.301 | 1.333e-06
368.569 | 1.3323e-06
368.886 | 1.3319e-06
369.202 | 1.3306e-06
369.469 | 1.3307e-06
369.784 | 1.3298e-06
370.103 | 1.3267e-06
370.403 | 1.3322e-06
370.686 | 1.3196e-06
370.986 | 1.3205e-06
371.303 | 1.3253e-06
371.571 | 1.3303e-06
371.886 | 1.3195e-06
372.204 | 1.3215e-06
372.518 | 1.3299e-06
372.786 | 1.3234e-06
373.085 | 1.3109e-06
373.401 | 1.3101e-06
373.668 | 1.3152e-06
373.985 | 1.312e-06
374.302 | 1.3112e-06
374.568 | 1.3142e-06
374.886 | 1.3077e-06
375.201 | 1.3153e-06
375.485 | 1.3064e-06
375.802 | 1.3019e-06
376.119 | 1.3021e-06
376.385 | 1.3025e-06
376.702 | 1.3014e-06
377.019 | 1.3024e-06
377.286 | 1.2988e-06
377.603 | 1.3081e-06
377.87 | 1.298e-06
378.186 | 1.2886e-06
378.503 | 1.2925e-06
378.818 | 1.3001e-06
379.086 | 1.2948e-06
379.402 | 1.2958e-06
379.668 | 1.2888e-06
379.985 | 1.2888e-06
380.301 | 1.29e-06
380.583 | 1.299e-06
380.901 | 1.292e-06
381.184 | 1.2879e-06
381.483 | 1.285e-06
381.801 | 1.2837e-06
382.066 | 1.2861e-06
382.383 | 1.2742e-06
382.701 | 1.2811e-06
382.983 | 1.2813e-06
383.301 | 1.2772e-06
383.618 | 1.2769e-06
383.885 | 1.2764e-06
384.201 | 1.2762e-06
384.518 | 1.2827e-06
384.786 | 1.2752e-06
385.102 | 1.2863e-06
385.418 | 1.2733e-06
385.685 | 1.2781e-06
386.001 | 1.2725e-06
386.285 | 1.2721e-06
386.601 | 1.2678e-06
386.886 | 1.2724e-06
387.204 | 1.2729e-06
387.469 | 1.2738e-06
387.784 | 1.267e-06
388.085 | 1.2634e-06
388.402 | 1.2654e-06
388.685 | 1.2685e-06
388.983 | 1.2668e-06
389.268 | 1.2632e-06
389.585 | 1.2677e-06
389.901 | 1.2679e-06
390.166 | 1.2626e-06
390.497 | 1.26e-06
390.828 | 1.2575e-06
391.094 | 1.2601e-06
391.41 | 1.2539e-06
391.71 | 1.2495e-06
391.993 | 1.2567e-06
392.31 | 1.253e-06
392.576 | 1.2531e-06
392.893 | 1.2588e-06
393.209 | 1.2546e-06
393.51 | 1.2566e-06
393.777 | 1.2603e-06
394.112 | 1.2497e-06
394.396 | 1.245e-06
394.696 | 1.2447e-06
394.98 | 1.2452e-06
395.329 | 1.2493e-06
395.597 | 1.2541e-06
395.881 | 1.257e-06
396.197 | 1.2495e-06
396.497 | 1.2467e-06
396.782 | 1.2489e-06
397.083 | 1.253e-06
397.417 | 1.2477e-06
397.683 | 1.2454e-06
397.967 | 1.2388e-06
398.267 | 1.2514e-06
398.583 | 1.24e-06
398.902 | 1.2504e-06
399.201 | 1.2421e-06
399.484 | 1.238e-06
399.818 | 1.2437e-06
400.084 | 1.238e-06
400.418 | 1.2399e-06
400.684 | 1.2346e-06
400.985 | 1.2416e-06
401.302 | 1.2339e-06
401.569 | 1.2363e-06
401.903 | 1.2344e-06
402.218 | 1.2302e-06
402.484 | 1.2357e-06
402.803 | 1.2332e-06
403.07 | 1.2295e-06
403.384 | 1.2256e-06
403.702 | 1.2263e-06
403.968 | 1.2196e-06
404.286 | 1.2211e-06
404.602 | 1.2156e-06
404.885 | 1.2175e-06
405.203 | 1.2192e-06
405.469 | 1.2146e-06
405.784 | 1.2161e-06
406.102 | 1.214e-06
406.402 | 1.217e-06
406.686 | 1.2197e-06
407.003 | 1.2194e-06
407.32 | 1.2074e-06
407.587 | 1.2039e-06
407.886 | 1.2129e-06
408.22 | 1.2102e-06
408.485 | 1.2096e-06
408.802 | 1.2077e-06
409.117 | 1.2051e-06
409.385 | 1.2051e-06
409.702 | 1.2066e-06
409.97 | 1.2077e-06
410.285 | 1.2093e-06
410.602 | 1.2015e-06
410.868 | 1.1993e-06
411.185 | 1.2005e-06
411.501 | 1.1937e-06
411.767 | 1.1935e-06
412.085 | 1.1965e-06
412.401 | 1.1922e-06
412.668 | 1.1873e-06
413.002 | 1.1857e-06
413.318 | 1.1895e-06
413.585 | 1.189e-06
413.901 | 1.1947e-06
414.169 | 1.1875e-06
414.484 | 1.1901e-06
414.801 | 1.1799e-06
415.068 | 1.1849e-06
415.386 | 1.183e-06
415.702 | 1.176e-06
415.967 | 1.1745e-06
416.286 | 1.1772e-06
416.602 | 1.1726e-06
416.868 | 1.175e-06
417.185 | 1.1783e-06
417.501 | 1.1713e-06
417.768 | 1.1709e-06
418.085 | 1.1788e-06
418.401 | 1.1739e-06
418.667 | 1.1713e-06
418.984 | 1.1714e-06
419.303 | 1.1736e-06
419.569 | 1.1758e-06
419.885 | 1.172e-06
420.202 | 1.1767e-06
420.518 | 1.1722e-06
420.785 | 1.1837e-06
421.102 | 1.1793e-06
421.401 | 1.1791e-06
421.669 | 1.1769e-06
422 | 1.1809e-06
422.269 | 1.1813e-06
422.585 | 1.1814e-06
422.9 | 1.1794e-06
423.166 | 1.1766e-06
423.502 | 1.1762e-06
423.818 | 1.1698e-06
424.084 | 1.1737e-06
424.402 | 1.171e-06
424.669 | 1.1667e-06
424.985 | 1.1676e-06
425.3 | 1.1651e-06
425.567 | 1.1626e-06
425.881 | 1.1621e-06
426.194 | 1.1621e-06
426.508 | 1.1639e-06
426.775 | 1.1613e-06
427.09 | 1.1633e-06
427.409 | 1.1579e-06
427.676 | 1.1555e-06
427.991 | 1.1495e-06
428.308 | 1.1556e-06
428.576 | 1.1525e-06
428.893 | 1.1587e-06
429.227 | 1.151e-06
429.492 | 1.1541e-06
429.794 | 1.1575e-06
430.112 | 1.1518e-06
430.397 | 1.1478e-06
430.698 | 1.1425e-06
431.013 | 1.148e-06
431.28 | 1.149e-06
431.598 | 1.147e-06
431.865 | 1.1469e-06
432.18 | 1.1389e-06
432.496 | 1.1412e-06
432.764 | 1.1394e-06
433.08 | 1.1416e-06
433.398 | 1.1385e-06
433.714 | 1.1403e-06
433.981 | 1.143e-06
434.297 | 1.1413e-06
434.565 | 1.1415e-06
434.882 | 1.1281e-06
435.199 | 1.1272e-06
435.465 | 1.1236e-06
435.782 | 1.1242e-06
436.116 | 1.1246e-06
436.382 | 1.1254e-06
436.699 | 1.1307e-06
436.965 | 1.1238e-06
437.281 | 1.1245e-06
437.598 | 1.1238e-06
437.866 | 1.1257e-06
438.182 | 1.1281e-06
438.498 | 1.1236e-06
438.765 | 1.1213e-06
439.082 | 1.117e-06
439.399 | 1.1172e-06
439.683 | 1.1174e-06
439.997 | 1.1133e-06
440.265 | 1.1139e-06
440.582 | 1.11e-06
440.897 | 1.1112e-06
441.164 | 1.1096e-06
441.496 | 1.1126e-06
441.813 | 1.1125e-06
442.081 | 1.1129e-06
442.398 | 1.1058e-06
442.665 | 1.1067e-06
442.982 | 1.1051e-06
443.298 | 1.103e-06
443.582 | 1.1007e-06
443.897 | 1.0957e-06
444.164 | 1.0928e-06
444.482 | 1.0895e-06
444.815 | 1.0968e-06
445.08 | 1.0986e-06
445.396 | 1.0927e-06
445.697 | 1.0967e-06
445.98 | 1.0945e-06
446.297 | 1.0919e-06
446.615 | 1.0856e-06
446.864 | 1.0881e-06
447.213 | 1.0864e-06
447.498 | 1.089e-06
447.764 | 1.0852e-06
448.08 | 1.0855e-06
448.397 | 1.0834e-06
448.697 | 1.086e-06
449.029 | 1.0877e-06
449.298 | 1.08e-06
449.614 | 1.08e-06
449.879 | 1.0818e-06
450.195 | 1.074e-06