## Settings
Sample Info | so303, dot c6, run05,
Sample Description | 05: -0.7/0.0/-0.7
Major Measurement Parameters
Starting Temperature | 218.251
Initial Temperature | 80
Final Temperature | 320
Preliminary Voltage | -0.7
Pulse Voltage | 0
Pulse Time | 10
Measurement Voltage | -0.7
Subsidiary Measurement Parameters
Step | 0.3
Accuracy Step | 0.1
Accuracy Stable | 0.5
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 10
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 3
Measurecount | 1
время
Date | 25.9.2023
Time | 20:45:5

## Stabilization
Temperature | Current
217.697 | -6.4972e-07
217.433 | -6.3458e-07
217.162 | -6.1836e-07
216.895 | -6.0499e-07
216.645 | -5.851e-07
216.371 | -5.6814e-07
216.103 | -5.5841e-07
215.832 | -5.4924e-07
215.568 | -5.4739e-07
215.3 | -5.4453e-07
215.057 | -5.4174e-07
214.795 | -5.4282e-07
214.557 | -5.3687e-07
214.293 | -5.3433e-07
214.03 | -5.3307e-07
213.791 | -5.2267e-07
213.531 | -5.2403e-07
213.264 | -5.1894e-07
212.993 | -4.9977e-07
212.713 | -4.8113e-07
212.462 | -4.2249e-07
212.19 | -4.8898e-07
211.917 | -4.3525e-07
211.633 | -4.6469e-07
211.378 | -4.4135e-07
211.09 | -4.5318e-07
210.805 | -3.8342e-07
210.527 | -3.7225e-07
210.278 | -3.6223e-07
210.015 | -3.557e-07
209.756 | -3.4911e-07
209.517 | -3.48e-07
209.243 | -3.4522e-07
208.953 | -3.4063e-07
208.675 | -3.378e-07
208.405 | -3.3264e-07
208.158 | -3.2649e-07
207.901 | -3.2414e-07
207.647 | -3.2615e-07
207.393 | -3.2599e-07
207.117 | -3.2511e-07
206.828 | -3.2332e-07
206.562 | -3.1718e-07
206.316 | -3.1135e-07
206.056 | -3.0831e-07
205.796 | -3.0364e-07
205.537 | -3.0362e-07
205.271 | -3.0173e-07
205.006 | -2.9952e-07
204.734 | -2.9379e-07
204.488 | -2.8793e-07
204.233 | -2.8051e-07
203.982 | -2.7615e-07
203.745 | -2.7315e-07
203.474 | -2.7136e-07
203.204 | -2.6875e-07
202.966 | -2.6494e-07
202.711 | -2.638e-07
202.479 | -2.6243e-07
202.223 | -2.6182e-07
201.973 | -2.5976e-07
201.744 | -2.59e-07
201.477 | -2.5912e-07
201.217 | -2.5842e-07
200.968 | -2.5769e-07
200.717 | -2.5599e-07
200.486 | -2.5249e-07
200.239 | -2.4985e-07
199.989 | -2.4711e-07
199.76 | -2.4316e-07
199.508 | -2.4054e-07
199.267 | -2.3769e-07
199.047 | -2.3678e-07
198.813 | -2.3675e-07
198.6 | -2.3659e-07
198.372 | -2.3716e-07
198.143 | -2.3423e-07
197.899 | -2.3486e-07
197.605 | -2.3432e-07
197.396 | -2.319e-07
197.178 | -2.32e-07
196.96 | -2.3141e-07
196.759 | -2.3127e-07
196.534 | -2.3053e-07
196.301 | -2.3062e-07
196.097 | -2.2943e-07
195.878 | -2.2827e-07
195.646 | -2.2789e-07
195.437 | -2.2486e-07
195.213 | -2.2478e-07
194.987 | -2.232e-07
194.778 | -2.2298e-07
194.535 | -2.2316e-07
194.329 | -2.2394e-07
194.106 | -2.2315e-07
193.883 | -2.2238e-07
193.68 | -2.2133e-07
193.463 | -2.1977e-07
193.246 | -2.1994e-07
193.036 | -2.1829e-07
192.84 | -2.1693e-07
192.61 | -2.1536e-07
192.357 | -2.1558e-07
192.131 | -2.1545e-07
191.914 | -2.1432e-07
191.68 | -2.1429e-07
191.458 | -2.1313e-07
191.255 | -2.1252e-07
191.036 | -2.1232e-07
190.838 | -2.121e-07
190.625 | -2.1123e-07
190.381 | -2.1074e-07
190.159 | -2.0869e-07
189.956 | -2.0657e-07
189.737 | -2.056e-07
189.519 | -2.0569e-07
189.316 | -2.0708e-07
189.103 | -2.0846e-07
188.884 | -2.1723e-07
188.667 | -2.0884e-07
188.462 | -2.0716e-07
188.228 | -2.0094e-07
187.998 | -2.0044e-07
187.781 | -1.9938e-07
187.566 | -2.0232e-07
187.367 | -2.0034e-07
187.161 | -1.9654e-07
186.956 | -1.9431e-07
186.752 | -1.9381e-07
186.538 | -1.9105e-07
186.323 | -1.8375e-07
186.116 | -1.8355e-07
185.915 | -1.8318e-07
185.708 | -1.8293e-07
185.504 | -1.8247e-07
185.305 | -1.8195e-07
185.081 | -1.8148e-07
184.843 | -1.8108e-07
184.642 | -1.8082e-07
184.461 | -1.8058e-07
184.267 | -1.8017e-07
184.08 | -1.7982e-07
183.897 | -1.7941e-07
183.73 | -1.7932e-07
183.553 | -1.79e-07
183.38 | -1.7903e-07
183.219 | -1.7871e-07
183.049 | -1.7917e-07
182.883 | -1.7918e-07
182.72 | -1.7941e-07
182.558 | -1.7804e-07
182.413 | -1.7796e-07
182.257 | -1.7823e-07
182.103 | -1.774e-07
181.936 | -1.781e-07
181.738 | -1.7797e-07
181.547 | -1.7647e-07
181.394 | -1.7595e-07
181.216 | -1.7569e-07
181.032 | -1.7559e-07
180.868 | -1.7555e-07
180.691 | -1.7443e-07
180.506 | -1.7435e-07
180.345 | -1.7388e-07
180.173 | -1.7261e-07
180.001 | -1.728e-07
179.836 | -1.7193e-07
179.674 | -1.7147e-07
179.524 | -1.7159e-07
179.367 | -1.7218e-07
179.217 | -1.7218e-07
179.068 | -1.7309e-07
178.931 | -1.7598e-07
178.785 | -1.7755e-07
178.644 | -1.7976e-07
178.514 | -1.8122e-07
178.374 | -1.8124e-07
178.237 | -1.8094e-07
178.102 | -1.7848e-07
177.98 | -1.7744e-07
177.852 | -1.7517e-07
177.725 | -1.7532e-07
177.598 | -1.7697e-07
177.446 | -1.7537e-07
177.293 | -1.7483e-07
177.159 | -1.7146e-07
177.015 | -1.6966e-07
176.855 | -1.6832e-07
176.721 | -1.6709e-07
176.578 | -1.6742e-07
176.413 | -1.6733e-07
176.271 | -1.6706e-07
176.12 | -1.6645e-07
175.97 | -1.6727e-07
175.82 | -1.6539e-07
175.646 | -1.6657e-07
175.486 | -1.6874e-07
175.337 | -1.722e-07
175.191 | -1.7437e-07
175.052 | -1.77e-07
174.898 | -2.0894e-07
174.723 | -1.6777e-07
174.57 | -1.6736e-07
174.416 | -1.6713e-07
174.278 | -1.6359e-07
174.135 | -1.6241e-07
173.992 | -1.6322e-07
173.826 | -1.6331e-07
173.649 | -1.6254e-07
173.49 | -1.6272e-07
173.334 | -1.6226e-07
173.186 | -1.6221e-07
173.02 | -1.6254e-07
172.848 | -1.648e-07
172.677 | -1.6289e-07
172.52 | -1.6637e-07
172.361 | -1.6722e-07
172.2 | -1.689e-07
172.051 | -1.7177e-07
171.898 | -1.7127e-07
171.748 | -1.7098e-07
171.602 | -1.7663e-07
171.421 | -1.7775e-07
171.254 | -1.7788e-07
171.089 | -1.7786e-07
170.916 | -1.8145e-07
170.706 | -1.9563e-07
170.554 | -1.8705e-07
170.384 | -1.792e-07
170.231 | -1.7804e-07
170.066 | -1.741e-07
169.902 | -1.637e-07
169.741 | -1.6227e-07
169.579 | -1.6187e-07
169.381 | -1.6159e-07
169.199 | -1.61e-07
168.992 | -1.608e-07
168.774 | -1.6047e-07
168.541 | -1.591e-07
168.371 | -1.5881e-07
168.187 | -1.5956e-07
167.997 | -1.6095e-07
167.784 | -1.5733e-07
167.591 | -1.5704e-07
167.401 | -1.5737e-07
167.189 | -1.5772e-07
166.957 | -1.5758e-07
166.771 | -1.5677e-07
166.579 | -1.57e-07
166.357 | -1.5674e-07
166.149 | -1.538e-07
165.962 | -1.5264e-07
165.758 | -1.5236e-07
165.532 | -1.5362e-07
165.236 | -1.534e-07
165.045 | -1.5367e-07
164.856 | -1.5466e-07
164.659 | -1.4986e-07
164.459 | -1.485e-07
164.261 | -1.4817e-07
164.049 | -1.4859e-07
163.861 | -1.4774e-07
163.679 | -1.4707e-07
163.492 | -1.4649e-07
163.293 | -1.467e-07
163.101 | -1.4632e-07
162.908 | -1.4754e-07
162.729 | -1.4811e-07
162.532 | -1.4721e-07
162.305 | -1.4765e-07
162.1 | -1.4711e-07
161.902 | -1.4764e-07
161.718 | -1.4713e-07
161.526 | -1.4771e-07
161.346 | -1.4823e-07
161.143 | -1.4749e-07
160.957 | -1.4721e-07
160.765 | -1.4921e-07
160.579 | -1.5217e-07
160.388 | -1.5185e-07
160.206 | -1.5244e-07
160.019 | -1.4983e-07
159.79 | -1.5059e-07
159.587 | -1.5101e-07
159.404 | -1.4829e-07
159.177 | -1.488e-07
158.94 | -1.4795e-07
158.743 | -1.4821e-07
158.542 | -1.4616e-07
158.344 | -1.466e-07
158.104 | -1.5071e-07
157.863 | -1.548e-07
157.627 | -1.4942e-07
157.357 | -1.5107e-07
157.139 | -1.5248e-07
156.932 | -1.5512e-07
156.721 | -1.5334e-07
156.522 | -1.4815e-07
156.335 | -1.5296e-07
156.126 | -1.5504e-07
155.955 | -1.6026e-07
155.761 | -1.6649e-07
155.577 | -1.5335e-07
155.368 | -1.6799e-07
155.154 | -1.5735e-07
154.964 | -1.5393e-07
154.765 | -1.5854e-07
154.511 | -1.6645e-07
154.275 | -1.6214e-07
154.051 | -1.6201e-07
153.84 | -1.5972e-07
153.591 | -1.6024e-07
153.353 | -1.978e-07
153.132 | -1.7115e-07
152.929 | -1.7668e-07
152.712 | -1.8533e-07
152.533 | -1.7864e-07
152.314 | -1.7195e-07
152.085 | -1.6824e-07
151.866 | -1.6486e-07
151.669 | -1.6827e-07
151.418 | -1.706e-07
151.208 | -1.7048e-07
151.008 | -1.6665e-07
150.813 | -1.6347e-07
150.64 | -1.676e-07
150.462 | -1.6559e-07
150.284 | -1.6964e-07
150.114 | -1.7595e-07
149.941 | -1.7205e-07
149.77 | -1.6441e-07
149.605 | -1.6018e-07
149.451 | -1.6577e-07
149.29 | -1.6517e-07
149.118 | -1.5716e-07
148.949 | -1.5222e-07
148.782 | -1.6477e-07
148.63 | -1.4916e-07
148.465 | -1.4966e-07
148.3 | -1.4896e-07
148.128 | -1.4798e-07
147.954 | -1.5379e-07
147.773 | -1.4541e-07
147.582 | -1.5082e-07
147.355 | -1.4766e-07
147.082 | -1.485e-07
146.876 | -1.4774e-07
146.691 | -1.4561e-07
146.516 | -1.3871e-07
146.347 | -1.3724e-07
146.19 | -1.372e-07
146.033 | -1.4616e-07
145.878 | -1.3592e-07
145.705 | -1.3433e-07
145.54 | -1.3082e-07
145.379 | -1.2866e-07
145.222 | -1.2829e-07
145.08 | -1.2704e-07
144.934 | -1.2834e-07
144.792 | -1.2572e-07
144.658 | -1.2597e-07
144.531 | -1.2528e-07
144.406 | -1.2519e-07
144.285 | -1.2493e-07
144.169 | -1.246e-07
144.055 | -1.2424e-07
143.939 | -1.2406e-07
143.831 | -1.2422e-07
143.714 | -1.2405e-07
143.604 | -1.2388e-07
143.495 | -1.2351e-07
143.338 | -1.2318e-07
143.246 | -1.2257e-07
143.156 | -1.2246e-07
143.066 | -1.2233e-07
142.98 | -1.2217e-07
142.9 | -1.2238e-07
142.822 | -1.2226e-07
142.75 | -1.2364e-07
142.684 | -1.4037e-07
142.616 | -1.5744e-07
142.551 | -1.309e-07
142.49 | -1.2902e-07
142.437 | -1.2956e-07
142.373 | -1.2621e-07
142.309 | -1.2902e-07
142.242 | -1.2868e-07
142.17 | -1.3076e-07
142.096 | -1.3221e-07
142.026 | -1.3228e-07
141.951 | -1.3364e-07
141.873 | -1.3216e-07
141.797 | -1.3147e-07
141.715 | -1.3074e-07
141.632 | -1.3203e-07
141.55 | -1.3168e-07
141.457 | -1.3147e-07
141.364 | -1.3054e-07
141.275 | -1.3015e-07
141.183 | -1.3063e-07
141.09 | -1.3033e-07
140.989 | -1.3102e-07
140.893 | -1.2945e-07
140.756 | -1.2973e-07
140.638 | -1.2932e-07
140.528 | -1.2865e-07
140.429 | -1.28e-07
140.33 | -1.2713e-07
140.23 | -1.2535e-07
140.117 | -1.2373e-07
140.013 | -1.2308e-07
139.901 | -1.2487e-07
139.772 | -1.2591e-07
139.66 | -1.3013e-07
139.519 | -1.2881e-07
139.391 | -1.2104e-07
139.279 | -1.2007e-07
139.168 | -1.1726e-07
139.065 | -1.2164e-07
138.952 | -1.1933e-07
138.845 | -1.2136e-07
138.738 | -1.1991e-07
138.63 | -1.1954e-07
138.523 | -1.1449e-07
138.417 | -1.1464e-07
138.307 | -1.1486e-07
138.201 | -1.1618e-07
138.095 | -1.198e-07
137.968 | -1.1828e-07
137.834 | -1.2093e-07
137.719 | -1.2206e-07
137.607 | -1.2475e-07
137.507 | -1.279e-07
137.395 | -1.2707e-07
137.299 | -1.2678e-07
137.196 | -1.2365e-07
137.086 | -1.367e-07
136.995 | -1.2603e-07
136.901 | -1.1811e-07
136.807 | -1.1708e-07
136.713 | -1.1737e-07
136.623 | -1.1815e-07
136.535 | -1.1849e-07
136.445 | -1.1826e-07
136.357 | -1.1791e-07
136.261 | -1.1738e-07
136.163 | -1.1638e-07
136.061 | -1.1566e-07
135.96 | -1.1587e-07
135.856 | -1.1553e-07
135.762 | -1.1571e-07
135.665 | -1.1517e-07
135.566 | -1.1487e-07
135.466 | -1.1333e-07
135.367 | -1.1283e-07
135.272 | -1.134e-07
135.178 | -1.1368e-07
135.069 | -1.1289e-07
134.973 | -1.1275e-07
134.892 | -1.1242e-07
134.811 | -1.1134e-07
134.743 | -1.1108e-07
134.679 | -1.1077e-07
134.617 | -1.1063e-07
134.555 | -1.1061e-07
134.508 | -1.1065e-07
134.456 | -1.1e-07
134.409 | -1.1017e-07
134.364 | -1.0988e-07
134.326 | -1.0977e-07
134.288 | -1.0939e-07
134.251 | -1.0929e-07
134.216 | -1.088e-07
134.184 | -1.0773e-07
134.155 | -1.0866e-07
134.127 | -1.075e-07
134.1 | -1.0587e-07
134.07 | -1.0562e-07
134.038 | -1.0568e-07
134.01 | -1.0517e-07
133.979 | -1.0458e-07
133.952 | -1.0468e-07
133.926 | -1.0417e-07
133.896 | -1.0372e-07
133.868 | -1.0358e-07
133.84 | -1.0354e-07
133.814 | -1.0338e-07
133.792 | -1.0327e-07
133.768 | -1.0309e-07
133.747 | -1.0314e-07
133.73 | -1.0303e-07
133.709 | -1.0451e-07
133.687 | -1.0377e-07
133.667 | -1.0271e-07
133.645 | -1.0301e-07
133.623 | -1.0348e-07
133.604 | -1.0357e-07
133.587 | -1.0383e-07
133.57 | -1.0461e-07
133.552 | -1.0536e-07
133.536 | -1.0572e-07
133.522 | -1.0483e-07
133.509 | -1.0519e-07
133.498 | -1.0563e-07
133.487 | -1.0649e-07
133.476 | -1.0723e-07
133.466 | -1.0827e-07
133.455 | -1.0668e-07
133.448 | -1.0473e-07
133.436 | -1.0363e-07
133.425 | -1.0334e-07
133.415 | -1.0327e-07
133.406 | -1.0296e-07
133.392 | -1.0335e-07
133.37 | -1.0215e-07
133.35 | -1.0139e-07
133.333 | -1.0132e-07
133.315 | -1.016e-07
133.291 | -1.0122e-07
133.271 | -1.0172e-07
133.247 | -1.018e-07
133.21 | -1.0199e-07
133.172 | -1.0122e-07
133.132 | -1.0054e-07
133.077 | -9.9711e-08
133.038 | -9.9787e-08
133.008 | -9.9419e-08
132.977 | -9.9479e-08
132.945 | -9.9716e-08
132.919 | -9.9215e-08
132.892 | -9.8905e-08
132.863 | -9.872e-08
132.831 | -9.8652e-08
132.796 | -9.8393e-08
132.761 | -9.7563e-08
132.726 | -9.8384e-08
132.695 | -9.7785e-08
132.663 | -9.7339e-08
132.624 | -9.7159e-08
132.585 | -9.7344e-08
132.549 | -9.7554e-08
132.51 | -9.6552e-08
132.469 | -9.6293e-08
132.417 | -9.6187e-08
132.35 | -9.6163e-08
132.269 | -9.6022e-08
132.1 | -9.5718e-08
131.982 | -9.5654e-08
131.89 | -9.5531e-08
131.819 | -9.5472e-08
131.754 | -9.5186e-08
131.691 | -9.5072e-08
131.624 | -9.4963e-08
131.561 | -9.4863e-08
131.502 | -9.3845e-08
131.45 | -9.3953e-08
131.391 | -9.3754e-08
131.323 | -9.3563e-08
131.259 | -9.3551e-08
131.182 | -9.3407e-08
131.057 | -9.3337e-08
130.937 | -9.3268e-08
130.831 | -9.3125e-08
130.754 | -9.3078e-08
130.687 | -9.2933e-08
130.609 | -9.288e-08
130.54 | -9.2821e-08
130.455 | -9.2748e-08
130.359 | -9.2674e-08
130.263 | -9.2579e-08
130.177 | -9.2611e-08
130.098 | -9.2486e-08
130.019 | -9.2418e-08
129.945 | -9.2294e-08
129.864 | -9.2261e-08
129.779 | -9.2169e-08
129.693 | -9.2064e-08
129.581 | -9.1921e-08
129.47 | -9.1902e-08
129.366 | -9.1816e-08
129.277 | -9.1786e-08
129.194 | -9.1671e-08
129.109 | -9.1608e-08
129.024 | -9.1588e-08
128.946 | -9.1527e-08
128.864 | -9.146e-08
128.777 | -9.137e-08
128.686 | -9.1315e-08
128.589 | -9.1238e-08
128.496 | -9.1168e-08
128.396 | -9.1094e-08
128.295 | -9.1019e-08
128.191 | -9.0983e-08
128.049 | -9.0945e-08
127.907 | -9.0865e-08
127.753 | -9.0779e-08
127.639 | -9.0738e-08
127.444 | -9.0615e-08
127.23 | -9.0585e-08
127.065 | -9.0549e-08
126.946 | -9.039e-08
126.833 | -9.039e-08
126.562 | -9.0352e-08
126.226 | -9.02e-08
125.913 | -9.0205e-08
125.661 | -9.0095e-08
125.478 | -9.0016e-08
125.326 | -8.9955e-08
124.934 | -8.9892e-08
124.352 | -8.9913e-08
123.658 | -8.9752e-08
123.177 | -8.971e-08
122.826 | -8.9725e-08
122.594 | -8.9552e-08
122.398 | -8.9511e-08
121.951 | -8.9508e-08
121.403 | -8.9404e-08
120.93 | -8.9372e-08
120.575 | -8.9312e-08
120.303 | -8.918e-08
120.11 | -8.9192e-08
119.956 | -8.9066e-08
119.822 | -8.8997e-08
119.693 | -8.8974e-08
119.578 | -8.887e-08
119.449 | -8.8818e-08
119.302 | -8.8747e-08
119.154 | -8.8625e-08
119.016 | -8.8701e-08
118.909 | -8.856e-08
118.797 | -8.8488e-08
118.61 | -8.8324e-08
118.369 | -8.8312e-08
118.118 | -8.823e-08
117.932 | -8.8194e-08
117.785 | -8.8177e-08
117.65 | -8.8005e-08
117.361 | -8.8006e-08
117.037 | -8.7995e-08
116.784 | -8.8215e-08
116.588 | -8.809e-08
116.409 | -8.8095e-08
116.256 | -8.807e-08
116.087 | -8.852e-08
115.886 | -8.8365e-08
115.589 | -8.8921e-08
115.237 | -8.8098e-08
114.842 | -8.7975e-08
114.501 | -8.794e-08
114.194 | -8.7764e-08
113.939 | -8.7667e-08
113.72 | -8.7631e-08
113.529 | -8.7502e-08
113.345 | -8.7445e-08
113.141 | -8.7418e-08
112.961 | -8.737e-08
112.79 | -8.7239e-08
112.624 | -8.7089e-08
112.462 | -8.7041e-08
112.324 | -8.6958e-08
112.119 | -8.6883e-08
111.922 | -8.6815e-08
111.736 | -8.6808e-08
111.551 | -8.6599e-08
111.353 | -8.6527e-08
111.119 | -8.6421e-08
110.772 | -8.6252e-08
110.363 | -8.6258e-08
109.998 | -8.6136e-08
109.707 | -8.6082e-08
109.467 | -8.5979e-08
109.245 | -8.5871e-08
108.884 | -8.5803e-08
108.29 | -8.564e-08
107.602 | -8.5483e-08
107.006 | -8.5522e-08
106.529 | -8.5441e-08
106.165 | -8.5454e-08
105.899 | -8.5327e-08
105.705 | -8.5336e-08
105.537 | -8.5237e-08
105.307 | -8.5352e-08
104.747 | -8.6155e-08
103.934 | -8.5762e-08
103.169 | -8.7934e-08
102.568 | -8.6053e-08
102.113 | -8.5777e-08
101.778 | -8.6366e-08
101.535 | -8.5834e-08
101.312 | -8.5381e-08
100.852 | -8.562e-08
100.516 | -8.5485e-08
100.246 | -8.5299e-08
100.053 | -8.5469e-08
99.917 | -8.6844e-08
99.6823 | -8.7957e-08
99.3082 | -8.85e-08
98.7242 | -9.0026e-08
98.2472 | -8.8222e-08
97.8724 | -8.3336e-08
97.6062 | -8.3655e-08
97.4197 | -8.3382e-08
97.2223 | -8.4041e-08
96.8686 | -8.5047e-08
96.5689 | -8.5674e-08
96.3137 | -8.5852e-08
96.0983 | -8.4211e-08
95.9533 | -8.63e-08
95.8446 | -8.547e-08
95.4956 | -8.3192e-08
94.8202 | -8.2367e-08
94.2883 | -8.2249e-08
93.9978 | -8.2168e-08
93.7939 | -8.1997e-08
93.6686 | -8.1752e-08
93.4702 | -8.1575e-08
93.0374 | -8.1296e-08
92.682 | -8.1345e-08
92.4369 | -8.1398e-08
92.2485 | -8.1048e-08
92.146 | -8.0802e-08
92.0876 | -8.0634e-08
91.9507 | -8.036e-08
91.4506 | -8.0473e-08
91.3164 | -8.0284e-08
91.1633 | -8.0203e-08
91.0731 | -8.036e-08
90.9772 | -8.117e-08
89.9021 | -8.045e-08
88.7452 | -8.0952e-08
88.06 | -8.0659e-08
87.9746 | -7.9714e-08
87.8747 | -8.1088e-08
87.8369 | -7.9257e-08
87.7005 | -7.8819e-08
87.329 | -7.8757e-08
87.128 | -7.8672e-08
87.1 | -7.8544e-08
87.0852 | -7.836e-08
87.0737 | -7.8386e-08
86.6283 | -7.8145e-08
86.6342 | -7.8992e-08
86.5752 | -7.7976e-08
86.162 | -7.7891e-08
85.7775 | -7.754e-08
85.2243 | -7.7324e-08
85.1821 | -7.6788e-08
85.1422 | -7.4742e-08
85.1351 | -7.659e-08
85.1521 | -7.6338e-08
83.8535 | -7.3899e-08
82.9885 | -7.3623e-08
82.4615 | -7.4658e-08
82.1443 | -7.3386e-08
81.7331 | -7.3161e-08
81.6905 | -7.3018e-08
81.7078 | -7.2895e-08
81.6486 | -7.2785e-08
81.3497 | -7.2562e-08
81.0404 | -7.245e-08
80.901 | -7.2341e-08
80.8346 | -7.2186e-08
80.8019 | -7.2074e-08
80.7274 | -7.1892e-08
80.5968 | -7.1869e-08
80.556 | -7.1741e-08
80.5291 | -7.1563e-08
80.5181 | -7.1408e-08
80.5043 | -7.1234e-08
80.4881 | -7.1132e-08
80.4815 | -7.0942e-08
80.4573 | -7.0786e-08
80.4441 | -7.0597e-08
80.4426 | -7.0488e-08
80.4458 | -7.0359e-08
80.4429 | -7.0223e-08
80.4544 | -7.01e-08
80.4569 | -6.9987e-08
80.4551 | -6.9899e-08

## Measurements
Temperature | Current
80.3187 | -6.9111e-08
80.4311 | -6.8235e-08
80.7426 | -6.7789e-08
81.0559 | -6.7467e-08
81.3652 | -6.7202e-08
81.6387 | -6.6974e-08
81.9272 | -6.6293e-08
82.2257 | -6.5336e-08
82.5538 | -4.5514e-10
82.8437 | -6.4201e-08
83.1322 | -2.7601e-10
83.4556 | -1.9406e-08
83.7808 | -2.6325e-10
84.0317 | -2.6585e-10
84.3935 | -2.7405e-10
84.6758 | -3.2789e-10
84.9456 | -3.7296e-10
85.2789 | -3.4101e-10
85.5323 | -2.7573e-10
85.8641 | -3.1673e-10
86.1765 | -3.3153e-10
86.4449 | -2.6228e-10
86.7503 | -2.6989e-10
87.0492 | -2.6405e-10
87.3632 | -2.6124e-10
87.6516 | -1.449e-09
87.9414 | -2.6165e-10
88.271 | -2.9267e-10
88.5554 | -2.6086e-10
88.8324 | -2.6128e-10
89.161 | -2.6137e-10
89.4577 | -2.6046e-10
89.7686 | -2.62e-10
90.0298 | -2.6053e-10
90.3707 | -2.6145e-10
90.6828 | -2.6176e-10
90.9714 | -2.5974e-10
91.227 | -2.6025e-10
91.5489 | -1.9883e-10
91.8547 | -2.6221e-10
92.1455 | -2.6119e-10
92.4497 | -2.6172e-10
92.7355 | -2.622e-10
93.0402 | -2.6111e-10
93.3733 | -2.6229e-10
93.6187 | -2.6189e-10
93.9303 | -2.5808e-10
94.2544 | -6.1559e-08
94.5585 | -6.1502e-08
94.846 | -6.1541e-08
95.1553 | -6.1467e-08
95.4286 | -6.1333e-08
95.7465 | -6.1257e-08