## Settings
Sample Info | so303, dot c6, run05h
Sample Description | 05h: -0.7/0.0/-0.7
Major Measurement Parameters
Starting Temperature | 91.3971
Initial Temperature | 80
Final Temperature | 320
Preliminary Voltage | -0.7
Pulse Voltage | 0
Pulse Time | 10
Measurement Voltage | -0.7
Subsidiary Measurement Parameters
Step | 0.3
Accuracy Step | 0.1
Accuracy Stable | 0.5
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 10
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 3
Measurecount | 1
время
Date | 25.9.2023
Time | 21:6:55

## Stabilization
Temperature | Current
91.3492 | -6.0154e-08
91.3262 | -6.0088e-08
91.2404 | -6.0015e-08
91.163 | -5.9979e-08
90.9607 | -5.9948e-08
90.8473 | -5.9877e-08
90.7837 | -5.9879e-08
90.7468 | -5.9798e-08
90.0993 | -5.9793e-08
89.072 | -5.9814e-08
88.3637 | -5.9743e-08
88.3147 | -5.9685e-08
88.2309 | -5.9624e-08
88.1843 | -5.9616e-08
88.171 | -5.962e-08
88.1853 | -5.9537e-08
88.2142 | -5.9481e-08
88.2452 | -5.9402e-08
88.229 | -5.94e-08
87.1689 | -5.9369e-08
86.4952 | -5.9371e-08
86.2309 | -5.9339e-08
86.1324 | -5.9282e-08
86.1428 | -5.9265e-08
86.1685 | -5.9239e-08
86.2114 | -5.9153e-08
86.246 | -5.9117e-08
86.288 | -5.907e-08
86.3279 | -5.9022e-08
86.3433 | -5.8987e-08
86.3496 | -5.8943e-08
86.3753 | -5.8946e-08
86.2888 | -5.8935e-08
85.4627 | -5.8861e-08
84.9227 | -5.8801e-08
84.505 | -5.8791e-08
84.568 | -5.8725e-08
84.6268 | -5.8653e-08
84.6971 | -5.8566e-08
84.7567 | -5.8535e-08
84.8194 | -5.8524e-08
84.8796 | -5.849e-08
84.9415 | -5.8457e-08
84.9894 | -5.8421e-08
84.5641 | -5.8343e-08
84.0388 | -5.8284e-08
84.0955 | -5.8266e-08
84.1458 | -5.816e-08
84.2127 | -5.8151e-08
84.2661 | -5.8084e-08
83.6525 | -5.8098e-08
83.0613 | -5.8032e-08
82.7947 | -5.7964e-08
82.7629 | -5.7912e-08
82.801 | -5.7894e-08
82.8625 | -5.7857e-08
82.5932 | -5.778e-08
81.9371 | -5.771e-08
81.4832 | -5.7673e-08
81.2473 | -5.7594e-08
81.0128 | -5.753e-08
80.934 | -5.7537e-08
80.911 | -5.75e-08
80.934 | -5.7419e-08
80.9628 | -5.7346e-08
80.9919 | -5.7323e-08
81.0061 | -5.7228e-08
80.809 | -5.7174e-08
80.5358 | -5.7105e-08
80.424 | -5.7069e-08
80.356 | -5.6992e-08
80.3129 | -5.698e-08
80.2948 | -5.6945e-08
80.3034 | -5.6895e-08
80.3021 | -5.6825e-08
80.3095 | -5.6784e-08
80.3316 | -5.6682e-08
80.3607 | -5.6644e-08
80.4138 | -5.6586e-08

## Measurements
Temperature | Current
80.4873 | -5.6569e-08
80.5961 | -5.6299e-08
80.9149 | -5.6038e-08
81.2138 | -5.586e-08
81.5157 | -5.5692e-08
81.7873 | -5.5614e-08
82.0988 | -5.5547e-08
82.4034 | -5.5468e-08
82.7262 | -5.5431e-08
83.0416 | -5.5373e-08
83.2952 | -5.5338e-08
83.6355 | -5.5443e-08
83.9298 | -5.5321e-08
84.2309 | -5.5282e-08
84.534 | -5.5223e-08
84.785 | -5.5114e-08
85.1399 | -5.5131e-08
85.4283 | -5.507e-08
85.7737 | -5.5046e-08
86.0186 | -5.4985e-08
86.3326 | -5.4953e-08
86.6455 | -5.4889e-08
86.9201 | -5.4893e-08
87.2326 | -5.4854e-08
87.5312 | -5.4806e-08
87.8349 | -5.4735e-08
88.1363 | -5.4695e-08
88.43 | -5.4682e-08
88.7221 | -5.4628e-08
89.0129 | -5.4587e-08
89.3425 | -5.4486e-08
89.6394 | -5.4439e-08
89.9126 | -5.4398e-08
90.2352 | -5.4382e-08
90.5219 | -5.4353e-08
90.8377 | -5.4308e-08
91.1154 | -5.428e-08
91.4211 | -5.4187e-08
91.7419 | -5.4709e-08
92.0372 | -5.4901e-08
92.2945 | -5.4567e-08
92.5983 | -5.4583e-08
92.9116 | -5.4571e-08
93.232 | -5.4453e-08
93.5293 | -5.438e-08
93.7967 | -5.4283e-08
94.1096 | -5.4255e-08
94.4156 | -5.4499e-08
94.7428 | -5.5401e-08
94.9846 | -5.4939e-08
95.3414 | -5.5249e-08
95.5893 | -5.5482e-08
95.9081 | -5.5179e-08
96.2136 | -5.5355e-08
96.5088 | -5.5546e-08
96.8271 | -5.5676e-08
97.0901 | -5.5327e-08
97.4296 | -5.5405e-08
97.6884 | -5.474e-08
98.0317 | -5.4865e-08
98.321 | -5.4683e-08
98.6302 | -5.4548e-08
98.9053 | -5.4528e-08
99.1951 | -5.4572e-08
99.5219 | -5.4321e-08
99.8066 | -5.4464e-08
100.148 | -5.4341e-08
100.42 | -5.4485e-08
100.693 | -5.4687e-08
101.008 | -5.4042e-08
101.294 | -5.4077e-08
101.629 | -5.4104e-08
101.907 | -5.4186e-08
102.218 | -5.4206e-08
102.536 | -5.4245e-08
102.856 | -5.43e-08
103.163 | -5.4414e-08
103.462 | -5.4357e-08
103.738 | -5.4399e-08
104.03 | -5.4438e-08
104.299 | -5.4412e-08
104.593 | -5.4383e-08
104.896 | -4.6812e-08
105.229 | -5.4587e-08
105.514 | -5.461e-08
105.821 | -5.4641e-08
106.127 | -5.4708e-08
106.434 | -5.4719e-08
106.717 | -5.4787e-08
107.001 | -5.4769e-08
107.354 | -5.4875e-08
107.608 | -5.3321e-08
107.908 | -5.5587e-08
108.19 | -5.5793e-08
108.49 | -5.5673e-08
108.835 | -5.5421e-08
109.087 | -5.5521e-08
109.429 | -5.5391e-08
109.715 | -5.5449e-08
110.037 | -5.5536e-08
110.286 | -5.5634e-08
110.6 | -5.5686e-08
110.915 | -5.5766e-08
111.204 | -5.5805e-08
111.522 | -5.5805e-08
111.795 | -5.5919e-08
112.126 | -5.5998e-08
112.437 | -5.6022e-08
112.725 | -5.6175e-08
113.026 | -5.6196e-08
113.305 | -5.6307e-08
113.588 | -5.6363e-08
113.895 | -5.645e-08
114.228 | -5.6596e-08
114.502 | -5.6656e-08
114.829 | -5.677e-08
115.125 | -5.6902e-08
115.399 | -5.7018e-08
115.724 | -5.7091e-08
116.032 | -5.7189e-08
116.328 | -5.7236e-08
116.593 | -5.7301e-08
116.923 | -5.741e-08
117.205 | -5.7517e-08
117.527 | -5.7576e-08
117.787 | -5.7656e-08
118.133 | -5.7858e-08
118.426 | -5.7966e-08
118.748 | -5.8061e-08
119.012 | -5.8191e-08
119.323 | -5.8418e-08
119.587 | -5.8517e-08
119.913 | -5.8644e-08
120.21 | -5.8686e-08
120.535 | -5.8769e-08
120.828 | -5.8895e-08
121.118 | -5.9017e-08
121.414 | -5.9112e-08
121.689 | -5.9168e-08
122.048 | -5.9244e-08
122.351 | -5.9357e-08
122.599 | -5.9474e-08
122.915 | -5.961e-08
123.223 | -5.9739e-08
123.5 | -5.9806e-08
123.843 | -5.9916e-08
124.115 | -5.9967e-08
124.405 | -6.0071e-08
124.703 | -6.0196e-08
125.057 | -6.028e-08
125.337 | -6.0378e-08
125.632 | -6.0506e-08
125.911 | -6.0607e-08
126.19 | -6.0679e-08
126.546 | -6.0826e-08
126.804 | -6.0913e-08
127.093 | -6.1003e-08
127.415 | -6.1098e-08
127.739 | -6.1263e-08
128.027 | -6.1402e-08
128.287 | -6.1542e-08
128.627 | -6.1673e-08
128.919 | -6.1769e-08
129.217 | -6.1875e-08
129.503 | -6.197e-08
129.823 | -6.2081e-08
130.12 | -6.2171e-08
130.417 | -6.229e-08
130.708 | -6.2408e-08
130.986 | -6.2555e-08
131.319 | -6.2686e-08
131.593 | -6.2844e-08
131.921 | -6.3012e-08
132.21 | -6.3056e-08
132.488 | -6.3228e-08
132.788 | -6.3271e-08
133.124 | -6.3435e-08
133.401 | -6.3549e-08
133.746 | -6.3665e-08
134.033 | -6.3819e-08
134.321 | -6.3978e-08
134.597 | -6.4039e-08
134.922 | -6.4216e-08
135.188 | -6.4342e-08
135.523 | -6.4475e-08
135.812 | -6.4483e-08
136.121 | -6.4586e-08
136.41 | -6.4896e-08
136.72 | -6.503e-08
137.033 | -6.5147e-08
137.343 | -6.5302e-08
137.626 | -6.5431e-08
137.908 | -6.557e-08
138.218 | -6.5794e-08
138.488 | -6.5845e-08
138.852 | -6.6026e-08
139.114 | -6.6116e-08
139.395 | -6.6276e-08
139.717 | -6.6512e-08
140.04 | -6.6602e-08
140.3 | -6.6654e-08
140.608 | -6.6787e-08
140.951 | -6.695e-08
141.204 | -6.6988e-08
141.513 | -6.7076e-08
141.807 | -6.7222e-08
142.099 | -6.731e-08
142.41 | -6.743e-08
142.736 | -6.7595e-08
143.025 | -6.7721e-08
143.317 | -6.7774e-08
143.611 | -6.7921e-08
143.926 | -6.8106e-08
144.22 | -6.8203e-08
144.509 | -6.8386e-08
144.79 | -6.8625e-08
145.148 | -6.8774e-08
145.458 | -6.8922e-08
145.73 | -6.9011e-08
146.014 | -6.9113e-08
146.285 | -6.9178e-08
146.602 | -6.9292e-08
146.911 | -6.9418e-08
147.225 | -6.9566e-08
147.489 | -6.9687e-08
147.794 | -6.9806e-08
148.107 | -6.9947e-08
148.442 | -7.0128e-08
148.726 | -7.0282e-08
149.029 | -7.0463e-08
149.333 | -7.0513e-08
149.643 | -7.0657e-08
149.922 | -7.0785e-08
150.224 | -7.0917e-08
150.522 | -7.1073e-08
150.822 | -7.1184e-08
151.111 | -7.1308e-08
151.425 | -7.1439e-08
151.725 | -7.1599e-08
152.011 | -7.173e-08
152.287 | -7.1852e-08
152.586 | -7.1997e-08
152.893 | -7.2177e-08
153.243 | -7.2343e-08
153.527 | -7.2493e-08
153.814 | -7.261e-08
154.117 | -7.2678e-08
154.424 | -7.2819e-08
154.686 | -7.3009e-08
155.006 | -7.3122e-08
155.307 | -7.3295e-08
155.613 | -7.3478e-08
155.919 | -7.3608e-08
156.227 | -7.3721e-08
156.516 | -7.3872e-08
156.822 | -7.4049e-08
157.117 | -7.4167e-08
157.433 | -7.4355e-08
157.719 | -7.4505e-08
158.008 | -7.4707e-08
158.321 | -7.4844e-08
158.612 | -7.4897e-08
158.917 | -7.5098e-08
159.205 | -7.5251e-08
159.503 | -7.5373e-08
159.816 | -7.5538e-08
160.11 | -7.5684e-08
160.406 | -7.5793e-08
160.725 | -7.6133e-08
160.989 | -7.6249e-08
161.327 | -7.6397e-08
161.609 | -7.6548e-08
161.919 | -7.6758e-08
162.214 | -7.7053e-08
162.51 | -7.7184e-08
162.833 | -7.7305e-08
163.093 | -7.7453e-08
163.428 | -7.7661e-08
163.751 | -7.7785e-08
164.029 | -7.7853e-08
164.324 | -7.8039e-08
164.633 | -7.8158e-08
164.907 | -7.8258e-08
165.237 | -7.8351e-08
165.558 | -7.8476e-08
165.862 | -7.8509e-08
166.088 | -7.8617e-08
166.447 | -7.881e-08
166.715 | -7.8854e-08
167.026 | -7.905e-08
167.309 | -7.9099e-08
167.612 | -7.9263e-08
167.923 | -7.9394e-08
168.217 | -7.9545e-08
168.521 | -7.9572e-08
168.805 | -7.9787e-08
169.093 | -7.987e-08
169.415 | -7.9999e-08
169.707 | -8.0127e-08
170.022 | -8.0248e-08
170.323 | -8.0331e-08
170.648 | -8.0577e-08
170.911 | -8.0631e-08
171.196 | -8.083e-08
171.509 | -8.0928e-08
171.826 | -8.1089e-08
172.105 | -8.1168e-08
172.441 | -8.1343e-08
172.734 | -8.1486e-08
173.014 | -8.1625e-08
173.321 | -8.1656e-08
173.633 | -8.1788e-08
173.938 | -8.2007e-08
174.232 | -8.2101e-08
174.53 | -8.2197e-08
174.833 | -8.2346e-08
175.147 | -8.2434e-08
175.414 | -8.2622e-08
175.702 | -8.2734e-08
176.034 | -8.2858e-08
176.305 | -8.3043e-08
176.618 | -8.3191e-08
176.913 | -8.3355e-08
177.199 | -8.3484e-08
177.498 | -8.3607e-08
177.799 | -8.3712e-08
178.106 | -8.3848e-08
178.42 | -8.4002e-08
178.715 | -8.4148e-08
179.009 | -8.4287e-08
179.321 | -8.4411e-08
179.588 | -8.458e-08
179.889 | -8.4675e-08
180.198 | -8.4886e-08
180.509 | -8.5089e-08
180.791 | -8.5145e-08
181.113 | -8.5322e-08
181.4 | -8.5417e-08
181.711 | -8.5568e-08
182.014 | -8.5792e-08
182.308 | -8.5873e-08
182.644 | -8.6143e-08
182.892 | -8.6222e-08
183.237 | -8.6421e-08
183.51 | -8.6548e-08
183.8 | -8.666e-08
184.104 | -8.6893e-08
184.413 | -8.7076e-08
184.692 | -8.7164e-08
185.005 | -8.7389e-08
185.322 | -8.7442e-08
185.612 | -8.768e-08
185.903 | -8.7908e-08
186.202 | -8.8019e-08
186.505 | -8.8217e-08
186.804 | -8.8428e-08
187.118 | -8.8606e-08
187.409 | -8.8692e-08
187.71 | -8.8943e-08
188.01 | -8.9143e-08
188.321 | -8.9274e-08
188.624 | -8.9495e-08
188.911 | -8.9634e-08
189.216 | -8.9771e-08
189.517 | -8.9965e-08
189.806 | -9.0155e-08
190.109 | -9.0315e-08
190.39 | -9.0376e-08
190.732 | -9.0692e-08
191.015 | -9.0778e-08
191.288 | -9.0875e-08
191.602 | -9.0995e-08
191.921 | -9.1234e-08
192.194 | -9.1441e-08
192.496 | -9.1569e-08
192.802 | -9.189e-08
193.109 | -9.1941e-08
193.412 | -9.2113e-08
193.739 | -9.2466e-08
194.028 | -9.2623e-08
194.324 | -9.2762e-08
194.625 | -9.3045e-08
194.941 | -9.3078e-08
195.249 | -9.3344e-08
195.49 | -9.3445e-08
195.785 | -9.3574e-08
196.129 | -9.3897e-08
196.417 | -9.4082e-08
196.721 | -9.4315e-08
197.029 | -9.4435e-08
197.323 | -9.4729e-08
197.627 | -9.4879e-08
197.942 | -9.5102e-08
198.192 | -9.5131e-08
198.495 | -9.5354e-08
198.814 | -9.5607e-08
199.116 | -9.5737e-08
199.4 | -9.5986e-08
199.749 | -9.6088e-08
200.018 | -9.6352e-08
200.324 | -9.6547e-08
200.603 | -9.6649e-08
200.895 | -9.6925e-08
201.213 | -9.7113e-08
201.55 | -9.7193e-08
201.833 | -9.7447e-08
202.177 | -9.7461e-08
202.41 | -9.7635e-08
202.72 | -9.7797e-08
203.064 | -9.7887e-08
203.337 | -9.8027e-08
203.607 | -9.8159e-08
203.948 | -9.8337e-08
204.212 | -9.8387e-08
204.513 | -9.8727e-08
204.804 | -9.89e-08
205.087 | -9.9057e-08
205.424 | -9.9286e-08
205.711 | -9.9501e-08
206.053 | -9.9789e-08
206.319 | -1e-07
206.64 | -1.0021e-07
206.891 | -1.0038e-07
207.205 | -1.0059e-07
207.485 | -1.0084e-07
207.823 | -1.0099e-07
208.106 | -1.0119e-07
208.415 | -1.0132e-07
208.741 | -1.0145e-07
208.991 | -1.016e-07
209.306 | -1.0168e-07
209.617 | -1.0194e-07
209.953 | -1.0216e-07
210.209 | -1.0228e-07
210.518 | -1.0245e-07
210.796 | -1.0263e-07
211.124 | -1.0278e-07
211.395 | -1.0298e-07
211.704 | -1.0318e-07
211.994 | -1.0328e-07
212.339 | -1.036e-07
212.626 | -1.0382e-07
212.885 | -1.0393e-07
213.228 | -1.041e-07
213.514 | -1.0432e-07
213.835 | -1.0458e-07
214.098 | -1.0471e-07
214.408 | -1.0483e-07
214.721 | -1.0525e-07
215.007 | -1.0533e-07
215.328 | -1.0561e-07
215.603 | -1.0574e-07
215.926 | -1.0594e-07
216.205 | -1.0609e-07
216.534 | -1.0626e-07
216.819 | -1.0642e-07
217.107 | -1.0664e-07
217.43 | -1.0671e-07
217.722 | -1.0701e-07
218.015 | -1.0722e-07
218.312 | -1.073e-07
218.607 | -1.0739e-07
218.906 | -1.0761e-07
219.206 | -1.0775e-07
219.505 | -1.08e-07
219.803 | -1.0805e-07
220.101 | -1.0819e-07
220.45 | -1.0852e-07
220.746 | -1.0865e-07
221.028 | -1.0886e-07
221.322 | -1.0894e-07
221.623 | -1.0909e-07
221.923 | -1.0937e-07
222.224 | -1.0956e-07
222.507 | -1.0978e-07
222.823 | -1.0999e-07
223.125 | -1.1008e-07
223.426 | -1.1021e-07
223.726 | -1.1029e-07
224.028 | -1.106e-07
224.328 | -1.1089e-07
224.628 | -1.1101e-07
224.931 | -1.1128e-07
225.233 | -1.1146e-07
225.534 | -1.1166e-07
225.835 | -1.1206e-07
226.101 | -1.1282e-07
226.387 | -1.3112e-07
226.739 | -1.3011e-07
227.04 | -1.2254e-07
227.323 | -1.1554e-07
227.624 | -1.1715e-07
227.925 | -1.1731e-07
228.224 | -1.1766e-07
228.52 | -1.1946e-07
228.819 | -1.2027e-07
229.116 | -1.2278e-07
229.414 | -1.2539e-07
229.713 | -1.243e-07
230.013 | -1.2697e-07
230.314 | -1.2996e-07
230.612 | -1.3165e-07
230.915 | -1.3428e-07
231.216 | -1.3399e-07
231.518 | -1.3513e-07
231.821 | -1.3381e-07
232.141 | -1.3055e-07
232.442 | -1.2998e-07
232.743 | -1.3386e-07
233.043 | -1.3713e-07
233.342 | -1.3134e-07
233.625 | -1.3221e-07
233.923 | -1.3166e-07
234.223 | -1.3117e-07
234.539 | -1.3666e-07
234.839 | -1.3563e-07
235.138 | -1.3422e-07
235.389 | -1.3239e-07
235.689 | -1.3417e-07
235.986 | -1.3347e-07
236.321 | -1.3324e-07
236.621 | -1.317e-07
236.921 | -1.3155e-07
237.222 | -1.2867e-07
237.522 | -1.2983e-07
237.822 | -1.2889e-07
238.122 | -1.2872e-07
238.423 | -1.2903e-07
238.74 | -1.2929e-07
239.04 | -1.2762e-07
239.338 | -1.2852e-07
239.639 | -1.2858e-07
239.888 | -1.2609e-07
240.189 | -1.2711e-07
240.49 | -1.2765e-07
240.79 | -1.2764e-07
241.089 | -1.2855e-07
241.388 | -1.2881e-07
241.738 | -1.2915e-07
242.04 | -1.2868e-07
242.339 | -1.2902e-07
242.639 | -1.292e-07
242.94 | -1.2949e-07
243.239 | -1.2928e-07
243.489 | -1.2969e-07
243.788 | -1.3056e-07
244.138 | -1.3048e-07
244.436 | -1.3087e-07
244.732 | -1.3087e-07
245.031 | -1.3142e-07
245.296 | -1.3162e-07
245.594 | -1.3183e-07
245.893 | -1.3207e-07
246.194 | -1.3243e-07
246.544 | -1.3288e-07
246.793 | -1.3324e-07
247.094 | -1.3341e-07
247.396 | -1.338e-07
247.698 | -1.3416e-07
247.997 | -1.346e-07
248.298 | -1.3497e-07
248.649 | -1.3508e-07
248.899 | -1.3567e-07
249.2 | -1.3581e-07
249.501 | -1.3637e-07
249.851 | -1.3683e-07
250.101 | -1.3689e-07
250.401 | -1.3747e-07
250.701 | -1.3784e-07
251.003 | -1.3796e-07
251.302 | -1.3836e-07
251.603 | -1.3871e-07
251.905 | -1.3911e-07
252.203 | -1.3925e-07
252.521 | -1.3966e-07
252.838 | -1.3996e-07
253.089 | -1.4021e-07
253.438 | -1.4064e-07
253.723 | -1.4103e-07
254.04 | -1.4157e-07
254.289 | -1.4163e-07
254.591 | -1.4231e-07
254.889 | -1.4268e-07
255.189 | -1.4306e-07
255.505 | -1.434e-07
255.823 | -1.4382e-07
256.124 | -1.441e-07
256.424 | -1.443e-07
256.723 | -1.4447e-07
257.023 | -1.4486e-07
257.339 | -1.4532e-07
257.623 | -1.4595e-07
257.923 | -1.4636e-07
258.19 | -1.4774e-07
258.49 | -1.4825e-07
258.79 | -1.4844e-07
259.09 | -1.4872e-07
259.39 | -1.4891e-07
259.687 | -1.4917e-07
260.008 | -1.4986e-07
260.302 | -1.502e-07
260.604 | -1.5062e-07
260.905 | -1.5102e-07
261.204 | -1.5092e-07
261.535 | -1.5152e-07
261.833 | -1.5167e-07
262.132 | -1.5223e-07
262.43 | -1.5261e-07
262.729 | -1.5373e-07
263.028 | -1.5475e-07
263.312 | -1.5569e-07
263.611 | -1.5654e-07
263.912 | -1.565e-07
264.213 | -1.5745e-07
264.513 | -1.5812e-07
264.832 | -1.5874e-07
265.132 | -1.5951e-07
265.432 | -1.6025e-07
265.731 | -1.6048e-07
266.017 | -1.6103e-07
266.317 | -1.6134e-07
266.616 | -1.6202e-07
266.951 | -1.6263e-07
267.251 | -1.6296e-07
267.519 | -1.6328e-07
267.819 | -1.6366e-07
268.119 | -1.6401e-07
268.42 | -1.6446e-07
268.721 | -1.6517e-07
269.038 | -1.6582e-07
269.287 | -1.6635e-07
269.586 | -1.6687e-07
269.888 | -1.6709e-07
270.189 | -1.6734e-07
270.488 | -1.6784e-07
270.789 | -1.68e-07
271.105 | -1.6822e-07
271.405 | -1.6775e-07
271.722 | -1.6861e-07
272.023 | -1.6942e-07
272.323 | -1.6901e-07
272.621 | -1.6876e-07
272.921 | -1.6841e-07
273.222 | -1.6871e-07
273.523 | -1.6922e-07
273.806 | -1.6945e-07
274.106 | -1.6996e-07
274.405 | -1.7089e-07
274.705 | -1.7131e-07
275.022 | -1.7279e-07
275.321 | -1.728e-07
275.621 | -1.7399e-07
275.922 | -1.7475e-07
276.223 | -1.7472e-07
276.524 | -1.7524e-07
276.84 | -1.7592e-07
277.14 | -1.762e-07
277.388 | -1.7652e-07
277.689 | -1.7726e-07
278.007 | -1.7801e-07
278.307 | -1.7881e-07
278.605 | -1.7948e-07
278.888 | -1.7991e-07
279.205 | -1.804e-07
279.535 | -1.808e-07
279.832 | -1.8165e-07
280.131 | -1.8175e-07
280.447 | -1.7889e-07
280.695 | -1.7941e-07
280.993 | -1.7982e-07
281.345 | -1.8046e-07
281.596 | -1.8088e-07
281.896 | -1.8193e-07
282.196 | -1.8464e-07
282.498 | -1.8602e-07
282.798 | -1.8674e-07
283.099 | -1.8716e-07
283.401 | -1.8783e-07
283.699 | -1.8804e-07
283.999 | -1.8855e-07
284.351 | -1.8872e-07
284.601 | -1.893e-07
284.918 | -1.8988e-07
285.218 | -1.9048e-07
285.518 | -1.9105e-07
285.82 | -1.9204e-07
286.136 | -1.9264e-07
286.388 | -1.9304e-07
286.687 | -1.938e-07
287.003 | -1.945e-07
287.302 | -1.9495e-07
287.604 | -1.9538e-07
287.905 | -1.9616e-07
288.204 | -1.9678e-07
288.523 | -1.9704e-07
288.821 | -1.9733e-07
289.122 | -1.9792e-07
289.423 | -1.986e-07
289.723 | -1.9915e-07
290.022 | -1.9971e-07
290.389 | -2.0063e-07
290.606 | -2.0074e-07
290.905 | -2.0124e-07
291.222 | -2.0163e-07
291.522 | -2.0213e-07
291.821 | -2.0286e-07
292.122 | -2.0349e-07
292.422 | -2.0384e-07
292.69 | -2.0443e-07
292.99 | -2.0505e-07
293.322 | -2.0582e-07
293.623 | -2.062e-07
293.923 | -2.0675e-07
294.224 | -2.0736e-07
294.521 | -2.0644e-07
294.822 | -2.0726e-07
295.137 | -2.0739e-07
295.388 | -2.0782e-07
295.688 | -2.0841e-07
296.007 | -2.083e-07
296.306 | -2.0844e-07
296.607 | -2.0916e-07
296.907 | -2.0983e-07
297.207 | -2.1055e-07
297.506 | -2.1123e-07
297.806 | -2.1193e-07
298.123 | -2.1249e-07
298.422 | -2.1402e-07
298.72 | -2.1449e-07
299.018 | -2.1531e-07
299.316 | -2.1577e-07
299.631 | -2.1639e-07
299.93 | -2.1736e-07
300.23 | -2.1939e-07
300.529 | -2.1997e-07
300.797 | -2.2056e-07
301.095 | -2.2099e-07
301.398 | -2.2202e-07
301.715 | -2.2291e-07
302.015 | -2.2363e-07
302.317 | -2.2431e-07
302.632 | -2.2503e-07
302.933 | -2.2577e-07
303.234 | -2.2644e-07
303.533 | -2.2699e-07
303.834 | -2.2777e-07
304.134 | -2.2819e-07
304.434 | -2.2885e-07
304.7 | -2.2948e-07
305.002 | -2.305e-07
305.302 | -2.3117e-07
305.602 | -2.3151e-07
305.904 | -2.3267e-07
306.221 | -2.333e-07
306.52 | -2.3438e-07
306.818 | -2.3511e-07
307.121 | -2.3555e-07
307.439 | -2.3589e-07
307.687 | -2.3649e-07
308.022 | -2.3726e-07
308.321 | -2.3816e-07
308.622 | -2.3876e-07
308.922 | -2.397e-07
309.22 | -2.4093e-07
309.522 | -2.4114e-07
309.822 | -2.4207e-07
310.139 | -2.43e-07
310.405 | -2.4349e-07
310.705 | -2.4455e-07
311.003 | -2.4526e-07
311.322 | -2.458e-07
311.621 | -2.4677e-07
311.921 | -2.4759e-07
312.22 | -2.4801e-07
312.52 | -2.4875e-07
312.789 | -2.492e-07
313.089 | -2.4975e-07
313.388 | -2.5122e-07
313.705 | -2.5115e-07
314.005 | -2.5244e-07
314.321 | -2.5308e-07
314.622 | -2.5448e-07
314.888 | -2.5568e-07
315.187 | -2.5574e-07
315.487 | -2.5657e-07
315.788 | -2.5751e-07
316.104 | -2.5808e-07
316.405 | -2.5918e-07
316.707 | -2.5944e-07
317.007 | -2.6075e-07
317.305 | -2.6072e-07
317.589 | -2.6181e-07
317.907 | -2.6243e-07
318.206 | -2.6324e-07
318.506 | -2.643e-07
318.805 | -2.654e-07
319.123 | -2.6627e-07
319.423 | -2.6806e-07
319.738 | -2.6846e-07
320.04 | -2.6945e-07