## Settings
Sample Info | so303, dot c6, run06
Sample Description | 05h: -0.4/0.0/-0.4
Major Measurement Parameters
Starting Temperature | 261.384
Initial Temperature | 80
Final Temperature | 320
Preliminary Voltage | -0.4
Pulse Voltage | 0
Pulse Time | 10
Measurement Voltage | -0.4
Subsidiary Measurement Parameters
Step | 0.3
Accuracy Step | 0.1
Accuracy Stable | 0.5
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 10
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 3
Measurecount | 1
время
Date | 25.9.2023
Time | 21:39:32

## Stabilization
Temperature | Current
259.517 | -7.6903e-08
258.63 | -7.6666e-08
257.654 | -7.6309e-08
256.865 | -7.5996e-08
255.96 | -7.4922e-08
255.077 | -7.4857e-08
254.234 | -7.5102e-08
253.221 | -7.3653e-08
252.473 | -7.2601e-08
251.511 | -7.4324e-08
250.778 | -7.2075e-08
249.84 | -7.2831e-08
249.003 | -7.2749e-08
248.156 | -7.2549e-08
247.315 | -7.2185e-08
246.506 | -7.2785e-08
245.571 | -7.2001e-08
244.801 | -7.3046e-08
243.917 | -7.2662e-08
243.179 | -7.2009e-08
242.295 | -7.1631e-08
241.547 | -7.116e-08
240.7 | -7.0698e-08
240.078 | -7.0379e-08
239.427 | -7.01e-08
238.749 | -6.981e-08
238.107 | -6.944e-08
237.395 | -6.9097e-08
236.722 | -6.8676e-08
235.935 | -6.8648e-08
235.353 | -6.8224e-08
234.627 | -6.7916e-08
233.946 | -6.7481e-08
233.294 | -6.7263e-08
232.607 | -6.7033e-08
231.92 | -6.6585e-08
231.32 | -6.6229e-08
230.799 | -6.604e-08
230.271 | -6.5662e-08
229.74 | -6.5317e-08
229.22 | -6.5016e-08
228.766 | -6.4549e-08
228.179 | -6.442e-08
227.697 | -6.4049e-08
227.077 | -6.3777e-08
226.617 | -6.3529e-08
225.895 | -6.3097e-08
225.537 | -6.2836e-08
224.801 | -6.2478e-08
224.416 | -6.228e-08
223.743 | -6.1902e-08
223.197 | -6.1533e-08
222.698 | -6.1206e-08
221.968 | -6.0724e-08
221.574 | -6.0482e-08
220.899 | -6.0253e-08
220.516 | -5.9762e-08
219.941 | -5.9398e-08
219.603 | -5.9034e-08
219.179 | -5.8628e-08
218.824 | -5.8422e-08
218.587 | -5.8091e-08
218.117 | -5.7663e-08
217.936 | -5.7351e-08
217.407 | -5.7317e-08
217.064 | -5.6932e-08
216.844 | -5.6619e-08
216.43 | -5.623e-08
216.246 | -5.5821e-08
215.923 | -5.5512e-08
215.734 | -5.5109e-08
215.615 | -5.468e-08
215.491 | -5.5129e-08
215.36 | -5.6225e-08
215.252 | -5.6579e-08
215.141 | -5.8324e-08
215.02 | -5.9095e-08
214.908 | -6.0528e-08
214.798 | -6.0269e-08
214.61 | -5.9707e-08
214.319 | -5.923e-08
214.202 | -5.8859e-08
214.103 | -5.8396e-08
213.984 | -5.7976e-08
213.856 | -5.7539e-08
213.745 | -5.7433e-08
213.638 | -5.7028e-08
213.513 | -5.677e-08
213.406 | -5.6372e-08
213.281 | -5.6096e-08
213.157 | -5.5866e-08
213.036 | -5.5411e-08
212.916 | -5.4946e-08
212.804 | -5.4588e-08
212.669 | -5.424e-08
212.549 | -5.3914e-08
212.383 | -5.3649e-08
212.245 | -5.3302e-08
212.098 | -5.3064e-08
211.857 | -5.2679e-08
211.659 | -5.2408e-08
211.506 | -5.1931e-08
211.333 | -5.1689e-08
210.994 | -5.1399e-08
210.701 | -5.115e-08
210.477 | -5.097e-08
210.277 | -5.0767e-08
210.059 | -5.0466e-08
209.842 | -5.0021e-08
209.649 | -4.9702e-08
209.468 | -4.9371e-08
209.295 | -4.8974e-08
209.13 | -4.8605e-08
208.957 | -4.8398e-08
208.792 | -4.8074e-08
208.613 | -4.7779e-08
208.433 | -4.7471e-08
208.167 | -4.6966e-08
208.001 | -4.6786e-08
207.825 | -4.6774e-08
207.649 | -4.6435e-08
207.479 | -4.6142e-08
207.292 | -4.5869e-08
207.115 | -4.5585e-08
206.944 | -4.5316e-08
206.756 | -4.5003e-08
206.585 | -4.4682e-08
206.397 | -4.4441e-08
206.207 | -4.4107e-08
206.02 | -4.3909e-08
205.826 | -4.3662e-08
205.627 | -4.3385e-08
205.421 | -4.2934e-08
205.224 | -4.2756e-08
205.044 | -4.2682e-08
204.819 | -4.2429e-08
204.61 | -4.2279e-08
204.419 | -4.1858e-08
204.206 | -4.1632e-08
203.993 | -4.1311e-08
203.802 | -4.1028e-08
203.59 | -4.0832e-08
203.382 | -4.0577e-08
203.189 | -4.0321e-08
202.966 | -4.0074e-08
202.718 | -3.9813e-08
202.509 | -3.9686e-08
202.259 | -3.948e-08
202.014 | -3.9322e-08
201.804 | -3.9033e-08
201.575 | -3.8841e-08
201.343 | -3.8607e-08
201.131 | -3.8308e-08
200.905 | -3.8112e-08
200.676 | -3.7776e-08
200.465 | -3.7526e-08
200.238 | -3.7298e-08
200.012 | -3.7141e-08
199.779 | -3.6927e-08
199.539 | -3.6667e-08
199.303 | -3.643e-08
199.065 | -3.6277e-08
198.841 | -3.6117e-08
198.604 | -3.6014e-08
198.374 | -3.5772e-08
198.132 | -3.5499e-08
197.884 | -3.5343e-08
197.639 | -3.5088e-08
197.409 | -3.4974e-08
197.158 | -3.4712e-08
196.912 | -3.4441e-08
196.666 | -3.4227e-08
196.42 | -3.4106e-08
196.197 | -3.3939e-08
195.949 | -3.3793e-08
195.71 | -3.3532e-08
195.349 | -3.319e-08
195.107 | -3.3089e-08
194.847 | -3.2919e-08
194.601 | -3.2732e-08
194.35 | -3.2531e-08
194.113 | -3.2328e-08
193.859 | -3.2085e-08
193.611 | -3.1943e-08
193.366 | -3.1712e-08
193.113 | -3.1583e-08
192.857 | -3.1402e-08
192.6 | -3.1258e-08
192.35 | -3.1061e-08
192.1 | -3.0896e-08
191.849 | -3.0772e-08
191.575 | -3.064e-08
191.3 | -3.0454e-08
191.04 | -3.0269e-08
190.782 | -3.0137e-08
190.52 | -2.9961e-08
190.282 | -2.981e-08
190.03 | -2.9707e-08
189.769 | -2.9549e-08
189.533 | -2.9403e-08
189.282 | -2.9278e-08
189.02 | -2.9128e-08
188.763 | -2.8979e-08
188.507 | -2.8843e-08
188.275 | -2.8734e-08
188.02 | -2.8535e-08
187.767 | -2.84e-08
187.538 | -2.8311e-08
187.287 | -2.818e-08
187.037 | -2.804e-08
186.796 | -2.7887e-08
186.56 | -2.7736e-08
186.309 | -2.7593e-08
186.03 | -2.7423e-08
185.767 | -2.7333e-08
185.534 | -2.7204e-08
185.27 | -2.7071e-08
185.022 | -2.6954e-08
184.78 | -2.6791e-08
184.517 | -2.6644e-08
184.218 | -2.652e-08
183.975 | -2.6421e-08
183.719 | -2.6249e-08
183.466 | -2.615e-08
183.228 | -2.6009e-08
182.973 | -2.5893e-08
182.721 | -2.5744e-08
182.471 | -2.5622e-08
182.244 | -2.552e-08
182.007 | -2.5378e-08
181.77 | -2.5241e-08
181.541 | -2.5132e-08
181.318 | -2.5015e-08
181.098 | -2.4897e-08
180.869 | -2.4803e-08
180.62 | -2.4639e-08
180.401 | -2.4544e-08
180.185 | -2.4433e-08
179.969 | -2.428e-08
179.722 | -2.4149e-08
179.503 | -2.4046e-08
179.279 | -2.3923e-08
179.045 | -2.3821e-08
178.819 | -2.3716e-08
178.612 | -2.3598e-08
178.394 | -2.351e-08
178.182 | -2.3376e-08
177.975 | -2.3262e-08
177.787 | -2.3141e-08
177.585 | -2.3051e-08
177.344 | -2.2908e-08
177.104 | -2.2793e-08
176.884 | -2.2689e-08
176.653 | -2.2569e-08
176.44 | -2.2518e-08
176.216 | -2.2369e-08
175.997 | -2.2232e-08
175.78 | -2.2151e-08
175.565 | -2.2011e-08
175.352 | -2.1928e-08
175.139 | -2.1831e-08
174.942 | -2.171e-08
174.733 | -2.1587e-08
174.527 | -2.1475e-08
174.315 | -2.1337e-08
174.102 | -2.1268e-08
173.893 | -2.1135e-08
173.684 | -2.1061e-08
173.487 | -2.0944e-08
173.273 | -2.0835e-08
173.058 | -2.0739e-08
172.853 | -2.0605e-08
172.65 | -2.0524e-08
172.452 | -2.0442e-08
172.253 | -2.0312e-08
172.039 | -2.0265e-08
171.821 | -2.0139e-08
171.61 | -2.006e-08
171.388 | -1.9943e-08
171.179 | -1.984e-08
170.988 | -1.9748e-08
170.781 | -1.9671e-08
170.573 | -1.9579e-08
170.371 | -1.9478e-08
170.183 | -1.9391e-08
169.983 | -1.9308e-08
169.786 | -1.92e-08
169.588 | -1.9105e-08
169.383 | -1.9012e-08
169.177 | -1.8912e-08
168.978 | -1.8792e-08
168.8 | -1.8738e-08
168.609 | -1.8645e-08
168.33 | -1.8497e-08
168.149 | -1.8414e-08
167.96 | -1.8328e-08
167.774 | -1.8265e-08
167.59 | -1.8151e-08
167.422 | -1.8089e-08
167.239 | -1.7973e-08
167.053 | -1.7903e-08
166.872 | -1.7792e-08
166.685 | -1.7713e-08
166.496 | -1.7662e-08
166.301 | -1.7536e-08
166.113 | -1.7454e-08
165.937 | -1.74e-08
165.751 | -1.729e-08
165.571 | -1.7206e-08
165.388 | -1.7091e-08
165.197 | -1.7054e-08
164.981 | -1.6951e-08
164.788 | -1.6879e-08
164.619 | -1.6793e-08
164.44 | -1.6714e-08
164.261 | -1.662e-08
164.086 | -1.6569e-08
163.904 | -1.6508e-08
163.729 | -1.6436e-08
163.551 | -1.6347e-08
163.39 | -1.6246e-08
163.218 | -1.6098e-08
163.03 | -1.6117e-08
162.846 | -1.5996e-08
162.684 | -1.586e-08
162.508 | -1.5806e-08
162.328 | -1.5727e-08
162.155 | -1.5678e-08
161.976 | -1.5636e-08
161.785 | -1.5541e-08
161.553 | -1.5412e-08
161.371 | -1.5379e-08
161.182 | -1.5316e-08
160.984 | -1.5179e-08
160.802 | -1.5145e-08
160.625 | -1.5069e-08
160.448 | -1.5012e-08
160.274 | -1.495e-08
160.102 | -1.4889e-08
159.922 | -1.4902e-08
159.751 | -1.4818e-08
159.58 | -1.4793e-08
159.406 | -1.4718e-08
159.236 | -1.4612e-08
159.069 | -1.4512e-08
158.916 | -1.4441e-08
158.752 | -1.4377e-08
158.569 | -1.424e-08
158.39 | -1.4213e-08
158.225 | -1.4089e-08
158.048 | -1.4108e-08
157.881 | -1.4031e-08
157.693 | -1.4014e-08
157.515 | -1.3896e-08
157.334 | -1.3854e-08
157.144 | -1.3742e-08
156.968 | -1.3472e-08
156.783 | -1.3591e-08
156.617 | -1.351e-08
156.433 | -1.3625e-08
156.171 | -1.3523e-08
155.98 | -1.3289e-08
155.749 | -1.3268e-08
155.474 | -1.3207e-08
155.255 | -1.3214e-08
155.053 | -1.2984e-08
154.866 | -1.2922e-08
154.639 | -1.3046e-08
154.407 | -1.2835e-08
154.236 | -1.274e-08
154.018 | -1.2716e-08
153.824 | -1.2714e-08
153.635 | -1.2632e-08
153.45 | -1.2597e-08
153.287 | -1.255e-08
153.097 | -1.2492e-08
152.897 | -1.2368e-08
152.714 | -1.2219e-08
152.535 | -1.217e-08
152.341 | -1.2147e-08
152.119 | -1.2029e-08
151.899 | -1.199e-08
151.716 | -1.1887e-08
151.497 | -1.1825e-08
151.291 | -1.1757e-08
151.094 | -1.1826e-08
150.894 | -1.1704e-08
150.686 | -1.1689e-08
150.445 | -1.1571e-08
150.236 | -1.1559e-08
149.994 | -1.1515e-08
149.708 | -1.1552e-08
149.491 | -1.1395e-08
149.231 | -1.1317e-08
148.952 | -1.1227e-08
148.721 | -1.1271e-08
148.434 | -1.1139e-08
148.179 | -1.0985e-08
147.927 | -1.1071e-08
147.676 | -1.1042e-08
147.376 | -1.1035e-08
147.054 | -1.1058e-08
146.795 | -1.0878e-08
146.562 | -1.0878e-08
146.261 | -1.0908e-08
146.005 | -1.0836e-08
145.769 | -1.0778e-08
145.507 | -1.0719e-08
145.263 | -1.0646e-08
144.901 | -1.0585e-08
144.678 | -1.058e-08
144.429 | -1.0514e-08
144.223 | -1.0492e-08
143.962 | -1.0391e-08
143.731 | -1.0455e-08
143.49 | -1.0309e-08
143.235 | -1.0214e-08
142.969 | -1.0147e-08
142.709 | -1.0197e-08
142.495 | -1.0098e-08
142.22 | -1.0063e-08
141.983 | -1.0162e-08
141.662 | -9.9161e-09
141.431 | -1.008e-08
141.201 | -1.0037e-08
140.996 | -9.6623e-09
140.8 | -9.6201e-09
140.62 | -9.6021e-09
140.45 | -9.4108e-09
140.24 | -9.3847e-09
139.977 | -9.2841e-09
139.713 | -9.2307e-09
139.528 | -9.0565e-09
139.231 | -8.9929e-09
139.027 | -9.0422e-09
138.825 | -8.9135e-09
138.598 | -8.7695e-09
138.376 | -8.8704e-09
138.107 | -8.6862e-09
137.859 | -8.7904e-09
137.606 | -8.8321e-09
137.372 | -8.7217e-09
137.166 | -8.5863e-09
136.956 | -8.6026e-09
136.784 | -8.4158e-09
136.559 | -8.3702e-09
136.342 | -8.1979e-09
136.097 | -8.1912e-09
135.769 | -8.1542e-09
135.496 | -8.137e-09
135.24 | -8.1594e-09
135.002 | -8.1202e-09
134.747 | -8.0816e-09
134.532 | -8.0418e-09
134.317 | -7.8844e-09
134.111 | -7.987e-09
133.93 | -7.8875e-09
133.699 | -7.8667e-09
133.464 | -7.7369e-09
133.282 | -7.4846e-09
133.094 | -7.5459e-09
132.912 | -7.4925e-09
132.721 | -7.4391e-09
132.543 | -7.3514e-09
132.303 | -7.3737e-09
131.993 | -7.2902e-09
131.643 | -7.2456e-09
131.289 | -7.2438e-09
130.96 | -7.2063e-09
130.566 | -7.168e-09
130.289 | -7.1488e-09
130.055 | -7.1595e-09
129.856 | -7.0959e-09
129.667 | -7.0758e-09
129.481 | -7.0743e-09
129.315 | -7.0624e-09
129.156 | -6.9756e-09
128.978 | -6.9812e-09
128.81 | -6.9312e-09
128.618 | -6.9148e-09
128.395 | -6.8628e-09
128.093 | -6.8477e-09
127.859 | -6.7516e-09
127.516 | -6.8313e-09
127.2 | -6.725e-09
126.953 | -6.8449e-09
126.721 | -7.2373e-09
126.531 | -6.9971e-09
126.352 | -7.0234e-09
126.188 | -7.0362e-09
126.003 | -6.9612e-09
125.836 | -6.9842e-09
125.682 | -6.9166e-09
125.516 | -6.8794e-09
125.249 | -7.0186e-09
125.017 | -6.7551e-09
124.762 | -6.6389e-09
124.55 | -6.6385e-09
124.32 | -6.6564e-09
124.112 | -6.6739e-09
123.885 | -6.6845e-09
123.665 | -6.6428e-09
123.461 | -6.7605e-09
123.251 | -6.5945e-09
123.057 | -6.6902e-09
122.87 | -6.6324e-09
122.664 | -6.5975e-09
122.458 | -6.6187e-09
122.266 | -6.5339e-09
122.067 | -6.5682e-09
121.876 | -6.5034e-09
121.696 | -6.4374e-09
121.511 | -6.4142e-09
121.339 | -6.3827e-09
121.16 | -6.3258e-09
120.977 | -6.3263e-09
120.813 | -6.2838e-09
120.642 | -6.248e-09
120.475 | -6.2043e-09
120.314 | -6.1624e-09
120.165 | -6.0882e-09
119.979 | -6.0502e-09
119.816 | -6.0129e-09
119.611 | -6.033e-09
119.412 | -6.081e-09
119.208 | -5.9968e-09
118.93 | -5.6867e-09
118.693 | -5.7418e-09
118.46 | -5.7884e-09
118.184 | -5.6546e-09
117.964 | -5.6711e-09
117.759 | -5.6778e-09
117.568 | -5.625e-09
117.397 | -5.5791e-09
117.199 | -5.5617e-09
116.898 | -5.5903e-09
116.645 | -5.5584e-09
116.414 | -5.5682e-09
116.195 | -5.6725e-09
115.992 | -5.5428e-09
115.792 | -5.5741e-09
115.601 | -5.5072e-09
115.369 | -5.4305e-09
115.097 | -5.465e-09
114.738 | -5.3802e-09
114.405 | -5.369e-09
113.965 | -5.3517e-09
113.541 | -5.319e-09
113.171 | -5.2891e-09
112.852 | -5.3179e-09
112.592 | -5.242e-09
112.381 | -5.2544e-09
112.203 | -5.2177e-09
112.048 | -5.206e-09
111.914 | -5.1281e-09
111.786 | -5.0823e-09
111.669 | -5.0574e-09
111.543 | -5.0241e-09
111.411 | -5.0022e-09
111.278 | -4.9232e-09
111.17 | -4.8922e-09
111.058 | -4.8675e-09
110.95 | -4.8505e-09
110.848 | -4.8164e-09
110.751 | -4.7841e-09
110.649 | -4.7153e-09
110.56 | -4.6547e-09
110.475 | -4.612e-09
110.381 | -4.5654e-09
110.27 | -4.5129e-09
110.171 | -4.4865e-09
110.066 | -4.4569e-09
109.965 | -4.4213e-09
109.857 | -4.4091e-09
109.741 | -4.3872e-09
109.619 | -4.4415e-09
109.502 | -4.4214e-09
109.368 | -4.2865e-09
109.204 | -4.3532e-09
109.006 | -4.3243e-09
108.664 | -4.3053e-09
108.303 | -4.2753e-09
107.915 | -4.2137e-09
107.53 | -4.2196e-09
107.161 | -4.2886e-09
106.804 | -4.2247e-09
106.466 | -4.1771e-09
106.177 | -4.2743e-09
105.95 | -4.1299e-09
105.726 | -4.1143e-09
105.5 | -4.0653e-09
105.25 | -4.0376e-09
104.926 | -4.032e-09
104.463 | -4.003e-09
103.867 | -3.982e-09
103.32 | -3.9603e-09
102.818 | -3.901e-09
102.369 | -3.8979e-09
102.047 | -3.907e-09
101.75 | -3.8709e-09
101.504 | -3.8153e-09
101.236 | -3.8164e-09
100.879 | -3.8367e-09
100.335 | -3.7663e-09
99.8012 | -3.7567e-09
99.1426 | -3.7818e-09
98.4025 | -3.7489e-09
97.9809 | -3.5835e-09
97.7157 | -3.6131e-09
97.5377 | -3.5066e-09
97.4296 | -3.411e-09
97.1715 | -3.3556e-09
96.7283 | -3.3035e-09
95.9878 | -3.2696e-09
95.4825 | -3.2161e-09
94.781 | -3.0882e-09
94.4295 | -2.9454e-09
94.1914 | -2.8354e-09
93.8723 | -2.6942e-09
93.456 | -2.6254e-09
93.2251 | -2.5624e-09
92.777 | -2.5152e-09
92.0718 | -2.4735e-09
91.5769 | -2.4284e-09
90.7685 | -2.3987e-09
89.6993 | -2.3671e-09
88.8812 | -2.3345e-09
87.1511 | -2.2986e-09
86.0468 | -2.272e-09
85.7108 | -2.2367e-09
84.6886 | -2.2152e-09
83.5547 | -2.1932e-09
82.9185 | -2.1518e-09
82.849 | -2.123e-09
82.3869 | -2.0916e-09
82.0057 | -2.0588e-09
81.7078 | -2.0342e-09
81.2299 | -2.006e-09
80.9877 | -1.9829e-09
80.855 | -1.9401e-09
80.7694 | -1.916e-09
80.6966 | -1.9707e-09
80.633 | -1.8609e-09
80.5956 | -1.827e-09
80.599 | -1.7977e-09
80.5747 | -1.768e-09
80.5718 | -1.7321e-09
80.5595 | -1.7035e-09
80.5341 | -1.6805e-09
80.5091 | -1.6473e-09
80.5177 | -1.6162e-09
80.5168 | -1.5952e-09
80.5354 | -1.5628e-09
80.5383 | -1.5362e-09
80.5011 | -1.5196e-09
80.4941 | -1.4785e-09
80.4941 | -1.434e-09
80.4875 | -1.4045e-09
80.4838 | -1.378e-09
80.4901 | -1.3491e-09
80.5014 | -1.3186e-09
80.5056 | -1.2929e-09
80.5043 | -1.2605e-09
80.4704 | -1.2245e-09
80.4794 | -1.2041e-09
80.4803 | -1.18e-09
80.497 | -1.1511e-09
80.5066 | -1.1404e-09
80.5479 | -1.1095e-09
80.589 | -1.0692e-09
80.6502 | -1.0364e-09
80.7302 | -1.0083e-09
80.821 | -9.7525e-10
80.9197 | -9.533e-10
81.0104 | -9.2159e-10
81.1161 | -8.9636e-10
81.2388 | -8.7141e-10
81.3841 | -8.4008e-10
81.5386 | -8.0459e-10
81.6989 | -7.8188e-10
81.8506 | -7.423e-10
82.0082 | -7.2087e-10
82.1556 | -6.9602e-10
82.3027 | -6.7133e-10
82.4587 | -6.4173e-10
82.6196 | -6.2021e-10
82.785 | -5.8893e-10
82.9207 | -5.6846e-10
83.0772 | -5.4077e-10
83.2003 | -5.1498e-10
83.3225 | -4.9217e-10
83.3469 | -4.6953e-10
82.705 | -4.3502e-10
82.7629 | -4.1391e-10
82.5838 | -3.8115e-10
82.4931 | -3.5665e-10
82.5691 | -3.3087e-10
82.6576 | -3.0369e-10
82.7811 | -2.71e-10
82.9185 | -2.541e-10
83.0627 | -2.2891e-10
83.2153 | -2.0606e-10
83.3898 | -1.8105e-10
83.5462 | -1.5843e-10
83.7173 | -1.3953e-10
83.895 | -1.0517e-10
84.0711 | -8.6151e-11
84.2375 | -6.6335e-11
84.4048 | -4.1799e-11
84.5782 | -2.7885e-11
84.7361 | -7.2474e-12
84.904 | 2.1257e-11
85.0815 | 4.1407e-11
85.2606 | 6.483e-11
85.4359 | 8.3629e-11
85.5989 | 1.1473e-10
85.7475 | 1.3806e-10
85.9029 | 1.6511e-10
86.0519 | 1.8952e-10
86.1959 | 2.021e-10
86.3702 | 2.2385e-10
86.552 | 2.3439e-10
86.7156 | 2.6364e-10
86.8524 | 2.818e-10
86.9906 | 3.0873e-10
87.1464 | 3.3282e-10
87.3046 | 3.1405e-10
87.4603 | 3.7437e-10
87.6125 | 2.9897e-10
87.7714 | 4.2317e-10
87.9262 | 4.238e-10
88.0715 | 4.5659e-10
88.2323 | 4.5715e-10
88.4033 | 4.7975e-10
88.5532 | 4.605e-10
88.6559 | 5.4196e-10
88.7809 | 3.9773e-10
88.9218 | 3.2639e-10
89.0352 | 5.9325e-10
89.1468 | 1.3876e-10
89.2767 | 5.6351e-10
89.4112 | 5.1946e-10
89.49 | 6.6593e-10
89.5924 | 6.8515e-10
89.4434 | 7.0474e-10
89.321 | 7.1841e-10
89.4724 | 2.9724e-11
89.3822 | -1.6157e-10
89.4426 | 7.8055e-10
89.5251 | 8.0567e-10
89.5247 | 7.3793e-10
89.1398 | 8.4516e-10
88.8199 | 8.3632e-10
88.767 | 8.5747e-10
88.7038 | 8.9403e-10
88.6793 | 9.0699e-10
88.6881 | 9.269e-10
88.6723 | 9.3595e-10
88.677 | 9.5957e-10
88.3609 | 9.7376e-10
88.1101 | 9.9883e-10
88.0729 | 1.021e-09
88.0497 | 1.0423e-09
88.0322 | 1.057e-09
88.0414 | 1.0735e-09
88.0197 | 1.0895e-09
87.5572 | 1.1201e-09
86.9562 | 1.1254e-09
86.6478 | 1.1499e-09
86.429 | 1.1726e-09
86.3907 | 1.1886e-09
86.4139 | 1.2016e-09
86.465 | 1.2109e-09
86.5359 | 1.2315e-09
86.5713 | 1.2425e-09
86.637 | 1.2702e-09
86.6964 | 1.2888e-09
86.7529 | 1.3028e-09
86.8153 | 1.3196e-09
86.8757 | 9.0476e-10
86.9144 | -1.1338e-12
86.2222 | 1.3285e-09
85.5302 | -2.5025e-10
85.433 | -2.5149e-10
85.5215 | -2.4028e-10
85.5652 | -9.9914e-11
85.5788 | -1.0779e-09
85.5928 | -2.0422e-09
85.5037 | -4.3717e-10
84.9072 | -9.3785e-10
84.4693 | -4.7836e-10
84.3948 | -3.3111e-09
84.236 | -1.5639e-09
84.2399 | -5.6289e-09
84.2766 | -1.1119e-09
84.2944 | -3.5872e-09
84.2666 | -1.5373e-08
84.2935 | -2.764e-10
84.3303 | -4.4085e-10
84.1665 | -4.341e-09
84.1783 | -6.5341e-09
83.8648 | -9.6421e-10
83.8095 | -1.8147e-09
83.7163 | -1.227e-09
83.7479 | -2.901e-10
83.814 | -2.7674e-10
83.854 | -2.6795e-10
83.8211 | -2.6495e-10
83.8409 | -3.8033e-09
83.7437 | -4.0311e-10
83.7329 | -1.175e-09
83.7643 | -5.1658e-10
83.535 | -8.847e-10
83.1384 | -2.4185e-10
83.2071 | -2.5687e-10
83.2545 | -2.5565e-10
83.0475 | -2.5652e-10
82.534 | -2.5745e-10
82.2099 | -2.57e-10
82.2085 | -2.5701e-10
82.2737 | -2.5745e-10
82.3225 | -2.574e-10
81.6727 | -2.5747e-10
81.1386 | -2.5675e-10
80.7967 | -2.5726e-10
80.6339 | -2.5609e-10
80.532 | -2.5765e-10
80.4867 | -2.573e-10
80.4536 | -2.568e-10
80.3139 | -2.5787e-10
80.2351 | -2.5816e-10
80.2006 | -2.5758e-10
80.2062 | -2.5855e-10
80.2138 | -2.5674e-10
80.1833 | -2.5748e-10
80.1746 | -2.5584e-10
80.1731 | -2.5554e-10

## Measurements
Temperature | Current
80.2023 | -2.5302e-10
80.3258 | -2.5442e-10
80.6527 | -2.539e-10
80.9272 | -2.5292e-10
81.2463 | -2.5432e-10
81.5589 | -2.5294e-10
81.8313 | -2.5498e-10
82.1844 | -2.5373e-10
82.4803 | -2.5505e-10
82.7576 | -2.5562e-10
83.0862 | -2.5647e-10
83.4204 | -2.5633e-10
83.62 | -2.547e-10
83.9471 | -2.5625e-10
84.2686 | -2.5573e-10
84.5468 | -2.5589e-10
84.8504 | -2.5394e-10
85.1347 | -2.5446e-10
85.4659 | -2.5372e-10
85.7278 | -2.5335e-10
86.0615 | -2.5457e-10
86.3561 | -2.5409e-10
86.6681 | -2.5283e-10
86.9449 | -2.5436e-10
87.2276 | -2.5457e-10
87.5539 | -2.5563e-10
87.9406 | -2.5545e-10
88.1313 | -2.5507e-10
88.43 | -2.5429e-10
88.7421 | -2.5544e-10
89.0249 | -2.5461e-10
89.3516 | -2.5457e-10
89.6647 | -2.5415e-10
89.9453 | -2.5427e-10
90.2173 | -2.5359e-10
90.5057 | -2.5495e-10
90.8274 | -2.5583e-10
91.1166 | -2.5431e-10
91.4087 | 6.1603e-09
91.718 | 6.0868e-09
92.0278 | 1.475e-09
92.342 | 6.3175e-09
92.6355 | 6.1014e-09
92.9144 | 6.0904e-09
93.2199 | 5.9479e-09
93.5287 | 5.8799e-09
93.8316 | 5.8316e-09
94.1231 | 5.7894e-09
94.4347 | 5.7631e-09
94.7252 | 5.7219e-09
95.0288 | 5.7124e-09
95.3061 | 5.6674e-09
95.6115 | 5.6368e-09
95.9081 | 5.5954e-09
96.2386 | 5.5624e-09
96.5572 | 5.5171e-09
96.813 | 5.5024e-09
97.1578 | 5.4519e-09
97.4183 | 5.4192e-09
97.7428 | 5.3915e-09
98.0058 | 5.3595e-09
98.3163 | 5.3111e-09
98.6425 | 5.2739e-09
98.9637 | 5.2429e-09
99.2249 | 5.2154e-09
99.5549 | 5.1785e-09
99.8239 | 5.1375e-09
100.14 | 5.034e-09
100.445 | 4.9983e-09
100.723 | 4.964e-09
101.057 | 4.9478e-09
101.362 | 4.91e-09
101.644 | 4.891e-09
101.915 | 4.8684e-09
102.219 | 4.8314e-09
102.538 | 4.8239e-09
102.83 | 4.8006e-09
103.134 | 4.8027e-09
103.431 | 4.771e-09
103.723 | 4.7328e-09
104.048 | 4.7123e-09
104.328 | 4.681e-09
104.667 | 4.6698e-09
104.909 | 4.6416e-09
105.239 | 4.5551e-09
105.552 | 4.5383e-09
105.819 | 4.5194e-09
106.145 | 4.5017e-09
106.473 | 4.4909e-09
106.771 | 4.477e-09
107.048 | 4.4533e-09
107.314 | 4.4342e-09
107.668 | 4.4199e-09
107.96 | 4.4007e-09
108.266 | 4.3872e-09
108.535 | 4.3775e-09
108.82 | 4.3611e-09
109.152 | 4.3307e-09
109.423 | 4.3354e-09
109.743 | 4.317e-09
110.045 | 4.3032e-09
110.362 | 4.2866e-09
110.634 | 4.281e-09
110.908 | 6.2428e-10
111.221 | 9.2122e-10
111.536 | 5.7263e-10
111.845 | 2.4939e-10
112.139 | 5.5953e-11
112.41 | 3.3792e-10
112.73 | 5.4667e-10
113.057 | 4.7737e-10
113.353 | -3.2057e-11
113.606 | -7.1414e-11
113.93 | -3.3117e-11
114.257 | -4.5577e-11
114.566 | -4.1754e-11
114.811 | -4.5167e-11
115.118 | -7.1423e-11
115.475 | -7.7172e-11
115.779 | -1.3079e-10
116.071 | -8.4225e-11
116.397 | -1.1959e-10
116.619 | -1.4916e-10
116.929 | -1.4618e-10
117.245 | -1.4942e-10
117.55 | 4.0571e-09
117.889 | -1.8821e-10
118.16 | 3.8714e-09
118.46 | 3.8477e-09
118.739 | 3.851e-09
119.027 | 3.862e-09
119.338 | 3.8537e-09
119.634 | 3.8232e-09
119.953 | 3.8526e-09
120.209 | 3.7952e-09
120.543 | 3.7761e-09
120.826 | 3.7089e-09
121.111 | 3.6532e-09
121.438 | 3.7172e-09
121.807 | 3.6972e-09
122.005 | 3.6832e-09
122.311 | 3.6614e-09
122.642 | 3.6506e-09
122.926 | 3.6307e-09
123.232 | 3.6152e-09
123.545 | 3.5896e-09
123.862 | 3.599e-09
124.167 | 3.5692e-09
124.427 | 3.5439e-09
124.735 | 3.5242e-09
125.033 | 3.5018e-09
125.318 | 3.4865e-09
125.639 | 3.4625e-09
125.927 | 3.4427e-09
126.245 | 3.4195e-09
126.529 | 3.3906e-09
126.815 | 3.3703e-09
127.146 | 3.3387e-09
127.433 | 3.3095e-09
127.714 | 3.2883e-09
128.037 | 3.2543e-09
128.324 | 3.2244e-09
128.607 | 3.1819e-09
128.938 | 3.1391e-09
129.266 | 3.1106e-09
129.536 | 3.0881e-09
129.836 | 3.0681e-09
130.125 | 3.04e-09
130.426 | 3.0132e-09
130.75 | 2.9854e-09
131.03 | 2.9566e-09
131.326 | 2.9347e-09
131.605 | 2.9113e-09
131.964 | 2.8766e-09
132.248 | 2.8462e-09
132.547 | 2.8191e-09
132.821 | 2.7921e-09
133.161 | 2.7636e-09
133.42 | 2.7382e-09
133.708 | 2.7075e-09
134.018 | 2.6553e-09
134.313 | 2.6297e-09
134.623 | 2.5984e-09
134.947 | 2.5714e-09
135.262 | 2.5451e-09
135.532 | 2.5194e-09
135.85 | 2.48e-09
136.124 | 2.4538e-09
136.427 | 2.4382e-09
136.729 | 2.4129e-09
137.035 | 2.3634e-09
137.329 | 2.3231e-09
137.635 | 2.3002e-09
137.967 | 2.2625e-09
138.233 | 2.2462e-09
138.553 | 2.2072e-09
138.84 | 2.2012e-09
139.126 | 2.1762e-09
139.44 | 2.1269e-09
139.747 | 2.0917e-09
140.07 | 2.062e-09
140.324 | 2.0282e-09
140.62 | 1.9701e-09
140.926 | 1.9387e-09
141.228 | 1.8918e-09
141.537 | 1.8599e-09
141.85 | 1.821e-09
142.158 | 1.7956e-09
142.421 | 1.7575e-09
142.736 | 1.7201e-09
143.076 | 1.6885e-09
143.358 | 1.6664e-09
143.629 | 1.6404e-09
143.933 | 1.6028e-09
144.243 | 1.5723e-09
144.522 | 1.5457e-09
144.812 | 1.5154e-09
145.155 | 1.4783e-09
145.415 | 1.4483e-09
145.724 | 1.4207e-09
146.041 | 1.3866e-09
146.366 | 1.7692e-09
146.62 | 1.7344e-09
146.944 | 1.6203e-09
147.233 | 1.4282e-09
147.549 | 1.2592e-09
147.834 | 1.4133e-09
148.106 | 1.4874e-09
148.425 | 1.4927e-09
148.745 | 1.1392e-09
149.033 | 1.3755e-09
149.378 | 1.4136e-09
149.645 | 1.403e-09
149.908 | 1.3483e-09
150.223 | 1.2853e-09
150.544 | 1.24e-09
150.847 | 1.2139e-09
151.148 | 1.1301e-09
151.434 | 1.137e-09
151.76 | 1.0699e-09
152.039 | 1.0097e-09
152.345 | 9.8196e-10
152.631 | 9.2158e-10
152.935 | 8.7972e-10
153.218 | 8.4585e-10
153.557 | 7.9799e-10
153.858 | 7.1819e-10
154.131 | 6.7632e-10
154.423 | 6.1497e-10
154.74 | 5.4347e-10
155.043 | 4.7453e-10
155.306 | 4.2661e-10
155.627 | 3.6585e-10
155.908 | 3.0027e-10
156.212 | 2.3119e-10
156.567 | 1.5911e-10
156.86 | 9.6411e-11
157.147 | 1.418e-11
157.437 | -5.7111e-11
157.721 | -1.4277e-10
158.021 | -1.9544e-10
158.353 | -3.009e-10
158.642 | -3.715e-10
158.931 | -4.4683e-10
159.228 | -4.9308e-10
159.558 | -5.4951e-10
159.835 | -6.259e-10
160.121 | -6.8177e-10
160.419 | -7.8009e-10
160.775 | -8.8415e-10
161.02 | -9.8111e-10
161.358 | -1.0639e-09
161.622 | -1.1437e-09
161.956 | -1.2424e-09
162.262 | -1.361e-09
162.608 | -1.4302e-09
162.836 | -1.4837e-09
163.114 | -1.567e-09
163.431 | -1.6317e-09
163.745 | -1.7212e-09
164.015 | -1.7651e-09
164.348 | -1.8514e-09
164.62 | -1.9258e-09
164.946 | -2.087e-09
165.209 | -2.133e-09
165.513 | -2.0852e-09
165.847 | -2.1547e-09
166.144 | -2.3509e-09
166.444 | -2.3949e-09
166.756 | -2.3455e-09
167.046 | -2.5177e-09
167.338 | -2.6153e-09
167.62 | -2.6808e-09
167.907 | -2.719e-09
168.239 | -2.973e-09
168.559 | -3.0507e-09
168.835 | -2.961e-09
169.126 | -3.0055e-09
169.455 | -3.0589e-09
169.751 | -3.0302e-09
170.02 | -3.4068e-09
170.359 | -3.2845e-09
170.639 | -3.6462e-09
170.932 | -3.6037e-09
171.234 | -3.1771e-09
171.541 | -3.4333e-09
171.874 | -3.1903e-09
172.141 | -3.4416e-09
172.435 | -3.1791e-09
172.73 | -3.3465e-09
173.025 | -3.8725e-09
173.328 | -3.4265e-09
173.636 | -3.856e-09
173.916 | -2.2044e-09
174.227 | -1.9984e-09
174.553 | -4.831e-10
174.806 | -4.8791e-10
175.153 | -9.4309e-10
175.443 | -6.5667e-10
175.714 | -5.9853e-10
176.066 | -6.7856e-10
176.345 | -8.3064e-10
176.613 | -7.6179e-10
176.944 | -8.925e-10
177.228 | -1.9547e-09
177.554 | -1.556e-09
177.812 | -1.6085e-09
178.144 | -1.2678e-09
178.462 | -1.9313e-09
178.764 | -2.2918e-09
179.035 | -2.8998e-09
179.333 | -2.1683e-09
179.673 | -2.4408e-09
179.955 | -3.6892e-09
180.236 | -3.5815e-09
180.534 | -2.5921e-09
180.83 | -3.816e-09
181.161 | -3.8802e-09
181.45 | -3.9127e-09
181.719 | -4.3024e-09
182.055 | -4.5561e-09
182.355 | -3.5966e-09
182.649 | -3.7268e-09
182.953 | -4.0858e-09
183.231 | -3.9569e-09
183.516 | -5.0038e-09
183.847 | -3.8296e-09
184.15 | -5.4659e-09
184.438 | -6.6696e-09
184.719 | -8.0087e-09
185.023 | -4.1381e-09
185.311 | -8.0736e-09
185.623 | -2.2495e-08
185.941 | -3.6523e-08
186.275 | -4.0289e-08
186.529 | -4.8494e-08
186.836 | -5.8314e-08
187.124 | -7.5324e-08
187.442 | -9.5069e-08
187.742 | -1.183e-07
188.009 | -1.3175e-07
188.33 | -1.5573e-07
188.644 | -1.8489e-07
188.94 | -1.9597e-07
189.224 | -1.972e-07
189.547 | -2.3847e-07
189.821 | -1.4512e-07
190.148 | -2.1257e-07
190.45 | -1.05e-07
190.71 | -3.484e-08
191.007 | -1.05e-07
191.333 | -5.3404e-08
191.645 | -1.6005e-08
191.908 | -2.2295e-07
192.223 | -1.0418e-07
192.545 | -4.2287e-07
192.848 | -6.8818e-07
193.123 | -6.2992e-07
193.453 | -5.0161e-07
193.71 | -4.3104e-07
194.047 | -3.6359e-07
194.345 | -3.8005e-07
194.669 | -3.7278e-07
194.927 | -1.9225e-07
195.253 | -2.5727e-07
195.512 | -2.9801e-07
195.841 | -3.1162e-07
196.152 | -4.3082e-07
196.506 | -7.4554e-07
196.726 | -7.2784e-07
197.033 | -6.31e-07
197.308 | -4.1759e-07
197.623 | -1.2145e-07
197.964 | -1.2456e-08
198.249 | -1.0452e-08
198.565 | -1.2002e-08
198.817 | -2.1982e-08
199.119 | -4.1895e-08
199.435 | -3.5176e-08
199.729 | -1.853e-08
200.039 | -1.7301e-08
200.332 | -1.5865e-08
200.636 | -6.2787e-10
200.951 | -6.2531e-10
201.229 | -6.1851e-10
201.513 | -6.1358e-10
201.829 | -6.5294e-10
202.141 | -6.4105e-10
202.419 | -6.0394e-10
202.775 | -5.2894e-10
203.036 | -5.1899e-10
203.305 | -5.2697e-10
203.616 | -5.3634e-10
203.961 | -5.8865e-10
204.236 | -5.3494e-10
204.548 | -5.483e-10
204.837 | -5.8235e-10
205.133 | -6.2596e-10
205.409 | -8.4358e-10
205.73 | -8.0846e-10
206.017 | -7.8915e-10
206.348 | -8.4779e-10
206.618 | -8.575e-10
206.913 | -7.4018e-10
207.23 | -8.5269e-10
207.566 | -9.4992e-10
207.806 | -9.1157e-10
208.135 | -8.9103e-10
208.438 | -9.4671e-10
208.717 | -8.3644e-10
209.027 | -8.3153e-10
209.36 | -8.2672e-10
209.631 | -8.8968e-10
209.922 | -8.4965e-10
210.244 | -8.1229e-10
210.523 | -8.6918e-10
210.851 | -9.0476e-10
211.162 | -8.6713e-10
211.412 | -8.8435e-10
211.732 | -9.3268e-10
212.045 | -8.6309e-10
212.326 | -8.1202e-10
212.631 | -8.7807e-10
212.935 | -7.832e-10
213.239 | -8.0152e-10
213.538 | -8.4872e-10
213.841 | -9.6565e-10
214.146 | -7.8115e-10
214.427 | -8.8818e-10
214.739 | -8.4794e-10
215.021 | -7.1672e-10
215.309 | -7.5201e-10
215.66 | -8.3732e-10
215.937 | -7.5723e-10
216.23 | -8.3164e-10
216.554 | -7.7649e-10
216.838 | -8.5632e-10
217.14 | -9.8679e-10
217.428 | -8.3925e-10
217.734 | -7.5139e-10
218.026 | -8.0945e-10
218.32 | -8.0218e-10
218.615 | -8.1178e-10
218.931 | -8.2422e-10
219.23 | -8.0899e-10
219.529 | -9.2855e-10
219.829 | -1.1199e-09
220.143 | -9.6065e-10
220.439 | -9.4947e-10
220.751 | -1.0195e-09
221.048 | -1.1151e-09
221.347 | -1.1507e-09
221.661 | -1.1434e-09
221.927 | -1.3844e-09
222.242 | -1.7819e-09
222.542 | -1.443e-09
222.859 | -1.6038e-09
223.109 | -1.4381e-09
223.444 | -1.2373e-09
223.76 | -1.5685e-09
224.01 | -1.4268e-09
224.327 | -1.4924e-09
224.627 | -1.4997e-09
224.929 | -1.6615e-09
225.248 | -2.0014e-09
225.515 | -3.166e-09
225.833 | -3.5876e-09
226.134 | -2.628e-09
226.451 | -3.6491e-09
226.751 | -5.6082e-09
227.07 | -5.2726e-09
227.321 | -6.2511e-09
227.623 | -7.0421e-09
227.94 | -6.0727e-09
228.238 | -5.8439e-09
228.553 | -3.7181e-09
228.867 | -4.262e-09
229.132 | -1.6517e-09
229.446 | -1.2419e-09
229.761 | -8.9693e-10
230.062 | -5.9984e-10
230.312 | -5.4804e-10
230.63 | -5.3264e-10
230.948 | -4.9547e-10
231.251 | -5.2411e-10
231.552 | -5.1681e-10
231.82 | -5.1652e-10
232.141 | -5.2982e-10
232.442 | -5.3827e-10
232.743 | -6.124e-10
233.008 | -6.7551e-10
233.324 | -8.548e-10
233.624 | -9.1783e-10
233.925 | -8.2096e-10
234.223 | -8.1017e-10
234.54 | -8.492e-10
234.839 | -8.1299e-10
235.157 | -7.2477e-10
235.454 | -6.6526e-10
235.771 | -6.4976e-10
236.021 | -6.4273e-10
236.339 | -6.4219e-10
236.638 | -5.8654e-10
236.956 | -5.6185e-10
237.206 | -5.7051e-10
237.555 | -5.6408e-10
237.822 | -5.6432e-10
238.137 | -5.7545e-10
238.439 | -5.6901e-10
238.739 | -5.6361e-10
239.005 | -5.9264e-10
239.306 | -5.9007e-10
239.622 | -6.0327e-10
239.94 | -6.0874e-10
240.207 | -6.0379e-10
240.522 | -6.1432e-10
240.839 | -6.087e-10
241.14 | -6.2783e-10
241.439 | -6.3442e-10
241.707 | -6.3474e-10
242.024 | -7.0206e-10
242.324 | -6.8392e-10
242.641 | -7.2938e-10
242.94 | -7.2428e-10
243.256 | -7.493e-10
243.506 | -7.9073e-10
243.807 | -8.9081e-10
244.105 | -9.5235e-10
244.453 | -1.0171e-09
244.75 | -1.1249e-09
245.048 | -1.3221e-09
245.36 | -1.5249e-09
245.626 | -1.7228e-09
245.926 | -1.6653e-09
246.227 | -1.6909e-09
246.544 | -1.8238e-09
246.861 | -1.8195e-09
247.111 | -2.6396e-09
247.412 | -2.7858e-09
247.731 | -2.8362e-09
248.03 | -3.2585e-09
248.331 | -4.1441e-09
248.646 | -4.7575e-09
248.948 | -5.3402e-09
249.266 | -5.2535e-09
249.517 | -5.0434e-09
249.834 | -4.7593e-09
250.134 | -4.5635e-09
250.452 | -4.4506e-09
250.77 | -4.3472e-09
251.019 | -3.8216e-09
251.337 | -3.2368e-09
251.637 | -3.8807e-09
251.937 | -3.3882e-09
252.207 | -3.7536e-09
252.571 | -3.9242e-09
252.821 | -4.1849e-09
253.139 | -4.1428e-09
253.406 | -4.6382e-09
253.723 | -4.8718e-09
254.022 | -4.6892e-09
254.339 | -5.1537e-09
254.655 | -6.3019e-09
254.923 | -6.8392e-09
255.222 | -8.2097e-09
255.539 | -7.1436e-09
255.857 | -6.993e-09
256.106 | -7.2434e-09
256.423 | -7.9517e-09
256.739 | -8.6772e-09
257.038 | -7.9581e-09
257.306 | -7.8569e-09
257.674 | -7.259e-09
257.939 | -7.4891e-09
258.24 | -8.4373e-09
258.54 | -7.5391e-09
258.856 | -8.0731e-09
259.124 | -8.1317e-09
259.424 | -1.1047e-08
259.756 | -8.383e-09
260.024 | -7.8817e-09
260.34 | -7.2431e-09
260.642 | -6.7453e-09
260.941 | -7.68e-09
261.256 | -7.1786e-09
261.553 | -6.0193e-09
261.818 | -7.9595e-09
262.13 | -7.067e-09
262.446 | -8.4754e-09
262.745 | -6.4399e-09
263.045 | -7.2305e-09
263.311 | -7.0192e-09
263.612 | -6.6928e-09
263.93 | -5.9618e-09
264.229 | -7.1606e-09
264.546 | -8.6606e-09
264.847 | -6.1319e-09
265.149 | -6.7391e-09
265.415 | -4.5439e-09
265.733 | -4.8528e-09
266.033 | -6.907e-09
266.351 | -1.0499e-08
266.65 | -8.4377e-09
266.918 | -7.0751e-09
267.236 | -6.9196e-09
267.535 | -7.3579e-09
267.838 | -8.016e-09
268.17 | -5.7219e-09
268.454 | -4.4395e-09
268.754 | -9.0071e-09
269.069 | -1.2621e-08
269.403 | -3.448e-09
269.636 | -4.745e-09
269.954 | -1.502e-09
270.272 | -3.7472e-09
270.521 | -5.8039e-09
270.836 | -3.5535e-09
271.137 | -5.4058e-09
271.438 | -4.1369e-09
271.738 | -3.2985e-09
272.006 | -2.9208e-09
272.305 | -2.014e-09
272.654 | -4.8715e-09
272.919 | -1.8181e-09
273.22 | -3.2786e-09
273.538 | -2.9692e-09
273.854 | -1.9055e-09
274.153 | -1.6702e-09
274.421 | -8.0142e-09
274.721 | -6.4765e-09
275.022 | -4.868e-09
275.339 | -2.9326e-08
275.605 | -2.8458e-08
275.921 | -2.9597e-08
276.222 | -2.9465e-08
276.539 | -2.9897e-08
276.808 | -2.9512e-08
277.123 | -3.0388e-08
277.422 | -3.1144e-08
277.739 | -3.1442e-08
278.039 | -3.1559e-08
278.34 | -3.2209e-08
278.606 | -3.2682e-08
278.907 | -3.2778e-08
279.221 | -3.3533e-08
279.536 | -3.3138e-08
279.833 | -3.4153e-08
280.148 | -3.6125e-08
280.413 | -3.5644e-08
280.713 | -3.4933e-08
281.062 | -3.448e-08
281.329 | -3.5365e-08
281.646 | -3.4565e-08
281.946 | -3.5965e-08
282.214 | -3.5293e-08
282.532 | -3.448e-08
282.832 | -3.3532e-08
283.149 | -3.2695e-08
283.448 | -3.2321e-08
283.716 | -3.223e-08
284.032 | -3.2013e-08
284.332 | -3.1791e-08
284.651 | -3.2115e-08
284.917 | -3.1796e-08
285.234 | -3.1645e-08
285.536 | -3.1209e-08
285.838 | -2.9242e-08
286.153 | -3.1171e-08
286.454 | -2.9274e-08
286.72 | -2.8872e-08
287.038 | -2.8725e-08
287.353 | -2.9177e-08
287.605 | -2.9118e-08
287.955 | -2.9141e-08
288.221 | -2.9302e-08
288.522 | -2.8728e-08
288.821 | -2.9572e-08
289.137 | -2.9709e-08
289.456 | -2.983e-08
289.723 | -2.9942e-08
290.022 | -3.0128e-08
290.34 | -3.0312e-08
290.605 | -3.0428e-08
290.921 | -3.0613e-08
291.221 | -3.0755e-08
291.538 | -3.0937e-08
291.839 | -3.1073e-08
292.12 | -3.126e-08
292.422 | -3.1418e-08
292.737 | -2.8869e-08
293.04 | -3.1786e-08
293.354 | -2.6763e-08
293.622 | -3.2166e-08
293.922 | -3.2286e-08
294.24 | -3.2401e-08
294.539 | -3.2614e-08
294.805 | -3.2753e-08
295.124 | -3.2965e-08
295.44 | -3.2639e-08
295.739 | -3.3339e-08
296.055 | -3.3569e-08
296.306 | -3.3715e-08
296.623 | -3.3783e-08
296.939 | -3.4157e-08
297.205 | -3.4173e-08
297.523 | -1.1252e-08
297.858 | -1.7961e-08
298.122 | -3.4709e-08
298.437 | -3.4936e-08
298.754 | -3.5177e-08
299.049 | -3.5318e-08
299.348 | -3.5377e-08
299.612 | -3.5516e-08
299.929 | -3.5732e-08
300.227 | -3.5979e-08
300.528 | -3.6124e-08
300.846 | -3.631e-08
301.146 | -3.6521e-08
301.415 | -3.669e-08
301.732 | -3.6912e-08
302.03 | -3.7093e-08
302.349 | -3.7349e-08
302.665 | -3.7543e-08
302.915 | -3.7715e-08
303.233 | -3.7946e-08
303.547 | -3.8137e-08
303.847 | -3.8406e-08
304.164 | -3.8709e-08
304.416 | -3.8817e-08
304.735 | -3.9054e-08
305.052 | -3.918e-08
305.352 | -3.9449e-08
305.62 | -3.9618e-08
305.919 | -3.9848e-08
306.236 | -4.0081e-08
306.553 | -4.0295e-08
306.871 | -4.0474e-08
307.136 | -4.0233e-08
307.436 | -3.9831e-08
307.737 | -4.1187e-08
308.053 | -4.1339e-08
308.353 | -4.1517e-08
308.621 | -4.176e-08
308.938 | -4.1988e-08
309.236 | -4.2256e-08
309.553 | -4.2584e-08
309.82 | -4.2766e-08
310.139 | -4.3119e-08
310.439 | -4.3275e-08
310.723 | -4.3463e-08
311.023 | -4.3741e-08
311.339 | -4.4294e-08
311.655 | -4.4323e-08
311.922 | -4.4605e-08
312.205 | -4.4824e-08
312.523 | -4.5183e-08
312.84 | -4.5776e-08
313.14 | -4.6161e-08
313.439 | -4.6282e-08
313.708 | -4.664e-08
314.023 | -4.7327e-08
314.322 | -4.8289e-08
314.639 | -4.8077e-08
314.938 | -4.855e-08
315.205 | -4.8802e-08
315.522 | -4.9107e-08
315.822 | -4.965e-08
316.122 | -5.0176e-08
316.44 | -5.0535e-08
316.755 | -5.1097e-08
317.006 | -5.1427e-08
317.323 | -5.3463e-08
317.623 | -5.5508e-08
317.94 | -5.7767e-08
318.206 | -5.9981e-08
318.519 | -6.1332e-08
318.838 | -6.1901e-08
319.139 | -6.4189e-08
319.405 | -6.478e-08
319.722 | -6.6297e-08
320.04 | -6.5721e-08