## Settings
Sample Info | NNGU RRAM, dot NW2d, run03
Comments | -0.05/-0.05/-0.05
Major Measurement Parameters
Starting Temperature | 290.039
Initial Temperature | 81
Final Temperature | 300
Preliminary Voltage | -0.05
Pulse Voltage | -0.05
Pulse Time | 1
Wait Time | 0
Measurement Voltage | -0.05
Subsidiary Measurement Parameters
Step | 0.3
Accuracy Step | 0.1
Accuracy Stable | 0.5
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 10
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 5
Measurecount | 1
Time
Date | 27.12.2023
Clock | 16:44:36

## Stabilization
Temperature | Current
288.72 | -6.011e-05
288.239 | -6.0042e-05
287.832 | -6.0071e-05
287.309 | -6.0096e-05
286.611 | -6.0086e-05
286.098 | -6.0095e-05
285.52 | -6.0086e-05
284.798 | -6.0033e-05
284.19 | -6.0108e-05
283.395 | -6.009e-05
282.842 | -6.0118e-05
282.294 | -6.0001e-05
281.643 | -6.0055e-05
280.996 | -6.0056e-05
280.433 | -6.0049e-05
279.834 | -6.0071e-05
279.205 | -5.9926e-05
278.636 | -6.0057e-05
277.978 | -6.0019e-05
277.349 | -5.9962e-05
276.758 | -5.9996e-05
276.201 | -5.9945e-05
275.631 | -5.9979e-05
274.979 | -5.996e-05
274.435 | -5.9952e-05
273.675 | -5.9962e-05
273.071 | -5.9994e-05
272.508 | -5.9989e-05
271.93 | -5.9889e-05
271.252 | -5.997e-05
270.651 | -5.9967e-05
269.985 | -5.9959e-05
269.372 | -5.9961e-05
268.833 | -5.9971e-05
268.196 | -5.999e-05
267.566 | -6.0031e-05
267.035 | -5.9965e-05
266.413 | -5.9958e-05
265.668 | -5.9956e-05
265.094 | -5.9834e-05
264.353 | -5.986e-05
263.813 | -5.9818e-05
263.274 | -5.9855e-05
262.619 | -5.9838e-05
262.006 | -5.9782e-05
261.487 | -5.9665e-05
260.919 | -5.9777e-05
260.346 | -5.9726e-05
259.835 | -5.968e-05
259.202 | -5.9754e-05
258.669 | -5.976e-05
258.156 | -5.974e-05
257.642 | -5.9695e-05
256.973 | -5.9625e-05
256.515 | -5.97e-05
256.007 | -5.9702e-05
255.349 | -5.9742e-05
254.889 | -5.9688e-05
254.38 | -5.9691e-05
253.75 | -5.9668e-05
253.226 | -5.9652e-05
252.634 | -5.9628e-05
252.11 | -5.9631e-05
251.666 | -5.9629e-05
251.112 | -5.9636e-05
250.633 | -5.9617e-05
250.178 | -5.9671e-05
249.819 | -5.9565e-05
249.238 | -5.9621e-05
248.857 | -5.9602e-05
248.341 | -5.9588e-05
247.842 | -5.9597e-05
247.424 | -5.9604e-05
246.898 | -5.9609e-05
246.463 | -5.9519e-05
245.988 | -5.9531e-05
245.58 | -5.9533e-05
245.21 | -5.9452e-05
244.704 | -5.9491e-05
244.191 | -5.9494e-05
243.832 | -5.9444e-05
243.272 | -5.9441e-05
242.96 | -5.9413e-05
242.659 | -5.9412e-05
242.359 | -5.9296e-05
242.092 | -5.9361e-05
241.781 | -5.9351e-05
241.531 | -5.9315e-05
241.355 | -5.9317e-05
241.22 | -5.9319e-05
241.091 | -5.9239e-05
240.974 | -5.9241e-05
240.852 | -5.9266e-05
240.705 | -5.9308e-05
240.546 | -5.9179e-05
240.315 | -5.9199e-05
240.175 | -5.9191e-05
239.929 | -5.9198e-05
239.573 | -5.9198e-05
239.325 | -5.9212e-05
239.094 | -5.9219e-05
238.947 | -5.9154e-05
238.821 | -5.9141e-05
238.709 | -5.9147e-05
238.604 | -5.9129e-05
238.502 | -5.9095e-05
238.411 | -5.9095e-05
238.322 | -5.9095e-05
238.218 | -5.9078e-05
237.979 | -5.9057e-05
237.884 | -5.9037e-05
237.778 | -5.9059e-05
237.682 | -5.911e-05
237.485 | -5.9058e-05
237.356 | -5.9082e-05
237.192 | -5.9075e-05
237.115 | -5.9041e-05
237.037 | -5.9116e-05
236.963 | -5.9023e-05
236.884 | -5.9025e-05
236.807 | -5.8972e-05
236.733 | -5.8953e-05
236.663 | -5.8861e-05
236.594 | -5.8859e-05
236.501 | -5.8888e-05
236.397 | -5.8854e-05
236.263 | -5.8995e-05
236.184 | -5.8921e-05
236.116 | -5.8854e-05
236.051 | -5.8848e-05
235.983 | -5.8858e-05
235.92 | -5.8844e-05
235.831 | -5.8936e-05
235.734 | -5.8913e-05
235.632 | -5.8871e-05
235.564 | -5.8892e-05
235.498 | -5.8939e-05
235.434 | -5.8931e-05
235.365 | -5.8898e-05
235.238 | -5.8898e-05
235.145 | -5.8863e-05
235.084 | -5.8868e-05
235.027 | -5.8831e-05
234.971 | -5.8797e-05
234.915 | -5.8844e-05
234.853 | -5.8789e-05
234.799 | -5.8822e-05
234.652 | -5.8809e-05
234.525 | -5.8811e-05
234.44 | -5.8808e-05
234.376 | -5.8788e-05
234.319 | -5.8822e-05
234.263 | -5.885e-05
234.206 | -5.8756e-05
234.041 | -5.8757e-05
233.905 | -5.8653e-05
233.807 | -5.8684e-05
233.732 | -5.8627e-05
233.669 | -5.8629e-05
233.607 | -5.8639e-05
233.537 | -5.867e-05
233.477 | -5.8742e-05
233.419 | -5.8678e-05
233.332 | -5.8644e-05
233.252 | -5.8652e-05
233.136 | -5.8668e-05
233.081 | -5.8617e-05
233.03 | -5.8703e-05
232.976 | -5.8584e-05
232.923 | -5.8623e-05
232.864 | -5.8684e-05
232.812 | -5.8584e-05
232.757 | -5.8605e-05
232.705 | -5.865e-05
232.65 | -5.8651e-05
232.535 | -5.8686e-05
232.473 | -5.862e-05
232.414 | -5.8656e-05
232.362 | -5.8649e-05
232.307 | -5.8674e-05
232.255 | -5.8634e-05
232.204 | -5.8578e-05
232.145 | -5.8603e-05
232.091 | -5.8532e-05
232.043 | -5.8571e-05
231.993 | -5.8545e-05
231.945 | -5.8556e-05
231.894 | -5.8524e-05
231.799 | -5.8521e-05
231.654 | -5.8509e-05
231.6 | -5.8534e-05
231.544 | -5.8498e-05
231.491 | -5.8451e-05
231.436 | -5.8443e-05
231.386 | -5.8585e-05
231.337 | -5.8639e-05
231.286 | -5.854e-05
231.236 | -5.8571e-05
231.189 | -5.8581e-05
231.139 | -5.8527e-05
231.091 | -5.8495e-05
231.04 | -5.8472e-05
230.983 | -5.8493e-05
230.926 | -5.8492e-05
230.871 | -5.8461e-05
230.823 | -5.8388e-05
230.772 | -5.8383e-05
230.724 | -5.8407e-05
230.675 | -5.8416e-05
230.622 | -5.8478e-05
230.575 | -5.8495e-05
230.529 | -5.846e-05
230.476 | -5.8476e-05
230.421 | -5.8453e-05
230.366 | -5.8439e-05
230.321 | -5.8513e-05
230.275 | -5.853e-05
230.223 | -5.8459e-05
230.173 | -5.846e-05
230.127 | -4.0304e-05
230.078 | -3.9995e-05
230.03 | -3.9785e-05
229.979 | -3.9909e-05
229.93 | -3.9895e-05
229.871 | -4.0047e-05
229.806 | -3.9986e-05
229.721 | -3.9897e-05
229.672 | -3.9893e-05
229.625 | -3.9827e-05
229.579 | -3.962e-05
229.535 | -3.9528e-05
229.489 | -3.9646e-05
229.432 | -3.9786e-05
229.382 | -3.9834e-05
229.334 | -3.9723e-05
229.281 | -3.9903e-05
229.217 | -3.9593e-05
228.747 | -3.962e-05
228.332 | -3.9745e-05
227.663 | -3.9716e-05
227.295 | -3.9679e-05
226.99 | -3.9615e-05
226.659 | -3.9573e-05
226.41 | -3.9733e-05
226.208 | -3.9525e-05
226.03 | -3.9632e-05
225.86 | -3.9894e-05
225.543 | -3.9645e-05
224.881 | -3.9638e-05
224.473 | -3.9738e-05
224.115 | -3.9731e-05
223.812 | -3.9729e-05
223.507 | -3.9855e-05
223.285 | -3.9801e-05
223.104 | -3.9771e-05
222.944 | -3.9865e-05
222.64 | -3.9774e-05
222.272 | -3.9704e-05
222.105 | -3.9869e-05
221.966 | -3.9973e-05
221.838 | -3.9721e-05
221.731 | -3.9539e-05
221.638 | -3.9613e-05
221.549 | -3.9913e-05
221.463 | -3.9571e-05
221.383 | -3.9387e-05
221.318 | -3.9509e-05
221.225 | -3.9464e-05
220.757 | -3.9624e-05
220.512 | -3.9572e-05
220.081 | -3.9469e-05
219.768 | -3.9562e-05
219.553 | -3.9455e-05
219.337 | -3.9453e-05
219.218 | -3.9525e-05
219.111 | -3.9636e-05
219.013 | -3.9479e-05
218.935 | -3.9539e-05
218.859 | -3.9591e-05
218.791 | -3.9447e-05
218.727 | -3.9478e-05
218.67 | -3.9434e-05
218.611 | -3.9546e-05
218.551 | -3.9534e-05
218.488 | -3.9395e-05
218.434 | -3.9486e-05
218.361 | -3.9464e-05
218.296 | -3.945e-05
218.243 | -3.9444e-05
218.183 | -3.9333e-05
218.133 | -3.9297e-05
218.078 | -3.9226e-05
218.017 | -3.9237e-05
217.956 | -3.9362e-05
217.902 | -3.9253e-05
217.847 | -3.9395e-05
217.795 | -3.9416e-05
217.728 | -3.919e-05
217.58 | -3.9221e-05
217.518 | -3.9214e-05
217.458 | -3.9213e-05
217.403 | -3.9232e-05
217.346 | -3.9172e-05
217.292 | -3.9201e-05
217.235 | -3.9223e-05
217.18 | -3.9176e-05
217.104 | -3.9104e-05
217.022 | -3.9242e-05
216.965 | -3.9271e-05
216.907 | -3.9231e-05
216.853 | -3.9483e-05
216.795 | -3.9186e-05
216.741 | -3.92e-05
216.684 | -3.92e-05
216.623 | -3.926e-05
216.553 | -3.9204e-05
216.388 | -3.9371e-05
216.313 | -3.9234e-05
216.224 | -3.9338e-05
216.162 | -3.9291e-05
216.107 | -3.9301e-05
216.034 | -3.9321e-05
215.969 | -3.9214e-05
215.902 | -3.921e-05
215.838 | -3.9258e-05
215.777 | -3.9141e-05
215.717 | -3.9269e-05
215.661 | -3.9332e-05
215.597 | -3.9303e-05
215.539 | -3.9266e-05
215.48 | -3.9457e-05
215.416 | -3.9291e-05
215.36 | -3.936e-05
215.296 | -3.937e-05
215.238 | -3.9388e-05
215.175 | -3.9369e-05
215.112 | -3.9284e-05
215.052 | -3.926e-05
214.998 | -3.9467e-05
214.935 | -3.9353e-05
214.872 | -3.9314e-05
214.816 | -3.9407e-05
214.754 | -3.9301e-05
214.617 | -3.9404e-05
214.49 | -3.9474e-05
214.429 | -3.9302e-05
214.354 | -3.9485e-05
214.278 | -3.9326e-05
214.216 | -3.9391e-05
214.142 | -3.9332e-05
214.074 | -3.9305e-05
214.015 | -3.9359e-05
213.951 | -3.9315e-05
213.883 | -3.9305e-05
213.823 | -3.9344e-05
213.762 | -3.9311e-05
213.686 | -3.9307e-05
213.623 | -3.9203e-05
213.559 | -3.9214e-05
213.474 | -3.9281e-05
213.235 | -3.9307e-05
213.159 | -3.9348e-05
213.094 | -3.9229e-05
213.026 | -3.9232e-05
212.963 | -3.9313e-05
212.898 | -3.9283e-05
212.833 | -3.9185e-05
212.765 | -3.9175e-05
212.689 | -3.9152e-05
212.619 | -3.9181e-05
212.556 | -3.9202e-05
212.487 | -3.9117e-05
212.425 | -3.9118e-05
212.356 | -3.9225e-05
212.283 | -3.9093e-05
212.219 | -3.9152e-05
212.153 | -3.9165e-05
212.083 | -3.8956e-05
212.02 | -3.9265e-05
211.954 | -3.9007e-05
211.892 | -3.8975e-05
211.826 | -3.9066e-05
211.717 | -3.8934e-05
211.578 | -3.9069e-05
211.511 | -3.9014e-05
211.443 | -3.904e-05
211.379 | -3.9002e-05
211.316 | -3.9141e-05
211.245 | -3.9126e-05
211.182 | -3.9129e-05
211.114 | -3.921e-05
211.05 | -3.8998e-05
210.984 | -3.9012e-05
210.913 | -3.9066e-05
210.844 | -3.9076e-05
210.783 | -3.9137e-05
210.712 | -3.9004e-05
210.649 | -3.9037e-05
210.581 | -3.904e-05
210.516 | -3.8938e-05
210.452 | -3.8943e-05
210.388 | -3.8922e-05
210.322 | -3.8921e-05
210.262 | -3.9041e-05
210.196 | -3.8979e-05
210.132 | -3.8945e-05
210.064 | -3.894e-05
210.005 | -3.8876e-05
209.939 | -3.8874e-05
209.879 | -3.8889e-05
209.817 | -3.8906e-05
209.758 | -3.8927e-05
209.697 | -3.8993e-05
209.638 | -3.8838e-05
209.582 | -3.8875e-05
209.513 | -3.8908e-05
209.442 | -3.893e-05
209.374 | -3.8919e-05
209.301 | -3.8946e-05
209.237 | -3.8928e-05
209.178 | -3.8895e-05
209.119 | -3.8901e-05
209.059 | -3.8839e-05
209.002 | -3.892e-05
208.94 | -3.8918e-05
208.878 | -3.8913e-05
208.818 | -3.8899e-05
208.761 | -3.9018e-05
208.701 | -3.9002e-05
208.64 | -3.8945e-05
208.585 | -3.8911e-05
208.526 | -3.8998e-05
208.471 | -3.8948e-05
208.414 | -3.8945e-05
208.334 | -3.9e-05
208.275 | -3.8889e-05
208.218 | -3.8984e-05
208.165 | -3.8887e-05
208.11 | -3.8888e-05
208.056 | -3.902e-05
208.003 | -3.894e-05
207.95 | -3.8874e-05
207.901 | -3.8931e-05
207.847 | -3.8903e-05
207.79 | -3.8855e-05
207.705 | -3.8872e-05
207.616 | -3.9049e-05
207.518 | -3.893e-05
207.443 | -3.9098e-05
207.378 | -3.9141e-05
207.324 | -3.899e-05
207.27 | -3.8831e-05
207.217 | -3.873e-05
207.161 | -3.8719e-05
207.1 | -3.8727e-05
207.045 | -3.878e-05
206.991 | -3.8689e-05
206.943 | -3.8693e-05
206.891 | -3.867e-05
206.84 | -3.8664e-05
206.788 | -3.8656e-05
206.741 | -3.8732e-05
206.689 | -3.8679e-05
206.636 | -3.8679e-05
206.57 | -3.8626e-05
206.498 | -3.8749e-05
206.443 | -3.8722e-05
206.39 | -3.8723e-05
206.34 | -3.8723e-05
206.291 | -3.871e-05
206.239 | -3.876e-05
206.188 | -3.8753e-05
206.142 | -3.8716e-05
206.092 | -3.8854e-05
206.045 | -3.8636e-05
205.998 | -3.8667e-05
205.95 | -3.8625e-05
205.905 | -3.8637e-05
205.861 | -3.8731e-05
205.807 | -3.8619e-05
205.718 | -3.8637e-05
205.666 | -3.86e-05
205.619 | -3.8729e-05
205.568 | -3.8655e-05
205.522 | -3.8687e-05
205.475 | -3.8666e-05
205.431 | -3.8717e-05
205.372 | -3.8751e-05
205.32 | -3.8631e-05
205.272 | -3.8701e-05
205.228 | -3.8697e-05
205.18 | -3.8676e-05
205.131 | -3.8665e-05
205.084 | -3.8682e-05
205.04 | -3.86e-05
204.993 | -3.861e-05
204.941 | -3.8614e-05
204.895 | -3.8596e-05
204.846 | -3.8599e-05
204.778 | -3.8608e-05
204.732 | -3.8584e-05
204.687 | -3.8592e-05
204.648 | -3.8634e-05
204.601 | -3.8575e-05
204.552 | -3.8678e-05
204.486 | -3.8645e-05
204.433 | -3.8689e-05
204.387 | -3.8638e-05
204.34 | -3.8638e-05
204.291 | -3.8612e-05
204.246 | -3.8609e-05
204.197 | -3.868e-05
204.148 | -3.8644e-05
204.099 | -3.8667e-05
204.047 | -3.8612e-05
204 | -3.8689e-05
203.953 | -3.8667e-05
203.904 | -3.8679e-05
203.858 | -3.877e-05
203.814 | -3.8681e-05
203.768 | -3.8728e-05
203.723 | -3.8759e-05
203.674 | -3.8808e-05
203.63 | -3.8772e-05
203.588 | -3.8635e-05
203.543 | -3.8643e-05
203.499 | -3.8625e-05
203.458 | -3.8634e-05
203.414 | -3.8631e-05
203.367 | -3.8625e-05
203.324 | -3.863e-05
203.248 | -0.00025363
203.205 | -0.0002532
203.162 | -0.00025316
203.122 | -0.00025314
203.078 | -0.00025316
203.033 | -0.00025305
202.99 | -0.00025326
202.948 | -0.0002532
202.91 | -0.00025316
202.867 | -0.00025318
202.824 | -0.0002531
202.784 | -0.00025303
202.742 | -0.00025299
202.699 | -0.00025297
202.662 | -0.00025291
202.622 | -0.00025293
202.582 | -0.00025298
202.545 | -0.0002529
202.505 | -0.00025281
202.465 | -0.00025279
202.422 | -0.00025287
202.38 | -0.00025331
202.343 | -0.0002529
202.306 | -0.00025294
202.264 | -0.00025289
202.226 | -0.00025282
202.19 | -0.00025294
202.152 | -0.00025286
202.116 | -0.00025286
202.075 | -0.00025276
202.038 | -0.00025276
201.995 | -0.00025288
201.953 | -0.00025267
201.903 | -0.00025259
201.86 | -0.00025271
201.821 | -0.00025257
201.777 | -0.00025262
201.737 | -0.00025255
201.692 | -0.0002525
201.646 | -0.00025245
201.608 | -0.00025252
201.561 | -0.00025234
201.522 | -0.00025233
201.483 | -0.00025238
201.444 | -0.00025229
201.403 | -0.00025228
201.366 | -0.00025221
201.33 | -0.00025223
201.295 | -0.00025209
201.262 | -0.00025206
201.232 | -0.00025207
201.2 | -0.00025201
201.167 | -0.00025197
201.137 | -0.0002519
201.104 | -0.00025181
201.07 | -0.00025173
201.039 | -0.00025179
201.006 | -0.00025174
200.977 | -0.00025169
200.948 | -0.00025162
200.918 | -0.00025168
200.886 | -0.00025161
200.861 | -0.00025155
200.832 | -0.00025165
200.802 | -0.00025155
200.772 | -0.0002514
200.743 | -0.00025151
200.717 | -0.00025135
200.632 | -0.00025144
200.55 | -0.00025138
200.392 | -0.0002514
200.328 | -0.00025142
200.276 | -0.0002513
200.223 | -0.00025124
200.175 | -0.00025127
200.129 | -0.00025122
200.086 | -0.00025113
200.04 | -0.00025113
199.999 | -0.00025119
199.955 | -0.00025116
199.912 | -0.00025105
199.872 | -0.00025104
199.829 | -0.00025105
199.787 | -0.00025104
199.749 | -0.00025119
199.708 | -0.00025099
199.667 | -0.00025099
199.629 | -0.00025097
199.588 | -0.00025095
199.53 | -0.00025093
199.326 | -0.00025083
199.273 | -0.00025097
199.225 | -0.00025079
199.185 | -0.00025066
199.147 | -0.00025066
199.109 | -0.0002507
199.074 | -0.0002507
199.039 | -0.00025068
199.004 | -0.00025052
198.972 | -0.00025057
198.938 | -0.00025039
198.909 | -0.00025057
198.874 | -0.00025057
198.813 | -0.00025047
198.738 | -0.00025041
198.702 | -0.00025047
198.67 | -0.0002505
198.633 | -0.00025036
198.555 | -0.0002503
198.475 | -0.0002503
198.354 | -0.00025024
198.119 | -0.00025031
197.772 | -0.00025018
197.594 | -0.00025014
197.125 | -0.00025014
196.969 | -0.00025
196.83 | -0.00024997
196.702 | -0.00024987
196.596 | -0.00024987
196.493 | -0.0002496
196.396 | -0.00024954
196.307 | -0.00024972
196.217 | -0.00024953
196.126 | -0.00024936
196.038 | -0.00024944
195.945 | -0.00024947
195.85 | -0.00024966
195.751 | -0.00024974
195.657 | -0.00024973
195.55 | -0.00024955
195.443 | -0.00024957
195.336 | -0.00024939
195.226 | -0.0002496
195.097 | -0.00024953
194.979 | -0.00024945
194.863 | -0.00024906
194.702 | -0.00024764
194.558 | -0.0002461
194.423 | -0.00024609
194.199 | -0.0002478
194.031 | -0.00024848
193.891 | -0.00024858
193.734 | -0.00024856
193.54 | -0.00024889
193.377 | -0.00024891
193.204 | -0.00024894
193.01 | -0.00024901
192.817 | -0.00024887
192.609 | -0.00024864
192.397 | -0.00024874
192.194 | -0.00024857
191.962 | -0.00024841
191.699 | -0.00024831
191.452 | -0.00024844
191.199 | -0.00024829
190.959 | -0.00024855
190.676 | -0.00024852
190.363 | -0.00024871
190.097 | -0.0002486
189.807 | -0.00024856
189.446 | -0.00024861
189.026 | -0.00024866
188.646 | -0.00024859
188.328 | -0.0002485
188.018 | -0.00024848
187.662 | -0.00024836
187.267 | -0.00024828
186.833 | -0.0002483
186.369 | -0.00024822
185.967 | -0.00024824
185.585 | -0.00024817
185.198 | -0.00024821
184.68 | -0.00024816
184.162 | -0.00024805
183.746 | -0.00024798
183.267 | -0.00024789
182.612 | -0.00024779
181.922 | -0.00024762
181.355 | -0.00024762
180.83 | -0.00024733
179.935 | -0.00024718
179.026 | -0.00024707
178.202 | -0.00024692
177.212 | -0.0002467
176.123 | -0.0002466
175.154 | -0.00024637
174.042 | -0.00024605
172.842 | -0.0002458
171.478 | -0.00024558
169.988 | -0.00024525
168.498 | -0.00024485
166.944 | -0.00024459
165.54 | -0.00024425
164.46 | -0.00024383
163.506 | -0.00024348
162.509 | -0.00024317
161.426 | -0.00024274
160.251 | -0.00024227
159.172 | -0.00024191
158.048 | -0.0002414
157.153 | -0.00024098
156.262 | -0.0002404
155.543 | -0.00023995
154.795 | -0.00023943
154.036 | -0.00023893
153.391 | -0.00023834
152.795 | -0.00023783
151.96 | -0.00023723
151.013 | -0.00023665
150.034 | -0.00023613
149.155 | -0.00023557
148.413 | -0.00023501
147.551 | -0.0002344
146.337 | -0.00023373
145.063 | -0.00023314
143.648 | -0.00023253
142.36 | -0.00023177
141.179 | -0.00023114
140.273 | -0.00023048
139.356 | -0.00022973
138.155 | -0.00022897
136.928 | -0.00022833
135.698 | -0.00022768
134.612 | -0.00022705
133.797 | -0.00022629
132.989 | -0.00022554
132.154 | -0.00022483
131.47 | -0.00022412
130.904 | -0.00022317
130.285 | -0.00022244
129.283 | -0.00022168
127.998 | -0.0002208
126.768 | -0.00021993
125.632 | -0.00021906
124.761 | -0.0002182
124.084 | -0.00021715
123.421 | -0.00021629
122.843 | -0.00021537
122.365 | -0.00021441
121.942 | -0.00021333
121.11 | -0.00021233
119.969 | -0.00021128
118.866 | -0.00021028
117.839 | -0.00020915
117.059 | -0.00020821
116.384 | -0.00020702
115.559 | -0.00020594
114.826 | -0.00020472
114.306 | -0.00020366
113.836 | -0.00020249
113.11 | -0.00020133
112.224 | -0.00020007
111.46 | -0.00019885
110.842 | -0.00019766
110.349 | -0.00019648
109.472 | -0.00019521
108.358 | -0.00019407
107.242 | -0.00019287
106.446 | -0.00019157
105.805 | -0.00019037
104.986 | -0.00018908
104.078 | -0.00018772
103.401 | -0.00018636
102.897 | -0.00018511
102.28 | -0.00018386
101.041 | -0.00018252
99.5076 | -0.00018121
98.1956 | -0.00017983
97.2369 | -0.00017847
96.6846 | -0.00017713
96.3923 | -0.00017567
96.2315 | -0.00017426
96.1394 | -0.00017286
96.0404 | -0.00017146
95.5646 | -0.00017007
94.8073 | -0.00016862
94.2817 | -0.0001673
93.9023 | -0.00016593
93.7076 | -0.00016458
93.2133 | -0.00016329
92.5012 | -0.00016189
92.037 | -0.00016059
91.773 | -0.00015929
91.6302 | -0.00015803
90.5126 | -0.00015678
88.7234 | -0.00015551
87.1563 | -0.00015431
87.1535 | -0.00015304
87.1771 | -0.00015184
87.1477 | -0.0001506
85.0316 | -0.00014937
84.3332 | -0.00014818
84.5699 | -0.00014693
84.7224 | -0.00014576
84.0695 | -0.00014458
82.4731 | -0.00014334
81.9702 | -0.00014213
81.6313 | -0.00014095

## Measurements
Temperature | Current
0 | 0