## Settings
Sample Info | sur24, 3e13, run01
Comments | 2/-0.3/2
Additional Comments | No additional comments
Major Measurement Parameters
Starting Temperature | 297.367
Initial Temperature | 80.5
Final Temperature | 320
Preliminary Voltage | 2
Pulse Voltage | -0.3
Pulse Time | 30
Wait Time | 0
Measurement Voltage | 2
Subsidiary Measurement Parameters
Step | 0.3
Accuracy Step | 0.1
Accuracy Stable | 0.5
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 10
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 5
Measurecount | 1
Time
Date | 29.3.2024
Clock | 18:25:25

## Stabilization
Temperature | Current | Temp Rate
296.87 | 6.68e-06 | 0
296.491 | 6.5613e-06 | -14.6675
295.965 | 6.401e-06 | -17.478
295.368 | 6.2309e-06 | -19.381
295.215 | 6.1164e-06 | -16.0112
294.952 | 6.0419e-06 | -14.8179
294.52 | 5.9243e-06 | -15.131
293.83 | 5.7781e-06 | -16.8098
293.338 | 5.6145e-06 | -17.0803
292.864 | 5.4849e-06 | -17.2411
292.342 | 5.3261e-06 | -19.4993
291.715 | 5.15e-06 | -24.9875
291.107 | 4.9956e-06 | -37.3429
290.742 | 4.8834e-06 | -79.0129
290.22 | 4.7716e-06 | -128.3041
289.644 | 4.669e-06 | -17.7313
289.191 | 4.5518e-06 | -17.7222
288.687 | 4.4276e-06 | -17.8181
288.136 | 4.2899e-06 | -333.3874
287.484 | 4.177e-06 | -18.3685
286.895 | 4.0668e-06 | -18.583
286.346 | 3.9349e-06 | -18.7106
285.741 | 3.812e-06 | -18.9202
284.998 | 3.7e-06 | -19.3353
284.43 | 3.5935e-06 | -19.4425
283.911 | 3.4772e-06 | -19.4704
283.127 | 3.3603e-06 | -19.874
282.419 | 3.26e-06 | -20.1478
281.745 | 3.1485e-06 | -20.3616
281.098 | 3.0299e-06 | -20.5233
280.261 | 2.9285e-06 | -20.8972
279.6 | 2.8366e-06 | -21.0459
278.941 | 2.7345e-06 | -21.1788
278.189 | 2.6352e-06 | -21.4021
277.439 | 2.5509e-06 | -21.6188
276.756 | 2.4719e-06 | -21.7565
276.116 | 2.383e-06 | -21.8401
275.277 | 2.2954e-06 | -22.1253
274.483 | 2.221e-06 | -22.3511
273.764 | 2.1406e-06 | -22.4889
273.134 | 2.9756e-06 | -22.5337
272.288 | 3.7678e-06 | -22.7726
271.608 | 3.7125e-06 | -22.859
270.918 | 3.6468e-06 | -22.9463
270.181 | 3.5858e-06 | -23.0674
269.399 | 3.5286e-06 | -23.2174
268.753 | 3.4741e-06 | -23.2645
268.055 | 3.4178e-06 | -23.3408
267.218 | 3.3622e-06 | -23.5264
266.453 | 3.9675e-06 | -23.6424
265.737 | 1.8362e-06 | -23.7199
264.963 | 3.5589e-06 | -23.8337
264.424 | 2.8183e-06 | -23.7676
263.677 | 1.4478e-06 | -23.8625
262.992 | 1.3079e-06 | -23.9089
262.362 | 1.2581e-06 | -23.9186
261.603 | 1.2103e-06 | -24.0152
260.775 | 1.1683e-06 | -24.1444
260.071 | 1.1262e-06 | -24.1911
259.436 | 1.0822e-06 | -24.1969
258.383 | 9.6698e-07 | -24.3114
257.646 | 8.9456e-07 | -24.3777
256.829 | 9.3218e-07 | -24.4844
256.145 | 9.3405e-07 | -24.5105
255.44 | 9e-07 | -24.5527
254.62 | 8.6968e-07 | -24.6586
253.882 | 8.425e-07 | -24.7113
253.291 | 8.1342e-07 | -24.6818
252.504 | 7.843e-07 | -24.7595
251.669 | 7.5836e-07 | -24.8574
251.001 | 7.3377e-07 | -24.8629
250.217 | 7.0527e-07 | -24.9356
249.433 | 6.8296e-07 | -25.0046
248.757 | 6.609e-07 | -25.0185
247.978 | 6.3579e-07 | -25.0819
247.149 | 6.1208e-07 | -25.1725
246.45 | 5.915e-07 | -25.1941
245.757 | 5.7137e-07 | -25.2108
244.98 | 5.5022e-07 | -25.2658
244.162 | 5.3232e-07 | -25.3405
243.496 | 5.15e-07 | -25.3427
242.793 | 4.9844e-07 | -25.3585
241.879 | 4.8148e-07 | -25.4674
241.239 | 4.6611e-07 | -25.4564
240.576 | 4.5094e-07 | -25.4552
239.713 | 4.3473e-07 | -25.5452
239.013 | 4.218e-07 | -25.5603
238.295 | 4.0538e-07 | -25.5677
237.462 | 3.9162e-07 | -25.6422
236.712 | 3.7913e-07 | -25.67
236.055 | 3.6532e-07 | -25.6641
235.24 | 3.5265e-07 | -25.725
234.47 | 3.4156e-07 | -25.7641
233.8 | 3.3005e-07 | -25.7588
233.019 | 3.1779e-07 | -25.8047
232.185 | 3.0726e-07 | -25.8654
231.529 | 2.9643e-07 | -25.86
230.685 | 2.8569e-07 | -25.926
229.945 | 2.767e-07 | -25.9481
229.292 | 2.6753e-07 | -25.9368
228.518 | 2.5747e-07 | -25.9714
227.673 | 2.4938e-07 | -26.0345
227.088 | 2.4107e-07 | -25.997
226.479 | 2.3336e-07 | -25.97
225.599 | 2.2579e-07 | -26.044
224.908 | 2.1881e-07 | -26.0422
224.268 | 2.109e-07 | -26.0279
223.528 | 2.041e-07 | -26.0495
222.781 | 1.9834e-07 | -26.071
222.181 | 1.9135e-07 | -26.0369
221.378 | 1.8486e-07 | -26.0749
220.591 | 1.7936e-07 | -26.1115
220.039 | 1.7346e-07 | -26.0647
219.356 | 1.6776e-07 | -26.0632
218.556 | 1.6271e-07 | -26.1009
217.958 | 1.5783e-07 | -26.0749
217.332 | 1.5249e-07 | -26.0539
216.548 | 1.4789e-07 | -26.0874
215.978 | 1.4393e-07 | -26.0517
215.471 | 1.396e-07 | -25.9969
214.784 | 1.359e-07 | -26.0001
214.258 | 1.3281e-07 | -25.9523
213.719 | 1.2875e-07 | -25.9093
213.197 | 1.2597e-07 | -25.8631
212.701 | 1.2356e-07 | -25.8026
212.282 | 1.2025e-07 | -25.723
211.607 | 1.1767e-07 | -25.7244
211.286 | 1.1538e-07 | -25.6175
210.778 | 1.1253e-07 | -25.5698
210.19 | 1.1048e-07 | -25.5464
209.919 | 1.0806e-07 | -25.4252
209.391 | 1.0586e-07 | -25.3855
208.998 | 1.0449e-07 | -25.3092
208.72 | 1.0229e-07 | -25.2007
208.196 | 1.0097e-07 | -25.1623
207.808 | 9.8811e-08 | -25.0131
207.491 | 9.6766e-08 | -24.9177
207.004 | 9.5679e-08 | -24.8686
206.874 | 9.4113e-08 | -24.7266
206.352 | 9.267e-08 | -24.6934
206.191 | 9.1646e-08 | -24.5604
205.702 | 8.983e-08 | -24.5176
205.326 | 8.8905e-08 | -24.4454
204.976 | 8.6869e-08 | -24.3633
204.544 | 8.6042e-08 | -24.3098
204.403 | 8.4576e-08 | -24.1773
203.897 | 8.3593e-08 | -24.1392
203.898 | 8.2761e-08 | -23.9761
203.448 | 8.1827e-08 | -23.9305
203.464 | 8.1336e-08 | -23.7658
203.055 | 8.0296e-08 | -23.7114
203.001 | 7.9935e-08 | -23.5705
202.629 | 7.8736e-08 | -23.5113
202.459 | 7.8416e-08 | -23.3976
202.113 | 7.7046e-08 | -23.3324
201.926 | 7.6716e-08 | -23.2304
201.636 | 7.544e-08 | -23.1528
201.504 | 7.5333e-08 | -23.0381
201.378 | 7.449e-08 | -22.9229
201.269 | 7.4607e-08 | -22.804
201.198 | 7.3873e-08 | -22.6796
201.04 | 7.3961e-08 | -22.5767
201 | 7.3236e-08 | -22.4482
200.884 | 7.3368e-08 | -22.3387
200.888 | 7.2832e-08 | -22.2046
200.801 | 7.3028e-08 | -22.0888
200.809 | 7.2611e-08 | -21.9527
201 | 7.3017e-08 | -21.7785
201.175 | 7.3535e-08 | -21.6095
201.286 | 7.3877e-08 | -21.4548
201.474 | 7.4417e-08 | -21.2867
201.596 | 7.4778e-08 | -21.1354
201.629 | 7.5277e-08 | -21.0051
201.664 | 7.5061e-08 | -20.8756
201.614 | 7.5389e-08 | -20.769
201.712 | 7.515e-08 | -20.6282
201.505 | 7.5255e-08 | -20.5567
201.586 | 7.482e-08 | -20.4237
201.44 | 7.4931e-08 | -20.3392
201.54 | 7.4599e-08 | -20.2034
201.726 | 7.5052e-08 | -20.0502
201.572 | 7.5256e-08 | -19.9723
201.684 | 7.4953e-08 | -19.8365
201.626 | 7.515e-08 | -19.74
201.79 | 7.5137e-08 | -19.5957
201.978 | 7.56e-08 | -19.4502
202.16 | 7.5981e-08 | -19.3075
202.336 | 7.6633e-08 | -19.1695
202.497 | 7.7147e-08 | -19.0366
202.669 | 7.7755e-08 | -18.8999
202.831 | 7.8294e-08 | -18.7686
203.006 | 7.8868e-08 | -18.6361
202.857 | 7.9131e-08 | -18.5692
202.727 | 7.8231e-08 | -18.4986
202.776 | 7.8159e-08 | -18.3954
202.638 | 7.7497e-08 | -18.3289
202.78 | 7.7445e-08 | -18.209
202.77 | 7.7588e-08 | -18.1183
202.723 | 7.738e-08 | -18.0358
202.816 | 7.7617e-08 | -17.9279
202.873 | 7.7679e-08 | -17.8277
202.845 | 7.6709e-08 | -17.7452
202.774 | 7.6267e-08 | -17.6712
202.857 | 7.721e-08 | -17.5663
202.825 | 7.7209e-08 | -17.4851
202.971 | 7.7669e-08 | -17.3729
203.106 | 7.8126e-08 | -17.2638
203.222 | 7.8462e-08 | -17.1584
203.348 | 7.8819e-08 | -17.0524
203.249 | 7.9012e-08 | -16.989
203.309 | 7.8776e-08 | -16.8961
203.432 | 7.9229e-08 | -16.7925
203.39 | 7.936e-08 | -16.7209
203.511 | 7.954e-08 | -16.6204
203.29 | 7.9436e-08 | -16.5816
203.388 | 7.9236e-08 | -16.4869
203.438 | 7.9582e-08 | -16.4017
203.278 | 7.9221e-08 | -16.3532
203.366 | 7.9266e-08 | -16.2623
203.334 | 7.926e-08 | -16.193
203.409 | 7.9461e-08 | -16.1028
203.334 | 7.9366e-08 | -16.041
203.433 | 7.8719e-08 | -15.9522
203.483 | 7.3468e-08 | -15.8715
203.563 | 7.9942e-08 | -15.7851
203.56 | 7.8669e-08 | -15.7143
203.615 | 7.7374e-08 | -15.6349
203.69 | 8.0526e-08 | -15.5531
203.72 | 8.0799e-08 | -15.4794
203.751 | 7.5412e-08 | -15.4056
203.827 | 8.1105e-08 | -15.3241
203.888 | 6.9625e-08 | -15.247
203.947 | 7.8573e-08 | -15.1705
203.971 | 8.133e-08 | -15.099
204.021 | 8.1802e-08 | -15.0269
204.024 | 8.0339e-08 | -14.9615
204.074 | 8.142e-08 | -14.8893
204.127 | 8.2138e-08 | -14.8169
204.163 | 8.1728e-08 | -14.7477
204.156 | 8.0959e-08 | -14.6874
204.206 | 7.9705e-08 | -14.6182
204.25 | 8.1724e-08 | -14.5496
204.288 | 8.144e-08 | -14.4819
204.31 | 8.2474e-08 | -14.4183
204.341 | 8.1277e-08 | -14.3542
204.338 | 8.2858e-08 | -14.2947
204.054 | 8.2364e-08 | -14.2796
204.035 | 8.1847e-08 | -14.224
204.052 | 8.1823e-08 | -14.163
204.062 | 8.1894e-08 | -14.1038
204.042 | 8.1861e-08 | -14.0496
203.981 | 8.1719e-08 | -14.0022
203.993 | 8.1344e-08 | -13.9446
203.85 | 8.1625e-08 | -13.9108
203.542 | 8.0673e-08 | -13.9009
203.337 | 7.9828e-08 | -13.8755
203.269 | 7.9437e-08 | -13.8299
203.221 | 7.9254e-08 | -13.7827
203.181 | 7.911e-08 | -13.7353
203.138 | 7.8955e-08 | -13.6882
203.005 | 7.8666e-08 | -13.6542
202.87 | 7.8183e-08 | -13.6211
202.803 | 7.7846e-08 | -13.5786
202.76 | 7.7632e-08 | -13.5331
202.705 | 7.7406e-08 | -13.4887
202.642 | 7.7137e-08 | -13.4457
202.595 | 7.6913e-08 | -13.4022
202.536 | 6.9437e-08 | -13.3597
202.45 | 7.6471e-08 | -13.3198
202.367 | 2.8109e-08 | -13.2814
202.285 | 4.9764e-08 | -13.2429
202.219 | 7.3942e-08 | -13.2033
202.152 | 7.3836e-08 | -13.164
202.082 | 7.5223e-08 | -13.1247
202.005 | 7.4995e-08 | -13.0863
201.922 | 7.474e-08 | -13.048
201.853 | 7.4498e-08 | -13.0092
201.777 | 7.4312e-08 | -12.9708
201.695 | 7.3991e-08 | -12.9345
201.621 | 6.8053e-08 | -12.8974
201.535 | 2.9984e-08 | -12.8627
201.448 | 4.6973e-08 | -12.8282
201.361 | 4.1541e-08 | -12.793
201.272 | 6.7649e-08 | -12.7598
201.181 | 7.2655e-08 | -12.7268
201.09 | 7.243e-08 | -12.6937
200.988 | 6.8366e-08 | -12.6624
200.876 | 7.0122e-08 | -12.633
200.765 | 6.8735e-08 | -12.6038
200.646 | 4.2537e-08 | -12.5754
200.5 | 5.3214e-08 | -12.5513
200.381 | 6.589e-08 | -12.5236
200.252 | 7.012e-08 | -12.4968
200.098 | 6.9775e-08 | -12.4734
199.948 | 6.94e-08 | -12.4495
199.816 | 6.9051e-08 | -12.4239
199.676 | 6.8698e-08 | -12.3998
199.546 | 6.8342e-08 | -12.3745
199.425 | 6.1887e-08 | -12.3483
199.288 | 5.7852e-08 | -12.3237
199.16 | 1.4337e-08 | -12.2963
199.032 | 6.4023e-08 | -12.2714
198.907 | 1.7983e-08 | -12.2459
198.766 | 1.9791e-08 | -12.2224
198.638 | 1.4992e-08 | -12.1973
198.498 | 6.5052e-08 | -12.1742
198.355 | 6.5188e-08 | -12.1512
198.218 | 5.6594e-08 | -12.1287
198.073 | 6.4464e-08 | -12.107
197.933 | 6.408e-08 | -12.085
197.793 | 5.7093e-08 | -12.0621
197.646 | 5.0838e-08 | -12.0407
197.505 | 5.9278e-08 | -12.0183
197.16 | 5.8392e-08 | -11.9775
197.011 | 4.5379e-08 | -11.957
196.857 | 2.7411e-08 | -11.9376
196.693 | 2.2074e-08 | -11.9184
196.539 | 2.5049e-08 | -11.8988
196.38 | 1.967e-08 | -11.88
196.212 | 3.4344e-08 | -11.861
196.046 | 4.2047e-08 | -11.8429
195.892 | 4.5681e-08 | -11.8224
195.726 | 4.6285e-08 | -11.8045
195.557 | 4.6822e-08 | -11.7873
195.392 | 4.2101e-08 | -11.7694
195.226 | 2.4757e-08 | -11.7524
195.06 | 2.5966e-08 | -11.7353
194.903 | 3.0539e-08 | -11.7172
194.74 | 3.556e-08 | -11.7003
194.569 | 3.6474e-08 | -11.6837
194.407 | 3.9302e-08 | -11.6661
194.241 | 5.2808e-08 | -11.6492
194.089 | 5.2519e-08 | -11.6313
193.928 | 5.1558e-08 | -11.6144
193.765 | 4.9734e-08 | -11.5981
193.613 | 4.8955e-08 | -11.58
193.46 | 4.8411e-08 | -11.5616
193.303 | 4.8702e-08 | -11.5444
193.142 | 4.7806e-08 | -11.5278
192.986 | 4.7523e-08 | -11.5108
192.819 | 4.7103e-08 | -11.4948
192.66 | 4.7323e-08 | -11.478
192.497 | 4.6715e-08 | -11.4618
192.333 | 4.6438e-08 | -11.4461
192.145 | 4.6132e-08 | -11.4322
191.98 | 4.5978e-08 | -11.4166
191.813 | 4.5722e-08 | -11.4013
191.643 | 4.8513e-08 | -11.3863
191.459 | 5.2384e-08 | -11.3732
191.289 | 5.2085e-08 | -11.3583
191.125 | 5.1803e-08 | -11.3431
190.951 | 5.1534e-08 | -11.3291
190.782 | 5.1249e-08 | -11.3142
190.6 | 5.0964e-08 | -11.3006
190.423 | 5.0763e-08 | -11.2862
190.253 | 5.0429e-08 | -11.2723
190.084 | 5.0325e-08 | -11.2583
189.913 | 5.004e-08 | -11.2446
189.739 | 4.9601e-08 | -11.2306
189.562 | 4.9331e-08 | -11.2174
189.389 | 4.9068e-08 | -11.204
189.204 | 4.8807e-08 | -11.1919
189.016 | 4.8542e-08 | -11.1802
188.811 | 4.8254e-08 | -11.1696
188.616 | 4.7969e-08 | -11.1591
188.333 | 4.7629e-08 | -11.1575
188.056 | 4.7252e-08 | -11.1547
187.846 | 4.6919e-08 | -11.1453
187.594 | 4.6638e-08 | -11.1404
187.334 | 4.6292e-08 | -11.1364
187.115 | 4.5992e-08 | -11.1288
186.916 | 4.5719e-08 | -11.1178
186.703 | 4.5444e-08 | -11.1082
186.453 | 4.5174e-08 | -11.1037
186.223 | 4.4882e-08 | -11.0967
185.924 | 4.4546e-08 | -11.0819
185.612 | 4.4152e-08 | -11.081
185.366 | 4.3881e-08 | -11.0739
185.102 | 4.3566e-08 | -11.0691
184.885 | 4.3307e-08 | -11.061
184.653 | 4.3045e-08 | -11.0544
184.302 | 4.2744e-08 | -11.0595
183.971 | 4.2364e-08 | -11.0624
183.649 | 4.2009e-08 | -11.0646
183.35 | 4.1689e-08 | -11.0647
183.023 | 4.1378e-08 | -11.0675
182.645 | 4.1014e-08 | -11.0752
182.326 | 4.0666e-08 | -11.0769
181.998 | 4.0358e-08 | -11.0799
181.717 | 4.0061e-08 | -11.0786
181.47 | 3.9815e-08 | -11.0735
181.201 | 3.9577e-08 | -11.0708
180.886 | 3.9314e-08 | -11.0725
180.606 | 3.9052e-08 | -11.0696
180.276 | 3.8753e-08 | -11.0683
179.946 | 3.8468e-08 | -11.0707
179.667 | 3.8238e-08 | -11.0686
179.375 | 3.7982e-08 | -11.0682
179.121 | 3.7751e-08 | -11.0633
178.857 | 3.754e-08 | -11.0599
178.608 | 3.7332e-08 | -11.055
178.343 | 3.7124e-08 | -11.052
178.049 | 3.689e-08 | -11.051
177.791 | 3.6684e-08 | -11.0473
177.498 | 3.6485e-08 | -11.047
177.118 | 3.6217e-08 | -11.0539
176.767 | 3.5949e-08 | -11.059
176.378 | 3.569e-08 | -11.0673
175.918 | 3.5363e-08 | -11.0814
175.395 | 3.4993e-08 | -11.102
174.919 | 3.4668e-08 | -11.1176
174.445 | 3.4337e-08 | -11.1333
173.999 | 3.4049e-08 | -11.1463
173.553 | 3.3766e-08 | -11.1596
173.096 | 3.3469e-08 | -11.1736
172.601 | 3.3164e-08 | -11.191
172.107 | 3.2876e-08 | -11.2078
171.599 | 3.2572e-08 | -11.226
171.069 | 3.2254e-08 | -11.246
170.531 | 3.1946e-08 | -11.2671
169.989 | 3.165e-08 | -11.2883
169.431 | 3.1359e-08 | -11.3102
168.866 | 3.1059e-08 | -11.3331
168.25 | 3.074e-08 | -11.3604
167.539 | 3.0401e-08 | -11.3958
166.938 | 3.0101e-08 | -11.4211
166.382 | 2.9835e-08 | -11.4428
165.94 | 2.962e-08 | -11.4545
165.458 | 2.9401e-08 | -11.4697
164.91 | 2.9167e-08 | -11.4893
164.281 | 2.8896e-08 | -11.517
163.609 | 2.8589e-08 | -11.5482
162.849 | 2.8273e-08 | -11.5867
162.167 | 2.7976e-08 | -11.6187
161.621 | 2.7731e-08 | -11.6383
161.19 | 2.7549e-08 | -11.6482
160.812 | 2.7401e-08 | -11.6531
160.5 | 2.727e-08 | -11.6523
160.191 | 2.7151e-08 | -11.651
159.894 | 2.7037e-08 | -11.6489
159.612 | 2.6927e-08 | -11.6458
159.258 | 2.6801e-08 | -11.6482
158.936 | 2.6666e-08 | -11.6485
158.648 | 2.6554e-08 | -11.6459
158.356 | 2.6446e-08 | -11.6439
158.004 | 2.632e-08 | -11.647
157.65 | 2.6181e-08 | -11.65
157.383 | 2.6075e-08 | -11.6454
157.12 | 2.5982e-08 | -11.6408
156.89 | 2.5895e-08 | -11.6339
156.674 | 2.5813e-08 | -11.6257
156.47 | 2.5737e-08 | -11.6165
156.262 | 2.5662e-08 | -11.6076
156.073 | 2.5585e-08 | -11.5971
155.892 | 2.5519e-08 | -11.5863
155.716 | 2.5449e-08 | -11.5751
155.523 | 2.5385e-08 | -11.565
155.328 | 2.5313e-08 | -11.5552
155.126 | 2.5237e-08 | -11.546
154.919 | 2.5164e-08 | -11.5374
154.736 | 2.5092e-08 | -11.5262
154.549 | 2.5025e-08 | -11.5159
154.376 | 2.4964e-08 | -11.5045
154.195 | 2.49e-08 | -11.4938
153.991 | 2.4826e-08 | -11.4828
153.74 | 2.4742e-08 | -11.4756
153.478 | 2.4638e-08 | -11.4705
153.278 | 2.456e-08 | -11.4617
153.078 | 2.4491e-08 | -11.453
152.873 | 2.4418e-08 | -11.4446
152.697 | 2.4353e-08 | -11.4334
152.518 | 2.4291e-08 | -11.4223
152.335 | 2.4225e-08 | -11.4115
152.165 | 2.416e-08 | -11.4004
151.992 | 2.4102e-08 | -11.3895
151.833 | 2.4044e-08 | -11.3777
151.674 | 2.3982e-08 | -11.3657
151.509 | 2.3924e-08 | -11.3545
151.351 | 2.3867e-08 | -11.3426
151.187 | 2.3808e-08 | -11.3312
151.019 | 2.3751e-08 | -11.3205
150.871 | 2.3693e-08 | -11.3084
150.72 | 2.3635e-08 | -11.2962
150.561 | 2.3577e-08 | -11.2846
150.384 | 2.352e-08 | -11.2749
150.202 | 2.3457e-08 | -11.2654
150.016 | 2.3373e-08 | -11.2561
149.837 | 2.3308e-08 | -11.2458
149.662 | 2.3214e-08 | -11.236
149.446 | 2.3146e-08 | -11.2292
149.246 | 2.3072e-08 | -11.2213
148.988 | 2.2969e-08 | -11.2174
148.657 | 2.2811e-08 | -11.2189
148.413 | 2.271e-08 | -11.2147
148.141 | 2.2622e-08 | -11.2119
147.812 | 2.2504e-08 | -11.2135
147.583 | 2.2396e-08 | -11.2076
147.379 | 2.2314e-08 | -11.2003
147.2 | 2.2262e-08 | -11.1912
147.032 | 2.2214e-08 | -11.1808
146.873 | 2.2153e-08 | -11.1695
146.703 | 2.2094e-08 | -11.1599
146.546 | 2.2032e-08 | -11.1488
146.39 | 2.1975e-08 | -11.1371
146.233 | 2.1918e-08 | -11.1262
146.093 | 2.1865e-08 | -11.114
145.943 | 2.1809e-08 | -11.1024
145.801 | 2.1759e-08 | -11.0901
145.673 | 2.1708e-08 | -11.0773
145.551 | 2.1602e-08 | -11.0639
145.432 | 2.1593e-08 | -11.0504
145.325 | 2.1568e-08 | -11.0366
145.228 | 2.1533e-08 | -11.0219
145.133 | 2.1504e-08 | -11.0069
145.05 | 2.1471e-08 | -10.9914
144.969 | 2.1442e-08 | -10.9758
144.877 | 2.141e-08 | -10.9609
144.759 | 2.1371e-08 | -10.9476
144.584 | 2.1318e-08 | -10.9382
144.32 | 2.1219e-08 | -10.9349
144.121 | 2.1124e-08 | -10.9281
143.805 | 2.1029e-08 | -10.929
143.263 | 2.0823e-08 | -10.9464
142.708 | 2.0583e-08 | -10.965
142.193 | 2.0365e-08 | -10.9802
141.766 | 2.0175e-08 | -10.9892
141.203 | 1.9879e-08 | -11.0077
140.462 | 1.9516e-08 | -11.0389
139.782 | 1.9149e-08 | -11.0654
139.264 | 1.9027e-08 | -11.0806
138.776 | 1.8739e-08 | -11.0935
138.292 | 1.8372e-08 | -11.1061
137.667 | 1.4229e-08 | -11.1283
137.119 | 1.6804e-08 | -11.1452
136.598 | 1.6352e-08 | -11.1598
135.982 | 1.6456e-08 | -11.1815
135.239 | 1.5954e-08 | -11.2116
134.312 | 1.5569e-08 | -11.2544
133.388 | 1.5475e-08 | -11.2969
132.406 | 1.5049e-08 | -11.3427
131.521 | 1.4541e-08 | -11.382
130.647 | 1.4436e-08 | -11.4205
129.519 | 1.416e-08 | -11.476
128.255 | 1.3732e-08 | -11.5403
127.166 | 1.3436e-08 | -11.5931
126.106 | 1.3074e-08 | -11.6432
124.979 | 1.2779e-08 | -11.6982
123.912 | 1.2437e-08 | -11.7491
122.816 | 1.2051e-08 | -11.8014
121.611 | 1.1804e-08 | -11.8607
120.407 | 1.1473e-08 | -11.9198
119.322 | 1.1236e-08 | -11.9711
118.101 | 1.0957e-08 | -12.031
116.698 | 1.0553e-08 | -12.1031
115.305 | 1.0209e-08 | -12.1746
113.733 | 9.895e-09 | -12.2496
112.738 | 9.6704e-09 | -12.2935
111.606 | 9.4606e-09 | -12.3462
110.592 | 9.254e-09 | -12.3913
109.578 | 9.1627e-09 | -12.4363
108.354 | 8.83e-09 | -12.4946
107.132 | 8.6188e-09 | -12.5525
106.181 | 8.3993e-09 | -12.5923
105.171 | 8.2451e-09 | -12.6362
104.117 | 8.064e-09 | -12.6826
102.746 | 7.7756e-09 | -12.7498
101.445 | 7.5715e-09 | -12.8117
99.9998 | 7.3765e-09 | -12.8832
98.3515 | 7.1618e-09 | -12.9677
96.994 | 6.9401e-09 | -13.0328
95.8037 | 6.7952e-09 | -13.0867
94.844 | 6.7313e-09 | -13.1258
92.3832 | 6.5657e-09 | -13.2619
89.5327 | 6.3043e-09 | -13.4228
88.9023 | 6.1442e-09 | -13.4396
88.0952 | 6.1276e-09 | -13.468
86.1627 | 5.9641e-09 | -13.5682
85.3454 | 5.8721e-09 | -13.5964
84.8783 | 5.8161e-09 | -13.6023
84.3647 | 5.7846e-09 | -13.611
83.7218 | 5.7494e-09 | -13.628
83.0136 | 5.7147e-09 | -13.6491
82.1875 | 5.6892e-09 | -13.6776
81.9092 | 5.6562e-09 | -13.6711
81.8124 | 5.6328e-09 | -13.6536
81.8135 | 5.6122e-09 | -13.6296
81.8067 | 5.5884e-09 | -13.6062
81.7842 | 5.5685e-09 | -13.5842
81.755 | 5.5468e-09 | -13.562
81.7508 | 5.5265e-09 | -13.5389
81.7533 | 5.5095e-09 | -13.5153
81.7392 | 5.5026e-09 | -13.4929
81.763 | 5.468e-09 | -13.4678
81.7401 | 5.4528e-09 | -13.4458
81.7519 | 5.4473e-09 | -13.4219
81.7457 | 5.4345e-09 | -13.3995
81.7071 | 5.4111e-09 | -13.3783
81.7048 | 5.3675e-09 | -13.3545
81.6869 | 5.334e-09 | -13.3326
81.6706 | 5.2713e-09 | -13.3109
81.6833 | 5.225e-09 | -13.2875
81.6912 | 5.1882e-09 | -13.2641
81.6809 | 5.0801e-09 | -13.2417
81.671 | 5.0262e-09 | -13.2199
81.6325 | 4.9869e-09 | -13.2
81.5944 | 4.9888e-09 | -13.1799
81.6376 | 4.9811e-09 | -13.1553
81.7062 | 4.9566e-09 | -13.1289
81.9298 | 4.9536e-09 | -13.0924
82.2829 | 4.9566e-09 | -13.0489
82.6029 | 5.0258e-09 | -13.0076
83.0099 | 4.6431e-09 | -12.9614
83.4873 | 5.1815e-09 | -12.9109
83.7492 | 5.2306e-09 | -12.8736
84.2039 | 5.3089e-09 | -12.8246
84.7241 | 5.3971e-09 | -12.7716
85.2054 | 5.4947e-09 | -12.7208
85.2994 | 5.5343e-09 | -12.6939
85.5937 | 5.532e-09 | -12.6551
86.0377 | 5.5573e-09 | -12.6076
86.5129 | 5.5866e-09 | -12.5585
87.0293 | 5.6181e-09 | -12.5066
87.579 | 5.6459e-09 | -12.4532
88.2045 | 5.6739e-09 | -12.395
88.8497 | 5.6938e-09 | -12.3364
89.7581 | 5.7159e-09 | -12.2621
90.8416 | 5.7511e-09 | -12.1781
91.3914 | 5.7841e-09 | -12.1255
91.8121 | 5.8193e-09 | -12.0805
92.2224 | 5.8597e-09 | -12.0365
92.6584 | 5.9076e-09 | -11.9916
93.0719 | 5.9806e-09 | -11.948
93.5058 | 6.1005e-09 | -11.903
93.9261 | 6.1658e-09 | -11.8589
94.3628 | 6.2056e-09 | -11.8141
94.8043 | 6.2475e-09 | -11.7691
95.2461 | 6.2937e-09 | -11.7236
95.6797 | 6.3401e-09 | -11.6793
96.0481 | 6.3796e-09 | -11.6389
96.4149 | 6.4216e-09 | -11.5987
96.8028 | 6.4641e-09 | -11.5577
97.2219 | 6.5095e-09 | -11.5147
97.6325 | 6.5533e-09 | -11.4729
98.0261 | 6.5958e-09 | -11.4318
98.4447 | 6.6336e-09 | -11.3897
98.8662 | 6.6877e-09 | -11.347
99.283 | 6.7432e-09 | -11.3051
99.6816 | 6.7946e-09 | -11.2644
100.107 | 6.8252e-09 | -11.2225
100.527 | 6.8787e-09 | -11.1808
100.903 | 6.9381e-09 | -11.1415
101.297 | 6.9965e-09 | -11.1015
101.674 | 7.0492e-09 | -11.0627
102.008 | 7.1013e-09 | -11.0265
102.33 | 7.1464e-09 | -10.9912
102.641 | 7.1898e-09 | -10.9561
102.972 | 7.2222e-09 | -10.92
103.252 | 7.2721e-09 | -10.8869
103.584 | 4.1025e-09 | -10.8507
103.916 | 7.4179e-09 | -10.8148
104.241 | 7.4287e-09 | -10.7798
104.54 | 7.4716e-09 | -10.7465
104.845 | 7.5227e-09 | -10.7126
105.153 | 7.5749e-09 | -10.6787
105.448 | 7.6194e-09 | -10.6449

## Pulse
Temperature | Current | Time
0 | 0 | 0

## Measurements
Temperature | Current | Temp Rate
0 | 0 | 0