## Settings
Sample Info | sur24, 3e13, run 02
Comments | +1/-0.5/+1
Additional Comments | meas +1V
Major Measurement Parameters
Starting Temperature | 281.978
Initial Temperature | 81
Final Temperature | 320
Preliminary Voltage | 1
Pulse Voltage | -0.5
Pulse Time | 30
Wait Time | 0
Measurement Voltage | 1
Subsidiary Measurement Parameters
Step | 0.3
Accuracy Step | 0.1
Accuracy Stable | 2
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 20
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 5
Measurecount | 1
Time
Date | 29.3.2024
Clock | 20:8:47

## Stabilization
Temperature | Current | Temp Rate
281.193 | 4.4043e-06 | 0
280.759 | 4.3405e-06 | -16.6936
280.324 | 4.2787e-06 | -16.7154
279.795 | 4.2189e-06 | -18.0311
279.395 | 4.1602e-06 | -17.4774
279.071 | 4.1024e-06 | -16.5549
278.654 | 4.0448e-06 | -16.4543
278.208 | 3.9884e-06 | -16.59
277.812 | 3.9324e-06 | -16.4198
277.436 | 3.8764e-06 | -16.2001
276.9 | 3.8212e-06 | -18.5189
276.44 | 3.7673e-06 | -23.1038
276.007 | 3.7129e-06 | -33.4973
275.579 | 3.6592e-06 | -72.6764
275.052 | 3.6067e-06 | -118.7817
274.661 | 3.5546e-06 | -16.0572
274.247 | 3.5028e-06 | -16.0577
273.79 | 3.4515e-06 | -16.0478
273.354 | 3.3959e-06 | -301.6385
272.872 | 3.347e-06 | -16.2154
272.45 | 3.2971e-06 | -16.2084
271.966 | 3.2488e-06 | -16.325
271.501 | 3.2014e-06 | -16.4045
270.969 | 3.1534e-06 | -16.5778
270.42 | 3.1055e-06 | -16.764
269.993 | 3.0587e-06 | -16.7479
269.522 | 3.0118e-06 | -16.7971
269.063 | 2.9663e-06 | -16.825
268.636 | 2.9212e-06 | -16.8171
268.239 | 2.8773e-06 | -16.7652
267.898 | 2.8338e-06 | -16.6467
267.392 | 2.7913e-06 | -16.7289
266.987 | 2.7486e-06 | -16.6842
266.588 | 2.7059e-06 | -16.6378
266.206 | 2.6648e-06 | -16.5788
265.702 | 2.6229e-06 | -16.637
265.261 | 2.5831e-06 | -16.6474
264.854 | 2.5436e-06 | -16.6175
264.441 | 2.5042e-06 | -16.5866
263.873 | 2.4662e-06 | -16.7197
263.434 | 2.4285e-06 | -16.7252
262.957 | 2.3912e-06 | -16.7686
262.402 | 2.3546e-06 | -16.876
261.924 | 2.3177e-06 | -16.9086
261.53 | 2.2811e-06 | -16.8666
261.084 | 2.2456e-06 | -16.8761
260.634 | 2.2108e-06 | -16.8866
260.174 | 2.1765e-06 | -16.9041
259.79 | 2.1429e-06 | -16.8599
259.287 | 2.1095e-06 | -16.9112
258.769 | 2.0769e-06 | -16.9728
258.392 | 2.0441e-06 | -16.923
257.865 | 2.0119e-06 | -16.9855
257.316 | 1.9803e-06 | -17.0639
256.881 | 1.9489e-06 | -17.0579
256.38 | 1.9177e-06 | -17.0949
255.774 | 1.8872e-06 | -17.2029
255.274 | 1.8566e-06 | -17.234
254.747 | 1.8255e-06 | -17.2799
254.116 | 1.7957e-06 | -17.3941
253.631 | 1.7666e-06 | -17.4166
253.132 | 1.7377e-06 | -17.4445
252.496 | 1.7091e-06 | -17.5507
251.999 | 1.6808e-06 | -17.5773
251.508 | 1.653e-06 | -17.5979
250.883 | 1.6258e-06 | -17.6947
250.393 | 1.5988e-06 | -17.7097
249.912 | 1.572e-06 | -17.7228
249.289 | 1.5459e-06 | -17.8103
248.802 | 1.5199e-06 | -17.8248
248.313 | 1.4946e-06 | -17.8407
247.729 | 1.4696e-06 | -17.9043
247.201 | 1.4447e-06 | -17.9365
246.73 | 1.4203e-06 | -17.9374
246.161 | 1.3964e-06 | -17.9875
245.637 | 1.3727e-06 | -18.0174
245.168 | 1.3492e-06 | -18.0143
244.64 | 1.3264e-06 | -18.0439
244.102 | 1.3038e-06 | -18.0776
243.649 | 1.2818e-06 | -18.0693
243.14 | 1.26e-06 | -18.089
242.617 | 1.2388e-06 | -18.1148
242.163 | 1.2177e-06 | -18.1051
241.67 | 1.1969e-06 | -18.1149
241.067 | 1.1767e-06 | -18.1748
240.598 | 1.1563e-06 | -18.1702
240.134 | 1.1364e-06 | -18.1646
239.598 | 1.1169e-06 | -18.1901
239.07 | 1.0978e-06 | -18.2142
238.619 | 1.0789e-06 | -18.2022
238.076 | 1.0602e-06 | -18.2299
237.575 | 1.0422e-06 | -18.2418
237.129 | 1.0241e-06 | -18.2259
236.697 | 1.0066e-06 | -18.2084
236.119 | 9.8248e-07 | -18.1719
235.592 | 9.6562e-07 | -18.1913
235.174 | 9.4923e-07 | -18.1702
234.768 | 9.3309e-07 | -18.1434
234.236 | 9.1734e-07 | -18.1658
233.751 | 9.0187e-07 | -18.1723
233.327 | 8.8666e-07 | -18.1544
232.794 | 8.7162e-07 | -18.1786
232.283 | 8.5697e-07 | -18.1924
231.851 | 8.4242e-07 | -18.1758
231.3 | 8.2786e-07 | -18.2028
230.771 | 8.1374e-07 | -18.2213
230.302 | 7.9982e-07 | -18.2189
229.758 | 7.8614e-07 | -18.2433
229.233 | 7.7245e-07 | -18.2554
228.806 | 7.5928e-07 | -18.2384
228.291 | 7.4641e-07 | -18.2516
227.677 | 7.3349e-07 | -18.2978
227.233 | 7.2089e-07 | -18.2859
226.676 | 7.085e-07 | -18.3141
226.064 | 6.9616e-07 | -18.3562
225.611 | 6.8424e-07 | -18.3476
225.074 | 6.7224e-07 | -18.3652
224.445 | 6.6039e-07 | -18.4117
223.965 | 6.489e-07 | -18.4109
223.48 | 6.3746e-07 | -18.4074
222.999 | 6.2616e-07 | -18.404
222.426 | 6.1485e-07 | -18.4273
221.999 | 6.0435e-07 | -18.4111
221.499 | 5.9371e-07 | -18.4147
220.924 | 5.8338e-07 | -18.4414
220.48 | 5.7317e-07 | -18.429
219.998 | 5.6327e-07 | -18.4289
219.377 | 5.5347e-07 | -18.4691
218.927 | 5.4377e-07 | -18.4584
218.351 | 5.342e-07 | -18.4853
217.758 | 5.2465e-07 | -18.5136
217.32 | 5.1528e-07 | -18.5001
216.759 | 5.0622e-07 | -18.5228
216.134 | 4.972e-07 | -18.5622
215.696 | 4.8839e-07 | -18.5496
215.158 | 4.7975e-07 | -18.5654
214.564 | 4.7122e-07 | -18.595
214.062 | 4.6265e-07 | -18.5969
213.637 | 4.5438e-07 | -18.5794
213.067 | 4.4624e-07 | -18.5999
212.528 | 4.382e-07 | -18.612
212.092 | 4.303e-07 | -18.5979
211.54 | 4.226e-07 | -18.6147
210.954 | 4.1505e-07 | -18.6416
210.554 | 4.0755e-07 | -18.6164
209.992 | 4.0034e-07 | -18.637
209.425 | 3.9307e-07 | -18.6548
208.992 | 3.8596e-07 | -18.6402
208.434 | 3.7899e-07 | -18.6577
207.904 | 3.7213e-07 | -18.6667
207.452 | 3.6536e-07 | -18.6574
206.941 | 3.5876e-07 | -18.6622
206.345 | 3.5227e-07 | -18.6892
205.892 | 3.4585e-07 | -18.6792
205.406 | 3.3965e-07 | -18.6783
204.819 | 3.3346e-07 | -18.7008
204.3 | 3.2706e-07 | -18.7029
203.83 | 3.2112e-07 | -18.6985
203.269 | 3.1529e-07 | -18.7156
202.816 | 3.0957e-07 | -18.7066
202.362 | 3.0391e-07 | -18.6975
201.772 | 2.984e-07 | -18.7207
201.293 | 2.928e-07 | -18.7146
200.818 | 2.8747e-07 | -18.7108
200.203 | 2.8219e-07 | -18.7382
199.73 | 2.7707e-07 | -18.733
199.27 | 2.7208e-07 | -18.7258
198.706 | 2.6721e-07 | -18.7425
198.26 | 2.624e-07 | -18.7312
197.735 | 2.5768e-07 | -18.7386
197.141 | 2.5309e-07 | -18.7599
196.701 | 2.4851e-07 | -18.7483
196.193 | 2.4404e-07 | -18.7506
195.649 | 2.3967e-07 | -18.7614
195.215 | 2.3543e-07 | -18.7489
194.68 | 2.3119e-07 | -18.757
194.138 | 2.2711e-07 | -18.7686
193.788 | 2.2316e-07 | -18.7395
193.284 | 2.192e-07 | -18.7412
192.815 | 2.1534e-07 | -18.7354
192.453 | 2.1158e-07 | -18.7084
191.856 | 2.0788e-07 | -18.7299
191.512 | 2.0425e-07 | -18.699
191.061 | 2.0069e-07 | -18.691
190.577 | 1.9722e-07 | -18.6897
190.3 | 1.9379e-07 | -18.645
189.817 | 1.9048e-07 | -18.6448
189.488 | 1.8724e-07 | -18.6119
189.139 | 1.8401e-07 | -18.5822
188.72 | 1.8092e-07 | -18.5678
188.515 | 1.7786e-07 | -18.5112
188.072 | 1.749e-07 | -18.5025
187.831 | 1.7202e-07 | -18.4547
187.505 | 1.6921e-07 | -18.4239
187.134 | 1.6645e-07 | -18.401
186.915 | 1.6375e-07 | -18.3501
186.449 | 1.6113e-07 | -18.3472
186.286 | 1.5853e-07 | -18.2847
185.8 | 1.5602e-07 | -18.2873
185.636 | 1.5355e-07 | -18.2273
185.265 | 1.5113e-07 | -18.207
185.012 | 1.4878e-07 | -18.1637
184.788 | 1.4648e-07 | -18.116
184.553 | 1.4425e-07 | -18.0709
184.526 | 1.4206e-07 | -17.987
184.262 | 1.3994e-07 | -17.9463
184.299 | 1.3791e-07 | -17.8532
183.997 | 1.3591e-07 | -17.8218
184.028 | 1.3397e-07 | -17.7308
183.89 | 1.3211e-07 | -17.6715
183.839 | 1.3029e-07 | -17.5957
183.764 | 1.2848e-07 | -17.5233
183.593 | 1.2676e-07 | -17.4708
183.604 | 1.2508e-07 | -17.3867
183.4 | 1.2347e-07 | -17.3411
183.449 | 1.2188e-07 | -17.2514
183.181 | 1.2035e-07 | -17.2179
183.273 | 1.1883e-07 | -17.1219
182.995 | 1.174e-07 | -17.0914
183.083 | 1.1599e-07 | -16.9974
182.832 | 1.1463e-07 | -16.9602
182.918 | 1.1321e-07 | -16.8664
182.613 | 1.1189e-07 | -16.8384
182.659 | 1.1059e-07 | -16.7534
182.401 | 1.0938e-07 | -16.7219
182.477 | 1.0819e-07 | -16.6337
182.216 | 1.0703e-07 | -16.6021
182.335 | 1.0591e-07 | -16.5089
182.092 | 1.0482e-07 | -16.4761
182.191 | 1.0377e-07 | -16.3875
181.887 | 1.0275e-07 | -16.3662
181.991 | 1.0173e-07 | -16.2771
181.757 | 1.0077e-07 | -16.2452
181.901 | 9.9262e-08 | -16.1239
181.709 | 9.8371e-08 | -16.0858
181.833 | 9.7468e-08 | -15.995
181.744 | 9.6607e-08 | -15.9405
181.807 | 9.5805e-08 | -15.8622
181.667 | 9.5e-08 | -15.8169
181.802 | 9.4218e-08 | -15.7278
181.836 | 9.3477e-08 | -15.6549
182.014 | 9.2781e-08 | -15.5608
182.097 | 9.2159e-08 | -15.4823
182.274 | 9.1574e-08 | -15.3905
182.427 | 9.104e-08 | -15.3027
182.332 | 9.0518e-08 | -15.2543
182.5 | 8.9987e-08 | -15.1645
182.488 | 8.949e-08 | -15.1025
182.679 | 8.9027e-08 | -15.0116
182.867 | 8.8606e-08 | -14.9218
182.957 | 8.8232e-08 | -14.8485
183.079 | 8.7871e-08 | -14.7707
183.081 | 8.7537e-08 | -14.7111
183.071 | 8.7186e-08 | -14.6529
183.079 | 8.684e-08 | -14.594
182.989 | 8.6492e-08 | -14.549
183 | 8.6148e-08 | -14.4899
182.821 | 8.5799e-08 | -14.4593
182.862 | 8.5457e-08 | -14.3967
182.653 | 8.5117e-08 | -14.3711
182.751 | 8.4778e-08 | -14.3013
182.619 | 8.4445e-08 | -14.2642
182.743 | 8.4123e-08 | -14.1917
182.881 | 8.3829e-08 | -14.1176
183.013 | 8.357e-08 | -14.0446
183.15 | 8.3344e-08 | -13.9715
183.293 | 8.3149e-08 | -13.8986
183.436 | 8.2979e-08 | -13.825
183.498 | 8.2821e-08 | -13.7635
183.653 | 8.2676e-08 | -13.69
183.772 | 8.2555e-08 | -13.6219
183.893 | 8.2447e-08 | -13.5536
184.03 | 8.2356e-08 | -13.4848
183.885 | 8.2275e-08 | -13.4555
183.985 | 8.2177e-08 | -13.3924
183.883 | 8.2085e-08 | -13.3566
183.929 | 8.1981e-08 | -13.3019
184.01 | 8.1885e-08 | -13.2425
184.078 | 8.1805e-08 | -13.1859
184.147 | 8.1736e-08 | -13.1292
184.222 | 8.1683e-08 | -13.0719
184.25 | 8.1638e-08 | -13.0218
184.156 | 8.1596e-08 | -12.9877
184.248 | 8.1546e-08 | -12.9295
184.256 | 8.149e-08 | -12.8823
184.349 | 8.1325e-08 | -12.8246
184.351 | 8.1106e-08 | -12.779
184.256 | 8.0974e-08 | -12.746
184.329 | 8.0846e-08 | -12.6916
184.319 | 8.0735e-08 | -12.6488
184.227 | 8.0615e-08 | -12.6155
184.29 | 8.0477e-08 | -12.5634
184.095 | 8.0338e-08 | -12.5447
183.773 | 8.0202e-08 | -12.5429
183.739 | 8.0054e-08 | -12.5042
183.749 | 7.9911e-08 | -12.4604
183.769 | 7.9777e-08 | -12.4153
183.801 | 7.965e-08 | -12.3692
183.833 | 7.9528e-08 | -12.3228
183.804 | 7.9406e-08 | -12.2841
183.754 | 7.9284e-08 | -12.2484
183.779 | 7.9175e-08 | -12.2034
183.723 | 7.9063e-08 | -12.1691
183.74 | 7.8959e-08 | -12.1266
183.763 | 7.8863e-08 | -12.0836
183.783 | 7.8771e-08 | -12.0413
183.798 | 7.8679e-08 | -12.0001
183.805 | 7.8589e-08 | -11.9598
183.77 | 7.8497e-08 | -11.9252
183.781 | 7.8403e-08 | -11.8848
183.791 | 7.831e-08 | -11.8453
183.797 | 7.8223e-08 | -11.8063
183.803 | 7.8135e-08 | -11.7677
183.791 | 7.805e-08 | -11.7307
183.771 | 7.7959e-08 | -11.6959
183.769 | 7.7877e-08 | -11.6587
183.765 | 7.7798e-08 | -11.6215
183.759 | 7.7723e-08 | -11.585
183.734 | 7.7645e-08 | -11.551
183.713 | 7.7569e-08 | -11.5169
183.667 | 7.7491e-08 | -11.4852
183.599 | 7.7418e-08 | -11.4572
183.575 | 7.7352e-08 | -11.4246
183.546 | 7.7285e-08 | -11.3923
183.467 | 7.722e-08 | -11.3658
183.283 | 7.7147e-08 | -11.352
183.217 | 7.7064e-08 | -11.3244
183.168 | 7.6981e-08 | -11.2948
183.1 | 7.6886e-08 | -11.2676
183.029 | 7.6785e-08 | -11.2415
182.767 | 7.6702e-08 | -11.2373
182.518 | 7.664e-08 | -11.2316
182.383 | 7.6561e-08 | -11.2126
182.279 | 7.6469e-08 | -11.1903
182.186 | 7.6374e-08 | -11.1663
182.089 | 7.6273e-08 | -11.1432
181.991 | 7.6176e-08 | -11.1207
181.889 | 7.6072e-08 | -11.0988
181.796 | 7.5959e-08 | -11.0762
181.709 | 7.585e-08 | -11.0531
181.621 | 7.5747e-08 | -11.0298
181.535 | 7.5647e-08 | -11.0069
181.448 | 7.5551e-08 | -10.984
181.363 | 7.5463e-08 | -10.9611
181.277 | 7.5364e-08 | -10.9387
181.186 | 7.527e-08 | -10.9166
181.088 | 7.5176e-08 | -10.8952
180.92 | 7.5078e-08 | -10.8818
180.764 | 7.4966e-08 | -10.8668
180.64 | 7.4832e-08 | -10.8486
180.494 | 7.4712e-08 | -10.8329
180.324 | 7.46e-08 | -10.8199
180.18 | 7.4493e-08 | -10.8047
180.032 | 7.4385e-08 | -10.7901
179.885 | 7.4284e-08 | -10.7753
179.738 | 7.4181e-08 | -10.76
179.583 | 7.408e-08 | -10.7459
179.422 | 7.3978e-08 | -10.7321
179.256 | 7.3872e-08 | -10.719
179.075 | 7.3777e-08 | -10.7077
178.905 | 7.3682e-08 | -10.6947
178.725 | 7.3582e-08 | -10.6828
178.543 | 7.3473e-08 | -10.6718
178.362 | 7.336e-08 | -10.6611
178.174 | 7.3248e-08 | -10.6513
177.975 | 7.3127e-08 | -10.6414
177.761 | 7.3004e-08 | -10.6342
177.442 | 7.2879e-08 | -10.6373
177.188 | 7.2772e-08 | -10.634
176.98 | 7.2661e-08 | -10.626
176.749 | 7.2545e-08 | -10.6209
176.45 | 7.243e-08 | -10.6219
176.077 | 7.2309e-08 | -10.6305
175.767 | 7.2187e-08 | -10.6325
175.531 | 7.2061e-08 | -10.6273
175.258 | 7.1931e-08 | -10.6265
174.984 | 7.1796e-08 | -10.6253
174.641 | 7.1693e-08 | -10.6308
174.373 | 7.1606e-08 | -10.6294
174.087 | 7.1487e-08 | -10.6291
173.739 | 7.1353e-08 | -10.6351
173.481 | 7.1205e-08 | -10.6323
173.222 | 7.1038e-08 | -10.6295
172.912 | 7.0869e-08 | -10.6321
172.532 | 7.0713e-08 | -10.6411
172.197 | 7.0538e-08 | -10.6452
171.859 | 7.0346e-08 | -10.6502
171.543 | 7.0162e-08 | -10.6523
171.113 | 6.9969e-08 | -10.6662
170.666 | 6.9758e-08 | -10.6818
170.273 | 6.9532e-08 | -10.6919
169.957 | 6.9293e-08 | -10.6947
169.637 | 6.9049e-08 | -10.6979
169.143 | 6.879e-08 | -10.7171
168.666 | 6.8538e-08 | -10.7351
168.204 | 6.826e-08 | -10.7517
167.81 | 6.7969e-08 | -10.7617
167.459 | 6.7672e-08 | -10.7677
167.138 | 6.7367e-08 | -10.7706
166.828 | 6.7048e-08 | -10.7715
166.544 | 6.6732e-08 | -10.7711
166.26 | 6.6407e-08 | -10.7701
165.961 | 6.6083e-08 | -10.7709
165.564 | 6.5755e-08 | -10.7812
165.134 | 6.5421e-08 | -10.7941
164.764 | 6.5084e-08 | -10.8017
164.302 | 6.4737e-08 | -10.8175
163.832 | 6.4384e-08 | -10.8343
163.338 | 6.4015e-08 | -10.8527
162.857 | 6.3639e-08 | -10.87
162.269 | 6.3247e-08 | -10.8967
161.847 | 6.2855e-08 | -10.9083
161.495 | 6.2452e-08 | -10.9135
161.162 | 6.2061e-08 | -10.9173
160.842 | 6.1667e-08 | -10.9198
160.532 | 6.1265e-08 | -10.921
160.218 | 6.0872e-08 | -10.9228
159.928 | 6.0478e-08 | -10.9224
159.639 | 6.0081e-08 | -10.9216
159.339 | 5.9683e-08 | -10.9217
158.988 | 5.9282e-08 | -10.9267
158.646 | 5.8889e-08 | -10.9305
158.19 | 5.8496e-08 | -10.9449
157.664 | 5.8102e-08 | -10.9653
157.301 | 5.7691e-08 | -10.9708
156.976 | 5.7294e-08 | -10.9735
156.66 | 5.6903e-08 | -10.9755
156.331 | 5.6501e-08 | -10.9779
156.014 | 5.611e-08 | -10.9797
155.698 | 5.5724e-08 | -10.9814
155.388 | 5.5336e-08 | -10.9823
155.061 | 5.4955e-08 | -10.985
154.753 | 5.4568e-08 | -10.9856
154.45 | 5.4195e-08 | -10.9861
154.107 | 5.3817e-08 | -10.9899
153.78 | 5.3447e-08 | -10.9928
153.383 | 5.306e-08 | -11.0003
153.035 | 5.2686e-08 | -11.0044
152.666 | 5.2305e-08 | -11.0102
152.332 | 5.1939e-08 | -11.0133
152.034 | 5.1569e-08 | -11.0132
151.727 | 5.1194e-08 | -11.0139
151.397 | 5.0827e-08 | -11.0164
151.024 | 5.0467e-08 | -11.0228
150.552 | 5.0111e-08 | -11.0376
150.01 | 4.9744e-08 | -11.0575
149.404 | 4.936e-08 | -11.0822
148.68 | 4.8994e-08 | -11.1181
147.869 | 4.8632e-08 | -11.1608
147.026 | 4.8255e-08 | -11.206
146.07 | 4.7872e-08 | -11.2602
144.95 | 4.7493e-08 | -11.3279
143.864 | 4.7127e-08 | -11.3919
142.799 | 4.6699e-08 | -11.4538
142.019 | 4.6277e-08 | -11.4922
141.36 | 4.5854e-08 | -11.5201
140.803 | 4.5413e-08 | -11.5397
140.35 | 4.4977e-08 | -11.5509
139.918 | 4.4547e-08 | -11.5605
139.536 | 4.4119e-08 | -11.5661
139.168 | 4.3689e-08 | -11.5703
138.808 | 4.3263e-08 | -11.5737
138.442 | 4.2839e-08 | -11.5778
138.022 | 4.2413e-08 | -11.5858
137.659 | 4.1998e-08 | -11.5895
137.279 | 4.1598e-08 | -11.5948
136.853 | 4.1197e-08 | -11.6037
136.519 | 4.0793e-08 | -11.605
136.159 | 4.04e-08 | -11.6082
135.825 | 4.0013e-08 | -11.6095
135.494 | 3.9622e-08 | -11.6106
135.186 | 3.9225e-08 | -11.61
134.886 | 3.8862e-08 | -11.6086
134.567 | 3.8497e-08 | -11.6086
134.191 | 3.8126e-08 | -11.6132
133.602 | 3.7796e-08 | -11.6346
133.062 | 3.7486e-08 | -11.6521
132.216 | 3.7185e-08 | -11.6931
131.145 | 3.6874e-08 | -11.7518
129.876 | 3.6556e-08 | -11.8261
128.395 | 3.6204e-08 | -11.9163
126.959 | 3.5831e-08 | -12.0013
125.479 | 3.5389e-08 | -12.0899
124.328 | 3.4988e-08 | -12.1539
123.006 | 3.4561e-08 | -12.2293
121.537 | 3.4135e-08 | -12.317
120.243 | 3.3711e-08 | -12.391
118.946 | 3.3279e-08 | -12.4644
117.416 | 3.2848e-08 | -12.5557
115.81 | 3.241e-08 | -12.6524
114.395 | 3.1968e-08 | -12.7338
113.473 | 3.152e-08 | -12.7775
112.805 | 3.1083e-08 | -12.8021
112.155 | 3.0661e-08 | -12.8245
111.523 | 3.0249e-08 | -12.8458
110.701 | 2.9844e-08 | -12.8808
109.506 | 2.9443e-08 | -12.9445
107.849 | 2.9046e-08 | -13.0427
106.263 | 2.8648e-08 | -13.1352
104.802 | 2.8249e-08 | -13.218
103.171 | 2.7846e-08 | -13.3127
101.515 | 2.7452e-08 | -13.4094
99.6914 | 2.7059e-08 | -13.5183
97.4674 | 2.666e-08 | -13.6559
94.9852 | 2.6242e-08 | -13.8117
92.1141 | 2.5816e-08 | -13.996
89.3414 | 2.538e-08 | -14.1722
85.4705 | 2.4954e-08 | -14.4284
83.8027 | 2.4499e-08 | -14.5222
82.8243 | 2.4038e-08 | -14.5641
82.3708 | 2.3608e-08 | -14.5682
82.0064 | 2.3202e-08 | -14.5656
81.8067 | 2.2809e-08 | -14.5502
81.748 | 2.2435e-08 | -14.5253
81.7275 | 2.2079e-08 | -14.498
81.6649 | 2.1728e-08 | -14.4735
81.624 | 2.1394e-08 | -14.4479
81.5972 | 2.11e-08 | -14.421
81.5616 | 2.0808e-08 | -14.394

## Pulse
Temperature | Current | Time
81.5322 | -1.2242e-08 | 1.3346
81.5662 | -1.199e-08 | 2.961
81.5953 | -1.156e-08 | 4.5751
81.4662 | -1.1143e-08 | 6.1949
81.4947 | -1.075e-08 | 7.8296
81.5715 | -1.0376e-08 | 9.4647
81.5099 | -1.004e-08 | 11.0849
81.293 | -9.6354e-09 | 13.2364
81.1838 | -9.3417e-09 | 14.8671
81.1986 | -9.062e-09 | 16.4878
81.2306 | -8.7991e-09 | 18.1069
81.3044 | -8.5517e-09 | 19.7379
81.4625 | -8.3323e-09 | 21.3449
81.6635 | -8.1242e-09 | 22.9749
81.8844 | -7.9237e-09 | 24.6159
82.118 | -7.7457e-09 | 26.2176
82.3995 | -7.5773e-09 | 27.8558
82.6568 | -7.4202e-09 | 29.488

## Measurements
Temperature | Current | Temp Rate
82.9427 | 1.7147e-08 | 0
84.3672 | 1.6785e-08 | 13.7145
85.3657 | 1.6511e-08 | 11.8926
85.6764 | 1.6441e-08 | 11.6644
85.9282 | 1.6386e-08 | 11.5901
86.2812 | 1.6323e-08 | 11.5716
86.5938 | 1.627e-08 | 11.6548
86.84 | 1.6234e-08 | 11.7773
87.1952 | 1.6188e-08 | 11.968
87.4993 | 1.6154e-08 | 12.0787
87.8233 | 1.6122e-08 | 16.6954
88.08 | 1.61e-08 | 28.9411
88.4091 | 1.607e-08 | 46.4364
88.6908 | 1.6048e-08 | 116.2179
88.9866 | 1.6029e-08 | 198.4281
89.3267 | 1.6011e-08 | 12.0914
89.6461 | 1.5989e-08 | 12.3488
89.9351 | 1.5975e-08 | 12.6047
90.2682 | 1.5962e-08 | 499.6403
90.6102 | 1.5948e-08 | 13.1201
90.9595 | 1.5934e-08 | 13.3714
91.3157 | 1.5921e-08 | 13.6251
91.673 | 1.5909e-08 | 13.8725
92.9705 | 1.5878e-08 | 14.6443
94.0659 | 1.5859e-08 | 15.2479
94.4348 | 1.5855e-08 | 15.4339
94.7977 | 1.5851e-08 | 15.6045
95.155 | 1.5847e-08 | 15.8041
95.5462 | 1.5844e-08 | 15.9326
96.7548 | 1.5844e-08 | 16.4151
97.7644 | 1.5852e-08 | 16.7282
98.1011 | 1.5857e-08 | 16.8158
98.4742 | 1.5861e-08 | 16.9002
98.8069 | 1.5865e-08 | 16.9873
99.1406 | 1.5872e-08 | 17.0662
99.4715 | 1.5875e-08 | 17.1422
99.8005 | 1.5882e-08 | 17.2138
100.13 | 1.59e-08 | 17.2861
100.457 | 1.5909e-08 | 17.3776
100.777 | 1.5917e-08 | 17.4362
101.132 | 1.5928e-08 | 17.4728
102.331 | 1.5969e-08 | 17.6834
103.382 | 1.6011e-08 | 17.8122
103.695 | 1.6024e-08 | 17.8501
104.007 | 1.6038e-08 | 17.9104
104.32 | 1.6053e-08 | 17.9456
104.667 | 1.6068e-08 | 17.9764
104.979 | 1.6084e-08 | 18.0059
105.29 | 1.6101e-08 | 18.0349
105.603 | 1.6117e-08 | 18.0681
105.91 | 1.6134e-08 | 18.0966
106.221 | 1.6154e-08 | 18.1492
106.531 | 1.6174e-08 | 18.174
106.84 | 1.6194e-08 | 18.194
107.184 | 1.6214e-08 | 18.2173
107.49 | 1.6234e-08 | 18.2607
107.799 | 1.6256e-08 | 18.2842
108.105 | 1.6277e-08 | 18.2993
108.444 | 1.6299e-08 | 18.3204
108.752 | 1.6322e-08 | 18.3359
109.057 | 1.6345e-08 | 18.3736
109.354 | 1.637e-08 | 18.3891
109.653 | 1.6393e-08 | 18.4059
109.952 | 1.6418e-08 | 18.4161
110.284 | 1.6444e-08 | 18.4285
110.583 | 1.6471e-08 | 18.4375
110.884 | 1.6499e-08 | 18.4608
111.219 | 1.6528e-08 | 18.4883
111.553 | 1.6558e-08 | 18.4971
111.854 | 1.6586e-08 | 18.5109
112.152 | 1.6617e-08 | 18.5197
113.391 | 1.674e-08 | 18.5942
114.406 | 1.6845e-08 | 18.634
114.711 | 1.6879e-08 | 18.6469
115.013 | 1.6911e-08 | 18.6571
115.314 | 1.6947e-08 | 18.6847
115.852 | 1.7008e-08 | 18.7057
116.156 | 1.7045e-08 | 18.7179
116.456 | 1.708e-08 | 18.729
116.758 | 1.7117e-08 | 18.7396
117.061 | 1.7154e-08 | 18.7494
117.362 | 1.7191e-08 | 18.7592
117.699 | 1.723e-08 | 18.7674
118 | 1.7269e-08 | 18.7774
118.295 | 1.7307e-08 | 18.7813
118.592 | 1.7347e-08 | 18.8036
118.889 | 1.7389e-08 | 18.8058
119.219 | 1.7428e-08 | 18.8087
119.514 | 1.7472e-08 | 18.8096
119.813 | 1.7515e-08 | 18.8308
120.114 | 1.7556e-08 | 18.8409
120.448 | 1.7598e-08 | 18.8469
120.749 | 1.7641e-08 | 18.851
121.051 | 1.7687e-08 | 18.8569
122.324 | 1.7875e-08 | 18.9017
123.295 | 1.8034e-08 | 18.9322
123.63 | 1.8085e-08 | 18.9364
123.932 | 1.8138e-08 | 18.9525
124.229 | 1.819e-08 | 18.9511
124.568 | 1.8243e-08 | 18.9607
124.872 | 1.8295e-08 | 18.9676
125.172 | 1.8349e-08 | 18.987
125.474 | 1.8402e-08 | 18.9915
125.778 | 1.8459e-08 | 18.9969
126.112 | 1.8515e-08 | 18.9988
126.411 | 1.8573e-08 | 19.0025
126.715 | 1.8633e-08 | 19.0196
127.016 | 1.8691e-08 | 19.0251
127.318 | 1.8751e-08 | 19.032
127.651 | 1.8809e-08 | 19.0333
127.947 | 1.887e-08 | 19.0494
128.241 | 1.893e-08 | 19.0533
128.539 | 1.8994e-08 | 19.053
128.839 | 1.9056e-08 | 19.0579
129.171 | 1.9121e-08 | 19.0605
129.468 | 1.9184e-08 | 19.0636
129.763 | 1.9251e-08 | 19.0768
130.07 | 1.9319e-08 | 19.0814
130.401 | 1.9386e-08 | 19.0829
130.703 | 1.9454e-08 | 19.0888
131.004 | 1.9522e-08 | 19.0905
131.306 | 1.9592e-08 | 19.1083
131.607 | 1.9662e-08 | 19.1121
131.91 | 1.9734e-08 | 19.1165
132.245 | 1.9809e-08 | 19.1202
132.547 | 1.9884e-08 | 19.1221
132.849 | 1.996e-08 | 19.1376
133.149 | 2.0035e-08 | 19.1398
133.485 | 2.0111e-08 | 19.1412
133.789 | 2.0189e-08 | 19.1566
134.091 | 2.0266e-08 | 19.1589
134.392 | 2.0346e-08 | 19.1624
134.73 | 2.0425e-08 | 19.1671
135.03 | 2.0506e-08 | 19.1674
136.271 | 2.0836e-08 | 19.1984
137.278 | 2.1108e-08 | 19.2066
137.579 | 2.1194e-08 | 19.2093
137.875 | 2.128e-08 | 19.221
138.205 | 2.1371e-08 | 19.2179
138.504 | 2.146e-08 | 19.2288
138.836 | 2.1552e-08 | 19.2267
139.133 | 2.1646e-08 | 19.2359
139.466 | 2.1737e-08 | 19.2355
139.764 | 2.1829e-08 | 19.2374
140.065 | 2.192e-08 | 19.2396
140.367 | 2.2017e-08 | 19.2476
140.701 | 2.2114e-08 | 19.2483
141 | 2.2208e-08 | 19.2509
141.299 | 2.2307e-08 | 19.2596
141.635 | 2.2408e-08 | 19.2592
141.971 | 2.2511e-08 | 19.2682
142.271 | 2.2613e-08 | 19.2685
142.574 | 2.2713e-08 | 19.282
142.908 | 2.2818e-08 | 19.2799
144.315 | 2.3296e-08 | 19.2954
145.286 | 2.3644e-08 | 19.3132
145.589 | 2.3754e-08 | 19.3142
145.924 | 2.3867e-08 | 19.3151
146.225 | 2.3982e-08 | 19.3275
146.528 | 2.4096e-08 | 19.3301
146.828 | 2.4215e-08 | 19.3304
147.164 | 2.4339e-08 | 19.3289
147.465 | 2.446e-08 | 19.3388
147.765 | 2.4581e-08 | 19.341
148.099 | 2.4702e-08 | 19.3409
148.394 | 2.4828e-08 | 19.3416
148.693 | 2.4954e-08 | 19.352
148.988 | 2.5082e-08 | 19.3506
149.318 | 2.5216e-08 | 19.3496
149.617 | 2.5355e-08 | 19.3566
149.916 | 2.549e-08 | 19.3563
150.249 | 2.5626e-08 | 19.3573
150.549 | 2.5765e-08 | 19.3658
150.851 | 2.59e-08 | 19.3665
151.185 | 2.6041e-08 | 19.3672
151.484 | 2.618e-08 | 19.3706
151.785 | 2.6319e-08 | 19.3723
152.087 | 2.646e-08 | 19.3758
152.355 | 2.6597e-08 | 19.3802
152.689 | 2.6744e-08 | 19.38
153.023 | 2.6906e-08 | 19.3833
153.324 | 2.706e-08 | 19.3924
153.625 | 2.7216e-08 | 19.3902
153.961 | 2.7378e-08 | 19.3886
154.26 | 2.7541e-08 | 19.3966
154.597 | 2.7703e-08 | 19.3957
154.897 | 2.7864e-08 | 19.4059
155.2 | 2.8025e-08 | 19.4067
155.533 | 2.8192e-08 | 19.4069
155.836 | 2.8357e-08 | 19.4079
157.108 | 2.9052e-08 | 19.4225
158.079 | 2.9633e-08 | 19.4317
158.412 | 2.9821e-08 | 19.4297
158.715 | 3.0013e-08 | 19.4372
159.049 | 3.0204e-08 | 19.4362
159.349 | 3.039e-08 | 19.4378
159.65 | 3.0586e-08 | 19.4448
159.979 | 3.0783e-08 | 19.4433
160.277 | 3.098e-08 | 19.4427
160.574 | 3.1183e-08 | 19.4488
160.906 | 3.1387e-08 | 19.4438
161.238 | 3.1593e-08 | 19.4508
161.537 | 3.1799e-08 | 19.4565
161.835 | 3.2002e-08 | 19.455
162.168 | 3.2222e-08 | 19.4548
162.469 | 3.2438e-08 | 19.4634
162.769 | 3.2664e-08 | 19.4612
163.106 | 3.2888e-08 | 19.4607
163.408 | 3.3116e-08 | 19.4694
163.744 | 3.3346e-08 | 19.4689
164.046 | 3.3575e-08 | 19.4699
164.346 | 3.3812e-08 | 19.4777
164.682 | 3.4058e-08 | 19.4741
164.984 | 3.4314e-08 | 19.4794
165.318 | 3.4562e-08 | 19.4782
165.619 | 3.4807e-08 | 19.4869
165.923 | 3.5059e-08 | 19.4868
166.255 | 3.5314e-08 | 19.4863
167.527 | 3.6375e-08 | 19.4955
168.497 | 3.7242e-08 | 19.5035
168.833 | 3.7531e-08 | 19.5021
169.133 | 3.7824e-08 | 19.5068
169.467 | 3.8117e-08 | 19.504
169.803 | 3.8425e-08 | 19.51
170.103 | 3.8715e-08 | 19.5098
170.404 | 3.9013e-08 | 19.5142
171.902 | 4.0468e-08 | 19.5252
172.891 | 4.1484e-08 | 19.5281
173.192 | 4.1805e-08 | 19.5278
173.524 | 4.2134e-08 | 19.5264
173.823 | 4.2467e-08 | 19.5317
174.122 | 4.2801e-08 | 19.53
174.455 | 4.3151e-08 | 19.5355
174.756 | 4.3496e-08 | 19.5342
175.089 | 4.3844e-08 | 19.5308
175.39 | 4.42e-08 | 19.5374
175.723 | 4.4554e-08 | 19.5358
176.025 | 4.4915e-08 | 19.5414
176.36 | 4.5275e-08 | 19.5403
176.661 | 4.5643e-08 | 19.5467
176.96 | 4.6005e-08 | 19.5458
177.295 | 4.6374e-08 | 19.5456
177.597 | 4.6752e-08 | 19.5516
177.93 | 4.7134e-08 | 19.55
178.232 | 4.7528e-08 | 19.5538
178.567 | 4.7933e-08 | 19.5577
178.869 | 4.8325e-08 | 19.5567
179.202 | 4.8722e-08 | 19.5554
179.536 | 4.9142e-08 | 19.5584
180.807 | 5.0844e-08 | 19.5679
181.809 | 5.221e-08 | 19.5733
182.111 | 5.2652e-08 | 19.5723
182.445 | 5.3107e-08 | 19.5762
182.779 | 5.3557e-08 | 19.5746
183.08 | 5.4013e-08 | 19.5796
183.379 | 5.4469e-08 | 19.5782
183.716 | 5.493e-08 | 19.5762
184.015 | 5.5399e-08 | 19.5811
184.349 | 5.59e-08 | 19.584
184.682 | 5.6393e-08 | 19.5804
184.979 | 5.6876e-08 | 19.585
185.308 | 5.7363e-08 | 19.5832
185.605 | 5.7857e-08 | 19.5873
185.937 | 5.8352e-08 | 19.5856
186.234 | 5.8853e-08 | 19.5831
186.567 | 5.9367e-08 | 19.5875
186.866 | 5.9877e-08 | 19.5864
187.166 | 6.0404e-08 | 19.5901
187.499 | 6.0939e-08 | 19.594
187.798 | 6.146e-08 | 19.5929
188.134 | 6.1996e-08 | 19.5902
189.402 | 6.4218e-08 | 19.6014
190.406 | 6.603e-08 | 19.6057
190.707 | 6.6609e-08 | 19.6032
191.041 | 6.7211e-08 | 19.6075
191.375 | 6.7804e-08 | 19.6062
191.676 | 6.8402e-08 | 19.6105
192.011 | 6.902e-08 | 19.6081
192.311 | 6.9628e-08 | 19.6127
192.612 | 7.024e-08 | 19.6119
192.947 | 7.086e-08 | 19.6092
193.28 | 7.1511e-08 | 19.6129
193.581 | 7.2149e-08 | 19.6171
193.917 | 7.28e-08 | 19.6148
194.215 | 7.3444e-08 | 19.6194
194.55 | 7.4094e-08 | 19.6187
194.851 | 7.4759e-08 | 19.6214
195.185 | 7.5443e-08 | 19.6196
195.487 | 7.6122e-08 | 19.6232
195.82 | 7.6805e-08 | 19.6211
196.121 | 7.7494e-08 | 19.6253
196.454 | 7.818e-08 | 19.6236
197.69 | 8.098e-08 | 19.6313
198.657 | 8.3223e-08 | 19.6336
198.986 | 8.3985e-08 | 19.6362
199.317 | 8.4745e-08 | 19.6338
199.613 | 8.5496e-08 | 19.6324
199.911 | 8.6269e-08 | 19.6358
200.243 | 8.706e-08 | 19.6376
200.576 | 8.786e-08 | 19.6357
200.874 | 8.8647e-08 | 19.6399
201.17 | 8.9441e-08 | 19.638
201.508 | 9.024e-08 | 19.6374
201.807 | 9.1067e-08 | 19.6402
202.14 | 9.1879e-08 | 19.639
202.441 | 9.2704e-08 | 19.6426
202.777 | 9.356e-08 | 19.6408
203.109 | 9.4428e-08 | 19.6439
203.411 | 9.5286e-08 | 19.6475
203.745 | 9.6163e-08 | 19.6453
204.08 | 9.7059e-08 | 19.6476
204.379 | 9.7944e-08 | 19.6511
204.713 | 9.885e-08 | 19.649
205.014 | 9.9763e-08 | 19.6519
205.35 | 1.0068e-07 | 19.6501
206.586 | 1.0434e-07 | 19.6575
207.586 | 1.089e-07 | 19.5952
209.192 | 1.1265e-07 | 19.6618
210.191 | 1.1595e-07 | 19.6643
210.491 | 1.1702e-07 | 19.6675
210.825 | 1.1811e-07 | 19.6698
211.158 | 1.1922e-07 | 19.6676
211.458 | 1.2032e-07 | 19.6709
211.791 | 1.2141e-07 | 19.6698
212.092 | 1.2252e-07 | 19.6734
212.424 | 1.2368e-07 | 19.67
212.76 | 1.2483e-07 | 19.6727
213.059 | 1.26e-07 | 19.6747
213.389 | 1.2716e-07 | 19.6715
213.685 | 1.2834e-07 | 19.6739
214.017 | 1.2954e-07 | 19.6763
214.348 | 1.3073e-07 | 19.6746
214.648 | 1.3195e-07 | 19.6774
214.981 | 1.3316e-07 | 19.6754
215.28 | 1.344e-07 | 19.6778
215.613 | 1.3564e-07 | 19.6763
215.948 | 1.3691e-07 | 19.6776
217.218 | 1.4205e-07 | 19.6817
218.201 | 1.4634e-07 | 19.6839
218.514 | 1.4782e-07 | 19.6804
218.834 | 1.4919e-07 | 19.6766
219.13 | 1.5059e-07 | 19.6793
219.481 | 1.5203e-07 | 19.684
219.831 | 1.5349e-07 | 19.6831
220.19 | 1.5496e-07 | 19.6882
220.54 | 1.5649e-07 | 19.6919
220.853 | 1.5798e-07 | 19.6965
221.2 | 1.5946e-07 | 19.6964
221.503 | 1.6095e-07 | 19.6994
222.757 | 1.6705e-07 | 19.7016
223.746 | 1.7203e-07 | 19.7021
224.075 | 1.7365e-07 | 19.6996
224.374 | 1.7531e-07 | 19.7016
224.705 | 1.7694e-07 | 19.6988
225.037 | 1.7863e-07 | 19.7019
225.338 | 1.8033e-07 | 19.666
226.903 | 1.8872e-07 | 19.7038
227.868 | 1.9416e-07 | 19.7068
228.168 | 1.96e-07 | 19.7092
228.497 | 1.9785e-07 | 19.7059
228.827 | 1.9978e-07 | 19.7072
229.123 | 2.0167e-07 | 19.7091
229.453 | 2.0354e-07 | 19.7079
229.786 | 2.0551e-07 | 19.7089
230.085 | 2.0747e-07 | 19.711
230.451 | 2.0972e-07 | 19.707
230.784 | 2.1174e-07 | 19.7092
231.12 | 2.1379e-07 | 19.7108
231.422 | 2.1579e-07 | 19.714
231.757 | 2.1784e-07 | 19.7119
232.091 | 2.1996e-07 | 19.7136
232.392 | 2.2208e-07 | 19.7156
233.659 | 2.3051e-07 | 19.7185
234.66 | 2.3748e-07 | 19.7206
235.059 | 2.402e-07 | 19.7187
235.36 | 2.425e-07 | 19.7211
235.693 | 2.4482e-07 | 19.7223
236.028 | 2.4724e-07 | 19.72
236.362 | 2.4962e-07 | 19.722
236.662 | 2.5197e-07 | 19.7247
236.996 | 2.5432e-07 | 19.7228
237.33 | 2.5688e-07 | 19.7237
237.631 | 2.5938e-07 | 19.7245
237.965 | 2.6187e-07 | 19.7274
238.301 | 2.6433e-07 | 19.7259
238.6 | 2.6687e-07 | 19.7279
238.934 | 2.6939e-07 | 19.7263
240.168 | 2.7956e-07 | 19.7309
241.203 | 2.882e-07 | 19.733
241.537 | 2.9107e-07 | 19.7346
241.869 | 2.9392e-07 | 19.7311
242.204 | 2.9679e-07 | 19.7331
242.504 | 2.9963e-07 | 19.7351
242.837 | 3.0258e-07 | 19.7361
243.172 | 3.0564e-07 | 19.7362
243.506 | 3.0862e-07 | 19.7375
243.838 | 3.1164e-07 | 19.7353
244.138 | 3.1459e-07 | 19.7379
244.468 | 3.1774e-07 | 19.7378
244.796 | 3.208e-07 | 19.735
246.09 | 3.3361e-07 | 19.7401
247.121 | 3.4404e-07 | 19.7383
247.422 | 3.4747e-07 | 19.7398
247.756 | 3.5086e-07 | 19.741
248.122 | 3.5458e-07 | 19.7397
248.454 | 3.5819e-07 | 19.7403
248.757 | 3.6176e-07 | 19.7422
249.091 | 3.653e-07 | 19.7446
249.426 | 3.6888e-07 | 19.7421
249.759 | 3.7261e-07 | 19.7434
250.06 | 3.7634e-07 | 19.7448
250.394 | 3.8012e-07 | 19.7461
250.729 | 3.8388e-07 | 19.7441
251.998 | 3.9899e-07 | 19.7469
253.032 | 4.1218e-07 | 19.75
253.365 | 4.1635e-07 | 19.7513
253.699 | 4.2061e-07 | 19.7521
254.034 | 4.2486e-07 | 19.7499
254.333 | 4.2909e-07 | 19.7518
254.668 | 4.3349e-07 | 19.7522
255.002 | 4.3804e-07 | 19.7525
255.335 | 4.4264e-07 | 19.7533
255.669 | 4.47e-07 | 19.7524
256.005 | 4.5164e-07 | 19.7529
256.303 | 4.5614e-07 | 19.7553
257.571 | 4.7456e-07 | 19.7573
258.606 | 4.9021e-07 | 19.7577
258.973 | 4.9588e-07 | 19.7594
259.339 | 5.0146e-07 | 19.757
259.738 | 5.0718e-07 | 19.7574
260.075 | 5.1352e-07 | 19.7603
261.403 | 5.3555e-07 | 19.7632
262.428 | 5.5319e-07 | 19.7616
262.761 | 5.5919e-07 | 19.7612
263.091 | 5.651e-07 | 19.7621
263.391 | 5.709e-07 | 19.7638
263.723 | 5.7689e-07 | 19.7648
264.057 | 5.8283e-07 | 19.763
264.358 | 5.889e-07 | 19.7646
264.691 | 5.9509e-07 | 19.7657
265.024 | 6.0142e-07 | 19.7664
265.359 | 6.0769e-07 | 19.7647
265.693 | 6.1409e-07 | 19.7656
265.993 | 6.2049e-07 | 19.7673
267.261 | 6.4653e-07 | 19.7681
268.297 | 6.6824e-07 | 19.7714
268.632 | 6.7547e-07 | 19.7681
268.964 | 6.8264e-07 | 19.7693
269.299 | 6.9024e-07 | 19.7697
269.633 | 6.9765e-07 | 19.7706
269.967 | 7.052e-07 | 19.7707
270.3 | 7.1293e-07 | 19.772
270.6 | 7.2046e-07 | 19.7734
270.935 | 7.2809e-07 | 19.7715
271.269 | 7.3581e-07 | 19.773
271.567 | 7.4367e-07 | 19.7745
271.904 | 7.517e-07 | 19.7756
273.204 | 7.8417e-07 | 19.7756
274.204 | 8.11e-07 | 19.7786
274.538 | 8.1977e-07 | 19.7766
274.839 | 8.2854e-07 | 19.7783
275.172 | 8.3741e-07 | 19.7801
275.507 | 8.4642e-07 | 19.7781
275.839 | 8.5569e-07 | 19.7792
276.141 | 8.6483e-07 | 19.7812
276.474 | 8.7421e-07 | 19.7784
276.806 | 8.8376e-07 | 19.7803
277.107 | 8.9353e-07 | 19.7805
277.44 | 9.0351e-07 | 19.7813
277.773 | 9.1355e-07 | 19.7822
278.107 | 9.2353e-07 | 19.7834
278.441 | 9.3367e-07 | 19.7813
279.767 | 9.7656e-07 | 19.778
280.693 | 1.0077e-06 | 19.7847
281.027 | 1.0188e-06 | 19.7824
281.358 | 1.03e-06 | 19.7835
281.658 | 1.0412e-06 | 19.7849
281.99 | 1.068e-06 | 19.745
283.493 | 1.1075e-06 | 19.788
284.495 | 1.1459e-06 | 19.7881
284.829 | 1.1586e-06 | 19.7892
285.163 | 1.1714e-06 | 19.7873
285.497 | 1.1846e-06 | 19.7882
285.833 | 1.1979e-06 | 19.7887
286.132 | 1.2113e-06 | 19.7896
286.466 | 1.2251e-06 | 19.7905
286.799 | 1.2392e-06 | 19.7906
287.133 | 1.2537e-06 | 19.7912
287.467 | 1.268e-06 | 19.7924
287.801 | 1.2831e-06 | 19.7919
289.07 | 1.3409e-06 | 19.7936
290.104 | 1.3899e-06 | 19.7959
290.438 | 1.4068e-06 | 19.795
290.772 | 1.4237e-06 | 19.7952
291.104 | 1.4403e-06 | 19.7963
291.439 | 1.4581e-06 | 19.7956
291.772 | 1.4755e-06 | 19.7963
292.105 | 1.4929e-06 | 19.7972
292.438 | 1.5106e-06 | 19.7973
292.773 | 1.5285e-06 | 19.7956
293.106 | 1.547e-06 | 19.7958
293.44 | 1.5654e-06 | 19.7969
294.64 | 1.6365e-06 | 19.7993
295.708 | 1.7021e-06 | 19.8008
296.076 | 1.7248e-06 | 19.799
296.409 | 1.7463e-06 | 19.7995
296.741 | 1.7677e-06 | 19.8003
297.042 | 1.7889e-06 | 19.8016
297.408 | 1.8132e-06 | 19.8
297.774 | 1.8382e-06 | 19.8007
298.109 | 1.8618e-06 | 19.8034
299.434 | 1.9576e-06 | 19.8021
300.395 | 2.0319e-06 | 19.8021
300.728 | 2.059e-06 | 19.8014
301.094 | 2.0887e-06 | 19.8047
301.428 | 2.1155e-06 | 19.8026
301.762 | 2.144e-06 | 19.804
302.161 | 2.1762e-06 | 19.8041
302.495 | 2.2062e-06 | 19.8061
302.828 | 2.2352e-06 | 19.8032
304.131 | 2.3488e-06 | 19.8057
305.031 | 2.439e-06 | 19.8077
305.4 | 2.4747e-06 | 19.8092
305.733 | 2.5084e-06 | 19.8084
306.099 | 2.5433e-06 | 19.8077
306.434 | 2.578e-06 | 19.8082
306.768 | 2.6149e-06 | 19.809
308.135 | 2.7645e-06 | 19.8087
309.17 | 2.8829e-06 | 19.8112
309.57 | 2.9287e-06 | 19.8093
309.936 | 2.9718e-06 | 19.8104
310.304 | 3.0175e-06 | 19.8104
310.637 | 3.0613e-06 | 19.8124
311.005 | 3.1046e-06 | 19.812
311.338 | 3.1473e-06 | 19.8124
312.607 | 3.3176e-06 | 19.8152