## Settings
Sample Info | sur24, 3e13, run04
Comments | 0.5/-0.7/0.5
Additional Comments | meas at 0 V
Major Measurement Parameters
Starting Temperature | 295.349
Initial Temperature | 80.5
Final Temperature | 320
Preliminary Voltage | 0.5
Pulse Voltage | -0.7
Pulse Time | 30
Wait Time | 0
Measurement Voltage | 0
Subsidiary Measurement Parameters
Step | 0.3
Accuracy Step | 0.1
Accuracy Stable | 0.5
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 20
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 5
Measurecount | 1
Time
Date | 1.4.2024
Clock | 12:31:34

## Stabilization
Temperature | Current | Temp Rate
294.793 | 2.6919e-06 | 0
294.318 | 2.6814e-06 | -18.3111
293.906 | 2.6722e-06 | -17.0423
293.497 | 2.6621e-06 | -16.6046
293.018 | 2.6507e-06 | -17.0346
292.552 | 2.6385e-06 | -17.2324
292.265 | 2.6256e-06 | -16.1847
292.023 | 2.613e-06 | -15.2232
291.825 | 2.6006e-06 | -14.254
291.634 | 2.5885e-06 | -13.492
291.435 | 2.5764e-06 | -14.3057
291.275 | 2.5639e-06 | -16.8418
291.088 | 2.5518e-06 | -23.6768
290.826 | 2.5392e-06 | -50.74
290.559 | 2.5261e-06 | -81.3895
290.255 | 2.5129e-06 | -11.0245
290.002 | 2.499e-06 | -10.9456
289.702 | 2.4846e-06 | -10.9769
289.311 | 2.4698e-06 | -212.0681
288.966 | 2.4548e-06 | -11.3078
288.701 | 2.4393e-06 | -11.2575
288.424 | 2.4236e-06 | -11.2375
287.995 | 2.4076e-06 | -11.4699
287.528 | 2.3908e-06 | -11.7334
287.117 | 2.3729e-06 | -11.8989
286.633 | 2.3541e-06 | -12.1482
286.025 | 2.3349e-06 | -12.5685
285.537 | 2.3148e-06 | -12.7913
285.087 | 2.2942e-06 | -12.956
284.494 | 2.2732e-06 | -13.2858
283.995 | 2.2515e-06 | -13.4783
283.546 | 2.2298e-06 | -13.5951
283.124 | 2.2078e-06 | -13.6783
282.481 | 2.1857e-06 | -14.0081
282.013 | 2.163e-06 | -14.1302
281.498 | 2.139e-06 | -14.2773
280.892 | 2.1151e-06 | -14.5201
280.361 | 2.091e-06 | -14.675
279.959 | 2.067e-06 | -14.6954
279.426 | 2.0426e-06 | -14.8442
279.033 | 2.0188e-06 | -14.8531
278.623 | 1.995e-06 | -14.8749
278.242 | 1.971e-06 | -14.8644
277.844 | 1.9472e-06 | -14.8737
277.383 | 1.9235e-06 | -14.9311
276.919 | 1.8995e-06 | -14.9895
276.49 | 1.8749e-06 | -15.01
276.05 | 1.8508e-06 | -15.0505
275.472 | 1.8273e-06 | -15.2016
275.016 | 1.8034e-06 | -15.2466
274.466 | 1.7794e-06 | -15.3645
274.12 | 1.7556e-06 | -15.3269
273.822 | 1.7321e-06 | -15.2498
273.627 | 1.7097e-06 | -15.1052
273.411 | 1.6876e-06 | -14.9796
273.188 | 1.6659e-06 | -14.8617
273.007 | 1.6451e-06 | -14.7203
272.838 | 1.6245e-06 | -14.5762
272.619 | 1.6049e-06 | -14.4712
272.359 | 1.5852e-06 | -14.3956
272.11 | 1.566e-06 | -14.318
271.71 | 1.5467e-06 | -14.3316
271.348 | 1.5274e-06 | -14.3247
270.989 | 1.5079e-06 | -14.3163
270.528 | 1.4883e-06 | -14.3649
270.082 | 1.4689e-06 | -14.4047
269.732 | 1.4497e-06 | -14.3888
269.191 | 1.4303e-06 | -14.4845
268.579 | 1.411e-06 | -14.6152
268.1 | 1.3912e-06 | -14.6635
267.576 | 1.3714e-06 | -14.7397
266.896 | 1.3517e-06 | -14.8969
266.37 | 1.3319e-06 | -14.969
265.741 | 1.3119e-06 | -15.0925
265.068 | 1.2918e-06 | -15.235
264.526 | 1.2719e-06 | -15.3077
263.822 | 1.2522e-06 | -15.4624
263.418 | 1.2321e-06 | -15.4561
263.039 | 1.212e-06 | -15.4384
262.803 | 1.1935e-06 | -15.3572
262.589 | 1.1755e-06 | -15.2676
262.409 | 1.1583e-06 | -15.1654
262.24 | 1.1418e-06 | -15.0618
261.99 | 1.1258e-06 | -14.9981
261.851 | 1.1099e-06 | -14.8828
261.7 | 1.0945e-06 | -14.7725
261.493 | 1.0793e-06 | -14.6923
261.256 | 1.0647e-06 | -14.6288
260.821 | 1.0503e-06 | -14.6521
260.516 | 1.0358e-06 | -14.6177
260.138 | 1.0213e-06 | -14.6153
259.629 | 1.0066e-06 | -14.6648
258.976 | 9.8628e-07 | -14.7119
258.466 | 9.7223e-07 | -14.7636
257.923 | 9.5779e-07 | -14.8256
257.253 | 9.4325e-07 | -14.9355
256.725 | 9.291e-07 | -14.9916
256.262 | 9.1467e-07 | -15.0158
255.708 | 9.005e-07 | -15.0758
255.385 | 8.8692e-07 | -15.0491
255.148 | 8.7364e-07 | -14.9865
254.819 | 8.6038e-07 | -14.958
254.507 | 8.48e-07 | -14.9295
254.128 | 8.3544e-07 | -14.9219
253.802 | 8.2309e-07 | -14.8963
253.253 | 8.1112e-07 | -14.9555
252.806 | 7.9896e-07 | -14.9752
252.155 | 7.8658e-07 | -15.064
251.525 | 7.7418e-07 | -15.1442
250.992 | 7.6184e-07 | -15.1901
250.263 | 7.4955e-07 | -15.3005
249.661 | 7.3721e-07 | -15.3651
248.996 | 7.2494e-07 | -15.4525
248.574 | 7.1277e-07 | -15.4549
248.205 | 7.0131e-07 | -15.442
247.904 | 6.9012e-07 | -15.4066
247.684 | 6.7949e-07 | -15.3479
247.436 | 6.6907e-07 | -15.2956
247.211 | 6.5896e-07 | -15.2384
247.098 | 6.4917e-07 | -15.1437
246.829 | 6.3963e-07 | -15.1027
246.626 | 6.304e-07 | -15.0428
246.434 | 6.2139e-07 | -14.9793
245.978 | 6.1249e-07 | -14.996
245.707 | 6.0335e-07 | -14.955
245.437 | 5.9459e-07 | -14.9154
245.108 | 5.8618e-07 | -14.8968
244.612 | 5.7787e-07 | -14.9269
244.236 | 5.6933e-07 | -14.9194
243.881 | 5.6101e-07 | -14.9078
243.409 | 5.529e-07 | -14.9281
242.963 | 5.445e-07 | -14.9383
242.582 | 5.362e-07 | -14.9302
242.237 | 5.2846e-07 | -14.9154
241.902 | 5.2081e-07 | -14.8987
241.341 | 5.1332e-07 | -14.942
240.936 | 5.0576e-07 | -14.9448
240.383 | 4.9835e-07 | -14.9875
240.104 | 4.9097e-07 | -14.9546
239.827 | 4.8386e-07 | -14.9215
239.534 | 4.7704e-07 | -14.894
239.236 | 4.7017e-07 | -14.8669
239.099 | 4.6366e-07 | -14.7996
238.808 | 4.5744e-07 | -14.7739
238.581 | 4.5123e-07 | -14.7325
238.229 | 4.4508e-07 | -14.7214
237.949 | 4.3902e-07 | -14.6927
237.618 | 4.3312e-07 | -14.6775
237.243 | 4.2721e-07 | -14.6741
236.824 | 4.2138e-07 | -14.6824
236.469 | 4.1568e-07 | -14.6748
236.102 | 4.0996e-07 | -14.6705
235.624 | 4.0428e-07 | -14.6922
235.091 | 3.9867e-07 | -14.7272
234.664 | 3.9302e-07 | -14.7374
233.975 | 3.8737e-07 | -14.8105
233.419 | 3.8171e-07 | -14.8495
232.727 | 3.7585e-07 | -14.9209
232.078 | 3.7008e-07 | -14.9813
231.5 | 3.6433e-07 | -15.0252
230.79 | 3.586e-07 | -15.0987
230.343 | 3.5294e-07 | -15.1098
230.02 | 3.4749e-07 | -15.0928
229.762 | 3.4218e-07 | -15.0605
229.538 | 3.3712e-07 | -15.0213
229.052 | 3.3209e-07 | -15.0419
228.795 | 3.2704e-07 | -15.0085
228.541 | 3.2216e-07 | -14.9751
228.253 | 3.1746e-07 | -14.951
227.805 | 3.1284e-07 | -14.9643
227.481 | 3.0814e-07 | -14.9459
227.177 | 3.037e-07 | -14.926
226.724 | 2.9919e-07 | -14.9384
226.202 | 2.9477e-07 | -14.9664
225.737 | 2.9031e-07 | -14.9818
225.324 | 2.8594e-07 | -14.9853
224.878 | 2.817e-07 | -14.9966
224.595 | 2.7747e-07 | -14.9727
224.258 | 2.7336e-07 | -14.9603
223.773 | 2.6928e-07 | -14.9788
223.439 | 2.6533e-07 | -14.966
223.066 | 2.6143e-07 | -14.9611
222.722 | 2.5754e-07 | -14.9493
222.17 | 2.5374e-07 | -14.9812
221.677 | 2.499e-07 | -14.9995
221.174 | 2.4604e-07 | -15.02
220.495 | 2.4231e-07 | -15.0775
220.034 | 2.3851e-07 | -15.089
219.312 | 2.3475e-07 | -15.153
218.907 | 2.3106e-07 | -15.1536
218.591 | 2.2742e-07 | -15.1355
218.323 | 2.2396e-07 | -15.1091
217.86 | 2.2061e-07 | -15.1219
217.571 | 2.1731e-07 | -15.101
217.327 | 2.1403e-07 | -15.07
217.113 | 2.1092e-07 | -15.0344
216.822 | 2.0786e-07 | -15.0132
216.373 | 2.048e-07 | -15.0223
215.96 | 2.0174e-07 | -15.0241
215.614 | 1.9879e-07 | -15.0153
215.312 | 1.9591e-07 | -14.9976
214.858 | 1.931e-07 | -15.0094
214.611 | 1.9028e-07 | -14.9807
214.358 | 1.8748e-07 | -14.9528
214.075 | 1.848e-07 | -14.9314
213.734 | 1.822e-07 | -14.9211
213.428 | 1.7967e-07 | -14.9051
213.171 | 1.7716e-07 | -14.8798
212.898 | 1.747e-07 | -14.8579
212.385 | 1.7226e-07 | -14.8783
212.04 | 1.6982e-07 | -14.8688
211.432 | 1.6734e-07 | -14.9044
210.909 | 1.6494e-07 | -14.9277
210.295 | 1.6245e-07 | -14.9645
209.834 | 1.6e-07 | -14.9746
209.468 | 1.5757e-07 | -14.9667
209.244 | 1.5527e-07 | -14.9356
209.043 | 1.5305e-07 | -14.9005
208.809 | 1.5094e-07 | -14.8722
208.683 | 1.4884e-07 | -14.8249
208.64 | 1.468e-07 | -14.7635
208.363 | 1.4488e-07 | -14.7438
208.218 | 1.4299e-07 | -14.7028
207.825 | 1.4111e-07 | -14.7028
207.516 | 1.3924e-07 | -14.6889
207.228 | 1.3737e-07 | -14.6708
206.737 | 1.3553e-07 | -14.6873
206.246 | 1.3372e-07 | -14.7039
205.792 | 1.3187e-07 | -14.7135
205.237 | 1.3007e-07 | -14.7415
204.721 | 1.2827e-07 | -14.7613
204.293 | 1.2647e-07 | -14.7665
203.595 | 1.2464e-07 | -14.8146
202.925 | 1.2279e-07 | -14.8578
202.42 | 1.2097e-07 | -14.8749
201.692 | 1.1916e-07 | -14.9278
201.003 | 1.1734e-07 | -14.9749
200.484 | 1.1555e-07 | -14.9927
199.777 | 1.1369e-07 | -15.0387
198.988 | 1.1195e-07 | -15.101
198.418 | 1.1018e-07 | -15.1266
197.629 | 1.0842e-07 | -15.1867
196.981 | 1.067e-07 | -15.2257
196.402 | 1.0496e-07 | -15.2519
195.815 | 1.0322e-07 | -15.2791
195.383 | 1.0154e-07 | -15.2826
194.891 | 9.9175e-08 | -15.2716
194.607 | 9.7598e-08 | -15.2526
194.504 | 9.609e-08 | -15.2055
194.498 | 9.4617e-08 | -15.1448
194.479 | 9.3198e-08 | -15.0851
194.549 | 9.1823e-08 | -15.0127
194.657 | 9.052e-08 | -14.9364
194.589 | 8.929e-08 | -14.8868
194.297 | 8.8057e-08 | -14.8706
193.872 | 8.6815e-08 | -14.8738
193.568 | 8.5587e-08 | -14.8606
193.107 | 8.4398e-08 | -14.8705
192.62 | 8.3233e-08 | -14.8839
192.159 | 8.2048e-08 | -14.892
191.903 | 8.0885e-08 | -14.8711
191.72 | 7.9757e-08 | -14.8393
191.594 | 7.8676e-08 | -14.7998
191.555 | 7.7644e-08 | -14.7493
191.581 | 7.6648e-08 | -14.6886
191.564 | 7.5651e-08 | -14.6333
191.652 | 7.4736e-08 | -14.5658
191.693 | 7.3844e-08 | -14.5052
191.587 | 7.299e-08 | -14.4656
191.581 | 7.2168e-08 | -14.4136
191.562 | 7.1343e-08 | -14.3611
191.416 | 7.0543e-08 | -14.3277
191.203 | 6.9759e-08 | -14.3035
191.085 | 6.8988e-08 | -14.2675
190.58 | 6.8217e-08 | -14.2844
190.347 | 6.7465e-08 | -14.2641
189.809 | 6.6724e-08 | -14.2855
189.374 | 6.5978e-08 | -14.2919
189.023 | 6.523e-08 | -14.2872
188.415 | 6.4479e-08 | -14.3162
188.221 | 6.3746e-08 | -14.2905
188.028 | 6.304e-08 | -14.2654
187.936 | 6.236e-08 | -14.227
187.923 | 6.1693e-08 | -14.1777
187.99 | 6.1049e-08 | -14.1183
188.095 | 6.0448e-08 | -14.0551
188.227 | 5.9856e-08 | -13.9881
187.915 | 5.9286e-08 | -13.9794
187.756 | 5.8694e-08 | -13.9514
187.286 | 5.8103e-08 | -13.9637
187.04 | 5.7528e-08 | -13.9473
186.639 | 5.6944e-08 | -13.9503
186.5 | 5.639e-08 | -13.9202
186.394 | 5.5842e-08 | -13.8855
186.383 | 5.5322e-08 | -13.8394
186.428 | 5.482e-08 | -13.7868
186.524 | 5.433e-08 | -13.7271
186.642 | 5.3852e-08 | -13.6644
186.762 | 5.3413e-08 | -13.6026
186.825 | 5.2987e-08 | -13.5488
186.844 | 5.2592e-08 | -13.501
186.968 | 5.2209e-08 | -13.4404
186.943 | 5.1841e-08 | -13.3989
186.983 | 5.1483e-08 | -13.3495
187.102 | 5.113e-08 | -13.2897
186.909 | 4.23e-08 | -13.2206
186.713 | -1.6654e-10 | -13.1863
186.33 | -1.7252e-10 | -13.19
185.996 | -1.6913e-10 | -13.187
185.798 | -1.68e-10 | -13.1675
185.634 | -1.6807e-10 | -13.1443
185.554 | -1.675e-10 | -13.1113
185.538 | -1.6702e-10 | -13.0711
185.574 | -1.6817e-10 | -13.0251
185.644 | -1.6874e-10 | -12.9757
185.757 | -1.6884e-10 | -12.9206
185.834 | -1.691e-10 | -12.8685
185.987 | -1.6844e-10 | -12.8097
186.246 | 4.3431e-08 | -12.7083
186.421 | 3.5784e-08 | -12.6476
186.52 | 4.3769e-08 | -12.5967
186.493 | 4.4841e-08 | -12.5608
186.615 | 4.4629e-08 | -12.5073
186.583 | 4.4436e-08 | -12.4722
186.626 | 4.4245e-08 | -12.4285
186.654 | 4.4056e-08 | -12.3868
186.688 | 4.3881e-08 | -12.3446
186.856 | 4.3708e-08 | -12.2854
187.037 | 4.3572e-08 | -12.2273
187.003 | 4.3458e-08 | -12.1939
187.152 | 4.3331e-08 | -12.1397
187.338 | 4.3229e-08 | -12.0815
187.496 | 4.3144e-08 | -12.0267
187.571 | 4.3063e-08 | -11.9802
187.719 | 4.2999e-08 | -11.9276
187.807 | 4.2939e-08 | -11.8808
187.848 | 4.289e-08 | -11.8407
187.964 | 4.2838e-08 | -11.7923
187.609 | 4.2782e-08 | -11.7959
187.657 | 4.2692e-08 | -11.7559
187.313 | 4.2605e-08 | -11.7587
187.285 | 4.2497e-08 | -11.7266
186.833 | 4.2389e-08 | -11.741
186.695 | 4.2261e-08 | -11.7219
186.451 | 4.2137e-08 | -11.7143
186.224 | 4.2002e-08 | -11.7047
186.236 | 4.1869e-08 | -11.6695
186.215 | 4.1747e-08 | -11.638
186.116 | 4.1626e-08 | -11.6148
186.122 | 4.1506e-08 | -11.5805
186.021 | 4.1386e-08 | -11.558
186.048 | 4.1268e-08 | -11.5218
186.151 | 4.1155e-08 | -11.4774
186.239 | 4.1053e-08 | -11.4349
186.292 | 4.0955e-08 | -11.3963
186.281 | 4.0865e-08 | -11.3652
185.834 | 4.0762e-08 | -11.3795
185.765 | 4.0642e-08 | -11.3543
185.092 | 4.0516e-08 | -11.3925
184.621 | 4.0365e-08 | -11.4091
184.451 | 4.0208e-08 | -11.3948
184.318 | 4.0055e-08 | -11.3769
184.029 | 3.9903e-08 | -11.3748
183.931 | 3.9741e-08 | -11.3528
183.887 | 3.9587e-08 | -11.3256
183.788 | -1.7716e-10 | -11.2938
183.785 | -1.736e-10 | -11.2633
183.777 | -1.7147e-10 | -11.2333
183.775 | -1.7195e-10 | -11.2025
183.765 | -1.7084e-10 | -11.1729
183.738 | -1.7104e-10 | -11.1456
183.704 | 3.8399e-08 | -11.0959
183.574 | 3.828e-08 | -11.0792
183.522 | 3.8149e-08 | -11.0546
183.461 | 3.802e-08 | -11.0307
183.339 | 3.7882e-08 | -11.0123
183.295 | 3.7751e-08 | -10.9876
183.252 | 3.7621e-08 | -10.9622
183.217 | 3.7496e-08 | -10.9369
183.168 | 3.7372e-08 | -10.9124
183.095 | 3.7243e-08 | -10.8903
183.022 | 3.7115e-08 | -10.869
182.811 | 3.6984e-08 | -10.8605
182.655 | 3.6831e-08 | -10.847
182.559 | 3.6663e-08 | -10.8276
182.445 | 3.6502e-08 | -10.8107
182.305 | 3.6354e-08 | -10.7962
182.183 | 3.6205e-08 | -10.78
182.075 | 3.6067e-08 | -10.7625
181.965 | 3.5931e-08 | -10.7452
181.858 | 3.5802e-08 | -10.7279
181.741 | 3.5678e-08 | -10.7113
181.623 | 3.5561e-08 | -10.6951
181.484 | 3.5454e-08 | -10.6809
181.279 | 3.5346e-08 | -10.673
181.081 | 3.5237e-08 | -10.6642
180.919 | 3.5123e-08 | -10.6524
180.765 | 3.5007e-08 | -10.6401
180.602 | 3.4889e-08 | -10.6288
180.431 | 3.476e-08 | -10.6181
180.245 | 3.4642e-08 | -10.6089
180.041 | 3.4527e-08 | -10.6017
179.836 | 3.4393e-08 | -10.5943
179.649 | 3.4268e-08 | -10.5849
179.443 | 3.4138e-08 | -10.5778
179.227 | 3.4007e-08 | -10.5713
178.994 | 3.3869e-08 | -10.5664
178.733 | 3.3726e-08 | -10.5645
178.509 | 3.3579e-08 | -10.5588
178.276 | 3.3422e-08 | -10.553
178.053 | 3.3272e-08 | -10.5474
177.827 | 3.3118e-08 | -10.542
177.603 | 3.2965e-08 | -10.5365
177.362 | 3.2804e-08 | -10.5325
177.136 | 3.264e-08 | -10.5271
176.91 | 3.2474e-08 | -10.5214
176.662 | 3.2311e-08 | -10.5179
176.416 | 3.2138e-08 | -10.5138
176.131 | 3.1963e-08 | -10.5134
175.707 | 3.1785e-08 | -10.5252
175.213 | 3.1594e-08 | -10.5433
174.78 | 3.1387e-08 | -10.5555
174.492 | 3.1187e-08 | -10.556
174.206 | 3.0977e-08 | -10.5555
173.905 | 3.0771e-08 | -10.5566
173.622 | 3.0565e-08 | -10.5563
173.311 | 3.0356e-08 | -10.5579
173.003 | 3.0148e-08 | -10.5595
172.657 | 2.9939e-08 | -10.5645
172.221 | 2.9731e-08 | -10.5774
171.721 | 2.9512e-08 | -10.5956
171.139 | 2.9281e-08 | -10.6205
170.512 | 2.9044e-08 | -10.6495
169.805 | 2.879e-08 | -10.6846
169.291 | 2.8536e-08 | -10.7032
168.861 | 2.8282e-08 | -10.715
168.484 | 2.8027e-08 | -10.7219
168.09 | 2.7777e-08 | -10.7304
167.723 | 2.7531e-08 | -10.737
167.366 | 2.728e-08 | -10.7423
166.98 | 2.703e-08 | -10.7498
166.543 | 2.6782e-08 | -10.7617
166.098 | 2.6534e-08 | -10.7743
165.762 | 2.6288e-08 | -10.7778
165.414 | 2.6043e-08 | -10.7824
164.987 | 2.5795e-08 | -10.7929
164.596 | 2.5552e-08 | -10.8008
164.266 | 2.5308e-08 | -10.8032
163.911 | 2.5067e-08 | -10.808
163.535 | 2.4829e-08 | -10.8144
163.153 | 2.4593e-08 | -10.8218
162.814 | 2.4362e-08 | -10.8254
162.466 | 2.4132e-08 | -10.8294
162.067 | 2.3899e-08 | -10.8377
161.724 | 2.3667e-08 | -10.8413
161.287 | 2.3441e-08 | -10.8526
160.652 | 2.3205e-08 | -10.8791
159.973 | 2.297e-08 | -10.9099
159.089 | 2.2727e-08 | -10.9573
158.138 | 2.2476e-08 | -11.0096
157.129 | 2.2212e-08 | -11.0662
156.148 | 2.1941e-08 | -11.12
155.267 | 2.1663e-08 | -11.1655
154.56 | 2.139e-08 | -11.197
153.985 | 2.1127e-08 | -11.2185
153.505 | 2.0868e-08 | -11.232
153.022 | 2.0611e-08 | -11.2456
152.575 | 2.0363e-08 | -11.2565
152.177 | 2.0125e-08 | -11.2638
151.778 | 1.9892e-08 | -11.2709
151.367 | 1.9661e-08 | -11.2788
150.987 | 1.944e-08 | -11.2849
150.576 | 1.9217e-08 | -11.2925
150.2 | 1.9003e-08 | -11.298
149.791 | 1.8789e-08 | -11.3053
149.414 | 1.8583e-08 | -11.3104
148.999 | 1.8382e-08 | -11.3184
148.566 | 1.8186e-08 | -11.3278
148.145 | 1.7979e-08 | -11.3359
147.738 | 1.7777e-08 | -11.3434
147.279 | 1.7586e-08 | -11.3546
146.873 | 1.7403e-08 | -11.3623
146.375 | 1.7218e-08 | -11.3761
145.792 | 1.7034e-08 | -11.3967
145.294 | 1.6857e-08 | -11.4111
144.746 | 1.6681e-08 | -11.4289
144.251 | 1.6509e-08 | -11.4429
143.781 | 1.6343e-08 | -11.4551
143.184 | 1.6179e-08 | -11.4765
142.571 | 1.6005e-08 | -11.4984
142.055 | 1.5837e-08 | -11.5128
141.57 | 1.5679e-08 | -11.5256
140.99 | 1.5529e-08 | -11.5458
140.48 | 1.538e-08 | -11.5605
139.961 | 1.5236e-08 | -11.5753
139.425 | 1.5097e-08 | -11.5917
138.753 | 1.4957e-08 | -11.6184
138.092 | 1.4817e-08 | -11.6442
137.432 | 1.4672e-08 | -11.6689
136.642 | 1.4539e-08 | -11.7039
135.576 | 1.4397e-08 | -11.759
134.569 | 1.4252e-08 | -11.8093
133.596 | 1.4107e-08 | -11.8571
132.623 | 1.3962e-08 | -11.9046
131.62 | 1.3817e-08 | -11.9542
130.815 | 1.3675e-08 | -11.9892
130.093 | 1.3532e-08 | -12.0178
129.52 | 1.3393e-08 | -12.0358
128.993 | 1.326e-08 | -12.0505
128.479 | 1.3132e-08 | -12.0635
128.028 | 1.3005e-08 | -12.0723
127.572 | 1.2881e-08 | -12.0812
127.041 | 1.2764e-08 | -12.0958
126.49 | 1.2648e-08 | -12.1115
125.969 | 1.2533e-08 | -12.1248
125.467 | 1.2423e-08 | -12.1367
125.005 | 1.232e-08 | -12.1461
124.554 | 1.2215e-08 | -12.1541
124.15 | 1.2116e-08 | -12.1591
123.722 | 1.2019e-08 | -12.1654
123.34 | 1.1924e-08 | -12.1688
122.999 | 1.1835e-08 | -12.1693
122.612 | 1.1749e-08 | -12.1728
122.256 | 1.1671e-08 | -12.1745
121.92 | 1.1592e-08 | -12.1748
121.571 | 1.1512e-08 | -12.1758
121.216 | 1.1441e-08 | -12.1775
120.765 | 1.137e-08 | -12.1852
120.389 | 1.13e-08 | -12.188
119.977 | 1.1232e-08 | -12.1935
119.495 | 1.1169e-08 | -12.2041
118.89 | 1.1105e-08 | -12.2225
118.338 | 1.1039e-08 | -12.237
117.879 | 1.0972e-08 | -12.2447
117.503 | 1.0912e-08 | -12.2474
117.085 | 1.0857e-08 | -12.253
116.515 | 1.0801e-08 | -12.2692
115.864 | 1.0746e-08 | -12.2907
115.205 | 1.0691e-08 | -12.3127
114.303 | 1.0635e-08 | -12.3513
113.095 | 1.0581e-08 | -12.4108
111.877 | 1.0523e-08 | -12.4705
110.866 | 1.0466e-08 | -12.516
110.017 | 1.041e-08 | -12.5503
108.333 | 1.0348e-08 | -12.6411
105.924 | 1.028e-08 | -12.781
103.058 | 1.0213e-08 | -12.9509
99.9414 | 1.0144e-08 | -13.137
95.6952 | 1.0064e-08 | -13.3983
86.4773 | 9.9541e-09 | -13.9837
84.2016 | 9.8734e-09 | -14.1101
83.1866 | 9.7935e-09 | -14.1522
82.7003 | 9.7178e-09 | -14.1574
82.4216 | 9.65e-09 | -14.1498
82.1909 | 9.5839e-09 | -14.1379
82.0343 | 9.5237e-09 | -14.121
81.8867 | 9.4693e-09 | -14.1046
81.8172 | 9.4194e-09 | -14.0834
81.7984 | 9.3693e-09 | -14.0588
81.7933 | 9.3257e-09 | -14.0339
81.7941 | 9.2811e-09 | -14.0083
81.7876 | 9.2299e-09 | -13.9828
81.7297 | 9.1992e-09 | -13.9609
81.6645 | 9.1633e-09 | -13.94
81.5411 | 9.126e-09 | -13.9227
81.5771 | 9.0878e-09 | -13.8956
81.608 | 9.0525e-09 | -13.8687
81.6023 | 9.0168e-09 | -13.8442
81.5686 | 8.9798e-09 | -13.8213
81.5326 | 8.9443e-09 | -13.7988
81.4389 | 8.9116e-09 | -13.7802
81.4346 | 8.878e-09 | -13.7561
81.4346 | 8.8447e-09 | -13.7318
81.4108 | 8.8138e-09 | -13.7092
81.399 | 8.7798e-09 | -13.685
81.3758 | 8.7504e-09 | -13.6622
81.3266 | 8.721e-09 | -13.6414
81.282 | 8.6924e-09 | -13.6205
81.3961 | 8.6643e-09 | -13.5896
81.4136 | 8.6374e-09 | -13.5649
81.4125 | 8.6102e-09 | -13.541
81.392 | 8.5838e-09 | -13.5186
81.31 | 8.5579e-09 | -13.5002
81.2636 | 8.5334e-09 | -13.4788
81.413 | 8.5099e-09 | -13.4457
81.4591 | 8.4866e-09 | -13.4195
81.4196 | 8.4648e-09 | -13.3981
81.3713 | 8.4431e-09 | -13.3777
81.3041 | 8.4213e-09 | -13.3588
81.2623 | 8.4008e-09 | -13.338
81.3628 | 8.3816e-09 | -13.309
81.3521 | 8.3636e-09 | -13.2862
81.328 | 8.3454e-09 | -13.2642
81.2838 | 8.3275e-09 | -13.2442
81.2251 | 8.3098e-09 | -13.225
81.1259 | 8.2939e-09 | -13.2086
81.148 | 8.2766e-09 | -13.1843
81.1435 | 8.2596e-09 | -13.1612
81.1273 | 8.245e-09 | -13.1396
81.094 | 8.2306e-09 | -13.1192
81.0404 | 8.2159e-09 | -13.0992
81.0711 | 8.2012e-09 | -13.0746
81.0864 | 8.1887e-09 | -13.0512
81.0847 | 8.1776e-09 | -13.0294
81.0821 | 8.1654e-09 | -13.0076
81.0489 | 8.1554e-09 | -12.9879
80.9761 | 8.1432e-09 | -12.9702
80.9651 | 8.1337e-09 | -12.9493
80.9746 | 8.1242e-09 | -12.9272
81.0047 | 8.114e-09 | -12.9037
81.0081 | 8.1045e-09 | -12.8818
80.9952 | 8.0963e-09 | -12.8609
80.9625 | 8.0887e-09 | -12.8414
80.8961 | 8.0794e-09 | -12.8233
80.9378 | 8.0716e-09 | -12.7994
80.9554 | 8.0626e-09 | -12.7772
80.9675 | 8.0573e-09 | -12.7549
80.9234 | 8.0497e-09 | -12.7368
80.8616 | 8.0427e-09 | -12.7194
81.0245 | 7.7325e-09 | -12.6888
81.1344 | 7.5874e-09 | -12.6615
81.1284 | 6.3309e-09 | -12.6411
81.0762 | -1.7995e-10 | -12.6231
81.0248 | -1.8219e-10 | -12.6057
80.9885 | -1.8252e-10 | -12.5873
80.9334 | -1.8251e-10 | -12.5693
80.8947 | -1.8227e-10 | -12.5512
80.843 | -1.819e-10 | -12.5338
80.8627 | -1.8286e-10 | -12.5116
80.9455 | -1.8225e-10 | -12.4862
80.9484 | -1.8286e-10 | -12.4652
80.9355 | -1.8277e-10 | -12.4458
80.9171 | -1.8202e-10 | -12.4271
80.8775 | -1.8166e-10 | -12.4091

## Pulse
Temperature | Current | Time
80.8554 | -1.8324e-10 | 1.3859
80.7909 | -1.8193e-10 | 3.0552
80.8019 | -1.8336e-10 | 4.7116
80.7961 | -6.2187e-09 | 6.347
80.7808 | -8.3294e-09 | 7.9882
80.733 | -8.3044e-09 | 9.6293
80.6591 | -8.2969e-09 | 11.3003
80.6562 | -8.2959e-09 | 12.9742
80.6531 | -8.2967e-09 | 14.6283
80.6402 | -8.3048e-09 | 16.2865
80.6444 | -8.3147e-09 | 17.9231
80.621 | -8.3158e-09 | 19.5602
80.6223 | -8.3205e-09 | 21.2038
80.656 | -8.3291e-09 | 22.8323
80.6296 | -8.3363e-09 | 24.4722
80.5482 | -8.3441e-09 | 26.1339
80.5205 | -8.3481e-09 | 27.7802
80.5118 | -8.3553e-09 | 29.4497

## Measurements
Temperature | Current | Temp Rate
80.5234 | 3.2708e-09 | 0
80.6502 | 3.5366e-09 | 0.74459
80.9669 | 3.5773e-09 | 2.4511
81.2561 | 3.6028e-09 | 3.6409
81.5907 | 3.6271e-09 | 4.8179
81.8605 | 3.6446e-09 | 5.5304
82.1504 | 3.6732e-09 | 6.098
82.4431 | 3.7534e-09 | 5.5904
83.1409 | 3.7705e-09 | 7.06
84.4189 | 3.7928e-09 | 9.8052
85.5838 | 3.8171e-09 | 19.0369
87.1091 | 3.8496e-09 | 26.9803
88.0396 | 3.865e-09 | 37.1999
89.5688 | 3.8896e-09 | 111.5656
90.5447 | 3.906e-09 | 195.452
91.1449 | 3.9172e-09 | 19.1248
92.4451 | 3.9437e-09 | 20.0733
93.4447 | 3.9686e-09 | 20.5494
93.836 | 3.9788e-09 | 872.6673
94.2515 | 3.9903e-09 | 20.7602
94.6105 | 4.0007e-09 | 20.8221
94.9582 | 4.0121e-09 | 20.8662
95.295 | 4.0216e-09 | 20.9309
95.658 | 4.0322e-09 | 20.9369
96.8287 | 4.0725e-09 | 20.9309
97.8888 | 4.107e-09 | 20.8365
98.1682 | 4.1141e-09 | 20.7715
98.4765 | 4.1211e-09 | 20.7199
98.7495 | 4.1294e-09 | 20.7055
99.1097 | 4.1384e-09 | 20.6402
99.3787 | 4.1444e-09 | 20.5886
99.6748 | 4.1507e-09 | 20.536
100.031 | 4.1565e-09 | 20.4765
100.295 | 4.1609e-09 | 20.4519
100.557 | 4.1638e-09 | 20.399
100.9 | 4.166e-09 | 20.3335
101.162 | 4.1666e-09 | 20.2855
101.508 | 4.1651e-09 | 20.2271
101.798 | 4.163e-09 | 20.1693
102.059 | 4.1615e-09 | 20.149
102.354 | 4.1559e-09 | 20.1046
102.708 | 4.1501e-09 | 20.0594
102.976 | 4.1447e-09 | 20.0225
103.244 | 4.1378e-09 | 20.0102
103.609 | 4.1265e-09 | 19.9812
103.882 | 4.1174e-09 | 19.9475
104.188 | 4.1063e-09 | 19.9392
104.465 | 4.095e-09 | 19.908
104.773 | 4.0847e-09 | 19.8768
105.083 | 4.0739e-09 | 19.872
105.365 | 4.0617e-09 | 19.8706
105.649 | 4.0504e-09 | 19.8524
105.966 | 4.0391e-09 | 19.8383
106.347 | 4.0239e-09 | 19.8259
106.633 | 4.0119e-09 | 19.8111
106.92 | 3.9984e-09 | 19.816
107.243 | 3.9863e-09 | 19.7879
107.563 | 3.9744e-09 | 19.7972
107.854 | 3.9619e-09 | 19.7817
108.146 | 3.9496e-09 | 19.7924
108.47 | 3.9382e-09 | 19.7812
108.764 | 3.9264e-09 | 19.7918
109.057 | 3.9143e-09 | 19.7823
109.377 | 3.9028e-09 | 19.7677
109.665 | 3.8921e-09 | 19.7588
109.956 | 3.8798e-09 | 19.7691
110.247 | 3.8681e-09 | 19.7537
110.573 | 3.8558e-09 | 19.7634
110.868 | 3.8445e-09 | 19.7509
111.197 | 3.8321e-09 | 19.7475
111.491 | 3.8209e-09 | 19.7636
111.821 | 3.8093e-09 | 19.7544
112.12 | 3.7985e-09 | 19.7654
112.452 | 3.7866e-09 | 19.7572
112.749 | 3.775e-09 | 19.75
113.083 | 3.7629e-09 | 19.7441
113.416 | 3.7516e-09 | 19.7733
113.717 | 3.7393e-09 | 19.7676
114.048 | 3.7283e-09 | 19.7654
114.383 | 3.7175e-09 | 19.7631
114.685 | 3.705e-09 | 19.7779
115.019 | 3.6945e-09 | 19.7674
115.321 | 3.6841e-09 | 19.7779
116.627 | 3.6423e-09 | 19.7867
117.599 | 3.61e-09 | 19.8074
117.934 | 3.5997e-09 | 19.8008
118.228 | 3.5901e-09 | 19.7939
118.523 | 3.5801e-09 | 19.801
118.852 | 3.5712e-09 | 19.7889
119.148 | 3.5604e-09 | 19.8026
119.446 | 3.5511e-09 | 19.7969
119.809 | 3.5399e-09 | 19.8015
120.108 | -1.8337e-10 | 19.8029
120.442 | -1.8509e-10 | 19.7959
120.741 | -1.8426e-10 | 19.7927
121.044 | -1.8328e-10 | 19.808
121.485 | -1.8425e-10 | 19.7947
121.856 | -1.844e-10 | 19.8115
122.155 | -1.5838e-10 | 19.8095
123.392 | 3.178e-09 | 19.8272
124.398 | 2.6434e-09 | 19.8308
124.735 | 3.3677e-09 | 19.8265
125.073 | 3.3915e-09 | 19.8296
125.373 | 3.3887e-09 | 19.8277
125.677 | 3.3815e-09 | 19.8363
126.012 | 3.3535e-09 | 19.8437
126.349 | 3.262e-09 | 19.8507
126.686 | 3.168e-09 | 19.8453
126.991 | 3.1742e-09 | 19.8428
127.293 | 3.1784e-09 | 19.8568
127.593 | 3.2654e-09 | 19.8543
127.889 | 3.3178e-09 | 19.851
128.218 | 3.3261e-09 | 19.8503
128.549 | 3.3193e-09 | 19.845
128.847 | 3.3112e-09 | 19.8545
129.178 | 3.3022e-09 | 19.8489
129.478 | 3.2935e-09 | 19.8436
129.776 | 3.2862e-09 | 19.8519
130.111 | 3.2787e-09 | 19.8581
130.413 | 3.2722e-09 | 19.8556
130.748 | 3.2656e-09 | 19.8545
131.05 | 3.2586e-09 | 19.8533
132.289 | 3.2295e-09 | 19.8695
133.296 | 3.2049e-09 | 19.8627
133.597 | 3.1972e-09 | 19.8733
133.933 | 3.1903e-09 | 19.8681
134.235 | 3.1824e-09 | 19.8739
134.604 | 3.176e-09 | 19.8671
134.906 | 3.1678e-09 | 19.8775
135.309 | 3.1593e-09 | 19.8806
135.61 | 3.152e-09 | 19.8785
135.912 | 3.1438e-09 | 19.8736
136.248 | 3.1349e-09 | 19.8792
136.548 | 3.128e-09 | 19.885
136.884 | 3.1214e-09 | 19.8887
137.219 | 3.1128e-09 | 19.8792
138.473 | 3.0834e-09 | 19.8845
139.502 | 3.06e-09 | 19.8821
139.803 | 3.0533e-09 | 19.8896
140.135 | 3.0461e-09 | 19.8827
140.435 | 3.0378e-09 | 19.886
140.771 | 3.0343e-09 | 19.8845
141.073 | 3.0276e-09 | 19.8922
141.373 | 3.02e-09 | 19.8868
141.708 | 3.0129e-09 | 19.894
142.042 | 3.0047e-09 | 19.8905
142.344 | 3.0001e-09 | 19.8943
142.68 | 2.9918e-09 | 19.8912
142.981 | 2.9845e-09 | 19.8987
143.282 | 2.9787e-09 | 19.8979
143.618 | 2.971e-09 | 19.8919
143.988 | 2.9634e-09 | 19.9021
144.323 | 2.9564e-09 | 19.8929
145.599 | 1.3826e-09 | 19.9027
146.602 | -1.8632e-10 | 19.9085
146.938 | -1.8611e-10 | 19.9011
147.27 | -1.8549e-10 | 19.9094
147.606 | -1.8573e-10 | 19.9059
147.907 | -1.862e-10 | 19.9119
148.238 | -1.8507e-10 | 19.9048
148.567 | -1.8547e-10 | 19.904
148.897 | -1.8346e-10 | 19.9041
149.194 | -1.866e-10 | 19.9093
149.525 | -1.8528e-10 | 19.9057
149.823 | -1.8446e-10 | 19.9103
150.121 | -1.8502e-10 | 19.9045
150.488 | -1.8486e-10 | 19.9042
150.787 | -1.8641e-10 | 19.908
151.119 | 2.0131e-10 | 19.9034
151.453 | 2.7205e-09 | 19.9077
152.694 | 2.7863e-09 | 19.9168
153.697 | 2.779e-09 | 19.9189
154.031 | 2.7756e-09 | 19.9119
154.363 | 2.77e-09 | 19.9122
154.667 | 2.7645e-09 | 19.9173
155.002 | 2.7606e-09 | 19.92
155.337 | 2.7549e-09 | 19.9149
155.671 | 2.7489e-09 | 19.9185
155.973 | 2.7437e-09 | 19.9162
156.276 | 2.7391e-09 | 19.92
156.61 | 2.7334e-09 | 19.9167
156.911 | 2.7275e-09 | 19.9222
157.247 | 2.7232e-09 | 19.9264
157.548 | 2.7182e-09 | 19.9231
157.883 | 2.7142e-09 | 19.9254
158.219 | 2.7098e-09 | 19.9202
158.519 | 2.7047e-09 | 19.9262
158.854 | 2.6996e-09 | 19.9213
160.116 | 2.6812e-09 | 19.92
161.108 | 2.6651e-09 | 19.9247
161.441 | 2.6607e-09 | 19.9204
161.74 | 2.657e-09 | 19.9237
162.072 | 2.6522e-09 | 19.9245
162.408 | 2.6476e-09 | 19.9287
162.708 | 2.6439e-09 | 19.9277
163.043 | 2.6406e-09 | 19.9213
163.378 | 2.6361e-09 | 19.9237
163.711 | 2.6314e-09 | 19.9281
164.013 | 2.6286e-09 | 19.9301
164.347 | 2.6244e-09 | 19.9251
164.648 | 2.6205e-09 | 19.9294
164.982 | 2.6158e-09 | 19.9274
165.284 | 2.6119e-09 | 19.9319
165.62 | 2.6078e-09 | 19.9286
165.922 | 2.6038e-09 | 19.9322
166.254 | 2.601e-09 | 19.9286
167.494 | 2.5862e-09 | 19.9351
168.497 | 2.5753e-09 | 19.9376
168.832 | 2.5728e-09 | 19.9327
169.132 | 2.569e-09 | 19.9371
169.466 | 2.5663e-09 | 19.9385
169.8 | 2.5632e-09 | 19.9339
170.102 | 2.5593e-09 | 19.9378
170.437 | 2.5566e-09 | 19.9354
170.738 | 2.5539e-09 | 19.9396
171.171 | 2.5495e-09 | 19.9364
171.506 | 2.5484e-09 | 19.9387
171.803 | 2.5458e-09 | 19.9412
172.133 | 2.5428e-09 | 19.9363
173.357 | 2.5324e-09 | 19.9376
174.391 | 2.5255e-09 | 19.9383
174.726 | 2.5237e-09 | 19.9386
175.027 | 2.5205e-09 | 19.9418
175.361 | 2.5182e-09 | 19.9388
175.661 | 2.5162e-09 | 19.9411
175.996 | 2.5137e-09 | 19.9422
176.33 | 2.5113e-09 | 19.9394
176.631 | 2.5096e-09 | 19.9428
176.967 | 2.5076e-09 | 19.9379
177.3 | 2.5068e-09 | 19.941
177.601 | 2.5044e-09 | 19.9432
177.935 | 2.5023e-09 | 19.9455
178.271 | 2.5018e-09 | 19.9402
178.605 | 2.4996e-09 | 19.9438
178.905 | 2.4988e-09 | 19.945
179.239 | 2.4948e-09 | 19.9399
180.51 | 2.49e-09 | 19.9479
181.512 | 2.4891e-09 | 19.9485
181.846 | 2.4876e-09 | 19.9449
182.146 | 2.4853e-09 | 19.9473
182.481 | 2.4856e-09 | 19.9502
182.813 | 2.4845e-09 | 19.9461
183.114 | 2.4835e-09 | 19.948
183.45 | 2.4839e-09 | 19.9503
183.783 | 2.4824e-09 | 19.9472
184.085 | 2.482e-09 | 19.9495
184.418 | 2.4816e-09 | 19.9521
184.749 | 2.4795e-09 | 19.9478
185.079 | 2.4797e-09 | 19.9474
185.376 | 2.4796e-09 | 19.9494
185.705 | 2.4782e-09 | 19.9444
186.003 | 2.4789e-09 | 19.9473
187.267 | 2.4764e-09 | 19.9486
188.266 | 2.4753e-09 | 19.9482
188.601 | 2.4751e-09 | 19.9458
188.936 | 2.4745e-09 | 19.9477
189.237 | 2.4741e-09 | 19.9488
189.572 | 2.4736e-09 | 19.9516
189.905 | 2.4744e-09 | 19.948
190.207 | 2.4746e-09 | 19.951
190.54 | 2.4748e-09 | 19.9482
190.841 | 2.474e-09 | 19.9506
191.176 | 2.4746e-09 | 19.9465
191.509 | 2.4756e-09 | 19.9464
191.845 | 2.4749e-09 | 19.9481
192.178 | 2.475e-09 | 19.9494
192.48 | 2.4751e-09 | 19.9528
192.813 | 2.4747e-09 | 19.9498
193.114 | 2.4741e-09 | 19.9525
194.417 | 2.4757e-09 | 19.9529
195.42 | 2.4746e-09 | 19.9525
195.753 | 2.4756e-09 | 19.9528
196.089 | 2.4755e-09 | 19.9578
196.39 | 2.4749e-09 | 19.9549
196.722 | 2.4741e-09 | 19.9561
197.057 | 2.4743e-09 | 19.9571
197.392 | 2.4758e-09 | 19.9571
197.726 | 2.4737e-09 | 19.9526
198.06 | 2.4748e-09 | 19.9547
198.359 | 2.476e-09 | 19.9563
199.681 | 2.4778e-09 | 19.9526
200.676 | 2.4783e-09 | 19.9545
201.008 | 2.4783e-09 | 19.956
201.34 | 2.4784e-09 | 19.956
201.677 | 2.4786e-09 | 19.9527
201.975 | 2.4802e-09 | 19.9546
202.308 | 2.4804e-09 | 19.9567
202.643 | 2.4798e-09 | 19.9527
202.977 | 2.4807e-09 | 19.9541
203.311 | 2.4812e-09 | 19.9543
203.643 | 2.4815e-09 | 19.9538
204.012 | 2.4828e-09 | 19.9548
204.346 | 2.4824e-09 | 19.9533
205.549 | 2.4833e-09 | 19.9595
206.551 | 2.4831e-09 | 19.9585
206.883 | 2.4827e-09 | 19.9587
207.219 | 2.4829e-09 | 19.9605
207.552 | 2.483e-09 | 19.9574
207.854 | 2.4838e-09 | 19.9589
208.188 | 2.4846e-09 | 19.961
208.521 | 2.4841e-09 | 19.9576
208.854 | 2.4844e-09 | 19.9566
209.189 | 2.4853e-09 | 19.9572
209.523 | 2.4855e-09 | 19.9566
209.859 | 2.4862e-09 | 19.9572
210.192 | 2.4858e-09 | 19.9612
210.527 | 2.4858e-09 | 19.958
211.797 | 2.4858e-09 | 19.9601
212.802 | 2.4851e-09 | 19.9633
213.133 | 2.4856e-09 | 19.9642
213.464 | 2.4853e-09 | 19.9608
213.793 | 2.4844e-09 | 19.9599
214.123 | 2.4847e-09 | 19.9596
214.456 | 2.4857e-09 | 19.9604
214.755 | 2.4838e-09 | 19.9615
215.086 | 2.4838e-09 | 19.9628
215.386 | 2.4837e-09 | 19.961
215.718 | 2.4824e-09 | 19.962
216.054 | 2.4824e-09 | 19.9598
216.387 | 2.4809e-09 | 19.9604
216.686 | 2.481e-09 | 19.9608
217.053 | 2.481e-09 | 19.9593
218.286 | 2.4776e-09 | 19.9626
219.283 | 2.4756e-09 | 19.9624
219.604 | 2.4742e-09 | 19.9614
219.915 | 2.4734e-09 | 19.9575
220.238 | 2.472e-09 | 19.9555
220.577 | 2.4719e-09 | 19.9568
220.965 | 2.4705e-09 | 19.9603
221.281 | 2.47e-09 | 19.9596
221.623 | 2.4679e-09 | 19.9609
221.972 | 2.4663e-09 | 19.9648
222.287 | 2.466e-09 | 19.9661
223.535 | 2.461e-09 | 19.9698
224.553 | 2.4565e-09 | 19.9698
224.884 | 2.4549e-09 | 19.9652
225.214 | 2.4528e-09 | 19.9649
225.544 | 2.4522e-09 | 19.9652
225.943 | 2.45e-09 | 19.9666
226.276 | 2.4485e-09 | 19.967
226.64 | 2.446e-09 | 19.9639
226.973 | 2.4437e-09 | 19.9637
227.304 | 2.4424e-09 | 19.9654
227.605 | 2.44e-09 | 19.9669
228.895 | 2.4337e-09 | 19.9652
229.887 | 2.4277e-09 | 19.9654
230.219 | 2.4249e-09 | 19.9654
230.552 | 2.4237e-09 | 19.9654
230.886 | 2.4209e-09 | 19.9648
231.255 | 2.4185e-09 | 19.9645
231.622 | 2.4174e-09 | 19.9662
231.956 | 2.4152e-09 | 19.9657
232.289 | 2.4129e-09 | 19.9656
233.524 | 2.4034e-09 | 19.9656
234.558 | 2.3967e-09 | 19.9667
234.893 | 2.3948e-09 | 19.9671
235.225 | 2.3942e-09 | 19.9668
235.56 | 2.3927e-09 | 19.9672
235.894 | 2.3914e-09 | 19.9678
236.227 | 2.3903e-09 | 19.9649
236.562 | 2.3871e-09 | 19.966
236.895 | 2.3851e-09 | 19.9656
237.23 | 2.3829e-09 | 19.9656
237.564 | 2.3808e-09 | 19.9666
237.865 | 2.3781e-09 | 19.9678
238.233 | 2.3767e-09 | 19.9668
239.468 | 2.3671e-09 | 19.9693
240.503 | 2.3587e-09 | 19.9671
240.836 | 2.3558e-09 | 19.9678
241.17 | 2.3528e-09 | 19.9678
241.47 | 2.3511e-09 | 19.9695
241.804 | 2.3474e-09 | 19.9695
242.137 | 2.3453e-09 | 19.9697
242.471 | 2.3425e-09 | 19.9673
242.804 | 2.3413e-09 | 19.9688
243.137 | 2.338e-09 | 19.9689
243.471 | 2.3361e-09 | 19.9684
243.805 | 2.3328e-09 | 19.9693
244.138 | 2.3301e-09 | 19.9687
245.394 | 2.3193e-09 | 19.968
246.388 | 2.3114e-09 | 19.9695
246.722 | 2.3084e-09 | 19.9665
247.055 | 2.3045e-09 | 19.9671
247.387 | 2.3017e-09 | 19.9671
247.723 | 2.2995e-09 | 19.9674
248.022 | 2.297e-09 | 19.9684
248.357 | 2.2944e-09 | 19.9685
248.691 | 2.2914e-09 | 19.9689
249.025 | 2.2896e-09 | 19.9698
249.359 | 2.2862e-09 | 19.9672
249.694 | 2.2825e-09 | 19.9675
250.026 | 2.2796e-09 | 19.9683
251.297 | 2.2687e-09 | 19.9687
252.298 | 2.261e-09 | 19.9704
252.632 | 2.258e-09 | 19.9705
252.966 | 2.2553e-09 | 19.9711
253.399 | 2.2501e-09 | 19.9719
253.734 | 2.2473e-09 | 19.9687
254.069 | 2.2454e-09 | 19.97
254.401 | 2.2412e-09 | 19.97
254.701 | 2.2378e-09 | 19.9716
256.003 | 2.225e-09 | 19.9692
256.972 | 2.2166e-09 | 19.972
257.339 | 2.2124e-09 | 19.9727
257.704 | 2.2086e-09 | 19.9706
258.072 | 2.2043e-09 | 19.9702
258.405 | 2.202e-09 | 19.9713
258.774 | 2.1967e-09 | 19.973
259.107 | 2.1928e-09 | 19.9724
260.338 | 2.1806e-09 | 19.9722
261.404 | 2.1668e-09 | 19.9708
261.736 | 2.165e-09 | 19.9709
262.229 | 2.1608e-09 | 19.9696
262.431 | 2.1562e-09 | 19.9701
262.762 | 2.1521e-09 | 19.9702
263.094 | 2.1493e-09 | 19.971
263.427 | 2.1455e-09 | 19.9702
263.76 | 2.1403e-09 | 19.9707
264.125 | 2.136e-09 | 19.9703
265.427 | 2.1206e-09 | 19.9706
266.396 | 2.1079e-09 | 19.9716
266.695 | 2.1035e-09 | 19.9723
267.032 | 2.1014e-09 | 19.9718
267.398 | 2.097e-09 | 19.9731
267.764 | 2.0914e-09 | 19.9722
268.165 | 2.0842e-09 | 19.9735
268.499 | 2.0795e-09 | 19.972
268.833 | 2.0744e-09 | 19.9724
270.101 | 2.0555e-09 | 19.9736
271.169 | 2.0397e-09 | 19.9735
271.47 | 2.0343e-09 | 19.9749
271.805 | 2.0293e-09 | 19.9718
272.136 | 2.0253e-09 | 19.9736
272.504 | 2.0205e-09 | 19.9742
272.905 | 2.0149e-09 | 19.9735
274.24 | 1.9948e-09 | 19.9733
275.173 | 1.9792e-09 | 19.9731
275.506 | 1.9752e-09 | 19.9741
275.838 | 1.9691e-09 | 19.9742
276.175 | 1.9627e-09 | 19.9731
276.508 | 1.9586e-09 | 19.9726
276.84 | 1.9524e-09 | 19.9759
277.173 | 1.9458e-09 | 19.974
277.508 | 1.9409e-09 | 19.9758
277.875 | 1.9336e-09 | 19.9733
278.208 | 1.9281e-09 | 19.9751
279.503 | 1.9045e-09 | 19.9731
280.429 | 1.8881e-09 | 19.9746
280.861 | 1.882e-09 | 19.9718
281.259 | 1.8737e-09 | 19.9743
281.593 | 1.8693e-09 | 19.9735
281.894 | 1.8623e-09 | 19.9739
282.226 | 1.8567e-09 | 19.9743
282.56 | 1.8503e-09 | 19.9745
282.894 | 1.8434e-09 | 19.9742
284.196 | 1.8181e-09 | 19.9728
285.163 | 1.7966e-09 | 19.9758
285.497 | 1.7909e-09 | 19.9755
285.831 | 1.7796e-09 | 19.9758
286.165 | 1.7765e-09 | 19.9758
286.5 | 1.7661e-09 | 19.9755
286.834 | 1.7567e-09 | 19.976
287.167 | 1.7506e-09 | 19.9729
287.501 | 1.7437e-09 | 19.9758
287.835 | 1.7367e-09 | 19.9755
288.201 | 1.7313e-09 | 19.9747
288.535 | 1.7323e-09 | 19.9741
289.804 | 1.7097e-09 | 19.9738
290.739 | 1.6917e-09 | 19.9774
291.073 | 1.6836e-09 | 19.9772
291.44 | 1.6784e-09 | 19.976
291.773 | 1.6699e-09 | 19.9759
292.106 | 1.6624e-09 | 19.9752
292.44 | 1.6527e-09 | 19.9755
292.773 | 1.6447e-09 | 19.9748
293.108 | 1.6339e-09 | 19.9768
293.441 | 1.6285e-09 | 19.9771
293.775 | 1.6219e-09 | 19.9775
294.108 | 1.6142e-09 | 19.9779
294.441 | 1.6046e-09 | 19.9749
295.708 | 1.5688e-09 | 19.9767
296.642 | 1.5417e-09 | 19.9768
297.009 | 1.5346e-09 | 19.9766
297.342 | 1.529e-09 | 19.9759
297.676 | 1.518e-09 | 19.9783
298.01 | 1.5068e-09 | 19.9782
298.343 | 1.4995e-09 | 19.9774
298.676 | 1.4923e-09 | 19.9773
299.005 | 1.4828e-09 | 19.9774
299.336 | 1.4699e-09 | 19.9769
299.7 | 1.4627e-09 | 19.9766
300.996 | 1.4254e-09 | 19.9752
301.929 | 1.3926e-09 | 19.9766
302.264 | 1.3872e-09 | 19.9767
302.598 | 1.3773e-09 | 19.9768
302.964 | 1.3687e-09 | 19.976
303.298 | 1.3617e-09 | 19.9758
303.632 | 1.3611e-09 | 19.9751
303.965 | 1.3487e-09 | 19.9759
304.3 | 1.3462e-09 | 19.9766
304.633 | 1.342e-09 | 19.9757
304.966 | 1.3298e-09 | 19.9768
305.335 | 1.3195e-09 | 19.9757
306.536 | 1.2857e-09 | 19.9783
307.57 | 1.2623e-09 | 19.9776
307.936 | 1.2519e-09 | 19.9769
308.338 | 1.2457e-09 | 19.9774
308.704 | 1.2406e-09 | 19.9741
309.071 | 1.2478e-09 | 19.9765
309.405 | 1.2394e-09 | 19.9788
310.673 | 1.1805e-09 | 19.9781
311.707 | 1.1845e-09 | 19.9784
312.042 | 1.161e-09 | 19.9786
312.375 | 1.1551e-09 | 19.9787
312.708 | 1.1244e-09 | 19.9786
313.076 | 1.1049e-09 | 19.9775
313.41 | 1.0927e-09 | 19.9768
313.743 | 1.1257e-09 | 19.9792
314.078 | 1.1218e-09 | 19.9794
315.381 | 1.104e-09 | 19.9785
316.347 | 1.0759e-09 | 19.9802
316.682 | 1.0792e-09 | 19.9796
317.047 | 1.0737e-09 | 19.9789
317.382 | 1.0589e-09 | 19.9784
317.715 | 1.0369e-09 | 19.9806
318.049 | 1.076e-09 | 19.9804
318.383 | 1.0478e-09 | 19.9797
318.749 | 1.0613e-09 | 19.9788
319.083 | 1.0646e-09 | 19.979
319.416 | 1.072e-09 | 19.9791
319.752 | 1.0786e-09 | 19.979