## Settings
Sample Info | ReRAM ZrO2 zb1e run01
Comments | 0.1/-0.1/0.1
Additional Comments | No additional comments
Major Measurement Parameters
Starting Temperature | 294.813
Initial Temperature | 81
Final Temperature | 350
Preliminary Voltage | 0.1
Pulse Voltage | -0.1
Pulse Time | 30
Wait Time | 0
Measurement Voltage | 0.1
Subsidiary Measurement Parameters
Step | 0.3
Accuracy Step | 0.1
Accuracy Stable | 0.5
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 10
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 5
Measurecount | 1
Time
Date | 30.1.2024
Clock | 15:27:34

## Stabilization
Temperature | Current
0 | 9.43e-07
0 | 9.4686e-07
0 | 9.4792e-07
0 | 9.4874e-07
0 | 9.4785e-07
0 | 9.4862e-07
0 | 9.4837e-07
0 | 9.4885e-07
0 | 9.4971e-07
80.7968 | 9.4767e-07
0 | 9.4806e-07
0 | 9.488e-07
0 | 9.4823e-07
0 | 9.4863e-07
0 | 9.4914e-07
0 | 9.4866e-07
0 | 9.4805e-07
0 | 9.4715e-07
0 | 9.4715e-07
0 | 9.4683e-07
0 | 9.4766e-07
0 | 9.4871e-07
0 | 9.4731e-07
0 | 9.47e-07
0 | 9.4706e-07
0 | 9.4626e-07
0 | 9.4537e-07
0 | 9.4788e-07
0 | 9.4689e-07
0 | 9.4794e-07
0 | 9.4686e-07
0 | 9.4624e-07
0 | 9.4659e-07
0 | 9.4533e-07
0 | 9.4448e-07
0 | 9.4481e-07
0 | 9.4529e-07
0 | 9.4598e-07
0 | 9.4553e-07
0 | 9.4541e-07
0 | 9.4551e-07
0 | 9.4545e-07
0 | 9.4577e-07
0 | 9.4413e-07
0 | 9.437e-07
0 | 9.4419e-07
0 | 9.4301e-07
0 | 9.4344e-07
0 | 9.4386e-07
0 | 9.4522e-07
0 | 9.4404e-07
0 | 9.4292e-07
0 | 9.433e-07
0 | 9.4338e-07
0 | 9.431e-07
0 | 9.4354e-07
0 | 9.4242e-07
0 | 9.4266e-07
0 | 9.4296e-07
0 | 9.4233e-07
0 | 9.4166e-07
0 | 9.4351e-07
0 | 9.4142e-07
0 | 9.4143e-07
0 | 9.4082e-07
0 | 9.4182e-07
0 | 9.4133e-07
0 | 9.391e-07
0 | 9.4e-07
0 | 9.3955e-07
0 | 9.4103e-07
0 | 9.3998e-07
0 | 9.4071e-07
0 | 9.3924e-07
0 | 9.4078e-07
0 | 9.4011e-07
0 | 9.3922e-07
0 | 9.3908e-07
0 | 9.3824e-07
0 | 9.3826e-07
0 | 9.3812e-07
0 | 9.3831e-07
0 | 9.3773e-07
0 | 9.3682e-07
0 | 9.3701e-07
0 | 9.3667e-07
0 | 9.3656e-07
0 | 9.3654e-07
0 | 9.3674e-07
0 | 9.3486e-07
0 | 9.3595e-07
0 | 9.3666e-07
0 | 9.3543e-07
0 | 9.3672e-07
0 | 9.3677e-07
0 | 9.3519e-07
0 | 9.3565e-07
0 | 9.3338e-07
0 | 9.3347e-07
0 | 9.3297e-07
0 | 9.3386e-07
0 | 9.3338e-07
0 | 9.3375e-07
0 | 9.3291e-07
0 | 9.3267e-07
0 | 9.3015e-07
0 | 9.307e-07
0 | 9.2993e-07
0 | 9.2995e-07
0 | 9.2996e-07
0 | 9.2849e-07
0 | 9.2875e-07
0 | 9.2938e-07
0 | 9.2825e-07
0 | 9.291e-07
0 | 9.289e-07
0 | 9.2668e-07
0 | 9.2724e-07
0 | 9.2606e-07
0 | 9.2484e-07
0 | 9.2499e-07
0 | 9.2477e-07
0 | 9.2433e-07
0 | 9.2223e-07
0 | 9.2276e-07
0 | 9.2463e-07
0 | 9.2443e-07
0 | 9.2315e-07
0 | 9.2317e-07
0 | 9.2244e-07
0 | 9.2308e-07
0 | 9.2198e-07
0 | 9.2192e-07
0 | 9.2245e-07
0 | 9.2226e-07
0 | 9.2106e-07
0 | 9.226e-07
0 | 9.219e-07
0 | 9.2106e-07
0 | 9.2e-07
0 | 9.2042e-07
0 | 9.203e-07
0 | 9.2101e-07
0 | 9.2031e-07
0 | 9.197e-07
0 | 9.1939e-07
0 | 9.1789e-07
0 | 9.1716e-07
0 | 9.1903e-07
0 | 9.179e-07
0 | 9.1788e-07
0 | 9.1712e-07
0 | 9.1701e-07
0 | 9.1665e-07
0 | 9.1504e-07
0 | 9.1459e-07
0 | 9.1507e-07
0 | 9.1507e-07
0 | 9.1569e-07
0 | 9.143e-07
0 | 9.141e-07
0 | 9.1298e-07
0 | 9.1358e-07
0 | 9.1086e-07
0 | 9.1021e-07
0 | 9.1113e-07
0 | 9.1104e-07
0 | 9.1037e-07
0 | 9.1061e-07
0 | 9.0995e-07
0 | 9.0867e-07
0 | 9.0862e-07
0 | 9.0774e-07
0 | 9.0735e-07
0 | 9.0648e-07
0 | 9.0686e-07
0 | 9.0753e-07
0 | 9.0685e-07
0 | 9.0445e-07
0 | 9.0382e-07
0 | 9.0422e-07
0 | 9.0345e-07
0 | 9.0457e-07
0 | 9.0414e-07
0 | 9.0236e-07
0 | 9.0282e-07
0 | 9.0242e-07
0 | 9.0216e-07
0 | 9.0168e-07
0 | 9.0071e-07
0 | 8.9934e-07
0 | 9.0029e-07
0 | 8.9928e-07
0 | 8.9723e-07
0 | 8.9749e-07
0 | 8.968e-07
0 | 8.9623e-07
0 | 8.968e-07
0 | 8.9629e-07
0 | 8.9673e-07
0 | 8.9465e-07
0 | 8.9527e-07
0 | 8.9488e-07
0 | 8.9373e-07
0 | 8.9216e-07
0 | 8.933e-07
0 | 8.9304e-07
0 | 8.9154e-07
0 | 8.9313e-07
0 | 8.9075e-07
0 | 8.9043e-07
0 | 8.8961e-07
0 | 8.8908e-07
0 | 8.8924e-07
0 | 8.8883e-07
0 | 8.8874e-07
0 | 8.8816e-07
0 | 8.8717e-07
0 | 8.8813e-07
0 | 8.86e-07
0 | 8.8556e-07
0 | 8.8615e-07
0 | 8.8448e-07
0 | 8.8467e-07
0 | 8.8433e-07
0 | 8.841e-07
0 | 8.8315e-07
0 | 8.8277e-07
0 | 8.8236e-07
0 | 8.8226e-07
0 | 8.8136e-07
0 | 8.8208e-07
0 | 8.8109e-07
0 | 8.773e-07
0 | 8.7656e-07
0 | 8.7505e-07
0 | 8.7897e-07
0 | 8.7754e-07
0 | 8.7604e-07
0 | 8.7608e-07
0 | 8.7518e-07
0 | 8.7513e-07
0 | 8.7488e-07
0 | 8.7589e-07
0 | 8.7426e-07
0 | 8.7415e-07
0 | 8.7336e-07
0 | 8.7271e-07
0 | 8.7166e-07
0 | 8.7058e-07
0 | 8.7022e-07
0 | 8.7009e-07
0 | 8.693e-07
0 | 8.6961e-07
0 | 8.6951e-07
0 | 8.6893e-07
0 | 8.6801e-07
0 | 8.6694e-07
0 | 8.6762e-07
0 | 8.6565e-07
0 | 8.6572e-07
0 | 8.6782e-07
0 | 8.6738e-07
0 | 8.6523e-07
0 | 8.6429e-07
0 | 8.6315e-07
0 | 8.645e-07
0 | 8.6269e-07
0 | 8.6379e-07
0 | 8.6406e-07
0 | 8.6306e-07
0 | 8.612e-07
0 | 8.6023e-07
0 | 8.6014e-07
0 | 8.5947e-07
0 | 8.5803e-07
0 | 8.5738e-07
0 | 8.5759e-07
0 | 8.5684e-07
0 | 8.568e-07
0 | 8.5539e-07
0 | 8.5611e-07
0 | 8.5535e-07
0 | 8.545e-07
0 | 8.54e-07
0 | 8.5264e-07
0 | 8.5219e-07
0 | 8.5086e-07
0 | 8.5104e-07
0 | 8.5005e-07
0 | 8.5004e-07
0 | 8.5039e-07
0 | 8.4897e-07
0 | 8.4863e-07
0 | 8.4807e-07
0 | 8.4799e-07
0 | 8.4612e-07
0 | 8.4345e-07
0 | 8.4475e-07
0 | 8.4193e-07
0 | 8.417e-07
0 | 8.4284e-07
0 | 8.4262e-07
0 | 8.4162e-07
0 | 8.4113e-07
0 | 8.412e-07
0 | 8.4054e-07
0 | 8.4115e-07
0 | 8.3979e-07
0 | 8.3915e-07
0 | 8.3964e-07
0 | 8.3954e-07
0 | 8.3865e-07
0 | 8.3809e-07
0 | 8.3798e-07
0 | 7.2444e-07
0 | 5.2164e-10
0 | -2.4611e-10
0 | 8.2998e-09
0 | -1.6225e-10
0 | 2.9723e-06
0 | 3.3236e-06
0 | 2.9784e-06
0 | 2.4324e-06
0 | 1.1264e-06
0 | 3.1033e-06
0 | 3.1196e-06
0 | 3.6858e-06
0 | 3.2172e-06
0 | 3.1978e-06
0 | 3.6704e-06
0 | 3.098e-06
0 | 2.3675e-06
0 | 2.0819e-06
0 | 2.6429e-06
0 | 2.8439e-06
0 | 2.1615e-06
0 | 1.9909e-06
0 | 1.8721e-06
0 | 1.875e-06
0 | 1.546e-06
0 | 1.5501e-06
0 | 1.1551e-06
0 | 1.1298e-06
0 | 1.2887e-06
0 | -2.4143e-10
0 | -2.2749e-10
0 | -2.257e-10
0 | -2.2916e-10
0 | -2.2745e-10
0 | -2.2816e-10
0 | 3.7094e-06
0 | 3.7045e-06
0 | 3.6998e-06
0 | 3.6996e-06
0 | 3.6992e-06
0 | 3.6945e-06
0 | 3.6919e-06
0 | 3.6879e-06
0 | 3.6833e-06
0 | 3.6806e-06
0 | 3.6755e-06
0 | 3.6786e-06
0 | 3.6768e-06
0 | 3.6756e-06
0 | 3.6704e-06
0 | 3.6623e-06
0 | 3.6575e-06
0 | 3.6591e-06
0 | 3.6546e-06
0 | 3.6562e-06
0 | 3.655e-06
0 | 3.6488e-06
0 | 3.6464e-06
0 | 3.6407e-06
0 | 3.6446e-06
0 | 3.6421e-06
0 | 3.6357e-06
0 | 3.6362e-06
0 | 3.6345e-06
0 | 3.6356e-06
0 | 3.6322e-06
0 | 3.6279e-06
0 | 3.6273e-06
0 | 3.6221e-06
0 | 3.6277e-06
0 | 3.6158e-06
0 | 3.6232e-06
0 | 3.6181e-06
0 | 3.6124e-06
0 | 3.6151e-06
0 | 3.6138e-06
0 | 3.6157e-06
0 | 3.6172e-06
0 | 3.6143e-06
0 | 3.614e-06
0 | 3.6097e-06
0 | 3.6105e-06
0 | 3.6129e-06
0 | 3.6075e-06
0 | 3.6083e-06
0 | 3.6084e-06
0 | 3.5989e-06
0 | 3.6016e-06
0 | 3.602e-06
0 | 3.6006e-06
0 | 3.5996e-06
0 | 3.5993e-06
0 | 3.5939e-06
0 | 3.5938e-06
0 | 3.5905e-06
0 | 3.5911e-06
0 | 3.5886e-06
0 | 3.585e-06
0 | 3.5839e-06
0 | 3.5825e-06
0 | 3.5796e-06
0 | 3.5833e-06
0 | 3.5802e-06
0 | 3.5782e-06
0 | 3.5779e-06
0 | 3.5775e-06
0 | 3.5798e-06
0 | 3.5757e-06
0 | 3.5728e-06
0 | 3.5734e-06
0 | 3.5697e-06
0 | 3.5678e-06
0 | 3.5686e-06
0 | 3.5689e-06
0 | 3.5662e-06
0 | 3.5655e-06
0 | 3.5609e-06
0 | 3.5628e-06
0 | 3.5649e-06
0 | 3.5652e-06
0 | 3.5634e-06
0 | 3.5639e-06
0 | 3.5622e-06
0 | 3.5616e-06
0 | 3.5567e-06
0 | 3.5572e-06
0 | 3.5564e-06
0 | 3.5566e-06
0 | -2.3942e-10
0 | -2.2829e-10
0 | -2.2947e-10
0 | -2.2867e-10
0 | -2.3128e-10
0 | -2.3116e-10
0 | -2.2876e-10
0 | -2.285e-10
0 | -2.2884e-10
0 | -2.2972e-10
0 | -2.2868e-10
0 | -2.2878e-10
0 | -2.2937e-10
0 | -2.2909e-10
0 | -2.2834e-10
0 | -2.2857e-10
0 | -2.2847e-10
0 | -2.303e-10
0 | -2.2882e-10
0 | -2.2825e-10
0 | -2.3003e-10
0 | -2.2953e-10
0 | -2.2825e-10
0 | -2.2862e-10
0 | -2.296e-10
0 | -2.3011e-10
0 | -2.2953e-10
0 | -2.3021e-10
0 | -2.299e-10
0 | -2.2942e-10
0 | -2.3023e-10
0 | -2.3107e-10
0 | -2.3196e-10
0 | -2.3042e-10
0 | -2.3163e-10
0 | -2.3282e-10
0 | -2.3168e-10
0 | -2.3102e-10
0 | -2.3049e-10
0 | -2.3161e-10
0 | -2.3191e-10
0 | -2.3121e-10
0 | -2.3244e-10
0 | -2.3279e-10
0 | -2.3028e-10
0 | -2.3119e-10
0 | -2.2934e-10
0 | -2.297e-10
0 | -2.3115e-10
0 | -2.3036e-10
0 | -2.2956e-10
0 | -2.3068e-10
0 | -2.3013e-10
0 | -2.2951e-10
0 | -2.2993e-10
0 | -2.3059e-10
0 | -2.3045e-10
0 | -2.2936e-10
0 | -2.3201e-10
0 | -2.3028e-10
0 | -2.307e-10
0 | -2.2976e-10
0 | -2.2968e-10
0 | -2.2979e-10
0 | -2.3098e-10
0 | -2.3134e-10
0 | -2.3231e-10
0 | -2.3196e-10
0 | -2.3099e-10
0 | -2.3218e-10
0 | -2.329e-10
0 | -2.3285e-10
0 | -2.3204e-10
0 | -2.3344e-10
0 | -2.3418e-10
0 | -2.3256e-10
0 | -2.3192e-10
0 | -2.3262e-10
0 | -2.3131e-10
0 | -2.3203e-10
0 | -2.3266e-10
0 | -2.3203e-10
0 | -2.32e-10
0 | -2.3237e-10
0 | -2.3115e-10
0 | -2.3265e-10
0 | -2.3179e-10
0 | -2.3179e-10
0 | -2.328e-10
0 | -2.3194e-10
0 | -2.3075e-10
0 | -2.3107e-10
0 | 3.6199e-06
0 | 3.6238e-06
0 | 3.6295e-06
0 | 3.6283e-06
0 | 3.6294e-06
0 | 3.6302e-06
0 | 3.6342e-06
0 | 3.6355e-06
0 | 3.6404e-06
0 | 3.6398e-06
0 | 3.6383e-06
0 | 3.637e-06
0 | 3.6375e-06
0 | 3.6449e-06
0 | 3.6425e-06
0 | 3.6481e-06
0 | 3.6481e-06
0 | 3.6499e-06
0 | 3.6533e-06
0 | 3.6488e-06
0 | 3.6539e-06
0 | 3.6523e-06
0 | 3.6541e-06
0 | 3.6555e-06
0 | 3.6575e-06
0 | 3.659e-06
0 | 3.659e-06
0 | 3.658e-06
0 | 3.6567e-06
0 | 3.658e-06
0 | 3.6588e-06
0 | 3.6617e-06
0 | 3.6569e-06
0 | 3.6588e-06
0 | 3.6559e-06
0 | 3.6559e-06
0 | 3.6587e-06
0 | 3.6618e-06
0 | 3.6584e-06
0 | 3.6602e-06
0 | 3.6582e-06
0 | 3.665e-06
0 | 3.6609e-06
0 | 3.6646e-06
0 | 3.6618e-06
0 | 3.6625e-06
0 | 3.6631e-06
0 | 3.6668e-06
0 | 3.6647e-06
0 | 3.6647e-06
0 | 3.6596e-06
0 | 3.6627e-06
0 | 3.6642e-06
0 | 3.6639e-06
0 | 3.6674e-06
0 | 3.6673e-06
0 | 3.665e-06
0 | 3.6648e-06
0 | 3.6686e-06
0 | 3.6664e-06
0 | 3.6645e-06
0 | 3.6655e-06
0 | 3.6673e-06
0 | 3.6668e-06
0 | 3.6708e-06
0 | 3.6689e-06
0 | 3.6699e-06
0 | 3.6676e-06
0 | 3.6686e-06
0 | 3.6641e-06
0 | 3.6702e-06
0 | 3.6645e-06
0 | 3.6691e-06
0 | 3.6696e-06
0 | 3.6639e-06
0 | 3.6702e-06
0 | 3.6628e-06
0 | 3.6656e-06
0 | 3.6684e-06
0 | 3.6647e-06
0 | 3.6641e-06
0 | 3.6607e-06
0 | 3.6607e-06
0 | 3.6677e-06
0 | 3.6623e-06
0 | 3.6639e-06
0 | 3.6657e-06
0 | 3.6598e-06
0 | 3.6599e-06
0 | 3.6635e-06
0 | 3.6668e-06
0 | 3.6656e-06
0 | 3.6643e-06
0 | 3.6611e-06
0 | 3.664e-06
0 | 3.6619e-06
0 | 3.6605e-06
0 | 3.6432e-06
0 | 3.1038e-06
0 | 2.8029e-06
0 | 2.9375e-06
0 | 2.6777e-06
0 | 2.4514e-06
0 | 2.902e-06
0 | 5.7675e-07
0 | 5.5211e-07
0 | 1.7998e-07
0 | 2.2267e-08
0 | 2.3475e-08
0 | 5.7146e-11
0 | -2.3122e-10
0 | -2.3164e-10
0 | -2.3218e-10
0 | -2.3183e-10
0 | -2.3229e-10
0 | -2.3269e-10
0 | -2.3271e-10
0 | -2.3193e-10
0 | -2.3213e-10
0 | -2.3136e-10
0 | -2.3314e-10
0 | -2.3331e-10
0 | -2.3206e-10
0 | -2.3174e-10
0 | -2.3243e-10
0 | -2.3165e-10
0 | -2.3141e-10
0 | -2.3057e-10
0 | -2.314e-10
0 | -2.3115e-10
0 | -2.3139e-10
0 | 3.5816e-06
0 | 3.5742e-06
0 | 3.567e-06
0 | 3.5527e-06
0 | 3.552e-06
0 | 3.5422e-06
0 | 3.5309e-06
80.7777 | 3.5253e-06

## Measurements
Temperature | Current
80.6696 | 3.3909e-06
80.7772 | 3.3749e-06
81.0952 | 3.3623e-06
81.3941 | 3.352e-06
81.6878 | 3.347e-06
82.0185 | 3.349e-06
82.287 | 3.3374e-06
82.5829 | 3.3307e-06
82.871 | 3.3287e-06
83.1897 | 3.3173e-06
83.5585 | 3.3127e-06
83.9271 | 3.3071e-06
84.0638 | 3.3011e-06
84.5449 | 3.2846e-06
86.1639 | 3.279e-06
87.0202 | 3.2622e-06
88.7067 | 3.255e-06
89.7404 | 3.2503e-06
91.178 | 3.2536e-06
92.2186 | 3.2396e-06
92.7012 | 3.2475e-06
92.9845 | 3.2484e-06
93.1938 | 3.2491e-06
93.3772 | 3.2487e-06
93.7199 | 3.2478e-06
94.0585 | 3.246e-06
94.3556 | 3.2429e-06
94.6202 | 3.2436e-06
94.8768 | 3.2424e-06
95.2065 | 3.2369e-06
95.5053 | 3.2401e-06
95.8262 | 3.2391e-06
96.0758 | 3.2377e-06
96.4319 | 3.234e-06
96.6827 | 3.2234e-06
96.982 | 3.2327e-06
97.2731 | 3.2292e-06
97.5814 | 3.2211e-06
97.91 | 3.2262e-06
98.1888 | 3.2211e-06
98.4836 | 3.2239e-06
98.7783 | 3.2199e-06
99.0996 | 3.213e-06
99.3894 | 3.21e-06
99.6873 | 3.2119e-06
99.9865 | 3.2063e-06
100.299 | 3.202e-06
100.596 | 3.2033e-06
100.901 | 3.2019e-06
101.174 | 3.1989e-06
101.504 | 3.2019e-06
101.771 | 3.2008e-06
102.131 | 3.1998e-06
102.387 | 3.2004e-06
102.71 | 3.197e-06
103.008 | 3.1968e-06
103.296 | 3.1942e-06
103.597 | 3.1949e-06
103.908 | 3.1938e-06
104.216 | 3.1939e-06
104.506 | 3.1942e-06
104.814 | 3.192e-06
105.127 | 3.189e-06
105.402 | 3.186e-06
105.729 | 3.1903e-06
105.977 | 3.1893e-06
106.284 | 3.1898e-06
106.612 | 3.1873e-06
106.909 | 3.1885e-06
107.228 | 3.1862e-06
107.523 | 3.1828e-06
107.777 | 3.1873e-06
108.124 | 3.1889e-06
108.411 | 3.1831e-06
108.716 | 3.1865e-06
109.019 | 3.1744e-06
109.314 | 3.1856e-06
109.598 | 3.1919e-06
109.925 | 3.187e-06
110.188 | 3.1853e-06
110.527 | 3.1875e-06
110.842 | 3.1831e-06
111.128 | 3.1836e-06
111.418 | 3.1855e-06
111.742 | 3.1859e-06
111.987 | 3.184e-06
112.287 | 3.1822e-06
112.585 | 3.1837e-06
112.932 | 3.1835e-06
113.189 | 3.1813e-06
113.497 | 3.18e-06
113.835 | 3.1852e-06
114.104 | 3.1808e-06
114.423 | 3.1885e-06
114.697 | 3.1869e-06
115.039 | 3.1848e-06
115.28 | 3.1866e-06
115.618 | 3.1867e-06
115.925 | 3.1833e-06
116.224 | 3.1833e-06
116.523 | 3.1851e-06
116.789 | 3.1814e-06
117.087 | 3.1763e-06
117.419 | 3.1797e-06
117.75 | 3.1766e-06
118.082 | 3.1739e-06
118.476 | 3.1714e-06
118.883 | 3.1763e-06
119.302 | 3.1766e-06
120.5 | 3.179e-06
121.495 | 3.1784e-06
121.784 | 3.1772e-06
122.078 | 3.1769e-06
122.373 | 3.1756e-06
122.73 | 3.1782e-06
123.005 | 3.1764e-06
123.335 | 3.1764e-06
123.584 | 3.1785e-06
123.925 | 3.1724e-06
124.198 | 3.1744e-06
124.522 | 3.1725e-06
124.8 | 3.1696e-06
125.101 | 3.1674e-06
125.416 | 3.1708e-06
125.675 | 3.1633e-06
125.987 | 3.1626e-06
126.288 | 3.1647e-06
126.594 | 3.1604e-06
126.917 | 3.1597e-06
127.185 | 3.164e-06
127.504 | 3.1592e-06
127.785 | 3.1579e-06
128.124 | 3.1597e-06
128.406 | 3.1575e-06
128.706 | 3.1575e-06
129.011 | 3.1559e-06
129.305 | 3.1589e-06
129.619 | 3.1548e-06
129.902 | 3.1552e-06
130.188 | 3.1537e-06
130.506 | 3.1538e-06
130.779 | 3.1553e-06
131.088 | 3.1506e-06
131.413 | 3.1534e-06
131.69 | 3.149e-06
132 | 3.1492e-06
132.279 | 3.1513e-06
132.608 | 3.1428e-06
132.92 | 3.1502e-06
133.199 | 3.1468e-06
133.53 | 3.1447e-06
133.811 | 3.1423e-06
134.077 | 3.1482e-06
134.404 | 3.1456e-06
134.686 | 3.1456e-06
135.003 | 3.1442e-06
135.28 | 3.143e-06
135.619 | 3.1384e-06
135.901 | 3.141e-06
136.233 | 3.1454e-06
136.501 | 3.1433e-06
136.783 | 3.1387e-06
137.114 | 3.1404e-06
137.378 | 3.1493e-06
137.705 | 3.1418e-06
137.981 | 3.1458e-06
138.308 | 3.146e-06
138.589 | 3.1405e-06
138.902 | 3.1443e-06
139.185 | 3.1429e-06
139.519 | 3.1426e-06
139.782 | 3.1474e-06
140.111 | 3.147e-06
140.393 | 3.1463e-06
140.726 | 3.1451e-06
141.008 | 3.1459e-06
141.292 | 3.1505e-06
141.608 | 3.149e-06
141.892 | 3.1527e-06
142.176 | 3.1477e-06
142.509 | 3.1533e-06
142.776 | 3.1469e-06
143.108 | 3.1468e-06
143.391 | 3.1491e-06
143.708 | 3.1498e-06
143.992 | 3.1458e-06
144.325 | 3.1468e-06
144.589 | 3.1474e-06
144.874 | 3.149e-06
145.207 | 3.1539e-06
145.492 | 3.1492e-06
145.806 | 3.1529e-06
146.09 | 3.1501e-06
146.426 | 3.154e-06
146.692 | 3.1536e-06
146.976 | 3.1527e-06
147.31 | 3.1545e-06
147.577 | 3.1518e-06
147.909 | 3.1517e-06
148.186 | 3.1525e-06
148.499 | 3.1503e-06
148.778 | 3.1559e-06
149.091 | 3.1572e-06
149.371 | 3.1577e-06
149.701 | 3.158e-06
150.018 | 3.1588e-06
150.298 | 3.1603e-06
150.632 | 3.159e-06
150.896 | 3.1573e-06
151.229 | 3.1587e-06
151.498 | 3.1597e-06
151.781 | 3.1591e-06
152.116 | 3.1592e-06
152.398 | 3.1605e-06
152.714 | 3.1599e-06
152.999 | 3.1565e-06
153.283 | 3.1584e-06
153.614 | 3.163e-06
153.898 | 3.1634e-06
154.216 | 3.159e-06
154.516 | 3.1608e-06
154.782 | 3.1579e-06
155.115 | 3.1685e-06
155.398 | 3.1627e-06
155.73 | 3.1675e-06
156.015 | 3.1627e-06
156.284 | 3.1634e-06
156.616 | 3.1641e-06
156.885 | 3.1645e-06
157.22 | 3.169e-06
157.503 | 3.1675e-06
157.819 | 3.1682e-06
158.121 | 3.1704e-06
158.403 | 3.1685e-06
158.687 | 3.1696e-06
159.002 | 3.1708e-06
159.321 | 3.1679e-06
159.605 | 3.1677e-06
159.887 | 3.1714e-06
160.217 | 3.1681e-06
160.496 | 3.1688e-06
160.828 | 3.168e-06
161.11 | 3.1654e-06
161.392 | 3.1698e-06
161.726 | 3.1738e-06
162.007 | 3.1758e-06
162.29 | 3.1728e-06
162.607 | 3.176e-06
162.89 | 3.176e-06
163.224 | 3.1769e-06
163.506 | 3.1791e-06
163.773 | 3.1769e-06
164.105 | 3.1772e-06
164.389 | 3.1775e-06
164.723 | 3.1805e-06
165.006 | 3.1809e-06
165.29 | 3.1832e-06
165.621 | 3.1818e-06
165.889 | 3.1785e-06
166.172 | 3.1839e-06
166.507 | 3.1863e-06
166.789 | 3.1834e-06
167.106 | 3.1816e-06
167.39 | 3.1881e-06
167.723 | 3.1845e-06
168.006 | 3.1853e-06
168.29 | 3.1852e-06
168.605 | 3.1863e-06
168.889 | 3.1868e-06
169.222 | 3.182e-06
169.505 | 3.1925e-06
169.772 | 3.1873e-06
170.105 | 3.1877e-06
170.406 | 3.1837e-06
170.689 | 3.1854e-06
170.971 | 3.1877e-06
171.306 | 3.1899e-06
171.571 | 3.1885e-06
171.899 | 3.1925e-06
172.213 | 3.1968e-06
172.492 | 3.1922e-06
172.773 | 3.1927e-06
173.105 | 3.1936e-06
173.385 | 3.1907e-06
173.719 | 3.1952e-06
174 | 3.1973e-06
174.319 | 3.2007e-06
174.601 | 3.1961e-06
174.886 | 3.1973e-06
175.22 | 3.1986e-06
175.488 | 3.1994e-06
175.772 | 3.1961e-06
176.106 | 3.201e-06
176.39 | 3.2022e-06
176.693 | 3.2009e-06
176.975 | 3.2027e-06
177.311 | 3.2032e-06
177.592 | 3.201e-06
177.929 | 3.1985e-06
178.212 | 3.2047e-06
178.481 | 3.2042e-06
178.814 | 3.2043e-06
179.099 | 3.2069e-06
179.415 | 3.2081e-06
179.699 | 3.2113e-06
179.983 | 3.211e-06
180.316 | 3.2136e-06
180.6 | 3.2125e-06
180.932 | 3.215e-06
181.217 | 3.2156e-06
181.5 | 3.2127e-06
181.817 | 3.2196e-06
182.101 | 3.2128e-06
182.384 | 3.2091e-06
182.734 | 3.2096e-06
183.019 | 3.2175e-06
183.303 | 3.2189e-06
183.635 | 3.2192e-06
183.885 | 3.2163e-06
184.219 | 3.2199e-06
184.501 | 3.2193e-06
184.831 | 3.2236e-06
185.111 | 3.2218e-06
185.391 | 3.2222e-06
185.721 | 3.2257e-06
186.003 | 3.2241e-06
186.318 | 3.225e-06
186.636 | 3.2295e-06
186.918 | 3.2254e-06
187.234 | 3.2282e-06
187.518 | 3.2272e-06
187.803 | 3.2295e-06
188.087 | 3.2359e-06
188.437 | 3.2366e-06
188.688 | 3.2389e-06
188.989 | 3.2356e-06
189.29 | 3.236e-06
189.589 | 3.2376e-06
189.907 | 3.2429e-06
190.191 | 3.2423e-06
190.475 | 3.2417e-06
190.809 | 3.2422e-06
191.093 | 3.2446e-06
191.41 | 3.2434e-06
191.711 | 3.2418e-06
191.977 | 3.2441e-06
192.313 | 3.2472e-06
192.596 | 3.253e-06
192.897 | 3.2518e-06
193.216 | 3.2536e-06
193.498 | 3.255e-06
193.784 | 3.2519e-06
194.12 | 3.2526e-06
194.404 | 3.2553e-06
194.687 | 3.2557e-06
195.004 | 3.2567e-06
195.304 | 3.2558e-06
195.587 | 3.2585e-06
195.92 | 3.2582e-06
196.204 | 3.2598e-06
196.487 | 3.2605e-06
196.818 | 3.2626e-06
197.101 | 3.2669e-06
197.402 | 3.2702e-06
197.717 | 3.2679e-06
198.001 | 3.2661e-06
198.283 | 3.2726e-06
198.615 | 3.2738e-06
198.893 | 3.2686e-06
199.174 | 3.2724e-06
199.504 | 3.2746e-06
199.817 | 3.2788e-06
200.099 | 3.2788e-06
200.383 | 3.281e-06
200.715 | 3.2788e-06
200.998 | 3.2833e-06
201.314 | 3.2857e-06
201.597 | 3.2844e-06
201.885 | 3.2823e-06
202.216 | 3.2847e-06
202.5 | 3.2838e-06
202.835 | 3.2856e-06
203.118 | 3.2889e-06
203.4 | 3.2882e-06
203.688 | 3.2919e-06
204.007 | 3.2906e-06
204.291 | 3.2945e-06
204.576 | 3.3003e-06
204.91 | 3.2993e-06
205.195 | 3.2988e-06
205.481 | 3.3012e-06
205.813 | 3.2968e-06
206.099 | 3.2982e-06
206.415 | 3.2981e-06
206.7 | 3.2973e-06
207 | 3.3044e-06
207.317 | 3.3119e-06
207.602 | 3.3099e-06
207.933 | 3.309e-06
208.201 | 3.3118e-06
208.501 | 3.308e-06
208.835 | 3.3146e-06
209.119 | 3.3152e-06
209.401 | 3.3149e-06
209.685 | 3.322e-06
210.019 | 3.3241e-06
210.304 | 3.3252e-06
210.589 | 3.3275e-06
210.904 | 3.3275e-06
211.188 | 3.3289e-06
211.523 | 3.3301e-06
211.806 | 3.3321e-06
212.087 | 3.3344e-06
212.372 | 3.3346e-06
212.704 | 3.3362e-06
213.036 | 3.3409e-06
213.316 | 3.3388e-06
213.597 | 3.342e-06
213.926 | 3.3464e-06
214.207 | 3.3403e-06
214.488 | 3.3454e-06
214.804 | 3.3468e-06
215.104 | 3.3473e-06
215.42 | 3.3497e-06
215.703 | 3.3471e-06
215.987 | 3.3561e-06
216.272 | 3.3529e-06
216.606 | 3.3505e-06
216.892 | 3.3558e-06
217.226 | 3.352e-06
217.51 | 3.3521e-06
217.795 | 3.3579e-06
218.079 | 3.3565e-06
218.413 | 3.359e-06
218.696 | 3.3614e-06
219.028 | 3.3688e-06
219.286 | 3.3662e-06
219.603 | 3.3673e-06
219.886 | 3.3651e-06
220.179 | 3.371e-06
220.471 | 3.3743e-06
220.82 | 3.3706e-06
221.111 | 3.3758e-06
221.404 | 3.3702e-06
221.692 | 3.3771e-06
221.992 | 3.3784e-06
222.308 | 3.3873e-06
222.589 | 3.3896e-06
222.918 | 3.39e-06
223.199 | 3.3895e-06
223.479 | 3.3902e-06
223.81 | 3.3945e-06
224.108 | 3.3889e-06
224.423 | 3.3905e-06
224.708 | 3.3886e-06
224.987 | 3.3982e-06
225.32 | 3.4002e-06
225.602 | 3.4019e-06
225.884 | 3.4076e-06
226.217 | 3.408e-06
226.501 | 3.411e-06
226.814 | 3.4099e-06
227.098 | 3.4139e-06
227.431 | 3.4119e-06
227.715 | 3.4103e-06
227.982 | 3.4123e-06
228.312 | 3.4138e-06
228.593 | 3.4176e-06
228.876 | 3.4207e-06
229.208 | 3.4219e-06
229.492 | 3.424e-06
229.811 | 3.4251e-06
230.095 | 3.4294e-06
230.379 | 3.4307e-06
230.714 | 3.4291e-06
230.999 | 3.4312e-06
231.283 | 3.4339e-06
231.619 | 3.4313e-06
231.904 | 3.4316e-06
232.189 | 3.4378e-06
232.507 | 3.4364e-06
232.794 | 3.4416e-06
233.079 | 3.4325e-06
233.413 | 3.4421e-06
233.697 | 3.4399e-06
233.981 | 3.439e-06
234.314 | 3.4424e-06
234.597 | 3.4405e-06
234.927 | 3.4471e-06
235.196 | 3.4467e-06
235.479 | 3.4468e-06
235.814 | 3.4435e-06
236.08 | 3.4454e-06
236.416 | 3.4504e-06
236.699 | 3.4504e-06
237.032 | 3.4508e-06
237.315 | 3.453e-06
237.581 | 3.4567e-06
237.898 | 3.4572e-06
238.181 | 3.4593e-06
238.513 | 3.4583e-06
238.8 | 3.4605e-06
239.083 | 3.4609e-06
239.418 | 3.4627e-06
239.701 | 3.4649e-06
239.985 | 3.4619e-06
240.319 | 3.4674e-06
240.602 | 3.4668e-06
240.884 | 3.4668e-06
241.216 | 3.4696e-06
241.5 | 3.472e-06
241.831 | 3.4761e-06
242.115 | 3.4765e-06
242.397 | 3.4721e-06
242.712 | 3.4744e-06
242.994 | 3.4764e-06
243.277 | 3.4792e-06
243.611 | 3.4792e-06
243.893 | 3.4783e-06
244.174 | 3.4742e-06
244.505 | 3.4842e-06
244.784 | 3.4803e-06
245.114 | 3.4822e-06
245.396 | 3.4877e-06
245.677 | 3.4892e-06
246.01 | 3.4874e-06
246.293 | 3.4886e-06
246.61 | 3.4913e-06
246.892 | 3.491e-06
247.177 | 3.4913e-06
247.51 | 3.4975e-06
247.794 | 3.4938e-06
248.078 | 3.4955e-06
248.411 | 3.4916e-06
248.695 | 3.4855e-06
248.978 | 3.4986e-06
249.313 | 3.5023e-06
249.598 | 3.5023e-06
249.882 | 3.5006e-06
250.216 | 3.5009e-06
250.499 | 3.5003e-06
250.784 | 3.5002e-06
251.119 | 3.5017e-06
251.435 | 3.4973e-06
251.718 | 3.5023e-06
252.002 | 3.5021e-06
252.287 | 3.5058e-06
252.621 | 3.5053e-06
252.904 | 3.5042e-06
253.187 | 3.5045e-06
253.472 | 3.5106e-06
253.804 | 3.5125e-06
254.087 | 3.5132e-06
254.419 | 3.5185e-06
254.703 | 3.5213e-06
254.986 | 3.5157e-06
255.318 | 3.5158e-06
255.603 | 3.5218e-06
255.887 | 3.5207e-06
256.22 | 3.5222e-06
256.503 | 3.5253e-06
256.803 | 3.5196e-06
257.136 | 3.5262e-06
257.371 | 3.529e-06
257.705 | 3.5295e-06
257.988 | 3.5301e-06
258.319 | 3.5345e-06
258.604 | 3.5354e-06
258.887 | 3.5353e-06
259.203 | 3.5397e-06
259.502 | 3.5443e-06
259.771 | 3.5424e-06
260.105 | 3.5434e-06
260.405 | 3.5454e-06
260.687 | 3.5464e-06
261.02 | 3.5473e-06
261.3 | 3.5508e-06
261.632 | 3.5471e-06
261.913 | 3.5489e-06
262.195 | 3.5527e-06
262.477 | 3.5529e-06
262.809 | 3.5542e-06
263.091 | 3.5527e-06
263.374 | 3.5536e-06
263.708 | 3.5584e-06
264.008 | 3.5584e-06
264.293 | 3.5625e-06
264.577 | 3.5685e-06
264.893 | 3.5725e-06
265.227 | 3.5715e-06
265.478 | 3.5732e-06
265.778 | 3.5771e-06
266.097 | 3.5769e-06
266.396 | 3.5796e-06
266.696 | 3.581e-06
266.997 | 3.5848e-06
267.281 | 3.5881e-06
267.633 | 3.5868e-06
267.917 | 3.5921e-06
268.201 | 3.5922e-06
268.501 | 3.5938e-06
268.785 | 3.5988e-06
269.119 | 3.6009e-06
269.384 | 3.5959e-06
269.719 | 3.5967e-06
270.019 | 3.6044e-06
270.271 | 3.6049e-06
270.62 | 3.6088e-06
270.936 | 3.609e-06
271.218 | 3.6085e-06
271.518 | 3.6151e-06
271.819 | 3.6173e-06
272.103 | 3.6156e-06
272.386 | 3.6205e-06
272.687 | 3.6259e-06
273.004 | 3.6262e-06
273.305 | 3.6225e-06
273.622 | 3.6252e-06
273.904 | 3.6309e-06
274.189 | 3.6335e-06
274.488 | 3.6349e-06
274.788 | 3.6383e-06
275.072 | 3.6401e-06
275.419 | 3.6438e-06
275.705 | 3.6444e-06
276.004 | 3.6445e-06
276.288 | 3.6474e-06
276.589 | 3.6516e-06
276.888 | 3.6549e-06
277.222 | 3.6566e-06
277.522 | 3.6623e-06
277.823 | 3.6631e-06
278.072 | 3.6657e-06
278.372 | 3.664e-06
278.721 | 3.665e-06
279.006 | 3.668e-06
279.301 | 3.6708e-06
279.632 | 3.6714e-06
279.915 | 3.6774e-06
280.212 | 3.6792e-06
280.494 | 3.6843e-06
280.826 | 3.6847e-06
281.11 | 3.6922e-06
281.392 | 3.6894e-06
281.726 | 3.6928e-06
282.009 | 3.6977e-06
282.293 | 3.6992e-06
282.627 | 3.7017e-06
282.91 | 3.7023e-06
283.195 | 3.7054e-06
283.496 | 3.7074e-06
283.813 | 3.715e-06
284.114 | 3.7143e-06
284.398 | 3.7174e-06
284.732 | 3.7227e-06
284.998 | 3.7234e-06
285.3 | 3.7232e-06
285.583 | 3.7328e-06
285.917 | 3.7347e-06
286.201 | 3.7369e-06
286.501 | 3.7389e-06
286.801 | 3.7388e-06
287.134 | 3.7451e-06
287.417 | 3.7481e-06
287.7 | 3.7513e-06
288.032 | 3.7565e-06
288.316 | 3.7587e-06
288.618 | 3.7602e-06
288.9 | 3.7596e-06
289.184 | 3.7681e-06
289.534 | 3.7743e-06
289.785 | 3.7791e-06
290.118 | 1.6579e-06
290.401 | 3.7685e-06
290.702 | 3.7375e-06
291.037 | 3.7848e-06
291.504 | 1.0472e-06
291.653 | 3.7943e-06
291.92 | 3.799e-06
292.304 | 3.7841e-06
292.488 | 3.714e-06
292.788 | 3.7802e-06
293.122 | 2.5551e-06
293.505 | 1.6147e-06
293.69 | 1.024e-06
294.024 | 3.2788e-06
294.323 | 1.7273e-09
294.606 | 4.4323e-09
294.891 | -2.2791e-10
295.174 | -2.2957e-10
295.506 | -2.291e-10
295.806 | -2.2999e-10
296.089 | -2.314e-10
296.373 | -2.3039e-10
296.706 | -2.3031e-10
296.989 | -2.3128e-10
297.29 | -2.3169e-10
297.573 | 3.8587e-06
297.89 | -2.4606e-10
298.206 | -2.3071e-10
298.49 | -2.3106e-10
298.771 | -2.3202e-10
299.1 | -2.3263e-10
299.382 | 3.8848e-06
299.698 | 3.8838e-06
299.979 | 3.8867e-06
300.312 | 3.8855e-06
300.596 | 3.8918e-06
300.895 | 3.8917e-06
301.23 | 3.8964e-06
301.513 | 3.9006e-06
301.797 | 3.9042e-06
302.098 | 3.9093e-06
302.381 | 3.9083e-06
302.716 | 3.9179e-06
303 | 3.9197e-06
303.282 | 3.9205e-06
303.617 | 3.921e-06
303.901 | 3.926e-06
304.2 | 3.9295e-06
304.515 | 3.9343e-06
304.818 | 3.9342e-06
305.101 | 3.9406e-06
305.386 | 3.9368e-06
305.685 | 3.9427e-06
305.986 | 3.9544e-06
306.337 | 3.9517e-06
306.571 | 3.9568e-06
306.922 | 3.9583e-06
307.204 | 3.9558e-06
307.505 | 3.9652e-06
307.788 | 3.9674e-06
308.071 | 3.9685e-06
308.371 | 3.9746e-06
308.689 | 3.9793e-06
308.971 | 3.9774e-06
309.272 | 3.9816e-06
309.62 | 3.9837e-06
309.905 | 3.9844e-06
310.205 | 3.9926e-06
310.489 | 3.992e-06
310.772 | 3.986e-06
311.107 | 4.0017e-06
311.405 | 4e-06
311.689 | 4.0003e-06
312.005 | 3.9982e-06
312.307 | 4.0035e-06
312.589 | 4.0067e-06
312.873 | 4.0097e-06
313.205 | 4.0103e-06
313.488 | 4.0179e-06
313.772 | 4.0201e-06
314.106 | 4.0188e-06
314.39 | 4.0254e-06
314.673 | 4.0283e-06
315.006 | 4.0277e-06
315.289 | 4.0343e-06
315.59 | 4.0344e-06
315.872 | 4.0366e-06
316.206 | 4.0363e-06
316.488 | 4.0447e-06
316.772 | 4.0416e-06
317.105 | 4.0466e-06
317.388 | 4.0513e-06
317.672 | 4.0541e-06
318.006 | 4.0555e-06
318.306 | 4.0601e-06
318.572 | 4.0604e-06
318.89 | 4.0668e-06
319.224 | 4.0676e-06
319.506 | 4.0747e-06
319.788 | 4.0737e-06
320.088 | 4.0742e-06
320.419 | 4.0772e-06
320.701 | 4.0852e-06