## Settings
Sample Info | ReRAM ZrO2 zb1e run02
Comments | 0.1/-0.1/0.1
Additional Comments | at 1 mkA
Major Measurement Parameters
Starting Temperature | 294.516
Initial Temperature | 81
Final Temperature | 320
Preliminary Voltage | 0.1
Pulse Voltage | -0.1
Pulse Time | 30
Wait Time | 0
Measurement Voltage | 0.1
Subsidiary Measurement Parameters
Step | 0.3
Accuracy Step | 0.1
Accuracy Stable | 0.5
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 10
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 5
Measurecount | 1
Time
Date | 30.1.2024
Clock | 16:29:56

## Stabilization
Temperature | Current
0 | 1.0736e-06
0 | 1.0708e-06
0 | 1.0839e-06
0 | 1.0782e-06
0 | 1.0785e-06
0 | 1.0832e-06
0 | 1.081e-06
0 | 1.0841e-06
0 | 1.0864e-06
81.1497 | 1.0829e-06
0 | 1.0897e-06
0 | 1.0849e-06
0 | 1.0889e-06
0 | 1.088e-06
0 | 1.0884e-06
0 | 1.0834e-06
0 | 1.0839e-06
0 | 1.0854e-06
0 | 1.0776e-06
0 | 1.0786e-06
0 | 1.0784e-06
0 | 1.0771e-06
0 | 1.0818e-06
0 | 1.0801e-06
0 | 1.0808e-06
0 | 1.0789e-06
0 | 1.0801e-06
0 | 1.0795e-06
0 | 1.0794e-06
0 | 1.0783e-06
0 | 1.0733e-06
0 | 1.0746e-06
0 | 1.076e-06
0 | 1.0777e-06
0 | 1.0776e-06
0 | 1.0755e-06
0 | 1.0738e-06
0 | 1.0751e-06
0 | 1.078e-06
0 | 1.0749e-06
0 | 1.0771e-06
0 | 1.0635e-06
0 | 1.0627e-06
0 | 1.0639e-06
0 | 1.0733e-06
0 | 1.0725e-06
0 | 1.071e-06
0 | 1.0715e-06
0 | 1.0682e-06
0 | 1.067e-06
0 | 1.0578e-06
0 | 1.0573e-06
0 | 1.0585e-06
0 | 1.0583e-06
0 | 1.0558e-06
0 | 1.0581e-06
0 | 1.0603e-06
0 | 1.0645e-06
0 | 1.0606e-06
0 | 1.0688e-06
0 | 1.0786e-06
0 | 1.0741e-06
0 | 1.0717e-06
0 | 1.072e-06
0 | 1.0714e-06
0 | 1.0701e-06
0 | 1.0744e-06
0 | 1.077e-06
0 | 1.0749e-06
0 | 1.075e-06
0 | 1.0765e-06
0 | 1.0766e-06
0 | 1.0455e-06
0 | 1.0444e-06
0 | 1.0459e-06
0 | 1.0461e-06
0 | 1.0437e-06
0 | 1.0405e-06
0 | 1.0418e-06
0 | 1.0396e-06
0 | 1.0401e-06
0 | 1.0394e-06
0 | 1.0399e-06
0 | 1.0381e-06
0 | 1.037e-06
0 | 1.0384e-06
0 | 1.0394e-06
0 | 1.0344e-06
0 | 1.0349e-06
0 | 1.0362e-06
0 | 1.0324e-06
0 | 1.0284e-06
0 | 1.0328e-06
0 | 1.0308e-06
0 | 1.0198e-06
0 | 1.0222e-06
0 | 1.0216e-06
0 | 1.0235e-06
0 | 1.0181e-06
0 | 1.0202e-06
0 | 1.023e-06
0 | 1.02e-06
0 | 1.0177e-06
0 | 1.0173e-06
0 | 1.016e-06
0 | 1.0167e-06
0 | 1.0182e-06
0 | 1.0142e-06
0 | 1.0123e-06
0 | 1.012e-06
0 | 1.0155e-06
0 | 1.0085e-06
0 | 1.0124e-06
0 | 1.0115e-06
0 | 1.0109e-06
0 | 1.0106e-06
0 | 1.0127e-06
0 | 1.0085e-06
0 | 1.0081e-06
0 | 1.0076e-06
0 | 1.0101e-06
0 | 1.0058e-06
0 | 1.0061e-06
0 | 1.005e-06
0 | 1.0051e-06
0 | 1.0016e-06
0 | 1.0022e-06
0 | 1.0065e-06
0 | 9.9937e-07
0 | 9.9741e-07
0 | 9.9475e-07
0 | 9.9817e-07
0 | 9.9853e-07
0 | 9.9615e-07
0 | 9.9693e-07
0 | 9.9357e-07
0 | 9.9719e-07
0 | 9.9779e-07
0 | 9.9851e-07
0 | 9.9523e-07
0 | 9.9173e-07
0 | 9.9117e-07
0 | 9.9228e-07
0 | 9.9209e-07
0 | 9.9222e-07
0 | 9.8952e-07
0 | 9.8937e-07
0 | 9.8903e-07
0 | 9.8437e-07
0 | 9.8527e-07
0 | 9.8689e-07
0 | 9.8764e-07
0 | 9.8465e-07
0 | 9.8581e-07
0 | 9.8479e-07
0 | 9.7984e-07
0 | 9.7944e-07
0 | 9.8073e-07
0 | 9.8087e-07
0 | 9.7734e-07
0 | 9.7936e-07
0 | 9.7915e-07
0 | 9.778e-07
0 | 9.787e-07
0 | 9.7608e-07
0 | 9.7898e-07
0 | 9.7641e-07
0 | 9.7475e-07
0 | 9.7561e-07
0 | 9.7454e-07
0 | 9.7612e-07
0 | 9.7126e-07
0 | 9.7222e-07
0 | 9.749e-07
0 | 9.7237e-07
0 | 9.7311e-07
0 | 9.6784e-07
0 | 9.6643e-07
0 | 9.6672e-07
0 | 9.638e-07
0 | 9.6547e-07
0 | 9.6334e-07
0 | 9.648e-07
0 | 9.6722e-07
0 | 9.6062e-07
0 | 9.6122e-07
0 | 9.623e-07
0 | 9.665e-07
0 | 9.6518e-07
0 | 9.6277e-07
0 | 9.6112e-07
0 | 9.5894e-07
0 | 9.5683e-07
0 | 9.5676e-07
0 | 9.5477e-07
0 | 9.5719e-07
0 | 9.5371e-07
0 | 9.5334e-07
0 | 9.5429e-07
0 | 9.5287e-07
0 | 9.534e-07
0 | 9.5149e-07
0 | 9.4999e-07
0 | 9.5123e-07
0 | 9.4997e-07
0 | 9.4896e-07
0 | 9.4745e-07
0 | 9.4964e-07
0 | 9.467e-07
0 | 9.4973e-07
0 | 9.4445e-07
0 | 9.458e-07
0 | 9.4331e-07
0 | 9.4363e-07
0 | 9.4335e-07
0 | 9.4128e-07
0 | 9.4064e-07
0 | 9.4033e-07
0 | 9.3964e-07
0 | 9.406e-07
0 | 9.3939e-07
0 | 9.4024e-07
0 | 9.404e-07
0 | 9.3693e-07
0 | 9.3828e-07
0 | 9.3659e-07
0 | 9.3545e-07
0 | 9.3765e-07
0 | 9.3744e-07
0 | 9.4022e-07
0 | 9.349e-07
0 | 9.3288e-07
0 | 9.3242e-07
0 | 9.3101e-07
0 | 9.295e-07
0 | 9.2854e-07
0 | 9.2852e-07
0 | 9.2895e-07
0 | 9.2851e-07
0 | 9.2754e-07
0 | 9.2476e-07
0 | 9.2403e-07
0 | 9.2279e-07
0 | 9.2393e-07
0 | 9.2195e-07
0 | 9.2434e-07
0 | 9.2269e-07
0 | 9.1902e-07
0 | 9.2078e-07
0 | 9.1606e-07
0 | 9.1755e-07
0 | 9.1499e-07
0 | 9.1515e-07
0 | 9.136e-07
0 | 9.1669e-07
0 | -2.456e-10
0 | -2.3094e-10
0 | -2.3145e-10
0 | -2.3151e-10
0 | -2.3161e-10
0 | -2.3296e-10
0 | -2.326e-10
0 | -2.3271e-10
0 | -2.3168e-10
0 | -2.3269e-10
0 | -2.3371e-10
0 | -2.3173e-10
0 | -2.3206e-10
0 | -2.3133e-10
0 | -2.3164e-10
0 | -2.3184e-10
0 | -2.3253e-10
0 | -2.327e-10
0 | -2.3201e-10
0 | -2.3258e-10
0 | -2.3312e-10
0 | -2.3276e-10
0 | 9.0699e-07
0 | 9.0531e-07
0 | 9.0332e-07
0 | 9.0638e-07
0 | 9.0185e-07
0 | 9.0249e-07
0 | 9.0195e-07
0 | 9.0201e-07
0 | 9.0248e-07
0 | 9.0428e-07
0 | 9.0047e-07
0 | 8.9638e-07
0 | 8.9648e-07
0 | 8.9697e-07
0 | 8.9855e-07
0 | 8.9705e-07
0 | 8.9549e-07
0 | 8.9418e-07
0 | 8.9362e-07
0 | 8.9262e-07
0 | 8.9145e-07
0 | 8.922e-07
0 | 8.8918e-07
0 | 8.8699e-07
0 | 8.9075e-07
0 | 8.8901e-07
0 | 8.9026e-07
0 | 8.9045e-07
0 | 8.8662e-07
0 | 8.8741e-07
0 | 8.8708e-07
0 | 8.8999e-07
0 | 8.9329e-07
0 | 8.888e-07
0 | 8.9037e-07
0 | 8.883e-07
0 | 8.869e-07
0 | 8.8582e-07
0 | 8.8899e-07
0 | 8.8615e-07
0 | 8.8774e-07
0 | 8.8598e-07
0 | 8.86e-07
0 | 8.8414e-07
0 | 8.8841e-07
0 | 8.8457e-07
0 | 8.861e-07
0 | 8.8265e-07
0 | 8.8444e-07
0 | 8.8261e-07
0 | 8.8264e-07
0 | 8.8297e-07
0 | 8.8611e-07
0 | 8.8192e-07
0 | 8.8391e-07
0 | 8.8349e-07
0 | 8.8518e-07
0 | 8.8089e-07
0 | 8.8011e-07
0 | 8.8142e-07
0 | 8.8399e-07
0 | 8.8071e-07
0 | 8.8357e-07
0 | 8.8082e-07
0 | 8.8459e-07
0 | 8.8686e-07
0 | 8.8289e-07
0 | 8.8266e-07
0 | 8.8635e-07
0 | 8.8497e-07
0 | 8.8576e-07
0 | 8.8645e-07
0 | 8.8757e-07
0 | 8.8378e-07
0 | 8.8387e-07
0 | 8.8354e-07
0 | 8.8348e-07
0 | 8.8343e-07
0 | 8.8297e-07
0 | 8.8214e-07
0 | 8.8444e-07
0 | 8.8323e-07
0 | 8.825e-07
0 | 8.799e-07
0 | 8.7926e-07
0 | 8.8045e-07
0 | 8.8431e-07
0 | 8.7718e-07
0 | -2.4621e-10
0 | -2.32e-10
0 | -2.3365e-10
0 | -2.3387e-10
0 | -2.3227e-10
0 | -2.3296e-10
0 | -2.3186e-10
0 | -2.316e-10
0 | -2.327e-10
0 | -2.3343e-10
0 | -2.3236e-10
0 | -2.3227e-10
0 | -2.3342e-10
0 | -2.3433e-10
0 | -2.3406e-10
0 | -2.3448e-10
0 | 7.7477e-09
0 | 8.7957e-07
0 | 8.7925e-07
0 | 8.7703e-07
0 | 8.8347e-07
0 | 8.7752e-07
0 | 8.7812e-07
0 | 8.774e-07
0 | 8.7577e-07
0 | 8.766e-07
0 | 8.819e-07
0 | 8.7578e-07
0 | 8.7896e-07
0 | 8.7619e-07
0 | 8.7205e-07
0 | -2.3436e-10
0 | -2.3319e-10
0 | -2.3449e-10
0 | 8.7467e-07
0 | 8.753e-07
0 | 8.7596e-07
0 | 8.7463e-07
0 | 8.7636e-07
0 | 8.7554e-07
0 | 8.7317e-07
0 | 8.698e-07
0 | 8.7399e-07
0 | 8.7184e-07
0 | 8.7436e-07
0 | 8.6835e-07
0 | 8.7303e-07
0 | 8.7005e-07
0 | 8.7445e-07
0 | 8.7154e-07
0 | 8.7316e-07
0 | 8.72e-07
0 | 8.705e-07
0 | 8.7399e-07
0 | 8.7594e-07
0 | 8.7619e-07
0 | 8.7254e-07
0 | 8.7306e-07
0 | 8.7741e-07
0 | 8.7424e-07
0 | 8.7115e-07
0 | 8.6653e-07
0 | 8.6495e-07
0 | 8.6698e-07
0 | 8.6269e-07
0 | 8.6263e-07
0 | 8.6315e-07
0 | 8.6701e-07
0 | 8.6961e-07
0 | 8.6984e-07
0 | 8.7058e-07
0 | 8.714e-07
0 | 8.6942e-07
0 | 8.7103e-07
0 | 8.7142e-07
0 | 8.731e-07
0 | 8.7163e-07
0 | 8.741e-07
0 | 8.7504e-07
0 | 8.7404e-07
0 | 8.755e-07
0 | 8.7479e-07
0 | 8.7596e-07
0 | 8.7583e-07
0 | 8.7937e-07
0 | 8.7781e-07
0 | 8.754e-07
0 | 8.7492e-07
0 | 8.7393e-07
0 | 8.7375e-07
0 | 8.7732e-07
0 | 8.7566e-07
0 | 8.8436e-07
0 | 8.7784e-07
0 | 8.7465e-07
0 | 8.7588e-07
0 | 8.7674e-07
0 | 8.7577e-07
0 | 8.776e-07
0 | 8.7581e-07
0 | 8.7591e-07
0 | 8.7721e-07
0 | 8.8164e-07
0 | 8.715e-07
0 | 8.712e-07
0 | 8.6938e-07
0 | 8.6516e-07
0 | 8.6818e-07
0 | 8.6943e-07
0 | 8.7309e-07
0 | 8.6888e-07
0 | 8.6617e-07
0 | 8.6379e-07
0 | 8.6496e-07
0 | 8.6249e-07
0 | 8.7368e-07
0 | 8.6474e-07
0 | 8.6258e-07
0 | 8.6577e-07
0 | 8.638e-07
0 | 8.6233e-07
0 | 8.6238e-07
0 | 8.62e-07
0 | 8.6137e-07
0 | 8.5999e-07
0 | 8.5687e-07
0 | 8.5671e-07
0 | 8.5678e-07
81.1181 | 8.5741e-07

## Measurements
Temperature | Current
82.6935 | 8.4975e-07
83.0032 | 8.5044e-07
83.1511 | 8.4738e-07
83.4082 | 8.5063e-07
83.6968 | 8.4773e-07
84.0051 | 8.463e-07
84.3199 | 8.4781e-07
84.6042 | 8.4467e-07
84.8858 | 8.4506e-07
85.194 | 8.4608e-07
85.5122 | 8.4606e-07
85.8162 | 8.4395e-07
86.1194 | 8.4566e-07
86.4103 | 8.4851e-07
86.696 | 8.4077e-07
87.0291 | 8.429e-07
87.2904 | 8.4249e-07
87.5858 | 8.3837e-07
87.8991 | 8.3895e-07
88.2002 | 8.3992e-07
88.4799 | 8.3541e-07
88.7782 | 8.3766e-07
89.0782 | 8.369e-07
89.381 | 8.3802e-07
89.6947 | 8.3174e-07
89.9897 | 8.2883e-07
90.2954 | 8.2631e-07
90.6086 | 8.3282e-07
90.9064 | 8.3084e-07
91.2199 | 8.3246e-07
91.5038 | 8.3049e-07
91.8075 | 8.2868e-07
92.1034 | 8.2398e-07
92.4415 | 8.2387e-07
92.7095 | 8.2357e-07
92.997 | 8.2445e-07
93.2814 | 8.2272e-07
93.5778 | 8.2361e-07
93.9521 | 8.212e-07
94.2065 | 8.2319e-07
94.5062 | 8.2051e-07
94.8331 | 8.2096e-07
95.1002 | 8.2244e-07
95.4307 | 8.2208e-07
95.739 | 8.2023e-07
95.9829 | 8.2047e-07
96.2836 | 8.1865e-07
96.6497 | 8.2032e-07
96.9453 | 8.2368e-07
97.2559 | 8.1947e-07
97.498 | 8.1934e-07
97.8063 | 8.2393e-07
98.0934 | 8.1775e-07
98.411 | 8.1953e-07
98.729 | 8.1535e-07
99.0667 | 8.1861e-07
99.3215 | 8.1492e-07
99.6366 | 8.1627e-07
99.8875 | 8.173e-07
100.244 | 8.1723e-07
100.55 | 8.1799e-07
100.821 | 8.1853e-07
101.092 | 8.1877e-07
101.447 | 8.2145e-07
101.793 | 8.2214e-07
102.038 | 8.1338e-07
102.318 | 8.1797e-07
102.671 | 8.1869e-07
102.961 | 8.1897e-07
103.185 | 8.1628e-07
103.536 | 8.1543e-07
103.808 | 8.1607e-07
104.127 | 8.2037e-07
104.551 | 8.1966e-07
105.027 | 8.188e-07
106.326 | 8.1921e-07
107.366 | 8.2101e-07
107.667 | 8.2125e-07
107.905 | 8.2146e-07
108.201 | 8.2039e-07
108.479 | 8.2042e-07
108.802 | 8.189e-07
109.102 | 8.1666e-07
109.4 | 8.1827e-07
109.68 | 8.1877e-07
110.036 | 8.2053e-07
110.338 | 8.1778e-07
110.627 | 8.2019e-07
110.902 | 8.2325e-07
111.183 | 8.1946e-07
111.51 | 8.2007e-07
111.838 | 7.6848e-07
112.086 | 8.186e-07
112.375 | 8.1818e-07
112.727 | 8.2667e-07
112.987 | 8.2311e-07
113.288 | 8.2735e-07
113.59 | 8.2441e-07
113.926 | 8.2184e-07
114.206 | 8.225e-07
114.497 | 8.2186e-07
114.804 | 8.2325e-07
115.076 | 8.2423e-07
115.413 | 8.2309e-07
115.72 | 8.2432e-07
115.994 | 8.2313e-07
116.302 | 8.2282e-07
116.611 | 8.2427e-07
116.916 | 8.2275e-07
117.193 | 8.2093e-07
117.506 | 8.2484e-07
117.807 | 8.2692e-07
118.088 | 8.2848e-07
118.435 | 8.27e-07
118.71 | 8.2957e-07
118.977 | 8.2839e-07
119.283 | 8.3211e-07
119.592 | 8.3162e-07
119.905 | 8.3355e-07
120.22 | 8.2274e-07
120.519 | 8.3559e-07
120.812 | 8.3563e-07
121.105 | 8.3494e-07
121.419 | 8.3657e-07
121.716 | 8.4029e-07
121.98 | 8.4126e-07
122.296 | 8.4324e-07
122.603 | 8.4222e-07
122.933 | 8.4408e-07
123.207 | 8.4459e-07
123.508 | 8.4485e-07
123.795 | 8.4425e-07
124.106 | 8.4738e-07
124.426 | 8.4493e-07
124.703 | 8.4594e-07
124.992 | 8.4767e-07
125.285 | 8.4992e-07
125.619 | 8.4943e-07
125.894 | 8.4835e-07
126.203 | 8.5022e-07
126.495 | 8.5194e-07
126.778 | 8.5055e-07
127.114 | 8.5143e-07
127.418 | 7.4427e-07
127.778 | 7.4219e-07
128.012 | 7.1601e-07
128.282 | 6.7404e-07
128.627 | 7.1692e-07
128.907 | 6.8969e-07
129.28 | 7.5322e-07
129.575 | 7.4967e-07
129.926 | 7.1889e-07
130.223 | 7.0277e-07
130.553 | 7.9381e-07
130.841 | 8.5338e-07
131.106 | 8.2935e-07
131.353 | 8.51e-07
131.581 | 7.5192e-07
131.922 | 8.5206e-07
132.223 | 7.6937e-07
132.513 | 8.5328e-07
132.84 | 8.5364e-07
133.097 | 8.5271e-07
133.376 | 8.5296e-07
133.707 | 8.5192e-07
134.014 | 8.5159e-07
134.294 | 8.5026e-07
134.623 | 8.5205e-07
134.905 | 8.5113e-07
135.208 | 8.5142e-07
135.501 | 8.509e-07
135.804 | 8.5058e-07
136.077 | 8.4931e-07
136.399 | 8.4479e-07
136.704 | 8.4475e-07
136.976 | 8.4552e-07
137.298 | 8.4523e-07
137.588 | 8.4496e-07
137.905 | 8.4687e-07
138.201 | 8.4469e-07
138.475 | 8.4527e-07
138.785 | 8.4778e-07
139.103 | 8.4452e-07
139.408 | 8.4632e-07
139.718 | 8.4227e-07
139.976 | 8.3983e-07
140.312 | 8.4598e-07
140.581 | 8.4379e-07
140.911 | 8.4247e-07
141.204 | 8.46e-07
141.48 | 8.4388e-07
141.8 | 8.4649e-07
142.096 | 8.4758e-07
142.398 | 8.484e-07
142.696 | 8.4901e-07
143.022 | 8.4904e-07
143.307 | 8.4924e-07
143.602 | 8.4618e-07
143.92 | 8.4717e-07
144.221 | 8.4844e-07
144.508 | 8.5039e-07
144.802 | 8.4514e-07
145.092 | 8.4288e-07
145.396 | 8.4836e-07
145.704 | 8.4786e-07
145.98 | 8.4539e-07
146.321 | 8.4515e-07
146.585 | 8.5044e-07
146.894 | 8.5197e-07
147.227 | 8.453e-07
147.486 | 8.4369e-07
147.793 | 8.5184e-07
148.11 | 8.5047e-07
148.423 | 8.4913e-07
148.712 | 8.4789e-07
149.023 | 8.5297e-07
149.302 | 8.4731e-07
149.575 | 8.5012e-07
149.904 | 8.4894e-07
150.222 | 8.4904e-07
150.533 | 8.4751e-07
150.797 | 8.5311e-07
151.103 | 8.5963e-07
151.386 | 8.5765e-07
151.744 | 8.5836e-07
152.027 | 8.5653e-07
152.305 | 8.5596e-07
152.577 | 8.5258e-07
152.9 | 8.5545e-07
153.233 | 8.5578e-07
153.488 | 8.5704e-07
153.797 | 8.5687e-07
154.107 | 8.5539e-07
154.399 | 8.5783e-07
154.716 | 8.5844e-07
155.02 | 8.5885e-07
155.296 | 8.6243e-07
155.619 | 8.5709e-07
155.926 | 8.5816e-07
156.183 | 8.5771e-07
156.534 | 8.61e-07
156.777 | 8.6202e-07
157.139 | 8.5778e-07
157.437 | 8.6039e-07
157.717 | 8.6441e-07
158.009 | 8.6716e-07
158.282 | 8.6334e-07
158.628 | 8.6143e-07
158.897 | 8.6142e-07
159.225 | 8.6152e-07
159.521 | 8.6089e-07
159.81 | 8.6567e-07
160.116 | 8.6352e-07
160.417 | 8.6812e-07
160.698 | 8.6387e-07
160.979 | 8.6506e-07
161.296 | 8.6837e-07
161.597 | 8.7052e-07
161.902 | 8.6962e-07
162.212 | 8.7067e-07
162.499 | 8.6983e-07
162.803 | 8.7165e-07
163.104 | 8.6976e-07
163.416 | 8.7406e-07
163.708 | 8.7469e-07
164.017 | 8.7337e-07
164.323 | 8.705e-07
164.607 | 8.7393e-07
164.898 | 8.7157e-07
165.188 | 8.7412e-07
165.523 | 8.7375e-07
165.812 | 8.7296e-07
166.105 | 8.7289e-07
166.4 | 8.7422e-07
166.718 | 8.7545e-07
167.023 | 8.7573e-07
167.277 | 8.7699e-07
167.599 | 8.7525e-07
167.901 | 8.7577e-07
168.227 | 8.7615e-07
168.525 | 8.781e-07
168.831 | 8.7783e-07
169.108 | 8.8052e-07
169.399 | 8.7703e-07
169.718 | 8.7918e-07
169.994 | 8.7793e-07
170.336 | 8.7929e-07
170.607 | 8.7881e-07
170.889 | 8.7873e-07
171.203 | 8.7831e-07
171.501 | 8.7934e-07
171.787 | 8.8016e-07
172.082 | 8.7979e-07
172.442 | 8.8165e-07
172.697 | 8.8216e-07
173.012 | 8.8062e-07
173.288 | 8.81e-07
173.603 | 8.8091e-07
173.931 | 8.7992e-07
174.215 | 8.8079e-07
174.505 | 8.7988e-07
174.776 | 8.8326e-07
175.127 | 8.7818e-07
175.391 | 8.7724e-07
175.729 | 8.7689e-07
176.025 | 8.7665e-07
176.29 | 8.7729e-07
176.614 | 8.7624e-07
176.894 | 8.8128e-07
177.207 | 8.7957e-07
177.493 | 8.8118e-07
177.797 | 8.7885e-07
178.095 | 8.8098e-07
178.407 | 8.8269e-07
178.72 | 8.8281e-07
179.01 | 8.8226e-07
179.318 | 8.8503e-07
179.624 | 8.8501e-07
179.923 | 8.8382e-07
180.21 | 8.8419e-07
180.48 | 8.8319e-07
180.818 | 8.8232e-07
181.106 | 8.8654e-07
181.381 | 8.8486e-07
181.711 | 8.8436e-07
182.023 | 8.8654e-07
182.304 | 8.8475e-07
182.598 | 8.8508e-07
182.933 | 8.8784e-07
183.209 | 8.9002e-07
183.498 | 8.89e-07
183.779 | 8.8776e-07
184.1 | 8.888e-07
184.398 | 8.8728e-07
184.75 | 8.9156e-07
185.037 | 8.883e-07
185.309 | 8.9097e-07
185.627 | 8.9079e-07
185.919 | 8.9128e-07
186.19 | 8.8989e-07
186.497 | 8.9078e-07
186.815 | 8.9396e-07
187.091 | 8.9401e-07
187.413 | 8.9232e-07
187.705 | 8.9343e-07
188.02 | 8.9342e-07
188.319 | 8.9492e-07
188.586 | 8.8989e-07
188.901 | 8.9221e-07
189.236 | 8.9196e-07
189.515 | 8.9173e-07
189.812 | 8.9368e-07
190.127 | 8.9226e-07
190.38 | 8.933e-07
190.701 | 8.9224e-07
191.01 | 8.9047e-07
191.299 | 8.9656e-07
191.617 | 8.9463e-07
191.902 | 8.9394e-07
192.238 | 8.9045e-07
192.506 | 8.8992e-07
192.792 | 8.9077e-07
193.095 | 8.8906e-07
193.402 | 8.9e-07
193.721 | 8.8968e-07
193.999 | 8.9042e-07
194.33 | 8.8965e-07
194.604 | 8.905e-07
194.875 | 8.9262e-07
195.213 | 8.9262e-07
195.501 | 8.9215e-07
195.797 | 8.9217e-07
196.11 | 8.9471e-07
196.397 | 8.9203e-07
196.714 | 8.9424e-07
196.983 | 8.9725e-07
197.292 | 8.9431e-07
197.619 | 8.8979e-07
197.911 | 8.9394e-07
198.206 | 8.9289e-07
198.483 | 8.9271e-07
198.797 | 8.9674e-07
199.098 | 8.9897e-07
199.392 | 9.02e-07
199.722 | 9.0377e-07
200.015 | 9.0217e-07
200.311 | 9.0215e-07
200.622 | 9.023e-07
200.908 | 8.9901e-07
201.196 | 8.974e-07
201.493 | 9.0104e-07
201.793 | 8.971e-07
202.122 | 8.9534e-07
202.419 | 9.0098e-07
202.675 | 8.9536e-07
202.998 | 8.9634e-07
203.321 | 8.9754e-07
203.605 | 8.9793e-07
203.897 | 8.9896e-07
204.189 | 8.9888e-07
204.536 | 8.968e-07
204.81 | 9.0211e-07
205.117 | 8.9972e-07
205.407 | 8.9908e-07
205.707 | 9.009e-07
205.99 | 9.0021e-07
206.293 | 9.033e-07
206.581 | 9.0269e-07
206.905 | 9.0294e-07
207.185 | 9.021e-07
207.524 | 9.0151e-07
207.815 | 9.0251e-07
208.105 | 9.0514e-07
208.399 | 9.0353e-07
208.693 | 9.0426e-07
208.985 | 9.0253e-07
209.303 | 9.0302e-07
209.588 | 9.0336e-07
209.881 | 9.0325e-07
210.227 | 9.0439e-07
210.521 | 9.0503e-07
210.798 | 9.0444e-07
211.11 | 9.0583e-07
211.391 | 9.0613e-07
211.678 | 9.0356e-07
212.016 | 9.0742e-07
212.291 | 9.0736e-07
212.599 | 9.0743e-07
212.901 | 9.0803e-07
213.212 | 9.0948e-07
213.485 | 9.0796e-07
213.82 | 9.0866e-07
214.111 | 9.0986e-07
214.403 | 9.0887e-07
214.696 | 9.075e-07
214.983 | 9.0864e-07
215.299 | 9.1162e-07
215.637 | 9.1172e-07
215.929 | 9.0965e-07
216.19 | 9.1237e-07
216.536 | 9.1309e-07
216.815 | 9.1308e-07
217.095 | 9.1269e-07
217.405 | 9.1388e-07
217.684 | 9.1366e-07
218.031 | 9.1443e-07
218.299 | 9.1512e-07
218.611 | 9.1156e-07
218.888 | 9.1299e-07
219.224 | 9.1225e-07
219.515 | 9.125e-07
219.835 | 9.1201e-07
220.122 | 9.1448e-07
220.445 | 9.1631e-07
220.693 | 9.1648e-07
221.008 | 9.1744e-07
221.287 | 9.1916e-07
221.617 | 9.1831e-07
221.903 | 9.1872e-07
222.201 | 9.1558e-07
222.524 | 9.1619e-07
222.84 | 9.1666e-07
223.076 | 9.1431e-07
223.413 | 9.1881e-07
223.725 | 9.1808e-07
224.014 | 9.1879e-07
224.298 | 9.1725e-07
224.62 | 9.1697e-07
224.926 | 9.1392e-07
225.205 | 9.1578e-07
225.492 | 9.1325e-07
225.811 | 9.14e-07
226.115 | 9.1444e-07
226.388 | 9.1529e-07
226.689 | 9.122e-07
227.003 | 9.1114e-07
227.305 | 9.127e-07
227.581 | 9.1105e-07
227.904 | 9.1105e-07
228.226 | 9.1177e-07
228.496 | 9.1042e-07
228.826 | 9.0969e-07
229.105 | 9.1117e-07
229.402 | 9.0969e-07
229.704 | 9.0808e-07
229.994 | 9.1013e-07
230.303 | 9.0823e-07
230.618 | 9.0737e-07
230.934 | 9.0663e-07
231.189 | 9.0869e-07
231.513 | 9.0774e-07
231.788 | 9.0759e-07
232.114 | 9.0546e-07
232.392 | 9.0754e-07
232.723 | 9.0922e-07
233.003 | 9.0629e-07
233.334 | 9.0625e-07
233.615 | 9.072e-07
233.897 | 9.0726e-07
234.214 | 9.0789e-07
234.497 | 9.06e-07
234.815 | 9.0591e-07
235.098 | 9.064e-07
235.385 | 9.0733e-07
235.719 | 9.0354e-07
236.003 | 9.0567e-07
236.338 | 9.0156e-07
236.622 | 9.0293e-07
236.909 | 9.0427e-07
237.193 | 9.0491e-07
237.529 | 9.0475e-07
237.814 | 9.0659e-07
238.082 | 9.045e-07
238.417 | 9.0774e-07
238.717 | 9.0632e-07
239.003 | 9.0669e-07
239.337 | 9.0459e-07
239.62 | 9.0476e-07
239.922 | 9.0675e-07
240.206 | 9.0348e-07
240.524 | 9.0438e-07
240.807 | 9.0286e-07
241.091 | 9.0423e-07
241.376 | 9.0291e-07
241.709 | 9.0588e-07
241.991 | 9.0336e-07
242.31 | 9.0232e-07
242.609 | 9.0329e-07
242.876 | 9.0338e-07
243.21 | 9.0344e-07
243.494 | 9.0373e-07
243.826 | 9.0336e-07
244.09 | 9.045e-07
244.422 | 9.0403e-07
244.718 | 9.0373e-07
245 | 9.0405e-07
245.315 | 9.037e-07
245.597 | 9.0307e-07
245.878 | 9.0415e-07
246.212 | 9.0761e-07
246.495 | 9.086e-07
246.779 | 9.0539e-07
247.115 | 9.0642e-07
247.397 | 9.0618e-07
247.68 | 9.0754e-07
248.014 | 9.0896e-07
248.299 | 9.0939e-07
248.633 | 9.0816e-07
248.9 | 9.0787e-07
249.182 | 9.0908e-07
249.518 | 9.0824e-07
249.802 | 9.0852e-07
250.083 | 9.0951e-07
250.42 | 9.082e-07
250.704 | 9.0839e-07
250.989 | 9.0672e-07
251.321 | 9.079e-07
251.605 | 9.0975e-07
251.922 | 9.0998e-07
252.206 | 9.0993e-07
252.489 | 9.113e-07
252.823 | 9.1229e-07
253.106 | 9.111e-07
253.39 | 9.1171e-07
253.722 | 9.1291e-07
254.006 | 9.1407e-07
254.289 | 9.1208e-07
254.624 | 9.1261e-07
254.907 | 9.103e-07
255.19 | 9.1139e-07
255.524 | 9.1308e-07
255.806 | 9.1265e-07
256.123 | 9.161e-07
256.407 | 9.1352e-07
256.69 | 9.1375e-07
257.008 | 9.1542e-07
257.29 | 9.1455e-07
257.624 | 9.1571e-07
257.906 | 9.1429e-07
258.189 | 9.1465e-07
258.523 | 9.1563e-07
258.807 | 9.1584e-07
259.089 | 9.153e-07
259.423 | 9.1674e-07
259.707 | 9.164e-07
260.024 | 9.1591e-07
260.305 | 9.1708e-07
260.624 | 9.1804e-07
260.906 | 9.1773e-07
261.187 | 9.1672e-07
261.518 | 9.1715e-07
261.796 | 9.1905e-07
262.08 | 9.1583e-07
262.413 | 9.1763e-07
262.695 | 9.1615e-07
263.012 | 9.1912e-07
263.293 | 9.2017e-07
263.611 | 9.203e-07
263.912 | 9.189e-07
264.195 | 9.1815e-07
264.513 | 9.1583e-07
264.797 | 9.203e-07
265.131 | 9.1884e-07
265.414 | 9.2415e-07
265.698 | 9.1946e-07
266.033 | 9.1942e-07
266.316 | 9.2088e-07
266.6 | 9.2422e-07
266.9 | 9.2449e-07
267.217 | 9.2528e-07
267.502 | 9.2513e-07
267.786 | 9.2446e-07
268.118 | 9.2428e-07
268.419 | 9.2534e-07
268.704 | 9.2349e-07
268.988 | 9.2512e-07
269.321 | 9.2565e-07
269.604 | 9.2578e-07
269.939 | 9.2722e-07
270.221 | 9.2413e-07
270.538 | 9.2755e-07
270.821 | 9.2826e-07
271.104 | 9.2788e-07
271.438 | 9.3302e-07
271.721 | 9.3294e-07
272.006 | 9.3108e-07
272.288 | 9.2938e-07
272.622 | 9.2576e-07
272.905 | 9.2865e-07
273.238 | 9.2733e-07
273.523 | 9.2883e-07
273.807 | 9.2803e-07
274.089 | 9.29e-07
274.424 | 9.3064e-07
274.706 | 9.2961e-07
275.005 | 9.3356e-07
275.339 | 9.3124e-07
275.623 | 9.3151e-07
275.906 | 9.31e-07
276.19 | 9.3596e-07
276.523 | 9.3336e-07
276.805 | 9.3463e-07
277.09 | 9.3459e-07
277.423 | 9.3479e-07
277.724 | 9.3263e-07
278.007 | 9.3374e-07
278.339 | 9.3566e-07
278.623 | 9.3223e-07
278.906 | 9.3447e-07
279.235 | 9.3731e-07
279.516 | 9.3735e-07
279.799 | 9.3592e-07
280.112 | 9.3682e-07
280.412 | 9.383e-07
280.694 | 9.3801e-07
280.978 | 9.4025e-07
281.311 | 9.387e-07
281.595 | 9.383e-07
281.878 | 9.4008e-07
282.211 | 9.3824e-07
282.495 | 9.4246e-07
282.779 | 9.4271e-07
283.112 | 9.4392e-07
283.397 | 9.4686e-07
283.682 | 9.4753e-07
284 | 9.4668e-07
284.316 | 9.4912e-07
284.599 | 9.4713e-07
284.883 | 9.4249e-07
285.218 | 9.4285e-07
285.501 | 9.4384e-07
285.835 | 9.4276e-07
286.119 | 9.4871e-07
286.402 | 9.4898e-07
286.736 | 9.4834e-07
287.02 | 9.5132e-07
287.304 | 9.5154e-07
287.635 | 9.4847e-07
287.92 | 9.509e-07
288.204 | 9.5099e-07
288.488 | 9.5169e-07
288.821 | 9.5167e-07
289.102 | 9.5019e-07
289.388 | 9.4773e-07
289.721 | 9.5573e-07
290.005 | 9.4874e-07
290.322 | 9.5483e-07
290.605 | 9.5402e-07
290.905 | 9.5802e-07
291.238 | 9.5737e-07
291.52 | 9.5831e-07
291.805 | 9.5373e-07
292.122 | 9.5881e-07
292.421 | 9.562e-07
292.706 | 9.5637e-07
293.039 | 9.5758e-07
293.322 | 9.6056e-07
293.605 | 9.6001e-07
293.938 | 9.6428e-07
294.222 | 9.6203e-07
294.505 | 9.635e-07
294.788 | 9.6251e-07
295.12 | 9.6328e-07
295.405 | 9.6723e-07
295.688 | 9.6537e-07
296.02 | 9.6711e-07
296.304 | 9.6656e-07
296.587 | 9.6853e-07
296.922 | 9.6822e-07
297.204 | 9.7032e-07
297.522 | 9.655e-07
297.805 | 9.7019e-07
298.087 | 9.7183e-07
298.42 | 9.7161e-07
298.702 | 9.7435e-07
299.032 | 9.7019e-07
299.316 | 9.7064e-07
299.597 | 9.7419e-07
299.895 | 9.7362e-07
300.228 | 9.7283e-07
300.511 | 9.7383e-07
300.794 | 9.7779e-07
301.129 | 9.7773e-07
301.413 | 9.8129e-07
301.696 | 9.8067e-07
301.979 | 9.7908e-07
302.314 | 9.8067e-07
302.597 | 9.8107e-07
302.882 | 9.8342e-07
303.215 | 9.8275e-07
303.499 | 9.8105e-07
303.785 | 9.8616e-07
304.116 | 9.856e-07
304.402 | 9.8753e-07
304.685 | 9.8555e-07
305.019 | 9.8586e-07
305.303 | 9.8697e-07
305.586 | 9.8758e-07
305.921 | 9.913e-07
306.205 | 9.901e-07
306.505 | 9.8913e-07
306.787 | 9.8743e-07
307.123 | 9.8075e-07
307.423 | 9.7385e-07
307.706 | 9.7357e-07
307.99 | 9.748e-07
308.324 | 9.7593e-07
308.607 | 9.7456e-07
308.889 | 9.7613e-07
309.223 | 9.7738e-07
309.523 | 9.8093e-07
309.807 | 9.7954e-07
310.124 | 9.8322e-07
310.424 | 9.7662e-07
310.707 | 9.7985e-07
311.024 | 9.8076e-07
311.308 | 9.816e-07
311.59 | 9.8435e-07
311.924 | 9.8331e-07
312.207 | 9.8379e-07
312.491 | 9.8376e-07
312.825 | 9.8506e-07
313.106 | 9.865e-07
313.39 | 9.8364e-07
313.724 | 9.8768e-07
314.025 | 9.8754e-07
314.308 | 9.9067e-07
314.589 | 9.9205e-07
314.924 | 9.8985e-07
315.207 | 9.8807e-07
315.489 | 9.8945e-07
315.823 | 9.9155e-07
316.107 | 9.9275e-07
316.39 | 9.8969e-07
316.724 | 9.9573e-07
317.007 | 9.956e-07
317.291 | 9.918e-07
317.625 | 9.8949e-07
317.908 | 9.9345e-07
318.19 | 9.9253e-07
318.524 | 9.9528e-07
318.808 | 9.942e-07
319.107 | 9.9415e-07
319.441 | 9.956e-07
319.723 | 9.9602e-07
320.005 | 9.9669e-07