## Settings
Sample Info | ReRAM ZrO2 zb1e run03
Comments | 0.1/-0.5/0.1
Additional Comments | at 1 mkA
Major Measurement Parameters
Starting Temperature | 298.672
Initial Temperature | 80.5
Final Temperature | 320
Preliminary Voltage | 0.1
Pulse Voltage | -0.5
Pulse Time | 20
Wait Time | 0
Measurement Voltage | 0.1
Subsidiary Measurement Parameters
Step | 0.3
Accuracy Step | 0.1
Accuracy Stable | 0.5
Accuracy End | 0.2
Lakeshore TC Parameters
Ramp | 10
Range | 3
P | 100
I | 50
D | 20
Keithley SM Parameters
NPLC | 5
Measurecount | 1
Time
Date | 30.1.2024
Clock | 17:16:9

## Stabilization
Temperature | Current
0 | 1.0676e-06
0 | 1.0722e-06
0 | 1.0665e-06
0 | 1.0641e-06
0 | 1.0631e-06
0 | 1.0642e-06
0 | 1.0653e-06
0 | 1.0607e-06
0 | 1.0602e-06
80.0419 | 1.0588e-06
0 | 1.0644e-06
0 | 1.0608e-06
0 | 1.0721e-06
0 | 1.0666e-06
0 | 1.0666e-06
0 | 1.0706e-06
0 | 1.0705e-06
0 | 1.0706e-06
0 | 1.0663e-06
0 | 1.0688e-06
0 | 1.0625e-06
0 | 1.0569e-06
0 | 1.0569e-06
0 | 1.0556e-06
0 | 1.0542e-06
0 | 1.0557e-06
0 | 1.0545e-06
0 | 1.059e-06
0 | 1.0514e-06
0 | 1.0523e-06
0 | 1.0501e-06
0 | 1.0538e-06
0 | 1.0632e-06
0 | 1.0565e-06
0 | 1.0533e-06
0 | 1.0494e-06
0 | 1.0497e-06
0 | 1.0493e-06
0 | 1.0524e-06
0 | 1.0527e-06
0 | 1.0472e-06
0 | 1.0495e-06
0 | 1.0506e-06
0 | 1.0481e-06
0 | 1.0472e-06
0 | 1.0449e-06
0 | 1.0477e-06
0 | 1.0404e-06
0 | 1.0407e-06
0 | 1.0383e-06
0 | 1.0405e-06
0 | 1.0453e-06
0 | 1.0376e-06
0 | 1.0391e-06
0 | 1.041e-06
0 | 1.0384e-06
0 | 1.0366e-06
0 | 1.0383e-06
0 | 1.0358e-06
0 | 1.0356e-06
0 | 1.0395e-06
0 | 1.0426e-06
0 | 1.0417e-06
0 | 1.0347e-06
0 | 1.0346e-06
0 | 1.0294e-06
0 | 1.0288e-06
0 | 1.0306e-06
0 | 1.0309e-06
0 | 1.0295e-06
0 | 1.027e-06
0 | 1.028e-06
0 | 1.0267e-06
0 | 1.0224e-06
0 | 1.0228e-06
0 | 1.0221e-06
0 | 1.0226e-06
0 | 1.0224e-06
0 | 1.0226e-06
0 | 1.0212e-06
0 | 1.0176e-06
0 | 1.0186e-06
0 | 1.0182e-06
0 | 1.0189e-06
0 | 1.02e-06
0 | 1.0175e-06
0 | 1.0151e-06
0 | 1.0144e-06
0 | 1.0164e-06
0 | 1.0116e-06
0 | 1.0145e-06
0 | 1.0108e-06
0 | 1.0129e-06
0 | 1.01e-06
0 | 1.0092e-06
0 | 1.0071e-06
0 | 1.004e-06
0 | 1.0019e-06
0 | 9.9896e-07
0 | 9.9522e-07
0 | 9.9679e-07
0 | 9.9769e-07
0 | 9.9121e-07
0 | 9.9492e-07
0 | 9.9397e-07
0 | 9.9154e-07
0 | 9.9244e-07
0 | 9.905e-07
0 | 9.8644e-07
0 | 9.8467e-07
0 | 9.8682e-07
0 | 9.8343e-07
0 | 9.8707e-07
0 | 9.8445e-07
0 | 9.8574e-07
0 | 9.8471e-07
0 | 9.8467e-07
0 | 9.8656e-07
0 | 9.8767e-07
0 | 9.8476e-07
0 | 9.8174e-07
0 | 9.8011e-07
0 | 9.8202e-07
0 | 9.7467e-07
0 | 9.7637e-07
0 | 9.7481e-07
0 | 9.7356e-07
0 | 9.7603e-07
0 | 9.7249e-07
0 | 9.7461e-07
0 | 9.7485e-07
0 | 9.7844e-07
0 | 9.72e-07
0 | 9.6779e-07
0 | 9.6862e-07
0 | 9.6664e-07
0 | 9.7075e-07
0 | 9.76e-07
0 | 9.6313e-07
0 | 9.6695e-07
0 | 9.6554e-07
0 | 9.7194e-07
0 | 9.7192e-07
0 | 9.638e-07
0 | 9.6591e-07
0 | 9.6177e-07
0 | 9.6518e-07
0 | 9.595e-07
0 | 9.6633e-07
0 | 9.6074e-07
0 | 9.6329e-07
0 | 9.5766e-07
0 | 9.5991e-07
0 | 9.5435e-07
0 | 9.6499e-07
0 | 9.5102e-07
0 | 9.5251e-07
0 | 9.5237e-07
0 | 9.483e-07
0 | 9.491e-07
0 | 9.4785e-07
0 | 9.4751e-07
0 | 9.4917e-07
0 | 9.5205e-07
0 | 9.4312e-07
0 | 9.5144e-07
0 | 9.4907e-07
0 | 9.4656e-07
0 | 9.4901e-07
0 | 9.4531e-07
0 | 9.4694e-07
0 | 9.4131e-07
0 | 9.4065e-07
0 | 9.402e-07
0 | 9.4113e-07
0 | 9.3871e-07
0 | 9.3868e-07
0 | 9.3961e-07
0 | 9.407e-07
0 | 9.3698e-07
0 | 9.3943e-07
0 | 9.3862e-07
0 | 9.3551e-07
0 | 9.3679e-07
0 | 9.3485e-07
0 | 9.3361e-07
0 | 9.2929e-07
0 | 9.26e-07
0 | 9.3246e-07
0 | 9.2787e-07
0 | 9.2494e-07
0 | 9.2791e-07
0 | 9.2823e-07
0 | 9.3046e-07
0 | 9.2855e-07
0 | 9.2817e-07
0 | 9.2499e-07
0 | 9.2446e-07
0 | 9.2512e-07
0 | 9.2447e-07
0 | 9.2337e-07
0 | 9.2146e-07
0 | 9.1859e-07
0 | 9.2503e-07
0 | 9.2372e-07
0 | 9.1872e-07
0 | 9.2192e-07
0 | 9.22e-07
0 | 9.207e-07
0 | 9.2529e-07
0 | 9.2597e-07
0 | 9.2321e-07
0 | 9.2284e-07
0 | 9.2213e-07
0 | 9.2307e-07
0 | 9.2202e-07
0 | 9.2003e-07
0 | 9.2024e-07
0 | 9.1831e-07
0 | 9.1708e-07
0 | 9.1745e-07
0 | 9.1658e-07
0 | 9.2275e-07
0 | 9.2687e-07
0 | 9.2112e-07
0 | 9.1648e-07
0 | 9.1886e-07
0 | 9.2309e-07
0 | 9.2146e-07
0 | 9.1817e-07
0 | 9.2085e-07
0 | 9.216e-07
0 | 9.1836e-07
0 | 9.1933e-07
0 | 9.1377e-07
0 | 9.1465e-07
0 | 9.1702e-07
0 | 9.1555e-07
0 | 9.1341e-07
0 | 9.0909e-07
0 | 9.1157e-07
0 | 9.162e-07
0 | 9.1319e-07
0 | 9.1531e-07
0 | 9.145e-07
0 | 9.1504e-07
0 | 9.1653e-07
0 | 9.1402e-07
0 | 9.1406e-07
0 | 9.1512e-07
0 | 9.1577e-07
0 | 9.1424e-07
0 | 9.0949e-07
0 | 9.0918e-07
0 | 9.1099e-07
0 | 9.1141e-07
0 | 9.0991e-07
0 | 9.1006e-07
0 | 9.1035e-07
0 | 9.1221e-07
0 | 9.0873e-07
0 | 9.1181e-07
0 | 9.1048e-07
0 | 9.0763e-07
0 | 9.0878e-07
0 | 9.0923e-07
0 | 9.071e-07
0 | 9.0924e-07
0 | 9.0968e-07
0 | 9.0876e-07
0 | 9.0682e-07
0 | 9.052e-07
0 | 9.0558e-07
0 | 9.0802e-07
0 | 9.0748e-07
0 | 9.0729e-07
0 | 9.0511e-07
0 | 9.0729e-07
0 | 9.0458e-07
0 | 9.0526e-07
0 | 9.0464e-07
0 | 9.0221e-07
0 | 9.0284e-07
0 | 9.0122e-07
0 | 9.002e-07
0 | 9.0665e-07
0 | 9.0033e-07
0 | 9.0016e-07
0 | 9.0079e-07
0 | 9.0178e-07
0 | 9.0231e-07
0 | 9.012e-07
0 | 9.0123e-07
0 | 9.0277e-07
0 | 9.0199e-07
0 | 8.9998e-07
0 | 8.987e-07
0 | 8.9886e-07
0 | 8.9986e-07
0 | 9.0205e-07
0 | 9.0072e-07
0 | 8.9713e-07
0 | 8.9665e-07
0 | 8.9455e-07
0 | 8.9818e-07
0 | 8.9774e-07
0 | 8.9642e-07
0 | 8.9618e-07
0 | 8.9663e-07
0 | 8.9618e-07
0 | 8.9592e-07
0 | 8.9604e-07
0 | 8.9487e-07
0 | 8.9684e-07
0 | 8.9695e-07
0 | 8.9526e-07
0 | 8.9469e-07
0 | 9.0063e-07
0 | 8.9788e-07
0 | 8.98e-07
0 | 8.9804e-07
0 | 9.0137e-07
0 | 8.9682e-07
0 | 8.9256e-07
0 | 8.9595e-07
0 | 8.9031e-07
0 | 8.9404e-07
0 | 8.9269e-07
0 | 8.9196e-07
0 | 8.9071e-07
0 | 8.8992e-07
0 | 8.9252e-07
0 | 8.9225e-07
0 | 8.8762e-07
0 | 8.8922e-07
0 | 8.8759e-07
0 | 8.8984e-07
0 | 8.9543e-07
0 | 8.902e-07
0 | 8.9192e-07
0 | 8.9044e-07
0 | 8.8994e-07
0 | 8.9523e-07
0 | 8.9573e-07
0 | 8.9387e-07
0 | 8.9472e-07
0 | 8.906e-07
0 | 8.8417e-07
0 | 8.8469e-07
0 | 8.8991e-07
0 | 8.8701e-07
0 | 8.889e-07
0 | 8.8568e-07
0 | 8.8593e-07
0 | 8.8989e-07
0 | 8.8985e-07
0 | 8.8881e-07
0 | 8.8979e-07
0 | 8.8865e-07
0 | 8.9291e-07
0 | 8.8544e-07
0 | 8.8725e-07
0 | 8.9135e-07
0 | 8.9012e-07
0 | 8.887e-07
0 | 8.902e-07
0 | 8.8857e-07
0 | 8.9181e-07
0 | 8.8476e-07
0 | 8.9055e-07
0 | 8.8783e-07
0 | 8.8795e-07
0 | 8.8777e-07
0 | 8.8425e-07
0 | 8.8524e-07
0 | 8.8529e-07
0 | 8.8573e-07
0 | 8.8585e-07
0 | 8.8723e-07
0 | 8.8527e-07
0 | 8.8407e-07
0 | 8.8394e-07
0 | 8.854e-07
0 | 8.8403e-07
0 | 8.8422e-07
0 | 8.8442e-07
0 | 8.8515e-07
0 | 8.8302e-07
0 | 8.8213e-07
0 | 8.84e-07
0 | 8.8451e-07
0 | 8.8332e-07
0 | 8.8304e-07
0 | 8.8387e-07
0 | 8.7988e-07
0 | 8.8215e-07
0 | 8.7896e-07
0 | 8.8304e-07
0 | 8.8177e-07
0 | 8.7935e-07
0 | 8.8004e-07
0 | 8.8105e-07
0 | 8.8078e-07
0 | 8.802e-07
0 | 8.8419e-07
0 | 8.8284e-07
0 | 8.8492e-07
0 | 8.8383e-07
0 | 8.8317e-07
0 | 8.8314e-07
0 | 8.8125e-07
0 | 8.8221e-07
0 | 8.8277e-07
0 | 8.8328e-07
0 | 8.8334e-07
0 | 8.8199e-07
0 | 8.8227e-07
0 | 8.8373e-07
0 | 8.8242e-07
0 | 8.8069e-07
0 | 8.8093e-07
0 | 8.7924e-07
0 | 8.8327e-07
0 | 8.7932e-07
0 | 8.8162e-07
0 | 8.8164e-07
0 | 8.8116e-07
0 | 8.8168e-07
0 | 8.789e-07
0 | 8.7977e-07
0 | 8.7968e-07
0 | 8.8051e-07
0 | 8.8351e-07
0 | 8.8025e-07
0 | 8.7849e-07
0 | 8.8345e-07
0 | 8.807e-07
0 | 8.8175e-07
0 | 8.8071e-07
0 | 8.809e-07
0 | 8.8014e-07
0 | 8.8052e-07
0 | 8.7893e-07
0 | 8.7903e-07
0 | 8.84e-07
0 | 8.8013e-07
0 | 8.8029e-07
0 | 8.7938e-07
0 | 8.7892e-07
0 | 8.7965e-07
0 | 8.7933e-07
0 | 8.7848e-07
0 | 8.7787e-07
0 | 8.7786e-07
0 | 8.8154e-07
0 | 8.7835e-07
0 | 8.7882e-07
0 | 8.7858e-07
0 | 8.7813e-07
0 | 8.764e-07
0 | 8.7293e-07
0 | 8.7079e-07
0 | 8.7416e-07
0 | 8.7447e-07
0 | 8.7167e-07
0 | 8.769e-07
0 | 8.7618e-07
0 | 8.7724e-07
0 | 8.7533e-07
0 | 8.7506e-07
0 | 8.74e-07
0 | 8.756e-07
0 | 8.7463e-07
0 | 8.7424e-07
0 | 8.7503e-07
0 | 8.7458e-07
0 | 8.7602e-07
0 | 8.7463e-07
0 | 8.7554e-07
0 | 8.7535e-07
0 | 8.748e-07
0 | 8.7486e-07
0 | 8.7504e-07
0 | 8.7369e-07
0 | 8.7015e-07
0 | 8.7289e-07
0 | 8.7408e-07
0 | 8.7455e-07
0 | 8.7384e-07
0 | 8.7408e-07
0 | 8.73e-07
0 | 8.73e-07
0 | 8.707e-07
0 | 8.7283e-07
0 | 8.7186e-07
0 | 8.7193e-07
0 | 8.7518e-07
0 | 8.7604e-07
0 | 8.7639e-07
0 | 8.7081e-07
0 | 8.7048e-07
0 | 8.7124e-07
0 | 8.6946e-07
0 | 8.6866e-07
0 | 8.6988e-07
0 | 8.7167e-07
0 | 8.701e-07
0 | 8.7032e-07
0 | 8.6829e-07
0 | 8.7087e-07
0 | 8.7027e-07
0 | 8.6895e-07
0 | 8.7243e-07
0 | 8.6837e-07
0 | 8.6847e-07
0 | 8.6509e-07
0 | 8.6539e-07
0 | 8.6608e-07
0 | 8.6548e-07
0 | 8.6805e-07
0 | 8.6703e-07
0 | 8.6731e-07
0 | 8.7021e-07
0 | 8.6896e-07
0 | 8.6803e-07
0 | 8.6296e-07
0 | 8.6829e-07
0 | 8.7034e-07
0 | 8.6957e-07
0 | 8.6929e-07
0 | 8.6585e-07
0 | 8.6543e-07
0 | 8.6615e-07
0 | 8.6501e-07
0 | 8.6594e-07
0 | 8.6371e-07
0 | 8.6341e-07
0 | 8.6495e-07
0 | 8.6316e-07
0 | 8.6402e-07
0 | 8.6471e-07
0 | 8.659e-07
0 | 8.6481e-07
0 | 8.6407e-07
0 | 8.6461e-07
0 | 8.6465e-07
0 | 8.6447e-07
0 | 8.6407e-07
0 | 8.5774e-07
0 | 8.5801e-07
0 | 8.5818e-07
0 | 8.6398e-07
0 | 8.6529e-07
0 | 8.6567e-07
0 | 8.5852e-07
0 | 8.6044e-07
0 | 8.6396e-07
0 | 8.6379e-07
0 | 8.6046e-07
0 | 8.5821e-07
0 | 8.5916e-07
0 | 8.6121e-07
0 | 8.6193e-07
0 | 8.5962e-07
0 | 8.5714e-07
0 | 8.5933e-07
0 | 8.5798e-07
0 | 8.5647e-07
0 | 8.6165e-07
0 | 8.6007e-07
0 | 8.6254e-07
0 | 8.5919e-07
0 | 8.5982e-07
0 | 8.6156e-07
0 | 8.6109e-07
0 | 8.6192e-07
0 | 8.6369e-07
0 | 8.6228e-07
0 | 8.6166e-07
0 | 8.61e-07
0 | 8.5862e-07
0 | 8.6011e-07
0 | 8.5663e-07
0 | 8.5588e-07
0 | 8.5872e-07
0 | 8.6052e-07
0 | 8.6027e-07
0 | 8.5967e-07
0 | 8.5973e-07
0 | 8.5604e-07
0 | 8.5604e-07
0 | 8.5663e-07
0 | 8.5766e-07
0 | 8.5844e-07
0 | 8.5831e-07
0 | 8.581e-07
0 | 8.5946e-07
0 | 8.5893e-07
0 | 8.6169e-07
0 | 8.5954e-07
0 | 8.5803e-07
0 | 8.5842e-07
0 | 8.5674e-07
0 | 8.5818e-07
0 | 8.5758e-07
0 | 8.577e-07
0 | 8.5619e-07
0 | 8.565e-07
0 | 8.5472e-07
0 | 8.5712e-07
0 | 8.5997e-07
0 | 8.5814e-07
0 | 8.5871e-07
0 | 8.5786e-07
0 | 8.5447e-07
0 | 8.5827e-07
0 | 8.5456e-07
0 | 8.5574e-07
0 | 8.5522e-07
0 | 8.5724e-07
0 | 8.579e-07
0 | 8.5925e-07
0 | 8.5756e-07
0 | 8.5803e-07
0 | 8.5699e-07
0 | 8.5537e-07
0 | 8.5693e-07
0 | 8.5562e-07
0 | 8.5718e-07
0 | 8.5786e-07
0 | 8.5709e-07
0 | 8.5613e-07
0 | 8.5566e-07
0 | 8.5702e-07
0 | 8.519e-07
0 | 8.567e-07
0 | 8.5354e-07
0 | 8.5626e-07
0 | 8.5369e-07
0 | 8.5322e-07
0 | 8.532e-07
0 | 8.5522e-07
0 | 8.5439e-07
0 | 8.536e-07
0 | 8.5165e-07
0 | 8.5271e-07
0 | 8.5376e-07
0 | 8.5313e-07
0 | 8.516e-07
0 | 8.5003e-07
0 | 8.5042e-07
0 | 8.4937e-07
0 | 8.528e-07
0 | 8.5199e-07
0 | 8.5106e-07
0 | 8.5342e-07
0 | 8.5251e-07
0 | 8.514e-07
0 | 8.501e-07
0 | 8.5151e-07
0 | 8.5001e-07
0 | 8.5046e-07
0 | 8.497e-07
0 | 8.4973e-07
0 | 8.5276e-07
0 | 8.5174e-07
0 | 8.5181e-07
0 | 8.5139e-07
0 | 8.5036e-07
0 | 8.496e-07
0 | 8.4715e-07
0 | 8.4985e-07
0 | 8.5122e-07
0 | 8.4924e-07
0 | 8.5073e-07
0 | 8.4927e-07
0 | 8.5188e-07
0 | 8.5147e-07
0 | 8.551e-07
0 | 8.5236e-07
0 | 8.5351e-07
0 | 8.5045e-07
0 | 8.5217e-07
0 | 8.518e-07
0 | 8.5345e-07
0 | 8.4963e-07
0 | 8.4772e-07
0 | 8.5135e-07
0 | 8.4968e-07
0 | 8.5024e-07
0 | 8.4842e-07
0 | 8.4811e-07
0 | 8.4773e-07
0 | 8.4732e-07
0 | 8.4745e-07
0 | 8.486e-07
0 | 8.48e-07
0 | 8.472e-07
0 | 8.4676e-07
0 | 8.4723e-07
0 | 8.4857e-07
0 | 8.5023e-07
0 | 8.4965e-07
0 | 8.4928e-07
0 | 8.497e-07
0 | 8.465e-07
0 | 8.4862e-07
0 | 8.4829e-07
0 | 8.4564e-07
0 | 8.4808e-07
0 | 8.4911e-07
0 | 8.4622e-07
0 | 8.4884e-07
0 | 8.5176e-07
0 | 8.5254e-07
0 | 8.5063e-07
0 | 8.5093e-07
0 | 8.4953e-07
0 | 8.4958e-07
0 | 8.4825e-07
0 | 8.4694e-07
0 | 8.4682e-07
0 | 8.4826e-07
0 | 8.4956e-07
0 | 8.5242e-07
0 | 8.5157e-07
0 | 8.5097e-07
0 | 8.4973e-07
0 | 8.4719e-07
0 | 8.4254e-07
0 | 8.4528e-07
0 | 8.4679e-07
0 | 8.4815e-07
0 | 8.4685e-07
0 | 8.47e-07
0 | 8.4565e-07
0 | 8.4496e-07
0 | 8.4634e-07
0 | 8.4702e-07
0 | 8.4549e-07
0 | 8.4752e-07
0 | 8.4506e-07
0 | 8.4633e-07
0 | 8.4431e-07
0 | 8.436e-07
0 | 8.4437e-07
0 | 8.4444e-07
0 | 8.4419e-07
0 | 8.4393e-07
0 | 8.4085e-07
0 | 8.4231e-07
0 | 8.4388e-07
0 | 8.4491e-07
0 | 8.4272e-07
0 | 8.4399e-07
0 | 8.4506e-07
0 | 8.454e-07
0 | 8.4543e-07
0 | 8.4615e-07
0 | 8.4384e-07
0 | 8.4237e-07
0 | 8.4218e-07
0 | 8.4496e-07
0 | 8.4456e-07
0 | 8.4318e-07
0 | 8.4184e-07
0 | 8.4461e-07
0 | 8.4485e-07
0 | 8.4004e-07
0 | 8.4493e-07
0 | 8.4499e-07
0 | 8.4421e-07
0 | 8.4388e-07
0 | 8.4169e-07
0 | 8.4414e-07
0 | 8.4288e-07
0 | 8.4359e-07
0 | 8.4397e-07
0 | 8.416e-07
0 | 8.4267e-07
0 | 8.4258e-07
0 | 8.4266e-07
0 | 8.3933e-07
0 | 8.4508e-07
0 | 8.4279e-07
0 | 8.4178e-07
0 | 8.4182e-07
0 | 8.4104e-07
0 | 8.4071e-07
0 | 8.4113e-07
0 | 8.3995e-07
0 | 8.4149e-07
0 | 8.385e-07
0 | 8.3884e-07
0 | 8.4194e-07
0 | 8.4455e-07
0 | 8.4085e-07
0 | 8.3884e-07
0 | 8.3868e-07
0 | 8.3742e-07
0 | 8.3834e-07
0 | 8.3845e-07
0 | 8.3948e-07
0 | 8.3935e-07
0 | 8.3556e-07
0 | 8.3758e-07
0 | 8.3989e-07
0 | 8.4088e-07
0 | 8.3808e-07
0 | 8.3874e-07
0 | 8.3831e-07
0 | 8.3729e-07
0 | 8.381e-07
0 | 8.3602e-07
0 | 8.3619e-07
0 | 8.3616e-07
0 | 8.3635e-07
0 | 8.3952e-07
0 | 8.3729e-07
0 | 8.3736e-07
0 | 8.3672e-07
0 | 8.349e-07
0 | 8.3385e-07
0 | 8.3533e-07
0 | 8.3426e-07
0 | 8.3582e-07
0 | 8.3701e-07
0 | 8.3738e-07
0 | 8.3584e-07
0 | 8.4086e-07
0 | 8.3655e-07
0 | 8.3632e-07
0 | 8.3638e-07
0 | 8.3697e-07
0 | 8.3441e-07
0 | 8.3669e-07
0 | 8.3864e-07
0 | 8.3626e-07
0 | 8.3616e-07
0 | 8.371e-07
0 | 8.3543e-07
0 | 8.3706e-07
0 | 8.3625e-07
0 | 8.4021e-07
0 | 8.3762e-07
0 | 8.4372e-07
0 | 8.4167e-07
0 | 8.4434e-07
0 | 8.3959e-07
0 | 8.3595e-07
0 | 8.4201e-07
0 | 8.3932e-07
0 | 8.3491e-07
0 | 8.3343e-07
0 | 8.3464e-07
0 | 8.3525e-07
0 | 8.3777e-07
0 | 8.2864e-07
0 | 8.3474e-07
0 | 8.356e-07
0 | 8.3036e-07
0 | 8.3636e-07
0 | 8.3334e-07
0 | 8.3199e-07
0 | 8.3378e-07
0 | 8.3807e-07
0 | 8.3801e-07
0 | 8.3841e-07
0 | 8.3931e-07
0 | 8.3914e-07
0 | 8.3868e-07
0 | 8.391e-07
0 | 8.3807e-07
0 | 8.3672e-07
0 | 8.3694e-07
0 | 8.3861e-07
0 | 8.3499e-07
0 | 8.3455e-07
0 | 8.3591e-07
0 | 8.3605e-07
0 | 8.3301e-07
0 | 8.3632e-07
0 | 8.3187e-07
0 | 8.3495e-07
0 | 8.3181e-07
0 | 8.3353e-07
0 | 8.3453e-07
0 | 8.3224e-07
0 | 8.3135e-07
0 | 8.3231e-07
0 | 8.3197e-07
0 | 8.3014e-07
0 | 8.3279e-07
0 | 8.3026e-07
0 | 8.302e-07
0 | 8.3133e-07
0 | 8.3131e-07
0 | 8.2998e-07
0 | 8.3017e-07
0 | 8.3004e-07
0 | 8.3038e-07
0 | 8.2948e-07
0 | 8.2965e-07
0 | 8.3236e-07
0 | 8.3183e-07
0 | 8.2878e-07
0 | 8.3095e-07
0 | 8.3116e-07
0 | 8.3251e-07
0 | 8.3054e-07
0 | 8.2878e-07
0 | 8.3018e-07
0 | 8.3007e-07
0 | 8.2892e-07
0 | 8.2642e-07
0 | 8.2915e-07
0 | 8.2792e-07
0 | 8.3134e-07
0 | 8.3053e-07
0 | 8.3066e-07
0 | 8.2915e-07
0 | 8.2648e-07
0 | 8.2929e-07
0 | 8.2692e-07
0 | 8.2612e-07
0 | 8.2753e-07
0 | 8.2672e-07
0 | 8.2744e-07
0 | 8.2699e-07
0 | 8.2629e-07
0 | 8.264e-07
0 | 8.2764e-07
0 | 8.311e-07
0 | 8.2799e-07
0 | 8.262e-07
0 | 8.2964e-07
0 | 8.2667e-07
0 | 8.2756e-07
0 | 8.2315e-07
0 | 8.2086e-07
0 | 8.2018e-07
0 | 8.177e-07
0 | 8.2313e-07
0 | 8.2191e-07
0 | 8.2096e-07
0 | 8.2257e-07
0 | 8.2409e-07
0 | 8.2263e-07
0 | 8.2062e-07
0 | 8.205e-07
0 | 8.1945e-07
0 | 8.1972e-07
0 | 8.2023e-07
0 | 8.1861e-07
0 | 8.1995e-07
0 | 8.1784e-07
0 | 8.214e-07
0 | 8.2188e-07
0 | 8.2236e-07
0 | 8.2008e-07
0 | 8.1752e-07
0 | 8.1924e-07
0 | 8.1327e-07
0 | 8.1444e-07
0 | 8.1142e-07
0 | 8.156e-07
0 | 8.1581e-07
0 | 8.1403e-07
0 | 8.1306e-07
0 | 8.1453e-07
0 | 8.1523e-07
0 | 8.1609e-07
0 | 8.1501e-07
0 | 8.145e-07
0 | 8.1221e-07
0 | 8.1769e-07
0 | 8.1851e-07
0 | 8.1429e-07
0 | 8.1034e-07
0 | 8.1697e-07
0 | 8.1047e-07
0 | 8.1421e-07
0 | 8.1336e-07
0 | 8.1866e-07
0 | 8.1702e-07
0 | 8.1394e-07
0 | 8.1185e-07
0 | 8.1197e-07
0 | 8.1239e-07
0 | 8.1107e-07
0 | 8.0996e-07
0 | 8.1089e-07
0 | 8.1181e-07
0 | 8.1187e-07
0 | 8.1265e-07
0 | 8.1394e-07
0 | 8.1407e-07
0 | 8.1397e-07
0 | 8.1415e-07
0 | 8.1415e-07
0 | 8.1372e-07
0 | 8.0901e-07
0 | 8.0819e-07
0 | 8.1149e-07
0 | 8.1541e-07
0 | 8.0901e-07
0 | 8.082e-07
0 | 8.123e-07
0 | 8.1214e-07
0 | 8.1137e-07
0 | 8.133e-07
0 | 8.1267e-07
0 | 8.13e-07
0 | 8.1365e-07
0 | 8.1122e-07
0 | 8.1176e-07
0 | 8.1548e-07
0 | 8.1503e-07
0 | 8.105e-07
0 | 8.1214e-07
0 | 8.1127e-07
0 | 8.0988e-07
0 | 8.0859e-07
0 | 8.1096e-07
0 | 8.0906e-07
0 | 8.1185e-07
0 | 8.1274e-07
0 | 8.0958e-07
0 | 8.0822e-07
0 | 8.114e-07
0 | 8.0794e-07
0 | 8.0755e-07
0 | 8.1453e-07
0 | 8.1231e-07
0 | 8.0779e-07
0 | 8.0636e-07
0 | 8.0676e-07
0 | 8.0865e-07
0 | 8.0761e-07
0 | 8.131e-07
0 | 8.0695e-07
0 | 8.0969e-07
0 | 8.0879e-07
0 | 8.0898e-07
0 | 8.0823e-07
0 | 8.0818e-07
0 | 8.0833e-07
0 | 8.0828e-07
0 | 8.0812e-07
0 | 8.1001e-07
0 | 8.086e-07
0 | 8.0976e-07
0 | 8.0953e-07
0 | 8.074e-07
0 | 8.0784e-07
0 | 8.0796e-07
0 | 8.0814e-07
0 | 8.0485e-07
0 | 8.0499e-07
0 | 8.0857e-07
0 | 8.0894e-07
0 | 8.1035e-07
0 | 8.1003e-07
0 | 8.0666e-07
0 | 8.0469e-07
0 | 8.0656e-07
0 | 8.063e-07
0 | 8.046e-07
0 | 8.1434e-07
0 | 8.1182e-07
0 | 8.1185e-07
0 | 8.0498e-07
0 | 8.0457e-07
0 | 8.0789e-07
0 | 8.099e-07
0 | 8.1283e-07
0 | 8.1435e-07
0 | 8.1357e-07
0 | 8.1274e-07
0 | 8.1176e-07
0 | 8.1151e-07
0 | 8.086e-07
0 | 8.0762e-07
0 | 8.0923e-07
0 | 8.0913e-07
0 | 8.085e-07
0 | 8.0909e-07
0 | 8.1209e-07
0 | 8.1392e-07
0 | 8.0857e-07
0 | 8.0923e-07
0 | 8.1042e-07
0 | 8.1228e-07
0 | 8.1093e-07
0 | 8.1065e-07
0 | 8.0927e-07
0 | 8.0904e-07
0 | 8.0933e-07
0 | 8.095e-07
0 | 8.0931e-07
0 | 8.0826e-07
0 | 8.1226e-07
0 | 8.0992e-07
0 | 8.0758e-07
0 | 8.1142e-07
0 | 8.0837e-07
0 | 8.1065e-07
0 | 8.1036e-07
0 | 8.086e-07
0 | 8.0794e-07
0 | 8.09e-07
0 | 8.0883e-07
0 | 8.1e-07
0 | 8.0968e-07
0 | 8.0939e-07
0 | 8.0948e-07
0 | 8.0714e-07
0 | 8.088e-07
0 | 8.0727e-07
0 | 8.0854e-07
0 | 8.0849e-07
0 | 8.0806e-07
0 | 8.066e-07
0 | 8.0586e-07
0 | 8.0608e-07
0 | 8.0677e-07
0 | 8.0359e-07
0 | 8.0586e-07
0 | 8.036e-07
0 | 8.0697e-07
0 | 8.1133e-07
0 | 8.0633e-07
0 | 8.0609e-07
0 | 8.0721e-07
0 | 8.0889e-07
0 | 8.0606e-07
0 | 8.0692e-07
0 | 8.0693e-07
0 | 8.0851e-07
0 | 8.0431e-07
0 | 8.0657e-07
0 | 8.0627e-07
0 | 8.0779e-07
0 | 8.0749e-07
0 | 8.1305e-07
0 | 8.1204e-07
0 | 8.1198e-07
0 | 8.1416e-07
0 | 8.0995e-07
0 | 8.1032e-07
0 | 8.0793e-07
0 | 8.0714e-07
0 | 8.0586e-07
0 | 8.1162e-07
0 | 8.1316e-07
0 | 8.0966e-07
0 | 8.0978e-07
0 | 8.102e-07
0 | 8.1017e-07
0 | 8.1109e-07
0 | 8.1084e-07
0 | 8.1174e-07
0 | 8.1232e-07
0 | 8.096e-07
0 | 8.1005e-07
0 | 8.093e-07
0 | 8.1052e-07
0 | 8.0947e-07
0 | 8.1006e-07
0 | 8.0918e-07
0 | 8.1159e-07
0 | 8.101e-07
0 | 8.0849e-07
0 | 8.0808e-07
0 | 8.0949e-07
0 | 8.1102e-07
0 | 8.1289e-07
0 | 8.1707e-07
0 | 8.168e-07
0 | 8.0839e-07
0 | 8.1009e-07
0 | 8.1523e-07
0 | 8.1258e-07
0 | 8.0874e-07
0 | 8.0993e-07
0 | 8.0991e-07
0 | 8.0976e-07
0 | 8.0882e-07
0 | 8.1041e-07
0 | 8.0901e-07
0 | 8.0588e-07
0 | 8.0732e-07
0 | 8.0468e-07
0 | 8.0688e-07
0 | 8.0519e-07
0 | 1.8657e-07
0 | 8.0778e-07
0 | 8.0784e-07
0 | 7.6293e-07
0 | 8.1099e-07
0 | 8.0732e-07
0 | 8.1005e-07
0 | 8.0955e-07
0 | 8.1027e-07
0 | 8.0995e-07
0 | 8.1226e-07
0 | 8.102e-07
0 | 8.1156e-07
0 | 8.1188e-07
0 | 8.1269e-07
0 | 8.1314e-07
0 | 8.1465e-07
0 | 8.1524e-07
0 | 8.1386e-07
0 | 8.1457e-07
0 | 8.1352e-07
0 | 8.1453e-07
0 | 8.1792e-07
0 | 8.162e-07
0 | 8.1602e-07
0 | 8.1627e-07
0 | 8.1686e-07
0 | 7.8849e-07
0 | 8.1389e-07
0 | 8.0966e-07
0 | 8.0826e-07
0 | 8.1158e-07
0 | 8.1549e-07
0 | 8.1129e-07
0 | 8.1279e-07
0 | 8.0093e-07
0 | 8.1683e-07
0 | 8.153e-07
0 | 8.1656e-07
0 | 8.1306e-07
0 | 8.1757e-07
0 | 8.1587e-07
0 | 8.1489e-07
0 | 8.1497e-07
0 | 8.1748e-07
0 | 8.1786e-07
0 | 8.1555e-07
0 | 8.1574e-07
0 | 8.1716e-07
0 | 8.1867e-07
0 | 8.1881e-07
0 | 7.9899e-07
0 | 5.8528e-07
0 | 6.4737e-07
0 | 2.4066e-07
0 | 1.9582e-07
0 | 1.2681e-07
0 | 9.9986e-09
0 | 8.2001e-07
0 | 8.2168e-07
0 | 8.2069e-07
0 | 8.1801e-07
0 | 8.2014e-07
0 | 8.1874e-07
0 | 8.1914e-07
0 | 8.1833e-07
0 | 8.1631e-07
0 | 8.1777e-07
0 | 8.1592e-07
0 | 8.1779e-07
0 | 8.149e-07
0 | 8.1582e-07
0 | 8.1344e-07
0 | 8.143e-07
0 | 8.1295e-07
0 | 8.1161e-07
0 | 8.1092e-07
0 | 8.1066e-07
0 | 8.0649e-07
0 | 8.0799e-07
0 | 8.0777e-07
0 | 8.07e-07
0 | 8.0689e-07
0 | 8.049e-07
0 | 8.0165e-07
0 | 8.045e-07
0 | 7.9892e-07
0 | 8.0114e-07
0 | 8.0214e-07
0 | 7.9912e-07
0 | 8.016e-07
0 | 7.94e-07
0 | 7.9593e-07
0 | 7.9345e-07
0 | 7.914e-07
0 | 7.9276e-07
0 | 7.9407e-07
0 | 7.9421e-07
0 | 7.9396e-07
0 | 7.8894e-07
0 | 7.8847e-07
0 | 7.9112e-07
0 | 7.8925e-07
0 | 7.8535e-07
0 | 7.8739e-07
0 | 7.8473e-07
0 | 7.8887e-07
0 | 7.869e-07
0 | 7.8509e-07
0 | 7.7783e-07
80.0127 | 7.8122e-07

## Measurements
Temperature | Current
80.1741 | 7.8431e-07
80.3906 | 7.824e-07
80.5925 | 7.8546e-07
80.9231 | 7.7596e-07
81.1986 | 7.8327e-07
81.5252 | 7.8342e-07
81.8194 | 7.8495e-07
82.1394 | 7.8373e-07
82.3777 | 7.8558e-07
82.7513 | 7.8467e-07
83.0304 | 7.8734e-07
83.3091 | 7.844e-07
83.6652 | 7.8396e-07
83.8787 | 7.8612e-07
84.2159 | 7.8247e-07
84.5211 | 7.8465e-07
84.8134 | 7.8478e-07
85.1212 | 7.8579e-07
85.4082 | 7.8505e-07
85.717 | 7.8346e-07
86.0155 | 7.8409e-07
86.3002 | 7.8355e-07
86.6063 | 7.8377e-07
86.9465 | 7.8131e-07
87.1964 | 7.8349e-07
87.4914 | 7.8447e-07
87.7941 | 7.8429e-07
88.1458 | 7.85e-07
88.3877 | 7.8092e-07
88.714 | 7.8349e-07
88.9856 | 7.841e-07
89.287 | 7.8187e-07
89.5778 | 7.81e-07
89.9068 | 7.7863e-07
90.2192 | 7.8301e-07
90.5271 | 7.7971e-07
90.8096 | 7.7885e-07
91.1296 | 7.8096e-07
91.4135 | 7.7841e-07
91.6881 | 7.793e-07
92.0121 | 7.7514e-07
92.3416 | 7.7794e-07
92.6039 | 7.7723e-07
92.9228 | 7.8214e-07
93.215 | 7.7807e-07
93.541 | 7.8121e-07
93.7823 | 7.789e-07
94.1178 | 7.8121e-07
94.4163 | 7.7932e-07
94.7216 | 7.7977e-07
94.9952 | 7.7676e-07
95.2789 | 7.7926e-07
95.6045 | 7.777e-07
95.8864 | 7.7518e-07
96.197 | 7.7732e-07
96.498 | 7.7703e-07
96.8308 | 7.7598e-07
97.0943 | 7.7751e-07
97.4112 | 7.7901e-07
97.6973 | 7.7635e-07
98.0155 | 7.773e-07
98.3129 | 7.7604e-07
98.6081 | 7.745e-07
98.91 | 7.7551e-07
99.221 | 7.7409e-07
99.5275 | 7.7428e-07
99.8203 | 7.7569e-07
100.126 | 7.7527e-07
100.39 | 7.756e-07
100.717 | 7.7813e-07
101.041 | 7.765e-07
101.327 | 7.7623e-07
101.63 | 7.77e-07
101.899 | 7.7542e-07
102.203 | 7.7601e-07
102.521 | 7.7551e-07
102.81 | 7.736e-07
103.129 | 7.7463e-07
103.406 | 7.7304e-07
103.725 | 7.7182e-07
103.995 | 7.7454e-07
104.298 | 7.737e-07
104.611 | 7.7271e-07
104.926 | 7.7147e-07
105.179 | 7.7207e-07
105.504 | 7.7023e-07
105.798 | 7.7215e-07
106.096 | 7.7177e-07
106.4 | 7.716e-07
106.684 | 7.6842e-07
107.002 | 7.6625e-07
107.312 | 7.7172e-07
107.607 | 7.7211e-07
107.911 | 7.6822e-07
108.203 | 7.7074e-07
108.499 | 7.706e-07
108.778 | 7.7056e-07
109.08 | 7.6867e-07
109.377 | 7.6787e-07
109.702 | 7.7042e-07
109.992 | 7.6821e-07
110.32 | 7.6771e-07
110.627 | 7.6862e-07
110.927 | 7.7139e-07
111.237 | 7.6793e-07
111.51 | 7.683e-07
111.797 | 7.7045e-07
112.101 | 7.7033e-07
112.404 | 7.7158e-07
112.707 | 7.6997e-07
113.041 | 7.7102e-07
113.337 | 7.7055e-07
113.629 | 7.7162e-07
113.927 | 7.7204e-07
114.223 | 7.6773e-07
114.495 | 7.7185e-07
114.814 | 7.7091e-07
115.112 | 7.684e-07
115.448 | 7.6771e-07
115.699 | 7.7142e-07
116.021 | 7.71e-07
116.316 | 7.7096e-07
116.597 | 7.6914e-07
116.928 | 7.6716e-07
117.186 | 7.6744e-07
117.513 | 7.7154e-07
117.829 | 7.6844e-07
118.109 | 7.6839e-07
118.399 | 7.7119e-07
118.71 | 7.7126e-07
119.032 | 7.681e-07
119.284 | 7.7123e-07
119.602 | 7.704e-07
119.897 | 7.7036e-07
120.206 | 7.692e-07
120.516 | 7.7137e-07
120.821 | 7.7016e-07
121.14 | 7.6841e-07
121.445 | 7.6857e-07
121.74 | 7.6863e-07
121.978 | 7.7001e-07
122.312 | 7.7196e-07
122.602 | 7.707e-07
122.887 | 7.7007e-07
123.182 | 7.7255e-07
123.477 | 7.7265e-07
123.796 | 7.7271e-07
124.096 | 7.7092e-07
124.405 | 7.6733e-07
124.74 | 7.6901e-07
125.01 | 7.6794e-07
125.298 | 7.7189e-07
125.619 | 7.6836e-07
125.886 | 7.7086e-07
126.18 | 7.7055e-07
126.509 | 7.694e-07
126.824 | 7.7273e-07
127.12 | 7.7282e-07
127.395 | 7.7116e-07
127.698 | 7.7048e-07
127.996 | 7.7108e-07
128.322 | 7.6976e-07
128.598 | 7.6832e-07
128.903 | 7.7151e-07
129.194 | 7.6949e-07
129.485 | 7.7435e-07
129.823 | 7.7351e-07
130.113 | 7.7207e-07
130.415 | 7.7402e-07
130.7 | 7.7049e-07
130.984 | 7.7303e-07
131.317 | 7.7406e-07
131.593 | 7.7307e-07
131.926 | 7.7449e-07
132.227 | 7.7054e-07
132.511 | 7.7275e-07
132.796 | 7.721e-07
133.126 | 7.7385e-07
133.397 | 7.7495e-07
133.735 | 7.7116e-07
134.016 | 7.7732e-07
134.303 | 7.7002e-07
134.601 | 7.7147e-07
134.88 | 7.6935e-07
135.207 | 7.6859e-07
135.507 | 7.7176e-07
135.791 | 7.7079e-07
136.123 | 7.7674e-07
136.426 | 7.7329e-07
136.709 | 7.7297e-07
136.996 | 7.7611e-07
137.321 | 7.7954e-07
137.602 | 7.7495e-07
137.899 | 7.7189e-07
138.179 | 7.6972e-07
138.512 | 7.7334e-07
138.81 | 7.7393e-07
139.129 | 7.764e-07
139.395 | 7.7674e-07
139.726 | 7.7568e-07
140.016 | 7.7606e-07
140.307 | 7.7494e-07
140.595 | 7.8014e-07
140.897 | 7.8102e-07
141.239 | 7.7843e-07
141.52 | 7.8126e-07
141.793 | 7.8257e-07
142.11 | 7.8199e-07
142.409 | 7.8026e-07
142.702 | 7.8092e-07
143.007 | 7.814e-07
143.323 | 7.8395e-07
143.619 | 7.8394e-07
143.903 | 7.8644e-07
144.191 | 7.8595e-07
144.498 | 7.8396e-07
144.842 | 7.8658e-07
145.077 | 7.862e-07
145.419 | 7.8496e-07
145.722 | 7.8572e-07
146.006 | 7.8581e-07
146.337 | 7.8628e-07
146.619 | 7.8605e-07
146.903 | 7.8785e-07
147.202 | 7.8929e-07
147.535 | 7.9008e-07
147.817 | 7.8773e-07
148.102 | 7.8768e-07
148.379 | 7.8661e-07
148.707 | 7.85e-07
148.99 | 7.8602e-07
149.332 | 7.9127e-07
149.61 | 7.9186e-07
149.938 | 7.9096e-07
150.226 | 7.9062e-07
150.533 | 7.8883e-07
150.821 | 7.9227e-07
151.106 | 7.9262e-07
151.388 | 7.9142e-07
151.74 | 7.8858e-07
152.024 | 7.9356e-07
152.31 | 7.9053e-07
152.613 | 7.915e-07
152.896 | 7.931e-07
153.179 | 7.9364e-07
153.502 | 7.9466e-07
153.795 | 7.9561e-07
154.078 | 7.9606e-07
154.419 | 7.9455e-07
154.704 | 7.9833e-07
155.006 | 7.9818e-07
155.289 | 7.9873e-07
155.578 | 8.0171e-07
155.933 | 8.0038e-07
156.219 | 8.0092e-07
156.503 | 8.0509e-07
156.788 | 8.0036e-07
157.091 | 8.0085e-07
157.428 | 8.0454e-07
157.71 | 8.0199e-07
157.992 | 8.0533e-07
158.324 | 8.025e-07
158.613 | 8.0312e-07
158.916 | 8.0179e-07
159.198 | 8.0233e-07
159.478 | 8.0492e-07
159.81 | 8.0389e-07
160.106 | 8.0275e-07
160.411 | 7.9946e-07
160.697 | 8.0639e-07
161.008 | 8.0834e-07
161.338 | 8.0574e-07
161.62 | 8.0883e-07
161.905 | 8.0792e-07
162.206 | 8.1028e-07
162.494 | 8.0943e-07
162.8 | 8.1092e-07
163.102 | 8.1114e-07
163.384 | 8.1311e-07
163.715 | 8.1086e-07
164.013 | 8.1236e-07
164.298 | 8.1383e-07
164.583 | 8.1438e-07
164.916 | 8.1278e-07
165.199 | 8.13e-07
165.501 | 8.1373e-07
165.787 | 8.1276e-07
166.124 | 8.1721e-07
166.425 | 8.181e-07
166.709 | 8.1327e-07
167.012 | 8.163e-07
167.294 | 8.1906e-07
167.627 | 8.1723e-07
167.91 | 8.1846e-07
168.208 | 8.2104e-07
168.489 | 8.1899e-07
168.821 | 8.1699e-07
169.123 | 8.1948e-07
169.41 | 8.177e-07
169.713 | 8.186e-07
169.997 | 8.1912e-07
170.294 | 8.1897e-07
170.625 | 8.1801e-07
170.907 | 8.2085e-07
171.204 | 8.2004e-07
171.489 | 8.1919e-07
171.82 | 8.1891e-07
172.102 | 8.2209e-07
172.402 | 8.2157e-07
172.686 | 8.1812e-07
173.037 | 8.197e-07
173.319 | 8.1606e-07
173.602 | 8.1649e-07
173.885 | 8.2214e-07
174.183 | 8.2234e-07
174.498 | 8.2435e-07
174.796 | 8.2697e-07
175.08 | 8.2661e-07
175.436 | 8.3366e-07
175.722 | 8.3595e-07
176.025 | 8.367e-07
176.306 | 8.3793e-07
176.589 | 8.362e-07
176.919 | 8.3539e-07
177.19 | 8.3048e-07
177.522 | 8.3133e-07
177.826 | 8.321e-07
178.115 | 8.3423e-07
178.418 | 8.339e-07
178.699 | 8.3234e-07
178.981 | 8.3305e-07
179.31 | 8.3237e-07
179.609 | 8.3382e-07
179.9 | 8.3504e-07
180.195 | 8.2846e-07
180.514 | 8.2888e-07
180.813 | 8.2912e-07
181.106 | 8.2867e-07
181.42 | 8.3281e-07
181.715 | 8.3204e-07
182.014 | 8.2729e-07
182.302 | 8.2978e-07
182.593 | 8.2947e-07
182.888 | 8.3069e-07
183.205 | 8.3038e-07
183.501 | 8.3325e-07
183.785 | 8.3309e-07
184.125 | 8.2929e-07
184.378 | 8.314e-07
184.718 | 8.3246e-07
185.021 | 8.3109e-07
185.278 | 8.3166e-07
185.614 | 8.3097e-07
185.903 | 8.3162e-07
186.191 | 8.3067e-07
186.502 | 8.3102e-07
186.795 | 8.328e-07
187.08 | 8.3363e-07
187.429 | 8.3254e-07
187.714 | 8.3498e-07
187.981 | 8.2989e-07
188.317 | 8.2954e-07
188.625 | 8.289e-07
188.915 | 8.2898e-07
189.199 | 8.3065e-07
189.499 | 8.3026e-07
189.828 | 8.3416e-07
190.11 | 8.3331e-07
190.396 | 8.3225e-07
190.704 | 8.3295e-07
191.024 | 8.3496e-07
191.299 | 8.3557e-07
191.58 | 8.3639e-07
191.914 | 8.3296e-07
192.217 | 8.3423e-07
192.505 | 8.3842e-07
192.795 | 8.3341e-07
193.095 | 8.3415e-07
193.378 | 8.354e-07
193.728 | 8.3539e-07
194.016 | 8.3774e-07
194.325 | 8.3638e-07
194.612 | 8.3892e-07
194.892 | 8.3808e-07
195.239 | 8.3859e-07
195.52 | 8.3901e-07
195.805 | 8.3716e-07
196.105 | 8.4116e-07
196.387 | 8.4132e-07
196.732 | 8.3671e-07
197.015 | 8.3634e-07
197.315 | 8.3726e-07
197.602 | 8.3953e-07
197.912 | 8.3844e-07
198.206 | 8.3757e-07
198.49 | 8.373e-07
198.822 | 8.3816e-07
199.119 | 8.3766e-07
199.41 | 8.3898e-07
199.691 | 8.3714e-07
199.997 | 8.3799e-07
200.324 | 8.4069e-07
200.613 | 8.3922e-07
200.921 | 8.3858e-07
201.213 | 8.4134e-07
201.541 | 8.4513e-07
201.805 | 8.4621e-07
202.09 | 8.4395e-07
202.402 | 8.4622e-07
202.711 | 8.4716e-07
203.006 | 8.516e-07
203.317 | 8.4916e-07
203.611 | 8.4919e-07
203.909 | 8.5417e-07
204.215 | 8.5165e-07
204.54 | 8.5488e-07
204.777 | 8.5633e-07
205.131 | 8.5407e-07
205.422 | 8.5275e-07
205.715 | 8.5406e-07
205.997 | 8.5301e-07
206.314 | 8.5498e-07
206.599 | 8.4954e-07
206.907 | 8.5368e-07
207.2 | 8.5043e-07
207.511 | 8.5327e-07
207.808 | 8.5773e-07
208.082 | 8.5687e-07
208.397 | 8.5575e-07
208.696 | 8.6153e-07
209.033 | 8.6177e-07
209.32 | 8.5926e-07
209.612 | 8.592e-07
209.916 | 8.6268e-07
210.183 | 8.6145e-07
210.516 | 8.6514e-07
210.816 | 8.6289e-07
211.119 | 8.6148e-07
211.387 | 8.6755e-07
211.692 | 8.6969e-07
212.034 | 8.7113e-07
212.28 | 8.7096e-07
212.598 | 8.7048e-07
212.903 | 8.7157e-07
213.19 | 8.72e-07
213.497 | 8.711e-07
213.842 | 8.7493e-07
214.079 | 8.7107e-07
214.422 | 8.7254e-07
214.731 | 8.6856e-07
215.01 | 8.7043e-07
215.294 | 8.7153e-07
215.626 | 8.6657e-07
215.909 | 8.7324e-07
216.195 | 8.7181e-07
216.5 | 8.6615e-07
216.793 | 8.7235e-07
217.109 | 8.6977e-07
217.395 | 8.7079e-07
217.682 | 8.6931e-07
218.027 | 8.7306e-07
218.285 | 8.7063e-07
218.58 | 8.756e-07
218.935 | 8.7301e-07
219.22 | 8.7966e-07
219.518 | 8.7641e-07
219.797 | 8.7844e-07
220.081 | 8.7973e-07
220.438 | 8.7755e-07
220.721 | 8.8228e-07
221.011 | 8.7866e-07
221.34 | 8.798e-07
221.621 | 8.8314e-07
221.92 | 8.8262e-07
222.204 | 8.8133e-07
222.514 | 8.8092e-07
222.812 | 8.8015e-07
223.083 | 8.8183e-07
223.407 | 8.863e-07
223.69 | 8.8435e-07
223.996 | 8.8242e-07
224.285 | 8.8506e-07
224.6 | 8.8616e-07
224.903 | 8.8725e-07
225.187 | 8.8428e-07
225.514 | 8.8721e-07
225.812 | 8.8714e-07
226.098 | 8.8544e-07
226.401 | 8.8678e-07
226.705 | 8.8762e-07
227.033 | 8.8966e-07
227.299 | 8.8703e-07
227.609 | 8.9278e-07
227.879 | 8.8736e-07
228.197 | 8.9139e-07
228.521 | 8.9277e-07
228.822 | 8.8958e-07
229.141 | 8.8889e-07
229.453 | 8.9142e-07
229.752 | 8.9039e-07
230.015 | 8.8812e-07
230.281 | 8.8946e-07
230.624 | 8.9102e-07
230.901 | 8.9793e-07
231.214 | 8.9246e-07
231.493 | 8.9516e-07
231.813 | 8.9026e-07
232.136 | 8.9237e-07
232.395 | 8.8917e-07
232.695 | 8.8807e-07
233.011 | 8.9027e-07
233.313 | 8.872e-07
233.618 | 8.8645e-07
233.902 | 8.9114e-07
234.221 | 8.8841e-07
234.519 | 8.8663e-07
234.816 | 8.8686e-07
235.133 | 8.894e-07
235.396 | 8.8624e-07
235.706 | 8.8605e-07
235.98 | 8.8886e-07
236.308 | 8.8951e-07
236.6 | 8.9295e-07
236.922 | 8.9009e-07
237.199 | 8.9281e-07
237.524 | 8.9503e-07
237.779 | 8.9071e-07
238.116 | 8.9423e-07
238.418 | 8.941e-07
238.71 | 8.8962e-07
238.997 | 8.9079e-07
239.298 | 8.8919e-07
239.587 | 8.8914e-07
239.917 | 8.8817e-07
240.225 | 8.9318e-07
240.518 | 8.9263e-07
240.813 | 8.8938e-07
241.112 | 8.9385e-07
241.428 | 9.0096e-07
241.686 | 8.8862e-07
242.008 | 8.942e-07
242.288 | 8.9067e-07
242.599 | 8.9478e-07
242.914 | 8.9731e-07
243.2 | 8.9007e-07
243.517 | 8.9076e-07
243.792 | 8.8776e-07
244.129 | 8.9002e-07
244.401 | 8.9069e-07
244.722 | 8.9072e-07
244.999 | 8.9514e-07
245.295 | 8.9789e-07
245.622 | 8.9043e-07
245.92 | 8.9661e-07
246.2 | 8.9741e-07
246.499 | 8.9441e-07
246.782 | 8.9749e-07
247.113 | 8.9723e-07
247.415 | 8.9528e-07
247.702 | 8.9353e-07
247.984 | 8.9322e-07
248.319 | 9.0247e-07
248.62 | 9.0009e-07
248.906 | 8.9079e-07
249.19 | 8.9324e-07
249.542 | 8.9155e-07
249.777 | 8.9261e-07
250.111 | 8.9941e-07
250.413 | 8.9295e-07
250.697 | 8.931e-07
250.984 | 8.9629e-07
251.334 | 8.9519e-07
251.619 | 8.9453e-07
251.919 | 8.937e-07
252.203 | 8.9705e-07
252.504 | 8.9946e-07
252.789 | 8.9262e-07
253.14 | 8.911e-07
253.425 | 8.9488e-07
253.708 | 8.9349e-07
254.008 | 8.9248e-07
254.291 | 8.933e-07
254.625 | 8.9467e-07
254.926 | 8.9358e-07
255.209 | 8.9725e-07
255.543 | 8.9699e-07
255.777 | 8.9734e-07
256.124 | 8.9687e-07
256.426 | 8.9606e-07
256.709 | 8.9784e-07
257.01 | 8.979e-07
257.293 | 8.9947e-07
257.592 | 8.9748e-07
257.925 | 9.0041e-07
258.226 | 8.9852e-07
258.527 | 9.0187e-07
258.809 | 8.9932e-07
259.11 | 9.0027e-07
259.392 | 9.0081e-07
259.726 | 9.0333e-07
260.01 | 9.0225e-07
260.311 | 9.0311e-07
260.591 | 9.0058e-07
260.925 | 9.0278e-07
261.224 | 9.0736e-07
261.504 | 9.0419e-07
261.801 | 9.0306e-07
262.1 | 9.0258e-07
262.38 | 9.0725e-07
262.681 | 9.0268e-07
263.013 | 9.0454e-07
263.312 | 9.0495e-07
263.612 | 9.0609e-07
263.913 | 9.0541e-07
264.197 | 9.0529e-07
264.498 | 9.0777e-07
264.781 | 9.0989e-07
265.116 | 9.0351e-07
265.417 | 9.0689e-07
265.716 | 9.0869e-07
266.001 | 9.0967e-07
266.284 | 9.0546e-07
266.636 | 9.091e-07
266.919 | 9.1071e-07
267.219 | 9.08e-07
267.503 | 9.0862e-07
267.804 | 9.0775e-07
268.105 | 9.1466e-07
268.438 | 9.1154e-07
268.688 | 9.1022e-07
269.022 | 9.1265e-07
269.306 | 9.1219e-07
269.606 | 9.1561e-07
269.89 | 9.1277e-07
270.24 | 9.0821e-07
270.523 | 9.1268e-07
270.823 | 9.1566e-07
271.106 | 9.1561e-07
271.406 | 9.1845e-07
271.708 | 9.1702e-07
271.99 | 9.1812e-07
272.324 | 9.1519e-07
272.607 | 9.1897e-07
272.906 | 9.1873e-07
273.19 | 9.1774e-07
273.523 | 9.1799e-07
273.823 | 9.2262e-07
274.107 | 9.2554e-07
274.406 | 9.1969e-07
274.706 | 9.2701e-07
274.99 | 9.2334e-07
275.339 | 9.2402e-07
275.639 | 9.2721e-07
275.922 | 9.2615e-07
276.223 | 9.2646e-07
276.507 | 9.2653e-07
276.807 | 9.3688e-07
277.087 | 9.3206e-07
277.44 | 9.3241e-07
277.723 | 9.2545e-07
278.024 | 9.2872e-07
278.307 | 9.2854e-07
278.606 | 9.314e-07
278.908 | 9.2815e-07
279.188 | 9.2727e-07
279.535 | 9.3081e-07
279.814 | 9.3246e-07
280.114 | 9.3527e-07
280.396 | 9.304e-07
280.695 | 9.3134e-07
280.995 | 9.3369e-07
281.277 | 9.326e-07
281.578 | 9.3555e-07
281.911 | 9.3705e-07
282.212 | 9.3323e-07
282.479 | 9.3467e-07
282.813 | 9.3596e-07
283.114 | 9.3637e-07
283.397 | 9.4011e-07
283.699 | 9.4321e-07
283.983 | 9.3959e-07
284.284 | 9.4133e-07
284.617 | 9.3497e-07
284.916 | 9.4023e-07
285.218 | 9.4167e-07
285.502 | 9.3951e-07
285.785 | 9.427e-07
286.086 | 9.4868e-07
286.437 | 9.4508e-07
286.721 | 9.4308e-07
287.021 | 9.4698e-07
287.304 | 9.4786e-07
287.605 | 9.5074e-07
287.888 | 9.4499e-07
288.238 | 9.4681e-07
288.523 | 9.5077e-07
288.822 | 9.4501e-07
289.106 | 9.4575e-07
289.405 | 9.46e-07
289.689 | 9.456e-07
290.022 | 3.6751e-07
290.422 | 2.5601e-07
290.639 | -2.2943e-10
290.922 | -2.163e-10
291.207 | -2.1542e-10
291.506 | -2.1822e-10
291.787 | -2.1741e-10
292.139 | -2.1935e-10
292.438 | -2.2086e-10
292.721 | -2.2136e-10
293.021 | -2.2118e-10
293.321 | -2.2033e-10
293.605 | -2.1988e-10
293.906 | -2.2068e-10
294.205 | -2.207e-10
294.489 | 9.6354e-07
294.805 | -2.3525e-10
295.089 | -2.2081e-10
295.421 | -2.2171e-10
295.721 | -2.2179e-10
295.989 | -2.2208e-10
296.288 | -2.1975e-10
296.622 | -2.1975e-10
296.922 | 9.676e-07
297.221 | 9.6516e-07
297.52 | 9.7092e-07
297.822 | 9.689e-07
298.105 | 9.6943e-07
298.405 | 9.6965e-07
298.702 | 9.7191e-07
298.985 | 9.768e-07
299.332 | 9.7796e-07
299.613 | 9.8815e-07
299.913 | 9.8157e-07
300.213 | 9.8944e-07
300.494 | 9.8284e-07
300.795 | 9.7375e-07
301.079 | 9.7668e-07
301.378 | 9.7208e-07
301.729 | 9.753e-07
302.014 | 9.7559e-07
302.312 | 9.7377e-07
302.615 | 9.8174e-07
302.898 | 9.8126e-07
303.198 | 9.7915e-07
303.482 | 9.8004e-07
303.832 | 9.7951e-07
304.116 | 9.8161e-07
304.399 | 9.8076e-07
304.701 | 9.8344e-07
305.001 | 9.8444e-07
305.301 | 9.8046e-07
305.585 | 9.8107e-07
305.935 | 9.8682e-07
306.219 | 9.9101e-07
306.519 | 9.9039e-07
306.819 | 9.8506e-07
307.103 | 9.9114e-07
307.403 | 9.8968e-07
307.705 | 9.8925e-07
307.987 | 9.9158e-07
308.32 | 9.9085e-07
308.62 | 9.9812e-07
308.905 | 9.9628e-07
309.204 | 9.9947e-07
309.523 | 9.9964e-07
309.823 | 1.0016e-06
310.123 | 1.0026e-06
310.424 | 1.0076e-06
310.723 | 1.0046e-06
311.023 | 1.0063e-06
311.307 | 1.003e-06
311.606 | 1.0066e-06
311.908 | 1.0053e-06
312.191 | 1.0081e-06
312.542 | 1.01e-06
312.825 | 1.0122e-06
313.125 | 1.0058e-06
313.425 | 1.0082e-06
313.709 | 1.0117e-06
314.008 | 1.0102e-06
314.31 | 1.0073e-06
314.608 | 1.0083e-06
314.892 | 1.0093e-06
315.242 | 1.0094e-06
315.542 | 1.0083e-06
315.825 | 1.0076e-06
316.125 | 1.0113e-06
316.408 | 1.0122e-06
316.708 | 1.0118e-06
317.008 | 1.0107e-06
317.291 | 1.0116e-06
317.593 | 1.0149e-06
317.941 | 1.0133e-06
318.224 | 1.015e-06
318.525 | 1.0173e-06
318.825 | 1.0234e-06
319.125 | 1.0246e-06
319.424 | 1.0184e-06
319.726 | 1.0181e-06
320.007 | 1.0233e-06